## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4304-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4304-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4304-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4304-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4304-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4304-6_0_3_node_100 | 0.4 | n |  | TRUE
6 | bus_LV_4304-6_0_3_node_106 | 0.4 | n |  | TRUE
7 | bus_LV_4304-6_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4304-6_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4304-6_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4304-6_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4304-6_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4304-6_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_4304-6_0_3_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_4304-6_0_3_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_4304-6_0_3_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_4304-6_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4304-6_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4304-6_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4304-6_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4304-6_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4304-6_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_4304-6_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_4304-6_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_4304-6_0_3_node_98 | 0.4 | n |  | TRUE
25 | bus_LV_4304-6_0_3_node_108 | 0.4 | n |  | TRUE
26 | bus_LV_4304-6_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4304-6_0_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_4304-6_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_4304-6_0_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_4304-6_0_3_node_97 | 0.4 | n |  | TRUE
31 | bus_LV_4304-6_0_3_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_4304-6_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4304-6_0_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_4304-6_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_4304-6_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_4304-6_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4304-6_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_4304-6_0_3_node_94 | 0.4 | n |  | TRUE
39 | bus_LV_4304-6_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_4304-6_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4304-6_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_4304-6_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_4304-6_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_4304-6_0_3_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_4304-6_0_3_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_4304-6_0_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_4304-6_0_3_node_110 | 0.4 | n |  | TRUE
48 | bus_LV_4304-6_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_4304-6_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4304-6_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_4304-6_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_4304-6_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_4304-6_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_4304-6_0_3_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_4304-6_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4304-6_0_3_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4304-6_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_4304-6_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_4304-6_0_3_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_4304-6_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_4304-6_0_3_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_4304-6_0_3_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_4304-6_0_3_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_4304-6_0_3_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4304-6_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_4304-6_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_4304-6_0_3_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_4304-6_0_3_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_4304-6_0_3_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_4304-6_0_3_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_4304-6_0_3_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_4304-6_0_3_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_4304-6_0_3_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_4304-6_0_3_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_4304-6_0_3_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_4304-6_0_3_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_4304-6_0_3_node_99 | 0.4 | n |  | TRUE
78 | bus_LV_4304-6_0_3_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_4304-6_0_3_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_4304-6_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_4304-6_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_4304-6_0_3_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_4304-6_0_3_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_4304-6_0_3_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_4304-6_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_4304-6_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_4304-6_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_4304-6_0_3_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_4304-6_0_3_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4304-6_0_3_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_4304-6_0_3_node_107 | 0.4 | n |  | TRUE
92 | bus_LV_4304-6_0_3_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_4304-6_0_3_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_4304-6_0_3_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_4304-6_0_3_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_4304-6_0_3_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_4304-6_0_3_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_4304-6_0_3_node_101 | 0.4 | n |  | TRUE
99 | bus_LV_4304-6_0_3_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_4304-6_0_3_node_109 | 0.4 | n |  | TRUE
101 | bus_LV_4304-6_0_3_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_4304-6_0_3_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_4304-6_0_3_node_103 | 0.4 | n |  | TRUE
104 | bus_LV_4304-6_0_3_node_111 | 0.4 | n |  | TRUE
105 | bus_LV_4304-6_0_3_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_4304-6_0_3_node_92 | 0.4 | n |  | TRUE
107 | bus_LV_4304-6_0_3_node_104 | 0.4 | n |  | TRUE
108 | bus_MV_486_1_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4304-6_0_3_load_0 | 0 | 0.0004315 | 0.00010814 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4304-6_0_3_load_1 | 1 | 0.00289 | 0.0007243 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4304-6_0_3_load_2 | 2 | 0.0034414 | 0.00086249 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4304-6_0_3_load_3 | 3 | 0.0062977 | 0.0015783 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4304-6_0_3_load_4 | 4 | 7.6136e-05 | 1.9082e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4304-6_0_3_load_100 | 5 | 0.0021877 | 0.00054828 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4304-6_0_3_load_106 | 6 | 0.002046 | 0.00051278 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4304-6_0_3_load_6 | 7 | 0.0049895 | 0.0012505 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4304-6_0_3_load_7 | 8 | 0.0044688 | 0.00112 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4304-6_0_3_load_8 | 9 | 0.0043942 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4304-6_0_3_load_9 | 10 | 0.0048621 | 0.0012186 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4304-6_0_3_load_10 | 11 | 0.0052895 | 0.0013257 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4304-6_0_3_load_23 | 12 | 0.0028309 | 0.00070949 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4304-6_0_3_load_38 | 13 | 0.0021052 | 0.0005276 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4304-6_0_3_load_49 | 14 | 0.006998 | 0.0017539 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4304-6_0_3_load_11 | 16 | 0.0017707 | 0.00044377 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4304-6_0_3_load_15 | 20 | 0.0023243 | 0.00058252 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4304-6_0_3_load_16 | 21 | 0.0070497 | 0.0017668 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4304-6_0_3_load_17 | 22 | 0.005705 | 0.0014298 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4304-6_0_3_load_18 | 23 | 0.0021429 | 0.00053707 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4304-6_0_3_load_98 | 24 | 0.0012205 | 0.0003059 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4304-6_0_3_load_108 | 25 | 0.0035961 | 0.00090127 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4304-6_0_3_load_20 | 26 | 0.0034908 | 0.00087488 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4304-6_0_3_load_47 | 27 | 0.002485 | 0.00062281 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4304-6_0_3_load_34 | 28 | 0.021203 | 0.005314 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4304-6_0_3_load_41 | 29 | 0.0014728 | 0.00036912 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4304-6_0_3_load_97 | 30 | 0.0019099 | 0.00047866 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4304-6_0_3_load_61 | 31 | 0.012645 | 0.0031692 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4304-6_0_3_load_19 | 32 | 0.0028603 | 0.00071687 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4304-6_0_3_load_42 | 35 | 0.0017733 | 0.00044444 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4304-6_0_3_load_21 | 36 | 0.0016874 | 0.00042289 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4304-6_0_3_load_22 | 37 | 0.0026096 | 0.00065404 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4304-6_0_3_load_24 | 39 | 0.0030064 | 0.00075346 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4304-6_0_3_load_25 | 40 | 0.0021446 | 0.00053748 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4304-6_0_3_load_26 | 41 | 0.001972 | 0.00049424 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4304-6_0_3_load_28 | 43 | 0.0022251 | 0.00055766 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4304-6_0_3_load_68 | 46 | 0.00098024 | 0.00024567 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4304-6_0_3_load_110 | 47 | 0.0019324 | 0.0004843 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4304-6_0_3_load_29 | 48 | 0.0011169 | 0.00027992 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4304-6_0_3_load_30 | 49 | 0.0032014 | 0.00080236 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4304-6_0_3_load_31 | 50 | 0.0017725 | 0.00044423 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4304-6_0_3_load_32 | 51 | 0.0012299 | 0.00030825 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4304-6_0_3_load_33 | 52 | 0.0018552 | 0.00046495 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4304-6_0_3_load_50 | 53 | 0.0012878 | 0.00032275 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4304-6_0_3_load_78 | 54 | 0.0020645 | 0.00051742 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4304-6_0_3_load_37 | 56 | 0.002923 | 0.00073257 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4304-6_0_3_load_59 | 57 | 0.0049612 | 0.0012434 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4304-6_0_3_load_56 | 58 | 0.0019811 | 0.00049651 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4304-6_0_3_load_77 | 59 | 0.0044461 | 0.0011143 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4304-6_0_3_load_57 | 60 | 0.001385 | 0.00034712 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4304-6_0_3_load_76 | 61 | 0.0021633 | 0.00054217 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4304-6_0_3_load_95 | 62 | 0.0013639 | 0.00034183 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4304-6_0_3_load_93 | 63 | 0.0023369 | 0.00058567 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4304-6_0_3_load_40 | 64 | 0.0019423 | 0.00048679 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4304-6_0_3_load_65 | 65 | 0.0027535 | 0.00069009 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4304-6_0_3_load_63 | 66 | 0.0025203 | 0.00063164 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4304-6_0_3_load_43 | 67 | 0.0048362 | 0.0012121 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4304-6_0_3_load_44 | 68 | 0.0045842 | 0.0011489 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4304-6_0_3_load_46 | 69 | 0.0027257 | 0.00068312 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4304-6_0_3_load_48 | 70 | 0.0022204 | 0.00055648 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4304-6_0_3_load_73 | 71 | 0.0043872 | 0.0010995 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4304-6_0_3_load_54 | 72 | 0.0046495 | 0.0011653 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4304-6_0_3_load_51 | 73 | 0.0049346 | 0.0012367 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4304-6_0_3_load_52 | 74 | 0.0084725 | 0.0021234 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4304-6_0_3_load_53 | 75 | 0.0023992 | 0.0006013 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4304-6_0_3_load_55 | 76 | 0.0028389 | 0.0007115 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4304-6_0_3_load_99 | 77 | 0.0038129 | 0.00095561 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4304-6_0_3_load_83 | 78 | 0.0045426 | 0.0011385 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4304-6_0_3_load_58 | 79 | 0.0031496 | 0.00078936 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4304-6_0_3_load_71 | 80 | 0.0023884 | 0.00059858 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4304-6_0_3_load_70 | 81 | 0.0027511 | 0.0006895 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4304-6_0_3_load_62 | 82 | 0.0021318 | 0.00053428 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4304-6_0_3_load_64 | 83 | 0.0035013 | 0.00087751 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4304-6_0_3_load_66 | 84 | 0.002462 | 0.00061702 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4304-6_0_3_load_75 | 85 | 0.0030751 | 0.00077069 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4304-6_0_3_load_79 | 86 | 0.0039712 | 0.00099527 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4304-6_0_3_load_80 | 87 | 0.0026733 | 0.00066999 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4304-6_0_3_load_82 | 89 | 0.0035998 | 0.00090221 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4304-6_0_3_load_84 | 90 | 0.0022944 | 0.00057504 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4304-6_0_3_load_85 | 93 | 0.0015148 | 0.00037965 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4304-6_0_3_load_86 | 94 | 0.0011224 | 0.00028129 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4304-6_0_3_load_87 | 95 | 0.0065618 | 0.0016446 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4304-6_0_3_load_89 | 97 | 0.0055509 | 0.0013912 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4304-6_0_3_load_101 | 98 | 0.0018125 | 0.00045426 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4304-6_0_3_load_96 | 99 | 0.0061814 | 0.0015492 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4304-6_0_3_load_109 | 100 | 0.0010435 | 0.00026154 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4304-6_0_3_load_90 | 101 | 0.0024536 | 0.00061493 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4304-6_0_3_load_91 | 102 | 0.0057451 | 0.0014399 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4304-6_0_3_load_103 | 103 | 0.0061438 | 0.0015398 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4304-6_0_3_load_111 | 104 | 0.0013246 | 0.00033198 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4304-6_0_3_load_92 | 106 | 0.002727 | 0.00068345 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4304-6_0_3_line_0 |  | 0 | 1 | 0.069119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4304-6_0_3_line_1 |  | 0 | 2 | 0.014846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4304-6_0_3_line_2 |  | 1 | 3 | 0.006357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4304-6_0_3_line_3 |  | 2 | 4 | 0.0065789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4304-6_0_3_line_4 |  | 3 | 5 | 0.024792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4304-6_0_3_line_5 |  | 5 | 6 | 0.016441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4304-6_0_3_line_6 |  | 6 | 91 | 0.011372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4304-6_0_3_line_7 |  | 7 | 8 | 0.0072821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4304-6_0_3_line_8 |  | 7 | 9 | 0.0088778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4304-6_0_3_line_9 |  | 8 | 10 | 0.013136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4304-6_0_3_line_10 |  | 9 | 11 | 0.028622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4304-6_0_3_line_11 |  | 10 | 12 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4304-6_0_3_line_12 |  | 12 | 13 | 0.0041111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4304-6_0_3_line_13 |  | 13 | 38 | 0.012237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4304-6_0_3_line_14 |  | 14 | 15 | 0.0075351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4304-6_0_3_line_15 |  | 15 | 72 | 0.016534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4304-6_0_3_line_16 |  | 16 | 17 | 0.027361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4304-6_0_3_line_17 |  | 16 | 18 | 0.011397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4304-6_0_3_line_18 |  | 17 | 19 | 0.043601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4304-6_0_3_line_19 |  | 17 | 20 | 0.020977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4304-6_0_3_line_20 |  | 17 | 21 | 0.019597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4304-6_0_3_line_21 |  | 18 | 22 | 0.013504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4304-6_0_3_line_22 |  | 18 | 23 | 0.021944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4304-6_0_3_line_23 |  | 19 | 24 | 0.010907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4304-6_0_3_line_24 |  | 19 | 25 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4304-6_0_3_line_25 |  | 20 | 26 | 0.052454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4304-6_0_3_line_26 |  | 21 | 27 | 0.024323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4304-6_0_3_line_27 |  | 22 | 28 | 0.026836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4304-6_0_3_line_28 |  | 23 | 29 | 0.0037502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4304-6_0_3_line_29 |  | 24 | 30 | 0.027073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4304-6_0_3_line_30 |  | 25 | 31 | 0.0023281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4304-6_0_3_line_31 |  | 26 | 32 | 0.03207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4304-6_0_3_line_32 |  | 27 | 33 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4304-6_0_3_line_33 |  | 28 | 34 | 0.012346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4304-6_0_3_line_34 |  | 29 | 35 | 0.01896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4304-6_0_3_line_35 |  | 30 | 99 | 0.01761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_4304-6_0_3_line_36 |  | 32 | 36 | 0.0095511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4304-6_0_3_line_37 |  | 33 | 70 | 0.014964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4304-6_0_3_line_38 |  | 33 | 67 | 0.027668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4304-6_0_3_line_39 |  | 34 | 55 | 0.03666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4304-6_0_3_line_40 |  | 34 | 56 | 0.033756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4304-6_0_3_line_41 |  | 35 | 54 | 0.028385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4304-6_0_3_line_42 |  | 36 | 37 | 0.021985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4304-6_0_3_line_43 |  | 38 | 62 | 0.032685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4304-6_0_3_line_44 |  | 38 | 63 | 0.0017714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4304-6_0_3_line_45 |  | 39 | 40 | 0.031363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4304-6_0_3_line_46 |  | 39 | 41 | 0.019447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4304-6_0_3_line_47 |  | 40 | 42 | 0.073036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4304-6_0_3_line_48 |  | 41 | 43 | 0.075763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4304-6_0_3_line_49 |  | 42 | 44 | 0.056508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4304-6_0_3_line_50 |  | 42 | 45 | 0.005942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4304-6_0_3_line_51 |  | 44 | 46 | 0.036002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4304-6_0_3_line_52 |  | 45 | 47 | 0.02987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4304-6_0_3_line_53 |  | 46 | 57 | 0.026818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4304-6_0_3_line_54 |  | 48 | 49 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4304-6_0_3_line_55 |  | 48 | 50 | 0.0059358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4304-6_0_3_line_56 |  | 49 | 51 | 0.018141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4304-6_0_3_line_57 |  | 50 | 52 | 0.0072188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4304-6_0_3_line_58 |  | 51 | 53 | 0.032145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4304-6_0_3_line_59 |  | 53 | 54 | 0.0042788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4304-6_0_3_line_60 |  | 55 | 57 | 0.038068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4304-6_0_3_line_61 |  | 55 | 58 | 0.065881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4304-6_0_3_line_62 |  | 56 | 59 | 0.0032485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4304-6_0_3_line_63 |  | 58 | 60 | 0.021001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4304-6_0_3_line_64 |  | 59 | 61 | 0.018572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4304-6_0_3_line_65 |  | 60 | 79 | 0.037244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4304-6_0_3_line_66 |  | 61 | 85 | 0.0062635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4304-6_0_3_line_67 |  | 62 | 90 | 0.0019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4304-6_0_3_line_68 |  | 63 | 102 | 0.040171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4304-6_0_3_line_69 |  | 64 | 65 | 0.024087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4304-6_0_3_line_70 |  | 65 | 66 | 0.025646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4304-6_0_3_line_71 |  | 66 | 82 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4304-6_0_3_line_72 |  | 67 | 68 | 0.038797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4304-6_0_3_line_73 |  | 68 | 69 | 0.018409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4304-6_0_3_line_74 |  | 70 | 71 | 0.033132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4304-6_0_3_line_75 |  | 72 | 74 | 0.016318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4304-6_0_3_line_76 |  | 73 | 74 | 0.011003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4304-6_0_3_line_77 |  | 73 | 75 | 0.01145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4304-6_0_3_line_78 |  | 75 | 76 | 0.015423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4304-6_0_3_line_79 |  | 76 | 77 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4304-6_0_3_line_80 |  | 77 | 78 | 0.0084431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4304-6_0_3_line_81 |  | 78 | 88 | 0.013452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4304-6_0_3_line_82 |  | 79 | 80 | 0.020658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4304-6_0_3_line_83 |  | 80 | 81 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4304-6_0_3_line_84 |  | 82 | 83 | 0.0033376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4304-6_0_3_line_85 |  | 83 | 84 | 0.012428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4304-6_0_3_line_86 |  | 84 | 85 | 0.0060953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4304-6_0_3_line_87 |  | 86 | 87 | 0.020241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4304-6_0_3_line_88 |  | 86 | 88 | 0.002327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4304-6_0_3_line_89 |  | 87 | 89 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4304-6_0_3_line_90 |  | 88 | 90 | 0.034927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4304-6_0_3_line_91 |  | 89 | 91 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4304-6_0_3_line_92 |  | 91 | 92 | 0.016623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4304-6_0_3_line_93 |  | 92 | 100 | 0.021885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4304-6_0_3_line_94 |  | 92 | 96 | 0.01305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4304-6_0_3_line_95 |  | 93 | 94 | 0.013227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4304-6_0_3_line_96 |  | 93 | 95 | 0.028594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4304-6_0_3_line_97 |  | 94 | 96 | 0.018809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4304-6_0_3_line_98 |  | 95 | 97 | 0.019163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4304-6_0_3_line_99 |  | 96 | 98 | 0.026775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4304-6_0_3_line_100 |  | 97 | 99 | 0.021486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4304-6_0_3_line_101 |  | 101 | 102 | 0.033499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4304-6_0_3_line_102 |  | 101 | 103 | 0.023049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4304-6_0_3_line_103 |  | 103 | 104 | 0.025577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4304-6_0_3_line_104 |  | 104 | 105 | 0.018593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4304-6_0_3_line_105 |  | 105 | 107 | 0.040935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4304-6_0_3_line_106 |  | 106 | 107 | 0.024737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4304-6_0_3_trafo_61 | 0.63 MVA 20/0.4 kV | 108 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2661691.1894 | 1269409.0857 | 2661710.1812 | 1269406.454 | 2661743.9434 | 1269407.3629 | 2661760.0744 | 1269406.2185
1 | 2661691.1894 | 1269409.0857 | 2661676.484 | 1269411.1235
2 | 2661760.0744 | 1269406.2185 | 2661766.4155 | 1269405.7686
3 | 2661669.9673 | 1269412.0265 | 2661676.484 | 1269411.1235
4 | 2661788.385 | 1269409.0328 | 2661786.4926 | 1269409.1978 | 2661777.7728 | 1269408.3282 | 2661777.1378 | 1269405.0079 | 2661766.4155 | 1269405.7686
5 | 2661804.7636 | 1269407.6044 | 2661788.385 | 1269409.0328
6 | 2661816.0924 | 1269406.6165 | 2661804.7636 | 1269407.6044
7 | 2661805.9002 | 1269255.4544 | 2661800.7315 | 1269260.584
8 | 2661812.2016 | 1269249.2008 | 2661812.2016 | 1269249.2008 | 2661805.9002 | 1269255.4544
9 | 2661800.7315 | 1269260.584 | 2661797.7767 | 1269263.5164 | 2661791.8799 | 1269270.28
10 | 2661812.2016 | 1269249.2008 | 2661823.3873 | 1269251.7531 | 2661838.6441 | 1269259.583
11 | 2661782.4184 | 1269281.1325 | 2661791.8799 | 1269270.28
12 | 2661779.7168 | 1269284.2312 | 2661782.4184 | 1269281.1325
13 | 2661771.6751 | 1269293.4551 | 2661779.7168 | 1269284.2312
14 | 2661877.7175 | 1269280.5768 | 2661871.1446 | 1269276.8925
15 | 2661877.7175 | 1269280.5768 | 2661866.6874 | 1269292.8938
16 | 2661958.1944 | 1269283.789 | 2661957.6122 | 1269303.42 | 2661961.1368 | 1269310.2901
17 | 2661966.351 | 1269320.4245 | 2661962.8774 | 1269313.683 | 2661961.1368 | 1269310.2901
18 | 2661958.1944 | 1269283.789 | 2661923.3407 | 1269310.1215
19 | 2661958.1944 | 1269283.789 | 2661940.2519 | 1269272.9216
20 | 2661958.1944 | 1269283.789 | 2661962.2559 | 1269264.617
21 | 2661966.351 | 1269320.4245 | 2661979.63 | 1269322.8799
22 | 2661966.351 | 1269320.4245 | 2661963.0381 | 1269342.1174
23 | 2661923.3407 | 1269310.1215 | 2661917.6293 | 1269319.4136
24 | 2661923.3407 | 1269310.1215 | 2661909.3406 | 1269301.0553
25 | 2661895.6905 | 1269245.2629 | 2661910.1061 | 1269254.663 | 2661940.2519 | 1269272.9216
26 | 2661962.2559 | 1269264.617 | 2661953.6455 | 1269241.8694
27 | 2661979.63 | 1269322.8799 | 2661986.0508 | 1269324.0672 | 2661996.2702 | 1269322.5955 | 2662002.7852 | 1269315.0332
28 | 2661963.0381 | 1269342.1174 | 2661962.0033 | 1269345.7219
29 | 2661917.6293 | 1269319.4136 | 2661903.4529 | 1269342.478
30 | 2661909.3406 | 1269301.0553 | 2661907.3865 | 1269299.7898
31 | 2661895.6905 | 1269245.2629 | 2661871.0767 | 1269229.2128 | 2661868.6472 | 1269228.0689
32 | 2661950.7403 | 1269231.827 | 2661953.1325 | 1269240.5142 | 2661953.6455 | 1269241.8694
33 | 2662010.8432 | 1269305.68 | 2662002.7852 | 1269315.0332
34 | 2661956.7715 | 1269363.9458 | 2661962.0033 | 1269345.7219
35 | 2661893.0559 | 1269356.6488 | 2661900.0754 | 1269347.9732 | 2661903.4529 | 1269342.478
36 | 2661860.006 | 1269224.0005 | 2661868.6472 | 1269228.0689
37 | 2661950.7403 | 1269231.827 | 2661938.7516 | 1269222.8713
38 | 2661950.7403 | 1269231.827 | 2661958.132 | 1269210.833 | 2661960.2303 | 1269205.8458
39 | 2662045.7927 | 1269315.3986 | 2662036.0365 | 1269315.0403 | 2662022.1475 | 1269311.2472 | 2662010.8432 | 1269305.68
40 | 2662010.8432 | 1269305.68 | 2662020.242 | 1269276.2896 | 2662021.048 | 1269273.5043
41 | 2661956.7715 | 1269363.9458 | 2661954.97 | 1269370.2208 | 2661942.8739 | 1269388.4254
42 | 2661860.006 | 1269224.0005 | 2661840.1152 | 1269214.6357
43 | 2661771.6751 | 1269293.4551 | 2661778.7631 | 1269305.0269 | 2661786.9182 | 1269322.315
44 | 2661771.6751 | 1269293.4551 | 2661770.5797 | 1269292.063
45 | 2662146.7881 | 1269292.7716 | 2662125.0859 | 1269270.1305
46 | 2662113.5603 | 1269254.4675 | 2662125.0859 | 1269270.1305 | 2662125.0859 | 1269270.1305
47 | 2662197.5591 | 1269345.2386 | 2662183.8894 | 1269332.0737 | 2662171.2752 | 1269319.4202 | 2662147.5351 | 1269293.5509 | 2662146.7881 | 1269292.7716
48 | 2662080.456 | 1269186.7525 | 2662085.6687 | 1269202.2092 | 2662092.6409 | 1269216.8713 | 2662102.3544 | 1269238.4787 | 2662112.8816 | 1269253.5452 | 2662113.5603 | 1269254.4675
49 | 2662197.5591 | 1269345.2386 | 2662190.0654 | 1269344.4147 | 2662168.1239 | 1269337.8455 | 2662147.2359 | 1269331.2764 | 2662142.9775 | 1269330.4977
50 | 2662200.9693 | 1269350.1115 | 2662197.5591 | 1269345.2386
51 | 2662142.9775 | 1269330.4977 | 2662140.9081 | 1269327.6405 | 2662131.1577 | 1269321.7223 | 2662121.2657 | 1269319.9726 | 2662110.2448 | 1269320.1658
52 | 2662200.9693 | 1269350.1115 | 2662199.0435 | 1269357.9083 | 2662193.4403 | 1269364.0651 | 2662182.0755 | 1269371.377
53 | 2662083.4382 | 1269320.2007 | 2662089.9483 | 1269320.5217 | 2662110.2448 | 1269320.1658
54 | 2661912.6768 | 1269433.872 | 2661907.6592 | 1269441.4235 | 2661902.96 | 1269449.6176
55 | 2661900.007 | 1269454.7667 | 2661902.96 | 1269449.6176
56 | 2661912.6768 | 1269433.872 | 2661922.7164 | 1269418.7625
57 | 2661900.007 | 1269454.7667 | 2661896.4157 | 1269461.0288
58 | 2661940.5059 | 1269391.9892 | 2661922.7164 | 1269418.7625
59 | 2661940.5059 | 1269391.9892 | 2661942.8739 | 1269388.4254
60 | 2662045.7927 | 1269315.3986 | 2662064.1584 | 1269319.2499 | 2662083.4382 | 1269320.2007
61 | 2662045.7927 | 1269315.3986 | 2662042.3591 | 1269324.9142 | 2662012.242 | 1269364.5282 | 2662008.2644 | 1269369.0235
62 | 2662021.048 | 1269273.5043 | 2662021.951 | 1269270.3838
63 | 2662008.2644 | 1269369.0235 | 2661994.3481 | 1269384.7513
64 | 2662027.1135 | 1269252.5437 | 2662021.951 | 1269270.3838
65 | 2661970.5923 | 1269413.3902 | 2661978.3083 | 1269402.8791 | 2661994.3481 | 1269384.7513
66 | 2662027.8193 | 1269246.3201 | 2662027.1135 | 1269252.5437 | 2662027.1135 | 1269252.5437
67 | 2661787.7513 | 1269324.0811 | 2661786.9182 | 1269322.315
68 | 2661770.5797 | 1269292.063 | 2661734.9946 | 1269310.7026
69 | 2662045.1925 | 1269178.0077 | 2662048.7958 | 1269169.2192 | 2662054.5854 | 1269155.8289
70 | 2662045.1925 | 1269178.0077 | 2662035.4636 | 1269201.7366
71 | 2662030.703 | 1269224.6643 | 2662035.1955 | 1269202.3905 | 2662035.4636 | 1269201.7366
72 | 2661960.2303 | 1269205.8458 | 2661975.2762 | 1269170.0851
73 | 2661975.2762 | 1269170.0851 | 2661982.4154 | 1269153.1169
74 | 2661912.2079 | 1269203.0428 | 2661938.7516 | 1269222.8713
75 | 2661866.6874 | 1269292.8938 | 2661855.8016 | 1269305.0495
76 | 2661848.3993 | 1269313.185 | 2661849.0885 | 1269312.5458 | 2661855.8016 | 1269305.0495
77 | 2661848.3993 | 1269313.185 | 2661840.0036 | 1269320.9711
78 | 2661828.6951 | 1269331.4586 | 2661840.0036 | 1269320.9711
79 | 2661828.6951 | 1269331.4586 | 2661818.7991 | 1269340.6361
80 | 2661812.6333 | 1269346.404 | 2661818.7009 | 1269340.7271 | 2661818.7991 | 1269340.6361
81 | 2661802.8106 | 1269355.5944 | 2661812.6333 | 1269346.404
82 | 2661958.3678 | 1269430.0431 | 2661970.5923 | 1269413.3902
83 | 2661946.3441 | 1269446.6754 | 2661948.467 | 1269443.5305 | 2661958.3678 | 1269430.0431
84 | 2662030.703 | 1269224.6643 | 2662030.0431 | 1269227.936
85 | 2662028.5062 | 1269240.2637 | 2662029.7258 | 1269229.5092 | 2662030.0431 | 1269227.936
86 | 2662028.5062 | 1269240.2637 | 2662027.8193 | 1269246.3201
87 | 2661803.3278 | 1269357.8632 | 2661807.8262 | 1269377.5978
88 | 2661802.8106 | 1269355.5944 | 2661803.3278 | 1269357.8632
89 | 2661807.8262 | 1269377.5978 | 2661811.4507 | 1269393.4985
90 | 2661802.8106 | 1269355.5944 | 2661791.6461 | 1269332.3378 | 2661787.7513 | 1269324.0811
91 | 2661816.0924 | 1269406.6165 | 2661811.7463 | 1269394.7954 | 2661811.4507 | 1269393.4985
92 | 2661822.1232 | 1269422.1135 | 2661816.0924 | 1269406.6165
93 | 2661822.1232 | 1269422.1135 | 2661814.5093 | 1269429.8953 | 2661810.6189 | 1269440.1823
94 | 2661822.1232 | 1269422.1135 | 2661827.8698 | 1269433.8381
95 | 2661849.5013 | 1269410.4783 | 2661841.1789 | 1269420.7587
96 | 2661849.5013 | 1269410.4783 | 2661851.3298 | 1269408.2197 | 2661867.4879 | 1269388.2493
97 | 2661827.8698 | 1269433.8381 | 2661834.6648 | 1269428.8054 | 2661841.1789 | 1269420.7587
98 | 2661867.4879 | 1269388.2493 | 2661879.5413 | 1269373.352
99 | 2661827.8698 | 1269433.8381 | 2661839.6703 | 1269457.8722
100 | 2661893.0559 | 1269356.6488 | 2661879.5413 | 1269373.352
101 | 2661739.9092 | 1269343.6515 | 2661738.7912 | 1269324.3572 | 2661734.9946 | 1269310.7026
102 | 2661739.9092 | 1269343.6515 | 2661716.9832 | 1269346.033
103 | 2661713.5232 | 1269371.3745 | 2661716.9832 | 1269346.033
104 | 2661720.7691 | 1269388.4175 | 2661717.2448 | 1269382.1871 | 2661713.5232 | 1269371.3745
105 | 2661720.7691 | 1269388.4175 | 2661729.6371 | 1269428.3849
106 | 2661729.6371 | 1269428.3849 | 2661744.7639 | 1269447.9583

## bus_geodata
| x | y | coords
0 | 2661691.1894 | 1269409.0857
1 | 2661760.0744 | 1269406.2185
2 | 2661676.484 | 1269411.1235
3 | 2661766.4155 | 1269405.7686
4 | 2661669.9673 | 1269412.0265
5 | 2661788.385 | 1269409.0328
6 | 2661804.7636 | 1269407.6044
7 | 2661805.9002 | 1269255.4544
8 | 2661800.7315 | 1269260.584
9 | 2661812.2016 | 1269249.2008
10 | 2661791.8799 | 1269270.28
11 | 2661838.6441 | 1269259.583
12 | 2661782.4184 | 1269281.1325
13 | 2661779.7168 | 1269284.2312
14 | 2661871.1446 | 1269276.8925
15 | 2661877.7175 | 1269280.5768
16 | 2661961.1368 | 1269310.2901
17 | 2661958.1944 | 1269283.789
18 | 2661966.351 | 1269320.4245
19 | 2661923.3407 | 1269310.1215
20 | 2661940.2519 | 1269272.9216
21 | 2661962.2559 | 1269264.617
22 | 2661979.63 | 1269322.8799
23 | 2661963.0381 | 1269342.1174
24 | 2661917.6293 | 1269319.4136
25 | 2661909.3406 | 1269301.0553
26 | 2661895.6905 | 1269245.2629
27 | 2661953.6455 | 1269241.8694
28 | 2662002.7852 | 1269315.0332
29 | 2661962.0033 | 1269345.7219
30 | 2661903.453 | 1269342.478
31 | 2661907.3865 | 1269299.7898
32 | 2661868.6472 | 1269228.0689
33 | 2661950.7403 | 1269231.827
34 | 2662010.8432 | 1269305.68
35 | 2661956.7715 | 1269363.9458
36 | 2661860.006 | 1269224.0005
37 | 2661840.1152 | 1269214.6357
38 | 2661771.6751 | 1269293.4551
39 | 2662125.0859 | 1269270.1305
40 | 2662146.7881 | 1269292.7716
41 | 2662113.5603 | 1269254.4675
42 | 2662197.5591 | 1269345.2386
43 | 2662080.456 | 1269186.7525
44 | 2662142.9775 | 1269330.4977
45 | 2662200.9693 | 1269350.1115
46 | 2662110.2448 | 1269320.1658
47 | 2662182.0755 | 1269371.377
48 | 2661902.96 | 1269449.6176
49 | 2661912.6768 | 1269433.872
50 | 2661900.007 | 1269454.7667
51 | 2661922.7164 | 1269418.7625
52 | 2661896.4157 | 1269461.0288
53 | 2661940.5059 | 1269391.9892
54 | 2661942.8739 | 1269388.4254
55 | 2662045.7927 | 1269315.3986
56 | 2662021.048 | 1269273.5043
57 | 2662083.4382 | 1269320.2007
58 | 2662008.2644 | 1269369.0235
59 | 2662021.951 | 1269270.3838
60 | 2661994.3481 | 1269384.7513
61 | 2662027.1135 | 1269252.5437
62 | 2661786.9182 | 1269322.315
63 | 2661770.5797 | 1269292.063
64 | 2662054.5854 | 1269155.8289
65 | 2662045.1925 | 1269178.0077
66 | 2662035.4636 | 1269201.7366
67 | 2661960.2303 | 1269205.8458
68 | 2661975.2762 | 1269170.0851
69 | 2661982.4154 | 1269153.1169
70 | 2661938.7516 | 1269222.8713
71 | 2661912.2079 | 1269203.0428
72 | 2661866.6874 | 1269292.8938
73 | 2661848.3993 | 1269313.185
74 | 2661855.8016 | 1269305.0495
75 | 2661840.0036 | 1269320.9711
76 | 2661828.6951 | 1269331.4586
77 | 2661818.7991 | 1269340.6361
78 | 2661812.6333 | 1269346.404
79 | 2661970.5923 | 1269413.3902
80 | 2661958.3678 | 1269430.0431
81 | 2661946.3441 | 1269446.6754
82 | 2662030.703 | 1269224.6643
83 | 2662030.0431 | 1269227.936
84 | 2662028.5062 | 1269240.2637
85 | 2662027.8193 | 1269246.3201
86 | 2661803.3278 | 1269357.8632
87 | 2661807.8262 | 1269377.5978
88 | 2661802.8106 | 1269355.5944
89 | 2661811.4507 | 1269393.4985
90 | 2661787.7513 | 1269324.0811
91 | 2661816.0924 | 1269406.6165
92 | 2661822.1232 | 1269422.1135
93 | 2661849.5013 | 1269410.4783
94 | 2661841.1789 | 1269420.7587
95 | 2661867.4879 | 1269388.2493
96 | 2661827.8698 | 1269433.8381
97 | 2661879.5413 | 1269373.352
98 | 2661839.6703 | 1269457.8722
99 | 2661893.0559 | 1269356.6488
100 | 2661810.6189 | 1269440.1823
101 | 2661739.9092 | 1269343.6515
102 | 2661734.9946 | 1269310.7026
103 | 2661716.9832 | 1269346.033
104 | 2661713.5232 | 1269371.3745
105 | 2661720.7691 | 1269388.4175
106 | 2661744.7639 | 1269447.9583
107 | 2661729.6371 | 1269428.3849
108 | 2661923.3407 | 1269310.1215

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1