## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4309-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4309-3_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4309-3_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_4309-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4309-3_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4309-3_0_5_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_4309-3_0_5_node_130 | 0.4 | n |  | TRUE
7 | bus_LV_4309-3_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4309-3_0_5_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_4309-3_0_5_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_4309-3_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4309-3_0_5_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_4309-3_0_5_node_99 | 0.4 | n |  | TRUE
13 | bus_LV_4309-3_0_5_node_105 | 0.4 | n |  | TRUE
14 | bus_LV_4309-3_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4309-3_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4309-3_0_5_node_144 | 0.4 | n |  | TRUE
17 | bus_LV_4309-3_0_5_node_138 | 0.4 | n |  | TRUE
18 | bus_LV_4309-3_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4309-3_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4309-3_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4309-3_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4309-3_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_4309-3_0_5_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_4309-3_0_5_node_154 | 0.4 | n |  | TRUE
25 | bus_LV_4309-3_0_5_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_4309-3_0_5_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_4309-3_0_5_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_4309-3_0_5_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_4309-3_0_5_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_4309-3_0_5_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_4309-3_0_5_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_4309-3_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4309-3_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4309-3_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4309-3_0_5_node_152 | 0.4 | n |  | TRUE
36 | bus_LV_4309-3_0_5_node_153 | 0.4 | n |  | TRUE
37 | bus_LV_4309-3_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_4309-3_0_5_node_158 | 0.4 | n |  | TRUE
39 | bus_LV_4309-3_0_5_node_176 | 0.4 | n |  | TRUE
40 | bus_LV_4309-3_0_5_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4309-3_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4309-3_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_4309-3_0_5_node_157 | 0.4 | n |  | TRUE
44 | bus_LV_4309-3_0_5_node_155 | 0.4 | n |  | TRUE
45 | bus_LV_4309-3_0_5_node_159 | 0.4 | n |  | TRUE
46 | bus_LV_4309-3_0_5_node_177 | 0.4 | n |  | TRUE
47 | bus_LV_4309-3_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4309-3_0_5_node_150 | 0.4 | n |  | TRUE
49 | bus_LV_4309-3_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4309-3_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_4309-3_0_5_node_147 | 0.4 | n |  | TRUE
52 | bus_LV_4309-3_0_5_node_128 | 0.4 | n |  | TRUE
53 | bus_LV_4309-3_0_5_node_151 | 0.4 | n |  | TRUE
54 | bus_LV_4309-3_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_4309-3_0_5_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_4309-3_0_5_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_4309-3_0_5_node_29 | 0.4 | n |  | TRUE
58 | bus_LV_4309-3_0_5_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_4309-3_0_5_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_4309-3_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_4309-3_0_5_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4309-3_0_5_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4309-3_0_5_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_4309-3_0_5_node_178 | 0.4 | n |  | TRUE
65 | bus_LV_4309-3_0_5_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4309-3_0_5_node_148 | 0.4 | n |  | TRUE
67 | bus_LV_4309-3_0_5_node_129 | 0.4 | n |  | TRUE
68 | bus_LV_4309-3_0_5_node_120 | 0.4 | n |  | TRUE
69 | bus_LV_4309-3_0_5_node_170 | 0.4 | n |  | TRUE
70 | bus_LV_4309-3_0_5_node_169 | 0.4 | n |  | TRUE
71 | bus_LV_4309-3_0_5_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_4309-3_0_5_node_165 | 0.4 | n |  | TRUE
73 | bus_LV_4309-3_0_5_node_168 | 0.4 | n |  | TRUE
74 | bus_LV_4309-3_0_5_node_171 | 0.4 | n |  | TRUE
75 | bus_LV_4309-3_0_5_node_162 | 0.4 | n |  | TRUE
76 | bus_LV_4309-3_0_5_node_164 | 0.4 | n |  | TRUE
77 | bus_LV_4309-3_0_5_node_156 | 0.4 | n |  | TRUE
78 | bus_LV_4309-3_0_5_node_45 | 0.4 | n |  | TRUE
79 | bus_LV_4309-3_0_5_node_46 | 0.4 | n |  | TRUE
80 | bus_LV_4309-3_0_5_node_48 | 0.4 | n |  | TRUE
81 | bus_LV_4309-3_0_5_node_47 | 0.4 | n |  | TRUE
82 | bus_LV_4309-3_0_5_node_49 | 0.4 | n |  | TRUE
83 | bus_LV_4309-3_0_5_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_4309-3_0_5_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_4309-3_0_5_node_56 | 0.4 | n |  | TRUE
86 | bus_LV_4309-3_0_5_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_4309-3_0_5_node_58 | 0.4 | n |  | TRUE
88 | bus_LV_4309-3_0_5_node_95 | 0.4 | n |  | TRUE
89 | bus_LV_4309-3_0_5_node_61 | 0.4 | n |  | TRUE
90 | bus_LV_4309-3_0_5_node_62 | 0.4 | n |  | TRUE
91 | bus_LV_4309-3_0_5_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_4309-3_0_5_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_4309-3_0_5_node_113 | 0.4 | n |  | TRUE
94 | bus_LV_4309-3_0_5_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_4309-3_0_5_node_110 | 0.4 | n |  | TRUE
96 | bus_LV_4309-3_0_5_node_117 | 0.4 | n |  | TRUE
97 | bus_LV_4309-3_0_5_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_4309-3_0_5_node_167 | 0.4 | n |  | TRUE
99 | bus_LV_4309-3_0_5_node_101 | 0.4 | n |  | TRUE
100 | bus_LV_4309-3_0_5_node_111 | 0.4 | n |  | TRUE
101 | bus_LV_4309-3_0_5_node_115 | 0.4 | n |  | TRUE
102 | bus_LV_4309-3_0_5_node_64 | 0.4 | n |  | TRUE
103 | bus_LV_4309-3_0_5_node_65 | 0.4 | n |  | TRUE
104 | bus_LV_4309-3_0_5_node_66 | 0.4 | n |  | TRUE
105 | bus_LV_4309-3_0_5_node_67 | 0.4 | n |  | TRUE
106 | bus_LV_4309-3_0_5_node_97 | 0.4 | n |  | TRUE
107 | bus_LV_4309-3_0_5_node_131 | 0.4 | n |  | TRUE
108 | bus_LV_4309-3_0_5_node_85 | 0.4 | n |  | TRUE
109 | bus_LV_4309-3_0_5_node_75 | 0.4 | n |  | TRUE
110 | bus_LV_4309-3_0_5_node_76 | 0.4 | n |  | TRUE
111 | bus_LV_4309-3_0_5_node_118 | 0.4 | n |  | TRUE
112 | bus_LV_4309-3_0_5_node_119 | 0.4 | n |  | TRUE
113 | bus_LV_4309-3_0_5_node_77 | 0.4 | n |  | TRUE
114 | bus_LV_4309-3_0_5_node_78 | 0.4 | n |  | TRUE
115 | bus_LV_4309-3_0_5_node_79 | 0.4 | n |  | TRUE
116 | bus_LV_4309-3_0_5_node_80 | 0.4 | n |  | TRUE
117 | bus_LV_4309-3_0_5_node_81 | 0.4 | n |  | TRUE
118 | bus_LV_4309-3_0_5_node_93 | 0.4 | n |  | TRUE
119 | bus_LV_4309-3_0_5_node_149 | 0.4 | n |  | TRUE
120 | bus_LV_4309-3_0_5_node_114 | 0.4 | n |  | TRUE
121 | bus_LV_4309-3_0_5_node_126 | 0.4 | n |  | TRUE
122 | bus_LV_4309-3_0_5_node_82 | 0.4 | n |  | TRUE
123 | bus_LV_4309-3_0_5_node_83 | 0.4 | n |  | TRUE
124 | bus_LV_4309-3_0_5_node_84 | 0.4 | n |  | TRUE
125 | bus_LV_4309-3_0_5_node_86 | 0.4 | n |  | TRUE
126 | bus_LV_4309-3_0_5_node_106 | 0.4 | n |  | TRUE
127 | bus_LV_4309-3_0_5_node_107 | 0.4 | n |  | TRUE
128 | bus_LV_4309-3_0_5_node_87 | 0.4 | n |  | TRUE
129 | bus_LV_4309-3_0_5_node_88 | 0.4 | n |  | TRUE
130 | bus_LV_4309-3_0_5_node_90 | 0.4 | n |  | TRUE
131 | bus_LV_4309-3_0_5_node_89 | 0.4 | n |  | TRUE
132 | bus_LV_4309-3_0_5_node_91 | 0.4 | n |  | TRUE
133 | bus_LV_4309-3_0_5_node_92 | 0.4 | n |  | TRUE
134 | bus_LV_4309-3_0_5_node_102 | 0.4 | n |  | TRUE
135 | bus_LV_4309-3_0_5_node_103 | 0.4 | n |  | TRUE
136 | bus_LV_4309-3_0_5_node_132 | 0.4 | n |  | TRUE
137 | bus_LV_4309-3_0_5_node_136 | 0.4 | n |  | TRUE
138 | bus_LV_4309-3_0_5_node_127 | 0.4 | n |  | TRUE
139 | bus_LV_4309-3_0_5_node_133 | 0.4 | n |  | TRUE
140 | bus_LV_4309-3_0_5_node_112 | 0.4 | n |  | TRUE
141 | bus_LV_4309-3_0_5_node_116 | 0.4 | n |  | TRUE
142 | bus_LV_4309-3_0_5_node_96 | 0.4 | n |  | TRUE
143 | bus_LV_4309-3_0_5_node_142 | 0.4 | n |  | TRUE
144 | bus_LV_4309-3_0_5_node_143 | 0.4 | n |  | TRUE
145 | bus_LV_4309-3_0_5_node_98 | 0.4 | n |  | TRUE
146 | bus_LV_4309-3_0_5_node_100 | 0.4 | n |  | TRUE
147 | bus_LV_4309-3_0_5_node_140 | 0.4 | n |  | TRUE
148 | bus_LV_4309-3_0_5_node_141 | 0.4 | n |  | TRUE
149 | bus_LV_4309-3_0_5_node_135 | 0.4 | n |  | TRUE
150 | bus_LV_4309-3_0_5_node_125 | 0.4 | n |  | TRUE
151 | bus_LV_4309-3_0_5_node_108 | 0.4 | n |  | TRUE
152 | bus_LV_4309-3_0_5_node_109 | 0.4 | n |  | TRUE
153 | bus_LV_4309-3_0_5_node_146 | 0.4 | n |  | TRUE
154 | bus_LV_4309-3_0_5_node_137 | 0.4 | n |  | TRUE
155 | bus_LV_4309-3_0_5_node_121 | 0.4 | n |  | TRUE
156 | bus_LV_4309-3_0_5_node_166 | 0.4 | n |  | TRUE
157 | bus_LV_4309-3_0_5_node_122 | 0.4 | n |  | TRUE
158 | bus_LV_4309-3_0_5_node_123 | 0.4 | n |  | TRUE
159 | bus_LV_4309-3_0_5_node_124 | 0.4 | n |  | TRUE
160 | bus_LV_4309-3_0_5_node_134 | 0.4 | n |  | TRUE
161 | bus_LV_4309-3_0_5_node_145 | 0.4 | n |  | TRUE
162 | bus_LV_4309-3_0_5_node_179 | 0.4 | n |  | TRUE
163 | bus_LV_4309-3_0_5_node_163 | 0.4 | n |  | TRUE
164 | bus_LV_4309-3_0_5_node_160 | 0.4 | n |  | TRUE
165 | bus_LV_4309-3_0_5_node_161 | 0.4 | n |  | TRUE
166 | bus_LV_4309-3_0_5_node_175 | 0.4 | n |  | TRUE
167 | bus_LV_4309-3_0_5_node_174 | 0.4 | n |  | TRUE
168 | bus_LV_4309-3_0_5_node_173 | 0.4 | n |  | TRUE
169 | bus_MV_486_1_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4309-3_0_5_load_0 | 0 | 0.0010169 | 0.00025486 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4309-3_0_5_load_1 | 2 | 0.010317 | 0.0025858 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4309-3_0_5_load_130 | 6 | 0.02228 | 0.005584 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4309-3_0_5_load_69 | 9 | 0.00053775 | 0.00013477 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4309-3_0_5_load_105 | 13 | 0.012047 | 0.0030191 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4309-3_0_5_load_6 | 14 | 0.0062338 | 0.0015623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4309-3_0_5_load_7 | 15 | 0.034956 | 0.0087607 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4309-3_0_5_load_144 | 16 | 0.0038771 | 0.0009717 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4309-3_0_5_load_12 | 18 | 0.0031456 | 0.00078837 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4309-3_0_5_load_15 | 21 | 0.0015461 | 0.00038748 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4309-3_0_5_load_17 | 22 | 0.0022524 | 0.0005645 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4309-3_0_5_load_53 | 25 | 0.001612 | 0.000404 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4309-3_0_5_load_51 | 26 | 0.0023385 | 0.00058608 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4309-3_0_5_load_57 | 28 | 0.0034127 | 0.0008553 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4309-3_0_5_load_72 | 30 | 0.0084746 | 0.0021239 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4309-3_0_5_load_68 | 31 | 0.0024007 | 0.00060168 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4309-3_0_5_load_21 | 32 | 0.0060164 | 0.0015078 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4309-3_0_5_load_22 | 33 | 0.0024366 | 0.00061067 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4309-3_0_5_load_153 | 36 | 0.0055148 | 0.0013821 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4309-3_0_5_load_176 | 39 | 0.00074396 | 0.00018645 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4309-3_0_5_load_32 | 42 | 0.00087144 | 0.0002184 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4309-3_0_5_load_157 | 43 | 0.002665 | 0.0006679 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4309-3_0_5_load_155 | 44 | 0.0034789 | 0.00087191 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4309-3_0_5_load_177 | 46 | 0.00078679 | 0.00019719 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4309-3_0_5_load_150 | 48 | 0.0010397 | 0.00026058 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4309-3_0_5_load_52 | 50 | 0.0013095 | 0.00032819 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4309-3_0_5_load_151 | 53 | 0.0015469 | 0.00038769 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4309-3_0_5_load_27 | 55 | 0.0023103 | 0.00057902 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4309-3_0_5_load_28 | 56 | 0.0031912 | 0.0007998 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4309-3_0_5_load_30 | 58 | 0.0068857 | 0.0017257 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4309-3_0_5_load_31 | 59 | 0.0013005 | 0.00032593 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4309-3_0_5_load_39 | 62 | 0.0005217 | 0.00013075 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4309-3_0_5_load_178 | 64 | 0.00074927 | 0.00018778 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4309-3_0_5_load_50 | 65 | 0.0014311 | 0.00035867 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4309-3_0_5_load_148 | 66 | 0.0012937 | 0.00032422 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4309-3_0_5_load_129 | 67 | 0.0028663 | 0.00071835 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4309-3_0_5_load_120 | 68 | 0.0033704 | 0.00084471 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4309-3_0_5_load_169 | 70 | 0.00067514 | 0.0001692 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4309-3_0_5_load_168 | 73 | 0.00055535 | 0.00013918 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4309-3_0_5_load_171 | 74 | 0.0011664 | 0.00029232 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4309-3_0_5_load_164 | 76 | 0.00032941 | 8.2558e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4309-3_0_5_load_156 | 77 | 0.0029848 | 0.00074806 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4309-3_0_5_load_45 | 78 | 0.0054792 | 0.0013732 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4309-3_0_5_load_46 | 79 | 0.0090374 | 0.002265 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4309-3_0_5_load_48 | 80 | 0.001762 | 0.00044159 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4309-3_0_5_load_47 | 81 | 0.0030382 | 0.00076146 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4309-3_0_5_load_49 | 82 | 0.0059796 | 0.0014986 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4309-3_0_5_load_59 | 83 | 0.0032393 | 0.00081185 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4309-3_0_5_load_56 | 85 | 0.0087835 | 0.0022014 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4309-3_0_5_load_94 | 86 | 0.0075405 | 0.0018898 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4309-3_0_5_load_58 | 87 | 0.016785 | 0.0042067 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4309-3_0_5_load_95 | 88 | 0.0028865 | 0.00072343 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4309-3_0_5_load_61 | 89 | 0.0044128 | 0.0011059 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4309-3_0_5_load_63 | 91 | 0.0038561 | 0.00096644 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4309-3_0_5_load_73 | 92 | 0.0075514 | 0.0018926 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4309-3_0_5_load_113 | 93 | 0.0046854 | 0.0011743 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4309-3_0_5_load_104 | 94 | 0.0030601 | 0.00076693 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4309-3_0_5_load_110 | 95 | 0.0028028 | 0.00070245 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4309-3_0_5_load_117 | 96 | 0.0030349 | 0.00076061 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4309-3_0_5_load_167 | 98 | 0.0034485 | 0.00086428 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4309-3_0_5_load_101 | 99 | 0.0046876 | 0.0011748 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4309-3_0_5_load_111 | 100 | 0.0023285 | 0.00058357 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4309-3_0_5_load_64 | 102 | 0.0056051 | 0.0014048 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4309-3_0_5_load_65 | 103 | 0.001908 | 0.00047818 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4309-3_0_5_load_66 | 104 | 0.0040521 | 0.0010156 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4309-3_0_5_load_67 | 105 | 0.0021693 | 0.00054367 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4309-3_0_5_load_97 | 106 | 0.0021926 | 0.00054952 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4309-3_0_5_load_131 | 107 | 0.0045925 | 0.001151 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4309-3_0_5_load_85 | 108 | 0.020944 | 0.0052491 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4309-3_0_5_load_75 | 109 | 0.0036703 | 0.00091986 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4309-3_0_5_load_76 | 110 | 0.011423 | 0.002863 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4309-3_0_5_load_118 | 111 | 0.0020475 | 0.00051314 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4309-3_0_5_load_119 | 112 | 0.0021601 | 0.00054137 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4309-3_0_5_load_77 | 113 | 0.00341 | 0.00085463 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4309-3_0_5_load_78 | 114 | 0.0028862 | 0.00072336 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4309-3_0_5_load_79 | 115 | 0.0026335 | 0.00066002 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4309-3_0_5_load_80 | 116 | 0.0039967 | 0.0010017 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4309-3_0_5_load_81 | 117 | 0.0025297 | 0.000634 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4309-3_0_5_load_93 | 118 | 0.0018096 | 0.00045353 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4309-3_0_5_load_149 | 119 | 0.0042146 | 0.0010563 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4309-3_0_5_load_126 | 121 | 0.0034995 | 0.00087706 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4309-3_0_5_load_82 | 122 | 0.0043064 | 0.0010793 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4309-3_0_5_load_83 | 123 | 0.010047 | 0.0025181 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4309-3_0_5_load_84 | 124 | 0.0035342 | 0.00088576 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4309-3_0_5_load_86 | 125 | 0.0040654 | 0.0010189 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4309-3_0_5_load_106 | 126 | 0.0037235 | 0.00093321 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4309-3_0_5_load_87 | 128 | 0.0059368 | 0.0014879 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4309-3_0_5_load_88 | 129 | 0.0040209 | 0.0010077 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4309-3_0_5_load_90 | 130 | 0.0041088 | 0.0010298 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4309-3_0_5_load_91 | 132 | 0.005774 | 0.0014471 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4309-3_0_5_load_92 | 133 | 0.016073 | 0.0040284 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4309-3_0_5_load_102 | 134 | 0.0034485 | 0.00086428 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4309-3_0_5_load_103 | 135 | 0.0048275 | 0.0012099 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4309-3_0_5_load_132 | 136 | 0.0023576 | 0.00059088 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4309-3_0_5_load_136 | 137 | 0.0032415 | 0.00081239 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4309-3_0_5_load_127 | 138 | 0.0049596 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4309-3_0_5_load_133 | 139 | 0.0056969 | 0.0014278 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4309-3_0_5_load_112 | 140 | 0.0021569 | 0.00054056 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4309-3_0_5_load_116 | 141 | 0.0015331 | 0.00038424 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4309-3_0_5_load_96 | 142 | 0.001967 | 0.00049299 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4309-3_0_5_load_142 | 143 | 0.0026276 | 0.00065853 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4309-3_0_5_load_143 | 144 | 0.0030506 | 0.00076454 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4309-3_0_5_load_98 | 145 | 0.0014811 | 0.0003712 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4309-3_0_5_load_100 | 146 | 0.0019811 | 0.0004965 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4309-3_0_5_load_140 | 147 | 0.0056435 | 0.0014144 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4309-3_0_5_load_135 | 149 | 0.003897 | 0.00097669 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4309-3_0_5_load_125 | 150 | 0.0032679 | 0.00081901 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4309-3_0_5_load_108 | 151 | 0.0033074 | 0.00082892 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4309-3_0_5_load_109 | 152 | 0.0061846 | 0.00155 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4309-3_0_5_load_146 | 153 | 0.0027779 | 0.00069621 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4309-3_0_5_load_121 | 155 | 0.0027428 | 0.0006874 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4309-3_0_5_load_166 | 156 | 0.0071048 | 0.0017806 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4309-3_0_5_load_122 | 157 | 0.0059072 | 0.0014805 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4309-3_0_5_load_123 | 158 | 0.0035184 | 0.0008818 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4309-3_0_5_load_124 | 159 | 0.0036165 | 0.00090638 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4309-3_0_5_load_134 | 160 | 0.010094 | 0.0025298 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4309-3_0_5_load_179 | 162 | 0.0064013 | 0.0016043 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4309-3_0_5_load_163 | 163 | 0.0088285 | 0.0022126 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4309-3_0_5_load_160 | 164 | 0.0002942 | 7.3734e-05 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4309-3_0_5_load_175 | 166 | 0.000718 | 0.00017995 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4309-3_0_5_load_174 | 167 | 0.00082932 | 0.00020785 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4309-3_0_5_load_173 | 168 | 0.00042902 | 0.00010752 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 95 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4309-3_0_5_line_0 |  | 0 | 1 | 0.041685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4309-3_0_5_line_1 |  | 1 | 4 | 0.039679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4309-3_0_5_line_2 |  | 2 | 3 | 0.034995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4309-3_0_5_line_3 |  | 3 | 5 | 0.075828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4309-3_0_5_line_4 |  | 3 | 6 | 0.00145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4309-3_0_5_line_5 |  | 4 | 9 | 0.01145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4309-3_0_5_line_6 |  | 4 | 7 | 0.075384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4309-3_0_5_line_7 |  | 5 | 10 | 0.024429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4309-3_0_5_line_8 |  | 6 | 11 | 0.025345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4309-3_0_5_line_9 |  | 7 | 8 | 0.063214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4309-3_0_5_line_10 |  | 8 | 11 | 0.039606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4309-3_0_5_line_11 |  | 8 | 12 | 0.002881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4309-3_0_5_line_12 |  | 8 | 13 | 0.014985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4309-3_0_5_line_13 |  | 10 | 15 | 0.082739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4309-3_0_5_line_14 |  | 12 | 99 | 0.018589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4309-3_0_5_line_15 |  | 12 | 106 | 0.011426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4309-3_0_5_line_16 |  | 13 | 105 | 0.00079535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4309-3_0_5_line_17 |  | 14 | 15 | 0.020514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4309-3_0_5_line_18 |  | 16 | 17 | 0.026763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4309-3_0_5_line_19 |  | 17 | 161 | 0.010688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4309-3_0_5_line_20 |  | 17 | 153 | 0.015982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4309-3_0_5_line_21 |  | 18 | 19 | 0.021668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4309-3_0_5_line_22 |  | 18 | 20 | 0.0094444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4309-3_0_5_line_23 |  | 19 | 21 | 0.068372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4309-3_0_5_line_24 |  | 20 | 22 | 0.017163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4309-3_0_5_line_25 |  | 21 | 23 | 0.037497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4309-3_0_5_line_26 |  | 23 | 24 | 0.023921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4309-3_0_5_line_27 |  | 24 | 77 | 0.01299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4309-3_0_5_line_28 |  | 24 | 44 | 0.012503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4309-3_0_5_line_29 |  | 25 | 26 | 0.013322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4309-3_0_5_line_30 |  | 26 | 65 | 0.0040893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4309-3_0_5_line_31 |  | 27 | 28 | 0.026956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4309-3_0_5_line_32 |  | 27 | 29 | 0.011089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4309-3_0_5_line_33 |  | 28 | 87 | 0.012102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4309-3_0_5_line_34 |  | 29 | 85 | 0.0038147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4309-3_0_5_line_35 |  | 29 | 82 | 0.0056408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4309-3_0_5_line_36 |  | 30 | 31 | 0.0088199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4309-3_0_5_line_37 |  | 31 | 104 | 0.031246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4309-3_0_5_line_38 |  | 32 | 33 | 0.030416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4309-3_0_5_line_39 |  | 33 | 34 | 0.0019891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4309-3_0_5_line_40 |  | 34 | 35 | 0.018555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4309-3_0_5_line_41 |  | 34 | 36 | 0.024647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4309-3_0_5_line_42 |  | 35 | 43 | 0.013639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4309-3_0_5_line_43 |  | 35 | 44 | 0.011692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4309-3_0_5_line_44 |  | 37 | 38 | 0.015417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4309-3_0_5_line_45 |  | 37 | 39 | 0.015008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4309-3_0_5_line_46 |  | 38 | 45 | 0.009109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4309-3_0_5_line_47 |  | 39 | 46 | 0.034607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4309-3_0_5_line_48 |  | 40 | 41 | 0.049766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4309-3_0_5_line_49 |  | 40 | 42 | 0.018102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4309-3_0_5_line_50 |  | 41 | 47 | 0.025395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4309-3_0_5_line_51 |  | 41 | 48 | 0.028947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4309-3_0_5_line_52 |  | 42 | 54 | 0.01334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4309-3_0_5_line_53 |  | 45 | 165 | 0.011831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4309-3_0_5_line_54 |  | 45 | 166 | 0.015972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4309-3_0_5_line_55 |  | 46 | 64 | 0.033984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4309-3_0_5_line_56 |  | 47 | 52 | 0.038483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4309-3_0_5_line_57 |  | 47 | 53 | 0.038973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4309-3_0_5_line_58 |  | 49 | 50 | 0.016077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4309-3_0_5_line_59 |  | 49 | 51 | 0.00538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4309-3_0_5_line_60 |  | 50 | 65 | 0.0075402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4309-3_0_5_line_61 |  | 51 | 66 | 0.009906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4309-3_0_5_line_62 |  | 52 | 67 | 0.0074621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4309-3_0_5_line_63 |  | 52 | 68 | 0.007706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4309-3_0_5_line_64 |  | 54 | 63 | 0.003052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4309-3_0_5_line_65 |  | 55 | 56 | 0.010126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4309-3_0_5_line_66 |  | 55 | 57 | 0.054533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4309-3_0_5_line_67 |  | 57 | 58 | 0.032087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4309-3_0_5_line_68 |  | 57 | 59 | 0.016611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4309-3_0_5_line_69 |  | 59 | 60 | 0.016642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4309-3_0_5_line_70 |  | 60 | 61 | 0.028025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4309-3_0_5_line_71 |  | 60 | 62 | 0.012551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4309-3_0_5_line_72 |  | 61 | 69 | 0.020782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4309-3_0_5_line_73 |  | 61 | 70 | 0.019066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4309-3_0_5_line_74 |  | 63 | 64 | 0.034684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4309-3_0_5_line_75 |  | 66 | 110 | 0.003416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4309-3_0_5_line_76 |  | 68 | 112 | 0.0089169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4309-3_0_5_line_77 |  | 69 | 74 | 0.01678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4309-3_0_5_line_78 |  | 70 | 73 | 0.00069741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4309-3_0_5_line_79 |  | 71 | 72 | 0.012692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4309-3_0_5_line_80 |  | 71 | 73 | 0.015223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4309-3_0_5_line_81 |  | 72 | 75 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4309-3_0_5_line_82 |  | 72 | 76 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4309-3_0_5_line_83 |  | 75 | 165 | 0.01152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4309-3_0_5_line_84 |  | 76 | 163 | 0.012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4309-3_0_5_line_85 |  | 77 | 163 | 0.0092958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4309-3_0_5_line_86 |  | 78 | 79 | 0.01263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4309-3_0_5_line_87 |  | 79 | 80 | 0.010926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4309-3_0_5_line_88 |  | 80 | 83 | 0.010628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4309-3_0_5_line_89 |  | 81 | 82 | 0.011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4309-3_0_5_line_90 |  | 83 | 84 | 0.023375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4309-3_0_5_line_91 |  | 84 | 89 | 0.01085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_4309-3_0_5_line_92 |  | 84 | 90 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4309-3_0_5_line_93 |  | 84 | 91 | 0.020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_4309-3_0_5_line_94 |  | 85 | 86 | 0.022769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4309-3_0_5_line_95 |  | 86 | 88 | 0.012314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4309-3_0_5_line_96 |  | 88 | 142 | 0.0064551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4309-3_0_5_line_97 |  | 89 | 92 | 0.0066251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4309-3_0_5_line_98 |  | 90 | 93 | 0.01684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4309-3_0_5_line_99 |  | 90 | 94 | 0.012314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_4309-3_0_5_line_100 |  | 90 | 95 | 0.018269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_4309-3_0_5_line_101 |  | 91 | 96 | 0.016105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_4309-3_0_5_line_102 |  | 92 | 97 | 0.002475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4309-3_0_5_line_103 |  | 93 | 98 | 0.011599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4309-3_0_5_line_104 |  | 94 | 99 | 0.0016037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_4309-3_0_5_line_105 |  | 95 | 100 | 0.0059249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4309-3_0_5_line_106 |  | 96 | 101 | 0.011742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_4309-3_0_5_line_107 |  | 97 | 109 | 0.027342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4309-3_0_5_line_108 |  | 97 | 110 | 0.017195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4309-3_0_5_line_109 |  | 98 | 144 | 0.0092621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4309-3_0_5_line_110 |  | 100 | 140 | 0.0054426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4309-3_0_5_line_111 |  | 101 | 155 | 0.0086726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4309-3_0_5_line_112 |  | 101 | 120 | 0.014537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_4309-3_0_5_line_113 |  | 102 | 103 | 0.018909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4309-3_0_5_line_114 |  | 102 | 104 | 0.006331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4309-3_0_5_line_115 |  | 103 | 105 | 0.0092766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4309-3_0_5_line_116 |  | 106 | 145 | 0.0076994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4309-3_0_5_line_117 |  | 107 | 108 | 0.020272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4309-3_0_5_line_118 |  | 108 | 123 | 0.015117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4309-3_0_5_line_119 |  | 109 | 111 | 0.0123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4309-3_0_5_line_120 |  | 111 | 112 | 0.00031335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4309-3_0_5_line_121 |  | 113 | 114 | 0.0054489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4309-3_0_5_line_122 |  | 113 | 115 | 0.0037825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4309-3_0_5_line_123 |  | 114 | 116 | 0.0032162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4309-3_0_5_line_124 |  | 115 | 117 | 0.0043254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4309-3_0_5_line_125 |  | 116 | 118 | 0.0050028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
126 | LV_4309-3_0_5_line_126 |  | 117 | 119 | 0.00452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4309-3_0_5_line_127 |  | 118 | 120 | 0.0096878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_4309-3_0_5_line_128 |  | 119 | 121 | 0.0054067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4309-3_0_5_line_129 |  | 120 | 141 | 0.007897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4309-3_0_5_line_130 |  | 121 | 159 | 0.0062895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4309-3_0_5_line_131 |  | 122 | 123 | 0.0013978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4309-3_0_5_line_132 |  | 122 | 124 | 0.00061189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4309-3_0_5_line_133 |  | 124 | 125 | 0.0094291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4309-3_0_5_line_134 |  | 125 | 126 | 0.0099346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4309-3_0_5_line_135 |  | 126 | 127 | 0.018255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4309-3_0_5_line_136 |  | 127 | 151 | 0.010972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4309-3_0_5_line_137 |  | 127 | 152 | 0.0098272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4309-3_0_5_line_138 |  | 128 | 129 | 0.0069688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4309-3_0_5_line_139 |  | 129 | 130 | 0.0059033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4309-3_0_5_line_140 |  | 130 | 134 | 0.0053393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4309-3_0_5_line_141 |  | 130 | 135 | 0.0064426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4309-3_0_5_line_142 |  | 131 | 132 | 0.010589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4309-3_0_5_line_143 |  | 131 | 133 | 0.0083009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4309-3_0_5_line_144 |  | 132 | 136 | 0.011513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4309-3_0_5_line_145 |  | 134 | 137 | 0.00065837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4309-3_0_5_line_146 |  | 135 | 138 | 0.0043628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4309-3_0_5_line_147 |  | 136 | 139 | 0.0041009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4309-3_0_5_line_148 |  | 137 | 149 | 0.0078015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4309-3_0_5_line_149 |  | 138 | 150 | 0.0048199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4309-3_0_5_line_150 |  | 139 | 160 | 0.020124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4309-3_0_5_line_151 |  | 141 | 156 | 0.0011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4309-3_0_5_line_152 |  | 142 | 143 | 0.0061106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4309-3_0_5_line_153 |  | 143 | 144 | 0.007844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4309-3_0_5_line_154 |  | 145 | 146 | 0.0072551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4309-3_0_5_line_155 |  | 146 | 147 | 0.01243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4309-3_0_5_line_156 |  | 147 | 148 | 0.0046185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4309-3_0_5_line_157 |  | 148 | 160 | 0.0070366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4309-3_0_5_line_158 |  | 149 | 154 | 0.0035838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4309-3_0_5_line_159 |  | 150 | 158 | 0.0049122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4309-3_0_5_line_160 |  | 151 | 153 | 0.00088791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4309-3_0_5_line_161 |  | 152 | 154 | 0.018994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4309-3_0_5_line_162 |  | 155 | 157 | 0.0015838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_4309-3_0_5_line_163 |  | 158 | 159 | 0.0049564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_4309-3_0_5_line_164 |  | 161 | 162 | 0.034756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_4309-3_0_5_line_165 |  | 164 | 165 | 0.015968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_4309-3_0_5_line_166 |  | 166 | 167 | 0.032978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
167 | LV_4309-3_0_5_line_167 |  | 167 | 168 | 0.025385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4309-3_0_5_trafo_110 | 0.63 MVA 20/0.4 kV | 169 | 95 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2661123.1374 | 1270145.5258 | 2661106.7511 | 1270138.9069 | 2661096.8858 | 1270156.496 | 2661095.3578 | 1270160.0246
1 | 2661123.1374 | 1270145.5258 | 2661116.8113 | 1270165.7313 | 2661115.747 | 1270168.2444 | 2661114.0665 | 1270170.6845 | 2661118.268 | 1270173.2854 | 2661125.7438 | 1270175.7535
2 | 2661012.6352 | 1270238.5546 | 2661043.3339 | 1270221.754
3 | 2661012.6352 | 1270238.5546 | 2660993.6683 | 1270213.7289 | 2660982.8167 | 1270200.8293 | 2660972.4307 | 1270191.6596 | 2660960.3141 | 1270184.6737
4 | 2661012.6352 | 1270238.5546 | 2661013.5573 | 1270239.6737
5 | 2661125.7438 | 1270175.7535 | 2661131.5803 | 1270185.6041
6 | 2661082.5876 | 1270223.6771 | 2661085.6503 | 1270209.8093 | 2661094.7691 | 1270197.4608 | 2661110.2179 | 1270175.426 | 2661114.0665 | 1270170.6845 | 2661118.268 | 1270173.2854 | 2661125.7438 | 1270175.7535
7 | 2660940.0281 | 1270170.9763 | 2660946.4319 | 1270175.2567 | 2660952.8444 | 1270179.426 | 2660960.3141 | 1270184.6737
8 | 2661029.6736 | 1270259.2352 | 2661013.5573 | 1270239.6737
9 | 2661056.3191 | 1270264.6923 | 2661054.9979 | 1270262.2213 | 2661047.8515 | 1270249.7379 | 2661046.8079 | 1270248.0703 | 2661079.4172 | 1270229.0484 | 2661081.4368 | 1270226.5562 | 2661082.5876 | 1270223.6771
10 | 2661029.6736 | 1270259.2352 | 2661038.9999 | 1270252.9934 | 2661046.8079 | 1270248.0703 | 2661047.8515 | 1270249.7379 | 2661054.9979 | 1270262.2213 | 2661056.3191 | 1270264.6923
11 | 2661056.3191 | 1270264.6923 | 2661053.7622 | 1270266.0336
12 | 2661056.3191 | 1270264.6923 | 2661069.5917 | 1270257.7362
13 | 2660940.0281 | 1270170.9763 | 2660961.0556 | 1270138.3573 | 2660972.6628 | 1270137.8433 | 2660989.4825 | 1270110.2546
14 | 2661053.7622 | 1270266.0336 | 2661054.9079 | 1270268.7475 | 2661058.7071 | 1270277.5045 | 2661061.6368 | 1270282.8517
15 | 2661053.7622 | 1270266.0336 | 2661052.6604 | 1270263.4425 | 2661045.0091 | 1270267.3924
16 | 2661069.5917 | 1270257.7362 | 2661070.2962 | 1270257.3669
17 | 2661002.7887 | 1270096.3227 | 2660997.1238 | 1270097.7208 | 2660989.4825 | 1270110.2546
18 | 2660911.3796 | 1270314.4233 | 2660922.5896 | 1270301.3289 | 2660927.4935 | 1270293.4624 | 2660927.6166 | 1270293.238
19 | 2660911.3796 | 1270314.4233 | 2660904.1024 | 1270306.5757
20 | 2660911.3796 | 1270314.4233 | 2660921.7893 | 1270326.5504
21 | 2661308.0342 | 1270361.1385 | 2661292.3826 | 1270346.1536
22 | 2661293.8405 | 1270337.6178 | 2661291.3993 | 1270340.8505 | 2661292.3826 | 1270346.1536
23 | 2661308.0342 | 1270361.1385 | 2661297.7146 | 1270374.6417 | 2661285.282 | 1270398.1751 | 2661272.5447 | 1270419.409
24 | 2661293.8405 | 1270337.6178 | 2661285.1526 | 1270326.5526 | 2661283.4258 | 1270323.9848
25 | 2661250.4276 | 1270449.4305 | 2661261.8622 | 1270437.2175 | 2661272.5447 | 1270419.409
26 | 2661250.4276 | 1270449.4305 | 2661244.6704 | 1270445.2343 | 2661235.6063 | 1270436.3558 | 2661233.4234 | 1270432.8305
27 | 2661233.4234 | 1270432.8305 | 2661222.2059 | 1270439.3802
28 | 2661233.4234 | 1270432.8305 | 2661226.8309 | 1270422.2066
29 | 2661141.0654 | 1270325.3969 | 2661132.0381 | 1270335.1934
30 | 2661129.2669 | 1270338.2007 | 2661132.0381 | 1270335.1934
31 | 2661162.9532 | 1270242.2224 | 2661171.5891 | 1270256.1668 | 2661164.6861 | 1270264.1498
32 | 2661153.3181 | 1270247.7602 | 2661162.9532 | 1270242.2224
33 | 2661156.7703 | 1270273.3043 | 2661164.6861 | 1270264.1498
34 | 2661153.3181 | 1270247.7602 | 2661149.9961 | 1270249.6354
35 | 2661153.3181 | 1270247.7602 | 2661148.5539 | 1270250.7803
36 | 2661129.4951 | 1270230.4688 | 2661137.4621 | 1270226.6848
37 | 2661129.4951 | 1270230.4688 | 2661101.271 | 1270243.8745
38 | 2661193.3147 | 1270369.2599 | 2661206.4285 | 1270389.3178 | 2661209.8277 | 1270394.8009
39 | 2661210.8758 | 1270396.4915 | 2661209.8277 | 1270394.8009
40 | 2661220.666 | 1270412.2716 | 2661210.8758 | 1270396.4915
41 | 2661210.8758 | 1270396.4915 | 2661189.279 | 1270408.3685
42 | 2661220.666 | 1270412.2716 | 2661209.0406 | 1270419.4047
43 | 2661220.666 | 1270412.2716 | 2661226.8309 | 1270422.2066
44 | 2661159.1666 | 1270407.331 | 2661167.0569 | 1270420.5895
45 | 2661159.1666 | 1270407.331 | 2661146.7914 | 1270415.8215
46 | 2661171.4734 | 1270428.5635 | 2661167.0569 | 1270420.5895
47 | 2661146.7914 | 1270415.8215 | 2661118.2549 | 1270435.4002
48 | 2661038.7137 | 1270403.694 | 2661040.4162 | 1270406.3914 | 2661044.5942 | 1270413.4399 | 2661056.9824 | 1270436.2964 | 2661057.4833 | 1270437.3357 | 2661062.4122 | 1270447.4276
49 | 2661062.4122 | 1270447.4276 | 2661062.6625 | 1270465.5284
50 | 2661043.8732 | 1270386.3897 | 2661048.221 | 1270398.8441 | 2661048.7159 | 1270400.4615 | 2661038.7137 | 1270403.694
51 | 2661038.7137 | 1270403.694 | 2661024.0718 | 1270406.7006 | 2661010.1242 | 1270405.4971
52 | 2661062.8469 | 1270478.8672 | 2661062.6625 | 1270465.5284
53 | 2661171.4734 | 1270428.5635 | 2661177.7342 | 1270438.6137
54 | 2661171.4734 | 1270428.5635 | 2661158.17 | 1270437.4019
55 | 2661118.2549 | 1270435.4002 | 2661090.232 | 1270454.6265
56 | 2661043.8732 | 1270386.3897 | 2661054.657 | 1270383.9659 | 2661077.2721 | 1270374.6036 | 2661079.7804 | 1270372.8615
57 | 2661043.8732 | 1270386.3897 | 2661027.7652 | 1270390.0149 | 2661005.3563 | 1270388.4636
58 | 2661113.5424 | 1270355.8198 | 2661124.1766 | 1270343.7629
59 | 2661109.4634 | 1270352.2972 | 2661113.5424 | 1270355.8198
60 | 2661124.1766 | 1270343.7629 | 2661124.9619 | 1270342.8725 | 2661129.2669 | 1270338.2007
61 | 2661109.4634 | 1270352.2972 | 2661103.3776 | 1270344.481
62 | 2661079.7804 | 1270372.8615 | 2661085.9143 | 1270368.612
63 | 2661079.7804 | 1270372.8615 | 2661076.3663 | 1270365.9531
64 | 2661062.8469 | 1270478.8672 | 2661065.826 | 1270478.1641
65 | 2661171.448 | 1270554.4753 | 2661181.2705 | 1270552.0142
66 | 2661153.3193 | 1270526.6058 | 2661145.2818 | 1270539.9216 | 2661144.5367 | 1270546.4856 | 2661147.0819 | 1270552.8056 | 2661159.6206 | 1270557.4389 | 2661171.448 | 1270554.4753
67 | 2661153.3193 | 1270526.6058 | 2661142.4028 | 1270525.1472 | 2661125.5067 | 1270526.4512 | 2661121.4658 | 1270527.2921
68 | 2661153.3193 | 1270526.6058 | 2661167.7497 | 1270518.3789
69 | 2661182.207 | 1270510.1367 | 2661167.7497 | 1270518.3789
70 | 2661182.207 | 1270510.1367 | 2661165.4369 | 1270487.646
71 | 2661182.207 | 1270510.1367 | 2661192.6325 | 1270503.1479
72 | 2661150.1731 | 1270473.7107 | 2661156.2041 | 1270477.6205 | 2661165.4369 | 1270487.646
73 | 2661165.4369 | 1270487.646 | 2661181.8027 | 1270477.8656
74 | 2661065.826 | 1270478.1641 | 2661072.5496 | 1270466.7582 | 2661090.232 | 1270454.6265
75 | 2661103.3776 | 1270344.481 | 2661101.279 | 1270341.7857
76 | 2661076.3663 | 1270365.9531 | 2661072.4157 | 1270357.959
77 | 2661150.1731 | 1270473.7107 | 2661152.3187 | 1270468.4845 | 2661161.6998 | 1270462.4947
78 | 2661182.4014 | 1270477.5079 | 2661181.8027 | 1270477.8656
79 | 2661195.4686 | 1270469.6988 | 2661189.1502 | 1270458.6805
80 | 2661195.4686 | 1270469.6988 | 2661182.4014 | 1270477.5079
81 | 2661183.2343 | 1270448.745 | 2661189.1502 | 1270458.6805
82 | 2661189.1502 | 1270458.6805 | 2661203.0179 | 1270450.5835
83 | 2661183.2343 | 1270448.745 | 2661177.7342 | 1270438.6137
84 | 2661203.0179 | 1270450.5835 | 2661214.1782 | 1270444.0673
85 | 2661222.2059 | 1270439.3802 | 2661214.1782 | 1270444.0673
86 | 2661118.3513 | 1270271.3683 | 2661109.0001 | 1270279.8583
87 | 2661100.9105 | 1270287.203 | 2661109.0001 | 1270279.8583
88 | 2661100.9105 | 1270287.203 | 2661093.0419 | 1270294.347
89 | 2661148.5539 | 1270250.7803 | 2661139.0319 | 1270256.8164
90 | 2661078.4564 | 1270312.4797 | 2661088.3886 | 1270298.5718 | 2661093.0419 | 1270294.347
91 | 2661078.4564 | 1270312.4797 | 2661085.1233 | 1270321.0391
92 | 2661078.4564 | 1270312.4797 | 2661068.5637 | 1270294.9196
93 | 2661078.4564 | 1270312.4797 | 2661063.2217 | 1270326.1006
94 | 2661149.9961 | 1270249.6354 | 2661130.168 | 1270260.8283
95 | 2661130.168 | 1270260.8283 | 2661119.4444 | 1270266.8817
96 | 2661113.8231 | 1270270.0549 | 2661119.4444 | 1270266.8817
97 | 2661089.1944 | 1270326.2658 | 2661085.1233 | 1270321.0391
98 | 2661068.5637 | 1270294.9196 | 2661077.1235 | 1270290.7716 | 2661083.5047 | 1270287.1695
99 | 2661068.5637 | 1270294.9196 | 2661065.2201 | 1270289.392 | 2661062.4073 | 1270284.2581
100 | 2661068.5637 | 1270294.9196 | 2661056.7686 | 1270299.8126 | 2661051.8263 | 1270302.224
101 | 2661063.2217 | 1270326.1006 | 2661051.703 | 1270336.3992 | 2661051.2015 | 1270336.8177
102 | 2661090.7152 | 1270328.2184 | 2661089.1944 | 1270326.2658
103 | 2661093.6052 | 1270281.4678 | 2661083.5047 | 1270287.1695
104 | 2661062.4073 | 1270284.2581 | 2661061.6368 | 1270282.8517
105 | 2661051.8263 | 1270302.224 | 2661046.5013 | 1270304.822
106 | 2661042.1862 | 1270344.3403 | 2661051.2015 | 1270336.8177
107 | 2661090.7152 | 1270328.2184 | 2661071.2239 | 1270347.3937
108 | 2661090.7152 | 1270328.2184 | 2661101.279 | 1270341.7857
109 | 2661101.671 | 1270276.9147 | 2661093.6052 | 1270281.4678
110 | 2661046.5013 | 1270304.822 | 2661041.6099 | 1270307.2086
111 | 2661042.1862 | 1270344.3403 | 2661043.4409 | 1270345.9656 | 2661046.8855 | 1270351.6181
112 | 2661042.1862 | 1270344.3403 | 2661035.8492 | 1270349.6344 | 2661030.0895 | 1270352.2102
113 | 2661095.5028 | 1270244.7764 | 2661086.4043 | 1270248.9246 | 2661078.5127 | 1270253.0606
114 | 2661095.5028 | 1270244.7764 | 2661099.3537 | 1270243.0207 | 2661101.271 | 1270243.8745 | 2661101.271 | 1270243.8745
115 | 2661070.2962 | 1270257.3669 | 2661078.5127 | 1270253.0606
116 | 2661038.1676 | 1270270.9243 | 2661045.0091 | 1270267.3924
117 | 2660970.0307 | 1270301.7895 | 2660980.2756 | 1270295.3527 | 2660987.1502 | 1270290.9322
118 | 2660970.0307 | 1270301.7895 | 2660961.7145 | 1270307.0145 | 2660957.5124 | 1270310.2379
119 | 2661072.2769 | 1270357.6781 | 2661068.5126 | 1270350.061 | 2661071.2239 | 1270347.3937
120 | 2661072.4157 | 1270357.959 | 2661072.2769 | 1270357.6781
121 | 2661007.3615 | 1270356.4899 | 2661012.81 | 1270356.5462
122 | 2661007.3615 | 1270356.4899 | 2661007.3615 | 1270356.4899 | 2661003.6501 | 1270355.7599
123 | 2661012.81 | 1270356.5462 | 2661014.0117 | 1270356.5586 | 2661015.9751 | 1270356.1078
124 | 2660999.406 | 1270354.9252 | 2661003.6501 | 1270355.7599
125 | 2661020.8511 | 1270354.9884 | 2661015.9751 | 1270356.1078
126 | 2660999.406 | 1270354.9252 | 2660994.971 | 1270354.0529
127 | 2661030.0895 | 1270352.2102 | 2661027.0359 | 1270353.5686 | 2661020.8511 | 1270354.9884
128 | 2660989.6659 | 1270353.0095 | 2660994.971 | 1270354.0529
129 | 2661030.0895 | 1270352.2102 | 2661030.7392 | 1270354.1406 | 2661034.1314 | 1270358.9193
130 | 2660983.4188 | 1270352.3506 | 2660988.2075 | 1270352.7226 | 2660989.6659 | 1270353.0095
131 | 2660956.4033 | 1270311.0886 | 2660957.5124 | 1270310.2379
132 | 2660956.4033 | 1270311.0886 | 2660955.9178 | 1270311.461
133 | 2660948.8103 | 1270317.6071 | 2660950.9153 | 1270315.2983 | 2660955.9178 | 1270311.461
134 | 2660942.0469 | 1270324.8774 | 2660942.7499 | 1270324.2542 | 2660948.8103 | 1270317.6071
135 | 2660928.0641 | 1270336.6011 | 2660934.9745 | 1270331.146 | 2660942.0469 | 1270324.8774
136 | 2660928.0641 | 1270336.6011 | 2660922.3676 | 1270327.2241 | 2660922.3676 | 1270327.2241
137 | 2660928.0641 | 1270336.6011 | 2660932.6647 | 1270345.285
138 | 2660969.369 | 1270344.3365 | 2660963.2148 | 1270347.6061
139 | 2660958.0016 | 1270350.3759 | 2660963.2148 | 1270347.6061
140 | 2660958.0016 | 1270350.3759 | 2660953.4516 | 1270353.1697
141 | 2660958.0016 | 1270350.3759 | 2660964.4248 | 1270350.8749
142 | 2661012.7359 | 1270321.2964 | 2661007.6652 | 1270312.5262 | 2661007.437 | 1270312.1286
143 | 2661012.7359 | 1270321.2964 | 2661020.1961 | 1270317.6565
144 | 2661001.7069 | 1270302.1431 | 2661007.437 | 1270312.1286
145 | 2660952.8905 | 1270353.5142 | 2660953.4516 | 1270353.1697
146 | 2660964.4248 | 1270350.8749 | 2660968.7745 | 1270351.2128
147 | 2661001.7069 | 1270302.1431 | 2661001.4644 | 1270301.7207 | 2661000.0339 | 1270298.4021
148 | 2660946.5563 | 1270358.0119 | 2660948.5446 | 1270356.1827 | 2660952.8905 | 1270353.5142
149 | 2660968.7745 | 1270351.2128 | 2660973.5799 | 1270351.5862
150 | 2661010.5409 | 1270285.6977 | 2661008.9331 | 1270286.6641 | 2660997.9449 | 1270293.5559 | 2661000.0339 | 1270298.4021
151 | 2661034.8104 | 1270359.8759 | 2661034.1314 | 1270358.9193
152 | 2661108.5018 | 1270273.0587 | 2661113.8231 | 1270270.0549
153 | 2661108.5018 | 1270273.0587 | 2661101.671 | 1270276.9147
154 | 2661038.1676 | 1270270.9243 | 2661031.7208 | 1270274.2524
155 | 2661020.6759 | 1270279.9542 | 2661031.7208 | 1270274.2524
156 | 2661016.572 | 1270282.0728 | 2661020.6759 | 1270279.9542
157 | 2661016.572 | 1270282.0728 | 2661010.5409 | 1270285.6977
158 | 2660943.9188 | 1270360.4383 | 2660946.5563 | 1270358.0119
159 | 2660978.4773 | 1270351.9667 | 2660973.5799 | 1270351.5862
160 | 2660921.7893 | 1270326.5504 | 2660922.3676 | 1270327.2241
161 | 2660943.9188 | 1270360.4383 | 2660940.0054 | 1270356.1724 | 2660935.7466 | 1270351.1024 | 2660932.6647 | 1270345.285
162 | 2661047.7096 | 1270352.9705 | 2661046.8855 | 1270351.6181
163 | 2660978.4773 | 1270351.9667 | 2660983.4188 | 1270352.3506
164 | 2660904.1024 | 1270306.5757 | 2660900.923 | 1270302.6177 | 2660894.5817 | 1270295.2134 | 2660881.0854 | 1270280.4854
165 | 2661177.7342 | 1270438.6137 | 2661191.3443 | 1270430.2628
166 | 2661130.7016 | 1270455.6511 | 2661158.17 | 1270437.4019
167 | 2661109.5575 | 1270469.6986 | 2661109.5575 | 1270469.6986 | 2661130.7016 | 1270455.6511

## bus_geodata
| x | y | coords
0 | 2661095.3578 | 1270160.0246
1 | 2661123.1374 | 1270145.5258
2 | 2661043.3339 | 1270221.754
3 | 2661012.6352 | 1270238.5546
4 | 2661125.7438 | 1270175.7535
5 | 2660960.3141 | 1270184.6737
6 | 2661013.5573 | 1270239.6737
7 | 2661082.5876 | 1270223.6771
8 | 2661056.3191 | 1270264.6923
9 | 2661131.5803 | 1270185.6041
10 | 2660940.0281 | 1270170.9763
11 | 2661029.6736 | 1270259.2352
12 | 2661053.7622 | 1270266.0336
13 | 2661069.5917 | 1270257.7362
14 | 2661002.7887 | 1270096.3227
15 | 2660989.4825 | 1270110.2546
16 | 2660927.6166 | 1270293.238
17 | 2660911.3796 | 1270314.4233
18 | 2661292.3826 | 1270346.1536
19 | 2661308.0342 | 1270361.1385
20 | 2661293.8405 | 1270337.6178
21 | 2661272.5447 | 1270419.409
22 | 2661283.4258 | 1270323.9848
23 | 2661250.4276 | 1270449.4305
24 | 2661233.4234 | 1270432.8305
25 | 2661141.0654 | 1270325.3969
26 | 2661132.0381 | 1270335.1934
27 | 2661162.9532 | 1270242.2224
28 | 2661164.6861 | 1270264.1498
29 | 2661153.3181 | 1270247.7602
30 | 2661137.4621 | 1270226.6848
31 | 2661129.4951 | 1270230.4688
32 | 2661193.3147 | 1270369.2599
33 | 2661209.8277 | 1270394.8009
34 | 2661210.8758 | 1270396.4915
35 | 2661220.666 | 1270412.2716
36 | 2661189.279 | 1270408.3685
37 | 2661159.1666 | 1270407.331
38 | 2661167.0569 | 1270420.5895
39 | 2661146.7914 | 1270415.8215
40 | 2661062.4122 | 1270447.4276
41 | 2661038.7137 | 1270403.694
42 | 2661062.6625 | 1270465.5284
43 | 2661209.0406 | 1270419.4047
44 | 2661226.8309 | 1270422.2066
45 | 2661171.4734 | 1270428.5635
46 | 2661118.2549 | 1270435.4002
47 | 2661043.8732 | 1270386.3897
48 | 2661010.1242 | 1270405.4971
49 | 2661113.5424 | 1270355.8198
50 | 2661124.1766 | 1270343.7629
51 | 2661109.4634 | 1270352.2972
52 | 2661079.7804 | 1270372.8615
53 | 2661005.3563 | 1270388.4636
54 | 2661062.8469 | 1270478.8672
55 | 2661171.448 | 1270554.4753
56 | 2661181.2705 | 1270552.0142
57 | 2661153.3193 | 1270526.6058
58 | 2661121.4658 | 1270527.2921
59 | 2661167.7497 | 1270518.3789
60 | 2661182.207 | 1270510.1367
61 | 2661165.4369 | 1270487.646
62 | 2661192.6325 | 1270503.1479
63 | 2661065.826 | 1270478.1641
64 | 2661090.232 | 1270454.6265
65 | 2661129.2669 | 1270338.2007
66 | 2661103.3776 | 1270344.481
67 | 2661085.9143 | 1270368.612
68 | 2661076.3663 | 1270365.9531
69 | 2661150.1731 | 1270473.7107
70 | 2661181.8027 | 1270477.8656
71 | 2661195.4686 | 1270469.6988
72 | 2661189.1502 | 1270458.6805
73 | 2661182.4014 | 1270477.5079
74 | 2661161.6998 | 1270462.4947
75 | 2661183.2343 | 1270448.745
76 | 2661203.0179 | 1270450.5835
77 | 2661222.2059 | 1270439.3802
78 | 2661118.3513 | 1270271.3683
79 | 2661109.0001 | 1270279.8583
80 | 2661100.9105 | 1270287.203
81 | 2661139.0319 | 1270256.8164
82 | 2661148.5539 | 1270250.7803
83 | 2661093.0419 | 1270294.347
84 | 2661078.4564 | 1270312.4797
85 | 2661149.9961 | 1270249.6354
86 | 2661130.168 | 1270260.8283
87 | 2661156.7703 | 1270273.3043
88 | 2661119.4444 | 1270266.8817
89 | 2661085.1233 | 1270321.0391
90 | 2661068.5637 | 1270294.9196
91 | 2661063.2217 | 1270326.1006
92 | 2661089.1944 | 1270326.2658
93 | 2661083.5047 | 1270287.1695
94 | 2661062.4073 | 1270284.2581
95 | 2661051.8263 | 1270302.2239
96 | 2661051.2015 | 1270336.8177
97 | 2661090.7152 | 1270328.2184
98 | 2661093.6052 | 1270281.4678
99 | 2661061.6368 | 1270282.8517
100 | 2661046.5013 | 1270304.822
101 | 2661042.1862 | 1270344.3403
102 | 2661095.5029 | 1270244.7764
103 | 2661078.5127 | 1270253.0606
104 | 2661101.271 | 1270243.8745
105 | 2661070.2962 | 1270257.3669
106 | 2661045.0091 | 1270267.3924
107 | 2660987.1502 | 1270290.9322
108 | 2660970.0307 | 1270301.7895
109 | 2661071.2239 | 1270347.3937
110 | 2661101.279 | 1270341.7857
111 | 2661072.2769 | 1270357.6781
112 | 2661072.4157 | 1270357.959
113 | 2661007.3615 | 1270356.4899
114 | 2661012.81 | 1270356.5462
115 | 2661003.6501 | 1270355.7599
116 | 2661015.9751 | 1270356.1078
117 | 2660999.406 | 1270354.9252
118 | 2661020.8511 | 1270354.9884
119 | 2660994.971 | 1270354.0529
120 | 2661030.0895 | 1270352.2102
121 | 2660989.6659 | 1270353.0095
122 | 2660956.4033 | 1270311.0886
123 | 2660957.5124 | 1270310.2379
124 | 2660955.9178 | 1270311.461
125 | 2660948.8103 | 1270317.6071
126 | 2660942.0469 | 1270324.8774
127 | 2660928.0641 | 1270336.6011
128 | 2660969.369 | 1270344.3365
129 | 2660963.2148 | 1270347.6061
130 | 2660958.0016 | 1270350.3759
131 | 2661012.7359 | 1270321.2964
132 | 2661007.437 | 1270312.1286
133 | 2661020.1961 | 1270317.6565
134 | 2660953.4516 | 1270353.1697
135 | 2660964.4248 | 1270350.8749
136 | 2661001.7069 | 1270302.1431
137 | 2660952.8905 | 1270353.5142
138 | 2660968.7745 | 1270351.2128
139 | 2661000.0339 | 1270298.4021
140 | 2661041.6099 | 1270307.2086
141 | 2661034.1314 | 1270358.9193
142 | 2661113.8231 | 1270270.0549
143 | 2661108.5018 | 1270273.0587
144 | 2661101.671 | 1270276.9147
145 | 2661038.1676 | 1270270.9243
146 | 2661031.7208 | 1270274.2524
147 | 2661020.6759 | 1270279.9542
148 | 2661016.572 | 1270282.0728
149 | 2660946.5563 | 1270358.0119
150 | 2660973.5799 | 1270351.5862
151 | 2660922.3676 | 1270327.2241
152 | 2660932.6647 | 1270345.285
153 | 2660921.7893 | 1270326.5504
154 | 2660943.9188 | 1270360.4383
155 | 2661046.8855 | 1270351.6181
156 | 2661034.8104 | 1270359.8759
157 | 2661047.7096 | 1270352.9705
158 | 2660978.4773 | 1270351.9667
159 | 2660983.4188 | 1270352.3506
160 | 2661010.5409 | 1270285.6977
161 | 2660904.1024 | 1270306.5757
162 | 2660881.0854 | 1270280.4854
163 | 2661214.1782 | 1270444.0673
164 | 2661191.3443 | 1270430.2628
165 | 2661177.7342 | 1270438.6137
166 | 2661158.17 | 1270437.4019
167 | 2661130.7016 | 1270455.6511
168 | 2661109.5575 | 1270469.6986
169 | 2661068.5637 | 1270294.9196

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1