## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4401-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4401-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4401-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4401-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4401-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4401-10_0_4_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_4401-10_0_4_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_4401-10_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4401-10_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4401-10_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4401-10_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4401-10_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4401-10_0_4_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_4401-10_0_4_node_100 | 0.4 | n |  | TRUE
14 | bus_LV_4401-10_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4401-10_0_4_node_89 | 0.4 | n |  | TRUE
16 | bus_LV_4401-10_0_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_4401-10_0_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_4401-10_0_4_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_4401-10_0_4_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_4401-10_0_4_node_83 | 0.4 | n |  | TRUE
21 | bus_LV_4401-10_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4401-10_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_4401-10_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4401-10_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_4401-10_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4401-10_0_4_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_4401-10_0_4_node_84 | 0.4 | n |  | TRUE
28 | bus_LV_4401-10_0_4_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_4401-10_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_4401-10_0_4_node_91 | 0.4 | n |  | TRUE
31 | bus_LV_4401-10_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_4401-10_0_4_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_4401-10_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4401-10_0_4_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_4401-10_0_4_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_4401-10_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4401-10_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4401-10_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4401-10_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4401-10_0_4_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_4401-10_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4401-10_0_4_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_4401-10_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_4401-10_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_4401-10_0_4_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_4401-10_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_4401-10_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4401-10_0_4_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_4401-10_0_4_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_4401-10_0_4_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_4401-10_0_4_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_4401-10_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_4401-10_0_4_node_17 | 0.4 | n |  | TRUE
54 | bus_LV_4401-10_0_4_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_4401-10_0_4_node_19 | 0.4 | n |  | TRUE
56 | bus_LV_4401-10_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_4401-10_0_4_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_4401-10_0_4_node_99 | 0.4 | n |  | TRUE
59 | bus_LV_4401-10_0_4_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_4401-10_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_4401-10_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_4401-10_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4401-10_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4401-10_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4401-10_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4401-10_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_4401-10_0_4_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_4401-10_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_4401-10_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_4401-10_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4401-10_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4401-10_0_4_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_4401-10_0_4_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_4401-10_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_4401-10_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_4401-10_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_4401-10_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_4401-10_0_4_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_4401-10_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_4401-10_0_4_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_4401-10_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_4401-10_0_4_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_4401-10_0_4_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_4401-10_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_4401-10_0_4_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_4401-10_0_4_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_4401-10_0_4_node_62 | 0.4 | n |  | TRUE
88 | bus_LV_4401-10_0_4_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_4401-10_0_4_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_4401-10_0_4_node_67 | 0.4 | n |  | TRUE
91 | bus_LV_4401-10_0_4_node_68 | 0.4 | n |  | TRUE
92 | bus_LV_4401-10_0_4_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_4401-10_0_4_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_4401-10_0_4_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_4401-10_0_4_node_75 | 0.4 | n |  | TRUE
96 | bus_LV_4401-10_0_4_node_76 | 0.4 | n |  | TRUE
97 | bus_LV_4401-10_0_4_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_4401-10_0_4_node_78 | 0.4 | n |  | TRUE
99 | bus_LV_4401-10_0_4_node_79 | 0.4 | n |  | TRUE
100 | bus_MV_48_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4401-10_0_4_load_0 | 0 | 6.8472e-05 | 1.7161e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4401-10_0_4_load_1 | 1 | 9.3757e-05 | 2.3498e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4401-10_0_4_load_2 | 2 | 0.00014328 | 3.5908e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4401-10_0_4_load_3 | 3 | 0.00012043 | 3.0183e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4401-10_0_4_load_4 | 4 | 6.467e-05 | 1.6208e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4401-10_0_4_load_40 | 5 | 0.0033403 | 0.00083717 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4401-10_0_4_load_37 | 6 | 0.0041219 | 0.001033 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4401-10_0_4_load_5 | 7 | 0.0068055 | 0.0017056 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4401-10_0_4_load_6 | 8 | 0.0086843 | 0.0021765 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4401-10_0_4_load_8 | 9 | 0.018566 | 0.0046531 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4401-10_0_4_load_100 | 13 | 0.003487 | 0.00087392 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4401-10_0_4_load_89 | 15 | 0.01412 | 0.0035387 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4401-10_0_4_load_87 | 19 | 0.014233 | 0.0035671 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4401-10_0_4_load_83 | 20 | 0.017571 | 0.0044038 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4401-10_0_4_load_31 | 24 | 0.070234 | 0.017602 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4401-10_0_4_load_93 | 26 | 0.013912 | 0.0034868 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4401-10_0_4_load_92 | 28 | 0.014778 | 0.0037037 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4401-10_0_4_load_91 | 30 | 0.0053344 | 0.0013369 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4401-10_0_4_load_90 | 32 | 0.0049793 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4401-10_0_4_load_28 | 33 | 0.005865 | 0.0014699 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4401-10_0_4_load_101 | 35 | 0.017223 | 0.0043164 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4401-10_0_4_load_98 | 40 | 0.021971 | 0.0055065 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4401-10_0_4_load_51 | 42 | 0.036886 | 0.0092446 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4401-10_0_4_load_49 | 44 | 0.0076141 | 0.0019083 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4401-10_0_4_load_94 | 48 | 0.0040062 | 0.001004 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4401-10_0_4_load_96 | 49 | 0.0010218 | 0.00025609 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4401-10_0_4_load_95 | 50 | 0.0011235 | 0.00028157 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4401-10_0_4_load_97 | 51 | 0.00051423 | 0.00012888 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4401-10_0_4_load_50 | 52 | 0.037726 | 0.0094551 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4401-10_0_4_load_17 | 53 | 0.0015544 | 0.00038957 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4401-10_0_4_load_29 | 54 | 0.004274 | 0.0010712 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4401-10_0_4_load_19 | 55 | 0.003999 | 0.0010022 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4401-10_0_4_load_52 | 56 | 0.003069 | 0.00076916 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4401-10_0_4_load_103 | 59 | 0.0099185 | 0.0024858 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4401-10_0_4_load_34 | 60 | 0.010963 | 0.0027476 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4401-10_0_4_load_35 | 61 | 0.014806 | 0.0037108 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4401-10_0_4_load_41 | 63 | 0.0078058 | 0.0019563 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4401-10_0_4_load_43 | 64 | 0.00082479 | 0.00020671 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4401-10_0_4_load_44 | 65 | 0.0014913 | 0.00037376 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4401-10_0_4_load_45 | 66 | 0.016952 | 0.0042485 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4401-10_0_4_load_46 | 67 | 0.0011534 | 0.00028908 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4401-10_0_4_load_47 | 68 | 0.0012221 | 0.00030629 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4401-10_0_4_load_48 | 69 | 0.00096726 | 0.00024242 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4401-10_0_4_load_64 | 70 | 0.0011466 | 0.00028736 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4401-10_0_4_load_63 | 71 | 0.0027947 | 0.00070042 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4401-10_0_4_load_74 | 74 | 0.0063379 | 0.0015884 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4401-10_0_4_load_72 | 75 | 0.0062504 | 0.0015665 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4401-10_0_4_load_54 | 76 | 0.0014838 | 0.00037187 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4401-10_0_4_load_55 | 77 | 0.0020107 | 0.00050393 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4401-10_0_4_load_81 | 81 | 0.001868 | 0.00046818 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4401-10_0_4_load_82 | 82 | 0.0018581 | 0.00046569 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4401-10_0_4_load_59 | 83 | 0.0021037 | 0.00052723 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4401-10_0_4_load_80 | 84 | 0.0018081 | 0.00045315 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4401-10_0_4_load_60 | 85 | 0.0016907 | 0.00042373 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4401-10_0_4_load_61 | 86 | 0.0025377 | 0.00063601 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4401-10_0_4_load_62 | 87 | 0.0031343 | 0.00078553 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4401-10_0_4_load_65 | 88 | 0.0013464 | 0.00033745 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4401-10_0_4_load_66 | 89 | 0.0014248 | 0.00035709 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4401-10_0_4_load_68 | 91 | 0.00092425 | 0.00023164 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4401-10_0_4_load_69 | 92 | 0.00076154 | 0.00019086 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4401-10_0_4_load_70 | 93 | 0.0007561 | 0.0001895 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4401-10_0_4_load_71 | 94 | 0.0055886 | 0.0014006 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4401-10_0_4_load_75 | 95 | 0.0070558 | 0.0017684 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4401-10_0_4_load_76 | 96 | 0.0017881 | 0.00044814 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4401-10_0_4_load_77 | 97 | 0.0010445 | 0.00026178 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4401-10_0_4_load_78 | 98 | 0.0010044 | 0.00025173 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4401-10_0_4_load_79 | 99 | 0.0028988 | 0.0007265 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4401-10_0_4_line_0 |  | 0 | 1 | 0.035814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4401-10_0_4_line_1 |  | 0 | 2 | 0.037419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4401-10_0_4_line_2 |  | 1 | 3 | 0.037295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4401-10_0_4_line_3 |  | 2 | 4 | 0.03025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4401-10_0_4_line_4 |  | 4 | 5 | 0.030636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4401-10_0_4_line_5 |  | 5 | 6 | 0.029588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4401-10_0_4_line_6 |  | 6 | 61 | 0.045683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4401-10_0_4_line_7 |  | 7 | 8 | 0.076285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4401-10_0_4_line_8 |  | 8 | 9 | 0.063958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4401-10_0_4_line_9 |  | 9 | 10 | 0.030957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4401-10_0_4_line_10 |  | 10 | 14 | 0.065357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4401-10_0_4_line_11 |  | 11 | 12 | 0.27843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4401-10_0_4_line_12 |  | 11 | 13 | 0.02446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4401-10_0_4_line_13 |  | 12 | 19 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_4401-10_0_4_line_14 |  | 13 | 16 | 0.1211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4401-10_0_4_line_15 |  | 14 | 15 | 0.018607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4401-10_0_4_line_16 |  | 15 | 34 | 0.003579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4401-10_0_4_line_17 |  | 16 | 17 | 0.018582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4401-10_0_4_line_18 |  | 17 | 62 | 0.23364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4401-10_0_4_line_19 |  | 17 | 60 | 0.027211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4401-10_0_4_line_20 |  | 18 | 19 | 0.018713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4401-10_0_4_line_21 |  | 18 | 20 | 0.022591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4401-10_0_4_line_22 |  | 20 | 27 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4401-10_0_4_line_23 |  | 21 | 22 | 0.014943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4401-10_0_4_line_24 |  | 21 | 23 | 0.086824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4401-10_0_4_line_25 |  | 21 | 24 | 0.002139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_4401-10_0_4_line_26 |  | 22 | 35 | 0.023314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4401-10_0_4_line_27 |  | 23 | 33 | 0.040126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4401-10_0_4_line_28 |  | 23 | 31 | 0.035332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4401-10_0_4_line_29 |  | 24 | 36 | 0.026629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4401-10_0_4_line_30 |  | 25 | 26 | 0.024478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4401-10_0_4_line_31 |  | 25 | 27 | 0.030905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4401-10_0_4_line_32 |  | 25 | 28 | 0.021078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4401-10_0_4_line_33 |  | 27 | 34 | 0.025818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4401-10_0_4_line_34 |  | 28 | 29 | 0.023287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4401-10_0_4_line_35 |  | 29 | 30 | 0.02217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4401-10_0_4_line_36 |  | 30 | 32 | 0.0056096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4401-10_0_4_line_37 |  | 31 | 32 | 0.027109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4401-10_0_4_line_38 |  | 33 | 54 | 0.050181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4401-10_0_4_line_39 |  | 36 | 37 | 0.12283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4401-10_0_4_line_40 |  | 36 | 38 | 0.039626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4401-10_0_4_line_41 |  | 37 | 49 | 0.03716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4401-10_0_4_line_42 |  | 37 | 50 | 0.05394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4401-10_0_4_line_43 |  | 38 | 39 | 0.013076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_4401-10_0_4_line_44 |  | 38 | 40 | 0.010149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4401-10_0_4_line_45 |  | 39 | 52 | 0.035857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4401-10_0_4_line_46 |  | 39 | 41 | 0.050299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4401-10_0_4_line_47 |  | 41 | 42 | 0.0065121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4401-10_0_4_line_48 |  | 42 | 56 | 0.024341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4401-10_0_4_line_49 |  | 43 | 44 | 0.024316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4401-10_0_4_line_50 |  | 43 | 45 | 0.018708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4401-10_0_4_line_51 |  | 44 | 52 | 0.051605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4401-10_0_4_line_52 |  | 45 | 53 | 0.087679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4401-10_0_4_line_53 |  | 46 | 47 | 0.023419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4401-10_0_4_line_54 |  | 46 | 48 | 0.14038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4401-10_0_4_line_55 |  | 47 | 51 | 0.12736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4401-10_0_4_line_56 |  | 48 | 50 | 0.027226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4401-10_0_4_line_57 |  | 53 | 55 | 0.042462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4401-10_0_4_line_58 |  | 54 | 57 | 0.10078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4401-10_0_4_line_59 |  | 56 | 72 | 0.0028995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4401-10_0_4_line_60 |  | 57 | 58 | 0.27527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4401-10_0_4_line_61 |  | 58 | 59 | 0.17959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4401-10_0_4_line_62 |  | 60 | 61 | 0.037268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4401-10_0_4_line_63 |  | 62 | 63 | 0.021094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4401-10_0_4_line_64 |  | 64 | 65 | 0.0032925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4401-10_0_4_line_65 |  | 64 | 66 | 0.015917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4401-10_0_4_line_66 |  | 65 | 67 | 0.02066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4401-10_0_4_line_67 |  | 67 | 68 | 0.0054655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4401-10_0_4_line_68 |  | 68 | 69 | 0.023346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4401-10_0_4_line_69 |  | 69 | 70 | 6.6856e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4401-10_0_4_line_70 |  | 70 | 71 | 0.026753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4401-10_0_4_line_71 |  | 71 | 87 | 0.024286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4401-10_0_4_line_72 |  | 72 | 73 | 0.049007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4401-10_0_4_line_73 |  | 73 | 74 | 0.011842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4401-10_0_4_line_74 |  | 73 | 75 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4401-10_0_4_line_75 |  | 74 | 95 | 0.026057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4401-10_0_4_line_76 |  | 75 | 94 | 0.027341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4401-10_0_4_line_77 |  | 76 | 77 | 0.031097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4401-10_0_4_line_78 |  | 76 | 78 | 0.027746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4401-10_0_4_line_79 |  | 77 | 79 | 0.017221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4401-10_0_4_line_80 |  | 78 | 80 | 0.002487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4401-10_0_4_line_81 |  | 79 | 81 | 0.0080739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4401-10_0_4_line_82 |  | 79 | 82 | 0.011213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4401-10_0_4_line_83 |  | 80 | 83 | 0.029667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4401-10_0_4_line_84 |  | 81 | 84 | 0.015745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4401-10_0_4_line_85 |  | 83 | 85 | 0.020907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4401-10_0_4_line_86 |  | 84 | 99 | 0.0035614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4401-10_0_4_line_87 |  | 85 | 86 | 0.025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4401-10_0_4_line_88 |  | 86 | 87 | 0.029494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4401-10_0_4_line_89 |  | 88 | 89 | 0.023325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4401-10_0_4_line_90 |  | 89 | 90 | 0.019886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4401-10_0_4_line_91 |  | 90 | 91 | 0.0016911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4401-10_0_4_line_92 |  | 91 | 92 | 0.012311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4401-10_0_4_line_93 |  | 92 | 93 | 0.0080443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4401-10_0_4_line_94 |  | 93 | 94 | 0.013544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4401-10_0_4_line_95 |  | 95 | 96 | 0.010681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4401-10_0_4_line_96 |  | 96 | 97 | 0.012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4401-10_0_4_line_97 |  | 97 | 98 | 0.00019189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4401-10_0_4_line_98 |  | 98 | 99 | 0.01039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4401-10_0_4_trafo_101 | 0.63 MVA 20/0.4 kV | 100 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2748935.9936 | 1265946.6422 | 2748908.2724 | 1265969.3171
1 | 2748935.9936 | 1265946.6422 | 2748956.4964 | 1265929.8717 | 2748964.926 | 1265922.9121
2 | 2748879.4047 | 1265992.9298 | 2748908.2724 | 1265969.3171
3 | 2748964.926 | 1265922.9121 | 2748988.2527 | 1265903.6532
4 | 2748988.2527 | 1265903.6532 | 2749011.8773 | 1265884.1485
5 | 2749011.8773 | 1265884.1485 | 2749034.6941 | 1265865.3107
6 | 2749070.1483 | 1265836.5192 | 2749065.6615 | 1265839.7436 | 2749034.6941 | 1265865.3107
7 | 2748849.8416 | 1265399.3196 | 2748847.4953 | 1265378.1263 | 2748889.8961 | 1265357.8291 | 2748897.1492 | 1265354.5654
8 | 2748955.962 | 1265329.5006 | 2748936.7088 | 1265336.7648 | 2748897.1492 | 1265354.5654
9 | 2748984.9262 | 1265318.5725 | 2748955.962 | 1265329.5006
10 | 2748984.9262 | 1265318.5725 | 2748991.8651 | 1265327.5341 | 2749012.3615 | 1265377.5566
11 | 2749045.7514 | 1265401.1775 | 2749049.4672 | 1265410.3694 | 2749028.4999 | 1265416.9474 | 2749043.4588 | 1265446.9436 | 2749078.6508 | 1265493.7669 | 2749074.9662 | 1265543.6354 | 2749073.7018 | 1265558.207 | 2749085.5368 | 1265578.8262 | 2749097.4465 | 1265598.5687 | 2749103.7579 | 1265636.2436 | 2749103.848 | 1265641.0285
12 | 2749103.848 | 1265641.0285 | 2749104.2974 | 1265665.4841
13 | 2749045.7514 | 1265401.1775 | 2749061.2763 | 1265396.5802
14 | 2749101.624 | 1265786.1186 | 2749106.1107 | 1265764.1652 | 2749104.2974 | 1265665.4841
15 | 2749012.3615 | 1265377.5566 | 2749030.1531 | 1265372.1101
16 | 2749033.5754 | 1265371.0625 | 2749030.1531 | 1265372.1101
17 | 2749116.1309 | 1265797.2624 | 2749113.2347 | 1265796.4997 | 2749110.2361 | 1265794.422 | 2749106.5355 | 1265791.2032 | 2749101.624 | 1265786.1186
18 | 2749116.1309 | 1265797.2624 | 2749119.5551 | 1265797.1042 | 2749122.943 | 1265795.399 | 2749125.2288 | 1265792.8875 | 2749127.9228 | 1265788.8291 | 2749133.0045 | 1265777.9241 | 2749152.6625 | 1265760.5025 | 2749156.6774 | 1265756.9446 | 2749175.6938 | 1265743.155 | 2749187.5594 | 1265724.3577 | 2749211.133 | 1265693.0099 | 2749219.5367 | 1265680.0423 | 2749228.736 | 1265663.6135 | 2749231.7653 | 1265657.9175 | 2749233.8477 | 1265653.6213 | 2749236.8226 | 1265654.5529 | 2749240.4802 | 1265655.0012 | 2749243.9923 | 1265654.9454 | 2749248.8615 | 1265653.6559 | 2749253.0828 | 1265651.4714 | 2749255.4602 | 1265648.9177 | 2749257.2295 | 1265645.6813 | 2749258.3319 | 1265642.0055 | 2749258.2696 | 1265638.5115 | 2749257.2469 | 1265634.8598 | 2749262.0018 | 1265631.8323
19 | 2749116.1309 | 1265797.2624 | 2749115.9016 | 1265803.0625 | 2749114.8275 | 1265807.7067 | 2749112.6291 | 1265811.5329 | 2749109.2123 | 1265814.383 | 2749102.1735 | 1265817.6911
20 | 2749079.2189 | 1265391.2669 | 2749061.2763 | 1265396.5802
21 | 2749079.2189 | 1265391.2669 | 2749072.9663 | 1265369.5585
22 | 2749058.3277 | 1265363.4789 | 2749068.0593 | 1265360.8883 | 2749070.9965 | 1265362.7198 | 2749072.9663 | 1265369.5585
23 | 2749078.0328 | 1265208.1194 | 2749087.903 | 1265205.4211 | 2749092.4473 | 1265204.1789
24 | 2749092.4473 | 1265204.1789 | 2749097.1739 | 1265220.7926 | 2749113.7523 | 1265257.9703 | 2749115.056 | 1265265.1215 | 2749114.2306 | 1265270.3615 | 2749125.289 | 1265274.311 | 2749129.6756 | 1265275.4339
25 | 2749092.4473 | 1265204.1789 | 2749091.8516 | 1265202.1245
26 | 2749084.4512 | 1265230.5371 | 2749078.0328 | 1265208.1194
27 | 2749129.6756 | 1265275.4339 | 2749134.6094 | 1265274.88 | 2749168.3909 | 1265265.1268
28 | 2749129.6756 | 1265275.4339 | 2749130.6585 | 1265280.0745 | 2749144.8323 | 1265304.7569 | 2749145.3983 | 1265306.8066
29 | 2749084.4352 | 1265176.549 | 2749091.8516 | 1265202.1245
30 | 2749049.8714 | 1265333.7469 | 2749026.3117 | 1265340.3903
31 | 2749058.3277 | 1265363.4789 | 2749049.8714 | 1265333.7469
32 | 2749049.8714 | 1265333.7469 | 2749070.1579 | 1265328.0234
33 | 2749058.3277 | 1265363.4789 | 2749033.5754 | 1265371.0625
34 | 2749092.5698 | 1265321.7002 | 2749070.1579 | 1265328.0234
35 | 2749092.5698 | 1265321.7002 | 2749113.9077 | 1265315.6846
36 | 2749119.3068 | 1265314.1624 | 2749113.9077 | 1265315.6846
37 | 2749145.3983 | 1265306.8066 | 2749119.3068 | 1265314.1624
38 | 2749216.603 | 1265251.2071 | 2749168.3909 | 1265265.1268
39 | 2748974.5468 | 1265177.4801 | 2748987.7894 | 1265174.2995 | 2749041.1576 | 1265160.4528 | 2749056.6056 | 1265157.0611 | 2749061.7625 | 1265156.9243 | 2749066.5865 | 1265158.6365 | 2749073.3266 | 1265163.5336 | 2749075.0577 | 1265166.2912 | 2749077.0172 | 1265171.0453 | 2749080.1803 | 1265169.9017 | 2749084.4352 | 1265176.549
40 | 2749084.4352 | 1265176.549 | 2749084.8003 | 1265168.6503 | 2749088.8175 | 1265167.9954 | 2749088.1734 | 1265162.1733 | 2749088.942 | 1265158.2888 | 2749090.609 | 1265154.9274 | 2749092.4142 | 1265150.8688 | 2749095.3259 | 1265147.7502 | 2749100.2402 | 1265145.5831
41 | 2748974.5468 | 1265177.4801 | 2748973.6572 | 1265185.5658 | 2748962.1757 | 1265195.3975 | 2748949.8723 | 1265201.8861
42 | 2748974.5468 | 1265177.4801 | 2748964.3951 | 1265179.3929 | 2748922.1947 | 1265190.39
43 | 2749095.8953 | 1265133.25 | 2749097.3225 | 1265137.3012 | 2749098.0961 | 1265139.4896 | 2749098.9396 | 1265141.891 | 2749100.2402 | 1265145.5831
44 | 2749100.2402 | 1265145.5831 | 2749102.0154 | 1265144.8049 | 2749109.9556 | 1265142.7145
45 | 2749095.8953 | 1265133.25 | 2749108.5238 | 1265129.9318 | 2749130.5996 | 1265124.2302
46 | 2749068.8464 | 1265115.6614 | 2749074.1106 | 1265137.2492 | 2749076.6088 | 1265136.7784 | 2749079.1521 | 1265136.9093 | 2749081.598 | 1265137.6161 | 2749083.8039 | 1265138.873 | 2749097.3225 | 1265137.3012 | 2749095.8953 | 1265133.25
47 | 2749068.8464 | 1265115.6614 | 2749067.3024 | 1265109.335
48 | 2749067.3024 | 1265109.335 | 2749061.5311 | 1265085.688
49 | 2749203.7018 | 1265103.8177 | 2749196.2222 | 1265106.4205 | 2749180.4775 | 1265110.9984
50 | 2749203.7018 | 1265103.8177 | 2749205.1352 | 1265109.1148 | 2749203.2426 | 1265109.7677 | 2749205.3511 | 1265116.372 | 2749206.657 | 1265120.4535
51 | 2749180.4775 | 1265110.9984 | 2749176.8295 | 1265112.0591 | 2749155.0883 | 1265117.9053 | 2749130.5996 | 1265124.2302
52 | 2749206.657 | 1265120.4535 | 2749211.7531 | 1265136.4426 | 2749217.6624 | 1265146.4908 | 2749234.851 | 1265203.1825
53 | 2748754.4102 | 1265212.7951 | 2748756.6577 | 1265220.4816 | 2748757.4279 | 1265223.1036 | 2748759.4259 | 1265229.9274 | 2748760.9865 | 1265235.2721
54 | 2748760.9865 | 1265235.2721 | 2748767.1755 | 1265231.8466 | 2748774.6355 | 1265228.809 | 2748792.9975 | 1265223.9774 | 2748843.1334 | 1265210.9929 | 2748895.8486 | 1265197.2557
55 | 2748754.4102 | 1265212.7951 | 2748784.0239 | 1265209.3368 | 2748789.1457 | 1265208.1979 | 2748797.1641 | 1265205.4302 | 2748803.9736 | 1265203.9891 | 2748822.8819 | 1265200.8062 | 2748829.478 | 1265200.3607 | 2748835.2565 | 1265200.3728 | 2748841.3697 | 1265199.359 | 2748866.3574 | 1265193.2153 | 2748879.278 | 1265189.8093
56 | 2748895.8486 | 1265197.2557 | 2748922.1947 | 1265190.39
57 | 2749215.3464 | 1265232.4967 | 2749228.5346 | 1265228.1919 | 2749236.1348 | 1265221.1099 | 2749236.628 | 1265209.0435 | 2749234.851 | 1265203.1825
58 | 2749313.4271 | 1265223.2524 | 2749216.603 | 1265251.2071
59 | 2749060.8437 | 1265082.8711 | 2749061.5311 | 1265085.688
60 | 2749313.4271 | 1265223.2524 | 2749317.7523 | 1265222.0382 | 2749325.5753 | 1265219.8558 | 2749437.4283 | 1265188.6059 | 2749438.893 | 1265193.2476 | 2749442.3756 | 1265194.3701 | 2749444.6629 | 1265195.6848 | 2749446.1412 | 1265197.1125 | 2749447.2119 | 1265199.1639 | 2749449.9658 | 1265206.4519 | 2749451.2815 | 1265211.924 | 2749452.578 | 1265222.0226 | 2749452.5917 | 1265228.6296 | 2749453.4649 | 1265236.9934 | 2749456.0427 | 1265246.4792 | 2749462.0828 | 1265262.9485 | 2749468.3061 | 1265279.3223 | 2749475.6738 | 1265296.9152 | 2749485.5811 | 1265315.6735 | 2749492.4758 | 1265317.7166
61 | 2749347.1227 | 1265417.4214 | 2749366.0005 | 1265401.7269 | 2749372.4794 | 1265393.9939 | 2749377.2762 | 1265385.4509 | 2749382.6591 | 1265378.4576 | 2749390.4179 | 1265372.5477 | 2749399.6851 | 1265368.3666 | 2749409.4449 | 1265364.9653 | 2749418.5739 | 1265360.2913 | 2749426.8758 | 1265354.3618 | 2749438.3351 | 1265343.6407 | 2749446.6543 | 1265337.923 | 2749456.6866 | 1265332.9827 | 2749480.5457 | 1265324.1103 | 2749492.4758 | 1265317.7166
62 | 2749102.1735 | 1265817.6911 | 2749089.3367 | 1265823.7244 | 2749081.4211 | 1265828.4184 | 2749070.1483 | 1265836.5192
63 | 2749262.0018 | 1265631.8323 | 2749264.0905 | 1265625.2006 | 2749266.2818 | 1265611.2307
64 | 2748919.3803 | 1264985.2625 | 2748922.6138 | 1264984.642
65 | 2748903.7481 | 1264988.262 | 2748919.3803 | 1264985.2625
66 | 2748942.9033 | 1264980.7488 | 2748922.6138 | 1264984.642
67 | 2748942.9033 | 1264980.7488 | 2748948.2709 | 1264979.7188
68 | 2748971.1983 | 1264975.3194 | 2748948.2709 | 1264979.7188
69 | 2748971.2639 | 1264975.3068 | 2748971.1983 | 1264975.3194
70 | 2748997.4886 | 1264970.0212 | 2748982.3368 | 1264973.1821 | 2748971.2639 | 1264975.3068
71 | 2749021.2623 | 1264965.0617 | 2748997.4886 | 1264970.0212
72 | 2749049.2293 | 1265035.2526 | 2749060.8437 | 1265082.8711
73 | 2749049.2293 | 1265035.2526 | 2749060.761 | 1265032.5588
74 | 2749049.2293 | 1265035.2526 | 2749041.1048 | 1265036.8383 | 2749038.5571 | 1265037.3819
75 | 2749060.761 | 1265032.5588 | 2749084.7224 | 1265026.9614 | 2749086.1375 | 1265026.6412
76 | 2749011.8182 | 1265043.0874 | 2749038.5571 | 1265037.3819
77 | 2749133.57 | 1264966.3874 | 2749141.2114 | 1264996.5307
78 | 2749126.3785 | 1264939.6018 | 2749128.0594 | 1264944.6493 | 2749133.57 | 1264966.3874
79 | 2749145.4431 | 1265013.2234 | 2749141.2114 | 1264996.5307
80 | 2749123.9803 | 1264940.2864 | 2749126.3785 | 1264939.6018
81 | 2749145.4431 | 1265013.2234 | 2749137.5682 | 1265015.0051
82 | 2749145.4431 | 1265013.2234 | 2749156.3491 | 1265010.6159
83 | 2749123.9803 | 1264940.2864 | 2749103.3969 | 1264945.6171 | 2749095.2294 | 1264947.6007
84 | 2749122.2115 | 1265018.4795 | 2749137.5682 | 1265015.0051
85 | 2749095.2294 | 1264947.6007 | 2749074.9129 | 1264952.5348
86 | 2749122.2115 | 1265018.4795 | 2749118.7378 | 1265019.2654
87 | 2749074.9129 | 1264952.5348 | 2749050.0304 | 1264958.5778
88 | 2749050.0304 | 1264958.5778 | 2749035.9408 | 1264961.9996 | 2749021.2623 | 1264965.0617
89 | 2748934.7518 | 1265059.5357 | 2748957.5627 | 1265054.6662
90 | 2748977.0108 | 1265050.5145 | 2748957.5627 | 1265054.6662
91 | 2748977.0108 | 1265050.5145 | 2748978.6647 | 1265050.1616
92 | 2748978.6647 | 1265050.1616 | 2748990.7048 | 1265047.5925
93 | 2748990.7048 | 1265047.5925 | 2748998.572 | 1265045.9138
94 | 2748998.572 | 1265045.9138 | 2749011.8182 | 1265043.0874
95 | 2749086.1375 | 1265026.6412 | 2749096.5549 | 1265024.2843
96 | 2749108.4172 | 1265021.6004 | 2749096.5549 | 1265024.2843
97 | 2749108.6044 | 1265021.5581 | 2749108.4172 | 1265021.6004
98 | 2749108.6044 | 1265021.5581 | 2749118.7378 | 1265019.2654

## bus_geodata
| x | y | coords
0 | 2748935.9936 | 1265946.6422
1 | 2748908.2724 | 1265969.3171
2 | 2748964.926 | 1265922.9121
3 | 2748879.4047 | 1265992.9298
4 | 2748988.2527 | 1265903.6532
5 | 2749011.8773 | 1265884.1485
6 | 2749034.6941 | 1265865.3107
7 | 2748849.8416 | 1265399.3196
8 | 2748897.1492 | 1265354.5654
9 | 2748955.962 | 1265329.5006
10 | 2748984.9262 | 1265318.5724
11 | 2749103.848 | 1265641.0285
12 | 2749045.7514 | 1265401.1775
13 | 2749104.2974 | 1265665.4841
14 | 2749012.3615 | 1265377.5566
15 | 2749030.1531 | 1265372.1101
16 | 2749101.624 | 1265786.1186
17 | 2749116.1309 | 1265797.2624
18 | 2749079.2189 | 1265391.2669
19 | 2749061.2763 | 1265396.5802
20 | 2749072.9663 | 1265369.5585
21 | 2749092.4473 | 1265204.1789
22 | 2749078.0328 | 1265208.1194
23 | 2749129.6756 | 1265275.4339
24 | 2749091.8516 | 1265202.1245
25 | 2749049.8714 | 1265333.7469
26 | 2749026.3117 | 1265340.3903
27 | 2749058.3277 | 1265363.4789
28 | 2749070.1579 | 1265328.0234
29 | 2749092.5698 | 1265321.7002
30 | 2749113.9077 | 1265315.6846
31 | 2749145.3983 | 1265306.8066
32 | 2749119.3068 | 1265314.1624
33 | 2749168.3909 | 1265265.1268
34 | 2749033.5754 | 1265371.0625
35 | 2749084.4512 | 1265230.5371
36 | 2749084.4352 | 1265176.549
37 | 2748974.5468 | 1265177.4801
38 | 2749100.2402 | 1265145.5831
39 | 2749095.8953 | 1265133.25
40 | 2749109.9556 | 1265142.7145
41 | 2749068.8464 | 1265115.6614
42 | 2749067.3024 | 1265109.335
43 | 2749203.7018 | 1265103.8177
44 | 2749180.4775 | 1265110.9984
45 | 2749206.657 | 1265120.4535
46 | 2748760.9865 | 1265235.2721
47 | 2748754.4102 | 1265212.7951
48 | 2748895.8486 | 1265197.2557
49 | 2748949.8723 | 1265201.8861
50 | 2748922.1947 | 1265190.39
51 | 2748879.278 | 1265189.8093
52 | 2749130.5996 | 1265124.2302
53 | 2749234.851 | 1265203.1825
54 | 2749216.603 | 1265251.2071
55 | 2749215.3464 | 1265232.4967
56 | 2749061.5311 | 1265085.688
57 | 2749313.4271 | 1265223.2524
58 | 2749492.4758 | 1265317.7166
59 | 2749347.1227 | 1265417.4214
60 | 2749102.1735 | 1265817.6911
61 | 2749070.1483 | 1265836.5192
62 | 2749262.0018 | 1265631.8323
63 | 2749266.2818 | 1265611.2307
64 | 2748919.3803 | 1264985.2625
65 | 2748922.6138 | 1264984.642
66 | 2748903.7481 | 1264988.262
67 | 2748942.9033 | 1264980.7488
68 | 2748948.2709 | 1264979.7188
69 | 2748971.1983 | 1264975.3194
70 | 2748971.2639 | 1264975.3068
71 | 2748997.4886 | 1264970.0212
72 | 2749060.8437 | 1265082.8711
73 | 2749049.2293 | 1265035.2526
74 | 2749060.761 | 1265032.5588
75 | 2749038.5571 | 1265037.3819
76 | 2749133.57 | 1264966.3874
77 | 2749141.2114 | 1264996.5307
78 | 2749126.3785 | 1264939.6018
79 | 2749145.4431 | 1265013.2234
80 | 2749123.9803 | 1264940.2864
81 | 2749137.5682 | 1265015.0051
82 | 2749156.3491 | 1265010.6159
83 | 2749095.2294 | 1264947.6007
84 | 2749122.2115 | 1265018.4795
85 | 2749074.9129 | 1264952.5348
86 | 2749050.0304 | 1264958.5778
87 | 2749021.2623 | 1264965.0617
88 | 2748934.7518 | 1265059.5357
89 | 2748957.5627 | 1265054.6662
90 | 2748977.0108 | 1265050.5145
91 | 2748978.6647 | 1265050.1616
92 | 2748990.7048 | 1265047.5925
93 | 2748998.572 | 1265045.9138
94 | 2749011.8182 | 1265043.0874
95 | 2749086.1375 | 1265026.6412
96 | 2749096.5549 | 1265024.2843
97 | 2749108.4172 | 1265021.6004
98 | 2749108.6044 | 1265021.5581
99 | 2749118.7378 | 1265019.2654
100 | 2749078.0328 | 1265208.1194

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1