## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4401-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4401-15_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4401-15_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4401-15_0_5_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_4401-15_0_5_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_4401-15_0_5_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_4401-15_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4401-15_0_5_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_4401-15_0_5_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_4401-15_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4401-15_0_5_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_4401-15_0_5_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_4401-15_0_5_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_4401-15_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_4401-15_0_5_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_4401-15_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_4401-15_0_5_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_4401-15_0_5_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_4401-15_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4401-15_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4401-15_0_5_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_4401-15_0_5_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_4401-15_0_5_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_4401-15_0_5_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_4401-15_0_5_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_4401-15_0_5_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_4401-15_0_5_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_4401-15_0_5_node_103 | 0.4 | n |  | TRUE
28 | bus_LV_4401-15_0_5_node_105 | 0.4 | n |  | TRUE
29 | bus_LV_4401-15_0_5_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_4401-15_0_5_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_4401-15_0_5_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_4401-15_0_5_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_4401-15_0_5_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_4401-15_0_5_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_4401-15_0_5_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_4401-15_0_5_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_4401-15_0_5_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_4401-15_0_5_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_4401-15_0_5_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_4401-15_0_5_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_4401-15_0_5_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_4401-15_0_5_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_4401-15_0_5_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_4401-15_0_5_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_4401-15_0_5_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_4401-15_0_5_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_4401-15_0_5_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_4401-15_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4401-15_0_5_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_4401-15_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4401-15_0_5_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_4401-15_0_5_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_4401-15_0_5_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_4401-15_0_5_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_4401-15_0_5_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_4401-15_0_5_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_4401-15_0_5_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_4401-15_0_5_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_4401-15_0_5_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_4401-15_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_4401-15_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4401-15_0_5_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_4401-15_0_5_node_31 | 0.4 | n |  | TRUE
64 | bus_LV_4401-15_0_5_node_32 | 0.4 | n |  | TRUE
65 | bus_LV_4401-15_0_5_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_4401-15_0_5_node_34 | 0.4 | n |  | TRUE
67 | bus_LV_4401-15_0_5_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_4401-15_0_5_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_4401-15_0_5_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_4401-15_0_5_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_4401-15_0_5_node_37 | 0.4 | n |  | TRUE
72 | bus_LV_4401-15_0_5_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_4401-15_0_5_node_102 | 0.4 | n |  | TRUE
74 | bus_LV_4401-15_0_5_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_4401-15_0_5_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_4401-15_0_5_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_4401-15_0_5_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_4401-15_0_5_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_4401-15_0_5_node_100 | 0.4 | n |  | TRUE
80 | bus_LV_4401-15_0_5_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_4401-15_0_5_node_99 | 0.4 | n |  | TRUE
82 | bus_LV_4401-15_0_5_node_101 | 0.4 | n |  | TRUE
83 | bus_LV_4401-15_0_5_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_4401-15_0_5_node_98 | 0.4 | n |  | TRUE
85 | bus_LV_4401-15_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_4401-15_0_5_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_4401-15_0_5_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_4401-15_0_5_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_4401-15_0_5_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_4401-15_0_5_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_4401-15_0_5_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_4401-15_0_5_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_4401-15_0_5_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_4401-15_0_5_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_4401-15_0_5_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_4401-15_0_5_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_4401-15_0_5_node_95 | 0.4 | n |  | TRUE
98 | bus_MV_48_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4401-15_0_5_load_0 | 0 | 0.0082851 | 0.0020764 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4401-15_0_5_load_1 | 1 | 0.0014608 | 0.00036612 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4401-15_0_5_load_9 | 3 | 0.018463 | 0.0046274 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4401-15_0_5_load_10 | 4 | 0.0026971 | 0.00067597 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4401-15_0_5_load_11 | 5 | 0.0016593 | 0.00041585 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4401-15_0_5_load_62 | 7 | 0.0074297 | 0.0018621 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4401-15_0_5_load_57 | 8 | 0.0071176 | 0.0017838 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4401-15_0_5_load_56 | 10 | 0.011301 | 0.0028323 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4401-15_0_5_load_54 | 12 | 0.001597 | 0.00040025 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4401-15_0_5_load_50 | 14 | 0.012684 | 0.003179 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4401-15_0_5_load_78 | 17 | 0.0023902 | 0.00059904 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4401-15_0_5_load_13 | 18 | 0.0077533 | 0.0019432 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4401-15_0_5_load_12 | 19 | 0.0018543 | 0.00046472 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4401-15_0_5_load_47 | 21 | 0.0010386 | 0.00026031 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4401-15_0_5_load_43 | 22 | 0.0012589 | 0.00031551 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4401-15_0_5_load_36 | 23 | 0.0151 | 0.0037844 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4401-15_0_5_load_63 | 24 | 0.0056036 | 0.0014044 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4401-15_0_5_load_94 | 25 | 0.0057137 | 0.001432 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4401-15_0_5_load_103 | 27 | 0.015965 | 0.0040011 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4401-15_0_5_load_105 | 28 | 0.0079623 | 0.0019955 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4401-15_0_5_load_87 | 30 | 0.0034859 | 0.00087365 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4401-15_0_5_load_84 | 31 | 0.0035007 | 0.00087735 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4401-15_0_5_load_82 | 33 | 0.0042324 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4401-15_0_5_load_92 | 34 | 0.017868 | 0.0044783 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4401-15_0_5_load_59 | 36 | 0.0033668 | 0.0008438 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4401-15_0_5_load_60 | 37 | 0.0036867 | 0.00092398 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4401-15_0_5_load_53 | 38 | 0.0027394 | 0.00068656 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4401-15_0_5_load_61 | 39 | 0.0036631 | 0.00091806 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4401-15_0_5_load_65 | 41 | 0.0034635 | 0.00086804 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4401-15_0_5_load_64 | 42 | 0.0066837 | 0.0016751 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4401-15_0_5_load_20 | 43 | 0.0020794 | 0.00052114 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4401-15_0_5_load_21 | 44 | 0.0093039 | 0.0023318 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4401-15_0_5_load_22 | 45 | 0.008593 | 0.0021536 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4401-15_0_5_load_23 | 46 | 0.0061362 | 0.0015379 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4401-15_0_5_load_24 | 47 | 0.0035215 | 0.00088257 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4401-15_0_5_load_85 | 49 | 0.0025089 | 0.0006288 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4401-15_0_5_load_25 | 51 | 0.0057645 | 0.0014447 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4401-15_0_5_load_26 | 52 | 0.0073941 | 0.0018531 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4401-15_0_5_load_28 | 54 | 0.0044696 | 0.0011202 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4401-15_0_5_load_29 | 55 | 0.0052656 | 0.0013197 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4401-15_0_5_load_30 | 56 | 0.0027005 | 0.00067681 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4401-15_0_5_load_49 | 58 | 0.0079636 | 0.0019959 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4401-15_0_5_load_58 | 59 | 0.0042725 | 0.0010708 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4401-15_0_5_load_52 | 60 | 0.0052392 | 0.0013131 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4401-15_0_5_load_48 | 61 | 0.022602 | 0.0056645 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4401-15_0_5_load_74 | 62 | 0.010605 | 0.0026579 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4401-15_0_5_load_31 | 63 | 0.005514 | 0.0013819 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4401-15_0_5_load_32 | 64 | 0.0073518 | 0.0018425 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4401-15_0_5_load_34 | 66 | 0.0086937 | 0.0021788 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4401-15_0_5_load_35 | 67 | 0.0079496 | 0.0019923 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4401-15_0_5_load_51 | 68 | 0.0040242 | 0.0010086 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4401-15_0_5_load_40 | 70 | 0.0074731 | 0.0018729 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4401-15_0_5_load_37 | 71 | 0.01071 | 0.0026842 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4401-15_0_5_load_42 | 72 | 0.009395 | 0.0023546 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4401-15_0_5_load_102 | 73 | 0.010067 | 0.0025229 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4401-15_0_5_load_44 | 74 | 0.0042852 | 0.001074 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4401-15_0_5_load_46 | 75 | 0.0024262 | 0.00060806 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4401-15_0_5_load_67 | 77 | 0.0033615 | 0.00084248 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4401-15_0_5_load_100 | 79 | 0.0032303 | 0.00080958 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4401-15_0_5_load_83 | 80 | 0.0031016 | 0.00077735 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4401-15_0_5_load_99 | 81 | 0.003744 | 0.00093833 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4401-15_0_5_load_101 | 82 | 0.0055722 | 0.0013965 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4401-15_0_5_load_81 | 83 | 0.0073915 | 0.0018525 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4401-15_0_5_load_98 | 84 | 0.0050288 | 0.0012603 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4401-15_0_5_load_69 | 85 | 0.0030275 | 0.00075877 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4401-15_0_5_load_70 | 86 | 0.0066048 | 0.0016553 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4401-15_0_5_load_71 | 87 | 0.004091 | 0.0010253 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4401-15_0_5_load_72 | 88 | 0.0034804 | 0.00087228 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4401-15_0_5_load_77 | 90 | 0.0072216 | 0.0018099 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4401-15_0_5_load_75 | 91 | 0.0036961 | 0.00092632 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4401-15_0_5_load_79 | 92 | 0.017991 | 0.0045089 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4401-15_0_5_load_80 | 93 | 0.0042726 | 0.0010708 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4401-15_0_5_load_104 | 94 | 0.0039737 | 0.00099589 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4401-15_0_5_load_96 | 95 | 0.0086388 | 0.0021651 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4401-15_0_5_load_97 | 96 | 0.0055854 | 0.0013998 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4401-15_0_5_load_95 | 97 | 0.0065327 | 0.0016372 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4401-15_0_5_line_0 |  | 0 | 1 | 0.01067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4401-15_0_5_line_1 |  | 1 | 2 | 0.0072463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4401-15_0_5_line_2 |  | 2 | 3 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4401-15_0_5_line_3 |  | 2 | 4 | 0.028307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4401-15_0_5_line_4 |  | 2 | 5 | 0.016828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4401-15_0_5_line_5 |  | 4 | 11 | 0.019126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4401-15_0_5_line_6 |  | 5 | 12 | 0.0074656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4401-15_0_5_line_7 |  | 6 | 7 | 0.014519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4401-15_0_5_line_8 |  | 6 | 8 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4401-15_0_5_line_9 |  | 7 | 23 | 0.0059368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4401-15_0_5_line_10 |  | 8 | 9 | 0.01211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4401-15_0_5_line_11 |  | 9 | 10 | 0.016256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4401-15_0_5_line_12 |  | 11 | 19 | 0.013899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4401-15_0_5_line_13 |  | 11 | 13 | 0.053767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4401-15_0_5_line_14 |  | 12 | 38 | 0.0037707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4401-15_0_5_line_15 |  | 13 | 14 | 0.014767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4401-15_0_5_line_16 |  | 15 | 16 | 0.015337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4401-15_0_5_line_17 |  | 15 | 17 | 0.018121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4401-15_0_5_line_18 |  | 16 | 39 | 0.0022265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4401-15_0_5_line_19 |  | 17 | 40 | 0.0017416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4401-15_0_5_line_20 |  | 18 | 19 | 0.0023515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4401-15_0_5_line_21 |  | 20 | 21 | 0.0069844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4401-15_0_5_line_22 |  | 20 | 22 | 0.0076613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4401-15_0_5_line_23 |  | 21 | 38 | 0.0035357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4401-15_0_5_line_24 |  | 22 | 74 | 0.0091322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4401-15_0_5_line_25 |  | 23 | 65 | 0.011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4401-15_0_5_line_26 |  | 24 | 25 | 0.0070369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4401-15_0_5_line_27 |  | 25 | 35 | 0.0086787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4401-15_0_5_line_28 |  | 26 | 27 | 0.013776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4401-15_0_5_line_29 |  | 26 | 28 | 0.022202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4401-15_0_5_line_30 |  | 27 | 73 | 0.0072723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4401-15_0_5_line_31 |  | 28 | 94 | 0.0062314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4401-15_0_5_line_32 |  | 29 | 30 | 0.017068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4401-15_0_5_line_33 |  | 29 | 31 | 0.0062046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4401-15_0_5_line_34 |  | 30 | 32 | 0.016165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4401-15_0_5_line_35 |  | 31 | 49 | 0.0053237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4401-15_0_5_line_36 |  | 32 | 33 | 0.0024378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4401-15_0_5_line_37 |  | 34 | 35 | 0.016338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4401-15_0_5_line_38 |  | 35 | 97 | 0.0094914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4401-15_0_5_line_39 |  | 36 | 37 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4401-15_0_5_line_40 |  | 37 | 39 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4401-15_0_5_line_41 |  | 40 | 62 | 0.012892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4401-15_0_5_line_42 |  | 40 | 56 | 0.0011146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4401-15_0_5_line_43 |  | 41 | 42 | 0.012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4401-15_0_5_line_44 |  | 42 | 76 | 0.002054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4401-15_0_5_line_45 |  | 43 | 44 | 0.01362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4401-15_0_5_line_46 |  | 43 | 45 | 0.0040904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4401-15_0_5_line_47 |  | 44 | 46 | 0.0038618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4401-15_0_5_line_48 |  | 45 | 47 | 0.0015606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4401-15_0_5_line_49 |  | 46 | 48 | 0.0056751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4401-15_0_5_line_50 |  | 47 | 49 | 0.0045403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4401-15_0_5_line_51 |  | 48 | 50 | 0.005855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4401-15_0_5_line_52 |  | 50 | 72 | 0.019042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4401-15_0_5_line_53 |  | 50 | 71 | 0.0038777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4401-15_0_5_line_54 |  | 51 | 52 | 0.014643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4401-15_0_5_line_55 |  | 51 | 53 | 0.012215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4401-15_0_5_line_56 |  | 52 | 54 | 0.0090818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4401-15_0_5_line_57 |  | 53 | 55 | 0.013595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4401-15_0_5_line_58 |  | 53 | 56 | 0.015512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4401-15_0_5_line_59 |  | 54 | 57 | 0.0032042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4401-15_0_5_line_60 |  | 55 | 58 | 0.008313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4401-15_0_5_line_61 |  | 57 | 59 | 0.0088886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4401-15_0_5_line_62 |  | 57 | 60 | 0.021144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4401-15_0_5_line_63 |  | 58 | 61 | 0.0062861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4401-15_0_5_line_64 |  | 59 | 75 | 0.0089974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4401-15_0_5_line_65 |  | 60 | 68 | 0.013778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4401-15_0_5_line_66 |  | 61 | 72 | 0.010246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_4401-15_0_5_line_67 |  | 62 | 91 | 0.0021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4401-15_0_5_line_68 |  | 63 | 64 | 0.0041445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4401-15_0_5_line_69 |  | 63 | 65 | 0.013157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4401-15_0_5_line_70 |  | 64 | 66 | 0.01623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4401-15_0_5_line_71 |  | 65 | 67 | 0.011913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4401-15_0_5_line_72 |  | 66 | 68 | 0.0023139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4401-15_0_5_line_73 |  | 69 | 70 | 0.0029752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4401-15_0_5_line_74 |  | 69 | 71 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4401-15_0_5_line_75 |  | 70 | 73 | 0.0070754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4401-15_0_5_line_76 |  | 74 | 75 | 0.0073594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4401-15_0_5_line_77 |  | 76 | 77 | 0.0075007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4401-15_0_5_line_78 |  | 76 | 78 | 0.006856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4401-15_0_5_line_79 |  | 77 | 79 | 0.0062951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4401-15_0_5_line_80 |  | 78 | 80 | 0.0077878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4401-15_0_5_line_81 |  | 78 | 81 | 0.035695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4401-15_0_5_line_82 |  | 79 | 82 | 0.0055502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4401-15_0_5_line_83 |  | 80 | 83 | 0.017103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4401-15_0_5_line_84 |  | 81 | 84 | 0.0045302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4401-15_0_5_line_85 |  | 82 | 88 | 0.01164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4401-15_0_5_line_86 |  | 83 | 92 | 0.0042839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4401-15_0_5_line_87 |  | 84 | 96 | 0.0097392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4401-15_0_5_line_88 |  | 85 | 86 | 0.0063789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4401-15_0_5_line_89 |  | 85 | 87 | 0.0085569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4401-15_0_5_line_90 |  | 86 | 88 | 0.0023306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4401-15_0_5_line_91 |  | 87 | 89 | 0.0029133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4401-15_0_5_line_92 |  | 89 | 90 | 0.0088332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4401-15_0_5_line_93 |  | 90 | 91 | 0.00095629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4401-15_0_5_line_94 |  | 92 | 93 | 0.0062359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4401-15_0_5_line_95 |  | 94 | 97 | 0.0063226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4401-15_0_5_line_96 |  | 95 | 96 | 0.0056616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4401-15_0_5_trafo_48 | 0.63 MVA 20/0.4 kV | 98 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2750310.2821 | 1264835.2863 | 2750309.2118 | 1264824.6699
1 | 2750306.9822 | 1264817.7844 | 2750309.1747 | 1264824.3022 | 2750309.2118 | 1264824.6699
2 | 2750306.9822 | 1264817.7844 | 2750303.0289 | 1264802.4256
3 | 2750306.9822 | 1264817.7844 | 2750279.3956 | 1264824.1317
4 | 2750306.9822 | 1264817.7844 | 2750323.4429 | 1264814.2887
5 | 2750260.7568 | 1264828.4202 | 2750279.3956 | 1264824.1317
6 | 2750330.7456 | 1264812.7378 | 2750323.4429 | 1264814.2887
7 | 2750420.3228 | 1264781.3187 | 2750413.8983 | 1264776.7729 | 2750410.2115 | 1264771.2402
8 | 2750420.3228 | 1264781.3187 | 2750410.2529 | 1264790.3272 | 2750406.4055 | 1264795.8349 | 2750403.1449 | 1264797.869
9 | 2750410.2115 | 1264771.2402 | 2750410.2115 | 1264771.2402 | 2750409.0598 | 1264765.4162
10 | 2750392.1104 | 1264802.7004 | 2750399.6908 | 1264800.0239 | 2750403.1449 | 1264797.869
11 | 2750392.1104 | 1264802.7004 | 2750382.0771 | 1264804.6472 | 2750376.1346 | 1264805.703
12 | 2750260.7568 | 1264828.4202 | 2750263.1401 | 1264842.1133
13 | 2750247.0996 | 1264781.4813 | 2750249.9841 | 1264780.943 | 2750250.4611 | 1264783.8135 | 2750252.4311 | 1264783.3854 | 2750252.1638 | 1264784.413 | 2750257.6943 | 1264810.7801 | 2750260.7568 | 1264828.4202
14 | 2750334.4341 | 1264811.9545 | 2750330.7456 | 1264812.7378
15 | 2750247.0996 | 1264781.4813 | 2750244.3866 | 1264766.9655
16 | 2750292.7248 | 1264736.9959 | 2750294.7643 | 1264752.1964
17 | 2750292.7248 | 1264736.9959 | 2750310.248 | 1264732.3784
18 | 2750294.7643 | 1264752.1964 | 2750294.7267 | 1264754.4227
19 | 2750311.9321 | 1264731.9346 | 2750310.248 | 1264732.3784
20 | 2750263.1401 | 1264842.1133 | 2750263.5433 | 1264844.43
21 | 2750344.7247 | 1264809.7692 | 2750337.8926 | 1264811.2201
22 | 2750344.7247 | 1264809.7692 | 2750343.409 | 1264802.2217
23 | 2750334.4341 | 1264811.9545 | 2750337.8926 | 1264811.2201
24 | 2750341.8408 | 1264793.2252 | 2750343.409 | 1264802.2217
25 | 2750406.8271 | 1264754.1257 | 2750409.0598 | 1264765.4162
26 | 2750436.5307 | 1264764.7163 | 2750441.3196 | 1264759.5603
27 | 2750445.2718 | 1264751.9905 | 2750443.1629 | 1264757.5758 | 2750441.3196 | 1264759.5603
28 | 2750430.4134 | 1264710.8486 | 2750425.8426 | 1264714.5806 | 2750422.1117 | 1264716.3986 | 2750418.507 | 1264717.336
29 | 2750430.4134 | 1264710.8486 | 2750433.5702 | 1264714.4103 | 2750435.6236 | 1264717.8105 | 2750439.2829 | 1264730.7741
30 | 2750411.3513 | 1264718.5833 | 2750416.6579 | 1264717.8169 | 2750418.507 | 1264717.336
31 | 2750440.9757 | 1264736.7712 | 2750439.2829 | 1264730.7741
32 | 2750387.6829 | 1264671.1772 | 2750386.8004 | 1264663.814 | 2750383.1754 | 1264654.8687
33 | 2750387.6829 | 1264671.1772 | 2750387.1236 | 1264677.3565
34 | 2750375.1311 | 1264640.9274 | 2750381.2988 | 1264650.2381 | 2750383.1754 | 1264654.8687
35 | 2750387.1236 | 1264677.3565 | 2750386.6437 | 1264682.6585
36 | 2750375.1311 | 1264640.9274 | 2750373.4478 | 1264639.164
37 | 2750445.2718 | 1264751.9905 | 2750448.3677 | 1264752.3251 | 2750457.6312 | 1264761.763
38 | 2750445.2718 | 1264751.9905 | 2750442.6934 | 1264742.856
39 | 2750296.5762 | 1264777.3569 | 2750295.6338 | 1264773.6958 | 2750295.0417 | 1264765.059
40 | 2750295.0417 | 1264765.059 | 2750294.6447 | 1264759.2672 | 2750294.7267 | 1264754.4227
41 | 2750311.9321 | 1264731.9346 | 2750312.1153 | 1264719.0441
42 | 2750311.9321 | 1264731.9346 | 2750313.0377 | 1264731.7932
43 | 2750311.2639 | 1264656.6627 | 2750298.8052 | 1264659.3767
44 | 2750313.2709 | 1264656.2255 | 2750311.2639 | 1264656.6627
45 | 2750385.7251 | 1264692.8083 | 2750384.7893 | 1264703.147 | 2750384.7432 | 1264706.3859
46 | 2750386.0938 | 1264688.7346 | 2750385.7251 | 1264692.8083
47 | 2750384.7432 | 1264706.3859 | 2750384.6881 | 1264710.2474
48 | 2750386.0938 | 1264688.7346 | 2750386.2345 | 1264687.1804
49 | 2750384.6073 | 1264715.9219 | 2750384.6881 | 1264710.2474
50 | 2750386.6437 | 1264682.6585 | 2750386.2345 | 1264687.1804
51 | 2750385.3107 | 1264721.7346 | 2750384.6073 | 1264715.9219
52 | 2750385.3107 | 1264721.7346 | 2750366.4809 | 1264724.5675
53 | 2750385.3107 | 1264721.7346 | 2750389.1666 | 1264721.3237
54 | 2750331.6358 | 1264742.0731 | 2750334.8275 | 1264756.3643
55 | 2750328.468 | 1264730.2867 | 2750330.3355 | 1264736.2513 | 2750331.6358 | 1264742.0731
56 | 2750336.8071 | 1264765.2277 | 2750334.8275 | 1264756.3643
57 | 2750328.468 | 1264730.2867 | 2750341.9119 | 1264728.264
58 | 2750328.468 | 1264730.2867 | 2750321.3588 | 1264730.7286 | 2750313.0377 | 1264731.7932
59 | 2750337.5055 | 1264768.3549 | 2750336.8071 | 1264765.2277
60 | 2750341.9119 | 1264728.264 | 2750350.1324 | 1264727.0272
61 | 2750337.5055 | 1264768.3549 | 2750339.0319 | 1264777.1114
62 | 2750337.5055 | 1264768.3549 | 2750358.2317 | 1264764.173
63 | 2750350.1324 | 1264727.0272 | 2750356.3486 | 1264726.092
64 | 2750339.0319 | 1264777.1114 | 2750340.577 | 1264785.9752
65 | 2750371.7377 | 1264761.4479 | 2750358.2317 | 1264764.173
66 | 2750366.4809 | 1264724.5675 | 2750356.3486 | 1264726.092
67 | 2750312.1153 | 1264719.0441 | 2750312.1459 | 1264716.8959
68 | 2750389.8934 | 1264757.6719 | 2750393.9499 | 1264756.8224
69 | 2750406.8271 | 1264754.1257 | 2750393.9499 | 1264756.8224
70 | 2750374.0059 | 1264760.9902 | 2750375.1472 | 1264760.76 | 2750389.8934 | 1264757.6719
71 | 2750406.8271 | 1264754.1257 | 2750404.9562 | 1264742.3601
72 | 2750374.0059 | 1264760.9902 | 2750371.7377 | 1264761.4479
73 | 2750401.4038 | 1264720.0199 | 2750404.3485 | 1264719.5947
74 | 2750401.4038 | 1264720.0199 | 2750389.1666 | 1264721.3237
75 | 2750411.3513 | 1264718.5833 | 2750404.3485 | 1264719.5947
76 | 2750340.577 | 1264785.9752 | 2750341.8408 | 1264793.2252
77 | 2750313.2709 | 1264656.2255 | 2750314.9449 | 1264662.986 | 2750314.9127 | 1264663.5211
78 | 2750319.9302 | 1264654.5153 | 2750313.2709 | 1264656.2255
79 | 2750314.5339 | 1264669.8048 | 2750314.9127 | 1264663.5211
80 | 2750319.9302 | 1264654.5153 | 2750327.5183 | 1264652.7631
81 | 2750319.9302 | 1264654.5153 | 2750321.9418 | 1264642.977 | 2750326.8232 | 1264619.4968
82 | 2750314.5339 | 1264669.8048 | 2750314.1999 | 1264675.345
83 | 2750343.6227 | 1264647.0212 | 2750328.2601 | 1264652.5918 | 2750327.5183 | 1264652.7631
84 | 2750327.7452 | 1264615.0615 | 2750326.8232 | 1264619.4968
85 | 2750314.1999 | 1264675.345 | 2750313.4994 | 1264686.9643
86 | 2750347.3946 | 1264644.9903 | 2750343.6227 | 1264647.0212 | 2750343.6227 | 1264647.0212
87 | 2750327.7452 | 1264615.0615 | 2750329.7276 | 1264605.5261
88 | 2750312.9753 | 1264695.6581 | 2750313.3591 | 1264689.2907
89 | 2750312.9753 | 1264695.6581 | 2750312.4603 | 1264704.1994
90 | 2750313.3591 | 1264689.2907 | 2750313.4994 | 1264686.9643
91 | 2750312.285 | 1264707.1074 | 2750312.4603 | 1264704.1994
92 | 2750312.285 | 1264707.1074 | 2750312.1595 | 1264715.9397
93 | 2750312.1459 | 1264716.8959 | 2750312.1595 | 1264715.9397
94 | 2750347.3946 | 1264644.9903 | 2750352.8852 | 1264642.0341
95 | 2750442.6934 | 1264742.856 | 2750440.9757 | 1264736.7712
96 | 2750330.8799 | 1264599.9831 | 2750329.7276 | 1264605.5261

## bus_geodata
| x | y | coords
0 | 2750310.2821 | 1264835.2863
1 | 2750309.2118 | 1264824.6699
2 | 2750306.9822 | 1264817.7844
3 | 2750303.0289 | 1264802.4256
4 | 2750279.3956 | 1264824.1317
5 | 2750323.4429 | 1264814.2887
6 | 2750420.3228 | 1264781.3187
7 | 2750410.2115 | 1264771.2402
8 | 2750403.1449 | 1264797.869
9 | 2750392.1104 | 1264802.7004
10 | 2750376.1346 | 1264805.703
11 | 2750260.7568 | 1264828.4202
12 | 2750330.7456 | 1264812.7378
13 | 2750247.0996 | 1264781.4813
14 | 2750244.3866 | 1264766.9655
15 | 2750292.7248 | 1264736.9959
16 | 2750294.7643 | 1264752.1964
17 | 2750310.248 | 1264732.3784
18 | 2750263.5433 | 1264844.43
19 | 2750263.1401 | 1264842.1133
20 | 2750344.7247 | 1264809.7692
21 | 2750337.8926 | 1264811.2201
22 | 2750343.409 | 1264802.2217
23 | 2750409.0598 | 1264765.4162
24 | 2750436.5307 | 1264764.7163
25 | 2750441.3196 | 1264759.5603
26 | 2750430.4134 | 1264710.8486
27 | 2750418.507 | 1264717.336
28 | 2750439.2829 | 1264730.7741
29 | 2750387.6829 | 1264671.1772
30 | 2750383.1754 | 1264654.8687
31 | 2750387.1236 | 1264677.3565
32 | 2750375.1311 | 1264640.9274
33 | 2750373.4478 | 1264639.164
34 | 2750457.6312 | 1264761.763
35 | 2750445.2718 | 1264751.9905
36 | 2750296.5762 | 1264777.3569
37 | 2750295.0417 | 1264765.059
38 | 2750334.4341 | 1264811.9545
39 | 2750294.7267 | 1264754.4227
40 | 2750311.9321 | 1264731.9346
41 | 2750298.8052 | 1264659.3767
42 | 2750311.2639 | 1264656.6627
43 | 2750385.7251 | 1264692.8083
44 | 2750384.7432 | 1264706.3859
45 | 2750386.0938 | 1264688.7346
46 | 2750384.6881 | 1264710.2474
47 | 2750386.2345 | 1264687.1804
48 | 2750384.6073 | 1264715.9219
49 | 2750386.6437 | 1264682.6585
50 | 2750385.3107 | 1264721.7346
51 | 2750331.6358 | 1264742.0731
52 | 2750334.8275 | 1264756.3643
53 | 2750328.468 | 1264730.2867
54 | 2750336.8071 | 1264765.2277
55 | 2750341.9119 | 1264728.264
56 | 2750313.0377 | 1264731.7932
57 | 2750337.5055 | 1264768.3549
58 | 2750350.1324 | 1264727.0272
59 | 2750339.0319 | 1264777.1114
60 | 2750358.2317 | 1264764.173
61 | 2750356.3486 | 1264726.092
62 | 2750312.1153 | 1264719.0441
63 | 2750393.9499 | 1264756.8224
64 | 2750389.8934 | 1264757.6719
65 | 2750406.8271 | 1264754.1257
66 | 2750374.0059 | 1264760.9902
67 | 2750404.9562 | 1264742.3601
68 | 2750371.7377 | 1264761.4479
69 | 2750401.4038 | 1264720.0199
70 | 2750404.3485 | 1264719.5947
71 | 2750389.1666 | 1264721.3237
72 | 2750366.4809 | 1264724.5675
73 | 2750411.3513 | 1264718.5833
74 | 2750341.8408 | 1264793.2252
75 | 2750340.577 | 1264785.9752
76 | 2750313.2709 | 1264656.2255
77 | 2750314.9127 | 1264663.5211
78 | 2750319.9302 | 1264654.5153
79 | 2750314.5339 | 1264669.8048
80 | 2750327.5183 | 1264652.7631
81 | 2750326.8232 | 1264619.4968
82 | 2750314.1999 | 1264675.345
83 | 2750343.6227 | 1264647.0212
84 | 2750327.7452 | 1264615.0615
85 | 2750312.9753 | 1264695.6581
86 | 2750313.3591 | 1264689.2907
87 | 2750312.4603 | 1264704.1994
88 | 2750313.4994 | 1264686.9643
89 | 2750312.285 | 1264707.1074
90 | 2750312.1595 | 1264715.9397
91 | 2750312.1459 | 1264716.8959
92 | 2750347.3946 | 1264644.9903
93 | 2750352.8852 | 1264642.0341
94 | 2750440.9757 | 1264736.7712
95 | 2750330.8799 | 1264599.9831
96 | 2750329.7276 | 1264605.5261
97 | 2750442.6934 | 1264742.856
98 | 2750328.468 | 1264730.2867

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1