## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4401-20_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4401-20_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4401-20_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4401-20_0_7_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_4401-20_0_7_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4401-20_0_7_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_4401-20_0_7_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4401-20_0_7_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4401-20_0_7_node_101 | 0.4 | n |  | TRUE
9 | bus_LV_4401-20_0_7_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_4401-20_0_7_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4401-20_0_7_node_98 | 0.4 | n |  | TRUE
12 | bus_LV_4401-20_0_7_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4401-20_0_7_node_100 | 0.4 | n |  | TRUE
14 | bus_LV_4401-20_0_7_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_4401-20_0_7_node_3 | 0.4 | n |  | TRUE
16 | bus_LV_4401-20_0_7_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4401-20_0_7_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_4401-20_0_7_node_97 | 0.4 | n |  | TRUE
19 | bus_LV_4401-20_0_7_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4401-20_0_7_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4401-20_0_7_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4401-20_0_7_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4401-20_0_7_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4401-20_0_7_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4401-20_0_7_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_4401-20_0_7_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_4401-20_0_7_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_4401-20_0_7_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_4401-20_0_7_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_4401-20_0_7_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_4401-20_0_7_node_76 | 0.4 | n |  | TRUE
32 | bus_LV_4401-20_0_7_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4401-20_0_7_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_4401-20_0_7_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_4401-20_0_7_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4401-20_0_7_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_4401-20_0_7_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_4401-20_0_7_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_4401-20_0_7_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_4401-20_0_7_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_4401-20_0_7_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_4401-20_0_7_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_4401-20_0_7_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_4401-20_0_7_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_4401-20_0_7_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_4401-20_0_7_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_4401-20_0_7_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_4401-20_0_7_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_4401-20_0_7_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_4401-20_0_7_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_4401-20_0_7_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_4401-20_0_7_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_4401-20_0_7_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_4401-20_0_7_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_4401-20_0_7_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_4401-20_0_7_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_4401-20_0_7_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_4401-20_0_7_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_4401-20_0_7_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_4401-20_0_7_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_4401-20_0_7_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_4401-20_0_7_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_4401-20_0_7_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_4401-20_0_7_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_4401-20_0_7_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_4401-20_0_7_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_4401-20_0_7_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_4401-20_0_7_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_4401-20_0_7_node_99 | 0.4 | n |  | TRUE
70 | bus_LV_4401-20_0_7_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_4401-20_0_7_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_4401-20_0_7_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4401-20_0_7_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_4401-20_0_7_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_4401-20_0_7_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_4401-20_0_7_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_4401-20_0_7_node_96 | 0.4 | n |  | TRUE
78 | bus_LV_4401-20_0_7_node_47 | 0.4 | n |  | TRUE
79 | bus_LV_4401-20_0_7_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_4401-20_0_7_node_48 | 0.4 | n |  | TRUE
81 | bus_LV_4401-20_0_7_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_4401-20_0_7_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_4401-20_0_7_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_4401-20_0_7_node_103 | 0.4 | n |  | TRUE
85 | bus_LV_4401-20_0_7_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_4401-20_0_7_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_4401-20_0_7_node_104 | 0.4 | n |  | TRUE
88 | bus_LV_4401-20_0_7_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_4401-20_0_7_node_52 | 0.4 | n |  | TRUE
90 | bus_LV_4401-20_0_7_node_53 | 0.4 | n |  | TRUE
91 | bus_LV_4401-20_0_7_node_54 | 0.4 | n |  | TRUE
92 | bus_LV_4401-20_0_7_node_56 | 0.4 | n |  | TRUE
93 | bus_LV_4401-20_0_7_node_57 | 0.4 | n |  | TRUE
94 | bus_LV_4401-20_0_7_node_62 | 0.4 | n |  | TRUE
95 | bus_LV_4401-20_0_7_node_63 | 0.4 | n |  | TRUE
96 | bus_LV_4401-20_0_7_node_64 | 0.4 | n |  | TRUE
97 | bus_LV_4401-20_0_7_node_71 | 0.4 | n |  | TRUE
98 | bus_LV_4401-20_0_7_node_78 | 0.4 | n |  | TRUE
99 | bus_LV_4401-20_0_7_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_4401-20_0_7_node_87 | 0.4 | n |  | TRUE
101 | bus_MV_48_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4401-20_0_7_load_0 | 0 | 0.0057608 | 0.0014438 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4401-20_0_7_load_1 | 1 | 0.0058496 | 0.001466 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4401-20_0_7_load_9 | 6 | 0.01556 | 0.0038996 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4401-20_0_7_load_101 | 8 | 0.016912 | 0.0042385 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4401-20_0_7_load_98 | 11 | 0.0016845 | 0.00042217 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4401-20_0_7_load_100 | 13 | 0.00015418 | 3.8641e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4401-20_0_7_load_30 | 14 | 0.0060213 | 0.0015091 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4401-20_0_7_load_3 | 15 | 0.0073639 | 0.0018456 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4401-20_0_7_load_10 | 16 | 0.015734 | 0.0039432 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4401-20_0_7_load_97 | 18 | 0.0016843 | 0.00042213 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4401-20_0_7_load_11 | 19 | 0.0067033 | 0.00168 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4401-20_0_7_load_12 | 20 | 0.0045368 | 0.001137 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4401-20_0_7_load_14 | 22 | 0.0026706 | 0.00066932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4401-20_0_7_load_69 | 25 | 0.0026706 | 0.00066932 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4401-20_0_7_load_68 | 26 | 0.003262 | 0.00081753 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4401-20_0_7_load_74 | 27 | 0.011578 | 0.0029017 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4401-20_0_7_load_70 | 28 | 0.0039012 | 0.00097774 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4401-20_0_7_load_76 | 31 | 0.00069948 | 0.00017531 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4401-20_0_7_load_75 | 34 | 0.0028359 | 0.00071075 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4401-20_0_7_load_17 | 37 | 0.0048977 | 0.0012275 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4401-20_0_7_load_46 | 38 | 0.04322 | 0.010832 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4401-20_0_7_load_45 | 40 | 0.0009315 | 0.00023346 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4401-20_0_7_load_42 | 41 | 0.0057238 | 0.0014345 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4401-20_0_7_load_32 | 42 | 0.011679 | 0.002927 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4401-20_0_7_load_90 | 45 | 0.0031763 | 0.00079606 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4401-20_0_7_load_94 | 46 | 0.00094109 | 0.00023586 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4401-20_0_7_load_77 | 48 | 7.8017e-05 | 1.9553e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4401-20_0_7_load_43 | 50 | 0.011742 | 0.0029429 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4401-20_0_7_load_93 | 55 | 0.0011416 | 0.00028611 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4401-20_0_7_load_92 | 57 | 0.0011348 | 0.00028441 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4401-20_0_7_load_91 | 60 | 0.0012998 | 0.00032576 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4401-20_0_7_load_102 | 62 | 0.0032646 | 0.00081818 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4401-20_0_7_load_82 | 67 | 0.0010435 | 0.00026153 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4401-20_0_7_load_99 | 69 | 0.0052387 | 0.0013129 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4401-20_0_7_load_55 | 72 | 0.0031819 | 0.00079747 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4401-20_0_7_load_79 | 73 | 0.0008491 | 0.0002128 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4401-20_0_7_load_86 | 74 | 0.001201 | 0.000301 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4401-20_0_7_load_88 | 76 | 0.0011698 | 0.00029317 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4401-20_0_7_load_66 | 82 | 0.0061499 | 0.0015413 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4401-20_0_7_load_73 | 83 | 0.0044332 | 0.0011111 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4401-20_0_7_load_103 | 84 | 0.00026471 | 6.6343e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4401-20_0_7_load_72 | 85 | 0.0090595 | 0.0022705 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4401-20_0_7_load_65 | 86 | 0.0037474 | 0.00093918 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4401-20_0_7_load_104 | 87 | 0.00021182 | 5.3087e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4401-20_0_7_load_89 | 88 | 0.0051196 | 0.0012831 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4401-20_0_7_load_52 | 89 | 0.0030254 | 0.00075823 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4401-20_0_7_load_53 | 90 | 0.0031327 | 0.00078512 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4401-20_0_7_load_54 | 91 | 0.00044838 | 0.00011237 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4401-20_0_7_load_56 | 92 | 0.00024005 | 6.0162e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4401-20_0_7_load_57 | 93 | 0.00042618 | 0.00010681 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4401-20_0_7_load_62 | 94 | 0.0029796 | 0.00074675 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4401-20_0_7_load_63 | 95 | 0.0007197 | 0.00018037 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4401-20_0_7_load_64 | 96 | 0.00030601 | 7.6694e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4401-20_0_7_load_71 | 97 | 0.0059821 | 0.0014993 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4401-20_0_7_load_78 | 98 | 0.00073763 | 0.00018487 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4401-20_0_7_load_87 | 100 | 0.00081278 | 0.0002037 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4401-20_0_7_line_0 |  | 0 | 1 | 0.048534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4401-20_0_7_line_1 |  | 1 | 2 | 0.0098271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4401-20_0_7_line_2 |  | 2 | 4 | 0.051266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4401-20_0_7_line_3 |  | 2 | 6 | 0.037458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4401-20_0_7_line_4 |  | 3 | 4 | 0.047319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_4401-20_0_7_line_5 |  | 3 | 5 | 0.064501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_4401-20_0_7_line_6 |  | 4 | 15 | 0.029148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4401-20_0_7_line_7 |  | 5 | 44 | 0.059187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4401-20_0_7_line_8 |  | 5 | 45 | 0.046538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4401-20_0_7_line_9 |  | 6 | 16 | 0.047419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4401-20_0_7_line_10 |  | 7 | 8 | 0.024294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4401-20_0_7_line_11 |  | 7 | 9 | 0.06602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4401-20_0_7_line_12 |  | 9 | 15 | 0.04871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4401-20_0_7_line_13 |  | 10 | 11 | 0.016441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4401-20_0_7_line_14 |  | 10 | 12 | 0.006011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4401-20_0_7_line_15 |  | 11 | 18 | 0.070731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4401-20_0_7_line_16 |  | 12 | 13 | 0.007022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4401-20_0_7_line_17 |  | 12 | 14 | 0.073283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4401-20_0_7_line_18 |  | 14 | 16 | 0.092408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4401-20_0_7_line_19 |  | 14 | 17 | 0.042649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4401-20_0_7_line_20 |  | 17 | 42 | 0.066088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4401-20_0_7_line_21 |  | 17 | 43 | 0.006189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4401-20_0_7_line_22 |  | 19 | 20 | 0.0035782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4401-20_0_7_line_23 |  | 19 | 21 | 0.014509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4401-20_0_7_line_24 |  | 20 | 22 | 0.02097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4401-20_0_7_line_25 |  | 21 | 23 | 0.024234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4401-20_0_7_line_26 |  | 21 | 24 | 0.030835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4401-20_0_7_line_27 |  | 22 | 25 | 0.00012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4401-20_0_7_line_28 |  | 23 | 26 | 0.021499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4401-20_0_7_line_29 |  | 24 | 27 | 0.03589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4401-20_0_7_line_30 |  | 25 | 28 | 0.0011998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4401-20_0_7_line_31 |  | 26 | 29 | 0.011027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4401-20_0_7_line_32 |  | 28 | 97 | 0.018755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4401-20_0_7_line_33 |  | 29 | 68 | 0.019022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4401-20_0_7_line_34 |  | 30 | 31 | 0.10291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4401-20_0_7_line_35 |  | 30 | 32 | 0.028729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4401-20_0_7_line_36 |  | 31 | 47 | 0.073453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4401-20_0_7_line_37 |  | 32 | 36 | 0.13575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4401-20_0_7_line_38 |  | 33 | 34 | 0.033495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4401-20_0_7_line_39 |  | 33 | 35 | 0.0079798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4401-20_0_7_line_40 |  | 34 | 54 | 0.020073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4401-20_0_7_line_41 |  | 35 | 38 | 0.02355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4401-20_0_7_line_42 |  | 36 | 37 | 0.035542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4401-20_0_7_line_43 |  | 39 | 40 | 0.090659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_4401-20_0_7_line_44 |  | 39 | 41 | 0.061097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4401-20_0_7_line_45 |  | 40 | 49 | 0.071168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_4401-20_0_7_line_46 |  | 41 | 50 | 0.02675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4401-20_0_7_line_47 |  | 43 | 48 | 0.012601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4401-20_0_7_line_48 |  | 44 | 46 | 0.031787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4401-20_0_7_line_49 |  | 46 | 53 | 0.022695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4401-20_0_7_line_50 |  | 47 | 48 | 0.017275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4401-20_0_7_line_51 |  | 49 | 77 | 0.010246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4401-20_0_7_line_52 |  | 50 | 51 | 0.03427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4401-20_0_7_line_53 |  | 51 | 52 | 0.054647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4401-20_0_7_line_54 |  | 52 | 76 | 0.016942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4401-20_0_7_line_55 |  | 52 | 66 | 0.032917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4401-20_0_7_line_56 |  | 53 | 55 | 0.034418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4401-20_0_7_line_57 |  | 54 | 83 | 0.0034868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4401-20_0_7_line_58 |  | 54 | 78 | 0.011482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4401-20_0_7_line_59 |  | 55 | 56 | 0.016224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4401-20_0_7_line_60 |  | 56 | 57 | 0.020143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4401-20_0_7_line_61 |  | 57 | 59 | 0.030754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4401-20_0_7_line_62 |  | 58 | 59 | 0.014489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4401-20_0_7_line_63 |  | 58 | 60 | 0.029863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4401-20_0_7_line_64 |  | 60 | 64 | 0.030351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4401-20_0_7_line_65 |  | 61 | 62 | 0.057046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4401-20_0_7_line_66 |  | 61 | 63 | 0.052826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4401-20_0_7_line_67 |  | 63 | 66 | 0.032166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4401-20_0_7_line_68 |  | 63 | 67 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4401-20_0_7_line_69 |  | 64 | 65 | 0.00493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4401-20_0_7_line_70 |  | 65 | 73 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4401-20_0_7_line_71 |  | 66 | 74 | 0.016121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4401-20_0_7_line_72 |  | 67 | 75 | 0.019987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4401-20_0_7_line_73 |  | 68 | 69 | 0.006137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4401-20_0_7_line_74 |  | 70 | 71 | 0.022709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4401-20_0_7_line_75 |  | 70 | 72 | 0.012783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4401-20_0_7_line_76 |  | 71 | 86 | 0.010455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4401-20_0_7_line_77 |  | 71 | 94 | 0.012888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4401-20_0_7_line_78 |  | 72 | 90 | 0.017633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4401-20_0_7_line_79 |  | 73 | 98 | 0.0011585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_4401-20_0_7_line_80 |  | 74 | 99 | 0.021112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4401-20_0_7_line_81 |  | 75 | 98 | 0.020151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_4401-20_0_7_line_82 |  | 76 | 88 | 0.023073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4401-20_0_7_line_83 |  | 77 | 87 | 0.041853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4401-20_0_7_line_84 |  | 77 | 79 | 0.017347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4401-20_0_7_line_85 |  | 78 | 79 | 0.024746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4401-20_0_7_line_86 |  | 79 | 84 | 0.040207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4401-20_0_7_line_87 |  | 80 | 81 | 0.005744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4401-20_0_7_line_88 |  | 80 | 82 | 0.010617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4401-20_0_7_line_89 |  | 81 | 83 | 0.041113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4401-20_0_7_line_90 |  | 81 | 85 | 0.012655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4401-20_0_7_line_91 |  | 82 | 86 | 0.026348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4401-20_0_7_line_92 |  | 85 | 97 | 0.0089555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4401-20_0_7_line_93 |  | 89 | 90 | 0.0018391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4401-20_0_7_line_94 |  | 89 | 91 | 0.019806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4401-20_0_7_line_95 |  | 91 | 92 | 0.0073638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4401-20_0_7_line_96 |  | 92 | 93 | 0.017312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4401-20_0_7_line_97 |  | 94 | 95 | 0.031822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4401-20_0_7_line_98 |  | 95 | 96 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4401-20_0_7_line_99 |  | 99 | 100 | 0.038005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4401-20_0_7_trafo_51 | 0.63 MVA 20/0.4 kV | 101 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2750302.3865 | 1263975.7053 | 2750302.6607 | 1263971.8212 | 2750301.2463 | 1263968.4708 | 2750302.3072 | 1263949.5787 | 2750304.8142 | 1263945.8275 | 2750305.8643 | 1263928.2886
1 | 2750303.869 | 1263918.9987 | 2750303.8374 | 1263922.3124 | 2750305.9805 | 1263926.3487 | 2750305.8643 | 1263928.2886
2 | 2750273.2223 | 1263939.9521 | 2750288.1023 | 1263940.3862 | 2750289.6437 | 1263918.3031 | 2750295.5809 | 1263918.6433 | 2750303.869 | 1263918.9987
3 | 2750303.869 | 1263918.9987 | 2750303.8989 | 1263916.3412 | 2750305.3479 | 1263911.818 | 2750306.0112 | 1263902.0361 | 2750308.2857 | 1263897.9453 | 2750309.1737 | 1263882.4052
4 | 2750225.9351 | 1263941.6968 | 2750273.2223 | 1263939.9521
5 | 2750161.504 | 1263938.6907 | 2750211.0622 | 1263940.985 | 2750225.9351 | 1263941.6968
6 | 2750273.2223 | 1263939.9521 | 2750271.6888 | 1263969.0592
7 | 2750102.3931 | 1263935.6871 | 2750145.4666 | 1263937.8382 | 2750161.504 | 1263938.6907
8 | 2750161.504 | 1263938.6907 | 2750158.8023 | 1263985.1504
9 | 2750309.1737 | 1263882.4052 | 2750309.3316 | 1263879.6424 | 2750308.0594 | 1263873.9599 | 2750309.1748 | 1263856.4817 | 2750311.081 | 1263853.5383 | 2750312.2344 | 1263835.7674
10 | 2750309.6139 | 1264033.2265 | 2750305.5882 | 1264036.2494 | 2750302.1623 | 1264039.9883 | 2750299.6143 | 1264044.7617 | 2750298.3919 | 1264049.2685 | 2750297.8432 | 1264053.3587
11 | 2750268.5331 | 1264017.6445 | 2750282.662 | 1264018.2708 | 2750282.4624 | 1264021.0797 | 2750279.8672 | 1264052.0005 | 2750286.21 | 1264052.6846 | 2750297.8432 | 1264053.3587
12 | 2750268.5331 | 1264017.6445 | 2750269.4922 | 1264010.7508 | 2750271.6888 | 1263969.0592
13 | 2750308.1595 | 1263780.8687 | 2750312.7726 | 1263781.7201 | 2750314.5078 | 1263781.0524 | 2750315.7611 | 1263779.4827 | 2750317.257 | 1263771.7435
14 | 2750307.3148 | 1263786.8199 | 2750308.1595 | 1263780.8687
15 | 2750338.614 | 1263704.4553 | 2750338.1599 | 1263705.3886 | 2750329.9475 | 1263726.3343 | 2750323.0351 | 1263747.7245 | 2750318.6684 | 1263764.4415 | 2750317.257 | 1263771.7435
16 | 2750314.02 | 1263788.9702 | 2750307.3148 | 1263786.8199
17 | 2750234.0321 | 1263786.5373 | 2750307.3148 | 1263786.8199
18 | 2750234.0321 | 1263786.5373 | 2750312.2344 | 1263835.7674
19 | 2750236.3294 | 1263743.9507 | 2750234.0321 | 1263786.5373
20 | 2750236.3294 | 1263743.9507 | 2750240.0519 | 1263677.968
21 | 2750242.534 | 1263744.153 | 2750236.3294 | 1263743.9507
22 | 2749813.1271 | 1263762.8387 | 2749809.5785 | 1263763.2979
23 | 2749795.1895 | 1263765.1595 | 2749809.5785 | 1263763.2979
24 | 2749813.1271 | 1263762.8387 | 2749827.6788 | 1263760.9561 | 2749833.9207 | 1263760.1226
25 | 2749795.1895 | 1263765.1595 | 2749799.037 | 1263776.2903 | 2749804.8999 | 1263787.2944
26 | 2749788.3465 | 1263735.1449 | 2749789.9115 | 1263745.3503 | 2749792.6306 | 1263756.9976 | 2749795.1895 | 1263765.1595
27 | 2749834.0413 | 1263760.1065 | 2749833.9207 | 1263760.1226
28 | 2749804.8999 | 1263787.2944 | 2749816.5461 | 1263805.3661
29 | 2749788.3465 | 1263735.1449 | 2749803.4527 | 1263722.5148 | 2749816.7091 | 1263713.2047
30 | 2749834.0413 | 1263760.1065 | 2749835.2305 | 1263759.9477
31 | 2749822.5193 | 1263814.6348 | 2749816.5461 | 1263805.3661
32 | 2749853.8619 | 1263757.8342 | 2749845.1086 | 1263758.6287 | 2749835.2305 | 1263759.9477
33 | 2749822.5193 | 1263814.6348 | 2749833.0212 | 1263830.5169
34 | 2750260.9068 | 1263539.7141 | 2750259.0602 | 1263543.5711 | 2750257.4825 | 1263549.3034 | 2750257.2441 | 1263555.7149 | 2750255.0353 | 1263589.2259 | 2750253.932 | 1263610.0855 | 2750251.9568 | 1263641.8277
35 | 2750238.1467 | 1263538.8239 | 2750243.3119 | 1263532.4932 | 2750245.9716 | 1263536.0755 | 2750249.5751 | 1263538.703 | 2750253.2191 | 1263540.0302 | 2750257.0841 | 1263540.3732 | 2750260.9068 | 1263539.7141
36 | 2750244.1293 | 1263714.3191 | 2750247.9672 | 1263705.9415 | 2750251.9568 | 1263641.8277
37 | 2750119.0418 | 1263504.6762 | 2750124.3556 | 1263506.1348 | 2750169.2465 | 1263509.2554 | 2750213.332 | 1263511.4438 | 2750222.9817 | 1263514.8813 | 2750230.4624 | 1263518.2636 | 2750233.6536 | 1263521.3922 | 2750233.7481 | 1263525.977 | 2750234.123 | 1263531.6812 | 2750236.2787 | 1263536.1182 | 2750238.1467 | 1263538.8239
38 | 2749907.4114 | 1263665.0136 | 2749895.6388 | 1263690.5964 | 2749893.7781 | 1263695.5948
39 | 2749907.4114 | 1263665.0136 | 2749908.926 | 1263662.049 | 2749913.094 | 1263664.1123
40 | 2749886.775 | 1263714.4068 | 2749893.7781 | 1263695.5948
41 | 2749913.094 | 1263664.1123 | 2749907.5334 | 1263674.7598 | 2749902.6007 | 1263685.1897
42 | 2750119.0418 | 1263504.6762 | 2750116.8624 | 1263540.1513
43 | 2750109.9937 | 1263736.5018 | 2750033.9187 | 1263732.534 | 2750019.4474 | 1263732.0199
44 | 2750109.9937 | 1263736.5018 | 2750108.3062 | 1263797.5754
45 | 2749948.3246 | 1263729.4934 | 2750019.4474 | 1263732.0199
46 | 2750107.5673 | 1263824.3155 | 2750108.3062 | 1263797.5754
47 | 2750242.534 | 1263744.153 | 2750243.2069 | 1263731.5698
48 | 2750102.3931 | 1263935.6871 | 2750097.6203 | 1263967.1142
49 | 2750093.5223 | 1263989.416 | 2750095.4337 | 1263981.5121 | 2750097.6203 | 1263967.1142
50 | 2750244.1293 | 1263714.3191 | 2750243.2069 | 1263731.5698
51 | 2749948.3246 | 1263729.4934 | 2749938.0544 | 1263729.1326
52 | 2750106.6208 | 1263858.5723 | 2750107.5673 | 1263824.3155
53 | 2750051.883 | 1263855.747 | 2750106.6208 | 1263858.5723
54 | 2750051.883 | 1263855.747 | 2750050.7428 | 1263872.6502
55 | 2750051.883 | 1263855.747 | 2750018.911 | 1263854.0421
56 | 2750093.5223 | 1263989.416 | 2750086.7616 | 1263989.4555 | 2750075.8206 | 1263990.6012 | 2750064.8705 | 1263992.1026 | 2750059.2895 | 1263992.6069
57 | 2749886.775 | 1263714.4068 | 2749885.8838 | 1263717.7778
58 | 2749886.775 | 1263714.4068 | 2749897.6032 | 1263718.3185
59 | 2750043.0807 | 1263992.8394 | 2750055.5499 | 1263992.9448 | 2750059.2895 | 1263992.6069
60 | 2750043.0807 | 1263992.8394 | 2750023.3259 | 1263988.9018
61 | 2749992.7077 | 1263986.4439 | 2750004.087 | 1263986.7329 | 2750020.8269 | 1263988.4036 | 2750023.3259 | 1263988.9018
62 | 2749978.419 | 1263988.25 | 2749985.3007 | 1263986.4116 | 2749990.117 | 1263986.3782 | 2749992.7077 | 1263986.4439
63 | 2749978.419 | 1263988.25 | 2749975.1885 | 1263980.7383 | 2749976.3914 | 1263959.0856
64 | 2749978.0749 | 1263928.7815 | 2749976.3914 | 1263959.0856
65 | 2749937.0949 | 1263863.4433 | 2749941.0202 | 1263858.1375 | 2749942.8794 | 1263851.9895 | 2749954.263 | 1263819.7569 | 2749957.2969 | 1263810.38
66 | 2749937.0949 | 1263863.4433 | 2749942.137 | 1263863.1264 | 2749948.3703 | 1263862.1946 | 2749952.5886 | 1263861.3785 | 2749960.6689 | 1263855.0771 | 2749964.9306 | 1263852.5493 | 2749968.2299 | 1263851.4207 | 2749986.6915 | 1263852.3787
67 | 2749986.6915 | 1263852.3787 | 2750018.911 | 1263854.0421
68 | 2749986.6915 | 1263852.3787 | 2749985.8678 | 1263869.5739
69 | 2749978.0749 | 1263928.7815 | 2749983.0114 | 1263929.0625
70 | 2749983.0114 | 1263929.0625 | 2749983.8883 | 1263910.8223
71 | 2750018.911 | 1263854.0421 | 2750018.1725 | 1263870.1466
72 | 2749984.9116 | 1263889.5376 | 2749985.8678 | 1263869.5739
73 | 2749838.2359 | 1263827.2568 | 2749833.0212 | 1263830.5169
74 | 2749855.0239 | 1263830.6189 | 2749860.8933 | 1263808.6789
75 | 2749855.0239 | 1263830.6189 | 2749867.4275 | 1263833.7104
76 | 2749860.8933 | 1263808.6789 | 2749863.6906 | 1263798.6047
77 | 2749860.8933 | 1263808.6789 | 2749873.4299 | 1263811.6685
78 | 2749867.4275 | 1263833.7104 | 2749884.5372 | 1263837.9748
79 | 2749983.9439 | 1263909.6651 | 2749983.8883 | 1263910.8223
80 | 2750017.2054 | 1263891.2362 | 2750018.1725 | 1263870.1466
81 | 2749984.9116 | 1263889.5376 | 2749983.9439 | 1263909.6651
82 | 2750050.7428 | 1263872.6502 | 2750049.1899 | 1263895.6711
83 | 2749928.6841 | 1263769.9249 | 2749938.0544 | 1263729.1326
84 | 2749920.8182 | 1263726.7933 | 2749937.0907 | 1263729.097 | 2749938.0544 | 1263729.1326
85 | 2749897.6032 | 1263718.3185 | 2749904.4842 | 1263721.2737 | 2749908.1521 | 1263722.846 | 2749920.8182 | 1263726.7933
86 | 2749920.8182 | 1263726.7933 | 2749911.8204 | 1263765.9823
87 | 2749875.3417 | 1263757.5159 | 2749873.7547 | 1263763.0368
88 | 2749873.7547 | 1263763.0368 | 2749870.8194 | 1263773.24
89 | 2749875.3417 | 1263757.5159 | 2749879.114 | 1263743.3862 | 2749885.8838 | 1263717.7778
90 | 2749875.3417 | 1263757.5159 | 2749868.3811 | 1263756.5163 | 2749862.7808 | 1263757.0246
91 | 2749870.8194 | 1263773.24 | 2749868.3577 | 1263781.7966 | 2749863.6906 | 1263798.6047
92 | 2749853.8619 | 1263757.8342 | 2749862.7808 | 1263757.0246
93 | 2749886.3217 | 1263838.4196 | 2749884.5372 | 1263837.9748
94 | 2749886.3217 | 1263838.4196 | 2749905.5397 | 1263843.2095
95 | 2749912.685 | 1263844.9904 | 2749905.5397 | 1263843.2095
96 | 2749912.685 | 1263844.9904 | 2749929.4828 | 1263849.1771
97 | 2749873.4299 | 1263811.6685 | 2749904.3843 | 1263819.0501
98 | 2749920.9167 | 1263822.9925 | 2749904.3843 | 1263819.0501
99 | 2750017.2054 | 1263891.2362 | 2750041.2694 | 1263892.359 | 2750040.3874 | 1263906.3173

## bus_geodata
| x | y | coords
0 | 2750302.3865 | 1263975.7053
1 | 2750305.8643 | 1263928.2886
2 | 2750303.869 | 1263918.9987
3 | 2750225.9351 | 1263941.6968
4 | 2750273.2223 | 1263939.9521
5 | 2750161.504 | 1263938.6907
6 | 2750309.1737 | 1263882.4052
7 | 2750297.8432 | 1264053.3587
8 | 2750309.6139 | 1264033.2265
9 | 2750268.5331 | 1264017.6445
10 | 2750308.1595 | 1263780.8687
11 | 2750317.257 | 1263771.7435
12 | 2750307.3148 | 1263786.8199
13 | 2750314.02 | 1263788.9702
14 | 2750234.0321 | 1263786.5373
15 | 2750271.6888 | 1263969.0592
16 | 2750312.2344 | 1263835.7674
17 | 2750236.3294 | 1263743.9507
18 | 2750338.614 | 1263704.4553
19 | 2749809.5785 | 1263763.2979
20 | 2749813.1271 | 1263762.8387
21 | 2749795.1895 | 1263765.1595
22 | 2749833.9207 | 1263760.1226
23 | 2749804.8999 | 1263787.2944
24 | 2749788.3465 | 1263735.1449
25 | 2749834.0413 | 1263760.1065
26 | 2749816.5461 | 1263805.3661
27 | 2749816.7091 | 1263713.2047
28 | 2749835.2305 | 1263759.9477
29 | 2749822.5193 | 1263814.6348
30 | 2750260.9068 | 1263539.7141
31 | 2750251.9568 | 1263641.8277
32 | 2750238.1467 | 1263538.8239
33 | 2749907.4114 | 1263665.0136
34 | 2749893.7781 | 1263695.5948
35 | 2749913.094 | 1263664.1123
36 | 2750119.0418 | 1263504.6762
37 | 2750116.8624 | 1263540.1513
38 | 2749902.6007 | 1263685.1897
39 | 2750109.9937 | 1263736.5018
40 | 2750019.4474 | 1263732.0199
41 | 2750108.3062 | 1263797.5754
42 | 2750240.0519 | 1263677.968
43 | 2750242.534 | 1263744.153
44 | 2750102.3931 | 1263935.6871
45 | 2750158.8023 | 1263985.1504
46 | 2750097.6203 | 1263967.1142
47 | 2750244.1293 | 1263714.3191
48 | 2750243.2069 | 1263731.5698
49 | 2749948.3246 | 1263729.4934
50 | 2750107.5673 | 1263824.3155
51 | 2750106.6208 | 1263858.5723
52 | 2750051.883 | 1263855.747
53 | 2750093.5223 | 1263989.416
54 | 2749886.775 | 1263714.4068
55 | 2750059.2895 | 1263992.6069
56 | 2750043.0807 | 1263992.8394
57 | 2750023.3259 | 1263988.9018
58 | 2749978.419 | 1263988.25
59 | 2749992.7077 | 1263986.4439
60 | 2749976.3914 | 1263959.0856
61 | 2749937.0949 | 1263863.4433
62 | 2749957.2969 | 1263810.38
63 | 2749986.6915 | 1263852.3787
64 | 2749978.0749 | 1263928.7815
65 | 2749983.0114 | 1263929.0625
66 | 2750018.911 | 1263854.0421
67 | 2749985.8678 | 1263869.5739
68 | 2749833.0212 | 1263830.5169
69 | 2749838.2359 | 1263827.2568
70 | 2749855.0239 | 1263830.6189
71 | 2749860.8933 | 1263808.6789
72 | 2749867.4275 | 1263833.7104
73 | 2749983.8883 | 1263910.8223
74 | 2750018.1725 | 1263870.1466
75 | 2749984.9116 | 1263889.5376
76 | 2750050.7428 | 1263872.6502
77 | 2749938.0544 | 1263729.1326
78 | 2749897.6032 | 1263718.3185
79 | 2749920.8182 | 1263726.7933
80 | 2749873.7547 | 1263763.0368
81 | 2749875.3417 | 1263757.5159
82 | 2749870.8194 | 1263773.24
83 | 2749885.8838 | 1263717.7778
84 | 2749911.8204 | 1263765.9823
85 | 2749862.7808 | 1263757.0246
86 | 2749863.6906 | 1263798.6047
87 | 2749928.6841 | 1263769.9249
88 | 2750049.1899 | 1263895.6711
89 | 2749886.3217 | 1263838.4196
90 | 2749884.5372 | 1263837.9748
91 | 2749905.5397 | 1263843.2095
92 | 2749912.685 | 1263844.9904
93 | 2749929.4828 | 1263849.1771
94 | 2749873.4299 | 1263811.6685
95 | 2749904.3843 | 1263819.0501
96 | 2749920.9167 | 1263822.9925
97 | 2749853.8619 | 1263757.8342
98 | 2749983.9439 | 1263909.6651
99 | 2750017.2054 | 1263891.2362
100 | 2750040.3874 | 1263906.3173
101 | 2750018.911 | 1263854.0421

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1