## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4401-25_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4401-25_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4401-25_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4401-25_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4401-25_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4401-25_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4401-25_0_4_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_4401-25_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4401-25_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_4401-25_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_4401-25_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_4401-25_0_4_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_4401-25_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4401-25_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4401-25_0_4_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_4401-25_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_4401-25_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_4401-25_0_4_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_4401-25_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4401-25_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_4401-25_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4401-25_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4401-25_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_4401-25_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4401-25_0_4_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_4401-25_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4401-25_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4401-25_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_4401-25_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_4401-25_0_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_4401-25_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_4401-25_0_4_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_4401-25_0_4_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_4401-25_0_4_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_4401-25_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_4401-25_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_4401-25_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_4401-25_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_4401-25_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4401-25_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4401-25_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_4401-25_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4401-25_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_4401-25_0_4_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_4401-25_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_4401-25_0_4_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_4401-25_0_4_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_4401-25_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4401-25_0_4_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_4401-25_0_4_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_4401-25_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_4401-25_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_4401-25_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_4401-25_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_4401-25_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_4401-25_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_4401-25_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_4401-25_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_4401-25_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_4401-25_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_MV_48_0_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4401-25_0_4_load_0 | 0 | 0.0067106 | 0.0016818 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4401-25_0_4_load_1 | 1 | 0.0082094 | 0.0020575 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4401-25_0_4_load_3 | 3 | 0.017983 | 0.0045071 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4401-25_0_4_load_47 | 6 | 0.0088502 | 0.0022181 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4401-25_0_4_load_59 | 11 | 0.0022117 | 0.00055429 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4401-25_0_4_load_8 | 13 | 0.010569 | 0.0026489 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4401-25_0_4_load_48 | 14 | 0.012892 | 0.0032311 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4401-25_0_4_load_60 | 17 | 0.0052793 | 0.0013231 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4401-25_0_4_load_9 | 18 | 0.01362 | 0.0034136 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4401-25_0_4_load_18 | 19 | 0.0029656 | 0.00074324 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4401-25_0_4_load_16 | 20 | 0.0047937 | 0.0012014 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4401-25_0_4_load_22 | 22 | 0.010051 | 0.002519 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4401-25_0_4_load_20 | 23 | 0.0057949 | 0.0014523 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4401-25_0_4_load_50 | 24 | 0.0024803 | 0.00062163 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4401-25_0_4_load_35 | 27 | 0.013236 | 0.0033174 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4401-25_0_4_load_56 | 31 | 0.0099209 | 0.0024864 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4401-25_0_4_load_55 | 32 | 0.015935 | 0.0039938 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4401-25_0_4_load_42 | 33 | 0.01711 | 0.0042882 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4401-25_0_4_load_39 | 34 | 0.019027 | 0.0047686 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4401-25_0_4_load_44 | 37 | 0.01839 | 0.0046091 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4401-25_0_4_load_43 | 39 | 0.017532 | 0.0043939 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4401-25_0_4_load_29 | 40 | 0.0064357 | 0.0016129 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4401-25_0_4_load_46 | 42 | 0.0050936 | 0.0012766 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4401-25_0_4_load_17 | 43 | 0.012086 | 0.003029 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4401-25_0_4_load_25 | 44 | 0.005233 | 0.0013115 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4401-25_0_4_load_61 | 45 | 0.0062109 | 0.0015566 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4401-25_0_4_load_21 | 46 | 0.0058407 | 0.0014638 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4401-25_0_4_load_36 | 47 | 0.013955 | 0.0034973 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4401-25_0_4_load_24 | 48 | 0.0057303 | 0.0014361 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4401-25_0_4_load_26 | 49 | 0.007703 | 0.0019305 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4401-25_0_4_load_38 | 51 | 0.014275 | 0.0035778 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4401-25_0_4_load_41 | 54 | 0.01501 | 0.0037619 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4401-25_0_4_load_40 | 55 | 0.014345 | 0.0035952 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4401-25_0_4_load_58 | 56 | 0.012631 | 0.0031656 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4401-25_0_4_load_51 | 57 | 0.012952 | 0.003246 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4401-25_0_4_load_52 | 58 | 0.012969 | 0.0032503 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4401-25_0_4_load_53 | 59 | 0.015443 | 0.0038705 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4401-25_0_4_line_0 |  | 0 | 1 | 0.042729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4401-25_0_4_line_1 |  | 0 | 2 | 0.017849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4401-25_0_4_line_2 |  | 1 | 3 | 0.041355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4401-25_0_4_line_3 |  | 2 | 4 | 0.042445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4401-25_0_4_line_4 |  | 3 | 5 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4401-25_0_4_line_5 |  | 4 | 6 | 0.023192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4401-25_0_4_line_6 |  | 5 | 12 | 0.003151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4401-25_0_4_line_7 |  | 5 | 13 | 0.025639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4401-25_0_4_line_8 |  | 6 | 14 | 0.024686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4401-25_0_4_line_9 |  | 7 | 8 | 0.0216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4401-25_0_4_line_10 |  | 7 | 9 | 0.039326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4401-25_0_4_line_11 |  | 7 | 10 | 0.16304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4401-25_0_4_line_12 |  | 7 | 11 | 0.018566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4401-25_0_4_line_13 |  | 8 | 18 | 0.032617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4401-25_0_4_line_14 |  | 9 | 19 | 0.02354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4401-25_0_4_line_15 |  | 9 | 20 | 0.0077202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4401-25_0_4_line_16 |  | 10 | 24 | 0.022577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4401-25_0_4_line_17 |  | 12 | 28 | 0.013421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4401-25_0_4_line_18 |  | 13 | 29 | 0.061354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4401-25_0_4_line_19 |  | 15 | 16 | 0.005342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4401-25_0_4_line_20 |  | 15 | 17 | 0.0042618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4401-25_0_4_line_21 |  | 16 | 46 | 0.032608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4401-25_0_4_line_22 |  | 16 | 19 | 0.011097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4401-25_0_4_line_23 |  | 16 | 23 | 0.013616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4401-25_0_4_line_24 |  | 20 | 43 | 0.016504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4401-25_0_4_line_25 |  | 21 | 22 | 0.035594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4401-25_0_4_line_26 |  | 21 | 23 | 0.043004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4401-25_0_4_line_27 |  | 22 | 44 | 0.00099404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4401-25_0_4_line_28 |  | 25 | 26 | 0.17248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4401-25_0_4_line_29 |  | 25 | 27 | 0.043545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4401-25_0_4_line_30 |  | 26 | 45 | 0.048323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4401-25_0_4_line_31 |  | 27 | 47 | 0.025758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4401-25_0_4_line_32 |  | 28 | 33 | 0.05557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4401-25_0_4_line_33 |  | 28 | 34 | 0.022613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4401-25_0_4_line_34 |  | 29 | 42 | 0.021384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4401-25_0_4_line_35 |  | 29 | 30 | 0.053329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4401-25_0_4_line_36 |  | 30 | 31 | 0.16171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4401-25_0_4_line_37 |  | 30 | 32 | 0.02289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4401-25_0_4_line_38 |  | 32 | 53 | 0.02497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4401-25_0_4_line_39 |  | 33 | 38 | 0.060303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4401-25_0_4_line_40 |  | 34 | 50 | 0.031658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4401-25_0_4_line_41 |  | 35 | 36 | 0.10425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4401-25_0_4_line_42 |  | 35 | 37 | 0.036208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4401-25_0_4_line_43 |  | 36 | 38 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4401-25_0_4_line_44 |  | 38 | 39 | 0.020296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4401-25_0_4_line_45 |  | 40 | 41 | 0.010776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4401-25_0_4_line_46 |  | 41 | 50 | 0.003562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4401-25_0_4_line_47 |  | 41 | 49 | 0.015624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4401-25_0_4_line_48 |  | 42 | 56 | 0.013396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4401-25_0_4_line_49 |  | 44 | 49 | 0.025028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4401-25_0_4_line_50 |  | 46 | 48 | 0.029318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4401-25_0_4_line_51 |  | 47 | 52 | 0.023048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4401-25_0_4_line_52 |  | 50 | 51 | 0.017012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4401-25_0_4_line_53 |  | 51 | 52 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4401-25_0_4_line_54 |  | 52 | 55 | 0.053368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4401-25_0_4_line_55 |  | 53 | 59 | 0.024023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4401-25_0_4_line_56 |  | 54 | 55 | 0.021743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4401-25_0_4_line_57 |  | 57 | 58 | 0.03584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4401-25_0_4_line_58 |  | 58 | 59 | 0.027223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4401-25_0_4_trafo_7 | 0.63 MVA 20/0.4 kV | 60 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2749549.0807 | 1265163.9066 | 2749507.3187 | 1265172.946
1 | 2749566.5262 | 1265160.1305 | 2749549.0807 | 1265163.9066
2 | 2749507.3187 | 1265172.946 | 2749466.9 | 1265181.6947
3 | 2749566.5262 | 1265160.1305 | 2749577.2246 | 1265195.548 | 2749580.8275 | 1265199.6544
4 | 2749448.6615 | 1265185.6424 | 2749466.9 | 1265181.6947
5 | 2749580.8275 | 1265199.6544 | 2749577.9041 | 1265203.2285 | 2749560.0621 | 1265208.3927
6 | 2749448.6615 | 1265185.6424 | 2749445.6049 | 1265186.4438
7 | 2749448.6615 | 1265185.6424 | 2749452.3785 | 1265196.5585 | 2749456.5823 | 1265210.0246
8 | 2749536.3494 | 1265215.2561 | 2749560.0621 | 1265208.3927
9 | 2749530.8032 | 1265048.3365 | 2749531.3935 | 1265053.2898 | 2749532.3004 | 1265060.9204 | 2749523.533 | 1265062.6003
10 | 2749497.1925 | 1265056.3502 | 2749531.3935 | 1265053.2898 | 2749530.8032 | 1265048.3365
11 | 2749506.6851 | 1265017.6846 | 2749503.3659 | 1264997.6027 | 2749512.6678 | 1264995.647 | 2749518.7248 | 1264994.4879 | 2749524.9927 | 1264993.9236 | 2749534.2123 | 1264994.9245 | 2749541.535 | 1264996.7448 | 2749551.0298 | 1265002.6465 | 2749557.0796 | 1265008.3163 | 2749563.9803 | 1265018.7681 | 2749570.342 | 1265030.8634 | 2749572.6185 | 1265035.8816 | 2749575.7013 | 1265042.6776 | 2749554.3739 | 1265045.8413 | 2749530.8032 | 1265048.3365
12 | 2749530.8032 | 1265048.3365 | 2749512.3112 | 1265049.9936
13 | 2749523.533 | 1265062.6003 | 2749530.6954 | 1265094.4212
14 | 2749497.1925 | 1265056.3502 | 2749473.7459 | 1265058.4502
15 | 2749497.1925 | 1265056.3502 | 2749498.9399 | 1265063.87
16 | 2749506.6851 | 1265017.6846 | 2749514.4968 | 1265017.7489 | 2749519.2222 | 1265017.4014 | 2749529.0535 | 1265015.4313
17 | 2749435.9281 | 1265183.8744 | 2749437.4283 | 1265188.6059 | 2749445.6049 | 1265186.4438
18 | 2749470.2257 | 1265269.2607 | 2749461.2768 | 1265246.2669 | 2749458.464 | 1265232.9713 | 2749458.0749 | 1265221.5499 | 2749457.2361 | 1265212.1192 | 2749456.5823 | 1265210.0246
19 | 2749460.901 | 1265054.1861 | 2749462.6797 | 1265059.225
20 | 2749460.901 | 1265054.1861 | 2749465.1512 | 1265053.8723
21 | 2749462.6797 | 1265059.225 | 2749473.542 | 1265089.9711
22 | 2749462.6797 | 1265059.225 | 2749466.7898 | 1265059.0732 | 2749473.7459 | 1265058.4502
23 | 2749462.6797 | 1265059.225 | 2749453.4786 | 1265059.5817 | 2749449.0707 | 1265059.5096
24 | 2749502.6756 | 1265079.9459 | 2749498.9399 | 1265063.87
25 | 2749406.5729 | 1265058.2393 | 2749406.7459 | 1265061.825 | 2749413.1069 | 1265082.0061 | 2749416.4012 | 1265092.3374
26 | 2749406.5729 | 1265058.2393 | 2749412.2053 | 1265058.6709 | 2749415.9025 | 1265056.9738 | 2749429.952 | 1265058.5526 | 2749442.3021 | 1265059.399 | 2749449.0707 | 1265059.5096
27 | 2749416.4012 | 1265092.3374 | 2749416.7032 | 1265093.2845
28 | 2749262.808 | 1265152.4586 | 2749259.9475 | 1265140.7301 | 2749256.6578 | 1265127.2001 | 2749254.951 | 1265120.2055 | 2749249.8929 | 1265099.4347 | 2749257.6046 | 1265096.2929 | 2749266.1346 | 1265092.9715 | 2749276.1029 | 1265089.086 | 2749279.6412 | 1265087.7073 | 2749296.5772 | 1265080.9058 | 2749323.1725 | 1265070.2222 | 2749328.4043 | 1265068.3191 | 2749336.9215 | 1265065.2089 | 2749350.7544 | 1265061.0541 | 2749360.4942 | 1265059.0537
29 | 2749360.4942 | 1265059.0537 | 2749368.4473 | 1265089.5742 | 2749368.5444 | 1265093.7809 | 2749370.5463 | 1265101.3169
30 | 2749274.2412 | 1265199.4167 | 2749262.808 | 1265152.4586
31 | 2749370.5463 | 1265101.3169 | 2749373.9792 | 1265114.2388 | 2749373.8068 | 1265118.3719 | 2749375.8345 | 1265126.37
32 | 2749435.9281 | 1265183.8744 | 2749382.4927 | 1265199.1276
33 | 2749435.9281 | 1265183.8744 | 2749438.0046 | 1265182.5033 | 2749439.142 | 1265180.4299 | 2749439.1032 | 1265178.0932 | 2749434.6193 | 1265163.337
34 | 2749470.2257 | 1265269.2607 | 2749490.5533 | 1265262.6223
35 | 2749470.2257 | 1265269.2607 | 2749481.1411 | 1265294.9292 | 2749487.7866 | 1265309.2005 | 2749492.4758 | 1265317.7166
36 | 2749492.4758 | 1265317.7166 | 2749480.5457 | 1265324.1103 | 2749456.6866 | 1265332.9827 | 2749446.6543 | 1265337.923 | 2749438.3351 | 1265343.6407 | 2749426.8758 | 1265354.3618 | 2749418.5739 | 1265360.2913 | 2749409.4449 | 1265364.9653 | 2749399.6851 | 1265368.3666 | 2749390.4179 | 1265372.5477 | 2749382.6591 | 1265378.4576 | 2749377.2762 | 1265385.4509 | 2749372.4794 | 1265393.9939 | 2749366.0005 | 1265401.7269 | 2749361.1338 | 1265405.7729
37 | 2749492.4758 | 1265317.7166 | 2749513.4829 | 1265308.6254
38 | 2749536.3989 | 1265298.7082 | 2749513.4829 | 1265308.6254
39 | 2749324.5055 | 1265215.6801 | 2749382.4927 | 1265199.1276
40 | 2749425.4153 | 1265133.0464 | 2749434.6193 | 1265163.337
41 | 2749312.4237 | 1265219.134 | 2749313.4271 | 1265223.2524 | 2749317.7523 | 1265222.0382 | 2749321.6225 | 1265233.1583 | 2749330.0653 | 1265253.2473 | 2749339.0348 | 1265276.0413 | 2749344.7763 | 1265293.604 | 2749350.1018 | 1265311.8235
42 | 2749350.1018 | 1265311.8235 | 2749323.8098 | 1265319.1891 | 2749318.1815 | 1265320.6929 | 2749315.2199 | 1265321.5321
43 | 2749312.4237 | 1265219.134 | 2749324.5055 | 1265215.6801
44 | 2749324.5055 | 1265215.6801 | 2749319.4483 | 1265196.0245
45 | 2749428.8529 | 1265132.0767 | 2749431.9544 | 1265142.3964
46 | 2749428.8529 | 1265132.0767 | 2749425.4153 | 1265133.0464
47 | 2749428.8529 | 1265132.0767 | 2749425.4276 | 1265120.6453 | 2749424.3066 | 1265117.1295
48 | 2749503.2878 | 1265258.4636 | 2749490.5533 | 1265262.6223
49 | 2749424.3066 | 1265117.1295 | 2749416.7032 | 1265093.2845
50 | 2749483.3081 | 1265117.6142 | 2749473.542 | 1265089.9711
51 | 2749387.3815 | 1265143.785 | 2749383.779 | 1265131.0144 | 2749376.2389 | 1265127.9653 | 2749375.8345 | 1265126.37
52 | 2749425.4153 | 1265133.0464 | 2749409.0431 | 1265137.6689
53 | 2749387.3815 | 1265143.785 | 2749409.0431 | 1265137.6689
54 | 2749387.3815 | 1265143.785 | 2749366.8012 | 1265149.6042 | 2749335.0175 | 1265153.1456
55 | 2749536.3989 | 1265298.7082 | 2749538.3676 | 1265297.7236 | 2749554.6377 | 1265289.538 | 2749556.4645 | 1265286.4255 | 2749556.4645 | 1265286.4255
56 | 2749335.0175 | 1265153.1456 | 2749322.6235 | 1265154.5266 | 2749313.9182 | 1265157.7198
57 | 2749612.0487 | 1265257.9822 | 2749584.9762 | 1265272.9444 | 2749580.6808 | 1265275.3191
58 | 2749580.6808 | 1265275.3191 | 2749568.433 | 1265282.0906 | 2749564.1974 | 1265281.8499 | 2749556.4645 | 1265286.4255

## bus_geodata
| x | y | coords
0 | 2749549.0807 | 1265163.9066
1 | 2749507.3187 | 1265172.946
2 | 2749566.5262 | 1265160.1305
3 | 2749466.9 | 1265181.6947
4 | 2749580.8275 | 1265199.6544
5 | 2749448.6615 | 1265185.6424
6 | 2749560.0621 | 1265208.3927
7 | 2749530.8032 | 1265048.3365
8 | 2749523.533 | 1265062.6003
9 | 2749497.1925 | 1265056.3502
10 | 2749506.6851 | 1265017.6846
11 | 2749512.3112 | 1265049.9936
12 | 2749445.6049 | 1265186.4438
13 | 2749456.5823 | 1265210.0246
14 | 2749536.3494 | 1265215.2561
15 | 2749460.901 | 1265054.1861
16 | 2749462.6797 | 1265059.225
17 | 2749465.1512 | 1265053.8723
18 | 2749530.6954 | 1265094.4212
19 | 2749473.7459 | 1265058.4502
20 | 2749498.9399 | 1265063.87
21 | 2749406.5729 | 1265058.2393
22 | 2749416.4012 | 1265092.3374
23 | 2749449.0707 | 1265059.5096
24 | 2749529.0535 | 1265015.4313
25 | 2749360.4942 | 1265059.0537
26 | 2749262.808 | 1265152.4586
27 | 2749370.5463 | 1265101.3169
28 | 2749435.9281 | 1265183.8744
29 | 2749470.2257 | 1265269.2607
30 | 2749492.4758 | 1265317.7166
31 | 2749361.1338 | 1265405.7729
32 | 2749513.4829 | 1265308.6254
33 | 2749382.4927 | 1265199.1276
34 | 2749434.6193 | 1265163.337
35 | 2749350.1018 | 1265311.8235
36 | 2749312.4237 | 1265219.134
37 | 2749315.2199 | 1265321.5321
38 | 2749324.5055 | 1265215.6801
39 | 2749319.4483 | 1265196.0245
40 | 2749431.9544 | 1265142.3964
41 | 2749428.8529 | 1265132.0767
42 | 2749490.5533 | 1265262.6223
43 | 2749502.6756 | 1265079.9459
44 | 2749416.7032 | 1265093.2845
45 | 2749274.2412 | 1265199.4167
46 | 2749473.542 | 1265089.9711
47 | 2749375.8345 | 1265126.37
48 | 2749483.3081 | 1265117.6142
49 | 2749424.3066 | 1265117.1295
50 | 2749425.4153 | 1265133.0464
51 | 2749409.0431 | 1265137.6689
52 | 2749387.3815 | 1265143.785
53 | 2749536.3989 | 1265298.7082
54 | 2749313.9182 | 1265157.7198
55 | 2749335.0175 | 1265153.1456
56 | 2749503.2878 | 1265258.4636
57 | 2749612.0487 | 1265257.9822
58 | 2749580.6808 | 1265275.3191
59 | 2749556.4645 | 1265286.4255
60 | 2749448.6615 | 1265185.6424

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1