## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4401-2_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4401-2_0_8_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4401-2_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4401-2_0_8_node_80 | 0.4 | n |  | TRUE
4 | bus_LV_4401-2_0_8_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4401-2_0_8_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_4401-2_0_8_node_109 | 0.4 | n |  | TRUE
7 | bus_LV_4401-2_0_8_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4401-2_0_8_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_4401-2_0_8_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_4401-2_0_8_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4401-2_0_8_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_4401-2_0_8_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_4401-2_0_8_node_106 | 0.4 | n |  | TRUE
14 | bus_LV_4401-2_0_8_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_4401-2_0_8_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_4401-2_0_8_node_112 | 0.4 | n |  | TRUE
17 | bus_LV_4401-2_0_8_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_4401-2_0_8_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_4401-2_0_8_node_113 | 0.4 | n |  | TRUE
20 | bus_LV_4401-2_0_8_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_4401-2_0_8_node_107 | 0.4 | n |  | TRUE
22 | bus_LV_4401-2_0_8_node_111 | 0.4 | n |  | TRUE
23 | bus_LV_4401-2_0_8_node_110 | 0.4 | n |  | TRUE
24 | bus_LV_4401-2_0_8_node_89 | 0.4 | n |  | TRUE
25 | bus_LV_4401-2_0_8_node_86 | 0.4 | n |  | TRUE
26 | bus_LV_4401-2_0_8_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_4401-2_0_8_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_4401-2_0_8_node_104 | 0.4 | n |  | TRUE
29 | bus_LV_4401-2_0_8_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_4401-2_0_8_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_4401-2_0_8_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_4401-2_0_8_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_4401-2_0_8_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_4401-2_0_8_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_4401-2_0_8_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_4401-2_0_8_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_4401-2_0_8_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_4401-2_0_8_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_4401-2_0_8_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_4401-2_0_8_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_4401-2_0_8_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4401-2_0_8_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4401-2_0_8_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_4401-2_0_8_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_4401-2_0_8_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_4401-2_0_8_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_4401-2_0_8_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_4401-2_0_8_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_4401-2_0_8_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4401-2_0_8_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_4401-2_0_8_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_4401-2_0_8_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_4401-2_0_8_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_4401-2_0_8_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_4401-2_0_8_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4401-2_0_8_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4401-2_0_8_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_4401-2_0_8_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_4401-2_0_8_node_114 | 0.4 | n |  | TRUE
60 | bus_LV_4401-2_0_8_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_4401-2_0_8_node_115 | 0.4 | n |  | TRUE
62 | bus_LV_4401-2_0_8_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4401-2_0_8_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_4401-2_0_8_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_4401-2_0_8_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_4401-2_0_8_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_4401-2_0_8_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_4401-2_0_8_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_4401-2_0_8_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_4401-2_0_8_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_4401-2_0_8_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_4401-2_0_8_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_4401-2_0_8_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_4401-2_0_8_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_4401-2_0_8_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_4401-2_0_8_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4401-2_0_8_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_4401-2_0_8_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_4401-2_0_8_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_4401-2_0_8_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_4401-2_0_8_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_4401-2_0_8_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_4401-2_0_8_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_4401-2_0_8_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_4401-2_0_8_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_4401-2_0_8_node_64 | 0.4 | n |  | TRUE
87 | bus_LV_4401-2_0_8_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_4401-2_0_8_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_4401-2_0_8_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_4401-2_0_8_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_4401-2_0_8_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_4401-2_0_8_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_4401-2_0_8_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_4401-2_0_8_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_4401-2_0_8_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_4401-2_0_8_node_108 | 0.4 | n |  | TRUE
97 | bus_LV_4401-2_0_8_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_4401-2_0_8_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_4401-2_0_8_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_4401-2_0_8_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_4401-2_0_8_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_4401-2_0_8_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_4401-2_0_8_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_4401-2_0_8_node_102 | 0.4 | n |  | TRUE
105 | bus_LV_4401-2_0_8_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_4401-2_0_8_node_103 | 0.4 | n |  | TRUE
107 | bus_MV_48_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4401-2_0_8_load_0 | 0 | 0.061778 | 0.015483 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4401-2_0_8_load_80 | 3 | 0.038306 | 0.0096003 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4401-2_0_8_load_109 | 6 | 0.006681 | 0.0016744 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4401-2_0_8_load_81 | 9 | 0.0061809 | 0.0015491 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4401-2_0_8_load_32 | 11 | 0.0010384 | 0.00026024 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4401-2_0_8_load_106 | 13 | 0.0065851 | 0.0016504 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4401-2_0_8_load_112 | 16 | 0.0015123 | 0.00037902 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4401-2_0_8_load_113 | 19 | 0.030906 | 0.0077459 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4401-2_0_8_load_82 | 20 | 0.018034 | 0.0045197 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4401-2_0_8_load_111 | 22 | 0.013299 | 0.0033331 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4401-2_0_8_load_110 | 23 | 0.014597 | 0.0036583 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4401-2_0_8_load_89 | 24 | 0.0019462 | 0.00048775 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4401-2_0_8_load_86 | 25 | 0.0020897 | 0.00052372 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4401-2_0_8_load_85 | 26 | 0.0022525 | 0.00056454 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4401-2_0_8_load_37 | 27 | 0.0025274 | 0.00063344 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4401-2_0_8_load_73 | 30 | 0.0014368 | 0.00036009 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4401-2_0_8_load_77 | 32 | 0.0070626 | 0.0017701 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4401-2_0_8_load_79 | 34 | 0.036594 | 0.0091714 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4401-2_0_8_load_16 | 36 | 0.0018553 | 0.00046499 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4401-2_0_8_load_17 | 37 | 0.0016749 | 0.00041976 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4401-2_0_8_load_18 | 38 | 0.0015829 | 0.00039671 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4401-2_0_8_load_19 | 39 | 0.003733 | 0.00093558 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4401-2_0_8_load_20 | 40 | 0.0013624 | 0.00034146 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4401-2_0_8_load_25 | 41 | 0.0012312 | 0.00030856 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4401-2_0_8_load_26 | 42 | 0.0011421 | 0.00028624 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4401-2_0_8_load_21 | 43 | 0.012396 | 0.0031067 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4401-2_0_8_load_23 | 45 | 0.0015684 | 0.00039307 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4401-2_0_8_load_28 | 47 | 0.020316 | 0.0050917 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4401-2_0_8_load_31 | 52 | 0.0028051 | 0.00070302 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4401-2_0_8_load_65 | 53 | 0.0037479 | 0.00093931 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4401-2_0_8_load_49 | 55 | 0.0029831 | 0.00074764 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4401-2_0_8_load_48 | 56 | 0.032295 | 0.0080939 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4401-2_0_8_load_47 | 57 | 0.00089768 | 0.00022498 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4401-2_0_8_load_114 | 59 | 0.001295 | 0.00032455 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4401-2_0_8_load_83 | 60 | 0.027729 | 0.0069495 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4401-2_0_8_load_115 | 61 | 0.0061207 | 0.001534 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4401-2_0_8_load_39 | 62 | 0.018675 | 0.0046804 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4401-2_0_8_load_38 | 63 | 0.018675 | 0.0046805 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4401-2_0_8_load_76 | 64 | 0.0073703 | 0.0018472 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4401-2_0_8_load_42 | 65 | 0.022029 | 0.0055209 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4401-2_0_8_load_43 | 66 | 0.03464 | 0.0086817 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4401-2_0_8_load_44 | 67 | 0.014999 | 0.003759 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4401-2_0_8_load_46 | 69 | 0.0011948 | 0.00029945 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4401-2_0_8_load_55 | 70 | 0.00098216 | 0.00024615 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4401-2_0_8_load_54 | 71 | 0.0020903 | 0.00052388 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4401-2_0_8_load_50 | 72 | 0.0020519 | 0.00051425 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4401-2_0_8_load_51 | 73 | 0.0068559 | 0.0017182 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4401-2_0_8_load_52 | 74 | 0.0072956 | 0.0018285 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4401-2_0_8_load_56 | 75 | 0.00097236 | 0.0002437 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4401-2_0_8_load_57 | 76 | 0.0012303 | 0.00030833 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4401-2_0_8_load_58 | 77 | 0.00098063 | 0.00024577 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4401-2_0_8_load_59 | 78 | 0.0015287 | 0.00038313 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4401-2_0_8_load_60 | 79 | 0.0010593 | 0.00026548 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4401-2_0_8_load_69 | 80 | 0.0010422 | 0.00026121 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4401-2_0_8_load_70 | 81 | 0.0010465 | 0.00026228 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4401-2_0_8_load_68 | 82 | 0.0014041 | 0.00035191 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4401-2_0_8_load_71 | 83 | 0.0009938 | 0.00024907 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4401-2_0_8_load_61 | 84 | 0.0037349 | 0.00093604 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4401-2_0_8_load_62 | 85 | 0.0029665 | 0.00074349 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4401-2_0_8_load_64 | 86 | 0.0019739 | 0.00049471 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4401-2_0_8_load_66 | 87 | 0.002743 | 0.00068747 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4401-2_0_8_load_67 | 88 | 0.0034653 | 0.00086848 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4401-2_0_8_load_88 | 90 | 0.0019121 | 0.00047922 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4401-2_0_8_load_72 | 91 | 0.0010347 | 0.00025931 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4401-2_0_8_load_92 | 92 | 0.0024009 | 0.00060172 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4401-2_0_8_load_91 | 93 | 0.0019276 | 0.0004831 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4401-2_0_8_load_100 | 94 | 0.0072695 | 0.0018219 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4401-2_0_8_load_98 | 95 | 0.0076075 | 0.0019066 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4401-2_0_8_load_93 | 97 | 0.0022994 | 0.00057627 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4401-2_0_8_load_94 | 98 | 0.0023431 | 0.00058723 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4401-2_0_8_load_95 | 99 | 0.001979 | 0.00049599 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4401-2_0_8_load_96 | 100 | 0.0018889 | 0.00047339 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4401-2_0_8_load_101 | 102 | 0.0019024 | 0.00047678 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4401-2_0_8_load_97 | 103 | 0.0021824 | 0.00054696 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4401-2_0_8_load_105 | 105 | 0.010115 | 0.0025351 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4401-2_0_8_load_103 | 106 | 0.010225 | 0.0025626 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4401-2_0_8_line_0 |  | 0 | 1 | 0.0040019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4401-2_0_8_line_1 |  | 1 | 2 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4401-2_0_8_line_2 |  | 2 | 3 | 0.015403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4401-2_0_8_line_3 |  | 3 | 7 | 0.040051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4401-2_0_8_line_4 |  | 4 | 5 | 0.080414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4401-2_0_8_line_5 |  | 4 | 6 | 0.026151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4401-2_0_8_line_6 |  | 5 | 9 | 0.0047769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4401-2_0_8_line_7 |  | 6 | 21 | 0.015802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4401-2_0_8_line_8 |  | 7 | 8 | 0.047169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4401-2_0_8_line_9 |  | 8 | 13 | 0.023344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_4401-2_0_8_line_10 |  | 9 | 20 | 0.025029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4401-2_0_8_line_11 |  | 10 | 11 | 0.056859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4401-2_0_8_line_12 |  | 10 | 12 | 0.017469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4401-2_0_8_line_13 |  | 12 | 26 | 0.015854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4401-2_0_8_line_14 |  | 12 | 25 | 0.043888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4401-2_0_8_line_15 |  | 12 | 27 | 0.017254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4401-2_0_8_line_16 |  | 13 | 28 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_4401-2_0_8_line_17 |  | 14 | 15 | 0.008297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4401-2_0_8_line_18 |  | 14 | 16 | 0.010189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4401-2_0_8_line_19 |  | 15 | 29 | 0.050922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4401-2_0_8_line_20 |  | 15 | 30 | 0.022488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4401-2_0_8_line_21 |  | 17 | 18 | 0.003112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4401-2_0_8_line_22 |  | 17 | 19 | 0.010896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4401-2_0_8_line_23 |  | 18 | 35 | 0.018225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4401-2_0_8_line_24 |  | 18 | 34 | 0.018064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4401-2_0_8_line_25 |  | 21 | 96 | 0.02449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4401-2_0_8_line_26 |  | 21 | 105 | 0.012772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4401-2_0_8_line_27 |  | 22 | 23 | 0.0012113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4401-2_0_8_line_28 |  | 23 | 96 | 0.024321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4401-2_0_8_line_29 |  | 24 | 25 | 0.014622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4401-2_0_8_line_30 |  | 26 | 89 | 0.019891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4401-2_0_8_line_31 |  | 27 | 39 | 0.017717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4401-2_0_8_line_32 |  | 28 | 106 | 0.024503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4401-2_0_8_line_33 |  | 28 | 102 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_4401-2_0_8_line_34 |  | 29 | 35 | 0.007028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4401-2_0_8_line_35 |  | 29 | 73 | 0.035211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4401-2_0_8_line_36 |  | 30 | 91 | 0.0068151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4401-2_0_8_line_37 |  | 31 | 32 | 0.01707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4401-2_0_8_line_38 |  | 31 | 33 | 0.14652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4401-2_0_8_line_39 |  | 32 | 64 | 0.026649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4401-2_0_8_line_40 |  | 33 | 63 | 0.068743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4401-2_0_8_line_41 |  | 35 | 64 | 0.056561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4401-2_0_8_line_42 |  | 36 | 37 | 0.0208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4401-2_0_8_line_43 |  | 36 | 38 | 0.020859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4401-2_0_8_line_44 |  | 37 | 39 | 0.030824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4401-2_0_8_line_45 |  | 38 | 40 | 0.020045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4401-2_0_8_line_46 |  | 40 | 41 | 0.014417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4401-2_0_8_line_47 |  | 41 | 42 | 0.0035356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4401-2_0_8_line_48 |  | 42 | 49 | 0.0053433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4401-2_0_8_line_49 |  | 43 | 44 | 0.025436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4401-2_0_8_line_50 |  | 44 | 45 | 0.025948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4401-2_0_8_line_51 |  | 45 | 46 | 0.02689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4401-2_0_8_line_52 |  | 46 | 47 | 0.025322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4401-2_0_8_line_53 |  | 46 | 48 | 0.053868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4401-2_0_8_line_54 |  | 48 | 55 | 0.017308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4401-2_0_8_line_55 |  | 48 | 56 | 0.027434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4401-2_0_8_line_56 |  | 49 | 50 | 0.034907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4401-2_0_8_line_57 |  | 50 | 51 | 0.055084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4401-2_0_8_line_58 |  | 50 | 52 | 0.025085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4401-2_0_8_line_59 |  | 51 | 58 | 0.12907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4401-2_0_8_line_60 |  | 51 | 59 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4401-2_0_8_line_61 |  | 53 | 54 | 0.024883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4401-2_0_8_line_62 |  | 54 | 87 | 0.037427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_4401-2_0_8_line_63 |  | 54 | 84 | 0.014255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4401-2_0_8_line_64 |  | 55 | 57 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4401-2_0_8_line_65 |  | 57 | 68 | 0.014521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4401-2_0_8_line_66 |  | 58 | 60 | 0.037791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4401-2_0_8_line_67 |  | 59 | 61 | 0.0039186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4401-2_0_8_line_68 |  | 62 | 63 | 0.039659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4401-2_0_8_line_69 |  | 65 | 66 | 0.070775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4401-2_0_8_line_70 |  | 65 | 67 | 0.033427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4401-2_0_8_line_71 |  | 66 | 68 | 0.033307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4401-2_0_8_line_72 |  | 68 | 69 | 0.0069115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_4401-2_0_8_line_73 |  | 69 | 70 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_4401-2_0_8_line_74 |  | 70 | 71 | 0.018222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_4401-2_0_8_line_75 |  | 71 | 74 | 0.014601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_4401-2_0_8_line_76 |  | 72 | 73 | 0.001334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4401-2_0_8_line_77 |  | 72 | 74 | 0.0063461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_4401-2_0_8_line_78 |  | 75 | 76 | 0.013188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_4401-2_0_8_line_79 |  | 75 | 77 | 0.0092315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_4401-2_0_8_line_80 |  | 76 | 78 | 0.0044354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4401-2_0_8_line_81 |  | 77 | 79 | 0.014009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_4401-2_0_8_line_82 |  | 78 | 80 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_4401-2_0_8_line_83 |  | 79 | 81 | 0.0091284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4401-2_0_8_line_84 |  | 80 | 82 | 0.0023211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_4401-2_0_8_line_85 |  | 81 | 83 | 0.0048552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_4401-2_0_8_line_86 |  | 82 | 88 | 0.030326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_4401-2_0_8_line_87 |  | 83 | 91 | 0.017145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4401-2_0_8_line_88 |  | 84 | 85 | 0.027252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_4401-2_0_8_line_89 |  | 85 | 86 | 0.02049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_4401-2_0_8_line_90 |  | 86 | 88 | 0.00036803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_4401-2_0_8_line_91 |  | 87 | 89 | 0.019451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_4401-2_0_8_line_92 |  | 89 | 90 | 0.016831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4401-2_0_8_line_93 |  | 90 | 92 | 0.021564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_4401-2_0_8_line_94 |  | 92 | 93 | 0.02654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_4401-2_0_8_line_95 |  | 93 | 97 | 0.00045646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_4401-2_0_8_line_96 |  | 94 | 95 | 0.022159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4401-2_0_8_line_97 |  | 95 | 103 | 0.0043102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4401-2_0_8_line_98 |  | 97 | 98 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_4401-2_0_8_line_99 |  | 98 | 99 | 0.0028505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_4401-2_0_8_line_100 |  | 99 | 100 | 0.022192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_4401-2_0_8_line_101 |  | 100 | 101 | 0.003592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_4401-2_0_8_line_102 |  | 101 | 102 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_4401-2_0_8_line_103 |  | 101 | 103 | 0.023551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4401-2_0_8_line_104 |  | 104 | 105 | 0.00704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4401-2_0_8_line_105 |  | 104 | 106 | 0.028552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4401-2_0_8_trafo_58 | 0.63 MVA 20/0.4 kV | 107 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2749423.8626 | 1263872.4176 | 2749419.8801 | 1263872.0236
1 | 2749420.2087 | 1263861.6478 | 2749423.8626 | 1263872.4176
2 | 2749420.2087 | 1263861.6478 | 2749422.108 | 1263846.3624
3 | 2749442.3468 | 1263825.7045 | 2749441.7943 | 1263829.372 | 2749424.4382 | 1263827.6094 | 2749422.108 | 1263846.3624
4 | 2749440.7776 | 1263972.3453 | 2749448.0185 | 1263973.8742 | 2749451.4284 | 1263974.0272 | 2749457.2335 | 1263976.3096 | 2749459.2326 | 1263955.973 | 2749460.2734 | 1263945.8113 | 2749492.7475 | 1263941.8615
5 | 2749492.7475 | 1263941.8615 | 2749495.8285 | 1263915.8924
6 | 2749440.7776 | 1263972.3453 | 2749436.2616 | 1263970.7881
7 | 2749497.6902 | 1263900.2002 | 2749495.8285 | 1263915.8924
8 | 2749442.3468 | 1263825.7045 | 2749447.7427 | 1263826.297 | 2749451.3878 | 1263827.5793 | 2749453.7259 | 1263828.3947 | 2749454.6282 | 1263830.2638 | 2749455.3732 | 1263831.7953 | 2749470.9307 | 1263842.9886 | 2749471.5321 | 1263837.3871 | 2749472.3291 | 1263830.6116
9 | 2749472.3291 | 1263830.6116 | 2749495.65 | 1263829.576
10 | 2749436.2616 | 1263970.7881 | 2749412.5996 | 1263962.6294
11 | 2749690.5447 | 1263834.0901 | 2749695.3666 | 1263828.4843 | 2749705.6801 | 1263814.042 | 2749725.7934 | 1263789.5175
12 | 2749676.6309 | 1263823.4717 | 2749690.5447 | 1263834.0901
13 | 2749676.6309 | 1263823.4717 | 2749664.9326 | 1263812.7715
14 | 2749676.6309 | 1263823.4717 | 2749665.6829 | 1263835.2954 | 2749657.6683 | 1263838.7182 | 2749638.6515 | 1263839.9887
15 | 2749676.6309 | 1263823.4717 | 2749686.5357 | 1263809.3436
16 | 2749509.0255 | 1263828.982 | 2749495.65 | 1263829.576
17 | 2749479.5288 | 1263769.143 | 2749478.5517 | 1263777.3821
18 | 2749478.5517 | 1263777.3821 | 2749478.455 | 1263778.225 | 2749477.3701 | 1263787.5021
19 | 2749479.5288 | 1263769.143 | 2749484.6342 | 1263726.1178 | 2749485.5258 | 1263718.5772
20 | 2749479.5288 | 1263769.143 | 2749501.994 | 1263768.1359
21 | 2749464.9696 | 1263704.7771 | 2749463.5878 | 1263707.5672
22 | 2749463.5878 | 1263707.5672 | 2749458.755 | 1263717.3329
23 | 2749464.9696 | 1263704.7771 | 2749481.3125 | 1263712.9428
24 | 2749464.9696 | 1263704.7771 | 2749448.8122 | 1263696.7001
25 | 2749497.6902 | 1263900.2002 | 2749521.8604 | 1263904.5713
26 | 2749497.6902 | 1263900.2002 | 2749498.8937 | 1263887.4846
27 | 2749525.7652 | 1263926.9332 | 2749525.6607 | 1263928.14
28 | 2749521.8604 | 1263904.5713 | 2749527.1467 | 1263910.978 | 2749525.7652 | 1263926.9332
29 | 2749638.6515 | 1263839.9887 | 2749631.1116 | 1263840.4925 | 2749625.6639 | 1263844.9912
30 | 2749650.2554 | 1263799.3467 | 2749664.9326 | 1263812.7715
31 | 2749697.991 | 1263795.9008 | 2749690.7278 | 1263803.3639 | 2749686.5357 | 1263809.3436
32 | 2749509.0255 | 1263828.982 | 2749506.1856 | 1263853.3198
33 | 2749509.0255 | 1263828.982 | 2749525.5811 | 1263828.498
34 | 2749481.3125 | 1263712.9428 | 2749485.5258 | 1263718.5772
35 | 2749485.5258 | 1263718.5772 | 2749519.8902 | 1263710.9006
36 | 2749501.994 | 1263768.1359 | 2749508.8022 | 1263767.8307
37 | 2749500.1033 | 1263614.5413 | 2749498.3152 | 1263621.4697 | 2749496.0411 | 1263631.1203
38 | 2749500.1033 | 1263614.5413 | 2749501.0477 | 1263610.8726 | 2749509.8006 | 1263586.3249 | 2749527.8187 | 1263542.6032 | 2749565.4064 | 1263560.3159 | 2749590.4912 | 1263572.3735
39 | 2749490.0309 | 1263657.0812 | 2749490.6321 | 1263654.0749 | 2749496.0411 | 1263631.1203
40 | 2749590.4912 | 1263572.3735 | 2749615.5899 | 1263584.1758 | 2749649.0672 | 1263593.3654 | 2749655.1556 | 1263594.9538
41 | 2749481.3125 | 1263712.9428 | 2749481.8031 | 1263709.3405 | 2749486.5512 | 1263674.4811 | 2749490.0309 | 1263657.0812
42 | 2749733.9953 | 1263758.9053 | 2749719.4888 | 1263773.8112
43 | 2749733.9953 | 1263758.9053 | 2749748.5432 | 1263743.9568
44 | 2749697.991 | 1263795.9008 | 2749719.4888 | 1263773.8112
45 | 2749764.226 | 1263731.4726 | 2749748.5432 | 1263743.9568 | 2749748.5432 | 1263743.9568
46 | 2749764.226 | 1263731.4726 | 2749769.4637 | 1263727.3032 | 2749775.2538 | 1263722.1934
47 | 2749775.2538 | 1263722.1934 | 2749777.9047 | 1263719.854
48 | 2749782.6183 | 1263717.3375 | 2749777.9047 | 1263719.854
49 | 2749743.382 | 1263698.1246 | 2749743.7637 | 1263672.6911
50 | 2749743.382 | 1263698.1246 | 2749717.437 | 1263698.4927
51 | 2749690.5482 | 1263698.6209 | 2749703.7122 | 1263698.6875 | 2749717.437 | 1263698.4927
52 | 2749690.5482 | 1263698.6209 | 2749694.0362 | 1263673.5398
53 | 2749636.5211 | 1263698.6203 | 2749645.6375 | 1263698.4174 | 2749690.5482 | 1263698.6209
54 | 2749636.5211 | 1263698.6203 | 2749619.2174 | 1263698.9968
55 | 2749636.5211 | 1263698.6203 | 2749643.2217 | 1263672.0174
56 | 2749782.6183 | 1263717.3375 | 2749782.1948 | 1263711.1539 | 2749786.4398 | 1263710.7721 | 2749788.3465 | 1263735.1449
57 | 2749788.3465 | 1263735.1449 | 2749789.9115 | 1263745.3503 | 2749792.6306 | 1263756.9976 | 2749795.1895 | 1263765.1595 | 2749799.037 | 1263776.2903 | 2749804.8999 | 1263787.2944
58 | 2749788.3465 | 1263735.1449 | 2749772.6166 | 1263746.8138 | 2749768.5058 | 1263750.4666
59 | 2749744.5605 | 1263866.8906 | 2749748.6605 | 1263863.9025 | 2749783.3389 | 1263852.1022 | 2749791.5759 | 1263846.4496 | 2749815.269 | 1263818.5217 | 2749818.2331 | 1263816.9397 | 2749822.5193 | 1263814.6348 | 2749804.8999 | 1263787.2944
60 | 2749804.8999 | 1263787.2944 | 2749787.745 | 1263794.3146
61 | 2749690.8854 | 1263759.6685 | 2749707.8585 | 1263741.4736
62 | 2749690.8854 | 1263759.6685 | 2749674.4547 | 1263777.8931 | 2749664.81 | 1263786.4435
63 | 2749690.8854 | 1263759.6685 | 2749676.645 | 1263760.3068
64 | 2749598.2877 | 1263699.4522 | 2749619.2174 | 1263698.9968
65 | 2749583.8026 | 1263700.2215 | 2749588.3307 | 1263699.6688 | 2749598.2877 | 1263699.4522
66 | 2749744.5605 | 1263866.8906 | 2749733.4011 | 1263830.7851
67 | 2749784.1183 | 1263795.7987 | 2749787.745 | 1263794.3146
68 | 2749655.1556 | 1263594.9538 | 2749678.6253 | 1263601.0767 | 2749693.8506 | 1263603.4156
69 | 2749587.4768 | 1263616.268 | 2749609.9792 | 1263624.4966 | 2749594.6842 | 1263668.7424
70 | 2749555.9018 | 1263605.3207 | 2749567.3342 | 1263608.9023 | 2749587.4768 | 1263616.268
71 | 2749583.8026 | 1263700.2215 | 2749594.6842 | 1263668.7424
72 | 2749583.8026 | 1263700.2215 | 2749576.967 | 1263701.2432
73 | 2749559.7437 | 1263703.8176 | 2749576.967 | 1263701.2432
74 | 2749541.722 | 1263706.5114 | 2749559.7437 | 1263703.8176
75 | 2749541.722 | 1263706.5114 | 2749535.123 | 1263707.4977 | 2749527.3855 | 1263709.2262
76 | 2749521.1921 | 1263710.6097 | 2749519.8902 | 1263710.9006
77 | 2749521.1921 | 1263710.6097 | 2749527.3855 | 1263709.2262
78 | 2749563.1165 | 1263765.396 | 2749576.2911 | 1263764.8054
79 | 2749563.1165 | 1263765.396 | 2749553.8943 | 1263765.8094
80 | 2749580.722 | 1263764.6068 | 2749576.2911 | 1263764.8054
81 | 2749539.8996 | 1263766.4367 | 2749553.8943 | 1263765.8094
82 | 2749580.722 | 1263764.6068 | 2749595.9686 | 1263763.9233
83 | 2749539.8996 | 1263766.4367 | 2749530.7803 | 1263766.8455
84 | 2749598.2874 | 1263763.8194 | 2749595.9686 | 1263763.9233
85 | 2749525.93 | 1263767.0629 | 2749530.7803 | 1263766.8455
86 | 2749628.5825 | 1263762.4613 | 2749598.2874 | 1263763.8194
87 | 2749525.93 | 1263767.0629 | 2749508.8022 | 1263767.8307
88 | 2749676.645 | 1263760.3068 | 2749649.42 | 1263761.5272
89 | 2749649.42 | 1263761.5272 | 2749628.9501 | 1263762.4448
90 | 2749628.5825 | 1263762.4613 | 2749628.9501 | 1263762.4448
91 | 2749650.2554 | 1263799.3467 | 2749664.81 | 1263786.4435
92 | 2749650.2554 | 1263799.3467 | 2749635.8157 | 1263807.9941
93 | 2749635.8157 | 1263807.9941 | 2749630.2451 | 1263811.3301 | 2749616.3875 | 1263817.2541
94 | 2749590.868 | 1263824.3829 | 2749600.5744 | 1263822.3906 | 2749615.3356 | 1263817.7038 | 2749616.3875 | 1263817.2541
95 | 2749590.868 | 1263824.3829 | 2749590.4208 | 1263824.4746
96 | 2749542.1024 | 1263878.0565 | 2749541.5414 | 1263855.9041
97 | 2749541.4323 | 1263851.5954 | 2749541.5414 | 1263855.9041
98 | 2749569.4511 | 1263826.9857 | 2749573.7166 | 1263826.8268 | 2749588.3704 | 1263824.8955 | 2749590.4208 | 1263824.4746
99 | 2749569.4511 | 1263826.9857 | 2749566.6026 | 1263827.0919
100 | 2749566.6026 | 1263827.0919 | 2749544.4255 | 1263827.9183
101 | 2749540.836 | 1263828.052 | 2749544.4255 | 1263827.9183
102 | 2749540.836 | 1263828.052 | 2749525.5811 | 1263828.498
103 | 2749540.836 | 1263828.052 | 2749541.4323 | 1263851.5954
104 | 2749502.8764 | 1263881.6794 | 2749498.8937 | 1263887.4846
105 | 2749502.8764 | 1263881.6794 | 2749506.1856 | 1263853.3198

## bus_geodata
| x | y | coords
0 | 2749419.8801 | 1263872.0236
1 | 2749423.8626 | 1263872.4176
2 | 2749420.2087 | 1263861.6478
3 | 2749422.108 | 1263846.3624
4 | 2749492.7475 | 1263941.8615
5 | 2749440.7776 | 1263972.3453
6 | 2749495.8285 | 1263915.8924
7 | 2749442.3468 | 1263825.7045
8 | 2749472.3291 | 1263830.6116
9 | 2749436.2616 | 1263970.7881
10 | 2749690.5447 | 1263834.0901
11 | 2749725.7934 | 1263789.5175
12 | 2749676.6309 | 1263823.4717
13 | 2749495.65 | 1263829.576
14 | 2749478.5517 | 1263777.3821
15 | 2749479.5288 | 1263769.143
16 | 2749477.3701 | 1263787.5021
17 | 2749463.5878 | 1263707.5672
18 | 2749464.9696 | 1263704.7771
19 | 2749458.755 | 1263717.3329
20 | 2749412.5996 | 1263962.6294
21 | 2749497.6902 | 1263900.2002
22 | 2749525.6607 | 1263928.14
23 | 2749525.7652 | 1263926.9332
24 | 2749625.6639 | 1263844.9912
25 | 2749638.6515 | 1263839.9887
26 | 2749664.9326 | 1263812.7715
27 | 2749686.5357 | 1263809.3436
28 | 2749509.0255 | 1263828.982
29 | 2749485.5258 | 1263718.5772
30 | 2749501.994 | 1263768.1359
31 | 2749500.1033 | 1263614.5413
32 | 2749496.0411 | 1263631.1203
33 | 2749590.4912 | 1263572.3735
34 | 2749448.8122 | 1263696.7001
35 | 2749481.3125 | 1263712.9428
36 | 2749733.9953 | 1263758.9053
37 | 2749719.4888 | 1263773.8112
38 | 2749748.5432 | 1263743.9568
39 | 2749697.991 | 1263795.9008
40 | 2749764.226 | 1263731.4726
41 | 2749775.2538 | 1263722.1934
42 | 2749777.9047 | 1263719.854
43 | 2749743.7637 | 1263672.6911
44 | 2749743.382 | 1263698.1246
45 | 2749717.437 | 1263698.4927
46 | 2749690.5482 | 1263698.6209
47 | 2749694.0362 | 1263673.5398
48 | 2749636.5211 | 1263698.6203
49 | 2749782.6183 | 1263717.3375
50 | 2749788.3465 | 1263735.1449
51 | 2749804.8999 | 1263787.2944
52 | 2749768.5058 | 1263750.4666
53 | 2749707.8585 | 1263741.4736
54 | 2749690.8854 | 1263759.6685
55 | 2749619.2174 | 1263698.9968
56 | 2749643.2217 | 1263672.0174
57 | 2749598.2877 | 1263699.4522
58 | 2749744.5605 | 1263866.8906
59 | 2749787.745 | 1263794.3146
60 | 2749733.4011 | 1263830.7851
61 | 2749784.1183 | 1263795.7987
62 | 2749693.8506 | 1263603.4156
63 | 2749655.1556 | 1263594.9538
64 | 2749490.0309 | 1263657.0812
65 | 2749587.4768 | 1263616.268
66 | 2749594.6842 | 1263668.7424
67 | 2749555.9018 | 1263605.3207
68 | 2749583.8026 | 1263700.2215
69 | 2749576.967 | 1263701.2432
70 | 2749559.7437 | 1263703.8176
71 | 2749541.722 | 1263706.5114
72 | 2749521.1921 | 1263710.6097
73 | 2749519.8902 | 1263710.9006
74 | 2749527.3855 | 1263709.2262
75 | 2749563.1165 | 1263765.396
76 | 2749576.2911 | 1263764.8054
77 | 2749553.8943 | 1263765.8094
78 | 2749580.722 | 1263764.6068
79 | 2749539.8996 | 1263766.4367
80 | 2749595.9686 | 1263763.9233
81 | 2749530.7803 | 1263766.8455
82 | 2749598.2874 | 1263763.8194
83 | 2749525.93 | 1263767.0629
84 | 2749676.645 | 1263760.3068
85 | 2749649.42 | 1263761.5272
86 | 2749628.9501 | 1263762.4448
87 | 2749664.81 | 1263786.4435
88 | 2749628.5825 | 1263762.4613
89 | 2749650.2554 | 1263799.3467
90 | 2749635.8157 | 1263807.9941
91 | 2749508.8022 | 1263767.8307
92 | 2749616.3875 | 1263817.2541
93 | 2749590.868 | 1263824.3829
94 | 2749542.1024 | 1263878.0565
95 | 2749541.5414 | 1263855.9041
96 | 2749521.8604 | 1263904.5713
97 | 2749590.4208 | 1263824.4746
98 | 2749569.4511 | 1263826.9857
99 | 2749566.6026 | 1263827.0919
100 | 2749544.4255 | 1263827.9183
101 | 2749540.836 | 1263828.052
102 | 2749525.5811 | 1263828.498
103 | 2749541.4323 | 1263851.5954
104 | 2749502.8764 | 1263881.6794
105 | 2749498.8937 | 1263887.4846
106 | 2749506.1856 | 1263853.3198
107 | 2749479.5288 | 1263769.143

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1