## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4401-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4401-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4401-6_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4401-6_0_3_node_85 | 0.4 | n |  | TRUE
4 | bus_LV_4401-6_0_3_node_83 | 0.4 | n |  | TRUE
5 | bus_LV_4401-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4401-6_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4401-6_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4401-6_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4401-6_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4401-6_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4401-6_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_4401-6_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4401-6_0_3_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_4401-6_0_3_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_4401-6_0_3_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_4401-6_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_4401-6_0_3_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_4401-6_0_3_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_4401-6_0_3_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_4401-6_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4401-6_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4401-6_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4401-6_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4401-6_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_4401-6_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4401-6_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_4401-6_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4401-6_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4401-6_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_4401-6_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4401-6_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_4401-6_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_4401-6_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4401-6_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4401-6_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4401-6_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4401-6_0_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_4401-6_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4401-6_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4401-6_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_4401-6_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4401-6_0_3_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_4401-6_0_3_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_4401-6_0_3_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_4401-6_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_4401-6_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4401-6_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4401-6_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4401-6_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4401-6_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_4401-6_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_4401-6_0_3_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_4401-6_0_3_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_4401-6_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_4401-6_0_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_4401-6_0_3_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_4401-6_0_3_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_4401-6_0_3_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_4401-6_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_4401-6_0_3_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_4401-6_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4401-6_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_4401-6_0_3_node_94 | 0.4 | n |  | TRUE
64 | bus_LV_4401-6_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_4401-6_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_4401-6_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_4401-6_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_4401-6_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_4401-6_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_4401-6_0_3_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_4401-6_0_3_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_4401-6_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_4401-6_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_4401-6_0_3_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_4401-6_0_3_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_4401-6_0_3_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_4401-6_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_4401-6_0_3_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_4401-6_0_3_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_4401-6_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_4401-6_0_3_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_4401-6_0_3_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_4401-6_0_3_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_4401-6_0_3_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_4401-6_0_3_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_4401-6_0_3_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_4401-6_0_3_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_4401-6_0_3_node_91 | 0.4 | n |  | TRUE
89 | bus_MV_48_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4401-6_0_3_load_0 | 0 | 0.016901 | 0.0042357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4401-6_0_3_load_1 | 1 | 0.0028547 | 0.00071546 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4401-6_0_3_load_85 | 3 | 0.0022981 | 0.00057596 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4401-6_0_3_load_5 | 5 | 0.0027141 | 0.00068021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4401-6_0_3_load_6 | 6 | 0.0022521 | 0.00056442 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4401-6_0_3_load_7 | 7 | 0.0017765 | 0.00044522 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4401-6_0_3_load_8 | 8 | 0.0055851 | 0.0013998 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4401-6_0_3_load_10 | 10 | 0.0019856 | 0.00049764 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4401-6_0_3_load_11 | 11 | 0.0023514 | 0.00058932 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4401-6_0_3_load_12 | 12 | 0.0010019 | 0.00025109 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4401-6_0_3_load_47 | 13 | 0.0027392 | 0.00068651 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4401-6_0_3_load_68 | 14 | 0.0016798 | 0.00042099 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4401-6_0_3_load_18 | 16 | 0.0023135 | 0.00057982 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4401-6_0_3_load_67 | 17 | 0.0039663 | 0.00099405 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4401-6_0_3_load_73 | 18 | 0.00093681 | 0.00023479 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4401-6_0_3_load_71 | 19 | 0.00095973 | 0.00024053 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4401-6_0_3_load_13 | 20 | 0.0027156 | 0.0006806 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4401-6_0_3_load_14 | 21 | 0.0020929 | 0.00052452 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4401-6_0_3_load_16 | 23 | 0.0025508 | 0.00063928 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4401-6_0_3_load_17 | 24 | 0.0030616 | 0.0007673 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4401-6_0_3_load_19 | 25 | 0.0022292 | 0.00055869 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4401-6_0_3_load_20 | 27 | 0.002442 | 0.00061202 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4401-6_0_3_load_23 | 28 | 0.0029603 | 0.00074191 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4401-6_0_3_load_24 | 29 | 0.0024702 | 0.0006191 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4401-6_0_3_load_21 | 30 | 0.0011995 | 0.00030063 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4401-6_0_3_load_25 | 31 | 0.002808 | 0.00070375 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4401-6_0_3_load_48 | 32 | 0.0025148 | 0.00063028 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4401-6_0_3_load_27 | 34 | 0.0045646 | 0.001144 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4401-6_0_3_load_28 | 35 | 0.0019781 | 0.00049575 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4401-6_0_3_load_49 | 37 | 0.0020376 | 0.00051068 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4401-6_0_3_load_30 | 38 | 0.0029996 | 0.00075178 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4401-6_0_3_load_31 | 39 | 0.0018759 | 0.00047014 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4401-6_0_3_load_32 | 40 | 0.0021753 | 0.00054517 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4401-6_0_3_load_54 | 42 | 0.0023561 | 0.0005905 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4401-6_0_3_load_50 | 43 | 0.0029055 | 0.00072819 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4401-6_0_3_load_55 | 44 | 0.001932 | 0.00048421 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4401-6_0_3_load_34 | 45 | 0.012063 | 0.0030233 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4401-6_0_3_load_35 | 46 | 0.030232 | 0.0075769 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4401-6_0_3_load_38 | 49 | 0.043713 | 0.010956 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4401-6_0_3_load_77 | 52 | 0.0024564 | 0.00061563 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4401-6_0_3_load_76 | 53 | 0.0025968 | 0.00065082 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4401-6_0_3_load_69 | 55 | 0.0037926 | 0.00095052 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4401-6_0_3_load_78 | 56 | 0.0024818 | 0.000622 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4401-6_0_3_load_75 | 57 | 0.0024907 | 0.00062423 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4401-6_0_3_load_95 | 58 | 0.01054 | 0.0026416 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4401-6_0_3_load_70 | 60 | 0.001071 | 0.00026841 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4401-6_0_3_load_42 | 61 | 0.0014816 | 0.00037133 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4401-6_0_3_load_43 | 62 | 0.00056968 | 0.00014278 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4401-6_0_3_load_94 | 63 | 0.010235 | 0.0025652 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4401-6_0_3_load_53 | 66 | 0.0061812 | 0.0015492 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4401-6_0_3_load_63 | 67 | 0.0020634 | 0.00051713 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4401-6_0_3_load_65 | 68 | 0.0041063 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4401-6_0_3_load_81 | 70 | 0.0029398 | 0.00073679 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4401-6_0_3_load_80 | 71 | 0.0023722 | 0.00059453 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4401-6_0_3_load_62 | 72 | 0.0020082 | 0.0005033 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4401-6_0_3_load_66 | 73 | 0.004666 | 0.0011694 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4401-6_0_3_load_56 | 74 | 0.0019206 | 0.00048134 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4401-6_0_3_load_57 | 75 | 0.0018292 | 0.00045845 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4401-6_0_3_load_58 | 76 | 0.0029586 | 0.00074148 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4401-6_0_3_load_59 | 77 | 0.0043532 | 0.001091 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4401-6_0_3_load_60 | 78 | 0.0018193 | 0.00045596 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4401-6_0_3_load_82 | 79 | 0.0015218 | 0.00038141 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4401-6_0_3_load_79 | 80 | 0.0023735 | 0.00059486 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4401-6_0_3_load_74 | 81 | 0.00092008 | 0.00023059 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4401-6_0_3_load_84 | 82 | 0.0028919 | 0.00072478 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4401-6_0_3_load_86 | 83 | 0.0014674 | 0.00036776 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4401-6_0_3_load_89 | 86 | 0.0018832 | 0.00047199 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4401-6_0_3_load_90 | 87 | 0.0017214 | 0.00043142 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4401-6_0_3_load_91 | 88 | 0.0019923 | 0.00049933 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4401-6_0_3_line_0 |  | 0 | 1 | 0.027299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4401-6_0_3_line_1 |  | 1 | 2 | 0.021004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4401-6_0_3_line_2 |  | 2 | 3 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4401-6_0_3_line_3 |  | 3 | 4 | 0.020963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4401-6_0_3_line_4 |  | 4 | 82 | 0.03983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4401-6_0_3_line_5 |  | 4 | 79 | 0.015197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4401-6_0_3_line_6 |  | 5 | 6 | 0.01559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4401-6_0_3_line_7 |  | 5 | 7 | 0.016825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4401-6_0_3_line_8 |  | 6 | 8 | 0.010366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4401-6_0_3_line_9 |  | 7 | 9 | 0.029867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4401-6_0_3_line_10 |  | 9 | 10 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4401-6_0_3_line_11 |  | 9 | 11 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4401-6_0_3_line_12 |  | 9 | 12 | 0.013287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4401-6_0_3_line_13 |  | 10 | 13 | 0.019782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4401-6_0_3_line_14 |  | 11 | 14 | 0.019564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4401-6_0_3_line_15 |  | 12 | 15 | 0.016598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4401-6_0_3_line_16 |  | 13 | 16 | 0.0034565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4401-6_0_3_line_17 |  | 14 | 17 | 0.022906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4401-6_0_3_line_18 |  | 15 | 18 | 0.01435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4401-6_0_3_line_19 |  | 15 | 19 | 0.0364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4401-6_0_3_line_20 |  | 16 | 22 | 0.015239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4401-6_0_3_line_21 |  | 17 | 73 | 0.01664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4401-6_0_3_line_22 |  | 18 | 81 | 0.0077291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4401-6_0_3_line_23 |  | 19 | 60 | 0.008703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4401-6_0_3_line_24 |  | 20 | 21 | 0.013953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4401-6_0_3_line_25 |  | 20 | 22 | 0.019895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4401-6_0_3_line_26 |  | 21 | 23 | 0.004482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4401-6_0_3_line_27 |  | 22 | 24 | 0.026094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4401-6_0_3_line_28 |  | 23 | 25 | 0.014071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4401-6_0_3_line_29 |  | 24 | 26 | 0.022146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4401-6_0_3_line_30 |  | 25 | 27 | 0.0067221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4401-6_0_3_line_31 |  | 26 | 28 | 0.0027271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4401-6_0_3_line_32 |  | 26 | 29 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4401-6_0_3_line_33 |  | 27 | 30 | 0.011028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4401-6_0_3_line_34 |  | 28 | 31 | 0.022632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4401-6_0_3_line_35 |  | 29 | 32 | 9.2659e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4401-6_0_3_line_36 |  | 31 | 33 | 0.019119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4401-6_0_3_line_37 |  | 33 | 34 | 0.0025411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4401-6_0_3_line_38 |  | 33 | 35 | 0.019393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4401-6_0_3_line_39 |  | 34 | 36 | 0.025369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4401-6_0_3_line_40 |  | 35 | 37 | 0.00015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4401-6_0_3_line_41 |  | 36 | 38 | 0.00049939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4401-6_0_3_line_42 |  | 36 | 39 | 0.01112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4401-6_0_3_line_43 |  | 38 | 40 | 0.018698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4401-6_0_3_line_44 |  | 40 | 41 | 0.012311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4401-6_0_3_line_45 |  | 41 | 42 | 0.023138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4401-6_0_3_line_46 |  | 41 | 43 | 0.011467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4401-6_0_3_line_47 |  | 42 | 44 | 0.0084882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4401-6_0_3_line_48 |  | 44 | 74 | 0.012182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4401-6_0_3_line_49 |  | 45 | 46 | 0.052614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4401-6_0_3_line_50 |  | 45 | 47 | 0.038922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4401-6_0_3_line_51 |  | 46 | 48 | 0.019782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4401-6_0_3_line_52 |  | 47 | 49 | 0.021143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4401-6_0_3_line_53 |  | 48 | 50 | 0.077118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4401-6_0_3_line_54 |  | 50 | 54 | 0.041448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4401-6_0_3_line_55 |  | 50 | 55 | 0.029739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4401-6_0_3_line_56 |  | 51 | 52 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4401-6_0_3_line_57 |  | 51 | 53 | 0.005927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4401-6_0_3_line_58 |  | 52 | 56 | 0.0079304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4401-6_0_3_line_59 |  | 53 | 57 | 0.0079628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4401-6_0_3_line_60 |  | 54 | 58 | 0.009529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4401-6_0_3_line_61 |  | 54 | 59 | 0.027763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4401-6_0_3_line_62 |  | 55 | 60 | 0.018336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4401-6_0_3_line_63 |  | 56 | 80 | 0.020667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4401-6_0_3_line_64 |  | 57 | 81 | 0.020729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_4401-6_0_3_line_65 |  | 58 | 63 | 0.036468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4401-6_0_3_line_66 |  | 59 | 62 | 0.073554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4401-6_0_3_line_67 |  | 61 | 62 | 0.023879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4401-6_0_3_line_68 |  | 64 | 65 | 0.012864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4401-6_0_3_line_69 |  | 64 | 66 | 0.019097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4401-6_0_3_line_70 |  | 65 | 67 | 0.018818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4401-6_0_3_line_71 |  | 66 | 68 | 0.018362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4401-6_0_3_line_72 |  | 67 | 72 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4401-6_0_3_line_73 |  | 68 | 73 | 0.023182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4401-6_0_3_line_74 |  | 69 | 70 | 0.044652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4401-6_0_3_line_75 |  | 69 | 71 | 0.011387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4401-6_0_3_line_76 |  | 70 | 79 | 0.025723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4401-6_0_3_line_77 |  | 71 | 80 | 0.00768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4401-6_0_3_line_78 |  | 72 | 78 | 0.021429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4401-6_0_3_line_79 |  | 74 | 75 | 0.012584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4401-6_0_3_line_80 |  | 75 | 76 | 0.0010488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4401-6_0_3_line_81 |  | 77 | 78 | 0.015784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4401-6_0_3_line_82 |  | 82 | 83 | 0.01739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4401-6_0_3_line_83 |  | 83 | 84 | 0.0043523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4401-6_0_3_line_84 |  | 84 | 85 | 0.013056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4401-6_0_3_line_85 |  | 84 | 86 | 0.017632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4401-6_0_3_line_86 |  | 85 | 87 | 0.0078628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4401-6_0_3_line_87 |  | 87 | 88 | 0.019231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4401-6_0_3_trafo_76 | 0.63 MVA 20/0.4 kV | 89 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2749188.5395 | 1263606.4209 | 2749206.0902 | 1263614.8276 | 2749202.9312 | 1263622.0016
1 | 2749188.5395 | 1263606.4209 | 2749207.7273 | 1263597.7518
2 | 2749207.7273 | 1263597.7518 | 2749221.5115 | 1263588.6138
3 | 2749238.9837 | 1263577.0309 | 2749221.5115 | 1263588.6138
4 | 2749238.9837 | 1263577.0309 | 2749215.2372 | 1263545.0541
5 | 2749238.9837 | 1263577.0309 | 2749252.1033 | 1263569.3615
6 | 2749483.2718 | 1263503.6426 | 2749498.8614 | 1263503.5934
7 | 2749483.2718 | 1263503.6426 | 2749480.3075 | 1263503.652 | 2749466.7749 | 1263506.6497
8 | 2749509.2271 | 1263503.5607 | 2749498.8614 | 1263503.5934
9 | 2749437.4379 | 1263511.7879 | 2749445.2929 | 1263511.4082 | 2749466.7749 | 1263506.6497
10 | 2749437.4379 | 1263511.7879 | 2749438.2336 | 1263496.3201
11 | 2749437.4379 | 1263511.7879 | 2749420.8437 | 1263512.4127
12 | 2749437.4379 | 1263511.7879 | 2749436.8665 | 1263525.0623
13 | 2749439.2499 | 1263476.5638 | 2749438.2336 | 1263496.3201
14 | 2749401.2933 | 1263513.1488 | 2749420.8437 | 1263512.4127
15 | 2749437.6577 | 1263541.5344 | 2749436.4327 | 1263535.1414 | 2749436.8665 | 1263525.0623
16 | 2749439.4275 | 1263473.1119 | 2749439.2499 | 1263476.5638
17 | 2749378.4039 | 1263514.0106 | 2749401.2933 | 1263513.1488
18 | 2749437.6577 | 1263541.5344 | 2749423.3208 | 1263542.1542
19 | 2749437.6577 | 1263541.5344 | 2749447.6011 | 1263540.2288 | 2749473.3788 | 1263534.6665
20 | 2749440.2104 | 1263457.8928 | 2749439.4275 | 1263473.1119
21 | 2749361.7757 | 1263514.6366 | 2749378.4039 | 1263514.0106
22 | 2749423.3208 | 1263542.1542 | 2749415.5989 | 1263542.4881
23 | 2749481.886 | 1263532.8309 | 2749473.3788 | 1263534.6665
24 | 2749474.0565 | 1263457.5202 | 2749460.104 | 1263457.6738
25 | 2749440.2104 | 1263457.8928 | 2749460.104 | 1263457.6738
26 | 2749474.0565 | 1263457.5202 | 2749478.5383 | 1263457.4708
27 | 2749440.2104 | 1263457.8928 | 2749414.1168 | 1263457.8526
28 | 2749492.6085 | 1263457.3159 | 2749478.5383 | 1263457.4708
29 | 2749391.9712 | 1263457.8185 | 2749414.1168 | 1263457.8526
30 | 2749492.6085 | 1263457.3159 | 2749499.3302 | 1263457.2419
31 | 2749391.9712 | 1263457.8185 | 2749389.2441 | 1263457.8286
32 | 2749391.9712 | 1263457.8185 | 2749392.0561 | 1263476.1052
33 | 2749510.3571 | 1263457.1205 | 2749499.3302 | 1263457.2419
34 | 2749389.2441 | 1263457.8286 | 2749366.6125 | 1263457.913
35 | 2749392.0566 | 1263476.1979 | 2749392.0561 | 1263476.1052
36 | 2749347.4942 | 1263457.9842 | 2749366.6125 | 1263457.913
37 | 2749347.4942 | 1263457.9842 | 2749344.9532 | 1263457.9605
38 | 2749347.4942 | 1263457.9842 | 2749347.3469 | 1263477.3771
39 | 2749319.5856 | 1263457.7237 | 2749344.9532 | 1263457.9605
40 | 2749347.3457 | 1263477.5366 | 2749347.3469 | 1263477.3771
41 | 2749319.5856 | 1263457.7237 | 2749319.0863 | 1263457.7142
42 | 2749319.267 | 1263468.8379 | 2749319.5856 | 1263457.7237
43 | 2749319.0863 | 1263457.7142 | 2749300.3918 | 1263457.361 | 2749300.3918 | 1263457.361
44 | 2749300.3369 | 1263469.6719 | 2749300.3918 | 1263457.361
45 | 2749300.3369 | 1263469.6719 | 2749277.9815 | 1263463.7063
46 | 2749300.3369 | 1263469.6719 | 2749300.541 | 1263481.1372
47 | 2749269.7803 | 1263461.5178 | 2749277.9815 | 1263463.7063
48 | 2749269.7803 | 1263461.5178 | 2749258.0102 | 1263458.3769
49 | 2749433.0437 | 1263587.2597 | 2749481.7792 | 1263607.0866
50 | 2749412.7761 | 1263612.0208 | 2749425.3288 | 1263584.1211 | 2749433.0437 | 1263587.2597
51 | 2749500.1033 | 1263614.5413 | 2749481.7792 | 1263607.0866
52 | 2749412.7761 | 1263612.0208 | 2749404.1047 | 1263631.3038
53 | 2749527.8187 | 1263542.6032 | 2749509.8006 | 1263586.3249 | 2749501.0477 | 1263610.8726 | 2749500.1033 | 1263614.5413
54 | 2749565.4064 | 1263560.3159 | 2749527.8187 | 1263542.6032
55 | 2749527.8187 | 1263542.6032 | 2749505.2779 | 1263533.3463 | 2749499.9951 | 1263532.3751
56 | 2749381.0126 | 1263543.9835 | 2749365.7203 | 1263544.6947
57 | 2749381.0126 | 1263543.9835 | 2749386.934 | 1263543.7275
58 | 2749365.7203 | 1263544.6947 | 2749357.7984 | 1263545.0631
59 | 2749394.8894 | 1263543.3835 | 2749386.934 | 1263543.7275
60 | 2749565.4064 | 1263560.3159 | 2749563.512 | 1263569.6551
61 | 2749565.4064 | 1263560.3159 | 2749590.4912 | 1263572.3735
62 | 2749499.9951 | 1263532.3751 | 2749495.3159 | 1263531.5149 | 2749488.3391 | 1263531.4384 | 2749481.886 | 1263532.8309
63 | 2749357.7984 | 1263545.0631 | 2749337.154 | 1263546.0232
64 | 2749415.5989 | 1263542.4881 | 2749394.8894 | 1263543.3835
65 | 2749563.512 | 1263569.6551 | 2749555.9018 | 1263605.3207
66 | 2749590.4912 | 1263572.3735 | 2749593.8232 | 1263564.8948 | 2749594.1791 | 1263521.3712 | 2749595.9077 | 1263506.678 | 2749596.9629 | 1263499.7106
67 | 2749601.4587 | 1263476.3322 | 2749599.799 | 1263480.984 | 2749596.9629 | 1263499.7106
68 | 2749299.7218 | 1263529.5052 | 2749301.2313 | 1263525.5393 | 2749301.1778 | 1263516.9182
69 | 2749301.1778 | 1263516.9182 | 2749320.2614 | 1263516.1997
70 | 2749299.7218 | 1263529.5052 | 2749290.5515 | 1263525.2694 | 2749282.4038 | 1263522.1728
71 | 2749320.2614 | 1263516.1997 | 2749338.6103 | 1263515.5088
72 | 2749267.2781 | 1263516.9752 | 2749274.5322 | 1263519.1812 | 2749282.4038 | 1263522.1728
73 | 2749338.6103 | 1263515.5088 | 2749361.7757 | 1263514.6366
74 | 2749318.1078 | 1263546.909 | 2749310.4282 | 1263547.8049 | 2749291.2364 | 1263552.147 | 2749274.7336 | 1263557.1465
75 | 2749318.1078 | 1263546.909 | 2749329.4822 | 1263546.38
76 | 2749274.7336 | 1263557.1465 | 2749274.7336 | 1263557.1465 | 2749259.1549 | 1263565.2392 | 2749252.1033 | 1263569.3615
77 | 2749337.154 | 1263546.0232 | 2749329.4822 | 1263546.38
78 | 2749246.3109 | 1263512.602 | 2749265.0788 | 1263516.3064 | 2749267.2781 | 1263516.9752
79 | 2749245.8516 | 1263455.1323 | 2749258.0102 | 1263458.3769
80 | 2749244.8383 | 1263454.8619 | 2749245.8516 | 1263455.1323
81 | 2749230.8261 | 1263509.5457 | 2749246.3109 | 1263512.602
82 | 2749215.2372 | 1263545.0541 | 2749215.1286 | 1263544.9079 | 2749203.7839 | 1263535.7569 | 2749201.2885 | 1263534.9184
83 | 2749197.1628 | 1263533.5321 | 2749201.2885 | 1263534.9184
84 | 2749197.1628 | 1263533.5321 | 2749184.7581 | 1263529.3483
85 | 2749197.1628 | 1263533.5321 | 2749198.2653 | 1263536.4295 | 2749198.5626 | 1263540.4744 | 2749197.2585 | 1263544.0673 | 2749194.0669 | 1263546.6004 | 2749191.5386 | 1263546.0925
86 | 2749184.7581 | 1263529.3483 | 2749177.3055 | 1263526.8418
87 | 2749177.3055 | 1263526.8418 | 2749172.8163 | 1263525.332 | 2749158.6855 | 1263522.1054

## bus_geodata
| x | y | coords
0 | 2749202.9312 | 1263622.0016
1 | 2749188.5395 | 1263606.4209
2 | 2749207.7273 | 1263597.7518
3 | 2749221.5115 | 1263588.6138
4 | 2749238.9837 | 1263577.0309
5 | 2749483.2718 | 1263503.6426
6 | 2749498.8614 | 1263503.5934
7 | 2749466.7749 | 1263506.6497
8 | 2749509.2271 | 1263503.5607
9 | 2749437.4379 | 1263511.7879
10 | 2749438.2336 | 1263496.3201
11 | 2749420.8437 | 1263512.4127
12 | 2749436.8665 | 1263525.0623
13 | 2749439.2499 | 1263476.5638
14 | 2749401.2933 | 1263513.1488
15 | 2749437.6577 | 1263541.5344
16 | 2749439.4275 | 1263473.1119
17 | 2749378.4039 | 1263514.0106
18 | 2749423.3208 | 1263542.1542
19 | 2749473.3788 | 1263534.6665
20 | 2749460.104 | 1263457.6738
21 | 2749474.0565 | 1263457.5202
22 | 2749440.2104 | 1263457.8928
23 | 2749478.5383 | 1263457.4708
24 | 2749414.1168 | 1263457.8526
25 | 2749492.6085 | 1263457.3159
26 | 2749391.9712 | 1263457.8185
27 | 2749499.3302 | 1263457.2419
28 | 2749389.2441 | 1263457.8286
29 | 2749392.0561 | 1263476.1052
30 | 2749510.3571 | 1263457.1205
31 | 2749366.6125 | 1263457.9129
32 | 2749392.0566 | 1263476.1979
33 | 2749347.4942 | 1263457.9842
34 | 2749344.9532 | 1263457.9605
35 | 2749347.3469 | 1263477.3771
36 | 2749319.5856 | 1263457.7237
37 | 2749347.3457 | 1263477.5366
38 | 2749319.0863 | 1263457.7142
39 | 2749319.267 | 1263468.8379
40 | 2749300.3918 | 1263457.361
41 | 2749300.3369 | 1263469.6719
42 | 2749277.9815 | 1263463.7063
43 | 2749300.541 | 1263481.1372
44 | 2749269.7803 | 1263461.5178
45 | 2749433.0437 | 1263587.2597
46 | 2749481.7792 | 1263607.0866
47 | 2749412.7761 | 1263612.0208
48 | 2749500.1033 | 1263614.5413
49 | 2749404.1047 | 1263631.3038
50 | 2749527.8187 | 1263542.6032
51 | 2749381.0126 | 1263543.9835
52 | 2749365.7203 | 1263544.6947
53 | 2749386.934 | 1263543.7275
54 | 2749565.4064 | 1263560.3159
55 | 2749499.9951 | 1263532.3751
56 | 2749357.7984 | 1263545.0631
57 | 2749394.8894 | 1263543.3835
58 | 2749563.512 | 1263569.6551
59 | 2749590.4912 | 1263572.3735
60 | 2749481.886 | 1263532.8309
61 | 2749601.4587 | 1263476.3322
62 | 2749596.9629 | 1263499.7106
63 | 2749555.9018 | 1263605.3207
64 | 2749301.1778 | 1263516.9182
65 | 2749299.7218 | 1263529.5052
66 | 2749320.2614 | 1263516.1997
67 | 2749282.4038 | 1263522.1728
68 | 2749338.6103 | 1263515.5088
69 | 2749318.1078 | 1263546.909
70 | 2749274.7336 | 1263557.1465
71 | 2749329.4822 | 1263546.38
72 | 2749267.2781 | 1263516.9752
73 | 2749361.7757 | 1263514.6366
74 | 2749258.0102 | 1263458.3769
75 | 2749245.8516 | 1263455.1323
76 | 2749244.8383 | 1263454.8619
77 | 2749230.8261 | 1263509.5457
78 | 2749246.3109 | 1263512.602
79 | 2749252.1033 | 1263569.3615
80 | 2749337.154 | 1263546.0232
81 | 2749415.5989 | 1263542.4881
82 | 2749215.2372 | 1263545.0541
83 | 2749201.2885 | 1263534.9184
84 | 2749197.1628 | 1263533.5321
85 | 2749184.7581 | 1263529.3483
86 | 2749191.5386 | 1263546.0925
87 | 2749177.3055 | 1263526.8418
88 | 2749158.6855 | 1263522.1054
89 | 2749381.0126 | 1263543.9835

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1