## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4401-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4401-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4401-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4401-9_0_3_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_4401-9_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4401-9_0_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_4401-9_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4401-9_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4401-9_0_3_node_227 | 0.4 | n |  | TRUE
9 | bus_LV_4401-9_0_3_node_228 | 0.4 | n |  | TRUE
10 | bus_LV_4401-9_0_3_node_226 | 0.4 | n |  | TRUE
11 | bus_LV_4401-9_0_3_node_229 | 0.4 | n |  | TRUE
12 | bus_LV_4401-9_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4401-9_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4401-9_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4401-9_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4401-9_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4401-9_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4401-9_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4401-9_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4401-9_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4401-9_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4401-9_0_3_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_4401-9_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4401-9_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_4401-9_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_4401-9_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4401-9_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4401-9_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4401-9_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4401-9_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4401-9_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4401-9_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4401-9_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_4401-9_0_3_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_4401-9_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4401-9_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4401-9_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4401-9_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4401-9_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4401-9_0_3_node_215 | 0.4 | n |  | TRUE
41 | bus_LV_4401-9_0_3_node_216 | 0.4 | n |  | TRUE
42 | bus_LV_4401-9_0_3_node_230 | 0.4 | n |  | TRUE
43 | bus_LV_4401-9_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_4401-9_0_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_4401-9_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_4401-9_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_4401-9_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_4401-9_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4401-9_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4401-9_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_4401-9_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_4401-9_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_4401-9_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_4401-9_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4401-9_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_4401-9_0_3_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_4401-9_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_4401-9_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_4401-9_0_3_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_4401-9_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4401-9_0_3_node_143 | 0.4 | n |  | TRUE
62 | bus_LV_4401-9_0_3_node_131 | 0.4 | n |  | TRUE
63 | bus_LV_4401-9_0_3_node_132 | 0.4 | n |  | TRUE
64 | bus_LV_4401-9_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4401-9_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_4401-9_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_4401-9_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_4401-9_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_4401-9_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_4401-9_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_4401-9_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_4401-9_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_4401-9_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_4401-9_0_3_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_4401-9_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_4401-9_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_4401-9_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_4401-9_0_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_4401-9_0_3_node_112 | 0.4 | n |  | TRUE
80 | bus_LV_4401-9_0_3_node_128 | 0.4 | n |  | TRUE
81 | bus_LV_4401-9_0_3_node_110 | 0.4 | n |  | TRUE
82 | bus_LV_4401-9_0_3_node_129 | 0.4 | n |  | TRUE
83 | bus_LV_4401-9_0_3_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_4401-9_0_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_4401-9_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_4401-9_0_3_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_4401-9_0_3_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_4401-9_0_3_node_66 | 0.4 | n |  | TRUE
89 | bus_LV_4401-9_0_3_node_68 | 0.4 | n |  | TRUE
90 | bus_LV_4401-9_0_3_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_4401-9_0_3_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_4401-9_0_3_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_4401-9_0_3_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_4401-9_0_3_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_4401-9_0_3_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_4401-9_0_3_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_4401-9_0_3_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_4401-9_0_3_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_4401-9_0_3_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_4401-9_0_3_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_4401-9_0_3_node_85 | 0.4 | n |  | TRUE
102 | bus_LV_4401-9_0_3_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_4401-9_0_3_node_87 | 0.4 | n |  | TRUE
104 | bus_LV_4401-9_0_3_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_4401-9_0_3_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_4401-9_0_3_node_90 | 0.4 | n |  | TRUE
107 | bus_LV_4401-9_0_3_node_91 | 0.4 | n |  | TRUE
108 | bus_LV_4401-9_0_3_node_92 | 0.4 | n |  | TRUE
109 | bus_LV_4401-9_0_3_node_96 | 0.4 | n |  | TRUE
110 | bus_LV_4401-9_0_3_node_97 | 0.4 | n |  | TRUE
111 | bus_LV_4401-9_0_3_node_98 | 0.4 | n |  | TRUE
112 | bus_LV_4401-9_0_3_node_99 | 0.4 | n |  | TRUE
113 | bus_LV_4401-9_0_3_node_100 | 0.4 | n |  | TRUE
114 | bus_LV_4401-9_0_3_node_101 | 0.4 | n |  | TRUE
115 | bus_LV_4401-9_0_3_node_103 | 0.4 | n |  | TRUE
116 | bus_LV_4401-9_0_3_node_134 | 0.4 | n |  | TRUE
117 | bus_LV_4401-9_0_3_node_144 | 0.4 | n |  | TRUE
118 | bus_LV_4401-9_0_3_node_223 | 0.4 | n |  | TRUE
119 | bus_LV_4401-9_0_3_node_224 | 0.4 | n |  | TRUE
120 | bus_LV_4401-9_0_3_node_225 | 0.4 | n |  | TRUE
121 | bus_MV_406_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4401-9_0_3_load_0 | 0 | 0.0062916 | 0.0015768 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4401-9_0_3_load_1 | 1 | 0.00061682 | 0.00015459 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4401-9_0_3_load_2 | 2 | 0.0012624 | 0.00031639 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4401-9_0_3_load_24 | 3 | 0.0034981 | 0.00087672 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4401-9_0_3_load_4 | 6 | 0.00079085 | 0.00019821 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4401-9_0_3_load_5 | 7 | 0.00064548 | 0.00016177 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4401-9_0_3_load_227 | 8 | 0.00092567 | 0.000232 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4401-9_0_3_load_228 | 9 | 0.00021915 | 5.4925e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4401-9_0_3_load_226 | 10 | 0.00074901 | 0.00018772 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4401-9_0_3_load_229 | 11 | 0.0017578 | 0.00044056 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4401-9_0_3_load_6 | 12 | 0.0026884 | 0.00067378 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4401-9_0_3_load_7 | 13 | 0.0048266 | 0.0012097 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4401-9_0_3_load_8 | 14 | 0.0019145 | 0.00047981 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4401-9_0_3_load_9 | 15 | 0.0020463 | 0.00051284 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4401-9_0_3_load_10 | 16 | 0.0018272 | 0.00045795 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4401-9_0_3_load_12 | 18 | 0.0060408 | 0.001514 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4401-9_0_3_load_13 | 19 | 0.006339 | 0.0015887 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4401-9_0_3_load_14 | 20 | 0.0021469 | 0.00053805 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4401-9_0_3_load_15 | 21 | 0.001766 | 0.0004426 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4401-9_0_3_load_23 | 23 | 0.0039005 | 0.00097756 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4401-9_0_3_load_27 | 25 | 0.0035296 | 0.00088461 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4401-9_0_3_load_16 | 26 | 0.0021622 | 0.0005419 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4401-9_0_3_load_17 | 27 | 0.0008933 | 0.00022388 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4401-9_0_3_load_18 | 28 | 0.002778 | 0.00069623 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4401-9_0_3_load_20 | 30 | 0.00049873 | 0.00012499 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4401-9_0_3_load_21 | 31 | 0.0021473 | 0.00053815 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4401-9_0_3_load_28 | 32 | 0.0037745 | 0.00094599 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4401-9_0_3_load_29 | 35 | 0.00012521 | 3.1381e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4401-9_0_3_load_30 | 36 | 0.00014094 | 3.5322e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4401-9_0_3_load_31 | 37 | 0.0001769 | 4.4334e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4401-9_0_3_load_32 | 38 | 0.00014187 | 3.5557e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4401-9_0_3_load_33 | 39 | 0.00014752 | 3.6973e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4401-9_0_3_load_216 | 41 | 0.0052293 | 0.0013106 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4401-9_0_3_load_230 | 42 | 0.0001014 | 2.5414e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4401-9_0_3_load_46 | 43 | 0.0031057 | 0.00077837 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4401-9_0_3_load_43 | 44 | 0.0019223 | 0.00048178 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4401-9_0_3_load_35 | 45 | 0.001172 | 0.00029374 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4401-9_0_3_load_36 | 46 | 0.00099156 | 0.00024851 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4401-9_0_3_load_37 | 47 | 0.0039154 | 0.00098129 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4401-9_0_3_load_40 | 50 | 0.0010044 | 0.00025172 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4401-9_0_3_load_42 | 52 | 0.0025029 | 0.00062729 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4401-9_0_3_load_50 | 53 | 0.00084792 | 0.00021251 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4401-9_0_3_load_47 | 54 | 0.0056871 | 0.0014253 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4401-9_0_3_load_44 | 55 | 0.00096522 | 0.00024191 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4401-9_0_3_load_65 | 56 | 0.0029195 | 0.0007317 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4401-9_0_3_load_58 | 57 | 0.0023841 | 0.00059752 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4401-9_0_3_load_49 | 58 | 0.00080148 | 0.00020087 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4401-9_0_3_load_71 | 59 | 0.0010229 | 0.00025636 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4401-9_0_3_load_48 | 60 | 0.0007169 | 0.00017967 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4401-9_0_3_load_143 | 61 | 0.0052559 | 0.0013173 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4401-9_0_3_load_132 | 63 | 0.0040935 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4401-9_0_3_load_51 | 65 | 0.0022986 | 0.00057608 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4401-9_0_3_load_52 | 66 | 0.000834 | 0.00020902 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4401-9_0_3_load_53 | 67 | 0.0037649 | 0.00094357 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4401-9_0_3_load_54 | 68 | 0.001968 | 0.00049323 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4401-9_0_3_load_59 | 71 | 0.0028275 | 0.00070863 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4401-9_0_3_load_60 | 72 | 0.0019595 | 0.00049109 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4401-9_0_3_load_63 | 73 | 0.0028027 | 0.00070241 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4401-9_0_3_load_64 | 74 | 0.0050798 | 0.0012731 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4401-9_0_3_load_61 | 75 | 0.0016881 | 0.00042308 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4401-9_0_3_load_62 | 76 | 0.0016013 | 0.00040133 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4401-9_0_3_load_69 | 78 | 0.0056221 | 0.001409 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4401-9_0_3_load_112 | 79 | 0.001281 | 0.00032106 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4401-9_0_3_load_128 | 80 | 0.0024947 | 0.00062523 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4401-9_0_3_load_110 | 81 | 0.0027929 | 0.00069998 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4401-9_0_3_load_129 | 82 | 0.0029581 | 0.00074137 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4401-9_0_3_load_73 | 83 | 0.0019978 | 0.00050068 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4401-9_0_3_load_74 | 84 | 0.0032772 | 0.00082135 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4401-9_0_3_load_67 | 86 | 0.0033515 | 0.00083998 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4401-9_0_3_load_72 | 87 | 0.0039332 | 0.00098575 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4401-9_0_3_load_66 | 88 | 0.0023054 | 0.0005778 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4401-9_0_3_load_68 | 89 | 0.0028302 | 0.00070933 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4401-9_0_3_load_76 | 90 | 0.0059906 | 0.0015014 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4401-9_0_3_load_77 | 91 | 0.0040353 | 0.0010114 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4401-9_0_3_load_78 | 92 | 0.002276 | 0.00057042 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4401-9_0_3_load_89 | 93 | 0.0021288 | 0.00053353 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4401-9_0_3_load_79 | 94 | 0.0027892 | 0.00069903 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4401-9_0_3_load_80 | 95 | 0.0028241 | 0.00070779 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4401-9_0_3_load_82 | 96 | 0.0016189 | 0.00040574 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4401-9_0_3_load_88 | 97 | 0.00277 | 0.00069422 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4401-9_0_3_load_81 | 98 | 0.0020585 | 0.0005159 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4401-9_0_3_load_83 | 99 | 0.0024653 | 0.00061785 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4401-9_0_3_load_86 | 102 | 0.0024781 | 0.00062106 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4401-9_0_3_load_87 | 103 | 0.0052128 | 0.0013065 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4401-9_0_3_load_95 | 104 | 0.001833 | 0.0004594 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4401-9_0_3_load_93 | 105 | 0.0015014 | 0.00037628 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4401-9_0_3_load_90 | 106 | 0.0019423 | 0.00048679 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4401-9_0_3_load_91 | 107 | 0.0016778 | 0.0004205 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4401-9_0_3_load_92 | 108 | 0.0028974 | 0.00072615 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4401-9_0_3_load_96 | 109 | 0.0013751 | 0.00034462 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4401-9_0_3_load_97 | 110 | 0.0024601 | 0.00061657 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4401-9_0_3_load_98 | 111 | 0.0028215 | 0.00070714 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4401-9_0_3_load_100 | 113 | 0.0021015 | 0.00052669 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4401-9_0_3_load_101 | 114 | 0.0020413 | 0.00051159 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4401-9_0_3_load_103 | 115 | 0.0021207 | 0.0005315 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4401-9_0_3_load_134 | 116 | 0.0033373 | 0.00083641 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4401-9_0_3_load_144 | 117 | 0.003454 | 0.00086564 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4401-9_0_3_load_223 | 118 | 0.00028222 | 7.0732e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4401-9_0_3_load_224 | 119 | 0.00032694 | 8.1939e-05 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4401-9_0_3_load_225 | 120 | 0.00079328 | 0.00019881 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4401-9_0_3_line_0 |  | 0 | 1 | 0.018165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4401-9_0_3_line_1 |  | 0 | 2 | 0.041133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4401-9_0_3_line_2 |  | 1 | 3 | 0.26385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4401-9_0_3_line_3 |  | 2 | 4 | 0.016958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4401-9_0_3_line_4 |  | 3 | 5 | 0.05154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4401-9_0_3_line_5 |  | 4 | 6 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4401-9_0_3_line_6 |  | 4 | 7 | 0.030243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4401-9_0_3_line_7 |  | 5 | 23 | 0.028964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4401-9_0_3_line_8 |  | 5 | 20 | 0.017722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4401-9_0_3_line_9 |  | 6 | 8 | 0.013464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4401-9_0_3_line_10 |  | 7 | 9 | 0.0037988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4401-9_0_3_line_11 |  | 8 | 10 | 0.01287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4401-9_0_3_line_12 |  | 9 | 11 | 0.021502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4401-9_0_3_line_13 |  | 10 | 120 | 0.00955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4401-9_0_3_line_14 |  | 12 | 13 | 0.014267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4401-9_0_3_line_15 |  | 12 | 14 | 0.0021453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4401-9_0_3_line_16 |  | 13 | 15 | 0.011999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4401-9_0_3_line_17 |  | 14 | 16 | 0.009798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4401-9_0_3_line_18 |  | 15 | 17 | 0.021805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4401-9_0_3_line_19 |  | 17 | 18 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4401-9_0_3_line_20 |  | 17 | 19 | 0.02904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4401-9_0_3_line_21 |  | 18 | 20 | 0.020467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4401-9_0_3_line_22 |  | 19 | 21 | 0.023838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4401-9_0_3_line_23 |  | 21 | 22 | 0.025121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4401-9_0_3_line_24 |  | 22 | 24 | 0.0627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4401-9_0_3_line_25 |  | 22 | 25 | 0.019315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4401-9_0_3_line_26 |  | 23 | 33 | 0.0089547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4401-9_0_3_line_27 |  | 24 | 35 | 0.017446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4401-9_0_3_line_28 |  | 25 | 31 | 0.010864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4401-9_0_3_line_29 |  | 26 | 27 | 0.019779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4401-9_0_3_line_30 |  | 26 | 28 | 2.3489e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4401-9_0_3_line_31 |  | 27 | 29 | 0.010376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4401-9_0_3_line_32 |  | 29 | 30 | 0.02616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4401-9_0_3_line_33 |  | 29 | 31 | 0.012604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4401-9_0_3_line_34 |  | 30 | 32 | 0.0020842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4401-9_0_3_line_35 |  | 33 | 34 | 0.033244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4401-9_0_3_line_36 |  | 34 | 43 | 0.024724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4401-9_0_3_line_37 |  | 34 | 44 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4401-9_0_3_line_38 |  | 35 | 36 | 0.019509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4401-9_0_3_line_39 |  | 36 | 37 | 0.011531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4401-9_0_3_line_40 |  | 37 | 38 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4401-9_0_3_line_41 |  | 38 | 39 | 0.010472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4401-9_0_3_line_42 |  | 39 | 40 | 0.2123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4401-9_0_3_line_43 |  | 40 | 41 | 0.035288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4401-9_0_3_line_44 |  | 41 | 42 | 0.15212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4401-9_0_3_line_45 |  | 43 | 60 | 0.0071888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4401-9_0_3_line_46 |  | 44 | 55 | 0.0076936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4401-9_0_3_line_47 |  | 45 | 46 | 0.0026736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4401-9_0_3_line_48 |  | 45 | 47 | 0.016915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4401-9_0_3_line_49 |  | 46 | 48 | 0.01174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_4401-9_0_3_line_50 |  | 47 | 49 | 0.037231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4401-9_0_3_line_51 |  | 48 | 50 | 0.018939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4401-9_0_3_line_52 |  | 48 | 51 | 0.015147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4401-9_0_3_line_53 |  | 49 | 52 | 0.02366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4401-9_0_3_line_54 |  | 50 | 53 | 0.012634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4401-9_0_3_line_55 |  | 51 | 54 | 0.042314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4401-9_0_3_line_56 |  | 51 | 55 | 0.038242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4401-9_0_3_line_57 |  | 52 | 56 | 0.010966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4401-9_0_3_line_58 |  | 53 | 57 | 0.011364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4401-9_0_3_line_59 |  | 54 | 58 | 0.031335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4401-9_0_3_line_60 |  | 56 | 59 | 0.0011393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4401-9_0_3_line_61 |  | 57 | 64 | 0.015886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4401-9_0_3_line_62 |  | 58 | 62 | 0.0080025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4401-9_0_3_line_63 |  | 59 | 87 | 0.014049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4401-9_0_3_line_64 |  | 60 | 61 | 0.016617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4401-9_0_3_line_65 |  | 62 | 63 | 0.023633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4401-9_0_3_line_66 |  | 63 | 116 | 0.018359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4401-9_0_3_line_67 |  | 64 | 70 | 0.053942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4401-9_0_3_line_68 |  | 64 | 67 | 0.008461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4401-9_0_3_line_69 |  | 65 | 66 | 0.017423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4401-9_0_3_line_70 |  | 65 | 67 | 0.0081905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4401-9_0_3_line_71 |  | 66 | 68 | 0.0079082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4401-9_0_3_line_72 |  | 68 | 69 | 0.018846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4401-9_0_3_line_73 |  | 69 | 71 | 0.0032717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4401-9_0_3_line_74 |  | 69 | 72 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4401-9_0_3_line_75 |  | 70 | 73 | 0.015851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4401-9_0_3_line_76 |  | 70 | 74 | 0.016672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4401-9_0_3_line_77 |  | 71 | 75 | 0.0039496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4401-9_0_3_line_78 |  | 72 | 76 | 0.020286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4401-9_0_3_line_79 |  | 73 | 77 | 0.01977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4401-9_0_3_line_80 |  | 74 | 78 | 0.00023316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4401-9_0_3_line_81 |  | 75 | 79 | 0.0077102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4401-9_0_3_line_82 |  | 76 | 80 | 0.026591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4401-9_0_3_line_83 |  | 77 | 83 | 0.049635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4401-9_0_3_line_84 |  | 77 | 84 | 0.020559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4401-9_0_3_line_85 |  | 77 | 85 | 0.024488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4401-9_0_3_line_86 |  | 78 | 86 | 0.028346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4401-9_0_3_line_87 |  | 79 | 81 | 0.021865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4401-9_0_3_line_88 |  | 80 | 82 | 0.0070649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4401-9_0_3_line_89 |  | 83 | 90 | 0.013162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4401-9_0_3_line_90 |  | 83 | 91 | 0.014519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4401-9_0_3_line_91 |  | 84 | 92 | 0.0041018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4401-9_0_3_line_92 |  | 85 | 93 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4401-9_0_3_line_93 |  | 86 | 88 | 0.0014627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4401-9_0_3_line_94 |  | 87 | 94 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4401-9_0_3_line_95 |  | 88 | 89 | 0.0053891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4401-9_0_3_line_96 |  | 91 | 96 | 0.0049197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4401-9_0_3_line_97 |  | 93 | 97 | 0.00030149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4401-9_0_3_line_98 |  | 94 | 95 | 0.01947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4401-9_0_3_line_99 |  | 95 | 98 | 0.014091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4401-9_0_3_line_100 |  | 97 | 106 | 0.033573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4401-9_0_3_line_101 |  | 98 | 99 | 0.019405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4401-9_0_3_line_102 |  | 99 | 100 | 0.021788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4401-9_0_3_line_103 |  | 100 | 101 | 0.032158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4401-9_0_3_line_104 |  | 101 | 102 | 0.071324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4401-9_0_3_line_105 |  | 101 | 103 | 0.03976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4401-9_0_3_line_106 |  | 101 | 104 | 0.036372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4401-9_0_3_line_107 |  | 103 | 105 | 0.0068518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4401-9_0_3_line_108 |  | 106 | 107 | 0.0020735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4401-9_0_3_line_109 |  | 107 | 108 | 0.020708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4401-9_0_3_line_110 |  | 108 | 109 | 0.011643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4401-9_0_3_line_111 |  | 109 | 110 | 0.010771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4401-9_0_3_line_112 |  | 110 | 111 | 0.011857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4401-9_0_3_line_113 |  | 111 | 112 | 0.028126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4401-9_0_3_line_114 |  | 112 | 113 | 0.014303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4401-9_0_3_line_115 |  | 112 | 114 | 0.010925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4401-9_0_3_line_116 |  | 114 | 115 | 0.007983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4401-9_0_3_line_117 |  | 116 | 117 | 0.01141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4401-9_0_3_line_118 |  | 118 | 119 | 0.0052252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4401-9_0_3_line_119 |  | 119 | 120 | 0.0093737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4401-9_0_3_trafo_37 | 0.63 MVA 20/0.4 kV | 121 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2748341.0523 | 1266250.6239 | 2748355.1209 | 1266239.1327
1 | 2748341.0523 | 1266250.6239 | 2748309.1955 | 1266276.6443
2 | 2748253.9495 | 1265995.455 | 2748355.1209 | 1266239.1327
3 | 2748296.0621 | 1266287.3716 | 2748309.1955 | 1266276.6443
4 | 2748239.6241 | 1265945.946 | 2748253.9495 | 1265995.455
5 | 2748296.0621 | 1266287.3716 | 2748287.3118 | 1266293.1398
6 | 2748296.0621 | 1266287.3716 | 2748312.6693 | 1266312.6471
7 | 2748239.6241 | 1265945.946 | 2748225.9051 | 1265949.5834 | 2748213.0051 | 1265956.7797
8 | 2748239.6241 | 1265945.946 | 2748256.9185 | 1265942.0774
9 | 2748276.0705 | 1266300.55 | 2748276.0705 | 1266300.55 | 2748287.3118 | 1266293.1398
10 | 2748312.6693 | 1266312.6471 | 2748314.7553 | 1266315.8219
11 | 2748263.8143 | 1266304.4781 | 2748276.0705 | 1266300.55
12 | 2748314.7553 | 1266315.8219 | 2748316.3919 | 1266318.3128 | 2748319.1498 | 1266325.4781 | 2748323.0395 | 1266335.6003
13 | 2748263.8143 | 1266304.4781 | 2748254.7199 | 1266307.3928
14 | 2748313.9247 | 1265963.1085 | 2748300.2046 | 1265967.0199 | 2748300.2046 | 1265967.0199
15 | 2748313.9247 | 1265963.1085 | 2748315.9879 | 1265962.5203
16 | 2748300.2046 | 1265967.0199 | 2748297.9173 | 1265955.2408
17 | 2748325.4105 | 1265959.834 | 2748315.9879 | 1265962.5203
18 | 2748293.7608 | 1265933.836 | 2748297.9173 | 1265955.2408
19 | 2748293.7608 | 1265933.836 | 2748276.8918 | 1265937.6095
20 | 2748293.7608 | 1265933.836 | 2748320.4068 | 1265922.2895
21 | 2748256.9185 | 1265942.0774 | 2748276.8918 | 1265937.6095
22 | 2748320.4068 | 1265922.2895 | 2748342.2796 | 1265912.8113
23 | 2748365.33 | 1265902.8228 | 2748342.2796 | 1265912.8113
24 | 2748365.33 | 1265902.8228 | 2748421.0893 | 1265873.8378
25 | 2748365.33 | 1265902.8228 | 2748371.8552 | 1265912.6632 | 2748373.7046 | 1265919.9396
26 | 2748205.1849 | 1265961.1422 | 2748213.0051 | 1265956.7797
27 | 2748421.0893 | 1265873.8378 | 2748427.6366 | 1265890.0083
28 | 2748376.3807 | 1265930.469 | 2748373.7046 | 1265919.9396
29 | 2748369.5191 | 1265945.5702 | 2748350.5202 | 1265951.0704
30 | 2748350.4976 | 1265951.0769 | 2748350.5202 | 1265951.0704
31 | 2748379.4855 | 1265942.6849 | 2748369.5191 | 1265945.5702
32 | 2748379.4855 | 1265942.6849 | 2748385.4266 | 1265968.1611
33 | 2748379.4855 | 1265942.6849 | 2748376.3807 | 1265930.469
34 | 2748385.9 | 1265970.1909 | 2748385.4266 | 1265968.1611
35 | 2748205.1849 | 1265961.1422 | 2748176.8643 | 1265978.6833
36 | 2748176.8643 | 1265978.6833 | 2748156.2947 | 1265992.4011
37 | 2748176.8643 | 1265978.6833 | 2748165.8151 | 1265970.012
38 | 2748427.6366 | 1265890.0083 | 2748434.9582 | 1265908.0912
39 | 2748434.9582 | 1265908.0912 | 2748438.0275 | 1265915.6718 | 2748438.8959 | 1265918.9096
40 | 2748441.5825 | 1265928.9266 | 2748438.8959 | 1265918.9096
41 | 2748444.2954 | 1265939.0416 | 2748441.5825 | 1265928.9266
42 | 2748444.2954 | 1265939.0416 | 2748656.0649 | 1265924.0145
43 | 2748656.0649 | 1265924.0145 | 2748662.1569 | 1265936.6805 | 2748675.3189 | 1265953.3839
44 | 2748675.3189 | 1265953.3839 | 2748803.5517 | 1266035.2145
45 | 2748156.2947 | 1265992.4011 | 2748150.3139 | 1265996.3897
46 | 2748165.8151 | 1265970.012 | 2748159.7628 | 1265965.2622
47 | 2748148.5968 | 1265918.9278 | 2748146.8365 | 1265920.9402
48 | 2748148.5968 | 1265918.9278 | 2748159.7338 | 1265906.1962
49 | 2748139.1068 | 1265929.7767 | 2748146.8365 | 1265920.9402
50 | 2748184.2526 | 1265878.1786 | 2748168.6483 | 1265896.0054 | 2748159.7338 | 1265906.1962
51 | 2748139.1068 | 1265929.7767 | 2748132.9696 | 1265926.0748 | 2748128.728 | 1265923.6883 | 2748122.3616 | 1265921.015 | 2748122.3616 | 1265921.015
52 | 2748129.6786 | 1265941.6524 | 2748139.1068 | 1265929.7767
53 | 2748184.2526 | 1265878.1786 | 2748176.6744 | 1265871.8601 | 2748173.163 | 1265867.6901 | 2748171.5421 | 1265862.0327 | 2748171.3938 | 1265859.5804
54 | 2748122.3616 | 1265921.015 | 2748110.2274 | 1265917.4976
55 | 2748129.6786 | 1265941.6524 | 2748129.0108 | 1265942.4476 | 2748111.0164 | 1265963.9739 | 2748102.0374 | 1265973.6751
56 | 2748129.6786 | 1265941.6524 | 2748159.7628 | 1265965.2622
57 | 2748171.3938 | 1265859.5804 | 2748171.3238 | 1265858.4236 | 2748172.1872 | 1265848.6541
58 | 2748099.3129 | 1265914.3338 | 2748110.2274 | 1265917.4976
59 | 2748102.0374 | 1265973.6751 | 2748091.3879 | 1265985.1812 | 2748081.0431 | 1265996.9338
60 | 2748172.2875 | 1265847.5192 | 2748172.1872 | 1265848.6541
61 | 2748084.0546 | 1265909.9108 | 2748099.3129 | 1265914.3338
62 | 2748075.7557 | 1266002.9408 | 2748081.0431 | 1265996.9338
63 | 2748172.2875 | 1265847.5192 | 2748173.5243 | 1265833.5247
64 | 2748136.4889 | 1266005.6095 | 2748150.3139 | 1265996.3897
65 | 2748075.7557 | 1266002.9408 | 2748083.1183 | 1266008.8423 | 2748093.2959 | 1266018.7405
66 | 2748111.0492 | 1266014.0618 | 2748093.2959 | 1266018.7405 | 2748093.2959 | 1266018.7405
67 | 2748092.5095 | 1265856.6358 | 2748084.0546 | 1265909.9108
68 | 2748084.0546 | 1265909.9108 | 2748075.6588 | 1265908.8628
69 | 2748067.5314 | 1265907.8482 | 2748052.1681 | 1265905.9304 | 2748050.2304 | 1265905.8344
70 | 2748067.5314 | 1265907.8482 | 2748075.6588 | 1265908.8628
71 | 2748042.3319 | 1265905.4433 | 2748050.2304 | 1265905.8344
72 | 2748023.5094 | 1265904.5113 | 2748042.3319 | 1265905.4433
73 | 2748023.5094 | 1265904.5113 | 2748020.2558 | 1265904.8551
74 | 2748023.5094 | 1265904.5113 | 2748024.3512 | 1265920.7586
75 | 2748092.5095 | 1265856.6358 | 2748091.4267 | 1265840.8217
76 | 2748092.5095 | 1265856.6358 | 2748109.116 | 1265858.1094
77 | 2748016.3281 | 1265905.2702 | 2748020.2558 | 1265904.8551
78 | 2748025.4008 | 1265941.0177 | 2748024.3512 | 1265920.7586
79 | 2748086.9165 | 1265822.2167 | 2748090.5024 | 1265827.3227 | 2748091.4267 | 1265840.8217
80 | 2748109.116 | 1265858.1094 | 2748109.3483 | 1265858.13
81 | 2748016.3281 | 1265905.2702 | 2748008.6606 | 1265906.0804
82 | 2748025.4008 | 1265941.0177 | 2748026.7766 | 1265967.5728
83 | 2748086.9165 | 1265822.2167 | 2748093.5823 | 1265814.4536 | 2748100.2513 | 1265810.172 | 2748107.5474 | 1265806.7179 | 2748131.0709 | 1265806.8519
84 | 2748086.9165 | 1265822.2167 | 2748079.0502 | 1265804.5463 | 2748078.5396 | 1265803.4415
85 | 2748067.6311 | 1265823.4126 | 2748068.3924 | 1265825.2001 | 2748069.7124 | 1265826.6346 | 2748071.4298 | 1265827.5452 | 2748073.351 | 1265827.8381 | 2748075.205 | 1265827.5064 | 2748076.8552 | 1265826.5913 | 2748078.118 | 1265825.1993 | 2748078.8692 | 1265823.483 | 2748078.9679 | 1265822.2509 | 2748086.9165 | 1265822.2167
86 | 2748136.6614 | 1265862.2347 | 2748130.4465 | 1265860.8794 | 2748125.8133 | 1265858.4831 | 2748120.2539 | 1265856.9756 | 2748111.2034 | 1265858.2947 | 2748109.3483 | 1265858.13
87 | 2747987.0124 | 1265909.0311 | 2747995.0939 | 1265907.514 | 2748008.6606 | 1265906.0804
88 | 2748027.0557 | 1265974.6318 | 2748026.8958 | 1265969.8728 | 2748026.7766 | 1265967.5728
89 | 2748129.6954 | 1265819.9417 | 2748131.0709 | 1265806.8519
90 | 2748131.0709 | 1265806.8519 | 2748132.5841 | 1265792.4115
91 | 2748078.5396 | 1265803.4415 | 2748076.8189 | 1265799.718
92 | 2748067.6311 | 1265823.4126 | 2748058.6233 | 1265825.4335 | 2748046.2723 | 1265825.2943
93 | 2748138.0905 | 1265862.5464 | 2748136.6614 | 1265862.2347
94 | 2748173.5243 | 1265833.5247 | 2748174.8348 | 1265818.6963
95 | 2748143.3558 | 1265863.6946 | 2748138.0905 | 1265862.5464
96 | 2748133.0968 | 1265787.5187 | 2748132.5841 | 1265792.4115
97 | 2748045.9709 | 1265825.2909 | 2748046.2723 | 1265825.2943
98 | 2748174.8348 | 1265818.6963 | 2748176.468 | 1265800.2163 | 2748176.542 | 1265799.3013
99 | 2748176.542 | 1265799.3013 | 2748177.6767 | 1265785.2556
100 | 2748045.9709 | 1265825.2909 | 2748020.7485 | 1265825.0068 | 2748012.4046 | 1265825.3058
101 | 2748177.6767 | 1265785.2556 | 2748179.2393 | 1265765.9131
102 | 2748180.9925 | 1265744.1956 | 2748180.819 | 1265746.3045 | 2748180.063 | 1265755.7172 | 2748179.2393 | 1265765.9131
103 | 2748211.5917 | 1265734.0636 | 2748196.485 | 1265738.6451 | 2748180.9925 | 1265744.1956
104 | 2748211.5917 | 1265734.0636 | 2748233.8945 | 1265727.316 | 2748246.1551 | 1265739.7804 | 2748257.4478 | 1265746.982 | 2748267.2689 | 1265748.5854 | 2748274.4123 | 1265747.7305
105 | 2748211.5917 | 1265734.0636 | 2748211.7194 | 1265735.5795 | 2748212.4699 | 1265744.6963 | 2748212.6367 | 1265746.7581 | 2748211.2708 | 1265773.7458
106 | 2748211.5917 | 1265734.0636 | 2748229.2564 | 1265702.2692
107 | 2748211.2708 | 1265773.7458 | 2748210.9245 | 1265780.5888
108 | 2748010.3325 | 1265825.3801 | 2748012.4046 | 1265825.3058
109 | 2748010.3325 | 1265825.3801 | 2747989.6378 | 1265826.1216
110 | 2747989.6378 | 1265826.1216 | 2747982.3918 | 1265826.3813 | 2747978.0158 | 1265826.7614
111 | 2747967.2891 | 1265827.7236 | 2747967.5866 | 1265827.6675 | 2747978.0158 | 1265826.7614
112 | 2747967.2891 | 1265827.7236 | 2747957.6407 | 1265829.5427 | 2747956.4751 | 1265831.2152
113 | 2747954.1113 | 1265858.5613 | 2747953.9915 | 1265834.7788 | 2747956.4751 | 1265831.2152
114 | 2747954.1113 | 1265858.5613 | 2747939.8164 | 1265859.0461
115 | 2747954.1113 | 1265858.5613 | 2747955.0586 | 1265869.4455
116 | 2747955.0586 | 1265869.4455 | 2747955.7508 | 1265877.3985
117 | 2748122.082 | 1266011.1541 | 2748111.0492 | 1266014.0618
118 | 2748245.7934 | 1266310.2536 | 2748240.8176 | 1266311.8484
119 | 2748245.7934 | 1266310.2536 | 2748254.7199 | 1266307.3928

## bus_geodata
| x | y | coords
0 | 2748341.0523 | 1266250.6239
1 | 2748355.1209 | 1266239.1327
2 | 2748309.1955 | 1266276.6443
3 | 2748253.9495 | 1265995.455
4 | 2748296.0621 | 1266287.3716
5 | 2748239.6241 | 1265945.946
6 | 2748287.3118 | 1266293.1398
7 | 2748312.6693 | 1266312.6471
8 | 2748276.0706 | 1266300.55
9 | 2748314.7553 | 1266315.8219
10 | 2748263.8143 | 1266304.4781
11 | 2748323.0395 | 1266335.6003
12 | 2748313.9247 | 1265963.1085
13 | 2748300.2046 | 1265967.0199
14 | 2748315.9879 | 1265962.5203
15 | 2748297.9173 | 1265955.2408
16 | 2748325.4105 | 1265959.834
17 | 2748293.7608 | 1265933.836
18 | 2748276.8918 | 1265937.6095
19 | 2748320.4068 | 1265922.2895
20 | 2748256.9185 | 1265942.0774
21 | 2748342.2796 | 1265912.8113
22 | 2748365.33 | 1265902.8228
23 | 2748213.0051 | 1265956.7797
24 | 2748421.0893 | 1265873.8378
25 | 2748373.7046 | 1265919.9396
26 | 2748350.5202 | 1265951.0704
27 | 2748369.5191 | 1265945.5702
28 | 2748350.4976 | 1265951.0769
29 | 2748379.4855 | 1265942.6849
30 | 2748385.4266 | 1265968.1611
31 | 2748376.3807 | 1265930.469
32 | 2748385.9 | 1265970.1909
33 | 2748205.1849 | 1265961.1422
34 | 2748176.8643 | 1265978.6833
35 | 2748427.6366 | 1265890.0083
36 | 2748434.9582 | 1265908.0912
37 | 2748438.8959 | 1265918.9096
38 | 2748441.5825 | 1265928.9266
39 | 2748444.2954 | 1265939.0416
40 | 2748656.0649 | 1265924.0145
41 | 2748675.3189 | 1265953.3839
42 | 2748803.5517 | 1266035.2145
43 | 2748156.2947 | 1265992.4011
44 | 2748165.8151 | 1265970.012
45 | 2748148.5968 | 1265918.9278
46 | 2748146.8365 | 1265920.9402
47 | 2748159.7338 | 1265906.1962
48 | 2748139.1068 | 1265929.7767
49 | 2748184.2526 | 1265878.1786
50 | 2748122.3616 | 1265921.015
51 | 2748129.6786 | 1265941.6524
52 | 2748171.3938 | 1265859.5804
53 | 2748110.2274 | 1265917.4976
54 | 2748102.0374 | 1265973.6751
55 | 2748159.7628 | 1265965.2622
56 | 2748172.1872 | 1265848.6541
57 | 2748099.3129 | 1265914.3338
58 | 2748081.0431 | 1265996.9339
59 | 2748172.2875 | 1265847.5192
60 | 2748150.3139 | 1265996.3897
61 | 2748136.4889 | 1266005.6095
62 | 2748075.7557 | 1266002.9408
63 | 2748093.2959 | 1266018.7405
64 | 2748084.0546 | 1265909.9108
65 | 2748067.5314 | 1265907.8482
66 | 2748050.2304 | 1265905.8344
67 | 2748075.6588 | 1265908.8628
68 | 2748042.3319 | 1265905.4433
69 | 2748023.5094 | 1265904.5113
70 | 2748092.5095 | 1265856.6358
71 | 2748020.2558 | 1265904.8551
72 | 2748024.3512 | 1265920.7586
73 | 2748091.4267 | 1265840.8217
74 | 2748109.116 | 1265858.1094
75 | 2748016.3281 | 1265905.2702
76 | 2748025.4008 | 1265941.0177
77 | 2748086.9165 | 1265822.2167
78 | 2748109.3483 | 1265858.13
79 | 2748008.6606 | 1265906.0804
80 | 2748026.7766 | 1265967.5728
81 | 2747987.0124 | 1265909.0311
82 | 2748027.0557 | 1265974.6318
83 | 2748131.0709 | 1265806.8519
84 | 2748078.5396 | 1265803.4415
85 | 2748067.6311 | 1265823.4126
86 | 2748136.6614 | 1265862.2347
87 | 2748173.5243 | 1265833.5247
88 | 2748138.0905 | 1265862.5464
89 | 2748143.3558 | 1265863.6946
90 | 2748129.6954 | 1265819.9417
91 | 2748132.5841 | 1265792.4115
92 | 2748076.8189 | 1265799.718
93 | 2748046.2723 | 1265825.2943
94 | 2748174.8348 | 1265818.6963
95 | 2748176.542 | 1265799.3013
96 | 2748133.0968 | 1265787.5187
97 | 2748045.9709 | 1265825.2909
98 | 2748177.6767 | 1265785.2556
99 | 2748179.2393 | 1265765.9131
100 | 2748180.9925 | 1265744.1956
101 | 2748211.5917 | 1265734.0636
102 | 2748274.4123 | 1265747.7305
103 | 2748211.2708 | 1265773.7458
104 | 2748229.2564 | 1265702.2692
105 | 2748210.9245 | 1265780.5888
106 | 2748012.4046 | 1265825.3058
107 | 2748010.3325 | 1265825.3801
108 | 2747989.6378 | 1265826.1216
109 | 2747978.0158 | 1265826.7614
110 | 2747967.2891 | 1265827.7236
111 | 2747956.4751 | 1265831.2152
112 | 2747954.1113 | 1265858.5613
113 | 2747939.8164 | 1265859.0461
114 | 2747955.0586 | 1265869.4455
115 | 2747955.7508 | 1265877.3985
116 | 2748111.0492 | 1266014.0618
117 | 2748122.082 | 1266011.1541
118 | 2748240.8176 | 1266311.8484
119 | 2748245.7934 | 1266310.2536
120 | 2748254.7199 | 1266307.3928
121 | 2748139.1068 | 1265929.7767

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1