## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4421-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4421-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4421-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4421-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4421-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4421-5_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_4421-5_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4421-5_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_4421-5_0_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_4421-5_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4421-5_0_3_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_4421-5_0_3_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_4421-5_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4421-5_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_4421-5_0_3_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_4421-5_0_3_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_4421-5_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4421-5_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4421-5_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4421-5_0_3_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_4421-5_0_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_4421-5_0_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_4421-5_0_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_4421-5_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4421-5_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4421-5_0_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_4421-5_0_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_4421-5_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_4421-5_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_4421-5_0_3_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_4421-5_0_3_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_4421-5_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_4421-5_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_4421-5_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_4421-5_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4421-5_0_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_4421-5_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4421-5_0_3_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_4421-5_0_3_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_4421-5_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4421-5_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_4421-5_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_4421-5_0_3_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_4421-5_0_3_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_4421-5_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4421-5_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4421-5_0_3_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_4421-5_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_4421-5_0_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_4421-5_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_4421-5_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_4421-5_0_3_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_4421-5_0_3_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_4421-5_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_4421-5_0_3_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_4421-5_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_4421-5_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_4421-5_0_3_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_4421-5_0_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_4421-5_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_4421-5_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4421-5_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4421-5_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4421-5_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_4421-5_0_3_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_4421-5_0_3_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_4421-5_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_MV_47_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4421-5_0_3_load_0 | 0 | 0.0030312 | 0.0007597 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4421-5_0_3_load_32 | 7 | 0.01608 | 0.0040299 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4421-5_0_3_load_38 | 8 | 0.015005 | 0.0037607 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4421-5_0_3_load_41 | 10 | 0.015502 | 0.0038851 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4421-5_0_3_load_72 | 11 | 0.0054067 | 0.001355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4421-5_0_3_load_48 | 14 | 0.0060724 | 0.0015219 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4421-5_0_3_load_47 | 15 | 0.012624 | 0.0031638 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4421-5_0_3_load_58 | 19 | 0.0087302 | 0.002188 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4421-5_0_3_load_55 | 20 | 0.0038895 | 0.0009748 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4421-5_0_3_load_16 | 23 | 0.0091837 | 0.0023016 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4421-5_0_3_load_14 | 24 | 0.0066968 | 0.0016784 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4421-5_0_3_load_33 | 27 | 0.036758 | 0.0092124 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4421-5_0_3_load_57 | 28 | 0.0052963 | 0.0013274 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4421-5_0_3_load_56 | 29 | 0.0055077 | 0.0013804 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4421-5_0_3_load_73 | 30 | 0.010853 | 0.0027201 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4421-5_0_3_load_63 | 35 | 0.0033814 | 0.00084745 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4421-5_0_3_load_64 | 37 | 0.0050706 | 0.0012708 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4421-5_0_3_load_29 | 40 | 0.0027874 | 0.00069858 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4421-5_0_3_load_69 | 42 | 0.0042771 | 0.0010719 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4421-5_0_3_load_70 | 43 | 0.0032144 | 0.0008056 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4421-5_0_3_load_28 | 44 | 0.0049481 | 0.0012401 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4421-5_0_3_load_26 | 45 | 0.0060619 | 0.0015193 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4421-5_0_3_load_71 | 46 | 0.0066882 | 0.0016762 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4421-5_0_3_load_59 | 47 | 0.0062207 | 0.0015591 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4421-5_0_3_load_49 | 49 | 0.015471 | 0.0038774 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4421-5_0_3_load_67 | 51 | 0.0034156 | 0.00085602 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4421-5_0_3_load_65 | 52 | 0.0061164 | 0.0015329 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4421-5_0_3_load_39 | 53 | 0.0042945 | 0.0010763 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4421-5_0_3_load_30 | 54 | 0.0026415 | 0.00066203 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4421-5_0_3_load_34 | 55 | 0.0028166 | 0.0007059 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4421-5_0_3_load_54 | 56 | 0.0029405 | 0.00073695 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4421-5_0_3_load_62 | 58 | 0.0071802 | 0.0017995 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4421-5_0_3_load_53 | 59 | 0.017523 | 0.0043917 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4421-5_0_3_load_42 | 60 | 0.0067551 | 0.001693 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4421-5_0_3_load_43 | 61 | 0.01351 | 0.0033859 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4421-5_0_3_load_44 | 62 | 0.0066397 | 0.0016641 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4421-5_0_3_load_45 | 63 | 0.0017615 | 0.00044147 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4421-5_0_3_load_74 | 65 | 0.025954 | 0.0065048 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4421-5_0_3_load_61 | 66 | 0.0053031 | 0.0013291 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4421-5_0_3_line_0 |  | 0 | 1 | 0.0059873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4421-5_0_3_line_1 |  | 0 | 2 | 0.019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4421-5_0_3_line_2 |  | 1 | 3 | 0.031846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4421-5_0_3_line_3 |  | 1 | 4 | 0.04167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4421-5_0_3_line_4 |  | 2 | 5 | 0.005725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4421-5_0_3_line_5 |  | 3 | 6 | 0.034243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4421-5_0_3_line_6 |  | 3 | 7 | 0.015665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4421-5_0_3_line_7 |  | 4 | 8 | 0.025357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4421-5_0_3_line_8 |  | 5 | 15 | 0.0083327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4421-5_0_3_line_9 |  | 6 | 9 | 0.042021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4421-5_0_3_line_10 |  | 6 | 10 | 0.012622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4421-5_0_3_line_11 |  | 9 | 11 | 0.026688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4421-5_0_3_line_12 |  | 10 | 22 | 0.025442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4421-5_0_3_line_13 |  | 12 | 13 | 0.038619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4421-5_0_3_line_14 |  | 12 | 14 | 0.024692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4421-5_0_3_line_15 |  | 13 | 23 | 0.004047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4421-5_0_3_line_16 |  | 13 | 24 | 0.012898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4421-5_0_3_line_17 |  | 14 | 16 | 0.038703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4421-5_0_3_line_18 |  | 15 | 16 | 0.021044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4421-5_0_3_line_19 |  | 16 | 17 | 0.026003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4421-5_0_3_line_20 |  | 16 | 18 | 0.035628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4421-5_0_3_line_21 |  | 17 | 21 | 0.005797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4421-5_0_3_line_22 |  | 18 | 19 | 0.01736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4421-5_0_3_line_23 |  | 18 | 20 | 0.010018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4421-5_0_3_line_24 |  | 20 | 29 | 0.035877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4421-5_0_3_line_25 |  | 21 | 30 | 0.035884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4421-5_0_3_line_26 |  | 21 | 31 | 0.037092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4421-5_0_3_line_27 |  | 22 | 53 | 0.025136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4421-5_0_3_line_28 |  | 25 | 26 | 0.034982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4421-5_0_3_line_29 |  | 25 | 27 | 0.054921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4421-5_0_3_line_30 |  | 26 | 50 | 0.016877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4421-5_0_3_line_31 |  | 26 | 56 | 0.024326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4421-5_0_3_line_32 |  | 27 | 55 | 0.049457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4421-5_0_3_line_33 |  | 28 | 29 | 0.023526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4421-5_0_3_line_34 |  | 31 | 41 | 0.060924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4421-5_0_3_line_35 |  | 32 | 33 | 0.02015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4421-5_0_3_line_36 |  | 32 | 34 | 0.015154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4421-5_0_3_line_37 |  | 32 | 35 | 0.017997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4421-5_0_3_line_38 |  | 33 | 39 | 0.035828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4421-5_0_3_line_39 |  | 33 | 40 | 0.010834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4421-5_0_3_line_40 |  | 34 | 44 | 0.0084842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4421-5_0_3_line_41 |  | 34 | 45 | 0.027014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4421-5_0_3_line_42 |  | 35 | 37 | 0.029061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4421-5_0_3_line_43 |  | 36 | 37 | 0.031613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4421-5_0_3_line_44 |  | 36 | 38 | 0.0135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4421-5_0_3_line_45 |  | 38 | 51 | 0.0068846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4421-5_0_3_line_46 |  | 38 | 52 | 0.014717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4421-5_0_3_line_47 |  | 39 | 43 | 0.012147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4421-5_0_3_line_48 |  | 39 | 46 | 0.018607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4421-5_0_3_line_49 |  | 40 | 54 | 0.021894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4421-5_0_3_line_50 |  | 41 | 57 | 0.008373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4421-5_0_3_line_51 |  | 41 | 58 | 0.02376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4421-5_0_3_line_52 |  | 42 | 43 | 0.0015968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4421-5_0_3_line_53 |  | 47 | 48 | 0.0053624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4421-5_0_3_line_54 |  | 48 | 66 | 0.011552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4421-5_0_3_line_55 |  | 48 | 58 | 0.012445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4421-5_0_3_line_56 |  | 49 | 50 | 0.017901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4421-5_0_3_line_57 |  | 51 | 64 | 0.017718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4421-5_0_3_line_58 |  | 52 | 66 | 0.024349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4421-5_0_3_line_59 |  | 56 | 59 | 0.042541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4421-5_0_3_line_60 |  | 57 | 65 | 0.032831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4421-5_0_3_line_61 |  | 59 | 63 | 0.020612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4421-5_0_3_line_62 |  | 60 | 61 | 0.0018609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4421-5_0_3_line_63 |  | 60 | 62 | 0.0093606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4421-5_0_3_line_64 |  | 61 | 63 | 0.0040029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4421-5_0_3_line_65 |  | 62 | 64 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4421-5_0_3_trafo_74 | 0.63 MVA 20/0.4 kV | 67 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2752443.1447 | 1262308.8258 | 2752437.6454 | 1262311.1935
1 | 2752419.6741 | 1262318.9312 | 2752437.6454 | 1262311.1935
2 | 2752443.1447 | 1262308.8258 | 2752472.4624 | 1262296.1909
3 | 2752460.5452 | 1262346.7126 | 2752443.1447 | 1262308.8258
4 | 2752422.0727 | 1262324.1316 | 2752420.7554 | 1262321.1391 | 2752419.6741 | 1262318.9312
5 | 2752472.4624 | 1262296.1909 | 2752501.7462 | 1262283.7109 | 2752502.7449 | 1262285.9055
6 | 2752472.4624 | 1262296.1909 | 2752478.7923 | 1262310.5196
7 | 2752460.5452 | 1262346.7126 | 2752471.1884 | 1262369.7277
8 | 2752422.0727 | 1262324.1316 | 2752425.4227 | 1262331.7613
9 | 2752502.7449 | 1262285.9055 | 2752507.5157 | 1262283.8932 | 2752515.3856 | 1262301.1246 | 2752524.2565 | 1262303.5224 | 2752529.541 | 1262306.1391 | 2752530.5436 | 1262308.7676
10 | 2752502.7449 | 1262285.9055 | 2752507.9752 | 1262297.3928
11 | 2752530.5436 | 1262308.7676 | 2752524.4211 | 1262311.4569 | 2752531.1974 | 1262326.369 | 2752534.1285 | 1262328.1686 | 2752534.2057 | 1262328.3337
12 | 2752518.5177 | 1262320.5472 | 2752507.9752 | 1262297.3928
13 | 2752462.6477 | 1262400.7881 | 2752496.0175 | 1262420.4015
14 | 2752462.6477 | 1262400.7881 | 2752460.2791 | 1262399.3923 | 2752448.5053 | 1262388.2665 | 2752445.7624 | 1262383.2197
15 | 2752493.8562 | 1262423.827 | 2752496.0175 | 1262420.4015
16 | 2752496.0175 | 1262420.4015 | 2752502.8989 | 1262409.4928
17 | 2752427.4205 | 1262349.1391 | 2752436.6239 | 1262366.4049 | 2752445.7624 | 1262383.2197
18 | 2752427.4205 | 1262349.1391 | 2752431.5581 | 1262346.8323 | 2752431.0081 | 1262344.4824 | 2752425.4227 | 1262331.7613
19 | 2752427.4205 | 1262349.1391 | 2752422.7073 | 1262351.8426 | 2752429.1631 | 1262364.5774 | 2752432.0492 | 1262370.1686
20 | 2752399.2055 | 1262351.1809 | 2752418.6934 | 1262343.5086 | 2752420.0814 | 1262346.3917 | 2752422.7073 | 1262351.8426 | 2752427.4205 | 1262349.1391
21 | 2752434.6747 | 1262375.3414 | 2752432.0492 | 1262370.1686
22 | 2752399.2055 | 1262351.1809 | 2752402.5399 | 1262360.1425 | 2752405.2604 | 1262367.4503
23 | 2752399.2055 | 1262351.1809 | 2752389.788 | 1262354.5979
24 | 2752389.788 | 1262354.5979 | 2752356.0629 | 1262366.8348
25 | 2752401.3251 | 1262388.8291 | 2752434.6747 | 1262375.3414
26 | 2752434.6747 | 1262375.3414 | 2752442.919 | 1262388.5784 | 2752446.9401 | 1262393.4203 | 2752458.5342 | 1262403.3291
27 | 2752518.5177 | 1262320.5472 | 2752528.9596 | 1262343.4117
28 | 2752315.046 | 1262493.179 | 2752305.6279 | 1262483.3599 | 2752297.5739 | 1262475.8894 | 2752288.6459 | 1262470.454
29 | 2752288.6459 | 1262470.454 | 2752293.8995 | 1262468.4206 | 2752339.8457 | 1262450.5812
30 | 2752317.6615 | 1262509.8521 | 2752315.046 | 1262493.179
31 | 2752315.046 | 1262493.179 | 2752330.0448 | 1262491.4857 | 2752339.1311 | 1262493.1214
32 | 2752385.9492 | 1262432.6807 | 2752339.8457 | 1262450.5812
33 | 2752333.9624 | 1262374.9004 | 2752338.2171 | 1262373.31 | 2752356.0629 | 1262366.8348
34 | 2752447.4351 | 1262463.059 | 2752455.8832 | 1262428.3639 | 2752456.7403 | 1262413.5488 | 2752458.5342 | 1262403.3291
35 | 2752387.9017 | 1262583.1354 | 2752386.2729 | 1262577.8992 | 2752394.5847 | 1262574.7769 | 2752392.0963 | 1262569.5519
36 | 2752392.0963 | 1262569.5519 | 2752390.5803 | 1262566.6655 | 2752389.1037 | 1262562.8347 | 2752386.2606 | 1262555.5763
37 | 2752392.0963 | 1262569.5519 | 2752408.5202 | 1262562.1928
38 | 2752420.484 | 1262568.0818 | 2752411.0847 | 1262573.0335 | 2752400.5217 | 1262577.8107 | 2752387.9017 | 1262583.1354
39 | 2752387.9017 | 1262583.1354 | 2752391.2745 | 1262593.4304
40 | 2752386.2606 | 1262555.5763 | 2752383.1646 | 1262547.6772
41 | 2752386.2606 | 1262555.5763 | 2752378.7612 | 1262566.0715 | 2752365.41 | 1262570.6498
42 | 2752408.5202 | 1262562.1928 | 2752415.0047 | 1262559.2873 | 2752434.6376 | 1262549.4605
43 | 2752463.9104 | 1262537.6591 | 2752456.9467 | 1262539.9486 | 2752443.4275 | 1262545.0609 | 2752434.6376 | 1262549.4605
44 | 2752453.6264 | 1262528.9853 | 2752460.0673 | 1262533.5226 | 2752463.9104 | 1262537.6591
45 | 2752453.6264 | 1262528.9853 | 2752447.6526 | 1262525.5632
46 | 2752453.6264 | 1262528.9853 | 2752460.4026 | 1262515.9208
47 | 2752420.484 | 1262568.0818 | 2752424.0777 | 1262579.6846
48 | 2752420.484 | 1262568.0818 | 2752437.4666 | 1262560.4785
49 | 2752406.5213 | 1262600.3325 | 2752398.5965 | 1262603.3536 | 2752395.2051 | 1262602.4542 | 2752393.0796 | 1262598.9403 | 2752391.2745 | 1262593.4304
50 | 2752444.6981 | 1262470.9743 | 2752447.4351 | 1262463.059
51 | 2752447.4351 | 1262463.059 | 2752466.7931 | 1262476.8359
52 | 2752424.5501 | 1262581.2099 | 2752424.0777 | 1262579.6846
53 | 2752476.9322 | 1262484.0517 | 2752481.4843 | 1262486.8859
54 | 2752476.9322 | 1262484.0517 | 2752471.6134 | 1262494.3063
55 | 2752476.9322 | 1262484.0517 | 2752466.7931 | 1262476.8359
56 | 2752317.6615 | 1262509.8521 | 2752322.5294 | 1262527.0785
57 | 2752432.278 | 1262516.7561 | 2752447.6526 | 1262525.5632
58 | 2752460.4026 | 1262515.9208 | 2752471.6134 | 1262494.3063
59 | 2752378.5246 | 1262508.9892 | 2752375.9812 | 1262508.4305 | 2752367.3903 | 1262505.4172 | 2752345.7839 | 1262495.5841 | 2752339.1311 | 1262493.1214 | 2752339.1311 | 1262493.1214
60 | 2752424.1634 | 1262445.308 | 2752444.6981 | 1262470.9743
61 | 2752378.5246 | 1262508.9892 | 2752384.2411 | 1262510.2451 | 2752392.7486 | 1262511.2319 | 2752398.9345 | 1262511.552
62 | 2752404.7905 | 1262511.855 | 2752402.932 | 1262511.7589
63 | 2752404.7905 | 1262511.855 | 2752414.1386 | 1262512.3388
64 | 2752402.932 | 1262511.7589 | 2752398.9345 | 1262511.552
65 | 2752432.278 | 1262516.7561 | 2752425.0858 | 1262514.1681 | 2752416.3183 | 1262512.4516 | 2752414.1386 | 1262512.3388

## bus_geodata
| x | y | coords
0 | 2752437.6454 | 1262311.1935
1 | 2752443.1447 | 1262308.8258
2 | 2752419.6741 | 1262318.9312
3 | 2752472.4624 | 1262296.1909
4 | 2752460.5452 | 1262346.7126
5 | 2752422.0727 | 1262324.1316
6 | 2752502.7449 | 1262285.9055
7 | 2752478.7923 | 1262310.5196
8 | 2752471.1884 | 1262369.7277
9 | 2752530.5436 | 1262308.7676
10 | 2752507.9752 | 1262297.3928
11 | 2752534.2057 | 1262328.3337
12 | 2752462.6477 | 1262400.7881
13 | 2752496.0175 | 1262420.4015
14 | 2752445.7624 | 1262383.2197
15 | 2752425.4227 | 1262331.7613
16 | 2752427.4205 | 1262349.1391
17 | 2752432.0492 | 1262370.1686
18 | 2752399.2055 | 1262351.1809
19 | 2752405.2604 | 1262367.4503
20 | 2752389.788 | 1262354.5979
21 | 2752434.6747 | 1262375.3414
22 | 2752518.5177 | 1262320.5472
23 | 2752493.8562 | 1262423.827
24 | 2752502.8989 | 1262409.4928
25 | 2752288.6459 | 1262470.454
26 | 2752315.046 | 1262493.179
27 | 2752339.8457 | 1262450.5812
28 | 2752333.9624 | 1262374.9004
29 | 2752356.0629 | 1262366.8348
30 | 2752401.3251 | 1262388.8291
31 | 2752458.5342 | 1262403.3291
32 | 2752392.0963 | 1262569.5519
33 | 2752387.9017 | 1262583.1354
34 | 2752386.2606 | 1262555.5763
35 | 2752408.5202 | 1262562.1928
36 | 2752463.9104 | 1262537.6591
37 | 2752434.6376 | 1262549.4605
38 | 2752453.6264 | 1262528.9853
39 | 2752420.484 | 1262568.0818
40 | 2752391.2745 | 1262593.4304
41 | 2752447.4351 | 1262463.059
42 | 2752424.5501 | 1262581.2099
43 | 2752424.0777 | 1262579.6846
44 | 2752383.1646 | 1262547.6772
45 | 2752365.41 | 1262570.6498
46 | 2752437.4666 | 1262560.4785
47 | 2752481.4843 | 1262486.8859
48 | 2752476.9322 | 1262484.0517
49 | 2752322.5294 | 1262527.0785
50 | 2752317.6615 | 1262509.8521
51 | 2752447.6526 | 1262525.5632
52 | 2752460.4026 | 1262515.9208
53 | 2752528.9596 | 1262343.4117
54 | 2752406.5213 | 1262600.3325
55 | 2752385.9492 | 1262432.6807
56 | 2752339.1311 | 1262493.1214
57 | 2752444.6981 | 1262470.9743
58 | 2752466.7931 | 1262476.8359
59 | 2752378.5246 | 1262508.9892
60 | 2752404.7905 | 1262511.855
61 | 2752402.932 | 1262511.7589
62 | 2752414.1386 | 1262512.3388
63 | 2752398.9345 | 1262511.552
64 | 2752432.278 | 1262516.7561
65 | 2752424.1634 | 1262445.308
66 | 2752471.6134 | 1262494.3063
67 | 2752444.6981 | 1262470.9743

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1