## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4421-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4421-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4421-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4421-8_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4421-8_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_4421-8_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_4421-8_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4421-8_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4421-8_0_4_node_98 | 0.4 | n |  | TRUE
9 | bus_LV_4421-8_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4421-8_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_4421-8_0_4_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_4421-8_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4421-8_0_4_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_4421-8_0_4_node_100 | 0.4 | n |  | TRUE
15 | bus_LV_4421-8_0_4_node_99 | 0.4 | n |  | TRUE
16 | bus_LV_4421-8_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_4421-8_0_4_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_4421-8_0_4_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_4421-8_0_4_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_4421-8_0_4_node_88 | 0.4 | n |  | TRUE
21 | bus_LV_4421-8_0_4_node_93 | 0.4 | n |  | TRUE
22 | bus_LV_4421-8_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_4421-8_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_4421-8_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4421-8_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4421-8_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4421-8_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4421-8_0_4_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_4421-8_0_4_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_4421-8_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4421-8_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4421-8_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4421-8_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4421-8_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4421-8_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4421-8_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4421-8_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_4421-8_0_4_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_4421-8_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_4421-8_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_4421-8_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_4421-8_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_4421-8_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_4421-8_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4421-8_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4421-8_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4421-8_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4421-8_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_4421-8_0_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_4421-8_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4421-8_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_4421-8_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_4421-8_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_4421-8_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_4421-8_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_4421-8_0_4_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_4421-8_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_4421-8_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_4421-8_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4421-8_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4421-8_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_4421-8_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_4421-8_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4421-8_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4421-8_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_4421-8_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_4421-8_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_4421-8_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_4421-8_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_4421-8_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_4421-8_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4421-8_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_4421-8_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_4421-8_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_4421-8_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_4421-8_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4421-8_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_4421-8_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_4421-8_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_4421-8_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_4421-8_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_4421-8_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_4421-8_0_4_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_4421-8_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_4421-8_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_4421-8_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_4421-8_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_4421-8_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_4421-8_0_4_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4421-8_0_4_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_4421-8_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4421-8_0_4_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_4421-8_0_4_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_4421-8_0_4_node_97 | 0.4 | n |  | TRUE
95 | bus_LV_4421-8_0_4_node_96 | 0.4 | n |  | TRUE
96 | bus_MV_47_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4421-8_0_4_load_0 | 0 | 0.00089 | 0.00022305 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4421-8_0_4_load_1 | 1 | 0.0020586 | 0.00051594 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4421-8_0_4_load_22 | 5 | 0.0090121 | 0.0022586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4421-8_0_4_load_98 | 8 | 0.0034581 | 0.00086669 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4421-8_0_4_load_87 | 13 | 0.016583 | 0.0041562 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4421-8_0_4_load_100 | 14 | 0.0012074 | 0.00030261 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4421-8_0_4_load_99 | 15 | 0.048642 | 0.012191 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4421-8_0_4_load_28 | 16 | 0.0049981 | 0.0012526 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4421-8_0_4_load_42 | 17 | 0.010141 | 0.0025416 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4421-8_0_4_load_74 | 18 | 0.0085107 | 0.002133 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4421-8_0_4_load_70 | 19 | 0.0019976 | 0.00050064 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4421-8_0_4_load_88 | 20 | 0.011739 | 0.0029421 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4421-8_0_4_load_93 | 21 | 0.0017843 | 0.00044719 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4421-8_0_4_load_10 | 22 | 0.0088877 | 0.0022275 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4421-8_0_4_load_11 | 23 | 0.007064 | 0.0017704 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4421-8_0_4_load_12 | 24 | 0.020197 | 0.005062 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4421-8_0_4_load_14 | 26 | 0.0056613 | 0.0014189 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4421-8_0_4_load_91 | 28 | 0.013844 | 0.0034697 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4421-8_0_4_load_90 | 29 | 0.016872 | 0.0042284 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4421-8_0_4_load_17 | 30 | 0.0031701 | 0.0007945 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4421-8_0_4_load_18 | 31 | 0.00131 | 0.00032832 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4421-8_0_4_load_19 | 32 | 0.0042926 | 0.0010758 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4421-8_0_4_load_39 | 37 | 0.0061571 | 0.0015431 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4421-8_0_4_load_46 | 38 | 0.0037343 | 0.00093591 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4421-8_0_4_load_34 | 39 | 0.0023968 | 0.00060071 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4421-8_0_4_load_30 | 40 | 0.0070022 | 0.0017549 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4421-8_0_4_load_40 | 41 | 0.0012178 | 0.0003052 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4421-8_0_4_load_45 | 42 | 0.0044548 | 0.0011165 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4421-8_0_4_load_25 | 43 | 0.026692 | 0.0066897 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4421-8_0_4_load_26 | 44 | 0.0013853 | 0.0003472 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4421-8_0_4_load_29 | 46 | 0.0017436 | 0.00043698 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4421-8_0_4_load_31 | 47 | 0.003991 | 0.0010002 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4421-8_0_4_load_33 | 48 | 0.0018866 | 0.00047283 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4421-8_0_4_load_65 | 49 | 0.0019217 | 0.00048163 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4421-8_0_4_load_37 | 50 | 0.0025169 | 0.00063078 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4421-8_0_4_load_51 | 51 | 0.0014485 | 0.00036303 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4421-8_0_4_load_35 | 52 | 0.013696 | 0.0034325 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4421-8_0_4_load_36 | 53 | 0.0022703 | 0.00056899 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4421-8_0_4_load_44 | 55 | 0.0035317 | 0.00088513 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4421-8_0_4_load_66 | 56 | 0.0042978 | 0.0010771 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4421-8_0_4_load_41 | 57 | 0.0062199 | 0.0015588 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4421-8_0_4_load_67 | 58 | 0.0013611 | 0.00034112 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4421-8_0_4_load_47 | 59 | 0.003333 | 0.00083533 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4421-8_0_4_load_48 | 60 | 0.0032369 | 0.00081125 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4421-8_0_4_load_50 | 62 | 0.0028047 | 0.00070292 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4421-8_0_4_load_52 | 63 | 0.0019347 | 0.00048488 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4421-8_0_4_load_57 | 65 | 0.0021891 | 0.00054864 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4421-8_0_4_load_53 | 66 | 0.0022929 | 0.00057464 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4421-8_0_4_load_54 | 67 | 0.0019386 | 0.00048587 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4421-8_0_4_load_56 | 68 | 0.0012329 | 0.000309 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4421-8_0_4_load_62 | 69 | 0.0022067 | 0.00055306 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4421-8_0_4_load_58 | 70 | 0.0031652 | 0.00079328 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4421-8_0_4_load_63 | 71 | 0.0010267 | 0.00025733 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4421-8_0_4_load_59 | 72 | 0.0020587 | 0.00051595 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4421-8_0_4_load_60 | 73 | 0.0022971 | 0.00057572 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4421-8_0_4_load_61 | 74 | 0.0051144 | 0.0012818 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4421-8_0_4_load_69 | 75 | 0.00078824 | 0.00019755 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4421-8_0_4_load_68 | 76 | 0.0018378 | 0.0004606 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4421-8_0_4_load_64 | 77 | 0.0023521 | 0.00058949 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4421-8_0_4_load_71 | 78 | 0.00092924 | 0.00023289 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4421-8_0_4_load_73 | 79 | 0.0015733 | 0.00039431 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4421-8_0_4_load_75 | 80 | 0.0010779 | 0.00027015 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4421-8_0_4_load_76 | 82 | 0.0018744 | 0.00046976 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4421-8_0_4_load_89 | 83 | 0.0047414 | 0.0011883 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4421-8_0_4_load_81 | 84 | 0.0056994 | 0.0014284 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4421-8_0_4_load_77 | 85 | 0.0013596 | 0.00034076 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4421-8_0_4_load_78 | 86 | 0.0013447 | 0.00033701 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4421-8_0_4_load_79 | 87 | 0.0017284 | 0.00043317 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4421-8_0_4_load_80 | 88 | 0.0092677 | 0.0023227 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4421-8_0_4_load_82 | 89 | 0.0043976 | 0.0011021 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4421-8_0_4_load_92 | 90 | 0.0043168 | 0.0010819 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4421-8_0_4_load_84 | 92 | 0.001135 | 0.00028445 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4421-8_0_4_load_85 | 93 | 0.0036316 | 0.00091017 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4421-8_0_4_load_96 | 95 | 0.0046976 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4421-8_0_4_line_0 |  | 0 | 1 | 0.022039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4421-8_0_4_line_1 |  | 0 | 2 | 0.017764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4421-8_0_4_line_2 |  | 2 | 3 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4421-8_0_4_line_3 |  | 3 | 4 | 0.044452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4421-8_0_4_line_4 |  | 3 | 5 | 0.018066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4421-8_0_4_line_5 |  | 4 | 15 | 0.025643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_4421-8_0_4_line_6 |  | 4 | 8 | 0.016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4421-8_0_4_line_7 |  | 4 | 12 | 0.023627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_4421-8_0_4_line_8 |  | 6 | 7 | 0.033759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4421-8_0_4_line_9 |  | 6 | 8 | 0.032186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4421-8_0_4_line_10 |  | 7 | 14 | 0.028928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4421-8_0_4_line_11 |  | 9 | 10 | 0.024445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_4421-8_0_4_line_12 |  | 9 | 11 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4421-8_0_4_line_13 |  | 10 | 16 | 0.015434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4421-8_0_4_line_14 |  | 10 | 17 | 0.038724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4421-8_0_4_line_15 |  | 11 | 18 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4421-8_0_4_line_16 |  | 11 | 19 | 0.027923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4421-8_0_4_line_17 |  | 12 | 13 | 0.041018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4421-8_0_4_line_18 |  | 13 | 20 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_4421-8_0_4_line_19 |  | 15 | 21 | 0.032088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4421-8_0_4_line_20 |  | 16 | 44 | 0.021781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4421-8_0_4_line_21 |  | 17 | 54 | 0.006716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4421-8_0_4_line_22 |  | 18 | 81 | 0.024692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4421-8_0_4_line_23 |  | 19 | 78 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4421-8_0_4_line_24 |  | 21 | 27 | 0.0038862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4421-8_0_4_line_25 |  | 22 | 23 | 0.013298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4421-8_0_4_line_26 |  | 22 | 24 | 0.01013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4421-8_0_4_line_27 |  | 23 | 25 | 0.0080678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4421-8_0_4_line_28 |  | 24 | 26 | 0.015411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4421-8_0_4_line_29 |  | 25 | 27 | 0.008727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4421-8_0_4_line_30 |  | 27 | 28 | 0.040615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4421-8_0_4_line_31 |  | 28 | 29 | 0.023467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4421-8_0_4_line_32 |  | 29 | 83 | 0.023108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4421-8_0_4_line_33 |  | 30 | 31 | 7.9568e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4421-8_0_4_line_34 |  | 30 | 32 | 0.013021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4421-8_0_4_line_35 |  | 32 | 33 | 0.046615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4421-8_0_4_line_36 |  | 33 | 34 | 0.005949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4421-8_0_4_line_37 |  | 33 | 35 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4421-8_0_4_line_38 |  | 34 | 36 | 0.12221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_4421-8_0_4_line_39 |  | 34 | 37 | 0.025589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4421-8_0_4_line_40 |  | 35 | 38 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4421-8_0_4_line_41 |  | 36 | 39 | 0.02708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4421-8_0_4_line_42 |  | 36 | 40 | 0.021643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4421-8_0_4_line_43 |  | 37 | 41 | 0.024074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4421-8_0_4_line_44 |  | 38 | 42 | 0.061181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4421-8_0_4_line_45 |  | 39 | 50 | 0.015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4421-8_0_4_line_46 |  | 40 | 47 | 0.022531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4421-8_0_4_line_47 |  | 41 | 57 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4421-8_0_4_line_48 |  | 43 | 44 | 0.074769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4421-8_0_4_line_49 |  | 43 | 45 | 0.02459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4421-8_0_4_line_50 |  | 45 | 46 | 0.021867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4421-8_0_4_line_51 |  | 47 | 48 | 0.0037884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_4421-8_0_4_line_52 |  | 48 | 49 | 0.012172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_4421-8_0_4_line_53 |  | 49 | 51 | 0.012802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_4421-8_0_4_line_54 |  | 50 | 52 | 0.0021984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4421-8_0_4_line_55 |  | 51 | 61 | 0.010335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_4421-8_0_4_line_56 |  | 52 | 53 | 0.010676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4421-8_0_4_line_57 |  | 54 | 55 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_4421-8_0_4_line_58 |  | 55 | 56 | 0.013516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_4421-8_0_4_line_59 |  | 56 | 58 | 0.0080977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_4421-8_0_4_line_60 |  | 58 | 76 | 0.01585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_4421-8_0_4_line_61 |  | 59 | 60 | 0.027399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4421-8_0_4_line_62 |  | 59 | 61 | 0.022605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_4421-8_0_4_line_63 |  | 60 | 62 | 0.0086141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4421-8_0_4_line_64 |  | 62 | 63 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_4421-8_0_4_line_65 |  | 63 | 64 | 0.013529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_4421-8_0_4_line_66 |  | 64 | 65 | 0.010287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_4421-8_0_4_line_67 |  | 64 | 66 | 0.007419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4421-8_0_4_line_68 |  | 65 | 70 | 0.0035784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_4421-8_0_4_line_69 |  | 66 | 67 | 0.018835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4421-8_0_4_line_70 |  | 67 | 68 | 0.017948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4421-8_0_4_line_71 |  | 68 | 69 | 0.0083764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4421-8_0_4_line_72 |  | 69 | 71 | 0.035152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4421-8_0_4_line_73 |  | 70 | 72 | 0.014432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_4421-8_0_4_line_74 |  | 71 | 77 | 0.013562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4421-8_0_4_line_75 |  | 72 | 73 | 0.0078544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_4421-8_0_4_line_76 |  | 73 | 74 | 0.0086565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4421-8_0_4_line_77 |  | 74 | 75 | 0.0033061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_4421-8_0_4_line_78 |  | 75 | 76 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_4421-8_0_4_line_79 |  | 78 | 79 | 0.015752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4421-8_0_4_line_80 |  | 79 | 80 | 0.010715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4421-8_0_4_line_81 |  | 80 | 82 | 0.010254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4421-8_0_4_line_82 |  | 81 | 83 | 0.008957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_4421-8_0_4_line_83 |  | 81 | 84 | 0.027673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4421-8_0_4_line_84 |  | 82 | 85 | 0.0069078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4421-8_0_4_line_85 |  | 84 | 87 | 0.0021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4421-8_0_4_line_86 |  | 85 | 86 | 0.029626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4421-8_0_4_line_87 |  | 87 | 88 | 0.001998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4421-8_0_4_line_88 |  | 88 | 89 | 0.019065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4421-8_0_4_line_89 |  | 89 | 90 | 0.017803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4421-8_0_4_line_90 |  | 90 | 91 | 0.011881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4421-8_0_4_line_91 |  | 91 | 94 | 0.014151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4421-8_0_4_line_92 |  | 91 | 93 | 0.022868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4421-8_0_4_line_93 |  | 92 | 93 | 0.026057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4421-8_0_4_line_94 |  | 94 | 95 | 0.023538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4421-8_0_4_trafo_88 | 0.63 MVA 20/0.4 kV | 96 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2752517.8264 | 1262252.1351 | 2752497.5585 | 1262260.7909
1 | 2752531.6722 | 1262251.3164 | 2752531.3455 | 1262250.5405 | 2752529.8539 | 1262246.9985 | 2752517.8264 | 1262252.1351
2 | 2752531.6722 | 1262251.3164 | 2752534.157 | 1262250.2572 | 2752544.386 | 1262245.8943 | 2752543.0028 | 1262242.533
3 | 2752543.0028 | 1262242.533 | 2752544.386 | 1262245.8943 | 2752548.8675 | 1262243.9969 | 2752553.8297 | 1262256.1816 | 2752568.0529 | 1262250.3981 | 2752571.0583 | 1262257.2048
4 | 2752543.0028 | 1262242.533 | 2752545.2077 | 1262241.5111 | 2752559.5868 | 1262235.3694
5 | 2752571.0583 | 1262257.2048 | 2752581.4072 | 1262280.6663
6 | 2752571.0583 | 1262257.2048 | 2752555.4438 | 1262263.7614
7 | 2752571.0583 | 1262257.2048 | 2752568.0529 | 1262250.3981 | 2752576.916 | 1262246.089 | 2752581.6896 | 1262241.9302
8 | 2752525.7677 | 1262276.2227 | 2752530.1261 | 1262287.2684 | 2752536.0979 | 1262293.0505 | 2752541.7027 | 1262298.1558 | 2752546.4712 | 1262301.7824
9 | 2752525.7677 | 1262276.2227 | 2752555.4438 | 1262263.7614
10 | 2752546.4712 | 1262301.7824 | 2752547.7522 | 1262301.2149 | 2752554.1735 | 1262316.7406 | 2752554.6984 | 1262322.3932 | 2752556.7069 | 1262327.0247
11 | 2752674.499 | 1262169.3403 | 2752675.0291 | 1262171.5785 | 2752675.8168 | 1262174.9355 | 2752677.2425 | 1262179.2767 | 2752678.3993 | 1262182.6433 | 2752678.9059 | 1262185.5037 | 2752678.9564 | 1262188.5081 | 2752678.5275 | 1262193.1461
12 | 2752672.4252 | 1262208.76 | 2752675.4674 | 1262202.4655 | 2752678.5275 | 1262193.1461
13 | 2752674.499 | 1262169.3403 | 2752660.0412 | 1262174.7433
14 | 2752674.499 | 1262169.3403 | 2752672.9546 | 1262130.6471
15 | 2752672.4252 | 1262208.76 | 2752667.3171 | 1262218.1228
16 | 2752672.4252 | 1262208.76 | 2752681.9621 | 1262210.7637 | 2752698.4895 | 1262203.1958
17 | 2752581.6896 | 1262241.9302 | 2752590.4557 | 1262229.4103 | 2752595.7289 | 1262224.2967 | 2752612.6995 | 1262217.2157
18 | 2752612.6995 | 1262217.2157 | 2752632.2195 | 1262209.071
19 | 2752594.3576 | 1262310.0253 | 2752581.4072 | 1262280.6663
20 | 2752639.6386 | 1262182.3679 | 2752660.0412 | 1262174.7433
21 | 2752672.6868 | 1262123.9365 | 2752672.9546 | 1262130.6471
22 | 2752655.4914 | 1262239.7988 | 2752667.3171 | 1262218.1228
23 | 2752698.4895 | 1262203.1958 | 2752713.6119 | 1262196.2711
24 | 2752595.926 | 1262313.581 | 2752594.3576 | 1262310.0253
25 | 2752608.6654 | 1262340.8458 | 2752604.8977 | 1262333.0878 | 2752602.8998 | 1262328.8625
26 | 2752608.6654 | 1262340.8458 | 2752610.5593 | 1262344.7456 | 2752613.2654 | 1262349.8693
27 | 2752599.4511 | 1262321.5689 | 2752602.8998 | 1262328.8625
28 | 2752621.2401 | 1262363.0413 | 2752615.705 | 1262354.4882 | 2752613.2654 | 1262349.8693
29 | 2752599.4511 | 1262321.5689 | 2752595.926 | 1262313.581
30 | 2752595.926 | 1262313.581 | 2752602.9645 | 1262310.1591 | 2752608.1331 | 1262306.7557 | 2752612.4751 | 1262302.0852 | 2752624.835 | 1262286.0785
31 | 2752624.835 | 1262286.0785 | 2752628.9623 | 1262280.7334 | 2752638.0524 | 1262266.7073
32 | 2752650.62 | 1262247.3153 | 2752638.0524 | 1262266.7073
33 | 2752513.8197 | 1262163.0136 | 2752513.8926 | 1262162.9816
34 | 2752513.8926 | 1262162.9816 | 2752525.812 | 1262157.7413
35 | 2752562.0008 | 1262129.175 | 2752555.2951 | 1262137.5105 | 2752547.5755 | 1262144.2404 | 2752540.1765 | 1262149.644 | 2752529.3331 | 1262156.1932 | 2752525.812 | 1262157.7413
36 | 2752562.0008 | 1262129.175 | 2752565.4061 | 1262124.2912
37 | 2752562.0008 | 1262129.175 | 2752558.7859 | 1262126.9788 | 2752554.7431 | 1262120.3456
38 | 2752565.4061 | 1262124.2912 | 2752572.8441 | 1262113.5833 | 2752583.5298 | 1262093.5832 | 2752592.6799 | 1262077.0024 | 2752601.4917 | 1262066.5192 | 2752620.8097 | 1262050.0008 | 2752645.3858 | 1262035.676
39 | 2752565.4061 | 1262124.2912 | 2752585.6188 | 1262139.9832
40 | 2752554.7431 | 1262120.3456 | 2752547.5381 | 1262107.1286
41 | 2752645.3858 | 1262035.676 | 2752651.719 | 1262054.6141 | 2752654.3127 | 1262061.2355
42 | 2752645.3858 | 1262035.676 | 2752663.7226 | 1262024.1789
43 | 2752585.6188 | 1262139.9832 | 2752587.8725 | 1262141.7328 | 2752592.1288 | 1262162.522
44 | 2752506.5651 | 1262114.5177 | 2752513.4272 | 1262109.4581 | 2752514.3997 | 1262103.0322 | 2752532.0346 | 1262090.3741 | 2752539.621 | 1262092.6053 | 2752547.5381 | 1262107.1286
45 | 2752654.3127 | 1262061.2355 | 2752659.8784 | 1262075.4438
46 | 2752663.7226 | 1262024.1789 | 2752682.8118 | 1262012.21
47 | 2752580.1516 | 1262167.8753 | 2752592.1969 | 1262162.8546 | 2752592.1288 | 1262162.522
48 | 2752639.6386 | 1262182.3679 | 2752627.4808 | 1262186.9114 | 2752617.6641 | 1262188.4374 | 2752611.8985 | 1262190.4352 | 2752570.5219 | 1262209.9629
49 | 2752548.2841 | 1262220.458 | 2752570.5219 | 1262209.9629
50 | 2752528.1303 | 1262229.0804 | 2752548.2841 | 1262220.458
51 | 2752682.8118 | 1262012.21 | 2752686.0215 | 1262010.1975
52 | 2752686.0215 | 1262010.1975 | 2752696.3338 | 1262003.7317
53 | 2752707.1803 | 1261996.931 | 2752696.3338 | 1262003.7317
54 | 2752660.6802 | 1262077.4907 | 2752659.8784 | 1262075.4438
55 | 2752715.9361 | 1261991.4411 | 2752707.1803 | 1261996.931
56 | 2752660.6802 | 1262077.4907 | 2752664.5739 | 1262087.4309
57 | 2752672.6868 | 1262123.9365 | 2752682.8055 | 1262118.2033
58 | 2752694.5651 | 1262111.5404 | 2752682.8055 | 1262118.2033
59 | 2752694.5651 | 1262111.5404 | 2752701.6104 | 1262107.5485
60 | 2752715.4005 | 1262099.7352 | 2752701.6104 | 1262107.5485
61 | 2752728.4085 | 1262010.2938 | 2752730.0401 | 1262012.7601 | 2752742.8944 | 1262033.5487
62 | 2752715.9361 | 1261991.4411 | 2752728.4085 | 1262010.2938
63 | 2752742.8944 | 1262033.5487 | 2752747.4246 | 1262040.8753
64 | 2752747.4246 | 1262040.8753 | 2752758.9534 | 1262059.5203
65 | 2752766.0684 | 1262071.0271 | 2752758.9534 | 1262059.5203
66 | 2752766.0684 | 1262071.0271 | 2752757.118 | 1262076.0983
67 | 2752766.0684 | 1262071.0271 | 2752772.2359 | 1262066.9037
68 | 2752757.118 | 1262076.0983 | 2752754.0046 | 1262077.8624
69 | 2752772.2359 | 1262066.9037 | 2752782.822 | 1262059.8262 | 2752788.2703 | 1262057.0799
70 | 2752803.7717 | 1262062.4126 | 2752802.6452 | 1262060.817 | 2752796.2374 | 1262056.4471 | 2752790.3989 | 1262056.0069 | 2752788.2703 | 1262057.0799
71 | 2752808.6027 | 1262069.2554 | 2752803.7717 | 1262062.4126
72 | 2752808.6027 | 1262069.2554 | 2752820.3456 | 1262085.8885 | 2752825.9996 | 1262086.7577 | 2752833.6895 | 1262081.9461
73 | 2752741.4482 | 1262084.9767 | 2752754.0046 | 1262077.8624
74 | 2752845.1864 | 1262074.7524 | 2752833.6895 | 1262081.9461
75 | 2752741.4482 | 1262084.9767 | 2752734.6145 | 1262088.8487
76 | 2752734.6145 | 1262088.8487 | 2752727.0829 | 1262093.116
77 | 2752724.2065 | 1262094.7458 | 2752727.0829 | 1262093.116
78 | 2752715.4005 | 1262099.7352 | 2752724.2065 | 1262094.7458
79 | 2752727.9342 | 1262189.7129 | 2752713.6119 | 1262196.2711
80 | 2752727.9342 | 1262189.7129 | 2752729.7628 | 1262188.8755 | 2752738.4471 | 1262188.2881
81 | 2752738.4471 | 1262188.2881 | 2752738.4471 | 1262188.2881 | 2752742.8214 | 1262197.5617
82 | 2752655.4914 | 1262239.7988 | 2752650.62 | 1262247.3153
83 | 2752655.4914 | 1262239.7988 | 2752660.3115 | 1262243.4714 | 2752667.6628 | 1262263.7964
84 | 2752742.8214 | 1262197.5617 | 2752745.7684 | 1262203.8093
85 | 2752668.3863 | 1262265.7967 | 2752667.6628 | 1262263.7964
86 | 2752758.4074 | 1262230.604 | 2752745.7684 | 1262203.8093
87 | 2752668.3863 | 1262265.7967 | 2752669.0659 | 1262267.6755
88 | 2752669.0659 | 1262267.6755 | 2752675.5504 | 1262285.6039
89 | 2752681.6056 | 1262302.3453 | 2752675.5504 | 1262285.6039
90 | 2752685.6468 | 1262313.5184 | 2752681.6056 | 1262302.3453
91 | 2752685.6468 | 1262313.5184 | 2752678.2341 | 1262325.5837
92 | 2752685.6468 | 1262313.5184 | 2752707.4032 | 1262306.4765
93 | 2752732.194 | 1262298.4526 | 2752707.4032 | 1262306.4765
94 | 2752678.2341 | 1262325.5837 | 2752666.0888 | 1262345.7461

## bus_geodata
| x | y | coords
0 | 2752517.8264 | 1262252.1351
1 | 2752497.5585 | 1262260.7909
2 | 2752531.6722 | 1262251.3164
3 | 2752543.0028 | 1262242.533
4 | 2752571.0583 | 1262257.2048
5 | 2752559.5868 | 1262235.3694
6 | 2752525.7677 | 1262276.2227
7 | 2752546.4712 | 1262301.7824
8 | 2752555.4438 | 1262263.7614
9 | 2752678.5275 | 1262193.1461
10 | 2752674.499 | 1262169.3403
11 | 2752672.4252 | 1262208.76
12 | 2752581.6896 | 1262241.9302
13 | 2752612.6995 | 1262217.2157
14 | 2752556.7069 | 1262327.0247
15 | 2752581.4072 | 1262280.6663
16 | 2752660.0412 | 1262174.7433
17 | 2752672.9546 | 1262130.6471
18 | 2752667.3171 | 1262218.1228
19 | 2752698.4895 | 1262203.1958
20 | 2752632.2195 | 1262209.071
21 | 2752594.3576 | 1262310.0253
22 | 2752608.6654 | 1262340.8458
23 | 2752602.8998 | 1262328.8625
24 | 2752613.2654 | 1262349.8693
25 | 2752599.4511 | 1262321.5689
26 | 2752621.2401 | 1262363.0413
27 | 2752595.926 | 1262313.581
28 | 2752624.835 | 1262286.0785
29 | 2752638.0524 | 1262266.7073
30 | 2752513.8926 | 1262162.9816
31 | 2752513.8197 | 1262163.0136
32 | 2752525.812 | 1262157.7413
33 | 2752562.0008 | 1262129.175
34 | 2752565.4061 | 1262124.2912
35 | 2752554.7431 | 1262120.3456
36 | 2752645.3858 | 1262035.676
37 | 2752585.6188 | 1262139.9832
38 | 2752547.5381 | 1262107.1286
39 | 2752654.3127 | 1262061.2355
40 | 2752663.7226 | 1262024.1789
41 | 2752592.1288 | 1262162.522
42 | 2752506.5651 | 1262114.5177
43 | 2752570.5219 | 1262209.9628
44 | 2752639.6386 | 1262182.3679
45 | 2752548.2841 | 1262220.458
46 | 2752528.1303 | 1262229.0804
47 | 2752682.8118 | 1262012.21
48 | 2752686.0215 | 1262010.1975
49 | 2752696.3338 | 1262003.7317
50 | 2752659.8784 | 1262075.4438
51 | 2752707.1803 | 1261996.931
52 | 2752660.6802 | 1262077.4907
53 | 2752664.5739 | 1262087.4309
54 | 2752672.6868 | 1262123.9365
55 | 2752682.8055 | 1262118.2033
56 | 2752694.5651 | 1262111.5404
57 | 2752580.1516 | 1262167.8753
58 | 2752701.6104 | 1262107.5485
59 | 2752728.4085 | 1262010.2938
60 | 2752742.8944 | 1262033.5487
61 | 2752715.9361 | 1261991.4411
62 | 2752747.4246 | 1262040.8753
63 | 2752758.9534 | 1262059.5203
64 | 2752766.0684 | 1262071.0271
65 | 2752757.118 | 1262076.0983
66 | 2752772.2359 | 1262066.9037
67 | 2752788.2703 | 1262057.0799
68 | 2752803.7717 | 1262062.4126
69 | 2752808.6027 | 1262069.2554
70 | 2752754.0046 | 1262077.8624
71 | 2752833.6895 | 1262081.9461
72 | 2752741.4482 | 1262084.9767
73 | 2752734.6145 | 1262088.8487
74 | 2752727.0829 | 1262093.116
75 | 2752724.2065 | 1262094.7458
76 | 2752715.4005 | 1262099.7352
77 | 2752845.1864 | 1262074.7524
78 | 2752713.6119 | 1262196.2711
79 | 2752727.9342 | 1262189.7129
80 | 2752738.4471 | 1262188.2881
81 | 2752655.4914 | 1262239.7988
82 | 2752742.8214 | 1262197.5617
83 | 2752650.62 | 1262247.3153
84 | 2752667.6628 | 1262263.7964
85 | 2752745.7684 | 1262203.8093
86 | 2752758.4074 | 1262230.604
87 | 2752668.3863 | 1262265.7967
88 | 2752669.0659 | 1262267.6755
89 | 2752675.5504 | 1262285.6039
90 | 2752681.6056 | 1262302.3453
91 | 2752685.6468 | 1262313.5184
92 | 2752732.194 | 1262298.4526
93 | 2752707.4032 | 1262306.4765
94 | 2752678.2341 | 1262325.5837
95 | 2752666.0888 | 1262345.7461
96 | 2752678.5275 | 1262193.1461

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1