## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4436-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4436-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4436-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4436-13_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4436-13_0_4_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_4436-13_0_4_node_96 | 0.4 | n |  | TRUE
6 | bus_LV_4436-13_0_4_node_89 | 0.4 | n |  | TRUE
7 | bus_LV_4436-13_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4436-13_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_4436-13_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_4436-13_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4436-13_0_4_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_4436-13_0_4_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_4436-13_0_4_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_4436-13_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4436-13_0_4_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_4436-13_0_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_4436-13_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_4436-13_0_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_4436-13_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4436-13_0_4_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_4436-13_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_4436-13_0_4_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_4436-13_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_4436-13_0_4_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_4436-13_0_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_4436-13_0_4_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_4436-13_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4436-13_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_4436-13_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4436-13_0_4_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_4436-13_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_4436-13_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_4436-13_0_4_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_4436-13_0_4_node_3 | 0.4 | n |  | TRUE
35 | bus_LV_4436-13_0_4_node_5 | 0.4 | n |  | TRUE
36 | bus_LV_4436-13_0_4_node_7 | 0.4 | n |  | TRUE
37 | bus_LV_4436-13_0_4_node_8 | 0.4 | n |  | TRUE
38 | bus_LV_4436-13_0_4_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_4436-13_0_4_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_4436-13_0_4_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_4436-13_0_4_node_12 | 0.4 | n |  | TRUE
42 | bus_LV_4436-13_0_4_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_4436-13_0_4_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_4436-13_0_4_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_4436-13_0_4_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_4436-13_0_4_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_4436-13_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_4436-13_0_4_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_4436-13_0_4_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_4436-13_0_4_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_4436-13_0_4_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_4436-13_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_4436-13_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_4436-13_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4436-13_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_4436-13_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_4436-13_0_4_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_4436-13_0_4_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_4436-13_0_4_node_30 | 0.4 | n |  | TRUE
60 | bus_LV_4436-13_0_4_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_4436-13_0_4_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_4436-13_0_4_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_4436-13_0_4_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_4436-13_0_4_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_4436-13_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4436-13_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_4436-13_0_4_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_4436-13_0_4_node_102 | 0.4 | n |  | TRUE
69 | bus_LV_4436-13_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_4436-13_0_4_node_37 | 0.4 | n |  | TRUE
71 | bus_LV_4436-13_0_4_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_4436-13_0_4_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_4436-13_0_4_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_4436-13_0_4_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_4436-13_0_4_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_4436-13_0_4_node_101 | 0.4 | n |  | TRUE
77 | bus_LV_4436-13_0_4_node_42 | 0.4 | n |  | TRUE
78 | bus_LV_4436-13_0_4_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_4436-13_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_4436-13_0_4_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_4436-13_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_4436-13_0_4_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_4436-13_0_4_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_4436-13_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_4436-13_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_4436-13_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_4436-13_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_4436-13_0_4_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_4436-13_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_4436-13_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_4436-13_0_4_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_4436-13_0_4_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_4436-13_0_4_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_4436-13_0_4_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_4436-13_0_4_node_99 | 0.4 | n |  | TRUE
96 | bus_MV_437_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4436-13_0_4_load_0 | 0 | 0.033682 | 0.0084416 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4436-13_0_4_load_6 | 3 | 0.010794 | 0.0027052 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4436-13_0_4_load_96 | 5 | 0.0017613 | 0.00044142 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4436-13_0_4_load_89 | 6 | 0.0014586 | 0.00036555 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4436-13_0_4_load_4 | 7 | 0.0043228 | 0.0010834 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4436-13_0_4_load_9 | 10 | 0.085383 | 0.021399 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4436-13_0_4_load_56 | 11 | 0.0053664 | 0.0013449 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4436-13_0_4_load_57 | 12 | 0.0058726 | 0.0014718 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4436-13_0_4_load_55 | 13 | 0.0017301 | 0.00043361 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4436-13_0_4_load_46 | 16 | 0.0094378 | 0.0023653 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4436-13_0_4_load_58 | 18 | 0.0017173 | 0.00043041 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4436-13_0_4_load_66 | 20 | 0.00136 | 0.00034084 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4436-13_0_4_load_63 | 22 | 0.0043347 | 0.0010864 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4436-13_0_4_load_61 | 24 | 0.0035592 | 0.00089203 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4436-13_0_4_load_62 | 25 | 0.0023517 | 0.0005894 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4436-13_0_4_load_59 | 26 | 0.0042183 | 0.0010572 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4436-13_0_4_load_29 | 28 | 0.0060694 | 0.0015211 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4436-13_0_4_load_60 | 30 | 0.0032785 | 0.00082168 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4436-13_0_4_load_39 | 33 | 0.0068494 | 0.0017166 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4436-13_0_4_load_3 | 34 | 0.0046378 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4436-13_0_4_load_7 | 36 | 0.0018861 | 0.00047271 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4436-13_0_4_load_8 | 37 | 0.0016736 | 0.00041943 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4436-13_0_4_load_69 | 38 | 0.0014664 | 0.00036752 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4436-13_0_4_load_70 | 39 | 0.0020398 | 0.00051123 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4436-13_0_4_load_71 | 40 | 0.0020444 | 0.00051237 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4436-13_0_4_load_12 | 41 | 0.0020113 | 0.00050408 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4436-13_0_4_load_79 | 42 | 0.002479 | 0.00062128 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4436-13_0_4_load_97 | 43 | 0.0012597 | 0.00031572 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4436-13_0_4_load_64 | 44 | 0.0033288 | 0.00083427 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4436-13_0_4_load_67 | 45 | 0.0014065 | 0.0003525 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4436-13_0_4_load_83 | 46 | 0.0027061 | 0.0006782 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4436-13_0_4_load_54 | 47 | 0.0012675 | 0.00031766 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4436-13_0_4_load_78 | 48 | 0.0014602 | 0.00036597 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4436-13_0_4_load_91 | 49 | 0.0010648 | 0.00026685 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4436-13_0_4_load_90 | 50 | 0.0030896 | 0.00077433 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4436-13_0_4_load_75 | 51 | 0.0021431 | 0.0005371 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4436-13_0_4_load_33 | 52 | 0.010026 | 0.0025128 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4436-13_0_4_load_47 | 53 | 0.0089376 | 0.00224 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4436-13_0_4_load_52 | 55 | 0.0073457 | 0.001841 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4436-13_0_4_load_53 | 56 | 0.00064574 | 0.00016184 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4436-13_0_4_load_100 | 57 | 0.00083789 | 0.00020999 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4436-13_0_4_load_82 | 58 | 0.0018024 | 0.00045173 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4436-13_0_4_load_30 | 59 | 0.011787 | 0.002954 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4436-13_0_4_load_34 | 62 | 0.0057547 | 0.0014423 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4436-13_0_4_load_74 | 64 | 0.00095473 | 0.00023928 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4436-13_0_4_load_44 | 65 | 0.0064469 | 0.0016158 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4436-13_0_4_load_102 | 68 | 0.011292 | 0.00283 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4436-13_0_4_load_50 | 72 | 0.0087142 | 0.002184 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4436-13_0_4_load_73 | 73 | 0.0023801 | 0.0005965 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4436-13_0_4_load_49 | 74 | 0.0090536 | 0.002269 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4436-13_0_4_load_101 | 76 | 0.0050884 | 0.0012753 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4436-13_0_4_load_42 | 77 | 0.0093448 | 0.002342 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4436-13_0_4_load_98 | 78 | 0.00096497 | 0.00024184 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4436-13_0_4_load_81 | 80 | 0.0029343 | 0.0007354 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4436-13_0_4_load_68 | 81 | 0.0064766 | 0.0016232 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4436-13_0_4_load_84 | 82 | 0.0022874 | 0.00057328 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4436-13_0_4_load_65 | 83 | 0.0028974 | 0.00072615 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4436-13_0_4_load_76 | 84 | 0.0022105 | 0.00055401 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4436-13_0_4_load_77 | 85 | 0.0011048 | 0.0002769 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4436-13_0_4_load_72 | 86 | 0.0019233 | 0.00048202 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4436-13_0_4_load_87 | 87 | 0.0022182 | 0.00055593 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4436-13_0_4_load_85 | 89 | 0.003064 | 0.00076792 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4436-13_0_4_load_88 | 90 | 0.0022669 | 0.00056813 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4436-13_0_4_load_92 | 91 | 0.0075766 | 0.0018989 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4436-13_0_4_load_93 | 92 | 0.0057867 | 0.0014503 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4436-13_0_4_load_94 | 93 | 0.0020529 | 0.0005145 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4436-13_0_4_load_95 | 94 | 0.0025898 | 0.00064906 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4436-13_0_4_load_99 | 95 | 0.003627 | 0.00090901 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4436-13_0_4_line_0 |  | 0 | 1 | 0.0061671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4436-13_0_4_line_1 |  | 1 | 2 | 0.018888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4436-13_0_4_line_2 |  | 2 | 3 | 0.017152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4436-13_0_4_line_3 |  | 3 | 7 | 0.01487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4436-13_0_4_line_4 |  | 4 | 5 | 0.029764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4436-13_0_4_line_5 |  | 4 | 6 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4436-13_0_4_line_6 |  | 5 | 47 | 0.015595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4436-13_0_4_line_7 |  | 6 | 48 | 0.017785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4436-13_0_4_line_8 |  | 7 | 34 | 0.02071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4436-13_0_4_line_9 |  | 8 | 9 | 0.010401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4436-13_0_4_line_10 |  | 8 | 10 | 0.023021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4436-13_0_4_line_11 |  | 9 | 11 | 0.015358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4436-13_0_4_line_12 |  | 9 | 12 | 0.036639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4436-13_0_4_line_13 |  | 9 | 13 | 0.024108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4436-13_0_4_line_14 |  | 11 | 27 | 0.019078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4436-13_0_4_line_15 |  | 12 | 42 | 0.012463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4436-13_0_4_line_16 |  | 13 | 17 | 0.01629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4436-13_0_4_line_17 |  | 14 | 15 | 0.005986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4436-13_0_4_line_18 |  | 14 | 16 | 0.012462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4436-13_0_4_line_19 |  | 15 | 33 | 0.019368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4436-13_0_4_line_20 |  | 17 | 18 | 0.024553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4436-13_0_4_line_21 |  | 18 | 43 | 0.019122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4436-13_0_4_line_22 |  | 19 | 20 | 0.020488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4436-13_0_4_line_23 |  | 19 | 21 | 0.009832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4436-13_0_4_line_24 |  | 19 | 22 | 0.02611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4436-13_0_4_line_25 |  | 20 | 38 | 0.016084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4436-13_0_4_line_26 |  | 21 | 27 | 0.010486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4436-13_0_4_line_27 |  | 21 | 28 | 0.0028118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4436-13_0_4_line_28 |  | 22 | 44 | 0.023082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4436-13_0_4_line_29 |  | 23 | 24 | 0.01125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4436-13_0_4_line_30 |  | 23 | 25 | 0.02731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4436-13_0_4_line_31 |  | 23 | 26 | 0.022297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4436-13_0_4_line_32 |  | 24 | 45 | 0.019908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4436-13_0_4_line_33 |  | 25 | 46 | 0.0074723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4436-13_0_4_line_34 |  | 26 | 29 | 0.012502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4436-13_0_4_line_35 |  | 27 | 29 | 0.005386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4436-13_0_4_line_36 |  | 28 | 41 | 0.0084269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4436-13_0_4_line_37 |  | 29 | 30 | 0.026537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4436-13_0_4_line_38 |  | 31 | 32 | 0.009494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4436-13_0_4_line_39 |  | 31 | 33 | 0.012097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4436-13_0_4_line_40 |  | 32 | 54 | 0.015036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4436-13_0_4_line_41 |  | 32 | 53 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4436-13_0_4_line_42 |  | 34 | 35 | 0.023325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4436-13_0_4_line_43 |  | 35 | 36 | 0.0030847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4436-13_0_4_line_44 |  | 35 | 37 | 0.0060005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4436-13_0_4_line_45 |  | 36 | 38 | 0.014744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_4436-13_0_4_line_46 |  | 37 | 39 | 0.0086113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4436-13_0_4_line_47 |  | 39 | 40 | 0.00039145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4436-13_0_4_line_48 |  | 40 | 86 | 0.0092247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4436-13_0_4_line_49 |  | 43 | 78 | 0.027077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4436-13_0_4_line_50 |  | 44 | 83 | 0.00025944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4436-13_0_4_line_51 |  | 45 | 81 | 2.3903e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4436-13_0_4_line_52 |  | 46 | 82 | 0.01859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4436-13_0_4_line_53 |  | 47 | 56 | 0.0096793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4436-13_0_4_line_54 |  | 48 | 85 | 0.019864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4436-13_0_4_line_55 |  | 49 | 50 | 0.021446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4436-13_0_4_line_56 |  | 50 | 81 | 0.012919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4436-13_0_4_line_57 |  | 51 | 52 | 0.030177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4436-13_0_4_line_58 |  | 52 | 60 | 0.017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4436-13_0_4_line_59 |  | 54 | 69 | 0.014466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4436-13_0_4_line_60 |  | 54 | 72 | 0.011771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4436-13_0_4_line_61 |  | 55 | 56 | 0.055566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4436-13_0_4_line_62 |  | 57 | 58 | 0.020766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4436-13_0_4_line_63 |  | 58 | 79 | 0.019114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4436-13_0_4_line_64 |  | 59 | 60 | 0.023674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4436-13_0_4_line_65 |  | 59 | 61 | 0.015433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4436-13_0_4_line_66 |  | 60 | 62 | 0.012447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4436-13_0_4_line_67 |  | 61 | 63 | 0.017841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4436-13_0_4_line_68 |  | 62 | 64 | 0.014264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4436-13_0_4_line_69 |  | 63 | 65 | 0.012724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4436-13_0_4_line_70 |  | 63 | 66 | 0.018004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4436-13_0_4_line_71 |  | 64 | 73 | 0.0098501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4436-13_0_4_line_72 |  | 65 | 70 | 0.01343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4436-13_0_4_line_73 |  | 66 | 74 | 0.01253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4436-13_0_4_line_74 |  | 66 | 75 | 0.013695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4436-13_0_4_line_75 |  | 67 | 68 | 0.003576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4436-13_0_4_line_76 |  | 67 | 69 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4436-13_0_4_line_77 |  | 69 | 76 | 0.017491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4436-13_0_4_line_78 |  | 70 | 71 | 0.023217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4436-13_0_4_line_79 |  | 71 | 72 | 0.019695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4436-13_0_4_line_80 |  | 73 | 86 | 0.00097627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4436-13_0_4_line_81 |  | 75 | 77 | 0.012543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4436-13_0_4_line_82 |  | 78 | 95 | 0.024068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4436-13_0_4_line_83 |  | 79 | 80 | 0.015776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4436-13_0_4_line_84 |  | 80 | 87 | 0.016971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4436-13_0_4_line_85 |  | 82 | 89 | 0.0017168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4436-13_0_4_line_86 |  | 83 | 84 | 0.011516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4436-13_0_4_line_87 |  | 84 | 85 | 0.0057432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4436-13_0_4_line_88 |  | 87 | 88 | 0.011234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4436-13_0_4_line_89 |  | 88 | 90 | 0.01092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4436-13_0_4_line_90 |  | 88 | 89 | 0.03039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4436-13_0_4_line_91 |  | 90 | 91 | 0.0016993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4436-13_0_4_line_92 |  | 91 | 92 | 0.024467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4436-13_0_4_line_93 |  | 92 | 93 | 0.01465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4436-13_0_4_line_94 |  | 93 | 94 | 0.009203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4436-13_0_4_trafo_66 | 0.63 MVA 20/0.4 kV | 96 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2745873.7705 | 1270526.5313 | 2745867.8876 | 1270528.3821
1 | 2745891.8336 | 1270520.8383 | 2745873.7705 | 1270526.5313
2 | 2745891.8336 | 1270520.8383 | 2745886.87 | 1270504.4197
3 | 2745886.87 | 1270504.4197 | 2745882.5669 | 1270490.1859
4 | 2745839.5242 | 1270346.1034 | 2745844.3685 | 1270347.1574 | 2745868.7215 | 1270351.8809
5 | 2745839.5242 | 1270346.1034 | 2745836.9994 | 1270359.8033
6 | 2745868.7215 | 1270351.8809 | 2745884.0315 | 1270354.8505
7 | 2745833.7759 | 1270377.2939 | 2745836.9994 | 1270359.8033
8 | 2745876.5918 | 1270470.3573 | 2745877.1486 | 1270472.3933 | 2745878.1729 | 1270475.722 | 2745879.9628 | 1270481.5721 | 2745882.5669 | 1270490.1859
9 | 2745799.8502 | 1270504.395 | 2745805.0386 | 1270505.2239 | 2745810.1222 | 1270506.028
10 | 2745810.1222 | 1270506.028 | 2745806.5384 | 1270528.7684
11 | 2745799.8502 | 1270504.395 | 2745802.5302 | 1270489.2722
12 | 2745799.8502 | 1270504.395 | 2745795.9516 | 1270503.7648 | 2745763.3162 | 1270505.6562
13 | 2745799.8502 | 1270504.395 | 2745795.5537 | 1270528.1175
14 | 2745805.8593 | 1270470.4869 | 2745802.5302 | 1270489.2722
15 | 2745750.8739 | 1270506.3773 | 2745763.3162 | 1270505.6562
16 | 2745792.6506 | 1270544.1464 | 2745795.5537 | 1270528.1175
17 | 2745955.1365 | 1270520.5907 | 2745955.9265 | 1270523.3463 | 2745956.7781 | 1270526.3482
18 | 2745956.7781 | 1270526.3482 | 2745968.7674 | 1270522.9477
19 | 2745955.1365 | 1270520.5907 | 2745936.5048 | 1270525.8808
20 | 2745792.6506 | 1270544.1464 | 2745768.195 | 1270546.3361
21 | 2745749.1497 | 1270548.0413 | 2745768.195 | 1270546.3361
22 | 2745818.027 | 1270462.4235 | 2745819.3439 | 1270462.1335 | 2745822.1565 | 1270461.3243 | 2745837.7844 | 1270457.0078
23 | 2745816.2224 | 1270472.0887 | 2745818.027 | 1270462.4235
24 | 2745818.027 | 1270462.4235 | 2745822.3207 | 1270439.4507 | 2745822.8172 | 1270436.7563
25 | 2745853.2732 | 1270452.6749 | 2745847.5244 | 1270454.288 | 2745840.748 | 1270456.1892 | 2745837.7844 | 1270457.0078
26 | 2745805.8593 | 1270470.4869 | 2745811.0485 | 1270471.2824 | 2745816.2224 | 1270472.0887
27 | 2745816.2224 | 1270472.0887 | 2745815.725 | 1270474.8561
28 | 2745822.8172 | 1270436.7563 | 2745827.0007 | 1270414.0567
29 | 2745813.3684 | 1270431.0101 | 2745815.3909 | 1270419.9432
30 | 2745813.3684 | 1270431.0101 | 2745808.7609 | 1270430.1288 | 2745786.4717 | 1270426.2786
31 | 2745813.3684 | 1270431.0101 | 2745809.1571 | 1270452.9055
32 | 2745815.3909 | 1270419.9432 | 2745818.9697 | 1270400.3595
33 | 2745786.4717 | 1270426.2786 | 2745779.1084 | 1270425.0066
34 | 2745806.7958 | 1270465.1824 | 2745809.1571 | 1270452.9055
35 | 2745806.7958 | 1270465.1824 | 2745805.8593 | 1270470.4869
36 | 2745814.2343 | 1270483.1501 | 2745815.725 | 1270474.8561
37 | 2745806.7958 | 1270465.1824 | 2745780.6901 | 1270469.9504
38 | 2745924.8676 | 1270529.1849 | 2745922.2556 | 1270520.0556
39 | 2745924.8676 | 1270529.1849 | 2745936.5048 | 1270525.8808
40 | 2745918.1269 | 1270505.5945 | 2745922.2556 | 1270520.0556
41 | 2745922.2556 | 1270520.0556 | 2745908.5017 | 1270523.9573
42 | 2745870.4385 | 1270447.8584 | 2745876.5918 | 1270470.3573
43 | 2745870.4385 | 1270447.8584 | 2745867.4686 | 1270448.6917
44 | 2745870.4385 | 1270447.8584 | 2745876.2161 | 1270446.2382
45 | 2745853.2732 | 1270452.6749 | 2745867.4686 | 1270448.6917
46 | 2745876.2161 | 1270446.2382 | 2745884.5075 | 1270443.913
47 | 2745884.5075 | 1270443.913 | 2745884.8845 | 1270443.8073
48 | 2745884.8845 | 1270443.8073 | 2745893.7665 | 1270441.3165
49 | 2745749.1497 | 1270548.0413 | 2745722.1804 | 1270550.4561
50 | 2745827.0007 | 1270414.0567 | 2745827.0477 | 1270413.8015
51 | 2745818.9697 | 1270400.3595 | 2745818.974 | 1270400.336
52 | 2745760.6275 | 1270425.0922 | 2745774.0497 | 1270424.1328 | 2745779.1084 | 1270425.0066
53 | 2745884.0315 | 1270354.8505 | 2745893.5337 | 1270356.6935
54 | 2745830.1758 | 1270396.8285 | 2745833.7759 | 1270377.2939
55 | 2745821.2964 | 1270387.6276 | 2745825.1517 | 1270366.5313
56 | 2745818.974 | 1270400.336 | 2745821.2964 | 1270387.6276
57 | 2745946.7773 | 1270425.549 | 2745959.5059 | 1270421.8433 | 2745972.594 | 1270411.1198
58 | 2745929.7163 | 1270430.5161 | 2745946.7773 | 1270425.549
59 | 2745918.1269 | 1270505.5945 | 2745914.1503 | 1270491.6822
60 | 2745918.1269 | 1270505.5945 | 2745929.4967 | 1270502.5471
61 | 2745948.083 | 1270367.2739 | 2745893.5337 | 1270356.6935
62 | 2745716.5996 | 1270468.9232 | 2745695.9338 | 1270466.8859
63 | 2745735.6216 | 1270470.7984 | 2745716.5996 | 1270468.9232
64 | 2745929.7163 | 1270430.5161 | 2745936.042 | 1270453.3293
65 | 2745940.1657 | 1270468.2012 | 2745936.042 | 1270453.3293
66 | 2745929.7163 | 1270430.5161 | 2745917.7963 | 1270434.1004
67 | 2745957.3738 | 1270463.3103 | 2745940.1657 | 1270468.2012
68 | 2745904.1368 | 1270438.2077 | 2745917.7963 | 1270434.1004
69 | 2745957.3738 | 1270463.3103 | 2745961.4334 | 1270475.3692
70 | 2745957.3738 | 1270463.3103 | 2745974.7409 | 1270458.3789
71 | 2745894.704 | 1270441.0442 | 2745904.1368 | 1270438.2077
72 | 2745965.7182 | 1270488.0971 | 2745961.4334 | 1270475.3692
73 | 2745974.7409 | 1270458.3789 | 2745971.4958 | 1270446.2769
74 | 2745974.7409 | 1270458.3789 | 2745987.9537 | 1270454.635
75 | 2745909.8966 | 1270476.7954 | 2745908.9127 | 1270473.3566
76 | 2745914.1503 | 1270491.6822 | 2745909.8966 | 1270476.7954
77 | 2745914.1503 | 1270491.6822 | 2745899.952 | 1270495.7134 | 2745899.1899 | 1270493.0474
78 | 2745948.5204 | 1270497.4483 | 2745947.3912 | 1270493.4941 | 2745965.7182 | 1270488.0971
79 | 2745948.5204 | 1270497.4483 | 2745929.4967 | 1270502.5471
80 | 2745893.7665 | 1270441.3165 | 2745894.2395 | 1270441.1839 | 2745894.704 | 1270441.0442
81 | 2745987.9537 | 1270454.635 | 2745991.5787 | 1270466.6429
82 | 2745698.2084 | 1270552.6025 | 2745722.1804 | 1270550.4561
83 | 2745735.6216 | 1270470.7984 | 2745733.1037 | 1270455.2246
84 | 2745730.3949 | 1270438.4711 | 2745733.1037 | 1270455.2246
85 | 2745760.6275 | 1270425.0922 | 2745758.915 | 1270425.2146
86 | 2745827.0477 | 1270413.8015 | 2745829.1349 | 1270402.4766
87 | 2745829.1349 | 1270402.4766 | 2745830.1758 | 1270396.8285
88 | 2745728.6019 | 1270427.3813 | 2745730.3949 | 1270438.4711
89 | 2745728.6019 | 1270427.3813 | 2745727.7421 | 1270416.4948
90 | 2745728.6019 | 1270427.3813 | 2745758.915 | 1270425.2146
91 | 2745727.7421 | 1270416.4948 | 2745727.6083 | 1270414.8008
92 | 2745727.6083 | 1270414.8008 | 2745725.7978 | 1270391.8763 | 2745724.3319 | 1270392.0016
93 | 2745724.3319 | 1270392.0016 | 2745709.7357 | 1270393.249
94 | 2745700.5661 | 1270394.0327 | 2745709.7357 | 1270393.249

## bus_geodata
| x | y | coords
0 | 2745867.8876 | 1270528.3821
1 | 2745873.7705 | 1270526.5313
2 | 2745891.8336 | 1270520.8383
3 | 2745886.87 | 1270504.4197
4 | 2745839.5242 | 1270346.1034
5 | 2745868.7215 | 1270351.8809
6 | 2745836.9994 | 1270359.8033
7 | 2745882.5669 | 1270490.1859
8 | 2745810.1222 | 1270506.028
9 | 2745799.8502 | 1270504.395
10 | 2745806.5384 | 1270528.7684
11 | 2745802.5302 | 1270489.2722
12 | 2745763.3162 | 1270505.6562
13 | 2745795.5537 | 1270528.1175
14 | 2745956.7781 | 1270526.3482
15 | 2745955.1365 | 1270520.5907
16 | 2745968.7674 | 1270522.9477
17 | 2745792.6506 | 1270544.1464
18 | 2745768.195 | 1270546.3361
19 | 2745818.027 | 1270462.4235
20 | 2745837.7844 | 1270457.0078
21 | 2745816.2224 | 1270472.0887
22 | 2745822.8172 | 1270436.7563
23 | 2745813.3684 | 1270431.0101
24 | 2745815.3909 | 1270419.9432
25 | 2745786.4717 | 1270426.2786
26 | 2745809.1571 | 1270452.9055
27 | 2745805.8593 | 1270470.4869
28 | 2745815.725 | 1270474.8561
29 | 2745806.7958 | 1270465.1824
30 | 2745780.6901 | 1270469.9504
31 | 2745924.8676 | 1270529.1849
32 | 2745922.2556 | 1270520.0556
33 | 2745936.5048 | 1270525.8808
34 | 2745876.5918 | 1270470.3573
35 | 2745870.4385 | 1270447.8584
36 | 2745867.4686 | 1270448.6917
37 | 2745876.2161 | 1270446.2382
38 | 2745853.2732 | 1270452.6749
39 | 2745884.5075 | 1270443.913
40 | 2745884.8845 | 1270443.8073
41 | 2745814.2343 | 1270483.1501
42 | 2745750.8739 | 1270506.3773
43 | 2745749.1497 | 1270548.0413
44 | 2745827.0007 | 1270414.0567
45 | 2745818.9697 | 1270400.3595
46 | 2745779.1084 | 1270425.0066
47 | 2745884.0315 | 1270354.8505
48 | 2745833.7759 | 1270377.2939
49 | 2745825.1517 | 1270366.5313
50 | 2745821.2964 | 1270387.6276
51 | 2745972.594 | 1270411.1198
52 | 2745946.7773 | 1270425.549
53 | 2745908.5017 | 1270523.9573
54 | 2745918.1269 | 1270505.5945
55 | 2745948.083 | 1270367.2739
56 | 2745893.5337 | 1270356.6935
57 | 2745695.9338 | 1270466.8859
58 | 2745716.5996 | 1270468.9232
59 | 2745936.042 | 1270453.3293
60 | 2745929.7163 | 1270430.5161
61 | 2745940.1657 | 1270468.2012
62 | 2745917.7963 | 1270434.1004
63 | 2745957.3738 | 1270463.3103
64 | 2745904.1368 | 1270438.2077
65 | 2745961.4334 | 1270475.3692
66 | 2745974.7409 | 1270458.3789
67 | 2745909.8966 | 1270476.7954
68 | 2745908.9127 | 1270473.3566
69 | 2745914.1503 | 1270491.6822
70 | 2745965.7182 | 1270488.0971
71 | 2745948.5204 | 1270497.4483
72 | 2745929.4967 | 1270502.5471
73 | 2745894.704 | 1270441.0442
74 | 2745971.4958 | 1270446.2769
75 | 2745987.9537 | 1270454.635
76 | 2745899.1899 | 1270493.0474
77 | 2745991.5787 | 1270466.6429
78 | 2745722.1804 | 1270550.4561
79 | 2745735.6216 | 1270470.7984
80 | 2745733.1037 | 1270455.2246
81 | 2745818.974 | 1270400.336
82 | 2745760.6275 | 1270425.0922
83 | 2745827.0477 | 1270413.8015
84 | 2745829.1349 | 1270402.4766
85 | 2745830.1758 | 1270396.8285
86 | 2745893.7665 | 1270441.3165
87 | 2745730.3949 | 1270438.4711
88 | 2745728.6019 | 1270427.3813
89 | 2745758.915 | 1270425.2146
90 | 2745727.7421 | 1270416.4948
91 | 2745727.6083 | 1270414.8008
92 | 2745724.3319 | 1270392.0016
93 | 2745709.7357 | 1270393.249
94 | 2745700.5661 | 1270394.0327
95 | 2745698.2084 | 1270552.6025
96 | 2745818.027 | 1270462.4235

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1