## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4436-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4436-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4436-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4436-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4436-19_0_3_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_4436-19_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_4436-19_0_3_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_4436-19_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4436-19_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_4436-19_0_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_4436-19_0_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_4436-19_0_3_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_4436-19_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4436-19_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4436-19_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4436-19_0_3_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_4436-19_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_4436-19_0_3_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_4436-19_0_3_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_4436-19_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_4436-19_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_4436-19_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_4436-19_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4436-19_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4436-19_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4436-19_0_3_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_4436-19_0_3_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_4436-19_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_4436-19_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_4436-19_0_3_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_4436-19_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_4436-19_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_4436-19_0_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_4436-19_0_3_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_4436-19_0_3_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_4436-19_0_3_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_4436-19_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_4436-19_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_4436-19_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4436-19_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_4436-19_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_4436-19_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_4436-19_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_4436-19_0_3_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_4436-19_0_3_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_4436-19_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_4436-19_0_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_4436-19_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_4436-19_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_4436-19_0_3_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_4436-19_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_4436-19_0_3_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_4436-19_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4436-19_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_4436-19_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_4436-19_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_4436-19_0_3_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_4436-19_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_4436-19_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_4436-19_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_4436-19_0_3_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_4436-19_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_4436-19_0_3_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_4436-19_0_3_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_4436-19_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_4436-19_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_4436-19_0_3_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_4436-19_0_3_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_4436-19_0_3_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_4436-19_0_3_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_4436-19_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_MV_437_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4436-19_0_3_load_0 | 0 | 0.016735 | 0.0041943 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4436-19_0_3_load_32 | 6 | 0.012379 | 0.0031025 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4436-19_0_3_load_29 | 8 | 0.0029298 | 0.00073427 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4436-19_0_3_load_26 | 11 | 0.023758 | 0.0059543 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4436-19_0_3_load_55 | 15 | 0.0094634 | 0.0023717 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4436-19_0_3_load_54 | 17 | 0.0040106 | 0.0010051 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4436-19_0_3_load_61 | 18 | 0.0089312 | 0.0022384 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4436-19_0_3_load_25 | 19 | 0.026204 | 0.0065673 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4436-19_0_3_load_27 | 21 | 0.024866 | 0.006232 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4436-19_0_3_load_75 | 26 | 0.0059223 | 0.0014843 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4436-19_0_3_load_28 | 27 | 0.0035703 | 0.0008948 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4436-19_0_3_load_31 | 28 | 0.031802 | 0.0079703 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4436-19_0_3_load_35 | 29 | 0.021268 | 0.0053304 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4436-19_0_3_load_33 | 30 | 0.027787 | 0.0069641 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4436-19_0_3_load_39 | 31 | 0.0065976 | 0.0016535 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4436-19_0_3_load_73 | 33 | 0.0019102 | 0.00047873 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4436-19_0_3_load_74 | 34 | 0.0038712 | 0.00097022 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4436-19_0_3_load_60 | 35 | 0.0034192 | 0.00085693 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4436-19_0_3_load_36 | 38 | 0.0035331 | 0.00088549 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4436-19_0_3_load_45 | 41 | 0.009553 | 0.0023942 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4436-19_0_3_load_43 | 42 | 0.0032225 | 0.00080763 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4436-19_0_3_load_69 | 43 | 0.0027243 | 0.00068277 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4436-19_0_3_load_67 | 44 | 0.0029201 | 0.00073185 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4436-19_0_3_load_58 | 46 | 0.017235 | 0.0043196 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4436-19_0_3_load_56 | 47 | 0.0086087 | 0.0021575 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4436-19_0_3_load_59 | 49 | 0.0077055 | 0.0019312 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4436-19_0_3_load_46 | 50 | 0.0075761 | 0.0018987 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4436-19_0_3_load_41 | 52 | 0.0021994 | 0.00055123 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4436-19_0_3_load_79 | 56 | 0.0083549 | 0.0020939 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4436-19_0_3_load_52 | 57 | 0.0092299 | 0.0023132 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4436-19_0_3_load_49 | 58 | 0.010193 | 0.0025547 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4436-19_0_3_load_53 | 59 | 0.0046742 | 0.0011715 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4436-19_0_3_load_77 | 60 | 0.004228 | 0.0010596 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4436-19_0_3_load_64 | 61 | 0.0041802 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4436-19_0_3_load_78 | 62 | 0.0031594 | 0.00079182 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4436-19_0_3_load_66 | 63 | 0.0026945 | 0.00067532 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4436-19_0_3_load_62 | 64 | 0.0028318 | 0.00070971 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4436-19_0_3_load_63 | 65 | 0.0024381 | 0.00061105 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4436-19_0_3_load_65 | 66 | 0.0031892 | 0.00079928 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4436-19_0_3_load_76 | 67 | 0.0019317 | 0.00048414 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4436-19_0_3_load_72 | 68 | 0.0027802 | 0.00069678 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4436-19_0_3_load_70 | 69 | 0.0018192 | 0.00045593 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4436-19_0_3_load_71 | 70 | 0.0079912 | 0.0020028 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4436-19_0_3_line_0 |  | 0 | 1 | 0.016376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4436-19_0_3_line_1 |  | 0 | 2 | 0.018295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4436-19_0_3_line_2 |  | 1 | 3 | 0.020078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4436-19_0_3_line_3 |  | 2 | 4 | 0.022021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4436-19_0_3_line_4 |  | 2 | 5 | 0.03663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4436-19_0_3_line_5 |  | 3 | 6 | 0.03485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4436-19_0_3_line_6 |  | 4 | 29 | 0.013269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4436-19_0_3_line_7 |  | 5 | 19 | 0.0097161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4436-19_0_3_line_8 |  | 6 | 30 | 0.011735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4436-19_0_3_line_9 |  | 7 | 8 | 0.013387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4436-19_0_3_line_10 |  | 7 | 9 | 0.026284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4436-19_0_3_line_11 |  | 7 | 10 | 0.010721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4436-19_0_3_line_12 |  | 7 | 11 | 0.025199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4436-19_0_3_line_13 |  | 8 | 22 | 0.0031318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4436-19_0_3_line_14 |  | 9 | 37 | 0.006109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4436-19_0_3_line_15 |  | 9 | 38 | 0.015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4436-19_0_3_line_16 |  | 10 | 20 | 0.016143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4436-19_0_3_line_17 |  | 10 | 21 | 0.028315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4436-19_0_3_line_18 |  | 12 | 13 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4436-19_0_3_line_19 |  | 12 | 14 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4436-19_0_3_line_20 |  | 12 | 15 | 0.026601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4436-19_0_3_line_21 |  | 13 | 18 | 0.015606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4436-19_0_3_line_22 |  | 14 | 16 | 0.0092399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4436-19_0_3_line_23 |  | 14 | 17 | 0.0066208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4436-19_0_3_line_24 |  | 16 | 28 | 0.015604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4436-19_0_3_line_25 |  | 18 | 20 | 0.018963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4436-19_0_3_line_26 |  | 22 | 23 | 0.010063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4436-19_0_3_line_27 |  | 23 | 27 | 0.00044642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4436-19_0_3_line_28 |  | 24 | 25 | 0.024341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4436-19_0_3_line_29 |  | 24 | 26 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4436-19_0_3_line_30 |  | 25 | 43 | 0.013983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4436-19_0_3_line_31 |  | 25 | 44 | 0.001899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4436-19_0_3_line_32 |  | 26 | 34 | 0.02178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4436-19_0_3_line_33 |  | 30 | 36 | 0.012758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4436-19_0_3_line_34 |  | 31 | 32 | 0.0041898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4436-19_0_3_line_35 |  | 32 | 52 | 0.012222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4436-19_0_3_line_36 |  | 33 | 34 | 0.024496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4436-19_0_3_line_37 |  | 35 | 36 | 0.016713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4436-19_0_3_line_38 |  | 36 | 49 | 0.0049198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4436-19_0_3_line_39 |  | 37 | 48 | 0.017038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4436-19_0_3_line_40 |  | 37 | 47 | 0.012931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4436-19_0_3_line_41 |  | 39 | 40 | 0.009594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4436-19_0_3_line_42 |  | 39 | 41 | 0.018832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4436-19_0_3_line_43 |  | 39 | 42 | 0.010495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4436-19_0_3_line_44 |  | 40 | 50 | 0.0064921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4436-19_0_3_line_45 |  | 41 | 51 | 0.01259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4436-19_0_3_line_46 |  | 42 | 52 | 0.014293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4436-19_0_3_line_47 |  | 43 | 67 | 0.012302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4436-19_0_3_line_48 |  | 44 | 66 | 0.0098948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4436-19_0_3_line_49 |  | 45 | 46 | 0.023093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4436-19_0_3_line_50 |  | 45 | 47 | 0.014474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4436-19_0_3_line_51 |  | 48 | 53 | 0.008977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4436-19_0_3_line_52 |  | 48 | 49 | 0.014791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4436-19_0_3_line_53 |  | 50 | 53 | 0.010811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_4436-19_0_3_line_54 |  | 51 | 59 | 0.011954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4436-19_0_3_line_55 |  | 51 | 58 | 0.019661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4436-19_0_3_line_56 |  | 54 | 55 | 0.012479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4436-19_0_3_line_57 |  | 54 | 56 | 0.01352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4436-19_0_3_line_58 |  | 55 | 57 | 0.012254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4436-19_0_3_line_59 |  | 55 | 58 | 0.0051865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4436-19_0_3_line_60 |  | 57 | 60 | 0.018781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4436-19_0_3_line_61 |  | 59 | 61 | 0.017508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4436-19_0_3_line_62 |  | 60 | 62 | 0.012497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4436-19_0_3_line_63 |  | 61 | 63 | 0.016589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4436-19_0_3_line_64 |  | 61 | 64 | 0.0099626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4436-19_0_3_line_65 |  | 64 | 65 | 0.015235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4436-19_0_3_line_66 |  | 65 | 66 | 0.0026743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4436-19_0_3_line_67 |  | 67 | 68 | 0.0084498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4436-19_0_3_line_68 |  | 68 | 70 | 0.021931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4436-19_0_3_line_69 |  | 69 | 70 | 0.0078032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4436-19_0_3_trafo_46 | 0.63 MVA 20/0.4 kV | 71 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2746001.9223 | 1270070.4365 | 2746001.3645 | 1270086.8026
1 | 2746000.7414 | 1270105.0868 | 2746001.3645 | 1270086.8026
2 | 2745981.7934 | 1270069.8051 | 2746001.9223 | 1270070.4365
3 | 2745978.6616 | 1270104.5072 | 2746000.7414 | 1270105.0868
4 | 2746000.7414 | 1270105.0868 | 2745999.746 | 1270134.3695 | 2745992.4195 | 1270134.1438
5 | 2745981.7934 | 1270069.8051 | 2745946.9613 | 1270068.7038
6 | 2745978.6616 | 1270104.5072 | 2745978.0507 | 1270099.0755 | 2745978.0392 | 1270095.2825 | 2745978.7765 | 1270091.3412
7 | 2745992.4195 | 1270134.1438 | 2745982.708 | 1270133.847
8 | 2745935.2319 | 1270068.3329 | 2745946.9613 | 1270068.7038
9 | 2745901.5074 | 1270131.3727 | 2745888.1254 | 1270131.0239
10 | 2745901.5074 | 1270131.3727 | 2745901.726 | 1270125.8837 | 2745907.9377 | 1270106.0393
11 | 2745901.5074 | 1270131.3727 | 2745903.2685 | 1270136.5659 | 2745905.5 | 1270141.3036
12 | 2745901.5074 | 1270131.3727 | 2745926.6947 | 1270132.1388
13 | 2745884.9946 | 1270130.9423 | 2745888.1254 | 1270131.0239
14 | 2745909.8129 | 1270100.2242 | 2745907.9377 | 1270106.0393
15 | 2745907.9377 | 1270106.0393 | 2745892.5443 | 1270102.8358
16 | 2745909.051 | 1270156.9182 | 2745907.2882 | 1270145.096 | 2745905.5 | 1270141.3036
17 | 2745905.5 | 1270141.3036 | 2745933.8016 | 1270142.1605
18 | 2745863.5695 | 1270155.9607 | 2745868.9069 | 1270155.6477 | 2745868.5835 | 1270157.4638 | 2745874.4834 | 1270157.2315
19 | 2745862.1444 | 1270139.609 | 2745864.0101 | 1270140.2668 | 2745865.2032 | 1270141.6421 | 2745865.8783 | 1270143.2604 | 2745863.5695 | 1270155.9607
20 | 2745863.5695 | 1270155.9607 | 2745858.7953 | 1270182.1294
21 | 2745874.4834 | 1270157.2315 | 2745890.0885 | 1270157.09
22 | 2745862.1444 | 1270139.609 | 2745862.2366 | 1270135.5739 | 2745862.3577 | 1270130.3716
23 | 2745862.1444 | 1270139.609 | 2745855.5247 | 1270139.4922
24 | 2745862.3577 | 1270130.3716 | 2745846.758 | 1270130.0056
25 | 2745909.051 | 1270156.9182 | 2745890.0885 | 1270157.09
26 | 2745884.7986 | 1270141.0031 | 2745884.8385 | 1270138.7797 | 2745884.8922 | 1270136.0004 | 2745884.9946 | 1270130.9423
27 | 2745885.245 | 1270141.0096 | 2745884.7986 | 1270141.0031
28 | 2745762.2142 | 1270049.674 | 2745786.1125 | 1270054.6576
29 | 2745762.2142 | 1270049.674 | 2745762.4655 | 1270046.5103 | 2745763.3135 | 1270035.1558
30 | 2745786.1125 | 1270054.6576 | 2745786.8656 | 1270051.5953 | 2745789.4656 | 1270041.0829
31 | 2745786.1125 | 1270054.6576 | 2745787.9659 | 1270055.0713
32 | 2745764.9356 | 1270013.4367 | 2745763.3135 | 1270035.1558
33 | 2745922.7529 | 1270065.8313 | 2745933.3444 | 1270068.2732 | 2745935.2319 | 1270068.3329
34 | 2745890.8187 | 1270039.3826 | 2745891.5197 | 1270035.2519
35 | 2745890.8187 | 1270039.3826 | 2745890.017 | 1270044.1009 | 2745888.7738 | 1270051.4319
36 | 2745766.7601 | 1269989.0083 | 2745764.9356 | 1270013.4367
37 | 2745922.7529 | 1270065.8313 | 2745925.8133 | 1270059.5784 | 2745930.1651 | 1270050.8524
38 | 2745922.7529 | 1270065.8313 | 2745920.9431 | 1270070.4062
39 | 2745909.8129 | 1270100.2242 | 2745915.5021 | 1270084.1596
40 | 2745909.8129 | 1270100.2242 | 2745921.3554 | 1270102.8675 | 2745922.4441 | 1270102.9046
41 | 2745893.6865 | 1270078.3705 | 2745884.4074 | 1270075.8277
42 | 2745884.4074 | 1270075.8277 | 2745865.9783 | 1270071.9526
43 | 2745884.4074 | 1270075.8277 | 2745885.4962 | 1270070.7606 | 2745886.3843 | 1270065.5234
44 | 2745893.6865 | 1270078.3705 | 2745894.0607 | 1270082.1169 | 2745896.7572 | 1270082.5239
45 | 2745853.6579 | 1270069.3619 | 2745865.9783 | 1270071.9526
46 | 2745886.3843 | 1270065.5234 | 2745888.7738 | 1270051.4319
47 | 2745792.4191 | 1270029.1409 | 2745789.4656 | 1270041.0829
48 | 2745787.9659 | 1270055.0713 | 2745797.623 | 1270057.2271
49 | 2745936.9098 | 1270103.3967 | 2745936.6216 | 1270112.3097 | 2745937.329 | 1270114.4516 | 2745938.8404 | 1270115.7347 | 2745940.4462 | 1270116.5529 | 2745948.6042 | 1270116.9438
50 | 2745936.9098 | 1270103.3967 | 2745922.4441 | 1270102.9046
51 | 2745915.5021 | 1270084.1596 | 2745906.7965 | 1270081.8645
52 | 2745915.5021 | 1270084.1596 | 2745920.9431 | 1270070.4062
53 | 2745906.7965 | 1270081.8645 | 2745904.6354 | 1270083.713 | 2745896.7572 | 1270082.5239
54 | 2745853.6579 | 1270069.3619 | 2745841.9592 | 1270066.9021
55 | 2745853.6579 | 1270069.3619 | 2745860.3335 | 1270050.8694
56 | 2745868.747 | 1270035.4225 | 2745862.0946 | 1270045.9911
57 | 2745868.747 | 1270035.4225 | 2745865.1581 | 1270027.4258 | 2745865.2784 | 1270022.672
58 | 2745862.0946 | 1270045.9911 | 2745850.1336 | 1270043.3252
59 | 2745862.0946 | 1270045.9911 | 2745860.3335 | 1270050.8694
60 | 2745838.3184 | 1270035.1109 | 2745837.1192 | 1270040.4244 | 2745850.1336 | 1270043.3252
61 | 2745824.8255 | 1270063.2996 | 2745841.9592 | 1270066.9021
62 | 2745838.3184 | 1270035.1109 | 2745841.0697 | 1270022.9208
63 | 2745824.8255 | 1270063.2996 | 2745822.2291 | 1270079.6839
64 | 2745824.8255 | 1270063.2996 | 2745815.1022 | 1270061.129
65 | 2745815.1022 | 1270061.129 | 2745800.233 | 1270057.8098
66 | 2745800.233 | 1270057.8098 | 2745797.623 | 1270057.2271
67 | 2745794.5221 | 1270020.9714 | 2745794.3925 | 1270021.1615 | 2745792.4191 | 1270029.1409
68 | 2745794.5221 | 1270020.9714 | 2745802.3521 | 1270009.4795 | 2745802.9626 | 1270001.4772
69 | 2745803.5563 | 1269993.6966 | 2745802.9626 | 1270001.4772

## bus_geodata
| x | y | coords
0 | 2746001.3645 | 1270086.8026
1 | 2746001.9223 | 1270070.4365
2 | 2746000.7414 | 1270105.0868
3 | 2745981.7934 | 1270069.8051
4 | 2745978.6616 | 1270104.5072
5 | 2745992.4195 | 1270134.1438
6 | 2745946.9613 | 1270068.7038
7 | 2745901.5074 | 1270131.3727
8 | 2745888.1254 | 1270131.0239
9 | 2745907.9377 | 1270106.0393
10 | 2745905.5 | 1270141.3036
11 | 2745926.6947 | 1270132.1388
12 | 2745863.5695 | 1270155.9607
13 | 2745874.4834 | 1270157.2315
14 | 2745862.1444 | 1270139.609
15 | 2745858.7953 | 1270182.1294
16 | 2745862.3577 | 1270130.3716
17 | 2745855.5247 | 1270139.4922
18 | 2745890.0885 | 1270157.09
19 | 2745982.708 | 1270133.847
20 | 2745909.051 | 1270156.9182
21 | 2745933.8016 | 1270142.1605
22 | 2745884.9946 | 1270130.9423
23 | 2745884.7986 | 1270141.0031
24 | 2745762.2142 | 1270049.674
25 | 2745786.1125 | 1270054.6576
26 | 2745763.3135 | 1270035.1558
27 | 2745885.245 | 1270141.0096
28 | 2745846.758 | 1270130.0056
29 | 2745978.7765 | 1270091.3412
30 | 2745935.2319 | 1270068.3329
31 | 2745891.5197 | 1270035.2519
32 | 2745890.8187 | 1270039.3826
33 | 2745766.7601 | 1269989.0083
34 | 2745764.9356 | 1270013.4367
35 | 2745930.1651 | 1270050.8524
36 | 2745922.7529 | 1270065.8313
37 | 2745909.8129 | 1270100.2242
38 | 2745892.5443 | 1270102.8358
39 | 2745884.4074 | 1270075.8277
40 | 2745893.6865 | 1270078.3705
41 | 2745865.9783 | 1270071.9526
42 | 2745886.3843 | 1270065.5234
43 | 2745789.4656 | 1270041.0829
44 | 2745787.9659 | 1270055.0713
45 | 2745936.9098 | 1270103.3967
46 | 2745948.6042 | 1270116.9438
47 | 2745922.4441 | 1270102.9046
48 | 2745915.5021 | 1270084.1596
49 | 2745920.9431 | 1270070.4062
50 | 2745896.7572 | 1270082.5239
51 | 2745853.6579 | 1270069.3619
52 | 2745888.7738 | 1270051.4319
53 | 2745906.7965 | 1270081.8645
54 | 2745868.747 | 1270035.4225
55 | 2745862.0946 | 1270045.9911
56 | 2745865.2784 | 1270022.672
57 | 2745850.1336 | 1270043.3252
58 | 2745860.3335 | 1270050.8694
59 | 2745841.9592 | 1270066.9021
60 | 2745838.3184 | 1270035.1109
61 | 2745824.8255 | 1270063.2996
62 | 2745841.0697 | 1270022.9208
63 | 2745822.2291 | 1270079.6839
64 | 2745815.1022 | 1270061.129
65 | 2745800.233 | 1270057.8098
66 | 2745797.623 | 1270057.2271
67 | 2745792.4191 | 1270029.1409
68 | 2745794.5221 | 1270020.9714
69 | 2745803.5563 | 1269993.6966
70 | 2745802.9626 | 1270001.4772
71 | 2745893.6865 | 1270078.3705

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1