## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4436-20_1_3_node_47 | 0.4 | n |  | TRUE
1 | bus_LV_4436-20_1_3_node_142 | 0.4 | n |  | TRUE
2 | bus_LV_4436-20_1_3_node_53 | 0.4 | n |  | TRUE
3 | bus_LV_4436-20_1_3_node_51 | 0.4 | n |  | TRUE
4 | bus_LV_4436-20_1_3_node_143 | 0.4 | n |  | TRUE
5 | bus_LV_4436-20_1_3_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_4436-20_1_3_node_95 | 0.4 | n |  | TRUE
7 | bus_LV_4436-20_1_3_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_4436-20_1_3_node_84 | 0.4 | n |  | TRUE
9 | bus_LV_4436-20_1_3_node_92 | 0.4 | n |  | TRUE
10 | bus_LV_4436-20_1_3_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_4436-20_1_3_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_4436-20_1_3_node_140 | 0.4 | n |  | TRUE
13 | bus_LV_4436-20_1_3_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_4436-20_1_3_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_4436-20_1_3_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_4436-20_1_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4436-20_1_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4436-20_1_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4436-20_1_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4436-20_1_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_4436-20_1_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4436-20_1_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_4436-20_1_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4436-20_1_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4436-20_1_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4436-20_1_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4436-20_1_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4436-20_1_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4436-20_1_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4436-20_1_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4436-20_1_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_4436-20_1_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_4436-20_1_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4436-20_1_3_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_4436-20_1_3_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_4436-20_1_3_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_4436-20_1_3_node_144 | 0.4 | n |  | TRUE
38 | bus_LV_4436-20_1_3_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_4436-20_1_3_node_93 | 0.4 | n |  | TRUE
40 | bus_LV_4436-20_1_3_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_4436-20_1_3_node_139 | 0.4 | n |  | TRUE
42 | bus_LV_4436-20_1_3_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_4436-20_1_3_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_4436-20_1_3_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_4436-20_1_3_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_4436-20_1_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_4436-20_1_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_4436-20_1_3_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_4436-20_1_3_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_4436-20_1_3_node_127 | 0.4 | n |  | TRUE
51 | bus_LV_4436-20_1_3_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_4436-20_1_3_node_133 | 0.4 | n |  | TRUE
53 | bus_LV_4436-20_1_3_node_129 | 0.4 | n |  | TRUE
54 | bus_LV_4436-20_1_3_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_4436-20_1_3_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_4436-20_1_3_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_4436-20_1_3_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_4436-20_1_3_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_4436-20_1_3_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_4436-20_1_3_node_128 | 0.4 | n |  | TRUE
61 | bus_LV_4436-20_1_3_node_132 | 0.4 | n |  | TRUE
62 | bus_LV_4436-20_1_3_node_130 | 0.4 | n |  | TRUE
63 | bus_LV_4436-20_1_3_node_125 | 0.4 | n |  | TRUE
64 | bus_LV_4436-20_1_3_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_4436-20_1_3_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_4436-20_1_3_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_4436-20_1_3_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_4436-20_1_3_node_124 | 0.4 | n |  | TRUE
69 | bus_LV_4436-20_1_3_node_91 | 0.4 | n |  | TRUE
70 | bus_LV_4436-20_1_3_node_126 | 0.4 | n |  | TRUE
71 | bus_LV_4436-20_1_3_node_121 | 0.4 | n |  | TRUE
72 | bus_LV_4436-20_1_3_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_4436-20_1_3_node_96 | 0.4 | n |  | TRUE
74 | bus_LV_4436-20_1_3_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_4436-20_1_3_node_99 | 0.4 | n |  | TRUE
76 | bus_LV_4436-20_1_3_node_103 | 0.4 | n |  | TRUE
77 | bus_LV_4436-20_1_3_node_104 | 0.4 | n |  | TRUE
78 | bus_LV_4436-20_1_3_node_105 | 0.4 | n |  | TRUE
79 | bus_LV_4436-20_1_3_node_106 | 0.4 | n |  | TRUE
80 | bus_LV_4436-20_1_3_node_107 | 0.4 | n |  | TRUE
81 | bus_LV_4436-20_1_3_node_108 | 0.4 | n |  | TRUE
82 | bus_LV_4436-20_1_3_node_109 | 0.4 | n |  | TRUE
83 | bus_LV_4436-20_1_3_node_120 | 0.4 | n |  | TRUE
84 | bus_LV_4436-20_1_3_node_119 | 0.4 | n |  | TRUE
85 | bus_LV_4436-20_1_3_node_122 | 0.4 | n |  | TRUE
86 | bus_LV_4436-20_1_3_node_146 | 0.4 | n |  | TRUE
87 | bus_LV_4436-20_1_3_node_145 | 0.4 | n |  | TRUE
88 | bus_LV_4436-20_1_3_node_123 | 0.4 | n |  | TRUE
89 | bus_LV_4436-20_1_3_node_159 | 0.4 | n |  | TRUE
90 | bus_LV_4436-20_1_3_node_160 | 0.4 | n |  | TRUE
91 | bus_MV_437_1_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4436-20_1_3_load_142 | 1 | 0.041955 | 0.010515 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4436-20_1_3_load_95 | 6 | 0.0099446 | 0.0024924 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4436-20_1_3_load_84 | 8 | 0.0057261 | 0.0014351 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4436-20_1_3_load_92 | 9 | 0.004703 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4436-20_1_3_load_81 | 10 | 0.0034512 | 0.00086496 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4436-20_1_3_load_83 | 11 | 0.0036666 | 0.00091893 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4436-20_1_3_load_65 | 14 | 0.0019301 | 0.00048372 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4436-20_1_3_load_61 | 15 | 0.0016922 | 0.00042411 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4436-20_1_3_load_10 | 16 | 0.0075474 | 0.0018915 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4436-20_1_3_load_11 | 17 | 0.0032446 | 0.00081318 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4436-20_1_3_load_12 | 18 | 0.0021848 | 0.00054756 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4436-20_1_3_load_23 | 20 | 0.0041171 | 0.0010318 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4436-20_1_3_load_24 | 22 | 0.0030561 | 0.00076593 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4436-20_1_3_load_21 | 23 | 0.012551 | 0.0031456 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4436-20_1_3_load_14 | 25 | 0.0030666 | 0.00076856 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4436-20_1_3_load_25 | 29 | 0.0091918 | 0.0023037 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4436-20_1_3_load_28 | 31 | 0.00065168 | 0.00016333 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4436-20_1_3_load_22 | 32 | 0.010103 | 0.0025321 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4436-20_1_3_load_26 | 33 | 0.0017137 | 0.0004295 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4436-20_1_3_load_82 | 34 | 0.0065 | 0.0016291 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4436-20_1_3_load_79 | 35 | 0.003836 | 0.00096139 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4436-20_1_3_load_77 | 36 | 0.0024536 | 0.00061493 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4436-20_1_3_load_144 | 37 | 0.0010893 | 0.00027301 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4436-20_1_3_load_97 | 38 | 0.0003552 | 8.9022e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4436-20_1_3_load_93 | 39 | 0.00075685 | 0.00018968 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4436-20_1_3_load_139 | 41 | 0.029776 | 0.0074626 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4436-20_1_3_load_69 | 43 | 0.0022437 | 0.00056232 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4436-20_1_3_load_70 | 44 | 0.00073766 | 0.00018488 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4436-20_1_3_load_71 | 45 | 0.0023576 | 0.00059087 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4436-20_1_3_load_72 | 46 | 0.0017711 | 0.00044388 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4436-20_1_3_load_62 | 47 | 0.0092919 | 0.0023288 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4436-20_1_3_load_90 | 49 | 0.0016128 | 0.00040421 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4436-20_1_3_load_127 | 50 | 0.0015027 | 0.00037661 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4436-20_1_3_load_133 | 52 | 0.0015091 | 0.00037821 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4436-20_1_3_load_85 | 54 | 0.0020834 | 0.00052215 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4436-20_1_3_load_86 | 55 | 0.00072249 | 0.00018107 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4436-20_1_3_load_80 | 56 | 0.004527 | 0.0011346 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4436-20_1_3_load_73 | 57 | 0.0022074 | 0.00055322 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4436-20_1_3_load_89 | 58 | 0.0020378 | 0.00051072 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4436-20_1_3_load_128 | 60 | 0.0016624 | 0.00041663 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4436-20_1_3_load_132 | 61 | 0.0023697 | 0.0005939 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4436-20_1_3_load_130 | 62 | 0.0018397 | 0.00046108 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4436-20_1_3_load_125 | 63 | 0.00041012 | 0.00010279 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4436-20_1_3_load_74 | 64 | 0.0013468 | 0.00033755 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4436-20_1_3_load_76 | 66 | 0.019968 | 0.0050045 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4436-20_1_3_load_88 | 67 | 0.0020367 | 0.00051043 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4436-20_1_3_load_124 | 68 | 0.00081077 | 0.0002032 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4436-20_1_3_load_91 | 69 | 0.00083376 | 0.00020896 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4436-20_1_3_load_126 | 70 | 0.00072804 | 0.00018246 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4436-20_1_3_load_121 | 71 | 0.00033712 | 8.4489e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4436-20_1_3_load_94 | 72 | 0.00041568 | 0.00010418 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4436-20_1_3_load_96 | 73 | 0.00066569 | 0.00016684 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4436-20_1_3_load_98 | 74 | 0.0012522 | 0.00031382 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4436-20_1_3_load_99 | 75 | 0.00089305 | 0.00022382 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4436-20_1_3_load_103 | 76 | 0.00067607 | 0.00016944 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4436-20_1_3_load_104 | 77 | 0.00056757 | 0.00014225 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4436-20_1_3_load_105 | 78 | 0.00092874 | 0.00023276 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4436-20_1_3_load_106 | 79 | 0.00078962 | 0.0001979 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4436-20_1_3_load_108 | 81 | 0.00033755 | 8.4598e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4436-20_1_3_load_109 | 82 | 0.001442 | 0.00036141 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4436-20_1_3_load_120 | 83 | 0.00081898 | 0.00020526 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4436-20_1_3_load_119 | 84 | 0.0014271 | 0.00035766 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4436-20_1_3_load_122 | 85 | 0.00088893 | 0.00022279 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4436-20_1_3_load_146 | 86 | 0.001291 | 0.00032356 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4436-20_1_3_load_145 | 87 | 0.0018492 | 0.00046345 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4436-20_1_3_load_123 | 88 | 0.00046412 | 0.00011632 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4436-20_1_3_load_159 | 89 | 0.0029004 | 0.00072691 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4436-20_1_3_load_160 | 90 | 0.0011932 | 0.00029904 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4436-20_1_3_line_0 |  | 0 | 1 | 0.040533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4436-20_1_3_line_1 |  | 0 | 2 | 0.010275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4436-20_1_3_line_2 |  | 1 | 3 | 0.044014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4436-20_1_3_line_3 |  | 2 | 8 | 0.017867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4436-20_1_3_line_4 |  | 2 | 10 | 0.017341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4436-20_1_3_line_5 |  | 2 | 11 | 0.031009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4436-20_1_3_line_6 |  | 3 | 4 | 0.028067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4436-20_1_3_line_7 |  | 4 | 37 | 0.023299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4436-20_1_3_line_8 |  | 4 | 33 | 0.1359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4436-20_1_3_line_9 |  | 5 | 6 | 0.015614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4436-20_1_3_line_10 |  | 5 | 7 | 0.071631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4436-20_1_3_line_11 |  | 5 | 8 | 0.011413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4436-20_1_3_line_12 |  | 5 | 9 | 0.010155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4436-20_1_3_line_13 |  | 6 | 38 | 0.017206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4436-20_1_3_line_14 |  | 7 | 12 | 0.025762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4436-20_1_3_line_15 |  | 9 | 39 | 0.020343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4436-20_1_3_line_16 |  | 10 | 40 | 0.016804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4436-20_1_3_line_17 |  | 11 | 34 | 0.027332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4436-20_1_3_line_18 |  | 12 | 41 | 0.040894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4436-20_1_3_line_19 |  | 13 | 14 | 0.01143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4436-20_1_3_line_20 |  | 13 | 15 | 0.00927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4436-20_1_3_line_21 |  | 14 | 46 | 0.00082908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4436-20_1_3_line_22 |  | 15 | 47 | 0.016965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4436-20_1_3_line_23 |  | 16 | 17 | 0.031894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4436-20_1_3_line_24 |  | 17 | 18 | 0.0050995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4436-20_1_3_line_25 |  | 18 | 19 | 0.026705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4436-20_1_3_line_26 |  | 19 | 20 | 0.068177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4436-20_1_3_line_27 |  | 19 | 21 | 0.006788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4436-20_1_3_line_28 |  | 20 | 22 | 0.020085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4436-20_1_3_line_29 |  | 21 | 23 | 0.046806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4436-20_1_3_line_30 |  | 21 | 24 | 0.008915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4436-20_1_3_line_31 |  | 24 | 27 | 0.02653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4436-20_1_3_line_32 |  | 24 | 25 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4436-20_1_3_line_33 |  | 25 | 26 | 0.0025861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4436-20_1_3_line_34 |  | 26 | 28 | 0.0177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4436-20_1_3_line_35 |  | 27 | 29 | 0.042047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4436-20_1_3_line_36 |  | 28 | 32 | 0.0047062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4436-20_1_3_line_37 |  | 28 | 30 | 0.029402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4436-20_1_3_line_38 |  | 29 | 33 | 0.04648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4436-20_1_3_line_39 |  | 30 | 31 | 0.016663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4436-20_1_3_line_40 |  | 35 | 36 | 0.014565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4436-20_1_3_line_41 |  | 36 | 65 | 0.007752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4436-20_1_3_line_42 |  | 37 | 89 | 0.0036509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4436-20_1_3_line_43 |  | 39 | 72 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4436-20_1_3_line_44 |  | 40 | 56 | 0.011681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4436-20_1_3_line_45 |  | 40 | 66 | 0.031054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4436-20_1_3_line_46 |  | 42 | 43 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4436-20_1_3_line_47 |  | 42 | 44 | 0.013176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4436-20_1_3_line_48 |  | 42 | 45 | 0.011075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4436-20_1_3_line_49 |  | 43 | 54 | 0.031615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4436-20_1_3_line_50 |  | 44 | 55 | 0.004786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4436-20_1_3_line_51 |  | 45 | 56 | 0.023739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4436-20_1_3_line_52 |  | 46 | 57 | 0.021918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4436-20_1_3_line_53 |  | 48 | 49 | 0.0094798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4436-20_1_3_line_54 |  | 48 | 50 | 0.014178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4436-20_1_3_line_55 |  | 50 | 60 | 0.020013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4436-20_1_3_line_56 |  | 51 | 52 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4436-20_1_3_line_57 |  | 51 | 53 | 0.019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4436-20_1_3_line_58 |  | 52 | 61 | 0.040798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4436-20_1_3_line_59 |  | 53 | 62 | 0.01767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4436-20_1_3_line_60 |  | 53 | 60 | 0.0038037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4436-20_1_3_line_61 |  | 54 | 59 | 0.0087508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4436-20_1_3_line_62 |  | 55 | 63 | 0.0086573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4436-20_1_3_line_63 |  | 57 | 64 | 0.0021172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4436-20_1_3_line_64 |  | 58 | 59 | 0.011865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4436-20_1_3_line_65 |  | 59 | 67 | 0.016355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4436-20_1_3_line_66 |  | 62 | 87 | 0.007745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4436-20_1_3_line_67 |  | 63 | 68 | 0.0060553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4436-20_1_3_line_68 |  | 64 | 65 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4436-20_1_3_line_69 |  | 65 | 66 | 0.015816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4436-20_1_3_line_70 |  | 67 | 69 | 0.022888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4436-20_1_3_line_71 |  | 68 | 88 | 0.012949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4436-20_1_3_line_72 |  | 70 | 71 | 0.018142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4436-20_1_3_line_73 |  | 71 | 83 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4436-20_1_3_line_74 |  | 72 | 73 | 0.004035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4436-20_1_3_line_75 |  | 73 | 74 | 0.019504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4436-20_1_3_line_76 |  | 74 | 75 | 0.002144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4436-20_1_3_line_77 |  | 76 | 77 | 0.0073966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4436-20_1_3_line_78 |  | 76 | 78 | 0.0029894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4436-20_1_3_line_79 |  | 77 | 79 | 0.016053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4436-20_1_3_line_80 |  | 78 | 80 | 0.018141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4436-20_1_3_line_81 |  | 79 | 81 | 0.0047756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4436-20_1_3_line_82 |  | 80 | 82 | 0.016092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4436-20_1_3_line_83 |  | 81 | 83 | 0.015229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4436-20_1_3_line_84 |  | 82 | 84 | 0.018565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4436-20_1_3_line_85 |  | 83 | 85 | 0.017731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4436-20_1_3_line_86 |  | 84 | 86 | 0.010071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4436-20_1_3_line_87 |  | 85 | 88 | 0.0066573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4436-20_1_3_line_88 |  | 86 | 87 | 0.01233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4436-20_1_3_line_89 |  | 89 | 90 | 0.030363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4436-20_1_3_trafo_142 | 0.63 MVA 20/0.4 kV | 91 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2745548.5493 | 1269438.9134 | 2745554.1665 | 1269429.1086 | 2745579.5688 | 1269443.5757
1 | 2745543.5919 | 1269447.9114 | 2745545.835 | 1269443.6513 | 2745548.5493 | 1269438.9134
2 | 2745617.8152 | 1269465.3579 | 2745579.5688 | 1269443.5757
3 | 2745543.5919 | 1269447.9114 | 2745527.4078 | 1269440.3407
4 | 2745543.5919 | 1269447.9114 | 2745535.5508 | 1269463.275
5 | 2745543.5919 | 1269447.9114 | 2745559.3622 | 1269455.6299 | 2745571.2258 | 1269461.9692
6 | 2745632.5811 | 1269441.4644 | 2745617.8152 | 1269465.3579
7 | 2745632.5811 | 1269441.4644 | 2745652.0234 | 1269454.3035
8 | 2745632.5811 | 1269441.4644 | 2745636.2116 | 1269305.6173
9 | 2745516.9857 | 1269435.6993 | 2745511.4536 | 1269450.3
10 | 2745461.33 | 1269404.097 | 2745459.8098 | 1269408.0413 | 2745518.4435 | 1269431.8424 | 2745516.9857 | 1269435.6993
11 | 2745516.9857 | 1269435.6993 | 2745520.1992 | 1269436.9686 | 2745527.4078 | 1269440.3407
12 | 2745516.9857 | 1269435.6993 | 2745507.5464 | 1269431.9542
13 | 2745495.2841 | 1269444.418 | 2745511.4536 | 1269450.3
14 | 2745470.6105 | 1269380.0569 | 2745461.33 | 1269404.097
15 | 2745507.5464 | 1269431.9542 | 2745497.2281 | 1269427.8604 | 2745488.5725 | 1269424.6212
16 | 2745527.7586 | 1269478.1629 | 2745535.5508 | 1269463.275
17 | 2745595.0898 | 1269475.2889 | 2745579.373 | 1269466.3226 | 2745571.2258 | 1269461.9692
18 | 2745470.6105 | 1269380.0569 | 2745492.3823 | 1269382.5511 | 2745509.582 | 1269390.5758
19 | 2745539.4052 | 1269543.5044 | 2745545.9305 | 1269534.1205
20 | 2745539.4052 | 1269543.5044 | 2745534.1772 | 1269551.1595
21 | 2745545.9305 | 1269534.1205 | 2745546.4038 | 1269533.4398
22 | 2745534.1772 | 1269551.1595 | 2745524.6097 | 1269565.169
23 | 2745707.475 | 1269324.0012 | 2745732.6326 | 1269315.6939 | 2745735.1784 | 1269310.9314
24 | 2745737.5824 | 1269306.4341 | 2745735.1784 | 1269310.9314
25 | 2745750.1718 | 1269282.8824 | 2745737.5824 | 1269306.4341
26 | 2745750.1718 | 1269282.8824 | 2745753.8029 | 1269293.1601 | 2745762.4765 | 1269314.4844 | 2745770.5539 | 1269337.6959 | 2745772.1512 | 1269342.2177 | 2745773.7813 | 1269346.8216
27 | 2745750.1718 | 1269282.8824 | 2745747.9208 | 1269276.476
28 | 2745780.4751 | 1269365.7585 | 2745774.2766 | 1269348.2206 | 2745773.7813 | 1269346.8216
29 | 2745747.9208 | 1269276.476 | 2745774.0903 | 1269267.0566 | 2745791.9609 | 1269260.6234
30 | 2745747.9208 | 1269276.476 | 2745744.9665 | 1269268.0613
31 | 2745719.8922 | 1269276.7293 | 2745735.7706 | 1269271.2377 | 2745744.9665 | 1269268.0613
32 | 2745744.9665 | 1269268.0613 | 2745739.9849 | 1269253.874
33 | 2745739.1281 | 1269251.4339 | 2745739.9849 | 1269253.874
34 | 2745739.1281 | 1269251.4339 | 2745736.5255 | 1269244.0178 | 2745733.2615 | 1269234.728
35 | 2745719.8922 | 1269276.7293 | 2745680.1468 | 1269290.4501
36 | 2745733.2615 | 1269234.728 | 2745731.7026 | 1269230.2874
37 | 2745705.3932 | 1269244.3392 | 2745733.2615 | 1269234.728
38 | 2745636.2116 | 1269305.6173 | 2745680.1468 | 1269290.4501
39 | 2745705.3932 | 1269244.3392 | 2745699.8635 | 1269228.6203
40 | 2745572.238 | 1269509.8663 | 2745584.1381 | 1269518.2642
41 | 2745565.9043 | 1269505.3967 | 2745572.238 | 1269509.8663
42 | 2745652.0234 | 1269454.3035 | 2745655.07 | 1269456.3154
43 | 2745488.5725 | 1269424.6212 | 2745473.3073 | 1269418.9085
44 | 2745527.7586 | 1269478.1629 | 2745521.0486 | 1269487.7243
45 | 2745527.7586 | 1269478.1629 | 2745553.0323 | 1269496.2069
46 | 2745501.0501 | 1269516.2211 | 2745494.4291 | 1269526.6427
47 | 2745501.0501 | 1269516.2211 | 2745489.5139 | 1269509.8562
48 | 2745501.0501 | 1269516.2211 | 2745507.4121 | 1269507.1556
49 | 2745494.4291 | 1269526.6427 | 2745477.4755 | 1269553.328
50 | 2745489.5139 | 1269509.8562 | 2745485.3234 | 1269507.5442
51 | 2745507.4121 | 1269507.1556 | 2745521.0486 | 1269487.7243
52 | 2745546.4038 | 1269533.4398 | 2745558.9172 | 1269515.4447
53 | 2745414.8164 | 1269565.1917 | 2745422.3724 | 1269570.9166
54 | 2745414.8164 | 1269565.1917 | 2745408.388 | 1269558.7381 | 2745406.0069 | 1269554.2626
55 | 2745406.0069 | 1269554.2626 | 2745401.7324 | 1269546.2284 | 2745397.5199 | 1269536.1616
56 | 2745383.4188 | 1269547.3233 | 2745373.6054 | 1269539.4924
57 | 2745396.0516 | 1269532.6527 | 2745383.4188 | 1269547.3233
58 | 2745373.6054 | 1269539.4924 | 2745341.7163 | 1269514.0456
59 | 2745396.0516 | 1269532.6527 | 2745390.2113 | 1269516.9933 | 2745389.9494 | 1269516.0727
60 | 2745396.0516 | 1269532.6527 | 2745397.5199 | 1269536.1616
61 | 2745472.783 | 1269560.7142 | 2745477.4755 | 1269553.328
62 | 2745477.7433 | 1269503.3619 | 2745485.3234 | 1269507.5442
63 | 2745560.1259 | 1269513.7065 | 2745558.9172 | 1269515.4447
64 | 2745472.783 | 1269560.7142 | 2745465.6829 | 1269570.2207
65 | 2745472.783 | 1269560.7142 | 2745459.306 | 1269551.4483
66 | 2745387.8308 | 1269508.6231 | 2745389.9494 | 1269516.0727
67 | 2745472.4415 | 1269500.4367 | 2745477.7433 | 1269503.3619
68 | 2745565.9043 | 1269505.3967 | 2745560.1259 | 1269513.7065
69 | 2745565.9043 | 1269505.3967 | 2745553.0323 | 1269496.2069
70 | 2745459.306 | 1269551.4483 | 2745440.446 | 1269538.4814
71 | 2745472.4415 | 1269500.4367 | 2745461.1041 | 1269494.1815
72 | 2745434.3785 | 1269491.9252 | 2745425.4662 | 1269507.7273
73 | 2745439.7506 | 1269482.4 | 2745434.3785 | 1269491.9252
74 | 2745473.3073 | 1269418.9085 | 2745469.5282 | 1269417.4943
75 | 2745469.5282 | 1269417.4943 | 2745451.2618 | 1269410.6584
76 | 2745449.2539 | 1269409.907 | 2745451.2618 | 1269410.6584
77 | 2745400.9665 | 1269462.8036 | 2745407.5683 | 1269466.1393
78 | 2745400.9665 | 1269462.8036 | 2745398.2984 | 1269461.4555
79 | 2745407.5683 | 1269466.1393 | 2745421.8958 | 1269473.3785
80 | 2745382.1066 | 1269453.2742 | 2745398.2984 | 1269461.4555
81 | 2745421.8958 | 1269473.3785 | 2745426.1582 | 1269475.5322
82 | 2745382.1066 | 1269453.2742 | 2745378.9907 | 1269462.4067 | 2745378.7487 | 1269468.845
83 | 2745439.7506 | 1269482.4 | 2745426.1582 | 1269475.5322
84 | 2745378.7487 | 1269468.845 | 2745378.5976 | 1269472.8631 | 2745381.8411 | 1269487.0405
85 | 2745439.7506 | 1269482.4 | 2745455.2751 | 1269490.9654
86 | 2745381.8411 | 1269487.0405 | 2745382.4514 | 1269489.7082 | 2745384.4578 | 1269496.7632
87 | 2745455.2751 | 1269490.9654 | 2745461.1041 | 1269494.1815
88 | 2745387.8308 | 1269508.6231 | 2745384.4578 | 1269496.7632
89 | 2745681.8235 | 1269469.6346 | 2745672.6731 | 1269463.3415 | 2745662.0275 | 1269460.9099 | 2745655.07 | 1269456.3154

## bus_geodata
| x | y | coords
0 | 2745548.5493 | 1269438.9134
1 | 2745579.5688 | 1269443.5757
2 | 2745543.5919 | 1269447.9114
3 | 2745617.8152 | 1269465.3579
4 | 2745632.5811 | 1269441.4644
5 | 2745516.9857 | 1269435.6993
6 | 2745511.4536 | 1269450.3
7 | 2745461.33 | 1269404.097
8 | 2745527.4078 | 1269440.3407
9 | 2745507.5464 | 1269431.9542
10 | 2745535.5508 | 1269463.275
11 | 2745571.2258 | 1269461.9692
12 | 2745470.6105 | 1269380.0569
13 | 2745539.4052 | 1269543.5044
14 | 2745545.9305 | 1269534.1205
15 | 2745534.1772 | 1269551.1595
16 | 2745707.475 | 1269324.0012
17 | 2745735.1784 | 1269310.9314
18 | 2745737.5824 | 1269306.4341
19 | 2745750.1718 | 1269282.8824
20 | 2745773.7813 | 1269346.8216
21 | 2745747.9208 | 1269276.476
22 | 2745780.4751 | 1269365.7585
23 | 2745791.9609 | 1269260.6234
24 | 2745744.9665 | 1269268.0613
25 | 2745739.9849 | 1269253.874
26 | 2745739.1281 | 1269251.4339
27 | 2745719.8922 | 1269276.7293
28 | 2745733.2615 | 1269234.728
29 | 2745680.1468 | 1269290.4501
30 | 2745705.3932 | 1269244.3392
31 | 2745699.8635 | 1269228.6203
32 | 2745731.7027 | 1269230.2874
33 | 2745636.2116 | 1269305.6173
34 | 2745595.0898 | 1269475.2889
35 | 2745584.1381 | 1269518.2642
36 | 2745572.238 | 1269509.8663
37 | 2745652.0234 | 1269454.3035
38 | 2745495.2841 | 1269444.418
39 | 2745488.5725 | 1269424.6212
40 | 2745527.7586 | 1269478.1629
41 | 2745509.582 | 1269390.5758
42 | 2745501.0501 | 1269516.2211
43 | 2745494.4291 | 1269526.6427
44 | 2745489.5139 | 1269509.8562
45 | 2745507.4121 | 1269507.1556
46 | 2745546.4038 | 1269533.4398
47 | 2745524.6097 | 1269565.169
48 | 2745414.8164 | 1269565.1917
49 | 2745422.3724 | 1269570.9166
50 | 2745406.0069 | 1269554.2626
51 | 2745383.4188 | 1269547.3233
52 | 2745373.6054 | 1269539.4924
53 | 2745396.0516 | 1269532.6527
54 | 2745477.4755 | 1269553.328
55 | 2745485.3234 | 1269507.5442
56 | 2745521.0486 | 1269487.7243
57 | 2745558.9172 | 1269515.4447
58 | 2745465.6829 | 1269570.2207
59 | 2745472.783 | 1269560.7142
60 | 2745397.5199 | 1269536.1616
61 | 2745341.7163 | 1269514.0456
62 | 2745389.9494 | 1269516.0727
63 | 2745477.7433 | 1269503.3619
64 | 2745560.1259 | 1269513.7065
65 | 2745565.9043 | 1269505.3967
66 | 2745553.0323 | 1269496.2069
67 | 2745459.306 | 1269551.4483
68 | 2745472.4415 | 1269500.4367
69 | 2745440.446 | 1269538.4814
70 | 2745425.4662 | 1269507.7273
71 | 2745434.3785 | 1269491.9252
72 | 2745473.3073 | 1269418.9085
73 | 2745469.5282 | 1269417.4943
74 | 2745451.2618 | 1269410.6584
75 | 2745449.2539 | 1269409.907
76 | 2745400.9665 | 1269462.8036
77 | 2745407.5683 | 1269466.1393
78 | 2745398.2984 | 1269461.4555
79 | 2745421.8958 | 1269473.3785
80 | 2745382.1066 | 1269453.2742
81 | 2745426.1582 | 1269475.5322
82 | 2745378.7487 | 1269468.845
83 | 2745439.7506 | 1269482.4
84 | 2745381.8411 | 1269487.0405
85 | 2745455.2751 | 1269490.9654
86 | 2745384.4578 | 1269496.7632
87 | 2745387.8308 | 1269508.6231
88 | 2745461.1041 | 1269494.1815
89 | 2745655.07 | 1269456.3154
90 | 2745681.8235 | 1269469.6346
91 | 2745579.5688 | 1269443.5757

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1