## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4436-21_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4436-21_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4436-21_0_3_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_4436-21_0_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_4436-21_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4436-21_0_3_node_112 | 0.4 | n |  | TRUE
6 | bus_LV_4436-21_0_3_node_111 | 0.4 | n |  | TRUE
7 | bus_LV_4436-21_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4436-21_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_4436-21_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_4436-21_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4436-21_0_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_4436-21_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_4436-21_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_4436-21_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4436-21_0_3_node_84 | 0.4 | n |  | TRUE
16 | bus_LV_4436-21_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_4436-21_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4436-21_0_3_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_4436-21_0_3_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_4436-21_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4436-21_0_3_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_4436-21_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_4436-21_0_3_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_4436-21_0_3_node_116 | 0.4 | n |  | TRUE
25 | bus_LV_4436-21_0_3_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_4436-21_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_4436-21_0_3_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_4436-21_0_3_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_4436-21_0_3_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_4436-21_0_3_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_4436-21_0_3_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_4436-21_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_4436-21_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_4436-21_0_3_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_4436-21_0_3_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_4436-21_0_3_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_4436-21_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_4436-21_0_3_node_120 | 0.4 | n |  | TRUE
39 | bus_LV_4436-21_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_4436-21_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_4436-21_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_4436-21_0_3_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_4436-21_0_3_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_4436-21_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4436-21_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4436-21_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_4436-21_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_4436-21_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_4436-21_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4436-21_0_3_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_4436-21_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_4436-21_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4436-21_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_4436-21_0_3_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_4436-21_0_3_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_4436-21_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4436-21_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_4436-21_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4436-21_0_3_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_4436-21_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_4436-21_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_4436-21_0_3_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_4436-21_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4436-21_0_3_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_4436-21_0_3_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_4436-21_0_3_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_4436-21_0_3_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_4436-21_0_3_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_4436-21_0_3_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_4436-21_0_3_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_4436-21_0_3_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_4436-21_0_3_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_4436-21_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_4436-21_0_3_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_4436-21_0_3_node_123 | 0.4 | n |  | TRUE
76 | bus_LV_4436-21_0_3_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_4436-21_0_3_node_122 | 0.4 | n |  | TRUE
78 | bus_LV_4436-21_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_4436-21_0_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_4436-21_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_4436-21_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_4436-21_0_3_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_4436-21_0_3_node_108 | 0.4 | n |  | TRUE
84 | bus_LV_4436-21_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4436-21_0_3_node_107 | 0.4 | n |  | TRUE
86 | bus_LV_4436-21_0_3_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_4436-21_0_3_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_4436-21_0_3_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_4436-21_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_4436-21_0_3_node_109 | 0.4 | n |  | TRUE
91 | bus_LV_4436-21_0_3_node_110 | 0.4 | n |  | TRUE
92 | bus_LV_4436-21_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_4436-21_0_3_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_4436-21_0_3_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_4436-21_0_3_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_4436-21_0_3_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_4436-21_0_3_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_4436-21_0_3_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_4436-21_0_3_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_4436-21_0_3_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_4436-21_0_3_node_106 | 0.4 | n |  | TRUE
102 | bus_LV_4436-21_0_3_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_4436-21_0_3_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_4436-21_0_3_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_4436-21_0_3_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_4436-21_0_3_node_104 | 0.4 | n |  | TRUE
107 | bus_LV_4436-21_0_3_node_105 | 0.4 | n |  | TRUE
108 | bus_LV_4436-21_0_3_node_124 | 0.4 | n |  | TRUE
109 | bus_LV_4436-21_0_3_node_121 | 0.4 | n |  | TRUE
110 | bus_LV_4436-21_0_3_node_114 | 0.4 | n |  | TRUE
111 | bus_LV_4436-21_0_3_node_113 | 0.4 | n |  | TRUE
112 | bus_LV_4436-21_0_3_node_115 | 0.4 | n |  | TRUE
113 | bus_LV_4436-21_0_3_node_117 | 0.4 | n |  | TRUE
114 | bus_LV_4436-21_0_3_node_118 | 0.4 | n |  | TRUE
115 | bus_LV_4436-21_0_3_node_119 | 0.4 | n |  | TRUE
116 | bus_MV_437_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4436-21_0_3_load_0 | 0 | 0.0043688 | 0.0010949 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4436-21_0_3_load_11 | 2 | 0.0014296 | 0.0003583 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4436-21_0_3_load_112 | 5 | 0.0033533 | 0.00084041 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4436-21_0_3_load_111 | 6 | 0.004591 | 0.0011506 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4436-21_0_3_load_22 | 8 | 0.017463 | 0.0043767 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4436-21_0_3_load_20 | 9 | 0.0014226 | 0.00035654 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4436-21_0_3_load_21 | 11 | 0.002228 | 0.00055838 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4436-21_0_3_load_19 | 12 | 0.001046 | 0.00026216 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4436-21_0_3_load_84 | 15 | 0.0017284 | 0.00043319 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4436-21_0_3_load_25 | 16 | 0.0010602 | 0.00026572 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4436-21_0_3_load_56 | 18 | 0.007775 | 0.0019486 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4436-21_0_3_load_58 | 19 | 0.0015227 | 0.00038163 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4436-21_0_3_load_68 | 21 | 0.093272 | 0.023376 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4436-21_0_3_load_67 | 23 | 0.0013338 | 0.00033427 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4436-21_0_3_load_116 | 24 | 0.0029689 | 0.00074408 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4436-21_0_3_load_102 | 25 | 0.001661 | 0.00041628 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4436-21_0_3_load_24 | 26 | 0.0029323 | 0.00073491 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4436-21_0_3_load_60 | 28 | 0.0064377 | 0.0016134 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4436-21_0_3_load_47 | 29 | 0.0030323 | 0.00075997 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4436-21_0_3_load_53 | 30 | 0.0037232 | 0.00093312 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4436-21_0_3_load_59 | 31 | 0.008196 | 0.0020541 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4436-21_0_3_load_14 | 33 | 0.0008499 | 0.000213 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4436-21_0_3_load_15 | 34 | 0.0010662 | 0.0002672 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4436-21_0_3_load_16 | 35 | 0.0010602 | 0.00026572 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4436-21_0_3_load_17 | 36 | 0.0013557 | 0.00033978 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4436-21_0_3_load_18 | 37 | 0.00084139 | 0.00021087 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4436-21_0_3_load_120 | 38 | 0.0010087 | 0.0002528 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4436-21_0_3_load_57 | 39 | 0.0033793 | 0.00084694 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4436-21_0_3_load_48 | 41 | 0.00094695 | 0.00023733 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4436-21_0_3_load_74 | 42 | 0.0051944 | 0.0013018 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4436-21_0_3_load_70 | 43 | 0.0018017 | 0.00045156 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4436-21_0_3_load_26 | 44 | 0.0072356 | 0.0018134 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4436-21_0_3_load_29 | 47 | 0.0021354 | 0.00053518 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4436-21_0_3_load_30 | 49 | 0.0046354 | 0.0011617 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4436-21_0_3_load_39 | 52 | 0.00086339 | 0.00021639 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4436-21_0_3_load_35 | 53 | 0.0038134 | 0.00095572 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4436-21_0_3_load_66 | 54 | 0.0042187 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4436-21_0_3_load_87 | 55 | 0.001759 | 0.00044086 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4436-21_0_3_load_44 | 58 | 0.0017843 | 0.00044718 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4436-21_0_3_load_37 | 59 | 0.0014747 | 0.00036959 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4436-21_0_3_load_40 | 62 | 0.020137 | 0.0050468 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4436-21_0_3_load_41 | 63 | 0.0024059 | 0.00060298 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4436-21_0_3_load_42 | 64 | 0.048293 | 0.012103 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4436-21_0_3_load_64 | 66 | 0.0048697 | 0.0012205 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4436-21_0_3_load_62 | 67 | 0.0016427 | 0.0004117 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4436-21_0_3_load_93 | 68 | 0.0040611 | 0.0010178 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4436-21_0_3_load_54 | 69 | 0.0033106 | 0.00082971 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4436-21_0_3_load_50 | 71 | 0.0037649 | 0.00094356 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4436-21_0_3_load_51 | 72 | 0.0024912 | 0.00062437 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4436-21_0_3_load_55 | 73 | 0.0063184 | 0.0015835 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4436-21_0_3_load_78 | 74 | 0.0021082 | 0.00052837 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4436-21_0_3_load_123 | 75 | 0.00275 | 0.00068921 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4436-21_0_3_load_76 | 76 | 0.0010792 | 0.00027048 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4436-21_0_3_load_122 | 77 | 0.0016347 | 0.0004097 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4436-21_0_3_load_82 | 78 | 0.0014826 | 0.00037157 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4436-21_0_3_load_72 | 80 | 0.002291 | 0.00057418 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4436-21_0_3_load_73 | 81 | 0.0049828 | 0.0012488 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4436-21_0_3_load_80 | 82 | 0.0015605 | 0.00039109 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4436-21_0_3_load_108 | 83 | 0.002742 | 0.00068722 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4436-21_0_3_load_107 | 85 | 0.0023755 | 0.00059537 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4436-21_0_3_load_83 | 86 | 0.020793 | 0.0052113 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4436-21_0_3_load_75 | 87 | 0.0032003 | 0.00080207 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4436-21_0_3_load_77 | 88 | 0.0014312 | 0.00035868 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4436-21_0_3_load_81 | 89 | 0.0021945 | 0.00054999 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4436-21_0_3_load_109 | 90 | 0.0042817 | 0.0010731 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4436-21_0_3_load_110 | 91 | 0.0037532 | 0.00094065 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4436-21_0_3_load_92 | 93 | 0.0015484 | 0.00038807 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4436-21_0_3_load_94 | 96 | 0.0035779 | 0.00089671 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4436-21_0_3_load_95 | 97 | 0.0027533 | 0.00069003 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4436-21_0_3_load_97 | 98 | 0.0020858 | 0.00052275 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4436-21_0_3_load_98 | 99 | 0.0013411 | 0.00033611 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4436-21_0_3_load_96 | 100 | 0.0020935 | 0.00052468 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4436-21_0_3_load_106 | 101 | 0.0080666 | 0.0020217 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4436-21_0_3_load_99 | 102 | 0.0008372 | 0.00020982 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4436-21_0_3_load_101 | 104 | 0.0023471 | 0.00058823 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4436-21_0_3_load_103 | 105 | 0.00056799 | 0.00014235 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4436-21_0_3_load_104 | 106 | 0.0026016 | 0.00065203 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4436-21_0_3_load_105 | 107 | 0.0016279 | 0.00040798 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4436-21_0_3_load_124 | 108 | 0.0025928 | 0.00064982 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4436-21_0_3_load_114 | 110 | 0.0011286 | 0.00028285 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4436-21_0_3_load_113 | 111 | 0.0025738 | 0.00064504 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4436-21_0_3_load_115 | 112 | 0.0012673 | 0.00031762 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4436-21_0_3_load_117 | 113 | 0.0028366 | 0.00071092 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4436-21_0_3_load_118 | 114 | 0.0028068 | 0.00070345 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4436-21_0_3_line_0 |  | 0 | 1 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4436-21_0_3_line_1 |  | 1 | 2 | 0.0072708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4436-21_0_3_line_2 |  | 1 | 3 | 0.094813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4436-21_0_3_line_3 |  | 2 | 12 | 0.0011454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4436-21_0_3_line_4 |  | 3 | 15 | 0.011662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4436-21_0_3_line_5 |  | 4 | 5 | 0.013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4436-21_0_3_line_6 |  | 4 | 6 | 0.023683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4436-21_0_3_line_7 |  | 5 | 24 | 0.018019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4436-21_0_3_line_8 |  | 6 | 25 | 0.030127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4436-21_0_3_line_9 |  | 7 | 8 | 0.041597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4436-21_0_3_line_10 |  | 7 | 9 | 0.031015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4436-21_0_3_line_11 |  | 8 | 26 | 0.0027492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4436-21_0_3_line_12 |  | 9 | 10 | 0.028867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4436-21_0_3_line_13 |  | 10 | 11 | 0.05682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4436-21_0_3_line_14 |  | 10 | 12 | 0.025582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4436-21_0_3_line_15 |  | 11 | 29 | 0.0031001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4436-21_0_3_line_16 |  | 13 | 14 | 0.022679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4436-21_0_3_line_17 |  | 13 | 15 | 0.014733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4436-21_0_3_line_18 |  | 14 | 16 | 0.0075487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4436-21_0_3_line_19 |  | 17 | 18 | 0.065026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4436-21_0_3_line_20 |  | 17 | 19 | 0.018943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4436-21_0_3_line_21 |  | 18 | 30 | 0.012223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4436-21_0_3_line_22 |  | 19 | 31 | 0.013894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4436-21_0_3_line_23 |  | 20 | 21 | 0.0317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4436-21_0_3_line_24 |  | 20 | 22 | 0.086938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4436-21_0_3_line_25 |  | 20 | 23 | 0.037327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4436-21_0_3_line_26 |  | 22 | 27 | 0.046171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4436-21_0_3_line_27 |  | 22 | 28 | 0.033674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4436-21_0_3_line_28 |  | 23 | 32 | 0.019614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4436-21_0_3_line_29 |  | 24 | 110 | 0.018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4436-21_0_3_line_30 |  | 25 | 103 | 0.013377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4436-21_0_3_line_31 |  | 27 | 42 | 0.012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4436-21_0_3_line_32 |  | 27 | 43 | 0.026204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4436-21_0_3_line_33 |  | 29 | 41 | 0.0025226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4436-21_0_3_line_34 |  | 30 | 72 | 0.00059878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4436-21_0_3_line_35 |  | 32 | 54 | 0.012799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4436-21_0_3_line_36 |  | 32 | 51 | 0.021224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4436-21_0_3_line_37 |  | 33 | 34 | 0.01318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4436-21_0_3_line_38 |  | 33 | 35 | 0.010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4436-21_0_3_line_39 |  | 34 | 36 | 0.011257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4436-21_0_3_line_40 |  | 35 | 37 | 0.0014979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4436-21_0_3_line_41 |  | 36 | 38 | 0.00887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4436-21_0_3_line_42 |  | 37 | 39 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4436-21_0_3_line_43 |  | 39 | 40 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4436-21_0_3_line_44 |  | 40 | 69 | 0.011516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4436-21_0_3_line_45 |  | 40 | 41 | 0.015382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4436-21_0_3_line_46 |  | 42 | 78 | 0.015267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4436-21_0_3_line_47 |  | 43 | 79 | 0.043993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4436-21_0_3_line_48 |  | 44 | 45 | 0.05431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4436-21_0_3_line_49 |  | 44 | 46 | 0.043592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4436-21_0_3_line_50 |  | 45 | 47 | 0.010895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4436-21_0_3_line_51 |  | 46 | 48 | 0.022765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4436-21_0_3_line_52 |  | 48 | 53 | 0.01008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4436-21_0_3_line_53 |  | 49 | 50 | 0.013889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4436-21_0_3_line_54 |  | 50 | 55 | 0.045456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4436-21_0_3_line_55 |  | 51 | 52 | 0.0114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4436-21_0_3_line_56 |  | 52 | 56 | 0.011111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4436-21_0_3_line_57 |  | 53 | 57 | 0.021958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4436-21_0_3_line_58 |  | 54 | 58 | 0.005784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4436-21_0_3_line_59 |  | 55 | 92 | 0.027391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4436-21_0_3_line_60 |  | 56 | 60 | 0.010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4436-21_0_3_line_61 |  | 57 | 59 | 0.01049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4436-21_0_3_line_62 |  | 58 | 64 | 0.022705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4436-21_0_3_line_63 |  | 59 | 60 | 0.042665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4436-21_0_3_line_64 |  | 60 | 61 | 0.086827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4436-21_0_3_line_65 |  | 61 | 68 | 0.041013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4436-21_0_3_line_66 |  | 62 | 63 | 0.0024388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4436-21_0_3_line_67 |  | 62 | 64 | 0.01705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4436-21_0_3_line_68 |  | 63 | 65 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4436-21_0_3_line_69 |  | 65 | 66 | 0.028114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4436-21_0_3_line_70 |  | 65 | 67 | 0.043544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4436-21_0_3_line_71 |  | 69 | 70 | 0.014702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4436-21_0_3_line_72 |  | 70 | 73 | 0.022758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4436-21_0_3_line_73 |  | 70 | 71 | 0.027359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4436-21_0_3_line_74 |  | 71 | 72 | 0.014114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4436-21_0_3_line_75 |  | 73 | 74 | 0.017445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4436-21_0_3_line_76 |  | 73 | 75 | 0.021987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4436-21_0_3_line_77 |  | 74 | 76 | 0.0012837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4436-21_0_3_line_78 |  | 75 | 77 | 0.028202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4436-21_0_3_line_79 |  | 76 | 87 | 0.016635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4436-21_0_3_line_80 |  | 77 | 109 | 0.013812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4436-21_0_3_line_81 |  | 78 | 86 | 0.0074666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4436-21_0_3_line_82 |  | 79 | 80 | 0.036406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_4436-21_0_3_line_83 |  | 79 | 81 | 0.02207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4436-21_0_3_line_84 |  | 80 | 82 | 0.0098064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_4436-21_0_3_line_85 |  | 81 | 83 | 0.026028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4436-21_0_3_line_86 |  | 82 | 84 | 0.011119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_4436-21_0_3_line_87 |  | 83 | 85 | 0.02741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4436-21_0_3_line_88 |  | 84 | 88 | 0.012206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_4436-21_0_3_line_89 |  | 85 | 101 | 0.011999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4436-21_0_3_line_90 |  | 87 | 88 | 0.0018624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_4436-21_0_3_line_91 |  | 89 | 90 | 0.027304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4436-21_0_3_line_92 |  | 90 | 91 | 0.0045484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4436-21_0_3_line_93 |  | 91 | 108 | 0.026731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4436-21_0_3_line_94 |  | 92 | 94 | 0.040187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4436-21_0_3_line_95 |  | 92 | 95 | 0.10095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4436-21_0_3_line_96 |  | 93 | 94 | 0.044352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4436-21_0_3_line_97 |  | 95 | 96 | 0.044724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4436-21_0_3_line_98 |  | 96 | 97 | 0.054618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4436-21_0_3_line_99 |  | 97 | 100 | 0.02253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4436-21_0_3_line_100 |  | 98 | 99 | 0.0054461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4436-21_0_3_line_101 |  | 99 | 102 | 0.011868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4436-21_0_3_line_102 |  | 100 | 101 | 0.0086288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4436-21_0_3_line_103 |  | 102 | 103 | 0.0029436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4436-21_0_3_line_104 |  | 103 | 104 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4436-21_0_3_line_105 |  | 104 | 105 | 0.015208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4436-21_0_3_line_106 |  | 105 | 106 | 0.015431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4436-21_0_3_line_107 |  | 106 | 107 | 0.0023805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4436-21_0_3_line_108 |  | 108 | 109 | 0.012753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4436-21_0_3_line_109 |  | 109 | 115 | 0.011407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4436-21_0_3_line_110 |  | 110 | 111 | 0.009774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4436-21_0_3_line_111 |  | 111 | 112 | 0.0092071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4436-21_0_3_line_112 |  | 112 | 113 | 0.017535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4436-21_0_3_line_113 |  | 113 | 114 | 0.010359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4436-21_0_3_line_114 |  | 114 | 115 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4436-21_0_3_trafo_60 | 0.63 MVA 20/0.4 kV | 116 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2745555.8367 | 1270697.9393 | 2745543.1471 | 1270702.1754 | 2745538.0679 | 1270703.8716
1 | 2745555.8367 | 1270697.9393 | 2745562.7273 | 1270695.6189
2 | 2745555.8367 | 1270697.9393 | 2745554.28 | 1270693.3074 | 2745563.0017 | 1270690.3415 | 2745561.9673 | 1270686.2008 | 2745610.6096 | 1270669.9276 | 2745610.2538 | 1270659.0301 | 2745618.0081 | 1270656.5298 | 2745623.9782 | 1270655.2646
3 | 2745563.8129 | 1270695.2533 | 2745562.7273 | 1270695.6189
4 | 2745623.9782 | 1270655.2646 | 2745635.3863 | 1270652.8441
5 | 2745466.5942 | 1270858.9368 | 2745478.9272 | 1270853.8903
6 | 2745466.5942 | 1270858.9368 | 2745479.8697 | 1270878.5491
7 | 2745478.9272 | 1270853.8903 | 2745495.6039 | 1270847.0665
8 | 2745496.7575 | 1270903.4981 | 2745479.8697 | 1270878.5491
9 | 2745644.8149 | 1270668.0023 | 2745658.1824 | 1270707.3928
10 | 2745644.8149 | 1270668.0023 | 2745615.4178 | 1270677.888
11 | 2745659.0658 | 1270709.9961 | 2745658.1824 | 1270707.3928
12 | 2745588.0566 | 1270687.0891 | 2745615.4178 | 1270677.888
13 | 2745588.0566 | 1270687.0891 | 2745595.2154 | 1270706.2849 | 2745607.9066 | 1270740.3287
14 | 2745588.0566 | 1270687.0891 | 2745563.8129 | 1270695.2533
15 | 2745608.9895 | 1270743.2335 | 2745607.9066 | 1270740.3287
16 | 2745649.4883 | 1270629.3118 | 2745649.8835 | 1270644.4035 | 2745649.9969 | 1270648.655 | 2745650.0803 | 1270651.9826
17 | 2745650.0803 | 1270651.9826 | 2745636.5162 | 1270652.6044 | 2745635.3863 | 1270652.8441
18 | 2745649.4883 | 1270629.3118 | 2745655.8818 | 1270629.1916 | 2745655.8229 | 1270628.039
19 | 2745734.5731 | 1270738.1871 | 2745686.3213 | 1270754.5022 | 2745676.9478 | 1270765.0234
20 | 2745734.5731 | 1270738.1871 | 2745740.4154 | 1270756.207
21 | 2745666.4247 | 1270770.5056 | 2745674.4149 | 1270767.8665 | 2745676.9478 | 1270765.0234
22 | 2745744.7006 | 1270769.4241 | 2745740.4154 | 1270756.207
23 | 2745833.6686 | 1270789.24 | 2745857.2584 | 1270768.0645
24 | 2745764.7999 | 1270837.2775 | 2745791.1194 | 1270818.775 | 2745816.4687 | 1270798.4135 | 2745826.3581 | 1270787.491 | 2745833.6686 | 1270789.24
25 | 2745833.6686 | 1270789.24 | 2745839.0714 | 1270796.0024 | 2745843.2179 | 1270800.9098 | 2745849.2008 | 1270807.9535 | 2745856.1405 | 1270818.9526
26 | 2745764.7999 | 1270837.2775 | 2745728.4392 | 1270865.8648
27 | 2745764.7999 | 1270837.2775 | 2745754.1676 | 1270805.3262
28 | 2745865.9494 | 1270835.9176 | 2745861.8256 | 1270827.9633 | 2745856.1405 | 1270818.9526
29 | 2745495.6039 | 1270847.0665 | 2745512.5568 | 1270840.1296
30 | 2745504.2563 | 1270914.5762 | 2745496.7575 | 1270903.4981
31 | 2745728.4392 | 1270865.8648 | 2745724.0928 | 1270853.6163
32 | 2745728.4392 | 1270865.8648 | 2745706.7938 | 1270880.6343
33 | 2745608.9895 | 1270743.2335 | 2745609.8706 | 1270745.5972
34 | 2745666.4247 | 1270770.5056 | 2745665.8561 | 1270770.6934
35 | 2745865.9494 | 1270835.9176 | 2745873.8168 | 1270825.822
36 | 2745865.9494 | 1270835.9176 | 2745864.1053 | 1270838.964 | 2745872.1694 | 1270854.679
37 | 2745568.8057 | 1270775.9677 | 2745556.3413 | 1270780.2507
38 | 2745568.8057 | 1270775.9677 | 2745578.8072 | 1270772.531
39 | 2745550.6885 | 1270789.765 | 2745555.6294 | 1270780.4954 | 2745556.3413 | 1270780.2507
40 | 2745578.8072 | 1270772.531 | 2745580.2238 | 1270772.0442
41 | 2745550.6885 | 1270789.765 | 2745550.3338 | 1270790.4305 | 2745553.3289 | 1270797.9735
42 | 2745600.1004 | 1270765.2142 | 2745580.2238 | 1270772.0442
43 | 2745615.2438 | 1270760.0107 | 2745600.1004 | 1270765.2142
44 | 2745615.2438 | 1270760.0107 | 2745620.1775 | 1270770.4159
45 | 2745615.2438 | 1270760.0107 | 2745609.8706 | 1270745.5972
46 | 2745724.0928 | 1270853.6163 | 2745718.9872 | 1270839.2282
47 | 2745670.4544 | 1270905.43 | 2745706.7938 | 1270880.6343
48 | 2745722.2638 | 1270921.7801 | 2745725.4927 | 1270919.6465 | 2745769.9098 | 1270895.7454
49 | 2745808.2966 | 1270875.0893 | 2745769.9098 | 1270895.7454
50 | 2745722.2638 | 1270921.7801 | 2745719.3848 | 1270919.7959 | 2745715.1393 | 1270913.7184
51 | 2745808.2966 | 1270875.0893 | 2745813.7145 | 1270884.5882 | 2745819.5723 | 1270894.8654
52 | 2745819.5723 | 1270894.8654 | 2745824.5652 | 1270903.6217
53 | 2745610.2038 | 1271010.306 | 2745615.9983 | 1271007.6017 | 2745623.0668 | 1271005.1101
54 | 2745610.2038 | 1271010.306 | 2745566.5788 | 1271023.077
55 | 2745877.3755 | 1270864.829 | 2745872.1694 | 1270854.679
56 | 2745877.3755 | 1270864.829 | 2745882.4524 | 1270874.7199
57 | 2745843.5001 | 1270895.1676 | 2745825.2138 | 1270904.7592 | 2745824.5652 | 1270903.6217
58 | 2745877.8907 | 1270821.7865 | 2745875.6351 | 1270823.4886 | 2745873.8168 | 1270825.822
59 | 2745540.2333 | 1271030.5687 | 2745552.2821 | 1271027.2622 | 2745566.5788 | 1271023.077
60 | 2745885.8992 | 1270884.4816 | 2745883.8527 | 1270877.4462 | 2745882.4524 | 1270874.7199
61 | 2745843.5001 | 1270895.1676 | 2745848.2364 | 1270904.5274
62 | 2745896.0143 | 1270808.1097 | 2745896.0143 | 1270808.1097 | 2745877.8907 | 1270821.7865
63 | 2745885.8992 | 1270884.4816 | 2745848.2364 | 1270904.5274
64 | 2745862.2465 | 1270966.2246 | 2745867.8752 | 1270953.1838 | 2745875.2322 | 1270939.6518 | 2745883.6681 | 1270915.9695 | 2745886.9104 | 1270902.0355 | 2745887.3837 | 1270889.5901 | 2745885.8992 | 1270884.4816
65 | 2745862.2465 | 1270966.2246 | 2745856.7853 | 1270971.2727 | 2745853.1979 | 1270976.9454 | 2745849.0115 | 1270981.8803 | 2745842.4297 | 1270989.9371 | 2745835.594 | 1270997.2209
66 | 2745911.7788 | 1270801.6154 | 2745914.0337 | 1270800.6865
67 | 2745911.7788 | 1270801.6154 | 2745896.0143 | 1270808.1097
68 | 2745928.582 | 1270794.7674 | 2745920.3635 | 1270798.0788 | 2745914.0337 | 1270800.6865
69 | 2745928.582 | 1270794.7674 | 2745954.3335 | 1270783.4861
70 | 2745928.582 | 1270794.7674 | 2745918.6098 | 1270752.3806
71 | 2745626.4765 | 1270783.7004 | 2745620.1775 | 1270770.4159
72 | 2745635.2385 | 1270804.7154 | 2745626.4765 | 1270783.7004
73 | 2745626.4765 | 1270783.7004 | 2745652.4546 | 1270775.1199
74 | 2745652.4546 | 1270775.1199 | 2745665.8561 | 1270770.6934
75 | 2745635.2385 | 1270804.7154 | 2745640.3518 | 1270821.3938
76 | 2745635.2385 | 1270804.7154 | 2745614.4548 | 1270811.8889
77 | 2745640.7281 | 1270822.6211 | 2745640.3518 | 1270821.3938
78 | 2745587.7961 | 1270821.0901 | 2745614.4548 | 1270811.8889
79 | 2745645.6042 | 1270838.5256 | 2745640.7281 | 1270822.6211
80 | 2745577.207 | 1270829.0873 | 2745581.9763 | 1270823.0988 | 2745587.7961 | 1270821.0901
81 | 2745716.4902 | 1270832.1915 | 2745718.9872 | 1270839.2282
82 | 2745670.4544 | 1270905.43 | 2745657.293 | 1270871.4865
83 | 2745670.4544 | 1270905.43 | 2745651.6258 | 1270916.9435
84 | 2745653.7478 | 1270862.3434 | 2745657.293 | 1270871.4865
85 | 2745629.4202 | 1270930.522 | 2745651.6258 | 1270916.9435
86 | 2745649.7279 | 1270851.976 | 2745653.7478 | 1270862.3434
87 | 2745606.036 | 1270944.8211 | 2745629.4202 | 1270930.522
88 | 2745649.7279 | 1270851.976 | 2745646.1501 | 1270840.3062
89 | 2745595.799 | 1270951.0809 | 2745606.036 | 1270944.8211
90 | 2745645.6042 | 1270838.5256 | 2745646.1501 | 1270840.3062
91 | 2745612.4802 | 1270876.8932 | 2745603.4033 | 1270882.9652 | 2745597.1626 | 1270867.8174
92 | 2745595.4483 | 1270863.6045 | 2745596.4083 | 1270865.9868 | 2745597.1626 | 1270867.8174
93 | 2745585.4564 | 1270838.8106 | 2745595.4483 | 1270863.6045
94 | 2745540.2333 | 1271030.5687 | 2745518.0225 | 1271037.8844 | 2745502.3962 | 1271044.3393
95 | 2745540.2333 | 1271030.5687 | 2745538.2627 | 1271024.7142 | 2745536.5604 | 1271021.1019 | 2745534.2456 | 1271018.8315 | 2745531.3926 | 1271017.6266 | 2745527.4999 | 1271017.6864 | 2745523.5131 | 1271019.4232 | 2745503.1328 | 1271033.3908 | 2745489.6026 | 1271042.4444 | 2745477.5253 | 1271023.0941 | 2745483.1903 | 1271025.3359 | 2745484.464 | 1271019.161
96 | 2745502.3962 | 1271044.3393 | 2745527.2919 | 1271081.045
97 | 2745484.464 | 1271019.161 | 2745522.6194 | 1270995.8294
98 | 2745522.6194 | 1270995.8294 | 2745569.2164 | 1270967.3359
99 | 2745569.2164 | 1270967.3359 | 2745588.4375 | 1270955.5824
100 | 2745486.9764 | 1270925.1478 | 2745491.622 | 1270922.3056
101 | 2745501.7453 | 1270916.1124 | 2745491.622 | 1270922.3056
102 | 2745595.799 | 1270951.0809 | 2745588.4375 | 1270955.5824
103 | 2745504.2563 | 1270914.5762 | 2745501.7453 | 1270916.1124
104 | 2745504.2563 | 1270914.5762 | 2745515.0197 | 1270909.2536
105 | 2745515.0197 | 1270909.2536 | 2745528.6516 | 1270902.5125
106 | 2745542.4838 | 1270895.6723 | 2745528.6516 | 1270902.5125
107 | 2745544.6177 | 1270894.6171 | 2745542.4838 | 1270895.6723
108 | 2745577.207 | 1270829.0873 | 2745585.4432 | 1270838.7779 | 2745585.4564 | 1270838.8106
109 | 2745577.207 | 1270829.0873 | 2745567.9721 | 1270822.3529
110 | 2745521.5991 | 1270836.419 | 2745520.0471 | 1270837.0647 | 2745512.5568 | 1270840.1296
111 | 2745521.5991 | 1270836.419 | 2745530.0998 | 1270832.8822
112 | 2745530.0998 | 1270832.8822 | 2745542.7096 | 1270827.6357 | 2745546.5051 | 1270826.8421
113 | 2745556.6451 | 1270824.7216 | 2745546.5051 | 1270826.8421
114 | 2745567.9721 | 1270822.3529 | 2745556.6451 | 1270824.7216

## bus_geodata
| x | y | coords
0 | 2745538.0679 | 1270703.8716
1 | 2745555.8367 | 1270697.9393
2 | 2745562.7273 | 1270695.6189
3 | 2745623.9782 | 1270655.2646
4 | 2745466.5942 | 1270858.9368
5 | 2745478.9272 | 1270853.8903
6 | 2745479.8697 | 1270878.5491
7 | 2745644.8149 | 1270668.0023
8 | 2745658.1824 | 1270707.3928
9 | 2745615.4178 | 1270677.888
10 | 2745588.0566 | 1270687.0891
11 | 2745607.9066 | 1270740.3287
12 | 2745563.8129 | 1270695.2533
13 | 2745650.0803 | 1270651.9826
14 | 2745649.4883 | 1270629.3118
15 | 2745635.3863 | 1270652.8441
16 | 2745655.8229 | 1270628.039
17 | 2745734.5731 | 1270738.1871
18 | 2745676.9478 | 1270765.0234
19 | 2745740.4154 | 1270756.207
20 | 2745833.6686 | 1270789.24
21 | 2745857.2584 | 1270768.0645
22 | 2745764.7999 | 1270837.2775
23 | 2745856.1405 | 1270818.9526
24 | 2745495.6039 | 1270847.0665
25 | 2745496.7575 | 1270903.4981
26 | 2745659.0658 | 1270709.9961
27 | 2745728.4392 | 1270865.8648
28 | 2745754.1676 | 1270805.3262
29 | 2745608.9895 | 1270743.2335
30 | 2745666.4247 | 1270770.5056
31 | 2745744.7006 | 1270769.4241
32 | 2745865.9494 | 1270835.9176
33 | 2745568.8057 | 1270775.9677
34 | 2745556.3413 | 1270780.2507
35 | 2745578.8072 | 1270772.531
36 | 2745550.6885 | 1270789.765
37 | 2745580.2238 | 1270772.0442
38 | 2745553.3289 | 1270797.9735
39 | 2745600.1004 | 1270765.2142
40 | 2745615.2438 | 1270760.0107
41 | 2745609.8706 | 1270745.5972
42 | 2745724.0928 | 1270853.6163
43 | 2745706.7938 | 1270880.6343
44 | 2745769.9098 | 1270895.7454
45 | 2745722.2638 | 1270921.7801
46 | 2745808.2966 | 1270875.0893
47 | 2745715.1393 | 1270913.7184
48 | 2745819.5723 | 1270894.8654
49 | 2745623.0668 | 1271005.1101
50 | 2745610.2038 | 1271010.306
51 | 2745872.1694 | 1270854.679
52 | 2745877.3755 | 1270864.829
53 | 2745824.5652 | 1270903.6217
54 | 2745873.8168 | 1270825.822
55 | 2745566.5788 | 1271023.077
56 | 2745882.4524 | 1270874.7199
57 | 2745843.5001 | 1270895.1676
58 | 2745877.8907 | 1270821.7865
59 | 2745848.2364 | 1270904.5274
60 | 2745885.8992 | 1270884.4816
61 | 2745862.2465 | 1270966.2246
62 | 2745911.7788 | 1270801.6154
63 | 2745914.0337 | 1270800.6865
64 | 2745896.0143 | 1270808.1097
65 | 2745928.582 | 1270794.7674
66 | 2745954.3335 | 1270783.4861
67 | 2745918.6098 | 1270752.3806
68 | 2745835.594 | 1270997.2209
69 | 2745620.1775 | 1270770.4159
70 | 2745626.4765 | 1270783.7004
71 | 2745652.4546 | 1270775.1199
72 | 2745665.8561 | 1270770.6934
73 | 2745635.2385 | 1270804.7154
74 | 2745640.3518 | 1270821.3938
75 | 2745614.4548 | 1270811.8889
76 | 2745640.7281 | 1270822.6211
77 | 2745587.7961 | 1270821.0901
78 | 2745718.9872 | 1270839.2282
79 | 2745670.4544 | 1270905.43
80 | 2745657.293 | 1270871.4865
81 | 2745651.6258 | 1270916.9435
82 | 2745653.7478 | 1270862.3434
83 | 2745629.4202 | 1270930.522
84 | 2745649.7279 | 1270851.976
85 | 2745606.036 | 1270944.8211
86 | 2745716.4902 | 1270832.1915
87 | 2745645.6042 | 1270838.5256
88 | 2745646.1501 | 1270840.3062
89 | 2745612.4802 | 1270876.8932
90 | 2745597.1626 | 1270867.8174
91 | 2745595.4483 | 1270863.6045
92 | 2745540.2333 | 1271030.5687
93 | 2745527.2919 | 1271081.045
94 | 2745502.3962 | 1271044.3393
95 | 2745484.464 | 1271019.161
96 | 2745522.6194 | 1270995.8294
97 | 2745569.2164 | 1270967.3359
98 | 2745486.9764 | 1270925.1478
99 | 2745491.622 | 1270922.3056
100 | 2745588.4375 | 1270955.5824
101 | 2745595.799 | 1270951.0809
102 | 2745501.7453 | 1270916.1124
103 | 2745504.2563 | 1270914.5762
104 | 2745515.0197 | 1270909.2536
105 | 2745528.6516 | 1270902.5125
106 | 2745542.4838 | 1270895.6723
107 | 2745544.6177 | 1270894.6171
108 | 2745585.4564 | 1270838.8106
109 | 2745577.207 | 1270829.0873
110 | 2745512.5568 | 1270840.1296
111 | 2745521.5991 | 1270836.419
112 | 2745530.0998 | 1270832.8822
113 | 2745546.5051 | 1270826.8421
114 | 2745556.6451 | 1270824.7216
115 | 2745567.9721 | 1270822.3529
116 | 2745753.2388 | 1270802.5349

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1