## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4461-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4461-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4461-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4461-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4461-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4461-10_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4461-10_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4461-10_0_4_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_4461-10_0_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_4461-10_0_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_4461-10_0_4_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_4461-10_0_4_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_4461-10_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4461-10_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4461-10_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_4461-10_0_4_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_4461-10_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_4461-10_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4461-10_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4461-10_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4461-10_0_4_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_4461-10_0_4_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_4461-10_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4461-10_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4461-10_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4461-10_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4461-10_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4461-10_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_4461-10_0_4_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_4461-10_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4461-10_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4461-10_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4461-10_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4461-10_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4461-10_0_4_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_4461-10_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4461-10_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_4461-10_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_4461-10_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4461-10_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_4461-10_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_4461-10_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_4461-10_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4461-10_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4461-10_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_4461-10_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_4461-10_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_4461-10_0_4_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_4461-10_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_4461-10_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_4461-10_0_4_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_4461-10_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_4461-10_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_4461-10_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4461-10_0_4_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_4461-10_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_4461-10_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_4461-10_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_4461-10_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_4461-10_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_4461-10_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_4461-10_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_4461-10_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_4461-10_0_4_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_4461-10_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_4461-10_0_4_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_4461-10_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_4461-10_0_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_4461-10_0_4_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_4461-10_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_4461-10_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_4461-10_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_4461-10_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_4461-10_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_4461-10_0_4_node_73 | 0.4 | n |  | TRUE
75 | bus_MV_407_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4461-10_0_4_load_0 | 0 | 0.0010699 | 0.00026815 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4461-10_0_4_load_3 | 3 | 0.00055639 | 0.00013944 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4461-10_0_4_load_4 | 4 | 0.0010844 | 0.00027177 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4461-10_0_4_load_6 | 6 | 0.00051303 | 0.00012858 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4461-10_0_4_load_32 | 7 | 0.001528 | 0.00038295 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4461-10_0_4_load_66 | 8 | 0.0022818 | 0.00057188 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4461-10_0_4_load_20 | 9 | 0.0004999 | 0.00012529 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4461-10_0_4_load_29 | 10 | 0.0022153 | 0.0005552 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4461-10_0_4_load_40 | 11 | 0.001557 | 0.00039023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4461-10_0_4_load_11 | 12 | 0.0008559 | 0.00021451 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4461-10_0_4_load_18 | 13 | 0.0012477 | 0.00031271 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4461-10_0_4_load_30 | 14 | 0.00096048 | 0.00024072 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4461-10_0_4_load_7 | 16 | 0.00071457 | 0.00017909 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4461-10_0_4_load_8 | 17 | 0.00068077 | 0.00017062 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4461-10_0_4_load_9 | 18 | 0.0011927 | 0.00029891 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4461-10_0_4_load_10 | 19 | 0.0034239 | 0.0008581 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4461-10_0_4_load_12 | 22 | 0.0009339 | 0.00023406 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4461-10_0_4_load_13 | 23 | 0.00021745 | 5.4497e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4461-10_0_4_load_14 | 24 | 0.00035325 | 8.8533e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4461-10_0_4_load_15 | 25 | 0.00059974 | 0.00015031 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4461-10_0_4_load_16 | 26 | 0.00059163 | 0.00014828 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4461-10_0_4_load_27 | 27 | 0.00044954 | 0.00011266 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4461-10_0_4_load_42 | 28 | 0.0016526 | 0.00041419 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4461-10_0_4_load_17 | 30 | 0.0011809 | 0.00029597 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4461-10_0_4_load_21 | 32 | 0.0029855 | 0.00074824 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4461-10_0_4_load_22 | 33 | 0.0016471 | 0.00041279 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4461-10_0_4_load_50 | 34 | 0.0037896 | 0.00094977 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4461-10_0_4_load_28 | 35 | 0.00066629 | 0.00016699 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4461-10_0_4_load_51 | 36 | 0.0030847 | 0.00077311 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4461-10_0_4_load_23 | 37 | 0.028243 | 0.0070784 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4461-10_0_4_load_24 | 38 | 0.01707 | 0.0042781 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4461-10_0_4_load_26 | 39 | 0.0050089 | 0.0012554 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4461-10_0_4_load_38 | 41 | 0.028754 | 0.0072066 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4461-10_0_4_load_36 | 44 | 0.0088593 | 0.0022204 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4461-10_0_4_load_33 | 45 | 0.0016118 | 0.00040395 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4461-10_0_4_load_34 | 46 | 0.0034568 | 0.00086634 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4461-10_0_4_load_52 | 47 | 0.0074415 | 0.001865 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4461-10_0_4_load_61 | 49 | 0.038058 | 0.0095382 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4461-10_0_4_load_53 | 50 | 0.016865 | 0.0042268 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4461-10_0_4_load_48 | 51 | 0.027397 | 0.0068662 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4461-10_0_4_load_49 | 52 | 0.016573 | 0.0041535 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4461-10_0_4_load_67 | 54 | 0.00064713 | 0.00016219 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4461-10_0_4_load_43 | 55 | 0.002706 | 0.00067818 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4461-10_0_4_load_44 | 56 | 0.013595 | 0.0034073 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4461-10_0_4_load_46 | 57 | 0.0017621 | 0.00044162 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4461-10_0_4_load_57 | 58 | 0.0012264 | 0.00030737 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4461-10_0_4_load_56 | 59 | 0.0023164 | 0.00058055 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4461-10_0_4_load_54 | 60 | 0.0023866 | 0.00059814 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4461-10_0_4_load_55 | 61 | 0.059126 | 0.014818 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4461-10_0_4_load_58 | 62 | 0.0064364 | 0.0016131 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4461-10_0_4_load_64 | 64 | 0.001776 | 0.0004451 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4461-10_0_4_load_76 | 65 | 0.014042 | 0.0035193 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4461-10_0_4_load_63 | 66 | 0.012752 | 0.0031958 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4461-10_0_4_load_75 | 68 | 0.011373 | 0.0028503 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4461-10_0_4_load_69 | 69 | 0.00046992 | 0.00011777 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4461-10_0_4_load_74 | 72 | 0.00097453 | 0.00024424 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4461-10_0_4_load_72 | 73 | 0.00043427 | 0.00010884 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4461-10_0_4_load_73 | 74 | 0.0069602 | 0.0017444 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4461-10_0_4_line_0 |  | 0 | 1 | 0.032229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4461-10_0_4_line_1 |  | 0 | 2 | 0.026682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4461-10_0_4_line_2 |  | 1 | 3 | 0.011993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4461-10_0_4_line_3 |  | 1 | 4 | 0.020011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4461-10_0_4_line_4 |  | 2 | 5 | 0.007178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4461-10_0_4_line_5 |  | 2 | 6 | 0.024046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4461-10_0_4_line_6 |  | 3 | 7 | 0.025447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4461-10_0_4_line_7 |  | 4 | 8 | 0.026384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4461-10_0_4_line_8 |  | 5 | 9 | 0.011938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4461-10_0_4_line_9 |  | 5 | 10 | 0.014401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4461-10_0_4_line_10 |  | 6 | 11 | 0.010824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4461-10_0_4_line_11 |  | 7 | 12 | 0.0051334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4461-10_0_4_line_12 |  | 9 | 13 | 0.022025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4461-10_0_4_line_13 |  | 10 | 14 | 0.0029284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4461-10_0_4_line_14 |  | 11 | 15 | 0.031621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4461-10_0_4_line_15 |  | 12 | 18 | 0.0059297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4461-10_0_4_line_16 |  | 13 | 30 | 0.026955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4461-10_0_4_line_17 |  | 14 | 43 | 0.032186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4461-10_0_4_line_18 |  | 15 | 28 | 0.0012548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4461-10_0_4_line_19 |  | 15 | 25 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4461-10_0_4_line_20 |  | 16 | 17 | 0.0087399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4461-10_0_4_line_21 |  | 16 | 18 | 0.007199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4461-10_0_4_line_22 |  | 17 | 19 | 0.021281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4461-10_0_4_line_23 |  | 19 | 20 | 0.0087946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4461-10_0_4_line_24 |  | 20 | 21 | 0.017904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4461-10_0_4_line_25 |  | 21 | 63 | 0.006908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4461-10_0_4_line_26 |  | 21 | 64 | 0.022046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4461-10_0_4_line_27 |  | 22 | 23 | 0.015545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4461-10_0_4_line_28 |  | 22 | 24 | 0.026751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4461-10_0_4_line_29 |  | 23 | 25 | 0.012377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_4461-10_0_4_line_30 |  | 24 | 26 | 0.024129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4461-10_0_4_line_31 |  | 26 | 27 | 0.0038167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_4461-10_0_4_line_32 |  | 27 | 29 | 0.024643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4461-10_0_4_line_33 |  | 28 | 54 | 0.11271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4461-10_0_4_line_34 |  | 29 | 37 | 0.018047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_4461-10_0_4_line_35 |  | 30 | 31 | 0.012644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4461-10_0_4_line_36 |  | 31 | 32 | 0.026546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4461-10_0_4_line_37 |  | 31 | 33 | 0.00848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4461-10_0_4_line_38 |  | 32 | 34 | 0.013155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4461-10_0_4_line_39 |  | 33 | 35 | 0.034252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4461-10_0_4_line_40 |  | 34 | 36 | 0.049201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4461-10_0_4_line_41 |  | 37 | 38 | 0.012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_4461-10_0_4_line_42 |  | 38 | 39 | 0.064224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4461-10_0_4_line_43 |  | 39 | 40 | 0.038867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4461-10_0_4_line_44 |  | 40 | 41 | 0.012444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4461-10_0_4_line_45 |  | 40 | 42 | 0.01599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_4461-10_0_4_line_46 |  | 41 | 47 | 0.010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4461-10_0_4_line_47 |  | 42 | 48 | 0.008439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4461-10_0_4_line_48 |  | 42 | 49 | 0.053254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4461-10_0_4_line_49 |  | 43 | 44 | 0.026903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4461-10_0_4_line_50 |  | 43 | 45 | 0.021041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4461-10_0_4_line_51 |  | 45 | 46 | 0.02342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4461-10_0_4_line_52 |  | 47 | 50 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4461-10_0_4_line_53 |  | 48 | 51 | 0.006637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4461-10_0_4_line_54 |  | 48 | 52 | 0.015913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4461-10_0_4_line_55 |  | 49 | 53 | 0.029723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4461-10_0_4_line_56 |  | 50 | 62 | 0.0069955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4461-10_0_4_line_57 |  | 52 | 61 | 0.047315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4461-10_0_4_line_58 |  | 53 | 56 | 0.056717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4461-10_0_4_line_59 |  | 55 | 56 | 0.079399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4461-10_0_4_line_60 |  | 57 | 58 | 0.020942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4461-10_0_4_line_61 |  | 58 | 59 | 0.0062747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4461-10_0_4_line_62 |  | 59 | 60 | 0.095652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4461-10_0_4_line_63 |  | 60 | 61 | 0.032328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4461-10_0_4_line_64 |  | 63 | 65 | 0.027972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4461-10_0_4_line_65 |  | 64 | 66 | 0.036518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4461-10_0_4_line_66 |  | 66 | 67 | 0.025738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4461-10_0_4_line_67 |  | 67 | 68 | 0.52544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4461-10_0_4_line_68 |  | 68 | 71 | 0.054466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4461-10_0_4_line_69 |  | 69 | 70 | 0.011668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4461-10_0_4_line_70 |  | 70 | 71 | 0.006416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4461-10_0_4_line_71 |  | 71 | 72 | 0.019645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4461-10_0_4_line_72 |  | 72 | 74 | 0.0072584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4461-10_0_4_line_73 |  | 73 | 74 | 0.026196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4461-10_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 75 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2740659.3503 | 1265890.0792 | 2740671.6304 | 1265891.5951 | 2740687.2147 | 1265893.8571 | 2740691.2945 | 1265894.3417
1 | 2740717.9078 | 1265895.8896 | 2740710.4659 | 1265895.868 | 2740702.588 | 1265895.4912 | 2740695.5301 | 1265894.8448 | 2740691.2945 | 1265894.3417
2 | 2740659.3503 | 1265890.0792 | 2740647.4428 | 1265888.6475
3 | 2740659.3503 | 1265890.0792 | 2740666.0709 | 1265871.2302
4 | 2740724.996 | 1265894.6349 | 2740717.9078 | 1265895.8896
5 | 2740717.9078 | 1265895.8896 | 2740720.2049 | 1265903.4961 | 2740727.2083 | 1265917.9934
6 | 2740622.1628 | 1265885.749 | 2740627.2844 | 1265886.2237 | 2740647.4428 | 1265888.6475
7 | 2740666.0709 | 1265871.2302 | 2740666.373 | 1265870.3827 | 2740674.6222 | 1265848.5355 | 2740675.4404 | 1265846.5675
8 | 2740724.996 | 1265894.6349 | 2740736.6834 | 1265892.1997
9 | 2740724.996 | 1265894.6349 | 2740721.5103 | 1265880.6623
10 | 2740727.2083 | 1265917.9934 | 2740731.0376 | 1265925.9203 | 2740731.847 | 1265927.7722
11 | 2740622.1628 | 1265885.749 | 2740618.8888 | 1265885.4455 | 2740617.0435 | 1265885.4234
12 | 2740736.6834 | 1265892.1997 | 2740738.0247 | 1265891.9202 | 2740757.4634 | 1265886.0662 | 2740757.8051 | 1265885.9759
13 | 2740720.8015 | 1265877.821 | 2740721.5103 | 1265880.6623
14 | 2740744.0232 | 1265956.9374 | 2740742.1975 | 1265951.6777 | 2740739.7303 | 1265945.5241 | 2740734.7021 | 1265934.3046 | 2740731.847 | 1265927.7722
15 | 2740611.1149 | 1265885.3745 | 2740611.3656 | 1265885.3553 | 2740617.0435 | 1265885.4234
16 | 2740784.0548 | 1265879.9695 | 2740781.3676 | 1265880.2742 | 2740771.7528 | 1265882.2916 | 2740757.8051 | 1265885.9759
17 | 2740713.0109 | 1265846.5917 | 2740720.8015 | 1265877.821
18 | 2740744.0232 | 1265956.9374 | 2740744.2897 | 1265958.1636
19 | 2740744.0232 | 1265956.9374 | 2740757.8512 | 1265953.5523 | 2740762.6641 | 1265952.6577
20 | 2740603.9377 | 1265885.9339 | 2740595.2247 | 1265886.6189
21 | 2740603.9377 | 1265885.9339 | 2740608.8149 | 1265885.5504 | 2740611.1149 | 1265885.3745
22 | 2740595.2247 | 1265886.6189 | 2740590.0304 | 1265887.0273 | 2740585.3536 | 1265886.9827 | 2740580.9013 | 1265886.3651 | 2740574.2028 | 1265884.7151
23 | 2740565.6276 | 1265882.7651 | 2740572.1543 | 1265884.2106 | 2740574.2028 | 1265884.7151
24 | 2740565.6276 | 1265882.7651 | 2740562.6687 | 1265900.423
25 | 2740561.6098 | 1265907.2489 | 2740562.6687 | 1265900.423
26 | 2740562.6687 | 1265900.423 | 2740580.9907 | 1265903.495 | 2740581.2558 | 1265906.9527
27 | 2740790.4424 | 1265952.991 | 2740788.1105 | 1265952.5941 | 2740781.639 | 1265951.6836 | 2740774.9951 | 1265951.6809
28 | 2740790.4424 | 1265952.991 | 2740795.1777 | 1265953.797 | 2740807.5012 | 1265956.0149 | 2740816.7587 | 1265957.7889
29 | 2740762.6641 | 1265952.6577 | 2740763.4729 | 1265952.5073 | 2740769.0368 | 1265951.9949 | 2740774.9951 | 1265951.6809 | 2740774.9951 | 1265951.6809
30 | 2740840.6591 | 1265960.9467 | 2740834.2496 | 1265960.4564 | 2740827.8943 | 1265959.7265 | 2740819.8962 | 1265958.3902 | 2740816.7587 | 1265957.7889
31 | 2740840.6591 | 1265960.9467 | 2740841.2198 | 1265960.9896 | 2740844.473 | 1265961.0758
32 | 2740868.6674 | 1265957.9073 | 2740863.0238 | 1265959.8636 | 2740859.1311 | 1265960.7384 | 2740854.2545 | 1265961.1781 | 2740849.5909 | 1265961.2115 | 2740844.473 | 1265961.0758
33 | 2740744.2897 | 1265958.1636 | 2740746.5094 | 1266070.8512
34 | 2740868.6674 | 1265957.9073 | 2740880.9215 | 1265971.1559
35 | 2740796.0601 | 1265883.2937 | 2740793.3017 | 1265881.771 | 2740790.2167 | 1265880.6742 | 2740787.4418 | 1265880.1632 | 2740784.3663 | 1265879.9342 | 2740784.0548 | 1265879.9695
36 | 2740796.0601 | 1265883.2937 | 2740800.5077 | 1265878.4171 | 2740802.8136 | 1265876.1698 | 2740804.8478 | 1265874.8948 | 2740807.236 | 1265873.6171 | 2740817.8326 | 1265868.8566
37 | 2740796.0601 | 1265883.2937 | 2740798.6035 | 1265885.3007 | 2740802.3139 | 1265889.0009
38 | 2740817.8326 | 1265868.8566 | 2740826.6072 | 1265864.9145 | 2740829.6755 | 1265863.1583
39 | 2740826.1866 | 1265913.5622 | 2740815.2896 | 1265902.3258 | 2740802.8196 | 1265889.5052 | 2740802.3139 | 1265889.0009
40 | 2740829.6755 | 1265863.1583 | 2740846.8838 | 1265853.3085 | 2740852.2834 | 1265850.2119 | 2740872.4447 | 1265838.8364
41 | 2740880.9215 | 1265971.1559 | 2740881.3641 | 1265971.6343 | 2740888.9263 | 1265980.0962
42 | 2740888.9263 | 1265980.0962 | 2740927.909 | 1266023.7168 | 2740931.7645 | 1266027.9461
43 | 2740960.9551 | 1266052.7441 | 2740956.604 | 1266051.0498 | 2740952.8699 | 1266049.07 | 2740949.0509 | 1266046.5431 | 2740941.9735 | 1266039.1449 | 2740931.7645 | 1266027.9461
44 | 2740960.9551 | 1266052.7441 | 2740964.2598 | 1266040.7465
45 | 2740956.8276 | 1266068.1941 | 2740958.0339 | 1266063.7296 | 2740960.9551 | 1266052.7441
46 | 2740964.2598 | 1266040.7465 | 2740967.0061 | 1266030.7762
47 | 2740956.8276 | 1266068.1941 | 2740954.6593 | 1266076.3503
48 | 2740956.8276 | 1266068.1941 | 2740962.4968 | 1266071.1544 | 2740966.5746 | 1266073.5651 | 2740980.609 | 1266082.0414 | 2740989.2248 | 1266087.1518 | 2740997.4845 | 1266091.72 | 2741003.0866 | 1266094.5345
49 | 2740713.0109 | 1265846.5917 | 2740716.9865 | 1265846.3528 | 2740721.4487 | 1265845.6027 | 2740739.4187 | 1265841.3263
50 | 2740713.0109 | 1265846.5917 | 2740714.4301 | 1265844.568 | 2740714.8498 | 1265843.7104 | 2740715.1159 | 1265842.6602 | 2740715.187 | 1265841.5719 | 2740714.6624 | 1265826.1408
51 | 2740713.8666 | 1265802.7338 | 2740714.6624 | 1265826.1408
52 | 2740967.0061 | 1266030.7762 | 2740969.6808 | 1266021.0657 | 2740971.2211 | 1266015.8926
53 | 2740949.1047 | 1266072.6921 | 2740954.6593 | 1266076.3503
54 | 2740954.6593 | 1266076.3503 | 2740950.3997 | 1266091.6823
55 | 2741030.3955 | 1266106.1858 | 2741019.7012 | 1266102.3158 | 2741008.2922 | 1266097.1497 | 2741003.0866 | 1266094.5345
56 | 2740973.2173 | 1266009.188 | 2740971.2211 | 1266015.8926
57 | 2740937.7432 | 1266137.273 | 2740949.2783 | 1266095.7187 | 2740950.3997 | 1266091.6823
58 | 2741030.3955 | 1266106.1858 | 2741030.6487 | 1266119.2379 | 2741026.125 | 1266162.6658
59 | 2741026.125 | 1266162.6658 | 2741038.8868 | 1266241.0325
60 | 2740902.7612 | 1266266.8891 | 2740892.1057 | 1266284.9177
61 | 2740904.3583 | 1266260.821 | 2740902.7612 | 1266266.8891
62 | 2740929.0961 | 1266168.4235 | 2740904.3583 | 1266260.821
63 | 2740929.0961 | 1266168.4235 | 2740937.7432 | 1266137.273
64 | 2740561.6098 | 1265907.2489 | 2740561.4476 | 1265909.6363 | 2740561.9069 | 1265921.0361 | 2740562.0518 | 1265924.4428 | 2740559.5722 | 1265928.2988 | 2740553.5012 | 1265928.9106 | 2740553.4279 | 1265928.9186
65 | 2740583.9947 | 1265943.3593 | 2740583.9491 | 1265939.6561 | 2740582.1019 | 1265917.891 | 2740581.4161 | 1265909.0439 | 2740581.2558 | 1265906.9527
66 | 2740580.4238 | 1265968.7673 | 2740581.06 | 1265966.091 | 2740581.7381 | 1265963.2376 | 2740582.7764 | 1265958.2241 | 2740583.5183 | 1265952.6919 | 2740584.0287 | 1265946.1199 | 2740583.9947 | 1265943.3593
67 | 2740580.4238 | 1265968.7673 | 2740269.6383 | 1266392.4386
68 | 2740272.9217 | 1266446.7057 | 2740273.0061 | 1266421.9057 | 2740272.2834 | 1266413.0132 | 2740269.6383 | 1266392.4386
69 | 2740274.9539 | 1266452.7931 | 2740285.9389 | 1266448.8585
70 | 2740272.9217 | 1266446.7057 | 2740274.9539 | 1266452.7931
71 | 2740272.9217 | 1266446.7057 | 2740253.4421 | 1266444.1644
72 | 2740253.4421 | 1266444.1644 | 2740246.2447 | 1266443.2254
73 | 2740220.1364 | 1266441.2997 | 2740238.839 | 1266442.2593 | 2740246.2447 | 1266443.2254

## bus_geodata
| x | y | coords
0 | 2740691.2945 | 1265894.3417
1 | 2740659.3503 | 1265890.0792
2 | 2740717.9078 | 1265895.8896
3 | 2740647.4428 | 1265888.6475
4 | 2740666.0709 | 1265871.2302
5 | 2740724.996 | 1265894.6349
6 | 2740727.2083 | 1265917.9934
7 | 2740622.1628 | 1265885.749
8 | 2740675.4404 | 1265846.5675
9 | 2740736.6834 | 1265892.1997
10 | 2740721.5103 | 1265880.6623
11 | 2740731.847 | 1265927.7722
12 | 2740617.0435 | 1265885.4234
13 | 2740757.8051 | 1265885.9759
14 | 2740720.8015 | 1265877.821
15 | 2740744.0232 | 1265956.9374
16 | 2740603.9377 | 1265885.9339
17 | 2740595.2247 | 1265886.6189
18 | 2740611.1149 | 1265885.3745
19 | 2740574.2028 | 1265884.7151
20 | 2740565.6276 | 1265882.7651
21 | 2740562.6687 | 1265900.423
22 | 2740790.4424 | 1265952.991
23 | 2740774.9951 | 1265951.6809
24 | 2740816.7587 | 1265957.7889
25 | 2740762.6641 | 1265952.6577
26 | 2740840.6591 | 1265960.9467
27 | 2740844.473 | 1265961.0758
28 | 2740744.2897 | 1265958.1636
29 | 2740868.6674 | 1265957.9073
30 | 2740784.0548 | 1265879.9695
31 | 2740796.0601 | 1265883.2937
32 | 2740817.8326 | 1265868.8566
33 | 2740802.3139 | 1265889.0009
34 | 2740829.6755 | 1265863.1583
35 | 2740826.1866 | 1265913.5622
36 | 2740872.4447 | 1265838.8364
37 | 2740880.9215 | 1265971.1559
38 | 2740888.9263 | 1265980.0962
39 | 2740931.7645 | 1266027.9461
40 | 2740960.9551 | 1266052.7441
41 | 2740964.2598 | 1266040.7465
42 | 2740956.8276 | 1266068.1941
43 | 2740713.0109 | 1265846.5917
44 | 2740739.4187 | 1265841.3263
45 | 2740714.6624 | 1265826.1408
46 | 2740713.8666 | 1265802.7338
47 | 2740967.0061 | 1266030.7762
48 | 2740954.6593 | 1266076.3503
49 | 2741003.0866 | 1266094.5345
50 | 2740971.2211 | 1266015.8926
51 | 2740949.1047 | 1266072.6921
52 | 2740950.3997 | 1266091.6823
53 | 2741030.3955 | 1266106.1858
54 | 2740746.5094 | 1266070.8512
55 | 2741038.8868 | 1266241.0325
56 | 2741026.125 | 1266162.6658
57 | 2740892.1057 | 1266284.9177
58 | 2740902.7612 | 1266266.8891
59 | 2740904.3583 | 1266260.821
60 | 2740929.0961 | 1266168.4235
61 | 2740937.7432 | 1266137.273
62 | 2740973.2173 | 1266009.188
63 | 2740561.6098 | 1265907.2489
64 | 2740581.2558 | 1265906.9527
65 | 2740553.4279 | 1265928.9186
66 | 2740583.9947 | 1265943.3593
67 | 2740580.4238 | 1265968.7673
68 | 2740269.6383 | 1266392.4386
69 | 2740285.9389 | 1266448.8585
70 | 2740274.9539 | 1266452.7931
71 | 2740272.9217 | 1266446.7057
72 | 2740253.4421 | 1266444.1644
73 | 2740220.1364 | 1266441.2997
74 | 2740246.2447 | 1266443.2254
75 | 2740868.6674 | 1265957.9073

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1