## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4461-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4461-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4461-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4461-11_0_4_node_51 | 0.4 | n |  | TRUE
4 | bus_LV_4461-11_0_4_node_60 | 0.4 | n |  | TRUE
5 | bus_LV_4461-11_0_4_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_4461-11_0_4_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_4461-11_0_4_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_4461-11_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_4461-11_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_4461-11_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_4461-11_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_4461-11_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_4461-11_0_4_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_4461-11_0_4_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_4461-11_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4461-11_0_4_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_4461-11_0_4_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_4461-11_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_4461-11_0_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_4461-11_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_4461-11_0_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_4461-11_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4461-11_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_4461-11_0_4_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_4461-11_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_4461-11_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_4461-11_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_4461-11_0_4_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_4461-11_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4461-11_0_4_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_4461-11_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_4461-11_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4461-11_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4461-11_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4461-11_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4461-11_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_4461-11_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4461-11_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_4461-11_0_4_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_4461-11_0_4_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_4461-11_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_4461-11_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_4461-11_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_4461-11_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_4461-11_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_4461-11_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4461-11_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4461-11_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4461-11_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4461-11_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4461-11_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4461-11_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_4461-11_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4461-11_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_4461-11_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_4461-11_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_4461-11_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_4461-11_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4461-11_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_4461-11_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_4461-11_0_4_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_4461-11_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_4461-11_0_4_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_4461-11_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_MV_407_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4461-11_0_4_load_0 | 0 | 0.0021358 | 0.00053529 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4461-11_0_4_load_1 | 1 | 0.00091554 | 0.00022946 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4461-11_0_4_load_51 | 3 | 0.00078913 | 0.00019777 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4461-11_0_4_load_60 | 4 | 0.0030549 | 0.00076564 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4461-11_0_4_load_54 | 5 | 0.0020699 | 0.00051877 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4461-11_0_4_load_52 | 6 | 0.00046712 | 0.00011707 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4461-11_0_4_load_3 | 8 | 0.0018271 | 0.00045792 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4461-11_0_4_load_14 | 10 | 0.00043917 | 0.00011007 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4461-11_0_4_load_16 | 11 | 0.0023487 | 0.00058863 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4461-11_0_4_load_61 | 13 | 0.003321 | 0.00083232 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4461-11_0_4_load_6 | 16 | 0.0071834 | 0.0018003 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4461-11_0_4_load_7 | 17 | 0.010331 | 0.0025892 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4461-11_0_4_load_29 | 19 | 0.007295 | 0.0018283 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4461-11_0_4_load_22 | 20 | 0.0073709 | 0.0018473 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4461-11_0_4_load_9 | 24 | 0.015417 | 0.0038639 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4461-11_0_4_load_10 | 25 | 0.0093277 | 0.0023378 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4461-11_0_4_load_12 | 27 | 0.01364 | 0.0034185 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4461-11_0_4_load_59 | 28 | 0.0027221 | 0.00068222 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4461-11_0_4_load_18 | 29 | 0.0043807 | 0.0010979 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4461-11_0_4_load_58 | 30 | 0.0025911 | 0.0006494 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4461-11_0_4_load_17 | 31 | 0.00076865 | 0.00019264 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4461-11_0_4_load_24 | 34 | 0.00048051 | 0.00012043 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4461-11_0_4_load_19 | 36 | 0.0085338 | 0.0021388 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4461-11_0_4_load_21 | 37 | 0.037987 | 0.0095204 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4461-11_0_4_load_27 | 38 | 0.066797 | 0.016741 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4461-11_0_4_load_65 | 39 | 0.00096088 | 0.00024082 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4461-11_0_4_load_66 | 40 | 0.044248 | 0.01109 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4461-11_0_4_load_32 | 41 | 0.0035343 | 0.00088578 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4461-11_0_4_load_33 | 42 | 0.0024406 | 0.00061168 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4461-11_0_4_load_34 | 43 | 0.0029846 | 0.00074801 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4461-11_0_4_load_35 | 44 | 0.00077745 | 0.00019485 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4461-11_0_4_load_41 | 45 | 0.0034319 | 0.00086011 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4461-11_0_4_load_36 | 47 | 0.0055125 | 0.0013816 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4461-11_0_4_load_37 | 48 | 0.0018202 | 0.00045618 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4461-11_0_4_load_38 | 49 | 0.0011573 | 0.00029005 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4461-11_0_4_load_39 | 50 | 0.0022428 | 0.0005621 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4461-11_0_4_load_40 | 51 | 0.0010703 | 0.00026825 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4461-11_0_4_load_55 | 52 | 0.0027061 | 0.00067822 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4461-11_0_4_load_45 | 53 | 0.0030305 | 0.00075952 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4461-11_0_4_load_46 | 54 | 0.0020575 | 0.00051565 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4461-11_0_4_load_44 | 55 | 0.00084218 | 0.00021107 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4461-11_0_4_load_56 | 56 | 0.00061775 | 0.00015482 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4461-11_0_4_load_47 | 57 | 0.0027594 | 0.00069157 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4461-11_0_4_load_48 | 58 | 0.0032642 | 0.00081809 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4461-11_0_4_load_49 | 59 | 0.0039866 | 0.00099913 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4461-11_0_4_load_62 | 61 | 0.0034499 | 0.00086463 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4461-11_0_4_load_57 | 62 | 0.00050406 | 0.00012633 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4461-11_0_4_load_64 | 63 | 0.0029412 | 0.00073714 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4461-11_0_4_load_53 | 64 | 0.001289 | 0.00032306 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4461-11_0_4_line_0 |  | 0 | 1 | 0.027759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4461-11_0_4_line_1 |  | 0 | 2 | 0.12145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4461-11_0_4_line_2 |  | 2 | 3 | 0.22301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4461-11_0_4_line_3 |  | 3 | 6 | 0.018848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4461-11_0_4_line_4 |  | 3 | 7 | 0.044761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4461-11_0_4_line_5 |  | 4 | 5 | 0.023003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4461-11_0_4_line_6 |  | 5 | 7 | 0.0092722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4461-11_0_4_line_7 |  | 6 | 64 | 0.0044585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4461-11_0_4_line_8 |  | 7 | 46 | 0.034774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4461-11_0_4_line_9 |  | 8 | 9 | 0.1262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4461-11_0_4_line_10 |  | 9 | 10 | 0.36943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4461-11_0_4_line_11 |  | 10 | 12 | 0.003158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4461-11_0_4_line_12 |  | 11 | 12 | 0.016688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4461-11_0_4_line_13 |  | 12 | 31 | 0.011825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4461-11_0_4_line_14 |  | 13 | 14 | 0.10454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4461-11_0_4_line_15 |  | 13 | 15 | 0.02861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4461-11_0_4_line_16 |  | 14 | 35 | 0.057494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4461-11_0_4_line_17 |  | 15 | 28 | 0.023378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4461-11_0_4_line_18 |  | 15 | 26 | 0.038041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4461-11_0_4_line_19 |  | 16 | 17 | 0.016989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4461-11_0_4_line_20 |  | 17 | 18 | 0.026124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4461-11_0_4_line_21 |  | 18 | 19 | 0.012263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4461-11_0_4_line_22 |  | 18 | 20 | 0.05315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4461-11_0_4_line_23 |  | 19 | 21 | 0.019557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4461-11_0_4_line_24 |  | 20 | 22 | 0.016112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4461-11_0_4_line_25 |  | 21 | 23 | 0.043316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4461-11_0_4_line_26 |  | 22 | 29 | 0.0086234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4461-11_0_4_line_27 |  | 22 | 27 | 0.0037791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4461-11_0_4_line_28 |  | 23 | 40 | 0.020639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4461-11_0_4_line_29 |  | 24 | 25 | 0.036137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_4461-11_0_4_line_30 |  | 24 | 26 | 0.10859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4461-11_0_4_line_31 |  | 25 | 27 | 0.019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_4461-11_0_4_line_32 |  | 28 | 30 | 0.029985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4461-11_0_4_line_33 |  | 29 | 36 | 0.011467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4461-11_0_4_line_34 |  | 30 | 52 | 0.029764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4461-11_0_4_line_35 |  | 31 | 32 | 0.0077151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4461-11_0_4_line_36 |  | 32 | 35 | 0.082732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4461-11_0_4_line_37 |  | 32 | 33 | 0.017676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4461-11_0_4_line_38 |  | 33 | 34 | 0.014404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4461-11_0_4_line_39 |  | 35 | 39 | 0.019627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4461-11_0_4_line_40 |  | 36 | 37 | 0.070135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4461-11_0_4_line_41 |  | 37 | 38 | 0.024778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4461-11_0_4_line_42 |  | 41 | 42 | 0.025171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4461-11_0_4_line_43 |  | 41 | 43 | 0.010754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4461-11_0_4_line_44 |  | 42 | 44 | 0.023663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4461-11_0_4_line_45 |  | 44 | 45 | 0.0089984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4461-11_0_4_line_46 |  | 45 | 46 | 0.011439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4461-11_0_4_line_47 |  | 46 | 55 | 0.022965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4461-11_0_4_line_48 |  | 47 | 48 | 0.0506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4461-11_0_4_line_49 |  | 47 | 49 | 0.03236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4461-11_0_4_line_50 |  | 48 | 50 | 0.02384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4461-11_0_4_line_51 |  | 49 | 51 | 0.035644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4461-11_0_4_line_52 |  | 50 | 52 | 0.024462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4461-11_0_4_line_53 |  | 51 | 53 | 0.05669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4461-11_0_4_line_54 |  | 53 | 54 | 0.012387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4461-11_0_4_line_55 |  | 54 | 57 | 0.015054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4461-11_0_4_line_56 |  | 55 | 56 | 0.06281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4461-11_0_4_line_57 |  | 57 | 58 | 0.021356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4461-11_0_4_line_58 |  | 58 | 59 | 0.022523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4461-11_0_4_line_59 |  | 59 | 60 | 0.024357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4461-11_0_4_line_60 |  | 60 | 61 | 0.019366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4461-11_0_4_line_61 |  | 60 | 62 | 0.0067883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4461-11_0_4_line_62 |  | 61 | 63 | 0.023472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4461-11_0_4_line_63 |  | 62 | 64 | 0.02235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4461-11_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 65 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2740539.4371 | 1266530.9625 | 2740532.5195 | 1266529.8084 | 2740523.0278 | 1266528.9152 | 2740511.8661 | 1266527.8571
1 | 2740595.6256 | 1266624.279 | 2740588.2175 | 1266600.4128 | 2740580.8111 | 1266572.0423 | 2740576.4232 | 1266552.6079 | 2740571.8705 | 1266540.41 | 2740560.698 | 1266534.5052 | 2740550.2472 | 1266532.7661 | 2740539.4371 | 1266530.9625
2 | 2740638.1334 | 1266843.2002 | 2740595.6256 | 1266624.279
3 | 2740638.1334 | 1266843.2002 | 2740652.2884 | 1266842.4512 | 2740656.9087 | 1266843.1521
4 | 2740595.2824 | 1266855.6968 | 2740633.8804 | 1266843.4253 | 2740638.1334 | 1266843.2002
5 | 2740563.0086 | 1266856.0465 | 2740586.0107 | 1266855.7973
6 | 2740595.2824 | 1266855.6968 | 2740586.0107 | 1266855.7973
7 | 2740661.3168 | 1266843.8207 | 2740656.9087 | 1266843.1521
8 | 2740584.7922 | 1266888.8574 | 2740595.2824 | 1266855.6968
9 | 2741364.5122 | 1267017.3361 | 2741373.5984 | 1267026.0063 | 2741392.9267 | 1267045.3988 | 2741418.4614 | 1267064.762 | 2741439.8623 | 1267082.1912 | 2741455.3967 | 1267091.4276 | 2741458.9068 | 1267096.7502 | 2741458.6784 | 1267098.9033
10 | 2740995.1442 | 1267010.3792 | 2741364.5122 | 1267017.3361
11 | 2740991.9946 | 1267010.6093 | 2740995.1442 | 1267010.3792
12 | 2740991.9946 | 1267010.6093 | 2740992.9072 | 1267016.548 | 2740993.946 | 1267023.8243 | 2740992.459 | 1267026.8029
13 | 2740991.9946 | 1267010.6093 | 2740986.9776 | 1267010.9677 | 2740980.2425 | 1267010.0625
14 | 2741016.7433 | 1266876.246 | 2741046.2046 | 1266816.4349 | 2741058.4987 | 1266780.6177
15 | 2741068.6596 | 1266753.8873 | 2741062.8805 | 1266767.852 | 2741058.4987 | 1266780.6177
16 | 2740993.9272 | 1266929.0422 | 2741016.7433 | 1266876.246
17 | 2741068.6596 | 1266753.8873 | 2741045.2969 | 1266753.0289
18 | 2741066.4859 | 1266716.2431 | 2741066.7175 | 1266718.5286 | 2741070.277 | 1266745.1396 | 2741068.6596 | 1266753.8873
19 | 2741124.7925 | 1266538.4677 | 2741125.6326 | 1266523.0771 | 2741125.3212 | 1266521.5331
20 | 2741123.3685 | 1266564.5525 | 2741124.7925 | 1266538.4677
21 | 2741123.3685 | 1266564.5525 | 2741128.4628 | 1266565.3861 | 2741135.5325 | 1266566.0566
22 | 2741123.3685 | 1266564.5525 | 2741101.8314 | 1266563.7376 | 2741093.4362 | 1266562.9809 | 2741086.8079 | 1266561.41 | 2741079.9625 | 1266557.5762 | 2741075.3949 | 1266554.2417 | 2741072.6559 | 1266553.4339
23 | 2741152.1479 | 1266571.1906 | 2741147.923 | 1266565.4953 | 2741139.7503 | 1266566.4566 | 2741135.5325 | 1266566.0566
24 | 2741057.0061 | 1266549.6428 | 2741063.3472 | 1266550.9399 | 2741067.9679 | 1266552.0512 | 2741072.6559 | 1266553.4339
25 | 2741152.1479 | 1266571.1906 | 2741163.5217 | 1266568.6487 | 2741179.8303 | 1266562.5878 | 2741192.5319 | 1266555.8624
26 | 2741057.0061 | 1266549.6428 | 2741058.0542 | 1266541.0834
27 | 2741057.0061 | 1266549.6428 | 2741056.7662 | 1266553.4143
28 | 2741192.5319 | 1266555.8624 | 2741175.5585 | 1266544.0454
29 | 2741055.7435 | 1266573.0117 | 2741055.0852 | 1266589.0689 | 2741053.0263 | 1266609.0294
30 | 2741066.4859 | 1266716.2431 | 2741062.2842 | 1266673.6345 | 2741057.6738 | 1266650.9689 | 2741051.6349 | 1266622.5192 | 2741053.0263 | 1266609.0294
31 | 2741055.7435 | 1266573.0117 | 2741056.1498 | 1266563.1022 | 2741056.7662 | 1266553.4143
32 | 2741045.2969 | 1266753.0289 | 2741029.7319 | 1266752.457 | 2741015.4797 | 1266754.5838
33 | 2741059.4478 | 1266529.7019 | 2741058.0542 | 1266541.0834
34 | 2740987.4495 | 1266764.0716 | 2741007.6302 | 1266755.7551 | 2741015.4797 | 1266754.5838
35 | 2740972.655 | 1267008.6683 | 2740979.7331 | 1267009.994 | 2740980.2425 | 1267010.0625
36 | 2740972.655 | 1267008.6683 | 2740979.6785 | 1266993.6656 | 2740985.8932 | 1266964.5965 | 2740993.9272 | 1266929.0422
37 | 2740960.8265 | 1267021.7768 | 2740963.4934 | 1267019.5382 | 2740972.655 | 1267008.6683
38 | 2740960.8265 | 1267021.7768 | 2740959.1667 | 1267023.1608 | 2740949.8452 | 1267031.0981
39 | 2740979.0373 | 1266917.6871 | 2740982.0173 | 1266922.841 | 2740986.8978 | 1266926.9392 | 2740993.9272 | 1266929.0422
40 | 2741059.4478 | 1266529.7019 | 2741060.9737 | 1266517.2392 | 2741061.4203 | 1266502.0127 | 2741060.2499 | 1266488.2602 | 2741058.3103 | 1266477.7036 | 2741054.7567 | 1266468.1762 | 2741051.7133 | 1266461.1666
41 | 2741051.7133 | 1266461.1666 | 2741045.4612 | 1266446.7668 | 2741041.4986 | 1266438.5976 | 2741041.4986 | 1266438.5976
42 | 2740654.0288 | 1266886.6554 | 2740628.8707 | 1266887.4555
43 | 2740664.7778 | 1266886.3135 | 2740654.0288 | 1266886.6554
44 | 2740605.2197 | 1266888.2077 | 2740628.8707 | 1266887.4555
45 | 2740596.2259 | 1266888.4938 | 2740605.2197 | 1266888.2077
46 | 2740584.7922 | 1266888.8574 | 2740596.2259 | 1266888.4938
47 | 2740584.7922 | 1266888.8574 | 2740569.1928 | 1266894.6143 | 2740563.2218 | 1266896.7367
48 | 2740896.0084 | 1266801.7544 | 2740942.7914 | 1266782.4752
49 | 2740896.0084 | 1266801.7544 | 2740866.0895 | 1266814.084
50 | 2740942.7914 | 1266782.4752 | 2740964.833 | 1266773.3919
51 | 2740833.2375 | 1266827.9107 | 2740853.849 | 1266819.1283 | 2740866.0895 | 1266814.084
52 | 2740987.4495 | 1266764.0716 | 2740964.833 | 1266773.3919
53 | 2740782.334 | 1266852.7792 | 2740797.464 | 1266845.4662 | 2740818.9466 | 1266834.0001 | 2740833.2375 | 1266827.9107
54 | 2740782.334 | 1266852.7792 | 2740772.838 | 1266857.369 | 2740771.0458 | 1266857.7856
55 | 2740771.0458 | 1266857.7856 | 2740757.9105 | 1266860.8391 | 2740756.3449 | 1266860.7498
56 | 2740601.3593 | 1266924.0637 | 2740596.7458 | 1266918.5485 | 2740563.7778 | 1266912.959 | 2740556.1271 | 1266905.6254 | 2740562.0376 | 1266897.1577 | 2740563.2218 | 1266896.7367
57 | 2740735.0239 | 1266859.5341 | 2740756.3449 | 1266860.7498
58 | 2740735.0239 | 1266859.5341 | 2740724.3952 | 1266858.9281 | 2740712.7704 | 1266856.4953
59 | 2740690.1261 | 1266848.1907 | 2740701.3054 | 1266854.0959 | 2740712.7704 | 1266856.4953
60 | 2740690.1261 | 1266848.1907 | 2740709.3696 | 1266850.3611
61 | 2740690.1261 | 1266848.1907 | 2740683.4145 | 1266847.1726
62 | 2740732.6936 | 1266852.9917 | 2740709.3696 | 1266850.3611
63 | 2740661.3168 | 1266843.8207 | 2740683.4145 | 1266847.1726

## bus_geodata
| x | y | coords
0 | 2740539.4371 | 1266530.9625
1 | 2740511.8661 | 1266527.8571
2 | 2740595.6256 | 1266624.279
3 | 2740638.1334 | 1266843.2002
4 | 2740563.0086 | 1266856.0465
5 | 2740586.0107 | 1266855.7973
6 | 2740656.9087 | 1266843.1521
7 | 2740595.2824 | 1266855.6968
8 | 2741458.6784 | 1267098.9033
9 | 2741364.5122 | 1267017.3361
10 | 2740995.1442 | 1267010.3792
11 | 2740992.459 | 1267026.8029
12 | 2740991.9946 | 1267010.6093
13 | 2741058.4987 | 1266780.6177
14 | 2741016.7433 | 1266876.246
15 | 2741068.6596 | 1266753.8873
16 | 2741125.3212 | 1266521.5331
17 | 2741124.7925 | 1266538.4677
18 | 2741123.3685 | 1266564.5525
19 | 2741135.5325 | 1266566.0566
20 | 2741072.6559 | 1266553.4339
21 | 2741152.1479 | 1266571.1906
22 | 2741057.0061 | 1266549.6428
23 | 2741192.5319 | 1266555.8624
24 | 2741053.0263 | 1266609.0294
25 | 2741055.7435 | 1266573.0117
26 | 2741066.4859 | 1266716.2431
27 | 2741056.7662 | 1266553.4143
28 | 2741045.2969 | 1266753.0289
29 | 2741058.0542 | 1266541.0834
30 | 2741015.4797 | 1266754.5838
31 | 2740980.2425 | 1267010.0625
32 | 2740972.655 | 1267008.6683
33 | 2740960.8265 | 1267021.7768
34 | 2740949.8452 | 1267031.0981
35 | 2740993.9272 | 1266929.0422
36 | 2741059.4478 | 1266529.7019
37 | 2741051.7133 | 1266461.1666
38 | 2741041.4986 | 1266438.5976
39 | 2740979.0373 | 1266917.6871
40 | 2741175.5585 | 1266544.0454
41 | 2740654.0288 | 1266886.6554
42 | 2740628.8707 | 1266887.4555
43 | 2740664.7778 | 1266886.3135
44 | 2740605.2197 | 1266888.2077
45 | 2740596.2259 | 1266888.4938
46 | 2740584.7922 | 1266888.8574
47 | 2740896.0084 | 1266801.7544
48 | 2740942.7914 | 1266782.4752
49 | 2740866.0895 | 1266814.084
50 | 2740964.833 | 1266773.3919
51 | 2740833.2375 | 1266827.9107
52 | 2740987.4495 | 1266764.0716
53 | 2740782.334 | 1266852.7792
54 | 2740771.0458 | 1266857.7856
55 | 2740563.2218 | 1266896.7367
56 | 2740601.3593 | 1266924.0637
57 | 2740756.3449 | 1266860.7498
58 | 2740735.0239 | 1266859.5341
59 | 2740712.7704 | 1266856.4953
60 | 2740690.1261 | 1266848.1907
61 | 2740709.3696 | 1266850.3611
62 | 2740683.4145 | 1266847.1726
63 | 2740732.6936 | 1266852.9917
64 | 2740661.3168 | 1266843.8207
65 | 2741057.0061 | 1266549.6428

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1