## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4461-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4461-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4461-21_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4461-21_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4461-21_0_4_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_4461-21_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_4461-21_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_4461-21_0_4_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_4461-21_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_4461-21_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_4461-21_0_4_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_4461-21_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4461-21_0_4_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_4461-21_0_4_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_4461-21_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4461-21_0_4_node_89 | 0.4 | n |  | TRUE
16 | bus_LV_4461-21_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4461-21_0_4_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_4461-21_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_4461-21_0_4_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_4461-21_0_4_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_4461-21_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_4461-21_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_4461-21_0_4_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_4461-21_0_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_4461-21_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_4461-21_0_4_node_91 | 0.4 | n |  | TRUE
27 | bus_LV_4461-21_0_4_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_4461-21_0_4_node_84 | 0.4 | n |  | TRUE
29 | bus_LV_4461-21_0_4_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_4461-21_0_4_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_4461-21_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_4461-21_0_4_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_4461-21_0_4_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_4461-21_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4461-21_0_4_node_80 | 0.4 | n |  | TRUE
36 | bus_LV_4461-21_0_4_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_4461-21_0_4_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_4461-21_0_4_node_94 | 0.4 | n |  | TRUE
39 | bus_LV_4461-21_0_4_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_4461-21_0_4_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_4461-21_0_4_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_4461-21_0_4_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_4461-21_0_4_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_4461-21_0_4_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_4461-21_0_4_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_4461-21_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_4461-21_0_4_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_4461-21_0_4_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_4461-21_0_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_4461-21_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_4461-21_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_4461-21_0_4_node_23 | 0.4 | n |  | TRUE
53 | bus_LV_4461-21_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_4461-21_0_4_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_4461-21_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4461-21_0_4_node_25 | 0.4 | n |  | TRUE
57 | bus_LV_4461-21_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_4461-21_0_4_node_26 | 0.4 | n |  | TRUE
59 | bus_LV_4461-21_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_4461-21_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4461-21_0_4_node_27 | 0.4 | n |  | TRUE
62 | bus_LV_4461-21_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4461-21_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_4461-21_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_4461-21_0_4_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_4461-21_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_4461-21_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_4461-21_0_4_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_4461-21_0_4_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_4461-21_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_4461-21_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_4461-21_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_4461-21_0_4_node_96 | 0.4 | n |  | TRUE
74 | bus_LV_4461-21_0_4_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_4461-21_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_4461-21_0_4_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_4461-21_0_4_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_4461-21_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_4461-21_0_4_node_34 | 0.4 | n |  | TRUE
80 | bus_LV_4461-21_0_4_node_51 | 0.4 | n |  | TRUE
81 | bus_LV_4461-21_0_4_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_4461-21_0_4_node_41 | 0.4 | n |  | TRUE
83 | bus_LV_4461-21_0_4_node_38 | 0.4 | n |  | TRUE
84 | bus_LV_4461-21_0_4_node_56 | 0.4 | n |  | TRUE
85 | bus_LV_4461-21_0_4_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_4461-21_0_4_node_57 | 0.4 | n |  | TRUE
87 | bus_LV_4461-21_0_4_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_4461-21_0_4_node_60 | 0.4 | n |  | TRUE
89 | bus_LV_4461-21_0_4_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_4461-21_0_4_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_4461-21_0_4_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_4461-21_0_4_node_95 | 0.4 | n |  | TRUE
93 | bus_MV_407_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4461-21_0_4_load_0 | 0 | 0.03674 | 0.0092078 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4461-21_0_4_load_29 | 5 | 0.011325 | 0.0028383 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4461-21_0_4_load_30 | 6 | 0.010883 | 0.0027275 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4461-21_0_4_load_32 | 7 | 0.0023872 | 0.00059828 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4461-21_0_4_load_31 | 8 | 0.042565 | 0.010668 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4461-21_0_4_load_45 | 10 | 0.0031521 | 0.00078999 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4461-21_0_4_load_37 | 12 | 0.0065923 | 0.0016522 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4461-21_0_4_load_35 | 13 | 0.0037712 | 0.00094515 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4461-21_0_4_load_89 | 15 | 0.0065879 | 0.0016511 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4461-21_0_4_load_87 | 17 | 0.0025707 | 0.00064427 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4461-21_0_4_load_76 | 20 | 0.0045018 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4461-21_0_4_load_43 | 22 | 0.0080924 | 0.0020281 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4461-21_0_4_load_44 | 23 | 0.0066034 | 0.001655 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4461-21_0_4_load_36 | 24 | 0.0030779 | 0.00077141 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4461-21_0_4_load_91 | 26 | 0.0074571 | 0.0018689 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4461-21_0_4_load_92 | 27 | 0.0077424 | 0.0019404 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4461-21_0_4_load_84 | 28 | 0.0046366 | 0.001162 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4461-21_0_4_load_82 | 30 | 0.015994 | 0.0040085 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4461-21_0_4_load_83 | 32 | 0.0028747 | 0.00072046 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4461-21_0_4_load_80 | 35 | 0.017226 | 0.0043173 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4461-21_0_4_load_94 | 38 | 0.0045814 | 0.0011482 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4461-21_0_4_load_86 | 39 | 0.0024774 | 0.0006209 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4461-21_0_4_load_73 | 41 | 0.0052365 | 0.0013124 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4461-21_0_4_load_68 | 43 | 0.0051204 | 0.0012833 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4461-21_0_4_load_46 | 46 | 0.0065407 | 0.0016392 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4461-21_0_4_load_65 | 49 | 0.0090678 | 0.0022726 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4461-21_0_4_load_53 | 51 | 0.0058495 | 0.001466 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4461-21_0_4_load_58 | 53 | 0.0020032 | 0.00050205 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4461-21_0_4_load_47 | 55 | 0.01255 | 0.0031453 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4461-21_0_4_load_49 | 57 | 0.0020728 | 0.0005195 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4461-21_0_4_load_50 | 59 | 0.013611 | 0.0034112 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4461-21_0_4_load_48 | 60 | 0.0031915 | 0.00079986 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4461-21_0_4_load_61 | 63 | 0.0030434 | 0.00076275 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4461-21_0_4_load_64 | 64 | 0.039623 | 0.0099304 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4461-21_0_4_load_33 | 65 | 0.0024807 | 0.00062173 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4461-21_0_4_load_54 | 66 | 0.0067993 | 0.0017041 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4461-21_0_4_load_55 | 67 | 0.0077929 | 0.0019531 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4461-21_0_4_load_90 | 69 | 0.0051838 | 0.0012992 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4461-21_0_4_load_70 | 70 | 0.01323 | 0.0033157 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4461-21_0_4_load_67 | 71 | 0.0043919 | 0.0011007 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4461-21_0_4_load_77 | 72 | 0.0026409 | 0.00066187 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4461-21_0_4_load_96 | 73 | 0.019609 | 0.0049146 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4461-21_0_4_load_81 | 74 | 0.010741 | 0.002692 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4461-21_0_4_load_79 | 75 | 0.010749 | 0.002694 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4461-21_0_4_load_93 | 76 | 0.0053833 | 0.0013492 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4461-21_0_4_load_85 | 77 | 0.0010186 | 0.00025528 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4461-21_0_4_load_74 | 78 | 0.0051498 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4461-21_0_4_load_34 | 79 | 0.0023283 | 0.00058352 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4461-21_0_4_load_51 | 80 | 0.0071613 | 0.0017948 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4461-21_0_4_load_59 | 81 | 0.012172 | 0.0030505 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4461-21_0_4_load_38 | 83 | 0.0023886 | 0.00059864 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4461-21_0_4_load_56 | 84 | 0.0065941 | 0.0016526 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4461-21_0_4_load_66 | 85 | 0.0083181 | 0.0020847 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4461-21_0_4_load_63 | 87 | 0.024117 | 0.0060442 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4461-21_0_4_load_60 | 88 | 0.008778 | 0.0022 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4461-21_0_4_load_71 | 89 | 0.0076972 | 0.0019291 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4461-21_0_4_load_72 | 90 | 0.0081256 | 0.0020365 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4461-21_0_4_load_75 | 91 | 0.0093994 | 0.0023557 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4461-21_0_4_load_95 | 92 | 0.0048451 | 0.0012143 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 88 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4461-21_0_4_line_0 |  | 0 | 1 | 0.030828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_4461-21_0_4_line_1 |  | 0 | 2 | 0.051468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_4461-21_0_4_line_2 |  | 1 | 3 | 0.075477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_4461-21_0_4_line_3 |  | 2 | 4 | 0.002826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4461-21_0_4_line_4 |  | 2 | 5 | 0.10595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4461-21_0_4_line_5 |  | 2 | 6 | 0.028528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4461-21_0_4_line_6 |  | 3 | 7 | 0.011773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_4461-21_0_4_line_7 |  | 3 | 8 | 0.059162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4461-21_0_4_line_8 |  | 4 | 64 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4461-21_0_4_line_9 |  | 5 | 65 | 0.039057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4461-21_0_4_line_10 |  | 7 | 9 | 0.020443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4461-21_0_4_line_11 |  | 9 | 10 | 0.0068781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4461-21_0_4_line_12 |  | 9 | 11 | 0.030199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4461-21_0_4_line_13 |  | 10 | 66 | 0.026679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4461-21_0_4_line_14 |  | 11 | 12 | 0.026689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4461-21_0_4_line_15 |  | 11 | 13 | 0.014631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4461-21_0_4_line_16 |  | 12 | 67 | 0.0047126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4461-21_0_4_line_17 |  | 13 | 24 | 0.024478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4461-21_0_4_line_18 |  | 14 | 15 | 0.017137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4461-21_0_4_line_19 |  | 14 | 16 | 0.007979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4461-21_0_4_line_20 |  | 14 | 17 | 0.015978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4461-21_0_4_line_21 |  | 16 | 31 | 0.4265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4461-21_0_4_line_22 |  | 16 | 32 | 0.0032029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4461-21_0_4_line_23 |  | 17 | 68 | 0.016032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4461-21_0_4_line_24 |  | 18 | 19 | 0.017689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4461-21_0_4_line_25 |  | 18 | 20 | 0.014579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4461-21_0_4_line_26 |  | 19 | 70 | 0.032145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4461-21_0_4_line_27 |  | 19 | 71 | 0.040728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4461-21_0_4_line_28 |  | 20 | 72 | 0.0010174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4461-21_0_4_line_29 |  | 21 | 22 | 0.033673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4461-21_0_4_line_30 |  | 21 | 23 | 0.015978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4461-21_0_4_line_31 |  | 21 | 24 | 0.008743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4461-21_0_4_line_32 |  | 22 | 46 | 0.02606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4461-21_0_4_line_33 |  | 23 | 34 | 0.016347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4461-21_0_4_line_34 |  | 25 | 26 | 0.003931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4461-21_0_4_line_35 |  | 25 | 27 | 0.029607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4461-21_0_4_line_36 |  | 25 | 28 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4461-21_0_4_line_37 |  | 26 | 29 | 0.021938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4461-21_0_4_line_38 |  | 27 | 73 | 0.010858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4461-21_0_4_line_39 |  | 28 | 32 | 0.022343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4461-21_0_4_line_40 |  | 29 | 30 | 0.011804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4461-21_0_4_line_41 |  | 30 | 74 | 0.019911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4461-21_0_4_line_42 |  | 31 | 39 | 0.027941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4461-21_0_4_line_43 |  | 33 | 34 | 0.0085066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4461-21_0_4_line_44 |  | 33 | 35 | 0.010166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4461-21_0_4_line_45 |  | 34 | 55 | 0.01496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4461-21_0_4_line_46 |  | 35 | 75 | 0.024479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4461-21_0_4_line_47 |  | 36 | 37 | 0.020919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4461-21_0_4_line_48 |  | 36 | 38 | 0.010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4461-21_0_4_line_49 |  | 37 | 72 | 0.0092947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4461-21_0_4_line_50 |  | 38 | 76 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4461-21_0_4_line_51 |  | 39 | 77 | 0.031073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4461-21_0_4_line_52 |  | 40 | 41 | 0.021812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4461-21_0_4_line_53 |  | 40 | 42 | 0.022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_4461-21_0_4_line_54 |  | 40 | 43 | 0.032713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4461-21_0_4_line_55 |  | 41 | 78 | 0.039238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4461-21_0_4_line_56 |  | 42 | 50 | 0.021589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4461-21_0_4_line_57 |  | 42 | 51 | 0.016997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_4461-21_0_4_line_58 |  | 43 | 71 | 0.022218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_4461-21_0_4_line_59 |  | 44 | 45 | 0.021911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_4461-21_0_4_line_60 |  | 44 | 46 | 0.019402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_4461-21_0_4_line_61 |  | 45 | 52 | 0.025649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4461-21_0_4_line_62 |  | 45 | 53 | 0.020047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_4461-21_0_4_line_63 |  | 47 | 48 | 0.006091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4461-21_0_4_line_64 |  | 47 | 49 | 0.057563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4461-21_0_4_line_65 |  | 48 | 79 | 0.019667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4461-21_0_4_line_66 |  | 48 | 56 | 0.011193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4461-21_0_4_line_67 |  | 50 | 80 | 0.0038508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4461-21_0_4_line_68 |  | 51 | 54 | 0.02213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_4461-21_0_4_line_69 |  | 52 | 54 | 0.026278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_4461-21_0_4_line_70 |  | 53 | 81 | 0.012394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_4461-21_0_4_line_71 |  | 56 | 57 | 0.014692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4461-21_0_4_line_72 |  | 57 | 60 | 0.016022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4461-21_0_4_line_73 |  | 58 | 59 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4461-21_0_4_line_74 |  | 58 | 60 | 0.008661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4461-21_0_4_line_75 |  | 59 | 82 | 0.033694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4461-21_0_4_line_76 |  | 61 | 62 | 0.003994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4461-21_0_4_line_77 |  | 61 | 63 | 0.011186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4461-21_0_4_line_78 |  | 62 | 82 | 0.003044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4461-21_0_4_line_79 |  | 62 | 83 | 0.01266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4461-21_0_4_line_80 |  | 65 | 79 | 0.030209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_4461-21_0_4_line_81 |  | 67 | 84 | 0.048253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4461-21_0_4_line_82 |  | 68 | 69 | 0.024385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4461-21_0_4_line_83 |  | 70 | 89 | 0.0015233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4461-21_0_4_line_84 |  | 73 | 92 | 0.041145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4461-21_0_4_line_85 |  | 75 | 91 | 0.023261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4461-21_0_4_line_86 |  | 76 | 92 | 0.020814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4461-21_0_4_line_87 |  | 81 | 88 | 0.0081409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4461-21_0_4_line_88 |  | 82 | 85 | 0.059369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4461-21_0_4_line_89 |  | 84 | 86 | 0.0051992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4461-21_0_4_line_90 |  | 86 | 87 | 0.026763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4461-21_0_4_line_91 |  | 89 | 90 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4461-21_0_4_trafo_60 | 0.63 MVA 20/0.4 kV | 93 | 88 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2739934.5775 | 1268328.8674 | 2739934.3633 | 1268298.0406
1 | 2739934.0057 | 1268246.5733 | 2739934.3633 | 1268298.0406
2 | 2739934.5775 | 1268328.8674 | 2739939.7397 | 1268328.367 | 2739997.4006 | 1268322.7161 | 2740009.6952 | 1268321.5062
3 | 2739933.9824 | 1268243.7478 | 2739934.0057 | 1268246.5733
4 | 2739934.0057 | 1268246.5733 | 2739943.3222 | 1268245.8488 | 2739970.614 | 1268238.0654 | 2740005.5326 | 1268228.105 | 2740002.614 | 1268196.3251
5 | 2739906.6618 | 1268239.7192 | 2739927.0838 | 1268246.9765 | 2739934.0057 | 1268246.5733
6 | 2740009.6952 | 1268321.5062 | 2740016.4199 | 1268320.8427 | 2740021.4127 | 1268320.3629
7 | 2740009.6952 | 1268321.5062 | 2740005.0323 | 1268269.2001 | 2740004.655 | 1268262.5619
8 | 2739933.9824 | 1268243.7478 | 2739933.8662 | 1268239.1183 | 2739950.2912 | 1268234.3019
9 | 2739997.0934 | 1268157.806 | 2739999.967 | 1268167.5027 | 2740002.614 | 1268196.3251
10 | 2740041.7624 | 1268318.4075 | 2740021.4127 | 1268320.3629
11 | 2740041.7624 | 1268318.4075 | 2740041.1333 | 1268311.5582
12 | 2740071.7603 | 1268314.9373 | 2740064.087 | 1268315.9119 | 2740045.6037 | 1268318.0426 | 2740041.7624 | 1268318.4075
13 | 2740041.1333 | 1268311.5582 | 2740038.6932 | 1268284.9912
14 | 2740071.7603 | 1268314.9373 | 2740068.0751 | 1268288.5038
15 | 2740071.7603 | 1268314.9373 | 2740086.2826 | 1268313.1605
16 | 2740067.4244 | 1268283.8363 | 2740068.0751 | 1268288.5038
17 | 2740086.2826 | 1268313.1605 | 2740098.7121 | 1268311.6397 | 2740110.5288 | 1268309.8194
18 | 2740254.1727 | 1268261.4894 | 2740259.3084 | 1268261.1554 | 2740261.5159 | 1268262.6871 | 2740270.7931 | 1268261.9845
19 | 2740246.829 | 1268263.7952 | 2740249.6099 | 1268261.7925 | 2740254.1727 | 1268261.4894
20 | 2740254.1727 | 1268261.4894 | 2740253.9814 | 1268259.7165 | 2740254.3747 | 1268252.3519 | 2740255.986 | 1268245.7252
21 | 2739945.0179 | 1268404.5999 | 2739957.1978 | 1268404.4104 | 2739969.392 | 1268403.2982 | 2740051.2011 | 1268392.1924 | 2740105.0021 | 1268384.8161 | 2740117.1781 | 1268383.2032 | 2740188.1812 | 1268373.4332 | 2740244.8614 | 1268365.6372 | 2740254.4468 | 1268364.3634 | 2740250.9414 | 1268333.7947 | 2740249.7522 | 1268323.3118 | 2740248.1934 | 1268307.4703 | 2740248.0787 | 1268306.2776 | 2740247.8965 | 1268304.4381 | 2740247.5626 | 1268301.0602 | 2740246.8892 | 1268294.8604 | 2740255.1496 | 1268293.8999 | 2740254.8714 | 1268291.3464 | 2740249.5796 | 1268291.9102 | 2740249.2509 | 1268288.6325 | 2740248.6188 | 1268282.278 | 2740248.1324 | 1268277.395 | 2740247.8848 | 1268274.8199 | 2740247.2642 | 1268268.2988 | 2740246.829 | 1268263.7952
22 | 2740246.829 | 1268263.7952 | 2740243.6384 | 1268264.0754
23 | 2740259.774 | 1268230.1472 | 2740255.986 | 1268245.7252
24 | 2740212.0533 | 1268112.6997 | 2740194.4299 | 1268114.7391
25 | 2740212.0533 | 1268112.6997 | 2740213.278 | 1268127.2276
26 | 2740194.4299 | 1268114.7391 | 2740195.1694 | 1268140.037 | 2740193.0983 | 1268146.5524
27 | 2740194.4299 | 1268114.7391 | 2740166.062 | 1268118.0138 | 2740153.9716 | 1268119.4166
28 | 2740213.278 | 1268127.2276 | 2740213.3634 | 1268128.2413
29 | 2740119.1699 | 1268308.4883 | 2740115.265 | 1268275.0425
30 | 2740119.1699 | 1268308.4883 | 2740128.0057 | 1268305.8063 | 2740134.3523 | 1268303.5256
31 | 2740119.1699 | 1268308.4883 | 2740110.5288 | 1268309.8194
32 | 2740115.265 | 1268275.0425 | 2740112.243 | 1268249.1585
33 | 2740141.5751 | 1268291.8144 | 2740142.4761 | 1268294.4606 | 2740142.6595 | 1268297.201 | 2740140.881 | 1268300.1172 | 2740136.1926 | 1268302.8642 | 2740134.3523 | 1268303.5256
34 | 2740203.8483 | 1268265.4102 | 2740199.9123 | 1268265.6392
35 | 2740203.8483 | 1268265.4102 | 2740210.6373 | 1268236.5925
36 | 2740203.8483 | 1268265.4102 | 2740207.5805 | 1268265.1985 | 2740207.8396 | 1268266.9731 | 2740208.9156 | 1268268.5891 | 2740210.6895 | 1268269.3541 | 2740213.1019 | 1268269.2335 | 2740218.5399 | 1268267.9056 | 2740221.539 | 1268267.2913
37 | 2740186.1012 | 1268279.3361 | 2740191.7337 | 1268276.7894 | 2740196.6437 | 1268274.8596 | 2740199.5955 | 1268272.0046 | 2740200.0798 | 1268269.0465 | 2740199.9123 | 1268265.6392
38 | 2740213.1272 | 1268226.0235 | 2740210.6373 | 1268236.5925
39 | 2740243.6384 | 1268264.0754 | 2740241.1472 | 1268264.2941 | 2740234.2586 | 1268265.1982 | 2740232.5214 | 1268265.4239 | 2740224.7672 | 1268266.6299 | 2740221.539 | 1268267.2913
40 | 2740186.1012 | 1268279.3361 | 2740182.1222 | 1268268.2232
41 | 2740176.1387 | 1268249.2369 | 2740180.6992 | 1268264.2487 | 2740182.1222 | 1268268.2232
42 | 2739945.0179 | 1268404.5999 | 2739917.0903 | 1268403.7508
43 | 2740141.5751 | 1268291.8144 | 2740145.728 | 1268290.3782 | 2740149.6151 | 1268289.0357
44 | 2740149.6151 | 1268289.0357 | 2740146.3845 | 1268279.3964
45 | 2740141.5751 | 1268291.8144 | 2740136.7641 | 1268277.6486
46 | 2740146.3845 | 1268279.3964 | 2740143.16 | 1268269.7748 | 2740138.6223 | 1268256.1802
47 | 2740236.5705 | 1268139.0295 | 2740227.9985 | 1268135.3447 | 2740216.4179 | 1268136.5933
48 | 2740236.5705 | 1268139.0295 | 2740233.6529 | 1268142.0298 | 2740232.0356 | 1268145.7618 | 2740231.5263 | 1268147.9239
49 | 2740216.4179 | 1268136.5933 | 2740213.7922 | 1268133.3278 | 2740213.3634 | 1268128.2413
50 | 2740227.3348 | 1268165.7156 | 2740231.5263 | 1268147.9239
51 | 2739886.0318 | 1268402.8065 | 2739917.0903 | 1268403.7508
52 | 2740100.5716 | 1268131.752 | 2740102.066 | 1268136.0472 | 2740100.0101 | 1268141.4482 | 2740103.6926 | 1268152.3275
53 | 2740084.3195 | 1268141.3762 | 2740089.9365 | 1268139.4853 | 2740094.4074 | 1268137.9787 | 2740093.1077 | 1268134.044 | 2740100.5716 | 1268131.752
54 | 2740100.5716 | 1268131.752 | 2740128.2827 | 1268123.4676 | 2740132.0243 | 1268122.8629
55 | 2740103.6926 | 1268152.3275 | 2740116.2729 | 1268189.4939
56 | 2740063.8094 | 1268148.2968 | 2740084.3195 | 1268141.3762
57 | 2740084.3195 | 1268141.3762 | 2740089.8291 | 1268157.4558
58 | 2740153.9716 | 1268119.4166 | 2740151.7382 | 1268119.6757 | 2740139.9235 | 1268121.5863 | 2740132.0243 | 1268122.8629
59 | 2740124.3692 | 1268240.7564 | 2740117.3548 | 1268219.9919
60 | 2740124.3692 | 1268240.7564 | 2740111.5042 | 1268242.8311 | 2740112.243 | 1268249.1585
61 | 2740117.3548 | 1268219.9919 | 2740109.0837 | 1268195.7054
62 | 2740117.3548 | 1268219.9919 | 2740097.6468 | 1268223.6637
63 | 2739995.8772 | 1268108.804 | 2739990.0297 | 1268110.5672
64 | 2739995.8772 | 1268108.804 | 2740003.1149 | 1268141.1293 | 2740000.4396 | 1268144.7139 | 2740005.7622 | 1268163.956
65 | 2739990.0297 | 1268110.5672 | 2739995.1287 | 1268129.5619
66 | 2739990.0297 | 1268110.5672 | 2739979.297 | 1268113.8495
67 | 2740063.8094 | 1268148.2968 | 2740062.6125 | 1268151.1379 | 2740062.8592 | 1268151.865
68 | 2740097.0025 | 1268178.3909 | 2740089.8291 | 1268157.4558
69 | 2740097.0025 | 1268178.3909 | 2740102.502 | 1268176.3748 | 2740109.0837 | 1268195.7054
70 | 2740097.6468 | 1268223.6637 | 2740085.4625 | 1268225.9337
71 | 2739979.297 | 1268113.8495 | 2739965.2452 | 1268118.1394
72 | 2739949.9218 | 1268122.8176 | 2739965.2452 | 1268118.1394
73 | 2739941.6382 | 1268125.3466 | 2739923.2719 | 1268130.9557
74 | 2739941.6382 | 1268125.3466 | 2739949.9218 | 1268122.8176
75 | 2739891.0473 | 1268140.7972 | 2739923.2719 | 1268130.9557
76 | 2739888.1272 | 1268141.6845 | 2739887.0285 | 1268137.8436
77 | 2739887.0285 | 1268137.8436 | 2739876.302 | 1268141.0166
78 | 2739888.1272 | 1268141.6845 | 2739891.0473 | 1268140.7972
79 | 2739888.1272 | 1268141.6845 | 2739875.9672 | 1268145.2054
80 | 2739997.0934 | 1268157.806 | 2739994.0687 | 1268147.5991 | 2739998.1455 | 1268140.8001 | 2739995.1287 | 1268129.5619
81 | 2740067.4244 | 1268283.8363 | 2740064.8623 | 1268265.4587 | 2740062.2814 | 1268252.3736 | 2740057.4912 | 1268244.1742 | 2740050.6485 | 1268244.7207
82 | 2740259.774 | 1268230.1472 | 2740265.5398 | 1268206.4536
83 | 2740193.0983 | 1268146.5524 | 2740192.6368 | 1268148.0041
84 | 2740213.1272 | 1268226.0235 | 2740222.5619 | 1268185.9753
85 | 2740131.2575 | 1268234.1161 | 2740138.6223 | 1268256.1802
86 | 2740227.3348 | 1268165.7156 | 2740222.5619 | 1268185.9753
87 | 2740077.4593 | 1268227.4247 | 2740085.4625 | 1268225.9337
88 | 2739900.8775 | 1268190.8455 | 2739899.9581 | 1268187.0645 | 2739900.1432 | 1268185.6119 | 2739900.6418 | 1268184.5894 | 2739901.3295 | 1268183.8494 | 2739907.098 | 1268179.693 | 2739907.5104 | 1268178.813 | 2739907.4957 | 1268177.845 | 2739907.1562 | 1268176.6025 | 2739900.692 | 1268153.2377 | 2739893.6303 | 1268150.0007 | 2739891.0473 | 1268140.7972
89 | 2740045.4659 | 1268245.1346 | 2740050.6485 | 1268244.7207
90 | 2740045.4659 | 1268245.1346 | 2740043.9311 | 1268218.4165
91 | 2740188.5127 | 1268160.9773 | 2740192.6368 | 1268148.0041

## bus_geodata
| x | y | coords
0 | 2739934.3633 | 1268298.0406
1 | 2739934.5775 | 1268328.8674
2 | 2739934.0057 | 1268246.5733
3 | 2740009.6952 | 1268321.5062
4 | 2739933.9824 | 1268243.7478
5 | 2740002.614 | 1268196.3251
6 | 2739906.6618 | 1268239.7192
7 | 2740021.4127 | 1268320.3629
8 | 2740004.655 | 1268262.5619
9 | 2740041.7624 | 1268318.4075
10 | 2740041.1333 | 1268311.5582
11 | 2740071.7603 | 1268314.9373
12 | 2740068.0751 | 1268288.5038
13 | 2740086.2826 | 1268313.1605
14 | 2740254.1727 | 1268261.4894
15 | 2740270.7931 | 1268261.9845
16 | 2740246.829 | 1268263.7952
17 | 2740255.986 | 1268245.7252
18 | 2740212.0533 | 1268112.6997
19 | 2740194.4299 | 1268114.7391
20 | 2740213.278 | 1268127.2276
21 | 2740119.1699 | 1268308.4883
22 | 2740115.265 | 1268275.0425
23 | 2740134.3523 | 1268303.5256
24 | 2740110.5288 | 1268309.8194
25 | 2740203.8483 | 1268265.4102
26 | 2740199.9123 | 1268265.6392
27 | 2740210.6373 | 1268236.5925
28 | 2740221.539 | 1268267.2913
29 | 2740186.1012 | 1268279.3361
30 | 2740182.1222 | 1268268.2232
31 | 2739945.0179 | 1268404.5999
32 | 2740243.6384 | 1268264.0754
33 | 2740149.6151 | 1268289.0357
34 | 2740141.5751 | 1268291.8144
35 | 2740146.3845 | 1268279.3964
36 | 2740236.5705 | 1268139.0295
37 | 2740216.4179 | 1268136.5933
38 | 2740231.5263 | 1268147.9239
39 | 2739917.0903 | 1268403.7508
40 | 2740100.5716 | 1268131.752
41 | 2740103.6926 | 1268152.3275
42 | 2740084.3195 | 1268141.3762
43 | 2740132.0243 | 1268122.8629
44 | 2740124.3692 | 1268240.7564
45 | 2740117.3548 | 1268219.9919
46 | 2740112.243 | 1268249.1585
47 | 2739995.8772 | 1268108.804
48 | 2739990.0297 | 1268110.5672
49 | 2740005.7622 | 1268163.956
50 | 2740063.8094 | 1268148.2968
51 | 2740089.8291 | 1268157.4558
52 | 2740109.0837 | 1268195.7054
53 | 2740097.6468 | 1268223.6637
54 | 2740097.0025 | 1268178.3909
55 | 2740136.7641 | 1268277.6486
56 | 2739979.297 | 1268113.8495
57 | 2739965.2452 | 1268118.1394
58 | 2739941.6382 | 1268125.3466
59 | 2739923.2719 | 1268130.9557
60 | 2739949.9218 | 1268122.8176
61 | 2739887.0285 | 1268137.8436
62 | 2739888.1272 | 1268141.6845
63 | 2739876.302 | 1268141.0166
64 | 2739950.2912 | 1268234.3019
65 | 2739997.0934 | 1268157.806
66 | 2740038.6932 | 1268284.9912
67 | 2740067.4244 | 1268283.8363
68 | 2740259.774 | 1268230.1472
69 | 2740265.5398 | 1268206.4536
70 | 2740193.0983 | 1268146.5524
71 | 2740153.9716 | 1268119.4166
72 | 2740213.3634 | 1268128.2413
73 | 2740213.1272 | 1268226.0235
74 | 2740176.1387 | 1268249.2369
75 | 2740138.6223 | 1268256.1802
76 | 2740227.3348 | 1268165.7156
77 | 2739886.0318 | 1268402.8065
78 | 2740116.2729 | 1268189.4939
79 | 2739995.1287 | 1268129.5619
80 | 2740062.8592 | 1268151.865
81 | 2740085.4625 | 1268225.9337
82 | 2739891.0473 | 1268140.7972
83 | 2739875.9672 | 1268145.2054
84 | 2740050.6485 | 1268244.7207
85 | 2739900.8775 | 1268190.8455
86 | 2740045.4659 | 1268245.1346
87 | 2740043.9311 | 1268218.4165
88 | 2740077.4593 | 1268227.4247
89 | 2740192.6368 | 1268148.0041
90 | 2740188.5127 | 1268160.9773
91 | 2740131.2575 | 1268234.1161
92 | 2740222.5619 | 1268185.9753
93 | 2740075.1518 | 1268227.8546

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1