## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4461-22_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4461-22_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4461-22_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4461-22_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4461-22_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4461-22_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4461-22_0_5_node_59 | 0.4 | n |  | TRUE
7 | bus_LV_4461-22_0_5_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_4461-22_0_5_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_4461-22_0_5_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_4461-22_0_5_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_4461-22_0_5_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_4461-22_0_5_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_4461-22_0_5_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_4461-22_0_5_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_4461-22_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4461-22_0_5_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_4461-22_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4461-22_0_5_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_4461-22_0_5_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_4461-22_0_5_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_4461-22_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_4461-22_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_4461-22_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4461-22_0_5_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4461-22_0_5_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_4461-22_0_5_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_4461-22_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4461-22_0_5_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4461-22_0_5_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_4461-22_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4461-22_0_5_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_4461-22_0_5_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_4461-22_0_5_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_4461-22_0_5_node_7 | 0.4 | n |  | TRUE
35 | bus_LV_4461-22_0_5_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4461-22_0_5_node_6 | 0.4 | n |  | TRUE
37 | bus_LV_4461-22_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_4461-22_0_5_node_13 | 0.4 | n |  | TRUE
39 | bus_LV_4461-22_0_5_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_4461-22_0_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_4461-22_0_5_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_4461-22_0_5_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_4461-22_0_5_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_4461-22_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4461-22_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4461-22_0_5_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_4461-22_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_4461-22_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_4461-22_0_5_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_4461-22_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4461-22_0_5_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_4461-22_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4461-22_0_5_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_4461-22_0_5_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_4461-22_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_4461-22_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4461-22_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4461-22_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_4461-22_0_5_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_4461-22_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_4461-22_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_4461-22_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4461-22_0_5_node_57 | 0.4 | n |  | TRUE
64 | bus_MV_407_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4461-22_0_5_load_0 | 0 | 0.0067806 | 0.0016994 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4461-22_0_5_load_1 | 1 | 0.040842 | 0.010236 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4461-22_0_5_load_3 | 3 | 0.0041207 | 0.0010328 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4461-22_0_5_load_5 | 5 | 0.01848 | 0.0046314 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4461-22_0_5_load_59 | 6 | 0.027345 | 0.0068533 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4461-22_0_5_load_41 | 7 | 0.0087112 | 0.0021832 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4461-22_0_5_load_60 | 10 | 0.0059445 | 0.0014898 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4461-22_0_5_load_70 | 13 | 0.00068683 | 0.00017214 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4461-22_0_5_load_69 | 16 | 0.0037113 | 0.00093013 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4461-22_0_5_load_63 | 20 | 0.0059308 | 0.0014864 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4461-22_0_5_load_66 | 25 | 0.0098564 | 0.0024702 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4461-22_0_5_load_67 | 26 | 0.068321 | 0.017123 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4461-22_0_5_load_68 | 29 | 0.0030024 | 0.00075247 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4461-22_0_5_load_64 | 31 | 0.028354 | 0.0071061 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4461-22_0_5_load_65 | 33 | 0.0076053 | 0.0019061 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4461-22_0_5_load_6 | 36 | 0.0025069 | 0.00062828 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4461-22_0_5_load_44 | 40 | 0.011581 | 0.0029024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4461-22_0_5_load_47 | 41 | 0.0042356 | 0.0010615 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4461-22_0_5_load_54 | 42 | 0.029901 | 0.0074938 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4461-22_0_5_load_55 | 43 | 0.0023888 | 0.00059869 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4461-22_0_5_load_38 | 44 | 0.0053911 | 0.0013511 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4461-22_0_5_load_48 | 46 | 0.0054853 | 0.0013748 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4461-22_0_5_load_45 | 48 | 0.0044065 | 0.0011044 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4461-22_0_5_load_46 | 49 | 0.022045 | 0.0055249 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4461-22_0_5_load_42 | 50 | 0.0083738 | 0.0020987 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4461-22_0_5_load_58 | 51 | 0.0013344 | 0.00033444 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4461-22_0_5_load_43 | 52 | 0.0033408 | 0.00083728 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4461-22_0_5_load_61 | 54 | 0.092684 | 0.023229 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4461-22_0_5_load_37 | 56 | 0.0034427 | 0.00086282 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4461-22_0_5_load_40 | 57 | 0.0015422 | 0.00038651 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4461-22_0_5_load_53 | 59 | 0.075642 | 0.018958 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4461-22_0_5_load_49 | 60 | 0.0069606 | 0.0017445 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4461-22_0_5_load_50 | 61 | 0.0021672 | 0.00054316 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4461-22_0_5_load_52 | 62 | 0.0046462 | 0.0011644 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4461-22_0_5_load_57 | 63 | 0.0085095 | 0.0021327 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4461-22_0_5_line_0 |  | 0 | 1 | 0.007291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4461-22_0_5_line_1 |  | 0 | 2 | 0.026701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4461-22_0_5_line_2 |  | 1 | 3 | 0.0049301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4461-22_0_5_line_3 |  | 2 | 4 | 0.01311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_4461-22_0_5_line_4 |  | 2 | 5 | 0.016527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_4461-22_0_5_line_5 |  | 4 | 6 | 0.01329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_4461-22_0_5_line_6 |  | 5 | 7 | 0.0023455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4461-22_0_5_line_7 |  | 6 | 51 | 0.021898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_4461-22_0_5_line_8 |  | 7 | 12 | 0.022797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_4461-22_0_5_line_9 |  | 8 | 9 | 0.014825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4461-22_0_5_line_10 |  | 8 | 10 | 0.0096018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4461-22_0_5_line_11 |  | 9 | 59 | 0.019981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4461-22_0_5_line_12 |  | 9 | 60 | 0.017108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4461-22_0_5_line_13 |  | 11 | 12 | 0.023369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4461-22_0_5_line_14 |  | 11 | 13 | 0.016227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4461-22_0_5_line_15 |  | 11 | 14 | 0.019739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4461-22_0_5_line_16 |  | 12 | 44 | 0.016225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4461-22_0_5_line_17 |  | 14 | 26 | 0.045937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4461-22_0_5_line_18 |  | 15 | 16 | 0.036319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4461-22_0_5_line_19 |  | 15 | 17 | 0.061736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4461-22_0_5_line_20 |  | 17 | 37 | 0.025449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4461-22_0_5_line_21 |  | 17 | 22 | 0.066416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4461-22_0_5_line_22 |  | 18 | 19 | 0.028937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4461-22_0_5_line_23 |  | 18 | 20 | 0.0090176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4461-22_0_5_line_24 |  | 18 | 21 | 0.01493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4461-22_0_5_line_25 |  | 18 | 22 | 0.023774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4461-22_0_5_line_26 |  | 19 | 42 | 0.00034562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4461-22_0_5_line_27 |  | 20 | 53 | 0.011515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4461-22_0_5_line_28 |  | 21 | 31 | 0.01003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4461-22_0_5_line_29 |  | 23 | 24 | 0.025783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4461-22_0_5_line_30 |  | 23 | 25 | 0.038255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4461-22_0_5_line_31 |  | 24 | 42 | 0.023853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_4461-22_0_5_line_32 |  | 24 | 30 | 0.005964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4461-22_0_5_line_33 |  | 27 | 28 | 0.030651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4461-22_0_5_line_34 |  | 27 | 29 | 0.013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_4461-22_0_5_line_35 |  | 28 | 43 | 0.048044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4461-22_0_5_line_36 |  | 29 | 30 | 0.021621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4461-22_0_5_line_37 |  | 31 | 32 | 0.013681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4461-22_0_5_line_38 |  | 32 | 33 | 0.020594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4461-22_0_5_line_39 |  | 34 | 35 | 0.075326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4461-22_0_5_line_40 |  | 34 | 36 | 0.04238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4461-22_0_5_line_41 |  | 35 | 48 | 0.07071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4461-22_0_5_line_42 |  | 37 | 50 | 0.016588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4461-22_0_5_line_43 |  | 37 | 39 | 0.054128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4461-22_0_5_line_44 |  | 38 | 39 | 0.07136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_4461-22_0_5_line_45 |  | 38 | 40 | 0.0077637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_4461-22_0_5_line_46 |  | 39 | 41 | 0.013832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4461-22_0_5_line_47 |  | 40 | 47 | 0.02452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4461-22_0_5_line_48 |  | 41 | 45 | 0.062618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4461-22_0_5_line_49 |  | 43 | 55 | 0.014381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4461-22_0_5_line_50 |  | 44 | 56 | 0.015982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4461-22_0_5_line_51 |  | 45 | 46 | 0.0106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4461-22_0_5_line_52 |  | 47 | 48 | 0.039301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4461-22_0_5_line_53 |  | 47 | 49 | 0.025583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4461-22_0_5_line_54 |  | 50 | 52 | 0.021008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4461-22_0_5_line_55 |  | 51 | 63 | 0.031713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4461-22_0_5_line_56 |  | 53 | 54 | 0.076167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4461-22_0_5_line_57 |  | 55 | 63 | 0.0099901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4461-22_0_5_line_58 |  | 55 | 62 | 0.007743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4461-22_0_5_line_59 |  | 56 | 58 | 0.0092293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4461-22_0_5_line_60 |  | 57 | 58 | 0.00518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4461-22_0_5_line_61 |  | 60 | 61 | 0.0094922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4461-22_0_5_line_62 |  | 61 | 62 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4461-22_0_5_trafo_67 | 0.63 MVA 20/0.4 kV | 64 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2740003.1271 | 1267756.7092 | 2740003.1271 | 1267756.7092 | 2740002.3992 | 1267749.4546
1 | 2740016.7625 | 1267779.6657 | 2740003.1271 | 1267756.7092
2 | 2740001.907 | 1267744.5491 | 2740002.3992 | 1267749.4546
3 | 2740016.7625 | 1267779.6657 | 2740028.2182 | 1267773.2309
4 | 2740016.7625 | 1267779.6657 | 2740002.3193 | 1267787.7002
5 | 2740028.2182 | 1267773.2309 | 2740035.0584 | 1267784.6251
6 | 2740002.3193 | 1267787.7002 | 2740000.2696 | 1267788.8404
7 | 2740042.4709 | 1267804.2341 | 2740038.2022 | 1267796.1454 | 2740039.1569 | 1267791.4523 | 2740035.0584 | 1267784.6251
8 | 2739980.3471 | 1267799.9229 | 2740000.2696 | 1267788.8404
9 | 2740099.4408 | 1267786.2427 | 2740089.2963 | 1267797.0795
10 | 2740099.4408 | 1267786.2427 | 2740106.2043 | 1267793.0582
11 | 2740089.2963 | 1267797.0795 | 2740080.2042 | 1267794.0277 | 2740070.0234 | 1267792.4292 | 2740069.9394 | 1267792.4421
12 | 2740089.2963 | 1267797.0795 | 2740086.7249 | 1267803.2579 | 2740085.5508 | 1267813.6072
13 | 2739980.3471 | 1267799.9229 | 2739965.8493 | 1267807.9429 | 2739959.8518 | 1267811.2597
14 | 2739959.8518 | 1267811.2597 | 2739945.6507 | 1267819.1111
15 | 2739959.4254 | 1267830.2014 | 2739962.1454 | 1267815.8407 | 2739959.8518 | 1267811.2597
16 | 2739980.3471 | 1267799.9229 | 2739975.3585 | 1267784.4841
17 | 2739959.4254 | 1267830.2014 | 2739975.0518 | 1267873.3987
18 | 2739989.5805 | 1267921.8274 | 2739993.0564 | 1267924.1788 | 2739995.3219 | 1267926.4458 | 2739996.663 | 1267929.5917 | 2739997.2822 | 1267933.3323 | 2739996.2785 | 1267937.2345 | 2739994.4096 | 1267939.5147 | 2739991.0232 | 1267941.6477 | 2739980.8351 | 1267945.0044
19 | 2739931.4264 | 1267942.4036 | 2739938.7603 | 1267939.8859 | 2739944.3162 | 1267938.0379 | 2739955.7088 | 1267934.2484 | 2739965.5817 | 1267929.7668 | 2739977.4133 | 1267925.8877 | 2739989.5805 | 1267921.8274
20 | 2739907.2917 | 1267950.6847 | 2739931.4264 | 1267942.4036
21 | 2739931.4264 | 1267942.4036 | 2739938.7603 | 1267939.8859 | 2739944.3162 | 1267938.0379 | 2739951.0775 | 1267940.6116 | 2739957.1725 | 1267938.5762 | 2739979.5872 | 1267931.0664 | 2739993.0601 | 1267923.3892
22 | 2740008.5272 | 1267941.4844 | 2740014.0681 | 1267939.6361 | 2740021.8478 | 1267937.0512 | 2740026.1213 | 1267935.6178 | 2740030.1137 | 1267934.2888 | 2740035.9809 | 1267932.3371
23 | 2740008.5272 | 1267941.4844 | 2740000.7466 | 1267946.0428
24 | 2740008.5272 | 1267941.4844 | 2740012.6326 | 1267949.6786 | 2740015.7785 | 1267951.655 | 2740017.849 | 1267951.6708
25 | 2740008.5272 | 1267941.4844 | 2739993.0601 | 1267923.3892
26 | 2740035.8677 | 1267932.0105 | 2740035.9809 | 1267932.3371
27 | 2739990.8111 | 1267951.8638 | 2740000.7466 | 1267946.0428
28 | 2740017.849 | 1267951.6708 | 2740020.8577 | 1267961.239
29 | 2740051.6784 | 1267899.1321 | 2740047.3943 | 1267901.0102 | 2740044.9822 | 1267902.0652 | 2740040.8123 | 1267903.8904 | 2740028.0593 | 1267909.4714
30 | 2740051.6784 | 1267899.1321 | 2740086.6736 | 1267883.6795
31 | 2740028.0593 | 1267909.4714 | 2740035.8677 | 1267932.0105
32 | 2740022.5807 | 1267911.8662 | 2740028.0593 | 1267909.4714
33 | 2740040.0226 | 1267867.6585 | 2740021.6449 | 1267874.4852 | 2740011.2899 | 1267878.3326
34 | 2740011.2899 | 1267878.3326 | 2740015.6816 | 1267891.3758
35 | 2740040.0226 | 1267867.6585 | 2740073.7389 | 1267855.1453 | 2740069.7881 | 1267843.7286
36 | 2740022.5807 | 1267911.8662 | 2740015.6816 | 1267891.3758
37 | 2740027.9226 | 1267972.0628 | 2740023.2966 | 1267968.9946 | 2740020.8577 | 1267961.239
38 | 2740027.9226 | 1267972.0628 | 2740009.0565 | 1267980.4462
39 | 2739817.3539 | 1268148.6608 | 2739818.9146 | 1268151.7563 | 2739821.1715 | 1268154.0675 | 2739824.1983 | 1268155.3515 | 2739826.8712 | 1268155.3592 | 2739829.5565 | 1268154.8445 | 2739887.0285 | 1268137.8436
40 | 2739887.0285 | 1268137.8436 | 2739875.1603 | 1268097.1594
41 | 2739817.3539 | 1268148.6608 | 2739816.431 | 1268143.4338 | 2739811.9268 | 1268113.2867 | 2739808.7821 | 1268092.8145 | 2739807.5274 | 1268083.4757 | 2739807.5909 | 1268078.6908
42 | 2739907.2917 | 1267950.6847 | 2739902.5132 | 1267934.7997
43 | 2739860.2428 | 1267957.3776 | 2739860.7976 | 1267959.0701 | 2739862.5809 | 1267960.7139 | 2739864.8143 | 1267960.8447 | 2739870.0356 | 1267959.1333 | 2739871.2607 | 1267963.0439 | 2739907.2917 | 1267950.6847
44 | 2739833.8517 | 1268012.607 | 2739835.0655 | 1268009.9999 | 2739838.7689 | 1268001.4792 | 2739841.0758 | 1267994.3713 | 2739842.4318 | 1267987.986 | 2739842.7657 | 1267983.7453 | 2739843.0766 | 1267979.8377 | 2739842.7176 | 1267971.1541 | 2739857.1614 | 1267966.9807 | 2739855.9438 | 1267963.0703 | 2739855.6416 | 1267958.6588 | 2739860.2428 | 1267957.3776
45 | 2739833.8517 | 1268012.607 | 2739830.5721 | 1268019.6441
46 | 2739860.2428 | 1267957.3776 | 2739860.4425 | 1267955.3025 | 2739865.4418 | 1267944.6723
47 | 2739820.2144 | 1268041.8685 | 2739830.5721 | 1268019.6441
48 | 2739892.09 | 1267888.008 | 2739865.4418 | 1267944.6723
49 | 2740065.085 | 1267830.138 | 2740069.7881 | 1267843.7286
50 | 2739970.4445 | 1267769.2759 | 2739975.3585 | 1267784.4841
51 | 2739892.09 | 1267888.008 | 2739899.8707 | 1267895.2326
52 | 2739820.2144 | 1268041.8685 | 2739818.2072 | 1268046.1808 | 2739811.2078 | 1268060.9741 | 2739809.1841 | 1268067.2546 | 2739807.6328 | 1268075.526 | 2739807.5909 | 1268078.6908
53 | 2739829.7001 | 1268065.1713 | 2739823.0303 | 1268044.4265 | 2739820.2144 | 1268041.8685
54 | 2739911.5518 | 1267922.5828 | 2739899.9694 | 1267926.3431 | 2739902.5132 | 1267934.7997
55 | 2740042.4709 | 1267804.2341 | 2740044.5799 | 1267808.2306 | 2740049.2746 | 1267818.8856 | 2740055.5487 | 1267833.1149
56 | 2739990.8111 | 1267951.8638 | 2739978.5486 | 1267964.0741 | 2739922.698 | 1267982.662
57 | 2740065.085 | 1267830.138 | 2740055.5487 | 1267833.1149
58 | 2740065.085 | 1267830.138 | 2740072.4247 | 1267827.6718
59 | 2739967.6068 | 1267760.4937 | 2739970.4445 | 1267769.2759
60 | 2739967.6068 | 1267760.4937 | 2739966.7395 | 1267758.0041 | 2739965.7572 | 1267755.6577
61 | 2740085.5508 | 1267813.6072 | 2740085.449 | 1267814.5054 | 2740085.1215 | 1267819.736 | 2740083.241 | 1267822.5053
62 | 2740083.241 | 1267822.5053 | 2740083.241 | 1267822.5053 | 2740080.7601 | 1267824.871 | 2740072.4247 | 1267827.6718

## bus_geodata
| x | y | coords
0 | 2740003.1271 | 1267756.7092
1 | 2740002.3992 | 1267749.4546
2 | 2740016.7625 | 1267779.6658
3 | 2740001.907 | 1267744.5491
4 | 2740028.2182 | 1267773.2309
5 | 2740002.3193 | 1267787.7002
6 | 2740035.0584 | 1267784.6251
7 | 2740000.2696 | 1267788.8404
8 | 2740099.4408 | 1267786.2427
9 | 2740089.2963 | 1267797.0795
10 | 2740106.2043 | 1267793.0582
11 | 2739959.8518 | 1267811.2597
12 | 2739980.3472 | 1267799.9229
13 | 2739945.6507 | 1267819.1111
14 | 2739959.4254 | 1267830.2014
15 | 2739989.5805 | 1267921.8274
16 | 2739980.8351 | 1267945.0044
17 | 2739931.4264 | 1267942.4036
18 | 2740008.5272 | 1267941.4844
19 | 2740035.9809 | 1267932.3371
20 | 2740000.7466 | 1267946.0428
21 | 2740017.849 | 1267951.6708
22 | 2739993.0601 | 1267923.3892
23 | 2740051.6784 | 1267899.1321
24 | 2740028.0593 | 1267909.4714
25 | 2740086.6736 | 1267883.6795
26 | 2739975.0518 | 1267873.3987
27 | 2740011.2899 | 1267878.3326
28 | 2740040.0226 | 1267867.6585
29 | 2740015.6816 | 1267891.3758
30 | 2740022.5807 | 1267911.8662
31 | 2740020.8577 | 1267961.239
32 | 2740027.9226 | 1267972.0628
33 | 2740009.0565 | 1267980.4462
34 | 2739887.0285 | 1268137.8436
35 | 2739817.3539 | 1268148.6608
36 | 2739875.1603 | 1268097.1594
37 | 2739907.2917 | 1267950.6847
38 | 2739833.8517 | 1268012.607
39 | 2739860.2428 | 1267957.3776
40 | 2739830.5721 | 1268019.6441
41 | 2739865.4418 | 1267944.6723
42 | 2740035.8677 | 1267932.0105
43 | 2740069.7881 | 1267843.7286
44 | 2739975.3585 | 1267784.4841
45 | 2739892.09 | 1267888.008
46 | 2739899.8707 | 1267895.2326
47 | 2739820.2144 | 1268041.8685
48 | 2739807.5909 | 1268078.6908
49 | 2739829.7001 | 1268065.1713
50 | 2739902.5132 | 1267934.7997
51 | 2740042.4709 | 1267804.2341
52 | 2739911.5518 | 1267922.5828
53 | 2739990.8111 | 1267951.8638
54 | 2739922.698 | 1267982.662
55 | 2740065.085 | 1267830.138
56 | 2739970.4445 | 1267769.2759
57 | 2739965.7572 | 1267755.6577
58 | 2739967.6068 | 1267760.4937
59 | 2740069.9394 | 1267792.4421
60 | 2740085.5508 | 1267813.6072
61 | 2740083.241 | 1267822.5053
62 | 2740072.4247 | 1267827.6718
63 | 2740055.5487 | 1267833.1149
64 | 2739959.4254 | 1267830.2014

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1