## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4461-25_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4461-25_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4461-25_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4461-25_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4461-25_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4461-25_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4461-25_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4461-25_0_5_node_118 | 0.4 | n |  | TRUE
8 | bus_LV_4461-25_0_5_node_94 | 0.4 | n |  | TRUE
9 | bus_LV_4461-25_0_5_node_92 | 0.4 | n |  | TRUE
10 | bus_LV_4461-25_0_5_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_4461-25_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4461-25_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_4461-25_0_5_node_107 | 0.4 | n |  | TRUE
14 | bus_LV_4461-25_0_5_node_91 | 0.4 | n |  | TRUE
15 | bus_LV_4461-25_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4461-25_0_5_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_4461-25_0_5_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_4461-25_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4461-25_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4461-25_0_5_node_108 | 0.4 | n |  | TRUE
21 | bus_LV_4461-25_0_5_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_4461-25_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4461-25_0_5_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_4461-25_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4461-25_0_5_node_106 | 0.4 | n |  | TRUE
26 | bus_LV_4461-25_0_5_node_95 | 0.4 | n |  | TRUE
27 | bus_LV_4461-25_0_5_node_126 | 0.4 | n |  | TRUE
28 | bus_LV_4461-25_0_5_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_4461-25_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4461-25_0_5_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_4461-25_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_4461-25_0_5_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_4461-25_0_5_node_123 | 0.4 | n |  | TRUE
34 | bus_LV_4461-25_0_5_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_4461-25_0_5_node_105 | 0.4 | n |  | TRUE
36 | bus_LV_4461-25_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4461-25_0_5_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_4461-25_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_4461-25_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4461-25_0_5_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_4461-25_0_5_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_4461-25_0_5_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_4461-25_0_5_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_4461-25_0_5_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4461-25_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_4461-25_0_5_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_4461-25_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4461-25_0_5_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_4461-25_0_5_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_4461-25_0_5_node_117 | 0.4 | n |  | TRUE
51 | bus_LV_4461-25_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_4461-25_0_5_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_4461-25_0_5_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_4461-25_0_5_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_4461-25_0_5_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_4461-25_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_4461-25_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_4461-25_0_5_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_4461-25_0_5_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_4461-25_0_5_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4461-25_0_5_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_4461-25_0_5_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4461-25_0_5_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_4461-25_0_5_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_4461-25_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_4461-25_0_5_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_4461-25_0_5_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_4461-25_0_5_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_4461-25_0_5_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_4461-25_0_5_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_4461-25_0_5_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_4461-25_0_5_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_4461-25_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_4461-25_0_5_node_109 | 0.4 | n |  | TRUE
75 | bus_LV_4461-25_0_5_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_4461-25_0_5_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_4461-25_0_5_node_98 | 0.4 | n |  | TRUE
78 | bus_LV_4461-25_0_5_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_4461-25_0_5_node_110 | 0.4 | n |  | TRUE
80 | bus_LV_4461-25_0_5_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_4461-25_0_5_node_50 | 0.4 | n |  | TRUE
82 | bus_LV_4461-25_0_5_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_4461-25_0_5_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_4461-25_0_5_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_4461-25_0_5_node_100 | 0.4 | n |  | TRUE
86 | bus_LV_4461-25_0_5_node_103 | 0.4 | n |  | TRUE
87 | bus_LV_4461-25_0_5_node_111 | 0.4 | n |  | TRUE
88 | bus_LV_4461-25_0_5_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_4461-25_0_5_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4461-25_0_5_node_59 | 0.4 | n |  | TRUE
91 | bus_LV_4461-25_0_5_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_4461-25_0_5_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_4461-25_0_5_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_4461-25_0_5_node_70 | 0.4 | n |  | TRUE
95 | bus_LV_4461-25_0_5_node_125 | 0.4 | n |  | TRUE
96 | bus_LV_4461-25_0_5_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_4461-25_0_5_node_115 | 0.4 | n |  | TRUE
98 | bus_LV_4461-25_0_5_node_114 | 0.4 | n |  | TRUE
99 | bus_LV_4461-25_0_5_node_113 | 0.4 | n |  | TRUE
100 | bus_LV_4461-25_0_5_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_4461-25_0_5_node_104 | 0.4 | n |  | TRUE
102 | bus_LV_4461-25_0_5_node_71 | 0.4 | n |  | TRUE
103 | bus_LV_4461-25_0_5_node_73 | 0.4 | n |  | TRUE
104 | bus_LV_4461-25_0_5_node_83 | 0.4 | n |  | TRUE
105 | bus_LV_4461-25_0_5_node_121 | 0.4 | n |  | TRUE
106 | bus_LV_4461-25_0_5_node_88 | 0.4 | n |  | TRUE
107 | bus_LV_4461-25_0_5_node_90 | 0.4 | n |  | TRUE
108 | bus_LV_4461-25_0_5_node_96 | 0.4 | n |  | TRUE
109 | bus_LV_4461-25_0_5_node_102 | 0.4 | n |  | TRUE
110 | bus_LV_4461-25_0_5_node_116 | 0.4 | n |  | TRUE
111 | bus_LV_4461-25_0_5_node_122 | 0.4 | n |  | TRUE
112 | bus_LV_4461-25_0_5_node_120 | 0.4 | n |  | TRUE
113 | bus_LV_4461-25_0_5_node_119 | 0.4 | n |  | TRUE
114 | bus_LV_4461-25_0_5_node_124 | 0.4 | n |  | TRUE
115 | bus_MV_407_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4461-25_0_5_load_0 | 0 | 0.0056814 | 0.0014239 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4461-25_0_5_load_1 | 1 | 0.012704 | 0.003184 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4461-25_0_5_load_3 | 3 | 0.0070591 | 0.0017692 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4461-25_0_5_load_118 | 7 | 0.0044136 | 0.0011062 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4461-25_0_5_load_92 | 9 | 0.0026067 | 0.0006533 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4461-25_0_5_load_14 | 12 | 0.0060058 | 0.0015052 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4461-25_0_5_load_107 | 13 | 0.035729 | 0.0089546 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4461-25_0_5_load_91 | 14 | 0.01859 | 0.0046592 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4461-25_0_5_load_19 | 16 | 0.010536 | 0.0026406 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4461-25_0_5_load_18 | 17 | 0.0050493 | 0.0012655 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4461-25_0_5_load_108 | 20 | 0.0030247 | 0.00075805 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4461-25_0_5_load_86 | 21 | 0.0018768 | 0.00047036 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4461-25_0_5_load_106 | 25 | 0.0017474 | 0.00043794 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4461-25_0_5_load_95 | 26 | 0.0015954 | 0.00039985 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4461-25_0_5_load_126 | 27 | 0.011283 | 0.0028279 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4461-25_0_5_load_93 | 28 | 0.0032563 | 0.00081611 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4461-25_0_5_load_89 | 30 | 0.0071705 | 0.0017971 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4461-25_0_5_load_84 | 32 | 0.004632 | 0.0011609 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4461-25_0_5_load_123 | 33 | 0.0022117 | 0.0005543 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4461-25_0_5_load_85 | 34 | 0.0066446 | 0.0016653 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4461-25_0_5_load_105 | 35 | 0.0010931 | 0.00027394 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4461-25_0_5_load_61 | 37 | 0.0032319 | 0.00080999 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4461-25_0_5_load_58 | 40 | 0.0050084 | 0.0012552 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4461-25_0_5_load_64 | 41 | 0.012201 | 0.0030578 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4461-25_0_5_load_65 | 42 | 0.0035504 | 0.00088981 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4461-25_0_5_load_23 | 45 | 0.043952 | 0.011015 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4461-25_0_5_load_62 | 46 | 0.0064355 | 0.0016129 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4461-25_0_5_load_69 | 49 | 0.012284 | 0.0030788 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4461-25_0_5_load_117 | 50 | 0.017311 | 0.0043385 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4461-25_0_5_load_27 | 52 | 0.014994 | 0.0037579 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4461-25_0_5_load_29 | 53 | 0.014306 | 0.0035855 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4461-25_0_5_load_28 | 54 | 0.0078846 | 0.0019761 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4461-25_0_5_load_56 | 56 | 0.0028085 | 0.00070389 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4461-25_0_5_load_32 | 58 | 0.021926 | 0.0054952 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4461-25_0_5_load_35 | 60 | 0.011699 | 0.0029319 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4461-25_0_5_load_99 | 63 | 0.010459 | 0.0026213 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4461-25_0_5_load_79 | 67 | 0.0014437 | 0.00036183 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4461-25_0_5_load_81 | 68 | 0.00095159 | 0.00023849 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4461-25_0_5_load_75 | 71 | 0.0022614 | 0.00056677 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4461-25_0_5_load_72 | 72 | 0.002402 | 0.00060201 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4461-25_0_5_load_67 | 73 | 0.0057258 | 0.001435 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4461-25_0_5_load_109 | 74 | 0.0095201 | 0.002386 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4461-25_0_5_load_110 | 79 | 0.0045199 | 0.0011328 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4461-25_0_5_load_63 | 80 | 0.0015011 | 0.00037621 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4461-25_0_5_load_76 | 83 | 0.0042025 | 0.0010533 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4461-25_0_5_load_100 | 85 | 0.0067446 | 0.0016904 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4461-25_0_5_load_103 | 86 | 0.004058 | 0.001017 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4461-25_0_5_load_111 | 87 | 0.0010283 | 0.00025772 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4461-25_0_5_load_77 | 88 | 0.0011551 | 0.0002895 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4461-25_0_5_load_82 | 89 | 0.0020211 | 0.00050653 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4461-25_0_5_load_59 | 90 | 0.0026427 | 0.00066233 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4461-25_0_5_load_80 | 91 | 0.00088397 | 0.00022154 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4461-25_0_5_load_78 | 92 | 0.00063617 | 0.00015944 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4461-25_0_5_load_74 | 93 | 0.0013778 | 0.0003453 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4461-25_0_5_load_70 | 94 | 0.011912 | 0.0029855 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4461-25_0_5_load_125 | 95 | 0.040604 | 0.010176 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4461-25_0_5_load_97 | 96 | 0.00924 | 0.0023158 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4461-25_0_5_load_115 | 97 | 0.0021765 | 0.00054547 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4461-25_0_5_load_113 | 99 | 0.0024155 | 0.00060539 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4461-25_0_5_load_101 | 100 | 0.0013528 | 0.00033905 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4461-25_0_5_load_104 | 101 | 0.033236 | 0.0083298 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4461-25_0_5_load_71 | 102 | 0.0023067 | 0.00057811 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4461-25_0_5_load_73 | 103 | 0.0021883 | 0.00054845 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4461-25_0_5_load_83 | 104 | 0.0064109 | 0.0016067 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4461-25_0_5_load_88 | 106 | 0.02551 | 0.0063933 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4461-25_0_5_load_90 | 107 | 0.0050662 | 0.0012697 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4461-25_0_5_load_96 | 108 | 0.02126 | 0.0053281 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4461-25_0_5_load_102 | 109 | 0.0040601 | 0.0010175 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4461-25_0_5_load_116 | 110 | 0.0039693 | 0.0009948 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4461-25_0_5_load_122 | 111 | 0.0028527 | 0.00071495 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4461-25_0_5_load_120 | 112 | 0.003372 | 0.00084511 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4461-25_0_5_load_119 | 113 | 0.0016303 | 0.00040858 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4461-25_0_5_load_124 | 114 | 0.0021362 | 0.00053537 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4461-25_0_5_line_0 |  | 0 | 1 | 0.0078756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4461-25_0_5_line_1 |  | 0 | 2 | 0.012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4461-25_0_5_line_2 |  | 1 | 3 | 0.014039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4461-25_0_5_line_3 |  | 2 | 4 | 0.039751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4461-25_0_5_line_4 |  | 4 | 10 | 0.030814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_4461-25_0_5_line_5 |  | 4 | 11 | 0.054517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4461-25_0_5_line_6 |  | 4 | 12 | 0.017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4461-25_0_5_line_7 |  | 5 | 6 | 0.025322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4461-25_0_5_line_8 |  | 5 | 7 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4461-25_0_5_line_9 |  | 6 | 8 | 0.05762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4461-25_0_5_line_10 |  | 6 | 9 | 0.012237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4461-25_0_5_line_11 |  | 7 | 13 | 0.012594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4461-25_0_5_line_12 |  | 8 | 27 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4461-25_0_5_line_13 |  | 9 | 28 | 0.015117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4461-25_0_5_line_14 |  | 10 | 29 | 0.030974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4461-25_0_5_line_15 |  | 10 | 17 | 0.021375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4461-25_0_5_line_16 |  | 11 | 13 | 0.001261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4461-25_0_5_line_17 |  | 11 | 14 | 0.026626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4461-25_0_5_line_18 |  | 14 | 30 | 0.018297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4461-25_0_5_line_19 |  | 15 | 16 | 0.031195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4461-25_0_5_line_20 |  | 15 | 17 | 0.01353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4461-25_0_5_line_21 |  | 16 | 31 | 0.0028551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4461-25_0_5_line_22 |  | 18 | 19 | 0.011011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4461-25_0_5_line_23 |  | 18 | 20 | 0.016965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4461-25_0_5_line_24 |  | 19 | 21 | 0.012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4461-25_0_5_line_25 |  | 21 | 32 | 0.01019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4461-25_0_5_line_26 |  | 22 | 23 | 0.028955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4461-25_0_5_line_27 |  | 22 | 24 | 0.034765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4461-25_0_5_line_28 |  | 22 | 25 | 0.0099147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4461-25_0_5_line_29 |  | 23 | 28 | 0.011704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4461-25_0_5_line_30 |  | 23 | 33 | 0.013168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4461-25_0_5_line_31 |  | 23 | 34 | 0.01145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4461-25_0_5_line_32 |  | 24 | 26 | 0.0049373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4461-25_0_5_line_33 |  | 25 | 35 | 0.015045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4461-25_0_5_line_34 |  | 29 | 36 | 0.003496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4461-25_0_5_line_35 |  | 29 | 37 | 0.0028093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4461-25_0_5_line_36 |  | 30 | 106 | 0.0081529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4461-25_0_5_line_37 |  | 31 | 44 | 0.034788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4461-25_0_5_line_38 |  | 31 | 45 | 0.018035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4461-25_0_5_line_39 |  | 32 | 104 | 0.029393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4461-25_0_5_line_40 |  | 33 | 105 | 0.018371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4461-25_0_5_line_41 |  | 34 | 104 | 0.012471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4461-25_0_5_line_42 |  | 36 | 41 | 0.014296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4461-25_0_5_line_43 |  | 37 | 46 | 0.0085672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4461-25_0_5_line_44 |  | 38 | 39 | 0.02785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4461-25_0_5_line_45 |  | 38 | 40 | 0.030092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4461-25_0_5_line_46 |  | 39 | 45 | 0.0089926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4461-25_0_5_line_47 |  | 40 | 47 | 0.0074382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4461-25_0_5_line_48 |  | 42 | 43 | 0.0062666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4461-25_0_5_line_49 |  | 43 | 46 | 0.0098657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4461-25_0_5_line_50 |  | 44 | 48 | 0.010164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_4461-25_0_5_line_51 |  | 44 | 49 | 0.022641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4461-25_0_5_line_52 |  | 47 | 56 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4461-25_0_5_line_53 |  | 47 | 53 | 0.014078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4461-25_0_5_line_54 |  | 48 | 50 | 0.019992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4461-25_0_5_line_55 |  | 48 | 51 | 0.006674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4461-25_0_5_line_56 |  | 50 | 101 | 0.02408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4461-25_0_5_line_57 |  | 51 | 55 | 0.041598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4461-25_0_5_line_58 |  | 51 | 54 | 0.016715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4461-25_0_5_line_59 |  | 52 | 53 | 0.012999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4461-25_0_5_line_60 |  | 55 | 57 | 0.018698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4461-25_0_5_line_61 |  | 55 | 58 | 0.028085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4461-25_0_5_line_62 |  | 56 | 59 | 0.028117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4461-25_0_5_line_63 |  | 57 | 62 | 0.024164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4461-25_0_5_line_64 |  | 57 | 63 | 0.022051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4461-25_0_5_line_65 |  | 59 | 61 | 0.032008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4461-25_0_5_line_66 |  | 60 | 61 | 0.043348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4461-25_0_5_line_67 |  | 61 | 75 | 0.12747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4461-25_0_5_line_68 |  | 62 | 74 | 0.018518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4461-25_0_5_line_69 |  | 63 | 85 | 0.032231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4461-25_0_5_line_70 |  | 64 | 65 | 0.021488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4461-25_0_5_line_71 |  | 64 | 66 | 0.023136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4461-25_0_5_line_72 |  | 64 | 67 | 0.0020186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4461-25_0_5_line_73 |  | 64 | 68 | 0.0042338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4461-25_0_5_line_74 |  | 65 | 72 | 0.044042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4461-25_0_5_line_75 |  | 66 | 71 | 0.0055998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4461-25_0_5_line_76 |  | 66 | 69 | 0.004693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4461-25_0_5_line_77 |  | 67 | 88 | 0.015899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4461-25_0_5_line_78 |  | 68 | 89 | 0.018331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4461-25_0_5_line_79 |  | 69 | 70 | 0.0061299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4461-25_0_5_line_80 |  | 70 | 73 | 0.022934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4461-25_0_5_line_81 |  | 71 | 83 | 0.019937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4461-25_0_5_line_82 |  | 72 | 93 | 0.017761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4461-25_0_5_line_83 |  | 72 | 94 | 0.028364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4461-25_0_5_line_84 |  | 75 | 80 | 0.053316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4461-25_0_5_line_85 |  | 76 | 77 | 0.019439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4461-25_0_5_line_86 |  | 76 | 78 | 0.013568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4461-25_0_5_line_87 |  | 76 | 79 | 0.019628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4461-25_0_5_line_88 |  | 77 | 95 | 0.025898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4461-25_0_5_line_89 |  | 77 | 96 | 0.011581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4461-25_0_5_line_90 |  | 78 | 85 | 0.015598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4461-25_0_5_line_91 |  | 78 | 86 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4461-25_0_5_line_92 |  | 78 | 87 | 0.019919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4461-25_0_5_line_93 |  | 80 | 84 | 0.012633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4461-25_0_5_line_94 |  | 81 | 82 | 0.00407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4461-25_0_5_line_95 |  | 81 | 83 | 0.052426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4461-25_0_5_line_96 |  | 82 | 84 | 0.010074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4461-25_0_5_line_97 |  | 82 | 90 | 0.023976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4461-25_0_5_line_98 |  | 86 | 100 | 0.002594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4461-25_0_5_line_99 |  | 88 | 92 | 0.0019494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4461-25_0_5_line_100 |  | 91 | 92 | 0.019671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4461-25_0_5_line_101 |  | 94 | 102 | 0.02692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4461-25_0_5_line_102 |  | 96 | 108 | 0.031427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4461-25_0_5_line_103 |  | 97 | 98 | 0.0099931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4461-25_0_5_line_104 |  | 98 | 110 | 0.010904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4461-25_0_5_line_105 |  | 98 | 99 | 0.015236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4461-25_0_5_line_106 |  | 100 | 109 | 0.016228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4461-25_0_5_line_107 |  | 102 | 103 | 0.00061765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4461-25_0_5_line_108 |  | 105 | 114 | 0.013782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4461-25_0_5_line_109 |  | 105 | 113 | 0.0054804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4461-25_0_5_line_110 |  | 106 | 107 | 0.013194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4461-25_0_5_line_111 |  | 110 | 111 | 0.017948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4461-25_0_5_line_112 |  | 111 | 112 | 0.0033372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4461-25_0_5_line_113 |  | 112 | 113 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4461-25_0_5_trafo_117 | 0.63 MVA 20/0.4 kV | 115 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2740281.7156 | 1268069.2956 | 2740274.4638 | 1268072.3676
1 | 2740293.5412 | 1268064.2863 | 2740281.7156 | 1268069.2956
2 | 2740274.4638 | 1268072.3676 | 2740261.5368 | 1268077.8435
3 | 2740284.2665 | 1268091.7597 | 2740293.9104 | 1268087.4066 | 2740301.602 | 1268082.8291 | 2740293.5412 | 1268064.2863
4 | 2740284.2665 | 1268091.7597 | 2740286.5638 | 1268097.1195 | 2740287.1983 | 1268098.9363 | 2740287.4979 | 1268101.2234 | 2740287.3638 | 1268103.3779 | 2740286.6588 | 1268105.7969 | 2740283.4632 | 1268112.5721 | 2740281.8501 | 1268116.7601 | 2740280.6426 | 1268120.6797
5 | 2740284.2665 | 1268091.7597 | 2740293.9104 | 1268087.4066 | 2740301.602 | 1268082.8291 | 2740309.5808 | 1268076.935 | 2740330.5835 | 1268063.2537
6 | 2740284.2665 | 1268091.7597 | 2740272.9308 | 1268096.6398 | 2740268.2069 | 1268098.6501
7 | 2740372.8288 | 1268035.6299 | 2740366.4858 | 1268039.8612 | 2740351.6553 | 1268049.5184
8 | 2740351.6553 | 1268049.5184 | 2740342.1905 | 1268055.6879
9 | 2740372.8288 | 1268035.6299 | 2740378.7346 | 1268043.4557 | 2740383.9123 | 1268044.8467 | 2740391.6955 | 1268048.1348 | 2740395.6255 | 1268051.9653 | 2740411.2095 | 1268075.8478
10 | 2740372.8288 | 1268035.6299 | 2740383.2171 | 1268029.1621
11 | 2740342.1905 | 1268055.6879 | 2740331.6399 | 1268062.5651
12 | 2740411.2095 | 1268075.8478 | 2740403.5557 | 1268083.5847
13 | 2740383.2171 | 1268029.1621 | 2740396.0499 | 1268021.1722
14 | 2740257.5289 | 1268136.0684 | 2740260.5748 | 1268135.2733 | 2740271.2116 | 1268130.966 | 2740277.5497 | 1268130.1044 | 2740279.8545 | 1268124.3758 | 2740280.6426 | 1268120.6797
15 | 2740280.6426 | 1268120.6797 | 2740300.144 | 1268111.928
16 | 2740330.5835 | 1268063.2537 | 2740331.6399 | 1268062.5651
17 | 2740330.5835 | 1268063.2537 | 2740343.3029 | 1268086.6452
18 | 2740343.3029 | 1268086.6452 | 2740352.0435 | 1268102.7198
19 | 2740312.4877 | 1268106.3885 | 2740325.138 | 1268134.9037
20 | 2740312.4877 | 1268106.3885 | 2740300.144 | 1268111.928
21 | 2740326.2958 | 1268137.5135 | 2740325.138 | 1268134.9037
22 | 2740375.4158 | 1267956.9143 | 2740384.1953 | 1267963.596
23 | 2740384.1953 | 1267963.596 | 2740397.7002 | 1267973.864
24 | 2740375.4158 | 1267956.9143 | 2740370.4 | 1267968.5737
25 | 2740367.8505 | 1267978.3445 | 2740367.8505 | 1267978.3445 | 2740368.0277 | 1267975.3235 | 2740369.382 | 1267970.9402 | 2740370.4 | 1267968.5737
26 | 2740405.9853 | 1268014.9863 | 2740429.5723 | 1267998.0969
27 | 2740429.5723 | 1267998.0969 | 2740451.2333 | 1267984.6207 | 2740458.9039 | 1267989.7969
28 | 2740429.5723 | 1267998.0969 | 2740436.671 | 1268005.0185
29 | 2740405.9853 | 1268014.9863 | 2740396.0499 | 1268021.1722
30 | 2740405.9853 | 1268014.9863 | 2740414.39 | 1268025.1235
31 | 2740405.9853 | 1268014.9863 | 2740397.4036 | 1268007.4061
32 | 2740458.9039 | 1267989.7969 | 2740462.9946 | 1267992.5615
33 | 2740447.443 | 1268015.5219 | 2740436.671 | 1268005.0185
34 | 2740257.5289 | 1268136.0684 | 2740258.2988 | 1268139.4789
35 | 2740257.5289 | 1268136.0684 | 2740254.8095 | 1268136.7735
36 | 2740355.9382 | 1268109.8823 | 2740352.0435 | 1268102.7198
37 | 2740326.2958 | 1268137.5135 | 2740340.4188 | 1268169.3245
38 | 2740326.2958 | 1268137.5135 | 2740309.75 | 1268144.6902
39 | 2740388.0566 | 1267999.1499 | 2740372.8853 | 1267985.7491 | 2740368.8325 | 1267981.3819 | 2740367.8505 | 1267978.3445
40 | 2740426.1156 | 1268039.2662 | 2740414.39 | 1268025.1235
41 | 2740388.0566 | 1267999.1499 | 2740397.4036 | 1268007.4061
42 | 2740258.2988 | 1268139.4789 | 2740259.846 | 1268146.3001 | 2740258.6421 | 1268153.5016
43 | 2740254.8095 | 1268136.7735 | 2740252.2631 | 1268137.4337 | 2740246.3385 | 1268137.811
44 | 2740275.3641 | 1268155.8556 | 2740282.7149 | 1268156.4195 | 2740300.1685 | 1268148.8487 | 2740301.5001 | 1268148.2686
45 | 2740275.3641 | 1268155.8556 | 2740273.0896 | 1268171.7171 | 2740270.3237 | 1268185.5111
46 | 2740301.5001 | 1268148.2686 | 2740309.75 | 1268144.6902
47 | 2740268.8613 | 1268192.8041 | 2740270.3237 | 1268185.5111
48 | 2740236.5705 | 1268139.0295 | 2740230.8132 | 1268136.5546
49 | 2740236.5705 | 1268139.0295 | 2740240.9436 | 1268138.1546 | 2740246.3385 | 1268137.811
50 | 2740344.5425 | 1268178.6204 | 2740340.4188 | 1268169.3245
51 | 2740340.4188 | 1268169.3245 | 2740319.6217 | 1268178.2736
52 | 2740268.8613 | 1268192.8041 | 2740266.4222 | 1268202.8271
53 | 2740268.8613 | 1268192.8041 | 2740282.6218 | 1268195.7766
54 | 2740344.5425 | 1268178.6204 | 2740363.0121 | 1268170.9675
55 | 2740347.2513 | 1268184.7241 | 2740344.5425 | 1268178.6204
56 | 2740380.5156 | 1268157.6099 | 2740380.5156 | 1268157.6099 | 2740378.7111 | 1268164.4626 | 2740363.0121 | 1268170.9675
57 | 2740347.2513 | 1268184.7241 | 2740356.5824 | 1268205.8776 | 2740357.404 | 1268207.7433 | 2740364.0417 | 1268222.7824
58 | 2740347.2513 | 1268184.7241 | 2740331.898 | 1268191.3311
59 | 2740282.6218 | 1268195.7766 | 2740293.8527 | 1268198.2026 | 2740295.3615 | 1268198.1599
60 | 2740371.5862 | 1268239.9006 | 2740364.0417 | 1268222.7824
61 | 2740364.0417 | 1268222.7824 | 2740339.2708 | 1268232.5036 | 2740339.7441 | 1268233.901
62 | 2740259.774 | 1268230.1472 | 2740266.4222 | 1268202.8271
63 | 2740371.5862 | 1268239.9006 | 2740373.8683 | 1268244.6261 | 2740375.9019 | 1268249.0343 | 2740381.7801 | 1268261.8087
64 | 2740371.5862 | 1268239.9006 | 2740390.0276 | 1268227.8109
65 | 2740259.774 | 1268230.1472 | 2740254.3747 | 1268252.3519 | 2740253.9814 | 1268259.7165 | 2740254.1727 | 1268261.4894
66 | 2740254.1727 | 1268261.4894 | 2740259.3084 | 1268261.1554 | 2740261.5159 | 1268262.6871 | 2740296.9286 | 1268260.005
67 | 2740254.1727 | 1268261.4894 | 2740249.6099 | 1268261.7925 | 2740246.829 | 1268263.7952 | 2740247.2642 | 1268268.2988 | 2740247.8848 | 1268274.8199 | 2740248.1324 | 1268277.395 | 2740248.6188 | 1268282.278 | 2740249.2509 | 1268288.6325 | 2740249.5796 | 1268291.9102 | 2740254.8714 | 1268291.3464 | 2740255.1496 | 1268293.8999 | 2740246.8892 | 1268294.8604 | 2740247.5626 | 1268301.0602 | 2740247.8965 | 1268304.4381 | 2740248.0787 | 1268306.2776 | 2740248.1934 | 1268307.4703 | 2740249.7522 | 1268323.3118 | 2740250.9414 | 1268333.7947 | 2740254.7556 | 1268329.1807 | 2740255.7414 | 1268331.74 | 2740263.2503 | 1268330.7172 | 2740265.8315 | 1268350.1086
68 | 2740381.7801 | 1268261.8087 | 2740389.6621 | 1268278.5655
69 | 2740390.0276 | 1268227.8109 | 2740398.1897 | 1268222.46 | 2740402.9395 | 1268219.3587 | 2740409.6247 | 1268214.9799 | 2740416.9971 | 1268210.1625
70 | 2740422.4514 | 1268366.7891 | 2740426.9136 | 1268364.6931 | 2740422.1208 | 1268353.7796 | 2740426.4096 | 1268352.0131
71 | 2740408.3181 | 1268348.1128 | 2740409.1553 | 1268348.0548 | 2740411.983 | 1268348.8339 | 2740414.3707 | 1268351.015 | 2740416.0524 | 1268355.0255 | 2740416.6075 | 1268356.062 | 2740422.1208 | 1268353.7796 | 2740426.4096 | 1268352.0131
72 | 2740426.4096 | 1268352.0131 | 2740427.2243 | 1268353.86
73 | 2740426.4096 | 1268352.0131 | 2740424.7291 | 1268348.1272
74 | 2740396.2693 | 1268395.9734 | 2740399.2788 | 1268379.9292 | 2740400.4666 | 1268376.8433 | 2740402.3328 | 1268374.6744 | 2740422.4514 | 1268366.7891
75 | 2740408.3181 | 1268348.1128 | 2740404.9396 | 1268348.3327 | 2740402.7452 | 1268348.6272
76 | 2740406.7062 | 1268343.7035 | 2740408.3181 | 1268348.1128
77 | 2740433.6416 | 1268368.4065 | 2740427.2243 | 1268353.86
78 | 2740424.7291 | 1268348.1272 | 2740419.9219 | 1268337.0109 | 2740420.577 | 1268334.4796 | 2740419.0684 | 1268331.2049
79 | 2740407.6907 | 1268339.0334 | 2740407.0357 | 1268339.6629 | 2740405.4971 | 1268340.4048 | 2740406.7062 | 1268343.7035
80 | 2740407.6907 | 1268339.0334 | 2740406.695 | 1268337.8419 | 2740398.5246 | 1268318.0834
81 | 2740402.7452 | 1268348.6272 | 2740382.9858 | 1268351.2793
82 | 2740396.2693 | 1268395.9734 | 2740394.0687 | 1268413.598
83 | 2740396.2693 | 1268395.9734 | 2740379.8549 | 1268395.0158 | 2740368.103 | 1268397.0214
84 | 2740265.8315 | 1268350.1086 | 2740318.6836 | 1268343.0898
85 | 2740438.721 | 1268229.8192 | 2740430.6559 | 1268212.1213
86 | 2740430.0546 | 1268201.63 | 2740432.4463 | 1268205.5463 | 2740428.7594 | 1268207.961 | 2740430.6559 | 1268212.1213
87 | 2740430.6559 | 1268212.1213 | 2740440.6905 | 1268205.5867 | 2740447.1042 | 1268201.4103
88 | 2740438.721 | 1268229.8192 | 2740414.789 | 1268239.7162
89 | 2740438.721 | 1268229.8192 | 2740445.8162 | 1268226.885 | 2740447.6524 | 1268230.3292
90 | 2740430.0546 | 1268201.63 | 2740416.9971 | 1268210.1625
91 | 2740430.0546 | 1268201.63 | 2740418.6242 | 1268182.9022
92 | 2740430.0546 | 1268201.63 | 2740446.7272 | 1268190.7303
93 | 2740320.3738 | 1268355.6089 | 2740318.6836 | 1268343.0898
94 | 2740330.3833 | 1268354.2341 | 2740331.0257 | 1268358.2533
95 | 2740331.0257 | 1268358.2533 | 2740382.9858 | 1268351.2793
96 | 2740330.3833 | 1268354.2341 | 2740320.3738 | 1268355.6089
97 | 2740330.3833 | 1268354.2341 | 2740354.1346 | 1268350.9622
98 | 2740417.2728 | 1268180.688 | 2740418.6242 | 1268182.9022
99 | 2740433.6416 | 1268368.4065 | 2740434.4284 | 1268370.1901
100 | 2740434.4284 | 1268370.1901 | 2740438.6623 | 1268379.7871 | 2740442.3654 | 1268388.1891
101 | 2740368.103 | 1268397.0214 | 2740352.5698 | 1268399.6723 | 2740354.4995 | 1268410.6659
102 | 2740462.4372 | 1268258.0616 | 2740447.6524 | 1268230.3292
103 | 2740457.0578 | 1268076.5714 | 2740465.7153 | 1268071.5804
104 | 2740457.0578 | 1268076.5714 | 2740450.0967 | 1268068.1788
105 | 2740457.0578 | 1268076.5714 | 2740466.7072 | 1268088.3623
106 | 2740417.2728 | 1268180.688 | 2740408.8187 | 1268166.8365
107 | 2740354.6063 | 1268411.2743 | 2740354.4995 | 1268410.6659
108 | 2740426.1156 | 1268039.2662 | 2740415.1506 | 1268047.6148
109 | 2740426.1156 | 1268039.2662 | 2740429.6144 | 1268043.4845
110 | 2740362.2412 | 1268121.4737 | 2740355.9382 | 1268109.8823
111 | 2740438.6387 | 1268054.3646 | 2740450.0967 | 1268068.1788
112 | 2740438.6387 | 1268054.3646 | 2740436.5082 | 1268051.796
113 | 2740429.6144 | 1268043.4845 | 2740436.5082 | 1268051.796

## bus_geodata
| x | y | coords
0 | 2740281.7156 | 1268069.2956
1 | 2740274.4638 | 1268072.3676
2 | 2740293.5412 | 1268064.2863
3 | 2740261.5368 | 1268077.8435
4 | 2740284.2665 | 1268091.7597
5 | 2740351.6553 | 1268049.5184
6 | 2740372.8288 | 1268035.6299
7 | 2740342.1905 | 1268055.6879
8 | 2740411.2095 | 1268075.8478
9 | 2740383.2171 | 1268029.1621
10 | 2740280.6426 | 1268120.6797
11 | 2740330.5835 | 1268063.2537
12 | 2740268.2068 | 1268098.6501
13 | 2740331.6399 | 1268062.5651
14 | 2740343.3029 | 1268086.6452
15 | 2740312.4877 | 1268106.3885
16 | 2740325.138 | 1268134.9037
17 | 2740300.144 | 1268111.928
18 | 2740384.1953 | 1267963.596
19 | 2740375.4158 | 1267956.9143
20 | 2740397.7002 | 1267973.864
21 | 2740370.4 | 1267968.5737
22 | 2740429.5723 | 1267998.0969
23 | 2740405.9853 | 1268014.9863
24 | 2740458.9039 | 1267989.7969
25 | 2740436.671 | 1268005.0185
26 | 2740462.9946 | 1267992.5615
27 | 2740403.5557 | 1268083.5847
28 | 2740396.0499 | 1268021.1722
29 | 2740257.5289 | 1268136.0684
30 | 2740352.0435 | 1268102.7198
31 | 2740326.2958 | 1268137.5135
32 | 2740367.8505 | 1267978.3445
33 | 2740414.39 | 1268025.1235
34 | 2740397.4036 | 1268007.4061
35 | 2740447.443 | 1268015.5219
36 | 2740258.2988 | 1268139.4789
37 | 2740254.8095 | 1268136.7735
38 | 2740275.3641 | 1268155.8556
39 | 2740301.5001 | 1268148.2686
40 | 2740270.3237 | 1268185.5111
41 | 2740258.6421 | 1268153.5016
42 | 2740230.8132 | 1268136.5546
43 | 2740236.5705 | 1268139.0295
44 | 2740340.4188 | 1268169.3245
45 | 2740309.75 | 1268144.6902
46 | 2740246.3385 | 1268137.811
47 | 2740268.8613 | 1268192.8041
48 | 2740344.5425 | 1268178.6204
49 | 2740319.6217 | 1268178.2736
50 | 2740363.0121 | 1268170.9675
51 | 2740347.2513 | 1268184.7241
52 | 2740295.3615 | 1268198.1599
53 | 2740282.6218 | 1268195.7766
54 | 2740331.898 | 1268191.3311
55 | 2740364.0417 | 1268222.7824
56 | 2740266.4222 | 1268202.8271
57 | 2740371.5862 | 1268239.9006
58 | 2740339.7441 | 1268233.901
59 | 2740259.774 | 1268230.1472
60 | 2740296.9286 | 1268260.005
61 | 2740254.1727 | 1268261.4894
62 | 2740381.7801 | 1268261.8087
63 | 2740390.0276 | 1268227.8109
64 | 2740426.4096 | 1268352.0131
65 | 2740422.4514 | 1268366.7891
66 | 2740408.3181 | 1268348.1128
67 | 2740427.2243 | 1268353.86
68 | 2740424.7291 | 1268348.1272
69 | 2740406.7062 | 1268343.7035
70 | 2740407.6907 | 1268339.0334
71 | 2740402.7452 | 1268348.6272
72 | 2740396.2693 | 1268395.9734
73 | 2740398.5246 | 1268318.0834
74 | 2740389.6621 | 1268278.5655
75 | 2740265.8315 | 1268350.1086
76 | 2740430.6559 | 1268212.1213
77 | 2740438.721 | 1268229.8192
78 | 2740430.0546 | 1268201.63
79 | 2740447.1042 | 1268201.4103
80 | 2740318.6836 | 1268343.0898
81 | 2740331.0257 | 1268358.2533
82 | 2740330.3833 | 1268354.2341
83 | 2740382.9858 | 1268351.2793
84 | 2740320.3738 | 1268355.6089
85 | 2740416.9971 | 1268210.1625
86 | 2740418.6242 | 1268182.9022
87 | 2740446.7272 | 1268190.7303
88 | 2740433.6416 | 1268368.4065
89 | 2740419.0684 | 1268331.2049
90 | 2740354.1346 | 1268350.9622
91 | 2740442.3654 | 1268388.1891
92 | 2740434.4284 | 1268370.1901
93 | 2740394.0687 | 1268413.598
94 | 2740368.103 | 1268397.0214
95 | 2740414.789 | 1268239.7162
96 | 2740447.6524 | 1268230.3292
97 | 2740465.7153 | 1268071.5804
98 | 2740457.0578 | 1268076.5714
99 | 2740466.7072 | 1268088.3623
100 | 2740417.2728 | 1268180.688
101 | 2740380.5156 | 1268157.6099
102 | 2740354.4995 | 1268410.6659
103 | 2740354.6063 | 1268411.2743
104 | 2740388.0566 | 1267999.1499
105 | 2740426.1156 | 1268039.2662
106 | 2740355.9382 | 1268109.8823
107 | 2740362.2412 | 1268121.4737
108 | 2740462.4372 | 1268258.0616
109 | 2740408.8187 | 1268166.8365
110 | 2740450.0967 | 1268068.1788
111 | 2740438.6387 | 1268054.3646
112 | 2740436.5082 | 1268051.796
113 | 2740429.6144 | 1268043.4845
114 | 2740415.1506 | 1268047.6148
115 | 2740344.5425 | 1268178.6204

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1