## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4461-30_1_3_node_21 | 0.4 | n |  | TRUE
1 | bus_LV_4461-30_1_3_node_23 | 0.4 | n |  | TRUE
2 | bus_LV_4461-30_1_3_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_4461-30_1_3_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_4461-30_1_3_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_4461-30_1_3_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_4461-30_1_3_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_4461-30_1_3_node_121 | 0.4 | n |  | TRUE
8 | bus_LV_4461-30_1_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_4461-30_1_3_node_103 | 0.4 | n |  | TRUE
10 | bus_LV_4461-30_1_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_4461-30_1_3_node_102 | 0.4 | n |  | TRUE
12 | bus_LV_4461-30_1_3_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_4461-30_1_3_node_137 | 0.4 | n |  | TRUE
14 | bus_LV_4461-30_1_3_node_124 | 0.4 | n |  | TRUE
15 | bus_LV_4461-30_1_3_node_122 | 0.4 | n |  | TRUE
16 | bus_LV_4461-30_1_3_node_113 | 0.4 | n |  | TRUE
17 | bus_LV_4461-30_1_3_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_4461-30_1_3_node_111 | 0.4 | n |  | TRUE
19 | bus_LV_4461-30_1_3_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_4461-30_1_3_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_4461-30_1_3_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_4461-30_1_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_4461-30_1_3_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_4461-30_1_3_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_4461-30_1_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_4461-30_1_3_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_4461-30_1_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_4461-30_1_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_4461-30_1_3_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_4461-30_1_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_4461-30_1_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_4461-30_1_3_node_125 | 0.4 | n |  | TRUE
33 | bus_LV_4461-30_1_3_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_4461-30_1_3_node_143 | 0.4 | n |  | TRUE
35 | bus_LV_4461-30_1_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_4461-30_1_3_node_126 | 0.4 | n |  | TRUE
37 | bus_LV_4461-30_1_3_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_4461-30_1_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_4461-30_1_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_4461-30_1_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_4461-30_1_3_node_140 | 0.4 | n |  | TRUE
42 | bus_LV_4461-30_1_3_node_153 | 0.4 | n |  | TRUE
43 | bus_LV_4461-30_1_3_node_141 | 0.4 | n |  | TRUE
44 | bus_LV_4461-30_1_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_4461-30_1_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_4461-30_1_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_4461-30_1_3_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_4461-30_1_3_node_116 | 0.4 | n |  | TRUE
49 | bus_LV_4461-30_1_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_4461-30_1_3_node_131 | 0.4 | n |  | TRUE
51 | bus_LV_4461-30_1_3_node_117 | 0.4 | n |  | TRUE
52 | bus_LV_4461-30_1_3_node_145 | 0.4 | n |  | TRUE
53 | bus_LV_4461-30_1_3_node_135 | 0.4 | n |  | TRUE
54 | bus_LV_4461-30_1_3_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_4461-30_1_3_node_156 | 0.4 | n |  | TRUE
56 | bus_LV_4461-30_1_3_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_4461-30_1_3_node_157 | 0.4 | n |  | TRUE
58 | bus_LV_4461-30_1_3_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_4461-30_1_3_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_4461-30_1_3_node_90 | 0.4 | n |  | TRUE
61 | bus_LV_4461-30_1_3_node_89 | 0.4 | n |  | TRUE
62 | bus_LV_4461-30_1_3_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_4461-30_1_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_4461-30_1_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4461-30_1_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4461-30_1_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4461-30_1_3_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_4461-30_1_3_node_147 | 0.4 | n |  | TRUE
69 | bus_LV_4461-30_1_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_4461-30_1_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4461-30_1_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4461-30_1_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_4461-30_1_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_4461-30_1_3_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_4461-30_1_3_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_4461-30_1_3_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_4461-30_1_3_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_4461-30_1_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_4461-30_1_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_4461-30_1_3_node_114 | 0.4 | n |  | TRUE
81 | bus_LV_4461-30_1_3_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_4461-30_1_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_4461-30_1_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_4461-30_1_3_node_106 | 0.4 | n |  | TRUE
85 | bus_LV_4461-30_1_3_node_107 | 0.4 | n |  | TRUE
86 | bus_LV_4461-30_1_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_4461-30_1_3_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_4461-30_1_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_4461-30_1_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4461-30_1_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_4461-30_1_3_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_4461-30_1_3_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_4461-30_1_3_node_115 | 0.4 | n |  | TRUE
94 | bus_LV_4461-30_1_3_node_133 | 0.4 | n |  | TRUE
95 | bus_LV_4461-30_1_3_node_101 | 0.4 | n |  | TRUE
96 | bus_LV_4461-30_1_3_node_108 | 0.4 | n |  | TRUE
97 | bus_LV_4461-30_1_3_node_123 | 0.4 | n |  | TRUE
98 | bus_LV_4461-30_1_3_node_127 | 0.4 | n |  | TRUE
99 | bus_LV_4461-30_1_3_node_128 | 0.4 | n |  | TRUE
100 | bus_LV_4461-30_1_3_node_142 | 0.4 | n |  | TRUE
101 | bus_LV_4461-30_1_3_node_144 | 0.4 | n |  | TRUE
102 | bus_LV_4461-30_1_3_node_136 | 0.4 | n |  | TRUE
103 | bus_LV_4461-30_1_3_node_151 | 0.4 | n |  | TRUE
104 | bus_LV_4461-30_1_3_node_148 | 0.4 | n |  | TRUE
105 | bus_LV_4461-30_1_3_node_149 | 0.4 | n |  | TRUE
106 | bus_LV_4461-30_1_3_node_150 | 0.4 | n |  | TRUE
107 | bus_LV_4461-30_1_3_node_152 | 0.4 | n |  | TRUE
108 | bus_LV_4461-30_1_3_node_154 | 0.4 | n |  | TRUE
109 | bus_LV_4461-30_1_3_node_155 | 0.4 | n |  | TRUE
110 | bus_MV_407_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4461-30_1_3_load_21 | 0 | 0.016635 | 0.004169 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4461-30_1_3_load_26 | 3 | 0.007899 | 0.0019797 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4461-30_1_3_load_67 | 6 | 0.00038977 | 9.7685e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4461-30_1_3_load_121 | 7 | 0.0011446 | 0.00028685 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4461-30_1_3_load_103 | 9 | 0.0013004 | 0.00032591 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4461-30_1_3_load_102 | 11 | 0.0028587 | 0.00071645 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4461-30_1_3_load_124 | 14 | 0.0010531 | 0.00026394 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4461-30_1_3_load_111 | 18 | 0.0077828 | 0.0019506 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4461-30_1_3_load_76 | 21 | 0.0017668 | 0.00044279 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4461-30_1_3_load_84 | 24 | 0.0012272 | 0.00030757 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4461-30_1_3_load_29 | 25 | 0.0038458 | 0.00096386 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4461-30_1_3_load_30 | 27 | 0.0020283 | 0.00050834 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4461-30_1_3_load_32 | 28 | 0.0042787 | 0.0010723 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4461-30_1_3_load_33 | 29 | 0.0026226 | 0.00065729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4461-30_1_3_load_34 | 30 | 0.0030665 | 0.00076854 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4461-30_1_3_load_125 | 32 | 0.0037924 | 0.00095047 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4461-30_1_3_load_70 | 33 | 0.0020137 | 0.00050467 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4461-30_1_3_load_143 | 34 | 0.0028963 | 0.00072587 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4461-30_1_3_load_36 | 35 | 0.0044596 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4461-30_1_3_load_68 | 37 | 0.014298 | 0.0035835 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4461-30_1_3_load_35 | 38 | 0.004804 | 0.001204 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4461-30_1_3_load_37 | 39 | 0.00076922 | 0.00019278 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4461-30_1_3_load_39 | 40 | 0.00061374 | 0.00015382 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4461-30_1_3_load_140 | 41 | 0.0024674 | 0.0006184 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4461-30_1_3_load_153 | 42 | 0.00088645 | 0.00022216 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4461-30_1_3_load_141 | 43 | 0.006906 | 0.0017308 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4461-30_1_3_load_40 | 44 | 0.031533 | 0.0079029 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4461-30_1_3_load_116 | 48 | 0.0014289 | 0.00035811 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4461-30_1_3_load_117 | 51 | 0.0031713 | 0.0007948 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4461-30_1_3_load_145 | 52 | 0.0025972 | 0.00065092 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4461-30_1_3_load_135 | 53 | 0.0029528 | 0.00074005 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4461-30_1_3_load_94 | 54 | 0.0071886 | 0.0018016 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4461-30_1_3_load_156 | 55 | 0.0057739 | 0.0014471 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4461-30_1_3_load_157 | 57 | 0.027166 | 0.0068084 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4461-30_1_3_load_90 | 60 | 0.0085529 | 0.0021436 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4461-30_1_3_load_89 | 61 | 0.011578 | 0.0029017 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4461-30_1_3_load_51 | 63 | 0.0018967 | 0.00047537 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4461-30_1_3_load_52 | 64 | 0.0034785 | 0.00087178 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4461-30_1_3_load_55 | 66 | 0.0048507 | 0.0012157 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4461-30_1_3_load_104 | 67 | 0.0028956 | 0.0007257 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4461-30_1_3_load_147 | 68 | 0.0059174 | 0.001483 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4461-30_1_3_load_61 | 69 | 0.0041948 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4461-30_1_3_load_62 | 70 | 0.0019148 | 0.00047989 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4461-30_1_3_load_63 | 71 | 0.001309 | 0.00032808 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4461-30_1_3_load_64 | 72 | 0.0032046 | 0.00080315 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4461-30_1_3_load_65 | 73 | 0.0031766 | 0.00079613 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4461-30_1_3_load_82 | 74 | 0.0033914 | 0.00084996 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4461-30_1_3_load_93 | 75 | 0.00082285 | 0.00020623 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4461-30_1_3_load_83 | 76 | 0.0012701 | 0.00031831 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4461-30_1_3_load_95 | 77 | 0.0032521 | 0.00081506 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4461-30_1_3_load_69 | 78 | 0.0051967 | 0.0013024 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4461-30_1_3_load_71 | 79 | 0.0030692 | 0.0007692 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4461-30_1_3_load_114 | 80 | 0.0062317 | 0.0015618 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4461-30_1_3_load_72 | 81 | 0.0024656 | 0.00061794 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4461-30_1_3_load_74 | 82 | 0.0059506 | 0.0014914 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4461-30_1_3_load_106 | 84 | 0.002153 | 0.00053958 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4461-30_1_3_load_107 | 85 | 0.0079707 | 0.0019977 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4461-30_1_3_load_77 | 86 | 0.0068207 | 0.0017094 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4461-30_1_3_load_78 | 87 | 0.0015418 | 0.00038641 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4461-30_1_3_load_79 | 88 | 0.0016169 | 0.00040524 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4461-30_1_3_load_80 | 89 | 0.0056462 | 0.0014151 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4461-30_1_3_load_81 | 90 | 0.0025227 | 0.00063225 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4461-30_1_3_load_91 | 91 | 0.002208 | 0.00055337 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4461-30_1_3_load_92 | 92 | 0.00078243 | 0.00019609 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4461-30_1_3_load_115 | 93 | 0.0048411 | 0.0012133 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4461-30_1_3_load_133 | 94 | 0.0081767 | 0.0020493 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4461-30_1_3_load_101 | 95 | 0.0014065 | 0.00035251 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4461-30_1_3_load_108 | 96 | 0.0031661 | 0.0007935 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4461-30_1_3_load_127 | 98 | 0.0026997 | 0.00067661 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4461-30_1_3_load_128 | 99 | 0.0020965 | 0.00052542 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4461-30_1_3_load_142 | 100 | 0.0049262 | 0.0012346 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4461-30_1_3_load_144 | 101 | 0.0096765 | 0.0024252 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4461-30_1_3_load_136 | 102 | 0.0035397 | 0.00088712 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4461-30_1_3_load_151 | 103 | 0.0016052 | 0.0004023 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4461-30_1_3_load_148 | 104 | 0.0020229 | 0.00050699 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4461-30_1_3_load_149 | 105 | 0.0016793 | 0.00042088 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4461-30_1_3_load_152 | 107 | 0.0050986 | 0.0012778 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4461-30_1_3_load_155 | 109 | 0.0030162 | 0.00075594 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4461-30_1_3_line_0 |  | 0 | 1 | 0.029551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4461-30_1_3_line_1 |  | 1 | 2 | 0.04038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4461-30_1_3_line_2 |  | 1 | 3 | 0.027874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4461-30_1_3_line_3 |  | 2 | 7 | 0.016062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4461-30_1_3_line_4 |  | 4 | 5 | 0.018171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4461-30_1_3_line_5 |  | 4 | 6 | 0.058458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4461-30_1_3_line_6 |  | 5 | 13 | 0.035532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4461-30_1_3_line_7 |  | 5 | 14 | 0.0099035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4461-30_1_3_line_8 |  | 7 | 15 | 0.03126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4461-30_1_3_line_9 |  | 8 | 9 | 0.01857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4461-30_1_3_line_10 |  | 8 | 10 | 0.038803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4461-30_1_3_line_11 |  | 8 | 11 | 0.028265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4461-30_1_3_line_12 |  | 9 | 16 | 0.053577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4461-30_1_3_line_13 |  | 10 | 12 | 0.010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4461-30_1_3_line_14 |  | 11 | 20 | 0.014417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4461-30_1_3_line_15 |  | 12 | 21 | 0.0362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4461-30_1_3_line_16 |  | 12 | 22 | 0.055133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4461-30_1_3_line_17 |  | 13 | 97 | 0.025283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4461-30_1_3_line_18 |  | 14 | 15 | 0.020138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4461-30_1_3_line_19 |  | 16 | 93 | 0.030741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4461-30_1_3_line_20 |  | 16 | 17 | 0.008703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4461-30_1_3_line_21 |  | 17 | 18 | 0.021374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4461-30_1_3_line_22 |  | 17 | 19 | 0.033344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4461-30_1_3_line_23 |  | 18 | 58 | 0.0031099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4461-30_1_3_line_24 |  | 19 | 23 | 0.047192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4461-30_1_3_line_25 |  | 19 | 24 | 0.0078787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4461-30_1_3_line_26 |  | 20 | 67 | 0.013259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4461-30_1_3_line_27 |  | 20 | 65 | 0.024545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4461-30_1_3_line_28 |  | 21 | 62 | 0.022436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4461-30_1_3_line_29 |  | 22 | 44 | 0.027664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4461-30_1_3_line_30 |  | 22 | 45 | 0.017789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4461-30_1_3_line_31 |  | 23 | 55 | 0.033367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4461-30_1_3_line_32 |  | 25 | 26 | 0.010098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4461-30_1_3_line_33 |  | 26 | 29 | 0.038422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4461-30_1_3_line_34 |  | 26 | 30 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4461-30_1_3_line_35 |  | 27 | 28 | 0.002721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4461-30_1_3_line_36 |  | 28 | 31 | 0.0055835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4461-30_1_3_line_37 |  | 29 | 32 | 0.0032259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4461-30_1_3_line_38 |  | 30 | 33 | 0.00040223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4461-30_1_3_line_39 |  | 31 | 34 | 0.014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4461-30_1_3_line_40 |  | 31 | 35 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4461-30_1_3_line_41 |  | 32 | 36 | 0.015039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4461-30_1_3_line_42 |  | 33 | 37 | 0.022196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4461-30_1_3_line_43 |  | 34 | 42 | 0.019263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4461-30_1_3_line_44 |  | 35 | 38 | 0.0062139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4461-30_1_3_line_45 |  | 36 | 98 | 0.011521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4461-30_1_3_line_46 |  | 36 | 99 | 0.0037301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4461-30_1_3_line_47 |  | 37 | 78 | 0.023375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4461-30_1_3_line_48 |  | 38 | 39 | 0.025895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4461-30_1_3_line_49 |  | 39 | 40 | 0.0097377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4461-30_1_3_line_50 |  | 40 | 41 | 0.02456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4461-30_1_3_line_51 |  | 41 | 43 | 0.019654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4461-30_1_3_line_52 |  | 42 | 103 | 0.0009377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4461-30_1_3_line_53 |  | 43 | 100 | 0.0082432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4461-30_1_3_line_54 |  | 45 | 46 | 0.038646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4461-30_1_3_line_55 |  | 46 | 47 | 0.031228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4461-30_1_3_line_56 |  | 46 | 48 | 0.0066901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4461-30_1_3_line_57 |  | 47 | 52 | 0.010094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4461-30_1_3_line_58 |  | 48 | 51 | 0.040159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4461-30_1_3_line_59 |  | 49 | 50 | 0.018518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4461-30_1_3_line_60 |  | 49 | 51 | 0.014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4461-30_1_3_line_61 |  | 50 | 53 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4461-30_1_3_line_62 |  | 50 | 54 | 0.0048277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4461-30_1_3_line_63 |  | 52 | 95 | 0.0097846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4461-30_1_3_line_64 |  | 53 | 102 | 0.019262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4461-30_1_3_line_65 |  | 54 | 75 | 0.018025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4461-30_1_3_line_66 |  | 56 | 57 | 0.043072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4461-30_1_3_line_67 |  | 56 | 58 | 0.004712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4461-30_1_3_line_68 |  | 58 | 80 | 0.022829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4461-30_1_3_line_69 |  | 59 | 60 | 0.0096242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4461-30_1_3_line_70 |  | 59 | 61 | 0.02944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4461-30_1_3_line_71 |  | 60 | 89 | 0.06731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4461-30_1_3_line_72 |  | 61 | 76 | 0.014507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4461-30_1_3_line_73 |  | 62 | 83 | 0.040864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4461-30_1_3_line_74 |  | 62 | 81 | 0.010195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4461-30_1_3_line_75 |  | 63 | 64 | 0.01027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4461-30_1_3_line_76 |  | 63 | 65 | 0.016271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4461-30_1_3_line_77 |  | 65 | 66 | 0.01494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4461-30_1_3_line_78 |  | 67 | 68 | 0.015856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4461-30_1_3_line_79 |  | 69 | 70 | 0.010832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4461-30_1_3_line_80 |  | 69 | 71 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4461-30_1_3_line_81 |  | 70 | 72 | 0.012266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4461-30_1_3_line_82 |  | 71 | 73 | 0.0036001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4461-30_1_3_line_83 |  | 72 | 74 | 0.014161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4461-30_1_3_line_84 |  | 73 | 75 | 0.01133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4461-30_1_3_line_85 |  | 74 | 76 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4461-30_1_3_line_86 |  | 75 | 77 | 0.02201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4461-30_1_3_line_87 |  | 77 | 94 | 0.042063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4461-30_1_3_line_88 |  | 78 | 79 | 0.029528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4461-30_1_3_line_89 |  | 79 | 80 | 0.00037784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4461-30_1_3_line_90 |  | 81 | 82 | 0.036329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4461-30_1_3_line_91 |  | 83 | 84 | 0.014861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4461-30_1_3_line_92 |  | 84 | 85 | 0.0083653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4461-30_1_3_line_93 |  | 85 | 96 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4461-30_1_3_line_94 |  | 86 | 87 | 0.015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4461-30_1_3_line_95 |  | 86 | 88 | 0.0049062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4461-30_1_3_line_96 |  | 87 | 89 | 0.018668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4461-30_1_3_line_97 |  | 88 | 90 | 0.024076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4461-30_1_3_line_98 |  | 90 | 91 | 0.023282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4461-30_1_3_line_99 |  | 91 | 92 | 0.0080155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4461-30_1_3_line_100 |  | 96 | 97 | 0.003838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4461-30_1_3_line_101 |  | 98 | 100 | 0.022806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4461-30_1_3_line_102 |  | 99 | 101 | 0.016748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4461-30_1_3_line_103 |  | 103 | 105 | 0.020803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4461-30_1_3_line_104 |  | 104 | 105 | 0.0076647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4461-30_1_3_line_105 |  | 104 | 106 | 0.017292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4461-30_1_3_line_106 |  | 106 | 107 | 0.023834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4461-30_1_3_line_107 |  | 107 | 108 | 0.017825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4461-30_1_3_line_108 |  | 108 | 109 | 0.010636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4461-30_1_3_trafo_157 | 0.63 MVA 20/0.4 kV | 110 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2737587.1171 | 1269127.1968 | 2737581.3933 | 1269135.0378 | 2737576.9992 | 1269141.0636 | 2737569.6369 | 1269151.0226
1 | 2737587.1171 | 1269127.1968 | 2737593.8921 | 1269132.0705 | 2737596.5497 | 1269137.2374 | 2737597.8434 | 1269163.4485
2 | 2737587.1171 | 1269127.1968 | 2737576.2102 | 1269116.7772 | 2737582.1292 | 1269105.4039
3 | 2737597.8434 | 1269163.4485 | 2737613.8839 | 1269164.2749
4 | 2737620.5628 | 1269191.9276 | 2737638.5124 | 1269195.0821
5 | 2737620.5628 | 1269191.9276 | 2737632.9472 | 1269228.0846 | 2737643.2039 | 1269245.5322
6 | 2737673.6089 | 1269201.2614 | 2737638.5124 | 1269195.0821
7 | 2737638.5124 | 1269195.0821 | 2737643.292 | 1269186.4083
8 | 2737644.9646 | 1269167.3054 | 2737629.395 | 1269165.0739 | 2737613.8839 | 1269164.2749
9 | 2737613.3032 | 1269073.51 | 2737625.3537 | 1269059.3805
10 | 2737613.3032 | 1269073.51 | 2737616.7949 | 1269076.1606 | 2737635.5421 | 1269053.5197 | 2737639.3659 | 1269056.7786
11 | 2737613.3032 | 1269073.51 | 2737602.6049 | 1269065.1194 | 2737596.4859 | 1269063.1082 | 2737588.2756 | 1269062.5653
12 | 2737654.5747 | 1269015.0924 | 2737652.1187 | 1269021.9418 | 2737645.8842 | 1269033.9193 | 2737644.032 | 1269037.4797 | 2737625.3537 | 1269059.3805
13 | 2737647.9725 | 1269062.8517 | 2737644.7338 | 1269060.9744 | 2737640.7683 | 1269057.9791 | 2737639.3659 | 1269056.7786
14 | 2737573.8897 | 1269061.6139 | 2737588.2756 | 1269062.5653
15 | 2737647.9725 | 1269062.8517 | 2737650.3908 | 1269065.6886 | 2737652.9532 | 1269072.3547 | 2737655.5394 | 1269077.9983 | 2737656.7715 | 1269083.2765 | 2737656.6846 | 1269087.0004 | 2737655.3737 | 1269092.2082 | 2737653.8865 | 1269096.5688
16 | 2737647.9725 | 1269062.8517 | 2737652.3673 | 1269060.9967 | 2737656.3081 | 1269059.5649 | 2737661.7846 | 1269057.4905 | 2737666.379 | 1269057.086 | 2737671.792 | 1269058.0575 | 2737693.5305 | 1269065.3379 | 2737700.6399 | 1269067.4945
17 | 2737673.6089 | 1269201.2614 | 2737679.6623 | 1269176.7119
18 | 2737644.9646 | 1269167.3054 | 2737646.5 | 1269174.1034 | 2737646.9325 | 1269177.5056 | 2737646.3421 | 1269180.8729 | 2737643.292 | 1269186.4083
19 | 2737654.5747 | 1269015.0924 | 2737650.4027 | 1269015.4622 | 2737637.605 | 1269009.9254 | 2737626.3904 | 1269004.1617
20 | 2737662.5943 | 1269012.1208 | 2737657.6904 | 1269014.8203 | 2737654.5747 | 1269015.0924
21 | 2737662.5943 | 1269012.1208 | 2737660.0179 | 1269006.3774 | 2737658.6329 | 1268991.3621
22 | 2737662.5943 | 1269012.1208 | 2737666.9656 | 1269017.083 | 2737672.2854 | 1269011.4015 | 2737680.0226 | 1269004.3972 | 2737687.0867 | 1269009.1442
23 | 2737658.3473 | 1268988.2653 | 2737658.6329 | 1268991.3621
24 | 2737687.0867 | 1269009.1442 | 2737691.2743 | 1269006.4947 | 2737690.5731 | 1269003.9537 | 2737691.4018 | 1269001.0257 | 2737688.5409 | 1268997.4778 | 2737710.1495 | 1268980.6428 | 2737707.3898 | 1268976.9527
25 | 2737687.0867 | 1269009.1442 | 2737680.4237 | 1269013.3485
26 | 2737573.8897 | 1269061.6139 | 2737573.9279 | 1269048.3546
27 | 2737549.3462 | 1269059.6851 | 2737573.8897 | 1269061.6139
28 | 2737652.5652 | 1269118.0457 | 2737651.1127 | 1269114.7976 | 2737650.6682 | 1269111.9066 | 2737650.2745 | 1269107.1595 | 2737653.8865 | 1269096.5688
29 | 2737700.6399 | 1269067.4945 | 2737693.86 | 1269087.3558 | 2737694.1668 | 1269089.0535 | 2737695.832 | 1269090.2824 | 2737698.5764 | 1269091.1639
30 | 2737700.6399 | 1269067.4945 | 2737709.319 | 1269070.1327 | 2737717.6619 | 1269072.663
31 | 2737697.2524 | 1268950.9689 | 2737697.7929 | 1268972.9807 | 2737704.754 | 1268973.4323 | 2737707.3898 | 1268976.9527
32 | 2737647.6059 | 1268871.6239 | 2737646.6793 | 1268861.5683
33 | 2737647.6059 | 1268871.6239 | 2737685.8725 | 1268868.1668
34 | 2737647.6059 | 1268871.6239 | 2737649.2956 | 1268889.9729
35 | 2737639.5355 | 1268784.039 | 2737639.2858 | 1268781.3295
36 | 2737638.7735 | 1268775.7695 | 2737639.2858 | 1268781.3295
37 | 2737689.0853 | 1268867.8765 | 2737685.8725 | 1268868.1668
38 | 2737649.2956 | 1268889.9729 | 2737649.3325 | 1268890.3734
39 | 2737638.7735 | 1268775.7695 | 2737637.4765 | 1268761.692
40 | 2737638.7735 | 1268775.7695 | 2737662.375 | 1268773.528
41 | 2737704.0634 | 1268866.5233 | 2737689.0853 | 1268867.8765
42 | 2737651.3679 | 1268912.4763 | 2737649.3325 | 1268890.3734
43 | 2737635.7093 | 1268742.5104 | 2737637.4765 | 1268761.692
44 | 2737668.561 | 1268772.9405 | 2737662.375 | 1268773.528
45 | 2737704.0634 | 1268866.5233 | 2737702.9027 | 1268855.0606
46 | 2737704.0634 | 1268866.5233 | 2737707.7791 | 1268866.1968
47 | 2737651.3679 | 1268912.4763 | 2737653.5115 | 1268935.753
48 | 2737668.561 | 1268772.9405 | 2737694.34 | 1268770.4923
49 | 2737694.34 | 1268770.4923 | 2737694.34 | 1268770.4923 | 2737695.321 | 1268780.1805
50 | 2737697.795 | 1268804.6154 | 2737695.321 | 1268780.1805
51 | 2737697.795 | 1268804.6154 | 2737699.7749 | 1268824.169
52 | 2737635.7093 | 1268742.5104 | 2737635.6232 | 1268741.5766
53 | 2737699.7749 | 1268824.169 | 2737700.6053 | 1268832.3702
54 | 2737754.5619 | 1269084.5014 | 2737722.5285 | 1269074.1445 | 2737717.6619 | 1269072.663
55 | 2737754.5619 | 1269084.5014 | 2737751.6794 | 1269100.5942 | 2737750.9178 | 1269104.8362 | 2737745.0213 | 1269113.6184
56 | 2737754.5619 | 1269084.5014 | 2737755.3763 | 1269077.861
57 | 2737745.0213 | 1269113.6184 | 2737753.2834 | 1269118.9606 | 2737753.5342 | 1269119.0093
58 | 2737755.3763 | 1269077.861 | 2737755.9288 | 1269073.3557 | 2737756.204 | 1269062.8519 | 2737756.8661 | 1269037.7482
59 | 2737757.2503 | 1269023.1822 | 2737775.7371 | 1269021.4004
60 | 2737757.2503 | 1269023.1822 | 2737756.8661 | 1269037.7482
61 | 2737775.7371 | 1269021.4004 | 2737775.8109 | 1269008.0902
62 | 2737775.7371 | 1269021.4004 | 2737780.5429 | 1269020.9406
63 | 2737763.1989 | 1269120.4644 | 2737758.8819 | 1269120.0478 | 2737753.5342 | 1269119.0093
64 | 2737775.9177 | 1268988.8284 | 2737775.8109 | 1269008.0902
65 | 2737798.4868 | 1269019.2288 | 2737787.6062 | 1269020.2649 | 2737780.5429 | 1269020.9406
66 | 2737684.8659 | 1268962.0132 | 2737683.7903 | 1268983.5981 | 2737678.2789 | 1268986.5169 | 2737663.0548 | 1268987.8524
67 | 2737658.3473 | 1268988.2653 | 2737663.0548 | 1268987.8524
68 | 2737658.3473 | 1268988.2653 | 2737656.2538 | 1268965.5325
69 | 2737742.7669 | 1268934.7029 | 2737746.5866 | 1268925.8691
70 | 2737742.7669 | 1268934.7029 | 2737771.9421 | 1268938.641
71 | 2737746.5866 | 1268925.8691 | 2737766.7056 | 1268879.3405 | 2737772.5828 | 1268863.7963
72 | 2737771.9421 | 1268938.641 | 2737786.3189 | 1268940.5817
73 | 2737652.5652 | 1269118.0457 | 2737655.8955 | 1269120.8371 | 2737659.5882 | 1269122.6138 | 2737690.5624 | 1269132.5452
74 | 2737652.5652 | 1269118.0457 | 2737649.1089 | 1269127.6373
75 | 2737546.4451 | 1269033.303 | 2737547.5677 | 1269043.5118
76 | 2737549.3462 | 1269059.6851 | 2737547.5677 | 1269043.5118
77 | 2737549.3462 | 1269059.6851 | 2737551.0129 | 1269074.5317
78 | 2737573.9735 | 1269032.4987 | 2737573.9279 | 1269048.3546
79 | 2737798.0239 | 1268988.2267 | 2737797.8622 | 1268977.396
80 | 2737798.0239 | 1268988.2267 | 2737798.2639 | 1269004.3001
81 | 2737797.6791 | 1268965.1316 | 2737797.8622 | 1268977.396
82 | 2737798.3177 | 1269007.8998 | 2737798.2639 | 1269004.3001
83 | 2737797.6791 | 1268965.1316 | 2737797.4677 | 1268950.9719 | 2737797.4677 | 1268950.9719
84 | 2737798.4868 | 1269019.2288 | 2737798.3177 | 1269007.8998
85 | 2737797.4677 | 1268950.9719 | 2737790.4846 | 1268941.144 | 2737786.3189 | 1268940.5817
86 | 2737798.4868 | 1269019.2288 | 2737804.6061 | 1269018.6487 | 2737820.0207 | 1269014.9021
87 | 2737859.255 | 1268999.9053 | 2737845.295 | 1269005.9077 | 2737825.731 | 1269013.5142 | 2737820.0207 | 1269014.9021
88 | 2737656.2192 | 1268965.1562 | 2737653.5115 | 1268935.753
89 | 2737656.2192 | 1268965.1562 | 2737656.2538 | 1268965.5325
90 | 2737623.5186 | 1269140.3908 | 2737643.6706 | 1269142.7292 | 2737649.1089 | 1269127.6373
91 | 2737690.5624 | 1269132.5452 | 2737687.0016 | 1269146.9735
92 | 2737687.0016 | 1269146.9735 | 2737684.9972 | 1269155.0951
93 | 2737684.9972 | 1269155.0951 | 2737680.5819 | 1269172.9857
94 | 2737783.3131 | 1268831.3977 | 2737780.2986 | 1268843.3892 | 2737779.1849 | 1268846.3349
95 | 2737783.3131 | 1268831.3977 | 2737784.5093 | 1268826.6396
96 | 2737779.1849 | 1268846.3349 | 2737772.5828 | 1268863.7963
97 | 2737789.423 | 1268803.0748 | 2737785.5854 | 1268822.3587 | 2737784.5093 | 1268826.6396
98 | 2737789.423 | 1268803.0748 | 2737793.9672 | 1268780.2405
99 | 2737793.9672 | 1268780.2405 | 2737795.5316 | 1268772.3791
100 | 2737679.6623 | 1269176.7119 | 2737680.5819 | 1269172.9857
101 | 2737702.9027 | 1268855.0606 | 2737700.6053 | 1268832.3702
102 | 2737724.4633 | 1268864.7304 | 2737707.7791 | 1268866.1968
103 | 2737635.6232 | 1268741.5766 | 2737633.7147 | 1268720.8609
104 | 2737633.0115 | 1268713.2285 | 2737633.7147 | 1268720.8609
105 | 2737631.4251 | 1268696.0097 | 2737633.0115 | 1268713.2285
106 | 2737631.4251 | 1268696.0097 | 2737608.0923 | 1268691.1452
107 | 2737590.6425 | 1268687.5072 | 2737608.0923 | 1268691.1452
108 | 2737590.6425 | 1268687.5072 | 2737580.0544 | 1268686.4984

## bus_geodata
| x | y | coords
0 | 2737569.6369 | 1269151.0226
1 | 2737587.1171 | 1269127.1968
2 | 2737597.8434 | 1269163.4485
3 | 2737582.1292 | 1269105.4039
4 | 2737620.5628 | 1269191.9276
5 | 2737638.5124 | 1269195.0821
6 | 2737643.2039 | 1269245.5322
7 | 2737613.8839 | 1269164.2749
8 | 2737613.3032 | 1269073.51
9 | 2737625.3537 | 1269059.3805
10 | 2737639.3659 | 1269056.7786
11 | 2737588.2756 | 1269062.5653
12 | 2737647.9725 | 1269062.8517
13 | 2737673.6089 | 1269201.2614
14 | 2737643.292 | 1269186.4083
15 | 2737644.9646 | 1269167.3054
16 | 2737654.5747 | 1269015.0924
17 | 2737662.5943 | 1269012.1208
18 | 2737658.6329 | 1268991.3621
19 | 2737687.0867 | 1269009.1442
20 | 2737573.8897 | 1269061.6139
21 | 2737653.8865 | 1269096.5688
22 | 2737700.6399 | 1269067.4945
23 | 2737707.3898 | 1268976.9527
24 | 2737680.4237 | 1269013.3485
25 | 2737646.6793 | 1268861.5683
26 | 2737647.6059 | 1268871.6239
27 | 2737639.5355 | 1268784.039
28 | 2737639.2858 | 1268781.3295
29 | 2737685.8725 | 1268868.1668
30 | 2737649.2956 | 1268889.9729
31 | 2737638.7735 | 1268775.7695
32 | 2737689.0853 | 1268867.8765
33 | 2737649.3325 | 1268890.3734
34 | 2737637.4765 | 1268761.692
35 | 2737662.375 | 1268773.528
36 | 2737704.0634 | 1268866.5233
37 | 2737651.3679 | 1268912.4763
38 | 2737668.561 | 1268772.9405
39 | 2737694.34 | 1268770.4923
40 | 2737695.321 | 1268780.1805
41 | 2737697.795 | 1268804.6154
42 | 2737635.7093 | 1268742.5104
43 | 2737699.7749 | 1268824.169
44 | 2737698.5764 | 1269091.1639
45 | 2737717.6619 | 1269072.663
46 | 2737754.5619 | 1269084.5014
47 | 2737745.0213 | 1269113.6184
48 | 2737755.3763 | 1269077.861
49 | 2737757.2503 | 1269023.1822
50 | 2737775.7371 | 1269021.4004
51 | 2737756.8661 | 1269037.7482
52 | 2737753.5342 | 1269119.0093
53 | 2737775.8109 | 1269008.0902
54 | 2737780.5429 | 1269020.9406
55 | 2737697.2524 | 1268950.9689
56 | 2737663.0548 | 1268987.8524
57 | 2737684.8659 | 1268962.0132
58 | 2737658.3473 | 1268988.2653
59 | 2737742.7669 | 1268934.7029
60 | 2737746.5866 | 1268925.8691
61 | 2737771.9421 | 1268938.641
62 | 2737652.5652 | 1269118.0457
63 | 2737547.5677 | 1269043.5118
64 | 2737546.4451 | 1269033.303
65 | 2737549.3462 | 1269059.6851
66 | 2737551.0129 | 1269074.5317
67 | 2737573.9279 | 1269048.3546
68 | 2737573.9735 | 1269032.4987
69 | 2737798.0239 | 1268988.2267
70 | 2737797.8622 | 1268977.396
71 | 2737798.2639 | 1269004.3001
72 | 2737797.6791 | 1268965.1316
73 | 2737798.3177 | 1269007.8998
74 | 2737797.4677 | 1268950.9719
75 | 2737798.4868 | 1269019.2288
76 | 2737786.3189 | 1268940.5817
77 | 2737820.0207 | 1269014.9021
78 | 2737653.5115 | 1268935.753
79 | 2737656.2192 | 1268965.1562
80 | 2737656.2538 | 1268965.5325
81 | 2737649.1089 | 1269127.6373
82 | 2737623.5186 | 1269140.3908
83 | 2737690.5624 | 1269132.5452
84 | 2737687.0016 | 1269146.9735
85 | 2737684.9972 | 1269155.0951
86 | 2737783.3131 | 1268831.3977
87 | 2737779.1849 | 1268846.3349
88 | 2737784.5093 | 1268826.6396
89 | 2737772.5828 | 1268863.7963
90 | 2737789.423 | 1268803.0748
91 | 2737793.9672 | 1268780.2405
92 | 2737795.5316 | 1268772.3791
93 | 2737626.3904 | 1269004.1617
94 | 2737859.255 | 1268999.9053
95 | 2737763.1989 | 1269120.4644
96 | 2737680.5819 | 1269172.9857
97 | 2737679.6623 | 1269176.7119
98 | 2737702.9027 | 1268855.0606
99 | 2737707.7791 | 1268866.1968
100 | 2737700.6053 | 1268832.3702
101 | 2737724.4633 | 1268864.7304
102 | 2737775.9177 | 1268988.8284
103 | 2737635.6232 | 1268741.5766
104 | 2737633.0115 | 1268713.2285
105 | 2737633.7147 | 1268720.8609
106 | 2737631.4251 | 1268696.0097
107 | 2737608.0923 | 1268691.1452
108 | 2737590.6425 | 1268687.5072
109 | 2737580.0544 | 1268686.4984
110 | 2737663.0548 | 1268987.8524

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1