## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4461-34_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4461-34_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4461-34_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4461-34_0_4_node_17 | 0.4 | n |  | TRUE
4 | bus_LV_4461-34_0_4_node_64 | 0.4 | n |  | TRUE
5 | bus_LV_4461-34_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4461-34_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4461-34_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_4461-34_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4461-34_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4461-34_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_4461-34_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4461-34_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_4461-34_0_4_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_4461-34_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4461-34_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_4461-34_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_4461-34_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4461-34_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4461-34_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4461-34_0_4_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_4461-34_0_4_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_4461-34_0_4_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_4461-34_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4461-34_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_4461-34_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_4461-34_0_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_4461-34_0_4_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_4461-34_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_4461-34_0_4_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_4461-34_0_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_4461-34_0_4_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_4461-34_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_4461-34_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_4461-34_0_4_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_4461-34_0_4_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_4461-34_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_4461-34_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_4461-34_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_4461-34_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_4461-34_0_4_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_4461-34_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4461-34_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_4461-34_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_4461-34_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_4461-34_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_4461-34_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_4461-34_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_4461-34_0_4_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_4461-34_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_4461-34_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_4461-34_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_4461-34_0_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_4461-34_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_4461-34_0_4_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_4461-34_0_4_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_4461-34_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_4461-34_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_4461-34_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4461-34_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_4461-34_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4461-34_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_4461-34_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_4461-34_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_MV_407_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4461-34_0_4_load_0 | 0 | 0.00051168 | 0.00012824 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4461-34_0_4_load_1 | 1 | 0.001126 | 0.0002822 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4461-34_0_4_load_2 | 2 | 0.00061727 | 0.0001547 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4461-34_0_4_load_17 | 3 | 0.014973 | 0.0037525 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4461-34_0_4_load_64 | 4 | 0.094379 | 0.023654 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4461-34_0_4_load_8 | 5 | 0.0011659 | 0.0002922 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4461-34_0_4_load_3 | 7 | 0.00053719 | 0.00013463 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4461-34_0_4_load_4 | 8 | 0.0011976 | 0.00030015 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4461-34_0_4_load_5 | 9 | 0.0017696 | 0.00044351 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4461-34_0_4_load_15 | 10 | 0.0064634 | 0.0016199 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4461-34_0_4_load_6 | 11 | 0.00047282 | 0.0001185 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4461-34_0_4_load_60 | 13 | 0.0033032 | 0.00082786 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4461-34_0_4_load_14 | 14 | 0.0017668 | 0.0004428 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4461-34_0_4_load_18 | 15 | 0.00095533 | 0.00023943 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4461-34_0_4_load_19 | 16 | 0.00082331 | 0.00020634 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4461-34_0_4_load_12 | 18 | 0.00079652 | 0.00019963 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4461-34_0_4_load_10 | 19 | 0.00043962 | 0.00011018 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4461-34_0_4_load_55 | 20 | 0.0017733 | 0.00044444 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4461-34_0_4_load_20 | 23 | 0.00057254 | 0.00014349 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4461-34_0_4_load_21 | 24 | 0.005477 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4461-34_0_4_load_34 | 26 | 0.017693 | 0.0044342 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4461-34_0_4_load_54 | 29 | 0.011315 | 0.0028358 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4461-34_0_4_load_48 | 30 | 0.017155 | 0.0042994 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4461-34_0_4_load_52 | 31 | 0.0010708 | 0.00026838 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4461-34_0_4_load_50 | 34 | 0.0089542 | 0.0022441 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4461-34_0_4_load_51 | 35 | 0.00022064 | 5.5298e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4461-34_0_4_load_39 | 36 | 0.0003884 | 9.7343e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4461-34_0_4_load_38 | 39 | 0.0001618 | 4.0551e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4461-34_0_4_load_66 | 40 | 0.0073664 | 0.0018462 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4461-34_0_4_load_33 | 41 | 0.030978 | 0.0077638 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4461-34_0_4_load_30 | 42 | 0.073579 | 0.018441 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4461-34_0_4_load_23 | 43 | 0.0032278 | 0.00080896 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4461-34_0_4_load_26 | 46 | 0.00011389 | 2.8544e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4461-34_0_4_load_56 | 48 | 0.00088398 | 0.00022155 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4461-34_0_4_load_57 | 50 | 0.00045735 | 0.00011462 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4461-34_0_4_load_47 | 51 | 0.0035064 | 0.00087878 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4461-34_0_4_load_53 | 52 | 0.0022513 | 0.00056423 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4461-34_0_4_load_65 | 54 | 0.0043484 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4461-34_0_4_load_31 | 55 | 0.00023097 | 5.7886e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4461-34_0_4_load_43 | 57 | 0.0026941 | 0.00067521 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4461-34_0_4_load_49 | 59 | 0.048844 | 0.012242 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4461-34_0_4_load_46 | 60 | 0.0057246 | 0.0014347 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4461-34_0_4_load_45 | 61 | 0.003381 | 0.00084735 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4461-34_0_4_load_62 | 62 | 0.036778 | 0.0092175 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4461-34_0_4_load_58 | 63 | 0.0066191 | 0.0016589 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4461-34_0_4_line_0 |  | 0 | 1 | 0.00064906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4461-34_0_4_line_1 |  | 1 | 2 | 0.0083134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4461-34_0_4_line_2 |  | 2 | 5 | 0.013678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4461-34_0_4_line_3 |  | 3 | 4 | 0.052461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4461-34_0_4_line_4 |  | 4 | 12 | 0.073554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4461-34_0_4_line_5 |  | 5 | 6 | 0.040557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4461-34_0_4_line_6 |  | 6 | 17 | 0.16456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4461-34_0_4_line_7 |  | 7 | 8 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4461-34_0_4_line_8 |  | 7 | 9 | 0.025703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4461-34_0_4_line_9 |  | 7 | 10 | 0.15336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4461-34_0_4_line_10 |  | 8 | 11 | 0.018232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4461-34_0_4_line_11 |  | 10 | 12 | 0.023743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4461-34_0_4_line_12 |  | 10 | 13 | 0.069148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4461-34_0_4_line_13 |  | 10 | 14 | 0.078742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4461-34_0_4_line_14 |  | 11 | 15 | 0.019954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4461-34_0_4_line_15 |  | 13 | 22 | 0.062342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4461-34_0_4_line_16 |  | 15 | 16 | 0.02431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4461-34_0_4_line_17 |  | 16 | 18 | 0.032866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4461-34_0_4_line_18 |  | 17 | 18 | 0.02507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4461-34_0_4_line_19 |  | 17 | 19 | 0.020159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4461-34_0_4_line_20 |  | 20 | 21 | 0.033055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4461-34_0_4_line_21 |  | 21 | 38 | 0.031583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4461-34_0_4_line_22 |  | 22 | 63 | 0.034811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4461-34_0_4_line_23 |  | 22 | 58 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4461-34_0_4_line_24 |  | 23 | 24 | 0.051152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4461-34_0_4_line_25 |  | 24 | 25 | 0.019016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4461-34_0_4_line_26 |  | 25 | 26 | 0.020376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4461-34_0_4_line_27 |  | 25 | 27 | 0.047931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4461-34_0_4_line_28 |  | 25 | 28 | 0.046307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4461-34_0_4_line_29 |  | 26 | 29 | 0.027639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4461-34_0_4_line_30 |  | 27 | 30 | 0.055355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4461-34_0_4_line_31 |  | 27 | 31 | 0.011357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4461-34_0_4_line_32 |  | 27 | 32 | 0.069864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4461-34_0_4_line_33 |  | 28 | 41 | 0.0056631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4461-34_0_4_line_34 |  | 28 | 42 | 0.065327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4461-34_0_4_line_35 |  | 29 | 34 | 0.034305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4461-34_0_4_line_36 |  | 30 | 51 | 0.017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4461-34_0_4_line_37 |  | 31 | 52 | 0.021995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4461-34_0_4_line_38 |  | 32 | 40 | 0.042705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4461-34_0_4_line_39 |  | 33 | 34 | 0.027358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4461-34_0_4_line_40 |  | 33 | 35 | 0.025464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4461-34_0_4_line_41 |  | 33 | 36 | 0.018666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4461-34_0_4_line_42 |  | 36 | 39 | 0.012677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4461-34_0_4_line_43 |  | 37 | 38 | 0.027279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4461-34_0_4_line_44 |  | 37 | 39 | 0.040265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4461-34_0_4_line_45 |  | 38 | 59 | 0.018795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4461-34_0_4_line_46 |  | 41 | 56 | 0.049548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4461-34_0_4_line_47 |  | 42 | 55 | 0.051824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4461-34_0_4_line_48 |  | 43 | 44 | 0.050687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4461-34_0_4_line_49 |  | 43 | 45 | 0.05204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4461-34_0_4_line_50 |  | 44 | 46 | 0.028541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4461-34_0_4_line_51 |  | 45 | 47 | 0.049837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4461-34_0_4_line_52 |  | 46 | 48 | 0.022493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4461-34_0_4_line_53 |  | 47 | 49 | 0.090207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4461-34_0_4_line_54 |  | 47 | 50 | 0.053418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4461-34_0_4_line_55 |  | 49 | 53 | 0.11395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4461-34_0_4_line_56 |  | 49 | 54 | 0.068572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4461-34_0_4_line_57 |  | 51 | 61 | 0.017856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4461-34_0_4_line_58 |  | 53 | 62 | 0.044526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4461-34_0_4_line_59 |  | 56 | 57 | 0.038462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_4461-34_0_4_line_60 |  | 56 | 58 | 0.024711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_4461-34_0_4_line_61 |  | 58 | 62 | 0.041849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4461-34_0_4_line_62 |  | 60 | 61 | 0.020489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4461-34_0_4_trafo_43 | 0.63 MVA 20/0.4 kV | 64 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2738362.8887 | 1268776.108 | 2738362.3548 | 1268776.4771
1 | 2738362.3548 | 1268776.4771 | 2738355.7041 | 1268781.074 | 2738355.5191 | 1268781.2084
2 | 2738355.5191 | 1268781.2084 | 2738344.4526 | 1268789.2476
3 | 2738164.8404 | 1268496.5199 | 2738191.7022 | 1268541.5823
4 | 2738164.8404 | 1268496.5199 | 2738113.5589 | 1268549.2501
5 | 2738311.6396 | 1268813.0846 | 2738344.4526 | 1268789.2476
6 | 2738311.6396 | 1268813.0846 | 2738181.3201 | 1268756.1801 | 2738160.2376 | 1268747.5454
7 | 2738034.6265 | 1268694.6135 | 2738049.1759 | 1268700.9901
8 | 2738034.6265 | 1268694.6135 | 2738011.0848 | 1268684.296
9 | 2738089.9295 | 1268551.5683 | 2738034.6265 | 1268694.6135
10 | 2738049.1759 | 1268700.9901 | 2738065.8748 | 1268708.3086
11 | 2738113.5589 | 1268549.2501 | 2738089.9295 | 1268551.5683
12 | 2738051.8111 | 1268493.8755 | 2738089.9295 | 1268551.5683
13 | 2738089.9295 | 1268551.5683 | 2738018.9247 | 1268585.6066
14 | 2738084.1509 | 1268716.3184 | 2738065.8748 | 1268708.3086
15 | 2738082.4378 | 1268445.0659 | 2738079.0308 | 1268452.627 | 2738074.8389 | 1268458.9797 | 2738068.2504 | 1268464.4644 | 2738061.2745 | 1268469.1281 | 2738056.7311 | 1268473.4484 | 2738052.7553 | 1268476.0358 | 2738050.8914 | 1268481.3641 | 2738049.9825 | 1268485.7805 | 2738050.4017 | 1268490.0722 | 2738051.8111 | 1268493.8755
16 | 2738106.6229 | 1268725.5894 | 2738086.5266 | 1268717.3596 | 2738084.1509 | 1268716.3184
17 | 2738106.6229 | 1268725.5894 | 2738137.0372 | 1268738.0445
18 | 2738160.2376 | 1268747.5454 | 2738137.0372 | 1268738.0445
19 | 2738160.2376 | 1268747.5454 | 2738154.6339 | 1268766.91
20 | 2737885.7848 | 1268469.2195 | 2737909.8911 | 1268487.3886 | 2737912.1825 | 1268489.1144
21 | 2737885.7848 | 1268469.2195 | 2737881.9889 | 1268466.3615 | 2737889.8738 | 1268457.5925 | 2737896.7764 | 1268449.6125 | 2737893.1409 | 1268446.9807
22 | 2738082.4378 | 1268445.0659 | 2738085.9084 | 1268453.1326 | 2738090.2293 | 1268457.3599 | 2738094.6189 | 1268462.512 | 2738098.9934 | 1268474.983
23 | 2738082.4378 | 1268445.0659 | 2738085.0024 | 1268439.0756 | 2738087.1227 | 1268434.6986 | 2738090.6347 | 1268427.7962
24 | 2738090.5065 | 1268263.6001 | 2738089.6459 | 1268264.7035 | 2738085.6838 | 1268269.5935 | 2738082.3882 | 1268273.676 | 2738074.9911 | 1268281.533 | 2738054.9239 | 1268300.221
25 | 2738041.0077 | 1268313.1809 | 2738054.9239 | 1268300.221
26 | 2738041.0077 | 1268313.1809 | 2738025.1897 | 1268326.0255
27 | 2738041.0077 | 1268313.1809 | 2738038.3749 | 1268309.2044 | 2738065.6817 | 1268282.9391 | 2738061.3471 | 1268279.9349
28 | 2738065.5235 | 1268352.4807 | 2738056.5284 | 1268336.5884 | 2738041.0077 | 1268313.1809
29 | 2738003.2631 | 1268342.8364 | 2738015.3798 | 1268333.9914 | 2738025.1897 | 1268326.0255
30 | 2738061.3471 | 1268279.9349 | 2738060.7891 | 1268280.6114 | 2738046.2002 | 1268295.9187 | 2738030.0325 | 1268311.1225 | 2738021.2908 | 1268318.0252
31 | 2738061.3471 | 1268279.9349 | 2738052.0062 | 1268273.4751
32 | 2738061.3471 | 1268279.9349 | 2738072.8166 | 1268266.0115 | 2738079.3437 | 1268256.7217 | 2738084.0327 | 1268250.047 | 2738090.8092 | 1268237.5043 | 2738095.4613 | 1268225.3234 | 2738096.697 | 1268220.4587
33 | 2738065.5235 | 1268352.4807 | 2738067.2698 | 1268357.8679
34 | 2738065.5235 | 1268352.4807 | 2738048.7989 | 1268365.7473 | 2738042.9999 | 1268359.6837 | 2738014.8857 | 1268381.5061
35 | 2738003.2631 | 1268342.8364 | 2737987.1824 | 1268354.5751 | 2737976.2778 | 1268363.9735
36 | 2738007.1901 | 1268328.6106 | 2738015.6413 | 1268322.4863 | 2738021.2908 | 1268318.0252
37 | 2738033.9159 | 1268260.9645 | 2738052.0062 | 1268273.4751
38 | 2738058.5183 | 1268222.2016 | 2738061.9997 | 1268216.2883 | 2738072.9486 | 1268213.686 | 2738096.697 | 1268220.4587
39 | 2737957.0545 | 1268383.344 | 2737966.9803 | 1268371.9869 | 2737976.2778 | 1268363.9735
40 | 2737957.0545 | 1268383.344 | 2737976.9497 | 1268399.238
41 | 2737957.0545 | 1268383.344 | 2737949.8748 | 1268391.5733 | 2737945.1822 | 1268397.7351
42 | 2737937.5018 | 1268407.8202 | 2737945.1822 | 1268397.7351
43 | 2737893.1409 | 1268446.9807 | 2737896.7764 | 1268449.6125 | 2737908.4611 | 1268436.1165 | 2737912.3039 | 1268439.2203
44 | 2737912.3039 | 1268439.2203 | 2737931.2088 | 1268416.0836 | 2737937.5018 | 1268407.8202
45 | 2737893.1409 | 1268446.9807 | 2737905.314 | 1268432.6608
46 | 2738082.2544 | 1268404.9449 | 2738077.5775 | 1268387.6076 | 2738073.2544 | 1268371.5577 | 2738070.9537 | 1268366.2654 | 2738068.3608 | 1268361.2333 | 2738067.2698 | 1268357.8679
47 | 2738014.8857 | 1268381.5061 | 2737994.2884 | 1268397.4938 | 2737985.3532 | 1268404.8034 | 2737983.9334 | 1268408.5294 | 2737986.2457 | 1268413.01 | 2737989.53 | 1268416.1675 | 2737989.9468 | 1268416.6275
48 | 2738211.6697 | 1268259.9628 | 2738260.2579 | 1268274.3964
49 | 2738310.7036 | 1268287.1286 | 2738285.8687 | 1268281.4307 | 2738261.3363 | 1268274.7168 | 2738260.2579 | 1268274.3964
50 | 2738211.6697 | 1268259.9628 | 2738207.6697 | 1268271.6139 | 2738202.8846 | 1268287.1149
51 | 2738295.8101 | 1268334.6929 | 2738298.9046 | 1268325.701 | 2738310.7036 | 1268287.1286
52 | 2738202.8846 | 1268287.1149 | 2738201.9909 | 1268290.0101 | 2738200.2612 | 1268299.8903 | 2738200.7334 | 1268309.3105 | 2738200.7334 | 1268309.3105
53 | 2738295.8101 | 1268334.6929 | 2738290.6705 | 1268349.665 | 2738287.9078 | 1268364.1032 | 2738288.1366 | 1268371.3712 | 2738289.2455 | 1268393.1406 | 2738289.3341 | 1268423.7502
54 | 2738295.8101 | 1268334.6929 | 2738289.1751 | 1268332.1796 | 2738280.6344 | 1268329.6996 | 2738272.9847 | 1268328.7196 | 2738267.2878 | 1268330.1989 | 2738264.4953 | 1268334.015 | 2738259.8657 | 1268336.865 | 2738251.3939 | 1268336.2662 | 2738246.3784 | 1268334.9974
55 | 2738175.6183 | 1268417.8843 | 2738179.6171 | 1268417.533 | 2738222.1211 | 1268418.8173 | 2738238.546 | 1268419.3242 | 2738289.3341 | 1268423.7502
56 | 2738289.3341 | 1268423.7502 | 2738331.088 | 1268425.874 | 2738343.8705 | 1268427.9086 | 2738356.9854 | 1268432.2676
57 | 2737992.7424 | 1268339.1042 | 2737999.7175 | 1268334.0256 | 2738007.1901 | 1268328.6106
58 | 2738175.6183 | 1268417.8843 | 2738157.7595 | 1268419.446 | 2738148.6138 | 1268420.9448 | 2738131.5127 | 1268423.7582
59 | 2738082.2544 | 1268404.9449 | 2738056.0542 | 1268433.1712
60 | 2738082.2544 | 1268404.9449 | 2738086.2592 | 1268419.7862 | 2738087.7643 | 1268424.6483 | 2738090.6347 | 1268427.7962
61 | 2738090.6347 | 1268427.7962 | 2738093.8254 | 1268429.4835 | 2738103.5274 | 1268429.3101 | 2738124.2298 | 1268424.9564 | 2738131.5127 | 1268423.7582
62 | 2737992.7424 | 1268339.1042 | 2737984.8879 | 1268344.8231 | 2737976.6079 | 1268351.7158

## bus_geodata
| x | y | coords
0 | 2738362.8887 | 1268776.108
1 | 2738362.3548 | 1268776.4771
2 | 2738355.5191 | 1268781.2084
3 | 2738191.7022 | 1268541.5823
4 | 2738164.8404 | 1268496.5199
5 | 2738344.4526 | 1268789.2476
6 | 2738311.6396 | 1268813.0846
7 | 2738034.6265 | 1268694.6135
8 | 2738049.1759 | 1268700.9901
9 | 2738011.0848 | 1268684.296
10 | 2738089.9295 | 1268551.5683
11 | 2738065.8748 | 1268708.3086
12 | 2738113.5589 | 1268549.2501
13 | 2738051.8111 | 1268493.8755
14 | 2738018.9247 | 1268585.6066
15 | 2738084.1509 | 1268716.3184
16 | 2738106.6229 | 1268725.5894
17 | 2738160.2376 | 1268747.5454
18 | 2738137.0372 | 1268738.0445
19 | 2738154.6339 | 1268766.91
20 | 2737912.1825 | 1268489.1144
21 | 2737885.7848 | 1268469.2195
22 | 2738082.4378 | 1268445.0659
23 | 2738090.5065 | 1268263.6001
24 | 2738054.9239 | 1268300.221
25 | 2738041.0077 | 1268313.1809
26 | 2738025.1897 | 1268326.0255
27 | 2738061.3471 | 1268279.9349
28 | 2738065.5235 | 1268352.4807
29 | 2738003.2631 | 1268342.8364
30 | 2738021.2908 | 1268318.0252
31 | 2738052.0062 | 1268273.4751
32 | 2738096.697 | 1268220.4587
33 | 2737957.0545 | 1268383.344
34 | 2737976.2778 | 1268363.9735
35 | 2737976.9497 | 1268399.238
36 | 2737945.1822 | 1268397.7351
37 | 2737912.3039 | 1268439.2203
38 | 2737893.1409 | 1268446.9807
39 | 2737937.5018 | 1268407.8202
40 | 2738058.5183 | 1268222.2016
41 | 2738067.2698 | 1268357.8679
42 | 2738014.8857 | 1268381.5061
43 | 2738260.2579 | 1268274.3964
44 | 2738211.6697 | 1268259.9628
45 | 2738310.7036 | 1268287.1286
46 | 2738202.8846 | 1268287.1149
47 | 2738295.8101 | 1268334.6929
48 | 2738200.7334 | 1268309.3105
49 | 2738289.3341 | 1268423.7502
50 | 2738246.3784 | 1268334.9974
51 | 2738007.1901 | 1268328.6106
52 | 2738033.9159 | 1268260.9645
53 | 2738175.6183 | 1268417.8843
54 | 2738356.9854 | 1268432.2676
55 | 2737989.9468 | 1268416.6275
56 | 2738082.2544 | 1268404.9449
57 | 2738056.0542 | 1268433.1712
58 | 2738090.6347 | 1268427.7962
59 | 2737905.314 | 1268432.6608
60 | 2737976.6079 | 1268351.7158
61 | 2737992.7424 | 1268339.1042
62 | 2738131.5127 | 1268423.7582
63 | 2738098.9934 | 1268474.983
64 | 2738082.2544 | 1268404.9449

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1