## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4461-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4461-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4461-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4461-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4461-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4461-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4461-4_0_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_4461-4_0_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_4461-4_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_4461-4_0_3_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_4461-4_0_3_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_4461-4_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4461-4_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4461-4_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4461-4_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4461-4_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4461-4_0_3_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_4461-4_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_4461-4_0_3_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_4461-4_0_3_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_4461-4_0_3_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_4461-4_0_3_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_4461-4_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4461-4_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4461-4_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4461-4_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_4461-4_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4461-4_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4461-4_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4461-4_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_4461-4_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4461-4_0_3_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_4461-4_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4461-4_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4461-4_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4461-4_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4461-4_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4461-4_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4461-4_0_3_node_94 | 0.4 | n |  | TRUE
39 | bus_LV_4461-4_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_4461-4_0_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_4461-4_0_3_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_4461-4_0_3_node_86 | 0.4 | n |  | TRUE
43 | bus_LV_4461-4_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_4461-4_0_3_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_4461-4_0_3_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_4461-4_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4461-4_0_3_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_4461-4_0_3_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_4461-4_0_3_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_4461-4_0_3_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_4461-4_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_4461-4_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_4461-4_0_3_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_4461-4_0_3_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_4461-4_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4461-4_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4461-4_0_3_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_4461-4_0_3_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_4461-4_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_4461-4_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4461-4_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_4461-4_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_4461-4_0_3_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_4461-4_0_3_node_98 | 0.4 | n |  | TRUE
65 | bus_LV_4461-4_0_3_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4461-4_0_3_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_4461-4_0_3_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4461-4_0_3_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_4461-4_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_4461-4_0_3_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_4461-4_0_3_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_4461-4_0_3_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_4461-4_0_3_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_4461-4_0_3_node_92 | 0.4 | n |  | TRUE
75 | bus_LV_4461-4_0_3_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_4461-4_0_3_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_4461-4_0_3_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_4461-4_0_3_node_95 | 0.4 | n |  | TRUE
79 | bus_LV_4461-4_0_3_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_4461-4_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_4461-4_0_3_node_96 | 0.4 | n |  | TRUE
82 | bus_LV_4461-4_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_4461-4_0_3_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_4461-4_0_3_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_4461-4_0_3_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_4461-4_0_3_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_4461-4_0_3_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_4461-4_0_3_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_4461-4_0_3_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_4461-4_0_3_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_4461-4_0_3_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_4461-4_0_3_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_4461-4_0_3_node_71 | 0.4 | n |  | TRUE
94 | bus_LV_4461-4_0_3_node_72 | 0.4 | n |  | TRUE
95 | bus_MV_407_0_node_190 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4461-4_0_3_load_0 | 0 | 0.0015634 | 0.00039183 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4461-4_0_3_load_1 | 1 | 0.005979 | 0.0014985 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4461-4_0_3_load_3 | 3 | 0.00065407 | 0.00016393 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4461-4_0_3_load_4 | 4 | 0.0029369 | 0.00073605 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4461-4_0_3_load_5 | 5 | 0.00034067 | 8.538e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4461-4_0_3_load_27 | 6 | 0.00025174 | 6.3092e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4461-4_0_3_load_11 | 8 | 0.0046003 | 0.0011529 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4461-4_0_3_load_31 | 9 | 0.00045158 | 0.00011318 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4461-4_0_3_load_29 | 10 | 0.0009455 | 0.00023696 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4461-4_0_3_load_6 | 12 | 0.0034102 | 0.00085469 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4461-4_0_3_load_7 | 13 | 0.0025481 | 0.0006386 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4461-4_0_3_load_79 | 16 | 0.00051057 | 0.00012796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4461-4_0_3_load_16 | 17 | 0.001178 | 0.00029525 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4461-4_0_3_load_78 | 20 | 0.00087824 | 0.00022011 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4461-4_0_3_load_20 | 23 | 0.00074178 | 0.00018591 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4461-4_0_3_load_18 | 24 | 0.0040099 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4461-4_0_3_load_12 | 25 | 0.0047793 | 0.0011978 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4461-4_0_3_load_15 | 27 | 0.00142 | 0.0003559 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4461-4_0_3_load_17 | 28 | 0.00055754 | 0.00013973 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4461-4_0_3_load_21 | 30 | 0.001146 | 0.00028721 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4461-4_0_3_load_84 | 31 | 0.00038737 | 9.7083e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4461-4_0_3_load_19 | 32 | 0.0012061 | 0.00030227 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4461-4_0_3_load_22 | 33 | 0.0041212 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4461-4_0_3_load_23 | 34 | 0.00058354 | 0.00014625 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4461-4_0_3_load_24 | 35 | 0.0059789 | 0.0014985 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4461-4_0_3_load_25 | 36 | 0.00086294 | 0.00021627 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4461-4_0_3_load_26 | 37 | 0.00074714 | 0.00018725 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4461-4_0_3_load_94 | 38 | 0.00069288 | 0.00017365 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4461-4_0_3_load_82 | 41 | 0.000376 | 9.4234e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4461-4_0_3_load_30 | 43 | 0.0033045 | 0.00082817 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4461-4_0_3_load_73 | 44 | 0.00043908 | 0.00011004 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4461-4_0_3_load_88 | 45 | 0.00045646 | 0.0001144 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4461-4_0_3_load_33 | 46 | 0.00099883 | 0.00025033 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4461-4_0_3_load_74 | 47 | 0.010013 | 0.0025095 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4461-4_0_3_load_81 | 48 | 0.0013847 | 0.00034703 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4461-4_0_3_load_87 | 49 | 0.00046364 | 0.0001162 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4461-4_0_3_load_85 | 50 | 0.00042716 | 0.00010706 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4461-4_0_3_load_34 | 51 | 0.00046134 | 0.00011562 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4461-4_0_3_load_35 | 52 | 0.0023519 | 0.00058944 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4461-4_0_3_load_89 | 53 | 0.00071279 | 0.00017864 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4461-4_0_3_load_36 | 55 | 0.00058185 | 0.00014583 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4461-4_0_3_load_39 | 58 | 0.0015255 | 0.00038233 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4461-4_0_3_load_42 | 60 | 0.0015907 | 0.00039868 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4461-4_0_3_load_97 | 63 | 0.00061767 | 0.0001548 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4461-4_0_3_load_98 | 64 | 0.0026895 | 0.00067406 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4461-4_0_3_load_77 | 66 | 0.00021572 | 5.4064e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4461-4_0_3_load_52 | 67 | 0.0002118 | 5.3081e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4461-4_0_3_load_75 | 68 | 0.00040139 | 0.0001006 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4461-4_0_3_load_53 | 69 | 0.0022842 | 0.00057248 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4461-4_0_3_load_54 | 72 | 0.0020534 | 0.00051464 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4461-4_0_3_load_93 | 73 | 0.00080871 | 0.00020268 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4461-4_0_3_load_92 | 74 | 0.0015799 | 0.00039595 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4461-4_0_3_load_51 | 77 | 0.00046233 | 0.00011587 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4461-4_0_3_load_95 | 78 | 0.00062068 | 0.00015556 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4461-4_0_3_load_59 | 79 | 0.0018154 | 0.00045498 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4461-4_0_3_load_76 | 80 | 0.00038559 | 9.6638e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4461-4_0_3_load_96 | 81 | 0.0024204 | 0.0006066 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4461-4_0_3_load_67 | 82 | 0.0028711 | 0.00071956 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4461-4_0_3_load_62 | 83 | 0.0020007 | 0.00050143 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4461-4_0_3_load_60 | 84 | 0.0013165 | 0.00032995 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4461-4_0_3_load_63 | 85 | 0.0065483 | 0.0016412 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4461-4_0_3_load_61 | 86 | 0.0013344 | 0.00033442 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4461-4_0_3_load_64 | 87 | 0.00030305 | 7.5952e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4461-4_0_3_load_65 | 88 | 0.0043603 | 0.0010928 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4461-4_0_3_load_66 | 89 | 0.00083761 | 0.00020993 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4461-4_0_3_load_68 | 90 | 0.00046368 | 0.00011621 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4461-4_0_3_load_69 | 91 | 0.0012267 | 0.00030745 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4461-4_0_3_load_70 | 92 | 0.00062916 | 0.00015768 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4461-4_0_3_load_71 | 93 | 0.00071274 | 0.00017863 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4461-4_0_3_load_72 | 94 | 0.00134 | 0.00033583 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4461-4_0_3_line_0 |  | 0 | 1 | 0.02669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4461-4_0_3_line_1 |  | 0 | 2 | 0.02305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4461-4_0_3_line_2 |  | 1 | 3 | 0.0036995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4461-4_0_3_line_3 |  | 2 | 4 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4461-4_0_3_line_4 |  | 2 | 5 | 0.016949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4461-4_0_3_line_5 |  | 3 | 6 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4461-4_0_3_line_6 |  | 4 | 7 | 0.070387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4461-4_0_3_line_7 |  | 5 | 8 | 0.020502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4461-4_0_3_line_8 |  | 6 | 9 | 0.0089784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4461-4_0_3_line_9 |  | 7 | 10 | 0.085103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4461-4_0_3_line_10 |  | 8 | 11 | 0.04177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4461-4_0_3_line_11 |  | 9 | 43 | 0.049581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4461-4_0_3_line_12 |  | 10 | 44 | 0.02727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4461-4_0_3_line_13 |  | 11 | 15 | 0.014148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4461-4_0_3_line_14 |  | 11 | 12 | 0.04861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4461-4_0_3_line_15 |  | 12 | 13 | 0.0041977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4461-4_0_3_line_16 |  | 13 | 14 | 0.025673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4461-4_0_3_line_17 |  | 14 | 16 | 0.011347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4461-4_0_3_line_18 |  | 15 | 17 | 0.032919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4461-4_0_3_line_19 |  | 16 | 18 | 0.0069138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4461-4_0_3_line_20 |  | 17 | 22 | 0.031989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4461-4_0_3_line_21 |  | 18 | 19 | 0.005041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4461-4_0_3_line_22 |  | 19 | 53 | 0.16235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4461-4_0_3_line_23 |  | 20 | 21 | 0.082353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4461-4_0_3_line_24 |  | 21 | 29 | 0.033843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4461-4_0_3_line_25 |  | 22 | 27 | 0.034776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4461-4_0_3_line_26 |  | 22 | 25 | 0.023819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4461-4_0_3_line_27 |  | 23 | 24 | 0.014658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4461-4_0_3_line_28 |  | 24 | 32 | 0.023548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4461-4_0_3_line_29 |  | 25 | 26 | 0.010563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4461-4_0_3_line_30 |  | 26 | 28 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4461-4_0_3_line_31 |  | 27 | 29 | 0.029112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4461-4_0_3_line_32 |  | 28 | 30 | 0.0020772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4461-4_0_3_line_33 |  | 29 | 31 | 0.022667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4461-4_0_3_line_34 |  | 30 | 32 | 0.011047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4461-4_0_3_line_35 |  | 31 | 66 | 0.018245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4461-4_0_3_line_36 |  | 33 | 34 | 0.033784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4461-4_0_3_line_37 |  | 33 | 35 | 0.0096386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4461-4_0_3_line_38 |  | 34 | 36 | 0.0075274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4461-4_0_3_line_39 |  | 35 | 37 | 0.0099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4461-4_0_3_line_40 |  | 36 | 38 | 0.013177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4461-4_0_3_line_41 |  | 37 | 39 | 0.028282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4461-4_0_3_line_42 |  | 38 | 40 | 0.0097878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4461-4_0_3_line_43 |  | 39 | 41 | 0.011704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4461-4_0_3_line_44 |  | 39 | 42 | 0.015832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4461-4_0_3_line_45 |  | 40 | 78 | 0.066794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4461-4_0_3_line_46 |  | 40 | 75 | 0.017753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4461-4_0_3_line_47 |  | 41 | 48 | 0.0014701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4461-4_0_3_line_48 |  | 42 | 49 | 0.036267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4461-4_0_3_line_49 |  | 42 | 50 | 0.022952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4461-4_0_3_line_50 |  | 44 | 47 | 0.0048993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4461-4_0_3_line_51 |  | 45 | 46 | 0.11261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4461-4_0_3_line_52 |  | 46 | 51 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4461-4_0_3_line_53 |  | 48 | 89 | 0.002545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4461-4_0_3_line_54 |  | 51 | 52 | 0.020988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4461-4_0_3_line_55 |  | 52 | 54 | 0.027284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4461-4_0_3_line_56 |  | 53 | 54 | 0.011103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4461-4_0_3_line_57 |  | 55 | 56 | 0.014816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4461-4_0_3_line_58 |  | 56 | 60 | 0.016192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4461-4_0_3_line_59 |  | 56 | 61 | 0.030943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4461-4_0_3_line_60 |  | 57 | 58 | 0.0030762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4461-4_0_3_line_61 |  | 57 | 59 | 0.036778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4461-4_0_3_line_62 |  | 58 | 62 | 0.011633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4461-4_0_3_line_63 |  | 59 | 63 | 0.027915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4461-4_0_3_line_64 |  | 59 | 64 | 0.031948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4461-4_0_3_line_65 |  | 59 | 65 | 0.031371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4461-4_0_3_line_66 |  | 60 | 69 | 0.0043258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4461-4_0_3_line_67 |  | 61 | 73 | 0.011937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4461-4_0_3_line_68 |  | 61 | 74 | 0.018006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4461-4_0_3_line_69 |  | 62 | 79 | 0.03115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4461-4_0_3_line_70 |  | 65 | 66 | 0.018239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4461-4_0_3_line_71 |  | 65 | 67 | 0.015808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4461-4_0_3_line_72 |  | 65 | 68 | 0.01334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4461-4_0_3_line_73 |  | 67 | 77 | 0.015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4461-4_0_3_line_74 |  | 68 | 80 | 0.017138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4461-4_0_3_line_75 |  | 69 | 76 | 0.014729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4461-4_0_3_line_76 |  | 70 | 71 | 0.005393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4461-4_0_3_line_77 |  | 70 | 72 | 0.013898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4461-4_0_3_line_78 |  | 71 | 73 | 0.054946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4461-4_0_3_line_79 |  | 74 | 75 | 0.024596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4461-4_0_3_line_80 |  | 76 | 77 | 0.027688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4461-4_0_3_line_81 |  | 78 | 81 | 0.023485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4461-4_0_3_line_82 |  | 79 | 82 | 0.02397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4461-4_0_3_line_83 |  | 80 | 94 | 0.0045027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4461-4_0_3_line_84 |  | 82 | 85 | 0.0050556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4461-4_0_3_line_85 |  | 83 | 84 | 0.022056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4461-4_0_3_line_86 |  | 84 | 86 | 0.0017921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4461-4_0_3_line_87 |  | 85 | 86 | 0.018966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4461-4_0_3_line_88 |  | 87 | 88 | 0.024361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4461-4_0_3_line_89 |  | 88 | 89 | 0.029532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4461-4_0_3_line_90 |  | 90 | 91 | 0.006728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4461-4_0_3_line_91 |  | 90 | 92 | 0.04953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4461-4_0_3_line_92 |  | 91 | 93 | 0.019126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4461-4_0_3_line_93 |  | 92 | 94 | 0.0088618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4461-4_0_3_trafo_13 | 0.63 MVA 20/0.4 kV | 95 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2737288.2294 | 1267830.1001 | 2737277.4418 | 1267854.513
1 | 2737297.5458 | 1267809.0166 | 2737288.2294 | 1267830.1001
2 | 2737275.9465 | 1267857.8969 | 2737277.4418 | 1267854.513
3 | 2737297.5458 | 1267809.0166 | 2737311.258 | 1267813.8844 | 2737315.5253 | 1267814.1926
4 | 2737297.5458 | 1267809.0166 | 2737295.3846 | 1267796.7101 | 2737293.032 | 1267792.9279
5 | 2737275.9465 | 1267857.8969 | 2737268.4829 | 1267874.7876
6 | 2737385.7779 | 1267818.0426 | 2737356.1553 | 1267815.7295 | 2737331.2472 | 1267815.328 | 2737315.5253 | 1267814.1926
7 | 2737293.032 | 1267792.9279 | 2737290.6954 | 1267789.1716 | 2737278.9911 | 1267778.1473
8 | 2737268.4829 | 1267874.7876 | 2737264.854 | 1267882.9999
9 | 2737385.7779 | 1267818.0426 | 2737398.5254 | 1267822.9437 | 2737408.6635 | 1267832.8668 | 2737425.5328 | 1267861.9093 | 2737441.9071 | 1267879.0056
10 | 2737241.7358 | 1267760.262 | 2737253.6767 | 1267763.587 | 2737275.1987 | 1267774.5753 | 2737278.9911 | 1267778.1473
11 | 2737264.854 | 1267882.9999 | 2737244.8144 | 1267928.3505
12 | 2737441.9071 | 1267879.0056 | 2737447.9768 | 1267885.3429 | 2737463.1718 | 1267893.1372 | 2737464.486 | 1267893.6678
13 | 2737241.7358 | 1267760.262 | 2737227.8433 | 1267763.1422
14 | 2737241.7358 | 1267760.262 | 2737249.4832 | 1267748.9755 | 2737276.1016 | 1267726.3722
15 | 2737276.1016 | 1267726.3722 | 2737279.3013 | 1267723.6551
16 | 2737298.8706 | 1267707.0377 | 2737279.3013 | 1267723.6551
17 | 2737298.8706 | 1267707.0377 | 2737310.2161 | 1267706.8345
18 | 2737227.8433 | 1267763.1422 | 2737214.0511 | 1267766.8923 | 2737201.6466 | 1267766.3371 | 2737195.9175 | 1267763.9419
19 | 2737312.3003 | 1267702.0449 | 2737312.3781 | 1267706.7958 | 2737310.2161 | 1267706.8345
20 | 2737168.2774 | 1267747.978 | 2737189.647 | 1267761.3203 | 2737195.9175 | 1267763.9419
21 | 2737312.3003 | 1267702.0449 | 2737312.2142 | 1267697.0047
22 | 2737312.2142 | 1267697.0047 | 2737431.8447 | 1267587.2516
23 | 2737115.7776 | 1267688.9138 | 2737125.3187 | 1267690.5256 | 2737163.4289 | 1267697.6947 | 2737189.3396 | 1267701.6333 | 2737196.9876 | 1267702.4356
24 | 2737113.3174 | 1267715.4045 | 2737104.8132 | 1267710.002 | 2737115.7776 | 1267688.9138
25 | 2737168.2774 | 1267747.978 | 2737141.6185 | 1267732.1663 | 2737138.3656 | 1267730.2397
26 | 2737168.2774 | 1267747.978 | 2737167.4837 | 1267763.3411 | 2737167.0506 | 1267771.7652
27 | 2737204.6091 | 1267812.8284 | 2737192.6414 | 1267813.9296 | 2737190.0343 | 1267813.5148
28 | 2737190.0343 | 1267813.5148 | 2737172.8275 | 1267810.7777 | 2737167.6473 | 1267807.5098
29 | 2737166.5082 | 1267782.3146 | 2737167.0506 | 1267771.7652
30 | 2737166.5082 | 1267782.3146 | 2737165.8547 | 1267794.9858
31 | 2737113.3174 | 1267715.4045 | 2737138.3656 | 1267730.2397
32 | 2737165.7477 | 1267797.0603 | 2737165.8547 | 1267794.9858
33 | 2737113.3174 | 1267715.4045 | 2737103.9879 | 1267736.0629
34 | 2737167.6473 | 1267807.5098 | 2737167.6473 | 1267807.5098 | 2737165.4121 | 1267803.5653 | 2737165.7477 | 1267797.0603
35 | 2737103.9879 | 1267736.0629 | 2737098.1073 | 1267749.0842 | 2737095.1204 | 1267751.6797
36 | 2737064.6972 | 1267612.3295 | 2737079.4229 | 1267641.1576 | 2737079.8922 | 1267642.4902
37 | 2737064.6972 | 1267612.3295 | 2737062.9568 | 1267608.9224 | 2737059.5732 | 1267604.196
38 | 2737082.3925 | 1267649.5902 | 2737079.8922 | 1267642.4902
39 | 2737053.8105 | 1267596.1461 | 2737059.5732 | 1267604.196
40 | 2737086.2935 | 1267662.157 | 2737085.3148 | 1267657.8882 | 2737082.3925 | 1267649.5902
41 | 2737037.3477 | 1267573.1495 | 2737053.8105 | 1267596.1461
42 | 2737088.4807 | 1267671.6972 | 2737086.2935 | 1267662.157
43 | 2737037.3477 | 1267573.1495 | 2737033.7324 | 1267562.0184
44 | 2737022.7092 | 1267579.2827 | 2737037.3477 | 1267573.1495
45 | 2737088.4807 | 1267671.6972 | 2737092.8186 | 1267670.708 | 2737094.6746 | 1267673.476 | 2737097.2387 | 1267675.5819 | 2737102.5314 | 1267676.9282 | 2737117.1736 | 1267679.0589 | 2737144.8554 | 1267684.2395 | 2737152.0134 | 1267685.5318
46 | 2737075.9098 | 1267679.6022 | 2737076.0646 | 1267674.5564 | 2737088.4807 | 1267671.6972
47 | 2737033.2783 | 1267560.6202 | 2737033.7324 | 1267562.0184
48 | 2737022.7092 | 1267579.2827 | 2737005.3089 | 1267547.4629
49 | 2737022.7092 | 1267579.2827 | 2737004.4178 | 1267593.1468
50 | 2737469.0291 | 1267895.502 | 2737464.486 | 1267893.6678
51 | 2737503.7411 | 1267568.9563 | 2737544.8792 | 1267673.7798
52 | 2737489.3777 | 1267572.581 | 2737503.7411 | 1267568.9563
53 | 2737033.2783 | 1267560.6202 | 2737032.4921 | 1267558.1996
54 | 2737489.3777 | 1267572.581 | 2737469.0276 | 1267577.7166
55 | 2737442.5729 | 1267584.3928 | 2737469.0276 | 1267577.7166
56 | 2737442.5729 | 1267584.3928 | 2737431.8447 | 1267587.2516
57 | 2737032.9973 | 1267709.3246 | 2737034.013 | 1267712.9294 | 2737034.0572 | 1267724.0002
58 | 2737032.9973 | 1267709.3246 | 2737049.1881 | 1267709.1231
59 | 2737032.9973 | 1267709.3246 | 2737031.961 | 1267705.6303 | 2737031.6365 | 1267693.3331 | 2737032.7415 | 1267683.6828 | 2737033.3182 | 1267678.6246
60 | 2737023.9832 | 1267765.4698 | 2737020.9451 | 1267765.9529
61 | 2737023.9832 | 1267765.4698 | 2737027.6468 | 1267765.299 | 2737031.3915 | 1267765.5305 | 2737055.7474 | 1267770.9116 | 2737053.1272 | 1267774.4654
62 | 2737009.4565 | 1267767.7796 | 2737020.9451 | 1267765.9529
63 | 2737053.1272 | 1267774.4654 | 2737059.2192 | 1267801.7108
64 | 2737039.9959 | 1267803.2776 | 2737043.519 | 1267790.6693 | 2737047.9573 | 1267782.1084 | 2737053.1272 | 1267774.4654
65 | 2737081.3533 | 1267763.6429 | 2737071.2889 | 1267768.681 | 2737055.7474 | 1267770.9116 | 2737053.1272 | 1267774.4654
66 | 2737049.1881 | 1267709.1231 | 2737053.5136 | 1267709.0692
67 | 2737033.3182 | 1267678.6246 | 2737021.3817 | 1267678.6057
68 | 2737033.3182 | 1267678.6246 | 2737035.7342 | 1267678.6807 | 2737051.3199 | 1267679.0382
69 | 2737009.4565 | 1267767.7796 | 2736986.9095 | 1267770.4373 | 2736978.4656 | 1267770.6616
70 | 2737081.3533 | 1267763.6429 | 2737095.1204 | 1267751.6797
71 | 2737081.3533 | 1267763.6429 | 2737075.3269 | 1267751.7361 | 2737074.261 | 1267749.516
72 | 2737081.3533 | 1267763.6429 | 2737086.5631 | 1267775.9236
73 | 2737067.6115 | 1267735.0212 | 2737068.5821 | 1267737.6883 | 2737074.261 | 1267749.516
74 | 2737086.5631 | 1267775.9236 | 2737089.6065 | 1267783.0976 | 2737091.8762 | 1267792.163
75 | 2737068.2418 | 1267708.8859 | 2737053.5136 | 1267709.0692
76 | 2736966.4362 | 1267678.5185 | 2736966.2885 | 1267683.9092
77 | 2736966.2885 | 1267683.9092 | 2736965.8997 | 1267697.8019
78 | 2736966.4362 | 1267678.5185 | 2737021.3817 | 1267678.6057
79 | 2737075.9098 | 1267679.6022 | 2737051.3199 | 1267679.0382
80 | 2737068.2418 | 1267708.8859 | 2737066.3021 | 1267710.6982 | 2737064.9007 | 1267713.6464 | 2737064.5574 | 1267719.6776 | 2737065.9205 | 1267730.3751 | 2737067.6115 | 1267735.0212
81 | 2737152.0134 | 1267685.5318 | 2737168.2594 | 1267688.4646 | 2737175.1632 | 1267689.4693
82 | 2736954.5044 | 1267771.298 | 2736978.4656 | 1267770.6616
83 | 2737091.8762 | 1267792.163 | 2737092.9698 | 1267796.5309
84 | 2736949.4506 | 1267771.4322 | 2736954.5044 | 1267771.298
85 | 2736928.6973 | 1267771.5918 | 2736910.0194 | 1267771.3675 | 2736906.7005 | 1267770.747
86 | 2736928.6973 | 1267771.5918 | 2736930.4893 | 1267771.6133
87 | 2736930.4893 | 1267771.6133 | 2736938.8521 | 1267771.7137 | 2736949.4506 | 1267771.4322
88 | 2737016.1589 | 1267506.8479 | 2737018.1956 | 1267514.1819 | 2737023.3696 | 1267530.1124
89 | 2737032.4921 | 1267558.1996 | 2737023.3696 | 1267530.1124
90 | 2737111.8775 | 1267849.3938 | 2737111.5671 | 1267853.0302 | 2737110.9641 | 1267856.0489
91 | 2737111.8775 | 1267849.3938 | 2737112.6635 | 1267840.1877 | 2737110.5911 | 1267826.3151 | 2737102.9824 | 1267810.8903 | 2737096.8835 | 1267804.1841
92 | 2737107.218 | 1267874.8042 | 2737110.9641 | 1267856.0489
93 | 2737096.8835 | 1267804.1841 | 2737094.1271 | 1267801.1533 | 2737092.9698 | 1267796.5309

## bus_geodata
| x | y | coords
0 | 2737288.2294 | 1267830.1001
1 | 2737277.4418 | 1267854.513
2 | 2737297.5458 | 1267809.0166
3 | 2737275.9465 | 1267857.8969
4 | 2737315.5253 | 1267814.1926
5 | 2737293.032 | 1267792.9279
6 | 2737268.4829 | 1267874.7876
7 | 2737385.7779 | 1267818.0426
8 | 2737278.9911 | 1267778.1473
9 | 2737264.854 | 1267882.9999
10 | 2737441.9071 | 1267879.0056
11 | 2737241.7358 | 1267760.262
12 | 2737276.1016 | 1267726.3722
13 | 2737279.3013 | 1267723.6551
14 | 2737298.8706 | 1267707.0377
15 | 2737227.8433 | 1267763.1422
16 | 2737310.2161 | 1267706.8345
17 | 2737195.9175 | 1267763.9419
18 | 2737312.3003 | 1267702.0449
19 | 2737312.2142 | 1267697.0047
20 | 2737196.9876 | 1267702.4356
21 | 2737115.7776 | 1267688.9138
22 | 2737168.2774 | 1267747.978
23 | 2737204.6091 | 1267812.8284
24 | 2737190.0343 | 1267813.5148
25 | 2737167.0506 | 1267771.7652
26 | 2737166.5082 | 1267782.3146
27 | 2737138.3656 | 1267730.2397
28 | 2737165.8547 | 1267794.9858
29 | 2737113.3174 | 1267715.4045
30 | 2737165.7477 | 1267797.0603
31 | 2737103.9879 | 1267736.0629
32 | 2737167.6473 | 1267807.5098
33 | 2737064.6972 | 1267612.3295
34 | 2737079.8922 | 1267642.4902
35 | 2737059.5732 | 1267604.196
36 | 2737082.3925 | 1267649.5902
37 | 2737053.8105 | 1267596.1461
38 | 2737086.2935 | 1267662.157
39 | 2737037.3477 | 1267573.1495
40 | 2737088.4807 | 1267671.6972
41 | 2737033.7324 | 1267562.0184
42 | 2737022.7092 | 1267579.2827
43 | 2737244.8144 | 1267928.3505
44 | 2737464.486 | 1267893.6678
45 | 2737544.8792 | 1267673.7798
46 | 2737503.7411 | 1267568.9563
47 | 2737469.0291 | 1267895.502
48 | 2737033.2783 | 1267560.6202
49 | 2737005.3089 | 1267547.4629
50 | 2737004.4178 | 1267593.1468
51 | 2737489.3777 | 1267572.581
52 | 2737469.0276 | 1267577.7166
53 | 2737431.8447 | 1267587.2516
54 | 2737442.5729 | 1267584.3928
55 | 2737034.0572 | 1267724.0002
56 | 2737032.9973 | 1267709.3246
57 | 2737023.9832 | 1267765.4698
58 | 2737020.9451 | 1267765.9529
59 | 2737053.1272 | 1267774.4654
60 | 2737049.1881 | 1267709.1231
61 | 2737033.3182 | 1267678.6246
62 | 2737009.4565 | 1267767.7796
63 | 2737059.2192 | 1267801.7108
64 | 2737039.9959 | 1267803.2776
65 | 2737081.3533 | 1267763.6429
66 | 2737095.1204 | 1267751.6797
67 | 2737074.261 | 1267749.516
68 | 2737086.5631 | 1267775.9236
69 | 2737053.5136 | 1267709.0692
70 | 2736966.2885 | 1267683.9092
71 | 2736966.4362 | 1267678.5185
72 | 2736965.8997 | 1267697.8019
73 | 2737021.3817 | 1267678.6057
74 | 2737051.3199 | 1267679.0382
75 | 2737075.9098 | 1267679.6022
76 | 2737068.2418 | 1267708.8859
77 | 2737067.6115 | 1267735.0212
78 | 2737152.0134 | 1267685.5318
79 | 2736978.4656 | 1267770.6616
80 | 2737091.8762 | 1267792.163
81 | 2737175.1632 | 1267689.4693
82 | 2736954.5044 | 1267771.298
83 | 2736906.7005 | 1267770.747
84 | 2736928.6973 | 1267771.5918
85 | 2736949.4506 | 1267771.4322
86 | 2736930.4893 | 1267771.6133
87 | 2737016.1589 | 1267506.8479
88 | 2737023.3696 | 1267530.1124
89 | 2737032.4921 | 1267558.1996
90 | 2737111.8775 | 1267849.3938
91 | 2737110.9641 | 1267856.0489
92 | 2737096.8835 | 1267804.1841
93 | 2737107.218 | 1267874.8042
94 | 2737092.9698 | 1267796.5309
95 | 2737166.5082 | 1267782.3146

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1