## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4461-6_1_3_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_4461-6_1_3_node_17 | 0.4 | n |  | TRUE
2 | bus_LV_4461-6_1_3_node_41 | 0.4 | n |  | TRUE
3 | bus_LV_4461-6_1_3_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_4461-6_1_3_node_90 | 0.4 | n |  | TRUE
5 | bus_LV_4461-6_1_3_node_123 | 0.4 | n |  | TRUE
6 | bus_LV_4461-6_1_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_4461-6_1_3_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_4461-6_1_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_4461-6_1_3_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_4461-6_1_3_node_99 | 0.4 | n |  | TRUE
11 | bus_LV_4461-6_1_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_4461-6_1_3_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_4461-6_1_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_4461-6_1_3_node_129 | 0.4 | n |  | TRUE
15 | bus_LV_4461-6_1_3_node_92 | 0.4 | n |  | TRUE
16 | bus_LV_4461-6_1_3_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_4461-6_1_3_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_4461-6_1_3_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_4461-6_1_3_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_4461-6_1_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_4461-6_1_3_node_102 | 0.4 | n |  | TRUE
22 | bus_LV_4461-6_1_3_node_107 | 0.4 | n |  | TRUE
23 | bus_LV_4461-6_1_3_node_120 | 0.4 | n |  | TRUE
24 | bus_LV_4461-6_1_3_node_128 | 0.4 | n |  | TRUE
25 | bus_LV_4461-6_1_3_node_110 | 0.4 | n |  | TRUE
26 | bus_LV_4461-6_1_3_node_78 | 0.4 | n |  | TRUE
27 | bus_LV_4461-6_1_3_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_4461-6_1_3_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_4461-6_1_3_node_109 | 0.4 | n |  | TRUE
30 | bus_LV_4461-6_1_3_node_101 | 0.4 | n |  | TRUE
31 | bus_LV_4461-6_1_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_4461-6_1_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_4461-6_1_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_4461-6_1_3_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_4461-6_1_3_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_4461-6_1_3_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_4461-6_1_3_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_4461-6_1_3_node_103 | 0.4 | n |  | TRUE
39 | bus_LV_4461-6_1_3_node_100 | 0.4 | n |  | TRUE
40 | bus_LV_4461-6_1_3_node_118 | 0.4 | n |  | TRUE
41 | bus_LV_4461-6_1_3_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_4461-6_1_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_4461-6_1_3_node_105 | 0.4 | n |  | TRUE
44 | bus_LV_4461-6_1_3_node_125 | 0.4 | n |  | TRUE
45 | bus_LV_4461-6_1_3_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_4461-6_1_3_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_4461-6_1_3_node_124 | 0.4 | n |  | TRUE
48 | bus_LV_4461-6_1_3_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_4461-6_1_3_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_4461-6_1_3_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_4461-6_1_3_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_4461-6_1_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_4461-6_1_3_node_104 | 0.4 | n |  | TRUE
54 | bus_LV_4461-6_1_3_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_4461-6_1_3_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_4461-6_1_3_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_4461-6_1_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_4461-6_1_3_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_4461-6_1_3_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_4461-6_1_3_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_4461-6_1_3_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_4461-6_1_3_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_4461-6_1_3_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_4461-6_1_3_node_112 | 0.4 | n |  | TRUE
65 | bus_LV_4461-6_1_3_node_115 | 0.4 | n |  | TRUE
66 | bus_LV_4461-6_1_3_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_4461-6_1_3_node_91 | 0.4 | n |  | TRUE
68 | bus_LV_4461-6_1_3_node_113 | 0.4 | n |  | TRUE
69 | bus_LV_4461-6_1_3_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_4461-6_1_3_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_4461-6_1_3_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_4461-6_1_3_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_4461-6_1_3_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_4461-6_1_3_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_4461-6_1_3_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_4461-6_1_3_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_4461-6_1_3_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_4461-6_1_3_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_4461-6_1_3_node_93 | 0.4 | n |  | TRUE
80 | bus_LV_4461-6_1_3_node_98 | 0.4 | n |  | TRUE
81 | bus_LV_4461-6_1_3_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_4461-6_1_3_node_117 | 0.4 | n |  | TRUE
83 | bus_LV_4461-6_1_3_node_114 | 0.4 | n |  | TRUE
84 | bus_LV_4461-6_1_3_node_116 | 0.4 | n |  | TRUE
85 | bus_MV_407_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4461-6_1_3_load_41 | 2 | 0.022969 | 0.0057565 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4461-6_1_3_load_123 | 5 | 0.00043387 | 0.00010874 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4461-6_1_3_load_42 | 7 | 0.033351 | 0.0083585 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4461-6_1_3_load_58 | 9 | 0.0061361 | 0.0015378 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4461-6_1_3_load_99 | 10 | 0.0011912 | 0.00029855 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4461-6_1_3_load_129 | 14 | 0.0024303 | 0.0006091 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4461-6_1_3_load_92 | 15 | 0.0099532 | 0.0024945 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4461-6_1_3_load_88 | 16 | 0.0016423 | 0.00041161 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4461-6_1_3_load_57 | 18 | 0.005452 | 0.0013664 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4461-6_1_3_load_107 | 22 | 0.00087641 | 0.00021965 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4461-6_1_3_load_128 | 24 | 0.0016922 | 0.00042411 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4461-6_1_3_load_110 | 25 | 0.001851 | 0.0004639 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4461-6_1_3_load_78 | 26 | 0.0042207 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4461-6_1_3_load_77 | 28 | 0.00048949 | 0.00012268 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4461-6_1_3_load_109 | 29 | 0.0028415 | 0.00071214 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4461-6_1_3_load_101 | 30 | 0.0011055 | 0.00027707 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4461-6_1_3_load_47 | 31 | 0.02364 | 0.0059247 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4461-6_1_3_load_79 | 36 | 0.001841 | 0.00046139 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4461-6_1_3_load_103 | 38 | 0.00057425 | 0.00014392 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4461-6_1_3_load_100 | 39 | 0.0012659 | 0.00031726 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4461-6_1_3_load_118 | 40 | 0.0071108 | 0.0017821 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4461-6_1_3_load_106 | 41 | 0.0060847 | 0.001525 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4461-6_1_3_load_125 | 44 | 0.002002 | 0.00050175 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4461-6_1_3_load_73 | 45 | 0.0066526 | 0.0016673 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4461-6_1_3_load_70 | 46 | 0.011462 | 0.0028725 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4461-6_1_3_load_124 | 47 | 0.0021742 | 0.00054491 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4461-6_1_3_load_87 | 48 | 0.0014066 | 0.00035252 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4461-6_1_3_load_96 | 49 | 0.0014558 | 0.00036486 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4461-6_1_3_load_75 | 50 | 0.00049878 | 0.00012501 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4461-6_1_3_load_74 | 51 | 0.00082529 | 0.00020684 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4461-6_1_3_load_66 | 52 | 0.0011425 | 0.00028633 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4461-6_1_3_load_104 | 53 | 0.00037512 | 9.4014e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4461-6_1_3_load_71 | 54 | 0.0068456 | 0.0017157 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4461-6_1_3_load_61 | 56 | 0.00069429 | 0.000174 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4461-6_1_3_load_62 | 57 | 0.001004 | 0.00025163 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4461-6_1_3_load_65 | 60 | 0.0019802 | 0.00049628 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4461-6_1_3_load_76 | 62 | 0.0013143 | 0.0003294 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4461-6_1_3_load_67 | 63 | 0.00078995 | 0.00019798 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4461-6_1_3_load_112 | 64 | 0.00086793 | 0.00021752 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4461-6_1_3_load_115 | 65 | 0.0020578 | 0.00051573 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4461-6_1_3_load_68 | 66 | 0.0014242 | 0.00035695 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4461-6_1_3_load_113 | 68 | 0.0010911 | 0.00027346 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4461-6_1_3_load_111 | 69 | 0.0021974 | 0.00055072 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4461-6_1_3_load_72 | 70 | 0.001545 | 0.00038721 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4461-6_1_3_load_84 | 71 | 0.00070392 | 0.00017642 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4461-6_1_3_load_80 | 72 | 0.0011575 | 0.00029009 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4461-6_1_3_load_83 | 75 | 0.0013066 | 0.00032747 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4461-6_1_3_load_85 | 76 | 0.0013597 | 0.00034076 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4461-6_1_3_load_86 | 77 | 0.0012098 | 0.00030319 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4461-6_1_3_load_94 | 78 | 0.0011336 | 0.00028411 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4461-6_1_3_load_93 | 79 | 0.0013596 | 0.00034074 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4461-6_1_3_load_98 | 80 | 0.0013552 | 0.00033964 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4461-6_1_3_load_95 | 81 | 0.0028313 | 0.00070959 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4461-6_1_3_load_117 | 82 | 0.0035689 | 0.00089444 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4461-6_1_3_load_114 | 83 | 0.0026296 | 0.00065903 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4461-6_1_3_load_116 | 84 | 0.001507 | 0.00037769 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4461-6_1_3_line_0 |  | 0 | 1 | 0.085844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4461-6_1_3_line_1 |  | 0 | 2 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4461-6_1_3_line_2 |  | 1 | 10 | 0.075864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4461-6_1_3_line_3 |  | 1 | 6 | 0.081868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4461-6_1_3_line_4 |  | 1 | 8 | 0.032183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4461-6_1_3_line_5 |  | 3 | 4 | 0.005008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4461-6_1_3_line_6 |  | 3 | 5 | 0.022872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4461-6_1_3_line_7 |  | 4 | 15 | 0.053219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4461-6_1_3_line_8 |  | 4 | 16 | 0.018757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4461-6_1_3_line_9 |  | 5 | 17 | 0.046475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4461-6_1_3_line_10 |  | 6 | 7 | 0.0086382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4461-6_1_3_line_11 |  | 8 | 9 | 0.024464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4461-6_1_3_line_12 |  | 9 | 18 | 0.041028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4461-6_1_3_line_13 |  | 10 | 19 | 0.015403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4461-6_1_3_line_14 |  | 11 | 12 | 0.004446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4461-6_1_3_line_15 |  | 11 | 13 | 0.060768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4461-6_1_3_line_16 |  | 12 | 21 | 0.042321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4461-6_1_3_line_17 |  | 12 | 22 | 0.018887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4461-6_1_3_line_18 |  | 13 | 14 | 0.018063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4461-6_1_3_line_19 |  | 17 | 55 | 0.013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4461-6_1_3_line_20 |  | 18 | 55 | 0.00862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4461-6_1_3_line_21 |  | 19 | 20 | 0.05547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4461-6_1_3_line_22 |  | 20 | 26 | 0.01676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4461-6_1_3_line_23 |  | 20 | 27 | 0.018481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4461-6_1_3_line_24 |  | 20 | 28 | 0.015156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4461-6_1_3_line_25 |  | 21 | 29 | 0.025867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4461-6_1_3_line_26 |  | 21 | 30 | 0.052569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4461-6_1_3_line_27 |  | 23 | 24 | 0.11918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4461-6_1_3_line_28 |  | 23 | 25 | 0.19181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4461-6_1_3_line_29 |  | 25 | 29 | 0.02863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4461-6_1_3_line_30 |  | 26 | 49 | 0.026846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4461-6_1_3_line_31 |  | 27 | 38 | 0.024055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4461-6_1_3_line_32 |  | 27 | 39 | 0.02871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4461-6_1_3_line_33 |  | 28 | 34 | 0.022574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4461-6_1_3_line_34 |  | 30 | 39 | 0.021883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4461-6_1_3_line_35 |  | 31 | 32 | 0.015452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4461-6_1_3_line_36 |  | 32 | 33 | 0.052456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4461-6_1_3_line_37 |  | 33 | 45 | 0.012856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4461-6_1_3_line_38 |  | 33 | 46 | 0.047364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4461-6_1_3_line_39 |  | 33 | 34 | 0.05372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4461-6_1_3_line_40 |  | 34 | 35 | 0.028448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4461-6_1_3_line_41 |  | 34 | 36 | 0.019597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4461-6_1_3_line_42 |  | 35 | 37 | 0.032667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4461-6_1_3_line_43 |  | 36 | 48 | 0.0098163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4461-6_1_3_line_44 |  | 37 | 40 | 0.022096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4461-6_1_3_line_45 |  | 37 | 41 | 0.032341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4461-6_1_3_line_46 |  | 41 | 43 | 0.02694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4461-6_1_3_line_47 |  | 42 | 43 | 0.004374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4461-6_1_3_line_48 |  | 42 | 44 | 0.039949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4461-6_1_3_line_49 |  | 43 | 52 | 0.046395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4461-6_1_3_line_50 |  | 43 | 53 | 0.015832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4461-6_1_3_line_51 |  | 44 | 47 | 0.043141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4461-6_1_3_line_52 |  | 46 | 54 | 0.0027587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4461-6_1_3_line_53 |  | 49 | 71 | 0.010443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_4461-6_1_3_line_54 |  | 50 | 51 | 0.011958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4461-6_1_3_line_55 |  | 51 | 62 | 0.022694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4461-6_1_3_line_56 |  | 52 | 58 | 0.01131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4461-6_1_3_line_57 |  | 54 | 70 | 0.0057063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4461-6_1_3_line_58 |  | 56 | 57 | 0.0091381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4461-6_1_3_line_59 |  | 56 | 58 | 0.032765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4461-6_1_3_line_60 |  | 57 | 59 | 0.0097667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4461-6_1_3_line_61 |  | 58 | 60 | 0.01792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4461-6_1_3_line_62 |  | 59 | 61 | 0.031653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4461-6_1_3_line_63 |  | 59 | 62 | 0.024479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4461-6_1_3_line_64 |  | 60 | 63 | 0.00073969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4461-6_1_3_line_65 |  | 61 | 64 | 0.021446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4461-6_1_3_line_66 |  | 61 | 65 | 0.014837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4461-6_1_3_line_67 |  | 63 | 66 | 0.028419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4461-6_1_3_line_68 |  | 64 | 69 | 0.013102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4461-6_1_3_line_69 |  | 65 | 83 | 0.028708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4461-6_1_3_line_70 |  | 67 | 68 | 0.014589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4461-6_1_3_line_71 |  | 67 | 69 | 0.017223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4461-6_1_3_line_72 |  | 68 | 82 | 0.023261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4461-6_1_3_line_73 |  | 71 | 73 | 0.014817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4461-6_1_3_line_74 |  | 72 | 73 | 0.007801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4461-6_1_3_line_75 |  | 72 | 74 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4461-6_1_3_line_76 |  | 73 | 75 | 0.0034177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4461-6_1_3_line_77 |  | 74 | 76 | 0.0093249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4461-6_1_3_line_78 |  | 74 | 77 | 0.0053856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4461-6_1_3_line_79 |  | 75 | 78 | 0.0046438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4461-6_1_3_line_80 |  | 76 | 79 | 0.016425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4461-6_1_3_line_81 |  | 77 | 80 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4461-6_1_3_line_82 |  | 78 | 81 | 0.0094051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4461-6_1_3_line_83 |  | 83 | 84 | 0.0050377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4461-6_1_3_trafo_84 | 0.63 MVA 20/0.4 kV | 85 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2738248.436 | 1267951.323 | 2738252.8972 | 1267945.0657 | 2738254.9516 | 1267933.547 | 2738258.7102 | 1267929.3197 | 2738265.5686 | 1267930.3479 | 2738277.4331 | 1267921.1499 | 2738285.3756 | 1267922.1923 | 2738315.9051 | 1267926.5888
1 | 2738248.436 | 1267951.323 | 2738246.373 | 1267963.2144
2 | 2738315.9051 | 1267926.5888 | 2738340.0013 | 1267998.524
3 | 2738275.7919 | 1267883.8419 | 2738290.2853 | 1267886.1833 | 2738285.3756 | 1267922.1923 | 2738315.9051 | 1267926.5888
4 | 2738315.9051 | 1267926.5888 | 2738307.0518 | 1267895.6404
5 | 2738298.4998 | 1267799.7472 | 2738303.5169 | 1267799.987
6 | 2738298.4998 | 1267799.7472 | 2738304.7285 | 1267821.7545
7 | 2738337.0623 | 1267818.0675 | 2738312.2348 | 1267825.7939 | 2738306.8656 | 1267812.6221 | 2738303.5169 | 1267799.987
8 | 2738303.5169 | 1267799.987 | 2738317.0758 | 1267801.0832 | 2738322.1999 | 1267800.5267
9 | 2738333.3837 | 1267847.4766 | 2738327.5927 | 1267847.8081 | 2738320.6681 | 1267849.9258 | 2738315.9302 | 1267846.7674 | 2738308.751 | 1267835.9667 | 2738304.7285 | 1267821.7545
10 | 2738275.7919 | 1267883.8419 | 2738267.1538 | 1267883.8843
11 | 2738307.0518 | 1267895.6404 | 2738311.2278 | 1267894.4926 | 2738318.0806 | 1267894.4752 | 2738330.7769 | 1267890.5814
12 | 2738343.3079 | 1267861.4738 | 2738348.4631 | 1267878.1594 | 2738344.7635 | 1267886.2918 | 2738330.7769 | 1267890.5814
13 | 2738344.8937 | 1268013.1292 | 2738340.0013 | 1267998.524
14 | 2738257.152 | 1268071.0988 | 2738254.8771 | 1268067.2752
15 | 2738254.8771 | 1268067.2752 | 2738251.4644 | 1268061.5564 | 2738248.5081 | 1268053.713 | 2738252.5773 | 1268031.7201 | 2738259.9217 | 1268032.8931 | 2738261.2173 | 1268033.8355 | 2738263.1918 | 1268035.6946 | 2738269.3467 | 1268045.537
16 | 2738257.152 | 1268071.0988 | 2738293.274 | 1268048.8779
17 | 2738257.152 | 1268071.0988 | 2738240.9701 | 1268080.8389
18 | 2738269.3467 | 1268045.537 | 2738284.7933 | 1268036.1004
19 | 2738333.3837 | 1267847.4766 | 2738334.4639 | 1267846.6901 | 2738335.732 | 1267846.2415 | 2738337.0659 | 1267846.1949 | 2738338.3681 | 1267846.5369 | 2738339.5772 | 1267847.3215 | 2738340.4849 | 1267848.4327 | 2738340.988 | 1267849.7791 | 2738341.0369 | 1267851.2261 | 2738340.6358 | 1267852.5958 | 2738339.8099 | 1267853.7776
20 | 2738339.8099 | 1267853.7776 | 2738341.5198 | 1267855.6862 | 2738343.3079 | 1267861.4738
21 | 2738344.8937 | 1268013.1292 | 2738392.5806 | 1267984.5625
22 | 2738392.5806 | 1267984.5625 | 2738387.5477 | 1267968.5763
23 | 2738381.846 | 1267995.9889 | 2738393.9123 | 1267988.7867 | 2738392.5806 | 1267984.5625
24 | 2738392.5806 | 1267984.5625 | 2738405.5649 | 1267976.7447
25 | 2738293.274 | 1268048.8779 | 2738306.5789 | 1268071.0608
26 | 2738293.274 | 1268048.8779 | 2738338.4094 | 1268021.9291
27 | 2738310.7036 | 1268287.1286 | 2738316.9486 | 1268288.6095 | 2738327.2382 | 1268290.6857 | 2738381.013 | 1268301.3663 | 2738424.2898 | 1268302.8035 | 2738428.3864 | 1268302.236
28 | 2738321.3048 | 1268095.6127 | 2738310.7036 | 1268287.1286
29 | 2738306.5789 | 1268071.0608 | 2738321.3048 | 1268095.6127
30 | 2738379.486 | 1267942.9695 | 2738387.5477 | 1267968.5763
31 | 2738389.0488 | 1268018.9465 | 2738381.846 | 1267995.9889
32 | 2738381.846 | 1267995.9889 | 2738357.1973 | 1268010.7096
33 | 2738424.9041 | 1267965.1006 | 2738405.5649 | 1267976.7447
34 | 2738357.1973 | 1268010.7096 | 2738345.8457 | 1268017.4891 | 2738338.4094 | 1268021.9291
35 | 2738465.8964 | 1267993.7332 | 2738473.9739 | 1268006.9057
36 | 2738428.0466 | 1268012.8429 | 2738433.2926 | 1268003.6346 | 2738435.4749 | 1268010.4367 | 2738455.1534 | 1268000.0543 | 2738465.8964 | 1267993.7332
37 | 2738424.0638 | 1268000.6155 | 2738428.0466 | 1268012.8429
38 | 2738428.0466 | 1268012.8429 | 2738435.5344 | 1268035.8406 | 2738413.4813 | 1268042.9732
39 | 2738428.0466 | 1268012.8429 | 2738433.2926 | 1268003.6346 | 2738425.8614 | 1267980.4713 | 2738422.7954 | 1267971.5353 | 2738427.0034 | 1267969.0203 | 2738424.9041 | 1267965.1006
40 | 2738424.9041 | 1267965.1006 | 2738449.3589 | 1267950.4481
41 | 2738424.9041 | 1267965.1006 | 2738415.6473 | 1267947.8279
42 | 2738449.3589 | 1267950.4481 | 2738477.4417 | 1267933.6231
43 | 2738415.6473 | 1267947.8279 | 2738411.0104 | 1267939.1758
44 | 2738466.4688 | 1267914.4251 | 2738477.4417 | 1267933.6231
45 | 2738477.4417 | 1267933.6231 | 2738505.1873 | 1267917.0056
46 | 2738528.2994 | 1267903.1632 | 2738505.1873 | 1267917.0056
47 | 2738530.8592 | 1267906.7156 | 2738528.2994 | 1267903.1632
48 | 2738530.8592 | 1267906.7156 | 2738533.1477 | 1267909.9502 | 2738542.7494 | 1267925.001 | 2738547.0583 | 1267932.3091 | 2738551.7988 | 1267940.7151
49 | 2738528.2994 | 1267903.1632 | 2738527.4753 | 1267902.0206 | 2738509.0869 | 1267860.9646
50 | 2738528.2994 | 1267903.1632 | 2738541.8698 | 1267895.0084
51 | 2738571.9171 | 1267978.7482 | 2738571.9171 | 1267978.7482 | 2738571.3716 | 1267976.322 | 2738569.8521 | 1267972.7273 | 2738551.7988 | 1267940.7151
52 | 2738413.4813 | 1268042.9732 | 2738410.8565 | 1268043.8222
53 | 2738379.486 | 1267942.9695 | 2738376.35 | 1267933.0082
54 | 2738419.44 | 1267900.3502 | 2738419.1054 | 1267900.5688 | 2738425.0995 | 1267910.4513
55 | 2738419.44 | 1267900.3502 | 2738438.4399 | 1267887.9397
56 | 2738504.4637 | 1267850.6424 | 2738509.0869 | 1267860.9646
57 | 2738405.4271 | 1268045.5782 | 2738410.8565 | 1268043.8222
58 | 2738475.0404 | 1267865.0591 | 2738466.8345 | 1267869.0799
59 | 2738504.4637 | 1267850.6424 | 2738475.0404 | 1267865.0591
60 | 2738458.064 | 1267873.3772 | 2738466.8345 | 1267869.0799
61 | 2738504.4637 | 1267850.6424 | 2738497.0588 | 1267834.3235
62 | 2738438.3505 | 1267854.408 | 2738445.2097 | 1267871.4631 | 2738451.0136 | 1267873.7902 | 2738458.064 | 1267873.3772
63 | 2738458.064 | 1267873.3772 | 2738448.4786 | 1267881.3826 | 2738438.4399 | 1267887.9397
64 | 2738497.0588 | 1267834.3235 | 2738496.7532 | 1267833.6499
65 | 2738438.3505 | 1267854.408 | 2738430.7728 | 1267834.3454
66 | 2738438.3505 | 1267854.408 | 2738425.2754 | 1267861.4213
67 | 2738496.7532 | 1267833.6499 | 2738485.01 | 1267807.7703
68 | 2738426.1435 | 1267822.0889 | 2738430.7728 | 1267834.3454
69 | 2738399.977 | 1267874.9908 | 2738425.2754 | 1267861.4213
70 | 2738420.058 | 1267805.977 | 2738406.4276 | 1267811.179
71 | 2738420.058 | 1267805.977 | 2738426.1435 | 1267822.0889
72 | 2738384.6958 | 1267819.473 | 2738406.4276 | 1267811.179
73 | 2738367.3164 | 1267921.3094 | 2738376.1812 | 1267932.4723 | 2738376.35 | 1267933.0082
74 | 2738367.3164 | 1267921.3094 | 2738359.9181 | 1267923.7836
75 | 2738345.3749 | 1267928.6473 | 2738359.9181 | 1267923.7836
76 | 2738367.3164 | 1267921.3094 | 2738366.4212 | 1267918.011
77 | 2738345.3749 | 1267928.6473 | 2738342.6656 | 1267919.7247
78 | 2738345.3749 | 1267928.6473 | 2738347.0827 | 1267933.7549
79 | 2738365.2049 | 1267913.5294 | 2738366.4212 | 1267918.011
80 | 2738342.6656 | 1267919.7247 | 2738337.8934 | 1267904.0084
81 | 2738351.5744 | 1267947.1882 | 2738347.0827 | 1267933.7549
82 | 2738362.7416 | 1267904.4526 | 2738365.2049 | 1267913.5294
83 | 2738395.5376 | 1267877.372 | 2738399.977 | 1267874.9908

## bus_geodata
| x | y | coords
0 | 2738248.436 | 1267951.323
1 | 2738315.9051 | 1267926.5888
2 | 2738246.373 | 1267963.2144
3 | 2738298.4998 | 1267799.7472
4 | 2738303.5169 | 1267799.987
5 | 2738304.7285 | 1267821.7545
6 | 2738275.7919 | 1267883.8419
7 | 2738267.1538 | 1267883.8843
8 | 2738307.0518 | 1267895.6404
9 | 2738330.7769 | 1267890.5814
10 | 2738340.0013 | 1267998.524
11 | 2738254.8771 | 1268067.2752
12 | 2738257.152 | 1268071.0988
13 | 2738269.3467 | 1268045.537
14 | 2738284.7933 | 1268036.1004
15 | 2738337.0623 | 1267818.0675
16 | 2738322.1999 | 1267800.5267
17 | 2738333.3837 | 1267847.4766
18 | 2738343.3079 | 1267861.4738
19 | 2738344.8937 | 1268013.1292
20 | 2738392.5806 | 1267984.5625
21 | 2738293.274 | 1268048.8779
22 | 2738240.9701 | 1268080.8389
23 | 2738310.7036 | 1268287.1286
24 | 2738428.3864 | 1268302.236
25 | 2738321.3048 | 1268095.6127
26 | 2738387.5477 | 1267968.5763
27 | 2738381.846 | 1267995.9889
28 | 2738405.5649 | 1267976.7447
29 | 2738306.5789 | 1268071.0608
30 | 2738338.4094 | 1268021.9291
31 | 2738473.9739 | 1268006.9057
32 | 2738465.8964 | 1267993.7332
33 | 2738428.0466 | 1268012.8429
34 | 2738424.9041 | 1267965.1006
35 | 2738449.3589 | 1267950.4481
36 | 2738415.6473 | 1267947.8279
37 | 2738477.4417 | 1267933.6231
38 | 2738389.0488 | 1268018.9465
39 | 2738357.1973 | 1268010.7096
40 | 2738466.4688 | 1267914.4251
41 | 2738505.1873 | 1267917.0056
42 | 2738530.8592 | 1267906.7156
43 | 2738528.2994 | 1267903.1632
44 | 2738551.7988 | 1267940.7151
45 | 2738424.0638 | 1268000.6155
46 | 2738413.4813 | 1268042.9732
47 | 2738571.9171 | 1267978.7482
48 | 2738411.0104 | 1267939.1758
49 | 2738379.486 | 1267942.9695
50 | 2738425.0995 | 1267910.4513
51 | 2738419.44 | 1267900.3502
52 | 2738509.0869 | 1267860.9646
53 | 2738541.8698 | 1267895.0084
54 | 2738410.8565 | 1268043.8222
55 | 2738339.8099 | 1267853.7776
56 | 2738475.0404 | 1267865.0591
57 | 2738466.8345 | 1267869.0799
58 | 2738504.4637 | 1267850.6424
59 | 2738458.064 | 1267873.3772
60 | 2738497.0588 | 1267834.3235
61 | 2738438.3505 | 1267854.408
62 | 2738438.4399 | 1267887.9397
63 | 2738496.7532 | 1267833.6499
64 | 2738430.7728 | 1267834.3454
65 | 2738425.2754 | 1267861.4213
66 | 2738485.01 | 1267807.7703
67 | 2738420.058 | 1267805.977
68 | 2738406.4276 | 1267811.179
69 | 2738426.1435 | 1267822.0889
70 | 2738405.4271 | 1268045.5782
71 | 2738376.35 | 1267933.0082
72 | 2738359.9181 | 1267923.7836
73 | 2738367.3164 | 1267921.3094
74 | 2738345.3749 | 1267928.6473
75 | 2738366.4212 | 1267918.011
76 | 2738342.6656 | 1267919.7247
77 | 2738347.0827 | 1267933.7549
78 | 2738365.2049 | 1267913.5294
79 | 2738337.8934 | 1267904.0084
80 | 2738351.5744 | 1267947.1882
81 | 2738362.7416 | 1267904.4526
82 | 2738384.6958 | 1267819.473
83 | 2738399.977 | 1267874.9908
84 | 2738395.5376 | 1267877.372
85 | 2738367.3164 | 1267921.3094

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1