## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-13_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4566-13_0_3_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_4566-13_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_4566-13_0_3_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_4566-13_0_3_node_59 | 0.4 | n |  | TRUE
7 | bus_LV_4566-13_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4566-13_0_3_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_4566-13_0_3_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_4566-13_0_3_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_4566-13_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4566-13_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_4566-13_0_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_4566-13_0_3_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_4566-13_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_4566-13_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_4566-13_0_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_4566-13_0_3_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_4566-13_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_4566-13_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_4566-13_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_4566-13_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_4566-13_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_4566-13_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_4566-13_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4566-13_0_3_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_4566-13_0_3_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_4566-13_0_3_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_4566-13_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_4566-13_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4566-13_0_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_4566-13_0_3_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_4566-13_0_3_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_4566-13_0_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_4566-13_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4566-13_0_3_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_4566-13_0_3_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_4566-13_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4566-13_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_4566-13_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_4566-13_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4566-13_0_3_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_4566-13_0_3_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_4566-13_0_3_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_4566-13_0_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_4566-13_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_4566-13_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4566-13_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_4566-13_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_4566-13_0_3_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_4566-13_0_3_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_4566-13_0_3_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_4566-13_0_3_node_23 | 0.4 | n |  | TRUE
54 | bus_LV_4566-13_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_4566-13_0_3_node_21 | 0.4 | n |  | TRUE
56 | bus_LV_4566-13_0_3_node_25 | 0.4 | n |  | TRUE
57 | bus_LV_4566-13_0_3_node_26 | 0.4 | n |  | TRUE
58 | bus_LV_4566-13_0_3_node_28 | 0.4 | n |  | TRUE
59 | bus_LV_4566-13_0_3_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_4566-13_0_3_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_4566-13_0_3_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_4566-13_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_4566-13_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_4566-13_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_4566-13_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_MV_374_1_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-13_0_3_load_0 | 0 | 0.0059009 | 0.0014789 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-13_0_3_load_59 | 6 | 0.015613 | 0.0039129 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-13_0_3_load_64 | 10 | 0.0098093 | 0.0024584 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-13_0_3_load_24 | 13 | 0.011201 | 0.0028072 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-13_0_3_load_63 | 14 | 0.016791 | 0.0042083 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-13_0_3_load_33 | 17 | 0.018893 | 0.0047351 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-13_0_3_load_49 | 18 | 0.015056 | 0.0037733 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-13_0_3_load_41 | 19 | 0.0069305 | 0.0017369 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-13_0_3_load_31 | 23 | 0.035251 | 0.0088348 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-13_0_3_load_54 | 24 | 0.01977 | 0.0049549 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-13_0_3_load_43 | 26 | 0.007742 | 0.0019403 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-13_0_3_load_42 | 27 | 0.0019276 | 0.00048309 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-13_0_3_load_55 | 28 | 0.0074699 | 0.0018721 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-13_0_3_load_40 | 29 | 0.018822 | 0.0047172 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-13_0_3_load_44 | 32 | 0.012623 | 0.0031636 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-13_0_3_load_65 | 33 | 0.0077811 | 0.0019501 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-13_0_3_load_57 | 37 | 0.020236 | 0.0050715 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-13_0_3_load_32 | 39 | 0.011309 | 0.0028344 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-13_0_3_load_53 | 44 | 0.0059014 | 0.001479 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-13_0_3_load_51 | 45 | 0.014829 | 0.0037165 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-13_0_3_load_34 | 47 | 0.0077845 | 0.001951 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-13_0_3_load_67 | 51 | 0.0084361 | 0.0021143 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-13_0_3_load_27 | 52 | 0.011309 | 0.0028342 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-13_0_3_load_58 | 54 | 0.015281 | 0.0038298 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-13_0_3_load_21 | 55 | 0.012041 | 0.0030178 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-13_0_3_load_25 | 56 | 0.035557 | 0.0089114 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-13_0_3_load_26 | 57 | 0.011304 | 0.0028331 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-13_0_3_load_28 | 58 | 0.012044 | 0.0030184 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-13_0_3_load_39 | 59 | 0.0042243 | 0.0010587 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-13_0_3_load_70 | 61 | 0.0042281 | 0.0010597 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-13_0_3_load_60 | 63 | 0.014798 | 0.0037088 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-13_0_3_load_62 | 64 | 0.005454 | 0.0013669 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-13_0_3_load_69 | 65 | 0.0042676 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-13_0_3_line_0 |  | 0 | 1 | 0.02612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-13_0_3_line_1 |  | 1 | 2 | 0.049578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4566-13_0_3_line_2 |  | 1 | 3 | 0.086475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4566-13_0_3_line_3 |  | 1 | 4 | 0.043172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_4566-13_0_3_line_4 |  | 2 | 13 | 0.0082582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4566-13_0_3_line_5 |  | 3 | 24 | 0.01598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-13_0_3_line_6 |  | 3 | 25 | 0.025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4566-13_0_3_line_7 |  | 4 | 28 | 0.00349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-13_0_3_line_8 |  | 4 | 12 | 0.02106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4566-13_0_3_line_9 |  | 5 | 6 | 0.027511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4566-13_0_3_line_10 |  | 5 | 7 | 0.16656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4566-13_0_3_line_11 |  | 5 | 8 | 0.033296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4566-13_0_3_line_12 |  | 7 | 19 | 0.0084881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4566-13_0_3_line_13 |  | 8 | 37 | 0.020085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-13_0_3_line_14 |  | 8 | 36 | 0.030785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_4566-13_0_3_line_15 |  | 9 | 10 | 0.004807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-13_0_3_line_16 |  | 9 | 11 | 0.015029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-13_0_3_line_17 |  | 9 | 12 | 0.05716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4566-13_0_3_line_18 |  | 11 | 14 | 0.008331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-13_0_3_line_19 |  | 12 | 26 | 0.000871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-13_0_3_line_20 |  | 12 | 27 | 0.034992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-13_0_3_line_21 |  | 13 | 38 | 0.028408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4566-13_0_3_line_22 |  | 15 | 16 | 0.060928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4566-13_0_3_line_23 |  | 15 | 17 | 0.019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4566-13_0_3_line_24 |  | 16 | 18 | 0.0029494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4566-13_0_3_line_25 |  | 17 | 22 | 0.018826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4566-13_0_3_line_26 |  | 18 | 35 | 0.020539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4566-13_0_3_line_27 |  | 19 | 20 | 0.014729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4566-13_0_3_line_28 |  | 20 | 21 | 0.097681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4566-13_0_3_line_29 |  | 21 | 33 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-13_0_3_line_30 |  | 21 | 34 | 0.026175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-13_0_3_line_31 |  | 22 | 23 | 0.027469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4566-13_0_3_line_32 |  | 23 | 41 | 0.0087469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4566-13_0_3_line_33 |  | 25 | 29 | 0.052335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4566-13_0_3_line_34 |  | 30 | 31 | 0.047078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-13_0_3_line_35 |  | 30 | 32 | 0.078693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-13_0_3_line_36 |  | 31 | 45 | 0.019725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-13_0_3_line_37 |  | 31 | 46 | 0.043801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-13_0_3_line_38 |  | 31 | 42 | 0.062478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-13_0_3_line_39 |  | 34 | 50 | 0.028314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-13_0_3_line_40 |  | 34 | 51 | 0.021129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-13_0_3_line_41 |  | 35 | 36 | 0.031996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4566-13_0_3_line_42 |  | 36 | 54 | 0.026782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-13_0_3_line_43 |  | 38 | 56 | 0.0088013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_4566-13_0_3_line_44 |  | 38 | 55 | 0.019293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-13_0_3_line_45 |  | 39 | 40 | 0.002755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-13_0_3_line_46 |  | 40 | 58 | 0.019877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-13_0_3_line_47 |  | 41 | 58 | 0.01899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-13_0_3_line_48 |  | 41 | 56 | 0.028465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4566-13_0_3_line_49 |  | 42 | 43 | 0.034395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-13_0_3_line_50 |  | 42 | 44 | 0.015819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-13_0_3_line_51 |  | 43 | 62 | 0.031911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-13_0_3_line_52 |  | 43 | 64 | 0.016415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-13_0_3_line_53 |  | 46 | 63 | 0.020059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-13_0_3_line_54 |  | 47 | 48 | 0.010863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-13_0_3_line_55 |  | 48 | 49 | 0.1109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-13_0_3_line_56 |  | 49 | 59 | 0.070169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-13_0_3_line_57 |  | 50 | 65 | 0.015531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-13_0_3_line_58 |  | 50 | 62 | 0.032986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-13_0_3_line_59 |  | 51 | 60 | 0.15677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-13_0_3_line_60 |  | 52 | 53 | 0.033224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-13_0_3_line_61 |  | 53 | 57 | 0.0037965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-13_0_3_line_62 |  | 53 | 55 | 0.019946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-13_0_3_line_63 |  | 59 | 60 | 0.012856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-13_0_3_line_64 |  | 61 | 62 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-13_0_3_trafo_59 | 0.63 MVA 20/0.4 kV | 66 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2710857.6741 | 1269255.6269 | 2710862.0357 | 1269258.2444 | 2710880.07 | 1269269.0685
1 | 2710857.6741 | 1269255.6269 | 2710853.4148 | 1269260.3845 | 2710881.9024 | 1269276.9114 | 2710890.7623 | 1269282.0822
2 | 2710786.8817 | 1269266.9424 | 2710789.4754 | 1269269.1151 | 2710796.211 | 1269272.778 | 2710806.7653 | 1269276.7016 | 2710812.2243 | 1269276.9931 | 2710816.4645 | 1269279.6639 | 2710819.7908 | 1269277.2908 | 2710831.3839 | 1269266.3765 | 2710842.9363 | 1269255.6282 | 2710848.0974 | 1269258.1606 | 2710853.4148 | 1269260.3845 | 2710857.6741 | 1269255.6269
3 | 2710854.3091 | 1269235.6129 | 2710854.223 | 1269236.5899 | 2710854.2329 | 1269239.6706 | 2710855.312 | 1269243.1272 | 2710842.9363 | 1269255.6282 | 2710848.0974 | 1269258.1606 | 2710853.4148 | 1269260.3845 | 2710857.6741 | 1269255.6269
4 | 2710890.7623 | 1269282.0822 | 2710897.8923 | 1269286.2488
5 | 2710797.1973 | 1269254.7139 | 2710786.8817 | 1269266.9424
6 | 2710767.6403 | 1269249.8332 | 2710770.6677 | 1269252.559 | 2710784.0066 | 1269264.5308 | 2710786.8817 | 1269266.9424
7 | 2710850.8725 | 1269235.0368 | 2710852.4901 | 1269235.4786 | 2710854.3091 | 1269235.6129
8 | 2710854.3091 | 1269235.6129 | 2710857.1794 | 1269235.4777 | 2710859.655 | 1269234.312 | 2710861.8197 | 1269232.4733 | 2710863.3939 | 1269230.4121 | 2710863.9128 | 1269228.0309 | 2710864.1776 | 1269225.1555 | 2710864.2348 | 1269224.5116 | 2710863.1883 | 1269222.5235 | 2710861.8715 | 1269221.2978
9 | 2710950.3593 | 1269206.0454 | 2710957.881 | 1269193.9093 | 2710955.6292 | 1269192.3768 | 2710961.2983 | 1269183.4977
10 | 2710820.5808 | 1269104.098 | 2710837.6012 | 1269111.2346 | 2710916.1754 | 1269156.9715 | 2710927.1977 | 1269163.6399 | 2710932.9658 | 1269168.7193 | 2710932.3022 | 1269173.1886 | 2710939.3271 | 1269177.0794 | 2710945.0003 | 1269180.4 | 2710946.8158 | 1269179.5222 | 2710952.7794 | 1269179.4007 | 2710956.4158 | 1269180.5589 | 2710961.2983 | 1269183.4977
11 | 2710990.0025 | 1269200.5184 | 2710964.0595 | 1269185.1621 | 2710961.2983 | 1269183.4977
12 | 2710820.5808 | 1269104.098 | 2710815.9141 | 1269106.9018 | 2710813.0507 | 1269105.8693
13 | 2710990.0025 | 1269200.5184 | 2710979.9504 | 1269217.9227
14 | 2710990.0025 | 1269200.5184 | 2711016.4781 | 1269216.3631
15 | 2710898.98 | 1269195.2268 | 2710896.809 | 1269194.997 | 2710894.4449 | 1269193.8294
16 | 2710909.2615 | 1269186.4343 | 2710909.2009 | 1269187.6565 | 2710907.8614 | 1269190.4449 | 2710906.5052 | 1269192.5212 | 2710904.3296 | 1269194.1374 | 2710901.9174 | 1269195.1263 | 2710898.98 | 1269195.2268
17 | 2710861.8715 | 1269221.2978 | 2710863.1883 | 1269222.5235 | 2710864.2348 | 1269224.5116 | 2710864.1776 | 1269225.1555 | 2710867.4552 | 1269224.5721 | 2710871.412 | 1269224.3016 | 2710873.8593 | 1269225.0482 | 2710884.7242 | 1269215.2435 | 2710891.4011 | 1269209.208 | 2710900.5914 | 1269201.6071 | 2710898.6588 | 1269199.102 | 2710898.98 | 1269195.2268
18 | 2710909.2615 | 1269186.4343 | 2710909.3434 | 1269184.8789 | 2710908.6819 | 1269182.431 | 2710907.5513 | 1269180.9085 | 2710905.5419 | 1269179.6919
19 | 2710861.1429 | 1269220.817 | 2710861.8715 | 1269221.2978
20 | 2710861.8715 | 1269221.2978 | 2710867.084 | 1269212.6769 | 2710869.0202 | 1269209.377 | 2710869.8683 | 1269207.9027 | 2710870.2834 | 1269204.641 | 2710868.8963 | 1269201.9459 | 2710868.2708 | 1269201.5894 | 2710857.5218 | 1269195.5047
21 | 2710922.419 | 1269300.5816 | 2710897.8923 | 1269286.2488
22 | 2711005.8816 | 1269304.7417 | 2711023.3982 | 1269274.6444 | 2711036.528 | 1269252.0824
23 | 2711005.8816 | 1269304.7417 | 2710995.6488 | 1269321.5659
24 | 2711036.528 | 1269252.0824 | 2711033.9116 | 1269250.7209
25 | 2710985.8661 | 1269337.6502 | 2710995.6488 | 1269321.5659
26 | 2711043.9956 | 1269232.828 | 2711033.9116 | 1269250.7209
27 | 2710803.2556 | 1269097.5673 | 2710803.9741 | 1269102.5963 | 2710813.0507 | 1269105.8693
28 | 2710807.5259 | 1269089.418 | 2710790.2166 | 1269083.2325 | 2710783.511 | 1269080.7712 | 2710768.4254 | 1269075.2169 | 2710765.222 | 1269073.8445 | 2710763.163 | 1269078.0763 | 2710770.0323 | 1269080.6406 | 2710800.427 | 1269091.4645 | 2710803.6249 | 1269092.7256 | 2710803.2556 | 1269097.5673
29 | 2710812.9912 | 1269070.9376 | 2710814.038 | 1269071.3132 | 2710809.4635 | 1269084.0385 | 2710808.5029 | 1269086.6895 | 2710807.5259 | 1269089.418
30 | 2710832.1103 | 1269098.5983 | 2710819.8254 | 1269093.8192 | 2710807.5259 | 1269089.418
31 | 2710985.8661 | 1269337.6502 | 2710984.8462 | 1269337.0527 | 2710962.1493 | 1269323.7925
32 | 2710954.5968 | 1269319.3801 | 2710962.1493 | 1269323.7925
33 | 2710767.6403 | 1269249.8332 | 2710787.191 | 1269226.4014 | 2710770.4665 | 1269212.3898
34 | 2710997.7625 | 1269156.103 | 2710985.1037 | 1269187.237 | 2710996.6632 | 1269194.1491
35 | 2710997.7625 | 1269156.103 | 2711005.958 | 1269155.3785 | 2711032.715 | 1269163.0769 | 2711069.4121 | 1269184.7573
36 | 2710996.6632 | 1269194.1491 | 2711003.3988 | 1269181.3977 | 2711008.7185 | 1269181.0974
37 | 2710996.6632 | 1269194.1491 | 2711003.0422 | 1269197.9612 | 2711021.607 | 1269208.9974 | 2711034.4267 | 1269216.5339
38 | 2710943.0102 | 1269162.1355 | 2710985.1037 | 1269187.237 | 2710996.6632 | 1269194.1491
39 | 2710832.1103 | 1269098.5983 | 2710841.8452 | 1269102.8847 | 2710847.2963 | 1269105.6116 | 2710853.6689 | 1269108.9674 | 2710857.4797 | 1269111.2632
40 | 2710838.3745 | 1269079.2655 | 2710839.1592 | 1269079.5694 | 2710834.8059 | 1269091.7317 | 2710833.1603 | 1269095.9935 | 2710832.1103 | 1269098.5983
41 | 2711043.9956 | 1269232.828 | 2711035.9413 | 1269228.0502 | 2711020.1771 | 1269218.5901 | 2711016.4781 | 1269216.3631
42 | 2711003.2544 | 1269237.511 | 2711004.5672 | 1269238.1473 | 2711012.4513 | 1269225.1618 | 2711011.9377 | 1269224.4516 | 2711016.4781 | 1269216.3631
43 | 2710922.419 | 1269300.5816 | 2710930.0185 | 1269305.0213
44 | 2710922.419 | 1269300.5816 | 2710931.9164 | 1269283.7876
45 | 2710974.5677 | 1269286.037 | 2710976.9328 | 1269287.4498
46 | 2710974.5677 | 1269286.037 | 2710964.3544 | 1269303.089
47 | 2710954.5968 | 1269319.3801 | 2710964.3544 | 1269303.089
48 | 2710954.5968 | 1269319.3801 | 2710930.0185 | 1269305.0213
49 | 2710943.0102 | 1269162.1355 | 2710920.6574 | 1269148.7818 | 2710913.3914 | 1269144.4972
50 | 2710949.7227 | 1269148.6052 | 2710950.3566 | 1269148.9174 | 2710945.7929 | 1269157.0499 | 2710944.468 | 1269159.4605 | 2710943.0102 | 1269162.1355
51 | 2710885.8855 | 1269128.1777 | 2710894.9527 | 1269133.5415 | 2710913.3914 | 1269144.4972
52 | 2710920.1154 | 1269132.3572 | 2710921.2861 | 1269132.9464 | 2710918.3993 | 1269138.3636 | 2710917.4017 | 1269137.7777 | 2710916.3984 | 1269139.4937 | 2710914.9136 | 1269142.0014 | 2710913.9196 | 1269143.6286 | 2710913.3914 | 1269144.4972
53 | 2711046.1182 | 1269202.419 | 2711041.0593 | 1269203.258 | 2711040.2513 | 1269206.6013 | 2711034.4267 | 1269216.5339
54 | 2711048.5161 | 1268935.6964 | 2711058.8098 | 1268939.1682
55 | 2710971.6696 | 1268968.1255 | 2710978.9114 | 1268948.8779 | 2710986.3946 | 1268928.8009 | 2710990.8428 | 1268930.4303 | 2710994.3775 | 1268930.1965 | 2710997.7264 | 1268929.0362 | 2711000.6397 | 1268927.0225 | 2711002.9111 | 1268924.3183 | 2711004.7735 | 1268920.9503 | 2711033.0028 | 1268930.4669 | 2711048.5161 | 1268935.6964
56 | 2710971.6696 | 1268968.1255 | 2710936.9934 | 1268955.997 | 2710939.6938 | 1268946.8842 | 2710916.6441 | 1268940.4612
57 | 2710863.8433 | 1269098.2711 | 2710864.7968 | 1269098.8006 | 2710861.451 | 1269104.6096 | 2710860.411 | 1269106.2804 | 2710857.4797 | 1269111.2632
58 | 2710857.4797 | 1269111.2632 | 2710864.9746 | 1269115.7855 | 2710885.8855 | 1269128.1777
59 | 2710838.3745 | 1269079.2655 | 2710904.26 | 1268937.0103
60 | 2710941.7351 | 1269266.4254 | 2710913.2093 | 1269249.3936
61 | 2710941.7351 | 1269266.4254 | 2710944.9945 | 1269268.3723
62 | 2710941.7351 | 1269266.4254 | 2710931.9164 | 1269283.7876
63 | 2710904.26 | 1268937.0103 | 2710916.6441 | 1268940.4612
64 | 2710891.9669 | 1269114.9803 | 2710892.9062 | 1269115.465 | 2710889.5452 | 1269121.6851 | 2710887.0151 | 1269126.1416 | 2710885.8855 | 1269128.1777

## bus_geodata
| x | y | coords
0 | 2710880.07 | 1269269.0685
1 | 2710857.6741 | 1269255.6269
2 | 2710890.7623 | 1269282.0822
3 | 2710786.8817 | 1269266.9424
4 | 2710854.3091 | 1269235.6129
5 | 2710961.2983 | 1269183.4977
6 | 2710950.3593 | 1269206.0454
7 | 2710820.5808 | 1269104.098
8 | 2710990.0025 | 1269200.5184
9 | 2710898.98 | 1269195.2268
10 | 2710894.4449 | 1269193.8294
11 | 2710909.2615 | 1269186.4343
12 | 2710861.8715 | 1269221.2978
13 | 2710897.8923 | 1269286.2488
14 | 2710905.5419 | 1269179.6919
15 | 2711005.8816 | 1269304.7417
16 | 2711036.528 | 1269252.0824
17 | 2710995.6488 | 1269321.5659
18 | 2711033.9116 | 1269250.7209
19 | 2710813.0507 | 1269105.8693
20 | 2710803.2556 | 1269097.5673
21 | 2710807.5259 | 1269089.418
22 | 2710985.8661 | 1269337.6502
23 | 2710962.1493 | 1269323.7925
24 | 2710797.1973 | 1269254.7139
25 | 2710767.6403 | 1269249.8332
26 | 2710861.1429 | 1269220.817
27 | 2710857.5218 | 1269195.5047
28 | 2710850.8725 | 1269235.0368
29 | 2710770.4665 | 1269212.3898
30 | 2710997.7625 | 1269156.103
31 | 2710996.6632 | 1269194.1491
32 | 2711069.4121 | 1269184.7573
33 | 2710812.9912 | 1269070.9376
34 | 2710832.1103 | 1269098.5983
35 | 2711043.9956 | 1269232.828
36 | 2711016.4781 | 1269216.3631
37 | 2710979.9504 | 1269217.9227
38 | 2710922.419 | 1269300.5816
39 | 2710976.9328 | 1269287.4498
40 | 2710974.5677 | 1269286.037
41 | 2710954.5968 | 1269319.3801
42 | 2710943.0102 | 1269162.1355
43 | 2710913.3914 | 1269144.4972
44 | 2710949.7227 | 1269148.6052
45 | 2711008.7185 | 1269181.0974
46 | 2711034.4267 | 1269216.5339
47 | 2711058.8098 | 1268939.1682
48 | 2711048.5161 | 1268935.6964
49 | 2710971.6696 | 1268968.1255
50 | 2710857.4797 | 1269111.2632
51 | 2710838.3745 | 1269079.2655
52 | 2710913.2093 | 1269249.3936
53 | 2710941.7351 | 1269266.4254
54 | 2711003.2544 | 1269237.511
55 | 2710931.9164 | 1269283.7876
56 | 2710930.0185 | 1269305.0213
57 | 2710944.9945 | 1269268.3723
58 | 2710964.3544 | 1269303.089
59 | 2710916.6441 | 1268940.4612
60 | 2710904.26 | 1268937.0103
61 | 2710891.9669 | 1269114.9803
62 | 2710885.8855 | 1269128.1777
63 | 2711046.1182 | 1269202.419
64 | 2710920.1154 | 1269132.3572
65 | 2710863.8433 | 1269098.2711
66 | 2710961.2983 | 1269183.4977

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1