## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-14_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4566-14_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4566-14_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4566-14_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4566-14_0_4_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_4566-14_0_4_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_4566-14_0_4_node_75 | 0.4 | n |  | TRUE
10 | bus_LV_4566-14_0_4_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_4566-14_0_4_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_4566-14_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4566-14_0_4_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_4566-14_0_4_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_4566-14_0_4_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_4566-14_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4566-14_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_4566-14_0_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_4566-14_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4566-14_0_4_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_4566-14_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_4566-14_0_4_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_4566-14_0_4_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_4566-14_0_4_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_4566-14_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_4566-14_0_4_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_4566-14_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_4566-14_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_4566-14_0_4_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_4566-14_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_4566-14_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_4566-14_0_4_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_4566-14_0_4_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_4566-14_0_4_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_4566-14_0_4_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_4566-14_0_4_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_4566-14_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_4566-14_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4566-14_0_4_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_4566-14_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_4566-14_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4566-14_0_4_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_4566-14_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_4566-14_0_4_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_4566-14_0_4_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_4566-14_0_4_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_4566-14_0_4_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_4566-14_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4566-14_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4566-14_0_4_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_4566-14_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_4566-14_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_4566-14_0_4_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_4566-14_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4566-14_0_4_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_4566-14_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_4566-14_0_4_node_26 | 0.4 | n |  | TRUE
58 | bus_LV_4566-14_0_4_node_28 | 0.4 | n |  | TRUE
59 | bus_LV_4566-14_0_4_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_4566-14_0_4_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_4566-14_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4566-14_0_4_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_4566-14_0_4_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_4566-14_0_4_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_4566-14_0_4_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_4566-14_0_4_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_4566-14_0_4_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_4566-14_0_4_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_4566-14_0_4_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_4566-14_0_4_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_4566-14_0_4_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_4566-14_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4566-14_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_4566-14_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_4566-14_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_4566-14_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_4566-14_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_4566-14_0_4_node_48 | 0.4 | n |  | TRUE
79 | bus_LV_4566-14_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_4566-14_0_4_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_4566-14_0_4_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_4566-14_0_4_node_57 | 0.4 | n |  | TRUE
83 | bus_MV_438_1_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-14_0_4_load_0 | 0 | 0.010391 | 0.0026044 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-14_0_4_load_50 | 7 | 0.0015865 | 0.00039762 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-14_0_4_load_56 | 8 | 0.0022807 | 0.0005716 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-14_0_4_load_84 | 10 | 0.0069609 | 0.0017446 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-14_0_4_load_78 | 13 | 0.076076 | 0.019066 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-14_0_4_load_77 | 15 | 0.028085 | 0.0070388 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-14_0_4_load_44 | 17 | 0.0018699 | 0.00046865 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-14_0_4_load_43 | 18 | 0.00062859 | 0.00015754 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-14_0_4_load_46 | 20 | 0.00066983 | 0.00016788 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-14_0_4_load_66 | 22 | 0.0028104 | 0.00070435 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-14_0_4_load_64 | 23 | 0.0019466 | 0.00048787 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-14_0_4_load_53 | 26 | 0.0096047 | 0.0024072 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-14_0_4_load_49 | 27 | 0.009571 | 0.0023987 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-14_0_4_load_81 | 29 | 0.0034724 | 0.00087027 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-14_0_4_load_69 | 33 | 0.0093752 | 0.0023497 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-14_0_4_load_68 | 35 | 0.0098461 | 0.0024677 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-14_0_4_load_83 | 36 | 0.0034586 | 0.0008668 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-14_0_4_load_67 | 39 | 0.0029397 | 0.00073676 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-14_0_4_load_72 | 42 | 0.0070746 | 0.0017731 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-14_0_4_load_54 | 43 | 0.0022387 | 0.00056107 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-14_0_4_load_85 | 45 | 0.0041338 | 0.001036 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-14_0_4_load_86 | 46 | 0.0019812 | 0.00049655 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-14_0_4_load_38 | 48 | 0.0037409 | 0.00093755 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-14_0_4_load_39 | 49 | 0.0055797 | 0.0013984 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-14_0_4_load_47 | 52 | 0.00034664 | 8.6876e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-14_0_4_load_45 | 54 | 0.00045983 | 0.00011524 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-14_0_4_load_62 | 56 | 0.00068806 | 0.00017244 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-14_0_4_load_63 | 59 | 0.0020804 | 0.0005214 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-14_0_4_load_80 | 60 | 0.0096516 | 0.0024189 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-14_0_4_load_42 | 61 | 0.0017981 | 0.00045065 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-14_0_4_load_76 | 64 | 0.0027885 | 0.00069887 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-14_0_4_load_74 | 65 | 0.0027885 | 0.00069887 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-14_0_4_load_41 | 66 | 0.017061 | 0.004276 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-14_0_4_load_40 | 67 | 0.0016503 | 0.00041361 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-14_0_4_load_79 | 68 | 0.026385 | 0.0066126 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-14_0_4_load_51 | 71 | 0.0026593 | 0.00066649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-14_0_4_load_55 | 72 | 0.0023187 | 0.00058113 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-14_0_4_load_65 | 73 | 0.0028484 | 0.00071386 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-14_0_4_load_52 | 74 | 0.0046275 | 0.0011598 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-14_0_4_load_70 | 75 | 0.010296 | 0.0025803 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-14_0_4_load_58 | 76 | 0.0011833 | 0.00029656 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-14_0_4_load_71 | 77 | 0.011679 | 0.0029269 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-14_0_4_load_48 | 78 | 0.00032414 | 8.1237e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-14_0_4_load_61 | 79 | 0.0021896 | 0.00054877 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-14_0_4_load_59 | 80 | 0.0013348 | 0.00033453 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-14_0_4_load_82 | 81 | 0.031487 | 0.0078914 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-14_0_4_load_57 | 82 | 0.00070645 | 0.00017705 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-14_0_4_line_0 |  | 0 | 1 | 0.027088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4566-14_0_4_line_1 |  | 0 | 2 | 0.026776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4566-14_0_4_line_2 |  | 1 | 3 | 0.059155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4566-14_0_4_line_3 |  | 2 | 4 | 0.063767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_4566-14_0_4_line_4 |  | 3 | 8 | 0.014278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-14_0_4_line_5 |  | 4 | 10 | 0.005893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-14_0_4_line_6 |  | 4 | 11 | 0.028709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4566-14_0_4_line_7 |  | 5 | 6 | 0.019926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-14_0_4_line_8 |  | 5 | 7 | 0.028203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-14_0_4_line_9 |  | 6 | 9 | 0.006269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-14_0_4_line_10 |  | 7 | 71 | 0.023335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-14_0_4_line_11 |  | 8 | 72 | 0.018263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-14_0_4_line_12 |  | 9 | 65 | 0.017202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-14_0_4_line_13 |  | 9 | 62 | 0.006209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-14_0_4_line_14 |  | 11 | 70 | 0.014291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-14_0_4_line_15 |  | 11 | 68 | 0.02335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4566-14_0_4_line_16 |  | 12 | 13 | 0.00635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-14_0_4_line_17 |  | 12 | 14 | 0.025743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4566-14_0_4_line_18 |  | 12 | 15 | 0.034063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-14_0_4_line_19 |  | 14 | 68 | 0.007386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4566-14_0_4_line_20 |  | 15 | 62 | 0.0055683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-14_0_4_line_21 |  | 16 | 17 | 0.023185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-14_0_4_line_22 |  | 16 | 18 | 0.013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-14_0_4_line_23 |  | 17 | 19 | 0.024922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-14_0_4_line_24 |  | 18 | 57 | 0.015474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-14_0_4_line_25 |  | 19 | 20 | 0.012725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-14_0_4_line_26 |  | 21 | 22 | 0.022982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-14_0_4_line_27 |  | 21 | 23 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-14_0_4_line_28 |  | 22 | 24 | 0.0063932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-14_0_4_line_29 |  | 23 | 73 | 0.015528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-14_0_4_line_30 |  | 24 | 25 | 0.011447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-14_0_4_line_31 |  | 25 | 26 | 0.02827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-14_0_4_line_32 |  | 25 | 27 | 0.014131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-14_0_4_line_33 |  | 26 | 74 | 0.027354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-14_0_4_line_34 |  | 27 | 50 | 0.03994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-14_0_4_line_35 |  | 28 | 29 | 0.003516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-14_0_4_line_36 |  | 28 | 30 | 0.021487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-14_0_4_line_37 |  | 28 | 31 | 0.029381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-14_0_4_line_38 |  | 30 | 36 | 0.001057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-14_0_4_line_39 |  | 30 | 37 | 0.054951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-14_0_4_line_40 |  | 31 | 38 | 0.043041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-14_0_4_line_41 |  | 31 | 39 | 0.017953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-14_0_4_line_42 |  | 32 | 33 | 0.020737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-14_0_4_line_43 |  | 32 | 34 | 0.002762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-14_0_4_line_44 |  | 32 | 35 | 0.019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-14_0_4_line_45 |  | 33 | 75 | 0.019015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-14_0_4_line_46 |  | 34 | 39 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-14_0_4_line_47 |  | 34 | 76 | 0.0059839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-14_0_4_line_48 |  | 37 | 43 | 0.051697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-14_0_4_line_49 |  | 38 | 49 | 0.0055182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-14_0_4_line_50 |  | 40 | 41 | 0.098092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-14_0_4_line_51 |  | 40 | 42 | 0.01997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-14_0_4_line_52 |  | 41 | 66 | 0.060602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-14_0_4_line_53 |  | 41 | 67 | 0.073237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-14_0_4_line_54 |  | 42 | 69 | 0.0029247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-14_0_4_line_55 |  | 43 | 72 | 0.029985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-14_0_4_line_56 |  | 44 | 45 | 0.003236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-14_0_4_line_57 |  | 44 | 46 | 0.023042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-14_0_4_line_58 |  | 44 | 47 | 0.046918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-14_0_4_line_59 |  | 47 | 48 | 0.015526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-14_0_4_line_60 |  | 48 | 49 | 0.014595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-14_0_4_line_61 |  | 50 | 51 | 0.035202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-14_0_4_line_62 |  | 50 | 52 | 0.0094992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-14_0_4_line_63 |  | 51 | 61 | 0.020801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-14_0_4_line_64 |  | 51 | 57 | 0.017362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-14_0_4_line_65 |  | 52 | 78 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-14_0_4_line_66 |  | 53 | 54 | 0.014138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-14_0_4_line_67 |  | 53 | 55 | 0.024455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-14_0_4_line_68 |  | 53 | 56 | 0.026933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4566-14_0_4_line_69 |  | 54 | 57 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-14_0_4_line_70 |  | 55 | 58 | 0.010103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4566-14_0_4_line_71 |  | 55 | 59 | 0.023279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-14_0_4_line_72 |  | 58 | 60 | 0.12663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-14_0_4_line_73 |  | 63 | 64 | 0.014003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-14_0_4_line_74 |  | 63 | 65 | 0.0078693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-14_0_4_line_75 |  | 69 | 70 | 0.037528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-14_0_4_line_76 |  | 70 | 81 | 0.005596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-14_0_4_line_77 |  | 71 | 74 | 0.030404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-14_0_4_line_78 |  | 75 | 77 | 0.021829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-14_0_4_line_79 |  | 76 | 82 | 0.017373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-14_0_4_line_80 |  | 79 | 80 | 0.018066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-14_0_4_line_81 |  | 80 | 82 | 0.019421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-14_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 83 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2709282.5622 | 1268983.4564 | 2709255.5224 | 1268981.8375
1 | 2709228.7948 | 1268980.2372 | 2709255.5224 | 1268981.8375
2 | 2709282.5622 | 1268983.4564 | 2709315.066 | 1268985.415 | 2709316.1713 | 1268985.4799 | 2709314.8007 | 1268975.3568 | 2709312.9469 | 1268964.4908 | 2709312.219 | 1268960.3071
3 | 2709228.7948 | 1268980.2372 | 2709228.4618 | 1268984.4013 | 2709226.7229 | 1269016.9532 | 2709199.7735 | 1269015.4426
4 | 2709312.219 | 1268960.3071 | 2709297.9416 | 1268960.2095
5 | 2709199.7735 | 1269015.4426 | 2709199.8976 | 1269009.5509
6 | 2709191.1527 | 1269035.9123 | 2709192.0444 | 1269014.966 | 2709199.7735 | 1269015.4426
7 | 2709299.7103 | 1269041.5354 | 2709304.4253 | 1269041.7784 | 2709319.6298 | 1269041.7931
8 | 2709319.6298 | 1269041.7931 | 2709320.176 | 1269053.7581 | 2709320.4068 | 1269066.4957 | 2709320.5136 | 1269069.98
9 | 2709293.4312 | 1269041.2079 | 2709299.7103 | 1269041.5354
10 | 2709320.5136 | 1269069.98 | 2709321.2285 | 1269093.3039
11 | 2709297.9416 | 1268960.2095 | 2709297.9416 | 1268960.2095 | 2709286.42 | 1268962.5095 | 2709279.906 | 1268962.5054
12 | 2709293.4312 | 1269041.2079 | 2709292.4212 | 1269058.3801
13 | 2709293.4312 | 1269041.2079 | 2709287.2123 | 1269040.8815
14 | 2709176.8327 | 1269035.2804 | 2709191.1527 | 1269035.9123
15 | 2709191.1527 | 1269035.9123 | 2709214.4732 | 1269037.0871
16 | 2709247.6355 | 1269038.8033 | 2709247.5782 | 1269045.1522
17 | 2709221.8498 | 1269037.4587 | 2709247.6355 | 1269038.8033
18 | 2709247.6355 | 1269038.8033 | 2709281.6517 | 1269040.5895
19 | 2709221.8498 | 1269037.4587 | 2709214.4732 | 1269037.0871
20 | 2709287.2123 | 1269040.8815 | 2709281.6517 | 1269040.5895
21 | 2709334.9341 | 1269231.086 | 2709337.5149 | 1269231.1338 | 2709338.4561 | 1269231.1179 | 2709352.79 | 1269230.9719 | 2709353.9627 | 1269230.2375 | 2709355.4123 | 1269229.1856 | 2709357.3201 | 1269228.1867
22 | 2709334.9341 | 1269231.086 | 2709334.9018 | 1269244.9139
23 | 2709382.2258 | 1269227.8252 | 2709376.0355 | 1269227.5882 | 2709371.6531 | 1269227.6849 | 2709363.4983 | 1269227.8563 | 2709357.3201 | 1269228.1867
24 | 2709334.8656 | 1269260.3882 | 2709334.9018 | 1269244.9139
25 | 2709382.2258 | 1269227.8252 | 2709382.4902 | 1269240.5472
26 | 2709332.3207 | 1269149.889 | 2709332.5758 | 1269157.656 | 2709333.0774 | 1269165.1163 | 2709334.3965 | 1269172.7362
27 | 2709332.3207 | 1269149.889 | 2709343.2516 | 1269149.5399
28 | 2709335.2728 | 1269179.0691 | 2709334.3965 | 1269172.7362
29 | 2709358.7712 | 1269149.0444 | 2709343.2516 | 1269149.5399
30 | 2709323.8277 | 1269179.2908 | 2709329.0314 | 1269179.1537 | 2709335.2728 | 1269179.0691
31 | 2709323.8277 | 1269179.2908 | 2709323.6181 | 1269173.5375 | 2709322.7974 | 1269151.0398
32 | 2709323.8277 | 1269179.2908 | 2709323.9867 | 1269193.4208
33 | 2709322.0526 | 1269123.6966 | 2709322.5947 | 1269145.4829 | 2709322.7974 | 1269151.0398
34 | 2709324.9567 | 1269233.3478 | 2709324.1236 | 1269205.5859 | 2709323.9867 | 1269193.4208
35 | 2709176.7622 | 1268923.5038 | 2709174.2632 | 1268923.5021 | 2709174.2444 | 1268922.4786
36 | 2709176.7622 | 1268923.5038 | 2709176.4757 | 1268941.4364 | 2709172.9234 | 1268941.4041
37 | 2709176.7622 | 1268923.5038 | 2709178.7414 | 1268923.5293 | 2709178.8563 | 1268914.468 | 2709177.0206 | 1268909.5297 | 2709181.1571 | 1268909.7174 | 2709185.7535 | 1268909.8692 | 2709185.8991 | 1268908.9155 | 2709189.2601 | 1268908.7107
38 | 2709172.9234 | 1268941.4041 | 2709172.9129 | 1268940.3474
39 | 2709172.9234 | 1268941.4041 | 2709172.7926 | 1268949.6978 | 2709172.7304 | 1268953.0662 | 2709179.0663 | 1268953.1723 | 2709177.9551 | 1268960.3469 | 2709176.9801 | 1268966.6677 | 2709181.5732 | 1268965.774 | 2709189.1423 | 1268964.3237 | 2709190.14 | 1268964.0975 | 2709199.729 | 1268961.6949
40 | 2709147.0569 | 1268909.3983 | 2709171.3647 | 1268909.2806 | 2709177.0206 | 1268909.5297 | 2709181.1571 | 1268909.7174 | 2709185.7535 | 1268909.8692 | 2709185.8991 | 1268908.9155 | 2709189.2601 | 1268908.7107
41 | 2709189.2601 | 1268908.7107 | 2709207.1788 | 1268907.5998
42 | 2709218.3021 | 1268904.1435 | 2709224.0514 | 1268903.8162 | 2709238.9854 | 1268902.6606
43 | 2709218.4091 | 1268906.9035 | 2709218.3021 | 1268904.1435
44 | 2709218.3021 | 1268904.1435 | 2709217.5686 | 1268884.7323
45 | 2709238.9854 | 1268902.6606 | 2709248.6407 | 1268901.9136 | 2709257.949 | 1268901.2647
46 | 2709218.4091 | 1268906.9035 | 2709207.1788 | 1268907.5998
47 | 2709218.4091 | 1268906.9035 | 2709224.3815 | 1268906.5339
48 | 2709199.729 | 1268961.6949 | 2709203.1835 | 1268964.1609 | 2709213.5078 | 1268966.3647 | 2709242.6788 | 1268962.1336 | 2709250.0805 | 1268961.6253
49 | 2709147.0569 | 1268909.3983 | 2709141.5388 | 1268909.4297
50 | 2709076.9459 | 1268990.1629 | 2709076.9462 | 1268991.7754 | 2709075.4119 | 1269000.2656 | 2709081.6404 | 1269000.4808 | 2709094.0541 | 1269002.0335 | 2709152.5746 | 1269003.4267 | 2709151.3192 | 1269013.9237
51 | 2709151.3192 | 1269013.9237 | 2709140.7829 | 1269030.8886
52 | 2709076.9459 | 1268990.1629 | 2709077.0388 | 1268963.5414 | 2709077.554 | 1268961.3267 | 2709078.577 | 1268959.7331 | 2709080.018 | 1268959.1481 | 2709082.0641 | 1268958.8078 | 2709108.2468 | 1268958.9255
53 | 2709076.9459 | 1268990.1629 | 2709136.5381 | 1268990.597 | 2709138.6447 | 1268989.8353 | 2709139.8129 | 1268988.5335 | 2709140.3291 | 1268986.2633 | 2709140.3602 | 1268978.938
54 | 2709139.2399 | 1269033.3731 | 2709140.7829 | 1269030.8886
55 | 2709250.0805 | 1268961.6253 | 2709259.7722 | 1268960.9598 | 2709268.385 | 1268962.4982 | 2709279.906 | 1268962.5054
56 | 2709103.7034 | 1268951.5566 | 2709103.7331 | 1268948.321
57 | 2709103.7034 | 1268951.5566 | 2709085.8598 | 1268951.3714 | 2709085.5803 | 1268946.1283
58 | 2709103.7034 | 1268951.5566 | 2709115.5227 | 1268951.4748 | 2709115.9108 | 1268934.9564 | 2709134.4852 | 1268935.1107
59 | 2709134.4852 | 1268935.1107 | 2709138.1894 | 1268935.068 | 2709139.4955 | 1268934.0468 | 2709140.1102 | 1268932.1453 | 2709140.6227 | 1268923.9959
60 | 2709140.6227 | 1268923.9959 | 2709141.5388 | 1268909.4297 | 2709141.5388 | 1268909.4297
61 | 2709325.7803 | 1269268.5383 | 2709325.5203 | 1269252.0969 | 2709324.9567 | 1269233.3478
62 | 2709324.9567 | 1269233.3478 | 2709315.5056 | 1269232.3937
63 | 2709325.7803 | 1269268.5383 | 2709304.9797 | 1269268.4246
64 | 2709325.7803 | 1269268.5383 | 2709330.6426 | 1269268.5393 | 2709330.3538 | 1269260.5604 | 2709334.8656 | 1269260.3882
65 | 2709315.5056 | 1269232.3937 | 2709294.3875 | 1269230.2617
66 | 2709335.1414 | 1269292.2322 | 2709335.0189 | 1269278.0952
67 | 2709326.0155 | 1269307.0429 | 2709331.4441 | 1269307.3548 | 2709331.2961 | 1269292.1832 | 2709335.1414 | 1269292.2322
68 | 2709335.1414 | 1269292.2322 | 2709335.796 | 1269319.1576
69 | 2709334.8656 | 1269260.3882 | 2709335.0189 | 1269278.0952
70 | 2709326.0155 | 1269307.0429 | 2709325.4674 | 1269317.1305
71 | 2709326.0155 | 1269307.0429 | 2709302.7847 | 1269305.5463
72 | 2709198.8373 | 1269307.3468 | 2709325.4674 | 1269317.1305
73 | 2709291.9592 | 1269066.2358 | 2709298.0955 | 1269066.5496 | 2709298.6017 | 1269058.7074
74 | 2709291.9592 | 1269066.2358 | 2709292.4212 | 1269058.3801
75 | 2709139.2399 | 1269033.3731 | 2709176.8327 | 1269035.2804
76 | 2709176.8327 | 1269035.2804 | 2709176.5487 | 1269040.8689
77 | 2709321.2285 | 1269093.3039 | 2709321.5892 | 1269105.0735 | 2709322.0526 | 1269123.6966
78 | 2709257.949 | 1268901.2647 | 2709269.3148 | 1268900.4724 | 2709279.7257 | 1268899.757
79 | 2709241.7214 | 1268905.4612 | 2709224.3815 | 1268906.5339
80 | 2709279.1374 | 1268903.1463 | 2709261.1057 | 1268904.2619
81 | 2709241.7214 | 1268905.4612 | 2709261.1057 | 1268904.2619

## bus_geodata
| x | y | coords
0 | 2709255.5224 | 1268981.8375
1 | 2709282.5622 | 1268983.4564
2 | 2709228.7948 | 1268980.2372
3 | 2709312.219 | 1268960.3071
4 | 2709199.7735 | 1269015.4426
5 | 2709319.6298 | 1269041.7931
6 | 2709299.7103 | 1269041.5354
7 | 2709320.5136 | 1269069.98
8 | 2709297.9416 | 1268960.2095
9 | 2709293.4312 | 1269041.2079
10 | 2709199.8976 | 1269009.5509
11 | 2709191.1527 | 1269035.9123
12 | 2709247.6355 | 1269038.8033
13 | 2709247.5782 | 1269045.1522
14 | 2709221.8498 | 1269037.4588
15 | 2709281.6517 | 1269040.5895
16 | 2709334.9341 | 1269231.086
17 | 2709357.3201 | 1269228.1867
18 | 2709334.9018 | 1269244.9139
19 | 2709382.2258 | 1269227.8252
20 | 2709382.4902 | 1269240.5472
21 | 2709332.3207 | 1269149.889
22 | 2709334.3965 | 1269172.7362
23 | 2709343.2516 | 1269149.5399
24 | 2709335.2728 | 1269179.0691
25 | 2709323.8277 | 1269179.2908
26 | 2709322.7974 | 1269151.0398
27 | 2709323.9867 | 1269193.4208
28 | 2709176.7622 | 1268923.5038
29 | 2709174.2444 | 1268922.4786
30 | 2709172.9234 | 1268941.4041
31 | 2709189.2601 | 1268908.7107
32 | 2709218.3021 | 1268904.1435
33 | 2709238.9854 | 1268902.6606
34 | 2709218.4091 | 1268906.9035
35 | 2709217.5686 | 1268884.7323
36 | 2709172.9129 | 1268940.3474
37 | 2709199.729 | 1268961.6949
38 | 2709147.0569 | 1268909.3983
39 | 2709207.1788 | 1268907.5998
40 | 2709151.3192 | 1269013.9237
41 | 2709076.9459 | 1268990.1629
42 | 2709140.7829 | 1269030.8886
43 | 2709250.0805 | 1268961.6253
44 | 2709103.7034 | 1268951.5566
45 | 2709103.7331 | 1268948.321
46 | 2709085.5803 | 1268946.1283
47 | 2709134.4852 | 1268935.1107
48 | 2709140.6227 | 1268923.9959
49 | 2709141.5388 | 1268909.4297
50 | 2709324.9567 | 1269233.3478
51 | 2709325.7803 | 1269268.5383
52 | 2709315.5056 | 1269232.3937
53 | 2709335.1414 | 1269292.2322
54 | 2709335.0189 | 1269278.0952
55 | 2709326.0155 | 1269307.0429
56 | 2709335.796 | 1269319.1576
57 | 2709334.8656 | 1269260.3882
58 | 2709325.4674 | 1269317.1305
59 | 2709302.7847 | 1269305.5463
60 | 2709198.8373 | 1269307.3468
61 | 2709304.9797 | 1269268.4246
62 | 2709287.2123 | 1269040.8815
63 | 2709291.9592 | 1269066.2358
64 | 2709298.6017 | 1269058.7074
65 | 2709292.4212 | 1269058.3801
66 | 2709108.2468 | 1268958.9255
67 | 2709140.3602 | 1268978.938
68 | 2709214.4732 | 1269037.0871
69 | 2709139.2399 | 1269033.3731
70 | 2709176.8327 | 1269035.2804
71 | 2709321.2285 | 1269093.3039
72 | 2709279.906 | 1268962.5054
73 | 2709358.7712 | 1269149.0444
74 | 2709322.0526 | 1269123.6966
75 | 2709257.949 | 1268901.2647
76 | 2709224.3815 | 1268906.5339
77 | 2709279.7257 | 1268899.757
78 | 2709294.3875 | 1269230.2617
79 | 2709279.1374 | 1268903.1463
80 | 2709261.1057 | 1268904.2619
81 | 2709176.5487 | 1269040.8689
82 | 2709241.7214 | 1268905.4612
83 | 2709216.1913 | 1269053.2235

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1