## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-15_1_4_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_4566-15_1_4_node_40 | 0.4 | n |  | TRUE
2 | bus_LV_4566-15_1_4_node_128 | 0.4 | n |  | TRUE
3 | bus_LV_4566-15_1_4_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_4566-15_1_4_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_4566-15_1_4_node_120 | 0.4 | n |  | TRUE
6 | bus_LV_4566-15_1_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_4566-15_1_4_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_4566-15_1_4_node_138 | 0.4 | n |  | TRUE
9 | bus_LV_4566-15_1_4_node_145 | 0.4 | n |  | TRUE
10 | bus_LV_4566-15_1_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_4566-15_1_4_node_84 | 0.4 | n |  | TRUE
12 | bus_LV_4566-15_1_4_node_85 | 0.4 | n |  | TRUE
13 | bus_LV_4566-15_1_4_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_4566-15_1_4_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_4566-15_1_4_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_4566-15_1_4_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_4566-15_1_4_node_160 | 0.4 | n |  | TRUE
18 | bus_LV_4566-15_1_4_node_157 | 0.4 | n |  | TRUE
19 | bus_LV_4566-15_1_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_4566-15_1_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_4566-15_1_4_node_163 | 0.4 | n |  | TRUE
22 | bus_LV_4566-15_1_4_node_161 | 0.4 | n |  | TRUE
23 | bus_LV_4566-15_1_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_4566-15_1_4_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_4566-15_1_4_node_133 | 0.4 | n |  | TRUE
26 | bus_LV_4566-15_1_4_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_4566-15_1_4_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_4566-15_1_4_node_131 | 0.4 | n |  | TRUE
29 | bus_LV_4566-15_1_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_4566-15_1_4_node_140 | 0.4 | n |  | TRUE
31 | bus_LV_4566-15_1_4_node_132 | 0.4 | n |  | TRUE
32 | bus_LV_4566-15_1_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_4566-15_1_4_node_162 | 0.4 | n |  | TRUE
34 | bus_LV_4566-15_1_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_4566-15_1_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_4566-15_1_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_4566-15_1_4_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_4566-15_1_4_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_4566-15_1_4_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_4566-15_1_4_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_4566-15_1_4_node_129 | 0.4 | n |  | TRUE
42 | bus_LV_4566-15_1_4_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_4566-15_1_4_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_4566-15_1_4_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_4566-15_1_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_4566-15_1_4_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_4566-15_1_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_4566-15_1_4_node_139 | 0.4 | n |  | TRUE
49 | bus_LV_4566-15_1_4_node_137 | 0.4 | n |  | TRUE
50 | bus_LV_4566-15_1_4_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_4566-15_1_4_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_4566-15_1_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_4566-15_1_4_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_4566-15_1_4_node_126 | 0.4 | n |  | TRUE
55 | bus_LV_4566-15_1_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_4566-15_1_4_node_154 | 0.4 | n |  | TRUE
57 | bus_LV_4566-15_1_4_node_153 | 0.4 | n |  | TRUE
58 | bus_LV_4566-15_1_4_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_4566-15_1_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_4566-15_1_4_node_125 | 0.4 | n |  | TRUE
61 | bus_LV_4566-15_1_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_4566-15_1_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_4566-15_1_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_4566-15_1_4_node_136 | 0.4 | n |  | TRUE
65 | bus_LV_4566-15_1_4_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_4566-15_1_4_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_4566-15_1_4_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_4566-15_1_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_4566-15_1_4_node_118 | 0.4 | n |  | TRUE
70 | bus_LV_4566-15_1_4_node_117 | 0.4 | n |  | TRUE
71 | bus_LV_4566-15_1_4_node_100 | 0.4 | n |  | TRUE
72 | bus_LV_4566-15_1_4_node_98 | 0.4 | n |  | TRUE
73 | bus_LV_4566-15_1_4_node_110 | 0.4 | n |  | TRUE
74 | bus_LV_4566-15_1_4_node_101 | 0.4 | n |  | TRUE
75 | bus_LV_4566-15_1_4_node_114 | 0.4 | n |  | TRUE
76 | bus_LV_4566-15_1_4_node_111 | 0.4 | n |  | TRUE
77 | bus_LV_4566-15_1_4_node_123 | 0.4 | n |  | TRUE
78 | bus_LV_4566-15_1_4_node_122 | 0.4 | n |  | TRUE
79 | bus_LV_4566-15_1_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_4566-15_1_4_node_134 | 0.4 | n |  | TRUE
81 | bus_LV_4566-15_1_4_node_169 | 0.4 | n |  | TRUE
82 | bus_LV_4566-15_1_4_node_146 | 0.4 | n |  | TRUE
83 | bus_LV_4566-15_1_4_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_4566-15_1_4_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_4566-15_1_4_node_151 | 0.4 | n |  | TRUE
86 | bus_LV_4566-15_1_4_node_149 | 0.4 | n |  | TRUE
87 | bus_LV_4566-15_1_4_node_155 | 0.4 | n |  | TRUE
88 | bus_LV_4566-15_1_4_node_148 | 0.4 | n |  | TRUE
89 | bus_LV_4566-15_1_4_node_124 | 0.4 | n |  | TRUE
90 | bus_LV_4566-15_1_4_node_104 | 0.4 | n |  | TRUE
91 | bus_LV_4566-15_1_4_node_121 | 0.4 | n |  | TRUE
92 | bus_LV_4566-15_1_4_node_115 | 0.4 | n |  | TRUE
93 | bus_LV_4566-15_1_4_node_168 | 0.4 | n |  | TRUE
94 | bus_LV_4566-15_1_4_node_172 | 0.4 | n |  | TRUE
95 | bus_LV_4566-15_1_4_node_150 | 0.4 | n |  | TRUE
96 | bus_LV_4566-15_1_4_node_147 | 0.4 | n |  | TRUE
97 | bus_LV_4566-15_1_4_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_4566-15_1_4_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_4566-15_1_4_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_4566-15_1_4_node_116 | 0.4 | n |  | TRUE
101 | bus_LV_4566-15_1_4_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_4566-15_1_4_node_109 | 0.4 | n |  | TRUE
103 | bus_LV_4566-15_1_4_node_105 | 0.4 | n |  | TRUE
104 | bus_LV_4566-15_1_4_node_107 | 0.4 | n |  | TRUE
105 | bus_LV_4566-15_1_4_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_4566-15_1_4_node_108 | 0.4 | n |  | TRUE
107 | bus_LV_4566-15_1_4_node_97 | 0.4 | n |  | TRUE
108 | bus_LV_4566-15_1_4_node_99 | 0.4 | n |  | TRUE
109 | bus_LV_4566-15_1_4_node_113 | 0.4 | n |  | TRUE
110 | bus_LV_4566-15_1_4_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_4566-15_1_4_node_102 | 0.4 | n |  | TRUE
112 | bus_LV_4566-15_1_4_node_170 | 0.4 | n |  | TRUE
113 | bus_LV_4566-15_1_4_node_130 | 0.4 | n |  | TRUE
114 | bus_LV_4566-15_1_4_node_135 | 0.4 | n |  | TRUE
115 | bus_LV_4566-15_1_4_node_152 | 0.4 | n |  | TRUE
116 | bus_MV_438_1_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-15_1_4_load_128 | 2 | 0.00098377 | 0.00024656 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-15_1_4_load_120 | 5 | 0.011107 | 0.0027836 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-15_1_4_load_138 | 8 | 0.0058199 | 0.0014586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-15_1_4_load_145 | 9 | 0.0054068 | 0.0013551 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-15_1_4_load_84 | 11 | 0.0028618 | 0.00071722 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-15_1_4_load_85 | 12 | 0.01042 | 0.0026115 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-15_1_4_load_82 | 13 | 0.0015349 | 0.00038469 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-15_1_4_load_55 | 14 | 0.0006951 | 0.00017421 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-15_1_4_load_53 | 15 | 0.0058758 | 0.0014726 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-15_1_4_load_160 | 17 | 0.010467 | 0.0026232 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-15_1_4_load_157 | 18 | 0.0021631 | 0.00054214 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-15_1_4_load_161 | 22 | 0.0032089 | 0.00080422 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-15_1_4_load_81 | 24 | 0.0034022 | 0.00085268 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-15_1_4_load_133 | 25 | 0.0034077 | 0.00085406 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-15_1_4_load_131 | 28 | 0.0013677 | 0.00034277 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-15_1_4_load_140 | 30 | 0.0069549 | 0.0017431 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-15_1_4_load_132 | 31 | 0.0035543 | 0.00089078 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-15_1_4_load_162 | 33 | 0.00027173 | 6.8102e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-15_1_4_load_74 | 37 | 0.0053989 | 0.0013531 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-15_1_4_load_79 | 39 | 0.038354 | 0.0096125 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-15_1_4_load_70 | 40 | 0.00062444 | 0.0001565 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-15_1_4_load_129 | 41 | 0.0021632 | 0.00054214 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-15_1_4_load_139 | 48 | 0.0087892 | 0.0022028 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-15_1_4_load_137 | 49 | 0.0055449 | 0.0013897 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-15_1_4_load_71 | 50 | 0.0034672 | 0.00086896 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-15_1_4_load_126 | 54 | 0.0081176 | 0.0020345 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-15_1_4_load_153 | 57 | 0.0074482 | 0.0018667 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-15_1_4_load_78 | 58 | 0.0065593 | 0.0016439 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-15_1_4_load_125 | 60 | 0.0054886 | 0.0013756 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-15_1_4_load_136 | 64 | 0.0013571 | 0.00034011 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-15_1_4_load_77 | 65 | 0.0080562 | 0.0020191 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-15_1_4_load_119 | 67 | 0.018431 | 0.0046191 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-15_1_4_load_83 | 68 | 0.0051499 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-15_1_4_load_118 | 69 | 0.018419 | 0.0046163 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-15_1_4_load_117 | 70 | 0.0084246 | 0.0021114 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-15_1_4_load_100 | 71 | 0.0050338 | 0.0012616 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-15_1_4_load_98 | 72 | 0.0026857 | 0.00067311 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-15_1_4_load_110 | 73 | 0.0020043 | 0.00050231 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-15_1_4_load_114 | 75 | 0.0040914 | 0.0010254 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-15_1_4_load_123 | 77 | 0.0011946 | 0.00029941 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-15_1_4_load_122 | 78 | 0.0013086 | 0.00032796 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-15_1_4_load_80 | 79 | 0.0099687 | 0.0024984 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-15_1_4_load_134 | 80 | 0.0037904 | 0.00094996 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-15_1_4_load_169 | 81 | 0.00034115 | 8.5501e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-15_1_4_load_146 | 82 | 0.0016035 | 0.00040187 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-15_1_4_load_91 | 83 | 0.0074875 | 0.0018765 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-15_1_4_load_149 | 86 | 0.0049033 | 0.0012289 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-15_1_4_load_155 | 87 | 0.0065595 | 0.001644 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-15_1_4_load_104 | 90 | 0.0029464 | 0.00073843 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-15_1_4_load_121 | 91 | 0.00096186 | 0.00024107 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-15_1_4_load_115 | 92 | 0.00090802 | 0.00022757 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-15_1_4_load_168 | 93 | 0.0015183 | 0.00038053 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-15_1_4_load_172 | 94 | 0.0061317 | 0.0015368 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-15_1_4_load_95 | 99 | 0.0072279 | 0.0018115 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-15_1_4_load_116 | 100 | 0.0028548 | 0.00071549 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-15_1_4_load_105 | 103 | 0.0068195 | 0.0017091 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-15_1_4_load_107 | 104 | 0.0021976 | 0.00055078 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-15_1_4_load_103 | 105 | 0.0020055 | 0.00050263 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-15_1_4_load_108 | 106 | 0.0020602 | 0.00051633 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-15_1_4_load_97 | 107 | 0.0021658 | 0.00054279 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-15_1_4_load_99 | 108 | 0.0034301 | 0.00085966 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-15_1_4_load_113 | 109 | 0.0015182 | 0.00038051 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-15_1_4_load_112 | 110 | 0.0021117 | 0.00052924 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-15_1_4_load_102 | 111 | 0.0012827 | 0.00032148 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-15_1_4_load_170 | 112 | 0.0052722 | 0.0013213 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-15_1_4_load_130 | 113 | 0.0041796 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-15_1_4_load_152 | 115 | 0.0066632 | 0.00167 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-15_1_4_line_0 |  | 0 | 1 | 0.026159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-15_1_4_line_1 |  | 0 | 2 | 0.013699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-15_1_4_line_2 |  | 1 | 40 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-15_1_4_line_3 |  | 1 | 19 | 0.035142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-15_1_4_line_4 |  | 2 | 41 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-15_1_4_line_5 |  | 3 | 4 | 0.005543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-15_1_4_line_6 |  | 3 | 5 | 0.004991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-15_1_4_line_7 |  | 4 | 12 | 0.045481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-15_1_4_line_8 |  | 4 | 46 | 0.019464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-15_1_4_line_9 |  | 5 | 67 | 0.055366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-15_1_4_line_10 |  | 6 | 7 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-15_1_4_line_11 |  | 6 | 8 | 0.0099128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-15_1_4_line_12 |  | 6 | 9 | 0.048448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-15_1_4_line_13 |  | 7 | 14 | 0.016342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-15_1_4_line_14 |  | 7 | 15 | 0.015704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-15_1_4_line_15 |  | 8 | 49 | 0.017543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-15_1_4_line_16 |  | 10 | 11 | 0.019588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-15_1_4_line_17 |  | 10 | 12 | 0.020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-15_1_4_line_18 |  | 10 | 13 | 0.022409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-15_1_4_line_19 |  | 13 | 68 | 0.004796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-15_1_4_line_20 |  | 14 | 40 | 0.024293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-15_1_4_line_21 |  | 16 | 17 | 0.0076312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-15_1_4_line_22 |  | 16 | 18 | 0.0069474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-15_1_4_line_23 |  | 17 | 19 | 0.012078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-15_1_4_line_24 |  | 20 | 21 | 0.043774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-15_1_4_line_25 |  | 20 | 22 | 0.048399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-15_1_4_line_26 |  | 21 | 81 | 0.035102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-15_1_4_line_27 |  | 22 | 33 | 0.080053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-15_1_4_line_28 |  | 23 | 24 | 0.031692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-15_1_4_line_29 |  | 23 | 25 | 0.021713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-15_1_4_line_30 |  | 24 | 64 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-15_1_4_line_31 |  | 25 | 80 | 0.031551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-15_1_4_line_32 |  | 26 | 27 | 0.023388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-15_1_4_line_33 |  | 26 | 28 | 0.01489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-15_1_4_line_34 |  | 27 | 82 | 0.014428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-15_1_4_line_35 |  | 28 | 31 | 0.01402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-15_1_4_line_36 |  | 29 | 30 | 0.008219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-15_1_4_line_37 |  | 29 | 31 | 0.024703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-15_1_4_line_38 |  | 32 | 33 | 0.022865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-15_1_4_line_39 |  | 32 | 34 | 0.35265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-15_1_4_line_40 |  | 34 | 36 | 0.1136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-15_1_4_line_41 |  | 35 | 36 | 0.008068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-15_1_4_line_42 |  | 35 | 37 | 0.055712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-15_1_4_line_43 |  | 36 | 38 | 0.041829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-15_1_4_line_44 |  | 36 | 39 | 0.039788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-15_1_4_line_45 |  | 37 | 63 | 0.057045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-15_1_4_line_46 |  | 38 | 79 | 0.051485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-15_1_4_line_47 |  | 41 | 113 | 0.025452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-15_1_4_line_48 |  | 42 | 43 | 0.004846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4566-15_1_4_line_49 |  | 42 | 44 | 0.031772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4566-15_1_4_line_50 |  | 43 | 89 | 0.005946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-15_1_4_line_51 |  | 43 | 90 | 0.0060797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4566-15_1_4_line_52 |  | 44 | 50 | 0.016099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4566-15_1_4_line_53 |  | 45 | 46 | 0.004582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-15_1_4_line_54 |  | 45 | 47 | 0.015109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-15_1_4_line_55 |  | 46 | 48 | 0.018818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-15_1_4_line_56 |  | 46 | 49 | 0.014025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-15_1_4_line_57 |  | 47 | 50 | 0.018203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4566-15_1_4_line_58 |  | 51 | 52 | 0.011927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4566-15_1_4_line_59 |  | 51 | 53 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4566-15_1_4_line_60 |  | 51 | 54 | 0.023701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-15_1_4_line_61 |  | 52 | 56 | 0.017461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4566-15_1_4_line_62 |  | 52 | 58 | 0.011929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-15_1_4_line_63 |  | 53 | 83 | 0.023352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4566-15_1_4_line_64 |  | 53 | 59 | 0.008951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-15_1_4_line_65 |  | 55 | 56 | 0.007617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4566-15_1_4_line_66 |  | 55 | 57 | 0.016657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4566-15_1_4_line_67 |  | 56 | 87 | 0.014261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4566-15_1_4_line_68 |  | 57 | 88 | 0.015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4566-15_1_4_line_69 |  | 59 | 60 | 0.019039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-15_1_4_line_70 |  | 61 | 62 | 0.05201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4566-15_1_4_line_71 |  | 61 | 63 | 0.073129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-15_1_4_line_72 |  | 61 | 64 | 0.050635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-15_1_4_line_73 |  | 62 | 65 | 0.026514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-15_1_4_line_74 |  | 63 | 66 | 0.024077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-15_1_4_line_75 |  | 66 | 93 | 0.007657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-15_1_4_line_76 |  | 67 | 70 | 0.017816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-15_1_4_line_77 |  | 69 | 70 | 0.026162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-15_1_4_line_78 |  | 71 | 72 | 0.021933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-15_1_4_line_79 |  | 72 | 107 | 4.7807e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-15_1_4_line_80 |  | 73 | 74 | 0.025603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-15_1_4_line_81 |  | 74 | 76 | 0.005575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-15_1_4_line_82 |  | 74 | 106 | 0.014957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-15_1_4_line_83 |  | 74 | 108 | 0.023722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-15_1_4_line_84 |  | 75 | 76 | 0.014598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-15_1_4_line_85 |  | 76 | 109 | 0.033547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-15_1_4_line_86 |  | 76 | 110 | 0.023599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-15_1_4_line_87 |  | 77 | 78 | 0.0036224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4566-15_1_4_line_88 |  | 78 | 109 | 0.0033238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4566-15_1_4_line_89 |  | 80 | 114 | 0.010051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_4566-15_1_4_line_90 |  | 82 | 96 | 0.043583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4566-15_1_4_line_91 |  | 83 | 97 | 0.01913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_4566-15_1_4_line_92 |  | 84 | 85 | 0.00469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_4566-15_1_4_line_93 |  | 84 | 86 | 0.0025046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4566-15_1_4_line_94 |  | 85 | 94 | 0.014529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4566-15_1_4_line_95 |  | 85 | 95 | 0.004884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_4566-15_1_4_line_96 |  | 87 | 114 | 0.0034918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_4566-15_1_4_line_97 |  | 88 | 115 | 0.0077428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_4566-15_1_4_line_98 |  | 88 | 96 | 0.018839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4566-15_1_4_line_99 |  | 89 | 112 | 0.009084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4566-15_1_4_line_100 |  | 90 | 111 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_4566-15_1_4_line_101 |  | 91 | 92 | 0.014282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4566-15_1_4_line_102 |  | 92 | 102 | 0.0132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4566-15_1_4_line_103 |  | 95 | 115 | 0.011521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_4566-15_1_4_line_104 |  | 97 | 98 | 0.00409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_4566-15_1_4_line_105 |  | 97 | 99 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4566-15_1_4_line_106 |  | 98 | 100 | 0.0092496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_4566-15_1_4_line_107 |  | 100 | 102 | 0.026831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_4566-15_1_4_line_108 |  | 101 | 102 | 0.011461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_4566-15_1_4_line_109 |  | 101 | 103 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_4566-15_1_4_line_110 |  | 101 | 104 | 0.040146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4566-15_1_4_line_111 |  | 103 | 105 | 0.0019718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_4566-15_1_4_line_112 |  | 104 | 106 | 0.020435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4566-15_1_4_line_113 |  | 105 | 111 | 0.011622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
114 | LV_4566-15_1_4_line_114 |  | 107 | 108 | 0.020024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-15_1_4_trafo_72 | 0.63 MVA 20/0.4 kV | 116 | 84 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2708750.1418 | 1269044.742 | 2708755.0338 | 1269045.5883 | 2708755.3495 | 1269043.5701 | 2708758.34 | 1269024.6531
1 | 2708758.34 | 1269024.6531 | 2708772.0312 | 1269025.1205
2 | 2708750.1418 | 1269044.742 | 2708752.2577 | 1269031.5417
3 | 2708750.1418 | 1269044.742 | 2708755.0338 | 1269045.5883 | 2708754.8635 | 1269046.6639 | 2708752.4308 | 1269061.0427 | 2708766.913 | 1269061.8545
4 | 2708772.0312 | 1269025.1205 | 2708788.5353 | 1269025.684
5 | 2708778.3273 | 1268919.5184 | 2708779.6886 | 1268924.8926
6 | 2708778.3273 | 1268919.5184 | 2708777.0992 | 1268914.6804
7 | 2708779.6886 | 1268924.8926 | 2708784.4617 | 1268923.2123 | 2708823.7236 | 1268913.6029
8 | 2708779.6886 | 1268924.8926 | 2708777.5174 | 1268926.2983 | 2708774.8714 | 1268928.963 | 2708773.3183 | 1268931.5477 | 2708772.5451 | 1268934.7029 | 2708771.4043 | 1268941.4656
9 | 2708777.0992 | 1268914.6804 | 2708784.6264 | 1268913.0509 | 2708820.5793 | 1268904.3276 | 2708830.897 | 1268901.614
10 | 2708758.6889 | 1268991.4195 | 2708763.5168 | 1268991.6641 | 2708765.1165 | 1268982.4633
11 | 2708765.1165 | 1268982.4633 | 2708766.7121 | 1268972.6798
12 | 2708765.1165 | 1268982.4633 | 2708767.7001 | 1268985.6359 | 2708771.0032 | 1268988.1544 | 2708774.0414 | 1268989.1223 | 2708811.0308 | 1268990.4874
13 | 2708758.6889 | 1268991.4195 | 2708756.1025 | 1269007.555
14 | 2708758.6889 | 1268991.4195 | 2708761.2156 | 1268975.9205
15 | 2708769.5051 | 1268955.3613 | 2708769.3424 | 1268956.5519 | 2708766.7121 | 1268972.6798
16 | 2708843.5765 | 1268908.7439 | 2708862.6031 | 1268904.0885
17 | 2708843.5765 | 1268908.7439 | 2708823.7236 | 1268913.6029
18 | 2708843.5765 | 1268908.7439 | 2708845.0979 | 1268914.8217 | 2708849.0223 | 1268930.481
19 | 2708850.1882 | 1268935.1332 | 2708849.0223 | 1268930.481
20 | 2708756.1025 | 1269007.555 | 2708752.2577 | 1269031.5417
21 | 2708786.5909 | 1269062.9622 | 2708778.9718 | 1269062.5333
22 | 2708786.5909 | 1269062.9622 | 2708787.0244 | 1269057.8212 | 2708788.812 | 1269057.8698
23 | 2708766.913 | 1269061.8545 | 2708778.9718 | 1269062.5333
24 | 2708413.071 | 1269380.4177 | 2708429.3159 | 1269365.9476 | 2708444.7719 | 1269350.1731
25 | 2708444.7719 | 1269350.1731 | 2708462.2464 | 1269305.0392
26 | 2708413.071 | 1269380.4177 | 2708410.7006 | 1269376.7043 | 2708407.4591 | 1269373.2863 | 2708396.623 | 1269366.1924 | 2708388.6929 | 1269355.7823
27 | 2708462.2464 | 1269305.0392 | 2708491.1497 | 1269230.3866
28 | 2708640.5721 | 1269054.8462 | 2708608.8325 | 1269053.0945
29 | 2708640.5721 | 1269054.8462 | 2708643.6329 | 1269033.3505
30 | 2708608.8325 | 1269053.0945 | 2708595.7227 | 1269052.3679
31 | 2708643.6329 | 1269033.3505 | 2708644.4447 | 1269027.6493 | 2708648.7368 | 1269002.2168
32 | 2708724.8515 | 1269023.4469 | 2708721.1744 | 1269046.5438
33 | 2708721.1744 | 1269046.5438 | 2708706.44 | 1269044.3946
34 | 2708724.8515 | 1269023.4469 | 2708710.6046 | 1269021.1701
35 | 2708706.44 | 1269044.3946 | 2708692.567 | 1269042.371
36 | 2708669.4164 | 1269030.6889 | 2708668.1229 | 1269038.8055
37 | 2708668.1229 | 1269038.8055 | 2708692.567 | 1269042.371
38 | 2708499.405 | 1269209.0643 | 2708491.1497 | 1269230.3866
39 | 2708499.405 | 1269209.0643 | 2708600.295 | 1269240.9901 | 2708659.7766 | 1269266.9175 | 2708691.0299 | 1269281.5273 | 2708692.0737 | 1269282.0692 | 2708697.5387 | 1269282.0364 | 2708702.81 | 1269281.8999 | 2708711.0578 | 1269278.7155 | 2708717.6862 | 1269277.6366 | 2708717.2368 | 1269273.8361 | 2708716.8769 | 1269263.9542 | 2708718.0121 | 1269251.7645 | 2708721.1239 | 1269230.7478 | 2708730.9472 | 1269168.1852 | 2708731.8005 | 1269163.1298 | 2708736.0723 | 1269163.7312
40 | 2708647.6499 | 1269136.1027 | 2708709.8775 | 1269139.6726 | 2708709.6041 | 1269143.0706 | 2708716.0474 | 1269143.4672 | 2708723.4455 | 1269143.926 | 2708734.3925 | 1269144.5947 | 2708731.8005 | 1269163.1298 | 2708736.0723 | 1269163.7312
41 | 2708642.1783 | 1269138.9379 | 2708647.0428 | 1269139.2387 | 2708647.6499 | 1269136.1027
42 | 2708642.1783 | 1269138.9379 | 2708586.5712 | 1269135.5212
43 | 2708609.3058 | 1269130.4706 | 2708609.2883 | 1269133.8732 | 2708614.6715 | 1269134.2058 | 2708647.6499 | 1269136.1027
44 | 2708647.6499 | 1269136.1027 | 2708652.9722 | 1269096.6718
45 | 2708535.0312 | 1269118.9179 | 2708539.8288 | 1269125.3116 | 2708547.4523 | 1269131.1122 | 2708560.024 | 1269133.8901 | 2708586.5712 | 1269135.5212
46 | 2708609.3058 | 1269130.4706 | 2708603.112 | 1269130.0119 | 2708598.7707 | 1269128.6865 | 2708593.1957 | 1269128.962 | 2708589.2281 | 1269128.5999 | 2708584.7645 | 1269126.1491 | 2708582.0432 | 1269121.4617 | 2708581.0669 | 1269116.4282 | 2708581.7166 | 1269112.6146 | 2708584.064 | 1269108.9879 | 2708584.3946 | 1269101.6543
47 | 2708788.5353 | 1269025.684 | 2708813.9724 | 1269026.5523
48 | 2708737.05 | 1268916.1334 | 2708733.7202 | 1268912.6024
49 | 2708737.05 | 1268916.1334 | 2708739.0304 | 1268922.2196 | 2708741.0981 | 1268928.8857 | 2708728.1755 | 1268932.0618 | 2708729.349 | 1268937.0099
50 | 2708733.7202 | 1268912.6024 | 2708727.9282 | 1268914.0193
51 | 2708733.7202 | 1268912.6024 | 2708729.9754 | 1268910.3538 | 2708728.4524 | 1268909.5725
52 | 2708729.349 | 1268937.0099 | 2708744.9678 | 1268933.1074
53 | 2708771.4043 | 1268941.4656 | 2708766.8102 | 1268941.6034
54 | 2708761.6107 | 1268934.9685 | 2708767.9073 | 1268933.1273 | 2708767.1666 | 1268939.4191 | 2708766.8102 | 1268941.6034
55 | 2708771.4043 | 1268941.4656 | 2708790.2706 | 1268940.8902
56 | 2708771.4043 | 1268941.4656 | 2708769.5051 | 1268955.3613
57 | 2708761.6107 | 1268934.9685 | 2708758.1357 | 1268931.9686 | 2708754.1373 | 1268930.8163 | 2708744.9678 | 1268933.1074
58 | 2708644.6292 | 1268948.0945 | 2708645.732 | 1268952.7966 | 2708647.4645 | 1268959.6789
59 | 2708632.345 | 1268945.2217 | 2708635.7243 | 1268948.1086 | 2708640.3187 | 1268948.7714 | 2708644.6292 | 1268948.0945
60 | 2708644.6292 | 1268948.0945 | 2708667.6011 | 1268942.2627
61 | 2708653.3661 | 1268974.8006 | 2708651.5606 | 1268974.3337 | 2708651.7222 | 1268969.2322 | 2708648.0116 | 1268961.8576 | 2708647.4645 | 1268959.6789
62 | 2708647.4645 | 1268959.6789 | 2708636.0271 | 1268963.068
63 | 2708632.345 | 1268945.2217 | 2708631.0176 | 1268941.6831 | 2708631.9234 | 1268937.4516 | 2708635.1994 | 1268933.2749 | 2708642.1163 | 1268926.1409
64 | 2708623.5988 | 1268947.2404 | 2708632.345 | 1268945.2217
65 | 2708653.3661 | 1268974.8006 | 2708660.9893 | 1268975.3079
66 | 2708660.9893 | 1268975.3079 | 2708677.4643 | 1268977.7639
67 | 2708653.3661 | 1268974.8006 | 2708650.9909 | 1268988.8629
68 | 2708692.7346 | 1268980.0404 | 2708677.4643 | 1268977.7639
69 | 2708623.5988 | 1268947.2404 | 2708624.0862 | 1268944.4803 | 2708624.4975 | 1268942.1748 | 2708626.4898 | 1268937.3961 | 2708630.4941 | 1268932.4988 | 2708632.1486 | 1268930.7724
70 | 2708555.8492 | 1268998.6623 | 2708545.1656 | 1269049.5659
71 | 2708535.0312 | 1269118.9179 | 2708538.7314 | 1269116.6283 | 2708537.1912 | 1269114.02 | 2708535.3515 | 1269107.6362 | 2708534.8554 | 1269102.6894 | 2708535.3725 | 1269097.8947 | 2708537.4667 | 1269087.5687 | 2708545.1656 | 1269049.5659
72 | 2708545.1656 | 1269049.5659 | 2708595.7227 | 1269052.3679
73 | 2708555.8492 | 1268998.6623 | 2708557.2094 | 1268991.8258 | 2708558.3838 | 1268988.5445 | 2708560.4424 | 1268985.4797 | 2708563.7691 | 1268982.6272 | 2708567.906 | 1268980.746 | 2708571.2112 | 1268979.7948
74 | 2708535.0312 | 1269118.9179 | 2708527.092 | 1269124.1433 | 2708514.8858 | 1269132.1928
75 | 2708508.4781 | 1269136.4121 | 2708514.8858 | 1269132.1928
76 | 2708848.1267 | 1268897.0825 | 2708830.897 | 1268901.614
77 | 2708848.1267 | 1268897.0825 | 2708851.2814 | 1268896.2528 | 2708873.5198 | 1268890.7871
78 | 2708776.4424 | 1268842.5271 | 2708778.0247 | 1268842.8015 | 2708798.1922 | 1268845.3401
79 | 2708776.4424 | 1268842.5271 | 2708776.3953 | 1268842.5189
80 | 2708733.9818 | 1268832.1928 | 2708739.783 | 1268826.1943 | 2708740.8945 | 1268823.4679 | 2708742.8073 | 1268821.3791 | 2708749.4315 | 1268814.4283 | 2708750.741 | 1268813.0801
81 | 2708728.6455 | 1268830.5265 | 2708733.9818 | 1268832.1928
82 | 2708733.9818 | 1268832.1928 | 2708731.0099 | 1268835.3853 | 2708729.1285 | 1268836.9965 | 2708726.5933 | 1268838.5512 | 2708723.0071 | 1268842.2391
83 | 2708733.9818 | 1268832.1928 | 2708755.357 | 1268838.8698 | 2708756.6655 | 1268839.0967
84 | 2708728.6455 | 1268830.5265 | 2708738.659 | 1268819.9043
85 | 2708728.6455 | 1268830.5265 | 2708697.8643 | 1268817.188
86 | 2708728.6455 | 1268830.5265 | 2708712.3195 | 1268847.5673
87 | 2708694.8145 | 1268815.8664 | 2708691.4908 | 1268814.4261
88 | 2708694.8145 | 1268815.8664 | 2708697.8643 | 1268817.188
89 | 2708650.4094 | 1268992.3059 | 2708648.7368 | 1269002.2168
90 | 2708689.4124 | 1268998.5843 | 2708695.1103 | 1268999.4121 | 2708692.0545 | 1269018.2056 | 2708710.6046 | 1269021.1701
91 | 2708655.4328 | 1268912.4065 | 2708642.1163 | 1268926.1409
92 | 2708710.6054 | 1268970.1605 | 2708709.9779 | 1268974.8086
93 | 2708710.6054 | 1268970.1605 | 2708708.1219 | 1268969.8363
94 | 2708708.0417 | 1268989.2077 | 2708709.9779 | 1268974.8086
95 | 2708705.1365 | 1268974.0633 | 2708709.9779 | 1268974.8086
96 | 2708650.4094 | 1268992.3059 | 2708650.9909 | 1268988.8629
97 | 2708692.7346 | 1268980.0404 | 2708693.7416 | 1268972.3633
98 | 2708692.7346 | 1268980.0404 | 2708689.4124 | 1268998.5843
99 | 2708719.0813 | 1268916.1917 | 2708727.9282 | 1268914.0193
100 | 2708715.1264 | 1268902.7392 | 2708722.7572 | 1268906.651 | 2708728.4524 | 1268909.5725
101 | 2708665.7676 | 1268878.2035 | 2708652.7846 | 1268872.2531
102 | 2708677.7676 | 1268883.7034 | 2708665.7676 | 1268878.2035
103 | 2708705.1365 | 1268974.0633 | 2708693.7416 | 1268972.3633
104 | 2708655.4328 | 1268912.4065 | 2708652.5507 | 1268909.4954
105 | 2708671.9716 | 1268904.1479 | 2708664.2357 | 1268912.2127 | 2708660.4862 | 1268913.0778 | 2708657.1593 | 1268913.0722 | 2708655.4328 | 1268912.4065
106 | 2708652.5507 | 1268909.4954 | 2708658.9531 | 1268902.8198
107 | 2708677.7676 | 1268883.7034 | 2708673.6481 | 1268887.4976 | 2708658.9531 | 1268902.8198
108 | 2708677.7676 | 1268883.7034 | 2708688.0379 | 1268888.8524
109 | 2708688.0379 | 1268888.8524 | 2708703.0291 | 1268896.5375
110 | 2708688.0379 | 1268888.8524 | 2708690.8243 | 1268885.9233 | 2708690.1535 | 1268879.4275 | 2708691.64 | 1268875.14 | 2708696.0178 | 1268869.9938 | 2708708.761 | 1268856.8892
111 | 2708704.7838 | 1268897.4371 | 2708703.0291 | 1268896.5375
112 | 2708708.761 | 1268856.8892 | 2708723.0071 | 1268842.2391
113 | 2708715.1264 | 1268902.7392 | 2708704.7838 | 1268897.4371
114 | 2708776.3953 | 1268842.5189 | 2708756.6655 | 1268839.0967

## bus_geodata
| x | y | coords
0 | 2708758.34 | 1269024.6531
1 | 2708750.1418 | 1269044.742
2 | 2708772.0312 | 1269025.1205
3 | 2708778.3273 | 1268919.5184
4 | 2708779.6886 | 1268924.8926
5 | 2708777.0992 | 1268914.6804
6 | 2708765.1165 | 1268982.4633
7 | 2708758.6889 | 1268991.4195
8 | 2708766.7121 | 1268972.6798
9 | 2708811.0308 | 1268990.4874
10 | 2708843.5765 | 1268908.7439
11 | 2708862.6031 | 1268904.0885
12 | 2708823.7236 | 1268913.6029
13 | 2708849.0223 | 1268930.481
14 | 2708756.1025 | 1269007.555
15 | 2708761.2156 | 1268975.9205
16 | 2708786.5909 | 1269062.9622
17 | 2708778.9718 | 1269062.5333
18 | 2708788.812 | 1269057.8698
19 | 2708766.913 | 1269061.8545
20 | 2708444.7719 | 1269350.1731
21 | 2708413.071 | 1269380.4177
22 | 2708462.2464 | 1269305.0392
23 | 2708640.5721 | 1269054.8462
24 | 2708608.8325 | 1269053.0945
25 | 2708643.6329 | 1269033.3505
26 | 2708721.1744 | 1269046.5438
27 | 2708724.8515 | 1269023.4469
28 | 2708706.44 | 1269044.3946
29 | 2708668.1229 | 1269038.8055
30 | 2708669.4164 | 1269030.6889
31 | 2708692.567 | 1269042.371
32 | 2708499.405 | 1269209.0643
33 | 2708491.1497 | 1269230.3866
34 | 2708736.0723 | 1269163.7312
35 | 2708642.1783 | 1269138.9379
36 | 2708647.6499 | 1269136.1027
37 | 2708586.5712 | 1269135.5212
38 | 2708609.3058 | 1269130.4706
39 | 2708652.9722 | 1269096.6718
40 | 2708752.2577 | 1269031.5417
41 | 2708788.5353 | 1269025.684
42 | 2708737.05 | 1268916.1334
43 | 2708733.7202 | 1268912.6024
44 | 2708729.349 | 1268937.0099
45 | 2708766.8102 | 1268941.6034
46 | 2708771.4043 | 1268941.4656
47 | 2708761.6107 | 1268934.9685
48 | 2708790.2706 | 1268940.8902
49 | 2708769.5051 | 1268955.3613
50 | 2708744.9678 | 1268933.1074
51 | 2708644.6292 | 1268948.0945
52 | 2708647.4645 | 1268959.6789
53 | 2708632.345 | 1268945.2217
54 | 2708667.6011 | 1268942.2627
55 | 2708660.9893 | 1268975.3079
56 | 2708653.3661 | 1268974.8006
57 | 2708677.4643 | 1268977.7639
58 | 2708636.0271 | 1268963.068
59 | 2708623.5988 | 1268947.2404
60 | 2708632.1486 | 1268930.7724
61 | 2708545.1656 | 1269049.5659
62 | 2708555.8492 | 1268998.6623
63 | 2708535.0312 | 1269118.9179
64 | 2708595.7227 | 1269052.3679
65 | 2708571.2112 | 1268979.7948
66 | 2708514.8858 | 1269132.1928
67 | 2708830.897 | 1268901.614
68 | 2708850.1882 | 1268935.1332
69 | 2708873.5199 | 1268890.7871
70 | 2708848.1267 | 1268897.0825
71 | 2708798.1922 | 1268845.3401
72 | 2708776.4424 | 1268842.5271
73 | 2708750.741 | 1268813.0801
74 | 2708733.9818 | 1268832.1928
75 | 2708738.659 | 1268819.9043
76 | 2708728.6455 | 1268830.5265
77 | 2708691.4908 | 1268814.4261
78 | 2708694.8145 | 1268815.8664
79 | 2708584.3946 | 1269101.6543
80 | 2708648.7368 | 1269002.2168
81 | 2708388.6929 | 1269355.7823
82 | 2708710.6046 | 1269021.1701
83 | 2708642.1163 | 1268926.1409
84 | 2708710.6054 | 1268970.1605
85 | 2708709.9779 | 1268974.8086
86 | 2708708.1219 | 1268969.8363
87 | 2708650.9909 | 1268988.8629
88 | 2708692.7346 | 1268980.0404
89 | 2708727.9282 | 1268914.0193
90 | 2708728.4524 | 1268909.5725
91 | 2708652.7846 | 1268872.2531
92 | 2708665.7676 | 1268878.2035
93 | 2708508.4781 | 1269136.4121
94 | 2708708.0417 | 1268989.2077
95 | 2708705.1365 | 1268974.0633
96 | 2708689.4124 | 1268998.5843
97 | 2708655.4328 | 1268912.4065
98 | 2708652.5507 | 1268909.4954
99 | 2708671.9716 | 1268904.1479
100 | 2708658.9531 | 1268902.8198
101 | 2708688.0379 | 1268888.8524
102 | 2708677.7676 | 1268883.7034
103 | 2708703.0291 | 1268896.5375
104 | 2708708.761 | 1268856.8892
105 | 2708704.7838 | 1268897.4371
106 | 2708723.0071 | 1268842.2391
107 | 2708776.3953 | 1268842.5189
108 | 2708756.6655 | 1268839.0967
109 | 2708697.8643 | 1268817.188
110 | 2708712.3195 | 1268847.5673
111 | 2708715.1264 | 1268902.7392
112 | 2708719.0813 | 1268916.1917
113 | 2708813.9724 | 1269026.5523
114 | 2708650.4094 | 1268992.3059
115 | 2708693.7416 | 1268972.3633
116 | 2708709.9779 | 1268974.8086

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1