## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-23_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-23_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4566-23_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4566-23_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4566-23_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_4566-23_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_4566-23_0_4_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_4566-23_0_4_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_4566-23_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_4566-23_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_4566-23_0_4_node_86 | 0.4 | n |  | TRUE
13 | bus_LV_4566-23_0_4_node_85 | 0.4 | n |  | TRUE
14 | bus_LV_4566-23_0_4_node_89 | 0.4 | n |  | TRUE
15 | bus_LV_4566-23_0_4_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_4566-23_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_4566-23_0_4_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_4566-23_0_4_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_4566-23_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_4566-23_0_4_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_4566-23_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_4566-23_0_4_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_4566-23_0_4_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_4566-23_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_4566-23_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_4566-23_0_4_node_78 | 0.4 | n |  | TRUE
27 | bus_LV_4566-23_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_4566-23_0_4_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_4566-23_0_4_node_7 | 0.4 | n |  | TRUE
30 | bus_LV_4566-23_0_4_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_4566-23_0_4_node_6 | 0.4 | n |  | TRUE
32 | bus_LV_4566-23_0_4_node_8 | 0.4 | n |  | TRUE
33 | bus_LV_4566-23_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_4566-23_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_4566-23_0_4_node_11 | 0.4 | n |  | TRUE
36 | bus_LV_4566-23_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4566-23_0_4_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_4566-23_0_4_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_4566-23_0_4_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_4566-23_0_4_node_13 | 0.4 | n |  | TRUE
41 | bus_LV_4566-23_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_4566-23_0_4_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_4566-23_0_4_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_4566-23_0_4_node_17 | 0.4 | n |  | TRUE
45 | bus_LV_4566-23_0_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_4566-23_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_4566-23_0_4_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_4566-23_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_4566-23_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_4566-23_0_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_4566-23_0_4_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_4566-23_0_4_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_4566-23_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_4566-23_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_4566-23_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4566-23_0_4_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_4566-23_0_4_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_4566-23_0_4_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_4566-23_0_4_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_4566-23_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_4566-23_0_4_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_4566-23_0_4_node_88 | 0.4 | n |  | TRUE
63 | bus_LV_4566-23_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_4566-23_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4566-23_0_4_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_4566-23_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4566-23_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_4566-23_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_4566-23_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_4566-23_0_4_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_4566-23_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_4566-23_0_4_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_4566-23_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_4566-23_0_4_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_4566-23_0_4_node_42 | 0.4 | n |  | TRUE
76 | bus_LV_4566-23_0_4_node_43 | 0.4 | n |  | TRUE
77 | bus_LV_4566-23_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_4566-23_0_4_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_4566-23_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_4566-23_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_4566-23_0_4_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_4566-23_0_4_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_4566-23_0_4_node_74 | 0.4 | n |  | TRUE
84 | bus_MV_374_1_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-23_0_4_load_0 | 0 | 0.020309 | 0.0050899 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-23_0_4_load_1 | 1 | 0.0044236 | 0.0011087 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-23_0_4_load_3 | 3 | 0.0093862 | 0.0023524 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-23_0_4_load_79 | 8 | 0.0092144 | 0.0023093 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-23_0_4_load_87 | 9 | 0.0033915 | 0.00084998 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-23_0_4_load_85 | 13 | 0.016171 | 0.0040529 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-23_0_4_load_89 | 14 | 0.010276 | 0.0025754 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-23_0_4_load_47 | 15 | 0.0090426 | 0.0022663 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-23_0_4_load_81 | 17 | 0.0028334 | 0.00071013 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-23_0_4_load_80 | 18 | 0.0019019 | 0.00047665 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-23_0_4_load_84 | 20 | 0.0073126 | 0.0018327 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-23_0_4_load_41 | 22 | 0.011887 | 0.0029791 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-23_0_4_load_91 | 23 | 0.0096942 | 0.0024296 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-23_0_4_load_78 | 26 | 0.06183 | 0.015496 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-23_0_4_load_83 | 28 | 0.00016938 | 4.2451e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-23_0_4_load_6 | 31 | 0.021188 | 0.0053102 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-23_0_4_load_38 | 33 | 0.0045715 | 0.0011457 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-23_0_4_load_39 | 34 | 0.0079691 | 0.0019972 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-23_0_4_load_63 | 37 | 0.0057787 | 0.0014483 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-23_0_4_load_52 | 38 | 0.0047701 | 0.0011955 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-23_0_4_load_51 | 39 | 0.0027096 | 0.00067908 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-23_0_4_load_69 | 42 | 0.0022453 | 0.00056272 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-23_0_4_load_59 | 43 | 0.0048489 | 0.0012153 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-23_0_4_load_54 | 45 | 0.0080749 | 0.0020238 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-23_0_4_load_53 | 46 | 0.0034896 | 0.00087457 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-23_0_4_load_49 | 48 | 0.0043793 | 0.0010976 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-23_0_4_load_64 | 50 | 0.0021171 | 0.0005306 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-23_0_4_load_65 | 51 | 0.01405 | 0.0035213 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-23_0_4_load_62 | 52 | 0.0041018 | 0.001028 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-23_0_4_load_50 | 54 | 0.0024265 | 0.00060815 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-23_0_4_load_48 | 55 | 0.0018721 | 0.00046918 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-23_0_4_load_71 | 58 | 0.0046855 | 0.0011743 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-23_0_4_load_75 | 59 | 0.0099126 | 0.0024843 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-23_0_4_load_76 | 61 | 0.0078939 | 0.0019784 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-23_0_4_load_88 | 62 | 0.0033931 | 0.00085038 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-23_0_4_load_45 | 63 | 0.006011 | 0.0015065 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-23_0_4_load_40 | 64 | 0.0064885 | 0.0016262 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-23_0_4_load_90 | 65 | 0.0090869 | 0.0022774 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-23_0_4_load_58 | 66 | 0.0078559 | 0.0019689 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-23_0_4_load_70 | 67 | 0.0073142 | 0.0018331 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-23_0_4_load_61 | 68 | 0.0042632 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-23_0_4_load_46 | 69 | 0.013966 | 0.0035002 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-23_0_4_load_44 | 70 | 0.0046229 | 0.0011586 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-23_0_4_load_68 | 71 | 0.0040919 | 0.0010255 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-23_0_4_load_82 | 72 | 0.0039845 | 0.00099861 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-23_0_4_load_42 | 75 | 0.0078932 | 0.0019782 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-23_0_4_load_43 | 76 | 0.013606 | 0.0034099 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-23_0_4_load_55 | 77 | 0.012919 | 0.0032377 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-23_0_4_load_56 | 78 | 0.0038869 | 0.00097414 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-23_0_4_load_57 | 79 | 0.0047346 | 0.0011866 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-23_0_4_load_66 | 80 | 0.0012637 | 0.00031671 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-23_0_4_load_60 | 82 | 0.0084912 | 0.0021281 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-23_0_4_load_74 | 83 | 0.047834 | 0.011988 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-23_0_4_line_0 |  | 0 | 1 | 0.026312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_4566-23_0_4_line_1 |  | 0 | 2 | 0.01444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4566-23_0_4_line_2 |  | 1 | 3 | 0.021136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4566-23_0_4_line_3 |  | 2 | 4 | 0.006801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_4566-23_0_4_line_4 |  | 2 | 5 | 0.008171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-23_0_4_line_5 |  | 3 | 6 | 0.034407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-23_0_4_line_6 |  | 4 | 7 | 0.0093118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4566-23_0_4_line_7 |  | 4 | 8 | 0.040024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4566-23_0_4_line_8 |  | 5 | 9 | 0.036285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-23_0_4_line_9 |  | 6 | 10 | 0.0083481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-23_0_4_line_10 |  | 7 | 43 | 0.027231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-23_0_4_line_11 |  | 7 | 35 | 0.02081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-23_0_4_line_12 |  | 8 | 61 | 0.020759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4566-23_0_4_line_13 |  | 9 | 62 | 0.016457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-23_0_4_line_14 |  | 10 | 14 | 0.019636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-23_0_4_line_15 |  | 10 | 15 | 0.014008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-23_0_4_line_16 |  | 11 | 12 | 0.002376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-23_0_4_line_17 |  | 11 | 13 | 0.029327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-23_0_4_line_18 |  | 12 | 65 | 0.012644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-23_0_4_line_19 |  | 15 | 69 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-23_0_4_line_20 |  | 16 | 17 | 0.055648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-23_0_4_line_21 |  | 16 | 18 | 0.034213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-23_0_4_line_22 |  | 17 | 27 | 0.0060154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-23_0_4_line_23 |  | 18 | 57 | 0.0052136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-23_0_4_line_24 |  | 19 | 20 | 0.050698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-23_0_4_line_25 |  | 19 | 21 | 0.0118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-23_0_4_line_26 |  | 21 | 22 | 0.037822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-23_0_4_line_27 |  | 21 | 23 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-23_0_4_line_28 |  | 22 | 64 | 0.011477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-23_0_4_line_29 |  | 23 | 65 | 0.024078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-23_0_4_line_30 |  | 24 | 25 | 0.031455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-23_0_4_line_31 |  | 24 | 26 | 0.0085428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-23_0_4_line_32 |  | 25 | 59 | 0.02594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-23_0_4_line_33 |  | 26 | 74 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-23_0_4_line_34 |  | 27 | 28 | 0.051261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-23_0_4_line_35 |  | 29 | 30 | 0.029518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-23_0_4_line_36 |  | 29 | 31 | 0.0042412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-23_0_4_line_37 |  | 30 | 38 | 0.018657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-23_0_4_line_38 |  | 30 | 39 | 0.019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-23_0_4_line_39 |  | 31 | 32 | 0.016315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-23_0_4_line_40 |  | 32 | 33 | 0.024847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-23_0_4_line_41 |  | 32 | 34 | 0.011615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-23_0_4_line_42 |  | 34 | 63 | 0.019205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-23_0_4_line_43 |  | 35 | 36 | 0.011931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-23_0_4_line_44 |  | 35 | 37 | 0.015244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-23_0_4_line_45 |  | 36 | 38 | 0.0086055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-23_0_4_line_46 |  | 36 | 44 | 0.042982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-23_0_4_line_47 |  | 37 | 52 | 0.026486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-23_0_4_line_48 |  | 40 | 41 | 0.039356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-23_0_4_line_49 |  | 40 | 42 | 0.020437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-23_0_4_line_50 |  | 41 | 46 | 0.0032742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-23_0_4_line_51 |  | 42 | 50 | 0.024233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-23_0_4_line_52 |  | 43 | 66 | 0.050842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-23_0_4_line_53 |  | 44 | 45 | 0.018208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-23_0_4_line_54 |  | 45 | 47 | 0.022698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-23_0_4_line_55 |  | 47 | 48 | 0.009049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-23_0_4_line_56 |  | 48 | 55 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-23_0_4_line_57 |  | 49 | 50 | 0.030257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-23_0_4_line_58 |  | 49 | 51 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-23_0_4_line_59 |  | 49 | 52 | 0.034999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-23_0_4_line_60 |  | 51 | 71 | 0.0089486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-23_0_4_line_61 |  | 53 | 54 | 0.017136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-23_0_4_line_62 |  | 53 | 55 | 0.025538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-23_0_4_line_63 |  | 56 | 57 | 0.002693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-23_0_4_line_64 |  | 56 | 58 | 0.025885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-23_0_4_line_65 |  | 57 | 72 | 0.053516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-23_0_4_line_66 |  | 58 | 73 | 0.025511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-23_0_4_line_67 |  | 59 | 60 | 0.02821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-23_0_4_line_68 |  | 60 | 61 | 0.011269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4566-23_0_4_line_69 |  | 63 | 70 | 0.0055091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-23_0_4_line_70 |  | 64 | 75 | 0.0085629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4566-23_0_4_line_71 |  | 66 | 82 | 0.017382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-23_0_4_line_72 |  | 67 | 68 | 0.0178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-23_0_4_line_73 |  | 68 | 82 | 0.0015102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-23_0_4_line_74 |  | 69 | 76 | 0.015692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-23_0_4_line_75 |  | 71 | 81 | 0.0090809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-23_0_4_line_76 |  | 73 | 83 | 0.01809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-23_0_4_line_77 |  | 74 | 83 | 0.021354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-23_0_4_line_78 |  | 75 | 76 | 0.00016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-23_0_4_line_79 |  | 77 | 78 | 0.022496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-23_0_4_line_80 |  | 78 | 79 | 0.01818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-23_0_4_line_81 |  | 79 | 80 | 0.0047492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-23_0_4_line_82 |  | 80 | 81 | 0.030374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-23_0_4_trafo_3 | 0.63 MVA 20/0.4 kV | 84 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2710157.5052 | 1268058.9091 | 2710160.8889 | 1268085.003
1 | 2710156.5036 | 1268044.5646 | 2710156.1981 | 1268048.8293 | 2710157.5052 | 1268058.9091
2 | 2710163.6069 | 1268105.9638 | 2710160.8889 | 1268085.003
3 | 2710156.5036 | 1268044.5646 | 2710157.8497 | 1268042.221 | 2710161.2577 | 1268039.927
4 | 2710148.4024 | 1268045.8036 | 2710156.5036 | 1268044.5646
5 | 2710168.0315 | 1268140.0851 | 2710163.6069 | 1268105.9638
6 | 2710161.1303 | 1268030.6165 | 2710161.1392 | 1268034.5756 | 2710161.2577 | 1268039.927
7 | 2710161.2577 | 1268039.927 | 2710171.983 | 1268039.6711 | 2710193.7553 | 1268040.4778 | 2710201.2472 | 1268040.9812
8 | 2710148.4024 | 1268045.8036 | 2710151.1716 | 1268050.715 | 2710152.815 | 1268055.4387 | 2710154.0137 | 1268062.2114 | 2710156.4907 | 1268080.8142
9 | 2710168.0315 | 1268140.0851 | 2710168.6043 | 1268144.4885 | 2710164.7458 | 1268145.106
10 | 2710161.1303 | 1268030.6165 | 2710166.3278 | 1268030.8691 | 2710178.4802 | 1268030.3842 | 2710188.3352 | 1268030.8384
11 | 2710161.1303 | 1268030.6165 | 2710153.9825 | 1268027.9698 | 2710150.0673 | 1268024.7607 | 2710147.7635 | 1268021.1368 | 2710146.8397 | 1268017.383
12 | 2710201.2472 | 1268040.9812 | 2710218.2748 | 1268042.1254 | 2710221.9489 | 1268042.4986
13 | 2710156.4907 | 1268080.8142 | 2710158.6628 | 1268097.1274
14 | 2710164.7458 | 1268145.106 | 2710167.0028 | 1268164.6122
15 | 2710164.7458 | 1268145.106 | 2710150.9123 | 1268147.3109
16 | 2710164.8652 | 1268212.5449 | 2710165.105 | 1268210.1806
17 | 2710164.8652 | 1268212.5449 | 2710164.3589 | 1268216.6835 | 2710166.9899 | 1268216.8883 | 2710168.9227 | 1268217.8029 | 2710170.3226 | 1268220.2422 | 2710172.3668 | 1268237.691
18 | 2710165.105 | 1268210.1806 | 2710162.2828 | 1268210.5394 | 2710152.576 | 1268209.1975
19 | 2710150.9123 | 1268147.3109 | 2710135.0308 | 1268149.8421
20 | 2710210.0442 | 1268230.5808 | 2710211.2713 | 1268274.9424 | 2710212.8447 | 1268286.1015
21 | 2710210.0442 | 1268230.5808 | 2710219.2659 | 1268235.0345 | 2710240.849 | 1268245.4668
22 | 2710213.6845 | 1268292.0579 | 2710212.8447 | 1268286.1015
23 | 2710245.543 | 1268247.7357 | 2710240.849 | 1268245.4668
24 | 2710120.8669 | 1268207.0756 | 2710122.4553 | 1268240.9792 | 2710130.3956 | 1268255.7352
25 | 2710111.5078 | 1268203.5203 | 2710111.531 | 1268205.9117 | 2710120.8669 | 1268207.0756
26 | 2710111.5078 | 1268203.5203 | 2710111.1273 | 1268165.6997
27 | 2710111.5078 | 1268203.5203 | 2710128.7252 | 1268205.9004
28 | 2710111.0119 | 1268154.2236 | 2710111.0119 | 1268154.2236 | 2710111.1273 | 1268165.6997
29 | 2710152.576 | 1268209.1975 | 2710128.7252 | 1268205.9004
30 | 2710231.6076 | 1268128.8275 | 2710228.1938 | 1268097.5588
31 | 2710231.6076 | 1268128.8275 | 2710232.6008 | 1268137.3123
32 | 2710228.1938 | 1268097.5588 | 2710230.5763 | 1268071.7288
33 | 2710234.6527 | 1268154.8403 | 2710232.6008 | 1268137.3123
34 | 2710213.6845 | 1268292.0579 | 2710259.4478 | 1268314.6425 | 2710259.461 | 1268314.8706
35 | 2710114.3623 | 1268027.4532 | 2710111.6418 | 1268033.252 | 2710108.5404 | 1268039.2884 | 2710110.1137 | 1268041.7198 | 2710110.7531 | 1268044.1672 | 2710110.0208 | 1268046.7002 | 2710113.9234 | 1268048.1631 | 2710117.7745 | 1268049.5583
36 | 2710117.7745 | 1268049.5583 | 2710116.0161 | 1268053.4178
37 | 2710114.3623 | 1268027.4532 | 2710120.6966 | 1268028.1051 | 2710126.3121 | 1268026.5306 | 2710129.7344 | 1268023.4695 | 2710130.729 | 1268021.8914
38 | 2710114.3623 | 1268027.4532 | 2710107.7218 | 1268026.2618 | 2710095.3462 | 1268024.0488
39 | 2710105.9248 | 1268066.1075 | 2710109.4503 | 1268062.7591 | 2710113.2946 | 1268058.06 | 2710116.0161 | 1268053.4178
40 | 2710105.9248 | 1268066.1075 | 2710124.0418 | 1268083.1125
41 | 2710105.9248 | 1268066.1075 | 2710097.4099 | 1268074.0077
42 | 2710085.3763 | 1268088.321 | 2710085.7475 | 1268087.9729 | 2710086.9487 | 1268083.7137 | 2710097.4099 | 1268074.0077
43 | 2710135.2606 | 1268014.5758 | 2710140.8231 | 1268016.2476 | 2710146.8397 | 1268017.383
44 | 2710146.8397 | 1268017.383 | 2710147.1381 | 1268013.4963 | 2710148.0053 | 1268009.787 | 2710149.9353 | 1268005.6082 | 2710151.392 | 1268003.0622
45 | 2710135.2606 | 1268014.5758 | 2710132.2558 | 1268019.4686 | 2710130.729 | 1268021.8914
46 | 2710135.2606 | 1268014.5758 | 2710147.6573 | 1267992.1206 | 2710148.5507 | 1267986.1988 | 2710149.4604 | 1267983.847 | 2710153.7375 | 1267976.1311
47 | 2710164.3892 | 1267979.9846 | 2710157.056 | 1267993.1634 | 2710151.392 | 1268003.0622
48 | 2710190.5476 | 1267899.3171 | 2710193.239 | 1267895.4861 | 2710195.7187 | 1267891.7068 | 2710199.3426 | 1267892.375 | 2710203.2044 | 1267890.779 | 2710210.4874 | 1267879.3381 | 2710214.0301 | 1267881.5283 | 2710217.8922 | 1267883.958
49 | 2710217.8922 | 1267883.958 | 2710207.9042 | 1267901.7878
50 | 2710190.5476 | 1267899.3171 | 2710187.9265 | 1267897.3548
51 | 2710196.1185 | 1267922.9616 | 2710207.3003 | 1267902.8659 | 2710207.9042 | 1267901.7878
52 | 2710238.9762 | 1268035.1697 | 2710221.9802 | 1268033.1756 | 2710197.9396 | 1268031.2811 | 2710188.3352 | 1268030.8384
53 | 2710153.7375 | 1267976.1311 | 2710152.8439 | 1267975.6029 | 2710149.5528 | 1267970.0145 | 2710147.3311 | 1267959.5639
54 | 2710157.5416 | 1267939.2921 | 2710147.3311 | 1267959.5639
55 | 2710157.5416 | 1267939.2921 | 2710149.6377 | 1267934.8862
56 | 2710149.6377 | 1267934.8862 | 2710142.1849 | 1267930.7318 | 2710140.1192 | 1267929.168
57 | 2710181.4068 | 1267949.4014 | 2710196.1185 | 1267922.9616
58 | 2710181.4068 | 1267949.4014 | 2710196.858 | 1267952.6174
59 | 2710181.4068 | 1267949.4014 | 2710164.3892 | 1267979.9846
60 | 2710205.6188 | 1267954.4409 | 2710196.858 | 1267952.6174
61 | 2710122.174 | 1267911.3531 | 2710127.3946 | 1267906.3349 | 2710131.6805 | 1267897.4168
62 | 2710122.174 | 1267911.3531 | 2710126.7464 | 1267917.6771 | 2710129.6678 | 1267921.2903 | 2710134.3232 | 1267924.7801 | 2710140.1192 | 1267929.168
63 | 2710245.543 | 1268247.7357 | 2710245.2316 | 1268245.0609
64 | 2710245.2316 | 1268245.0609 | 2710242.2159 | 1268219.3525
65 | 2710245.543 | 1268247.7357 | 2710293.3972 | 1268271.6921
66 | 2710239.2437 | 1268194.0157 | 2710242.2159 | 1268219.3525
67 | 2710233.1604 | 1268043.6377 | 2710232.8112 | 1268047.4233 | 2710231.016 | 1268066.9625 | 2710230.5763 | 1268071.7288
68 | 2710233.1604 | 1268043.6377 | 2710221.9489 | 1268042.4986
69 | 2710081.3578 | 1268092.0895 | 2710085.3763 | 1268088.321
70 | 2710111.0119 | 1268154.2236 | 2710119.4152 | 1268152.5783
71 | 2710238.9762 | 1268035.1697 | 2710242.9462 | 1268035.6355 | 2710256.1759 | 1268037.6662
72 | 2710275.1824 | 1268041.0616 | 2710262.9072 | 1268038.6994 | 2710257.6687 | 1268037.8953
73 | 2710256.1759 | 1268037.6662 | 2710257.6687 | 1268037.8953
74 | 2710135.0308 | 1268149.8421 | 2710126.2068 | 1268151.2486 | 2710119.5759 | 1268152.5468
75 | 2710214.5092 | 1267956.2914 | 2710205.6188 | 1267954.4409
76 | 2710239.2437 | 1268194.0157 | 2710237.1381 | 1268176.0487
77 | 2710234.6527 | 1268154.8403 | 2710237.1381 | 1268176.0487
78 | 2710119.5759 | 1268152.5468 | 2710119.4152 | 1268152.5783
79 | 2710255.0031 | 1267972.5387 | 2710254.397 | 1267986.851 | 2710246.2277 | 1267986.6696
80 | 2710246.2277 | 1267986.6696 | 2710232.3025 | 1267986.3606 | 2710228.3491 | 1267984.7966
81 | 2710225.5905 | 1267980.9306 | 2710225.5905 | 1267980.9306 | 2710228.3491 | 1267984.7966 | 2710228.3491 | 1267984.7966
82 | 2710214.5092 | 1267956.2914 | 2710224.692 | 1267962.5201 | 2710225.3497 | 1267971.6514 | 2710225.5905 | 1267980.9306

## bus_geodata
| x | y | coords
0 | 2710157.5052 | 1268058.9091
1 | 2710160.8889 | 1268085.003
2 | 2710156.5036 | 1268044.5646
3 | 2710163.6069 | 1268105.9638
4 | 2710161.2577 | 1268039.927
5 | 2710148.4024 | 1268045.8036
6 | 2710168.0315 | 1268140.0851
7 | 2710161.1303 | 1268030.6165
8 | 2710201.2472 | 1268040.9812
9 | 2710156.4907 | 1268080.8142
10 | 2710164.7458 | 1268145.106
11 | 2710164.8652 | 1268212.5449
12 | 2710165.105 | 1268210.1806
13 | 2710172.3668 | 1268237.691
14 | 2710167.0028 | 1268164.6122
15 | 2710150.9123 | 1268147.3108
16 | 2710210.0442 | 1268230.5808
17 | 2710212.8447 | 1268286.1015
18 | 2710240.849 | 1268245.4668
19 | 2710120.8669 | 1268207.0756
20 | 2710130.3956 | 1268255.7352
21 | 2710111.5078 | 1268203.5203
22 | 2710111.1273 | 1268165.6997
23 | 2710128.7252 | 1268205.9004
24 | 2710231.6076 | 1268128.8275
25 | 2710228.1938 | 1268097.5588
26 | 2710232.6008 | 1268137.3123
27 | 2710213.6845 | 1268292.0579
28 | 2710259.461 | 1268314.8706
29 | 2710117.7745 | 1268049.5583
30 | 2710114.3623 | 1268027.4532
31 | 2710116.0161 | 1268053.4178
32 | 2710105.9248 | 1268066.1075
33 | 2710124.0418 | 1268083.1125
34 | 2710097.4099 | 1268074.0077
35 | 2710146.8397 | 1268017.383
36 | 2710135.2606 | 1268014.5758
37 | 2710151.392 | 1268003.0622
38 | 2710130.729 | 1268021.8914
39 | 2710095.3462 | 1268024.0488
40 | 2710217.8922 | 1267883.958
41 | 2710190.5476 | 1267899.3171
42 | 2710207.9042 | 1267901.7878
43 | 2710188.3352 | 1268030.8384
44 | 2710153.7375 | 1267976.1311
45 | 2710147.3311 | 1267959.5639
46 | 2710187.9265 | 1267897.3548
47 | 2710157.5416 | 1267939.2921
48 | 2710149.6377 | 1267934.8862
49 | 2710181.4068 | 1267949.4014
50 | 2710196.1185 | 1267922.9616
51 | 2710196.858 | 1267952.6174
52 | 2710164.3892 | 1267979.9846
53 | 2710122.174 | 1267911.3531
54 | 2710131.6805 | 1267897.4168
55 | 2710140.1192 | 1267929.168
56 | 2710245.2316 | 1268245.0609
57 | 2710245.543 | 1268247.7357
58 | 2710242.2159 | 1268219.3525
59 | 2710230.5763 | 1268071.7288
60 | 2710233.1604 | 1268043.6377
61 | 2710221.9489 | 1268042.4986
62 | 2710158.6628 | 1268097.1274
63 | 2710085.3763 | 1268088.321
64 | 2710111.0119 | 1268154.2236
65 | 2710152.576 | 1268209.1975
66 | 2710238.9762 | 1268035.1697
67 | 2710275.1824 | 1268041.0616
68 | 2710257.6687 | 1268037.8953
69 | 2710135.0308 | 1268149.8421
70 | 2710081.3578 | 1268092.0895
71 | 2710205.6188 | 1267954.4409
72 | 2710293.3972 | 1268271.6921
73 | 2710239.2437 | 1268194.0157
74 | 2710234.6527 | 1268154.8403
75 | 2710119.4152 | 1268152.5783
76 | 2710119.5759 | 1268152.5468
77 | 2710255.0031 | 1267972.5387
78 | 2710246.2277 | 1267986.6696
79 | 2710228.3491 | 1267984.7966
80 | 2710225.5905 | 1267980.9306
81 | 2710214.5092 | 1267956.2914
82 | 2710256.1759 | 1268037.6662
83 | 2710237.1381 | 1268176.0487
84 | 2710168.0315 | 1268140.0851

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1