## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-24_0_11_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-24_0_11_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-24_0_11_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-24_0_11_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4566-24_0_11_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_4566-24_0_11_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4566-24_0_11_node_170 | 0.4 | n |  | TRUE
7 | bus_LV_4566-24_0_11_node_163 | 0.4 | n |  | TRUE
8 | bus_LV_4566-24_0_11_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4566-24_0_11_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_4566-24_0_11_node_134 | 0.4 | n |  | TRUE
11 | bus_LV_4566-24_0_11_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4566-24_0_11_node_111 | 0.4 | n |  | TRUE
13 | bus_LV_4566-24_0_11_node_109 | 0.4 | n |  | TRUE
14 | bus_LV_4566-24_0_11_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4566-24_0_11_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_4566-24_0_11_node_128 | 0.4 | n |  | TRUE
17 | bus_LV_4566-24_0_11_node_120 | 0.4 | n |  | TRUE
18 | bus_LV_4566-24_0_11_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4566-24_0_11_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_4566-24_0_11_node_88 | 0.4 | n |  | TRUE
21 | bus_LV_4566-24_0_11_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4566-24_0_11_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_4566-24_0_11_node_165 | 0.4 | n |  | TRUE
24 | bus_LV_4566-24_0_11_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4566-24_0_11_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_4566-24_0_11_node_123 | 0.4 | n |  | TRUE
27 | bus_LV_4566-24_0_11_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4566-24_0_11_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4566-24_0_11_node_158 | 0.4 | n |  | TRUE
30 | bus_LV_4566-24_0_11_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4566-24_0_11_node_112 | 0.4 | n |  | TRUE
32 | bus_LV_4566-24_0_11_node_139 | 0.4 | n |  | TRUE
33 | bus_LV_4566-24_0_11_node_147 | 0.4 | n |  | TRUE
34 | bus_LV_4566-24_0_11_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4566-24_0_11_node_119 | 0.4 | n |  | TRUE
36 | bus_LV_4566-24_0_11_node_110 | 0.4 | n |  | TRUE
37 | bus_LV_4566-24_0_11_node_114 | 0.4 | n |  | TRUE
38 | bus_LV_4566-24_0_11_node_169 | 0.4 | n |  | TRUE
39 | bus_LV_4566-24_0_11_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_4566-24_0_11_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_4566-24_0_11_node_138 | 0.4 | n |  | TRUE
42 | bus_LV_4566-24_0_11_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_4566-24_0_11_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_4566-24_0_11_node_164 | 0.4 | n |  | TRUE
45 | bus_LV_4566-24_0_11_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_4566-24_0_11_node_162 | 0.4 | n |  | TRUE
47 | bus_LV_4566-24_0_11_node_161 | 0.4 | n |  | TRUE
48 | bus_LV_4566-24_0_11_node_146 | 0.4 | n |  | TRUE
49 | bus_LV_4566-24_0_11_node_145 | 0.4 | n |  | TRUE
50 | bus_LV_4566-24_0_11_node_113 | 0.4 | n |  | TRUE
51 | bus_LV_4566-24_0_11_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_4566-24_0_11_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_4566-24_0_11_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_4566-24_0_11_node_89 | 0.4 | n |  | TRUE
55 | bus_LV_4566-24_0_11_node_167 | 0.4 | n |  | TRUE
56 | bus_LV_4566-24_0_11_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_4566-24_0_11_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_4566-24_0_11_node_25 | 0.4 | n |  | TRUE
59 | bus_LV_4566-24_0_11_node_30 | 0.4 | n |  | TRUE
60 | bus_LV_4566-24_0_11_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_4566-24_0_11_node_129 | 0.4 | n |  | TRUE
62 | bus_LV_4566-24_0_11_node_121 | 0.4 | n |  | TRUE
63 | bus_LV_4566-24_0_11_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_4566-24_0_11_node_124 | 0.4 | n |  | TRUE
65 | bus_LV_4566-24_0_11_node_157 | 0.4 | n |  | TRUE
66 | bus_LV_4566-24_0_11_node_122 | 0.4 | n |  | TRUE
67 | bus_LV_4566-24_0_11_node_117 | 0.4 | n |  | TRUE
68 | bus_LV_4566-24_0_11_node_141 | 0.4 | n |  | TRUE
69 | bus_LV_4566-24_0_11_node_142 | 0.4 | n |  | TRUE
70 | bus_LV_4566-24_0_11_node_140 | 0.4 | n |  | TRUE
71 | bus_LV_4566-24_0_11_node_101 | 0.4 | n |  | TRUE
72 | bus_LV_4566-24_0_11_node_23 | 0.4 | n |  | TRUE
73 | bus_LV_4566-24_0_11_node_24 | 0.4 | n |  | TRUE
74 | bus_LV_4566-24_0_11_node_26 | 0.4 | n |  | TRUE
75 | bus_LV_4566-24_0_11_node_34 | 0.4 | n |  | TRUE
76 | bus_LV_4566-24_0_11_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_4566-24_0_11_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_4566-24_0_11_node_100 | 0.4 | n |  | TRUE
79 | bus_LV_4566-24_0_11_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_4566-24_0_11_node_106 | 0.4 | n |  | TRUE
81 | bus_LV_4566-24_0_11_node_107 | 0.4 | n |  | TRUE
82 | bus_LV_4566-24_0_11_node_105 | 0.4 | n |  | TRUE
83 | bus_LV_4566-24_0_11_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_4566-24_0_11_node_168 | 0.4 | n |  | TRUE
85 | bus_LV_4566-24_0_11_node_166 | 0.4 | n |  | TRUE
86 | bus_LV_4566-24_0_11_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_4566-24_0_11_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_4566-24_0_11_node_130 | 0.4 | n |  | TRUE
89 | bus_LV_4566-24_0_11_node_36 | 0.4 | n |  | TRUE
90 | bus_LV_4566-24_0_11_node_131 | 0.4 | n |  | TRUE
91 | bus_LV_4566-24_0_11_node_38 | 0.4 | n |  | TRUE
92 | bus_LV_4566-24_0_11_node_41 | 0.4 | n |  | TRUE
93 | bus_LV_4566-24_0_11_node_171 | 0.4 | n |  | TRUE
94 | bus_LV_4566-24_0_11_node_39 | 0.4 | n |  | TRUE
95 | bus_LV_4566-24_0_11_node_143 | 0.4 | n |  | TRUE
96 | bus_LV_4566-24_0_11_node_40 | 0.4 | n |  | TRUE
97 | bus_LV_4566-24_0_11_node_172 | 0.4 | n |  | TRUE
98 | bus_LV_4566-24_0_11_node_174 | 0.4 | n |  | TRUE
99 | bus_LV_4566-24_0_11_node_42 | 0.4 | n |  | TRUE
100 | bus_LV_4566-24_0_11_node_44 | 0.4 | n |  | TRUE
101 | bus_LV_4566-24_0_11_node_173 | 0.4 | n |  | TRUE
102 | bus_LV_4566-24_0_11_node_43 | 0.4 | n |  | TRUE
103 | bus_LV_4566-24_0_11_node_126 | 0.4 | n |  | TRUE
104 | bus_LV_4566-24_0_11_node_125 | 0.4 | n |  | TRUE
105 | bus_LV_4566-24_0_11_node_176 | 0.4 | n |  | TRUE
106 | bus_LV_4566-24_0_11_node_45 | 0.4 | n |  | TRUE
107 | bus_LV_4566-24_0_11_node_149 | 0.4 | n |  | TRUE
108 | bus_LV_4566-24_0_11_node_148 | 0.4 | n |  | TRUE
109 | bus_LV_4566-24_0_11_node_153 | 0.4 | n |  | TRUE
110 | bus_LV_4566-24_0_11_node_152 | 0.4 | n |  | TRUE
111 | bus_LV_4566-24_0_11_node_175 | 0.4 | n |  | TRUE
112 | bus_LV_4566-24_0_11_node_52 | 0.4 | n |  | TRUE
113 | bus_LV_4566-24_0_11_node_144 | 0.4 | n |  | TRUE
114 | bus_LV_4566-24_0_11_node_49 | 0.4 | n |  | TRUE
115 | bus_LV_4566-24_0_11_node_50 | 0.4 | n |  | TRUE
116 | bus_LV_4566-24_0_11_node_51 | 0.4 | n |  | TRUE
117 | bus_LV_4566-24_0_11_node_127 | 0.4 | n |  | TRUE
118 | bus_LV_4566-24_0_11_node_177 | 0.4 | n |  | TRUE
119 | bus_LV_4566-24_0_11_node_178 | 0.4 | n |  | TRUE
120 | bus_LV_4566-24_0_11_node_54 | 0.4 | n |  | TRUE
121 | bus_LV_4566-24_0_11_node_56 | 0.4 | n |  | TRUE
122 | bus_LV_4566-24_0_11_node_132 | 0.4 | n |  | TRUE
123 | bus_LV_4566-24_0_11_node_136 | 0.4 | n |  | TRUE
124 | bus_LV_4566-24_0_11_node_133 | 0.4 | n |  | TRUE
125 | bus_LV_4566-24_0_11_node_59 | 0.4 | n |  | TRUE
126 | bus_LV_4566-24_0_11_node_60 | 0.4 | n |  | TRUE
127 | bus_LV_4566-24_0_11_node_61 | 0.4 | n |  | TRUE
128 | bus_LV_4566-24_0_11_node_62 | 0.4 | n |  | TRUE
129 | bus_LV_4566-24_0_11_node_63 | 0.4 | n |  | TRUE
130 | bus_LV_4566-24_0_11_node_74 | 0.4 | n |  | TRUE
131 | bus_LV_4566-24_0_11_node_96 | 0.4 | n |  | TRUE
132 | bus_LV_4566-24_0_11_node_76 | 0.4 | n |  | TRUE
133 | bus_LV_4566-24_0_11_node_97 | 0.4 | n |  | TRUE
134 | bus_LV_4566-24_0_11_node_64 | 0.4 | n |  | TRUE
135 | bus_LV_4566-24_0_11_node_65 | 0.4 | n |  | TRUE
136 | bus_LV_4566-24_0_11_node_66 | 0.4 | n |  | TRUE
137 | bus_LV_4566-24_0_11_node_67 | 0.4 | n |  | TRUE
138 | bus_LV_4566-24_0_11_node_68 | 0.4 | n |  | TRUE
139 | bus_LV_4566-24_0_11_node_94 | 0.4 | n |  | TRUE
140 | bus_LV_4566-24_0_11_node_99 | 0.4 | n |  | TRUE
141 | bus_LV_4566-24_0_11_node_77 | 0.4 | n |  | TRUE
142 | bus_LV_4566-24_0_11_node_69 | 0.4 | n |  | TRUE
143 | bus_LV_4566-24_0_11_node_70 | 0.4 | n |  | TRUE
144 | bus_LV_4566-24_0_11_node_72 | 0.4 | n |  | TRUE
145 | bus_LV_4566-24_0_11_node_90 | 0.4 | n |  | TRUE
146 | bus_LV_4566-24_0_11_node_75 | 0.4 | n |  | TRUE
147 | bus_LV_4566-24_0_11_node_118 | 0.4 | n |  | TRUE
148 | bus_LV_4566-24_0_11_node_104 | 0.4 | n |  | TRUE
149 | bus_LV_4566-24_0_11_node_115 | 0.4 | n |  | TRUE
150 | bus_LV_4566-24_0_11_node_79 | 0.4 | n |  | TRUE
151 | bus_LV_4566-24_0_11_node_80 | 0.4 | n |  | TRUE
152 | bus_LV_4566-24_0_11_node_82 | 0.4 | n |  | TRUE
153 | bus_LV_4566-24_0_11_node_87 | 0.4 | n |  | TRUE
154 | bus_LV_4566-24_0_11_node_95 | 0.4 | n |  | TRUE
155 | bus_LV_4566-24_0_11_node_85 | 0.4 | n |  | TRUE
156 | bus_LV_4566-24_0_11_node_84 | 0.4 | n |  | TRUE
157 | bus_LV_4566-24_0_11_node_108 | 0.4 | n |  | TRUE
158 | bus_LV_4566-24_0_11_node_93 | 0.4 | n |  | TRUE
159 | bus_LV_4566-24_0_11_node_98 | 0.4 | n |  | TRUE
160 | bus_LV_4566-24_0_11_node_116 | 0.4 | n |  | TRUE
161 | bus_LV_4566-24_0_11_node_150 | 0.4 | n |  | TRUE
162 | bus_LV_4566-24_0_11_node_159 | 0.4 | n |  | TRUE
163 | bus_LV_4566-24_0_11_node_160 | 0.4 | n |  | TRUE
164 | bus_LV_4566-24_0_11_node_154 | 0.4 | n |  | TRUE
165 | bus_LV_4566-24_0_11_node_151 | 0.4 | n |  | TRUE
166 | bus_LV_4566-24_0_11_node_155 | 0.4 | n |  | TRUE
167 | bus_LV_4566-24_0_11_node_156 | 0.4 | n |  | TRUE
168 | bus_MV_374_1_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-24_0_11_load_0 | 0 | 0.0029729 | 0.00074509 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-24_0_11_load_170 | 6 | 0.00049216 | 0.00012335 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-24_0_11_load_163 | 7 | 0.0077046 | 0.001931 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-24_0_11_load_135 | 9 | 0.0015284 | 0.00038305 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-24_0_11_load_134 | 10 | 0.0015284 | 0.00038305 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-24_0_11_load_109 | 13 | 0.0059801 | 0.0014988 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-24_0_11_load_128 | 16 | 0.0058088 | 0.0014558 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-24_0_11_load_120 | 17 | 0.00040937 | 0.0001026 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-24_0_11_load_88 | 20 | 0.016822 | 0.0042159 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-24_0_11_load_165 | 23 | 0.028077 | 0.0070367 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-24_0_11_load_123 | 26 | 0.0017219 | 0.00043156 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-24_0_11_load_158 | 29 | 0.0022942 | 0.00057497 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-24_0_11_load_112 | 31 | 0.002584 | 0.00064762 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-24_0_11_load_139 | 32 | 0.022294 | 0.0055874 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-24_0_11_load_147 | 33 | 0.0026395 | 0.00066153 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-24_0_11_load_119 | 35 | 0.0058715 | 0.0014715 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-24_0_11_load_114 | 37 | 0.0022485 | 0.00056352 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-24_0_11_load_169 | 38 | 0.0073551 | 0.0018434 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-24_0_11_load_57 | 40 | 0.004072 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-24_0_11_load_53 | 43 | 0.0023017 | 0.00057687 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-24_0_11_load_164 | 44 | 0.0030197 | 0.00075681 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-24_0_11_load_58 | 45 | 0.0016416 | 0.00041141 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-24_0_11_load_162 | 46 | 0.0028129 | 0.00070497 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-24_0_11_load_161 | 47 | 0.0026389 | 0.00066136 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-24_0_11_load_146 | 48 | 0.0093601 | 0.0023459 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-24_0_11_load_113 | 50 | 0.0027228 | 0.00068239 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-24_0_11_load_92 | 52 | 0.003704 | 0.00092831 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-24_0_11_load_89 | 54 | 0.0039995 | 0.0010024 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-24_0_11_load_25 | 58 | 0.011517 | 0.0028865 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-24_0_11_load_73 | 60 | 0.0019503 | 0.00048879 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-24_0_11_load_129 | 61 | 0.0058047 | 0.0014548 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-24_0_11_load_121 | 62 | 0.0012059 | 0.00030222 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-24_0_11_load_124 | 64 | 0.0039443 | 0.00098853 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-24_0_11_load_157 | 65 | 0.0022937 | 0.00057485 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-24_0_11_load_122 | 66 | 0.0019258 | 0.00048264 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-24_0_11_load_117 | 67 | 0.0042574 | 0.001067 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-24_0_11_load_142 | 69 | 0.0053437 | 0.0013392 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-24_0_11_load_140 | 70 | 0.018089 | 0.0045336 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-24_0_11_load_23 | 72 | 0.0017151 | 0.00042983 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-24_0_11_load_24 | 73 | 0.0027973 | 0.00070107 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-24_0_11_load_26 | 74 | 0.0075601 | 0.0018947 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-24_0_11_load_48 | 77 | 0.0058046 | 0.0014548 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-24_0_11_load_100 | 78 | 0.0022003 | 0.00055146 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-24_0_11_load_107 | 81 | 0.0018144 | 0.00045473 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-24_0_11_load_105 | 82 | 0.0018131 | 0.0004544 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-24_0_11_load_71 | 83 | 0.0093458 | 0.0023423 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-24_0_11_load_168 | 84 | 0.0069887 | 0.0017515 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-24_0_11_load_166 | 85 | 0.0082003 | 0.0020552 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-24_0_11_load_81 | 86 | 0.0014864 | 0.00037252 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-24_0_11_load_130 | 88 | 0.0037095 | 0.0009297 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-24_0_11_load_131 | 90 | 0.0032073 | 0.00080382 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-24_0_11_load_171 | 93 | 0.0090842 | 0.0022767 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-24_0_11_load_172 | 97 | 0.010356 | 0.0025954 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-24_0_11_load_174 | 98 | 0.0068443 | 0.0017154 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-24_0_11_load_173 | 101 | 0.010357 | 0.0025958 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-24_0_11_load_126 | 103 | 0.0059089 | 0.0014809 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-24_0_11_load_125 | 104 | 0.0059026 | 0.0014793 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-24_0_11_load_176 | 105 | 0.0078036 | 0.0019558 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-24_0_11_load_149 | 107 | 0.0032064 | 0.0008036 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-24_0_11_load_153 | 109 | 0.003658 | 0.00091677 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-24_0_11_load_152 | 110 | 0.0032064 | 0.00080359 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-24_0_11_load_175 | 111 | 0.0078021 | 0.0019554 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-24_0_11_load_144 | 113 | 0.015139 | 0.0037943 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-24_0_11_load_50 | 115 | 0.0059047 | 0.0014799 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-24_0_11_load_177 | 118 | 0.009082 | 0.0022762 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-24_0_11_load_178 | 119 | 0.006841 | 0.0017145 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-24_0_11_load_54 | 120 | 0.0019979 | 0.00050072 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4566-24_0_11_load_56 | 121 | 0.0016348 | 0.00040973 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4566-24_0_11_load_132 | 122 | 0.0040733 | 0.0010209 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4566-24_0_11_load_136 | 123 | 0.001152 | 0.00028871 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4566-24_0_11_load_133 | 124 | 0.0040755 | 0.0010214 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4566-24_0_11_load_59 | 125 | 0.0075191 | 0.0018845 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4566-24_0_11_load_60 | 126 | 0.00074091 | 0.00018569 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4566-24_0_11_load_61 | 127 | 0.00044577 | 0.00011172 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4566-24_0_11_load_62 | 128 | 0.00044595 | 0.00011177 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4566-24_0_11_load_63 | 129 | 0.0018815 | 0.00047155 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4566-24_0_11_load_74 | 130 | 0.00044575 | 0.00011171 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4566-24_0_11_load_96 | 131 | 0.00074059 | 0.00018561 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4566-24_0_11_load_76 | 132 | 0.0017799 | 0.00044609 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4566-24_0_11_load_97 | 133 | 0.0075143 | 0.0018833 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4566-24_0_11_load_64 | 134 | 0.0018131 | 0.0004544 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4566-24_0_11_load_65 | 135 | 0.001816 | 0.00045514 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4566-24_0_11_load_66 | 136 | 0.0022787 | 0.00057111 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4566-24_0_11_load_67 | 137 | 0.0028658 | 0.00071824 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4566-24_0_11_load_68 | 138 | 0.0018131 | 0.0004544 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4566-24_0_11_load_94 | 139 | 0.0018144 | 0.00045472 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4566-24_0_11_load_99 | 140 | 0.0016819 | 0.00042153 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4566-24_0_11_load_77 | 141 | 0.0017804 | 0.00044621 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4566-24_0_11_load_69 | 142 | 0.0022251 | 0.00055766 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4566-24_0_11_load_70 | 143 | 0.0019503 | 0.00048879 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4566-24_0_11_load_72 | 144 | 0.0022271 | 0.00055817 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4566-24_0_11_load_90 | 145 | 0.0039911 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4566-24_0_11_load_75 | 146 | 0.0016826 | 0.00042169 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4566-24_0_11_load_118 | 147 | 0.01836 | 0.0046015 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4566-24_0_11_load_115 | 149 | 0.0028466 | 0.00071342 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4566-24_0_11_load_79 | 150 | 0.0033723 | 0.00084518 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4566-24_0_11_load_80 | 151 | 0.0013909 | 0.00034859 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4566-24_0_11_load_82 | 152 | 0.0048165 | 0.0012071 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4566-24_0_11_load_85 | 155 | 0.0037028 | 0.00092801 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4566-24_0_11_load_84 | 156 | 0.0021939 | 0.00054985 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4566-24_0_11_load_108 | 157 | 0.0013203 | 0.0003309 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4566-24_0_11_load_93 | 158 | 0.010278 | 0.002576 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4566-24_0_11_load_98 | 159 | 0.0013197 | 0.00033075 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4566-24_0_11_load_116 | 160 | 0.0070141 | 0.0017579 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4566-24_0_11_load_150 | 161 | 0.0032083 | 0.00080408 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4566-24_0_11_load_159 | 162 | 0.0040721 | 0.0010206 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4566-24_0_11_load_160 | 163 | 0.0034598 | 0.0008671 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4566-24_0_11_load_154 | 164 | 0.0036577 | 0.0009167 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4566-24_0_11_load_151 | 165 | 0.0032082 | 0.00080406 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4566-24_0_11_load_155 | 166 | 0.0020781 | 0.00052083 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4566-24_0_11_load_156 | 167 | 0.0020798 | 0.00052124 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 102 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-24_0_11_line_0 |  | 0 | 1 | 0.017767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-24_0_11_line_1 |  | 0 | 2 | 0.015713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-24_0_11_line_2 |  | 1 | 3 | 0.056789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-24_0_11_line_3 |  | 1 | 4 | 0.058799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-24_0_11_line_4 |  | 2 | 5 | 0.035597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-24_0_11_line_5 |  | 3 | 7 | 0.035622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-24_0_11_line_6 |  | 4 | 17 | 0.013962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-24_0_11_line_7 |  | 5 | 6 | 0.042323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-24_0_11_line_8 |  | 6 | 38 | 0.020364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-24_0_11_line_9 |  | 7 | 44 | 0.03599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-24_0_11_line_10 |  | 8 | 9 | 0.021841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-24_0_11_line_11 |  | 8 | 10 | 0.013034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-24_0_11_line_12 |  | 9 | 45 | 0.05874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-24_0_11_line_13 |  | 11 | 12 | 0.017083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-24_0_11_line_14 |  | 11 | 13 | 0.015288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-24_0_11_line_15 |  | 12 | 50 | 0.016402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4566-24_0_11_line_16 |  | 12 | 31 | 0.0088401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4566-24_0_11_line_17 |  | 14 | 15 | 0.011396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4566-24_0_11_line_18 |  | 14 | 16 | 0.0090952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4566-24_0_11_line_19 |  | 15 | 51 | 0.002492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4566-24_0_11_line_20 |  | 15 | 52 | 0.025408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-24_0_11_line_21 |  | 16 | 61 | 0.027789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4566-24_0_11_line_22 |  | 17 | 62 | 0.040732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-24_0_11_line_23 |  | 18 | 19 | 0.083215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4566-24_0_11_line_24 |  | 18 | 20 | 0.005515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4566-24_0_11_line_25 |  | 19 | 32 | 0.024731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-24_0_11_line_26 |  | 19 | 30 | 0.01266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4566-24_0_11_line_27 |  | 20 | 63 | 0.047945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4566-24_0_11_line_28 |  | 21 | 22 | 0.052067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-24_0_11_line_29 |  | 21 | 23 | 0.00060974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-24_0_11_line_30 |  | 22 | 34 | 0.021272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-24_0_11_line_31 |  | 22 | 35 | 0.033505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-24_0_11_line_32 |  | 24 | 25 | 0.011771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4566-24_0_11_line_33 |  | 24 | 26 | 0.019779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4566-24_0_11_line_34 |  | 25 | 38 | 0.016979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4566-24_0_11_line_35 |  | 26 | 64 | 0.0058927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4566-24_0_11_line_36 |  | 27 | 28 | 0.020432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-24_0_11_line_37 |  | 27 | 29 | 0.004601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-24_0_11_line_38 |  | 28 | 33 | 0.01335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-24_0_11_line_39 |  | 29 | 65 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-24_0_11_line_40 |  | 30 | 31 | 0.033766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4566-24_0_11_line_41 |  | 32 | 67 | 0.026917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-24_0_11_line_42 |  | 34 | 36 | 0.020522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4566-24_0_11_line_43 |  | 34 | 37 | 0.016423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-24_0_11_line_44 |  | 35 | 71 | 0.031339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-24_0_11_line_45 |  | 36 | 50 | 0.02103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_4566-24_0_11_line_46 |  | 39 | 40 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-24_0_11_line_47 |  | 39 | 41 | 0.48223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-24_0_11_line_48 |  | 39 | 42 | 0.069225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-24_0_11_line_49 |  | 39 | 43 | 0.039494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-24_0_11_line_50 |  | 40 | 122 | 0.027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-24_0_11_line_51 |  | 41 | 123 | 0.0017656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-24_0_11_line_52 |  | 42 | 88 | 0.026426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-24_0_11_line_53 |  | 42 | 75 | 0.010358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-24_0_11_line_54 |  | 43 | 120 | 0.01075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-24_0_11_line_55 |  | 44 | 106 | 0.0080885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-24_0_11_line_56 |  | 45 | 121 | 0.010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-24_0_11_line_57 |  | 46 | 47 | 0.027731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-24_0_11_line_58 |  | 47 | 163 | 0.025957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-24_0_11_line_59 |  | 48 | 49 | 0.023076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-24_0_11_line_60 |  | 49 | 113 | 0.018973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-24_0_11_line_61 |  | 49 | 106 | 0.038175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-24_0_11_line_62 |  | 51 | 86 | 0.046314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_4566-24_0_11_line_63 |  | 52 | 87 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-24_0_11_line_64 |  | 53 | 54 | 0.0094719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-24_0_11_line_65 |  | 53 | 55 | 0.024459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-24_0_11_line_66 |  | 54 | 59 | 0.0096412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-24_0_11_line_67 |  | 55 | 84 | 0.0049798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-24_0_11_line_68 |  | 55 | 85 | 0.017113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4566-24_0_11_line_69 |  | 56 | 57 | 0.055915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4566-24_0_11_line_70 |  | 56 | 58 | 0.033191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_4566-24_0_11_line_71 |  | 57 | 76 | 0.041613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_4566-24_0_11_line_72 |  | 57 | 61 | 0.02625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_4566-24_0_11_line_73 |  | 58 | 72 | 0.02515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-24_0_11_line_74 |  | 59 | 60 | 0.020109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-24_0_11_line_75 |  | 60 | 83 | 0.0069193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-24_0_11_line_76 |  | 62 | 66 | 0.040182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-24_0_11_line_77 |  | 63 | 156 | 0.039727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_4566-24_0_11_line_78 |  | 64 | 104 | 0.021899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4566-24_0_11_line_79 |  | 65 | 167 | 0.01679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-24_0_11_line_80 |  | 67 | 148 | 0.016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-24_0_11_line_81 |  | 68 | 69 | 0.0085254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-24_0_11_line_82 |  | 68 | 70 | 0.042216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-24_0_11_line_83 |  | 69 | 113 | 0.031251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-24_0_11_line_84 |  | 70 | 94 | 0.063588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-24_0_11_line_85 |  | 71 | 147 | 0.029853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-24_0_11_line_86 |  | 72 | 73 | 0.011639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-24_0_11_line_87 |  | 73 | 74 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4566-24_0_11_line_88 |  | 74 | 75 | 0.049032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4566-24_0_11_line_89 |  | 76 | 77 | 0.028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_4566-24_0_11_line_90 |  | 77 | 114 | 0.048774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_4566-24_0_11_line_91 |  | 78 | 79 | 0.050194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4566-24_0_11_line_92 |  | 79 | 140 | 0.017064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4566-24_0_11_line_93 |  | 79 | 141 | 0.020157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4566-24_0_11_line_94 |  | 79 | 138 | 0.01501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4566-24_0_11_line_95 |  | 80 | 81 | 0.015067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4566-24_0_11_line_96 |  | 80 | 82 | 0.013632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4566-24_0_11_line_97 |  | 81 | 139 | 0.0099652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4566-24_0_11_line_98 |  | 83 | 142 | 0.0042667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4566-24_0_11_line_99 |  | 85 | 158 | 0.023532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4566-24_0_11_line_100 |  | 86 | 150 | 0.0071216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_4566-24_0_11_line_101 |  | 87 | 158 | 0.023472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4566-24_0_11_line_102 |  | 88 | 89 | 0.0038474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4566-24_0_11_line_103 |  | 89 | 90 | 0.014742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4566-24_0_11_line_104 |  | 90 | 107 | 0.018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4566-24_0_11_line_105 |  | 91 | 92 | 0.028174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4566-24_0_11_line_106 |  | 91 | 93 | 0.011961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4566-24_0_11_line_107 |  | 92 | 98 | 0.007541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4566-24_0_11_line_108 |  | 92 | 99 | 0.062444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4566-24_0_11_line_109 |  | 94 | 95 | 0.004025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4566-24_0_11_line_110 |  | 95 | 111 | 0.00833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4566-24_0_11_line_111 |  | 95 | 96 | 0.028407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4566-24_0_11_line_112 |  | 96 | 97 | 0.012547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4566-24_0_11_line_113 |  | 99 | 100 | 0.028248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4566-24_0_11_line_114 |  | 99 | 101 | 0.012393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4566-24_0_11_line_115 |  | 100 | 105 | 0.007324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4566-24_0_11_line_116 |  | 100 | 102 | 0.044509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4566-24_0_11_line_117 |  | 102 | 103 | 0.019645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_4566-24_0_11_line_118 |  | 102 | 104 | 0.014311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
119 | LV_4566-24_0_11_line_119 |  | 103 | 112 | 0.0078528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
120 | LV_4566-24_0_11_line_120 |  | 107 | 161 | 0.017983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4566-24_0_11_line_121 |  | 108 | 109 | 0.0056701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4566-24_0_11_line_122 |  | 108 | 110 | 0.01225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4566-24_0_11_line_123 |  | 109 | 164 | 0.021224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4566-24_0_11_line_124 |  | 110 | 165 | 0.017951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4566-24_0_11_line_125 |  | 112 | 117 | 0.00292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
126 | LV_4566-24_0_11_line_126 |  | 114 | 115 | 0.0066524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4566-24_0_11_line_127 |  | 114 | 116 | 0.0053308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
128 | LV_4566-24_0_11_line_128 |  | 116 | 117 | 0.028234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
129 | LV_4566-24_0_11_line_129 |  | 116 | 118 | 0.012159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4566-24_0_11_line_130 |  | 117 | 119 | 0.007671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4566-24_0_11_line_131 |  | 120 | 121 | 0.035255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4566-24_0_11_line_132 |  | 122 | 124 | 0.02613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4566-24_0_11_line_133 |  | 124 | 162 | 0.025525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4566-24_0_11_line_134 |  | 125 | 126 | 0.0050381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4566-24_0_11_line_135 |  | 125 | 127 | 0.022838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4566-24_0_11_line_136 |  | 126 | 128 | 0.00048487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4566-24_0_11_line_137 |  | 127 | 129 | 0.00015655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4566-24_0_11_line_138 |  | 128 | 130 | 0.00015864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4566-24_0_11_line_139 |  | 129 | 131 | 0.00048999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4566-24_0_11_line_140 |  | 130 | 132 | 0.022144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4566-24_0_11_line_141 |  | 131 | 133 | 0.0048736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4566-24_0_11_line_142 |  | 132 | 146 | 0.004558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4566-24_0_11_line_143 |  | 133 | 159 | 0.022164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4566-24_0_11_line_144 |  | 134 | 135 | 0.0094463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4566-24_0_11_line_145 |  | 134 | 136 | 0.0059344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4566-24_0_11_line_146 |  | 135 | 137 | 0.00036602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4566-24_0_11_line_147 |  | 136 | 138 | 0.0039306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4566-24_0_11_line_148 |  | 137 | 139 | 0.0093218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4566-24_0_11_line_149 |  | 141 | 146 | 0.022884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4566-24_0_11_line_150 |  | 142 | 143 | 0.0076914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4566-24_0_11_line_151 |  | 143 | 144 | 0.00678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4566-24_0_11_line_152 |  | 144 | 145 | 0.019538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4566-24_0_11_line_153 |  | 148 | 149 | 0.0082084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4566-24_0_11_line_154 |  | 149 | 160 | 0.005603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4566-24_0_11_line_155 |  | 150 | 151 | 0.012789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
156 | LV_4566-24_0_11_line_156 |  | 151 | 152 | 0.0081955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
157 | LV_4566-24_0_11_line_157 |  | 152 | 153 | 0.0021435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
158 | LV_4566-24_0_11_line_158 |  | 153 | 154 | 0.013767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4566-24_0_11_line_159 |  | 153 | 155 | 0.024497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
160 | LV_4566-24_0_11_line_160 |  | 154 | 157 | 0.002859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4566-24_0_11_line_161 |  | 155 | 156 | 0.0041376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
162 | LV_4566-24_0_11_line_162 |  | 157 | 159 | 0.00015545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_4566-24_0_11_line_163 |  | 161 | 165 | 0.017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_4566-24_0_11_line_164 |  | 162 | 163 | 0.026976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_4566-24_0_11_line_165 |  | 164 | 166 | 0.018903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_4566-24_0_11_line_166 |  | 166 | 167 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-24_0_11_trafo_43 | 0.63 MVA 20/0.4 kV | 168 | 102 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2710672.8292 | 1267380.0762 | 2710679.778 | 1267375.7025 | 2710686.6522 | 1267370.4822 | 2710687.3844 | 1267369.9172
1 | 2710700.0802 | 1267360.6696 | 2710693.9406 | 1267364.8583 | 2710687.3844 | 1267369.9172
2 | 2710650.4891 | 1267341.1351 | 2710648.7686 | 1267343.7496 | 2710649.9983 | 1267351.2569 | 2710651.1999 | 1267358.2522 | 2710652.855 | 1267365.5562 | 2710654.689 | 1267374.1647 | 2710656.328 | 1267378.7105 | 2710660.0167 | 1267381.5598 | 2710664.0926 | 1267382.2256 | 2710668.1536 | 1267381.6789 | 2710672.8292 | 1267380.0762
3 | 2710657.2773 | 1267424.0789 | 2710663.6095 | 1267421.2617 | 2710668.6964 | 1267417.398 | 2710666.8281 | 1267414.238 | 2710665.5273 | 1267410.933 | 2710664.7963 | 1267406.1485 | 2710667.195 | 1267403.1019 | 2710668.4981 | 1267399.4564 | 2710668.5708 | 1267395.5766 | 2710667.4052 | 1267391.8849 | 2710676.6383 | 1267385.7413 | 2710672.8292 | 1267380.0762
4 | 2710700.0802 | 1267360.6696 | 2710692.583 | 1267342.4911 | 2710703.1 | 1267330.5221
5 | 2710650.4891 | 1267341.1351 | 2710657.2232 | 1267334.5554 | 2710675.0235 | 1267315.3216
6 | 2710657.2773 | 1267424.0789 | 2710664.1879 | 1267436.2113
7 | 2710703.1 | 1267330.5221 | 2710722.1418 | 1267310.0388 | 2710719.8373 | 1267307.6602 | 2710727.4799 | 1267299.688
8 | 2710741.91 | 1267294.1953 | 2710741.91 | 1267294.1953 | 2710736.9935 | 1267289.766 | 2710730.8652 | 1267296.1568 | 2710727.4799 | 1267299.688
9 | 2710675.0235 | 1267315.3216 | 2710699.4688 | 1267288.9075
10 | 2710630.6188 | 1267102.4218 | 2710650.3813 | 1267093.1231
11 | 2710630.6188 | 1267102.4218 | 2710626.634 | 1267093.2615 | 2710624.4516 | 1267091.1384
12 | 2710650.3813 | 1267093.1231 | 2710667.8728 | 1267084.8928 | 2710681.2995 | 1267077.1931 | 2710700.9421 | 1267063.5233
13 | 2710751.6633 | 1267381.5654 | 2710757.7551 | 1267380.334 | 2710763.7944 | 1267381.0923 | 2710767.9885 | 1267383.4841
14 | 2710751.6633 | 1267381.5654 | 2710749.26 | 1267388.8711 | 2710745.6614 | 1267395.5621
15 | 2710767.9885 | 1267383.4841 | 2710768.2836 | 1267389.4281 | 2710766.1702 | 1267399.6629
16 | 2710767.9885 | 1267383.4841 | 2710770.3191 | 1267380.4585 | 2710771.5399 | 1267375.5882
17 | 2710883.0903 | 1267213.0049 | 2710887.6925 | 1267208.1092 | 2710884.2122 | 1267204.9856
18 | 2710884.2122 | 1267204.9856 | 2710890.4128 | 1267198.3316
19 | 2710883.0903 | 1267213.0049 | 2710881.3772 | 1267214.8188
20 | 2710883.0903 | 1267213.0049 | 2710890.4237 | 1267217.8356 | 2710893.7082 | 1267220.1548 | 2710898.8259 | 1267220.6846 | 2710900.8986 | 1267222.5807 | 2710904.3214 | 1267225.7306
21 | 2710890.4128 | 1267198.3316 | 2710909.3573 | 1267178.0016
22 | 2710664.1879 | 1267436.2113 | 2710676.0694 | 1267457.0707 | 2710677.3606 | 1267463.3003 | 2710677.5742 | 1267469.5764 | 2710677.2869 | 1267473.6504
23 | 2710791.5418 | 1267314.3764 | 2710782.9341 | 1267322.4888 | 2710772.3483 | 1267330.8866 | 2710800.6044 | 1267363.478 | 2710805.8376 | 1267369.8817 | 2710810.1059 | 1267374.7438
24 | 2710791.5418 | 1267314.3764 | 2710795.2351 | 1267310.2808
25 | 2710810.1059 | 1267374.7438 | 2710826.4219 | 1267393.3294
26 | 2710804.3239 | 1267383.543 | 2710807.8468 | 1267383.5869 | 2710807.9413 | 1267382.9659 | 2710808.9837 | 1267378.3703 | 2710810.1059 | 1267374.7438
27 | 2710826.1057 | 1267273.6445 | 2710817.8929 | 1267282.3759 | 2710812.9351 | 1267288.1769 | 2710806.2824 | 1267296.8263 | 2710802.5798 | 1267301.5388 | 2710798.0701 | 1267307.1369 | 2710795.2351 | 1267310.2808
28 | 2710775.783 | 1267498.5861 | 2710782.7671 | 1267469.8475 | 2710786.782 | 1267453.6976 | 2710787.4257 | 1267447.8824
29 | 2710775.6389 | 1267499.1786 | 2710775.783 | 1267498.5861
30 | 2710770.2378 | 1267436.1722 | 2710778.7248 | 1267444.116 | 2710781.5224 | 1267445.4919 | 2710787.4449 | 1267447.6603 | 2710787.4257 | 1267447.8824
31 | 2710787.4257 | 1267447.8824 | 2710800.9041 | 1267451.8385 | 2710818.0395 | 1267454.7067 | 2710820.0644 | 1267455.2016
32 | 2710753.8226 | 1267282.0969 | 2710761.8453 | 1267273.4619
33 | 2710761.8453 | 1267273.4619 | 2710775.3884 | 1267259.0464
34 | 2710753.8226 | 1267282.0969 | 2710741.91 | 1267294.1953
35 | 2710775.3884 | 1267259.0464 | 2710779.4231 | 1267254.7517
36 | 2710663.6018 | 1267173.3788 | 2710653.5727 | 1267172.557 | 2710648.7222 | 1267163.3916
37 | 2710648.7222 | 1267163.3916 | 2710652.8707 | 1267161.4019
38 | 2710663.6018 | 1267173.3788 | 2710674.6736 | 1267169.5828 | 2710676.0496 | 1267168.6809
39 | 2710668.7123 | 1267153.8042 | 2710652.8707 | 1267161.4019
40 | 2710804.3239 | 1267383.543 | 2710801.7983 | 1267383.3177 | 2710771.5399 | 1267375.5882
41 | 2710844.1797 | 1267413.5573 | 2710826.4219 | 1267393.3294
42 | 2710758.7361 | 1267419.1529 | 2710770.2378 | 1267436.1722
43 | 2710770.2378 | 1267436.1722 | 2710764.1053 | 1267439.9828 | 2710757.3252 | 1267446.2056
44 | 2710846.6771 | 1267470.135 | 2710844.1238 | 1267466.5729 | 2710836.7775 | 1267461.2416 | 2710828.9819 | 1267457.3809 | 2710820.0644 | 1267455.2016
45 | 2710758.7361 | 1267419.1529 | 2710761.7528 | 1267414.472 | 2710765.8405 | 1267401.2593 | 2710766.1702 | 1267399.6629
46 | 2710779.5954 | 1267008.7862 | 2710778.7521 | 1267012.7961 | 2710776.9814 | 1267014.064 | 2710772.7259 | 1267016.9876
47 | 2710779.5954 | 1267008.7862 | 2710662.4021 | 1266541.0173
48 | 2710779.5954 | 1267008.7862 | 2710793.2927 | 1267013.9697 | 2710827.8175 | 1267029.575 | 2710842.7213 | 1267037.4724
49 | 2710779.5954 | 1267008.7862 | 2710747.179 | 1267031.3457
50 | 2710772.7259 | 1267016.9876 | 2710757.5527 | 1267027.4115 | 2710750.2074 | 1267032.6753
51 | 2710662.4021 | 1266541.0173 | 2710662.9545 | 1266539.3404
52 | 2710842.7213 | 1267037.4724 | 2710821.9342 | 1267053.7889
53 | 2710842.7213 | 1267037.4724 | 2710851.8759 | 1267042.3706
54 | 2710747.179 | 1267031.3457 | 2710738.3554 | 1267037.4863
55 | 2710704.9627 | 1267282.9711 | 2710699.4688 | 1267288.9075
56 | 2710700.9421 | 1267063.5233 | 2710709.4184 | 1267057.6244
57 | 2710663.2749 | 1267090.5604 | 2710654.0206 | 1267095.2091 | 2710638.3531 | 1267102.7192
58 | 2710685.9968 | 1267078.0596 | 2710676.2162 | 1267084.0595 | 2710663.2749 | 1267090.5604
59 | 2710671.2476 | 1267268.0156 | 2710655.1992 | 1267284.5976
60 | 2710671.2476 | 1267268.0156 | 2710684.1721 | 1267254.1253
61 | 2710704.9627 | 1267282.9711 | 2710700.672 | 1267278.498 | 2710694.8053 | 1267276.1527 | 2710681.2539 | 1267274.4641 | 2710676.8491 | 1267272.858 | 2710671.2476 | 1267268.0156
62 | 2710881.3772 | 1267214.8188 | 2710890.4209 | 1267220.3933 | 2710892.1596 | 1267221.627 | 2710898.5812 | 1267226.4962 | 2710904.099 | 1267234.1842 | 2710905.7223 | 1267241.9659 | 2710901.3479 | 1267248.7675
63 | 2710915.4871 | 1267233.197 | 2710911.5198 | 1267232.3552 | 2710904.3214 | 1267225.7306
64 | 2710979.2908 | 1267202.0231 | 2710973.0726 | 1267209.1681
65 | 2710979.2908 | 1267202.0231 | 2710974.6223 | 1267195.6188 | 2710970.1448 | 1267188.6731 | 2710961.8796 | 1267188.9515
66 | 2710980.6174 | 1267215.1706 | 2710973.0726 | 1267209.1681
67 | 2710961.8796 | 1267188.9515 | 2710963.5606 | 1267185.2465 | 2710964.2246 | 1267184.6223
68 | 2710961.8796 | 1267188.9515 | 2710949.4159 | 1267200.6776
69 | 2710927.2528 | 1267158.7974 | 2710947.8911 | 1267136.7767 | 2710955.6517 | 1267128.4929 | 2710965.5405 | 1267117.9472
70 | 2710965.5405 | 1267117.9472 | 2710946.8624 | 1267104.963 | 2710937.923 | 1267099.5646
71 | 2710927.2528 | 1267158.7974 | 2710901.2363 | 1267134.4324 | 2710896.8338 | 1267130.3017
72 | 2710927.2528 | 1267158.7974 | 2710909.3573 | 1267178.0016
73 | 2710916.3944 | 1267086.5638 | 2710937.923 | 1267099.5646
74 | 2710980.6174 | 1267215.1706 | 2710976.4616 | 1267223.9558 | 2710972.7215 | 1267229.457 | 2710970.1329 | 1267232.1534
75 | 2710965.712 | 1267237.4387 | 2710967.0691 | 1267235.3449 | 2710970.1329 | 1267232.1534
76 | 2710662.705 | 1267510.6615 | 2710669.1413 | 1267498.1101 | 2710673.1813 | 1267489.8452 | 2710676.2629 | 1267482.4965 | 2710677.123 | 1267475.9736 | 2710677.2869 | 1267473.6504
77 | 2710826.1057 | 1267273.6445 | 2710842.8217 | 1267286.0466 | 2710857.3225 | 1267286.4967 | 2710860.4212 | 1267283.3654
78 | 2710794.4173 | 1267238.7917 | 2710779.4231 | 1267254.7517
79 | 2710683.8515 | 1267146.5433 | 2710668.7123 | 1267153.8042
80 | 2710855.1616 | 1267426.0668 | 2710844.1797 | 1267413.5573
81 | 2710711.2674 | 1267225.0054 | 2710705.4599 | 1267231.2468
82 | 2710711.2674 | 1267225.0054 | 2710740.3699 | 1267194.424
83 | 2710684.1721 | 1267254.1253 | 2710705.4599 | 1267231.2468
84 | 2710784.2055 | 1267148.3609 | 2710740.3699 | 1267194.424
85 | 2710846.6771 | 1267470.135 | 2710840.9724 | 1267470.0057 | 2710834.5838 | 1267469.8079 | 2710828.8216 | 1267470.3336 | 2710824.8679 | 1267471.1825 | 2710820.1647 | 1267471.8504 | 2710817.0846 | 1267471.0809
86 | 2710916.3944 | 1267086.5638 | 2710906.4311 | 1267080.5471
87 | 2710906.4311 | 1267080.5471 | 2710904.6107 | 1267079.4478 | 2710891.1332 | 1267071.6876
88 | 2710851.8759 | 1267042.3706 | 2710875.1235 | 1267060.6448 | 2710888.379 | 1267070.1017 | 2710891.1332 | 1267071.6876
89 | 2710896.8338 | 1267130.3017 | 2710888.937 | 1267138.6275 | 2710877.471 | 1267150.7719
90 | 2710843.9874 | 1267186.2369 | 2710877.471 | 1267150.7719
91 | 2710996.2859 | 1267346.5795 | 2711024.4832 | 1267305.0545
92 | 2710996.2859 | 1267346.5795 | 2710992.5621 | 1267348.8115 | 2710989.3674 | 1267348.1287 | 2710981.6483 | 1267342.6011
93 | 2710996.2859 | 1267346.5795 | 2710979.9999 | 1267334.7022
94 | 2710996.2859 | 1267346.5795 | 2711009.4097 | 1267353.8643
95 | 2711056.6512 | 1267380.0872 | 2711043.4775 | 1267372.7747
96 | 2711056.6512 | 1267380.0872 | 2711049.5376 | 1267391.7157
97 | 2711043.4775 | 1267372.7747 | 2711034.7646 | 1267367.9383
98 | 2710965.712 | 1267237.4387 | 2710963.3912 | 1267241.019
99 | 2710932.4066 | 1267216.9374 | 2710939.49 | 1267210.0162 | 2710949.4159 | 1267200.6776
100 | 2710901.3479 | 1267248.7675 | 2710895.2271 | 1267245.1273 | 2710895.2271 | 1267245.1273
101 | 2710915.4871 | 1267233.197 | 2710917.4915 | 1267231.511 | 2710932.4066 | 1267216.9374
102 | 2710818.9078 | 1267056.1644 | 2710821.9342 | 1267053.7889
103 | 2710818.9078 | 1267056.1644 | 2710807.1292 | 1267065.0298
104 | 2710807.1292 | 1267065.0298 | 2710792.3297 | 1267076.169
105 | 2710848.2603 | 1267124.6745 | 2710829.0855 | 1267145.3663
106 | 2710839.6982 | 1267116.2955 | 2710848.2603 | 1267124.6745
107 | 2710829.0855 | 1267145.3663 | 2710823.3652 | 1267140.4325
108 | 2710791.7542 | 1267185.0677 | 2710794.3164 | 1267187.7625 | 2710813.658 | 1267167.3962 | 2710832.0102 | 1267148.0012 | 2710829.7523 | 1267145.946 | 2710829.0855 | 1267145.3663
109 | 2710781.2757 | 1267145.5924 | 2710781.6088 | 1267145.8989 | 2710784.2055 | 1267148.3609
110 | 2710781.2757 | 1267145.5924 | 2710775.109 | 1267139.9719
111 | 2710800.4562 | 1267124.5892 | 2710781.2757 | 1267145.5924
112 | 2710791.5263 | 1267115.7474 | 2710800.4562 | 1267124.5892
113 | 2710772.06 | 1267205.3718 | 2710791.7542 | 1267185.0677
114 | 2710783.0504 | 1267176.219 | 2710791.7542 | 1267185.0677
115 | 2710766.6872 | 1267200.3778 | 2710768.5362 | 1267202.1585 | 2710772.06 | 1267205.3718
116 | 2710804.2165 | 1267228.3613 | 2710778.6826 | 1267204.3506 | 2710774.875 | 1267208.2382 | 2710772.06 | 1267205.3718
117 | 2710804.2165 | 1267228.3613 | 2710817.7014 | 1267214.075
118 | 2710804.2165 | 1267228.3613 | 2710794.4173 | 1267238.7917
119 | 2710823.0918 | 1267208.3644 | 2710817.7014 | 1267214.075
120 | 2710792.3297 | 1267076.169 | 2710777.9618 | 1267086.9833
121 | 2710739.4622 | 1267115.9608 | 2710734.9299 | 1267119.368
122 | 2710739.4622 | 1267115.9608 | 2710749.2497 | 1267108.5941
123 | 2710734.9299 | 1267119.368 | 2710730.8168 | 1267122.46 | 2710718.8813 | 1267129.7428 | 2710716.9913 | 1267130.6493
124 | 2710763.5917 | 1267097.7992 | 2710749.2497 | 1267108.5941
125 | 2710820.9992 | 1267206.3234 | 2710821.5029 | 1267206.7665 | 2710823.0918 | 1267208.3644
126 | 2710843.9874 | 1267186.2369 | 2710847.8713 | 1267189.9241 | 2710848.7877 | 1267190.8421
127 | 2710843.9874 | 1267186.2369 | 2710842.4363 | 1267187.8426 | 2710840.2641 | 1267185.6333
128 | 2710840.2641 | 1267185.6333 | 2710820.9992 | 1267206.3234
129 | 2710831.4619 | 1267177.2164 | 2710840.2641 | 1267185.6333
130 | 2710820.9992 | 1267206.3234 | 2710815.252 | 1267201.2223
131 | 2710738.3554 | 1267037.4863 | 2710709.4184 | 1267057.6244
132 | 2710750.2074 | 1267032.6753 | 2710742.9139 | 1267037.9019 | 2710728.9053 | 1267047.8082
133 | 2710728.9053 | 1267047.8082 | 2710720.7308 | 1267053.5889 | 2710708.0437 | 1267062.5153
134 | 2710935.3458 | 1267302.1361 | 2710939.4163 | 1267305.1048
135 | 2710935.3458 | 1267302.1361 | 2710916.8939 | 1267288.6793
136 | 2710939.4163 | 1267305.1048 | 2710939.8081 | 1267305.3905
137 | 2710916.7675 | 1267288.5871 | 2710916.8939 | 1267288.6793
138 | 2710939.8081 | 1267305.3905 | 2710939.9363 | 1267305.484
139 | 2710916.3716 | 1267288.2983 | 2710916.7675 | 1267288.5871
140 | 2710957.8276 | 1267318.532 | 2710939.9363 | 1267305.484
141 | 2710916.3716 | 1267288.2983 | 2710912.4339 | 1267285.4266
142 | 2710961.5103 | 1267321.2178 | 2710957.8276 | 1267318.532
143 | 2710912.4339 | 1267285.4266 | 2710894.5265 | 1267272.3668
144 | 2711018.035 | 1267358.652 | 2711026.2942 | 1267363.2366
145 | 2711018.035 | 1267358.652 | 2711012.8464 | 1267355.7719
146 | 2711026.6142 | 1267363.4142 | 2711026.2942 | 1267363.2366
147 | 2711009.4097 | 1267353.8643 | 2711012.8464 | 1267355.7719
148 | 2711026.6142 | 1267363.4142 | 2711034.7646 | 1267367.9383
149 | 2710961.5103 | 1267321.2178 | 2710979.9999 | 1267334.7022
150 | 2710963.3912 | 1267241.019 | 2710962.6181 | 1267242.2118 | 2710958.5585 | 1267246.9902
151 | 2710954.1687 | 1267252.1572 | 2710958.5585 | 1267246.9902
152 | 2710938.8164 | 1267251.9817 | 2710946.6103 | 1267257.8471 | 2710948.8407 | 1267257.3552 | 2710951.1146 | 1267255.7521 | 2710954.1687 | 1267252.1572
153 | 2710855.1616 | 1267426.0668 | 2710853.1092 | 1267434.0144
154 | 2710853.1092 | 1267434.0144 | 2710853.0181 | 1267434.3672 | 2710855.1417 | 1267437.5542 | 2710855.8465 | 1267438.7741
155 | 2710895.2271 | 1267245.1273 | 2710887.118 | 1267255.0171
156 | 2710881.9217 | 1267261.3546 | 2710887.118 | 1267255.0171
157 | 2710880.5626 | 1267263.0122 | 2710881.9217 | 1267261.3546
158 | 2710892.091 | 1267270.5906 | 2710880.5626 | 1267263.0122
159 | 2710880.5626 | 1267263.0122 | 2710863.3316 | 1267280.4244
160 | 2710892.091 | 1267270.5906 | 2710894.4009 | 1267272.2752
161 | 2710860.4212 | 1267283.3654 | 2710863.3316 | 1267280.4244
162 | 2710894.4009 | 1267272.2752 | 2710894.5265 | 1267272.3668
163 | 2710777.9618 | 1267086.9833 | 2710763.5917 | 1267097.7992
164 | 2710708.0437 | 1267062.5153 | 2710693.7422 | 1267072.5777 | 2710685.9968 | 1267078.0596 | 2710685.9968 | 1267078.0596
165 | 2710716.9913 | 1267130.6493 | 2710699.9473 | 1267138.8237
166 | 2710699.9473 | 1267138.8237 | 2710683.8515 | 1267146.5433

## bus_geodata
| x | y | coords
0 | 2710687.3844 | 1267369.9172
1 | 2710672.8292 | 1267380.0762
2 | 2710700.0802 | 1267360.6696
3 | 2710650.4891 | 1267341.1351
4 | 2710657.2773 | 1267424.0789
5 | 2710703.1 | 1267330.5221
6 | 2710727.4799 | 1267299.688
7 | 2710675.0235 | 1267315.3216
8 | 2710630.6188 | 1267102.4218
9 | 2710650.3813 | 1267093.1231
10 | 2710624.4516 | 1267091.1384
11 | 2710751.6633 | 1267381.5654
12 | 2710767.9885 | 1267383.4841
13 | 2710745.6614 | 1267395.5621
14 | 2710884.2122 | 1267204.9856
15 | 2710883.0903 | 1267213.0049
16 | 2710890.4128 | 1267198.3316
17 | 2710664.1879 | 1267436.2113
18 | 2710791.5418 | 1267314.3764
19 | 2710810.1059 | 1267374.7438
20 | 2710795.2351 | 1267310.2808
21 | 2710775.783 | 1267498.5861
22 | 2710787.4257 | 1267447.8824
23 | 2710775.6389 | 1267499.1786
24 | 2710761.8453 | 1267273.4619
25 | 2710753.8226 | 1267282.0969
26 | 2710775.3884 | 1267259.0464
27 | 2710648.7222 | 1267163.3916
28 | 2710663.6018 | 1267173.3788
29 | 2710652.8707 | 1267161.4019
30 | 2710804.3239 | 1267383.543
31 | 2710771.5399 | 1267375.5882
32 | 2710826.4219 | 1267393.3294
33 | 2710676.0496 | 1267168.6809
34 | 2710770.2378 | 1267436.1722
35 | 2710820.0644 | 1267455.2016
36 | 2710758.7361 | 1267419.1529
37 | 2710757.3252 | 1267446.2056
38 | 2710741.91 | 1267294.1953
39 | 2710779.5954 | 1267008.7862
40 | 2710772.7259 | 1267016.9876
41 | 2710662.4021 | 1266541.0173
42 | 2710842.7213 | 1267037.4724
43 | 2710747.179 | 1267031.3457
44 | 2710699.4688 | 1267288.9075
45 | 2710700.9421 | 1267063.5233
46 | 2710638.3531 | 1267102.7192
47 | 2710663.2749 | 1267090.5604
48 | 2710655.1992 | 1267284.5976
49 | 2710671.2476 | 1267268.0156
50 | 2710766.1702 | 1267399.6629
51 | 2710881.3772 | 1267214.8188
52 | 2710904.3214 | 1267225.7306
53 | 2710979.2908 | 1267202.0231
54 | 2710973.0726 | 1267209.1681
55 | 2710961.8796 | 1267188.9515
56 | 2710965.5405 | 1267117.9472
57 | 2710927.2528 | 1267158.7974
58 | 2710937.923 | 1267099.5646
59 | 2710980.6174 | 1267215.1706
60 | 2710970.1329 | 1267232.1534
61 | 2710909.3573 | 1267178.0016
62 | 2710677.2869 | 1267473.6504
63 | 2710826.1057 | 1267273.6445
64 | 2710779.4231 | 1267254.7517
65 | 2710668.7123 | 1267153.8042
66 | 2710662.705 | 1267510.6615
67 | 2710844.1797 | 1267413.5573
68 | 2710711.2674 | 1267225.0054
69 | 2710705.4599 | 1267231.2468
70 | 2710740.3699 | 1267194.424
71 | 2710846.6771 | 1267470.135
72 | 2710916.3944 | 1267086.5638
73 | 2710906.4311 | 1267080.5471
74 | 2710891.1332 | 1267071.6876
75 | 2710851.8759 | 1267042.3706
76 | 2710896.8338 | 1267130.3017
77 | 2710877.471 | 1267150.7719
78 | 2711024.4832 | 1267305.0545
79 | 2710996.2859 | 1267346.5795
80 | 2711056.6512 | 1267380.0872
81 | 2711043.4775 | 1267372.7747
82 | 2711049.5376 | 1267391.7157
83 | 2710965.712 | 1267237.4387
84 | 2710964.2246 | 1267184.6223
85 | 2710949.4159 | 1267200.6776
86 | 2710901.3479 | 1267248.7675
87 | 2710915.4871 | 1267233.197
88 | 2710821.9342 | 1267053.7889
89 | 2710818.9078 | 1267056.1644
90 | 2710807.1292 | 1267065.0298
91 | 2710848.2603 | 1267124.6745
92 | 2710829.0855 | 1267145.3663
93 | 2710839.6982 | 1267116.2955
94 | 2710784.2055 | 1267148.3609
95 | 2710781.2757 | 1267145.5924
96 | 2710800.4562 | 1267124.5892
97 | 2710791.5263 | 1267115.7474
98 | 2710823.3652 | 1267140.4325
99 | 2710791.7542 | 1267185.0677
100 | 2710772.06 | 1267205.3718
101 | 2710783.0504 | 1267176.219
102 | 2710804.2165 | 1267228.3613
103 | 2710817.7014 | 1267214.075
104 | 2710794.4173 | 1267238.7917
105 | 2710766.6872 | 1267200.3778
106 | 2710704.9627 | 1267282.9711
107 | 2710792.3297 | 1267076.169
108 | 2710739.4622 | 1267115.9608
109 | 2710734.9299 | 1267119.368
110 | 2710749.2497 | 1267108.5941
111 | 2710775.109 | 1267139.9719
112 | 2710823.0918 | 1267208.3644
113 | 2710684.1721 | 1267254.1253
114 | 2710843.9874 | 1267186.2369
115 | 2710848.7877 | 1267190.8421
116 | 2710840.2641 | 1267185.6333
117 | 2710820.9992 | 1267206.3234
118 | 2710831.4619 | 1267177.2164
119 | 2710815.252 | 1267201.2223
120 | 2710738.3554 | 1267037.4863
121 | 2710709.4184 | 1267057.6244
122 | 2710750.2074 | 1267032.6753
123 | 2710662.9545 | 1266539.3404
124 | 2710728.9053 | 1267047.8082
125 | 2710935.3458 | 1267302.1361
126 | 2710939.4163 | 1267305.1048
127 | 2710916.8939 | 1267288.6793
128 | 2710939.8081 | 1267305.3905
129 | 2710916.7675 | 1267288.5871
130 | 2710939.9363 | 1267305.484
131 | 2710916.3716 | 1267288.2983
132 | 2710957.8276 | 1267318.532
133 | 2710912.4339 | 1267285.4266
134 | 2711018.035 | 1267358.652
135 | 2711026.2942 | 1267363.2366
136 | 2711012.8464 | 1267355.7719
137 | 2711026.6142 | 1267363.4142
138 | 2711009.4097 | 1267353.8643
139 | 2711034.7646 | 1267367.9383
140 | 2710981.6483 | 1267342.6011
141 | 2710979.9999 | 1267334.7022
142 | 2710963.3912 | 1267241.019
143 | 2710958.5585 | 1267246.9902
144 | 2710954.1687 | 1267252.1572
145 | 2710938.8164 | 1267251.9817
146 | 2710961.5103 | 1267321.2178
147 | 2710817.0846 | 1267471.0809
148 | 2710855.1616 | 1267426.0668
149 | 2710853.1092 | 1267434.0144
150 | 2710895.2271 | 1267245.1273
151 | 2710887.118 | 1267255.0171
152 | 2710881.9217 | 1267261.3546
153 | 2710880.5626 | 1267263.0122
154 | 2710892.091 | 1267270.5906
155 | 2710863.3316 | 1267280.4244
156 | 2710860.4212 | 1267283.3654
157 | 2710894.4009 | 1267272.2752
158 | 2710932.4066 | 1267216.9374
159 | 2710894.5265 | 1267272.3668
160 | 2710855.8465 | 1267438.7741
161 | 2710777.9618 | 1267086.9833
162 | 2710708.0437 | 1267062.5153
163 | 2710685.9968 | 1267078.0596
164 | 2710716.9913 | 1267130.6493
165 | 2710763.5917 | 1267097.7992
166 | 2710699.9473 | 1267138.8237
167 | 2710683.8515 | 1267146.5433
168 | 2710823.0918 | 1267208.3644

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1