## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-32_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-32_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-32_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-32_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4566-32_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4566-32_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4566-32_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_4566-32_0_5_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_4566-32_0_5_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_4566-32_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4566-32_0_5_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_4566-32_0_5_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_4566-32_0_5_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_4566-32_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4566-32_0_5_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_4566-32_0_5_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_4566-32_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4566-32_0_5_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_4566-32_0_5_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_4566-32_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4566-32_0_5_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_4566-32_0_5_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_4566-32_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_4566-32_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_4566-32_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_4566-32_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_4566-32_0_5_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_4566-32_0_5_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_4566-32_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_4566-32_0_5_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_4566-32_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4566-32_0_5_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_4566-32_0_5_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_4566-32_0_5_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_4566-32_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4566-32_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4566-32_0_5_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_4566-32_0_5_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_4566-32_0_5_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_4566-32_0_5_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_4566-32_0_5_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_4566-32_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_4566-32_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_4566-32_0_5_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_4566-32_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_4566-32_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_4566-32_0_5_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_4566-32_0_5_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_4566-32_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4566-32_0_5_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_4566-32_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_4566-32_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4566-32_0_5_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_4566-32_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_4566-32_0_5_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_4566-32_0_5_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_4566-32_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_4566-32_0_5_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_4566-32_0_5_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4566-32_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_4566-32_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4566-32_0_5_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_4566-32_0_5_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_4566-32_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4566-32_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_4566-32_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_4566-32_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_4566-32_0_5_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_4566-32_0_5_node_55 | 0.4 | n |  | TRUE
69 | bus_MV_374_1_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-32_0_5_load_0 | 0 | 0.027112 | 0.0067949 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-32_0_5_load_73 | 7 | 0.010798 | 0.0027062 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-32_0_5_load_75 | 8 | 0.023391 | 0.0058623 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-32_0_5_load_36 | 10 | 0.0035093 | 0.00087952 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-32_0_5_load_46 | 11 | 0.017625 | 0.0044172 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-32_0_5_load_44 | 12 | 0.0063355 | 0.0015878 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-32_0_5_load_48 | 14 | 0.010453 | 0.0026196 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-32_0_5_load_74 | 15 | 0.0030984 | 0.00077652 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-32_0_5_load_49 | 18 | 0.021057 | 0.0052774 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-32_0_5_load_56 | 20 | 0.0082151 | 0.0020589 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-32_0_5_load_70 | 21 | 0.020908 | 0.0052402 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-32_0_5_load_69 | 26 | 0.0052306 | 0.0013109 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-32_0_5_load_71 | 27 | 0.009262 | 0.0023213 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-32_0_5_load_76 | 29 | 0.020891 | 0.0052358 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-32_0_5_load_57 | 31 | 0.010203 | 0.0025571 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-32_0_5_load_53 | 32 | 0.0056958 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-32_0_5_load_62 | 33 | 0.02366 | 0.0059298 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-32_0_5_load_68 | 36 | 0.062489 | 0.015661 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-32_0_5_load_61 | 37 | 0.0056254 | 0.0014099 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-32_0_5_load_65 | 38 | 0.036523 | 0.0091535 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-32_0_5_load_63 | 39 | 0.017909 | 0.0044884 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-32_0_5_load_60 | 40 | 0.020516 | 0.0051417 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-32_0_5_load_72 | 43 | 0.039396 | 0.0098735 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-32_0_5_load_51 | 46 | 0.0086123 | 0.0021585 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-32_0_5_load_58 | 47 | 0.0026688 | 0.00066886 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-32_0_5_load_41 | 48 | 0.0021361 | 0.00053535 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-32_0_5_load_37 | 53 | 0.0018021 | 0.00045164 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-32_0_5_load_64 | 54 | 0.010836 | 0.0027156 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-32_0_5_load_67 | 55 | 0.026172 | 0.0065593 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-32_0_5_load_35 | 56 | 0.0029669 | 0.00074357 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-32_0_5_load_47 | 57 | 0.0058314 | 0.0014615 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-32_0_5_load_45 | 58 | 0.0082234 | 0.002061 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-32_0_5_load_38 | 61 | 0.015672 | 0.0039278 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-32_0_5_load_52 | 63 | 0.024351 | 0.0061029 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-32_0_5_load_50 | 64 | 0.012481 | 0.0031282 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-32_0_5_load_66 | 65 | 0.0086603 | 0.0021705 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-32_0_5_load_59 | 66 | 0.0076953 | 0.0019286 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-32_0_5_load_43 | 67 | 0.008314 | 0.0020837 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-32_0_5_load_55 | 68 | 0.028072 | 0.0070354 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-32_0_5_line_0 |  | 0 | 1 | 0.021695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-32_0_5_line_1 |  | 0 | 2 | 0.0069517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-32_0_5_line_2 |  | 1 | 3 | 0.023233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-32_0_5_line_3 |  | 1 | 4 | 0.053378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-32_0_5_line_4 |  | 2 | 5 | 0.063589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-32_0_5_line_5 |  | 3 | 8 | 0.023538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-32_0_5_line_6 |  | 3 | 6 | 0.058693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-32_0_5_line_7 |  | 4 | 9 | 0.08382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-32_0_5_line_8 |  | 4 | 10 | 0.023389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-32_0_5_line_9 |  | 5 | 11 | 0.030329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-32_0_5_line_10 |  | 5 | 12 | 0.013748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-32_0_5_line_11 |  | 6 | 7 | 0.020331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-32_0_5_line_12 |  | 9 | 13 | 0.054405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4566-32_0_5_line_13 |  | 9 | 14 | 0.021673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-32_0_5_line_14 |  | 10 | 56 | 0.03762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-32_0_5_line_15 |  | 11 | 57 | 0.023202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-32_0_5_line_16 |  | 12 | 58 | 0.0044309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-32_0_5_line_17 |  | 13 | 15 | 0.012461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-32_0_5_line_18 |  | 13 | 16 | 0.082875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4566-32_0_5_line_19 |  | 16 | 17 | 0.006483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-32_0_5_line_20 |  | 16 | 18 | 0.045841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4566-32_0_5_line_21 |  | 17 | 38 | 0.012399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-32_0_5_line_22 |  | 17 | 39 | 0.029361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-32_0_5_line_23 |  | 17 | 35 | 0.070019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-32_0_5_line_24 |  | 18 | 51 | 0.051017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4566-32_0_5_line_25 |  | 19 | 20 | 0.013037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-32_0_5_line_26 |  | 19 | 21 | 0.010411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-32_0_5_line_27 |  | 20 | 62 | 0.0086078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4566-32_0_5_line_28 |  | 21 | 27 | 0.010931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-32_0_5_line_29 |  | 22 | 23 | 0.018737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-32_0_5_line_30 |  | 22 | 24 | 0.027017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-32_0_5_line_31 |  | 22 | 25 | 0.001094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-32_0_5_line_32 |  | 22 | 26 | 0.036326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-32_0_5_line_33 |  | 23 | 27 | 0.0041289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-32_0_5_line_34 |  | 24 | 33 | 0.015023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-32_0_5_line_35 |  | 24 | 28 | 0.021345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-32_0_5_line_36 |  | 25 | 40 | 0.013573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-32_0_5_line_37 |  | 28 | 29 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-32_0_5_line_38 |  | 30 | 31 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-32_0_5_line_39 |  | 30 | 32 | 0.019293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-32_0_5_line_40 |  | 32 | 62 | 0.0047836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-32_0_5_line_41 |  | 34 | 35 | 0.062925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-32_0_5_line_42 |  | 34 | 36 | 0.0058537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-32_0_5_line_43 |  | 35 | 37 | 0.032254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-32_0_5_line_44 |  | 40 | 42 | 0.024599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-32_0_5_line_45 |  | 41 | 42 | 0.016997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-32_0_5_line_46 |  | 41 | 43 | 0.0026633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-32_0_5_line_47 |  | 44 | 45 | 0.072687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_4566-32_0_5_line_48 |  | 44 | 46 | 0.013874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-32_0_5_line_49 |  | 44 | 47 | 0.033613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4566-32_0_5_line_50 |  | 45 | 48 | 0.03075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4566-32_0_5_line_51 |  | 46 | 64 | 0.027433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-32_0_5_line_52 |  | 47 | 66 | 0.011701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_4566-32_0_5_line_53 |  | 48 | 60 | 0.050857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_4566-32_0_5_line_54 |  | 49 | 50 | 0.003593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_4566-32_0_5_line_55 |  | 50 | 51 | 0.026489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4566-32_0_5_line_56 |  | 50 | 52 | 0.034491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-32_0_5_line_57 |  | 50 | 53 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4566-32_0_5_line_58 |  | 52 | 54 | 0.051881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-32_0_5_line_59 |  | 52 | 55 | 0.03191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-32_0_5_line_60 |  | 53 | 61 | 0.035186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_4566-32_0_5_line_61 |  | 55 | 65 | 5.8728e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-32_0_5_line_62 |  | 59 | 60 | 0.004738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_4566-32_0_5_line_63 |  | 59 | 61 | 0.026127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4566-32_0_5_line_64 |  | 60 | 67 | 0.024614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-32_0_5_line_65 |  | 62 | 68 | 0.0073503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_4566-32_0_5_line_66 |  | 63 | 64 | 0.013891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-32_0_5_line_67 |  | 66 | 68 | 0.0098504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-32_0_5_trafo_32 | 0.63 MVA 20/0.4 kV | 69 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2709936.7104 | 1267938.2568 | 2709948.7409 | 1267956.3103
1 | 2709952.5959 | 1267962.0953 | 2709948.7409 | 1267956.3103
2 | 2709936.7104 | 1267938.2568 | 2709941.21 | 1267932.3242 | 2709944.2536 | 1267928.9779 | 2709950.9124 | 1267919.8939
3 | 2709936.7104 | 1267938.2568 | 2709909.3942 | 1267933.9449 | 2709893.8351 | 1267928.1505 | 2709891.1707 | 1267931.3482 | 2709886.617 | 1267933.3097
4 | 2709952.5959 | 1267962.0953 | 2709961.0809 | 1267986.3298 | 2709964.551 | 1268001.7189 | 2709972.4748 | 1268003.1343 | 2709980.9983 | 1268004.6831 | 2709986.3495 | 1268005.5724
5 | 2709950.9124 | 1267919.8939 | 2709959.0789 | 1267922.0254 | 2709970.6194 | 1267924.0864 | 2709970.1946 | 1267927.4926
6 | 2709931.3846 | 1267887.0686 | 2709934.9669 | 1267886.735 | 2709940.9596 | 1267887.5472 | 2709946.6137 | 1267889.9656 | 2709953.6657 | 1267894.1338 | 2709948.8034 | 1267896.9013 | 2709948.9111 | 1267906.0779 | 2709951.2015 | 1267907.1993 | 2709954.3081 | 1267910.9826 | 2709955.7071 | 1267913.4775 | 2709956.4164 | 1267916.6268 | 2709950.9124 | 1267919.8939
7 | 2709841.1376 | 1267910.6111 | 2709851.5754 | 1267908.8257 | 2709853.6919 | 1267908.3647 | 2709853.0159 | 1267903.4256 | 2709852.6252 | 1267900.1488 | 2709855.3629 | 1267897.0526 | 2709857.39 | 1267899.3812 | 2709859.0928 | 1267900.9253 | 2709884.831 | 1267921.266 | 2709893.8351 | 1267928.1505 | 2709891.1707 | 1267931.3482 | 2709886.617 | 1267933.3097
8 | 2709886.617 | 1267933.3097 | 2709880.2212 | 1267910.8118
9 | 2710016.3553 | 1268010.5686 | 2709986.3495 | 1268005.5724
10 | 2709986.3495 | 1268005.5724 | 2709987.8983 | 1267996.7936 | 2709988.7492 | 1267992.0354
11 | 2709931.3846 | 1267887.0686 | 2709929.5091 | 1267866.8244
12 | 2709841.1376 | 1267910.6111 | 2709851.5754 | 1267908.8257 | 2709853.6919 | 1267908.3647 | 2709863.186 | 1267906.7175 | 2709864.4825 | 1267910.2781 | 2709866.2157 | 1267916.2599 | 2709869.9742 | 1267928.7073 | 2709872.6376 | 1267937.2976
13 | 2709841.1376 | 1267910.6111 | 2709842.5236 | 1267918.6661 | 2709844.9539 | 1267931.9447
14 | 2709870.7341 | 1267874.4189 | 2709874.7461 | 1267891.5526 | 2709880.2212 | 1267910.8118
15 | 2710016.3553 | 1268010.5686 | 2710039.2424 | 1268014.3812
16 | 2709989.5292 | 1267987.6736 | 2709988.7492 | 1267992.0354
17 | 2709872.6376 | 1267937.2976 | 2709861.5212 | 1267939.5485 | 2709860.9906 | 1267938.5266
18 | 2709870.6798 | 1268009.7355 | 2709874.0724 | 1268009.4761 | 2709876.752 | 1268009.1034 | 2709875.8349 | 1268000.9348 | 2709879.5303 | 1267999.7802 | 2709882.0315 | 1267996.8575 | 2709883.3434 | 1267992.3002 | 2709882.0957 | 1267983.2914 | 2709880.5442 | 1267974.0211 | 2709874.8052 | 1267944.611 | 2709872.6376 | 1267937.2976
19 | 2709871.5691 | 1268016.1576 | 2709870.6798 | 1268009.7355
20 | 2709870.6798 | 1268009.7355 | 2709866.3952 | 1268009.3777 | 2709861.6935 | 1268006.3543 | 2709859.2843 | 1268001.5053 | 2709854.2058 | 1267980.6928 | 2709852.111 | 1267975.1268 | 2709849.5483 | 1267973.2664
21 | 2709871.5691 | 1268016.1576 | 2709871.8012 | 1268017.4408 | 2709874.4313 | 1268028.2213
22 | 2709871.5691 | 1268016.1576 | 2709868.9408 | 1268016.6091 | 2709866.219 | 1268016.8254 | 2709863.4728 | 1268016.3295 | 2709860.2136 | 1268014.6785 | 2709858.1398 | 1268012.438 | 2709856.7565 | 1268009.4986 | 2709854.1593 | 1267998.5849
23 | 2709871.5691 | 1268016.1576 | 2709874.0576 | 1268015.937 | 2709876.1331 | 1268016.0646 | 2709877.5777 | 1268016.5141 | 2709879.5388 | 1268017.5292 | 2709881.2672 | 1268019.3185 | 2709882.9405 | 1268022.0408 | 2709883.3542 | 1268026.1076 | 2709882.4779 | 1268037.1899 | 2709880.4017 | 1268051.6639 | 2709876.7025 | 1268073.6587 | 2709876.0962 | 1268077.5175
24 | 2709799.9482 | 1267984.3209 | 2709822.8823 | 1267978.5309 | 2709838.5919 | 1267974.6084 | 2709846.2128 | 1267972.8819 | 2709849.5483 | 1267973.2664
25 | 2709562.932 | 1268040.126 | 2709570.6497 | 1268029.6191
26 | 2709562.932 | 1268040.126 | 2709571.7877 | 1268045.5993
27 | 2709575.7454 | 1268022.6818 | 2709570.6497 | 1268029.6191
28 | 2709571.7877 | 1268045.5993 | 2709581.0864 | 1268051.3465
29 | 2709584.5987 | 1268053.5172 | 2709600.455 | 1268063.5756
30 | 2709589.2759 | 1268076.524 | 2709584.4312 | 1268071.4631 | 2709587.3579 | 1268069.5379 | 2709590.7311 | 1268067.0761 | 2709594.3427 | 1268064.7521 | 2709597.3171 | 1268066.7424 | 2709600.455 | 1268063.5756
31 | 2709600.455 | 1268063.5756 | 2709601.2298 | 1268062.8004
32 | 2709600.455 | 1268063.5756 | 2709621.0579 | 1268077.0806 | 2709630.7452 | 1268083.6253
33 | 2709584.5987 | 1268053.5172 | 2709581.0864 | 1268051.3465
34 | 2709589.2759 | 1268076.524 | 2709578.3831 | 1268081.7599 | 2709575.7195 | 1268082.9987
35 | 2709589.2759 | 1268076.524 | 2709594.0489 | 1268073.6878 | 2709596.9816 | 1268073.4642 | 2709603.0404 | 1268075.9788 | 2709608.3667 | 1268079.425
36 | 2709601.2298 | 1268062.8004 | 2709603.5358 | 1268056.9937 | 2709609.2054 | 1268052.355
37 | 2709600.5734 | 1268087.2095 | 2709607.1538 | 1268081.0929 | 2709608.3667 | 1268079.425
38 | 2709564.65 | 1268007.1848 | 2709566.5781 | 1267996.7466
39 | 2709564.65 | 1268007.1848 | 2709563.2038 | 1268017.3668 | 2709571.8146 | 1268020.0146
40 | 2709575.7454 | 1268022.6818 | 2709572.4412 | 1268020.2072 | 2709571.8146 | 1268020.0146
41 | 2709851.3468 | 1268074.8773 | 2709856.1995 | 1268075.0454 | 2709855.0996 | 1268092.4846 | 2709855.5602 | 1268094.0278 | 2709856.3968 | 1268094.7885 | 2709857.4494 | 1268095.264 | 2709858.4426 | 1268094.0815 | 2709858.6377 | 1268091.2827 | 2709860.0976 | 1268087.6733 | 2709870.2143 | 1268072.7818 | 2709871.9114 | 1268073.0135 | 2709876.7025 | 1268073.6587 | 2709876.0962 | 1268077.5175
42 | 2709851.3468 | 1268074.8773 | 2709849.6246 | 1268069.2827
43 | 2709876.0962 | 1268077.5175 | 2709875.1387 | 1268083.6606 | 2709871.4904 | 1268100.0848 | 2709869.2779 | 1268109.0278
44 | 2709628.3975 | 1268036.9707 | 2709621.5846 | 1268042.2267 | 2709609.2054 | 1268052.355
45 | 2709628.3975 | 1268036.9707 | 2709630.7485 | 1268040.5063 | 2709637.8087 | 1268051.1243
46 | 2709637.8087 | 1268051.1243 | 2709639.1565 | 1268053.4214
47 | 2709615.5465 | 1267974.5224 | 2709664.5348 | 1267998.4188 | 2709669.6753 | 1268000.9275 | 2709681.2567 | 1267996.3273
48 | 2709615.5465 | 1267974.5224 | 2709603.2317 | 1267968.1318
49 | 2709615.5465 | 1267974.5224 | 2709610.1077 | 1267980.3711 | 2709593.5772 | 1267999.9526
50 | 2709681.2567 | 1267996.3273 | 2709702.1025 | 1267976.9084 | 2709703.9419 | 1267975.5932
51 | 2709580.351 | 1267953.203 | 2709583.4496 | 1267955.6107 | 2709588.6162 | 1267959.9658 | 2709595.0331 | 1267963.8771 | 2709603.2317 | 1267968.1318
52 | 2709586.0292 | 1268008.8938 | 2709593.5772 | 1267999.9526
53 | 2709731.2 | 1267933.9779 | 2709730.4178 | 1267935.1533 | 2709728.2803 | 1267938.3609 | 2709716.1762 | 1267962.5683 | 2709713.6539 | 1267968.6601 | 2709707.8783 | 1267972.7787 | 2709703.9419 | 1267975.5932
54 | 2709775.4702 | 1267993.7855 | 2709773.0196 | 1267996.4201
55 | 2709775.4702 | 1267993.7855 | 2709777.5946 | 1267991.6898 | 2709788.1211 | 1267987.5484 | 2709799.9482 | 1267984.3209
56 | 2709775.4702 | 1267993.7855 | 2709782.2254 | 1268005.41 | 2709788.0267 | 1268017.7285 | 2709789.3532 | 1268021.2896 | 2709792.8354 | 1268020.2645
57 | 2709775.4702 | 1267993.7855 | 2709767.9261 | 1267980.9041
58 | 2709792.8354 | 1268020.2645 | 2709792.2886 | 1268018.4973 | 2709783.7554 | 1268000.8678 | 2709783.1945 | 1267997.8325 | 2709783.2381 | 1267995.4869 | 2709784.6983 | 1267993.4789 | 2709787.7055 | 1267991.6777 | 2709806.1608 | 1267987.0601
59 | 2709792.8354 | 1268020.2645 | 2709805.4086 | 1268016.5838 | 2709810.3801 | 1268034.7242
60 | 2709767.9261 | 1267980.9041 | 2709759.2784 | 1267966.1385 | 2709755.4401 | 1267959.5948 | 2709749.251 | 1267951.1277
61 | 2709810.3801 | 1268034.7242 | 2709810.3956 | 1268034.7808
62 | 2709733.833 | 1267930.0345 | 2709731.2 | 1267933.9779
63 | 2709733.833 | 1267930.0345 | 2709749.251 | 1267951.1277
64 | 2709731.2 | 1267933.9779 | 2709734.4761 | 1267937.1526 | 2709741.3708 | 1267945.3322 | 2709746.914 | 1267952.8671
65 | 2709575.7454 | 1268022.6818 | 2709580.1399 | 1268016.7898
66 | 2709580.351 | 1267953.203 | 2709569.3824 | 1267944.6801
67 | 2709586.0292 | 1268008.8938 | 2709580.1399 | 1268016.7898

## bus_geodata
| x | y | coords
0 | 2709948.7409 | 1267956.3103
1 | 2709936.7104 | 1267938.2568
2 | 2709952.5959 | 1267962.0953
3 | 2709950.9124 | 1267919.8939
4 | 2709886.617 | 1267933.3097
5 | 2709986.3495 | 1268005.5724
6 | 2709931.3846 | 1267887.0686
7 | 2709929.5091 | 1267866.8244
8 | 2709970.1946 | 1267927.4926
9 | 2709841.1376 | 1267910.6111
10 | 2709880.2212 | 1267910.8118
11 | 2710016.3553 | 1268010.5686
12 | 2709988.7492 | 1267992.0354
13 | 2709872.6376 | 1267937.2976
14 | 2709844.9539 | 1267931.9447
15 | 2709860.9906 | 1267938.5266
16 | 2709870.6798 | 1268009.7355
17 | 2709871.5691 | 1268016.1576
18 | 2709849.5483 | 1267973.2664
19 | 2709562.932 | 1268040.126
20 | 2709570.6497 | 1268029.6191
21 | 2709571.7877 | 1268045.5993
22 | 2709600.455 | 1268063.5756
23 | 2709584.5987 | 1268053.5172
24 | 2709589.2759 | 1268076.524
25 | 2709601.2298 | 1268062.8004
26 | 2709630.7452 | 1268083.6253
27 | 2709581.0864 | 1268051.3465
28 | 2709608.3667 | 1268079.425
29 | 2709600.5734 | 1268087.2095
30 | 2709564.65 | 1268007.1848
31 | 2709566.5781 | 1267996.7466
32 | 2709571.8146 | 1268020.0146
33 | 2709575.7195 | 1268082.9987
34 | 2709851.3468 | 1268074.8773
35 | 2709876.0962 | 1268077.5175
36 | 2709849.6246 | 1268069.2827
37 | 2709869.2779 | 1268109.0278
38 | 2709874.4313 | 1268028.2213
39 | 2709854.1593 | 1267998.5849
40 | 2709609.2054 | 1268052.355
41 | 2709637.8087 | 1268051.1243
42 | 2709628.3975 | 1268036.9707
43 | 2709639.1565 | 1268053.4214
44 | 2709615.5465 | 1267974.5224
45 | 2709681.2567 | 1267996.3273
46 | 2709603.2317 | 1267968.1318
47 | 2709593.5772 | 1267999.9526
48 | 2709703.9419 | 1267975.5932
49 | 2709773.0196 | 1267996.4201
50 | 2709775.4702 | 1267993.7855
51 | 2709799.9482 | 1267984.3209
52 | 2709792.8354 | 1268020.2645
53 | 2709767.9261 | 1267980.9041
54 | 2709806.1608 | 1267987.0601
55 | 2709810.3801 | 1268034.7242
56 | 2709870.734 | 1267874.4189
57 | 2710039.2424 | 1268014.3812
58 | 2709989.5292 | 1267987.6736
59 | 2709733.833 | 1267930.0345
60 | 2709731.2 | 1267933.9779
61 | 2709749.251 | 1267951.1277
62 | 2709575.7454 | 1268022.6818
63 | 2709569.3824 | 1267944.6801
64 | 2709580.351 | 1267953.203
65 | 2709810.3956 | 1268034.7808
66 | 2709586.0292 | 1268008.8938
67 | 2709746.914 | 1267952.8671
68 | 2709580.1399 | 1268016.7898
69 | 2709775.4702 | 1267993.7855

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1