## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-35_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-35_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-35_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-35_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4566-35_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4566-35_0_5_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_4566-35_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_4566-35_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4566-35_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4566-35_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4566-35_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4566-35_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4566-35_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4566-35_0_5_node_163 | 0.4 | n |  | TRUE
14 | bus_LV_4566-35_0_5_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_4566-35_0_5_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_4566-35_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4566-35_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4566-35_0_5_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_4566-35_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_4566-35_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4566-35_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4566-35_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4566-35_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_4566-35_0_5_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4566-35_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4566-35_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4566-35_0_5_node_164 | 0.4 | n |  | TRUE
28 | bus_LV_4566-35_0_5_node_165 | 0.4 | n |  | TRUE
29 | bus_LV_4566-35_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_4566-35_0_5_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_4566-35_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_4566-35_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_4566-35_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_4566-35_0_5_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_4566-35_0_5_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_4566-35_0_5_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_4566-35_0_5_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_4566-35_0_5_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_4566-35_0_5_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_4566-35_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_4566-35_0_5_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_4566-35_0_5_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_4566-35_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4566-35_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_4566-35_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_4566-35_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_4566-35_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_4566-35_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_4566-35_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_4566-35_0_5_node_119 | 0.4 | n |  | TRUE
51 | bus_LV_4566-35_0_5_node_161 | 0.4 | n |  | TRUE
52 | bus_LV_4566-35_0_5_node_124 | 0.4 | n |  | TRUE
53 | bus_LV_4566-35_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_4566-35_0_5_node_120 | 0.4 | n |  | TRUE
55 | bus_LV_4566-35_0_5_node_160 | 0.4 | n |  | TRUE
56 | bus_LV_4566-35_0_5_node_125 | 0.4 | n |  | TRUE
57 | bus_LV_4566-35_0_5_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_4566-35_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_4566-35_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_4566-35_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4566-35_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4566-35_0_5_node_135 | 0.4 | n |  | TRUE
63 | bus_LV_4566-35_0_5_node_136 | 0.4 | n |  | TRUE
64 | bus_LV_4566-35_0_5_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_4566-35_0_5_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_4566-35_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_4566-35_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_4566-35_0_5_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_4566-35_0_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_4566-35_0_5_node_127 | 0.4 | n |  | TRUE
71 | bus_LV_4566-35_0_5_node_93 | 0.4 | n |  | TRUE
72 | bus_LV_4566-35_0_5_node_106 | 0.4 | n |  | TRUE
73 | bus_LV_4566-35_0_5_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_4566-35_0_5_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_4566-35_0_5_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_4566-35_0_5_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_4566-35_0_5_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_4566-35_0_5_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_4566-35_0_5_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_4566-35_0_5_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_4566-35_0_5_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_4566-35_0_5_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_4566-35_0_5_node_101 | 0.4 | n |  | TRUE
84 | bus_LV_4566-35_0_5_node_102 | 0.4 | n |  | TRUE
85 | bus_LV_4566-35_0_5_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_4566-35_0_5_node_58 | 0.4 | n |  | TRUE
87 | bus_LV_4566-35_0_5_node_59 | 0.4 | n |  | TRUE
88 | bus_LV_4566-35_0_5_node_60 | 0.4 | n |  | TRUE
89 | bus_LV_4566-35_0_5_node_61 | 0.4 | n |  | TRUE
90 | bus_LV_4566-35_0_5_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_4566-35_0_5_node_64 | 0.4 | n |  | TRUE
92 | bus_LV_4566-35_0_5_node_62 | 0.4 | n |  | TRUE
93 | bus_LV_4566-35_0_5_node_140 | 0.4 | n |  | TRUE
94 | bus_LV_4566-35_0_5_node_149 | 0.4 | n |  | TRUE
95 | bus_LV_4566-35_0_5_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_4566-35_0_5_node_150 | 0.4 | n |  | TRUE
97 | bus_LV_4566-35_0_5_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_4566-35_0_5_node_66 | 0.4 | n |  | TRUE
99 | bus_LV_4566-35_0_5_node_67 | 0.4 | n |  | TRUE
100 | bus_LV_4566-35_0_5_node_69 | 0.4 | n |  | TRUE
101 | bus_LV_4566-35_0_5_node_113 | 0.4 | n |  | TRUE
102 | bus_LV_4566-35_0_5_node_121 | 0.4 | n |  | TRUE
103 | bus_LV_4566-35_0_5_node_73 | 0.4 | n |  | TRUE
104 | bus_LV_4566-35_0_5_node_75 | 0.4 | n |  | TRUE
105 | bus_LV_4566-35_0_5_node_76 | 0.4 | n |  | TRUE
106 | bus_LV_4566-35_0_5_node_114 | 0.4 | n |  | TRUE
107 | bus_LV_4566-35_0_5_node_91 | 0.4 | n |  | TRUE
108 | bus_LV_4566-35_0_5_node_133 | 0.4 | n |  | TRUE
109 | bus_LV_4566-35_0_5_node_115 | 0.4 | n |  | TRUE
110 | bus_LV_4566-35_0_5_node_134 | 0.4 | n |  | TRUE
111 | bus_LV_4566-35_0_5_node_79 | 0.4 | n |  | TRUE
112 | bus_LV_4566-35_0_5_node_80 | 0.4 | n |  | TRUE
113 | bus_LV_4566-35_0_5_node_89 | 0.4 | n |  | TRUE
114 | bus_LV_4566-35_0_5_node_90 | 0.4 | n |  | TRUE
115 | bus_LV_4566-35_0_5_node_83 | 0.4 | n |  | TRUE
116 | bus_LV_4566-35_0_5_node_96 | 0.4 | n |  | TRUE
117 | bus_LV_4566-35_0_5_node_122 | 0.4 | n |  | TRUE
118 | bus_LV_4566-35_0_5_node_84 | 0.4 | n |  | TRUE
119 | bus_LV_4566-35_0_5_node_85 | 0.4 | n |  | TRUE
120 | bus_LV_4566-35_0_5_node_86 | 0.4 | n |  | TRUE
121 | bus_LV_4566-35_0_5_node_87 | 0.4 | n |  | TRUE
122 | bus_LV_4566-35_0_5_node_88 | 0.4 | n |  | TRUE
123 | bus_LV_4566-35_0_5_node_131 | 0.4 | n |  | TRUE
124 | bus_LV_4566-35_0_5_node_130 | 0.4 | n |  | TRUE
125 | bus_LV_4566-35_0_5_node_126 | 0.4 | n |  | TRUE
126 | bus_LV_4566-35_0_5_node_137 | 0.4 | n |  | TRUE
127 | bus_LV_4566-35_0_5_node_123 | 0.4 | n |  | TRUE
128 | bus_LV_4566-35_0_5_node_132 | 0.4 | n |  | TRUE
129 | bus_LV_4566-35_0_5_node_128 | 0.4 | n |  | TRUE
130 | bus_LV_4566-35_0_5_node_139 | 0.4 | n |  | TRUE
131 | bus_LV_4566-35_0_5_node_141 | 0.4 | n |  | TRUE
132 | bus_LV_4566-35_0_5_node_94 | 0.4 | n |  | TRUE
133 | bus_LV_4566-35_0_5_node_112 | 0.4 | n |  | TRUE
134 | bus_LV_4566-35_0_5_node_110 | 0.4 | n |  | TRUE
135 | bus_LV_4566-35_0_5_node_104 | 0.4 | n |  | TRUE
136 | bus_LV_4566-35_0_5_node_98 | 0.4 | n |  | TRUE
137 | bus_LV_4566-35_0_5_node_100 | 0.4 | n |  | TRUE
138 | bus_LV_4566-35_0_5_node_129 | 0.4 | n |  | TRUE
139 | bus_LV_4566-35_0_5_node_142 | 0.4 | n |  | TRUE
140 | bus_LV_4566-35_0_5_node_103 | 0.4 | n |  | TRUE
141 | bus_LV_4566-35_0_5_node_105 | 0.4 | n |  | TRUE
142 | bus_LV_4566-35_0_5_node_107 | 0.4 | n |  | TRUE
143 | bus_LV_4566-35_0_5_node_118 | 0.4 | n |  | TRUE
144 | bus_LV_4566-35_0_5_node_116 | 0.4 | n |  | TRUE
145 | bus_LV_4566-35_0_5_node_108 | 0.4 | n |  | TRUE
146 | bus_LV_4566-35_0_5_node_109 | 0.4 | n |  | TRUE
147 | bus_LV_4566-35_0_5_node_111 | 0.4 | n |  | TRUE
148 | bus_LV_4566-35_0_5_node_117 | 0.4 | n |  | TRUE
149 | bus_LV_4566-35_0_5_node_143 | 0.4 | n |  | TRUE
150 | bus_LV_4566-35_0_5_node_144 | 0.4 | n |  | TRUE
151 | bus_LV_4566-35_0_5_node_145 | 0.4 | n |  | TRUE
152 | bus_LV_4566-35_0_5_node_147 | 0.4 | n |  | TRUE
153 | bus_LV_4566-35_0_5_node_148 | 0.4 | n |  | TRUE
154 | bus_LV_4566-35_0_5_node_159 | 0.4 | n |  | TRUE
155 | bus_LV_4566-35_0_5_node_158 | 0.4 | n |  | TRUE
156 | bus_LV_4566-35_0_5_node_151 | 0.4 | n |  | TRUE
157 | bus_LV_4566-35_0_5_node_152 | 0.4 | n |  | TRUE
158 | bus_LV_4566-35_0_5_node_153 | 0.4 | n |  | TRUE
159 | bus_LV_4566-35_0_5_node_154 | 0.4 | n |  | TRUE
160 | bus_LV_4566-35_0_5_node_155 | 0.4 | n |  | TRUE
161 | bus_LV_4566-35_0_5_node_156 | 0.4 | n |  | TRUE
162 | bus_LV_4566-35_0_5_node_157 | 0.4 | n |  | TRUE
163 | bus_LV_4566-35_0_5_node_162 | 0.4 | n |  | TRUE
164 | bus_MV_374_1_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-35_0_5_load_0 | 0 | 0.0022784 | 0.00057101 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-35_0_5_load_1 | 1 | 0.0014207 | 0.00035607 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-35_0_5_load_2 | 2 | 0.0035135 | 0.00088057 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-35_0_5_load_3 | 3 | 0.00095765 | 0.00024001 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-35_0_5_load_4 | 4 | 0.0011955 | 0.00029962 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-35_0_5_load_11 | 6 | 0.00061271 | 0.00015356 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-35_0_5_load_5 | 7 | 0.0024791 | 0.00062132 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-35_0_5_load_6 | 8 | 0.0013116 | 0.00032871 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-35_0_5_load_8 | 10 | 0.00050354 | 0.0001262 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-35_0_5_load_10 | 12 | 0.00084072 | 0.00021071 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-35_0_5_load_163 | 13 | 0.00050427 | 0.00012638 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-35_0_5_load_22 | 15 | 0.0015039 | 0.0003769 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-35_0_5_load_17 | 16 | 0.0010959 | 0.00027465 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-35_0_5_load_14 | 17 | 0.0011714 | 0.00029359 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-35_0_5_load_23 | 18 | 0.0011086 | 0.00027784 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-35_0_5_load_19 | 19 | 0.0028621 | 0.0007173 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-35_0_5_load_16 | 20 | 0.00096017 | 0.00024064 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-35_0_5_load_15 | 22 | 0.00076784 | 0.00019244 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-35_0_5_load_25 | 23 | 0.0005265 | 0.00013195 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-35_0_5_load_24 | 24 | 0.0029181 | 0.00073136 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-35_0_5_load_18 | 25 | 0.0031399 | 0.00078693 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-35_0_5_load_164 | 27 | 0.0012958 | 0.00032476 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-35_0_5_load_26 | 29 | 0.0021263 | 0.0005329 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-35_0_5_load_27 | 30 | 0.0016041 | 0.00040202 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-35_0_5_load_28 | 31 | 0.0042968 | 0.0010769 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-35_0_5_load_29 | 32 | 0.0023796 | 0.00059638 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-35_0_5_load_55 | 35 | 0.0018614 | 0.00046651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-35_0_5_load_74 | 36 | 0.0012911 | 0.00032357 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-35_0_5_load_71 | 37 | 0.0019003 | 0.00047627 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-35_0_5_load_70 | 38 | 0.002516 | 0.00063058 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-35_0_5_load_68 | 39 | 0.0028262 | 0.00070831 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-35_0_5_load_54 | 40 | 0.0018991 | 0.00047595 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-35_0_5_load_78 | 41 | 0.0035332 | 0.00088549 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-35_0_5_load_77 | 42 | 0.00068769 | 0.00017235 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-35_0_5_load_31 | 43 | 0.0037873 | 0.0009492 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-35_0_5_load_34 | 46 | 0.0028139 | 0.00070524 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-35_0_5_load_35 | 47 | 0.0042906 | 0.0010753 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-35_0_5_load_36 | 48 | 0.004484 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-35_0_5_load_37 | 49 | 0.0031881 | 0.00079902 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-35_0_5_load_119 | 50 | 0.003962 | 0.00099298 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-35_0_5_load_161 | 51 | 0.0025693 | 0.00064394 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-35_0_5_load_124 | 52 | 0.0025039 | 0.00062754 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-35_0_5_load_41 | 53 | 0.0025959 | 0.00065059 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-35_0_5_load_120 | 54 | 0.0027862 | 0.00069829 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-35_0_5_load_160 | 55 | 0.0014427 | 0.00036156 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-35_0_5_load_125 | 56 | 0.0028078 | 0.00070371 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-35_0_5_load_39 | 57 | 0.0028069 | 0.00070347 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-35_0_5_load_38 | 58 | 0.0021824 | 0.00054695 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-35_0_5_load_43 | 61 | 0.0053527 | 0.0013415 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-35_0_5_load_135 | 62 | 0.0023081 | 0.00057847 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-35_0_5_load_136 | 63 | 0.0023145 | 0.00058008 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-35_0_5_load_44 | 64 | 0.0016996 | 0.00042595 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-35_0_5_load_45 | 65 | 0.0020923 | 0.00052438 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-35_0_5_load_46 | 66 | 0.0023509 | 0.0005892 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-35_0_5_load_47 | 67 | 0.0031221 | 0.00078247 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-35_0_5_load_48 | 68 | 0.0017084 | 0.00042815 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-35_0_5_load_65 | 69 | 0.00097892 | 0.00024534 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-35_0_5_load_127 | 70 | 0.0030427 | 0.00076257 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-35_0_5_load_93 | 71 | 0.0036427 | 0.00091296 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-35_0_5_load_49 | 73 | 0.0011132 | 0.000279 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-35_0_5_load_50 | 74 | 0.0017002 | 0.00042611 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-35_0_5_load_51 | 75 | 0.0016823 | 0.00042163 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-35_0_5_load_52 | 76 | 0.0016121 | 0.00040404 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-35_0_5_load_53 | 77 | 0.0011747 | 0.0002944 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-35_0_5_load_81 | 78 | 0.0013339 | 0.00033431 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-35_0_5_load_82 | 79 | 0.0021386 | 0.00053599 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-35_0_5_load_56 | 80 | 0.0023079 | 0.00057842 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4566-35_0_5_load_57 | 81 | 0.0030809 | 0.00077215 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4566-35_0_5_load_101 | 83 | 0.0010124 | 0.00025374 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4566-35_0_5_load_102 | 84 | 0.0027286 | 0.00068384 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4566-35_0_5_load_97 | 85 | 0.0026227 | 0.00065731 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4566-35_0_5_load_58 | 86 | 0.0026178 | 0.00065609 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4566-35_0_5_load_61 | 89 | 0.003887 | 0.00097418 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4566-35_0_5_load_63 | 90 | 0.0021774 | 0.00054571 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4566-35_0_5_load_140 | 93 | 0.0030403 | 0.00076198 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4566-35_0_5_load_149 | 94 | 0.0028549 | 0.00071551 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4566-35_0_5_load_95 | 95 | 0.0030305 | 0.00075951 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4566-35_0_5_load_66 | 98 | 0.0014168 | 0.00035508 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4566-35_0_5_load_67 | 99 | 0.0018337 | 0.00045956 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4566-35_0_5_load_69 | 100 | 0.0012512 | 0.00031358 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4566-35_0_5_load_113 | 101 | 0.0033427 | 0.00083777 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4566-35_0_5_load_121 | 102 | 0.0033183 | 0.00083163 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4566-35_0_5_load_75 | 104 | 0.0033368 | 0.00083629 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4566-35_0_5_load_76 | 105 | 0.0018185 | 0.00045575 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4566-35_0_5_load_114 | 106 | 0.00092949 | 0.00023295 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4566-35_0_5_load_91 | 107 | 0.0035564 | 0.00089132 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4566-35_0_5_load_133 | 108 | 0.00052678 | 0.00013202 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4566-35_0_5_load_115 | 109 | 0.0009302 | 0.00023313 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4566-35_0_5_load_134 | 110 | 0.0016066 | 0.00040265 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4566-35_0_5_load_79 | 111 | 0.0033768 | 0.00084631 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4566-35_0_5_load_80 | 112 | 0.0026112 | 0.00065444 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4566-35_0_5_load_89 | 113 | 0.0019033 | 0.00047702 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4566-35_0_5_load_90 | 114 | 0.0027778 | 0.00069618 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4566-35_0_5_load_83 | 115 | 0.0018395 | 0.00046103 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4566-35_0_5_load_96 | 116 | 0.0014638 | 0.00036685 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4566-35_0_5_load_122 | 117 | 0.0017862 | 0.00044766 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4566-35_0_5_load_84 | 118 | 0.002635 | 0.00066039 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4566-35_0_5_load_85 | 119 | 0.0042016 | 0.001053 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4566-35_0_5_load_88 | 122 | 0.0032856 | 0.00082345 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4566-35_0_5_load_131 | 123 | 0.0026989 | 0.00067641 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4566-35_0_5_load_130 | 124 | 0.0031103 | 0.00077951 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4566-35_0_5_load_123 | 127 | 0.0022656 | 0.00056781 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4566-35_0_5_load_132 | 128 | 0.0017576 | 0.00044051 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4566-35_0_5_load_128 | 129 | 0.0035235 | 0.00088307 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4566-35_0_5_load_139 | 130 | 0.0044324 | 0.0011109 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4566-35_0_5_load_141 | 131 | 0.0018435 | 0.00046203 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4566-35_0_5_load_94 | 132 | 0.00097978 | 0.00024556 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4566-35_0_5_load_112 | 133 | 0.0019995 | 0.00050111 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4566-35_0_5_load_110 | 134 | 0.0016675 | 0.00041791 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4566-35_0_5_load_104 | 135 | 0.0015551 | 0.00038975 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4566-35_0_5_load_98 | 136 | 0.002759 | 0.00069148 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4566-35_0_5_load_100 | 137 | 0.0030948 | 0.00077564 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4566-35_0_5_load_129 | 138 | 0.0033733 | 0.00084542 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4566-35_0_5_load_142 | 139 | 0.0020316 | 0.00050918 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4566-35_0_5_load_103 | 140 | 0.0015048 | 0.00037713 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4566-35_0_5_load_105 | 141 | 0.003983 | 0.00099824 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4566-35_0_5_load_118 | 143 | 0.0021019 | 0.00052678 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4566-35_0_5_load_116 | 144 | 0.0020922 | 0.00052436 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4566-35_0_5_load_108 | 145 | 0.0016763 | 0.00042011 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4566-35_0_5_load_109 | 146 | 0.0013476 | 0.00033773 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4566-35_0_5_load_111 | 147 | 0.0022577 | 0.00056583 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4566-35_0_5_load_117 | 148 | 0.0019032 | 0.000477 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4566-35_0_5_load_143 | 149 | 0.0015202 | 0.00038099 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4566-35_0_5_load_144 | 150 | 0.001847 | 0.00046291 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4566-35_0_5_load_147 | 152 | 0.0031348 | 0.00078565 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4566-35_0_5_load_148 | 153 | 0.0021633 | 0.00054217 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4566-35_0_5_load_159 | 154 | 0.0021653 | 0.00054267 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4566-35_0_5_load_151 | 156 | 0.0029621 | 0.00074236 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4566-35_0_5_load_152 | 157 | 0.0086367 | 0.0021646 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4566-35_0_5_load_153 | 158 | 0.0034861 | 0.00087371 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4566-35_0_5_load_154 | 159 | 0.0030719 | 0.00076989 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_4566-35_0_5_load_156 | 161 | 0.0019426 | 0.00048687 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_4566-35_0_5_load_157 | 162 | 0.0035456 | 0.0008886 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_4566-35_0_5_load_162 | 163 | 0.012379 | 0.0031025 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 116 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-35_0_5_line_0 |  | 0 | 1 | 0.013851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-35_0_5_line_1 |  | 0 | 2 | 0.021909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-35_0_5_line_2 |  | 1 | 3 | 0.006227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-35_0_5_line_3 |  | 2 | 4 | 0.0099856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-35_0_5_line_4 |  | 3 | 5 | 0.037337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-35_0_5_line_5 |  | 5 | 6 | 0.025279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-35_0_5_line_6 |  | 6 | 21 | 0.0072986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-35_0_5_line_7 |  | 7 | 8 | 0.013349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-35_0_5_line_8 |  | 7 | 9 | 0.0084143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-35_0_5_line_9 |  | 8 | 10 | 0.0061443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-35_0_5_line_10 |  | 9 | 11 | 0.002008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-35_0_5_line_11 |  | 9 | 12 | 0.026411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-35_0_5_line_12 |  | 10 | 13 | 0.0058029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-35_0_5_line_13 |  | 11 | 14 | 0.034166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-35_0_5_line_14 |  | 11 | 15 | 0.018175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-35_0_5_line_15 |  | 12 | 16 | 0.0058079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-35_0_5_line_16 |  | 13 | 17 | 0.009782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-35_0_5_line_17 |  | 14 | 18 | 0.020544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-35_0_5_line_18 |  | 14 | 19 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-35_0_5_line_19 |  | 16 | 20 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-35_0_5_line_20 |  | 17 | 21 | 0.023377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-35_0_5_line_21 |  | 19 | 25 | 0.027085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-35_0_5_line_22 |  | 21 | 22 | 0.026199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-35_0_5_line_23 |  | 22 | 23 | 0.0026358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-35_0_5_line_24 |  | 23 | 24 | 0.00043734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-35_0_5_line_25 |  | 25 | 26 | 0.011231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-35_0_5_line_26 |  | 26 | 27 | 0.34955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4566-35_0_5_line_27 |  | 27 | 28 | 0.084456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4566-35_0_5_line_28 |  | 28 | 157 | 0.33753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4566-35_0_5_line_29 |  | 29 | 30 | 0.029532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4566-35_0_5_line_30 |  | 29 | 31 | 0.0020298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4566-35_0_5_line_31 |  | 30 | 32 | 0.0054844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4566-35_0_5_line_32 |  | 31 | 33 | 0.017778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4566-35_0_5_line_33 |  | 32 | 34 | 0.013811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_4566-35_0_5_line_34 |  | 33 | 35 | 0.013026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4566-35_0_5_line_35 |  | 34 | 36 | 0.014255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-35_0_5_line_36 |  | 34 | 37 | 0.022843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4566-35_0_5_line_37 |  | 35 | 40 | 0.0041413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4566-35_0_5_line_38 |  | 36 | 106 | 0.031162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-35_0_5_line_39 |  | 37 | 103 | 0.0039631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_4566-35_0_5_line_40 |  | 38 | 39 | 0.00035263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-35_0_5_line_41 |  | 39 | 98 | 0.023403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-35_0_5_line_42 |  | 40 | 80 | 0.02151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4566-35_0_5_line_43 |  | 41 | 42 | 0.01119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-35_0_5_line_44 |  | 42 | 111 | 0.0028755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-35_0_5_line_45 |  | 43 | 44 | 0.0066908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_4566-35_0_5_line_46 |  | 43 | 45 | 0.04114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4566-35_0_5_line_47 |  | 44 | 46 | 0.020407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-35_0_5_line_48 |  | 44 | 47 | 0.0394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_4566-35_0_5_line_49 |  | 45 | 48 | 0.01703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_4566-35_0_5_line_50 |  | 45 | 49 | 0.0067907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_4566-35_0_5_line_51 |  | 46 | 50 | 0.020267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-35_0_5_line_52 |  | 47 | 51 | 0.022163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_4566-35_0_5_line_53 |  | 48 | 52 | 0.029756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_4566-35_0_5_line_54 |  | 49 | 53 | 0.021493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4566-35_0_5_line_55 |  | 50 | 54 | 0.010067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-35_0_5_line_56 |  | 51 | 55 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_4566-35_0_5_line_57 |  | 52 | 56 | 0.0002233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_4566-35_0_5_line_58 |  | 53 | 57 | 0.013376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_4566-35_0_5_line_59 |  | 54 | 93 | 0.016703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-35_0_5_line_60 |  | 55 | 155 | 0.00097861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_4566-35_0_5_line_61 |  | 56 | 142 | 0.019008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4566-35_0_5_line_62 |  | 57 | 58 | 0.016474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_4566-35_0_5_line_63 |  | 58 | 59 | 0.008815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4566-35_0_5_line_64 |  | 59 | 60 | 0.015263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_4566-35_0_5_line_65 |  | 59 | 61 | 0.010477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-35_0_5_line_66 |  | 60 | 62 | 0.013256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_4566-35_0_5_line_67 |  | 62 | 63 | 0.025544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_4566-35_0_5_line_68 |  | 63 | 126 | 0.011328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_4566-35_0_5_line_69 |  | 64 | 65 | 0.025967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-35_0_5_line_70 |  | 64 | 66 | 0.0023234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4566-35_0_5_line_71 |  | 65 | 67 | 0.0069359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-35_0_5_line_72 |  | 66 | 68 | 0.0085667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-35_0_5_line_73 |  | 67 | 69 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-35_0_5_line_74 |  | 68 | 70 | 0.020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-35_0_5_line_75 |  | 69 | 71 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-35_0_5_line_76 |  | 70 | 72 | 0.02061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-35_0_5_line_77 |  | 71 | 97 | 0.0067313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-35_0_5_line_78 |  | 72 | 135 | 0.035088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-35_0_5_line_79 |  | 72 | 95 | 0.0093679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-35_0_5_line_80 |  | 73 | 74 | 0.0083822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-35_0_5_line_81 |  | 73 | 75 | 0.016491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-35_0_5_line_82 |  | 74 | 76 | 0.01409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-35_0_5_line_83 |  | 75 | 77 | 0.0048997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-35_0_5_line_84 |  | 76 | 78 | 0.007718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-35_0_5_line_85 |  | 78 | 79 | 0.013625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-35_0_5_line_86 |  | 79 | 115 | 0.011888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-35_0_5_line_87 |  | 80 | 81 | 0.0063942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4566-35_0_5_line_88 |  | 81 | 82 | 0.012232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_4566-35_0_5_line_89 |  | 82 | 83 | 0.026125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4566-35_0_5_line_90 |  | 82 | 84 | 0.019658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4566-35_0_5_line_91 |  | 82 | 85 | 0.027648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_4566-35_0_5_line_92 |  | 83 | 139 | 0.0078685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4566-35_0_5_line_93 |  | 85 | 136 | 0.010346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_4566-35_0_5_line_94 |  | 86 | 87 | 0.0059347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4566-35_0_5_line_95 |  | 86 | 88 | 0.0073004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4566-35_0_5_line_96 |  | 87 | 89 | 0.0042903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4566-35_0_5_line_97 |  | 88 | 90 | 0.023058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4566-35_0_5_line_98 |  | 89 | 91 | 0.0081454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4566-35_0_5_line_99 |  | 91 | 95 | 0.025758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4566-35_0_5_line_100 |  | 92 | 93 | 0.016902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4566-35_0_5_line_101 |  | 92 | 94 | 0.0092986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4566-35_0_5_line_102 |  | 94 | 96 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4566-35_0_5_line_103 |  | 96 | 156 | 0.0086511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4566-35_0_5_line_104 |  | 97 | 132 | 0.033433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_4566-35_0_5_line_105 |  | 97 | 107 | 0.022638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_4566-35_0_5_line_106 |  | 98 | 99 | 0.0037197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4566-35_0_5_line_107 |  | 99 | 100 | 0.017043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4566-35_0_5_line_108 |  | 100 | 101 | 0.0089698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4566-35_0_5_line_109 |  | 101 | 102 | 0.016102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4566-35_0_5_line_110 |  | 102 | 128 | 0.0079868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4566-35_0_5_line_111 |  | 103 | 104 | 0.035627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_4566-35_0_5_line_112 |  | 103 | 105 | 0.014825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4566-35_0_5_line_113 |  | 104 | 107 | 0.0010365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_4566-35_0_5_line_114 |  | 105 | 108 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4566-35_0_5_line_115 |  | 106 | 109 | 0.00010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4566-35_0_5_line_116 |  | 108 | 110 | 0.0054101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4566-35_0_5_line_117 |  | 111 | 112 | 0.016763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4566-35_0_5_line_118 |  | 112 | 113 | 0.0030167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4566-35_0_5_line_119 |  | 113 | 114 | 0.023286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4566-35_0_5_line_120 |  | 114 | 130 | 0.012643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4566-35_0_5_line_121 |  | 115 | 116 | 0.011726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4566-35_0_5_line_122 |  | 116 | 117 | 0.011512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
123 | LV_4566-35_0_5_line_123 |  | 117 | 127 | 0.013443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
124 | LV_4566-35_0_5_line_124 |  | 118 | 119 | 0.026635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4566-35_0_5_line_125 |  | 118 | 120 | 0.020529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
126 | LV_4566-35_0_5_line_126 |  | 119 | 121 | 0.022504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4566-35_0_5_line_127 |  | 120 | 122 | 0.019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_4566-35_0_5_line_128 |  | 121 | 123 | 0.022537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4566-35_0_5_line_129 |  | 122 | 124 | 0.022609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
130 | LV_4566-35_0_5_line_130 |  | 123 | 128 | 0.021163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4566-35_0_5_line_131 |  | 124 | 129 | 0.0083371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_4566-35_0_5_line_132 |  | 125 | 126 | 0.005415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_4566-35_0_5_line_133 |  | 125 | 127 | 0.024318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_4566-35_0_5_line_134 |  | 129 | 138 | 0.01919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
135 | LV_4566-35_0_5_line_135 |  | 130 | 131 | 0.016155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4566-35_0_5_line_136 |  | 131 | 139 | 0.00018871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4566-35_0_5_line_137 |  | 132 | 133 | 0.001562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
138 | LV_4566-35_0_5_line_138 |  | 133 | 134 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
139 | LV_4566-35_0_5_line_139 |  | 134 | 145 | 0.017392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
140 | LV_4566-35_0_5_line_140 |  | 135 | 140 | 0.0044707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4566-35_0_5_line_141 |  | 136 | 137 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
142 | LV_4566-35_0_5_line_142 |  | 137 | 138 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
143 | LV_4566-35_0_5_line_143 |  | 141 | 142 | 0.0088996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4566-35_0_5_line_144 |  | 142 | 143 | 0.028689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
145 | LV_4566-35_0_5_line_145 |  | 143 | 144 | 0.0067589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
146 | LV_4566-35_0_5_line_146 |  | 144 | 148 | 0.012479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_4566-35_0_5_line_147 |  | 145 | 146 | 0.0081154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
148 | LV_4566-35_0_5_line_148 |  | 146 | 147 | 0.024245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
149 | LV_4566-35_0_5_line_149 |  | 147 | 148 | 0.0091536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
150 | LV_4566-35_0_5_line_150 |  | 149 | 150 | 0.0075087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4566-35_0_5_line_151 |  | 149 | 151 | 0.018941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4566-35_0_5_line_152 |  | 151 | 152 | 0.026288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4566-35_0_5_line_153 |  | 151 | 153 | 0.017387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4566-35_0_5_line_154 |  | 152 | 154 | 0.0072226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4566-35_0_5_line_155 |  | 154 | 155 | 0.015939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4566-35_0_5_line_156 |  | 155 | 161 | 0.014269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
157 | LV_4566-35_0_5_line_157 |  | 157 | 158 | 0.0097226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
158 | LV_4566-35_0_5_line_158 |  | 157 | 159 | 0.011996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4566-35_0_5_line_159 |  | 158 | 160 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
160 | LV_4566-35_0_5_line_160 |  | 160 | 161 | 0.048547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
161 | LV_4566-35_0_5_line_161 |  | 160 | 162 | 0.01933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4566-35_0_5_line_162 |  | 162 | 163 | 0.010859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-35_0_5_trafo_96 | 0.63 MVA 20/0.4 kV | 164 | 116 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2711631.0105 | 1267603.5922 | 2711619.4426 | 1267595.9747
1 | 2711631.0105 | 1267603.5922 | 2711649.3082 | 1267615.6413
2 | 2711615.0949 | 1267591.7477 | 2711616.3532 | 1267593.9403 | 2711619.4426 | 1267595.9747
3 | 2711657.648 | 1267621.1331 | 2711649.3082 | 1267615.6413
4 | 2711588.3725 | 1267566.588 | 2711591.0374 | 1267570.5974 | 2711611.5206 | 1267585.5195 | 2711615.0949 | 1267591.7477
5 | 2711588.3725 | 1267566.588 | 2711608.0105 | 1267562.4997 | 2711613.0962 | 1267561.3246
6 | 2711620.3039 | 1267560.1965 | 2711614.1056 | 1267561.0914 | 2711613.0962 | 1267561.3246
7 | 2711660.5582 | 1267579.5705 | 2711673.4856 | 1267582.9003
8 | 2711681.6339 | 1267584.9991 | 2711673.4856 | 1267582.9003
9 | 2711654.608 | 1267578.0379 | 2711660.5582 | 1267579.5705
10 | 2711681.6339 | 1267584.9991 | 2711682.9682 | 1267586.5034
11 | 2711681.6339 | 1267584.9991 | 2711691.2226 | 1267560.39
12 | 2711649.3868 | 1267575.5057 | 2711654.608 | 1267578.0379 | 2711654.608 | 1267578.0379
13 | 2711682.9682 | 1267586.5034 | 2711694.6814 | 1267578.6512 | 2711703.3338 | 1267574.9893 | 2711714.0831 | 1267574.7145
14 | 2711682.9682 | 1267586.5034 | 2711683.6463 | 1267587.2725 | 2711684.8854 | 1267589.4311 | 2711686.7613 | 1267594.1485 | 2711687.8382 | 1267596.1261 | 2711693.1632 | 1267601.1665
15 | 2711693.3312 | 1267554.9785 | 2711691.2226 | 1267560.39
16 | 2711649.3868 | 1267575.5057 | 2711641.604 | 1267571.7312 | 2711640.6605 | 1267571.1054
17 | 2711723.7033 | 1267556.9141 | 2711719.0436 | 1267569.2035 | 2711714.0831 | 1267574.7145
18 | 2711714.0831 | 1267574.7145 | 2711713.0064 | 1267580.2879 | 2711719.0371 | 1267589.2228
19 | 2711693.3312 | 1267554.9785 | 2711697.5576 | 1267544.1316
20 | 2711620.3039 | 1267560.1965 | 2711624.8506 | 1267561.0387 | 2711628.9184 | 1267563.3175 | 2711640.6605 | 1267571.1054
21 | 2711726.9155 | 1267614.7511 | 2711720.3202 | 1267598.8313 | 2711719.7809 | 1267590.3248 | 2711719.0371 | 1267589.2228
22 | 2711620.3039 | 1267560.1965 | 2711621.1216 | 1267542.4298 | 2711621.5078 | 1267534.0256
23 | 2711621.6288 | 1267531.3926 | 2711621.5078 | 1267534.0256
24 | 2711621.6288 | 1267531.3926 | 2711621.6488 | 1267530.9557
25 | 2711731.2141 | 1267625.127 | 2711726.9155 | 1267614.7511
26 | 2711731.2141 | 1267625.127 | 2711686.326 | 1267971.7838
27 | 2711619.195 | 1268000.3946 | 2711624.2313 | 1267987.6674 | 2711631.6498 | 1267977.5654 | 2711646.5984 | 1267970.9642 | 2711665.4099 | 1267964.7253 | 2711686.326 | 1267971.7838
28 | 2711282.4977 | 1267976.7017 | 2711619.195 | 1268000.3946
29 | 2711226.1333 | 1267651.0022 | 2711221.215 | 1267654.555 | 2711203.1238 | 1267669.4981
30 | 2711226.1333 | 1267651.0022 | 2711227.7787 | 1267649.8136
31 | 2711203.1238 | 1267669.4981 | 2711201.5751 | 1267670.7774 | 2711198.1948 | 1267669.9686
32 | 2711242.1902 | 1267639.4032 | 2711227.7787 | 1267649.8136
33 | 2711187.4457 | 1267678.6406 | 2711198.1948 | 1267669.9686 | 2711198.1948 | 1267669.9686
34 | 2711242.1902 | 1267639.4032 | 2711253.4445 | 1267632.8451
35 | 2711187.4457 | 1267678.6406 | 2711178.6073 | 1267667.4558
36 | 2711187.4457 | 1267678.6406 | 2711177.9662 | 1267685.4683 | 2711169.7947 | 1267693.0697
37 | 2711257.0226 | 1267630.7601 | 2711253.4445 | 1267632.8451
38 | 2711159.2864 | 1267643.0059 | 2711178.6073 | 1267667.4558
39 | 2711166.893 | 1267695.769 | 2711169.7947 | 1267693.0697
40 | 2711265.451 | 1267671.4671 | 2711265.6581 | 1267671.7526
41 | 2711280.153 | 1267690.1254 | 2711266.0986 | 1267672.3599 | 2711265.6581 | 1267671.7526
42 | 2711276.481 | 1267621.7157 | 2711263.7642 | 1267626.8317 | 2711257.0226 | 1267630.7601
43 | 2711218.8855 | 1267601.5852 | 2711219.6495 | 1267606.5613 | 2711223.1326 | 1267611.6362
44 | 2711218.8855 | 1267601.5852 | 2711218.4491 | 1267598.743 | 2711218.4491 | 1267598.743
45 | 2711161.2133 | 1267929.8669 | 2711167.3808 | 1267927.2731
46 | 2711205.3039 | 1267911.3246 | 2711167.3808 | 1267927.2731
47 | 2711161.2133 | 1267929.8669 | 2711142.293 | 1267937.513
48 | 2711161.2133 | 1267929.8669 | 2711183.5553 | 1267956.0101 | 2711186.6257 | 1267959.9691
49 | 2711205.3039 | 1267911.3246 | 2711198.9165 | 1267895.5383
50 | 2711205.3039 | 1267911.3246 | 2711211.3528 | 1267908.2386
51 | 2711123.4998 | 1267945.0994 | 2711141.9136 | 1267937.6663 | 2711142.293 | 1267937.513
52 | 2711200.5174 | 1267977.2235 | 2711196.9031 | 1267973.2207 | 2711186.6257 | 1267959.9691
53 | 2711187.7559 | 1267867.955 | 2711198.9165 | 1267895.5383
54 | 2711211.3528 | 1267908.2386 | 2711227.5237 | 1267899.9884 | 2711230.342 | 1267898.1978
55 | 2711123.4998 | 1267945.0994 | 2711121.5142 | 1267945.901 | 2711114.1652 | 1267948.8698
56 | 2711213.0617 | 1267991.116 | 2711200.5174 | 1267977.2235
57 | 2711187.6721 | 1267867.748 | 2711187.7559 | 1267867.955
58 | 2711241.6316 | 1267891.0247 | 2711230.342 | 1267898.1978
59 | 2711098.6781 | 1267955.1263 | 2711114.1652 | 1267948.8698
60 | 2711213.0617 | 1267991.116 | 2711213.7175 | 1267991.8423
61 | 2711180.5425 | 1267850.1274 | 2711187.6721 | 1267867.748
62 | 2711241.6316 | 1267891.0247 | 2711243.5026 | 1267889.8359 | 2711251.8306 | 1267882.5752 | 2711254.1113 | 1267880.3181
63 | 2711260.377 | 1267874.1176 | 2711254.1113 | 1267880.3181
64 | 2711260.377 | 1267874.1176 | 2711266.6452 | 1267867.0961 | 2711270.1667 | 1267862.4027
65 | 2711260.377 | 1267874.1176 | 2711270.799 | 1267875.1925
66 | 2711270.1667 | 1267862.4027 | 2711277.5312 | 1267852.3437 | 2711277.9996 | 1267851.7087
67 | 2711277.9996 | 1267851.7087 | 2711293.165 | 1267831.154
68 | 2711299.8906 | 1267822.0382 | 2711293.165 | 1267831.154
69 | 2711116.5629 | 1267812.595 | 2711120.6301 | 1267801.2578 | 2711125.334 | 1267788.1541
70 | 2711116.5629 | 1267812.595 | 2711115.7783 | 1267814.7819
71 | 2711125.334 | 1267788.1541 | 2711127.6774 | 1267781.626
72 | 2711112.8855 | 1267822.8454 | 2711115.7783 | 1267814.7819
73 | 2711133.3097 | 1267765.9358 | 2711127.6774 | 1267781.626
74 | 2711112.8855 | 1267822.8454 | 2711107.949 | 1267836.6059 | 2711105.8343 | 1267842.4937
75 | 2711137.5043 | 1267754.2511 | 2711133.3097 | 1267765.9358
76 | 2711098.8678 | 1267861.8906 | 2711105.8343 | 1267842.4937
77 | 2711139.7785 | 1267747.9157 | 2711137.5043 | 1267754.2511
78 | 2711098.8678 | 1267861.8906 | 2711111.3753 | 1267864.5725 | 2711123.2704 | 1267864.9854 | 2711133.6118 | 1267863.9457 | 2711133.6118 | 1267863.9457
79 | 2711098.8678 | 1267861.8906 | 2711095.7122 | 1267870.711
80 | 2711228.5458 | 1267728.0377 | 2711233.9074 | 1267734.4808
81 | 2711228.5458 | 1267728.0377 | 2711217.9971 | 1267715.3613
82 | 2711233.9074 | 1267734.4808 | 2711242.9198 | 1267745.311
83 | 2711214.863 | 1267711.595 | 2711217.9971 | 1267715.3613
84 | 2711247.8566 | 1267751.2436 | 2711242.9198 | 1267745.311
85 | 2711247.8566 | 1267751.2436 | 2711256.5717 | 1267761.7167
86 | 2711256.5717 | 1267761.7167 | 2711264.1756 | 1267770.8542
87 | 2711276.481 | 1267621.7157 | 2711282.4131 | 1267619.3292
88 | 2711293.7615 | 1267614.7637 | 2711282.4131 | 1267619.3292
89 | 2711293.7615 | 1267614.7637 | 2711280.0829 | 1267592.5057
90 | 2711293.7615 | 1267614.7637 | 2711312.8455 | 1267610.0468
91 | 2711293.7615 | 1267614.7637 | 2711311.1417 | 1267636.2663
92 | 2711280.0829 | 1267592.5057 | 2711275.9632 | 1267585.8019
93 | 2711311.1417 | 1267636.2663 | 2711312.9938 | 1267638.5578 | 2711318.1275 | 1267643.8867
94 | 2711082.8474 | 1267906.673 | 2711088.7637 | 1267907.1402
95 | 2711091.562 | 1267900.4648 | 2711090.7604 | 1267901.4506 | 2711088.7637 | 1267907.1402
96 | 2711082.8474 | 1267906.673 | 2711084.2923 | 1267902.6333
97 | 2711091.562 | 1267900.4648 | 2711093.4429 | 1267899.3325 | 2711096.8856 | 1267898.819 | 2711098.487 | 1267899.3384 | 2711099.7039 | 1267900.2843 | 2711102.0089 | 1267901.8179 | 2711103.4999 | 1267902.2018 | 2711104.9444 | 1267902.2512 | 2711108.4374 | 1267901.4718 | 2711113.088 | 1267899.9801
98 | 2711087.0353 | 1267894.9637 | 2711084.2923 | 1267902.6333
99 | 2711087.0353 | 1267894.9637 | 2711095.7122 | 1267870.711
100 | 2711083.0063 | 1267961.4573 | 2711098.6781 | 1267955.1263
101 | 2711083.0063 | 1267961.4573 | 2711074.392 | 1267964.9584
102 | 2711062.477 | 1267969.801 | 2711074.392 | 1267964.9584
103 | 2711062.477 | 1267969.801 | 2711054.4625 | 1267973.0583
104 | 2711139.7785 | 1267747.9157 | 2711161.0957 | 1267755.7568 | 2711169.2578 | 1267762.7049
105 | 2711139.7785 | 1267747.9157 | 2711147.7459 | 1267726.726
106 | 2711280.153 | 1267690.1254 | 2711282.4607 | 1267693.0426
107 | 2711282.4607 | 1267693.0426 | 2711291.4176 | 1267704.3646 | 2711293.1825 | 1267706.2831
108 | 2711299.2554 | 1267712.8844 | 2711293.1825 | 1267706.2831
109 | 2711299.2554 | 1267712.8844 | 2711310.1571 | 1267724.7347
110 | 2711310.1571 | 1267724.7347 | 2711315.5645 | 1267730.6126
111 | 2711166.893 | 1267695.769 | 2711158.6481 | 1267706.2008 | 2711150.9933 | 1267718.0894 | 2711148.1107 | 1267725.7558
112 | 2711166.893 | 1267695.769 | 2711155.2362 | 1267686.6087
113 | 2711147.7459 | 1267726.726 | 2711148.1107 | 1267725.7558
114 | 2711155.2362 | 1267686.6087 | 2711145.3265 | 1267678.8214
115 | 2711159.219 | 1267642.9206 | 2711159.2864 | 1267643.0059
116 | 2711141.0727 | 1267675.4786 | 2711145.3265 | 1267678.8214
117 | 2711230.3632 | 1267588.0191 | 2711221.8585 | 1267592.4128 | 2711218.4491 | 1267598.743
118 | 2711230.3632 | 1267588.0191 | 2711233.0434 | 1267586.6345
119 | 2711233.0434 | 1267586.6345 | 2711253.7318 | 1267575.9467
120 | 2711253.7318 | 1267575.9467 | 2711258.703 | 1267573.3785 | 2711265.7509 | 1267573.3445 | 2711265.7509 | 1267573.3445
121 | 2711271.6761 | 1267779.8677 | 2711264.1756 | 1267770.8542
122 | 2711271.6761 | 1267779.8677 | 2711279.0395 | 1267788.7164
123 | 2711279.0395 | 1267788.7164 | 2711283.6182 | 1267794.2186 | 2711287.6386 | 1267799.0495
124 | 2711375.1787 | 1267723.8195 | 2711374.3716 | 1267724.7118 | 2711358.8882 | 1267744.8872
125 | 2711388.9504 | 1267708.5947 | 2711375.1787 | 1267723.8195
126 | 2711345.1877 | 1267762.7396 | 2711358.8882 | 1267744.8872
127 | 2711388.9504 | 1267708.5947 | 2711374.5498 | 1267695.8746
128 | 2711345.1877 | 1267762.7396 | 2711339.5277 | 1267756.661 | 2711329.8923 | 1267746.1872
129 | 2711374.5498 | 1267695.8746 | 2711357.605 | 1267680.9073
130 | 2711329.8923 | 1267746.1872 | 2711315.5645 | 1267730.6126
131 | 2711351.3564 | 1267675.388 | 2711357.605 | 1267680.9073
132 | 2711303.1939 | 1267817.7411 | 2711299.8906 | 1267822.0382
133 | 2711303.1939 | 1267817.7411 | 2711287.6386 | 1267799.0495
134 | 2711351.3564 | 1267675.388 | 2711336.9735 | 1267662.6835
135 | 2711275.8644 | 1267585.6412 | 2711270.7506 | 1267577.3199 | 2711265.7509 | 1267573.3445
136 | 2711275.9632 | 1267585.8019 | 2711275.8644 | 1267585.6412
137 | 2711169.2578 | 1267762.7049 | 2711170.4472 | 1267763.7175
138 | 2711170.4472 | 1267763.7175 | 2711170.4472 | 1267763.7175 | 2711177.281 | 1267772.2424 | 2711181.6206 | 1267777.4543
139 | 2711192.749 | 1267790.8194 | 2711181.6206 | 1267777.4543
140 | 2711137.9538 | 1267862.8807 | 2711133.6118 | 1267863.9457
141 | 2711318.1275 | 1267643.8867 | 2711329.6342 | 1267655.831
142 | 2711336.9735 | 1267662.6835 | 2711332.0236 | 1267658.3114 | 2711329.6342 | 1267655.831
143 | 2711180.5425 | 1267850.1274 | 2711172.2094 | 1267853.2518
144 | 2711180.5425 | 1267850.1274 | 2711192.3036 | 1267844.466 | 2711205.2272 | 1267835.6636
145 | 2711210.8134 | 1267831.8588 | 2711210.8134 | 1267831.8588 | 2711205.2272 | 1267835.6636
146 | 2711210.8134 | 1267831.8588 | 2711219.3123 | 1267822.7218
147 | 2711192.749 | 1267790.8194 | 2711197.9418 | 1267797.0559
148 | 2711197.9418 | 1267797.0559 | 2711213.4552 | 1267815.6875
149 | 2711219.3123 | 1267822.7218 | 2711219.3123 | 1267822.7218 | 2711213.4552 | 1267815.6875
150 | 2711264.3379 | 1268043.9172 | 2711257.6815 | 1268040.4425
151 | 2711240.8904 | 1268031.6776 | 2711257.6815 | 1268040.4425
152 | 2711240.8904 | 1268031.6776 | 2711240.0547 | 1268023.2878 | 2711228.5893 | 1268009.5985
153 | 2711240.8904 | 1268031.6776 | 2711238.9164 | 1268038.1572 | 2711234.7619 | 1268043.6838 | 2711231.9999 | 1268046.1455
154 | 2711228.5893 | 1268009.5985 | 2711223.9517 | 1268004.0615
155 | 2711213.7175 | 1267991.8423 | 2711223.9517 | 1268004.0615
156 | 2711213.7175 | 1267991.8423 | 2711224.8882 | 1267982.9635
157 | 2711276.3386 | 1267969.1788 | 2711282.4977 | 1267976.7017
158 | 2711274.078 | 1267985.2461 | 2711282.4977 | 1267976.7017 | 2711282.4977 | 1267976.7017
159 | 2711262.8928 | 1267952.756 | 2711276.3386 | 1267969.1788
160 | 2711262.8928 | 1267952.756 | 2711224.8882 | 1267982.9635
161 | 2711262.8928 | 1267952.756 | 2711278.0483 | 1267940.7584
162 | 2711286.5621 | 1267934.0186 | 2711278.0483 | 1267940.7584

## bus_geodata
| x | y | coords
0 | 2711631.0105 | 1267603.5922
1 | 2711619.4426 | 1267595.9747
2 | 2711649.3082 | 1267615.6413
3 | 2711615.0949 | 1267591.7477
4 | 2711657.648 | 1267621.1331
5 | 2711588.3725 | 1267566.588
6 | 2711613.0962 | 1267561.3246
7 | 2711673.4856 | 1267582.9003
8 | 2711660.5582 | 1267579.5705
9 | 2711681.6339 | 1267584.9991
10 | 2711654.608 | 1267578.0379
11 | 2711682.9682 | 1267586.5034
12 | 2711691.2226 | 1267560.39
13 | 2711649.3868 | 1267575.5057
14 | 2711714.0831 | 1267574.7145
15 | 2711693.1632 | 1267601.1665
16 | 2711693.3312 | 1267554.9785
17 | 2711640.6605 | 1267571.1054
18 | 2711723.7033 | 1267556.9141
19 | 2711719.0371 | 1267589.2228
20 | 2711697.5576 | 1267544.1316
21 | 2711620.3039 | 1267560.1965
22 | 2711621.5078 | 1267534.0256
23 | 2711621.6288 | 1267531.3926
24 | 2711621.6488 | 1267530.9557
25 | 2711726.9155 | 1267614.7511
26 | 2711731.2141 | 1267625.127
27 | 2711686.326 | 1267971.7838
28 | 2711619.195 | 1268000.3946
29 | 2711226.1333 | 1267651.0022
30 | 2711203.1238 | 1267669.4981
31 | 2711227.7787 | 1267649.8136
32 | 2711198.1948 | 1267669.9686
33 | 2711242.1902 | 1267639.4032
34 | 2711187.4457 | 1267678.6406
35 | 2711253.4445 | 1267632.8451
36 | 2711178.6073 | 1267667.4558
37 | 2711169.7947 | 1267693.0697
38 | 2711265.451 | 1267671.4671
39 | 2711265.6581 | 1267671.7525
40 | 2711257.0226 | 1267630.7601
41 | 2711223.1326 | 1267611.6362
42 | 2711218.8855 | 1267601.5852
43 | 2711167.3808 | 1267927.2731
44 | 2711161.2133 | 1267929.8669
45 | 2711205.3039 | 1267911.3246
46 | 2711142.293 | 1267937.513
47 | 2711186.6257 | 1267959.9691
48 | 2711198.9165 | 1267895.5383
49 | 2711211.3528 | 1267908.2386
50 | 2711123.4998 | 1267945.0994
51 | 2711200.5174 | 1267977.2235
52 | 2711187.7559 | 1267867.955
53 | 2711230.342 | 1267898.1978
54 | 2711114.1652 | 1267948.8698
55 | 2711213.0617 | 1267991.116
56 | 2711187.6721 | 1267867.748
57 | 2711241.6316 | 1267891.0247
58 | 2711254.1113 | 1267880.3181
59 | 2711260.377 | 1267874.1176
60 | 2711270.1667 | 1267862.4027
61 | 2711270.799 | 1267875.1925
62 | 2711277.9996 | 1267851.7087
63 | 2711293.165 | 1267831.154
64 | 2711116.5629 | 1267812.595
65 | 2711125.334 | 1267788.1541
66 | 2711115.7783 | 1267814.7819
67 | 2711127.6774 | 1267781.626
68 | 2711112.8855 | 1267822.8454
69 | 2711133.3097 | 1267765.9358
70 | 2711105.8343 | 1267842.4937
71 | 2711137.5043 | 1267754.2511
72 | 2711098.8678 | 1267861.8906
73 | 2711228.5458 | 1267728.0377
74 | 2711233.9074 | 1267734.4808
75 | 2711217.9971 | 1267715.3613
76 | 2711242.9198 | 1267745.311
77 | 2711214.863 | 1267711.595
78 | 2711247.8566 | 1267751.2436
79 | 2711256.5717 | 1267761.7167
80 | 2711276.481 | 1267621.7157
81 | 2711282.4131 | 1267619.3292
82 | 2711293.7615 | 1267614.7637
83 | 2711280.0829 | 1267592.5057
84 | 2711312.8455 | 1267610.0468
85 | 2711311.1417 | 1267636.2663
86 | 2711088.7637 | 1267907.1402
87 | 2711082.8474 | 1267906.673
88 | 2711091.562 | 1267900.4648
89 | 2711084.2923 | 1267902.6333
90 | 2711113.088 | 1267899.9801
91 | 2711087.0353 | 1267894.9637
92 | 2711083.0063 | 1267961.4573
93 | 2711098.6781 | 1267955.1263
94 | 2711074.392 | 1267964.9584
95 | 2711095.7122 | 1267870.711
96 | 2711062.477 | 1267969.801
97 | 2711139.7785 | 1267747.9157
98 | 2711280.153 | 1267690.1254
99 | 2711282.4607 | 1267693.0426
100 | 2711293.1825 | 1267706.2831
101 | 2711299.2554 | 1267712.8844
102 | 2711310.1571 | 1267724.7347
103 | 2711166.893 | 1267695.769
104 | 2711148.1107 | 1267725.7558
105 | 2711155.2362 | 1267686.6087
106 | 2711159.2864 | 1267643.0059
107 | 2711147.7459 | 1267726.726
108 | 2711145.3265 | 1267678.8214
109 | 2711159.219 | 1267642.9206
110 | 2711141.0727 | 1267675.4786
111 | 2711218.4491 | 1267598.743
112 | 2711230.3632 | 1267588.0191
113 | 2711233.0434 | 1267586.6345
114 | 2711253.7318 | 1267575.9467
115 | 2711264.1756 | 1267770.8542
116 | 2711271.6761 | 1267779.8677
117 | 2711279.0395 | 1267788.7164
118 | 2711375.1787 | 1267723.8195
119 | 2711358.8882 | 1267744.8872
120 | 2711388.9504 | 1267708.5947
121 | 2711345.1877 | 1267762.7396
122 | 2711374.5498 | 1267695.8746
123 | 2711329.8923 | 1267746.1872
124 | 2711357.6049 | 1267680.9073
125 | 2711303.1939 | 1267817.7411
126 | 2711299.8906 | 1267822.0382
127 | 2711287.6386 | 1267799.0495
128 | 2711315.5645 | 1267730.6126
129 | 2711351.3564 | 1267675.388
130 | 2711265.7509 | 1267573.3445
131 | 2711275.8644 | 1267585.6412
132 | 2711169.2578 | 1267762.7049
133 | 2711170.4472 | 1267763.7175
134 | 2711181.6206 | 1267777.4543
135 | 2711133.6118 | 1267863.9457
136 | 2711318.1275 | 1267643.8867
137 | 2711329.6342 | 1267655.831
138 | 2711336.9735 | 1267662.6835
139 | 2711275.9632 | 1267585.8019
140 | 2711137.9538 | 1267862.8807
141 | 2711172.2094 | 1267853.2518
142 | 2711180.5426 | 1267850.1274
143 | 2711205.2272 | 1267835.6636
144 | 2711210.8134 | 1267831.8588
145 | 2711192.749 | 1267790.8194
146 | 2711197.9418 | 1267797.0559
147 | 2711213.4552 | 1267815.6875
148 | 2711219.3123 | 1267822.7218
149 | 2711257.6815 | 1268040.4425
150 | 2711264.3379 | 1268043.9172
151 | 2711240.8904 | 1268031.6776
152 | 2711228.5893 | 1268009.5985
153 | 2711231.9999 | 1268046.1455
154 | 2711223.9517 | 1268004.0615
155 | 2711213.7175 | 1267991.8423
156 | 2711054.4625 | 1267973.0583
157 | 2711282.4977 | 1267976.7017
158 | 2711276.3386 | 1267969.1788
159 | 2711274.078 | 1267985.2461
160 | 2711262.8928 | 1267952.756
161 | 2711224.8882 | 1267982.9635
162 | 2711278.0483 | 1267940.7584
163 | 2711286.5621 | 1267934.0186
164 | 2711303.1939 | 1267817.7411

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1