## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-36_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-36_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-36_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-36_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4566-36_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4566-36_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_4566-36_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_4566-36_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_4566-36_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4566-36_0_3_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_4566-36_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4566-36_0_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_4566-36_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_4566-36_0_3_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_4566-36_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4566-36_0_3_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_4566-36_0_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_4566-36_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4566-36_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4566-36_0_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_4566-36_0_3_node_161 | 0.4 | n |  | TRUE
21 | bus_LV_4566-36_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4566-36_0_3_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_4566-36_0_3_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_4566-36_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_4566-36_0_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_4566-36_0_3_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_4566-36_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4566-36_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4566-36_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4566-36_0_3_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_4566-36_0_3_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_4566-36_0_3_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_4566-36_0_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_4566-36_0_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_4566-36_0_3_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_4566-36_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_4566-36_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_4566-36_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4566-36_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4566-36_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4566-36_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4566-36_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4566-36_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_4566-36_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_4566-36_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_4566-36_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4566-36_0_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_4566-36_0_3_node_159 | 0.4 | n |  | TRUE
49 | bus_LV_4566-36_0_3_node_160 | 0.4 | n |  | TRUE
50 | bus_LV_4566-36_0_3_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_4566-36_0_3_node_162 | 0.4 | n |  | TRUE
52 | bus_LV_4566-36_0_3_node_158 | 0.4 | n |  | TRUE
53 | bus_LV_4566-36_0_3_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_4566-36_0_3_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_4566-36_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_4566-36_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4566-36_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_4566-36_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_4566-36_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_4566-36_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4566-36_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4566-36_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_4566-36_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_4566-36_0_3_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_4566-36_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_4566-36_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4566-36_0_3_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_4566-36_0_3_node_130 | 0.4 | n |  | TRUE
69 | bus_LV_4566-36_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_4566-36_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_4566-36_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_4566-36_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_4566-36_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_4566-36_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_4566-36_0_3_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_4566-36_0_3_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_4566-36_0_3_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_4566-36_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_4566-36_0_3_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_4566-36_0_3_node_111 | 0.4 | n |  | TRUE
81 | bus_LV_4566-36_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_4566-36_0_3_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_4566-36_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_4566-36_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_4566-36_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_4566-36_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_4566-36_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_4566-36_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_4566-36_0_3_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_4566-36_0_3_node_133 | 0.4 | n |  | TRUE
91 | bus_LV_4566-36_0_3_node_127 | 0.4 | n |  | TRUE
92 | bus_LV_4566-36_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_4566-36_0_3_node_125 | 0.4 | n |  | TRUE
94 | bus_LV_4566-36_0_3_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_4566-36_0_3_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_4566-36_0_3_node_113 | 0.4 | n |  | TRUE
97 | bus_LV_4566-36_0_3_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_4566-36_0_3_node_131 | 0.4 | n |  | TRUE
99 | bus_LV_4566-36_0_3_node_109 | 0.4 | n |  | TRUE
100 | bus_LV_4566-36_0_3_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_4566-36_0_3_node_107 | 0.4 | n |  | TRUE
102 | bus_LV_4566-36_0_3_node_156 | 0.4 | n |  | TRUE
103 | bus_LV_4566-36_0_3_node_94 | 0.4 | n |  | TRUE
104 | bus_LV_4566-36_0_3_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_4566-36_0_3_node_96 | 0.4 | n |  | TRUE
106 | bus_LV_4566-36_0_3_node_97 | 0.4 | n |  | TRUE
107 | bus_LV_4566-36_0_3_node_98 | 0.4 | n |  | TRUE
108 | bus_LV_4566-36_0_3_node_99 | 0.4 | n |  | TRUE
109 | bus_LV_4566-36_0_3_node_100 | 0.4 | n |  | TRUE
110 | bus_LV_4566-36_0_3_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_4566-36_0_3_node_103 | 0.4 | n |  | TRUE
112 | bus_LV_4566-36_0_3_node_104 | 0.4 | n |  | TRUE
113 | bus_LV_4566-36_0_3_node_151 | 0.4 | n |  | TRUE
114 | bus_LV_4566-36_0_3_node_112 | 0.4 | n |  | TRUE
115 | bus_LV_4566-36_0_3_node_132 | 0.4 | n |  | TRUE
116 | bus_LV_4566-36_0_3_node_149 | 0.4 | n |  | TRUE
117 | bus_LV_4566-36_0_3_node_144 | 0.4 | n |  | TRUE
118 | bus_LV_4566-36_0_3_node_106 | 0.4 | n |  | TRUE
119 | bus_LV_4566-36_0_3_node_108 | 0.4 | n |  | TRUE
120 | bus_LV_4566-36_0_3_node_110 | 0.4 | n |  | TRUE
121 | bus_LV_4566-36_0_3_node_114 | 0.4 | n |  | TRUE
122 | bus_LV_4566-36_0_3_node_115 | 0.4 | n |  | TRUE
123 | bus_LV_4566-36_0_3_node_116 | 0.4 | n |  | TRUE
124 | bus_LV_4566-36_0_3_node_117 | 0.4 | n |  | TRUE
125 | bus_LV_4566-36_0_3_node_118 | 0.4 | n |  | TRUE
126 | bus_LV_4566-36_0_3_node_120 | 0.4 | n |  | TRUE
127 | bus_LV_4566-36_0_3_node_128 | 0.4 | n |  | TRUE
128 | bus_LV_4566-36_0_3_node_129 | 0.4 | n |  | TRUE
129 | bus_LV_4566-36_0_3_node_121 | 0.4 | n |  | TRUE
130 | bus_LV_4566-36_0_3_node_126 | 0.4 | n |  | TRUE
131 | bus_LV_4566-36_0_3_node_122 | 0.4 | n |  | TRUE
132 | bus_LV_4566-36_0_3_node_123 | 0.4 | n |  | TRUE
133 | bus_LV_4566-36_0_3_node_124 | 0.4 | n |  | TRUE
134 | bus_LV_4566-36_0_3_node_143 | 0.4 | n |  | TRUE
135 | bus_LV_4566-36_0_3_node_134 | 0.4 | n |  | TRUE
136 | bus_LV_4566-36_0_3_node_135 | 0.4 | n |  | TRUE
137 | bus_LV_4566-36_0_3_node_136 | 0.4 | n |  | TRUE
138 | bus_LV_4566-36_0_3_node_137 | 0.4 | n |  | TRUE
139 | bus_LV_4566-36_0_3_node_138 | 0.4 | n |  | TRUE
140 | bus_LV_4566-36_0_3_node_139 | 0.4 | n |  | TRUE
141 | bus_LV_4566-36_0_3_node_140 | 0.4 | n |  | TRUE
142 | bus_LV_4566-36_0_3_node_141 | 0.4 | n |  | TRUE
143 | bus_LV_4566-36_0_3_node_146 | 0.4 | n |  | TRUE
144 | bus_LV_4566-36_0_3_node_142 | 0.4 | n |  | TRUE
145 | bus_LV_4566-36_0_3_node_145 | 0.4 | n |  | TRUE
146 | bus_LV_4566-36_0_3_node_147 | 0.4 | n |  | TRUE
147 | bus_LV_4566-36_0_3_node_148 | 0.4 | n |  | TRUE
148 | bus_LV_4566-36_0_3_node_150 | 0.4 | n |  | TRUE
149 | bus_LV_4566-36_0_3_node_152 | 0.4 | n |  | TRUE
150 | bus_LV_4566-36_0_3_node_154 | 0.4 | n |  | TRUE
151 | bus_LV_4566-36_0_3_node_153 | 0.4 | n |  | TRUE
152 | bus_LV_4566-36_0_3_node_155 | 0.4 | n |  | TRUE
153 | bus_MV_374_1_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-36_0_3_load_0 | 0 | 0.0011243 | 0.00028177 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-36_0_3_load_1 | 1 | 0.0015838 | 0.00039693 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-36_0_3_load_3 | 3 | 0.0012696 | 0.00031818 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-36_0_3_load_16 | 5 | 0.0012729 | 0.00031903 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-36_0_3_load_17 | 6 | 0.0016619 | 0.00041651 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-36_0_3_load_61 | 11 | 0.012183 | 0.0030533 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-36_0_3_load_56 | 13 | 0.012183 | 0.0030534 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-36_0_3_load_31 | 15 | 0.0042996 | 0.0010776 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-36_0_3_load_29 | 16 | 0.0020647 | 0.00051747 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-36_0_3_load_28 | 19 | 0.0047359 | 0.0011869 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-36_0_3_load_161 | 20 | 0.0078632 | 0.0019707 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-36_0_3_load_53 | 23 | 0.0081204 | 0.0020352 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-36_0_3_load_36 | 24 | 0.0011856 | 0.00029714 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-36_0_3_load_47 | 25 | 0.011578 | 0.0029017 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-36_0_3_load_45 | 26 | 0.0020752 | 0.0005201 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-36_0_3_load_24 | 28 | 0.0014224 | 0.00035648 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-36_0_3_load_19 | 29 | 0.0014691 | 0.00036819 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-36_0_3_load_62 | 30 | 0.0047571 | 0.0011922 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-36_0_3_load_58 | 32 | 0.012806 | 0.0032096 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-36_0_3_load_55 | 33 | 0.012806 | 0.0032096 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-36_0_3_load_54 | 34 | 0.0085381 | 0.0021399 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-36_0_3_load_48 | 35 | 0.00064255 | 0.00016104 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-36_0_3_load_49 | 36 | 0.0016295 | 0.0004084 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-36_0_3_load_22 | 38 | 0.0013477 | 0.00033777 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-36_0_3_load_25 | 40 | 0.0013041 | 0.00032684 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-36_0_3_load_27 | 41 | 0.0018493 | 0.00046347 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-36_0_3_load_37 | 43 | 0.00089852 | 0.00022519 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-36_0_3_load_51 | 44 | 0.0038121 | 0.00095541 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-36_0_3_load_32 | 45 | 0.0019125 | 0.00047931 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-36_0_3_load_52 | 47 | 0.0032215 | 0.00080739 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-36_0_3_load_159 | 48 | 0.0047548 | 0.0011917 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-36_0_3_load_160 | 49 | 0.0010108 | 0.00025333 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-36_0_3_load_162 | 51 | 0.0013666 | 0.00034251 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-36_0_3_load_77 | 53 | 0.0044678 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-36_0_3_load_75 | 54 | 0.0023591 | 0.00059124 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-36_0_3_load_44 | 55 | 0.0013412 | 0.00033614 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-36_0_3_load_38 | 56 | 0.0011148 | 0.00027938 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-36_0_3_load_39 | 57 | 0.0013917 | 0.00034879 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-36_0_3_load_40 | 58 | 0.0013415 | 0.00033622 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-36_0_3_load_41 | 59 | 0.0021819 | 0.00054683 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-36_0_3_load_42 | 60 | 0.0013043 | 0.0003269 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-36_0_3_load_43 | 61 | 0.0011344 | 0.00028431 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-36_0_3_load_50 | 62 | 0.0020449 | 0.00051249 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-36_0_3_load_63 | 63 | 0.001708 | 0.00042807 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-36_0_3_load_64 | 64 | 0.0011417 | 0.00028614 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-36_0_3_load_65 | 65 | 0.0032515 | 0.0008149 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-36_0_3_load_66 | 66 | 0.0017279 | 0.00043306 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-36_0_3_load_78 | 67 | 0.001033 | 0.00025891 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-36_0_3_load_130 | 68 | 0.0014769 | 0.00037016 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-36_0_3_load_67 | 69 | 0.0012182 | 0.00030531 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-36_0_3_load_68 | 70 | 0.0021026 | 0.00052697 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-36_0_3_load_69 | 71 | 0.0064513 | 0.0016168 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-36_0_3_load_70 | 72 | 0.0014412 | 0.0003612 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-36_0_3_load_71 | 73 | 0.0015688 | 0.00039319 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-36_0_3_load_72 | 74 | 0.0018499 | 0.00046364 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-36_0_3_load_73 | 75 | 0.0022398 | 0.00056135 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-36_0_3_load_76 | 76 | 0.0041236 | 0.0010335 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-36_0_3_load_91 | 77 | 0.001689 | 0.00042329 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-36_0_3_load_74 | 78 | 0.0033424 | 0.00083769 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-36_0_3_load_111 | 80 | 0.0014769 | 0.00037016 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-36_0_3_load_79 | 81 | 0.0015015 | 0.00037632 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-36_0_3_load_80 | 82 | 0.0014046 | 0.00035203 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-36_0_3_load_81 | 83 | 0.0014163 | 0.00035495 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-36_0_3_load_83 | 85 | 0.0011384 | 0.0002853 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-36_0_3_load_84 | 86 | 0.0028623 | 0.00071736 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-36_0_3_load_85 | 87 | 0.0012401 | 0.0003108 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-36_0_3_load_86 | 88 | 0.0011533 | 0.00028905 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4566-36_0_3_load_87 | 89 | 0.002441 | 0.00061178 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4566-36_0_3_load_133 | 90 | 0.0026687 | 0.00066883 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4566-36_0_3_load_127 | 91 | 0.0026083 | 0.00065371 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4566-36_0_3_load_88 | 92 | 0.00059083 | 0.00014808 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4566-36_0_3_load_125 | 93 | 0.0012639 | 0.00031676 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4566-36_0_3_load_89 | 94 | 0.0021215 | 0.00053171 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4566-36_0_3_load_90 | 95 | 0.0018062 | 0.00045268 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4566-36_0_3_load_113 | 96 | 0.0020439 | 0.00051225 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4566-36_0_3_load_105 | 97 | 0.0051184 | 0.0012828 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4566-36_0_3_load_131 | 98 | 0.0043064 | 0.0010793 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4566-36_0_3_load_109 | 99 | 0.0017396 | 0.00043598 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4566-36_0_3_load_101 | 100 | 0.0017376 | 0.00043549 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4566-36_0_3_load_107 | 101 | 0.0017385 | 0.0004357 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4566-36_0_3_load_156 | 102 | 0.0045386 | 0.0011375 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4566-36_0_3_load_94 | 103 | 0.0031246 | 0.00078309 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4566-36_0_3_load_95 | 104 | 0.0017385 | 0.0004357 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4566-36_0_3_load_100 | 109 | 0.0056192 | 0.0014083 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4566-36_0_3_load_102 | 110 | 0.0035628 | 0.00089291 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4566-36_0_3_load_103 | 111 | 0.003251 | 0.00081478 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4566-36_0_3_load_104 | 112 | 0.0035309 | 0.00088492 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4566-36_0_3_load_151 | 113 | 0.001359 | 0.00034061 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4566-36_0_3_load_112 | 114 | 0.0053753 | 0.0013472 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4566-36_0_3_load_132 | 115 | 0.0046351 | 0.0011617 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4566-36_0_3_load_149 | 116 | 0.00083229 | 0.00020859 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4566-36_0_3_load_144 | 117 | 0.0013624 | 0.00034145 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4566-36_0_3_load_106 | 118 | 0.0016801 | 0.00042108 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4566-36_0_3_load_108 | 119 | 0.0014769 | 0.00037016 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4566-36_0_3_load_110 | 120 | 0.0014769 | 0.00037016 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4566-36_0_3_load_114 | 121 | 0.0012781 | 0.00032032 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4566-36_0_3_load_115 | 122 | 0.0011668 | 0.00029244 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4566-36_0_3_load_117 | 124 | 0.0011447 | 0.00028689 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4566-36_0_3_load_120 | 126 | 0.0012505 | 0.00031341 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4566-36_0_3_load_128 | 127 | 0.0011465 | 0.00028734 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4566-36_0_3_load_129 | 128 | 0.0012296 | 0.00030818 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4566-36_0_3_load_121 | 129 | 0.001105 | 0.00027694 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4566-36_0_3_load_126 | 130 | 0.0011892 | 0.00029805 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4566-36_0_3_load_122 | 131 | 0.0011784 | 0.00029535 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4566-36_0_3_load_123 | 132 | 0.0011321 | 0.00028374 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4566-36_0_3_load_124 | 133 | 0.001211 | 0.00030351 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4566-36_0_3_load_143 | 134 | 0.00071781 | 0.0001799 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4566-36_0_3_load_134 | 135 | 0.0014399 | 0.00036088 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4566-36_0_3_load_135 | 136 | 0.00071438 | 0.00017904 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4566-36_0_3_load_136 | 137 | 0.0024006 | 0.00060166 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4566-36_0_3_load_137 | 138 | 0.0026832 | 0.00067248 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4566-36_0_3_load_139 | 140 | 0.0019309 | 0.00048394 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4566-36_0_3_load_140 | 141 | 0.0020814 | 0.00052166 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4566-36_0_3_load_141 | 142 | 0.0043609 | 0.0010929 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4566-36_0_3_load_146 | 143 | 0.0028031 | 0.00070251 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4566-36_0_3_load_145 | 145 | 0.0019306 | 0.00048385 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4566-36_0_3_load_147 | 146 | 0.0040769 | 0.0010218 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4566-36_0_3_load_148 | 147 | 0.002706 | 0.00067818 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4566-36_0_3_load_150 | 148 | 0.002605 | 0.00065288 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4566-36_0_3_load_152 | 149 | 0.002566 | 0.0006431 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4566-36_0_3_load_154 | 150 | 0.0035372 | 0.0008865 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4566-36_0_3_load_153 | 151 | 0.0024064 | 0.00060311 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4566-36_0_3_load_155 | 152 | 0.0045082 | 0.0011299 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 114 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-36_0_3_line_0 |  | 0 | 1 | 0.027707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-36_0_3_line_1 |  | 0 | 2 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-36_0_3_line_2 |  | 1 | 3 | 0.027428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-36_0_3_line_3 |  | 2 | 4 | 0.003852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-36_0_3_line_4 |  | 3 | 5 | 0.023715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-36_0_3_line_5 |  | 4 | 6 | 0.040806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-36_0_3_line_6 |  | 4 | 7 | 0.019198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-36_0_3_line_7 |  | 6 | 24 | 0.021339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-36_0_3_line_8 |  | 7 | 25 | 0.012202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-36_0_3_line_9 |  | 7 | 26 | 0.0079744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-36_0_3_line_10 |  | 8 | 9 | 0.005891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-36_0_3_line_11 |  | 8 | 10 | 0.033769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-36_0_3_line_12 |  | 8 | 11 | 0.021764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-36_0_3_line_13 |  | 9 | 31 | 0.037575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-36_0_3_line_14 |  | 9 | 30 | 0.019444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-36_0_3_line_15 |  | 10 | 12 | 0.033259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4566-36_0_3_line_16 |  | 10 | 13 | 0.021545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-36_0_3_line_17 |  | 11 | 32 | 0.024091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-36_0_3_line_18 |  | 12 | 23 | 0.019984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-36_0_3_line_19 |  | 12 | 18 | 0.032779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4566-36_0_3_line_20 |  | 13 | 33 | 0.024054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-36_0_3_line_21 |  | 14 | 15 | 0.011848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4566-36_0_3_line_22 |  | 14 | 16 | 0.0081501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4566-36_0_3_line_23 |  | 15 | 21 | 0.031553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4566-36_0_3_line_24 |  | 16 | 19 | 0.0009845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4566-36_0_3_line_25 |  | 17 | 18 | 0.036237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4566-36_0_3_line_26 |  | 17 | 19 | 0.032598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4566-36_0_3_line_27 |  | 18 | 20 | 0.02732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-36_0_3_line_28 |  | 21 | 22 | 0.1292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4566-36_0_3_line_29 |  | 22 | 35 | 0.039585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-36_0_3_line_30 |  | 22 | 36 | 0.046188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4566-36_0_3_line_31 |  | 22 | 26 | 0.030888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-36_0_3_line_32 |  | 23 | 34 | 0.024046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-36_0_3_line_33 |  | 27 | 28 | 0.0065309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-36_0_3_line_34 |  | 27 | 29 | 0.027042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-36_0_3_line_35 |  | 29 | 37 | 0.036979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-36_0_3_line_36 |  | 31 | 48 | 0.01258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-36_0_3_line_37 |  | 35 | 61 | 0.024732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-36_0_3_line_38 |  | 36 | 62 | 0.0038475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4566-36_0_3_line_39 |  | 37 | 38 | 0.004084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-36_0_3_line_40 |  | 37 | 39 | 0.019661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-36_0_3_line_41 |  | 38 | 40 | 0.0042816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-36_0_3_line_42 |  | 39 | 41 | 0.0037586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-36_0_3_line_43 |  | 39 | 42 | 0.004115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-36_0_3_line_44 |  | 40 | 43 | 0.023899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-36_0_3_line_45 |  | 41 | 45 | 0.042175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-36_0_3_line_46 |  | 42 | 44 | 0.02688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-36_0_3_line_47 |  | 44 | 46 | 0.017035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-36_0_3_line_48 |  | 46 | 47 | 0.022606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-36_0_3_line_49 |  | 47 | 55 | 0.027831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-36_0_3_line_50 |  | 48 | 49 | 0.013719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-36_0_3_line_51 |  | 50 | 51 | 0.058722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-36_0_3_line_52 |  | 50 | 52 | 0.10611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-36_0_3_line_53 |  | 52 | 102 | 0.087542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-36_0_3_line_54 |  | 53 | 54 | 0.0082998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-36_0_3_line_55 |  | 54 | 78 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-36_0_3_line_56 |  | 55 | 60 | 0.024123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-36_0_3_line_57 |  | 56 | 57 | 0.019131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-36_0_3_line_58 |  | 56 | 58 | 0.030003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-36_0_3_line_59 |  | 57 | 59 | 0.0062119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-36_0_3_line_60 |  | 58 | 60 | 0.0043986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-36_0_3_line_61 |  | 59 | 61 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-36_0_3_line_62 |  | 62 | 63 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4566-36_0_3_line_63 |  | 63 | 64 | 0.00059539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4566-36_0_3_line_64 |  | 64 | 65 | 0.0035949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4566-36_0_3_line_65 |  | 65 | 66 | 0.012206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4566-36_0_3_line_66 |  | 66 | 67 | 0.011956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4566-36_0_3_line_67 |  | 67 | 68 | 0.00025799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4566-36_0_3_line_68 |  | 68 | 80 | 0.00026018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4566-36_0_3_line_69 |  | 69 | 70 | 0.0040118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-36_0_3_line_70 |  | 69 | 71 | 0.01585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4566-36_0_3_line_71 |  | 70 | 72 | 0.021045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-36_0_3_line_72 |  | 71 | 73 | 0.012362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-36_0_3_line_73 |  | 72 | 74 | 0.0037732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-36_0_3_line_74 |  | 73 | 75 | 0.029872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-36_0_3_line_75 |  | 74 | 76 | 0.017359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-36_0_3_line_76 |  | 75 | 77 | 0.0028441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-36_0_3_line_77 |  | 76 | 78 | 0.017228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-36_0_3_line_78 |  | 77 | 79 | 0.015556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-36_0_3_line_79 |  | 79 | 98 | 0.0080194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_4566-36_0_3_line_80 |  | 79 | 99 | 0.018699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4566-36_0_3_line_81 |  | 80 | 120 | 0.00026019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_4566-36_0_3_line_82 |  | 81 | 82 | 0.0049966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-36_0_3_line_83 |  | 81 | 83 | 0.0034697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-36_0_3_line_84 |  | 82 | 84 | 0.014887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-36_0_3_line_85 |  | 83 | 85 | 0.019762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-36_0_3_line_86 |  | 84 | 86 | 0.0039734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-36_0_3_line_87 |  | 84 | 87 | 0.031913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4566-36_0_3_line_88 |  | 85 | 88 | 0.0048455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4566-36_0_3_line_89 |  | 86 | 89 | 0.0089374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4566-36_0_3_line_90 |  | 87 | 90 | 0.019154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4566-36_0_3_line_91 |  | 88 | 91 | 0.0049372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4566-36_0_3_line_92 |  | 89 | 92 | 0.012378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4566-36_0_3_line_93 |  | 91 | 93 | 0.00018274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4566-36_0_3_line_94 |  | 92 | 94 | 0.011911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4566-36_0_3_line_95 |  | 93 | 133 | 0.013026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4566-36_0_3_line_96 |  | 94 | 95 | 0.0016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4566-36_0_3_line_97 |  | 95 | 96 | 0.03017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4566-36_0_3_line_98 |  | 96 | 97 | 0.0022065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4566-36_0_3_line_99 |  | 97 | 108 | 0.018651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4566-36_0_3_line_100 |  | 98 | 100 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_4566-36_0_3_line_101 |  | 99 | 101 | 0.00093681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_4566-36_0_3_line_102 |  | 100 | 106 | 0.0044732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_4566-36_0_3_line_103 |  | 101 | 118 | 0.023553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_4566-36_0_3_line_104 |  | 102 | 144 | 0.02283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4566-36_0_3_line_105 |  | 103 | 104 | 0.027292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_4566-36_0_3_line_106 |  | 103 | 105 | 0.031779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_4566-36_0_3_line_107 |  | 104 | 106 | 0.0028823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_4566-36_0_3_line_108 |  | 105 | 107 | 0.045642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_4566-36_0_3_line_109 |  | 105 | 108 | 0.006789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4566-36_0_3_line_110 |  | 106 | 109 | 0.025974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4566-36_0_3_line_111 |  | 107 | 110 | 0.0048081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_4566-36_0_3_line_112 |  | 107 | 111 | 0.020131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4566-36_0_3_line_113 |  | 108 | 112 | 0.016067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4566-36_0_3_line_114 |  | 109 | 113 | 0.01752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4566-36_0_3_line_115 |  | 110 | 114 | 0.0015307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_4566-36_0_3_line_116 |  | 112 | 115 | 0.024799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4566-36_0_3_line_117 |  | 113 | 116 | 0.0032302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4566-36_0_3_line_118 |  | 115 | 117 | 0.0029237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4566-36_0_3_line_119 |  | 116 | 146 | 0.005542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4566-36_0_3_line_120 |  | 117 | 134 | 0.015702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4566-36_0_3_line_121 |  | 118 | 119 | 0.0033198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_4566-36_0_3_line_122 |  | 119 | 120 | 0.0002602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_4566-36_0_3_line_123 |  | 121 | 122 | 0.0051145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4566-36_0_3_line_124 |  | 121 | 123 | 0.027244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4566-36_0_3_line_125 |  | 122 | 124 | 0.0049143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4566-36_0_3_line_126 |  | 123 | 125 | 0.050469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4566-36_0_3_line_127 |  | 124 | 126 | 0.017564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4566-36_0_3_line_128 |  | 125 | 127 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4566-36_0_3_line_129 |  | 125 | 128 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4566-36_0_3_line_130 |  | 126 | 129 | 0.0052303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4566-36_0_3_line_131 |  | 127 | 130 | 0.0049254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4566-36_0_3_line_132 |  | 129 | 131 | 0.0050736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4566-36_0_3_line_133 |  | 130 | 133 | 0.0050986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4566-36_0_3_line_134 |  | 131 | 132 | 0.0013305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4566-36_0_3_line_135 |  | 134 | 145 | 0.0039601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4566-36_0_3_line_136 |  | 135 | 136 | 0.0025358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4566-36_0_3_line_137 |  | 135 | 137 | 0.021437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4566-36_0_3_line_138 |  | 136 | 138 | 0.010115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4566-36_0_3_line_139 |  | 137 | 139 | 0.017025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4566-36_0_3_line_140 |  | 138 | 140 | 0.024185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4566-36_0_3_line_141 |  | 139 | 141 | 0.054837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4566-36_0_3_line_142 |  | 139 | 142 | 0.027226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4566-36_0_3_line_143 |  | 140 | 143 | 0.0039745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4566-36_0_3_line_144 |  | 141 | 144 | 0.011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4566-36_0_3_line_145 |  | 143 | 145 | 0.0089782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4566-36_0_3_line_146 |  | 146 | 147 | 0.0095913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4566-36_0_3_line_147 |  | 147 | 148 | 0.025358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4566-36_0_3_line_148 |  | 148 | 149 | 0.017542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4566-36_0_3_line_149 |  | 149 | 150 | 0.0060759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4566-36_0_3_line_150 |  | 150 | 151 | 0.013217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4566-36_0_3_line_151 |  | 151 | 152 | 0.023266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-36_0_3_trafo_112 | 0.63 MVA 20/0.4 kV | 153 | 114 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2710704.911 | 1267917.5131 | 2710703.5193 | 1267921.379 | 2710699.7897 | 1267928.76 | 2710695.0614 | 1267936.8118 | 2710691.6104 | 1267941.7091
1 | 2710708.7352 | 1267905.7964 | 2710706.2911 | 1267913.6797 | 2710704.911 | 1267917.5131
2 | 2710672.658 | 1267961.3865 | 2710676.9592 | 1267957.88 | 2710683.7472 | 1267951.2013 | 2710688.4794 | 1267946.1522 | 2710691.6104 | 1267941.7091
3 | 2710712.4656 | 1267906.8005 | 2710708.7352 | 1267905.7964
4 | 2710672.658 | 1267961.3865 | 2710671.2787 | 1267962.511 | 2710665.564 | 1267966.552 | 2710660.1401 | 1267969.9423 | 2710652.542 | 1267973.8419
5 | 2710712.4656 | 1267906.8005 | 2710708.1727 | 1267918.5303 | 2710703.7235 | 1267928.9561 | 2710698.9927 | 1267937.5416 | 2710695.0797 | 1267943.5585
6 | 2710712.4656 | 1267906.8005 | 2710731.1309 | 1267911.521
7 | 2710695.0797 | 1267943.5585 | 2710694.1554 | 1267944.9797 | 2710687.5006 | 1267953.3847 | 2710680.8484 | 1267959.332
8 | 2710742.9992 | 1267908.5408 | 2710733.438 | 1267910.9415 | 2710731.1309 | 1267911.521
9 | 2710731.1309 | 1267911.521 | 2710734.1768 | 1267918.8908
10 | 2710952.288 | 1267810.3806 | 2710958.145 | 1267809.601
11 | 2710918.8076 | 1267814.7893 | 2710925.4494 | 1267813.9132 | 2710952.288 | 1267810.3806
12 | 2710952.288 | 1267810.3806 | 2710954.7128 | 1267832.0095
13 | 2710958.145 | 1267809.601 | 2710965.4811 | 1267808.6379 | 2710987.0332 | 1267805.5844 | 2710990.4675 | 1267797.9089
14 | 2710958.145 | 1267809.601 | 2710955.6813 | 1267790.3137
15 | 2710885.8329 | 1267819.1299 | 2710893.8484 | 1267818.0682 | 2710918.8076 | 1267814.7893
16 | 2710918.8076 | 1267814.7893 | 2710921.5432 | 1267836.1602
17 | 2710957.3967 | 1267855.9509 | 2710954.7128 | 1267832.0095
18 | 2710885.8329 | 1267819.1299 | 2710888.4005 | 1267838.9485
19 | 2710885.8329 | 1267819.1299 | 2710860.1642 | 1267822.5068 | 2710853.3338 | 1267823.4017
20 | 2710924.5973 | 1267860.0199 | 2710921.5432 | 1267836.1602
21 | 2710823.0237 | 1267869.4957 | 2710824.6037 | 1267881.2376
22 | 2710823.0237 | 1267869.4957 | 2710821.927 | 1267861.4197
23 | 2710828.8115 | 1267912.5085 | 2710824.6037 | 1267881.2376
24 | 2710821.927 | 1267861.4197 | 2710821.7945 | 1267860.4442
25 | 2710817.408 | 1267828.1432 | 2710821.4006 | 1267827.6176 | 2710853.3338 | 1267823.4017
26 | 2710817.408 | 1267828.1432 | 2710821.7945 | 1267860.4442
27 | 2710852.2161 | 1267847.246 | 2710856.0895 | 1267846.6515 | 2710853.3338 | 1267823.4017
28 | 2710828.8115 | 1267912.5085 | 2710828.5104 | 1267915.7168 | 2710825.8973 | 1267919.7602 | 2710818.6468 | 1267923.3941 | 2710811.4776 | 1267925.9063 | 2710808.0226 | 1267927.4762 | 2710807.6123 | 1267928.8808 | 2710808.3392 | 1267929.862 | 2710810.0457 | 1267930.3945 | 2710812.1083 | 1267930.4109 | 2710819.61 | 1267930.2403 | 2710823.107 | 1267930.8398 | 2710825.0816 | 1267931.533 | 2710824.0146 | 1267933.0254 | 2710820.8588 | 1267934.701 | 2710812.8428 | 1267938.2093 | 2710801.5892 | 1267938.9211 | 2710782.9044 | 1267940.0607 | 2710768.4868 | 1267940.0794 | 2710755.9582 | 1267941.7349 | 2710746.6125 | 1267947.0978
29 | 2710746.6125 | 1267947.0978 | 2710726.3531 | 1267961.9533 | 2710717.7474 | 1267973.5774
30 | 2710746.6125 | 1267947.0978 | 2710765.4627 | 1267965.6339 | 2710776.8357 | 1267981.782
31 | 2710746.6125 | 1267947.0978 | 2710742.531 | 1267939.9261 | 2710739.0241 | 1267930.6189 | 2710734.1768 | 1267918.8908
32 | 2710888.4005 | 1267838.9485 | 2710891.4899 | 1267862.7948
33 | 2710624.3598 | 1267931.6167 | 2710626.2662 | 1267925.3702
34 | 2710624.3598 | 1267931.6167 | 2710623.59 | 1267934.1267 | 2710622.4868 | 1267937.1531 | 2710620.1879 | 1267941.7141 | 2710613.5625 | 1267951.7766 | 2710611.0045 | 1267954.9038
35 | 2710593.2808 | 1267985.9269 | 2710593.0565 | 1267983.4316 | 2710593.1898 | 1267979.931 | 2710594.235 | 1267976.3808 | 2710598.0446 | 1267970.7472 | 2710611.0045 | 1267954.9038
36 | 2710990.4675 | 1267797.9089 | 2710988.792 | 1267785.7112 | 2710988.7597 | 1267785.4451
37 | 2710701.201 | 1267991.7638 | 2710709.8851 | 1267984.1976 | 2710717.7474 | 1267973.5774
38 | 2710779.0512 | 1267984.9277 | 2710779.0512 | 1267984.9277 | 2710776.8357 | 1267981.782
39 | 2710593.2808 | 1267985.9269 | 2710593.6563 | 1267989.993
40 | 2710573.6683 | 1267987.9728 | 2710593.2808 | 1267985.9269
41 | 2710593.6563 | 1267989.993 | 2710597.9049 | 1267989.4618
42 | 2710573.6683 | 1267987.9728 | 2710569.9304 | 1267988.3675
43 | 2710573.6683 | 1267987.9728 | 2710573.5386 | 1267992.085
44 | 2710621.6261 | 1267986.5534 | 2710614.3857 | 1267987.4009 | 2710597.9049 | 1267989.4618
45 | 2710529.0227 | 1267993.6097 | 2710531.9406 | 1267995.0539 | 2710535.7117 | 1267995.4915 | 2710537.1797 | 1267995.4967 | 2710540.2809 | 1267994.7207 | 2710544.4886 | 1267993.1536 | 2710551.561 | 1267990.9729 | 2710556.3829 | 1267989.9733 | 2710567.4072 | 1267988.634 | 2710569.9304 | 1267988.3675
46 | 2710573.5386 | 1267992.085 | 2710573.2309 | 1267995.6491 | 2710572.6661 | 1267998.8746 | 2710565.7803 | 1268017.6816
47 | 2710559.9236 | 1268033.6777 | 2710565.7803 | 1268017.6816
48 | 2710559.9236 | 1268033.6777 | 2710582.325 | 1268030.646
49 | 2710609.82 | 1268026.4906 | 2710606.5527 | 1268027.367 | 2710582.325 | 1268030.646
50 | 2710988.7597 | 1267785.4451 | 2710988.3682 | 1267782.2224 | 2710987.1903 | 1267773.5927 | 2710986.9593 | 1267771.8451
51 | 2710737.7524 | 1268159.7843 | 2710736.546 | 1268218.4908
52 | 2710736.546 | 1268218.4908 | 2710754.0928 | 1268234.6227 | 2710788.5873 | 1268267.1088 | 2710795.6445 | 1268273.7581 | 2710809.0584 | 1268265.8026 | 2710817.2747 | 1268260.8301
53 | 2710817.2747 | 1268260.8301 | 2710892.4272 | 1268215.9336
54 | 2710642.5556 | 1268091.2204 | 2710650.3343 | 1268090.2527 | 2710650.791 | 1268090.189
55 | 2710668.8848 | 1268087.3484 | 2710661.7244 | 1268088.6646 | 2710650.791 | 1268090.189
56 | 2710609.82 | 1268026.4906 | 2710633.1194 | 1268020.2407
57 | 2710684.0015 | 1268003.7262 | 2710665.9722 | 1268010.1244
58 | 2710637.3678 | 1268019.1011 | 2710650.9228 | 1268015.465 | 2710665.9722 | 1268010.1244
59 | 2710684.0015 | 1268003.7262 | 2710689.8557 | 1268001.6487
60 | 2710637.3678 | 1268019.1011 | 2710633.1194 | 1268020.2407
61 | 2710689.8557 | 1268001.6487 | 2710689.8557 | 1268001.6487 | 2710701.201 | 1267991.7638
62 | 2710781.426 | 1267996.0429 | 2710779.0512 | 1267984.9277
63 | 2710781.426 | 1267996.0429 | 2710781.5504 | 1267996.6252
64 | 2710782.3015 | 1268000.1407 | 2710781.5504 | 1267996.6252
65 | 2710782.3015 | 1268000.1407 | 2710784.7885 | 1268011.781 | 2710784.8778 | 1268012.0705
66 | 2710788.4029 | 1268023.4953 | 2710784.8778 | 1268012.0705
67 | 2710788.4029 | 1268023.4953 | 2710788.4789 | 1268023.7418
68 | 2710788.4789 | 1268023.7418 | 2710788.5556 | 1268023.9904
69 | 2710731.6957 | 1268078.7885 | 2710727.7089 | 1268079.2356
70 | 2710747.4501 | 1268077.0532 | 2710732.8824 | 1268078.6555 | 2710731.6957 | 1268078.7885
71 | 2710727.7089 | 1268079.2356 | 2710706.7946 | 1268081.5807
72 | 2710747.4501 | 1268077.0532 | 2710757.242 | 1268075.9763 | 2710759.725 | 1268075.6059
73 | 2710703.0449 | 1268082.0011 | 2710706.7946 | 1268081.5807
74 | 2710759.725 | 1268075.6059 | 2710772.3411 | 1268073.724 | 2710788.1514 | 1268070.8846 | 2710789.185 | 1268070.6811
75 | 2710703.0449 | 1268082.0011 | 2710701.1889 | 1268082.2092 | 2710692.8809 | 1268083.2323 | 2710685.8421 | 1268084.3095
76 | 2710791.9756 | 1268070.1319 | 2710789.185 | 1268070.6811
77 | 2710668.8848 | 1268087.3484 | 2710683.2999 | 1268084.6985 | 2710685.8421 | 1268084.3095
78 | 2710807.2387 | 1268067.128 | 2710791.9756 | 1268070.1319
79 | 2710807.2387 | 1268067.128 | 2710808.918 | 1268066.7036 | 2710811.5806 | 1268066.0307 | 2710815.0129 | 1268065.1602
80 | 2710807.2387 | 1268067.128 | 2710799.6837 | 1268050.0235
81 | 2710788.5556 | 1268023.9904 | 2710788.6324 | 1268024.239
82 | 2710996.1633 | 1267996.7527 | 2710991.5344 | 1267998.634
83 | 2710996.1633 | 1267996.7527 | 2710999.3777 | 1267995.4463
84 | 2710977.743 | 1268004.2392 | 2710991.5344 | 1267998.634
85 | 2711017.6852 | 1267988.0056 | 2710999.3777 | 1267995.4463
86 | 2710977.743 | 1268004.2392 | 2710974.0615 | 1268005.7341
87 | 2710977.743 | 1268004.2392 | 2710972.8944 | 1267979.015 | 2710968.0695 | 1267976.1664 | 2710967.4535 | 1267976.2638
88 | 2711017.6852 | 1267988.0056 | 2711022.1741 | 1267986.1812
89 | 2710965.7807 | 1268009.0965 | 2710974.0615 | 1268005.7341
90 | 2710948.535 | 1267979.2578 | 2710967.4535 | 1267976.2638
91 | 2711022.1741 | 1267986.1812 | 2711026.748 | 1267984.3222
92 | 2710954.3118 | 1268013.7534 | 2710965.7807 | 1268009.0965
93 | 2711026.748 | 1267984.3222 | 2711026.9173 | 1267984.2534
94 | 2710954.3118 | 1268013.7534 | 2710943.2758 | 1268018.2346
95 | 2711038.9842 | 1267979.3491 | 2711026.9173 | 1267984.2534
96 | 2710943.2758 | 1268018.2346 | 2710941.7537 | 1268018.8526
97 | 2710913.8003 | 1268030.2031 | 2710941.7537 | 1268018.8526
98 | 2710911.7559 | 1268031.0332 | 2710913.8003 | 1268030.2031
99 | 2710894.4749 | 1268038.0501 | 2710911.7559 | 1268031.0332
100 | 2710825.5356 | 1268062.4915 | 2710815.0129 | 1268065.1602
101 | 2710799.3052 | 1268049.1665 | 2710799.6837 | 1268050.0235
102 | 2710829.8715 | 1268061.3919 | 2710825.5356 | 1268062.4915
103 | 2710799.3052 | 1268049.1665 | 2710794.1675 | 1268037.5349 | 2710789.7764 | 1268027.6267
104 | 2710912.0264 | 1268204.2249 | 2710892.4272 | 1268215.9336
105 | 2710832.6333 | 1268060.567 | 2710845.46 | 1268056.7358 | 2710858.6875 | 1268052.4461
106 | 2710888.1202 | 1268040.4886 | 2710861.9271 | 1268051.3955 | 2710858.6875 | 1268052.4461
107 | 2710829.8715 | 1268061.3919 | 2710832.6333 | 1268060.567
108 | 2710888.1202 | 1268040.4886 | 2710868.8417 | 1267999.0906
109 | 2710894.4749 | 1268038.0501 | 2710888.1202 | 1268040.4886
110 | 2710829.8715 | 1268061.3919 | 2710839.0981 | 1268082.0163 | 2710840.5021 | 1268085.0907
111 | 2710868.8417 | 1267999.0906 | 2710866.1584 | 1267995.1009
112 | 2710868.8417 | 1267999.0906 | 2710874.3948 | 1267994.8355 | 2710878.4523 | 1267993.6551 | 2710887.1686 | 1267991.8084
113 | 2710894.4749 | 1268038.0501 | 2710902.373 | 1268052.0421
114 | 2710840.5021 | 1268085.0907 | 2710847.78 | 1268101.0279
115 | 2710865.3042 | 1267993.8308 | 2710866.1584 | 1267995.1009
116 | 2710914.5646 | 1268073.6379 | 2710907.8301 | 1268061.7103 | 2710902.9704 | 1268053.1005 | 2710902.373 | 1268052.0421
117 | 2710847.78 | 1268101.0279 | 2710849.1219 | 1268103.9662
118 | 2710914.5646 | 1268073.6379 | 2710916.0021 | 1268076.1838
119 | 2710851.424 | 1268109.0074 | 2710849.1219 | 1268103.9662
120 | 2710923.7219 | 1268089.8566 | 2710916.0021 | 1268076.1838
121 | 2710788.7091 | 1268024.4877 | 2710789.4511 | 1268026.8927 | 2710789.7764 | 1268027.6267
122 | 2710788.6324 | 1268024.239 | 2710788.7091 | 1268024.4877
123 | 2711049.5667 | 1267935.7437 | 2711044.7056 | 1267937.3337
124 | 2711076.4894 | 1267934.0886 | 2711065.4583 | 1267932.9803 | 2711051.7326 | 1267935.0353 | 2711049.5667 | 1267935.7437
125 | 2711044.7056 | 1267937.3337 | 2711040.0348 | 1267938.8615
126 | 2711076.4894 | 1267934.0886 | 2711078.1225 | 1267947.7313 | 2711083.0063 | 1267961.4573 | 2711062.477 | 1267969.801
127 | 2711024.1844 | 1267946.3382 | 2711036.3322 | 1267940.0725 | 2711040.0348 | 1267938.8615
128 | 2711062.477 | 1267969.801 | 2711048.2706 | 1267975.5748
129 | 2711062.477 | 1267969.801 | 2711058.6125 | 1267958.3183 | 2711057.3352 | 1267954.5376
130 | 2711024.1844 | 1267946.3382 | 2711019.536 | 1267948.7357
131 | 2711048.2706 | 1267975.5748 | 2711043.7076 | 1267977.4294
132 | 2711019.536 | 1267948.7357 | 2711015.0269 | 1267951.0614
133 | 2711038.9842 | 1267979.3491 | 2711043.7076 | 1267977.4294
134 | 2711013.8445 | 1267951.6713 | 2711015.0269 | 1267951.0614
135 | 2710923.7219 | 1268089.8566 | 2710925.669 | 1268093.305
136 | 2710950.1481 | 1268136.6605 | 2710948.9013 | 1268134.4523
137 | 2710950.1481 | 1268136.6605 | 2710960.6876 | 1268155.3272
138 | 2710948.9013 | 1268134.4523 | 2710943.9281 | 1268125.6442
139 | 2710969.0535 | 1268170.1546 | 2710964.0775 | 1268161.3312 | 2710960.6876 | 1268155.3272
140 | 2710932.0373 | 1268104.5841 | 2710943.9281 | 1268125.6442
141 | 2710969.0535 | 1268170.1546 | 2710921.9781 | 1268198.2794
142 | 2710969.0535 | 1268170.1546 | 2710992.3575 | 1268156.0774
143 | 2710930.0832 | 1268101.1232 | 2710932.0373 | 1268104.5841
144 | 2710912.0264 | 1268204.2249 | 2710921.9781 | 1268198.2794
145 | 2710930.0832 | 1268101.1232 | 2710925.669 | 1268093.305
146 | 2710851.424 | 1268109.0074 | 2710855.4082 | 1268117.732
147 | 2710855.4082 | 1268117.732 | 2710865.9419 | 1268140.7985
148 | 2710873.2288 | 1268156.7553 | 2710865.9419 | 1268140.7985
149 | 2710873.2288 | 1268156.7553 | 2710873.2288 | 1268156.7553 | 2710867.334 | 1268158.2275
150 | 2710854.5112 | 1268161.43 | 2710867.334 | 1268158.2275
151 | 2710831.9381 | 1268167.0675 | 2710854.5112 | 1268161.43

## bus_geodata
| x | y | coords
0 | 2710704.911 | 1267917.5131
1 | 2710691.6104 | 1267941.7091
2 | 2710708.7352 | 1267905.7964
3 | 2710672.658 | 1267961.3865
4 | 2710712.4656 | 1267906.8005
5 | 2710652.542 | 1267973.8419
6 | 2710695.0797 | 1267943.5585
7 | 2710731.1309 | 1267911.521
8 | 2710952.288 | 1267810.3806
9 | 2710958.145 | 1267809.601
10 | 2710918.8076 | 1267814.7893
11 | 2710954.7128 | 1267832.0095
12 | 2710885.8329 | 1267819.1299
13 | 2710921.5432 | 1267836.1602
14 | 2710823.0237 | 1267869.4957
15 | 2710824.6037 | 1267881.2376
16 | 2710821.927 | 1267861.4197
17 | 2710817.408 | 1267828.1432
18 | 2710853.3338 | 1267823.4017
19 | 2710821.7945 | 1267860.4442
20 | 2710852.2161 | 1267847.246
21 | 2710828.8115 | 1267912.5085
22 | 2710746.6125 | 1267947.0978
23 | 2710888.4005 | 1267838.9485
24 | 2710680.8484 | 1267959.332
25 | 2710742.9992 | 1267908.5408
26 | 2710734.1768 | 1267918.8908
27 | 2710624.3598 | 1267931.6167
28 | 2710626.2662 | 1267925.3702
29 | 2710611.0045 | 1267954.9038
30 | 2710955.6813 | 1267790.3137
31 | 2710990.4675 | 1267797.9089
32 | 2710957.3967 | 1267855.9509
33 | 2710924.5973 | 1267860.0199
34 | 2710891.4899 | 1267862.7948
35 | 2710717.7474 | 1267973.5774
36 | 2710776.8357 | 1267981.782
37 | 2710593.2808 | 1267985.9269
38 | 2710593.6563 | 1267989.993
39 | 2710573.6683 | 1267987.9728
40 | 2710597.9049 | 1267989.4617
41 | 2710569.9304 | 1267988.3675
42 | 2710573.5386 | 1267992.085
43 | 2710621.6261 | 1267986.5534
44 | 2710565.7803 | 1268017.6816
45 | 2710529.0227 | 1267993.6097
46 | 2710559.9236 | 1268033.6777
47 | 2710582.325 | 1268030.646
48 | 2710988.7597 | 1267785.4451
49 | 2710986.9593 | 1267771.8451
50 | 2710736.546 | 1268218.4908
51 | 2710737.7524 | 1268159.7843
52 | 2710817.2747 | 1268260.8301
53 | 2710642.5556 | 1268091.2204
54 | 2710650.791 | 1268090.189
55 | 2710609.82 | 1268026.4906
56 | 2710665.9722 | 1268010.1244
57 | 2710684.0015 | 1268003.7262
58 | 2710637.3678 | 1268019.1011
59 | 2710689.8557 | 1268001.6487
60 | 2710633.1194 | 1268020.2407
61 | 2710701.201 | 1267991.7638
62 | 2710779.0512 | 1267984.9277
63 | 2710781.426 | 1267996.0429
64 | 2710781.5504 | 1267996.6252
65 | 2710782.3015 | 1268000.1407
66 | 2710784.8778 | 1268012.0705
67 | 2710788.4029 | 1268023.4953
68 | 2710788.4789 | 1268023.7418
69 | 2710731.6957 | 1268078.7885
70 | 2710727.7089 | 1268079.2356
71 | 2710747.4501 | 1268077.0532
72 | 2710706.7946 | 1268081.5807
73 | 2710759.725 | 1268075.6059
74 | 2710703.0449 | 1268082.0011
75 | 2710789.185 | 1268070.6811
76 | 2710685.8421 | 1268084.3095
77 | 2710791.9756 | 1268070.1319
78 | 2710668.8848 | 1268087.3484
79 | 2710807.2387 | 1268067.128
80 | 2710788.5556 | 1268023.9904
81 | 2710996.1633 | 1267996.7527
82 | 2710991.5344 | 1267998.634
83 | 2710999.3777 | 1267995.4463
84 | 2710977.743 | 1268004.2392
85 | 2711017.6852 | 1267988.0056
86 | 2710974.0615 | 1268005.7341
87 | 2710967.4535 | 1267976.2638
88 | 2711022.1741 | 1267986.1812
89 | 2710965.7807 | 1268009.0965
90 | 2710948.535 | 1267979.2578
91 | 2711026.748 | 1267984.3222
92 | 2710954.3118 | 1268013.7534
93 | 2711026.9173 | 1267984.2534
94 | 2710943.2758 | 1268018.2346
95 | 2710941.7537 | 1268018.8526
96 | 2710913.8003 | 1268030.2031
97 | 2710911.7559 | 1268031.0332
98 | 2710815.0129 | 1268065.1602
99 | 2710799.6837 | 1268050.0235
100 | 2710825.5356 | 1268062.4915
101 | 2710799.3052 | 1268049.1665
102 | 2710892.4272 | 1268215.9336
103 | 2710858.6875 | 1268052.4461
104 | 2710832.6333 | 1268060.567
105 | 2710888.1202 | 1268040.4886
106 | 2710829.8715 | 1268061.3919
107 | 2710868.8417 | 1267999.0906
108 | 2710894.4749 | 1268038.0501
109 | 2710840.5021 | 1268085.0907
110 | 2710866.1584 | 1267995.1009
111 | 2710887.1686 | 1267991.8084
112 | 2710902.373 | 1268052.0421
113 | 2710847.78 | 1268101.0279
114 | 2710865.3042 | 1267993.8308
115 | 2710914.5646 | 1268073.6379
116 | 2710849.1219 | 1268103.9662
117 | 2710916.0021 | 1268076.1838
118 | 2710789.7764 | 1268027.6267
119 | 2710788.7091 | 1268024.4877
120 | 2710788.6324 | 1268024.239
121 | 2711049.5667 | 1267935.7437
122 | 2711044.7056 | 1267937.3337
123 | 2711076.4894 | 1267934.0886
124 | 2711040.0348 | 1267938.8615
125 | 2711062.477 | 1267969.801
126 | 2711024.1844 | 1267946.3382
127 | 2711048.2706 | 1267975.5748
128 | 2711057.3352 | 1267954.5376
129 | 2711019.536 | 1267948.7357
130 | 2711043.7076 | 1267977.4294
131 | 2711015.0269 | 1267951.0614
132 | 2711013.8445 | 1267951.6713
133 | 2711038.9842 | 1267979.3491
134 | 2710923.7219 | 1268089.8566
135 | 2710950.1481 | 1268136.6605
136 | 2710948.9013 | 1268134.4523
137 | 2710960.6876 | 1268155.3272
138 | 2710943.9281 | 1268125.6442
139 | 2710969.0535 | 1268170.1546
140 | 2710932.0373 | 1268104.5841
141 | 2710921.9781 | 1268198.2794
142 | 2710992.3575 | 1268156.0774
143 | 2710930.0832 | 1268101.1232
144 | 2710912.0264 | 1268204.2249
145 | 2710925.669 | 1268093.305
146 | 2710851.424 | 1268109.0074
147 | 2710855.4082 | 1268117.732
148 | 2710865.9419 | 1268140.7985
149 | 2710873.2288 | 1268156.7553
150 | 2710867.334 | 1268158.2275
151 | 2710854.5112 | 1268161.43
152 | 2710831.9381 | 1268167.0675
153 | 2710868.8417 | 1267999.0906

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1