## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-38_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-38_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-38_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-38_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4566-38_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4566-38_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4566-38_0_6_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_4566-38_0_6_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_4566-38_0_6_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_4566-38_0_6_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_4566-38_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4566-38_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4566-38_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4566-38_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4566-38_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4566-38_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4566-38_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4566-38_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4566-38_0_6_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_4566-38_0_6_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_4566-38_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4566-38_0_6_node_116 | 0.4 | n |  | TRUE
22 | bus_LV_4566-38_0_6_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_4566-38_0_6_node_115 | 0.4 | n |  | TRUE
24 | bus_LV_4566-38_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4566-38_0_6_node_96 | 0.4 | n |  | TRUE
26 | bus_LV_4566-38_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4566-38_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4566-38_0_6_node_122 | 0.4 | n |  | TRUE
29 | bus_LV_4566-38_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4566-38_0_6_node_159 | 0.4 | n |  | TRUE
31 | bus_LV_4566-38_0_6_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_4566-38_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4566-38_0_6_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_4566-38_0_6_node_111 | 0.4 | n |  | TRUE
35 | bus_LV_4566-38_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_4566-38_0_6_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_4566-38_0_6_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_4566-38_0_6_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_4566-38_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4566-38_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4566-38_0_6_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_4566-38_0_6_node_163 | 0.4 | n |  | TRUE
43 | bus_LV_4566-38_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_4566-38_0_6_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_4566-38_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4566-38_0_6_node_112 | 0.4 | n |  | TRUE
47 | bus_LV_4566-38_0_6_node_123 | 0.4 | n |  | TRUE
48 | bus_LV_4566-38_0_6_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_4566-38_0_6_node_156 | 0.4 | n |  | TRUE
50 | bus_LV_4566-38_0_6_node_128 | 0.4 | n |  | TRUE
51 | bus_LV_4566-38_0_6_node_131 | 0.4 | n |  | TRUE
52 | bus_LV_4566-38_0_6_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_4566-38_0_6_node_130 | 0.4 | n |  | TRUE
54 | bus_LV_4566-38_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_4566-38_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4566-38_0_6_node_126 | 0.4 | n |  | TRUE
57 | bus_LV_4566-38_0_6_node_117 | 0.4 | n |  | TRUE
58 | bus_LV_4566-38_0_6_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_4566-38_0_6_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_4566-38_0_6_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_4566-38_0_6_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_4566-38_0_6_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_4566-38_0_6_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_4566-38_0_6_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_4566-38_0_6_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_4566-38_0_6_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_4566-38_0_6_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4566-38_0_6_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_4566-38_0_6_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_4566-38_0_6_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_4566-38_0_6_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_4566-38_0_6_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_4566-38_0_6_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_4566-38_0_6_node_109 | 0.4 | n |  | TRUE
75 | bus_LV_4566-38_0_6_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_4566-38_0_6_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_4566-38_0_6_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_4566-38_0_6_node_160 | 0.4 | n |  | TRUE
79 | bus_LV_4566-38_0_6_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_4566-38_0_6_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_4566-38_0_6_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_4566-38_0_6_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4566-38_0_6_node_129 | 0.4 | n |  | TRUE
84 | bus_LV_4566-38_0_6_node_127 | 0.4 | n |  | TRUE
85 | bus_LV_4566-38_0_6_node_157 | 0.4 | n |  | TRUE
86 | bus_LV_4566-38_0_6_node_125 | 0.4 | n |  | TRUE
87 | bus_LV_4566-38_0_6_node_124 | 0.4 | n |  | TRUE
88 | bus_LV_4566-38_0_6_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_4566-38_0_6_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_4566-38_0_6_node_52 | 0.4 | n |  | TRUE
91 | bus_LV_4566-38_0_6_node_118 | 0.4 | n |  | TRUE
92 | bus_LV_4566-38_0_6_node_57 | 0.4 | n |  | TRUE
93 | bus_LV_4566-38_0_6_node_97 | 0.4 | n |  | TRUE
94 | bus_LV_4566-38_0_6_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_4566-38_0_6_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_4566-38_0_6_node_63 | 0.4 | n |  | TRUE
97 | bus_LV_4566-38_0_6_node_64 | 0.4 | n |  | TRUE
98 | bus_LV_4566-38_0_6_node_65 | 0.4 | n |  | TRUE
99 | bus_LV_4566-38_0_6_node_66 | 0.4 | n |  | TRUE
100 | bus_LV_4566-38_0_6_node_67 | 0.4 | n |  | TRUE
101 | bus_LV_4566-38_0_6_node_80 | 0.4 | n |  | TRUE
102 | bus_LV_4566-38_0_6_node_106 | 0.4 | n |  | TRUE
103 | bus_LV_4566-38_0_6_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_4566-38_0_6_node_87 | 0.4 | n |  | TRUE
105 | bus_LV_4566-38_0_6_node_70 | 0.4 | n |  | TRUE
106 | bus_LV_4566-38_0_6_node_78 | 0.4 | n |  | TRUE
107 | bus_LV_4566-38_0_6_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_4566-38_0_6_node_91 | 0.4 | n |  | TRUE
109 | bus_LV_4566-38_0_6_node_90 | 0.4 | n |  | TRUE
110 | bus_LV_4566-38_0_6_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_4566-38_0_6_node_89 | 0.4 | n |  | TRUE
112 | bus_LV_4566-38_0_6_node_74 | 0.4 | n |  | TRUE
113 | bus_LV_4566-38_0_6_node_75 | 0.4 | n |  | TRUE
114 | bus_LV_4566-38_0_6_node_83 | 0.4 | n |  | TRUE
115 | bus_LV_4566-38_0_6_node_108 | 0.4 | n |  | TRUE
116 | bus_LV_4566-38_0_6_node_81 | 0.4 | n |  | TRUE
117 | bus_LV_4566-38_0_6_node_77 | 0.4 | n |  | TRUE
118 | bus_LV_4566-38_0_6_node_99 | 0.4 | n |  | TRUE
119 | bus_LV_4566-38_0_6_node_85 | 0.4 | n |  | TRUE
120 | bus_LV_4566-38_0_6_node_98 | 0.4 | n |  | TRUE
121 | bus_LV_4566-38_0_6_node_86 | 0.4 | n |  | TRUE
122 | bus_LV_4566-38_0_6_node_88 | 0.4 | n |  | TRUE
123 | bus_LV_4566-38_0_6_node_105 | 0.4 | n |  | TRUE
124 | bus_LV_4566-38_0_6_node_113 | 0.4 | n |  | TRUE
125 | bus_LV_4566-38_0_6_node_114 | 0.4 | n |  | TRUE
126 | bus_LV_4566-38_0_6_node_93 | 0.4 | n |  | TRUE
127 | bus_LV_4566-38_0_6_node_119 | 0.4 | n |  | TRUE
128 | bus_LV_4566-38_0_6_node_120 | 0.4 | n |  | TRUE
129 | bus_LV_4566-38_0_6_node_121 | 0.4 | n |  | TRUE
130 | bus_LV_4566-38_0_6_node_158 | 0.4 | n |  | TRUE
131 | bus_LV_4566-38_0_6_node_135 | 0.4 | n |  | TRUE
132 | bus_LV_4566-38_0_6_node_161 | 0.4 | n |  | TRUE
133 | bus_LV_4566-38_0_6_node_154 | 0.4 | n |  | TRUE
134 | bus_LV_4566-38_0_6_node_133 | 0.4 | n |  | TRUE
135 | bus_LV_4566-38_0_6_node_162 | 0.4 | n |  | TRUE
136 | bus_LV_4566-38_0_6_node_151 | 0.4 | n |  | TRUE
137 | bus_LV_4566-38_0_6_node_132 | 0.4 | n |  | TRUE
138 | bus_LV_4566-38_0_6_node_134 | 0.4 | n |  | TRUE
139 | bus_LV_4566-38_0_6_node_136 | 0.4 | n |  | TRUE
140 | bus_LV_4566-38_0_6_node_152 | 0.4 | n |  | TRUE
141 | bus_LV_4566-38_0_6_node_139 | 0.4 | n |  | TRUE
142 | bus_LV_4566-38_0_6_node_140 | 0.4 | n |  | TRUE
143 | bus_LV_4566-38_0_6_node_141 | 0.4 | n |  | TRUE
144 | bus_LV_4566-38_0_6_node_142 | 0.4 | n |  | TRUE
145 | bus_LV_4566-38_0_6_node_143 | 0.4 | n |  | TRUE
146 | bus_LV_4566-38_0_6_node_146 | 0.4 | n |  | TRUE
147 | bus_LV_4566-38_0_6_node_147 | 0.4 | n |  | TRUE
148 | bus_LV_4566-38_0_6_node_149 | 0.4 | n |  | TRUE
149 | bus_LV_4566-38_0_6_node_150 | 0.4 | n |  | TRUE
150 | bus_LV_4566-38_0_6_node_144 | 0.4 | n |  | TRUE
151 | bus_LV_4566-38_0_6_node_155 | 0.4 | n |  | TRUE
152 | bus_LV_4566-38_0_6_node_148 | 0.4 | n |  | TRUE
153 | bus_LV_4566-38_0_6_node_153 | 0.4 | n |  | TRUE
154 | bus_MV_440_1_node_203 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-38_0_6_load_0 | 0 | 0.0040227 | 0.0010082 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-38_0_6_load_1 | 1 | 0.0070373 | 0.0017637 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-38_0_6_load_2 | 2 | 0.00098532 | 0.00024694 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-38_0_6_load_3 | 3 | 0.0014999 | 0.00037592 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-38_0_6_load_4 | 4 | 0.00098593 | 0.0002471 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-38_0_6_load_5 | 5 | 0.0028068 | 0.00070346 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-38_0_6_load_46 | 7 | 0.0047614 | 0.0011933 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-38_0_6_load_6 | 11 | 0.0019955 | 0.00050011 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-38_0_6_load_7 | 12 | 0.0038917 | 0.00097534 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-38_0_6_load_9 | 14 | 0.0052469 | 0.001315 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-38_0_6_load_61 | 18 | 0.012116 | 0.0030366 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-38_0_6_load_58 | 19 | 0.0043303 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-38_0_6_load_115 | 23 | 0.01152 | 0.0028872 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-38_0_6_load_96 | 25 | 0.012136 | 0.0030416 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-38_0_6_load_122 | 28 | 0.0078093 | 0.0019572 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-38_0_6_load_159 | 30 | 0.01042 | 0.0026116 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-38_0_6_load_111 | 34 | 0.0096501 | 0.0024185 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-38_0_6_load_60 | 36 | 0.015475 | 0.0038785 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-38_0_6_load_59 | 37 | 0.0039728 | 0.00099567 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-38_0_6_load_62 | 41 | 0.0063388 | 0.0015886 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-38_0_6_load_163 | 42 | 0.001274 | 0.00031929 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-38_0_6_load_112 | 46 | 0.0035076 | 0.00087909 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-38_0_6_load_156 | 49 | 0.0014376 | 0.00036031 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-38_0_6_load_128 | 50 | 0.0014361 | 0.00035991 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-38_0_6_load_131 | 51 | 0.0056231 | 0.0014093 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-38_0_6_load_130 | 53 | 0.0010727 | 0.00026886 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-38_0_6_load_47 | 55 | 0.010764 | 0.0026977 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-38_0_6_load_126 | 56 | 0.0010884 | 0.00027278 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-38_0_6_load_117 | 57 | 0.01866 | 0.0046766 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-38_0_6_load_104 | 60 | 0.0068668 | 0.001721 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-38_0_6_load_68 | 62 | 0.0061601 | 0.0015439 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-38_0_6_load_43 | 63 | 0.0026056 | 0.00065302 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-38_0_6_load_103 | 64 | 0.010025 | 0.0025125 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-38_0_6_load_102 | 65 | 0.012425 | 0.003114 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-38_0_6_load_48 | 67 | 0.00048906 | 0.00012257 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-38_0_6_load_49 | 68 | 0.0087748 | 0.0021992 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-38_0_6_load_55 | 70 | 0.0047058 | 0.0011794 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-38_0_6_load_82 | 73 | 0.001776 | 0.00044511 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-38_0_6_load_109 | 74 | 0.0032464 | 0.00081362 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-38_0_6_load_54 | 76 | 0.013991 | 0.0035064 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-38_0_6_load_53 | 77 | 0.0024981 | 0.00062608 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-38_0_6_load_160 | 78 | 0.010412 | 0.0026096 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-38_0_6_load_94 | 79 | 0.0080923 | 0.0020281 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-38_0_6_load_76 | 80 | 0.0052474 | 0.0013151 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-38_0_6_load_72 | 81 | 0.0056876 | 0.0014254 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-38_0_6_load_129 | 83 | 0.001141 | 0.00028595 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-38_0_6_load_127 | 84 | 0.0015668 | 0.00039267 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-38_0_6_load_157 | 85 | 0.0024591 | 0.0006163 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-38_0_6_load_125 | 86 | 0.0013968 | 0.00035007 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-38_0_6_load_124 | 87 | 0.0010778 | 0.00027012 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-38_0_6_load_92 | 88 | 0.0060263 | 0.0015103 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-38_0_6_load_69 | 89 | 0.0021703 | 0.00054394 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-38_0_6_load_52 | 90 | 0.0025756 | 0.00064552 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-38_0_6_load_97 | 93 | 0.0071495 | 0.0017918 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-38_0_6_load_95 | 94 | 0.0071495 | 0.0017918 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-38_0_6_load_63 | 96 | 0.0063001 | 0.001579 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-38_0_6_load_64 | 97 | 0.0025347 | 0.00063526 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-38_0_6_load_65 | 98 | 0.0043386 | 0.0010873 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-38_0_6_load_67 | 100 | 0.0011886 | 0.0002979 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-38_0_6_load_106 | 102 | 0.0051156 | 0.0012821 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-38_0_6_load_87 | 104 | 0.0053616 | 0.0013438 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-38_0_6_load_78 | 106 | 0.0016509 | 0.00041376 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-38_0_6_load_107 | 107 | 0.00069339 | 0.00017378 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-38_0_6_load_90 | 109 | 0.0073802 | 0.0018497 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-38_0_6_load_100 | 110 | 0.0027851 | 0.000698 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-38_0_6_load_89 | 111 | 0.0031134 | 0.00078029 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-38_0_6_load_74 | 112 | 0.006538 | 0.0016386 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4566-38_0_6_load_75 | 113 | 0.0013341 | 0.00033437 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4566-38_0_6_load_83 | 114 | 0.0064581 | 0.0016186 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4566-38_0_6_load_108 | 115 | 0.0013621 | 0.00034136 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4566-38_0_6_load_77 | 117 | 0.0017903 | 0.00044869 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4566-38_0_6_load_99 | 118 | 0.0013025 | 0.00032644 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4566-38_0_6_load_85 | 119 | 0.0024732 | 0.00061985 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4566-38_0_6_load_98 | 120 | 0.0013962 | 0.00034993 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4566-38_0_6_load_86 | 121 | 0.0067011 | 0.0016795 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4566-38_0_6_load_88 | 122 | 0.010953 | 0.0027451 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4566-38_0_6_load_93 | 126 | 0.0085256 | 0.0021367 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4566-38_0_6_load_119 | 127 | 0.010365 | 0.0025977 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4566-38_0_6_load_120 | 128 | 0.0035688 | 0.00089444 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4566-38_0_6_load_158 | 130 | 0.0072537 | 0.0018179 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4566-38_0_6_load_161 | 132 | 0.0029536 | 0.00074024 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4566-38_0_6_load_133 | 134 | 0.001941 | 0.00048646 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4566-38_0_6_load_162 | 135 | 0.0026911 | 0.00067446 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4566-38_0_6_load_151 | 136 | 0.0026894 | 0.00067402 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4566-38_0_6_load_132 | 137 | 0.0036941 | 0.00092582 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4566-38_0_6_load_134 | 138 | 0.0015739 | 0.00039446 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4566-38_0_6_load_136 | 139 | 0.0017267 | 0.00043276 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4566-38_0_6_load_152 | 140 | 0.0039225 | 0.00098307 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4566-38_0_6_load_139 | 141 | 0.0053004 | 0.0013284 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4566-38_0_6_load_143 | 145 | 0.0037542 | 0.00094088 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4566-38_0_6_load_146 | 146 | 0.0023105 | 0.00057908 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4566-38_0_6_load_147 | 147 | 0.0029447 | 0.000738 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4566-38_0_6_load_149 | 148 | 0.0038316 | 0.00096028 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4566-38_0_6_load_155 | 151 | 0.0045641 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4566-38_0_6_load_148 | 152 | 0.001662 | 0.00041652 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4566-38_0_6_load_153 | 153 | 0.0012847 | 0.00032198 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-38_0_6_line_0 |  | 0 | 1 | 0.030335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_4566-38_0_6_line_1 |  | 0 | 2 | 0.019477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_4566-38_0_6_line_2 |  | 1 | 3 | 0.025965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_4566-38_0_6_line_3 |  | 2 | 4 | 0.0075856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_4566-38_0_6_line_4 |  | 3 | 5 | 0.0061005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_4566-38_0_6_line_5 |  | 4 | 6 | 0.032142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-38_0_6_line_6 |  | 5 | 7 | 0.014889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4566-38_0_6_line_7 |  | 6 | 8 | 0.006043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-38_0_6_line_8 |  | 6 | 9 | 0.021892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-38_0_6_line_9 |  | 7 | 10 | 0.043802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4566-38_0_6_line_10 |  | 8 | 90 | 0.02877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-38_0_6_line_11 |  | 8 | 69 | 0.046063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-38_0_6_line_12 |  | 9 | 63 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-38_0_6_line_13 |  | 10 | 15 | 0.025255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4566-38_0_6_line_14 |  | 10 | 13 | 0.013576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-38_0_6_line_15 |  | 11 | 12 | 0.029278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-38_0_6_line_16 |  | 11 | 13 | 0.009723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-38_0_6_line_17 |  | 12 | 14 | 0.00087059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-38_0_6_line_18 |  | 15 | 19 | 0.047702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4566-38_0_6_line_19 |  | 16 | 17 | 0.027276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4566-38_0_6_line_20 |  | 16 | 18 | 0.004438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4566-38_0_6_line_21 |  | 17 | 24 | 0.024234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4566-38_0_6_line_22 |  | 17 | 25 | 0.014474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-38_0_6_line_23 |  | 18 | 36 | 0.02243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4566-38_0_6_line_24 |  | 19 | 75 | 0.04608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4566-38_0_6_line_25 |  | 20 | 21 | 0.017131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4566-38_0_6_line_26 |  | 20 | 22 | 0.011817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4566-38_0_6_line_27 |  | 20 | 23 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-38_0_6_line_28 |  | 21 | 78 | 0.010408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4566-38_0_6_line_29 |  | 21 | 29 | 0.008791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4566-38_0_6_line_30 |  | 22 | 64 | 0.015131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4566-38_0_6_line_31 |  | 22 | 65 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-38_0_6_line_32 |  | 24 | 30 | 0.020189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4566-38_0_6_line_33 |  | 25 | 79 | 0.011963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-38_0_6_line_34 |  | 26 | 27 | 0.030005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-38_0_6_line_35 |  | 26 | 28 | 0.038652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-38_0_6_line_36 |  | 27 | 42 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-38_0_6_line_37 |  | 27 | 43 | 0.027482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-38_0_6_line_38 |  | 28 | 32 | 0.0074149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-38_0_6_line_39 |  | 29 | 30 | 0.012126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4566-38_0_6_line_40 |  | 31 | 32 | 0.030677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-38_0_6_line_41 |  | 31 | 33 | 0.036313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-38_0_6_line_42 |  | 31 | 34 | 0.025125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-38_0_6_line_43 |  | 32 | 47 | 0.022846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-38_0_6_line_44 |  | 33 | 41 | 0.018468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-38_0_6_line_45 |  | 34 | 46 | 0.030625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-38_0_6_line_46 |  | 35 | 36 | 0.01335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_4566-38_0_6_line_47 |  | 35 | 37 | 0.026884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_4566-38_0_6_line_48 |  | 37 | 68 | 0.025134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4566-38_0_6_line_49 |  | 38 | 39 | 0.01319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4566-38_0_6_line_50 |  | 38 | 40 | 0.028124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4566-38_0_6_line_51 |  | 38 | 41 | 0.018563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-38_0_6_line_52 |  | 39 | 57 | 0.025472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-38_0_6_line_53 |  | 40 | 60 | 0.017043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-38_0_6_line_54 |  | 40 | 58 | 0.028491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_4566-38_0_6_line_55 |  | 43 | 52 | 0.007129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-38_0_6_line_56 |  | 43 | 53 | 0.010429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-38_0_6_line_57 |  | 44 | 45 | 0.0099055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-38_0_6_line_58 |  | 44 | 46 | 0.030027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-38_0_6_line_59 |  | 45 | 51 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-38_0_6_line_60 |  | 47 | 83 | 0.010674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-38_0_6_line_61 |  | 47 | 84 | 0.018477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-38_0_6_line_62 |  | 48 | 49 | 0.010428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-38_0_6_line_63 |  | 48 | 50 | 0.010737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-38_0_6_line_64 |  | 49 | 85 | 0.029557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-38_0_6_line_65 |  | 50 | 84 | 0.01715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-38_0_6_line_66 |  | 52 | 56 | 0.0081937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-38_0_6_line_67 |  | 52 | 54 | 0.0089581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-38_0_6_line_68 |  | 54 | 55 | 0.012401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4566-38_0_6_line_69 |  | 56 | 87 | 0.018126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-38_0_6_line_70 |  | 58 | 59 | 0.017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_4566-38_0_6_line_71 |  | 59 | 88 | 0.023253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-38_0_6_line_72 |  | 59 | 61 | 0.003251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_4566-38_0_6_line_73 |  | 60 | 80 | 0.011916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-38_0_6_line_74 |  | 61 | 62 | 0.021382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_4566-38_0_6_line_75 |  | 62 | 89 | 0.008652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_4566-38_0_6_line_76 |  | 64 | 91 | 0.010748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_4566-38_0_6_line_77 |  | 66 | 67 | 0.022473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_4566-38_0_6_line_78 |  | 66 | 68 | 0.032905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4566-38_0_6_line_79 |  | 67 | 92 | 0.0095489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_4566-38_0_6_line_80 |  | 69 | 70 | 0.045348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-38_0_6_line_81 |  | 71 | 72 | 0.002983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-38_0_6_line_82 |  | 71 | 73 | 0.020982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-38_0_6_line_83 |  | 72 | 74 | 0.0010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-38_0_6_line_84 |  | 73 | 95 | 0.0034392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-38_0_6_line_85 |  | 75 | 92 | 0.005146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_4566-38_0_6_line_86 |  | 76 | 77 | 0.059984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-38_0_6_line_87 |  | 77 | 90 | 0.030739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4566-38_0_6_line_88 |  | 78 | 132 | 0.0048002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4566-38_0_6_line_89 |  | 79 | 126 | 0.0089151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4566-38_0_6_line_90 |  | 81 | 82 | 0.011268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4566-38_0_6_line_91 |  | 82 | 112 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4566-38_0_6_line_92 |  | 82 | 113 | 0.015835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4566-38_0_6_line_93 |  | 86 | 87 | 0.021385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4566-38_0_6_line_94 |  | 89 | 105 | 0.0093418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_4566-38_0_6_line_95 |  | 91 | 127 | 0.02949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4566-38_0_6_line_96 |  | 91 | 128 | 0.010616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_4566-38_0_6_line_97 |  | 93 | 94 | 0.0083078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4566-38_0_6_line_98 |  | 94 | 126 | 0.015085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4566-38_0_6_line_99 |  | 95 | 116 | 0.003368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4566-38_0_6_line_100 |  | 95 | 117 | 0.031199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4566-38_0_6_line_101 |  | 96 | 97 | 0.040343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4566-38_0_6_line_102 |  | 96 | 98 | 0.0281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4566-38_0_6_line_103 |  | 97 | 99 | 0.013213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4566-38_0_6_line_104 |  | 98 | 100 | 0.005636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4566-38_0_6_line_105 |  | 99 | 101 | 0.028155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4566-38_0_6_line_106 |  | 99 | 102 | 0.027598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4566-38_0_6_line_107 |  | 101 | 103 | 0.010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4566-38_0_6_line_108 |  | 101 | 104 | 0.016477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_4566-38_0_6_line_109 |  | 101 | 105 | 0.02444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_4566-38_0_6_line_110 |  | 101 | 106 | 0.014454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4566-38_0_6_line_111 |  | 102 | 107 | 0.024864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4566-38_0_6_line_112 |  | 103 | 110 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4566-38_0_6_line_113 |  | 104 | 119 | 0.00059669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_4566-38_0_6_line_114 |  | 105 | 108 | 0.003686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4566-38_0_6_line_115 |  | 108 | 109 | 0.0099908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4566-38_0_6_line_116 |  | 109 | 111 | 0.001638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4566-38_0_6_line_117 |  | 110 | 120 | 0.026587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4566-38_0_6_line_118 |  | 112 | 114 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4566-38_0_6_line_119 |  | 113 | 115 | 0.013474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4566-38_0_6_line_120 |  | 115 | 116 | 0.011568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4566-38_0_6_line_121 |  | 116 | 118 | 0.028819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4566-38_0_6_line_122 |  | 118 | 120 | 0.0032335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4566-38_0_6_line_123 |  | 119 | 121 | 0.01999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
124 | LV_4566-38_0_6_line_124 |  | 121 | 122 | 0.014596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
125 | LV_4566-38_0_6_line_125 |  | 122 | 123 | 0.0064491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
126 | LV_4566-38_0_6_line_126 |  | 123 | 124 | 0.021048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
127 | LV_4566-38_0_6_line_127 |  | 123 | 125 | 0.036766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
128 | LV_4566-38_0_6_line_128 |  | 124 | 129 | 0.01328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
129 | LV_4566-38_0_6_line_129 |  | 125 | 130 | 0.025872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
130 | LV_4566-38_0_6_line_130 |  | 128 | 130 | 0.0072089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
131 | LV_4566-38_0_6_line_131 |  | 129 | 131 | 0.019857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4566-38_0_6_line_132 |  | 131 | 133 | 0.014964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4566-38_0_6_line_133 |  | 131 | 134 | 0.017419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4566-38_0_6_line_134 |  | 133 | 140 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4566-38_0_6_line_135 |  | 134 | 137 | 0.01755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4566-38_0_6_line_136 |  | 135 | 136 | 0.0015356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4566-38_0_6_line_137 |  | 136 | 149 | 0.0023572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4566-38_0_6_line_138 |  | 137 | 138 | 0.0032011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4566-38_0_6_line_139 |  | 138 | 139 | 0.012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4566-38_0_6_line_140 |  | 140 | 153 | 0.026263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4566-38_0_6_line_141 |  | 141 | 142 | 0.033198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4566-38_0_6_line_142 |  | 141 | 143 | 0.023002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4566-38_0_6_line_143 |  | 142 | 144 | 0.023377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4566-38_0_6_line_144 |  | 142 | 145 | 0.02732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4566-38_0_6_line_145 |  | 143 | 146 | 0.010681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4566-38_0_6_line_146 |  | 143 | 147 | 0.003312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4566-38_0_6_line_147 |  | 144 | 148 | 0.01518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4566-38_0_6_line_148 |  | 145 | 149 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4566-38_0_6_line_149 |  | 146 | 152 | 0.0024462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4566-38_0_6_line_150 |  | 149 | 150 | 0.009378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4566-38_0_6_line_151 |  | 150 | 151 | 0.0030483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4566-38_0_6_line_152 |  | 151 | 153 | 0.00056791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-38_0_6_trafo_33 | 0.63 MVA 20/0.4 kV | 154 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2710296.1676 | 1268638.5766 | 2710268.4057 | 1268650.8041
1 | 2710296.1676 | 1268638.5766 | 2710313.992 | 1268630.726
2 | 2710268.4057 | 1268650.8041 | 2710244.6435 | 1268661.2699
3 | 2710313.992 | 1268630.726 | 2710320.934 | 1268627.6684
4 | 2710239.0606 | 1268663.7289 | 2710244.6435 | 1268661.2699
5 | 2710350.3493 | 1268614.7128 | 2710320.934 | 1268627.6684
6 | 2710225.4342 | 1268669.7304 | 2710239.0606 | 1268663.7289
7 | 2710350.3493 | 1268614.7128 | 2710354.912 | 1268618.6904
8 | 2710350.3493 | 1268614.7128 | 2710356.2648 | 1268610.7531 | 2710349.1827 | 1268597.7873
9 | 2710185.3479 | 1268687.3861 | 2710225.4342 | 1268669.7304
10 | 2710354.912 | 1268618.6904 | 2710328.5885 | 1268630.3002
11 | 2710374.5161 | 1268654.4211 | 2710360.0551 | 1268616.5846 | 2710354.912 | 1268618.6904
12 | 2710349.1827 | 1268597.7873 | 2710339.759 | 1268594.9088 | 2710332.2301 | 1268594.2086
13 | 2710178.8647 | 1268696.7623 | 2710174.8366 | 1268699.6342 | 2710172.081 | 1268697.2362 | 2710173.4338 | 1268695.3376 | 2710185.3479 | 1268687.3861
14 | 2710184.8408 | 1268673.8203 | 2710185.3479 | 1268687.3861
15 | 2710187.7874 | 1268664.5546 | 2710196.6604 | 1268636.6532
16 | 2710184.8408 | 1268673.8203 | 2710187.7874 | 1268664.5546
17 | 2710196.9243 | 1268635.8236 | 2710196.6604 | 1268636.6532
18 | 2710178.8647 | 1268696.7623 | 2710182.6931 | 1268701.3711 | 2710186.9894 | 1268705.9107 | 2710193.3182 | 1268703.193 | 2710194.6161 | 1268703.8289 | 2710206.1564 | 1268709.449 | 2710207.4174 | 1268710.4512 | 2710207.7171 | 1268711.7357 | 2710206.8281 | 1268723.0624
19 | 2710140.5096 | 1268754.5645 | 2710134.9527 | 1268751.4248 | 2710141.0245 | 1268740.6841 | 2710146.0021 | 1268733.7264
20 | 2710146.0021 | 1268733.7264 | 2710148.0346 | 1268736.5445 | 2710148.1576 | 1268737.5
21 | 2710140.5096 | 1268754.5645 | 2710138.6425 | 1268755.3859 | 2710136.842 | 1268758.2882 | 2710134.346 | 1268764.9809 | 2710132.675 | 1268771.8335 | 2710131.808 | 1268776.3435
22 | 2710140.5096 | 1268754.5645 | 2710143.4396 | 1268753.2624 | 2710147.03 | 1268753.6741 | 2710150.2119 | 1268755.4127 | 2710153.5145 | 1268757.7187
23 | 2710148.1576 | 1268737.5 | 2710148.679 | 1268741.5498 | 2710155.0977 | 1268747.319 | 2710162.9717 | 1268753.0111
24 | 2710249.7121 | 1268715.0331 | 2710224.8823 | 1268716.4489 | 2710223.0639 | 1268717.0822 | 2710217.7392 | 1268720.4525 | 2710213.1014 | 1268722.9126 | 2710210.4673 | 1268724.4981 | 2710209.9663 | 1268724.7223 | 2710209.2098 | 1268724.9195 | 2710208.4126 | 1268724.8824 | 2710207.5338 | 1268724.3767 | 2710206.9542 | 1268723.5651 | 2710206.8281 | 1268723.0624
25 | 2710132.695 | 1268825.6365 | 2710134.338 | 1268808.5856
26 | 2710131.6249 | 1268837.4047 | 2710132.0506 | 1268832.3415 | 2710132.695 | 1268825.6365
27 | 2710132.695 | 1268825.6365 | 2710135.6703 | 1268827.5492 | 2710152.4762 | 1268832.0497
28 | 2710134.338 | 1268808.5856 | 2710144.7201 | 1268809.3196
29 | 2710125.5424 | 1268807.9655 | 2710134.338 | 1268808.5856
30 | 2710131.6249 | 1268837.4047 | 2710131.6838 | 1268851.596 | 2710131.5938 | 1268852.5311
31 | 2710131.6249 | 1268837.4047 | 2710136.7588 | 1268839.4132 | 2710154.5032 | 1268843.2894
32 | 2710131.808 | 1268776.3435 | 2710130.5884 | 1268779.5792 | 2710128.4332 | 1268788.5802 | 2710127.9646 | 1268791.107 | 2710127.2669 | 1268795.9626
33 | 2710153.5145 | 1268757.7187 | 2710158.7869 | 1268761.4001 | 2710163.5728 | 1268764.1765
34 | 2710257.2448 | 1268792.5526 | 2710258.1647 | 1268791.2575 | 2710258.4653 | 1268790.885 | 2710258.7275 | 1268790.5452 | 2710258.3902 | 1268788.8596 | 2710258.7021 | 1268787.4753 | 2710259.8585 | 1268786.4182 | 2710261.6799 | 1268786.0296 | 2710261.593 | 1268785.4386 | 2710261.4374 | 1268784.1012 | 2710280.1787 | 1268780.9927
35 | 2710257.2448 | 1268792.5526 | 2710273.5207 | 1268806.9801 | 2710286.1345 | 1268818.2307
36 | 2710280.9569 | 1268791.7166 | 2710280.3594 | 1268781.7968 | 2710280.1787 | 1268780.9927
37 | 2710307.383 | 1268776.5633 | 2710288.1674 | 1268779.674 | 2710280.1787 | 1268780.9927
38 | 2710291.6681 | 1268823.1663 | 2710286.1345 | 1268818.2307
39 | 2710125.5424 | 1268807.9655 | 2710127.2669 | 1268795.9626
40 | 2710276.807 | 1268822.8664 | 2710280.1656 | 1268819.1703 | 2710288.5134 | 1268826.8328 | 2710296.4438 | 1268827.4258 | 2710291.6681 | 1268823.1663
41 | 2710276.807 | 1268822.8664 | 2710255.489 | 1268852.3055
42 | 2710276.807 | 1268822.8664 | 2710295.1939 | 1268839.9888
43 | 2710291.6681 | 1268823.1663 | 2710304.9834 | 1268825.6281 | 2710313.8785 | 1268828.5745
44 | 2710255.489 | 1268852.3055 | 2710237.7913 | 1268847.0285
45 | 2710295.1939 | 1268839.9888 | 2710307.5783 | 1268851.5214 | 2710317.9824 | 1268860.4381
46 | 2710174.2968 | 1268760.0214 | 2710168.1253 | 1268756.7367 | 2710162.9717 | 1268753.0111
47 | 2710174.2968 | 1268760.0214 | 2710184.164 | 1268747.9948 | 2710189.8942 | 1268744.6766 | 2710192.8927 | 1268741.0493
48 | 2710192.8927 | 1268741.0493 | 2710193.4522 | 1268740.3725 | 2710206.1095 | 1268741.3983 | 2710217.3745 | 1268743.979
49 | 2710209.7473 | 1268841.2869 | 2710213.6806 | 1268842.2834 | 2710219.1572 | 1268843.6756 | 2710220.4744 | 1268840.4529
50 | 2710220.4744 | 1268840.4529 | 2710219.1572 | 1268843.6756 | 2710218.9748 | 1268846.1855 | 2710221.1919 | 1268849.1962 | 2710225.7548 | 1268850.7382 | 2710229.3332 | 1268851.7948 | 2710227.9025 | 1268857.0616 | 2710226.7472 | 1268861.2882
51 | 2710220.4744 | 1268840.4529 | 2710229.8653 | 1268844.6651 | 2710237.7913 | 1268847.0285
52 | 2710209.7473 | 1268841.2869 | 2710211.9 | 1268837.6683 | 2710221.3278 | 1268818.6109
53 | 2710226.7472 | 1268861.2882 | 2710243.042 | 1268866.2815
54 | 2710226.7472 | 1268861.2882 | 2710210.7325 | 1268857.0635 | 2710199.1074 | 1268854.3888
55 | 2710314.4425 | 1268775.4274 | 2710307.383 | 1268776.5633
56 | 2710307.383 | 1268776.5633 | 2710309.1648 | 1268785.9492 | 2710309.1741 | 1268786.8251
57 | 2710340.154 | 1268880.6774 | 2710340.8742 | 1268880.0014 | 2710343.6467 | 1268877.0506 | 2710347.0243 | 1268873.5439
58 | 2710340.154 | 1268880.6774 | 2710338.4304 | 1268879.0549 | 2710325.4334 | 1268866.8237 | 2710317.9824 | 1268860.4381
59 | 2710347.0243 | 1268873.5439 | 2710343.8904 | 1268870.8608 | 2710336.7808 | 1268864.3846
60 | 2710313.8785 | 1268828.5745 | 2710317.6507 | 1268818.5892
61 | 2710313.8785 | 1268828.5745 | 2710328.7665 | 1268834.2797 | 2710331.1037 | 1268835.258
62 | 2710356.8275 | 1268846.0251 | 2710359.4119 | 1268840.2572 | 2710361.1327 | 1268836.5278
63 | 2710356.8275 | 1268846.0251 | 2710346.9235 | 1268841.8796
64 | 2710373.6259 | 1268817.5918 | 2710375.2624 | 1268818.234 | 2710373.7086 | 1268822.4309 | 2710373.2388 | 1268823.4007 | 2710370.1111 | 1268822.397 | 2710364.3161 | 1268836.0229 | 2710361.7419 | 1268835.2074 | 2710361.1327 | 1268836.5278
65 | 2710331.1037 | 1268835.258 | 2710346.9235 | 1268841.8796
66 | 2710314.4425 | 1268775.4274 | 2710322.531 | 1268774.1186
67 | 2710313.027 | 1268766.5821 | 2710313.1489 | 1268767.3073 | 2710313.8597 | 1268771.5687 | 2710314.4425 | 1268775.4274
68 | 2710313.027 | 1268766.5821 | 2710308.4019 | 1268759.1003 | 2710305.0327 | 1268757.8175
69 | 2710340.5104 | 1268771.8443 | 2710326.7647 | 1268773.4335 | 2710322.531 | 1268774.1186
70 | 2710205.3738 | 1268869.1186 | 2710205.8608 | 1268863.1891 | 2710205.0479 | 1268859.5597 | 2710203.0638 | 1268856.5645 | 2710199.1074 | 1268854.3888
71 | 2710182.8112 | 1268863.226 | 2710205.3738 | 1268869.1186
72 | 2710208.5274 | 1268869.9448 | 2710205.3738 | 1268869.1186
73 | 2710254.469 | 1268869.6586 | 2710248.2728 | 1268867.8845 | 2710243.042 | 1268866.2815
74 | 2710208.5274 | 1268869.9448 | 2710205.0633 | 1268890.1868 | 2710204.92 | 1268891.0199
75 | 2710204.92 | 1268891.0199 | 2710203.454 | 1268899.5467
76 | 2710130.5635 | 1268863.2297 | 2710131.5938 | 1268852.5311
77 | 2710249.4484 | 1268751.3266 | 2710247.0069 | 1268744.6085 | 2710247.3951 | 1268729.2887
78 | 2710249.4484 | 1268751.3266 | 2710217.3745 | 1268743.979
79 | 2710247.6369 | 1268719.7429 | 2710247.3951 | 1268729.2887
80 | 2710374.5161 | 1268654.4211 | 2710333.2755 | 1268673.2793
81 | 2710299.4563 | 1268961.0991 | 2710300.2477 | 1268958.2225
82 | 2710299.4563 | 1268961.0991 | 2710279.1927 | 1268955.6565
83 | 2710300.2477 | 1268958.2225 | 2710299.2189 | 1268957.9287
84 | 2710275.8712 | 1268954.7644 | 2710279.1927 | 1268955.6565
85 | 2710249.7121 | 1268715.0331 | 2710248.8345 | 1268716.885 | 2710247.6369 | 1268719.7429
86 | 2710245.5147 | 1268666.7597 | 2710258.3745 | 1268661.1253 | 2710300.4472 | 1268642.667
87 | 2710328.5885 | 1268630.3002 | 2710319.7159 | 1268634.2134 | 2710300.4472 | 1268642.667
88 | 2710149.5084 | 1268809.6582 | 2710144.7201 | 1268809.3196
89 | 2710171.4155 | 1268768.3885 | 2710169.2051 | 1268767.444 | 2710163.5728 | 1268764.1765
90 | 2710287.3807 | 1268912.0418 | 2710285.8063 | 1268909.6882 | 2710286.0089 | 1268906.5003 | 2710287.4576 | 1268901.4626
91 | 2710287.3807 | 1268912.0418 | 2710299.9886 | 1268915.2236
92 | 2710287.3807 | 1268912.0418 | 2710283.2606 | 1268927.3317
93 | 2710340.5104 | 1268771.8443 | 2710354.5863 | 1268770.2169 | 2710361.8002 | 1268770.0573
94 | 2710201.8788 | 1268908.7548 | 2710203.3575 | 1268900.1081 | 2710203.454 | 1268899.5467
95 | 2710130.5635 | 1268863.2297 | 2710128.8858 | 1268868.0248 | 2710127.5627 | 1268872.3707 | 2710124.2889 | 1268891.9663
96 | 2710130.5635 | 1268863.2297 | 2710131.013 | 1268873.8362 | 2710131.013 | 1268873.8362
97 | 2710185.4557 | 1268773.8572 | 2710193.3943 | 1268776.3065
98 | 2710171.4155 | 1268768.3885 | 2710180.9896 | 1268772.4793 | 2710185.4557 | 1268773.8572
99 | 2710275.8712 | 1268954.7644 | 2710276.745 | 1268951.5112
100 | 2710275.8712 | 1268954.7644 | 2710265.8673 | 1268951.953 | 2710261.1948 | 1268950.6425 | 2710245.874 | 1268946.3528 | 2710245.8311 | 1268946.3408
101 | 2710199.8703 | 1269006.3147 | 2710184.5329 | 1268992.3934 | 2710188.7867 | 1268973.23
102 | 2710199.8703 | 1269006.3147 | 2710220.6772 | 1269025.2006
103 | 2710191.65 | 1268960.3314 | 2710188.7867 | 1268973.23
104 | 2710224.8505 | 1269028.9885 | 2710220.6772 | 1269025.2006
105 | 2710197.7483 | 1268932.8433 | 2710191.65 | 1268960.3314
106 | 2710191.65 | 1268960.3314 | 2710218.1691 | 1268967.9711
107 | 2710197.7483 | 1268932.8433 | 2710198.4239 | 1268928.908 | 2710204.4747 | 1268929.7771
108 | 2710197.7483 | 1268932.8433 | 2710181.2754 | 1268932.4728
109 | 2710197.7483 | 1268932.8433 | 2710198.4239 | 1268928.908 | 2710201.8788 | 1268908.7548
110 | 2710197.7483 | 1268932.8433 | 2710211.6654 | 1268936.7454
111 | 2710218.1691 | 1268967.9711 | 2710242.0612 | 1268974.854
112 | 2710204.4747 | 1268929.7771 | 2710206.9406 | 1268931.9584 | 2710220.2786 | 1268935.6945
113 | 2710180.6789 | 1268932.4594 | 2710181.2754 | 1268932.4728
114 | 2710198.2652 | 1268907.9756 | 2710201.8788 | 1268908.7548
115 | 2710198.2652 | 1268907.9756 | 2710198.9057 | 1268905.1183 | 2710200.1546 | 1268898.167
116 | 2710200.4443 | 1268896.5549 | 2710200.1546 | 1268898.167
117 | 2710245.8805 | 1268942.8658 | 2710220.2786 | 1268935.6945
118 | 2710318.7422 | 1268919.9565 | 2710299.9886 | 1268915.2236
119 | 2710283.2606 | 1268927.3317 | 2710279.7549 | 1268940.3413
120 | 2710276.745 | 1268951.5112 | 2710279.7549 | 1268940.3413
121 | 2710276.745 | 1268951.5112 | 2710248.9941 | 1268943.7379
122 | 2710245.8805 | 1268942.8658 | 2710248.9941 | 1268943.7379
123 | 2710180.6789 | 1268932.4594 | 2710160.6941 | 1268932.0099
124 | 2710160.6941 | 1268932.0099 | 2710146.1018 | 1268931.6817
125 | 2710139.6543 | 1268931.5367 | 2710146.1018 | 1268931.6817
126 | 2710139.6543 | 1268931.5367 | 2710130.7784 | 1268936.0419 | 2710125.0076 | 1268933.0762 | 2710122.6553 | 1268932.8766 | 2710120.359 | 1268932.9005
127 | 2710124.9865 | 1268906.3635 | 2710123.7354 | 1268923.7999 | 2710125.2703 | 1268927.0647 | 2710128.0766 | 1268929.964 | 2710139.6543 | 1268931.5367
128 | 2710120.359 | 1268932.9005 | 2710122.7876 | 1268945.9572
129 | 2710124.9865 | 1268906.3635 | 2710129.6997 | 1268880.9245
130 | 2710131.013 | 1268873.8362 | 2710129.6997 | 1268880.9245
131 | 2710122.7876 | 1268945.9572 | 2710119.2626 | 1268946.0805 | 2710117.6606 | 1268944.3936 | 2710116.345 | 1268942.6898 | 2710112.1009 | 1268942.6217 | 2710105.0957 | 1268945.705
132 | 2710105.0957 | 1268945.705 | 2710116.7341 | 1268947.6569 | 2710119.0412 | 1268949.8797
133 | 2710105.0957 | 1268945.705 | 2710087.6794 | 1268945.3999
134 | 2710119.0412 | 1268949.8797 | 2710119.4815 | 1268952.5013 | 2710119.4025 | 1268965.589
135 | 2710070.1321 | 1268945.0925 | 2710087.6794 | 1268945.3999
136 | 2710122.8773 | 1268982.9011 | 2710122.8443 | 1268984.4364
137 | 2710122.7937 | 1268986.793 | 2710122.8443 | 1268984.4364
138 | 2710070.1321 | 1268945.0925 | 2710066.9315 | 1268945.0364
139 | 2710054.7945 | 1268944.8238 | 2710066.9315 | 1268945.0364
140 | 2710119.4025 | 1268965.589 | 2710119.2439 | 1268991.8512
141 | 2710120.8023 | 1269025.7567 | 2710153.0662 | 1269033.5783
142 | 2710175.4208 | 1269038.9976 | 2710153.0662 | 1269033.5783
143 | 2710115.283 | 1269048.4515 | 2710118.8835 | 1269035.8075 | 2710120.8023 | 1269025.7567
144 | 2710120.8023 | 1269025.7567 | 2710121.8157 | 1269017.0235 | 2710123.2793 | 1269001.9153 | 2710123.337 | 1268998.5664
145 | 2710175.4208 | 1269038.9976 | 2710173.227 | 1269049.4513
146 | 2710175.4208 | 1269038.9976 | 2710176.1962 | 1269035.7776
147 | 2710115.283 | 1269048.4515 | 2710129.8771 | 1269052.629
148 | 2710122.7937 | 1268986.793 | 2710123.4601 | 1268991.4206 | 2710123.337 | 1268998.5664
149 | 2710172.7246 | 1269051.8454 | 2710173.227 | 1269049.4513
150 | 2710122.7937 | 1268986.793 | 2710119.222 | 1268995.4674
151 | 2710119.222 | 1268995.4674 | 2710119.2404 | 1268992.4191
152 | 2710119.2404 | 1268992.4191 | 2710119.2439 | 1268991.8512

## bus_geodata
| x | y | coords
0 | 2710296.1676 | 1268638.5766
1 | 2710268.4057 | 1268650.8041
2 | 2710313.992 | 1268630.726
3 | 2710244.6435 | 1268661.2699
4 | 2710320.934 | 1268627.6684
5 | 2710239.0606 | 1268663.7289
6 | 2710350.3493 | 1268614.7128
7 | 2710225.4342 | 1268669.7304
8 | 2710354.912 | 1268618.6904
9 | 2710349.1827 | 1268597.7873
10 | 2710185.3479 | 1268687.3861
11 | 2710187.7874 | 1268664.5546
12 | 2710196.6604 | 1268636.6532
13 | 2710184.8408 | 1268673.8203
14 | 2710196.9243 | 1268635.8236
15 | 2710178.8647 | 1268696.7623
16 | 2710146.0021 | 1268733.7264
17 | 2710140.5096 | 1268754.5645
18 | 2710148.1576 | 1268737.5
19 | 2710206.8281 | 1268723.0623
20 | 2710132.695 | 1268825.6365
21 | 2710134.338 | 1268808.5856
22 | 2710131.6249 | 1268837.4047
23 | 2710152.4762 | 1268832.0497
24 | 2710131.808 | 1268776.3435
25 | 2710153.5145 | 1268757.7187
26 | 2710257.2448 | 1268792.5526
27 | 2710280.1787 | 1268780.9927
28 | 2710286.1345 | 1268818.2307
29 | 2710125.5424 | 1268807.9655
30 | 2710127.2669 | 1268795.9626
31 | 2710276.807 | 1268822.8664
32 | 2710291.6681 | 1268823.1663
33 | 2710255.489 | 1268852.3055
34 | 2710295.1939 | 1268839.9888
35 | 2710174.2968 | 1268760.0214
36 | 2710162.9717 | 1268753.0111
37 | 2710192.8927 | 1268741.0493
38 | 2710220.4744 | 1268840.4529
39 | 2710209.7473 | 1268841.2869
40 | 2710226.7472 | 1268861.2882
41 | 2710237.7913 | 1268847.0285
42 | 2710280.9569 | 1268791.7166
43 | 2710307.383 | 1268776.5633
44 | 2710340.154 | 1268880.6774
45 | 2710347.0243 | 1268873.5439
46 | 2710317.9824 | 1268860.4381
47 | 2710313.8785 | 1268828.5745
48 | 2710356.8275 | 1268846.0251
49 | 2710361.1327 | 1268836.5278
50 | 2710346.9235 | 1268841.8796
51 | 2710336.7808 | 1268864.3846
52 | 2710314.4425 | 1268775.4274
53 | 2710309.1741 | 1268786.8251
54 | 2710313.027 | 1268766.5821
55 | 2710305.0327 | 1268757.8175
56 | 2710322.531 | 1268774.1186
57 | 2710221.3278 | 1268818.6109
58 | 2710199.1074 | 1268854.3888
59 | 2710205.3738 | 1268869.1186
60 | 2710243.042 | 1268866.2815
61 | 2710208.5274 | 1268869.9448
62 | 2710204.92 | 1268891.0199
63 | 2710332.2301 | 1268594.2086
64 | 2710131.5938 | 1268852.5311
65 | 2710154.5032 | 1268843.2894
66 | 2710249.4484 | 1268751.3266
67 | 2710247.3951 | 1268729.2887
68 | 2710217.3745 | 1268743.979
69 | 2710374.5161 | 1268654.4211
70 | 2710333.2755 | 1268673.2793
71 | 2710299.4563 | 1268961.0991
72 | 2710300.2477 | 1268958.2225
73 | 2710279.1927 | 1268955.6565
74 | 2710299.2189 | 1268957.9287
75 | 2710249.7121 | 1268715.0331
76 | 2710245.5147 | 1268666.7597
77 | 2710300.4472 | 1268642.667
78 | 2710144.7201 | 1268809.3196
79 | 2710163.5728 | 1268764.1765
80 | 2710254.469 | 1268869.6586
81 | 2710287.4576 | 1268901.4626
82 | 2710287.3807 | 1268912.0418
83 | 2710317.6507 | 1268818.5892
84 | 2710331.1037 | 1268835.258
85 | 2710373.6259 | 1268817.5918
86 | 2710361.8002 | 1268770.0573
87 | 2710340.5104 | 1268771.8443
88 | 2710182.8112 | 1268863.226
89 | 2710203.454 | 1268899.5467
90 | 2710328.5885 | 1268630.3002
91 | 2710130.5635 | 1268863.2297
92 | 2710247.6369 | 1268719.7429
93 | 2710193.3943 | 1268776.3065
94 | 2710185.4557 | 1268773.8572
95 | 2710275.8712 | 1268954.7644
96 | 2710199.8703 | 1269006.3147
97 | 2710188.7867 | 1268973.23
98 | 2710220.6772 | 1269025.2006
99 | 2710191.65 | 1268960.3314
100 | 2710224.8505 | 1269028.9885
101 | 2710197.7483 | 1268932.8433
102 | 2710218.1691 | 1268967.9711
103 | 2710204.4747 | 1268929.7771
104 | 2710181.2754 | 1268932.4728
105 | 2710201.8788 | 1268908.7548
106 | 2710211.6654 | 1268936.7454
107 | 2710242.0612 | 1268974.854
108 | 2710198.2652 | 1268907.9756
109 | 2710200.1546 | 1268898.167
110 | 2710220.2786 | 1268935.6945
111 | 2710200.4443 | 1268896.5549
112 | 2710299.9886 | 1268915.2236
113 | 2710283.2606 | 1268927.3317
114 | 2710318.7422 | 1268919.9565
115 | 2710279.7549 | 1268940.3413
116 | 2710276.745 | 1268951.5112
117 | 2710245.8311 | 1268946.3408
118 | 2710248.9941 | 1268943.7379
119 | 2710180.6789 | 1268932.4594
120 | 2710245.8805 | 1268942.8658
121 | 2710160.6941 | 1268932.0099
122 | 2710146.1018 | 1268931.6817
123 | 2710139.6543 | 1268931.5367
124 | 2710120.359 | 1268932.9005
125 | 2710124.9865 | 1268906.3635
126 | 2710171.4155 | 1268768.3885
127 | 2710124.2889 | 1268891.9663
128 | 2710131.013 | 1268873.8362
129 | 2710122.7876 | 1268945.9572
130 | 2710129.6997 | 1268880.9245
131 | 2710105.0957 | 1268945.705
132 | 2710149.5084 | 1268809.6582
133 | 2710119.0412 | 1268949.8797
134 | 2710087.6794 | 1268945.3999
135 | 2710122.8773 | 1268982.9011
136 | 2710122.8443 | 1268984.4364
137 | 2710070.1321 | 1268945.0925
138 | 2710066.9315 | 1268945.0364
139 | 2710054.7945 | 1268944.8238
140 | 2710119.4025 | 1268965.589
141 | 2710153.0662 | 1269033.5783
142 | 2710120.8023 | 1269025.7567
143 | 2710175.4208 | 1269038.9976
144 | 2710115.283 | 1269048.4515
145 | 2710123.337 | 1268998.5664
146 | 2710173.227 | 1269049.4513
147 | 2710176.1962 | 1269035.7776
148 | 2710129.8771 | 1269052.629
149 | 2710122.7937 | 1268986.793
150 | 2710119.222 | 1268995.4674
151 | 2710119.2404 | 1268992.4191
152 | 2710172.7246 | 1269051.8454
153 | 2710119.2439 | 1268991.8512
154 | 2710213.6806 | 1268842.2834

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1