## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-41_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-41_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4566-41_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_4566-41_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4566-41_0_4_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_4566-41_0_4_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_4566-41_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_4566-41_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4566-41_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4566-41_0_4_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_4566-41_0_4_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_4566-41_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4566-41_0_4_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_4566-41_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_4566-41_0_4_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_4566-41_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4566-41_0_4_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_4566-41_0_4_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_4566-41_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4566-41_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_4566-41_0_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_4566-41_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4566-41_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_4566-41_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4566-41_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4566-41_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4566-41_0_4_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_4566-41_0_4_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_4566-41_0_4_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_4566-41_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_4566-41_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_4566-41_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4566-41_0_4_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_4566-41_0_4_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_4566-41_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_4566-41_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_4566-41_0_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_4566-41_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_4566-41_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_4566-41_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_4566-41_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4566-41_0_4_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_4566-41_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_4566-41_0_4_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_4566-41_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_4566-41_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4566-41_0_4_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_4566-41_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_4566-41_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_4566-41_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_4566-41_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4566-41_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_4566-41_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_4566-41_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_4566-41_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_4566-41_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_4566-41_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_4566-41_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_4566-41_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_4566-41_0_4_node_60 | 0.4 | n |  | TRUE
60 | bus_MV_440_1_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-41_0_4_load_0 | 0 | 0.039656 | 0.0099389 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-41_0_4_load_22 | 6 | 0.011729 | 0.0029397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-41_0_4_load_21 | 9 | 0.0076054 | 0.0019061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-41_0_4_load_41 | 10 | 0.019293 | 0.0048353 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-41_0_4_load_28 | 12 | 0.0083089 | 0.0020824 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-41_0_4_load_25 | 14 | 0.07675 | 0.019235 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-41_0_4_load_38 | 17 | 0.018248 | 0.0045735 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-41_0_4_load_40 | 19 | 0.010072 | 0.0025243 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-41_0_4_load_24 | 22 | 0.0084659 | 0.0021217 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-41_0_4_load_23 | 23 | 0.014284 | 0.00358 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-41_0_4_load_58 | 26 | 0.0046095 | 0.0011553 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-41_0_4_load_46 | 27 | 0.0088728 | 0.0022237 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-41_0_4_load_64 | 28 | 0.018843 | 0.0047224 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-41_0_4_load_35 | 30 | 0.002411 | 0.00060426 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-41_0_4_load_20 | 31 | 0.026164 | 0.0065574 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-41_0_4_load_48 | 32 | 0.0064454 | 0.0016154 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-41_0_4_load_49 | 33 | 0.0070968 | 0.0017786 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-41_0_4_load_32 | 34 | 0.0072574 | 0.0018189 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-41_0_4_load_61 | 36 | 0.0054845 | 0.0013746 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-41_0_4_load_37 | 38 | 0.0029729 | 0.00074507 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-41_0_4_load_36 | 39 | 0.0088736 | 0.0022239 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-41_0_4_load_34 | 40 | 0.011324 | 0.002838 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-41_0_4_load_57 | 41 | 0.0043386 | 0.0010873 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-41_0_4_load_44 | 42 | 0.0088637 | 0.0022215 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-41_0_4_load_65 | 43 | 0.019748 | 0.0049492 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-41_0_4_load_29 | 44 | 0.0034547 | 0.00086584 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-41_0_4_load_27 | 45 | 0.0047583 | 0.0011926 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-41_0_4_load_59 | 46 | 0.0040877 | 0.0010245 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-41_0_4_load_43 | 47 | 0.011961 | 0.0029977 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-41_0_4_load_45 | 48 | 0.0067369 | 0.0016884 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-41_0_4_load_47 | 49 | 0.0054795 | 0.0013733 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-41_0_4_load_51 | 50 | 0.0047604 | 0.0011931 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-41_0_4_load_52 | 51 | 0.0042348 | 0.0010613 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-41_0_4_load_50 | 52 | 0.0071021 | 0.00178 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-41_0_4_load_63 | 53 | 0.0033002 | 0.0008271 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-41_0_4_load_62 | 54 | 0.0039045 | 0.00097857 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-41_0_4_load_53 | 55 | 0.004786 | 0.0011995 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-41_0_4_load_54 | 56 | 0.0077051 | 0.0019311 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-41_0_4_load_55 | 57 | 0.0049257 | 0.0012345 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-41_0_4_load_56 | 58 | 0.0059754 | 0.0014976 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-41_0_4_load_60 | 59 | 0.0053174 | 0.0013327 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-41_0_4_line_0 |  | 0 | 1 | 0.02294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-41_0_4_line_1 |  | 1 | 5 | 0.008856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-41_0_4_line_2 |  | 2 | 3 | 0.057848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-41_0_4_line_3 |  | 2 | 4 | 0.12123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-41_0_4_line_4 |  | 3 | 6 | 0.049438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-41_0_4_line_5 |  | 4 | 28 | 0.040532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-41_0_4_line_6 |  | 5 | 22 | 0.046762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-41_0_4_line_7 |  | 5 | 18 | 0.012652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-41_0_4_line_8 |  | 6 | 7 | 0.025729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-41_0_4_line_9 |  | 7 | 8 | 0.003544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-41_0_4_line_10 |  | 7 | 9 | 0.011155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-41_0_4_line_11 |  | 8 | 10 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-41_0_4_line_12 |  | 9 | 31 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-41_0_4_line_13 |  | 10 | 20 | 0.024807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-41_0_4_line_14 |  | 11 | 12 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-41_0_4_line_15 |  | 11 | 13 | 0.042953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-41_0_4_line_16 |  | 11 | 14 | 0.04235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4566-41_0_4_line_17 |  | 12 | 36 | 0.0084671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-41_0_4_line_18 |  | 13 | 27 | 0.016328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-41_0_4_line_19 |  | 14 | 16 | 0.022725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4566-41_0_4_line_20 |  | 15 | 16 | 0.005798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4566-41_0_4_line_21 |  | 15 | 17 | 0.012407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4566-41_0_4_line_22 |  | 17 | 37 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4566-41_0_4_line_23 |  | 18 | 19 | 0.017513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4566-41_0_4_line_24 |  | 18 | 20 | 0.039805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-41_0_4_line_25 |  | 19 | 37 | 0.010208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4566-41_0_4_line_26 |  | 20 | 40 | 0.018941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-41_0_4_line_27 |  | 21 | 22 | 0.022793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-41_0_4_line_28 |  | 21 | 23 | 0.016086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-41_0_4_line_29 |  | 24 | 25 | 0.02096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-41_0_4_line_30 |  | 24 | 26 | 0.026946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-41_0_4_line_31 |  | 25 | 29 | 0.049387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-41_0_4_line_32 |  | 25 | 30 | 0.029229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-41_0_4_line_33 |  | 26 | 41 | 0.0073942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-41_0_4_line_34 |  | 27 | 42 | 0.0099369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-41_0_4_line_35 |  | 28 | 43 | 0.037572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-41_0_4_line_36 |  | 29 | 44 | 0.006832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-41_0_4_line_37 |  | 30 | 39 | 0.030277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-41_0_4_line_38 |  | 32 | 33 | 0.013384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-41_0_4_line_39 |  | 33 | 52 | 0.010944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-41_0_4_line_40 |  | 34 | 35 | 0.011483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-41_0_4_line_41 |  | 35 | 40 | 0.0088582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-41_0_4_line_42 |  | 36 | 46 | 0.0078307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-41_0_4_line_43 |  | 37 | 45 | 0.035055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-41_0_4_line_44 |  | 38 | 39 | 0.033477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-41_0_4_line_45 |  | 41 | 58 | 0.0092045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-41_0_4_line_46 |  | 42 | 47 | 0.011721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-41_0_4_line_47 |  | 46 | 59 | 0.0069979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-41_0_4_line_48 |  | 47 | 48 | 0.010598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-41_0_4_line_49 |  | 48 | 49 | 0.0066625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-41_0_4_line_50 |  | 49 | 50 | 0.0059197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-41_0_4_line_51 |  | 50 | 51 | 0.0047433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-41_0_4_line_52 |  | 51 | 55 | 0.0047394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-41_0_4_line_53 |  | 52 | 53 | 0.0078227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-41_0_4_line_54 |  | 53 | 54 | 0.005419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-41_0_4_line_55 |  | 54 | 59 | 0.0065129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-41_0_4_line_56 |  | 55 | 56 | 0.0065444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-41_0_4_line_57 |  | 56 | 57 | 0.0087864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-41_0_4_line_58 |  | 57 | 58 | 0.0095058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-41_0_4_trafo_38 | 0.63 MVA 20/0.4 kV | 60 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2710012.8883 | 1268424.4986 | 2710012.6278 | 1268421.9137 | 2710013.0988 | 1268418.4528 | 2710014.3056 | 1268415.9063 | 2710024.5519 | 1268406.3202
1 | 2710006.153 | 1268418.7237 | 2710012.8883 | 1268424.4986
2 | 2710107.0917 | 1268392.6809 | 2710106.992 | 1268387.1298 | 2710105.5673 | 1268375.5264 | 2710104.0034 | 1268368.1575 | 2710099.6993 | 1268347.8707 | 2710097.5153 | 1268348.3193 | 2710094.6306 | 1268347.1868 | 2710091.3724 | 1268346.7034 | 2710087.7168 | 1268347.347
3 | 2710036.1738 | 1268325.8571 | 2710038.6087 | 1268330.5288 | 2710040.6183 | 1268336.6048 | 2710041.3052 | 1268342.9676 | 2710043.1965 | 1268349.7421 | 2710046.9483 | 1268354.4383 | 2710051.5388 | 1268357.3485 | 2710056.0523 | 1268364.7946 | 2710059.081 | 1268369.1104 | 2710069.1693 | 1268359.3787 | 2710081.1041 | 1268348.725 | 2710085.9117 | 1268344.4331 | 2710096.4995 | 1268332.9536 | 2710097.5195 | 1268337.5989 | 2710096.7278 | 1268338.8742 | 2710091.9833 | 1268343.412 | 2710087.7168 | 1268347.347
4 | 2710107.0917 | 1268392.6809 | 2710107.1902 | 1268398.2988 | 2710101.1327 | 1268430.4584 | 2710098.6188 | 1268441.2635
5 | 2710036.1738 | 1268325.8571 | 2710033.4063 | 1268325.7055 | 2710029.2212 | 1268323.6591 | 2710024.4847 | 1268320.9018 | 2710018.4316 | 1268320.9336 | 2710013.7442 | 1268322.8146 | 2710010.4533 | 1268325.7003 | 2710008.377 | 1268331.2777 | 2710009.672 | 1268337.3293
6 | 2710006.153 | 1268418.7237 | 2709991.0334 | 1268405.5752 | 2709978.6115 | 1268394.7012 | 2709970.9312 | 1268387.9655
7 | 2710006.153 | 1268418.7237 | 2710004.39 | 1268420.4146 | 2710012.5257 | 1268426.5825
8 | 2710090.2806 | 1268465.409 | 2710095.2976 | 1268455.5383 | 2710098.6188 | 1268441.2635
9 | 2710088.0239 | 1268468.1471 | 2710090.2806 | 1268465.409
10 | 2710090.2806 | 1268465.409 | 2710080.1215 | 1268460.8028
11 | 2710088.0239 | 1268468.1471 | 2710068.7509 | 1268458.3524
12 | 2710080.1215 | 1268460.8028 | 2710078.5907 | 1268460.1088 | 2710061.1245 | 1268451.8135
13 | 2710046.6361 | 1268447.1134 | 2710068.7509 | 1268458.3524
14 | 2709923.5079 | 1268450.4356 | 2709923.8332 | 1268450.7531 | 2709933.8002 | 1268460.8584 | 2709935.7766 | 1268462.9203
15 | 2709896.1726 | 1268435.5475 | 2709895.2776 | 1268434.6968 | 2709901.0291 | 1268431.8569 | 2709906.2869 | 1268429.2524 | 2709907.9522 | 1268428.7607 | 2709909.2373 | 1268436.1577 | 2709912.5798 | 1268439.7897 | 2709923.5079 | 1268450.4356
16 | 2709923.5079 | 1268450.4356 | 2709925.5477 | 1268448.4274 | 2709932.9092 | 1268441.1913 | 2709935.8636 | 1268444.2379 | 2709954.0288 | 1268427.1758
17 | 2709941.6357 | 1268469.0328 | 2709935.7766 | 1268462.9203
18 | 2709896.1726 | 1268435.5475 | 2709907.8234 | 1268446.9867
19 | 2709970.3542 | 1268426.9868 | 2709962.5426 | 1268419.1791 | 2709954.0288 | 1268427.1758
20 | 2709976.1592 | 1268427.3396 | 2709970.3542 | 1268426.9868
21 | 2709976.1592 | 1268427.3396 | 2709984.4131 | 1268436.6026
22 | 2709993.1484 | 1268446.4058 | 2709984.4131 | 1268436.6026
23 | 2710012.5257 | 1268426.5825 | 2710000.284 | 1268439.106
24 | 2710046.6361 | 1268447.1134 | 2710037.2324 | 1268441.9337 | 2710020.8841 | 1268432.9215 | 2710012.5257 | 1268426.5825
25 | 2709993.1484 | 1268446.4058 | 2710000.284 | 1268439.106
26 | 2710046.6361 | 1268447.1134 | 2710036.191 | 1268462.9142
27 | 2709952.6841 | 1268374.5455 | 2709954.8064 | 1268375.3858 | 2709959.2222 | 1268377.9813 | 2709967.6121 | 1268385.0547 | 2709970.9312 | 1268387.9655
28 | 2709952.6841 | 1268374.5455 | 2709953.039 | 1268371.6607 | 2709948.692 | 1268360.926 | 2709948.1127 | 1268359.4365
29 | 2709971.5519 | 1268542.9326 | 2709978.7584 | 1268542.3996 | 2709987.3274 | 1268539.4454 | 2709988.4473 | 1268538.7322 | 2709991.2001 | 1268536.8374
30 | 2709991.2001 | 1268536.8374 | 2709980.6086 | 1268523.4953 | 2709973.6504 | 1268516.4379
31 | 2709971.5519 | 1268542.9326 | 2709963.8136 | 1268550.1949 | 2709958.2814 | 1268551.7711 | 2709951.4231 | 1268549.7751 | 2709936.3412 | 1268541.0869 | 2709927.9354 | 1268539.3178
32 | 2709971.5519 | 1268542.9326 | 2709950.4153 | 1268522.7445
33 | 2709968.5971 | 1268511.0462 | 2709970.2208 | 1268512.9594 | 2709973.6504 | 1268516.4379
34 | 2709907.8234 | 1268446.9867 | 2709914.9139 | 1268453.9486
35 | 2710009.672 | 1268337.3293 | 2710013.5002 | 1268343.5838 | 2710018.0021 | 1268351.2521 | 2710018.4149 | 1268359.4002 | 2710015.9016 | 1268365.8034 | 2710011.2259 | 1268370.0396
36 | 2709927.9354 | 1268539.3178 | 2709923.1761 | 1268534.4164
37 | 2709928.7701 | 1268501.5787 | 2709936.7822 | 1268509.7232 | 2709950.4153 | 1268522.7445
38 | 2709982.0848 | 1268511.8544 | 2709972.7042 | 1268502.3073
39 | 2709965.1202 | 1268494.4193 | 2709967.5509 | 1268497.0625 | 2709972.7042 | 1268502.3073
40 | 2710031.3062 | 1268470.3037 | 2710024.9737 | 1268479.8826
41 | 2710031.3062 | 1268470.3037 | 2710036.191 | 1268462.9142
42 | 2709946.967 | 1268474.7684 | 2709941.7015 | 1268469.1015 | 2709941.6357 | 1268469.0328
43 | 2709993.1484 | 1268446.4058 | 2709977.8921 | 1268462.0132 | 2709968.5536 | 1268452.642
44 | 2709905.2934 | 1268477.7138 | 2709928.7701 | 1268501.5787
45 | 2709962.6413 | 1268504.0283 | 2709968.5971 | 1268511.0462
46 | 2709923.2772 | 1268462.16 | 2709914.9139 | 1268453.9486
47 | 2709946.967 | 1268474.7684 | 2709951.7304 | 1268479.8949
48 | 2709923.2772 | 1268462.16 | 2709930.8398 | 1268469.5852
49 | 2709930.8398 | 1268469.5852 | 2709935.5939 | 1268474.253
50 | 2709935.5939 | 1268474.253 | 2709936.5815 | 1268475.2227 | 2709939.6817 | 1268478.5333
51 | 2709939.6817 | 1268478.5333 | 2709942.9239 | 1268481.9955
52 | 2709942.9239 | 1268481.9955 | 2709946.1635 | 1268485.4549
53 | 2709959.825 | 1268488.6613 | 2709965.1202 | 1268494.4193
54 | 2709956.1568 | 1268484.6725 | 2709959.825 | 1268488.6613
55 | 2709951.7304 | 1268479.8949 | 2709954.919 | 1268483.3265 | 2709956.1568 | 1268484.6725
56 | 2709946.1635 | 1268485.4549 | 2709950.6368 | 1268490.2318
57 | 2709950.6368 | 1268490.2318 | 2709953.7942 | 1268493.6035 | 2709956.4906 | 1268496.7807
58 | 2709956.4906 | 1268496.7807 | 2709962.6413 | 1268504.0283

## bus_geodata
| x | y | coords
0 | 2710024.5519 | 1268406.3202
1 | 2710012.8883 | 1268424.4986
2 | 2710087.7168 | 1268347.347
3 | 2710107.0917 | 1268392.6809
4 | 2710036.1738 | 1268325.8571
5 | 2710006.153 | 1268418.7237
6 | 2710098.6188 | 1268441.2635
7 | 2710090.2806 | 1268465.409
8 | 2710088.0239 | 1268468.1471
9 | 2710080.1215 | 1268460.8028
10 | 2710068.7509 | 1268458.3524
11 | 2709923.5079 | 1268450.4356
12 | 2709935.7766 | 1268462.9203
13 | 2709896.1726 | 1268435.5475
14 | 2709954.0288 | 1268427.1758
15 | 2709976.1592 | 1268427.3396
16 | 2709970.3542 | 1268426.9868
17 | 2709984.4131 | 1268436.6026
18 | 2710012.5257 | 1268426.5825
19 | 2710000.284 | 1268439.106
20 | 2710046.6361 | 1268447.1134
21 | 2709952.6841 | 1268374.5455
22 | 2709970.9312 | 1268387.9655
23 | 2709948.1127 | 1268359.4365
24 | 2709991.2001 | 1268536.8374
25 | 2709971.5519 | 1268542.9326
26 | 2709973.6504 | 1268516.4379
27 | 2709907.8234 | 1268446.9867
28 | 2710009.672 | 1268337.3293
29 | 2709927.9354 | 1268539.3178
30 | 2709950.4153 | 1268522.7445
31 | 2710061.1245 | 1268451.8135
32 | 2709982.0848 | 1268511.8544
33 | 2709972.7042 | 1268502.3073
34 | 2710024.9737 | 1268479.8826
35 | 2710031.3062 | 1268470.3037
36 | 2709941.6357 | 1268469.0328
37 | 2709993.1484 | 1268446.4058
38 | 2709905.2934 | 1268477.7138
39 | 2709928.7701 | 1268501.5787
40 | 2710036.191 | 1268462.9142
41 | 2709968.5971 | 1268511.0462
42 | 2709914.9139 | 1268453.9486
43 | 2710011.2259 | 1268370.0396
44 | 2709923.1761 | 1268534.4164
45 | 2709968.5536 | 1268452.642
46 | 2709946.967 | 1268474.7684
47 | 2709923.2772 | 1268462.16
48 | 2709930.8398 | 1268469.5852
49 | 2709935.5939 | 1268474.253
50 | 2709939.6817 | 1268478.5333
51 | 2709942.9239 | 1268481.9955
52 | 2709965.1202 | 1268494.4193
53 | 2709959.825 | 1268488.6613
54 | 2709956.1568 | 1268484.6725
55 | 2709946.1635 | 1268485.4549
56 | 2709950.6368 | 1268490.2318
57 | 2709956.4906 | 1268496.7807
58 | 2709962.6413 | 1268504.0283
59 | 2709951.7304 | 1268479.8949
60 | 2709976.1592 | 1268427.3396

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1