## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-42_1_3_node_21 | 0.4 | n |  | TRUE
1 | bus_LV_4566-42_1_3_node_186 | 0.4 | n |  | TRUE
2 | bus_LV_4566-42_1_3_node_185 | 0.4 | n |  | TRUE
3 | bus_LV_4566-42_1_3_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_4566-42_1_3_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_4566-42_1_3_node_227 | 0.4 | n |  | TRUE
6 | bus_LV_4566-42_1_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_4566-42_1_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_4566-42_1_3_node_230 | 0.4 | n |  | TRUE
9 | bus_LV_4566-42_1_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_4566-42_1_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_4566-42_1_3_node_231 | 0.4 | n |  | TRUE
12 | bus_LV_4566-42_1_3_node_228 | 0.4 | n |  | TRUE
13 | bus_LV_4566-42_1_3_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_4566-42_1_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_4566-42_1_3_node_163 | 0.4 | n |  | TRUE
16 | bus_LV_4566-42_1_3_node_164 | 0.4 | n |  | TRUE
17 | bus_LV_4566-42_1_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_4566-42_1_3_node_160 | 0.4 | n |  | TRUE
19 | bus_LV_4566-42_1_3_node_180 | 0.4 | n |  | TRUE
20 | bus_LV_4566-42_1_3_node_166 | 0.4 | n |  | TRUE
21 | bus_LV_4566-42_1_3_node_222 | 0.4 | n |  | TRUE
22 | bus_LV_4566-42_1_3_node_232 | 0.4 | n |  | TRUE
23 | bus_LV_4566-42_1_3_node_125 | 0.4 | n |  | TRUE
24 | bus_LV_4566-42_1_3_node_191 | 0.4 | n |  | TRUE
25 | bus_LV_4566-42_1_3_node_238 | 0.4 | n |  | TRUE
26 | bus_LV_4566-42_1_3_node_129 | 0.4 | n |  | TRUE
27 | bus_LV_4566-42_1_3_node_130 | 0.4 | n |  | TRUE
28 | bus_LV_4566-42_1_3_node_131 | 0.4 | n |  | TRUE
29 | bus_LV_4566-42_1_3_node_132 | 0.4 | n |  | TRUE
30 | bus_LV_4566-42_1_3_node_133 | 0.4 | n |  | TRUE
31 | bus_LV_4566-42_1_3_node_134 | 0.4 | n |  | TRUE
32 | bus_LV_4566-42_1_3_node_135 | 0.4 | n |  | TRUE
33 | bus_LV_4566-42_1_3_node_136 | 0.4 | n |  | TRUE
34 | bus_LV_4566-42_1_3_node_137 | 0.4 | n |  | TRUE
35 | bus_LV_4566-42_1_3_node_138 | 0.4 | n |  | TRUE
36 | bus_LV_4566-42_1_3_node_190 | 0.4 | n |  | TRUE
37 | bus_LV_4566-42_1_3_node_151 | 0.4 | n |  | TRUE
38 | bus_LV_4566-42_1_3_node_167 | 0.4 | n |  | TRUE
39 | bus_LV_4566-42_1_3_node_192 | 0.4 | n |  | TRUE
40 | bus_LV_4566-42_1_3_node_139 | 0.4 | n |  | TRUE
41 | bus_LV_4566-42_1_3_node_140 | 0.4 | n |  | TRUE
42 | bus_LV_4566-42_1_3_node_142 | 0.4 | n |  | TRUE
43 | bus_LV_4566-42_1_3_node_144 | 0.4 | n |  | TRUE
44 | bus_LV_4566-42_1_3_node_145 | 0.4 | n |  | TRUE
45 | bus_LV_4566-42_1_3_node_146 | 0.4 | n |  | TRUE
46 | bus_LV_4566-42_1_3_node_200 | 0.4 | n |  | TRUE
47 | bus_LV_4566-42_1_3_node_158 | 0.4 | n |  | TRUE
48 | bus_LV_4566-42_1_3_node_159 | 0.4 | n |  | TRUE
49 | bus_LV_4566-42_1_3_node_156 | 0.4 | n |  | TRUE
50 | bus_LV_4566-42_1_3_node_148 | 0.4 | n |  | TRUE
51 | bus_LV_4566-42_1_3_node_149 | 0.4 | n |  | TRUE
52 | bus_LV_4566-42_1_3_node_150 | 0.4 | n |  | TRUE
53 | bus_LV_4566-42_1_3_node_152 | 0.4 | n |  | TRUE
54 | bus_LV_4566-42_1_3_node_153 | 0.4 | n |  | TRUE
55 | bus_LV_4566-42_1_3_node_154 | 0.4 | n |  | TRUE
56 | bus_LV_4566-42_1_3_node_173 | 0.4 | n |  | TRUE
57 | bus_LV_4566-42_1_3_node_161 | 0.4 | n |  | TRUE
58 | bus_LV_4566-42_1_3_node_162 | 0.4 | n |  | TRUE
59 | bus_LV_4566-42_1_3_node_168 | 0.4 | n |  | TRUE
60 | bus_LV_4566-42_1_3_node_169 | 0.4 | n |  | TRUE
61 | bus_LV_4566-42_1_3_node_189 | 0.4 | n |  | TRUE
62 | bus_LV_4566-42_1_3_node_170 | 0.4 | n |  | TRUE
63 | bus_LV_4566-42_1_3_node_171 | 0.4 | n |  | TRUE
64 | bus_LV_4566-42_1_3_node_172 | 0.4 | n |  | TRUE
65 | bus_LV_4566-42_1_3_node_174 | 0.4 | n |  | TRUE
66 | bus_LV_4566-42_1_3_node_175 | 0.4 | n |  | TRUE
67 | bus_LV_4566-42_1_3_node_176 | 0.4 | n |  | TRUE
68 | bus_LV_4566-42_1_3_node_177 | 0.4 | n |  | TRUE
69 | bus_LV_4566-42_1_3_node_178 | 0.4 | n |  | TRUE
70 | bus_LV_4566-42_1_3_node_183 | 0.4 | n |  | TRUE
71 | bus_LV_4566-42_1_3_node_182 | 0.4 | n |  | TRUE
72 | bus_LV_4566-42_1_3_node_194 | 0.4 | n |  | TRUE
73 | bus_LV_4566-42_1_3_node_195 | 0.4 | n |  | TRUE
74 | bus_LV_4566-42_1_3_node_184 | 0.4 | n |  | TRUE
75 | bus_LV_4566-42_1_3_node_188 | 0.4 | n |  | TRUE
76 | bus_LV_4566-42_1_3_node_196 | 0.4 | n |  | TRUE
77 | bus_LV_4566-42_1_3_node_197 | 0.4 | n |  | TRUE
78 | bus_LV_4566-42_1_3_node_193 | 0.4 | n |  | TRUE
79 | bus_LV_4566-42_1_3_node_198 | 0.4 | n |  | TRUE
80 | bus_LV_4566-42_1_3_node_199 | 0.4 | n |  | TRUE
81 | bus_LV_4566-42_1_3_node_214 | 0.4 | n |  | TRUE
82 | bus_LV_4566-42_1_3_node_201 | 0.4 | n |  | TRUE
83 | bus_LV_4566-42_1_3_node_202 | 0.4 | n |  | TRUE
84 | bus_LV_4566-42_1_3_node_203 | 0.4 | n |  | TRUE
85 | bus_LV_4566-42_1_3_node_215 | 0.4 | n |  | TRUE
86 | bus_LV_4566-42_1_3_node_233 | 0.4 | n |  | TRUE
87 | bus_LV_4566-42_1_3_node_210 | 0.4 | n |  | TRUE
88 | bus_LV_4566-42_1_3_node_216 | 0.4 | n |  | TRUE
89 | bus_LV_4566-42_1_3_node_211 | 0.4 | n |  | TRUE
90 | bus_LV_4566-42_1_3_node_219 | 0.4 | n |  | TRUE
91 | bus_LV_4566-42_1_3_node_217 | 0.4 | n |  | TRUE
92 | bus_LV_4566-42_1_3_node_218 | 0.4 | n |  | TRUE
93 | bus_LV_4566-42_1_3_node_234 | 0.4 | n |  | TRUE
94 | bus_LV_4566-42_1_3_node_229 | 0.4 | n |  | TRUE
95 | bus_LV_4566-42_1_3_node_235 | 0.4 | n |  | TRUE
96 | bus_MV_438_1_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-42_1_3_load_186 | 1 | 0.0035699 | 0.00089471 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-42_1_3_load_227 | 5 | 0.014339 | 0.0035938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-42_1_3_load_231 | 11 | 0.090965 | 0.022798 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-42_1_3_load_228 | 12 | 0.011312 | 0.002835 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-42_1_3_load_163 | 15 | 0.0048183 | 0.0012076 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-42_1_3_load_164 | 16 | 0.0014055 | 0.00035225 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-42_1_3_load_160 | 18 | 0.0042299 | 0.0010601 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-42_1_3_load_180 | 19 | 0.0033019 | 0.00082753 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-42_1_3_load_166 | 20 | 0.0050214 | 0.0012585 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-42_1_3_load_222 | 21 | 0.013178 | 0.0033028 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-42_1_3_load_232 | 22 | 0.010633 | 0.0026649 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-42_1_3_load_238 | 25 | 0.0012206 | 0.00030592 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-42_1_3_load_129 | 26 | 0.0056603 | 0.0014186 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-42_1_3_load_130 | 27 | 0.00063068 | 0.00015806 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-42_1_3_load_133 | 30 | 0.0020675 | 0.00051817 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-42_1_3_load_134 | 31 | 0.0021286 | 0.00053348 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-42_1_3_load_135 | 32 | 0.0035469 | 0.00088893 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-42_1_3_load_136 | 33 | 0.00083081 | 0.00020822 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-42_1_3_load_137 | 34 | 0.0011185 | 0.00028032 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-42_1_3_load_138 | 35 | 0.0011524 | 0.00028882 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-42_1_3_load_190 | 36 | 0.00042509 | 0.00010654 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-42_1_3_load_151 | 37 | 0.001961 | 0.00049147 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-42_1_3_load_167 | 38 | 0.0017657 | 0.00044253 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-42_1_3_load_192 | 39 | 0.001428 | 0.0003579 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-42_1_3_load_139 | 40 | 0.0038567 | 0.00096658 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-42_1_3_load_140 | 41 | 0.0021556 | 0.00054024 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-42_1_3_load_144 | 43 | 0.002732 | 0.00068469 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-42_1_3_load_146 | 45 | 0.0015771 | 0.00039525 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-42_1_3_load_200 | 46 | 0.0028185 | 0.00070638 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-42_1_3_load_158 | 47 | 0.0017 | 0.00042606 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-42_1_3_load_159 | 48 | 0.001474 | 0.00036943 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-42_1_3_load_148 | 50 | 0.0035081 | 0.00087922 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-42_1_3_load_149 | 51 | 0.0017608 | 0.0004413 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-42_1_3_load_150 | 52 | 0.0024617 | 0.00061696 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-42_1_3_load_152 | 53 | 0.0018381 | 0.00046067 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-42_1_3_load_153 | 54 | 0.0016776 | 0.00042045 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-42_1_3_load_154 | 55 | 0.0035784 | 0.00089684 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-42_1_3_load_173 | 56 | 0.0012725 | 0.00031892 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-42_1_3_load_161 | 57 | 0.0032123 | 0.00080509 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-42_1_3_load_162 | 58 | 0.0032031 | 0.00080276 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-42_1_3_load_168 | 59 | 0.0024733 | 0.00061986 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-42_1_3_load_169 | 60 | 0.0026592 | 0.00066645 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-42_1_3_load_170 | 62 | 0.0017576 | 0.00044051 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-42_1_3_load_171 | 63 | 0.0011384 | 0.0002853 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-42_1_3_load_175 | 66 | 0.0034786 | 0.00087182 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-42_1_3_load_176 | 67 | 0.0011549 | 0.00028946 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-42_1_3_load_177 | 68 | 0.0022429 | 0.00056211 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-42_1_3_load_178 | 69 | 0.001196 | 0.00029975 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-42_1_3_load_182 | 71 | 0.0034445 | 0.00086328 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-42_1_3_load_194 | 72 | 0.0023802 | 0.00059654 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-42_1_3_load_195 | 73 | 0.0014611 | 0.00036618 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-42_1_3_load_188 | 75 | 0.0041177 | 0.001032 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-42_1_3_load_196 | 76 | 0.0014411 | 0.00036117 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-42_1_3_load_197 | 77 | 0.0037615 | 0.00094272 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-42_1_3_load_193 | 78 | 0.0013761 | 0.00034488 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-42_1_3_load_198 | 79 | 0.0016891 | 0.00042333 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-42_1_3_load_214 | 81 | 0.0044114 | 0.0011056 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-42_1_3_load_202 | 83 | 0.0016898 | 0.0004235 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-42_1_3_load_203 | 84 | 0.0019486 | 0.00048837 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-42_1_3_load_215 | 85 | 0.0017432 | 0.00043689 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-42_1_3_load_210 | 87 | 0.0030452 | 0.0007632 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-42_1_3_load_216 | 88 | 0.0030445 | 0.00076302 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-42_1_3_load_211 | 89 | 0.0017439 | 0.00043706 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-42_1_3_load_219 | 90 | 0.0017432 | 0.00043689 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-42_1_3_load_217 | 91 | 0.001742 | 0.00043659 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-42_1_3_load_218 | 92 | 0.0017451 | 0.00043736 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-42_1_3_load_229 | 94 | 0.013347 | 0.0033452 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4566-42_1_3_load_235 | 95 | 0.0021716 | 0.00054425 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-42_1_3_line_0 |  | 0 | 1 | 0.017799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_4566-42_1_3_line_1 |  | 0 | 2 | 0.003176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4566-42_1_3_line_2 |  | 1 | 74 | 0.013297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4566-42_1_3_line_3 |  | 2 | 75 | 0.010118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-42_1_3_line_4 |  | 2 | 19 | 0.019672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4566-42_1_3_line_5 |  | 3 | 4 | 0.05329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_4566-42_1_3_line_6 |  | 3 | 5 | 0.013614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4566-42_1_3_line_7 |  | 4 | 19 | 0.024337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4566-42_1_3_line_8 |  | 4 | 20 | 0.023986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-42_1_3_line_9 |  | 5 | 12 | 0.018755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4566-42_1_3_line_10 |  | 6 | 7 | 0.042001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-42_1_3_line_11 |  | 6 | 8 | 0.003287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-42_1_3_line_12 |  | 7 | 22 | 0.031073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-42_1_3_line_13 |  | 7 | 13 | 0.029232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-42_1_3_line_14 |  | 8 | 94 | 0.0083108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-42_1_3_line_15 |  | 9 | 10 | 0.042969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4566-42_1_3_line_16 |  | 9 | 11 | 0.010096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-42_1_3_line_17 |  | 10 | 12 | 0.018802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4566-42_1_3_line_18 |  | 11 | 13 | 0.026253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-42_1_3_line_19 |  | 14 | 15 | 0.024364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4566-42_1_3_line_20 |  | 14 | 16 | 0.030488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4566-42_1_3_line_21 |  | 14 | 17 | 0.098416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-42_1_3_line_22 |  | 14 | 18 | 0.019041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-42_1_3_line_23 |  | 16 | 48 | 0.010259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4566-42_1_3_line_24 |  | 17 | 21 | 0.081031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-42_1_3_line_25 |  | 18 | 57 | 0.040245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-42_1_3_line_26 |  | 23 | 24 | 0.087879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-42_1_3_line_27 |  | 23 | 25 | 0.2311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-42_1_3_line_28 |  | 24 | 36 | 0.12856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-42_1_3_line_29 |  | 26 | 27 | 0.011878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-42_1_3_line_30 |  | 26 | 28 | 0.029103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-42_1_3_line_31 |  | 27 | 29 | 0.014323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-42_1_3_line_32 |  | 28 | 30 | 0.014568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-42_1_3_line_33 |  | 28 | 31 | 0.015545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-42_1_3_line_34 |  | 29 | 32 | 0.029659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-42_1_3_line_35 |  | 29 | 33 | 0.011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-42_1_3_line_36 |  | 30 | 34 | 0.0092674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-42_1_3_line_37 |  | 31 | 35 | 0.015177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-42_1_3_line_38 |  | 32 | 36 | 0.0021865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-42_1_3_line_39 |  | 33 | 37 | 0.022914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-42_1_3_line_40 |  | 34 | 38 | 0.0092607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-42_1_3_line_41 |  | 35 | 39 | 0.0085098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-42_1_3_line_42 |  | 37 | 51 | 0.0043583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-42_1_3_line_43 |  | 38 | 59 | 0.0060374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-42_1_3_line_44 |  | 39 | 78 | 0.017261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-42_1_3_line_45 |  | 40 | 41 | 0.030932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-42_1_3_line_46 |  | 41 | 42 | 0.013153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-42_1_3_line_47 |  | 42 | 43 | 0.043385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-42_1_3_line_48 |  | 42 | 44 | 0.008075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-42_1_3_line_49 |  | 42 | 45 | 0.022457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-42_1_3_line_50 |  | 43 | 46 | 0.00025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-42_1_3_line_51 |  | 44 | 47 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4566-42_1_3_line_52 |  | 44 | 48 | 0.019789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4566-42_1_3_line_53 |  | 44 | 49 | 0.00292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-42_1_3_line_54 |  | 47 | 56 | 0.015671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4566-42_1_3_line_55 |  | 49 | 55 | 0.038569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-42_1_3_line_56 |  | 50 | 51 | 0.012584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-42_1_3_line_57 |  | 50 | 52 | 0.0098373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-42_1_3_line_58 |  | 52 | 53 | 0.017793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-42_1_3_line_59 |  | 53 | 54 | 0.0013601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-42_1_3_line_60 |  | 56 | 63 | 0.0044255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4566-42_1_3_line_61 |  | 57 | 58 | 0.013055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-42_1_3_line_62 |  | 59 | 60 | 0.013827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-42_1_3_line_63 |  | 60 | 61 | 0.019672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-42_1_3_line_64 |  | 61 | 76 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-42_1_3_line_65 |  | 61 | 77 | 0.010125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-42_1_3_line_66 |  | 62 | 63 | 0.014393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4566-42_1_3_line_67 |  | 62 | 64 | 0.015639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4566-42_1_3_line_68 |  | 64 | 65 | 0.003932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4566-42_1_3_line_69 |  | 64 | 66 | 0.0023514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-42_1_3_line_70 |  | 65 | 67 | 0.031202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4566-42_1_3_line_71 |  | 65 | 68 | 0.017219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-42_1_3_line_72 |  | 65 | 69 | 0.014703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-42_1_3_line_73 |  | 67 | 70 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4566-42_1_3_line_74 |  | 69 | 71 | 0.020448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-42_1_3_line_75 |  | 70 | 72 | 0.033343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-42_1_3_line_76 |  | 70 | 73 | 0.015226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-42_1_3_line_77 |  | 70 | 74 | 0.00563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_4566-42_1_3_line_78 |  | 72 | 78 | 0.0051005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-42_1_3_line_79 |  | 76 | 79 | 0.0023415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-42_1_3_line_80 |  | 77 | 80 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-42_1_3_line_81 |  | 80 | 81 | 0.0065771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-42_1_3_line_82 |  | 81 | 88 | 0.018669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-42_1_3_line_83 |  | 82 | 83 | 0.0082598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-42_1_3_line_84 |  | 82 | 84 | 0.0092873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-42_1_3_line_85 |  | 83 | 85 | 9.8128e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-42_1_3_line_86 |  | 84 | 86 | 0.016506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-42_1_3_line_87 |  | 86 | 93 | 0.025671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4566-42_1_3_line_88 |  | 86 | 92 | 0.0082284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4566-42_1_3_line_89 |  | 87 | 88 | 0.014356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4566-42_1_3_line_90 |  | 88 | 91 | 0.021709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4566-42_1_3_line_91 |  | 89 | 90 | 0.00019619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4566-42_1_3_line_92 |  | 90 | 93 | 0.0080066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4566-42_1_3_line_93 |  | 91 | 92 | 2.3799e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4566-42_1_3_line_94 |  | 93 | 95 | 0.0070559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-42_1_3_trafo_163 | 0.63 MVA 20/0.4 kV | 96 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2708969.4729 | 1267735.5442 | 2708960.4911 | 1267720.1777
1 | 2708969.4729 | 1267735.5442 | 2708972.2204 | 1267733.9379
2 | 2708953.7814 | 1267708.6982 | 2708960.4911 | 1267720.1777
3 | 2708976.9575 | 1267726.1073 | 2708976.8496 | 1267729.5083 | 2708975.6661 | 1267732.0331 | 2708972.2204 | 1267733.9379
4 | 2708972.2204 | 1267733.9379 | 2708981.9205 | 1267751.0518
5 | 2708996.0014 | 1267769.9633 | 2708989.7855 | 1267773.0735 | 2708991.6632 | 1267776.5779 | 2708993.939 | 1267780.9459 | 2709002.9085 | 1267797.926 | 2709007.0478 | 1267805.7536 | 2709011.1149 | 1267806.0734 | 2709016.4 | 1267806.4823
6 | 2709016.4 | 1267806.4823 | 2709024.9267 | 1267807.0735 | 2709029.9918 | 1267806.941
7 | 2708996.0014 | 1267769.9633 | 2708992.8003 | 1267768.8143 | 2708991.1706 | 1267767.3719 | 2708981.9205 | 1267751.0518
8 | 2708996.0014 | 1267769.9633 | 2709014.3151 | 1267760.782 | 2709017.5575 | 1267759.4651
9 | 2709029.9918 | 1267806.941 | 2709033.4005 | 1267806.8518 | 2709044.9914 | 1267807.0325 | 2709048.7425 | 1267806.9118
10 | 2709075.3153 | 1267880.4781 | 2709075.1085 | 1267882.7096 | 2709100.4891 | 1267885.4694 | 2709100.0355 | 1267890.0539 | 2709103.9042 | 1267890.5146 | 2709103.4298 | 1267896.2219
11 | 2709075.7144 | 1267877.216 | 2709075.3153 | 1267880.4781
12 | 2709103.4298 | 1267896.2219 | 2709100.9673 | 1267914.5924 | 2709088.5233 | 1267913.058
13 | 2709103.4838 | 1267870.8898 | 2709101.3517 | 1267876.6776 | 2709100.4891 | 1267885.4694 | 2709100.0355 | 1267890.0539 | 2709103.9042 | 1267890.5146 | 2709103.4298 | 1267896.2219
14 | 2709075.7144 | 1267877.216 | 2709067.4561 | 1267876.2828
15 | 2709067.4078 | 1267805.2113 | 2709067.6974 | 1267805.8394 | 2709068.1777 | 1267806.3264 | 2709068.7523 | 1267806.6039 | 2709069.3904 | 1267806.7047 | 2709070.025 | 1267806.583 | 2709075.6057 | 1267817.4843 | 2709076.6599 | 1267828.48 | 2709076.8285 | 1267837.6911 | 2709077.6184 | 1267839.763 | 2709079.3549 | 1267844.388
16 | 2709079.3549 | 1267844.388 | 2709087.3232 | 1267850.5879
17 | 2709067.4078 | 1267805.2113 | 2709064.0038 | 1267806.0825 | 2709056.8486 | 1267806.651 | 2709048.7425 | 1267806.9118
18 | 2709103.4838 | 1267870.8898 | 2709100.7348 | 1267867.2803 | 2709096.6032 | 1267859.4528 | 2709090.5694 | 1267853.1137 | 2709087.3232 | 1267850.5879
19 | 2709082.6882 | 1267740.159 | 2709061.4649 | 1267744.6268 | 2709058.8793 | 1267745.316
20 | 2709082.6882 | 1267740.159 | 2709071.4077 | 1267711.8348
21 | 2709082.6882 | 1267740.159 | 2709084.1054 | 1267743.7327 | 2709085.9572 | 1267748.6378 | 2709155.2979 | 1267734.7506 | 2709159.7294 | 1267752.8259
22 | 2709082.6882 | 1267740.159 | 2709101.3512 | 1267736.3845
23 | 2709071.4077 | 1267711.8348 | 2709067.6118 | 1267702.3036
24 | 2709159.7294 | 1267752.8259 | 2709161.1798 | 1267759.0803 | 2709164.82 | 1267771.0913 | 2709166.5574 | 1267793.1759 | 2709175.1486 | 1267797.1937 | 2709184.8535 | 1267804.5016 | 2709200.3103 | 1267814.2512
25 | 2709140.7974 | 1267728.4065 | 2709101.3512 | 1267736.3845
26 | 2708657.0058 | 1267499.909 | 2708657.5479 | 1267504.0003 | 2708739.9988 | 1267518.7073
27 | 2708657.0058 | 1267499.909 | 2708665.7221 | 1267496.3551 | 2708817.3647 | 1267458.379 | 2708859.8803 | 1267446.6073 | 2708867.578 | 1267439.5096 | 2708868.0551 | 1267428.7424
28 | 2708739.9988 | 1267518.7073 | 2708763.0181 | 1267510.3681 | 2708769.6149 | 1267509.4776 | 2708786.5267 | 1267511.435 | 2708799.9401 | 1267518.9774 | 2708818.6648 | 1267534.5022 | 2708842.569 | 1267553.3143 | 2708850.9016 | 1267559.3048
29 | 2708885.2271 | 1267584.8643 | 2708890.8914 | 1267595.3048
30 | 2708904.7697 | 1267620.8854 | 2708890.8914 | 1267595.3048
31 | 2708879.3452 | 1267571.8522 | 2708881.5929 | 1267578.1657 | 2708885.2271 | 1267584.8643
32 | 2708904.7697 | 1267620.8854 | 2708918.4159 | 1267615.7852
33 | 2708904.7697 | 1267620.8854 | 2708909.8518 | 1267630.6764 | 2708912.0642 | 1267634.6103
34 | 2708879.3452 | 1267571.8522 | 2708868.1985 | 1267570.4234 | 2708861.2865 | 1267566.7707 | 2708852.677 | 1267560.5811
35 | 2708879.3452 | 1267571.8522 | 2708881.3732 | 1267566.8074 | 2708886.2396 | 1267563.3941 | 2708886.5809 | 1267563.2652
36 | 2708918.4159 | 1267615.7852 | 2708923.0025 | 1267614.071 | 2708927.2292 | 1267612.9578
37 | 2708912.0642 | 1267634.6103 | 2708919.5037 | 1267647.8387
38 | 2708852.677 | 1267560.5811 | 2708850.9016 | 1267559.3048
39 | 2708908.0159 | 1267555.1664 | 2708886.5809 | 1267563.2652
40 | 2708927.2292 | 1267612.9578 | 2708936.1845 | 1267610.5992
41 | 2708923.675 | 1267655.256 | 2708919.5037 | 1267647.8387
42 | 2708912.0928 | 1267553.6261 | 2708908.0159 | 1267555.1664
43 | 2708936.1845 | 1267610.5992 | 2708942.0228 | 1267609.0616
44 | 2708923.675 | 1267655.256 | 2708932.1359 | 1267670.3007
45 | 2709070.2951 | 1267674.3537 | 2709100.8452 | 1267669.5108
46 | 2709057.3041 | 1267676.413 | 2709070.2951 | 1267674.3537
47 | 2709057.3041 | 1267676.413 | 2709041.7117 | 1267646.655 | 2709040.1275 | 1267636.9951
48 | 2709057.3041 | 1267676.413 | 2709060.2899 | 1267683.9191
49 | 2709057.3041 | 1267676.413 | 2709035.5279 | 1267681.9002
50 | 2709040.0857 | 1267636.74 | 2709040.1275 | 1267636.9951
51 | 2709060.2899 | 1267683.9191 | 2709056.8533 | 1267684.9232 | 2709054.8069 | 1267682.8058 | 2709053.1592 | 1267681.9302 | 2709051.3631 | 1267681.7525 | 2709045.2432 | 1267683.3184
52 | 2709060.2899 | 1267683.9191 | 2709067.6118 | 1267702.3036
53 | 2709060.2899 | 1267683.9191 | 2709063.0984 | 1267683.0924
54 | 2709045.2432 | 1267683.3184 | 2709030.0609 | 1267687.2031
55 | 2709063.0984 | 1267683.0924 | 2709063.3734 | 1267681.6518 | 2709063.9369 | 1267680.4945 | 2709064.8251 | 1267679.688 | 2709066.4233 | 1267678.7611 | 2709098.7959 | 1267673.6845
56 | 2708912.0928 | 1267553.6261 | 2708921.7681 | 1267549.9705 | 2708923.9611 | 1267549.5069
57 | 2708933.5856 | 1267547.4721 | 2708923.9611 | 1267549.5069
58 | 2708933.5856 | 1267547.4721 | 2708950.9938 | 1267543.7918
59 | 2708950.9938 | 1267543.7918 | 2708952.3244 | 1267543.5105
60 | 2709025.7736 | 1267688.3001 | 2709030.0609 | 1267687.2031
61 | 2709140.7974 | 1267728.4065 | 2709144.1042 | 1267727.7377 | 2709153.5901 | 1267725.803
62 | 2708942.0228 | 1267609.0616 | 2708951.1771 | 1267606.6506 | 2708955.4342 | 1267605.7065
63 | 2708974.7119 | 1267601.7914 | 2708958.6765 | 1267604.9874 | 2708955.4342 | 1267605.7065
64 | 2708974.7119 | 1267601.7914 | 2708978.3561 | 1267620.9946
65 | 2708974.7119 | 1267601.7914 | 2708984.6897 | 1267600.0726
66 | 2709025.7736 | 1267688.3001 | 2709011.8298 | 1267691.8679
67 | 2708996.6787 | 1267695.7447 | 2709011.8298 | 1267691.8679
68 | 2708995.6647 | 1267691.9449 | 2708996.6787 | 1267695.7447
69 | 2708996.6787 | 1267695.7447 | 2708994.4006 | 1267696.3271
70 | 2708995.6647 | 1267691.9449 | 2708965.9911 | 1267699.4264 | 2708965.4149 | 1267699.5946
71 | 2708995.6647 | 1267691.9449 | 2709012.362 | 1267687.7375
72 | 2708995.6647 | 1267691.9449 | 2708992.1112 | 1267677.6779
73 | 2708950.9805 | 1267703.809 | 2708965.4149 | 1267699.5946
74 | 2708987.1693 | 1267657.8364 | 2708992.1112 | 1267677.6779
75 | 2708950.9805 | 1267703.809 | 2708934.6361 | 1267674.7464
76 | 2708950.9805 | 1267703.809 | 2708937.5345 | 1267710.9536
77 | 2708950.9805 | 1267703.809 | 2708953.7814 | 1267708.6982
78 | 2708934.6361 | 1267674.7464 | 2708932.1359 | 1267670.3007
79 | 2708978.7927 | 1267623.2951 | 2708978.3561 | 1267620.9946
80 | 2709000.0068 | 1267597.4319 | 2708988.8813 | 1267599.3506 | 2708984.6897 | 1267600.0726
81 | 2709000.0068 | 1267597.4319 | 2709006.4879 | 1267596.312
82 | 2709024.8864 | 1267593.1426 | 2709008.4965 | 1267595.965 | 2709006.4879 | 1267596.312
83 | 2709004.8946 | 1267627.1256 | 2709003.553 | 1267618.9754
84 | 2709004.8946 | 1267627.1256 | 2709014.0387 | 1267625.5005
85 | 2709003.553 | 1267618.9754 | 2709003.5371 | 1267618.8786
86 | 2709030.2901 | 1267622.6123 | 2709014.0387 | 1267625.5005
87 | 2709030.2901 | 1267622.6123 | 2709055.6402 | 1267618.1206
88 | 2709030.2901 | 1267622.6123 | 2709028.8061 | 1267614.5188
89 | 2709024.8864 | 1267593.1426 | 2709033.9273 | 1267591.5859 | 2709039.0333 | 1267590.7036
90 | 2709024.8864 | 1267593.1426 | 2709028.8018 | 1267614.4954
91 | 2709054.2608 | 1267610.2337 | 2709054.227 | 1267610.0404
92 | 2709055.6402 | 1267618.1206 | 2709054.2608 | 1267610.2337
93 | 2709028.8061 | 1267614.5188 | 2709028.8018 | 1267614.4954
94 | 2709055.6402 | 1267618.1206 | 2709062.5876 | 1267616.8885

## bus_geodata
| x | y | coords
0 | 2708969.4729 | 1267735.5442
1 | 2708960.4911 | 1267720.1777
2 | 2708972.2204 | 1267733.9379
3 | 2709016.4 | 1267806.4823
4 | 2708996.0014 | 1267769.9633
5 | 2709029.9918 | 1267806.941
6 | 2709075.3153 | 1267880.4781
7 | 2709103.4298 | 1267896.2219
8 | 2709075.7144 | 1267877.216
9 | 2709079.3549 | 1267844.388
10 | 2709067.4078 | 1267805.2113
11 | 2709087.3232 | 1267850.5879
12 | 2709048.7425 | 1267806.9118
13 | 2709103.4838 | 1267870.8898
14 | 2709082.6882 | 1267740.159
15 | 2709058.8793 | 1267745.316
16 | 2709071.4077 | 1267711.8348
17 | 2709159.7294 | 1267752.8259
18 | 2709101.3512 | 1267736.3845
19 | 2708981.9205 | 1267751.0518
20 | 2709017.5575 | 1267759.4651
21 | 2709200.3103 | 1267814.2512
22 | 2709088.5233 | 1267913.058
23 | 2708657.0058 | 1267499.909
24 | 2708739.9988 | 1267518.7073
25 | 2708868.0551 | 1267428.7424
26 | 2708890.8914 | 1267595.3048
27 | 2708885.2271 | 1267584.8643
28 | 2708904.7697 | 1267620.8854
29 | 2708879.3452 | 1267571.8522
30 | 2708918.4159 | 1267615.7852
31 | 2708912.0642 | 1267634.6103
32 | 2708852.677 | 1267560.5811
33 | 2708886.5809 | 1267563.2652
34 | 2708927.2292 | 1267612.9578
35 | 2708919.5037 | 1267647.8387
36 | 2708850.9016 | 1267559.3048
37 | 2708908.0159 | 1267555.1664
38 | 2708936.1845 | 1267610.5992
39 | 2708923.675 | 1267655.256
40 | 2709100.8452 | 1267669.5108
41 | 2709070.2951 | 1267674.3537
42 | 2709057.3041 | 1267676.413
43 | 2709040.1275 | 1267636.9951
44 | 2709060.2899 | 1267683.9191
45 | 2709035.5279 | 1267681.9002
46 | 2709040.0857 | 1267636.74
47 | 2709045.2432 | 1267683.3184
48 | 2709067.6118 | 1267702.3036
49 | 2709063.0984 | 1267683.0924
50 | 2708923.9611 | 1267549.5069
51 | 2708912.0928 | 1267553.6261
52 | 2708933.5856 | 1267547.4721
53 | 2708950.9938 | 1267543.7918
54 | 2708952.3244 | 1267543.5105
55 | 2709098.7959 | 1267673.6845
56 | 2709030.0609 | 1267687.2031
57 | 2709140.7974 | 1267728.4065
58 | 2709153.5901 | 1267725.803
59 | 2708942.0228 | 1267609.0616
60 | 2708955.4342 | 1267605.7065
61 | 2708974.7119 | 1267601.7914
62 | 2709011.8298 | 1267691.8679
63 | 2709025.7736 | 1267688.3001
64 | 2708996.6787 | 1267695.7447
65 | 2708995.6647 | 1267691.9449
66 | 2708994.4006 | 1267696.3271
67 | 2708965.4149 | 1267699.5946
68 | 2709012.362 | 1267687.7375
69 | 2708992.1112 | 1267677.6779
70 | 2708950.9805 | 1267703.809
71 | 2708987.1693 | 1267657.8364
72 | 2708934.6361 | 1267674.7464
73 | 2708937.5345 | 1267710.9536
74 | 2708953.7814 | 1267708.6982
75 | 2708976.9575 | 1267726.1073
76 | 2708978.3561 | 1267620.9946
77 | 2708984.6897 | 1267600.0726
78 | 2708932.1359 | 1267670.3007
79 | 2708978.7927 | 1267623.2951
80 | 2709000.0068 | 1267597.4319
81 | 2709006.4879 | 1267596.312
82 | 2709004.8946 | 1267627.1256
83 | 2709003.553 | 1267618.9754
84 | 2709014.0387 | 1267625.5005
85 | 2709003.5371 | 1267618.8786
86 | 2709030.2901 | 1267622.6123
87 | 2709039.0333 | 1267590.7036
88 | 2709024.8864 | 1267593.1426
89 | 2709054.227 | 1267610.0404
90 | 2709054.2608 | 1267610.2337
91 | 2709028.8018 | 1267614.4954
92 | 2709028.8061 | 1267614.5188
93 | 2709055.6402 | 1267618.1206
94 | 2709067.4561 | 1267876.2828
95 | 2709062.5876 | 1267616.8885
96 | 2709058.8793 | 1267745.316

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1