## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-43_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-43_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-43_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4566-43_0_4_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_4566-43_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4566-43_0_4_node_80 | 0.4 | n |  | TRUE
6 | bus_LV_4566-43_0_4_node_79 | 0.4 | n |  | TRUE
7 | bus_LV_4566-43_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4566-43_0_4_node_116 | 0.4 | n |  | TRUE
9 | bus_LV_4566-43_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4566-43_0_4_node_115 | 0.4 | n |  | TRUE
11 | bus_LV_4566-43_0_4_node_125 | 0.4 | n |  | TRUE
12 | bus_LV_4566-43_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4566-43_0_4_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_4566-43_0_4_node_124 | 0.4 | n |  | TRUE
15 | bus_LV_4566-43_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4566-43_0_4_node_106 | 0.4 | n |  | TRUE
17 | bus_LV_4566-43_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4566-43_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4566-43_0_4_node_99 | 0.4 | n |  | TRUE
20 | bus_LV_4566-43_0_4_node_121 | 0.4 | n |  | TRUE
21 | bus_LV_4566-43_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4566-43_0_4_node_112 | 0.4 | n |  | TRUE
23 | bus_LV_4566-43_0_4_node_113 | 0.4 | n |  | TRUE
24 | bus_LV_4566-43_0_4_node_111 | 0.4 | n |  | TRUE
25 | bus_LV_4566-43_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4566-43_0_4_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_4566-43_0_4_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_4566-43_0_4_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_4566-43_0_4_node_123 | 0.4 | n |  | TRUE
30 | bus_LV_4566-43_0_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_4566-43_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4566-43_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4566-43_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_4566-43_0_4_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_4566-43_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4566-43_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_4566-43_0_4_node_104 | 0.4 | n |  | TRUE
38 | bus_LV_4566-43_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4566-43_0_4_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_4566-43_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_4566-43_0_4_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_4566-43_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_4566-43_0_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_4566-43_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_4566-43_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4566-43_0_4_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_4566-43_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_4566-43_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_4566-43_0_4_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_4566-43_0_4_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_4566-43_0_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_4566-43_0_4_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_4566-43_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_4566-43_0_4_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_4566-43_0_4_node_105 | 0.4 | n |  | TRUE
56 | bus_LV_4566-43_0_4_node_103 | 0.4 | n |  | TRUE
57 | bus_LV_4566-43_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_4566-43_0_4_node_94 | 0.4 | n |  | TRUE
59 | bus_LV_4566-43_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_4566-43_0_4_node_19 | 0.4 | n |  | TRUE
61 | bus_LV_4566-43_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4566-43_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_4566-43_0_4_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_4566-43_0_4_node_114 | 0.4 | n |  | TRUE
65 | bus_LV_4566-43_0_4_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_4566-43_0_4_node_109 | 0.4 | n |  | TRUE
67 | bus_LV_4566-43_0_4_node_120 | 0.4 | n |  | TRUE
68 | bus_LV_4566-43_0_4_node_107 | 0.4 | n |  | TRUE
69 | bus_LV_4566-43_0_4_node_118 | 0.4 | n |  | TRUE
70 | bus_LV_4566-43_0_4_node_119 | 0.4 | n |  | TRUE
71 | bus_LV_4566-43_0_4_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_4566-43_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_4566-43_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_4566-43_0_4_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_4566-43_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_4566-43_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4566-43_0_4_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_4566-43_0_4_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_4566-43_0_4_node_108 | 0.4 | n |  | TRUE
80 | bus_LV_4566-43_0_4_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_4566-43_0_4_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_4566-43_0_4_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_4566-43_0_4_node_54 | 0.4 | n |  | TRUE
84 | bus_LV_4566-43_0_4_node_56 | 0.4 | n |  | TRUE
85 | bus_LV_4566-43_0_4_node_57 | 0.4 | n |  | TRUE
86 | bus_LV_4566-43_0_4_node_95 | 0.4 | n |  | TRUE
87 | bus_LV_4566-43_0_4_node_43 | 0.4 | n |  | TRUE
88 | bus_LV_4566-43_0_4_node_44 | 0.4 | n |  | TRUE
89 | bus_LV_4566-43_0_4_node_37 | 0.4 | n |  | TRUE
90 | bus_LV_4566-43_0_4_node_39 | 0.4 | n |  | TRUE
91 | bus_LV_4566-43_0_4_node_38 | 0.4 | n |  | TRUE
92 | bus_LV_4566-43_0_4_node_40 | 0.4 | n |  | TRUE
93 | bus_LV_4566-43_0_4_node_41 | 0.4 | n |  | TRUE
94 | bus_LV_4566-43_0_4_node_42 | 0.4 | n |  | TRUE
95 | bus_LV_4566-43_0_4_node_50 | 0.4 | n |  | TRUE
96 | bus_LV_4566-43_0_4_node_62 | 0.4 | n |  | TRUE
97 | bus_LV_4566-43_0_4_node_60 | 0.4 | n |  | TRUE
98 | bus_LV_4566-43_0_4_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_4566-43_0_4_node_73 | 0.4 | n |  | TRUE
100 | bus_LV_4566-43_0_4_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_4566-43_0_4_node_72 | 0.4 | n |  | TRUE
102 | bus_LV_4566-43_0_4_node_74 | 0.4 | n |  | TRUE
103 | bus_LV_4566-43_0_4_node_75 | 0.4 | n |  | TRUE
104 | bus_LV_4566-43_0_4_node_76 | 0.4 | n |  | TRUE
105 | bus_LV_4566-43_0_4_node_85 | 0.4 | n |  | TRUE
106 | bus_LV_4566-43_0_4_node_83 | 0.4 | n |  | TRUE
107 | bus_LV_4566-43_0_4_node_89 | 0.4 | n |  | TRUE
108 | bus_LV_4566-43_0_4_node_122 | 0.4 | n |  | TRUE
109 | bus_LV_4566-43_0_4_node_81 | 0.4 | n |  | TRUE
110 | bus_LV_4566-43_0_4_node_82 | 0.4 | n |  | TRUE
111 | bus_LV_4566-43_0_4_node_84 | 0.4 | n |  | TRUE
112 | bus_LV_4566-43_0_4_node_86 | 0.4 | n |  | TRUE
113 | bus_LV_4566-43_0_4_node_101 | 0.4 | n |  | TRUE
114 | bus_LV_4566-43_0_4_node_102 | 0.4 | n |  | TRUE
115 | bus_MV_440_1_node_201 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-43_0_4_load_0 | 0 | 0.023926 | 0.0059964 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-43_0_4_load_18 | 3 | 0.012477 | 0.003127 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-43_0_4_load_80 | 5 | 0.02325 | 0.0058271 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-43_0_4_load_116 | 8 | 0.0064273 | 0.0016108 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-43_0_4_load_115 | 10 | 0.012448 | 0.0031197 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-43_0_4_load_125 | 11 | 0.038979 | 0.0097691 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-43_0_4_load_71 | 13 | 0.014322 | 0.0035895 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-43_0_4_load_124 | 14 | 0.0052539 | 0.0013168 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-43_0_4_load_99 | 19 | 0.030555 | 0.0076579 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-43_0_4_load_121 | 20 | 0.008154 | 0.0020436 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-43_0_4_load_112 | 22 | 0.0053027 | 0.001329 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-43_0_4_load_113 | 23 | 0.0050028 | 0.0012538 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-43_0_4_load_111 | 24 | 0.011134 | 0.0027905 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-43_0_4_load_96 | 28 | 0.0049637 | 0.001244 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-43_0_4_load_69 | 34 | 0.0047961 | 0.001202 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-43_0_4_load_104 | 37 | 0.0094646 | 0.0023721 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-43_0_4_load_61 | 39 | 0.0030668 | 0.00076861 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-43_0_4_load_58 | 41 | 0.0088775 | 0.0022249 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-43_0_4_load_68 | 42 | 0.0059576 | 0.0014931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-43_0_4_load_70 | 43 | 0.0058292 | 0.0014609 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-43_0_4_load_51 | 46 | 0.0075843 | 0.0019008 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-43_0_4_load_67 | 49 | 0.0075892 | 0.001902 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-43_0_4_load_77 | 51 | 0.0062042 | 0.0015549 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-43_0_4_load_78 | 52 | 0.013849 | 0.0034709 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-43_0_4_load_53 | 53 | 0.0017339 | 0.00043456 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-43_0_4_load_103 | 56 | 0.0083606 | 0.0020954 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-43_0_4_load_94 | 58 | 0.0027657 | 0.00069315 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-43_0_4_load_55 | 59 | 0.0028462 | 0.00071331 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-43_0_4_load_19 | 60 | 0.0072594 | 0.0018194 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-43_0_4_load_48 | 61 | 0.0041101 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-43_0_4_load_45 | 62 | 0.0042681 | 0.0010697 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-43_0_4_load_98 | 63 | 0.0099334 | 0.0024895 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-43_0_4_load_114 | 64 | 0.0048548 | 0.0012167 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-43_0_4_load_110 | 65 | 0.0086229 | 0.0021611 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-43_0_4_load_120 | 67 | 0.0056731 | 0.0014218 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-43_0_4_load_118 | 69 | 0.00651 | 0.0016316 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-43_0_4_load_119 | 70 | 0.0086554 | 0.0021693 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-43_0_4_load_117 | 71 | 0.0063276 | 0.0015858 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-43_0_4_load_63 | 72 | 0.0088997 | 0.0022305 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-43_0_4_load_59 | 73 | 0.0049964 | 0.0012522 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-43_0_4_load_66 | 75 | 0.0063269 | 0.0015857 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-43_0_4_load_64 | 76 | 0.002693 | 0.00067492 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-43_0_4_load_52 | 78 | 0.0014552 | 0.0003647 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-43_0_4_load_108 | 79 | 0.0095329 | 0.0023892 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-43_0_4_load_90 | 81 | 0.0030757 | 0.00077085 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-43_0_4_load_56 | 84 | 0.0018077 | 0.00045306 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-43_0_4_load_57 | 85 | 0.0018423 | 0.00046173 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-43_0_4_load_95 | 86 | 0.00068504 | 0.00017169 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-43_0_4_load_43 | 87 | 0.004016 | 0.0010065 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-43_0_4_load_44 | 88 | 0.0043416 | 0.0010881 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-43_0_4_load_37 | 89 | 0.01203 | 0.003015 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-43_0_4_load_38 | 91 | 0.0061778 | 0.0015483 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-43_0_4_load_40 | 92 | 0.0039508 | 0.00099015 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-43_0_4_load_41 | 93 | 0.0055506 | 0.0013911 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-43_0_4_load_42 | 94 | 0.0053754 | 0.0013472 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-43_0_4_load_50 | 95 | 0.0046668 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-43_0_4_load_62 | 96 | 0.00509 | 0.0012757 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-43_0_4_load_60 | 97 | 0.0016371 | 0.0004103 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-43_0_4_load_92 | 98 | 0.00096879 | 0.0002428 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-43_0_4_load_73 | 99 | 0.0029888 | 0.00074906 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-43_0_4_load_93 | 100 | 0.0014801 | 0.00037095 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-43_0_4_load_72 | 101 | 0.0019342 | 0.00048475 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-43_0_4_load_74 | 102 | 0.0014376 | 0.0003603 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-43_0_4_load_75 | 103 | 0.001043 | 0.0002614 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-43_0_4_load_76 | 104 | 0.0022269 | 0.00055811 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-43_0_4_load_85 | 105 | 0.0031587 | 0.00079163 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-43_0_4_load_83 | 106 | 0.003335 | 0.00083582 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4566-43_0_4_load_89 | 107 | 0.0079757 | 0.0019989 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4566-43_0_4_load_122 | 108 | 0.013796 | 0.0034577 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4566-43_0_4_load_81 | 109 | 0.0069152 | 0.0017331 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4566-43_0_4_load_82 | 110 | 0.0025552 | 0.0006404 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4566-43_0_4_load_84 | 111 | 0.004144 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4566-43_0_4_load_86 | 112 | 0.0040038 | 0.0010034 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4566-43_0_4_load_101 | 113 | 0.0052037 | 0.0013042 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-43_0_4_line_0 |  | 0 | 1 | 0.030161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-43_0_4_line_1 |  | 1 | 2 | 0.016204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-43_0_4_line_2 |  | 2 | 3 | 0.015847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-43_0_4_line_3 |  | 3 | 6 | 0.022285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-43_0_4_line_4 |  | 4 | 5 | 0.031377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-43_0_4_line_5 |  | 4 | 6 | 0.039107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-43_0_4_line_6 |  | 5 | 29 | 0.0098396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-43_0_4_line_7 |  | 7 | 8 | 0.036997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-43_0_4_line_8 |  | 7 | 9 | 0.01879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-43_0_4_line_9 |  | 7 | 10 | 0.01378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-43_0_4_line_10 |  | 9 | 11 | 0.0092679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-43_0_4_line_11 |  | 10 | 16 | 0.032943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-43_0_4_line_12 |  | 12 | 13 | 0.013969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-43_0_4_line_13 |  | 12 | 14 | 0.01108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-43_0_4_line_14 |  | 13 | 30 | 0.020441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_4566-43_0_4_line_15 |  | 13 | 15 | 0.005491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4566-43_0_4_line_16 |  | 14 | 29 | 0.027175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-43_0_4_line_17 |  | 15 | 16 | 0.005775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4566-43_0_4_line_18 |  | 16 | 54 | 0.012847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-43_0_4_line_19 |  | 17 | 18 | 0.049803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-43_0_4_line_20 |  | 17 | 19 | 0.038093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-43_0_4_line_21 |  | 18 | 20 | 0.020265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-43_0_4_line_22 |  | 20 | 63 | 0.015379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-43_0_4_line_23 |  | 21 | 22 | 0.018028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-43_0_4_line_24 |  | 21 | 23 | 0.047095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-43_0_4_line_25 |  | 21 | 24 | 0.014304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-43_0_4_line_26 |  | 22 | 64 | 0.025319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-43_0_4_line_27 |  | 24 | 65 | 0.027544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-43_0_4_line_28 |  | 25 | 26 | 0.004086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-43_0_4_line_29 |  | 25 | 27 | 0.017433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-43_0_4_line_30 |  | 25 | 28 | 0.02151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-43_0_4_line_31 |  | 26 | 63 | 0.025307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-43_0_4_line_32 |  | 26 | 35 | 0.012227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-43_0_4_line_33 |  | 27 | 51 | 0.032267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-43_0_4_line_34 |  | 27 | 52 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-43_0_4_line_35 |  | 29 | 108 | 0.015843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-43_0_4_line_36 |  | 30 | 45 | 0.006775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4566-43_0_4_line_37 |  | 31 | 32 | 0.029875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-43_0_4_line_38 |  | 31 | 33 | 0.026019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-43_0_4_line_39 |  | 31 | 34 | 0.014698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-43_0_4_line_40 |  | 32 | 43 | 0.029184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-43_0_4_line_41 |  | 32 | 44 | 0.069148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-43_0_4_line_42 |  | 33 | 60 | 0.0163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-43_0_4_line_43 |  | 33 | 38 | 0.016765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-43_0_4_line_44 |  | 35 | 36 | 0.011373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4566-43_0_4_line_45 |  | 35 | 37 | 0.010807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-43_0_4_line_46 |  | 36 | 42 | 0.014661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4566-43_0_4_line_47 |  | 38 | 39 | 0.009382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-43_0_4_line_48 |  | 38 | 40 | 0.035843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-43_0_4_line_49 |  | 38 | 41 | 0.024584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-43_0_4_line_50 |  | 39 | 72 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-43_0_4_line_51 |  | 40 | 61 | 0.013653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-43_0_4_line_52 |  | 40 | 62 | 0.02917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-43_0_4_line_53 |  | 41 | 73 | 0.019013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-43_0_4_line_54 |  | 42 | 48 | 0.017542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4566-43_0_4_line_55 |  | 44 | 53 | 0.06307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-43_0_4_line_56 |  | 45 | 46 | 0.021148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4566-43_0_4_line_57 |  | 45 | 47 | 0.011293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4566-43_0_4_line_58 |  | 46 | 49 | 0.016855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4566-43_0_4_line_59 |  | 47 | 74 | 0.004184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-43_0_4_line_60 |  | 48 | 49 | 0.011735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4566-43_0_4_line_61 |  | 48 | 50 | 0.022073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-43_0_4_line_62 |  | 50 | 75 | 0.009081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-43_0_4_line_63 |  | 50 | 76 | 0.0087086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-43_0_4_line_64 |  | 52 | 77 | 0.01006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-43_0_4_line_65 |  | 53 | 78 | 0.00017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-43_0_4_line_66 |  | 54 | 55 | 0.032403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-43_0_4_line_67 |  | 54 | 56 | 0.020524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-43_0_4_line_68 |  | 55 | 79 | 0.052145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4566-43_0_4_line_69 |  | 55 | 68 | 0.021531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-43_0_4_line_70 |  | 57 | 58 | 0.025188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4566-43_0_4_line_71 |  | 57 | 59 | 0.03992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-43_0_4_line_72 |  | 58 | 86 | 0.012369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-43_0_4_line_73 |  | 58 | 81 | 0.020315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-43_0_4_line_74 |  | 61 | 87 | 0.00034555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-43_0_4_line_75 |  | 62 | 88 | 0.014332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-43_0_4_line_76 |  | 64 | 66 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-43_0_4_line_77 |  | 66 | 67 | 0.015192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-43_0_4_line_78 |  | 66 | 68 | 0.019768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-43_0_4_line_79 |  | 67 | 114 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-43_0_4_line_80 |  | 68 | 69 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-43_0_4_line_81 |  | 69 | 71 | 0.020948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-43_0_4_line_82 |  | 70 | 71 | 0.025493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-43_0_4_line_83 |  | 73 | 97 | 0.019464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-43_0_4_line_84 |  | 74 | 95 | 0.030243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-43_0_4_line_85 |  | 77 | 107 | 0.012952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-43_0_4_line_86 |  | 80 | 81 | 0.0037348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-43_0_4_line_87 |  | 80 | 82 | 0.041054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4566-43_0_4_line_88 |  | 82 | 107 | 0.0056335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4566-43_0_4_line_89 |  | 82 | 112 | 0.022579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4566-43_0_4_line_90 |  | 83 | 84 | 0.013539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4566-43_0_4_line_91 |  | 83 | 85 | 0.022201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4566-43_0_4_line_92 |  | 84 | 98 | 0.0092149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4566-43_0_4_line_93 |  | 85 | 99 | 0.008009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4566-43_0_4_line_94 |  | 87 | 93 | 0.010074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4566-43_0_4_line_95 |  | 89 | 90 | 0.016159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4566-43_0_4_line_96 |  | 90 | 93 | 0.023709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4566-43_0_4_line_97 |  | 90 | 94 | 0.023559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4566-43_0_4_line_98 |  | 90 | 92 | 0.01072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4566-43_0_4_line_99 |  | 91 | 92 | 0.018613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4566-43_0_4_line_100 |  | 95 | 96 | 0.020245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4566-43_0_4_line_101 |  | 96 | 97 | 0.015115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4566-43_0_4_line_102 |  | 98 | 100 | 0.010899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4566-43_0_4_line_103 |  | 99 | 101 | 0.0057942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4566-43_0_4_line_104 |  | 101 | 102 | 0.0078059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4566-43_0_4_line_105 |  | 102 | 103 | 0.0069331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4566-43_0_4_line_106 |  | 103 | 104 | 0.0064875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4566-43_0_4_line_107 |  | 104 | 105 | 0.0017693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4566-43_0_4_line_108 |  | 105 | 106 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4566-43_0_4_line_109 |  | 106 | 109 | 0.0071924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4566-43_0_4_line_110 |  | 109 | 110 | 0.012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4566-43_0_4_line_111 |  | 110 | 111 | 0.014755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4566-43_0_4_line_112 |  | 111 | 112 | 0.00035497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4566-43_0_4_line_113 |  | 113 | 114 | 0.013218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-43_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 115 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2709534.575 | 1267908.9084 | 2709530.6681 | 1267902.7973 | 2709520.1651 | 1267887.0001 | 2709519.0672 | 1267883.2187
1 | 2709528.574 | 1267923.9658 | 2709534.575 | 1267908.9084
2 | 2709528.574 | 1267923.9658 | 2709512.7269 | 1267923.9631
3 | 2709490.4419 | 1267923.9592 | 2709512.7269 | 1267923.9631
4 | 2709493.2118 | 1267962.9667 | 2709465.5109 | 1267948.2303
5 | 2709493.2118 | 1267962.9667 | 2709490.4419 | 1267923.9592
6 | 2709456.824 | 1267943.6091 | 2709465.5109 | 1267948.2303
7 | 2709464.6519 | 1268000.5592 | 2709462.825 | 1268004.4843 | 2709461.25 | 1268011.4723 | 2709461.1527 | 1268023.2141 | 2709461.0591 | 1268034.3554 | 2709461.0364 | 1268036.9752
8 | 2709464.6519 | 1268000.5592 | 2709468.6359 | 1268002.5125 | 2709473.9701 | 1268005.1358 | 2709475.9084 | 1268001.2906 | 2709477.6486 | 1267997.5751
9 | 2709464.6519 | 1268000.5592 | 2709452.3269 | 1267994.3955
10 | 2709477.6486 | 1267997.5751 | 2709469.4277 | 1267993.2962
11 | 2709422.0803 | 1267981.3652 | 2709448.2787 | 1267992.371 | 2709452.3269 | 1267994.3955
12 | 2709426.7797 | 1267971.1211 | 2709439.2102 | 1267977.568
13 | 2709439.2102 | 1267977.568 | 2709444.3119 | 1267967.732
14 | 2709426.7797 | 1267971.1211 | 2709420.4866 | 1267967.835 | 2709417.0241 | 1267965.7691 | 2709414.915 | 1267962.9832 | 2709413.6431 | 1267957.2769
15 | 2709424.4441 | 1267976.0933 | 2709426.7797 | 1267971.1211
16 | 2709456.824 | 1267943.6091 | 2709444.3119 | 1267967.732
17 | 2709424.4441 | 1267976.0933 | 2709422.0803 | 1267981.3652
18 | 2709422.0803 | 1267981.3652 | 2709419.6328 | 1267980.1855 | 2709416.3542 | 1267978.3566 | 2709410.8113 | 1267975.2067
19 | 2709293.6418 | 1268038.0377 | 2709286.2047 | 1268035.1421 | 2709299.0247 | 1267995.3334
20 | 2709293.6418 | 1268038.0377 | 2709299.1879 | 1268040.1977 | 2709308.2917 | 1268041.3115 | 2709312.7755 | 1268040.2602 | 2709315.6286 | 1268037.4216 | 2709318.1703 | 1268031.0742 | 2709325.5537 | 1268032.4008
21 | 2709299.0247 | 1267995.3334 | 2709301.8044 | 1267986.6996 | 2709305.236 | 1267976.0441
22 | 2709305.236 | 1267976.0441 | 2709309.9502 | 1267961.4059
23 | 2709407.3332 | 1268095.0577 | 2709407.6037 | 1268082.0848 | 2709407.6311 | 1268077.0322
24 | 2709407.3332 | 1268095.0577 | 2709393.3575 | 1268092.3856 | 2709372.9978 | 1268088.4831 | 2709361.0777 | 1268086.2037
25 | 2709407.3332 | 1268095.0577 | 2709407.4068 | 1268102.4655 | 2709407.4494 | 1268106.2585 | 2709407.491 | 1268109.3613
26 | 2709407.7682 | 1268051.7138 | 2709407.6311 | 1268077.0322
27 | 2709407.8281 | 1268136.9035 | 2709407.6643 | 1268122.2876 | 2709407.491 | 1268109.3613
28 | 2709317.7079 | 1267937.3175 | 2709313.8803 | 1267935.8565
29 | 2709313.8803 | 1267935.8565 | 2709317.5552 | 1267923.6027 | 2709317.8217 | 1267918.9703
30 | 2709313.8803 | 1267935.8565 | 2709309.7434 | 1267934.4343 | 2709310.3909 | 1267929.9535 | 2709305.8659 | 1267924.6874 | 2709300.4108 | 1267923.1604
31 | 2709317.7079 | 1267937.3175 | 2709309.9502 | 1267961.4059
32 | 2709317.7079 | 1267937.3175 | 2709325.4738 | 1267935.0703 | 2709329.4716 | 1267936.2786
33 | 2709317.8217 | 1267918.9703 | 2709296.2297 | 1267910.8416 | 2709287.3282 | 1267908.5338
34 | 2709317.8217 | 1267918.9703 | 2709318.4271 | 1267904.8192
35 | 2709456.824 | 1267943.6091 | 2709442.6191 | 1267936.5931
36 | 2709407.3988 | 1267954.6034 | 2709413.6431 | 1267957.2769
37 | 2709425.2562 | 1267762.0555 | 2709415.1285 | 1267790.1702
38 | 2709423.6825 | 1267805.1305 | 2709418.778 | 1267804.4947 | 2709416.3821 | 1267804.1834 | 2709415.1202 | 1267804.0266 | 2709411.6727 | 1267803.5846 | 2709412.8267 | 1267796.5665 | 2709415.1285 | 1267790.1702
39 | 2709415.1285 | 1267790.1702 | 2709408.5213 | 1267788.7911 | 2709400.7399 | 1267787.1686
40 | 2709425.2562 | 1267762.0555 | 2709396.3564 | 1267757.4165
41 | 2709425.2562 | 1267762.0555 | 2709437.9911 | 1267726.1045 | 2709444.0766 | 1267708.9245 | 2709440.0457 | 1267708.2715 | 2709437.0709 | 1267716.4458
42 | 2709423.6825 | 1267805.1305 | 2709435.8577 | 1267804.6555 | 2709439.9728 | 1267804.6159
43 | 2709423.6825 | 1267805.1305 | 2709422.6943 | 1267807.67 | 2709420.7861 | 1267809.4806 | 2709418.1464 | 1267810.5438 | 2709415.2523 | 1267810.7126 | 2709413.5886 | 1267810.704 | 2709413.116 | 1267814.6765
44 | 2709329.4716 | 1267936.2786 | 2709332.214 | 1267930.4799 | 2709334.2999 | 1267925.9812
45 | 2709329.4716 | 1267936.2786 | 2709339.3481 | 1267940.6653
46 | 2709334.2999 | 1267925.9812 | 2709347.4158 | 1267932.5326
47 | 2709413.116 | 1267814.6765 | 2709422.4853 | 1267814.1895
48 | 2709407.7309 | 1267847.294 | 2709407.8232 | 1267841.9022 | 2709409.1682 | 1267818.8848 | 2709409.8382 | 1267814.827 | 2709413.116 | 1267814.6765
49 | 2709413.116 | 1267814.6765 | 2709412.7332 | 1267817.8611 | 2709411.87 | 1267830.7229 | 2709411.7354 | 1267839.2074
50 | 2709439.7706 | 1267813.2911 | 2709422.4853 | 1267814.1895
51 | 2709407.7309 | 1267847.294 | 2709394.0912 | 1267846.7007
52 | 2709407.7309 | 1267847.294 | 2709407.2269 | 1267876.4596
53 | 2709411.4337 | 1267858.2181 | 2709411.7354 | 1267839.2074
54 | 2709363.1086 | 1267940.3712 | 2709347.4158 | 1267932.5326
55 | 2709437.0709 | 1267716.4458 | 2709436.4708 | 1267714.2995 | 2709433.5026 | 1267711.5532 | 2709427.2214 | 1267710.8585 | 2709414.4378 | 1267709.6208 | 2709376.9222 | 1267706.6279
56 | 2709407.3988 | 1267954.6034 | 2709401.2051 | 1267952.0421 | 2709400.6247 | 1267953.2991 | 2709398.7813 | 1267954.8663 | 2709396.182 | 1267955.3742 | 2709392.902 | 1267955.2467 | 2709388.6875 | 1267953.1425
57 | 2709407.3988 | 1267954.6034 | 2709408.0644 | 1267947.9322 | 2709407.9009 | 1267943.3474
58 | 2709388.6875 | 1267953.1425 | 2709373.6077 | 1267945.6133
59 | 2709412.0964 | 1267943.2361 | 2709407.9009 | 1267943.3474
60 | 2709363.1086 | 1267940.3712 | 2709373.6077 | 1267945.6133
61 | 2709372.5875 | 1267920.4293 | 2709364.0934 | 1267938.0096 | 2709363.1086 | 1267940.3712
62 | 2709372.5875 | 1267920.4293 | 2709374.2862 | 1267916.9244 | 2709377.1891 | 1267912.6188
63 | 2709372.5875 | 1267920.4293 | 2709374.0128 | 1267921.1119 | 2709380.6641 | 1267923.6755
64 | 2709318.857 | 1267894.7684 | 2709318.4271 | 1267904.8192
65 | 2709376.7504 | 1267706.6142 | 2709376.9222 | 1267706.6279
66 | 2709408.212 | 1268007.0085 | 2709408.0838 | 1267992.3934 | 2709408.0354 | 1267983.6293 | 2709408.281 | 1267980.5312 | 2709408.9972 | 1267978.4426 | 2709410.8113 | 1267975.2067
67 | 2709410.8113 | 1267975.2067 | 2709398.9657 | 1267968.4816 | 2709392.8403 | 1267965.2988
68 | 2709408.212 | 1268007.0085 | 2709401.0927 | 1268006.8655 | 2709374.3969 | 1268001.5778 | 2709371.7034 | 1268001.4835 | 2709356.4482 | 1268000.8117
69 | 2709408.212 | 1268007.0085 | 2709412.3514 | 1268007.0741 | 2709412.3105 | 1268013.3455 | 2709412.1797 | 1268024.4638
70 | 2709249.6567 | 1267849.4716 | 2709268.7415 | 1267845.4209 | 2709273.2311 | 1267844.4698 | 2709274.358 | 1267844.1903
71 | 2709249.6567 | 1267849.4716 | 2709244.3738 | 1267825.3418 | 2709241.1947 | 1267810.4591
72 | 2709274.358 | 1267844.1903 | 2709277.6786 | 1267843.351 | 2709278.3692 | 1267846.3108 | 2709279.5723 | 1267852.0911
73 | 2709274.358 | 1267844.1903 | 2709278.7031 | 1267864.0353
74 | 2709393.7459 | 1267846.6857 | 2709394.0912 | 1267846.7007
75 | 2709406.9792 | 1267890.7896 | 2709407.2269 | 1267876.4596
76 | 2709407.8863 | 1268040.0201 | 2709407.7934 | 1268047.0689 | 2709407.7682 | 1268051.7138
77 | 2709407.8863 | 1268040.0201 | 2709392.8615 | 1268037.7713
78 | 2709407.8863 | 1268040.0201 | 2709412.064 | 1268040.053 | 2709412.0429 | 1268036.316 | 2709412.1797 | 1268024.4638
79 | 2709374.2223 | 1268034.9814 | 2709392.8615 | 1268037.7713
80 | 2709412.1797 | 1268024.4638 | 2709422.9409 | 1268024.5765
81 | 2709431.4061 | 1268037.0602 | 2709431.4939 | 1268024.6661 | 2709422.9409 | 1268024.5765
82 | 2709431.4061 | 1268037.0602 | 2709431.2256 | 1268062.552
83 | 2709411.4337 | 1267858.2181 | 2709411.2416 | 1267870.3235 | 2709411.1305 | 1267877.6802
84 | 2709412.0964 | 1267943.2361 | 2709411.537 | 1267932.7944 | 2709410.7129 | 1267921.2024 | 2709410.7389 | 1267913.0375
85 | 2709318.857 | 1267894.7684 | 2709319.4114 | 1267881.8286
86 | 2709279.5019 | 1267867.6837 | 2709278.7031 | 1267864.0353
87 | 2709319.6525 | 1267876.2003 | 2709308.4765 | 1267872.3235 | 2709279.5019 | 1267867.6837
88 | 2709319.6525 | 1267876.2003 | 2709319.4114 | 1267881.8286
89 | 2709319.6525 | 1267876.2003 | 2709320.0459 | 1267867.9671 | 2709320.2279 | 1267862.1988 | 2709320.0741 | 1267853.635
90 | 2709308.0398 | 1267745.85 | 2709321.4311 | 1267743.8565
91 | 2709308.0398 | 1267745.85 | 2709311.4267 | 1267767.7911
92 | 2709330.5455 | 1267742.4996 | 2709321.4311 | 1267743.8565
93 | 2709311.4267 | 1267767.7911 | 2709312.6486 | 1267775.7063
94 | 2709393.7459 | 1267846.6857 | 2709383.6811 | 1267846.2479
95 | 2709378.0355 | 1267823.8462 | 2709361.8919 | 1267823.1468 | 2709361.8919 | 1267823.1468
96 | 2709378.0355 | 1267823.8462 | 2709377.8375 | 1267831.6938 | 2709379.2789 | 1267838.4152 | 2709383.6811 | 1267846.2479
97 | 2709378.0355 | 1267823.8462 | 2709361.8919 | 1267823.1468 | 2709361.9758 | 1267815.7474
98 | 2709378.0355 | 1267823.8462 | 2709378.3614 | 1267813.1307
99 | 2709378.3614 | 1267813.1307 | 2709378.6903 | 1267802.3174 | 2709370.8956 | 1267802.2672
100 | 2709410.7389 | 1267913.0375 | 2709410.777 | 1267901.0861 | 2709410.9022 | 1267892.793
101 | 2709410.9022 | 1267892.793 | 2709411.1305 | 1267877.6802
102 | 2709341.3259 | 1267740.8948 | 2709330.5455 | 1267742.4996
103 | 2709313.5325 | 1267781.4327 | 2709312.6486 | 1267775.7063
104 | 2709313.5325 | 1267781.4327 | 2709314.7234 | 1267789.1473
105 | 2709314.7234 | 1267789.1473 | 2709315.7811 | 1267795.9993
106 | 2709316.7708 | 1267802.4108 | 2709315.7811 | 1267795.9993
107 | 2709316.7708 | 1267802.4108 | 2709317.0407 | 1267804.1594
108 | 2709318.4199 | 1267819.3229 | 2709317.5051 | 1267807.1673 | 2709317.0407 | 1267804.1594
109 | 2709318.9596 | 1267826.495 | 2709318.4199 | 1267819.3229
110 | 2709318.9596 | 1267826.495 | 2709319.783 | 1267837.4357 | 2709319.8026 | 1267838.5271
111 | 2709319.8026 | 1267838.5271 | 2709320.0677 | 1267853.2801
112 | 2709320.0741 | 1267853.635 | 2709320.0677 | 1267853.2801
113 | 2709374.2223 | 1268034.9814 | 2709370.9482 | 1268047.1314 | 2709370.7836 | 1268047.7444

## bus_geodata
| x | y | coords
0 | 2709519.0672 | 1267883.2187
1 | 2709534.575 | 1267908.9084
2 | 2709528.574 | 1267923.9658
3 | 2709512.7269 | 1267923.9631
4 | 2709493.2118 | 1267962.9667
5 | 2709465.5109 | 1267948.2303
6 | 2709490.4419 | 1267923.9592
7 | 2709464.6519 | 1268000.5592
8 | 2709461.0364 | 1268036.9752
9 | 2709477.6486 | 1267997.5751
10 | 2709452.3269 | 1267994.3955
11 | 2709469.4277 | 1267993.2962
12 | 2709439.2102 | 1267977.568
13 | 2709426.7797 | 1267971.1211
14 | 2709444.3119 | 1267967.732
15 | 2709424.4441 | 1267976.0933
16 | 2709422.0803 | 1267981.3652
17 | 2709293.6418 | 1268038.0377
18 | 2709299.0247 | 1267995.3334
19 | 2709325.5537 | 1268032.4008
20 | 2709305.236 | 1267976.0441
21 | 2709407.3332 | 1268095.0577
22 | 2709407.6311 | 1268077.0322
23 | 2709361.0777 | 1268086.2037
24 | 2709407.491 | 1268109.3613
25 | 2709313.8803 | 1267935.8565
26 | 2709317.7079 | 1267937.3175
27 | 2709317.8217 | 1267918.9703
28 | 2709300.4108 | 1267923.1604
29 | 2709456.824 | 1267943.6091
30 | 2709413.6431 | 1267957.2769
31 | 2709415.1285 | 1267790.1702
32 | 2709425.2562 | 1267762.0555
33 | 2709423.6825 | 1267805.1305
34 | 2709400.7399 | 1267787.1686
35 | 2709329.4716 | 1267936.2786
36 | 2709334.2999 | 1267925.9812
37 | 2709339.3481 | 1267940.6653
38 | 2709413.116 | 1267814.6765
39 | 2709422.4853 | 1267814.1895
40 | 2709407.7309 | 1267847.294
41 | 2709411.7354 | 1267839.2074
42 | 2709347.4158 | 1267932.5326
43 | 2709396.3564 | 1267757.4165
44 | 2709437.0709 | 1267716.4458
45 | 2709407.3988 | 1267954.6034
46 | 2709388.6875 | 1267953.1425
47 | 2709407.9009 | 1267943.3474
48 | 2709363.1086 | 1267940.3712
49 | 2709373.6077 | 1267945.6133
50 | 2709372.5875 | 1267920.4293
51 | 2709287.3282 | 1267908.5338
52 | 2709318.4271 | 1267904.8192
53 | 2709376.9222 | 1267706.6279
54 | 2709410.8113 | 1267975.2067
55 | 2709408.212 | 1268007.0085
56 | 2709392.8403 | 1267965.2988
57 | 2709249.6567 | 1267849.4716
58 | 2709274.358 | 1267844.1903
59 | 2709241.1947 | 1267810.4591
60 | 2709439.9728 | 1267804.6159
61 | 2709394.0912 | 1267846.7007
62 | 2709407.2268 | 1267876.4596
63 | 2709309.9502 | 1267961.4059
64 | 2709407.7682 | 1268051.7138
65 | 2709407.8281 | 1268136.9035
66 | 2709407.8863 | 1268040.0201
67 | 2709392.8615 | 1268037.7713
68 | 2709412.1797 | 1268024.4638
69 | 2709422.9409 | 1268024.5765
70 | 2709431.2256 | 1268062.552
71 | 2709431.4061 | 1268037.0602
72 | 2709439.7706 | 1267813.2911
73 | 2709411.4337 | 1267858.2181
74 | 2709412.0964 | 1267943.2361
75 | 2709377.1891 | 1267912.6188
76 | 2709380.6641 | 1267923.6755
77 | 2709318.857 | 1267894.7684
78 | 2709376.7504 | 1267706.6142
79 | 2709356.4482 | 1268000.8117
80 | 2709279.5019 | 1267867.6837
81 | 2709278.7031 | 1267864.0353
82 | 2709319.6525 | 1267876.2003
83 | 2709308.0398 | 1267745.85
84 | 2709321.4311 | 1267743.8565
85 | 2709311.4267 | 1267767.7911
86 | 2709279.5723 | 1267852.0911
87 | 2709393.7459 | 1267846.6857
88 | 2709406.9792 | 1267890.7896
89 | 2709361.8919 | 1267823.1468
90 | 2709378.0355 | 1267823.8462
91 | 2709370.8956 | 1267802.2672
92 | 2709378.3614 | 1267813.1307
93 | 2709383.6811 | 1267846.2479
94 | 2709361.9758 | 1267815.7474
95 | 2709410.7389 | 1267913.0375
96 | 2709410.9022 | 1267892.793
97 | 2709411.1305 | 1267877.6802
98 | 2709330.5455 | 1267742.4996
99 | 2709312.6486 | 1267775.7063
100 | 2709341.3259 | 1267740.8948
101 | 2709313.5325 | 1267781.4327
102 | 2709314.7234 | 1267789.1473
103 | 2709315.7811 | 1267795.9993
104 | 2709316.7708 | 1267802.4108
105 | 2709317.0407 | 1267804.1594
106 | 2709318.4199 | 1267819.3229
107 | 2709319.4114 | 1267881.8286
108 | 2709442.6191 | 1267936.5931
109 | 2709318.9596 | 1267826.495
110 | 2709319.8026 | 1267838.5271
111 | 2709320.0677 | 1267853.2801
112 | 2709320.0741 | 1267853.635
113 | 2709370.7836 | 1268047.7444
114 | 2709374.2223 | 1268034.9814
115 | 2709412.0964 | 1267943.2361

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1