## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-44_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-44_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-44_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4566-44_0_5_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_4566-44_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_4566-44_0_5_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_4566-44_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4566-44_0_5_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_4566-44_0_5_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_4566-44_0_5_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_4566-44_0_5_node_150 | 0.4 | n |  | TRUE
11 | bus_LV_4566-44_0_5_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_4566-44_0_5_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_4566-44_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4566-44_0_5_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_4566-44_0_5_node_145 | 0.4 | n |  | TRUE
16 | bus_LV_4566-44_0_5_node_146 | 0.4 | n |  | TRUE
17 | bus_LV_4566-44_0_5_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_4566-44_0_5_node_151 | 0.4 | n |  | TRUE
19 | bus_LV_4566-44_0_5_node_137 | 0.4 | n |  | TRUE
20 | bus_LV_4566-44_0_5_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_4566-44_0_5_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_4566-44_0_5_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_4566-44_0_5_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_4566-44_0_5_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_4566-44_0_5_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_4566-44_0_5_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_4566-44_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_4566-44_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_4566-44_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4566-44_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4566-44_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4566-44_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4566-44_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4566-44_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4566-44_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4566-44_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4566-44_0_5_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_4566-44_0_5_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_4566-44_0_5_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_4566-44_0_5_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_4566-44_0_5_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_4566-44_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_4566-44_0_5_node_113 | 0.4 | n |  | TRUE
44 | bus_LV_4566-44_0_5_node_148 | 0.4 | n |  | TRUE
45 | bus_LV_4566-44_0_5_node_111 | 0.4 | n |  | TRUE
46 | bus_LV_4566-44_0_5_node_162 | 0.4 | n |  | TRUE
47 | bus_LV_4566-44_0_5_node_118 | 0.4 | n |  | TRUE
48 | bus_LV_4566-44_0_5_node_149 | 0.4 | n |  | TRUE
49 | bus_LV_4566-44_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_4566-44_0_5_node_108 | 0.4 | n |  | TRUE
51 | bus_LV_4566-44_0_5_node_161 | 0.4 | n |  | TRUE
52 | bus_LV_4566-44_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_4566-44_0_5_node_144 | 0.4 | n |  | TRUE
54 | bus_LV_4566-44_0_5_node_117 | 0.4 | n |  | TRUE
55 | bus_LV_4566-44_0_5_node_112 | 0.4 | n |  | TRUE
56 | bus_LV_4566-44_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_4566-44_0_5_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_4566-44_0_5_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_4566-44_0_5_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_4566-44_0_5_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_4566-44_0_5_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_4566-44_0_5_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4566-44_0_5_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_4566-44_0_5_node_153 | 0.4 | n |  | TRUE
65 | bus_LV_4566-44_0_5_node_154 | 0.4 | n |  | TRUE
66 | bus_LV_4566-44_0_5_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_4566-44_0_5_node_155 | 0.4 | n |  | TRUE
68 | bus_LV_4566-44_0_5_node_158 | 0.4 | n |  | TRUE
69 | bus_LV_4566-44_0_5_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_4566-44_0_5_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_4566-44_0_5_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_4566-44_0_5_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_4566-44_0_5_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_4566-44_0_5_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_4566-44_0_5_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_4566-44_0_5_node_97 | 0.4 | n |  | TRUE
77 | bus_LV_4566-44_0_5_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_4566-44_0_5_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_4566-44_0_5_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_4566-44_0_5_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_4566-44_0_5_node_116 | 0.4 | n |  | TRUE
82 | bus_LV_4566-44_0_5_node_142 | 0.4 | n |  | TRUE
83 | bus_LV_4566-44_0_5_node_114 | 0.4 | n |  | TRUE
84 | bus_LV_4566-44_0_5_node_138 | 0.4 | n |  | TRUE
85 | bus_LV_4566-44_0_5_node_147 | 0.4 | n |  | TRUE
86 | bus_LV_4566-44_0_5_node_132 | 0.4 | n |  | TRUE
87 | bus_LV_4566-44_0_5_node_105 | 0.4 | n |  | TRUE
88 | bus_LV_4566-44_0_5_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_4566-44_0_5_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_4566-44_0_5_node_65 | 0.4 | n |  | TRUE
91 | bus_LV_4566-44_0_5_node_67 | 0.4 | n |  | TRUE
92 | bus_LV_4566-44_0_5_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_4566-44_0_5_node_66 | 0.4 | n |  | TRUE
94 | bus_LV_4566-44_0_5_node_70 | 0.4 | n |  | TRUE
95 | bus_LV_4566-44_0_5_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_4566-44_0_5_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_4566-44_0_5_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_4566-44_0_5_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_4566-44_0_5_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_4566-44_0_5_node_136 | 0.4 | n |  | TRUE
101 | bus_LV_4566-44_0_5_node_123 | 0.4 | n |  | TRUE
102 | bus_LV_4566-44_0_5_node_87 | 0.4 | n |  | TRUE
103 | bus_LV_4566-44_0_5_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_4566-44_0_5_node_135 | 0.4 | n |  | TRUE
105 | bus_LV_4566-44_0_5_node_110 | 0.4 | n |  | TRUE
106 | bus_LV_4566-44_0_5_node_75 | 0.4 | n |  | TRUE
107 | bus_LV_4566-44_0_5_node_76 | 0.4 | n |  | TRUE
108 | bus_LV_4566-44_0_5_node_77 | 0.4 | n |  | TRUE
109 | bus_LV_4566-44_0_5_node_78 | 0.4 | n |  | TRUE
110 | bus_LV_4566-44_0_5_node_79 | 0.4 | n |  | TRUE
111 | bus_LV_4566-44_0_5_node_80 | 0.4 | n |  | TRUE
112 | bus_LV_4566-44_0_5_node_81 | 0.4 | n |  | TRUE
113 | bus_LV_4566-44_0_5_node_156 | 0.4 | n |  | TRUE
114 | bus_LV_4566-44_0_5_node_159 | 0.4 | n |  | TRUE
115 | bus_LV_4566-44_0_5_node_86 | 0.4 | n |  | TRUE
116 | bus_LV_4566-44_0_5_node_165 | 0.4 | n |  | TRUE
117 | bus_LV_4566-44_0_5_node_166 | 0.4 | n |  | TRUE
118 | bus_LV_4566-44_0_5_node_88 | 0.4 | n |  | TRUE
119 | bus_LV_4566-44_0_5_node_84 | 0.4 | n |  | TRUE
120 | bus_LV_4566-44_0_5_node_83 | 0.4 | n |  | TRUE
121 | bus_LV_4566-44_0_5_node_85 | 0.4 | n |  | TRUE
122 | bus_LV_4566-44_0_5_node_133 | 0.4 | n |  | TRUE
123 | bus_LV_4566-44_0_5_node_130 | 0.4 | n |  | TRUE
124 | bus_LV_4566-44_0_5_node_121 | 0.4 | n |  | TRUE
125 | bus_LV_4566-44_0_5_node_90 | 0.4 | n |  | TRUE
126 | bus_LV_4566-44_0_5_node_91 | 0.4 | n |  | TRUE
127 | bus_LV_4566-44_0_5_node_92 | 0.4 | n |  | TRUE
128 | bus_LV_4566-44_0_5_node_95 | 0.4 | n |  | TRUE
129 | bus_LV_4566-44_0_5_node_99 | 0.4 | n |  | TRUE
130 | bus_LV_4566-44_0_5_node_100 | 0.4 | n |  | TRUE
131 | bus_LV_4566-44_0_5_node_101 | 0.4 | n |  | TRUE
132 | bus_LV_4566-44_0_5_node_102 | 0.4 | n |  | TRUE
133 | bus_LV_4566-44_0_5_node_103 | 0.4 | n |  | TRUE
134 | bus_LV_4566-44_0_5_node_104 | 0.4 | n |  | TRUE
135 | bus_LV_4566-44_0_5_node_120 | 0.4 | n |  | TRUE
136 | bus_LV_4566-44_0_5_node_106 | 0.4 | n |  | TRUE
137 | bus_LV_4566-44_0_5_node_107 | 0.4 | n |  | TRUE
138 | bus_LV_4566-44_0_5_node_109 | 0.4 | n |  | TRUE
139 | bus_LV_4566-44_0_5_node_115 | 0.4 | n |  | TRUE
140 | bus_LV_4566-44_0_5_node_119 | 0.4 | n |  | TRUE
141 | bus_LV_4566-44_0_5_node_141 | 0.4 | n |  | TRUE
142 | bus_LV_4566-44_0_5_node_143 | 0.4 | n |  | TRUE
143 | bus_LV_4566-44_0_5_node_122 | 0.4 | n |  | TRUE
144 | bus_LV_4566-44_0_5_node_124 | 0.4 | n |  | TRUE
145 | bus_LV_4566-44_0_5_node_125 | 0.4 | n |  | TRUE
146 | bus_LV_4566-44_0_5_node_139 | 0.4 | n |  | TRUE
147 | bus_LV_4566-44_0_5_node_140 | 0.4 | n |  | TRUE
148 | bus_LV_4566-44_0_5_node_126 | 0.4 | n |  | TRUE
149 | bus_LV_4566-44_0_5_node_127 | 0.4 | n |  | TRUE
150 | bus_LV_4566-44_0_5_node_128 | 0.4 | n |  | TRUE
151 | bus_LV_4566-44_0_5_node_129 | 0.4 | n |  | TRUE
152 | bus_LV_4566-44_0_5_node_131 | 0.4 | n |  | TRUE
153 | bus_LV_4566-44_0_5_node_134 | 0.4 | n |  | TRUE
154 | bus_LV_4566-44_0_5_node_163 | 0.4 | n |  | TRUE
155 | bus_LV_4566-44_0_5_node_164 | 0.4 | n |  | TRUE
156 | bus_LV_4566-44_0_5_node_152 | 0.4 | n |  | TRUE
157 | bus_LV_4566-44_0_5_node_160 | 0.4 | n |  | TRUE
158 | bus_MV_374_1_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-44_0_5_load_0 | 0 | 0.0026768 | 0.00067086 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-44_0_5_load_1 | 1 | 0.0050631 | 0.0012689 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-44_0_5_load_8 | 4 | 0.001454 | 0.00036441 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-44_0_5_load_60 | 7 | 0.0041717 | 0.0010455 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-44_0_5_load_61 | 8 | 0.0026913 | 0.0006745 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-44_0_5_load_29 | 9 | 0.0020359 | 0.00051024 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-44_0_5_load_150 | 10 | 0.0018504 | 0.00046374 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-44_0_5_load_31 | 11 | 0.0015792 | 0.00039577 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-44_0_5_load_10 | 13 | 0.0014508 | 0.00036361 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-44_0_5_load_55 | 14 | 0.0025482 | 0.00063865 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-44_0_5_load_145 | 15 | 0.0021798 | 0.00054632 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-44_0_5_load_146 | 16 | 0.0020359 | 0.00051024 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-44_0_5_load_151 | 18 | 0.002199 | 0.00055112 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-44_0_5_load_28 | 20 | 0.0007453 | 0.00018679 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-44_0_5_load_30 | 21 | 0.0015131 | 0.00037921 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-44_0_5_load_82 | 23 | 0.0014728 | 0.00036912 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-44_0_5_load_11 | 25 | 0.0014349 | 0.00035962 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-44_0_5_load_12 | 26 | 0.001533 | 0.0003842 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-44_0_5_load_16 | 29 | 0.0011466 | 0.00028737 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-44_0_5_load_19 | 32 | 0.0016808 | 0.00042126 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-44_0_5_load_20 | 33 | 0.00086741 | 0.00021739 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-44_0_5_load_23 | 34 | 0.0014565 | 0.00036504 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-44_0_5_load_24 | 35 | 0.0021111 | 0.00052908 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-44_0_5_load_25 | 36 | 0.0040989 | 0.0010273 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-44_0_5_load_53 | 37 | 0.0012774 | 0.00032014 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-44_0_5_load_54 | 38 | 0.0011772 | 0.00029504 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-44_0_5_load_26 | 39 | 0.0016856 | 0.00042245 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-44_0_5_load_52 | 40 | 0.0052283 | 0.0013103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-44_0_5_load_21 | 41 | 0.0010397 | 0.00026056 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-44_0_5_load_22 | 42 | 0.0010004 | 0.00025073 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-44_0_5_load_148 | 44 | 0.0015664 | 0.00039258 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-44_0_5_load_162 | 46 | 0.0014425 | 0.00036153 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-44_0_5_load_118 | 47 | 0.00067419 | 0.00016897 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-44_0_5_load_149 | 48 | 0.0016274 | 0.00040786 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-44_0_5_load_161 | 51 | 0.0019459 | 0.00048768 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-44_0_5_load_32 | 52 | 0.0016013 | 0.00040131 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-44_0_5_load_144 | 53 | 0.00087632 | 0.00021963 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-44_0_5_load_117 | 54 | 0.0010797 | 0.0002706 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-44_0_5_load_33 | 56 | 0.0015701 | 0.0003935 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-44_0_5_load_34 | 57 | 0.0013881 | 0.0003479 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-44_0_5_load_35 | 58 | 0.0019589 | 0.00049095 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-44_0_5_load_36 | 59 | 0.0011385 | 0.00028535 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-44_0_5_load_37 | 60 | 0.0019982 | 0.0005008 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-44_0_5_load_38 | 61 | 0.0013919 | 0.00034885 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-44_0_5_load_43 | 63 | 0.0022195 | 0.00055627 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-44_0_5_load_153 | 64 | 0.0016326 | 0.00040916 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-44_0_5_load_41 | 66 | 0.0025359 | 0.00063557 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-44_0_5_load_155 | 67 | 0.0019284 | 0.00048329 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-44_0_5_load_158 | 68 | 0.0027227 | 0.00068238 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-44_0_5_load_40 | 69 | 0.0011648 | 0.00029193 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-44_0_5_load_44 | 70 | 0.0046209 | 0.0011581 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-44_0_5_load_45 | 71 | 0.0015879 | 0.00039796 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-44_0_5_load_47 | 72 | 0.0025839 | 0.00064758 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-44_0_5_load_48 | 73 | 0.0044735 | 0.0011212 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-44_0_5_load_51 | 74 | 0.0021683 | 0.00054343 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-44_0_5_load_73 | 75 | 0.0023423 | 0.00058703 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-44_0_5_load_97 | 76 | 0.0029838 | 0.0007478 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-44_0_5_load_68 | 77 | 0.0019809 | 0.00049645 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-44_0_5_load_58 | 79 | 0.0040783 | 0.0010221 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-44_0_5_load_59 | 80 | 0.0023598 | 0.00059141 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-44_0_5_load_116 | 81 | 0.0028835 | 0.00072267 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-44_0_5_load_142 | 82 | 0.0012471 | 0.00031256 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-44_0_5_load_114 | 83 | 0.0027939 | 0.00070021 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-44_0_5_load_147 | 85 | 0.013453 | 0.0033717 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-44_0_5_load_105 | 87 | 0.0048461 | 0.0012146 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-44_0_5_load_63 | 88 | 0.0023387 | 0.00058613 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-44_0_5_load_67 | 91 | 0.0011929 | 0.00029897 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4566-44_0_5_load_69 | 92 | 0.0013403 | 0.0003359 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4566-44_0_5_load_70 | 94 | 0.0021062 | 0.00052785 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4566-44_0_5_load_71 | 95 | 0.0024433 | 0.00061234 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4566-44_0_5_load_72 | 96 | 0.0011924 | 0.00029883 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4566-44_0_5_load_74 | 97 | 0.0013401 | 0.00033586 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4566-44_0_5_load_96 | 99 | 0.0021699 | 0.00054383 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4566-44_0_5_load_136 | 100 | 0.0013681 | 0.00034288 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4566-44_0_5_load_123 | 101 | 0.0011205 | 0.00028083 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4566-44_0_5_load_87 | 102 | 0.0017979 | 0.0004506 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4566-44_0_5_load_93 | 103 | 0.0021684 | 0.00054346 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4566-44_0_5_load_135 | 104 | 0.0020106 | 0.0005039 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4566-44_0_5_load_110 | 105 | 0.0012372 | 0.00031007 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4566-44_0_5_load_75 | 106 | 0.0018911 | 0.00047397 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4566-44_0_5_load_78 | 109 | 0.00097457 | 0.00024425 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4566-44_0_5_load_81 | 112 | 0.0018283 | 0.00045821 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4566-44_0_5_load_156 | 113 | 0.00092618 | 0.00023212 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4566-44_0_5_load_165 | 116 | 0.0017227 | 0.00043175 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4566-44_0_5_load_166 | 117 | 0.0024694 | 0.00061888 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4566-44_0_5_load_84 | 119 | 0.0028193 | 0.00070658 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4566-44_0_5_load_83 | 120 | 0.003291 | 0.00082481 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4566-44_0_5_load_85 | 121 | 0.0032341 | 0.00081055 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4566-44_0_5_load_133 | 122 | 0.0032443 | 0.0008131 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4566-44_0_5_load_121 | 124 | 0.0027851 | 0.00069802 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4566-44_0_5_load_90 | 125 | 0.0042081 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4566-44_0_5_load_91 | 126 | 0.0022767 | 0.0005706 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4566-44_0_5_load_95 | 128 | 0.0020391 | 0.00051105 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4566-44_0_5_load_99 | 129 | 0.0016587 | 0.00041572 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4566-44_0_5_load_100 | 130 | 0.0019599 | 0.00049121 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4566-44_0_5_load_101 | 131 | 0.0033966 | 0.00085126 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4566-44_0_5_load_102 | 132 | 0.0016198 | 0.00040597 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4566-44_0_5_load_103 | 133 | 0.0016997 | 0.00042598 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4566-44_0_5_load_104 | 134 | 0.002276 | 0.00057041 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4566-44_0_5_load_120 | 135 | 0.0030752 | 0.00077073 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4566-44_0_5_load_106 | 136 | 0.0026954 | 0.00067554 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4566-44_0_5_load_107 | 137 | 0.0035511 | 0.00088998 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4566-44_0_5_load_109 | 138 | 0.0026427 | 0.00066231 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4566-44_0_5_load_115 | 139 | 0.0041408 | 0.0010378 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4566-44_0_5_load_119 | 140 | 0.0010234 | 0.0002565 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4566-44_0_5_load_141 | 141 | 0.0015493 | 0.00038829 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4566-44_0_5_load_143 | 142 | 0.0014248 | 0.0003571 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4566-44_0_5_load_122 | 143 | 0.0014124 | 0.00035398 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4566-44_0_5_load_124 | 144 | 0.0011343 | 0.00028429 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4566-44_0_5_load_125 | 145 | 0.0011493 | 0.00028805 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4566-44_0_5_load_139 | 146 | 0.0016957 | 0.00042499 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4566-44_0_5_load_140 | 147 | 0.0023705 | 0.0005941 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4566-44_0_5_load_126 | 148 | 0.0029423 | 0.00073741 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4566-44_0_5_load_127 | 149 | 0.0031772 | 0.00079628 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4566-44_0_5_load_129 | 151 | 0.0030436 | 0.0007628 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4566-44_0_5_load_131 | 152 | 0.0037109 | 0.00093004 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4566-44_0_5_load_134 | 153 | 0.0019865 | 0.00049786 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4566-44_0_5_load_163 | 154 | 0.010478 | 0.002626 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4566-44_0_5_load_164 | 155 | 0.013996 | 0.0035076 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4566-44_0_5_load_160 | 157 | 0.0021216 | 0.00053172 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 104 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-44_0_5_line_0 |  | 0 | 1 | 0.035143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-44_0_5_line_1 |  | 1 | 2 | 0.025285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-44_0_5_line_2 |  | 2 | 3 | 0.003276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-44_0_5_line_3 |  | 2 | 4 | 0.020133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-44_0_5_line_4 |  | 2 | 5 | 0.010456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-44_0_5_line_5 |  | 3 | 9 | 0.025096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-44_0_5_line_6 |  | 4 | 10 | 0.010558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-44_0_5_line_7 |  | 5 | 11 | 0.018937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-44_0_5_line_8 |  | 5 | 12 | 0.002825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-44_0_5_line_9 |  | 6 | 7 | 0.037627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_4566-44_0_5_line_10 |  | 6 | 8 | 0.022514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4566-44_0_5_line_11 |  | 7 | 17 | 0.050948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_4566-44_0_5_line_12 |  | 8 | 18 | 0.028072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4566-44_0_5_line_13 |  | 9 | 16 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-44_0_5_line_14 |  | 11 | 23 | 0.015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-44_0_5_line_15 |  | 12 | 20 | 0.01153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-44_0_5_line_16 |  | 13 | 14 | 0.021132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-44_0_5_line_17 |  | 14 | 24 | 0.026929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-44_0_5_line_18 |  | 15 | 16 | 0.013958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-44_0_5_line_19 |  | 17 | 19 | 0.035834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4566-44_0_5_line_20 |  | 18 | 81 | 0.026244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4566-44_0_5_line_21 |  | 19 | 87 | 0.028529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-44_0_5_line_22 |  | 19 | 86 | 0.020784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4566-44_0_5_line_23 |  | 20 | 52 | 0.013278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-44_0_5_line_24 |  | 21 | 22 | 0.025666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-44_0_5_line_25 |  | 22 | 54 | 0.017383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_4566-44_0_5_line_26 |  | 22 | 55 | 0.003394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-44_0_5_line_27 |  | 22 | 24 | 0.015761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4566-44_0_5_line_28 |  | 23 | 38 | 0.020096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-44_0_5_line_29 |  | 24 | 79 | 0.003214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4566-44_0_5_line_30 |  | 24 | 80 | 0.0034562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-44_0_5_line_31 |  | 25 | 26 | 0.02021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-44_0_5_line_32 |  | 25 | 27 | 0.028007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-44_0_5_line_33 |  | 26 | 28 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-44_0_5_line_34 |  | 27 | 29 | 0.01127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-44_0_5_line_35 |  | 27 | 30 | 0.002192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-44_0_5_line_36 |  | 28 | 31 | 0.002958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-44_0_5_line_37 |  | 28 | 32 | 0.015179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-44_0_5_line_38 |  | 28 | 33 | 0.032891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-44_0_5_line_39 |  | 29 | 34 | 0.031076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-44_0_5_line_40 |  | 30 | 35 | 0.024429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-44_0_5_line_41 |  | 30 | 36 | 0.022257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-44_0_5_line_42 |  | 31 | 37 | 0.0081906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-44_0_5_line_43 |  | 31 | 38 | 0.016213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-44_0_5_line_44 |  | 32 | 39 | 0.024123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-44_0_5_line_45 |  | 33 | 40 | 0.002267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-44_0_5_line_46 |  | 34 | 44 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-44_0_5_line_47 |  | 35 | 45 | 0.021013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-44_0_5_line_48 |  | 36 | 46 | 0.00098687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-44_0_5_line_49 |  | 37 | 41 | 0.022347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-44_0_5_line_50 |  | 42 | 43 | 0.013021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-44_0_5_line_51 |  | 43 | 47 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_4566-44_0_5_line_52 |  | 43 | 45 | 0.005875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_4566-44_0_5_line_53 |  | 44 | 48 | 3.0905e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-44_0_5_line_54 |  | 45 | 49 | 0.037372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4566-44_0_5_line_55 |  | 45 | 50 | 0.00533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-44_0_5_line_56 |  | 46 | 51 | 0.031188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-44_0_5_line_57 |  | 47 | 140 | 0.015062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_4566-44_0_5_line_58 |  | 48 | 156 | 0.0094588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-44_0_5_line_59 |  | 49 | 75 | 0.00045687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_4566-44_0_5_line_60 |  | 49 | 72 | 0.017151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-44_0_5_line_61 |  | 50 | 105 | 0.0028752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-44_0_5_line_62 |  | 50 | 136 | 0.036063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-44_0_5_line_63 |  | 52 | 53 | 0.0071981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-44_0_5_line_64 |  | 54 | 82 | 0.021214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_4566-44_0_5_line_65 |  | 55 | 83 | 0.036984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-44_0_5_line_66 |  | 56 | 57 | 0.0017159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-44_0_5_line_67 |  | 56 | 58 | 0.020616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-44_0_5_line_68 |  | 57 | 59 | 0.012477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4566-44_0_5_line_69 |  | 58 | 60 | 0.0011573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-44_0_5_line_70 |  | 59 | 61 | 0.018273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4566-44_0_5_line_71 |  | 60 | 62 | 0.014811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-44_0_5_line_72 |  | 61 | 63 | 0.00094098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-44_0_5_line_73 |  | 62 | 64 | 0.015999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-44_0_5_line_74 |  | 62 | 65 | 0.074803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-44_0_5_line_75 |  | 63 | 66 | 0.01352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-44_0_5_line_76 |  | 64 | 67 | 0.0011364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-44_0_5_line_77 |  | 65 | 68 | 0.063731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-44_0_5_line_78 |  | 66 | 69 | 0.0061046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-44_0_5_line_79 |  | 67 | 157 | 0.0013973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-44_0_5_line_80 |  | 68 | 156 | 0.078807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-44_0_5_line_81 |  | 70 | 71 | 0.0032636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-44_0_5_line_82 |  | 71 | 72 | 0.028359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-44_0_5_line_83 |  | 73 | 74 | 0.028836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-44_0_5_line_84 |  | 74 | 76 | 0.0042516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-44_0_5_line_85 |  | 75 | 77 | 0.018371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_4566-44_0_5_line_86 |  | 76 | 78 | 0.011779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-44_0_5_line_87 |  | 77 | 90 | 0.008005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4566-44_0_5_line_88 |  | 78 | 127 | 0.031517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4566-44_0_5_line_89 |  | 79 | 81 | 0.024493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_4566-44_0_5_line_90 |  | 82 | 141 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_4566-44_0_5_line_91 |  | 83 | 139 | 0.005306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4566-44_0_5_line_92 |  | 84 | 85 | 0.02461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4566-44_0_5_line_93 |  | 84 | 86 | 0.003796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4566-44_0_5_line_94 |  | 85 | 154 | 0.027907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4566-44_0_5_line_95 |  | 86 | 151 | 0.036653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_4566-44_0_5_line_96 |  | 88 | 89 | 0.023369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_4566-44_0_5_line_97 |  | 88 | 90 | 0.0005293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_4566-44_0_5_line_98 |  | 89 | 91 | 0.010644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_4566-44_0_5_line_99 |  | 90 | 92 | 0.003739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4566-44_0_5_line_100 |  | 91 | 96 | 0.0085798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_4566-44_0_5_line_101 |  | 92 | 97 | 0.0045389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4566-44_0_5_line_102 |  | 93 | 94 | 0.023149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4566-44_0_5_line_103 |  | 93 | 95 | 0.013875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4566-44_0_5_line_104 |  | 94 | 98 | 0.0081246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4566-44_0_5_line_105 |  | 95 | 99 | 0.023989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4566-44_0_5_line_106 |  | 96 | 100 | 0.0094349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_4566-44_0_5_line_107 |  | 98 | 101 | 0.010987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4566-44_0_5_line_108 |  | 98 | 102 | 0.018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4566-44_0_5_line_109 |  | 99 | 103 | 0.002413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4566-44_0_5_line_110 |  | 100 | 104 | 0.022899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_4566-44_0_5_line_111 |  | 101 | 124 | 0.01025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4566-44_0_5_line_112 |  | 102 | 121 | 0.0091749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4566-44_0_5_line_113 |  | 103 | 126 | 0.010744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4566-44_0_5_line_114 |  | 104 | 135 | 0.011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4566-44_0_5_line_115 |  | 106 | 107 | 0.0076224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4566-44_0_5_line_116 |  | 106 | 108 | 0.031714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4566-44_0_5_line_117 |  | 107 | 109 | 0.018764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4566-44_0_5_line_118 |  | 107 | 110 | 0.033532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4566-44_0_5_line_119 |  | 108 | 111 | 0.070272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4566-44_0_5_line_120 |  | 109 | 112 | 0.014458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4566-44_0_5_line_121 |  | 110 | 113 | 0.007814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4566-44_0_5_line_122 |  | 111 | 114 | 0.02096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4566-44_0_5_line_123 |  | 112 | 115 | 0.025054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4566-44_0_5_line_124 |  | 114 | 116 | 0.063749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4566-44_0_5_line_125 |  | 115 | 118 | 0.024172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4566-44_0_5_line_126 |  | 115 | 119 | 0.018451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4566-44_0_5_line_127 |  | 116 | 117 | 0.00010029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4566-44_0_5_line_128 |  | 118 | 122 | 0.028127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4566-44_0_5_line_129 |  | 119 | 120 | 0.0062534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4566-44_0_5_line_130 |  | 122 | 123 | 0.0052112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4566-44_0_5_line_131 |  | 123 | 150 | 0.022957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4566-44_0_5_line_132 |  | 124 | 143 | 0.0098822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4566-44_0_5_line_133 |  | 125 | 126 | 0.010685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4566-44_0_5_line_134 |  | 125 | 127 | 0.015703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4566-44_0_5_line_135 |  | 127 | 128 | 0.0043444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4566-44_0_5_line_136 |  | 129 | 130 | 0.010432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4566-44_0_5_line_137 |  | 129 | 131 | 0.014576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4566-44_0_5_line_138 |  | 130 | 132 | 0.007171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4566-44_0_5_line_139 |  | 131 | 133 | 0.0026952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4566-44_0_5_line_140 |  | 132 | 134 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4566-44_0_5_line_141 |  | 134 | 135 | 0.0086404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4566-44_0_5_line_142 |  | 136 | 137 | 0.028441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4566-44_0_5_line_143 |  | 137 | 138 | 0.020394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4566-44_0_5_line_144 |  | 140 | 142 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
145 | LV_4566-44_0_5_line_145 |  | 141 | 142 | 0.021782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
146 | LV_4566-44_0_5_line_146 |  | 143 | 144 | 0.017047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4566-44_0_5_line_147 |  | 144 | 145 | 0.0052757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4566-44_0_5_line_148 |  | 145 | 146 | 0.018104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4566-44_0_5_line_149 |  | 146 | 147 | 0.021387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4566-44_0_5_line_150 |  | 147 | 153 | 0.02645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
151 | LV_4566-44_0_5_line_151 |  | 148 | 149 | 0.021471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
152 | LV_4566-44_0_5_line_152 |  | 148 | 150 | 0.044587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
153 | LV_4566-44_0_5_line_153 |  | 149 | 151 | 0.023597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
154 | LV_4566-44_0_5_line_154 |  | 150 | 152 | 0.019201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
155 | LV_4566-44_0_5_line_155 |  | 152 | 153 | 0.0019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
156 | LV_4566-44_0_5_line_156 |  | 154 | 155 | 0.032368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-44_0_5_trafo_135 | 0.63 MVA 20/0.4 kV | 158 | 104 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2710660.3959 | 1268648.7674 | 2710695.4551 | 1268646.3437
1 | 2710720.68 | 1268644.5999 | 2710695.4551 | 1268646.3437
2 | 2710720.68 | 1268644.5999 | 2710720.5306 | 1268641.3276
3 | 2710720.68 | 1268644.5999 | 2710721.1135 | 1268648.7784 | 2710723.9472 | 1268649.4098 | 2710726.0148 | 1268651.9508 | 2710726.8729 | 1268653.5571 | 2710727.1915 | 1268657.8446 | 2710726.9733 | 1268661.4709
4 | 2710720.68 | 1268644.5999 | 2710731.1421 | 1268643.8731
5 | 2710720.5306 | 1268641.3276 | 2710717.6376 | 1268641.4513 | 2710705.3752 | 1268642.2444 | 2710695.4826 | 1268642.875
6 | 2710726.3393 | 1268672.0098 | 2710726.9733 | 1268661.4709
7 | 2710731.1421 | 1268643.8731 | 2710750.0723 | 1268644.3708
8 | 2710731.4582 | 1268641.0655 | 2710731.1421 | 1268643.8731
9 | 2710617.3682 | 1268735.8894 | 2710619.6631 | 1268763.2563 | 2710619.3147 | 1268773.4142
10 | 2710617.3682 | 1268735.8894 | 2710620.1557 | 1268735.7637 | 2710620.3965 | 1268732.9546 | 2710621.6475 | 1268731.2766 | 2710622.9571 | 1268730.0778 | 2710626.3479 | 1268729.096 | 2710635.7812 | 1268727.9251
11 | 2710605.3067 | 1268822.3949 | 2710614.2442 | 1268792.1357 | 2710619.3147 | 1268773.4142
12 | 2710663.6404 | 1268724.4761 | 2710660.9876 | 1268724.7964 | 2710635.7812 | 1268727.9251
13 | 2710684.9196 | 1268643.5202 | 2710689.8722 | 1268643.2326 | 2710695.4826 | 1268642.875
14 | 2710750.0723 | 1268644.3708 | 2710765.7595 | 1268644.7832
15 | 2710731.4582 | 1268641.0655 | 2710732.8687 | 1268629.6225
16 | 2710686.7941 | 1268718.3787 | 2710665.8085 | 1268720.8599
17 | 2710713.5368 | 1268715.2168 | 2710686.7941 | 1268718.3787
18 | 2710670.9888 | 1268644.3844 | 2710675.5389 | 1268644.0649 | 2710684.9196 | 1268643.5202
19 | 2710640.5312 | 1268829.4384 | 2710630.2852 | 1268827.8896 | 2710605.3067 | 1268822.3949
20 | 2710663.6404 | 1268724.4761 | 2710689.6949 | 1268721.3308
21 | 2710640.5312 | 1268829.4384 | 2710652.5551 | 1268830.1086 | 2710665.797 | 1268828.8443 | 2710668.9146 | 1268828.1938
22 | 2710640.5312 | 1268829.4384 | 2710641.4118 | 1268833.058 | 2710642.3724 | 1268834.822 | 2710644.0953 | 1268836.4779 | 2710646.5363 | 1268837.9694 | 2710655.5402 | 1268841.9304
23 | 2710732.8687 | 1268629.6225 | 2710734.4931 | 1268616.444
24 | 2710729.1631 | 1268712.8631 | 2710728.5716 | 1268709.4824 | 2710728.293 | 1268706.6747 | 2710728.1886 | 1268703.014 | 2710728.9742 | 1268687.2834
25 | 2710729.1631 | 1268712.8631 | 2710741.1866 | 1268710.7533 | 2710746.2534 | 1268709.6967
26 | 2710729.8384 | 1268716.1898 | 2710729.1631 | 1268712.8631
27 | 2710713.5368 | 1268715.2168 | 2710719.4062 | 1268714.5262 | 2710729.1631 | 1268712.8631
28 | 2710785.8481 | 1268645.3113 | 2710765.7595 | 1268644.7832
29 | 2710713.5368 | 1268715.2168 | 2710714.0116 | 1268718.3952
30 | 2710713.5368 | 1268715.2168 | 2710713.248 | 1268712.1532 | 2710713.6251 | 1268712.1159
31 | 2710835.1567 | 1268643.6363 | 2710814.9535 | 1268643.113
32 | 2710862.5291 | 1268646.7615 | 2710862.0249 | 1268646.3517 | 2710858.9018 | 1268644.7027 | 2710855.6932 | 1268643.9975 | 2710841.0858 | 1268643.7899 | 2710835.1567 | 1268643.6363
33 | 2710802.0962 | 1268642.78 | 2710814.9535 | 1268643.113
34 | 2710862.5291 | 1268646.7615 | 2710864.4506 | 1268635.6567
35 | 2710864.0118 | 1268648.3796 | 2710862.5291 | 1268646.7615
36 | 2710802.0557 | 1268645.7374 | 2710802.0962 | 1268642.78
37 | 2710802.0962 | 1268642.78 | 2710786.9238 | 1268642.3347
38 | 2710802.0962 | 1268642.78 | 2710802.5514 | 1268609.8917
39 | 2710864.4506 | 1268635.6567 | 2710869.749 | 1268605.0356
40 | 2710864.0118 | 1268648.3796 | 2710866.2932 | 1268652.3592 | 2710866.1152 | 1268657.0266 | 2710864.9794 | 1268665.4016 | 2710864.1788 | 1268672.0733
41 | 2710864.0118 | 1268648.3796 | 2710870.5897 | 1268646.4458 | 2710885.8046 | 1268648.8326
42 | 2710802.0557 | 1268645.7374 | 2710810.2393 | 1268646.077
43 | 2710802.0557 | 1268645.7374 | 2710785.8481 | 1268645.3113
44 | 2710762.8095 | 1268641.6783 | 2710782.1286 | 1268642.194 | 2710786.9238 | 1268642.3347
45 | 2710802.5828 | 1268607.625 | 2710802.5514 | 1268609.8917
46 | 2710869.749 | 1268605.0356 | 2710872.4088 | 1268589.6635 | 2710872.6266 | 1268588.4887 | 2710872.6266 | 1268588.4887
47 | 2710861.3354 | 1268691.4894 | 2710864.217 | 1268689.1636 | 2710863.1398 | 1268684.7952 | 2710862.9089 | 1268682.6556 | 2710864.1788 | 1268672.0733
48 | 2710885.8046 | 1268648.8326 | 2710886.7796 | 1268648.9855
49 | 2710832.5672 | 1268647.0036 | 2710810.2393 | 1268646.077
50 | 2710858.6559 | 1268686.2568 | 2710860.3004 | 1268673.3404
51 | 2710858.6559 | 1268686.2568 | 2710841.573 | 1268689.8192
52 | 2710861.3354 | 1268691.4894 | 2710858.6559 | 1268686.2568
53 | 2710872.6266 | 1268588.4887 | 2710872.6452 | 1268588.464
54 | 2710878.7805 | 1268724.568 | 2710861.3354 | 1268691.4894
55 | 2710861.3354 | 1268691.4894 | 2710857.1848 | 1268694.8478
56 | 2710886.7796 | 1268648.9855 | 2710906.669 | 1268652.1056 | 2710917.2798 | 1268655.2105
57 | 2710841.573 | 1268689.8192 | 2710826.828 | 1268692.894
58 | 2710878.3246 | 1268580.9001 | 2710872.6452 | 1268588.464
59 | 2710878.3756 | 1268724.7797 | 2710878.7805 | 1268724.568
60 | 2710878.7805 | 1268724.568 | 2710894.0454 | 1268716.7483
61 | 2710857.1848 | 1268694.8478 | 2710859.2634 | 1268696.3993 | 2710859.4812 | 1268696.5776
62 | 2710857.1848 | 1268694.8478 | 2710854.0372 | 1268693.2985 | 2710851.291 | 1268692.8243 | 2710847.5511 | 1268692.7541 | 2710842.5184 | 1268693.3825 | 2710836.3 | 1268694.6114 | 2710821.9823 | 1268697.5539
63 | 2710735.3738 | 1268609.2999 | 2710734.4931 | 1268616.444
64 | 2710746.2534 | 1268709.6967 | 2710767.0202 | 1268705.3661
65 | 2710729.8384 | 1268716.1898 | 2710731.6839 | 1268725.3547 | 2710733.6477 | 1268729.4172 | 2710736.1415 | 1268731.7104 | 2710739.5129 | 1268732.9636 | 2710743.2154 | 1268733.0219 | 2710755.3002 | 1268730.0917
66 | 2710738.3241 | 1268543.1618 | 2710736.732 | 1268543.8018
67 | 2710738.3241 | 1268543.1618 | 2710742.6011 | 1268541.4426 | 2710755.4975 | 1268531.9619
68 | 2710725.1555 | 1268548.4551 | 2710725.1555 | 1268548.4551 | 2710736.732 | 1268543.8018
69 | 2710756.4299 | 1268531.2764 | 2710755.4975 | 1268531.9619
70 | 2710725.1555 | 1268548.4551 | 2710706.8863 | 1268548.8131 | 2710706.8863 | 1268548.8131
71 | 2710764.1527 | 1268519.8053 | 2710763.8899 | 1268524.5824 | 2710757.0276 | 1268530.837 | 2710756.4299 | 1268531.2764
72 | 2710706.8863 | 1268548.8131 | 2710705.964 | 1268548.6265
73 | 2710764.1527 | 1268519.8053 | 2710767.1615 | 1268519.9285 | 2710769.2577 | 1268518.9447 | 2710778.93 | 1268514.4349
74 | 2710764.1527 | 1268519.8053 | 2710764.3006 | 1268517.1391 | 2710754.3738 | 1268499.3486 | 2710778.8138 | 1268485.4723 | 2710788.6006 | 1268479.4283 | 2710798.416 | 1268472.2616
75 | 2710692.7125 | 1268545.9451 | 2710692.7125 | 1268545.9451 | 2710705.964 | 1268548.6265
76 | 2710779.9599 | 1268513.9547 | 2710778.93 | 1268514.4349
77 | 2710798.416 | 1268472.2616 | 2710841.1956 | 1268519.5009
78 | 2710689.246 | 1268540.9202 | 2710689.246 | 1268540.9202 | 2710692.7125 | 1268545.9451
79 | 2710781.2263 | 1268513.3642 | 2710779.9599 | 1268513.9547
80 | 2710878.3246 | 1268580.9001 | 2710881.7102 | 1268575.7925 | 2710883.7017 | 1268569.5577 | 2710882.4539 | 1268565.0526 | 2710878.7073 | 1268560.9231 | 2710841.1956 | 1268519.5009
81 | 2710922.1898 | 1268702.3309 | 2710919.2851 | 1268703.8188
82 | 2710894.0454 | 1268716.7483 | 2710919.2851 | 1268703.8188
83 | 2710964.3317 | 1268769.463 | 2710964.8959 | 1268766.2433 | 2710966.0757 | 1268757.5356 | 2710965.8092 | 1268747.6886 | 2710965.4982 | 1268740.7666
84 | 2710963.598 | 1268773.6508 | 2710964.3317 | 1268769.463
85 | 2710862.0953 | 1268733.2916 | 2710866.2368 | 1268731.1272 | 2710878.3756 | 1268724.7797
86 | 2710961.5652 | 1268785.253 | 2710963.598 | 1268773.6508
87 | 2710855.0007 | 1268736.9993 | 2710862.0953 | 1268733.2916
88 | 2710950.7486 | 1268814.8648 | 2710961.5652 | 1268785.253
89 | 2710714.0116 | 1268718.3952 | 2710689.6949 | 1268721.3308
90 | 2710786.9842 | 1268701.2029 | 2710767.0202 | 1268705.3661
91 | 2710760.4567 | 1268728.8414 | 2710755.3002 | 1268730.0917
92 | 2710655.2885 | 1268845.7179 | 2710654.8474 | 1268852.3821 | 2710659.9819 | 1268860.3742 | 2710667.5578 | 1268864.0753
93 | 2710655.5402 | 1268841.9304 | 2710655.2885 | 1268845.7179
94 | 2710667.5578 | 1268864.0753 | 2710673.2144 | 1268866.8388 | 2710693.6909 | 1268873.7489
95 | 2710655.5402 | 1268841.9304 | 2710690.1889 | 1268853.8846
96 | 2710833.8137 | 1268748.056 | 2710854.5315 | 1268737.2442
97 | 2710854.5315 | 1268737.2442 | 2710855.0007 | 1268736.9993
98 | 2710833.8137 | 1268748.056 | 2710824.3172 | 1268752.864
99 | 2710855.0007 | 1268736.9993 | 2710853.3094 | 1268733.6647 | 2710853.3094 | 1268733.6647
100 | 2710816.6625 | 1268756.7394 | 2710824.3172 | 1268752.864
101 | 2710853.3094 | 1268733.6647 | 2710857.3527 | 1268731.6024
102 | 2710879.8197 | 1268783.8617 | 2710874.277 | 1268806.3373
103 | 2710879.8197 | 1268783.8617 | 2710892.533 | 1268789.4187
104 | 2710872.3317 | 1268814.2256 | 2710874.277 | 1268806.3373
105 | 2710914.514 | 1268799.0266 | 2710892.533 | 1268789.4187
106 | 2710816.6625 | 1268756.7394 | 2710815.6198 | 1268757.2673 | 2710808.2682 | 1268761.0466
107 | 2710872.3317 | 1268814.2256 | 2710861.4477 | 1268812.7258
108 | 2710872.3317 | 1268814.2256 | 2710868.4466 | 1268832.3061
109 | 2710916.725 | 1268799.993 | 2710914.514 | 1268799.0266
110 | 2710808.2682 | 1268761.0466 | 2710787.9027 | 1268771.5158
111 | 2710851.2733 | 1268811.5629 | 2710853.6441 | 1268811.6505 | 2710861.4477 | 1268812.7258
112 | 2710866.5191 | 1268841.2762 | 2710868.4466 | 1268832.3061
113 | 2710916.725 | 1268799.993 | 2710926.5694 | 1268804.296
114 | 2710777.6667 | 1268776.7778 | 2710787.9027 | 1268771.5158
115 | 2710912.5033 | 1268904.5143 | 2710919.9342 | 1268906.212
116 | 2710950.0987 | 1268915.9301 | 2710930.7754 | 1268909.1503 | 2710922.9516 | 1268906.9014 | 2710919.9342 | 1268906.212
117 | 2710912.5033 | 1268904.5143 | 2710894.0362 | 1268901.1882
118 | 2710912.5033 | 1268904.5143 | 2710907.7442 | 1268924.6426 | 2710904.26 | 1268937.0103
119 | 2710950.0987 | 1268915.9301 | 2710986.3946 | 1268928.8009 | 2710990.8428 | 1268930.4303 | 2710994.3775 | 1268930.1965 | 2710997.7264 | 1268929.0362 | 2711000.6397 | 1268927.0225 | 2711002.9111 | 1268924.3183 | 2711004.7735 | 1268920.9503 | 2711007.8908 | 1268912.4904
120 | 2710879.8076 | 1268898.6255 | 2710894.0362 | 1268901.1882
121 | 2710904.26 | 1268937.0103 | 2710896.7338 | 1268934.9093
122 | 2711014.4004 | 1268892.5618 | 2711007.8908 | 1268912.4904
123 | 2710855.1504 | 1268894.1845 | 2710879.8076 | 1268898.6255
124 | 2711014.4004 | 1268892.5618 | 2710953.9281 | 1268872.386 | 2710953.9281 | 1268872.386
125 | 2710831.2859 | 1268889.9219 | 2710832.5912 | 1268890.1577 | 2710855.1504 | 1268894.1845
126 | 2710855.1504 | 1268894.1845 | 2710859.0267 | 1268876.1451
127 | 2710953.8962 | 1268872.4811 | 2710953.9281 | 1268872.386
128 | 2710831.2859 | 1268889.9219 | 2710803.5937 | 1268884.9923
129 | 2710859.0267 | 1268876.1451 | 2710860.3404 | 1268870.0313
130 | 2710798.4632 | 1268884.079 | 2710803.5937 | 1268884.9923
131 | 2710775.8409 | 1268879.7955 | 2710798.4632 | 1268884.079
132 | 2710851.2733 | 1268811.5629 | 2710841.3978 | 1268811.1981
133 | 2710936.3601 | 1268808.5755 | 2710926.5694 | 1268804.296
134 | 2710950.7486 | 1268814.8648 | 2710936.3601 | 1268808.5755
135 | 2710950.7486 | 1268814.8648 | 2710954.7266 | 1268816.6111
136 | 2710738.4509 | 1268796.9374 | 2710747.7289 | 1268792.1679
137 | 2710738.4509 | 1268796.9374 | 2710725.4873 | 1268803.6015
138 | 2710747.7289 | 1268792.1679 | 2710754.1065 | 1268788.8893
139 | 2710723.0903 | 1268804.8338 | 2710725.4873 | 1268803.6015
140 | 2710754.1065 | 1268788.8893 | 2710769.9822 | 1268780.7281
141 | 2710777.6667 | 1268776.7778 | 2710769.9822 | 1268780.7281
142 | 2710821.9823 | 1268697.5539 | 2710794.3523 | 1268703.2322 | 2710794.1236 | 1268703.2783
143 | 2710794.1236 | 1268703.2783 | 2710774.1307 | 1268707.301
144 | 2710826.828 | 1268692.894 | 2710808.3078 | 1268696.7561
145 | 2710786.9842 | 1268701.2029 | 2710808.3078 | 1268696.7561
146 | 2710841.3978 | 1268811.1981 | 2710841.3978 | 1268811.1981 | 2710832.01 | 1268812.4565 | 2710824.5702 | 1268813.8846
147 | 2710819.431 | 1268815.052 | 2710821.1917 | 1268814.5331 | 2710824.5702 | 1268813.8846
148 | 2710802.3512 | 1268820.9799 | 2710802.9577 | 1268820.6743 | 2710810.2994 | 1268817.7428 | 2710819.431 | 1268815.052
149 | 2710802.3512 | 1268820.9799 | 2710793.869 | 1268825.2524 | 2710788.1617 | 1268828.9375 | 2710785.2677 | 1268833.1313
150 | 2710785.2677 | 1268833.1313 | 2710785.2677 | 1268833.1313 | 2710784.2132 | 1268837.1818 | 2710779.9209 | 1268859.029
151 | 2710732.7199 | 1268868.7919 | 2710712.4677 | 1268861.6612
152 | 2710775.8409 | 1268879.7955 | 2710746.3221 | 1268873.5812 | 2710732.7199 | 1268868.7919
153 | 2710690.1889 | 1268853.8846 | 2710699.7489 | 1268857.1829 | 2710712.4677 | 1268861.6612
154 | 2710775.8409 | 1268879.7955 | 2710779.5425 | 1268860.9547
155 | 2710779.5425 | 1268860.9547 | 2710779.9209 | 1268859.029
156 | 2710693.6909 | 1268873.7489 | 2710724.3601 | 1268884.0986

## bus_geodata
| x | y | coords
0 | 2710660.3959 | 1268648.7674
1 | 2710695.4551 | 1268646.3437
2 | 2710720.68 | 1268644.5999
3 | 2710720.5306 | 1268641.3276
4 | 2710726.9733 | 1268661.4709
5 | 2710731.1421 | 1268643.8731
6 | 2710617.3682 | 1268735.8894
7 | 2710619.3147 | 1268773.4142
8 | 2710635.7812 | 1268727.9251
9 | 2710695.4826 | 1268642.875
10 | 2710726.3393 | 1268672.0098
11 | 2710750.0723 | 1268644.3708
12 | 2710731.4582 | 1268641.0655
13 | 2710665.8085 | 1268720.8599
14 | 2710686.7941 | 1268718.3787
15 | 2710670.9888 | 1268644.3844
16 | 2710684.9196 | 1268643.5202
17 | 2710605.3067 | 1268822.3949
18 | 2710663.6404 | 1268724.4761
19 | 2710640.5312 | 1268829.4384
20 | 2710732.8687 | 1268629.6225
21 | 2710728.9742 | 1268687.2834
22 | 2710729.1631 | 1268712.8631
23 | 2710765.7595 | 1268644.7832
24 | 2710713.5368 | 1268715.2168
25 | 2710835.1567 | 1268643.6363
26 | 2710814.9535 | 1268643.113
27 | 2710862.5291 | 1268646.7615
28 | 2710802.0962 | 1268642.78
29 | 2710864.4506 | 1268635.6567
30 | 2710864.0118 | 1268648.3796
31 | 2710802.0557 | 1268645.7374
32 | 2710786.9238 | 1268642.3347
33 | 2710802.5514 | 1268609.8917
34 | 2710869.749 | 1268605.0356
35 | 2710864.1788 | 1268672.0733
36 | 2710885.8046 | 1268648.8326
37 | 2710810.2393 | 1268646.077
38 | 2710785.8481 | 1268645.3113
39 | 2710762.8095 | 1268641.6783
40 | 2710802.5828 | 1268607.625
41 | 2710832.5672 | 1268647.0036
42 | 2710860.3004 | 1268673.3404
43 | 2710858.6559 | 1268686.2568
44 | 2710872.6266 | 1268588.4887
45 | 2710861.3354 | 1268691.4894
46 | 2710886.7796 | 1268648.9855
47 | 2710841.573 | 1268689.8192
48 | 2710872.6452 | 1268588.464
49 | 2710878.7805 | 1268724.568
50 | 2710857.1848 | 1268694.8478
51 | 2710917.2798 | 1268655.2105
52 | 2710734.4932 | 1268616.444
53 | 2710735.3738 | 1268609.2999
54 | 2710746.2534 | 1268709.6967
55 | 2710729.8384 | 1268716.1898
56 | 2710738.3241 | 1268543.1618
57 | 2710736.732 | 1268543.8018
58 | 2710755.4975 | 1268531.9619
59 | 2710725.1555 | 1268548.4551
60 | 2710756.4299 | 1268531.2764
61 | 2710706.8863 | 1268548.8131
62 | 2710764.1527 | 1268519.8053
63 | 2710705.964 | 1268548.6265
64 | 2710778.93 | 1268514.4349
65 | 2710798.416 | 1268472.2616
66 | 2710692.7125 | 1268545.9451
67 | 2710779.9599 | 1268513.9547
68 | 2710841.1956 | 1268519.5009
69 | 2710689.246 | 1268540.9202
70 | 2710922.1898 | 1268702.3309
71 | 2710919.2851 | 1268703.8188
72 | 2710894.0454 | 1268716.7483
73 | 2710965.4982 | 1268740.7666
74 | 2710964.3317 | 1268769.463
75 | 2710878.3756 | 1268724.7797
76 | 2710963.598 | 1268773.6508
77 | 2710862.0953 | 1268733.2916
78 | 2710961.5652 | 1268785.253
79 | 2710714.0116 | 1268718.3952
80 | 2710713.6251 | 1268712.1159
81 | 2710689.6949 | 1268721.3308
82 | 2710767.0202 | 1268705.3661
83 | 2710755.3002 | 1268730.0917
84 | 2710655.2885 | 1268845.7179
85 | 2710667.5578 | 1268864.0753
86 | 2710655.5402 | 1268841.9304
87 | 2710668.9146 | 1268828.1938
88 | 2710854.5315 | 1268737.2442
89 | 2710833.8137 | 1268748.056
90 | 2710855.0007 | 1268736.9993
91 | 2710824.3172 | 1268752.864
92 | 2710853.3094 | 1268733.6647
93 | 2710879.8197 | 1268783.8617
94 | 2710874.277 | 1268806.3373
95 | 2710892.533 | 1268789.4187
96 | 2710816.6625 | 1268756.7394
97 | 2710857.3527 | 1268731.6024
98 | 2710872.3317 | 1268814.2256
99 | 2710914.514 | 1268799.0266
100 | 2710808.2682 | 1268761.0466
101 | 2710861.4477 | 1268812.7258
102 | 2710868.4466 | 1268832.3061
103 | 2710916.725 | 1268799.993
104 | 2710787.9027 | 1268771.5158
105 | 2710859.4812 | 1268696.5776
106 | 2710919.9342 | 1268906.212
107 | 2710912.5033 | 1268904.5143
108 | 2710950.0987 | 1268915.9301
109 | 2710894.0362 | 1268901.1882
110 | 2710904.26 | 1268937.0103
111 | 2711007.8908 | 1268912.4904
112 | 2710879.8076 | 1268898.6255
113 | 2710896.7338 | 1268934.9093
114 | 2711014.4004 | 1268892.5618
115 | 2710855.1504 | 1268894.1845
116 | 2710953.9281 | 1268872.386
117 | 2710953.8962 | 1268872.4811
118 | 2710831.2858 | 1268889.9219
119 | 2710859.0267 | 1268876.1451
120 | 2710860.3404 | 1268870.0313
121 | 2710866.5191 | 1268841.2762
122 | 2710803.5937 | 1268884.9923
123 | 2710798.4632 | 1268884.079
124 | 2710851.2733 | 1268811.5629
125 | 2710936.3601 | 1268808.5755
126 | 2710926.5694 | 1268804.296
127 | 2710950.7486 | 1268814.8648
128 | 2710954.7266 | 1268816.6111
129 | 2710738.4509 | 1268796.9374
130 | 2710747.7289 | 1268792.1679
131 | 2710725.4873 | 1268803.6015
132 | 2710754.1065 | 1268788.8893
133 | 2710723.0903 | 1268804.8338
134 | 2710769.9822 | 1268780.7281
135 | 2710777.6667 | 1268776.7778
136 | 2710821.9823 | 1268697.5539
137 | 2710794.1236 | 1268703.2783
138 | 2710774.1307 | 1268707.301
139 | 2710760.4567 | 1268728.8414
140 | 2710826.828 | 1268692.894
141 | 2710786.9842 | 1268701.2029
142 | 2710808.3078 | 1268696.7561
143 | 2710841.3978 | 1268811.1981
144 | 2710824.5702 | 1268813.8846
145 | 2710819.431 | 1268815.052
146 | 2710802.3512 | 1268820.9799
147 | 2710785.2677 | 1268833.1313
148 | 2710732.7199 | 1268868.7919
149 | 2710712.4677 | 1268861.6612
150 | 2710775.8409 | 1268879.7955
151 | 2710690.1889 | 1268853.8846
152 | 2710779.5425 | 1268860.9547
153 | 2710779.9209 | 1268859.029
154 | 2710693.6909 | 1268873.7489
155 | 2710724.3601 | 1268884.0986
156 | 2710878.3246 | 1268580.9001
157 | 2710781.2263 | 1268513.3642
158 | 2710787.9027 | 1268771.5158

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1