## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-45_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-45_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4566-45_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4566-45_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4566-45_0_4_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_4566-45_0_4_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_4566-45_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_4566-45_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_4566-45_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_4566-45_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_4566-45_0_4_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_4566-45_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4566-45_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4566-45_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4566-45_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4566-45_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4566-45_0_4_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_4566-45_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_4566-45_0_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_4566-45_0_4_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_4566-45_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_4566-45_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_4566-45_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4566-45_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_4566-45_0_4_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_4566-45_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4566-45_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4566-45_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4566-45_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4566-45_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4566-45_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4566-45_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_4566-45_0_4_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_4566-45_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4566-45_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4566-45_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_4566-45_0_4_node_153 | 0.4 | n |  | TRUE
37 | bus_LV_4566-45_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_4566-45_0_4_node_154 | 0.4 | n |  | TRUE
39 | bus_LV_4566-45_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_4566-45_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4566-45_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4566-45_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_4566-45_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4566-45_0_4_node_139 | 0.4 | n |  | TRUE
45 | bus_LV_4566-45_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_4566-45_0_4_node_137 | 0.4 | n |  | TRUE
47 | bus_LV_4566-45_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_4566-45_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_4566-45_0_4_node_178 | 0.4 | n |  | TRUE
50 | bus_LV_4566-45_0_4_node_136 | 0.4 | n |  | TRUE
51 | bus_LV_4566-45_0_4_node_138 | 0.4 | n |  | TRUE
52 | bus_LV_4566-45_0_4_node_175 | 0.4 | n |  | TRUE
53 | bus_LV_4566-45_0_4_node_177 | 0.4 | n |  | TRUE
54 | bus_LV_4566-45_0_4_node_173 | 0.4 | n |  | TRUE
55 | bus_LV_4566-45_0_4_node_241 | 0.4 | n |  | TRUE
56 | bus_LV_4566-45_0_4_node_214 | 0.4 | n |  | TRUE
57 | bus_LV_4566-45_0_4_node_155 | 0.4 | n |  | TRUE
58 | bus_LV_4566-45_0_4_node_156 | 0.4 | n |  | TRUE
59 | bus_LV_4566-45_0_4_node_244 | 0.4 | n |  | TRUE
60 | bus_LV_4566-45_0_4_node_194 | 0.4 | n |  | TRUE
61 | bus_LV_4566-45_0_4_node_242 | 0.4 | n |  | TRUE
62 | bus_LV_4566-45_0_4_node_251 | 0.4 | n |  | TRUE
63 | bus_LV_4566-45_0_4_node_192 | 0.4 | n |  | TRUE
64 | bus_LV_4566-45_0_4_node_174 | 0.4 | n |  | TRUE
65 | bus_LV_4566-45_0_4_node_176 | 0.4 | n |  | TRUE
66 | bus_LV_4566-45_0_4_node_184 | 0.4 | n |  | TRUE
67 | bus_LV_4566-45_0_4_node_181 | 0.4 | n |  | TRUE
68 | bus_LV_4566-45_0_4_node_182 | 0.4 | n |  | TRUE
69 | bus_LV_4566-45_0_4_node_211 | 0.4 | n |  | TRUE
70 | bus_LV_4566-45_0_4_node_212 | 0.4 | n |  | TRUE
71 | bus_LV_4566-45_0_4_node_183 | 0.4 | n |  | TRUE
72 | bus_LV_4566-45_0_4_node_215 | 0.4 | n |  | TRUE
73 | bus_LV_4566-45_0_4_node_258 | 0.4 | n |  | TRUE
74 | bus_LV_4566-45_0_4_node_187 | 0.4 | n |  | TRUE
75 | bus_LV_4566-45_0_4_node_188 | 0.4 | n |  | TRUE
76 | bus_LV_4566-45_0_4_node_189 | 0.4 | n |  | TRUE
77 | bus_LV_4566-45_0_4_node_190 | 0.4 | n |  | TRUE
78 | bus_LV_4566-45_0_4_node_191 | 0.4 | n |  | TRUE
79 | bus_LV_4566-45_0_4_node_210 | 0.4 | n |  | TRUE
80 | bus_LV_4566-45_0_4_node_193 | 0.4 | n |  | TRUE
81 | bus_LV_4566-45_0_4_node_198 | 0.4 | n |  | TRUE
82 | bus_LV_4566-45_0_4_node_270 | 0.4 | n |  | TRUE
83 | bus_LV_4566-45_0_4_node_195 | 0.4 | n |  | TRUE
84 | bus_LV_4566-45_0_4_node_196 | 0.4 | n |  | TRUE
85 | bus_LV_4566-45_0_4_node_197 | 0.4 | n |  | TRUE
86 | bus_LV_4566-45_0_4_node_199 | 0.4 | n |  | TRUE
87 | bus_LV_4566-45_0_4_node_200 | 0.4 | n |  | TRUE
88 | bus_LV_4566-45_0_4_node_230 | 0.4 | n |  | TRUE
89 | bus_LV_4566-45_0_4_node_252 | 0.4 | n |  | TRUE
90 | bus_LV_4566-45_0_4_node_249 | 0.4 | n |  | TRUE
91 | bus_LV_4566-45_0_4_node_228 | 0.4 | n |  | TRUE
92 | bus_LV_4566-45_0_4_node_253 | 0.4 | n |  | TRUE
93 | bus_LV_4566-45_0_4_node_201 | 0.4 | n |  | TRUE
94 | bus_LV_4566-45_0_4_node_202 | 0.4 | n |  | TRUE
95 | bus_LV_4566-45_0_4_node_203 | 0.4 | n |  | TRUE
96 | bus_LV_4566-45_0_4_node_204 | 0.4 | n |  | TRUE
97 | bus_LV_4566-45_0_4_node_234 | 0.4 | n |  | TRUE
98 | bus_LV_4566-45_0_4_node_213 | 0.4 | n |  | TRUE
99 | bus_LV_4566-45_0_4_node_205 | 0.4 | n |  | TRUE
100 | bus_LV_4566-45_0_4_node_206 | 0.4 | n |  | TRUE
101 | bus_LV_4566-45_0_4_node_207 | 0.4 | n |  | TRUE
102 | bus_LV_4566-45_0_4_node_208 | 0.4 | n |  | TRUE
103 | bus_LV_4566-45_0_4_node_209 | 0.4 | n |  | TRUE
104 | bus_LV_4566-45_0_4_node_250 | 0.4 | n |  | TRUE
105 | bus_LV_4566-45_0_4_node_220 | 0.4 | n |  | TRUE
106 | bus_LV_4566-45_0_4_node_231 | 0.4 | n |  | TRUE
107 | bus_LV_4566-45_0_4_node_218 | 0.4 | n |  | TRUE
108 | bus_LV_4566-45_0_4_node_246 | 0.4 | n |  | TRUE
109 | bus_LV_4566-45_0_4_node_225 | 0.4 | n |  | TRUE
110 | bus_LV_4566-45_0_4_node_259 | 0.4 | n |  | TRUE
111 | bus_LV_4566-45_0_4_node_216 | 0.4 | n |  | TRUE
112 | bus_LV_4566-45_0_4_node_217 | 0.4 | n |  | TRUE
113 | bus_LV_4566-45_0_4_node_219 | 0.4 | n |  | TRUE
114 | bus_LV_4566-45_0_4_node_221 | 0.4 | n |  | TRUE
115 | bus_LV_4566-45_0_4_node_284 | 0.4 | n |  | TRUE
116 | bus_LV_4566-45_0_4_node_260 | 0.4 | n |  | TRUE
117 | bus_LV_4566-45_0_4_node_229 | 0.4 | n |  | TRUE
118 | bus_LV_4566-45_0_4_node_285 | 0.4 | n |  | TRUE
119 | bus_LV_4566-45_0_4_node_222 | 0.4 | n |  | TRUE
120 | bus_LV_4566-45_0_4_node_223 | 0.4 | n |  | TRUE
121 | bus_LV_4566-45_0_4_node_224 | 0.4 | n |  | TRUE
122 | bus_LV_4566-45_0_4_node_226 | 0.4 | n |  | TRUE
123 | bus_LV_4566-45_0_4_node_247 | 0.4 | n |  | TRUE
124 | bus_LV_4566-45_0_4_node_262 | 0.4 | n |  | TRUE
125 | bus_LV_4566-45_0_4_node_248 | 0.4 | n |  | TRUE
126 | bus_LV_4566-45_0_4_node_227 | 0.4 | n |  | TRUE
127 | bus_LV_4566-45_0_4_node_232 | 0.4 | n |  | TRUE
128 | bus_LV_4566-45_0_4_node_239 | 0.4 | n |  | TRUE
129 | bus_LV_4566-45_0_4_node_240 | 0.4 | n |  | TRUE
130 | bus_LV_4566-45_0_4_node_237 | 0.4 | n |  | TRUE
131 | bus_LV_4566-45_0_4_node_261 | 0.4 | n |  | TRUE
132 | bus_LV_4566-45_0_4_node_257 | 0.4 | n |  | TRUE
133 | bus_LV_4566-45_0_4_node_254 | 0.4 | n |  | TRUE
134 | bus_LV_4566-45_0_4_node_238 | 0.4 | n |  | TRUE
135 | bus_LV_4566-45_0_4_node_233 | 0.4 | n |  | TRUE
136 | bus_LV_4566-45_0_4_node_235 | 0.4 | n |  | TRUE
137 | bus_LV_4566-45_0_4_node_236 | 0.4 | n |  | TRUE
138 | bus_LV_4566-45_0_4_node_255 | 0.4 | n |  | TRUE
139 | bus_LV_4566-45_0_4_node_243 | 0.4 | n |  | TRUE
140 | bus_LV_4566-45_0_4_node_245 | 0.4 | n |  | TRUE
141 | bus_LV_4566-45_0_4_node_271 | 0.4 | n |  | TRUE
142 | bus_LV_4566-45_0_4_node_263 | 0.4 | n |  | TRUE
143 | bus_LV_4566-45_0_4_node_264 | 0.4 | n |  | TRUE
144 | bus_LV_4566-45_0_4_node_265 | 0.4 | n |  | TRUE
145 | bus_LV_4566-45_0_4_node_266 | 0.4 | n |  | TRUE
146 | bus_LV_4566-45_0_4_node_268 | 0.4 | n |  | TRUE
147 | bus_LV_4566-45_0_4_node_269 | 0.4 | n |  | TRUE
148 | bus_LV_4566-45_0_4_node_272 | 0.4 | n |  | TRUE
149 | bus_LV_4566-45_0_4_node_277 | 0.4 | n |  | TRUE
150 | bus_LV_4566-45_0_4_node_278 | 0.4 | n |  | TRUE
151 | bus_LV_4566-45_0_4_node_275 | 0.4 | n |  | TRUE
152 | bus_LV_4566-45_0_4_node_274 | 0.4 | n |  | TRUE
153 | bus_MV_374_1_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-45_0_4_load_0 | 0 | 0.0015982 | 0.00040055 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-45_0_4_load_4 | 3 | 0.0029798 | 0.00074682 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-45_0_4_load_37 | 5 | 0.0049919 | 0.0012511 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-45_0_4_load_44 | 6 | 0.002523 | 0.00063233 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-45_0_4_load_27 | 8 | 0.0013255 | 0.00033221 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-45_0_4_load_26 | 9 | 0.0013573 | 0.00034018 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-45_0_4_load_38 | 10 | 0.0029813 | 0.00074719 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-45_0_4_load_5 | 11 | 0.0025823 | 0.00064719 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-45_0_4_load_6 | 12 | 0.0012489 | 0.000313 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-45_0_4_load_7 | 13 | 0.0013282 | 0.00033289 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-45_0_4_load_8 | 14 | 0.0028574 | 0.00071614 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-45_0_4_load_9 | 15 | 0.0009179 | 0.00023005 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-45_0_4_load_43 | 18 | 0.0029833 | 0.00074769 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-45_0_4_load_21 | 20 | 0.0023168 | 0.00058064 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-45_0_4_load_10 | 21 | 0.0040045 | 0.0010036 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-45_0_4_load_13 | 22 | 0.0016329 | 0.00040925 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-45_0_4_load_33 | 23 | 0.0009703 | 0.00024318 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-45_0_4_load_15 | 25 | 0.0033793 | 0.00084692 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-45_0_4_load_16 | 26 | 0.0027946 | 0.0007004 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-45_0_4_load_18 | 28 | 0.00092706 | 0.00023234 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-45_0_4_load_19 | 29 | 0.0034524 | 0.00086525 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-45_0_4_load_20 | 30 | 0.00092874 | 0.00023276 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-45_0_4_load_41 | 31 | 0.00092706 | 0.00023234 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-45_0_4_load_40 | 32 | 0.0033326 | 0.00083523 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-45_0_4_load_25 | 35 | 0.0018746 | 0.00046981 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-45_0_4_load_153 | 36 | 0.0043215 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-45_0_4_load_35 | 37 | 0.0013255 | 0.00033221 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-45_0_4_load_34 | 39 | 0.0012124 | 0.00030385 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-45_0_4_load_29 | 41 | 0.0012114 | 0.00030362 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-45_0_4_load_30 | 42 | 0.0040089 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-45_0_4_load_31 | 43 | 0.0013248 | 0.00033203 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-45_0_4_load_139 | 44 | 0.002421 | 0.00060675 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-45_0_4_load_32 | 45 | 0.0023131 | 0.00057972 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-45_0_4_load_137 | 46 | 0.0038514 | 0.00096526 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-45_0_4_load_39 | 47 | 0.010162 | 0.0025468 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-45_0_4_load_46 | 48 | 0.0022154 | 0.00055522 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-45_0_4_load_178 | 49 | 0.0061393 | 0.0015386 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-45_0_4_load_136 | 50 | 0.0020223 | 0.00050684 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-45_0_4_load_138 | 51 | 0.010416 | 0.0026104 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-45_0_4_load_177 | 53 | 0.0023881 | 0.00059853 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-45_0_4_load_173 | 54 | 0.0032508 | 0.00081473 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-45_0_4_load_241 | 55 | 0.0019634 | 0.00049208 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-45_0_4_load_214 | 56 | 0.0026968 | 0.00067588 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-45_0_4_load_155 | 57 | 0.0011634 | 0.00029159 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-45_0_4_load_156 | 58 | 0.001418 | 0.00035538 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-45_0_4_load_244 | 59 | 0.0012672 | 0.0003176 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-45_0_4_load_242 | 61 | 0.0013676 | 0.00034276 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-45_0_4_load_174 | 64 | 0.0025006 | 0.0006267 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-45_0_4_load_184 | 66 | 0.004267 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-45_0_4_load_181 | 67 | 0.0032543 | 0.00081559 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-45_0_4_load_182 | 68 | 0.0016346 | 0.00040967 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-45_0_4_load_211 | 69 | 0.0035467 | 0.0008889 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-45_0_4_load_183 | 71 | 0.0019259 | 0.00048268 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-45_0_4_load_215 | 72 | 0.0027958 | 0.00070071 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-45_0_4_load_258 | 73 | 0.0027582 | 0.00069127 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-45_0_4_load_187 | 74 | 0.0025562 | 0.00064065 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-45_0_4_load_188 | 75 | 0.0024181 | 0.00060604 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-45_0_4_load_189 | 76 | 0.0011024 | 0.0002763 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-45_0_4_load_190 | 77 | 0.0024732 | 0.00061985 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-45_0_4_load_191 | 78 | 0.0029125 | 0.00072995 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-45_0_4_load_210 | 79 | 0.0026025 | 0.00065224 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-45_0_4_load_198 | 81 | 0.00094561 | 0.00023699 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-45_0_4_load_270 | 82 | 0.0008829 | 0.00022127 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-45_0_4_load_195 | 83 | 0.0005863 | 0.00014694 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-45_0_4_load_196 | 84 | 0.001623 | 0.00040675 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-45_0_4_load_199 | 86 | 0.0019091 | 0.00047846 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-45_0_4_load_200 | 87 | 0.0032778 | 0.00082148 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4566-45_0_4_load_252 | 89 | 0.0024183 | 0.00060609 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4566-45_0_4_load_249 | 90 | 0.0011337 | 0.00028413 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4566-45_0_4_load_228 | 91 | 0.0041443 | 0.0010387 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4566-45_0_4_load_253 | 92 | 0.0026059 | 0.00065311 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4566-45_0_4_load_201 | 93 | 0.0025678 | 0.00064355 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4566-45_0_4_load_202 | 94 | 0.0026753 | 0.0006705 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4566-45_0_4_load_203 | 95 | 0.0025147 | 0.00063025 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4566-45_0_4_load_204 | 96 | 0.0021943 | 0.00054994 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4566-45_0_4_load_234 | 97 | 0.0036927 | 0.00092548 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4566-45_0_4_load_213 | 98 | 0.0015515 | 0.00038884 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4566-45_0_4_load_205 | 99 | 0.0015461 | 0.00038749 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4566-45_0_4_load_206 | 100 | 0.0019383 | 0.00048579 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4566-45_0_4_load_207 | 101 | 0.0016125 | 0.00040413 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4566-45_0_4_load_208 | 102 | 0.0022849 | 0.00057265 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4566-45_0_4_load_209 | 103 | 0.00065203 | 0.00016341 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4566-45_0_4_load_250 | 104 | 0.00050777 | 0.00012726 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4566-45_0_4_load_246 | 108 | 0.0030296 | 0.0007593 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4566-45_0_4_load_259 | 110 | 0.0030832 | 0.00077272 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4566-45_0_4_load_216 | 111 | 0.00065066 | 0.00016307 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4566-45_0_4_load_217 | 112 | 0.0010972 | 0.000275 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4566-45_0_4_load_219 | 113 | 0.00055846 | 0.00013996 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4566-45_0_4_load_221 | 114 | 0.0007863 | 0.00019707 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4566-45_0_4_load_284 | 115 | 0.00095032 | 0.00023817 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4566-45_0_4_load_260 | 116 | 0.0010431 | 0.00026142 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4566-45_0_4_load_285 | 118 | 0.0013602 | 0.00034089 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4566-45_0_4_load_222 | 119 | 0.0029093 | 0.00072913 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4566-45_0_4_load_223 | 120 | 0.0021874 | 0.00054823 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4566-45_0_4_load_224 | 121 | 0.0029992 | 0.00075168 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4566-45_0_4_load_226 | 122 | 0.0033007 | 0.00082724 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4566-45_0_4_load_247 | 123 | 0.003125 | 0.00078319 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4566-45_0_4_load_262 | 124 | 0.0015306 | 0.00038361 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4566-45_0_4_load_248 | 125 | 0.002374 | 0.00059498 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4566-45_0_4_load_227 | 126 | 0.002866 | 0.00071828 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4566-45_0_4_load_240 | 129 | 0.00059861 | 0.00015003 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4566-45_0_4_load_237 | 130 | 0.0010166 | 0.00025478 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4566-45_0_4_load_261 | 131 | 0.0017191 | 0.00043085 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4566-45_0_4_load_257 | 132 | 0.002001 | 0.00050149 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4566-45_0_4_load_254 | 133 | 0.0021107 | 0.000529 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4566-45_0_4_load_238 | 134 | 0.0017173 | 0.00043041 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4566-45_0_4_load_233 | 135 | 0.0047577 | 0.0011924 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4566-45_0_4_load_235 | 136 | 0.0022133 | 0.00055471 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4566-45_0_4_load_236 | 137 | 0.0036232 | 0.00090806 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4566-45_0_4_load_255 | 138 | 0.001172 | 0.00029372 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4566-45_0_4_load_243 | 139 | 0.0021641 | 0.00054236 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4566-45_0_4_load_245 | 140 | 0.001723 | 0.00043182 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4566-45_0_4_load_271 | 141 | 0.0045864 | 0.0011495 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4566-45_0_4_load_263 | 142 | 0.00043503 | 0.00010903 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4566-45_0_4_load_264 | 143 | 0.0012594 | 0.00031563 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4566-45_0_4_load_266 | 145 | 0.0025104 | 0.00062916 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4566-45_0_4_load_268 | 146 | 0.0010915 | 0.00027356 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4566-45_0_4_load_269 | 147 | 0.0041413 | 0.0010379 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4566-45_0_4_load_278 | 150 | 0.012348 | 0.0030948 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4566-45_0_4_load_275 | 151 | 0.00046056 | 0.00011543 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4566-45_0_4_load_274 | 152 | 0.0037696 | 0.00094475 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-45_0_4_line_0 |  | 0 | 1 | 0.016804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-45_0_4_line_1 |  | 1 | 2 | 0.013252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-45_0_4_line_2 |  | 1 | 3 | 0.02672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-45_0_4_line_3 |  | 2 | 4 | 0.004964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-45_0_4_line_4 |  | 3 | 5 | 0.01304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-45_0_4_line_5 |  | 4 | 6 | 0.041231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-45_0_4_line_6 |  | 4 | 7 | 0.020908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-45_0_4_line_7 |  | 5 | 10 | 0.0065241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-45_0_4_line_8 |  | 6 | 24 | 0.028835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-45_0_4_line_9 |  | 7 | 22 | 0.011656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-45_0_4_line_10 |  | 7 | 21 | 0.03914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-45_0_4_line_11 |  | 8 | 9 | 0.00014638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-45_0_4_line_12 |  | 9 | 40 | 0.02289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-45_0_4_line_13 |  | 10 | 47 | 0.019572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-45_0_4_line_14 |  | 11 | 12 | 0.010221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-45_0_4_line_15 |  | 11 | 13 | 0.0010177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-45_0_4_line_16 |  | 12 | 14 | 0.015545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-45_0_4_line_17 |  | 13 | 15 | 0.017884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-45_0_4_line_18 |  | 14 | 16 | 0.042908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-45_0_4_line_19 |  | 15 | 17 | 0.042299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-45_0_4_line_20 |  | 16 | 18 | 0.036711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-45_0_4_line_21 |  | 16 | 19 | 0.031517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-45_0_4_line_22 |  | 17 | 20 | 0.020002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-45_0_4_line_23 |  | 18 | 47 | 0.0018204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-45_0_4_line_24 |  | 19 | 32 | 0.024619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-45_0_4_line_25 |  | 20 | 33 | 0.0070603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-45_0_4_line_26 |  | 22 | 23 | 0.0015699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-45_0_4_line_27 |  | 24 | 48 | 0.010914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-45_0_4_line_28 |  | 25 | 26 | 0.020013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-45_0_4_line_29 |  | 25 | 27 | 0.010476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-45_0_4_line_30 |  | 26 | 28 | 0.0036266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-45_0_4_line_31 |  | 27 | 29 | 0.014152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-45_0_4_line_32 |  | 28 | 30 | 2.4021e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-45_0_4_line_33 |  | 30 | 31 | 2.4014e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-45_0_4_line_34 |  | 31 | 32 | 0.031282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-45_0_4_line_35 |  | 33 | 34 | 0.021224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-45_0_4_line_36 |  | 33 | 35 | 0.023203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-45_0_4_line_37 |  | 34 | 36 | 0.020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-45_0_4_line_38 |  | 35 | 37 | 0.0092175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-45_0_4_line_39 |  | 36 | 38 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_4566-45_0_4_line_40 |  | 37 | 39 | 0.015247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-45_0_4_line_41 |  | 38 | 57 | 0.022605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4566-45_0_4_line_42 |  | 38 | 58 | 0.029667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4566-45_0_4_line_43 |  | 39 | 45 | 0.017394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-45_0_4_line_44 |  | 40 | 41 | 0.0056927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-45_0_4_line_45 |  | 40 | 42 | 0.021066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-45_0_4_line_46 |  | 41 | 43 | 0.013631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-45_0_4_line_47 |  | 42 | 44 | 0.00038127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-45_0_4_line_48 |  | 43 | 45 | 0.0072707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-45_0_4_line_49 |  | 44 | 46 | 0.029384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-45_0_4_line_50 |  | 46 | 50 | 0.0089336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-45_0_4_line_51 |  | 48 | 49 | 0.030161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-45_0_4_line_52 |  | 50 | 51 | 0.012016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-45_0_4_line_53 |  | 52 | 53 | 0.029449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4566-45_0_4_line_54 |  | 52 | 54 | 0.020557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4566-45_0_4_line_55 |  | 53 | 55 | 0.050126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4566-45_0_4_line_56 |  | 54 | 64 | 0.022561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4566-45_0_4_line_57 |  | 55 | 56 | 0.00094214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4566-45_0_4_line_58 |  | 56 | 98 | 0.020118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4566-45_0_4_line_59 |  | 57 | 59 | 0.0085462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4566-45_0_4_line_60 |  | 58 | 60 | 0.041226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4566-45_0_4_line_61 |  | 59 | 61 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4566-45_0_4_line_62 |  | 60 | 62 | 0.012635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-45_0_4_line_63 |  | 60 | 63 | 0.007477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4566-45_0_4_line_64 |  | 61 | 139 | 0.0043407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4566-45_0_4_line_65 |  | 62 | 82 | 0.024618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-45_0_4_line_66 |  | 63 | 80 | 0.00571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-45_0_4_line_67 |  | 63 | 78 | 0.02337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4566-45_0_4_line_68 |  | 64 | 65 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4566-45_0_4_line_69 |  | 65 | 66 | 0.035283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-45_0_4_line_70 |  | 65 | 67 | 0.015724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4566-45_0_4_line_71 |  | 67 | 68 | 0.014006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4566-45_0_4_line_72 |  | 68 | 71 | 0.015454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4566-45_0_4_line_73 |  | 69 | 70 | 0.013484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-45_0_4_line_74 |  | 70 | 108 | 0.023106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-45_0_4_line_75 |  | 70 | 79 | 0.021332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-45_0_4_line_76 |  | 71 | 72 | 0.0037185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_4566-45_0_4_line_77 |  | 72 | 73 | 0.01367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_4566-45_0_4_line_78 |  | 73 | 110 | 0.00088661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_4566-45_0_4_line_79 |  | 74 | 75 | 0.0014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-45_0_4_line_80 |  | 74 | 76 | 0.026236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4566-45_0_4_line_81 |  | 75 | 77 | 0.031397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-45_0_4_line_82 |  | 76 | 78 | 0.0053779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_4566-45_0_4_line_83 |  | 77 | 79 | 0.0073576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-45_0_4_line_84 |  | 80 | 81 | 0.012757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-45_0_4_line_85 |  | 82 | 141 | 0.021405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-45_0_4_line_86 |  | 83 | 84 | 0.034778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-45_0_4_line_87 |  | 83 | 85 | 0.01449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4566-45_0_4_line_88 |  | 85 | 86 | 0.027321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4566-45_0_4_line_89 |  | 85 | 87 | 0.037301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4566-45_0_4_line_90 |  | 86 | 88 | 0.0078399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4566-45_0_4_line_91 |  | 87 | 89 | 0.025184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4566-45_0_4_line_92 |  | 88 | 90 | 0.007988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4566-45_0_4_line_93 |  | 88 | 91 | 0.024984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4566-45_0_4_line_94 |  | 89 | 92 | 0.0033382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4566-45_0_4_line_95 |  | 90 | 104 | 0.010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4566-45_0_4_line_96 |  | 92 | 137 | 0.021466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_4566-45_0_4_line_97 |  | 93 | 94 | 0.034356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_4566-45_0_4_line_98 |  | 93 | 95 | 0.00076379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_4566-45_0_4_line_99 |  | 94 | 96 | 0.010531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_4566-45_0_4_line_100 |  | 95 | 97 | 0.048242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_4566-45_0_4_line_101 |  | 96 | 98 | 0.0029754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_4566-45_0_4_line_102 |  | 97 | 137 | 0.020667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_4566-45_0_4_line_103 |  | 97 | 135 | 0.028589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4566-45_0_4_line_104 |  | 99 | 100 | 0.01077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4566-45_0_4_line_105 |  | 99 | 101 | 0.012551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4566-45_0_4_line_106 |  | 100 | 102 | 0.010612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4566-45_0_4_line_107 |  | 101 | 103 | 0.012574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4566-45_0_4_line_108 |  | 102 | 104 | 0.017235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4566-45_0_4_line_109 |  | 103 | 105 | 0.0084006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4566-45_0_4_line_110 |  | 105 | 106 | 0.041141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4566-45_0_4_line_111 |  | 105 | 107 | 0.019317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4566-45_0_4_line_112 |  | 106 | 116 | 0.015951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4566-45_0_4_line_113 |  | 106 | 117 | 0.04697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4566-45_0_4_line_114 |  | 107 | 114 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4566-45_0_4_line_115 |  | 107 | 111 | 0.024481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4566-45_0_4_line_116 |  | 108 | 109 | 0.032628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4566-45_0_4_line_117 |  | 109 | 123 | 0.0082287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4566-45_0_4_line_118 |  | 109 | 120 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4566-45_0_4_line_119 |  | 110 | 140 | 0.010228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
120 | LV_4566-45_0_4_line_120 |  | 111 | 112 | 0.00055004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4566-45_0_4_line_121 |  | 112 | 113 | 0.011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4566-45_0_4_line_122 |  | 114 | 115 | 0.00025774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4566-45_0_4_line_123 |  | 115 | 118 | 0.0017439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4566-45_0_4_line_124 |  | 116 | 131 | 0.010053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4566-45_0_4_line_125 |  | 117 | 126 | 0.036059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4566-45_0_4_line_126 |  | 119 | 120 | 0.008134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4566-45_0_4_line_127 |  | 119 | 121 | 0.025189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4566-45_0_4_line_128 |  | 121 | 122 | 0.00021128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4566-45_0_4_line_129 |  | 122 | 124 | 0.0043366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4566-45_0_4_line_130 |  | 123 | 125 | 0.0084264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4566-45_0_4_line_131 |  | 127 | 128 | 0.028944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4566-45_0_4_line_132 |  | 127 | 129 | 0.042146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4566-45_0_4_line_133 |  | 127 | 130 | 0.024584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4566-45_0_4_line_134 |  | 128 | 132 | 0.0067821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4566-45_0_4_line_135 |  | 128 | 133 | 0.01959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4566-45_0_4_line_136 |  | 130 | 134 | 0.025776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4566-45_0_4_line_137 |  | 131 | 132 | 0.023628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4566-45_0_4_line_138 |  | 133 | 138 | 0.022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4566-45_0_4_line_139 |  | 135 | 136 | 0.00071591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4566-45_0_4_line_140 |  | 139 | 140 | 0.012389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
141 | LV_4566-45_0_4_line_141 |  | 141 | 148 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4566-45_0_4_line_142 |  | 142 | 143 | 0.027648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4566-45_0_4_line_143 |  | 142 | 144 | 0.007971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4566-45_0_4_line_144 |  | 143 | 145 | 0.031062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4566-45_0_4_line_145 |  | 144 | 146 | 0.030737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4566-45_0_4_line_146 |  | 145 | 147 | 0.036208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4566-45_0_4_line_147 |  | 147 | 148 | 0.03309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4566-45_0_4_line_148 |  | 148 | 149 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4566-45_0_4_line_149 |  | 149 | 150 | 0.0039596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4566-45_0_4_line_150 |  | 149 | 151 | 0.012778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4566-45_0_4_line_151 |  | 151 | 152 | 0.014477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-45_0_4_trafo_187 | 0.63 MVA 20/0.4 kV | 153 | 74 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2710963.0053 | 1268681.8004 | 2710947.9932 | 1268689.3506
1 | 2710963.0053 | 1268681.8004 | 2710965.5882 | 1268680.5478 | 2710970.5041 | 1268678.5273 | 2710975.2873 | 1268676.76
2 | 2710963.0053 | 1268681.8004 | 2710965.4461 | 1268688.5077 | 2710965.6757 | 1268691.915 | 2710964.0259 | 1268707.9981
3 | 2710974.3099 | 1268671.8929 | 2710975.2873 | 1268676.76
4 | 2710964.6112 | 1268721.0252 | 2710964.0259 | 1268707.9981 | 2710964.0259 | 1268707.9981
5 | 2710974.3099 | 1268671.8929 | 2710973.4603 | 1268663.0247 | 2710977.3315 | 1268650.909 | 2710983.6863 | 1268632.3647
6 | 2710974.3099 | 1268671.8929 | 2710954.186 | 1268666.0098
7 | 2710964.6112 | 1268721.0252 | 2710964.904 | 1268727.5427
8 | 2710996.902 | 1268606.9492 | 2710993.8524 | 1268610.9955 | 2710991.3499 | 1268614.774 | 2710986.4191 | 1268624.3898 | 2710983.6863 | 1268632.3647
9 | 2710954.186 | 1268666.0098 | 2710957.3982 | 1268662.5227 | 2710960.8825 | 1268656.5501
10 | 2710954.186 | 1268666.0098 | 2710916.6214 | 1268655.0178
11 | 2711031.83 | 1268674.2801 | 2711031.685 | 1268674.2603
12 | 2711053.5832 | 1268681.1348 | 2711043.872 | 1268677.1599 | 2711034.3445 | 1268674.6231 | 2711031.83 | 1268674.2801
13 | 2710964.904 | 1268727.5427 | 2710965.7825 | 1268747.0954
14 | 2711029.8503 | 1268780.8531 | 2711019.6821 | 1268779.8177 | 2711019.6821 | 1268779.8177
15 | 2711029.8503 | 1268780.8531 | 2711030.8628 | 1268780.9562
16 | 2711019.6821 | 1268779.8177 | 2711006.2111 | 1268780.4429 | 2711004.1636 | 1268780.6683
17 | 2711048.6549 | 1268782.7679 | 2711030.8628 | 1268780.9562
18 | 2710961.5652 | 1268785.253 | 2710968.1269 | 1268785.3763 | 2710996.2013 | 1268781.5447 | 2711004.1636 | 1268780.6683
19 | 2711090.3215 | 1268782.1696 | 2711085.0308 | 1268784.1052 | 2711079.2243 | 1268785.4528 | 2711074.7385 | 1268785.424 | 2711048.6549 | 1268782.7679
20 | 2710961.5652 | 1268785.253 | 2710964.8959 | 1268766.2433 | 2710966.0757 | 1268757.5356 | 2710965.8424 | 1268748.9148
21 | 2710950.7486 | 1268814.8648 | 2710961.5652 | 1268785.253
22 | 2711090.3215 | 1268782.1696 | 2711091.9717 | 1268762.2361
23 | 2710965.8424 | 1268748.9148 | 2710965.8092 | 1268747.6886 | 2710965.7825 | 1268747.0954
24 | 2710950.7486 | 1268814.8648 | 2710973.2915 | 1268824.761
25 | 2711096.6386 | 1268757.6891 | 2711092.114 | 1268760.5177 | 2711091.9717 | 1268762.2361
26 | 2710960.8825 | 1268656.5501 | 2710960.8828 | 1268656.5495 | 2710962.4394 | 1268656.7485
27 | 2710996.902 | 1268606.9492 | 2711003.1171 | 1268601.4945 | 2711005.2462 | 1268599.9251
28 | 2711023.6245 | 1268846.857 | 2711005.2998 | 1268838.8125
29 | 2711033.2164 | 1268851.0679 | 2711023.6245 | 1268846.857
30 | 2711001.9791 | 1268837.3548 | 2711005.2998 | 1268838.8125
31 | 2711033.2164 | 1268851.0679 | 2711046.1525 | 1268856.8064
32 | 2711001.9571 | 1268837.3451 | 2711001.9791 | 1268837.3548
33 | 2711001.9351 | 1268837.3355 | 2711001.9571 | 1268837.3451
34 | 2710973.2915 | 1268824.761 | 2711001.9351 | 1268837.3355
35 | 2711096.6386 | 1268757.6891 | 2711099.7147 | 1268762.6291 | 2711106.2807 | 1268768.9247 | 2711110.1765 | 1268771.111 | 2711111.8466 | 1268771.9654
36 | 2711096.6386 | 1268757.6891 | 2711095.4986 | 1268755.8661 | 2711092.1882 | 1268747.3742 | 2711090.2636 | 1268740.0427 | 2711089.4352 | 1268735.7639
37 | 2711111.8466 | 1268771.9654 | 2711119.3723 | 1268773.664 | 2711125.0841 | 1268774.1496 | 2711130.8494 | 1268773.7911 | 2711132.0415 | 1268773.5876
38 | 2711087.5266 | 1268726.7471 | 2711088.7748 | 1268732.3524 | 2711089.4352 | 1268735.7639
39 | 2711149.9782 | 1268770.5258 | 2711132.0415 | 1268773.5876
40 | 2711083.5215 | 1268712.0689 | 2711085.3528 | 1268716.9857 | 2711087.5266 | 1268726.7471
41 | 2711149.9782 | 1268770.5258 | 2711148.4212 | 1268762.0668 | 2711149.5374 | 1268748.1069
42 | 2711149.9782 | 1268770.5258 | 2711179.109 | 1268764.9127
43 | 2711083.5215 | 1268712.0689 | 2711082.4579 | 1268709.2133 | 2711079.0655 | 1268703.0775 | 2711074.3459 | 1268697.4616
44 | 2711053.5832 | 1268681.1348 | 2711058.5565 | 1268683.9047
45 | 2711053.5832 | 1268681.1348 | 2711059.7437 | 1268660.9896
46 | 2711069.1842 | 1268692.3411 | 2711068.4268 | 1268691.5897 | 2711061.5394 | 1268685.566 | 2711058.5565 | 1268683.9047
47 | 2711059.8551 | 1268660.625 | 2711059.7437 | 1268660.9896
48 | 2711069.1842 | 1268692.3411 | 2711074.3459 | 1268697.4616 | 2711074.3459 | 1268697.4616
49 | 2711068.448 | 1268632.5256 | 2711059.8551 | 1268660.625
50 | 2711068.448 | 1268632.5256 | 2711071.0605 | 1268623.9825
51 | 2711005.2462 | 1268599.9251 | 2711011.8117 | 1268595.0855 | 2711031.0312 | 1268584.3705
52 | 2711074.5746 | 1268612.4914 | 2711071.0605 | 1268623.9825
53 | 2711187.2181 | 1268580.6153 | 2711199.1839 | 1268587.9914 | 2711213.1537 | 1268594.4538
54 | 2711187.2181 | 1268580.6153 | 2711177.5264 | 1268598.7448
55 | 2711213.1537 | 1268594.4538 | 2711258.1454 | 1268572.3544
56 | 2711168.3684 | 1268619.2598 | 2711170.8793 | 1268611.1791 | 2711177.5264 | 1268598.7448
57 | 2711258.9894 | 1268572.7732 | 2711258.1454 | 1268572.3544
58 | 2711258.9894 | 1268572.7732 | 2711277.0095 | 1268581.7169
59 | 2711149.5374 | 1268748.1069 | 2711150.2186 | 1268739.5879
60 | 2711219.5898 | 1268757.1128 | 2711179.109 | 1268764.9127
61 | 2711151.5642 | 1268722.7586 | 2711150.2186 | 1268739.5879
62 | 2711219.5898 | 1268757.1128 | 2711220.9888 | 1268763.1666 | 2711221.4704 | 1268769.5702
63 | 2711219.5898 | 1268757.1128 | 2711226.9213 | 1268755.5383
64 | 2711151.5642 | 1268722.7586 | 2711151.9102 | 1268718.4317
65 | 2711221.4704 | 1268769.5702 | 2711217.0946 | 1268790.0725 | 2711215.4867 | 1268793.3537
66 | 2711232.5286 | 1268754.3761 | 2711226.9213 | 1268755.5383
67 | 2711226.9213 | 1268755.5383 | 2711222.4536 | 1268732.5995
68 | 2711163.9398 | 1268633.5126 | 2711168.3684 | 1268619.2598
69 | 2711163.9398 | 1268633.5126 | 2711130.2615 | 1268622.6696
70 | 2711163.9398 | 1268633.5126 | 2711159.2712 | 1268648.5276
71 | 2711159.2712 | 1268648.5276 | 2711158.3707 | 1268651.4235 | 2711157.3084 | 1268662.3458
72 | 2711157.3084 | 1268662.3458 | 2711155.8125 | 1268677.7268
73 | 2711228.0617 | 1268640.67 | 2711227.341 | 1268632.1712 | 2711228.6994 | 1268627.4066
74 | 2711228.0617 | 1268640.67 | 2711244.431 | 1268636.063 | 2711250.1248 | 1268638.2552
75 | 2711228.0617 | 1268640.67 | 2711223.3057 | 1268661.4654
76 | 2711155.4525 | 1268681.4278 | 2711155.8125 | 1268677.7268
77 | 2711155.4525 | 1268681.4278 | 2711154.1292 | 1268695.0335
78 | 2711154.0434 | 1268695.9159 | 2711154.1292 | 1268695.0335
79 | 2711219.4602 | 1268701.2832 | 2711219.4687 | 1268699.8004
80 | 2711219.4602 | 1268701.2832 | 2711219.3712 | 1268716.7732 | 2711221.4255 | 1268727.3208
81 | 2711219.4687 | 1268699.8004 | 2711219.5957 | 1268677.6876 | 2711221.6654 | 1268668.6379
82 | 2711222.4536 | 1268732.5995 | 2711221.4255 | 1268727.3208
83 | 2711223.3057 | 1268661.4654 | 2711221.6654 | 1268668.6379
84 | 2711232.5286 | 1268754.3761 | 2711245.0172 | 1268751.7715
85 | 2711215.4867 | 1268793.3537 | 2711209.9941 | 1268804.5627 | 2711204.5833 | 1268804.483 | 2711201.471 | 1268806.1091
86 | 2711335.7091 | 1268732.8569 | 2711301.6635 | 1268739.9574
87 | 2711349.8938 | 1268729.8985 | 2711335.7091 | 1268732.8569
88 | 2711349.8938 | 1268729.8985 | 2711375.9599 | 1268721.7145
89 | 2711349.8938 | 1268729.8985 | 2711346.7073 | 1268712.8568 | 2711347.8253 | 1268692.9238
90 | 2711383.4398 | 1268719.366 | 2711375.9599 | 1268721.7145
91 | 2711347.8253 | 1268692.9238 | 2711348.8282 | 1268675.0414 | 2711350.1625 | 1268667.8912
92 | 2711383.4398 | 1268719.366 | 2711390.9887 | 1268721.9783
93 | 2711383.4398 | 1268719.366 | 2711406.8491 | 1268710.6355
94 | 2711350.7749 | 1268664.6097 | 2711350.1625 | 1268667.8912
95 | 2711390.9887 | 1268721.9783 | 2711400.8509 | 1268725.3911
96 | 2711350.7749 | 1268664.6097 | 2711354.7126 | 1268643.5083
97 | 2711319.8822 | 1268602.9952 | 2711289.1082 | 1268587.7216
98 | 2711320.5664 | 1268603.3348 | 2711319.8822 | 1268602.9952
99 | 2711279.6747 | 1268583.0397 | 2711289.1082 | 1268587.7216
100 | 2711362.9671 | 1268626.3451 | 2711320.5664 | 1268603.3348
101 | 2711279.6747 | 1268583.0397 | 2711277.0095 | 1268581.7169
102 | 2711362.9671 | 1268626.3451 | 2711357.3028 | 1268629.6279 | 2711354.7126 | 1268643.5083
103 | 2711390.6763 | 1268625.5342 | 2711367.9886 | 1268623.4349 | 2711362.9671 | 1268626.3451
104 | 2711437.3441 | 1268738.0198 | 2711427.1659 | 1268734.4975
105 | 2711437.3441 | 1268738.0198 | 2711449.2051 | 1268742.1243
106 | 2711427.1659 | 1268734.4975 | 2711417.1378 | 1268731.0273
107 | 2711461.0882 | 1268746.2365 | 2711449.2051 | 1268742.1243
108 | 2711417.1378 | 1268731.0273 | 2711400.8509 | 1268725.3911
109 | 2711469.0269 | 1268748.9837 | 2711461.0882 | 1268746.2365
110 | 2711496.5323 | 1268718.3202 | 2711469.0269 | 1268748.9837
111 | 2711469.0269 | 1268748.9837 | 2711473.7144 | 1268759.0699 | 2711478.9087 | 1268765.4291
112 | 2711496.5323 | 1268718.3202 | 2711511.7599 | 1268723.0703
113 | 2711496.5323 | 1268718.3202 | 2711511.9339 | 1268694.8013 | 2711499.7831 | 1268692.4699 | 2711493.4152 | 1268691.2487
114 | 2711478.9087 | 1268765.4291 | 2711472.4185 | 1268782.0984
115 | 2711478.9087 | 1268765.4291 | 2711502.514 | 1268771.9199
116 | 2711279.7793 | 1268651.7424 | 2711264.4151 | 1268643.7571 | 2711250.1248 | 1268638.2552
117 | 2711279.7793 | 1268651.7424 | 2711287.9042 | 1268650.4395
118 | 2711279.7793 | 1268651.7424 | 2711281.3413 | 1268663.2669
119 | 2711153.0532 | 1268706.0963 | 2711154.0434 | 1268695.9159
120 | 2711503.0444 | 1268772.0657 | 2711502.514 | 1268771.9199
121 | 2711514.3185 | 1268775.1657 | 2711503.0444 | 1268772.0657
122 | 2711472.4185 | 1268782.0984 | 2711472.325 | 1268782.3386
123 | 2711472.325 | 1268782.3386 | 2711471.6922 | 1268783.9636
124 | 2711511.7599 | 1268723.0703 | 2711521.3567 | 1268726.0639
125 | 2711493.4152 | 1268691.2487 | 2711480.7853 | 1268691.1659 | 2711472.3176 | 1268691.1172 | 2711457.5643 | 1268693.6007
126 | 2711282.1507 | 1268671.3308 | 2711282.2773 | 1268670.1722 | 2711281.3413 | 1268663.2669
127 | 2711282.1507 | 1268671.3308 | 2711279.4146 | 1268696.3705
128 | 2711279.3917 | 1268696.5806 | 2711279.4146 | 1268696.3705
129 | 2711278.9206 | 1268700.8916 | 2711279.3917 | 1268696.5806
130 | 2711296.2243 | 1268649.1053 | 2711287.9042 | 1268650.4395
131 | 2711550.8285 | 1268731.501 | 2711558.0201 | 1268715.823 | 2711557.443 | 1268704.1352
132 | 2711557.443 | 1268704.1352 | 2711573.3933 | 1268665.1243
133 | 2711557.443 | 1268704.1352 | 2711575.4215 | 1268708.3895 | 2711581.4734 | 1268709.2232
134 | 2711550.8285 | 1268731.501 | 2711544.0648 | 1268732.0009
135 | 2711550.8285 | 1268731.501 | 2711563.7448 | 1268739.1294 | 2711566.9232 | 1268742.4397
136 | 2711581.4734 | 1268709.2232 | 2711595.2579 | 1268711.122 | 2711607.02 | 1268712.6509
137 | 2711544.0648 | 1268732.0009 | 2711541.4812 | 1268732.1918 | 2711527.0053 | 1268727.8259 | 2711521.3567 | 1268726.0639
138 | 2711566.9232 | 1268742.4397 | 2711567.5836 | 1268743.1276 | 2711568.7785 | 1268746.8201 | 2711569.6137 | 1268752.0182 | 2711569.4411 | 1268759.5549 | 2711569.3458 | 1268764.3412
139 | 2711390.6763 | 1268625.5342 | 2711391.3892 | 1268625.6001
140 | 2711153.0532 | 1268706.0963 | 2711152.1725 | 1268715.1518 | 2711151.9102 | 1268718.4317
141 | 2711184.5658 | 1268808.1762 | 2711193.4054 | 1268810.4557 | 2711199.4061 | 1268807.188 | 2711201.471 | 1268806.1091
142 | 2711290.8875 | 1268847.1183 | 2711266.1583 | 1268834.7549
143 | 2711298.0171 | 1268850.6828 | 2711290.8875 | 1268847.1183
144 | 2711266.1583 | 1268834.7549 | 2711262.7893 | 1268833.0705 | 2711242.5047 | 1268842.9528 | 2711237.8629 | 1268843.8681
145 | 2711298.0171 | 1268850.6828 | 2711326.4447 | 1268862.372
146 | 2711237.8629 | 1268843.8681 | 2711230.6123 | 1268845.2977 | 2711212.143 | 1268841.1353 | 2711205.7998 | 1268833.5542
147 | 2711184.5658 | 1268808.1762 | 2711205.7998 | 1268833.5542
148 | 2711184.5658 | 1268808.1762 | 2711174.0744 | 1268799.2821
149 | 2711174.0744 | 1268799.2821 | 2711170.9885 | 1268796.8011
150 | 2711174.0744 | 1268799.2821 | 2711177.9558 | 1268791.4371 | 2711179.5685 | 1268787.742
151 | 2711179.5685 | 1268787.742 | 2711191.3204 | 1268796.1956

## bus_geodata
| x | y | coords
0 | 2710947.9932 | 1268689.3506
1 | 2710963.0053 | 1268681.8004
2 | 2710975.2873 | 1268676.76
3 | 2710964.0259 | 1268707.9981
4 | 2710974.3099 | 1268671.8929
5 | 2710964.6112 | 1268721.0252
6 | 2710983.6863 | 1268632.3647
7 | 2710954.186 | 1268666.0098
8 | 2711031.685 | 1268674.2603
9 | 2711031.83 | 1268674.2801
10 | 2710964.904 | 1268727.5427
11 | 2711029.8503 | 1268780.8531
12 | 2711019.6821 | 1268779.8177
13 | 2711030.8628 | 1268780.9562
14 | 2711004.1636 | 1268780.6683
15 | 2711048.6549 | 1268782.7679
16 | 2710961.5652 | 1268785.253
17 | 2711090.3215 | 1268782.1696
18 | 2710965.8424 | 1268748.9148
19 | 2710950.7486 | 1268814.8648
20 | 2711091.9717 | 1268762.2361
21 | 2710916.6214 | 1268655.0178
22 | 2710960.8825 | 1268656.5501
23 | 2710962.4394 | 1268656.7485
24 | 2710996.902 | 1268606.9492
25 | 2711023.6245 | 1268846.857
26 | 2711005.2998 | 1268838.8125
27 | 2711033.2164 | 1268851.0679
28 | 2711001.9791 | 1268837.3548
29 | 2711046.1525 | 1268856.8064
30 | 2711001.9571 | 1268837.3451
31 | 2711001.9351 | 1268837.3355
32 | 2710973.2915 | 1268824.761
33 | 2711096.6386 | 1268757.6891
34 | 2711111.8466 | 1268771.9654
35 | 2711089.4352 | 1268735.7639
36 | 2711132.0415 | 1268773.5876
37 | 2711087.5266 | 1268726.7471
38 | 2711149.9782 | 1268770.5258
39 | 2711083.5215 | 1268712.0689
40 | 2711053.5832 | 1268681.1348
41 | 2711058.5565 | 1268683.9047
42 | 2711059.7436 | 1268660.9896
43 | 2711069.1842 | 1268692.3411
44 | 2711059.8551 | 1268660.625
45 | 2711074.3459 | 1268697.4616
46 | 2711068.448 | 1268632.5256
47 | 2710965.7825 | 1268747.0954
48 | 2711005.2462 | 1268599.9251
49 | 2711031.0312 | 1268584.3705
50 | 2711071.0605 | 1268623.9825
51 | 2711074.5746 | 1268612.4914
52 | 2711187.2181 | 1268580.6153
53 | 2711213.1537 | 1268594.4538
54 | 2711177.5264 | 1268598.7448
55 | 2711258.1454 | 1268572.3544
56 | 2711258.9894 | 1268572.7732
57 | 2711149.5374 | 1268748.1069
58 | 2711179.109 | 1268764.9127
59 | 2711150.2186 | 1268739.5879
60 | 2711219.5898 | 1268757.1128
61 | 2711151.5642 | 1268722.7586
62 | 2711221.4704 | 1268769.5702
63 | 2711226.9213 | 1268755.5383
64 | 2711168.3684 | 1268619.2598
65 | 2711163.9398 | 1268633.5126
66 | 2711130.2615 | 1268622.6696
67 | 2711159.2712 | 1268648.5276
68 | 2711157.3084 | 1268662.3458
69 | 2711228.6994 | 1268627.4066
70 | 2711228.0617 | 1268640.67
71 | 2711155.8125 | 1268677.7268
72 | 2711155.4525 | 1268681.4278
73 | 2711154.1292 | 1268695.0335
74 | 2711219.4602 | 1268701.2832
75 | 2711219.4687 | 1268699.8004
76 | 2711221.4255 | 1268727.3208
77 | 2711221.6654 | 1268668.6379
78 | 2711222.4536 | 1268732.5995
79 | 2711223.3057 | 1268661.4654
80 | 2711232.5286 | 1268754.3761
81 | 2711245.0172 | 1268751.7715
82 | 2711215.4867 | 1268793.3537
83 | 2711335.7091 | 1268732.8569
84 | 2711301.6635 | 1268739.9574
85 | 2711349.8938 | 1268729.8985
86 | 2711375.9599 | 1268721.7145
87 | 2711347.8253 | 1268692.9238
88 | 2711383.4398 | 1268719.366
89 | 2711350.1625 | 1268667.8912
90 | 2711390.9887 | 1268721.9783
91 | 2711406.8491 | 1268710.6355
92 | 2711350.7749 | 1268664.6097
93 | 2711319.8822 | 1268602.9952
94 | 2711289.1082 | 1268587.7216
95 | 2711320.5664 | 1268603.3348
96 | 2711279.6747 | 1268583.0397
97 | 2711362.9671 | 1268626.3451
98 | 2711277.0095 | 1268581.7169
99 | 2711437.3441 | 1268738.0198
100 | 2711427.1659 | 1268734.4975
101 | 2711449.2051 | 1268742.1243
102 | 2711417.1378 | 1268731.0273
103 | 2711461.0882 | 1268746.2365
104 | 2711400.8509 | 1268725.3911
105 | 2711469.0269 | 1268748.9837
106 | 2711496.5323 | 1268718.3202
107 | 2711478.9087 | 1268765.4291
108 | 2711250.1248 | 1268638.2552
109 | 2711279.7793 | 1268651.7424
110 | 2711154.0434 | 1268695.9159
111 | 2711502.514 | 1268771.9199
112 | 2711503.0444 | 1268772.0657
113 | 2711514.3185 | 1268775.1657
114 | 2711472.4185 | 1268782.0984
115 | 2711472.325 | 1268782.3386
116 | 2711511.7599 | 1268723.0703
117 | 2711493.4152 | 1268691.2487
118 | 2711471.6922 | 1268783.9636
119 | 2711282.1507 | 1268671.3308
120 | 2711281.3413 | 1268663.2669
121 | 2711279.4146 | 1268696.3705
122 | 2711279.3917 | 1268696.5806
123 | 2711287.9042 | 1268650.4395
124 | 2711278.9206 | 1268700.8916
125 | 2711296.2243 | 1268649.1053
126 | 2711457.5643 | 1268693.6007
127 | 2711557.443 | 1268704.1352
128 | 2711550.8285 | 1268731.501
129 | 2711573.3933 | 1268665.1243
130 | 2711581.4734 | 1268709.2232
131 | 2711521.3567 | 1268726.0639
132 | 2711544.0648 | 1268732.0009
133 | 2711566.9232 | 1268742.4397
134 | 2711607.02 | 1268712.6509
135 | 2711390.6763 | 1268625.5342
136 | 2711391.3892 | 1268625.6001
137 | 2711354.7126 | 1268643.5083
138 | 2711569.3458 | 1268764.3412
139 | 2711151.9102 | 1268718.4317
140 | 2711153.0532 | 1268706.0963
141 | 2711201.471 | 1268806.1091
142 | 2711290.8875 | 1268847.1183
143 | 2711266.1583 | 1268834.7549
144 | 2711298.0171 | 1268850.6828
145 | 2711237.8629 | 1268843.8681
146 | 2711326.4447 | 1268862.372
147 | 2711205.7998 | 1268833.5542
148 | 2711184.5658 | 1268808.1762
149 | 2711174.0744 | 1268799.2821
150 | 2711170.9885 | 1268796.8011
151 | 2711179.5685 | 1268787.742
152 | 2711191.3204 | 1268796.1956
153 | 2711226.9213 | 1268755.5383

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1