## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-48_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-48_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-48_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-48_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4566-48_0_8_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_4566-48_0_8_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_4566-48_0_8_node_170 | 0.4 | n |  | TRUE
7 | bus_LV_4566-48_0_8_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4566-48_0_8_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_4566-48_0_8_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_4566-48_0_8_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4566-48_0_8_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_4566-48_0_8_node_121 | 0.4 | n |  | TRUE
13 | bus_LV_4566-48_0_8_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_4566-48_0_8_node_118 | 0.4 | n |  | TRUE
15 | bus_LV_4566-48_0_8_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_4566-48_0_8_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4566-48_0_8_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4566-48_0_8_node_143 | 0.4 | n |  | TRUE
19 | bus_LV_4566-48_0_8_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4566-48_0_8_node_129 | 0.4 | n |  | TRUE
21 | bus_LV_4566-48_0_8_node_90 | 0.4 | n |  | TRUE
22 | bus_LV_4566-48_0_8_node_152 | 0.4 | n |  | TRUE
23 | bus_LV_4566-48_0_8_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_4566-48_0_8_node_153 | 0.4 | n |  | TRUE
25 | bus_LV_4566-48_0_8_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_4566-48_0_8_node_169 | 0.4 | n |  | TRUE
27 | bus_LV_4566-48_0_8_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_4566-48_0_8_node_116 | 0.4 | n |  | TRUE
29 | bus_LV_4566-48_0_8_node_109 | 0.4 | n |  | TRUE
30 | bus_LV_4566-48_0_8_node_114 | 0.4 | n |  | TRUE
31 | bus_LV_4566-48_0_8_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_4566-48_0_8_node_117 | 0.4 | n |  | TRUE
33 | bus_LV_4566-48_0_8_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_4566-48_0_8_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_4566-48_0_8_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_4566-48_0_8_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_4566-48_0_8_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_4566-48_0_8_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_4566-48_0_8_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_4566-48_0_8_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_4566-48_0_8_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_4566-48_0_8_node_135 | 0.4 | n |  | TRUE
43 | bus_LV_4566-48_0_8_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_4566-48_0_8_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_4566-48_0_8_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_4566-48_0_8_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_4566-48_0_8_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_4566-48_0_8_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_4566-48_0_8_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_4566-48_0_8_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_4566-48_0_8_node_156 | 0.4 | n |  | TRUE
52 | bus_LV_4566-48_0_8_node_110 | 0.4 | n |  | TRUE
53 | bus_LV_4566-48_0_8_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_4566-48_0_8_node_173 | 0.4 | n |  | TRUE
55 | bus_LV_4566-48_0_8_node_171 | 0.4 | n |  | TRUE
56 | bus_LV_4566-48_0_8_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_4566-48_0_8_node_142 | 0.4 | n |  | TRUE
58 | bus_LV_4566-48_0_8_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_4566-48_0_8_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_4566-48_0_8_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_4566-48_0_8_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_4566-48_0_8_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_4566-48_0_8_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_4566-48_0_8_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_4566-48_0_8_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4566-48_0_8_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_4566-48_0_8_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_4566-48_0_8_node_124 | 0.4 | n |  | TRUE
69 | bus_LV_4566-48_0_8_node_119 | 0.4 | n |  | TRUE
70 | bus_LV_4566-48_0_8_node_123 | 0.4 | n |  | TRUE
71 | bus_LV_4566-48_0_8_node_122 | 0.4 | n |  | TRUE
72 | bus_LV_4566-48_0_8_node_150 | 0.4 | n |  | TRUE
73 | bus_LV_4566-48_0_8_node_149 | 0.4 | n |  | TRUE
74 | bus_LV_4566-48_0_8_node_134 | 0.4 | n |  | TRUE
75 | bus_LV_4566-48_0_8_node_140 | 0.4 | n |  | TRUE
76 | bus_LV_4566-48_0_8_node_137 | 0.4 | n |  | TRUE
77 | bus_LV_4566-48_0_8_node_141 | 0.4 | n |  | TRUE
78 | bus_LV_4566-48_0_8_node_106 | 0.4 | n |  | TRUE
79 | bus_LV_4566-48_0_8_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_4566-48_0_8_node_151 | 0.4 | n |  | TRUE
81 | bus_LV_4566-48_0_8_node_158 | 0.4 | n |  | TRUE
82 | bus_LV_4566-48_0_8_node_133 | 0.4 | n |  | TRUE
83 | bus_LV_4566-48_0_8_node_57 | 0.4 | n |  | TRUE
84 | bus_LV_4566-48_0_8_node_58 | 0.4 | n |  | TRUE
85 | bus_LV_4566-48_0_8_node_172 | 0.4 | n |  | TRUE
86 | bus_LV_4566-48_0_8_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_4566-48_0_8_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_4566-48_0_8_node_100 | 0.4 | n |  | TRUE
89 | bus_LV_4566-48_0_8_node_97 | 0.4 | n |  | TRUE
90 | bus_LV_4566-48_0_8_node_102 | 0.4 | n |  | TRUE
91 | bus_LV_4566-48_0_8_node_104 | 0.4 | n |  | TRUE
92 | bus_LV_4566-48_0_8_node_101 | 0.4 | n |  | TRUE
93 | bus_LV_4566-48_0_8_node_154 | 0.4 | n |  | TRUE
94 | bus_LV_4566-48_0_8_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_4566-48_0_8_node_75 | 0.4 | n |  | TRUE
96 | bus_LV_4566-48_0_8_node_115 | 0.4 | n |  | TRUE
97 | bus_LV_4566-48_0_8_node_47 | 0.4 | n |  | TRUE
98 | bus_LV_4566-48_0_8_node_69 | 0.4 | n |  | TRUE
99 | bus_LV_4566-48_0_8_node_43 | 0.4 | n |  | TRUE
100 | bus_LV_4566-48_0_8_node_31 | 0.4 | n |  | TRUE
101 | bus_LV_4566-48_0_8_node_32 | 0.4 | n |  | TRUE
102 | bus_LV_4566-48_0_8_node_34 | 0.4 | n |  | TRUE
103 | bus_LV_4566-48_0_8_node_46 | 0.4 | n |  | TRUE
104 | bus_LV_4566-48_0_8_node_36 | 0.4 | n |  | TRUE
105 | bus_LV_4566-48_0_8_node_146 | 0.4 | n |  | TRUE
106 | bus_LV_4566-48_0_8_node_147 | 0.4 | n |  | TRUE
107 | bus_LV_4566-48_0_8_node_145 | 0.4 | n |  | TRUE
108 | bus_LV_4566-48_0_8_node_37 | 0.4 | n |  | TRUE
109 | bus_LV_4566-48_0_8_node_38 | 0.4 | n |  | TRUE
110 | bus_LV_4566-48_0_8_node_40 | 0.4 | n |  | TRUE
111 | bus_LV_4566-48_0_8_node_144 | 0.4 | n |  | TRUE
112 | bus_LV_4566-48_0_8_node_125 | 0.4 | n |  | TRUE
113 | bus_LV_4566-48_0_8_node_105 | 0.4 | n |  | TRUE
114 | bus_LV_4566-48_0_8_node_39 | 0.4 | n |  | TRUE
115 | bus_LV_4566-48_0_8_node_86 | 0.4 | n |  | TRUE
116 | bus_LV_4566-48_0_8_node_126 | 0.4 | n |  | TRUE
117 | bus_LV_4566-48_0_8_node_41 | 0.4 | n |  | TRUE
118 | bus_LV_4566-48_0_8_node_93 | 0.4 | n |  | TRUE
119 | bus_LV_4566-48_0_8_node_95 | 0.4 | n |  | TRUE
120 | bus_LV_4566-48_0_8_node_74 | 0.4 | n |  | TRUE
121 | bus_LV_4566-48_0_8_node_79 | 0.4 | n |  | TRUE
122 | bus_LV_4566-48_0_8_node_55 | 0.4 | n |  | TRUE
123 | bus_LV_4566-48_0_8_node_56 | 0.4 | n |  | TRUE
124 | bus_LV_4566-48_0_8_node_148 | 0.4 | n |  | TRUE
125 | bus_LV_4566-48_0_8_node_165 | 0.4 | n |  | TRUE
126 | bus_LV_4566-48_0_8_node_84 | 0.4 | n |  | TRUE
127 | bus_LV_4566-48_0_8_node_164 | 0.4 | n |  | TRUE
128 | bus_LV_4566-48_0_8_node_163 | 0.4 | n |  | TRUE
129 | bus_LV_4566-48_0_8_node_94 | 0.4 | n |  | TRUE
130 | bus_LV_4566-48_0_8_node_92 | 0.4 | n |  | TRUE
131 | bus_LV_4566-48_0_8_node_45 | 0.4 | n |  | TRUE
132 | bus_LV_4566-48_0_8_node_81 | 0.4 | n |  | TRUE
133 | bus_LV_4566-48_0_8_node_52 | 0.4 | n |  | TRUE
134 | bus_LV_4566-48_0_8_node_54 | 0.4 | n |  | TRUE
135 | bus_LV_4566-48_0_8_node_71 | 0.4 | n |  | TRUE
136 | bus_LV_4566-48_0_8_node_59 | 0.4 | n |  | TRUE
137 | bus_LV_4566-48_0_8_node_72 | 0.4 | n |  | TRUE
138 | bus_LV_4566-48_0_8_node_82 | 0.4 | n |  | TRUE
139 | bus_LV_4566-48_0_8_node_60 | 0.4 | n |  | TRUE
140 | bus_LV_4566-48_0_8_node_62 | 0.4 | n |  | TRUE
141 | bus_LV_4566-48_0_8_node_66 | 0.4 | n |  | TRUE
142 | bus_LV_4566-48_0_8_node_77 | 0.4 | n |  | TRUE
143 | bus_LV_4566-48_0_8_node_83 | 0.4 | n |  | TRUE
144 | bus_LV_4566-48_0_8_node_85 | 0.4 | n |  | TRUE
145 | bus_LV_4566-48_0_8_node_87 | 0.4 | n |  | TRUE
146 | bus_LV_4566-48_0_8_node_160 | 0.4 | n |  | TRUE
147 | bus_LV_4566-48_0_8_node_159 | 0.4 | n |  | TRUE
148 | bus_LV_4566-48_0_8_node_98 | 0.4 | n |  | TRUE
149 | bus_LV_4566-48_0_8_node_130 | 0.4 | n |  | TRUE
150 | bus_LV_4566-48_0_8_node_127 | 0.4 | n |  | TRUE
151 | bus_LV_4566-48_0_8_node_136 | 0.4 | n |  | TRUE
152 | bus_LV_4566-48_0_8_node_112 | 0.4 | n |  | TRUE
153 | bus_LV_4566-48_0_8_node_113 | 0.4 | n |  | TRUE
154 | bus_LV_4566-48_0_8_node_120 | 0.4 | n |  | TRUE
155 | bus_LV_4566-48_0_8_node_166 | 0.4 | n |  | TRUE
156 | bus_LV_4566-48_0_8_node_128 | 0.4 | n |  | TRUE
157 | bus_LV_4566-48_0_8_node_131 | 0.4 | n |  | TRUE
158 | bus_LV_4566-48_0_8_node_132 | 0.4 | n |  | TRUE
159 | bus_LV_4566-48_0_8_node_168 | 0.4 | n |  | TRUE
160 | bus_LV_4566-48_0_8_node_139 | 0.4 | n |  | TRUE
161 | bus_LV_4566-48_0_8_node_167 | 0.4 | n |  | TRUE
162 | bus_LV_4566-48_0_8_node_138 | 0.4 | n |  | TRUE
163 | bus_LV_4566-48_0_8_node_155 | 0.4 | n |  | TRUE
164 | bus_LV_4566-48_0_8_node_157 | 0.4 | n |  | TRUE
165 | bus_LV_4566-48_0_8_node_161 | 0.4 | n |  | TRUE
166 | bus_LV_4566-48_0_8_node_162 | 0.4 | n |  | TRUE
167 | bus_MV_438_1_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-48_0_8_load_0 | 0 | 0.0049357 | 0.001237 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-48_0_8_load_1 | 1 | 0.0049068 | 0.0012298 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-48_0_8_load_3 | 3 | 0.0047617 | 0.0011934 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-48_0_8_load_170 | 6 | 0.0052651 | 0.0013196 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-48_0_8_load_78 | 9 | 0.0020301 | 0.00050878 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-48_0_8_load_121 | 12 | 0.0031809 | 0.0007972 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-48_0_8_load_118 | 14 | 0.0041588 | 0.0010423 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-48_0_8_load_143 | 18 | 0.0031236 | 0.00078285 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-48_0_8_load_90 | 21 | 0.014958 | 0.0037489 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-48_0_8_load_152 | 22 | 0.0045658 | 0.0011443 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-48_0_8_load_107 | 25 | 0.003724 | 0.00093333 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-48_0_8_load_169 | 26 | 0.0047242 | 0.001184 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-48_0_8_load_109 | 29 | 0.0065223 | 0.0016346 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-48_0_8_load_114 | 30 | 0.0045965 | 0.001152 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-48_0_8_load_117 | 32 | 0.011415 | 0.0028608 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-48_0_8_load_73 | 36 | 0.0033601 | 0.00084212 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-48_0_8_load_64 | 39 | 0.0095683 | 0.002398 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-48_0_8_load_91 | 40 | 0.00097848 | 0.00024523 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-48_0_8_load_88 | 41 | 0.010041 | 0.0025165 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-48_0_8_load_135 | 42 | 0.0029365 | 0.00073595 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-48_0_8_load_99 | 44 | 0.0011659 | 0.00029221 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-48_0_8_load_96 | 45 | 0.0027685 | 0.00069385 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-48_0_8_load_51 | 48 | 0.0014296 | 0.00035829 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-48_0_8_load_156 | 51 | 0.0028472 | 0.00071358 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-48_0_8_load_108 | 53 | 0.016503 | 0.0041361 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-48_0_8_load_173 | 54 | 0.0022839 | 0.00057239 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-48_0_8_load_171 | 55 | 0.0036748 | 0.00092099 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-48_0_8_load_142 | 57 | 0.023096 | 0.0057884 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-48_0_8_load_70 | 59 | 0.0020388 | 0.00051097 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-48_0_8_load_68 | 61 | 0.00080526 | 0.00020182 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-48_0_8_load_42 | 63 | 0.0010925 | 0.0002738 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-48_0_8_load_48 | 64 | 0.0017075 | 0.00042793 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-48_0_8_load_67 | 66 | 0.0021216 | 0.00053172 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-48_0_8_load_124 | 68 | 0.0020556 | 0.00051519 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-48_0_8_load_119 | 69 | 0.0083321 | 0.0020882 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-48_0_8_load_123 | 70 | 0.0058312 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-48_0_8_load_122 | 71 | 0.017353 | 0.004349 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-48_0_8_load_150 | 72 | 0.0014292 | 0.00035819 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-48_0_8_load_149 | 73 | 0.0014292 | 0.00035819 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-48_0_8_load_140 | 75 | 0.035733 | 0.0089557 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-48_0_8_load_137 | 76 | 0.0060403 | 0.0015138 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-48_0_8_load_141 | 77 | 0.0056848 | 0.0014248 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-48_0_8_load_89 | 79 | 0.012362 | 0.0030982 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-48_0_8_load_151 | 80 | 0.0030085 | 0.00075399 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-48_0_8_load_158 | 81 | 0.0020393 | 0.0005111 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-48_0_8_load_133 | 82 | 0.012789 | 0.0032052 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-48_0_8_load_172 | 85 | 0.0045581 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-48_0_8_load_65 | 87 | 0.0080041 | 0.002006 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-48_0_8_load_100 | 88 | 0.004521 | 0.0011331 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-48_0_8_load_97 | 89 | 0.0015637 | 0.00039189 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-48_0_8_load_104 | 91 | 0.0030176 | 0.00075629 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-48_0_8_load_101 | 92 | 0.0026251 | 0.00065792 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-48_0_8_load_154 | 93 | 0.0027618 | 0.00069217 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-48_0_8_load_76 | 94 | 0.0053986 | 0.001353 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-48_0_8_load_75 | 95 | 0.0016926 | 0.0004242 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-48_0_8_load_47 | 97 | 0.0015601 | 0.000391 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-48_0_8_load_69 | 98 | 0.0038481 | 0.00096443 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-48_0_8_load_31 | 100 | 0.0021528 | 0.00053955 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-48_0_8_load_32 | 101 | 0.0015386 | 0.00038562 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-48_0_8_load_146 | 105 | 0.0026773 | 0.00067099 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-48_0_8_load_147 | 106 | 0.0026786 | 0.00067132 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-48_0_8_load_145 | 107 | 0.0027075 | 0.00067857 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-48_0_8_load_144 | 111 | 0.0027101 | 0.00067922 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-48_0_8_load_125 | 112 | 0.0027077 | 0.00067861 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-48_0_8_load_105 | 113 | 0.0068004 | 0.0017043 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-48_0_8_load_126 | 116 | 0.0029372 | 0.00073614 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-48_0_8_load_95 | 119 | 0.0025787 | 0.00064628 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4566-48_0_8_load_79 | 121 | 0.0033313 | 0.00083489 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4566-48_0_8_load_55 | 122 | 0.0028943 | 0.00072537 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4566-48_0_8_load_148 | 124 | 0.0027101 | 0.00067922 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4566-48_0_8_load_165 | 125 | 0.0027051 | 0.00067797 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4566-48_0_8_load_84 | 126 | 0.0024792 | 0.00062134 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4566-48_0_8_load_164 | 127 | 0.00179 | 0.00044862 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4566-48_0_8_load_163 | 128 | 0.0018018 | 0.00045158 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4566-48_0_8_load_94 | 129 | 0.0079253 | 0.0019863 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4566-48_0_8_load_92 | 130 | 0.0016908 | 0.00042376 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4566-48_0_8_load_45 | 131 | 0.0016011 | 0.00040128 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4566-48_0_8_load_81 | 132 | 0.010031 | 0.0025141 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4566-48_0_8_load_52 | 133 | 0.0020355 | 0.00051014 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4566-48_0_8_load_54 | 134 | 0.0031717 | 0.0007949 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4566-48_0_8_load_71 | 135 | 0.002312 | 0.00057945 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4566-48_0_8_load_59 | 136 | 0.0024507 | 0.00061422 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4566-48_0_8_load_72 | 137 | 0.0049313 | 0.0012359 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4566-48_0_8_load_82 | 138 | 0.0021197 | 0.00053126 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4566-48_0_8_load_60 | 139 | 0.0089521 | 0.0022436 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4566-48_0_8_load_62 | 140 | 0.0029035 | 0.00072769 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4566-48_0_8_load_66 | 141 | 0.006359 | 0.0015937 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4566-48_0_8_load_77 | 142 | 0.0053973 | 0.0013527 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4566-48_0_8_load_83 | 143 | 0.0022663 | 0.00056799 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4566-48_0_8_load_85 | 144 | 0.0013651 | 0.00034213 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4566-48_0_8_load_87 | 145 | 0.0013656 | 0.00034225 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4566-48_0_8_load_160 | 146 | 0.0019703 | 0.00049381 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4566-48_0_8_load_159 | 147 | 0.0020612 | 0.00051659 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4566-48_0_8_load_98 | 148 | 0.0018008 | 0.00045132 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4566-48_0_8_load_130 | 149 | 0.0051275 | 0.0012851 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4566-48_0_8_load_127 | 150 | 0.009785 | 0.0024524 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4566-48_0_8_load_136 | 151 | 0.0046654 | 0.0011693 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4566-48_0_8_load_112 | 152 | 0.0041934 | 0.001051 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4566-48_0_8_load_120 | 154 | 0.006688 | 0.0016762 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4566-48_0_8_load_166 | 155 | 0.0027077 | 0.00067861 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4566-48_0_8_load_131 | 157 | 0.0027077 | 0.00067861 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4566-48_0_8_load_132 | 158 | 0.013212 | 0.0033112 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4566-48_0_8_load_168 | 159 | 0.0027051 | 0.00067797 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4566-48_0_8_load_139 | 160 | 0.0056846 | 0.0014247 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4566-48_0_8_load_167 | 161 | 0.0027077 | 0.00067861 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4566-48_0_8_load_138 | 162 | 0.0022195 | 0.00055627 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4566-48_0_8_load_155 | 163 | 0.0018057 | 0.00045256 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4566-48_0_8_load_157 | 164 | 0.0017943 | 0.00044971 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4566-48_0_8_load_161 | 165 | 0.0014664 | 0.00036752 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4566-48_0_8_load_162 | 166 | 0.0014648 | 0.00036712 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 149 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-48_0_8_line_0 |  | 0 | 1 | 0.023691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_4566-48_0_8_line_1 |  | 0 | 2 | 0.032462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_4566-48_0_8_line_2 |  | 1 | 3 | 0.020725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_4566-48_0_8_line_3 |  | 2 | 4 | 0.017816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_4566-48_0_8_line_4 |  | 2 | 5 | 0.11844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-48_0_8_line_5 |  | 3 | 6 | 0.02134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_4566-48_0_8_line_6 |  | 4 | 17 | 0.023369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_4566-48_0_8_line_7 |  | 4 | 18 | 0.031722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-48_0_8_line_8 |  | 5 | 22 | 0.0058814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-48_0_8_line_9 |  | 6 | 26 | 0.02126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_4566-48_0_8_line_10 |  | 7 | 8 | 0.004642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-48_0_8_line_11 |  | 7 | 9 | 0.012885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-48_0_8_line_12 |  | 8 | 48 | 0.001993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-48_0_8_line_13 |  | 8 | 64 | 0.021638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-48_0_8_line_14 |  | 9 | 59 | 0.0018454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-48_0_8_line_15 |  | 10 | 11 | 0.005251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-48_0_8_line_16 |  | 10 | 12 | 0.029197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-48_0_8_line_17 |  | 10 | 13 | 0.011326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4566-48_0_8_line_18 |  | 10 | 14 | 0.034227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_4566-48_0_8_line_19 |  | 11 | 55 | 0.013035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-48_0_8_line_20 |  | 12 | 68 | 0.021455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-48_0_8_line_21 |  | 13 | 42 | 0.010377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-48_0_8_line_22 |  | 13 | 15 | 0.036114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4566-48_0_8_line_23 |  | 14 | 69 | 0.022784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4566-48_0_8_line_24 |  | 15 | 16 | 0.013005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4566-48_0_8_line_25 |  | 16 | 26 | 0.029242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_4566-48_0_8_line_26 |  | 17 | 30 | 0.028226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4566-48_0_8_line_27 |  | 17 | 31 | 0.035869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-48_0_8_line_28 |  | 17 | 32 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-48_0_8_line_29 |  | 19 | 20 | 0.018596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4566-48_0_8_line_30 |  | 19 | 21 | 0.023303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4566-48_0_8_line_31 |  | 20 | 77 | 0.017762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-48_0_8_line_32 |  | 20 | 78 | 0.037734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4566-48_0_8_line_33 |  | 21 | 79 | 0.025616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4566-48_0_8_line_34 |  | 22 | 80 | 0.017352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-48_0_8_line_35 |  | 23 | 24 | 0.003018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-48_0_8_line_36 |  | 23 | 25 | 0.0055717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-48_0_8_line_37 |  | 24 | 81 | 0.019837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4566-48_0_8_line_38 |  | 24 | 49 | 0.006849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4566-48_0_8_line_39 |  | 25 | 44 | 0.022904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-48_0_8_line_40 |  | 27 | 28 | 0.021096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-48_0_8_line_41 |  | 27 | 29 | 0.020508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-48_0_8_line_42 |  | 28 | 82 | 0.025442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-48_0_8_line_43 |  | 29 | 53 | 0.031216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-48_0_8_line_44 |  | 30 | 52 | 0.011327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4566-48_0_8_line_45 |  | 31 | 70 | 0.019026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-48_0_8_line_46 |  | 31 | 71 | 0.012076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-48_0_8_line_47 |  | 33 | 34 | 0.069733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-48_0_8_line_48 |  | 33 | 35 | 0.004168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-48_0_8_line_49 |  | 33 | 36 | 0.018706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-48_0_8_line_50 |  | 34 | 37 | 0.019192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-48_0_8_line_51 |  | 34 | 38 | 0.011511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-48_0_8_line_52 |  | 34 | 39 | 0.048869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-48_0_8_line_53 |  | 35 | 83 | 0.005548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-48_0_8_line_54 |  | 36 | 84 | 0.032263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-48_0_8_line_55 |  | 37 | 85 | 0.008395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-48_0_8_line_56 |  | 37 | 86 | 0.003204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-48_0_8_line_57 |  | 38 | 40 | 0.018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-48_0_8_line_58 |  | 38 | 41 | 0.012776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-48_0_8_line_59 |  | 39 | 87 | 0.027721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-48_0_8_line_60 |  | 40 | 88 | 0.029873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-48_0_8_line_61 |  | 41 | 79 | 0.031652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-48_0_8_line_62 |  | 43 | 44 | 0.01094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-48_0_8_line_63 |  | 43 | 45 | 0.018488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-48_0_8_line_64 |  | 45 | 89 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-48_0_8_line_65 |  | 46 | 47 | 0.044254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-48_0_8_line_66 |  | 46 | 48 | 0.10849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-48_0_8_line_67 |  | 47 | 54 | 0.033674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-48_0_8_line_68 |  | 49 | 50 | 0.0084004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_4566-48_0_8_line_69 |  | 49 | 51 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-48_0_8_line_70 |  | 50 | 52 | 0.035831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_4566-48_0_8_line_71 |  | 50 | 53 | 0.027065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-48_0_8_line_72 |  | 51 | 93 | 0.007665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-48_0_8_line_73 |  | 52 | 56 | 0.004375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-48_0_8_line_74 |  | 56 | 57 | 0.015069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-48_0_8_line_75 |  | 57 | 96 | 0.013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-48_0_8_line_76 |  | 58 | 59 | 0.045194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-48_0_8_line_77 |  | 58 | 60 | 0.003653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-48_0_8_line_78 |  | 58 | 61 | 0.014693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-48_0_8_line_79 |  | 60 | 97 | 0.033517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-48_0_8_line_80 |  | 60 | 62 | 0.011161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-48_0_8_line_81 |  | 61 | 98 | 0.030708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-48_0_8_line_82 |  | 62 | 63 | 0.011583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-48_0_8_line_83 |  | 63 | 99 | 0.043376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-48_0_8_line_84 |  | 64 | 67 | 0.013995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-48_0_8_line_85 |  | 65 | 66 | 0.003633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-48_0_8_line_86 |  | 65 | 67 | 0.00362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-48_0_8_line_87 |  | 67 | 133 | 0.03279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4566-48_0_8_line_88 |  | 67 | 134 | 0.013844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4566-48_0_8_line_89 |  | 68 | 91 | 0.020132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4566-48_0_8_line_90 |  | 69 | 154 | 0.0033031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_4566-48_0_8_line_91 |  | 72 | 73 | 0.0086081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4566-48_0_8_line_92 |  | 73 | 106 | 0.0078424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4566-48_0_8_line_93 |  | 74 | 75 | 0.023056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4566-48_0_8_line_94 |  | 74 | 76 | 0.031233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4566-48_0_8_line_95 |  | 76 | 162 | 0.015341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4566-48_0_8_line_96 |  | 77 | 160 | 0.018756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4566-48_0_8_line_97 |  | 78 | 149 | 0.015413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_4566-48_0_8_line_98 |  | 78 | 150 | 0.028029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4566-48_0_8_line_99 |  | 81 | 147 | 0.015278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_4566-48_0_8_line_100 |  | 83 | 121 | 0.019331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4566-48_0_8_line_101 |  | 84 | 137 | 0.01859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4566-48_0_8_line_102 |  | 84 | 123 | 0.003635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4566-48_0_8_line_103 |  | 84 | 135 | 0.01125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4566-48_0_8_line_104 |  | 86 | 140 | 0.013028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4566-48_0_8_line_105 |  | 86 | 139 | 0.0091373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4566-48_0_8_line_106 |  | 87 | 141 | 0.02922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4566-48_0_8_line_107 |  | 89 | 148 | 0.01585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4566-48_0_8_line_108 |  | 90 | 91 | 0.031051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4566-48_0_8_line_109 |  | 90 | 92 | 0.015076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4566-48_0_8_line_110 |  | 93 | 163 | 0.01856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4566-48_0_8_line_111 |  | 94 | 95 | 0.018888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4566-48_0_8_line_112 |  | 95 | 142 | 0.00079094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4566-48_0_8_line_113 |  | 96 | 153 | 0.012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4566-48_0_8_line_114 |  | 98 | 103 | 0.02314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4566-48_0_8_line_115 |  | 99 | 131 | 0.08001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4566-48_0_8_line_116 |  | 100 | 101 | 0.028569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4566-48_0_8_line_117 |  | 101 | 102 | 0.035214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4566-48_0_8_line_118 |  | 102 | 103 | 0.003542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4566-48_0_8_line_119 |  | 103 | 120 | 0.005652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4566-48_0_8_line_120 |  | 104 | 105 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4566-48_0_8_line_121 |  | 104 | 106 | 0.01654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4566-48_0_8_line_122 |  | 104 | 107 | 0.015232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4566-48_0_8_line_123 |  | 105 | 124 | 0.0028333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4566-48_0_8_line_124 |  | 107 | 108 | 0.014218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4566-48_0_8_line_125 |  | 108 | 109 | 0.029261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4566-48_0_8_line_126 |  | 108 | 110 | 0.023335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4566-48_0_8_line_127 |  | 108 | 111 | 0.0095248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4566-48_0_8_line_128 |  | 109 | 112 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4566-48_0_8_line_129 |  | 109 | 113 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4566-48_0_8_line_130 |  | 110 | 116 | 0.010593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4566-48_0_8_line_131 |  | 110 | 114 | 0.018603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4566-48_0_8_line_132 |  | 112 | 125 | 0.0078861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4566-48_0_8_line_133 |  | 114 | 115 | 0.005733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4566-48_0_8_line_134 |  | 115 | 119 | 0.0093117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4566-48_0_8_line_135 |  | 115 | 126 | 0.031307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
136 | LV_4566-48_0_8_line_136 |  | 117 | 118 | 0.003786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4566-48_0_8_line_137 |  | 117 | 119 | 0.035282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4566-48_0_8_line_138 |  | 118 | 129 | 0.033677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4566-48_0_8_line_139 |  | 118 | 130 | 0.0044739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4566-48_0_8_line_140 |  | 120 | 132 | 0.016726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4566-48_0_8_line_141 |  | 122 | 123 | 0.0080224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4566-48_0_8_line_142 |  | 123 | 136 | 0.016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4566-48_0_8_line_143 |  | 125 | 155 | 0.0078861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4566-48_0_8_line_144 |  | 126 | 143 | 0.021928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
145 | LV_4566-48_0_8_line_145 |  | 127 | 128 | 0.0072896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4566-48_0_8_line_146 |  | 128 | 166 | 0.011282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4566-48_0_8_line_147 |  | 134 | 135 | 0.018771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4566-48_0_8_line_148 |  | 137 | 138 | 0.0052285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4566-48_0_8_line_149 |  | 141 | 142 | 0.032476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4566-48_0_8_line_150 |  | 143 | 144 | 0.020703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
151 | LV_4566-48_0_8_line_151 |  | 144 | 145 | 0.0077816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
152 | LV_4566-48_0_8_line_152 |  | 145 | 146 | 0.014136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
153 | LV_4566-48_0_8_line_153 |  | 146 | 147 | 0.0072993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
154 | LV_4566-48_0_8_line_154 |  | 149 | 151 | 0.017255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
155 | LV_4566-48_0_8_line_155 |  | 151 | 154 | 0.0044831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
156 | LV_4566-48_0_8_line_156 |  | 152 | 153 | 0.0005308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4566-48_0_8_line_157 |  | 155 | 161 | 0.0078899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4566-48_0_8_line_158 |  | 156 | 157 | 0.01287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4566-48_0_8_line_159 |  | 156 | 158 | 0.011518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4566-48_0_8_line_160 |  | 157 | 159 | 0.02353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4566-48_0_8_line_161 |  | 159 | 161 | 0.0078861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4566-48_0_8_line_162 |  | 160 | 162 | 0.013488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_4566-48_0_8_line_163 |  | 163 | 164 | 0.0077448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_4566-48_0_8_line_164 |  | 164 | 165 | 0.012431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_4566-48_0_8_line_165 |  | 165 | 166 | 0.005867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-48_0_8_trafo_130 | 0.63 MVA 20/0.4 kV | 167 | 149 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2709010.4943 | 1267875.3909 | 2708986.9465 | 1267872.7906
1 | 2709042.7597 | 1267878.9538 | 2709010.4943 | 1267875.3909
2 | 2708966.3642 | 1267870.3652 | 2708977.8224 | 1267871.783 | 2708986.9465 | 1267872.7906
3 | 2709042.7597 | 1267878.9538 | 2709042.1703 | 1267883.558 | 2709049.6752 | 1267884.4306 | 2709049.0301 | 1267890.0124
4 | 2708983.4952 | 1267814.8827 | 2708984.5415 | 1267807.5512 | 2709002.9085 | 1267797.926 | 2709007.0478 | 1267805.7536 | 2709023.3773 | 1267838.7946 | 2709042.7597 | 1267878.9538
5 | 2708945.1862 | 1267867.7445 | 2708966.3642 | 1267870.3652
6 | 2709049.0301 | 1267890.0124 | 2709047.4004 | 1267904.0612 | 2709046.9967 | 1267907.579 | 2709052.6288 | 1267908.3503
7 | 2709049.0301 | 1267890.0124 | 2709017.526 | 1267886.2998
8 | 2708983.4952 | 1267814.8827 | 2708987.7803 | 1267815.629 | 2708988.4844 | 1267816.9895
9 | 2708924.0873 | 1267865.1337 | 2708945.1862 | 1267867.7445
10 | 2708721.3534 | 1267978.8966 | 2708725.5535 | 1267976.8943
11 | 2708721.3534 | 1267978.8966 | 2708709.4801 | 1267983.9003
12 | 2708725.5535 | 1267976.8943 | 2708724.7765 | 1267975.059
13 | 2708725.5535 | 1267976.8943 | 2708728.4475 | 1267983.6757 | 2708733.8346 | 1267996.1189 | 2708734.107 | 1267996.7697
14 | 2708709.4801 | 1267983.9003 | 2708707.7795 | 1267984.6169
15 | 2708907.4712 | 1267902.2014 | 2708911.8286 | 1267905.151
16 | 2708911.8286 | 1267905.151 | 2708935.9805 | 1267921.5559
17 | 2708911.8286 | 1267905.151 | 2708912.5361 | 1267900.2598 | 2708914.5287 | 1267901.6199 | 2708916.921 | 1267898.4501
18 | 2708911.8286 | 1267905.151 | 2708906.9567 | 1267939.0292
19 | 2708907.4712 | 1267902.2014 | 2708899.9642 | 1267912.8724
20 | 2708935.9805 | 1267921.5559 | 2708940.6406 | 1267924.7212 | 2708953.739 | 1267933.5951
21 | 2708916.921 | 1267898.4501 | 2708918.3818 | 1267896.3975 | 2708922.8828 | 1267889.9572
22 | 2708894.863 | 1267873.5109 | 2708893.2305 | 1267877.5287 | 2708905.9551 | 1267890.9304 | 2708916.921 | 1267898.4501
23 | 2708906.9567 | 1267939.0292 | 2708903.7136 | 1267961.5815
24 | 2708894.863 | 1267873.5109 | 2708893.7389 | 1267867.1068 | 2708895.2109 | 1267860.7729
25 | 2708895.2109 | 1267860.7729 | 2708901.3558 | 1267862.3208 | 2708924.0873 | 1267865.1337
26 | 2709052.6288 | 1267908.3503 | 2709050.725 | 1267924.6071 | 2709049.102 | 1267936.3531
27 | 2709021.9846 | 1267908.9187 | 2709023.6937 | 1267907.2822 | 2709024.1 | 1267906.8893 | 2709030.197 | 1267904.9112 | 2709040.7688 | 1267903.594 | 2709047.4004 | 1267904.0612 | 2709046.9967 | 1267907.579 | 2709052.6288 | 1267908.3503
28 | 2709052.6288 | 1267908.3503 | 2709066.5457 | 1267910.2409
29 | 2708841.6693 | 1267996.6712 | 2708860.2495 | 1267998.3037
30 | 2708841.6693 | 1267996.6712 | 2708840.9685 | 1268001.607 | 2708839.3857 | 1268019.8564
31 | 2708860.2495 | 1267998.3037 | 2708861.7095 | 1267980.6014
32 | 2708897.9509 | 1268001.6234 | 2708860.2495 | 1267998.3037
33 | 2708839.3857 | 1268019.8564 | 2708838.0622 | 1268035.1159 | 2708837.0117 | 1268045.3618
34 | 2708996.4602 | 1267832.4003 | 2708988.4844 | 1267816.9895
35 | 2709034.1975 | 1267988.3352 | 2709031.6839 | 1267986.6541
36 | 2709034.1975 | 1267988.3352 | 2709038.7899 | 1267991.4903
37 | 2709031.6839 | 1267986.6541 | 2709029.5201 | 1267986.8254 | 2709028.1504 | 1267987.6119 | 2709027.2978 | 1267988.5303 | 2709021.5053 | 1268002.1861
38 | 2709026.0497 | 1267982.7356 | 2709031.6839 | 1267986.6541
39 | 2709057.6679 | 1268004.4596 | 2709038.7899 | 1267991.4903
40 | 2708964.2115 | 1267930.8945 | 2708976.0453 | 1267913.4086
41 | 2708964.2115 | 1267930.8945 | 2708981.1945 | 1267942.3898
42 | 2708976.0453 | 1267913.4086 | 2708954.7907 | 1267899.4259
43 | 2709007.0452 | 1267959.8874 | 2708981.1945 | 1267942.3898
44 | 2709046.5257 | 1267947.3493 | 2709047.9846 | 1267942.9502 | 2709048.8566 | 1267938.1288 | 2709049.102 | 1267936.3531
45 | 2709003.075 | 1267906.3566 | 2709021.9846 | 1267908.9187
46 | 2709021.9846 | 1267908.9187 | 2709020.8962 | 1267909.9662 | 2709020.2103 | 1267912.4557 | 2709019.229 | 1267920.3788
47 | 2708777.9411 | 1268096.3732 | 2708781.1838 | 1268100.5699 | 2708784.6762 | 1268103.47 | 2708794.3413 | 1268106.8064 | 2708819.3509 | 1268110.8593 | 2708822.7385 | 1268086.7674
48 | 2708773.9224 | 1268097.5225 | 2708777.9411 | 1268096.3732
49 | 2708777.9411 | 1268096.3732 | 2708776.8964 | 1268094.241 | 2708770.2374 | 1268079.3285
50 | 2708803.6379 | 1268084.3803 | 2708822.7385 | 1268086.7674
51 | 2708822.7385 | 1268086.7674 | 2708827.9733 | 1268087.4422 | 2708827.8252 | 1268088.9408 | 2708832.5114 | 1268089.5609
52 | 2708822.7385 | 1268086.7674 | 2708827.4877 | 1268038.1296
53 | 2708773.9224 | 1268097.5225 | 2708768.5155 | 1268098.8352
54 | 2708757.0785 | 1268049.8711 | 2708766.3766 | 1268070.6825 | 2708770.2374 | 1268079.3285
55 | 2708802.4234 | 1268092.6874 | 2708803.6379 | 1268084.3803
56 | 2708803.6379 | 1268084.3803 | 2708802.4582 | 1268081.4004
57 | 2708832.5114 | 1268089.5609 | 2708841.4663 | 1268091.4052 | 2708843.175 | 1268093.0492 | 2708844.254 | 1268094.9597 | 2708843.9378 | 1268097.0001 | 2708843.5731 | 1268099.3533
58 | 2708832.5114 | 1268089.5609 | 2708833.7904 | 1268076.8495
59 | 2708827.4877 | 1268038.1296 | 2708830.1816 | 1268010.5397
60 | 2708843.5731 | 1268099.3533 | 2708842.7159 | 1268104.8844 | 2708843.1912 | 1268106.8727 | 2708844.9366 | 1268108.1615 | 2708847.9182 | 1268109.7734 | 2708864.3079 | 1268112.8329
61 | 2708833.7904 | 1268076.8495 | 2708834.1521 | 1268073.2548 | 2708837.0117 | 1268045.3618
62 | 2709066.6846 | 1268010.6541 | 2709057.6679 | 1268004.4596
63 | 2709066.6846 | 1268010.6541 | 2709056.8245 | 1268026.293
64 | 2709056.8245 | 1268026.293 | 2709054.6944 | 1268029.6716 | 2709052.2718 | 1268035.5104
65 | 2708697.8467 | 1267870.2699 | 2708742.0014 | 1267874.7973
66 | 2708697.8467 | 1267870.2699 | 2708709.5214 | 1267925.5882 | 2708712.4527 | 1267940.1659 | 2708714.1439 | 1267946.4469 | 2708715.7509 | 1267952.3927 | 2708719.4978 | 1267963.1487 | 2708723.9591 | 1267973.1284 | 2708724.7765 | 1267975.059
67 | 2708743.6443 | 1267908.2231 | 2708740.7848 | 1267884.8503 | 2708742.0014 | 1267874.7973
68 | 2709026.0497 | 1267982.7356 | 2709027.599 | 1267979.15 | 2709029.4588 | 1267975.0585
69 | 2709026.0497 | 1267982.7356 | 2709021.7869 | 1267992.61 | 2709021.2203 | 1267993.9216
70 | 2709029.4588 | 1267975.0585 | 2709036.0988 | 1267960.3905 | 2709039.866 | 1267952.075 | 2709042.5265 | 1267946.2079 | 2709046.5257 | 1267947.3493
71 | 2709029.4588 | 1267975.0585 | 2709007.0452 | 1267959.8874
72 | 2709021.2203 | 1267993.9216 | 2709020.5286 | 1267995.5226 | 2709018.4523 | 1268000.333 | 2709018.1818 | 1268000.9586
73 | 2709046.5257 | 1267947.3493 | 2709044.8699 | 1267951.4001
74 | 2709044.8699 | 1267951.4001 | 2709059.4376 | 1267955.2547
75 | 2709072.6123 | 1267958.7406 | 2709059.4376 | 1267955.2547
76 | 2708666.133 | 1268002.1678 | 2708707.7795 | 1267984.6169
77 | 2708662.7279 | 1268003.5174 | 2708666.133 | 1268002.1678
78 | 2708666.133 | 1268002.1678 | 2708668.3537 | 1268008.7254 | 2708670.7599 | 1268016.1129
79 | 2708662.7279 | 1268003.5174 | 2708673.3195 | 1268035.3166
80 | 2708662.7279 | 1268003.5174 | 2708659.1811 | 1267992.9319
81 | 2708670.7599 | 1268016.1129 | 2708680.2699 | 1268045.3107
82 | 2708659.1811 | 1267992.9319 | 2708651.3492 | 1267995.5124 | 2708648.694 | 1267995.7971 | 2708648.0302 | 1267995.7328
83 | 2708605.1075 | 1267989.4905 | 2708646.1464 | 1267995.5501 | 2708648.0302 | 1267995.7328
84 | 2708739.5098 | 1268009.6795 | 2708734.107 | 1267996.7697
85 | 2708736.1638 | 1268011.0859 | 2708737.6794 | 1268014.3876
86 | 2708736.1638 | 1268011.0859 | 2708739.5098 | 1268009.6795
87 | 2708739.5098 | 1268009.6795 | 2708769.7263 | 1267996.9453
88 | 2708739.5098 | 1268009.6795 | 2708745.1467 | 1268022.3236
89 | 2708970.4246 | 1267944.8595 | 2708959.7426 | 1267937.6624 | 2708953.739 | 1267933.5951
90 | 2708903.7136 | 1267961.5815 | 2708903.2434 | 1267964.851
91 | 2708899.3829 | 1268119.2585 | 2708894.9792 | 1268119.4821 | 2708890.7807 | 1268119.4511
92 | 2708907.2152 | 1268118.8608 | 2708899.3829 | 1268119.2585
93 | 2708849.1377 | 1267921.1098 | 2708849.6237 | 1267916.3924 | 2708851.3775 | 1267898.163
94 | 2708849.1377 | 1267921.1098 | 2708867.711 | 1267924.3547 | 2708869.8279 | 1267925.5058 | 2708870.5557 | 1267927.6767 | 2708869.9568 | 1267935.3328
95 | 2708869.9568 | 1267935.3328 | 2708869.1275 | 1267945.9329 | 2708865.8801 | 1267949.3427
96 | 2708863.498 | 1267962.577 | 2708863.498 | 1267962.577 | 2708864.5569 | 1267963.9421 | 2708864.4843 | 1267965.431 | 2708864.2348 | 1267969.1629 | 2708863.7905 | 1267973.6587 | 2708862.8627 | 1267977.4337 | 2708861.7523 | 1267980.0822 | 2708861.7095 | 1267980.6014
97 | 2708897.9509 | 1268001.6234 | 2708900.1479 | 1267986.3677
98 | 2708897.9509 | 1268001.6234 | 2708908.0353 | 1268013.2527 | 2708907.1385 | 1268025.857
99 | 2709021.5053 | 1268002.1861 | 2709016.9631 | 1268012.8942 | 2709015.851 | 1268016.3672
100 | 2708768.5155 | 1268098.8352 | 2708767.2325 | 1268100.6465 | 2708765.5959 | 1268102.0287 | 2708763.2039 | 1268102.3293 | 2708755.7473 | 1268100.4794 | 2708751.0095 | 1268099.3286
101 | 2708757.0785 | 1268049.8711 | 2708774.3115 | 1268042.8976
102 | 2708753.7031 | 1268051.2435 | 2708757.0785 | 1268049.8711
103 | 2708757.0785 | 1268049.8711 | 2708752.6384 | 1268039.5345
104 | 2708790.4608 | 1268086.5618 | 2708802.4582 | 1268081.4004
105 | 2708802.4582 | 1268081.4004 | 2708799.0545 | 1268072.9208
106 | 2708830.1816 | 1268010.5397 | 2708833.0212 | 1267981.4583
107 | 2709052.2718 | 1268035.5104 | 2709051.196 | 1268038.1032 | 2709047.9329 | 1268050.7312
108 | 2708996.071 | 1267962.3649 | 2708977.0017 | 1267949.2908 | 2708970.4246 | 1267944.8595
109 | 2708996.071 | 1267962.3649 | 2708989.1907 | 1267975.7796
110 | 2709018.1818 | 1268000.9586 | 2709013.6157 | 1268011.5201 | 2709011.6426 | 1268018.2924
111 | 2708838.0898 | 1267929.5501 | 2708836.2542 | 1267948.3489
112 | 2708836.1773 | 1267949.1361 | 2708836.2542 | 1267948.3489
113 | 2709072.6123 | 1267958.7406 | 2709077.3842 | 1267959.6184 | 2709081.0608 | 1267960.2868 | 2709081.3123 | 1267956.4548
114 | 2708687.6181 | 1268067.2527 | 2708683.2322 | 1268054.4053 | 2708680.2699 | 1268045.3107
115 | 2708605.1075 | 1267989.4905 | 2708598.0015 | 1268041.4272 | 2708625.3157 | 1268045.8552
116 | 2708632.3217 | 1268076.0748 | 2708660.4452 | 1268081.1004
117 | 2708684.2047 | 1268068.2352 | 2708681.2042 | 1268069.2809 | 2708682.2374 | 1268074.093 | 2708681.4075 | 1268078.2814 | 2708678.9527 | 1268081.1721 | 2708674.7472 | 1268083.063 | 2708664.734 | 1268081.8667 | 2708660.4452 | 1268081.1004
118 | 2708684.2047 | 1268068.2352 | 2708687.6181 | 1268067.2527
119 | 2708687.6181 | 1268067.2527 | 2708689.4469 | 1268072.6021
120 | 2708923.734 | 1268118.0219 | 2708923.7219 | 1268107.3872
121 | 2708923.734 | 1268118.0219 | 2708907.2152 | 1268118.8608
122 | 2708923.734 | 1268118.0219 | 2708938.8661 | 1268116.2822
123 | 2708923.7186 | 1268104.5539 | 2708923.7219 | 1268107.3872
124 | 2708952.9908 | 1268114.6583 | 2708938.8661 | 1268116.2822
125 | 2708959.3685 | 1268089.2983 | 2708957.0997 | 1268114.3338 | 2708954.4996 | 1268114.486 | 2708952.9908 | 1268114.6583
126 | 2708952.9908 | 1268114.6583 | 2708954.4996 | 1268114.486 | 2708957.0997 | 1268114.3338 | 2708959.6621 | 1268114.1809 | 2708963.8586 | 1268114.4141 | 2708976.2723 | 1268115.2548
127 | 2708952.9908 | 1268114.6583 | 2708953.6641 | 1268105.1573
128 | 2708959.3685 | 1268089.2983 | 2708949.0427 | 1268089.3429
129 | 2708959.3685 | 1268089.2983 | 2708959.6805 | 1268085.8567 | 2708960.6418 | 1268075.2546
130 | 2708976.2723 | 1268115.2548 | 2708976.4944 | 1268111.7892 | 2708976.2269 | 1268104.6737
131 | 2708994.8892 | 1268116.5104 | 2708976.2723 | 1268115.2548
132 | 2708949.0427 | 1268089.3429 | 2708941.1567 | 1268089.3769
133 | 2708994.8892 | 1268116.5104 | 2709000.626 | 1268116.9054
134 | 2709000.626 | 1268116.9054 | 2709009.9158 | 1268117.5437
135 | 2709000.626 | 1268116.9054 | 2708999.3759 | 1268115.7035 | 2708998.7132 | 1268114.4903 | 2708998.5207 | 1268112.6851 | 2709000.5097 | 1268086.3848
136 | 2709045.3799 | 1268116.186 | 2709045.1144 | 1268119.9622
137 | 2709045.1144 | 1268119.9622 | 2709009.9158 | 1268117.5437
138 | 2709045.3799 | 1268116.186 | 2709051.6079 | 1268116.479 | 2709056.4798 | 1268089.4732
139 | 2709045.3799 | 1268116.186 | 2709045.7017 | 1268111.7236
140 | 2708689.4469 | 1268072.6021 | 2708690.78 | 1268072.1595 | 2708694.3325 | 1268070.9794 | 2708695.8932 | 1268076.1682 | 2708698.5115 | 1268075.4379 | 2708699.8747 | 1268078.5972
141 | 2708753.7031 | 1268051.2435 | 2708756.915 | 1268058.5949
142 | 2708753.7031 | 1268051.2435 | 2708747.2379 | 1268036.3504
143 | 2708941.1567 | 1268089.3769 | 2708933.2707 | 1268089.4109
144 | 2709003.5082 | 1268064.6711 | 2709003.3934 | 1268065.2783 | 2709000.7715 | 1268082.923 | 2709000.5097 | 1268086.3848
145 | 2709002.0851 | 1268054.3269 | 2709001.2601 | 1268059.3115 | 2709000.8961 | 1268061.5189
146 | 2709004.3572 | 1268043.295 | 2709003.3114 | 1268046.883 | 2709002.1244 | 1268054.0896 | 2709002.0851 | 1268054.3269
147 | 2708752.6384 | 1268039.5345 | 2708747.8529 | 1268028.3938 | 2708745.1467 | 1268022.3236
148 | 2708779.1582 | 1268040.9364 | 2708774.3115 | 1268042.8976
149 | 2708836.1773 | 1267949.1361 | 2708833.0212 | 1267981.4583
150 | 2709003.5082 | 1268064.6711 | 2709006.7223 | 1268047.6688 | 2709007.586 | 1268044.3806
151 | 2709009.5628 | 1268036.8543 | 2709007.586 | 1268044.3806
152 | 2709013.6251 | 1268023.3188 | 2709010.8035 | 1268032.1306 | 2709009.5628 | 1268036.8543
153 | 2709015.851 | 1268016.3672 | 2709013.6251 | 1268023.3188
154 | 2708902.6053 | 1267969.2885 | 2708901.0592 | 1267980.0397 | 2708900.1479 | 1267986.3677
155 | 2708902.6053 | 1267969.2885 | 2708903.2434 | 1267964.851
156 | 2709081.3123 | 1267956.4548 | 2709080.7905 | 1267956.3578
157 | 2708933.2707 | 1268089.4109 | 2708925.3809 | 1268089.445
158 | 2708902.1238 | 1268068.0358 | 2708902.6411 | 1268069.3798 | 2708902.6735 | 1268080.8092
159 | 2708893.0436 | 1268073.8068 | 2708897.8069 | 1268073.1051 | 2708900.2633 | 1268070.9485 | 2708902.1238 | 1268068.0358
160 | 2708902.6735 | 1268080.8092 | 2708902.6983 | 1268089.5428 | 2708917.4949 | 1268089.479
161 | 2708925.3809 | 1268089.445 | 2708917.4949 | 1268089.479
162 | 2708865.8801 | 1267949.3427 | 2708865.5249 | 1267953.9068 | 2708864.5214 | 1267958.926 | 2708863.498 | 1267962.577
163 | 2709011.6426 | 1268018.2924 | 2709011.5822 | 1268018.4998 | 2709010.1594 | 1268023.3889 | 2709009.4775 | 1268025.7284
164 | 2709009.4775 | 1268025.7284 | 2709005.999 | 1268037.6624
165 | 2709005.999 | 1268037.6624 | 2709004.3572 | 1268043.295

## bus_geodata
| x | y | coords
0 | 2709010.4943 | 1267875.3909
1 | 2708986.9465 | 1267872.7906
2 | 2709042.7597 | 1267878.9538
3 | 2708966.3642 | 1267870.3652
4 | 2709049.0301 | 1267890.0124
5 | 2708983.4952 | 1267814.8827
6 | 2708945.1862 | 1267867.7445
7 | 2708721.3534 | 1267978.8966
8 | 2708725.5535 | 1267976.8943
9 | 2708709.4801 | 1267983.9003
10 | 2708911.8286 | 1267905.151
11 | 2708907.4712 | 1267902.2014
12 | 2708935.9805 | 1267921.5559
13 | 2708916.921 | 1267898.4501
14 | 2708906.9567 | 1267939.0292
15 | 2708894.863 | 1267873.5109
16 | 2708895.2109 | 1267860.7729
17 | 2709052.6288 | 1267908.3503
18 | 2709017.526 | 1267886.2998
19 | 2708841.6693 | 1267996.6712
20 | 2708860.2495 | 1267998.3037
21 | 2708839.3857 | 1268019.8564
22 | 2708988.4844 | 1267816.9895
23 | 2709034.1975 | 1267988.3352
24 | 2709031.6839 | 1267986.6541
25 | 2709038.7899 | 1267991.4903
26 | 2708924.0873 | 1267865.1337
27 | 2708964.2115 | 1267930.8945
28 | 2708976.0453 | 1267913.4086
29 | 2708981.1945 | 1267942.3898
30 | 2709049.102 | 1267936.3531
31 | 2709021.9846 | 1267908.9187
32 | 2709066.5457 | 1267910.2409
33 | 2708777.9411 | 1268096.3732
34 | 2708822.7385 | 1268086.7674
35 | 2708773.9224 | 1268097.5225
36 | 2708770.2374 | 1268079.3285
37 | 2708803.6379 | 1268084.3803
38 | 2708832.5114 | 1268089.5609
39 | 2708827.4877 | 1268038.1296
40 | 2708843.5731 | 1268099.3533
41 | 2708833.7904 | 1268076.8495
42 | 2708922.8828 | 1267889.9572
43 | 2709066.6846 | 1268010.6541
44 | 2709057.6679 | 1268004.4596
45 | 2709056.8245 | 1268026.293
46 | 2708697.8467 | 1267870.2699
47 | 2708742.0014 | 1267874.7973
48 | 2708724.7765 | 1267975.059
49 | 2709026.0497 | 1267982.7356
50 | 2709029.4588 | 1267975.0585
51 | 2709021.2203 | 1267993.9216
52 | 2709046.5257 | 1267947.3493
53 | 2709007.0452 | 1267959.8874
54 | 2708743.6443 | 1267908.2231
55 | 2708899.9642 | 1267912.8724
56 | 2709044.8699 | 1267951.4001
57 | 2709059.4376 | 1267955.2547
58 | 2708666.133 | 1268002.1678
59 | 2708707.7795 | 1267984.6169
60 | 2708662.7279 | 1268003.5174
61 | 2708670.7599 | 1268016.1129
62 | 2708659.1811 | 1267992.9319
63 | 2708648.0302 | 1267995.7328
64 | 2708734.107 | 1267996.7697
65 | 2708736.1638 | 1268011.0859
66 | 2708737.6794 | 1268014.3876
67 | 2708739.5097 | 1268009.6795
68 | 2708953.739 | 1267933.5951
69 | 2708903.7136 | 1267961.5815
70 | 2709003.075 | 1267906.3566
71 | 2709019.229 | 1267920.3788
72 | 2708890.7807 | 1268119.4511
73 | 2708899.3829 | 1268119.2585
74 | 2708849.1377 | 1267921.1098
75 | 2708851.3775 | 1267898.163
76 | 2708869.9568 | 1267935.3328
77 | 2708861.7095 | 1267980.6014
78 | 2708897.9509 | 1268001.6234
79 | 2708837.0117 | 1268045.3618
80 | 2708996.4602 | 1267832.4003
81 | 2709021.5053 | 1268002.1861
82 | 2708954.7907 | 1267899.4259
83 | 2708768.5155 | 1268098.8352
84 | 2708757.0785 | 1268049.8711
85 | 2708802.4234 | 1268092.6874
86 | 2708802.4582 | 1268081.4004
87 | 2708830.1816 | 1268010.5397
88 | 2708864.3079 | 1268112.8329
89 | 2709052.2718 | 1268035.5104
90 | 2708996.071 | 1267962.3649
91 | 2708970.4246 | 1267944.8595
92 | 2708989.1907 | 1267975.7796
93 | 2709018.1818 | 1268000.9586
94 | 2708838.0898 | 1267929.5501
95 | 2708836.2542 | 1267948.3489
96 | 2709072.6123 | 1267958.7406
97 | 2708673.3195 | 1268035.3166
98 | 2708680.2699 | 1268045.3107
99 | 2708605.1075 | 1267989.4905
100 | 2708632.3217 | 1268076.0748
101 | 2708660.4452 | 1268081.1004
102 | 2708684.2047 | 1268068.2352
103 | 2708687.6181 | 1268067.2527
104 | 2708923.734 | 1268118.0219
105 | 2708923.7219 | 1268107.3872
106 | 2708907.2152 | 1268118.8608
107 | 2708938.8661 | 1268116.2822
108 | 2708952.9908 | 1268114.6583
109 | 2708959.3685 | 1268089.2983
110 | 2708976.2723 | 1268115.2548
111 | 2708953.6641 | 1268105.1573
112 | 2708949.0427 | 1268089.3429
113 | 2708960.6418 | 1268075.2546
114 | 2708994.8892 | 1268116.5104
115 | 2709000.626 | 1268116.9054
116 | 2708976.2269 | 1268104.6737
117 | 2709045.1144 | 1268119.9622
118 | 2709045.3799 | 1268116.186
119 | 2709009.9158 | 1268117.5437
120 | 2708689.4469 | 1268072.6021
121 | 2708751.0095 | 1268099.3286
122 | 2708756.915 | 1268058.5949
123 | 2708753.7031 | 1268051.2435
124 | 2708923.7186 | 1268104.5539
125 | 2708941.1567 | 1268089.3769
126 | 2709000.5097 | 1268086.3848
127 | 2709000.8961 | 1268061.5189
128 | 2709002.0851 | 1268054.3269
129 | 2709056.4798 | 1268089.4732
130 | 2709045.7017 | 1268111.7236
131 | 2708625.3157 | 1268045.8552
132 | 2708699.8747 | 1268078.5972
133 | 2708769.7263 | 1267996.9453
134 | 2708745.1467 | 1268022.3236
135 | 2708752.6384 | 1268039.5345
136 | 2708747.2379 | 1268036.3504
137 | 2708774.3115 | 1268042.8976
138 | 2708779.1582 | 1268040.9364
139 | 2708799.0545 | 1268072.9208
140 | 2708790.4608 | 1268086.5618
141 | 2708833.0212 | 1267981.4583
142 | 2708836.1773 | 1267949.1361
143 | 2709003.5082 | 1268064.6711
144 | 2709007.586 | 1268044.3806
145 | 2709009.5628 | 1268036.8543
146 | 2709013.6251 | 1268023.3188
147 | 2709015.851 | 1268016.3672
148 | 2709047.9329 | 1268050.7312
149 | 2708900.1479 | 1267986.3677
150 | 2708907.1385 | 1268025.857
151 | 2708902.6053 | 1267969.2885
152 | 2709080.7905 | 1267956.3578
153 | 2709081.3123 | 1267956.4548
154 | 2708903.2434 | 1267964.851
155 | 2708933.2707 | 1268089.4109
156 | 2708902.1238 | 1268068.0358
157 | 2708902.6735 | 1268080.8092
158 | 2708893.0436 | 1268073.8068
159 | 2708917.4949 | 1268089.479
160 | 2708863.498 | 1267962.577
161 | 2708925.3809 | 1268089.445
162 | 2708865.8801 | 1267949.3427
163 | 2709011.6426 | 1268018.2924
164 | 2709009.4775 | 1268025.7284
165 | 2709005.999 | 1268037.6624
166 | 2709004.3572 | 1268043.295
167 | 2708897.9509 | 1268001.6234

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1