## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-51_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-51_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-51_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-51_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4566-51_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4566-51_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_4566-51_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4566-51_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_4566-51_0_3_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_4566-51_0_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_4566-51_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4566-51_0_3_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_4566-51_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_4566-51_0_3_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_4566-51_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4566-51_0_3_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_4566-51_0_3_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_4566-51_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4566-51_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4566-51_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4566-51_0_3_node_128 | 0.4 | n |  | TRUE
21 | bus_LV_4566-51_0_3_node_108 | 0.4 | n |  | TRUE
22 | bus_LV_4566-51_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4566-51_0_3_node_107 | 0.4 | n |  | TRUE
24 | bus_LV_4566-51_0_3_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_4566-51_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4566-51_0_3_node_149 | 0.4 | n |  | TRUE
27 | bus_LV_4566-51_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_4566-51_0_3_node_129 | 0.4 | n |  | TRUE
29 | bus_LV_4566-51_0_3_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_4566-51_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4566-51_0_3_node_137 | 0.4 | n |  | TRUE
32 | bus_LV_4566-51_0_3_node_136 | 0.4 | n |  | TRUE
33 | bus_LV_4566-51_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4566-51_0_3_node_109 | 0.4 | n |  | TRUE
35 | bus_LV_4566-51_0_3_node_132 | 0.4 | n |  | TRUE
36 | bus_LV_4566-51_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_4566-51_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4566-51_0_3_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_4566-51_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_4566-51_0_3_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_4566-51_0_3_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_4566-51_0_3_node_97 | 0.4 | n |  | TRUE
43 | bus_LV_4566-51_0_3_node_123 | 0.4 | n |  | TRUE
44 | bus_LV_4566-51_0_3_node_134 | 0.4 | n |  | TRUE
45 | bus_LV_4566-51_0_3_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_4566-51_0_3_node_148 | 0.4 | n |  | TRUE
47 | bus_LV_4566-51_0_3_node_118 | 0.4 | n |  | TRUE
48 | bus_LV_4566-51_0_3_node_120 | 0.4 | n |  | TRUE
49 | bus_LV_4566-51_0_3_node_146 | 0.4 | n |  | TRUE
50 | bus_LV_4566-51_0_3_node_119 | 0.4 | n |  | TRUE
51 | bus_LV_4566-51_0_3_node_141 | 0.4 | n |  | TRUE
52 | bus_LV_4566-51_0_3_node_153 | 0.4 | n |  | TRUE
53 | bus_LV_4566-51_0_3_node_122 | 0.4 | n |  | TRUE
54 | bus_LV_4566-51_0_3_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_4566-51_0_3_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_4566-51_0_3_node_93 | 0.4 | n |  | TRUE
57 | bus_LV_4566-51_0_3_node_113 | 0.4 | n |  | TRUE
58 | bus_LV_4566-51_0_3_node_121 | 0.4 | n |  | TRUE
59 | bus_LV_4566-51_0_3_node_130 | 0.4 | n |  | TRUE
60 | bus_LV_4566-51_0_3_node_133 | 0.4 | n |  | TRUE
61 | bus_LV_4566-51_0_3_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_4566-51_0_3_node_96 | 0.4 | n |  | TRUE
63 | bus_LV_4566-51_0_3_node_95 | 0.4 | n |  | TRUE
64 | bus_LV_4566-51_0_3_node_135 | 0.4 | n |  | TRUE
65 | bus_LV_4566-51_0_3_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_4566-51_0_3_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_4566-51_0_3_node_131 | 0.4 | n |  | TRUE
68 | bus_LV_4566-51_0_3_node_34 | 0.4 | n |  | TRUE
69 | bus_LV_4566-51_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_4566-51_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_4566-51_0_3_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_4566-51_0_3_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_4566-51_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4566-51_0_3_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_4566-51_0_3_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_4566-51_0_3_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_4566-51_0_3_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_4566-51_0_3_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_4566-51_0_3_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_4566-51_0_3_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_4566-51_0_3_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_4566-51_0_3_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_4566-51_0_3_node_124 | 0.4 | n |  | TRUE
84 | bus_LV_4566-51_0_3_node_138 | 0.4 | n |  | TRUE
85 | bus_LV_4566-51_0_3_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_4566-51_0_3_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_4566-51_0_3_node_111 | 0.4 | n |  | TRUE
88 | bus_LV_4566-51_0_3_node_110 | 0.4 | n |  | TRUE
89 | bus_MV_374_1_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-51_0_3_load_0 | 0 | 0.016166 | 0.0040515 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-51_0_3_load_1 | 1 | 0.0056033 | 0.0014043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-51_0_3_load_32 | 7 | 0.0042042 | 0.0010537 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-51_0_3_load_38 | 9 | 0.0014985 | 0.00037556 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-51_0_3_load_49 | 11 | 0.0032635 | 0.00081792 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-51_0_3_load_45 | 13 | 0.0031265 | 0.00078357 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-51_0_3_load_31 | 15 | 0.0034215 | 0.00085752 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-51_0_3_load_30 | 16 | 0.01459 | 0.0036565 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-51_0_3_load_128 | 20 | 0.0055786 | 0.0013981 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-51_0_3_load_108 | 21 | 0.0078407 | 0.0019651 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-51_0_3_load_107 | 23 | 0.0049265 | 0.0012347 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-51_0_3_load_81 | 24 | 0.0033469 | 0.0008388 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-51_0_3_load_149 | 26 | 0.0097017 | 0.0024315 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-51_0_3_load_129 | 28 | 0.0053105 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-51_0_3_load_35 | 29 | 0.006507 | 0.0016308 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-51_0_3_load_137 | 31 | 0.014682 | 0.0036796 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-51_0_3_load_136 | 32 | 0.0091486 | 0.0022928 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-51_0_3_load_132 | 35 | 0.0076746 | 0.0019234 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-51_0_3_load_44 | 36 | 0.0023911 | 0.00059927 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-51_0_3_load_82 | 38 | 0.0038773 | 0.00097175 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-51_0_3_load_37 | 39 | 0.0010936 | 0.00027409 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-51_0_3_load_46 | 40 | 0.0036641 | 0.0009183 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-51_0_3_load_80 | 41 | 0.0036545 | 0.0009159 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-51_0_3_load_134 | 44 | 0.0041867 | 0.0010493 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-51_0_3_load_148 | 46 | 0.0097023 | 0.0024316 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-51_0_3_load_146 | 49 | 0.0014473 | 0.00036273 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-51_0_3_load_141 | 51 | 0.0051226 | 0.0012838 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-51_0_3_load_153 | 52 | 0.010652 | 0.0026696 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-51_0_3_load_98 | 55 | 0.0023385 | 0.00058608 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-51_0_3_load_130 | 59 | 0.010251 | 0.0025691 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-51_0_3_load_133 | 60 | 0.005428 | 0.0013604 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-51_0_3_load_96 | 62 | 0.0020243 | 0.00050733 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-51_0_3_load_95 | 63 | 0.0022434 | 0.00056226 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-51_0_3_load_135 | 64 | 0.006276 | 0.0015729 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-51_0_3_load_83 | 66 | 0.015326 | 0.003841 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-51_0_3_load_131 | 67 | 0.0072005 | 0.0018046 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-51_0_3_load_34 | 68 | 0.0051998 | 0.0013032 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-51_0_3_load_62 | 69 | 0.004981 | 0.0012483 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-51_0_3_load_63 | 70 | 0.0088268 | 0.0022122 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-51_0_3_load_39 | 71 | 0.0018122 | 0.00045418 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-51_0_3_load_40 | 72 | 0.0015287 | 0.00038314 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-51_0_3_load_56 | 73 | 0.001708 | 0.00042806 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-51_0_3_load_50 | 74 | 0.0021429 | 0.00053706 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-51_0_3_load_47 | 75 | 0.0034989 | 0.00087691 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-51_0_3_load_52 | 76 | 0.0014897 | 0.00037336 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-51_0_3_load_86 | 77 | 0.0036031 | 0.00090302 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-51_0_3_load_87 | 78 | 0.0024617 | 0.00061696 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-51_0_3_load_88 | 79 | 0.002717 | 0.00068094 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-51_0_3_load_90 | 81 | 0.0016348 | 0.00040972 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-51_0_3_load_138 | 84 | 0.0049956 | 0.001252 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-51_0_3_load_91 | 85 | 0.0027064 | 0.00067828 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-51_0_3_load_92 | 86 | 0.0030376 | 0.00076131 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-51_0_3_load_110 | 88 | 0.0099012 | 0.0024815 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-51_0_3_line_0 |  | 0 | 1 | 0.059858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-51_0_3_line_1 |  | 0 | 2 | 0.030377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-51_0_3_line_2 |  | 1 | 3 | 0.016339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-51_0_3_line_3 |  | 2 | 4 | 0.00432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-51_0_3_line_4 |  | 3 | 5 | 0.009313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-51_0_3_line_5 |  | 4 | 6 | 0.017044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-51_0_3_line_6 |  | 4 | 7 | 0.017507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-51_0_3_line_7 |  | 5 | 24 | 0.023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-51_0_3_line_8 |  | 6 | 8 | 0.004995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-51_0_3_line_9 |  | 6 | 9 | 0.047929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-51_0_3_line_10 |  | 7 | 37 | 0.0099927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-51_0_3_line_11 |  | 8 | 38 | 0.010217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-51_0_3_line_12 |  | 8 | 11 | 0.042828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-51_0_3_line_13 |  | 9 | 39 | 0.030493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-51_0_3_line_14 |  | 10 | 11 | 0.015637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-51_0_3_line_15 |  | 10 | 12 | 0.042571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-51_0_3_line_16 |  | 10 | 13 | 0.014402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-51_0_3_line_17 |  | 12 | 36 | 0.033744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-51_0_3_line_18 |  | 13 | 40 | 0.017467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-51_0_3_line_19 |  | 14 | 15 | 0.022651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-51_0_3_line_20 |  | 14 | 16 | 0.052881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-51_0_3_line_21 |  | 15 | 41 | 0.0088537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-51_0_3_line_22 |  | 16 | 19 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-51_0_3_line_23 |  | 17 | 18 | 0.014444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-51_0_3_line_24 |  | 17 | 19 | 0.01234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-51_0_3_line_25 |  | 17 | 20 | 0.0080548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-51_0_3_line_26 |  | 18 | 21 | 0.028269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-51_0_3_line_27 |  | 18 | 22 | 0.012434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-51_0_3_line_28 |  | 18 | 23 | 0.012892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4566-51_0_3_line_29 |  | 20 | 27 | 0.059258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-51_0_3_line_30 |  | 21 | 43 | 0.0066344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-51_0_3_line_31 |  | 22 | 25 | 0.057121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-51_0_3_line_32 |  | 22 | 26 | 0.021955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-51_0_3_line_33 |  | 23 | 45 | 0.01721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4566-51_0_3_line_34 |  | 24 | 41 | 0.008666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-51_0_3_line_35 |  | 25 | 29 | 0.013375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-51_0_3_line_36 |  | 26 | 46 | 0.019264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-51_0_3_line_37 |  | 27 | 28 | 0.029299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-51_0_3_line_38 |  | 30 | 31 | 0.022873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-51_0_3_line_39 |  | 30 | 32 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-51_0_3_line_40 |  | 32 | 64 | 0.022641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-51_0_3_line_41 |  | 33 | 34 | 0.015076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-51_0_3_line_42 |  | 33 | 35 | 0.011137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-51_0_3_line_43 |  | 34 | 67 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-51_0_3_line_44 |  | 35 | 60 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-51_0_3_line_45 |  | 37 | 68 | 0.045195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-51_0_3_line_46 |  | 39 | 71 | 0.037538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-51_0_3_line_47 |  | 40 | 75 | 0.012792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-51_0_3_line_48 |  | 42 | 43 | 0.004012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-51_0_3_line_49 |  | 42 | 44 | 0.048835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-51_0_3_line_50 |  | 43 | 83 | 0.012799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-51_0_3_line_51 |  | 45 | 65 | 0.01222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-51_0_3_line_52 |  | 47 | 48 | 0.05237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-51_0_3_line_53 |  | 47 | 49 | 0.090931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-51_0_3_line_54 |  | 48 | 52 | 0.006949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-51_0_3_line_55 |  | 48 | 53 | 0.032323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-51_0_3_line_56 |  | 48 | 50 | 0.09356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-51_0_3_line_57 |  | 50 | 51 | 0.0085883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-51_0_3_line_58 |  | 53 | 54 | 0.003987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-51_0_3_line_59 |  | 54 | 55 | 0.012691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-51_0_3_line_60 |  | 54 | 56 | 0.008987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-51_0_3_line_61 |  | 55 | 80 | 0.013006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-51_0_3_line_62 |  | 56 | 85 | 0.018471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-51_0_3_line_63 |  | 57 | 58 | 0.007168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-51_0_3_line_64 |  | 57 | 59 | 0.022645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-51_0_3_line_65 |  | 58 | 60 | 0.018019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-51_0_3_line_66 |  | 58 | 61 | 0.03863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-51_0_3_line_67 |  | 61 | 87 | 0.005151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-51_0_3_line_68 |  | 61 | 64 | 0.014456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4566-51_0_3_line_69 |  | 62 | 63 | 0.0078174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-51_0_3_line_70 |  | 63 | 81 | 0.0059181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4566-51_0_3_line_71 |  | 65 | 66 | 0.009487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-51_0_3_line_72 |  | 67 | 83 | 0.011063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-51_0_3_line_73 |  | 68 | 69 | 0.028467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-51_0_3_line_74 |  | 69 | 70 | 0.0094873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-51_0_3_line_75 |  | 71 | 72 | 0.019827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-51_0_3_line_76 |  | 72 | 73 | 0.0060766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-51_0_3_line_77 |  | 72 | 74 | 0.036229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-51_0_3_line_78 |  | 74 | 76 | 0.018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-51_0_3_line_79 |  | 77 | 78 | 0.017984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-51_0_3_line_80 |  | 77 | 79 | 0.019884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-51_0_3_line_81 |  | 78 | 80 | 0.01501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-51_0_3_line_82 |  | 79 | 81 | 0.0099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-51_0_3_line_83 |  | 80 | 82 | 0.003799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-51_0_3_line_84 |  | 82 | 83 | 0.019426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-51_0_3_line_85 |  | 82 | 84 | 0.0085226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-51_0_3_line_86 |  | 85 | 86 | 0.008542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-51_0_3_line_87 |  | 87 | 88 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-51_0_3_trafo_85 | 0.63 MVA 20/0.4 kV | 89 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2708111.7076 | 1267742.7003 | 2708134.6222 | 1267742.2265 | 2708171.5554 | 1267742.8699
1 | 2708081.5468 | 1267746.2257 | 2708093.8196 | 1267744.5265 | 2708110.0919 | 1267742.7337 | 2708111.7076 | 1267742.7003
2 | 2708187.7885 | 1267743.9566 | 2708184.2508 | 1267743.0911 | 2708171.5554 | 1267742.8699
3 | 2708077.3069 | 1267747.1156 | 2708081.5468 | 1267746.2257
4 | 2708187.7885 | 1267743.9566 | 2708190.4699 | 1267745.1289 | 2708191.7509 | 1267747.9437 | 2708191.7581 | 1267751.2467
5 | 2708071.0747 | 1267731.3991 | 2708076.5248 | 1267742.5418 | 2708077.3069 | 1267747.1156
6 | 2708077.3069 | 1267747.1156 | 2708080.2509 | 1267764.3732
7 | 2708191.7581 | 1267751.2467 | 2708188.426 | 1267774.0038
8 | 2708071.0747 | 1267731.3991 | 2708066.2469 | 1267732.7342
9 | 2708071.0747 | 1267731.3991 | 2708050.0112 | 1267688.3472
10 | 2708083.2233 | 1267773.9136 | 2708080.2509 | 1267764.3732
11 | 2708066.2469 | 1267732.7342 | 2708064.9538 | 1267728.9295 | 2708062.2315 | 1267723.3608
12 | 2708066.2469 | 1267732.7342 | 2708066.1987 | 1267735.369 | 2708065.2314 | 1267738.4428 | 2708063.6101 | 1267739.8255 | 2708059.9617 | 1267742.1274 | 2708041.3939 | 1267745.9357 | 2708030.0498 | 1267748.2158
13 | 2708050.0112 | 1267688.3472 | 2708036.61 | 1267660.9564
14 | 2708014.7195 | 1267751.2972 | 2708030.0498 | 1267748.2158
15 | 2707990.5654 | 1267772.3962 | 2707989.0493 | 1267760.2024 | 2708015.3897 | 1267754.5789 | 2708014.7195 | 1267751.2972
16 | 2708014.7195 | 1267751.2972 | 2708011.8304 | 1267737.1877
17 | 2707990.5654 | 1267772.3962 | 2707993.2397 | 1267797.8338 | 2707985.1164 | 1267798.6684
18 | 2708008.3265 | 1267720.0756 | 2708011.8304 | 1267737.1877
19 | 2708182.3265 | 1267813.6057 | 2708183.1694 | 1267811.9753 | 2708184.867 | 1267798.6282 | 2708185.9138 | 1267791.3424
20 | 2708182.3265 | 1267813.6057 | 2708181.1401 | 1267815.8971 | 2708177.5607 | 1267818.545 | 2708170.8451 | 1267819.7787 | 2708131.8283 | 1267820.3223
21 | 2708185.9138 | 1267791.3424 | 2708187.1729 | 1267782.5787
22 | 2708119.1178 | 1267820.4994 | 2708131.8283 | 1267820.3223
23 | 2708105.5098 | 1267833.862 | 2708117.5717 | 1267832.9819 | 2708119.9162 | 1267832.8136
24 | 2708119.1178 | 1267820.4994 | 2708119.5166 | 1267826.6787 | 2708119.9162 | 1267832.8136
25 | 2708119.9162 | 1267832.8136 | 2708127.9699 | 1267832.679
26 | 2708105.5098 | 1267833.862 | 2708104.7257 | 1267862.1205
27 | 2708103.8571 | 1267821.7435 | 2708105.7025 | 1267827.0374 | 2708105.5098 | 1267833.862
28 | 2708105.5098 | 1267833.862 | 2708092.6309 | 1267834.4455
29 | 2708187.22 | 1267831.6888 | 2708127.9699 | 1267832.679
30 | 2708104.5398 | 1267868.7523 | 2708104.6468 | 1267864.962 | 2708104.7257 | 1267862.1205
31 | 2708103.8571 | 1267821.7435 | 2708046.7571 | 1267826.4256
32 | 2708103.8571 | 1267821.7435 | 2708102.3977 | 1267817.5688 | 2708101.8399 | 1267815.9572 | 2708091.8109 | 1267812.7154 | 2708086.5479 | 1267813.2157
33 | 2708075.4382 | 1267835.2243 | 2708092.6309 | 1267834.4455
34 | 2708187.1729 | 1267782.5787 | 2708187.3004 | 1267781.6914 | 2708188.426 | 1267774.0038
35 | 2708046.7571 | 1267826.4256 | 2708046.4419 | 1267823.0836 | 2708043.9491 | 1267821.4811 | 2708036.9253 | 1267822.1411
36 | 2708067.3705 | 1267815.039 | 2708086.5479 | 1267813.2157
37 | 2708182.7841 | 1267857.2519 | 2708186.6716 | 1267857.1007 | 2708186.827 | 1267848.6184 | 2708186.8566 | 1267847.0065 | 2708186.9833 | 1267840.0917 | 2708187.0757 | 1267835.0446 | 2708187.1089 | 1267833.2325 | 2708187.22 | 1267831.6888
38 | 2708009.8582 | 1267857.7671 | 2708010.3894 | 1267866.1841 | 2708024.6809 | 1267868.5251
39 | 2708024.6809 | 1267868.5251 | 2708024.3947 | 1267870.5883 | 2708023.0901 | 1267880.1728 | 2708023.2592 | 1267880.954
40 | 2708019.397 | 1267903.0179 | 2708021.2729 | 1267895.9643 | 2708023.8537 | 1267883.7009 | 2708023.2592 | 1267880.954
41 | 2708063.2846 | 1267874.8475 | 2708078.2067 | 1267877.2891
42 | 2708063.2846 | 1267874.8475 | 2708061.6432 | 1267885.8624
43 | 2708078.2067 | 1267877.2891 | 2708093.2678 | 1267879.7569
44 | 2708061.6432 | 1267885.8624 | 2708058.824 | 1267904.7811
45 | 2708083.2233 | 1267773.9136 | 2708085.3068 | 1267780.602 | 2708047.894 | 1267788.267
46 | 2708012.4909 | 1267647.3636 | 2708027.0225 | 1267641.3603 | 2708036.61 | 1267660.9564
47 | 2708019.7806 | 1267714.3792 | 2708008.3265 | 1267720.0756 | 2708008.3265 | 1267720.0756
48 | 2708104.5398 | 1267868.7523 | 2708108.5621 | 1267868.6369
49 | 2708108.5621 | 1267868.6369 | 2708157.3749 | 1267867.1748
50 | 2708104.1851 | 1267881.5457 | 2708104.5398 | 1267868.7523
51 | 2708063.1941 | 1267835.7787 | 2708075.4382 | 1267835.2243
52 | 2708095.9265 | 1268005.3129 | 2708098.5404 | 1268003.5815 | 2708100.0168 | 1268001.073 | 2708100.6138 | 1267998.4816 | 2708101.9612 | 1267990.2658 | 2708103.3238 | 1267986.1539 | 2708105.3691 | 1267981.7653 | 2708107.8364 | 1267978.9969 | 2708103.4342 | 1267975.6023 | 2708101.921 | 1267971.0818 | 2708102.128 | 1267958.9529
53 | 2708095.9265 | 1268005.3129 | 2708093.8563 | 1268005.7198 | 2708089.6509 | 1268004.731 | 2708088.2206 | 1268004.3156 | 2708042.4806 | 1267991.835 | 2708032.6252 | 1267989.8197 | 2708007.3333 | 1267986.264
54 | 2708095.1594 | 1267958.8031 | 2708102.128 | 1267958.9529
55 | 2708102.128 | 1267958.9529 | 2708102.5273 | 1267935.9069 | 2708102.6503 | 1267928.7808 | 2708102.7272 | 1267926.6359
56 | 2708102.128 | 1267958.9529 | 2708105.7707 | 1267959.0085 | 2708105.568 | 1267967.6122 | 2708107.0725 | 1267972.1992 | 2708110.6119 | 1267975.4335 | 2708115.2084 | 1267976.8521 | 2708131.9083 | 1267980.4497 | 2708139.7444 | 1267982.1501 | 2708168.8772 | 1267988.4331 | 2708180.6159 | 1267990.7945
57 | 2708180.6159 | 1267990.7945 | 2708181.0006 | 1267988.6997 | 2708181.5619 | 1267985.5962 | 2708182.6953 | 1267982.4921
58 | 2708106.7108 | 1267926.9868 | 2708102.7272 | 1267926.6359
59 | 2708106.7108 | 1267926.9868 | 2708107.0807 | 1267914.3013
60 | 2708106.7108 | 1267926.9868 | 2708115.6842 | 1267927.8406
61 | 2708107.4597 | 1267901.3005 | 2708107.0807 | 1267914.3013
62 | 2708115.6842 | 1267927.8406 | 2708134.0709 | 1267929.5993
63 | 2708056.1695 | 1267922.6031 | 2708058.3699 | 1267922.8992 | 2708057.8132 | 1267927.8155
64 | 2708057.8132 | 1267927.8155 | 2708055.2758 | 1267950.3178
65 | 2708056.1695 | 1267922.6031 | 2708056.5208 | 1267920.2742 | 2708057.2679 | 1267915.2391 | 2708057.8175 | 1267911.5348 | 2708058.824 | 1267904.7811
66 | 2708056.1695 | 1267922.6031 | 2708053.5861 | 1267922.2556 | 2708043.357 | 1267920.9007 | 2708017.7795 | 1267917.3746
67 | 2708017.7795 | 1267917.3746 | 2708015.6385 | 1267922.0617
68 | 2708017.7795 | 1267917.3746 | 2708018.0874 | 1267915.3562 | 2708018.5862 | 1267909.0821 | 2708019.3245 | 1267903.2906 | 2708019.397 | 1267903.0179
69 | 2708175.8636 | 1267907.6247 | 2708183.6479 | 1267908.3444
70 | 2708169.9706 | 1267907.0799 | 2708175.8636 | 1267907.6247
71 | 2708063.1941 | 1267835.7787 | 2708059.7675 | 1267837.8956 | 2708055.5474 | 1267838.9416 | 2708054.4367 | 1267838.9807
72 | 2708104.1851 | 1267881.5457 | 2708093.2678 | 1267879.7569
73 | 2708047.894 | 1267788.267 | 2708020.006 | 1267793.9805
74 | 2708010.7117 | 1267795.8847 | 2708020.006 | 1267793.9805
75 | 2708012.4909 | 1267647.3636 | 2707994.1657 | 1267654.9341
76 | 2707988.5494 | 1267657.2543 | 2707994.1657 | 1267654.9341
77 | 2707994.1657 | 1267654.9341 | 2707981.8956 | 1267620.8467
78 | 2707997.5013 | 1267610.9278 | 2707989.3533 | 1267615.9611 | 2707981.8956 | 1267620.8467
79 | 2708140.3127 | 1267904.3379 | 2708122.4055 | 1267902.6823
80 | 2708140.3127 | 1267904.3379 | 2708160.1127 | 1267906.1685
81 | 2708107.4597 | 1267901.3005 | 2708122.4055 | 1267902.6823
82 | 2708169.9706 | 1267907.0799 | 2708160.1127 | 1267906.1685
83 | 2708103.6639 | 1267900.9641 | 2708107.4597 | 1267901.3005
84 | 2708103.6639 | 1267900.9641 | 2708104.1851 | 1267881.5457
85 | 2708103.6639 | 1267900.9641 | 2708103.3532 | 1267909.481
86 | 2708134.0709 | 1267929.5993 | 2708142.5741 | 1267930.4126
87 | 2708015.6385 | 1267922.0617 | 2708013.0238 | 1267944.7489

## bus_geodata
| x | y | coords
0 | 2708111.7076 | 1267742.7003
1 | 2708171.5554 | 1267742.8699
2 | 2708081.5468 | 1267746.2257
3 | 2708187.7885 | 1267743.9566
4 | 2708077.3069 | 1267747.1156
5 | 2708191.7581 | 1267751.2467
6 | 2708071.0747 | 1267731.3991
7 | 2708080.2509 | 1267764.3732
8 | 2708066.2469 | 1267732.7342
9 | 2708050.0112 | 1267688.3472
10 | 2708014.7195 | 1267751.2972
11 | 2708030.0498 | 1267748.2158
12 | 2707990.5654 | 1267772.3962
13 | 2708011.8304 | 1267737.1877
14 | 2708182.3265 | 1267813.6057
15 | 2708185.9138 | 1267791.3424
16 | 2708131.8283 | 1267820.3223
17 | 2708119.9162 | 1267832.8136
18 | 2708105.5098 | 1267833.862
19 | 2708119.1178 | 1267820.4994
20 | 2708127.9699 | 1267832.679
21 | 2708104.7257 | 1267862.1205
22 | 2708103.8571 | 1267821.7435
23 | 2708092.6309 | 1267834.4455
24 | 2708188.426 | 1267774.0038
25 | 2708046.7571 | 1267826.4256
26 | 2708086.5479 | 1267813.2157
27 | 2708187.22 | 1267831.6888
28 | 2708182.7841 | 1267857.2519
29 | 2708036.9253 | 1267822.1411
30 | 2708024.6809 | 1267868.5251
31 | 2708009.8582 | 1267857.7671
32 | 2708023.2592 | 1267880.954
33 | 2708063.2846 | 1267874.8475
34 | 2708078.2067 | 1267877.2891
35 | 2708061.6432 | 1267885.8624
36 | 2707985.1164 | 1267798.6684
37 | 2708083.2233 | 1267773.9136
38 | 2708062.2315 | 1267723.3608
39 | 2708036.61 | 1267660.9564
40 | 2708008.3265 | 1267720.0756
41 | 2708187.1729 | 1267782.5787
42 | 2708108.5621 | 1267868.6369
43 | 2708104.5398 | 1267868.7523
44 | 2708157.3749 | 1267867.1748
45 | 2708075.4382 | 1267835.2243
46 | 2708067.3705 | 1267815.039
47 | 2708095.9265 | 1268005.3129
48 | 2708102.128 | 1267958.9529
49 | 2708007.3333 | 1267986.264
50 | 2708180.6159 | 1267990.7945
51 | 2708182.6953 | 1267982.4921
52 | 2708095.1594 | 1267958.8031
53 | 2708102.7272 | 1267926.6359
54 | 2708106.7108 | 1267926.9868
55 | 2708107.0807 | 1267914.3013
56 | 2708115.6842 | 1267927.8406
57 | 2708057.8132 | 1267927.8155
58 | 2708056.1695 | 1267922.6031
59 | 2708055.2758 | 1267950.3178
60 | 2708058.824 | 1267904.7811
61 | 2708017.7795 | 1267917.3746
62 | 2708183.6479 | 1267908.3444
63 | 2708175.8636 | 1267907.6247
64 | 2708019.397 | 1267903.0179
65 | 2708063.1941 | 1267835.7787
66 | 2708054.4367 | 1267838.9807
67 | 2708093.2678 | 1267879.7569
68 | 2708047.894 | 1267788.267
69 | 2708020.006 | 1267793.9805
70 | 2708010.7117 | 1267795.8847
71 | 2708012.4909 | 1267647.3636
72 | 2707994.1657 | 1267654.9341
73 | 2707988.5494 | 1267657.2543
74 | 2707981.8956 | 1267620.8467
75 | 2708019.7806 | 1267714.3792
76 | 2707997.5013 | 1267610.9278
77 | 2708140.3127 | 1267904.3379
78 | 2708122.4055 | 1267902.6823
79 | 2708160.1127 | 1267906.1685
80 | 2708107.4597 | 1267901.3005
81 | 2708169.9706 | 1267907.0799
82 | 2708103.6639 | 1267900.9641
83 | 2708104.1851 | 1267881.5457
84 | 2708103.3532 | 1267909.481
85 | 2708134.0709 | 1267929.5993
86 | 2708142.5741 | 1267930.4126
87 | 2708015.6385 | 1267922.0617
88 | 2708013.0238 | 1267944.7489
89 | 2708063.1941 | 1267835.7787

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1