## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-52_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-52_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-52_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4566-52_0_4_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_4566-52_0_4_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_4566-52_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_4566-52_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4566-52_0_4_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_4566-52_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_4566-52_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4566-52_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4566-52_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_4566-52_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4566-52_0_4_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_4566-52_0_4_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_4566-52_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4566-52_0_4_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_4566-52_0_4_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_4566-52_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4566-52_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_4566-52_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4566-52_0_4_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_4566-52_0_4_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_4566-52_0_4_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_4566-52_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4566-52_0_4_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_4566-52_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_4566-52_0_4_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_4566-52_0_4_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_4566-52_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_4566-52_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_4566-52_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_4566-52_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4566-52_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4566-52_0_4_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_4566-52_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4566-52_0_4_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_4566-52_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_4566-52_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_4566-52_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4566-52_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_4566-52_0_4_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_4566-52_0_4_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_4566-52_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_4566-52_0_4_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_4566-52_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_4566-52_0_4_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_4566-52_0_4_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_4566-52_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4566-52_0_4_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_4566-52_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_4566-52_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_4566-52_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_4566-52_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_4566-52_0_4_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_4566-52_0_4_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_4566-52_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_4566-52_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_4566-52_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4566-52_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_4566-52_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4566-52_0_4_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_4566-52_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_4566-52_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4566-52_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_4566-52_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_4566-52_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_4566-52_0_4_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4566-52_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4566-52_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_MV_438_1_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-52_0_4_load_0 | 0 | 0.013261 | 0.0033235 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-52_0_4_load_1 | 1 | 0.0095095 | 0.0023833 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-52_0_4_load_31 | 3 | 0.0071633 | 0.0017953 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-52_0_4_load_35 | 8 | 0.03894 | 0.0097594 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-52_0_4_load_29 | 11 | 0.0098739 | 0.0024746 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-52_0_4_load_40 | 14 | 0.0070718 | 0.0017723 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-52_0_4_load_75 | 16 | 0.018739 | 0.0046965 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-52_0_4_load_73 | 17 | 0.0067639 | 0.0016952 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-52_0_4_load_71 | 21 | 0.008104 | 0.0020311 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-52_0_4_load_74 | 22 | 0.010294 | 0.0025799 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-52_0_4_load_68 | 23 | 0.0098485 | 0.0024683 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-52_0_4_load_80 | 25 | 0.020994 | 0.0052615 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-52_0_4_load_64 | 27 | 0.011936 | 0.0029915 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-52_0_4_load_63 | 28 | 0.0063239 | 0.0015849 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-52_0_4_load_50 | 30 | 0.0011166 | 0.00027985 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-52_0_4_load_61 | 31 | 0.0014797 | 0.00037085 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-52_0_4_load_65 | 34 | 0.011136 | 0.0027909 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-52_0_4_load_70 | 36 | 0.005085 | 0.0012744 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-52_0_4_load_38 | 37 | 0.013498 | 0.0033828 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-52_0_4_load_37 | 38 | 0.013743 | 0.0034444 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-52_0_4_load_78 | 41 | 0.0097892 | 0.0024534 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-52_0_4_load_72 | 42 | 0.032412 | 0.0081232 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-52_0_4_load_66 | 44 | 0.0052335 | 0.0013116 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-52_0_4_load_30 | 45 | 0.0066498 | 0.0016666 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-52_0_4_load_67 | 46 | 0.0023543 | 0.00059004 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-52_0_4_load_81 | 47 | 0.025317 | 0.006345 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-52_0_4_load_79 | 49 | 0.020994 | 0.0052615 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-52_0_4_load_56 | 51 | 0.010528 | 0.0026387 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-52_0_4_load_49 | 52 | 0.0011629 | 0.00029145 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-52_0_4_load_54 | 53 | 0.0015684 | 0.00039307 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-52_0_4_load_69 | 54 | 0.0058954 | 0.0014775 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-52_0_4_load_77 | 55 | 0.0097826 | 0.0024518 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-52_0_4_load_59 | 56 | 0.010787 | 0.0027034 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-52_0_4_load_76 | 61 | 0.0097891 | 0.0024534 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-52_0_4_load_62 | 62 | 0.0036148 | 0.00090595 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-52_0_4_load_52 | 63 | 0.0040577 | 0.001017 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-52_0_4_load_47 | 64 | 0.018146 | 0.0045479 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-52_0_4_load_60 | 65 | 0.0034864 | 0.00087377 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-52_0_4_load_51 | 66 | 0.0013168 | 0.00033003 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-52_0_4_load_48 | 67 | 0.0084646 | 0.0021214 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-52_0_4_load_53 | 68 | 0.00092402 | 0.00023158 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-52_0_4_load_55 | 69 | 0.0012535 | 0.00031416 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-52_0_4_line_0 |  | 0 | 1 | 0.035097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-52_0_4_line_1 |  | 1 | 2 | 0.013194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-52_0_4_line_2 |  | 2 | 3 | 0.026771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-52_0_4_line_3 |  | 2 | 4 | 0.095092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-52_0_4_line_4 |  | 2 | 5 | 0.081085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-52_0_4_line_5 |  | 3 | 9 | 0.025965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-52_0_4_line_6 |  | 4 | 37 | 0.003714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-52_0_4_line_7 |  | 4 | 38 | 0.055821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-52_0_4_line_8 |  | 5 | 22 | 0.016867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-52_0_4_line_9 |  | 6 | 7 | 0.029534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-52_0_4_line_10 |  | 6 | 8 | 0.021171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-52_0_4_line_11 |  | 7 | 43 | 0.004802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4566-52_0_4_line_12 |  | 7 | 37 | 0.035666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-52_0_4_line_13 |  | 9 | 10 | 0.020571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-52_0_4_line_14 |  | 10 | 11 | 0.0040892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-52_0_4_line_15 |  | 11 | 45 | 0.045933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-52_0_4_line_16 |  | 12 | 13 | 0.027993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-52_0_4_line_17 |  | 12 | 14 | 0.021354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-52_0_4_line_18 |  | 13 | 46 | 0.018556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-52_0_4_line_19 |  | 13 | 44 | 0.01167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-52_0_4_line_20 |  | 14 | 48 | 0.010064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-52_0_4_line_21 |  | 15 | 16 | 0.019628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-52_0_4_line_22 |  | 15 | 17 | 0.014629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-52_0_4_line_23 |  | 17 | 24 | 0.022237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-52_0_4_line_24 |  | 18 | 19 | 0.12081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-52_0_4_line_25 |  | 18 | 20 | 0.046523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-52_0_4_line_26 |  | 18 | 21 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-52_0_4_line_27 |  | 19 | 25 | 0.04385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-52_0_4_line_28 |  | 20 | 23 | 0.014584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-52_0_4_line_29 |  | 22 | 24 | 0.015696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-52_0_4_line_30 |  | 23 | 32 | 0.014769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-52_0_4_line_31 |  | 25 | 49 | 0.025954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-52_0_4_line_32 |  | 26 | 27 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-52_0_4_line_33 |  | 26 | 28 | 0.019689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-52_0_4_line_34 |  | 27 | 33 | 0.0015463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-52_0_4_line_35 |  | 29 | 30 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-52_0_4_line_36 |  | 29 | 31 | 0.02978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-52_0_4_line_37 |  | 30 | 52 | 0.026922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-52_0_4_line_38 |  | 31 | 53 | 0.009552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-52_0_4_line_39 |  | 32 | 33 | 0.019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-52_0_4_line_40 |  | 32 | 34 | 0.033993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-52_0_4_line_41 |  | 33 | 35 | 0.027763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-52_0_4_line_42 |  | 34 | 50 | 0.0055669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-52_0_4_line_43 |  | 35 | 36 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-52_0_4_line_44 |  | 39 | 40 | 0.032279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4566-52_0_4_line_45 |  | 39 | 41 | 0.018442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_4566-52_0_4_line_46 |  | 40 | 47 | 0.028161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-52_0_4_line_47 |  | 40 | 43 | 0.047508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4566-52_0_4_line_48 |  | 41 | 55 | 0.016601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4566-52_0_4_line_49 |  | 42 | 43 | 0.017356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-52_0_4_line_50 |  | 46 | 54 | 0.028751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-52_0_4_line_51 |  | 48 | 58 | 0.010775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4566-52_0_4_line_52 |  | 48 | 59 | 0.0076656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4566-52_0_4_line_53 |  | 50 | 51 | 0.020036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-52_0_4_line_54 |  | 51 | 69 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-52_0_4_line_55 |  | 53 | 68 | 0.0012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-52_0_4_line_56 |  | 55 | 61 | 0.016604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4566-52_0_4_line_57 |  | 56 | 57 | 0.01586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-52_0_4_line_58 |  | 57 | 65 | 0.0001469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-52_0_4_line_59 |  | 57 | 69 | 0.02193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-52_0_4_line_60 |  | 58 | 60 | 0.00569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-52_0_4_line_61 |  | 58 | 61 | 0.0096765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_4566-52_0_4_line_62 |  | 59 | 62 | 0.028762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_4566-52_0_4_line_63 |  | 59 | 63 | 0.02899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-52_0_4_line_64 |  | 60 | 64 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-52_0_4_line_65 |  | 62 | 65 | 0.0063339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-52_0_4_line_66 |  | 63 | 66 | 0.018658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-52_0_4_line_67 |  | 64 | 67 | 0.0096785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-52_0_4_line_68 |  | 66 | 68 | 0.0063771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-52_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 70 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2709331.2281 | 1268224.8327 | 2709342.1719 | 1268229.4019 | 2709357.1782 | 1268236.1633 | 2709363.275 | 1268239.1259
1 | 2709375.1134 | 1268244.9362 | 2709371.4689 | 1268243.3563 | 2709363.6022 | 1268239.2849 | 2709363.275 | 1268239.1259
2 | 2709389.9135 | 1268222.6018 | 2709375.1134 | 1268244.9362
3 | 2709341.11 | 1268297.3081 | 2709349.1964 | 1268296.0233 | 2709357.545 | 1268289.928 | 2709368.2653 | 1268280.5627 | 2709377.3834 | 1268276.4167 | 2709385.492 | 1268272.3077 | 2709392.8977 | 1268260.2232 | 2709394.8193 | 1268256.0551 | 2709395.5906 | 1268254.2456 | 2709392.2069 | 1268252.815 | 2709383.5408 | 1268248.8178 | 2709375.1134 | 1268244.9362
4 | 2709375.1134 | 1268244.9362 | 2709374.187 | 1268246.5872 | 2709372.7852 | 1268249.1079 | 2709380.6555 | 1268252.1784 | 2709425.3159 | 1268271.0773 | 2709426.6903 | 1268271.6588 | 2709429.586 | 1268273.425 | 2709430.5197 | 1268270.5732 | 2709439.0705 | 1268262.9138
5 | 2709389.9135 | 1268222.6018 | 2709404.6067 | 1268201.1663
6 | 2709341.11 | 1268297.3081 | 2709339.6927 | 1268300.741
7 | 2709341.11 | 1268297.3081 | 2709357.3445 | 1268269.8624 | 2709342.1028 | 1268262.8075 | 2709335.4983 | 1268260.1004
8 | 2709439.0705 | 1268262.9138 | 2709439.8496 | 1268263.5287 | 2709452.225 | 1268273.4712
9 | 2709328.2569 | 1268334.4471 | 2709311.631 | 1268333.8501 | 2709301.5801 | 1268333.4972 | 2709298.6537 | 1268333.3874
10 | 2709298.6537 | 1268333.3874 | 2709300.685 | 1268314.7532 | 2709300.8333 | 1268312.3315
11 | 2709328.2569 | 1268334.4471 | 2709327.7244 | 1268339.2191
12 | 2709328.2569 | 1268334.4471 | 2709332.9447 | 1268317.0853 | 2709339.6927 | 1268300.741
13 | 2709393.6115 | 1268187.9735 | 2709399.8669 | 1268190.8473 | 2709403.3845 | 1268193.1811 | 2709406.5366 | 1268198.1772 | 2709404.6067 | 1268201.1663
14 | 2709393.6115 | 1268187.9735 | 2709389.8953 | 1268186.2672
15 | 2709389.8953 | 1268186.2672 | 2709389.0431 | 1268185.876 | 2709381.5249 | 1268182.4894 | 2709365.054 | 1268176.7573 | 2709353.0748 | 1268171.9759 | 2709347.152 | 1268169.5201
16 | 2709311.5128 | 1268477.662 | 2709314.9255 | 1268449.8787
17 | 2709314.9255 | 1268449.8787 | 2709334.641 | 1268458.082
18 | 2709311.5128 | 1268477.662 | 2709309.6983 | 1268496.1292
19 | 2709311.5128 | 1268477.662 | 2709299.8549 | 1268477.1399
20 | 2709343.9327 | 1268461.9482 | 2709334.641 | 1268458.082
21 | 2709487.7409 | 1268254.7415 | 2709490.6289 | 1268258.5428 | 2709499.7228 | 1268266.2625 | 2709502.0048 | 1268268.0927
22 | 2709487.7409 | 1268254.7415 | 2709485.9317 | 1268256.4984 | 2709478.412 | 1268265.9866
23 | 2709464.4613 | 1268283.3018 | 2709470.7922 | 1268275.6013 | 2709478.412 | 1268265.9866
24 | 2709430.0279 | 1268383.6181 | 2709441.2845 | 1268393.6464 | 2709449.4234 | 1268400.8924 | 2709475.6434 | 1268422.8083 | 2709503.3 | 1268445.1847 | 2709522.8055 | 1268460.971
25 | 2709492.1579 | 1268495.9669 | 2709496.7423 | 1268490.6917 | 2709501.3257 | 1268485.4721 | 2709509.7949 | 1268476.1209 | 2709517.6404 | 1268467.114 | 2709519.6047 | 1268464.7039 | 2709520.782 | 1268463.3245 | 2709522.8055 | 1268460.971
26 | 2709522.8055 | 1268460.971 | 2709525.4681 | 1268457.851 | 2709531.4101 | 1268451.222 | 2709532.4246 | 1268449.9104
27 | 2709430.0279 | 1268383.6181 | 2709432.253 | 1268378.5104 | 2709441.9729 | 1268371.1284 | 2709446.6244 | 1268365.4875 | 2709446.9225 | 1268353.8717 | 2709442.7312 | 1268348.0891
28 | 2709492.1579 | 1268495.9669 | 2709485.6539 | 1268503.6754 | 2709482.6585 | 1268507.0313
29 | 2709464.4613 | 1268283.3018 | 2709452.225 | 1268273.4712
30 | 2709472.942 | 1268518.1525 | 2709477.6666 | 1268512.6241 | 2709482.6585 | 1268507.0313
31 | 2709441.7407 | 1268322.7375 | 2709443.4891 | 1268325.072 | 2709443.5343 | 1268331.9788 | 2709442.7312 | 1268348.0891 | 2709442.7312 | 1268348.0891
32 | 2709448.4051 | 1268546.3781 | 2709457.7884 | 1268535.6203 | 2709459.3837 | 1268533.8228
33 | 2709448.4051 | 1268546.3781 | 2709446.6054 | 1268548.4354 | 2709435.5483 | 1268561.2902
34 | 2709460.4101 | 1268532.6663 | 2709459.3837 | 1268533.8228
35 | 2709340.6605 | 1268558.961 | 2709355.0981 | 1268558.4521
36 | 2709340.6605 | 1268558.961 | 2709342.5543 | 1268540.4355 | 2709343.7832 | 1268529.3457
37 | 2709355.0981 | 1268558.4521 | 2709382.0031 | 1268557.5037
38 | 2709343.7832 | 1268529.3457 | 2709344.8353 | 1268519.8519
39 | 2709472.942 | 1268518.1525 | 2709469.3582 | 1268522.2452 | 2709460.4101 | 1268532.6663
40 | 2709472.942 | 1268518.1525 | 2709468.8159 | 1268514.951 | 2709461.121 | 1268511.7835 | 2709450.4786 | 1268507.2157 | 2709445.7735 | 1268505.1934 | 2709442.3305 | 1268503.7159
41 | 2709460.4101 | 1268532.6663 | 2709463.6185 | 1268535.4281 | 2709466.9992 | 1268538.2265 | 2709473.1452 | 1268531.1453 | 2709478.4238 | 1268524.9711 | 2709479.5155 | 1268523.7458
42 | 2709437.2147 | 1268501.5206 | 2709442.3305 | 1268503.7159
43 | 2709479.5155 | 1268523.7458 | 2709484.8243 | 1268517.561 | 2709486.7401 | 1268515.3727
44 | 2709322.4237 | 1268386.4288 | 2709322.2886 | 1268387.6274 | 2709335.9141 | 1268389.2587 | 2709338.5161 | 1268389.407 | 2709350.8144 | 1268390.3465 | 2709353.2213 | 1268390.4578
45 | 2709353.2213 | 1268390.4578 | 2709351.9141 | 1268400.4756 | 2709350.8992 | 1268408.7525
46 | 2709322.4237 | 1268386.4288 | 2709316.2586 | 1268385.603 | 2709302.0125 | 1268384.1493 | 2709302.7187 | 1268376.5001
47 | 2709322.4237 | 1268386.4288 | 2709326.598 | 1268349.2292 | 2709327.7244 | 1268339.2191
48 | 2709348.8788 | 1268425.2303 | 2709350.8992 | 1268408.7525
49 | 2709327.7244 | 1268339.2191 | 2709322.2849 | 1268339.0406 | 2709310.3819 | 1268338.5465
50 | 2709309.6983 | 1268496.1292 | 2709306.887 | 1268524.7421
51 | 2709345.6803 | 1268451.3157 | 2709343.9327 | 1268461.9482
52 | 2709343.9327 | 1268461.9482 | 2709349.2591 | 1268464.1598 | 2709351.0148 | 1268464.8818
53 | 2709437.2147 | 1268501.5206 | 2709422.5468 | 1268495.2213 | 2709418.8049 | 1268493.6142
54 | 2709403.6839 | 1268487.1225 | 2709413.3458 | 1268491.2697 | 2709418.8049 | 1268493.6142
55 | 2709344.8353 | 1268519.8519 | 2709344.9776 | 1268518.5675
56 | 2709346.858 | 1268441.7111 | 2709348.8788 | 1268425.2303
57 | 2709383.5318 | 1268478.4732 | 2709389.5029 | 1268463.7798
58 | 2709383.3962 | 1268478.4166 | 2709383.5318 | 1268478.4732
59 | 2709383.5318 | 1268478.4732 | 2709386.4071 | 1268479.7053 | 2709391.3587 | 1268481.8321 | 2709403.6839 | 1268487.1225
60 | 2709345.6803 | 1268451.3157 | 2709351.3345 | 1268452.0876
61 | 2709345.6803 | 1268451.3157 | 2709346.858 | 1268441.7111
62 | 2709351.0148 | 1268464.8818 | 2709365.8278 | 1268471.0724 | 2709375.6808 | 1268475.1917 | 2709377.5522 | 1268475.9739
63 | 2709351.0148 | 1268464.8818 | 2709350.4178 | 1268469.4747 | 2709347.735 | 1268493.6849
64 | 2709351.3345 | 1268452.0876 | 2709351.4421 | 1268451.567 | 2709352.997 | 1268447.6812 | 2709358.3794 | 1268441.5866 | 2709359.8572 | 1268440.2905
65 | 2709383.3962 | 1268478.4166 | 2709377.5522 | 1268475.9739
66 | 2709345.68 | 1268512.2292 | 2709347.735 | 1268493.6849
67 | 2709367.1336 | 1268433.9086 | 2709359.8572 | 1268440.2905
68 | 2709345.68 | 1268512.2292 | 2709344.9776 | 1268518.5675

## bus_geodata
| x | y | coords
0 | 2709331.2281 | 1268224.8327
1 | 2709363.275 | 1268239.1259
2 | 2709375.1134 | 1268244.9362
3 | 2709389.9135 | 1268222.6018
4 | 2709341.11 | 1268297.3081
5 | 2709439.0705 | 1268262.9138
6 | 2709298.6537 | 1268333.3874
7 | 2709328.2569 | 1268334.4471
8 | 2709300.8333 | 1268312.3315
9 | 2709404.6067 | 1268201.1663
10 | 2709393.6115 | 1268187.9735
11 | 2709389.8953 | 1268186.2672
12 | 2709314.9255 | 1268449.8787
13 | 2709311.5128 | 1268477.662
14 | 2709334.641 | 1268458.082
15 | 2709487.7409 | 1268254.7415
16 | 2709502.0048 | 1268268.0927
17 | 2709478.412 | 1268265.9866
18 | 2709522.8055 | 1268460.971
19 | 2709430.0279 | 1268383.6181
20 | 2709492.1579 | 1268495.9669
21 | 2709532.4246 | 1268449.9104
22 | 2709452.225 | 1268273.4712
23 | 2709482.6585 | 1268507.0313
24 | 2709464.4613 | 1268283.3018
25 | 2709442.7312 | 1268348.0891
26 | 2709448.4051 | 1268546.3781
27 | 2709459.3837 | 1268533.8228
28 | 2709435.5483 | 1268561.2902
29 | 2709340.6605 | 1268558.961
30 | 2709355.0981 | 1268558.4521
31 | 2709343.7832 | 1268529.3457
32 | 2709472.942 | 1268518.1525
33 | 2709460.4101 | 1268532.6663
34 | 2709442.3305 | 1268503.7159
35 | 2709479.5155 | 1268523.7458
36 | 2709486.7401 | 1268515.3727
37 | 2709339.6927 | 1268300.741
38 | 2709335.4983 | 1268260.1004
39 | 2709353.2213 | 1268390.4578
40 | 2709322.4237 | 1268386.4288
41 | 2709350.8992 | 1268408.7525
42 | 2709310.3819 | 1268338.5465
43 | 2709327.7244 | 1268339.2191
44 | 2709299.8549 | 1268477.1399
45 | 2709347.152 | 1268169.5201
46 | 2709309.6983 | 1268496.1292
47 | 2709302.7187 | 1268376.5001
48 | 2709343.9327 | 1268461.9482
49 | 2709441.7407 | 1268322.7375
50 | 2709437.2147 | 1268501.5206
51 | 2709418.8049 | 1268493.6142
52 | 2709382.0031 | 1268557.5037
53 | 2709344.8353 | 1268519.8519
54 | 2709306.887 | 1268524.7421
55 | 2709348.8788 | 1268425.2303
56 | 2709389.5029 | 1268463.7798
57 | 2709383.5318 | 1268478.4732
58 | 2709345.6803 | 1268451.3157
59 | 2709351.0148 | 1268464.8818
60 | 2709351.3345 | 1268452.0876
61 | 2709346.858 | 1268441.7111
62 | 2709377.5522 | 1268475.9739
63 | 2709347.735 | 1268493.6849
64 | 2709359.8572 | 1268440.2905
65 | 2709383.3962 | 1268478.4166
66 | 2709345.68 | 1268512.2292
67 | 2709367.1336 | 1268433.9086
68 | 2709344.9776 | 1268518.5675
69 | 2709403.6839 | 1268487.1225
70 | 2709338.5161 | 1268389.407

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1