## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-53_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-53_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-53_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-53_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4566-53_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4566-53_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4566-53_0_5_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_4566-53_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4566-53_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_4566-53_0_5_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_4566-53_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4566-53_0_5_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_4566-53_0_5_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_4566-53_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4566-53_0_5_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_4566-53_0_5_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_4566-53_0_5_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_4566-53_0_5_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_4566-53_0_5_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_4566-53_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4566-53_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4566-53_0_5_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_4566-53_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4566-53_0_5_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_4566-53_0_5_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_4566-53_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4566-53_0_5_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_4566-53_0_5_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_4566-53_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4566-53_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4566-53_0_5_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_4566-53_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_4566-53_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_4566-53_0_5_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_4566-53_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_4566-53_0_5_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_4566-53_0_5_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_4566-53_0_5_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_4566-53_0_5_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_4566-53_0_5_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_4566-53_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4566-53_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4566-53_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_4566-53_0_5_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_4566-53_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4566-53_0_5_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_4566-53_0_5_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_4566-53_0_5_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_4566-53_0_5_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_4566-53_0_5_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_4566-53_0_5_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_4566-53_0_5_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_4566-53_0_5_node_22 | 0.4 | n |  | TRUE
53 | bus_LV_4566-53_0_5_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_4566-53_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_4566-53_0_5_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_4566-53_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4566-53_0_5_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_4566-53_0_5_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_4566-53_0_5_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_4566-53_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_4566-53_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4566-53_0_5_node_47 | 0.4 | n |  | TRUE
63 | bus_MV_438_1_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-53_0_5_load_0 | 0 | 0.017873 | 0.0044793 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-53_0_5_load_1 | 1 | 0.078909 | 0.019776 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-53_0_5_load_36 | 6 | 0.024725 | 0.0061966 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-53_0_5_load_29 | 12 | 0.0054024 | 0.001354 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-53_0_5_load_65 | 17 | 0.04013 | 0.010058 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-53_0_5_load_53 | 18 | 0.0094802 | 0.002376 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-53_0_5_load_38 | 21 | 0.014166 | 0.0035502 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-53_0_5_load_52 | 24 | 0.0094749 | 0.0023746 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-53_0_5_load_42 | 27 | 0.014815 | 0.003713 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-53_0_5_load_61 | 30 | 0.0043678 | 0.0010947 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-53_0_5_load_60 | 33 | 0.0020041 | 0.00050227 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-53_0_5_load_59 | 36 | 0.040519 | 0.010155 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-53_0_5_load_63 | 38 | 0.012803 | 0.0032087 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-53_0_5_load_26 | 39 | 0.035573 | 0.0089154 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-53_0_5_load_35 | 40 | 0.0065732 | 0.0016474 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-53_0_5_load_34 | 41 | 0.032835 | 0.0082293 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-53_0_5_load_62 | 43 | 0.012808 | 0.00321 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-53_0_5_load_55 | 45 | 0.014951 | 0.0037472 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-53_0_5_load_54 | 47 | 0.015929 | 0.0039923 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-53_0_5_load_66 | 48 | 0.031381 | 0.0078648 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-53_0_5_load_64 | 51 | 0.01477 | 0.0037017 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-53_0_5_load_22 | 52 | 0.039819 | 0.0099795 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-53_0_5_load_27 | 53 | 0.036191 | 0.0090703 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-53_0_5_load_45 | 55 | 0.015922 | 0.0039903 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-53_0_5_load_46 | 57 | 0.015919 | 0.0039897 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-53_0_5_load_58 | 58 | 0.012499 | 0.0031325 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-53_0_5_load_44 | 60 | 0.015919 | 0.0039896 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-53_0_5_line_0 |  | 0 | 1 | 0.051979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-53_0_5_line_1 |  | 0 | 2 | 0.025397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-53_0_5_line_2 |  | 1 | 3 | 0.031403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-53_0_5_line_3 |  | 2 | 4 | 0.010491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-53_0_5_line_4 |  | 3 | 5 | 0.040207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_4566-53_0_5_line_5 |  | 4 | 6 | 0.03043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-53_0_5_line_6 |  | 5 | 16 | 0.030839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4566-53_0_5_line_7 |  | 5 | 17 | 0.012145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-53_0_5_line_8 |  | 7 | 8 | 0.023385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-53_0_5_line_9 |  | 7 | 9 | 0.044381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-53_0_5_line_10 |  | 8 | 18 | 0.024122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-53_0_5_line_11 |  | 9 | 39 | 0.0395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-53_0_5_line_12 |  | 10 | 11 | 0.018651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-53_0_5_line_13 |  | 10 | 12 | 0.02087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-53_0_5_line_14 |  | 11 | 41 | 0.023678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-53_0_5_line_15 |  | 11 | 40 | 0.032641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-53_0_5_line_16 |  | 13 | 14 | 0.07649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4566-53_0_5_line_17 |  | 13 | 15 | 0.044111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4566-53_0_5_line_18 |  | 14 | 37 | 0.033156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4566-53_0_5_line_19 |  | 14 | 38 | 0.022931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-53_0_5_line_20 |  | 15 | 41 | 0.020609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-53_0_5_line_21 |  | 15 | 42 | 0.022871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4566-53_0_5_line_22 |  | 16 | 37 | 0.015997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4566-53_0_5_line_23 |  | 16 | 45 | 0.012167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-53_0_5_line_24 |  | 17 | 35 | 0.017613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-53_0_5_line_25 |  | 18 | 46 | 0.011079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-53_0_5_line_26 |  | 19 | 20 | 0.008196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-53_0_5_line_27 |  | 19 | 21 | 0.033393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-53_0_5_line_28 |  | 20 | 27 | 0.011665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-53_0_5_line_29 |  | 21 | 25 | 0.0056288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-53_0_5_line_30 |  | 22 | 23 | 0.011116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-53_0_5_line_31 |  | 22 | 24 | 0.0052742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-53_0_5_line_32 |  | 23 | 47 | 0.018301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-53_0_5_line_33 |  | 24 | 46 | 0.04083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-53_0_5_line_34 |  | 25 | 26 | 0.039453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-53_0_5_line_35 |  | 26 | 48 | 0.027646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-53_0_5_line_36 |  | 26 | 49 | 0.032662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-53_0_5_line_37 |  | 28 | 29 | 0.050496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-53_0_5_line_38 |  | 28 | 30 | 0.012322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-53_0_5_line_39 |  | 29 | 33 | 0.0099605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-53_0_5_line_40 |  | 31 | 32 | 0.077615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-53_0_5_line_41 |  | 31 | 33 | 0.019448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-53_0_5_line_42 |  | 32 | 34 | 0.015518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-53_0_5_line_43 |  | 32 | 35 | 0.028382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-53_0_5_line_44 |  | 32 | 36 | 0.019015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-53_0_5_line_45 |  | 34 | 51 | 0.022186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-53_0_5_line_46 |  | 39 | 42 | 0.015647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-53_0_5_line_47 |  | 42 | 52 | 0.025195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_4566-53_0_5_line_48 |  | 43 | 44 | 0.028244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4566-53_0_5_line_49 |  | 44 | 50 | 0.007896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4566-53_0_5_line_50 |  | 45 | 59 | 0.018009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-53_0_5_line_51 |  | 46 | 62 | 0.022267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-53_0_5_line_52 |  | 47 | 61 | 0.027904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-53_0_5_line_53 |  | 49 | 53 | 0.030373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-53_0_5_line_54 |  | 50 | 53 | 0.02349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-53_0_5_line_55 |  | 50 | 52 | 0.018328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4566-53_0_5_line_56 |  | 54 | 55 | 0.034256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-53_0_5_line_57 |  | 54 | 56 | 0.001113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-53_0_5_line_58 |  | 56 | 57 | 0.023748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-53_0_5_line_59 |  | 57 | 62 | 0.010791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-53_0_5_line_60 |  | 58 | 59 | 0.01836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-53_0_5_line_61 |  | 60 | 61 | 0.031788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-53_0_5_trafo_62 | 0.63 MVA 20/0.4 kV | 63 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2708456.5432 | 1268264.6785 | 2708454.5398 | 1268297.2256 | 2708454.6612 | 1268316.5956
1 | 2708458.1027 | 1268239.3296 | 2708458.0379 | 1268240.396 | 2708456.5432 | 1268264.6785
2 | 2708454.8568 | 1268347.9977 | 2708454.8327 | 1268343.9826 | 2708454.6612 | 1268316.5956
3 | 2708458.1027 | 1268239.3296 | 2708447.5821 | 1268239.5367
4 | 2708454.8568 | 1268347.9977 | 2708463.1999 | 1268347.884 | 2708482.8678 | 1268347.6226 | 2708482.9446 | 1268355.3196 | 2708487.4404 | 1268355.2354
5 | 2708447.5821 | 1268239.5367 | 2708444.5898 | 1268269.8192
6 | 2708518.3673 | 1268354.7139 | 2708510.3633 | 1268354.8115 | 2708492.3502 | 1268355.1477 | 2708487.4404 | 1268355.2354
7 | 2708487.4404 | 1268355.2354 | 2708487.3538 | 1268359.949 | 2708487.3333 | 1268367.38
8 | 2708622.3673 | 1268210.6218 | 2708623.0139 | 1268191.8396 | 2708623.1135 | 1268187.2486
9 | 2708620.8361 | 1268254.9766 | 2708621.0597 | 1268248.5529 | 2708621.2319 | 1268243.2849 | 2708622.3673 | 1268210.6218
10 | 2708623.1135 | 1268187.2486 | 2708630.3939 | 1268184.3466 | 2708646.6761 | 1268184.0439
11 | 2708620.8361 | 1268254.9766 | 2708617.8234 | 1268255.0547 | 2708581.3479 | 1268255.9482
12 | 2708524.6746 | 1268213.0735 | 2708543.3755 | 1268212.6054
13 | 2708524.6746 | 1268213.0735 | 2708525.145 | 1268192.2083
14 | 2708543.3755 | 1268212.6054 | 2708543.053 | 1268236.2809
15 | 2708543.3755 | 1268212.6054 | 2708576.0061 | 1268211.7841
16 | 2708508.9136 | 1268285.002 | 2708499.9959 | 1268284.8381 | 2708500.4657 | 1268347.3455 | 2708505.5263 | 1268347.2494
17 | 2708508.9136 | 1268285.002 | 2708530.1953 | 1268269.8575 | 2708542.7722 | 1268256.8883
18 | 2708533.7632 | 1268352.1945 | 2708533.4748 | 1268346.9958 | 2708505.5263 | 1268347.2494
19 | 2708505.5263 | 1268347.2494 | 2708505.4109 | 1268324.3186
20 | 2708542.7722 | 1268256.8883 | 2708543.053 | 1268236.2809
21 | 2708565.7055 | 1268256.3314 | 2708542.7722 | 1268256.8883
22 | 2708533.7632 | 1268352.1945 | 2708530.4247 | 1268352.3889 | 2708528.7283 | 1268353.7589 | 2708526.6356 | 1268354.5768 | 2708518.3673 | 1268354.7139
23 | 2708518.3673 | 1268354.7139 | 2708518.3914 | 1268356.2713 | 2708518.4658 | 1268361.2325 | 2708518.4448 | 1268366.8804
24 | 2708488.8028 | 1268384.7416 | 2708488.4788 | 1268374.1042 | 2708487.3219 | 1268371.514 | 2708487.3333 | 1268367.38
25 | 2708657.7532 | 1268183.838 | 2708646.6761 | 1268184.0439
26 | 2708690.4535 | 1268345.8912 | 2708682.2363 | 1268346.1181
27 | 2708682.2363 | 1268346.1181 | 2708658.7659 | 1268345.6082 | 2708648.8487 | 1268345.5478
28 | 2708690.4535 | 1268345.8912 | 2708690.6597 | 1268339.6007 | 2708690.8338 | 1268334.2325
29 | 2708643.2204 | 1268345.6224 | 2708648.8301 | 1268345.5477 | 2708648.8487 | 1268345.5478
30 | 2708703.8492 | 1268182.9739 | 2708704.0235 | 1268189.4494 | 2708704.0586 | 1268194.0874
31 | 2708703.8492 | 1268182.9739 | 2708698.5759 | 1268183.0728
32 | 2708704.0586 | 1268194.0874 | 2708704.2107 | 1268212.3875
33 | 2708657.7532 | 1268183.838 | 2708698.5759 | 1268183.0728
34 | 2708618.1964 | 1268331.7615 | 2708617.8894 | 1268340.6747 | 2708617.6255 | 1268345.6074 | 2708643.2204 | 1268345.6224
35 | 2708590.4835 | 1268332.7085 | 2708608.0044 | 1268332.1189 | 2708618.1964 | 1268331.7615
36 | 2708619.3163 | 1268299.1204 | 2708618.1964 | 1268331.7615
37 | 2708380.2867 | 1268389.7213 | 2708373.9021 | 1268389.7709 | 2708374.3158 | 1268402.5007 | 2708377.6211 | 1268406.1645 | 2708378.0258 | 1268423.4869 | 2708380.7393 | 1268420.8344 | 2708386.0563 | 1268420.7096
38 | 2708380.2867 | 1268389.7213 | 2708380.0089 | 1268377.4021
39 | 2708386.0563 | 1268420.7096 | 2708396.0113 | 1268420.3763
40 | 2708415.4481 | 1268419.7257 | 2708419.6664 | 1268419.5807 | 2708419.4055 | 1268410.4235 | 2708418.9372 | 1268394.1119 | 2708418.7708 | 1268388.415 | 2708423.7107 | 1268388.3278 | 2708456.4604 | 1268387.7394 | 2708460.517 | 1268385.7454
41 | 2708415.4481 | 1268419.7257 | 2708396.0113 | 1268420.3763
42 | 2708460.517 | 1268385.7454 | 2708462.3229 | 1268393.1628 | 2708462.291 | 1268401.0468
43 | 2708460.517 | 1268385.7454 | 2708461.2691 | 1268385.37 | 2708477.2596 | 1268384.8965 | 2708488.8028 | 1268384.7416
44 | 2708460.517 | 1268385.7454 | 2708460.4024 | 1268378.4592 | 2708456.4187 | 1268371.9805 | 2708456.3898 | 1268367.8579
45 | 2708462.291 | 1268401.0468 | 2708458.1846 | 1268401.2494 | 2708459.1021 | 1268419.3011
46 | 2708565.7055 | 1268256.3314 | 2708581.3479 | 1268255.9482
47 | 2708565.7055 | 1268256.3314 | 2708565.5778 | 1268281.5259
48 | 2708569.7362 | 1268306.5156 | 2708552.2031 | 1268310.219 | 2708541.9797 | 1268311.6577
49 | 2708569.7362 | 1268306.5156 | 2708565.4849 | 1268299.854
50 | 2708520.3269 | 1268384.4869 | 2708520.2472 | 1268374.8993 | 2708518.4294 | 1268370.9959 | 2708518.4448 | 1268366.8804
51 | 2708657.7532 | 1268183.838 | 2708658.2017 | 1268206.0989
52 | 2708704.4426 | 1268240.2902 | 2708704.2107 | 1268212.3875
53 | 2708619.3163 | 1268299.1204 | 2708616.6521 | 1268299.0825 | 2708614.8761 | 1268299.0498 | 2708591.5464 | 1268298.654 | 2708588.9501 | 1268298.772
54 | 2708565.4849 | 1268299.854 | 2708569.2448 | 1268299.6673 | 2708588.9501 | 1268298.772
55 | 2708565.4849 | 1268299.854 | 2708565.5778 | 1268281.5259
56 | 2708658.9083 | 1268241.7429 | 2708659.5587 | 1268275.9928
57 | 2708658.8912 | 1268240.6305 | 2708658.9083 | 1268241.7429
58 | 2708658.8912 | 1268240.6305 | 2708658.4171 | 1268216.8873
59 | 2708658.2017 | 1268206.0989 | 2708658.4171 | 1268216.8873
60 | 2708520.3269 | 1268384.4869 | 2708534.0281 | 1268383.2374 | 2708533.9888 | 1268378.6353
61 | 2708704.4426 | 1268240.2902 | 2708704.7046 | 1268272.0771

## bus_geodata
| x | y | coords
0 | 2708456.5432 | 1268264.6785
1 | 2708454.6612 | 1268316.5956
2 | 2708458.1027 | 1268239.3296
3 | 2708454.8568 | 1268347.9977
4 | 2708447.5821 | 1268239.5367
5 | 2708487.4404 | 1268355.2354
6 | 2708444.5898 | 1268269.8192
7 | 2708622.3673 | 1268210.6218
8 | 2708623.1135 | 1268187.2486
9 | 2708620.8361 | 1268254.9766
10 | 2708524.6746 | 1268213.0735
11 | 2708543.3755 | 1268212.6054
12 | 2708525.145 | 1268192.2083
13 | 2708508.9136 | 1268285.002
14 | 2708505.5263 | 1268347.2494
15 | 2708542.7722 | 1268256.8883
16 | 2708518.3673 | 1268354.7139
17 | 2708487.3333 | 1268367.38
18 | 2708646.6761 | 1268184.0439
19 | 2708682.2363 | 1268346.1181
20 | 2708690.4535 | 1268345.8912
21 | 2708648.8487 | 1268345.5478
22 | 2708703.8492 | 1268182.9739
23 | 2708704.0586 | 1268194.0874
24 | 2708698.5759 | 1268183.0728
25 | 2708643.2204 | 1268345.6224
26 | 2708618.1964 | 1268331.7615
27 | 2708690.8338 | 1268334.2325
28 | 2708380.2867 | 1268389.7213
29 | 2708386.0563 | 1268420.7096
30 | 2708380.0089 | 1268377.4021
31 | 2708415.4481 | 1268419.7257
32 | 2708460.517 | 1268385.7454
33 | 2708396.0113 | 1268420.3763
34 | 2708462.291 | 1268401.0468
35 | 2708488.8028 | 1268384.7416
36 | 2708456.3898 | 1268367.8579
37 | 2708533.7632 | 1268352.1945
38 | 2708505.4109 | 1268324.3186
39 | 2708581.3479 | 1268255.9482
40 | 2708576.0061 | 1268211.7841
41 | 2708543.053 | 1268236.2809
42 | 2708565.7055 | 1268256.3314
43 | 2708541.9797 | 1268311.6577
44 | 2708569.7362 | 1268306.5156
45 | 2708518.4448 | 1268366.8804
46 | 2708657.7532 | 1268183.838
47 | 2708704.2107 | 1268212.3875
48 | 2708590.4835 | 1268332.7085
49 | 2708619.3163 | 1268299.1204
50 | 2708565.4849 | 1268299.854
51 | 2708459.1021 | 1268419.3011
52 | 2708565.5778 | 1268281.5259
53 | 2708588.9501 | 1268298.772
54 | 2708658.9083 | 1268241.7429
55 | 2708659.5587 | 1268275.9928
56 | 2708658.8912 | 1268240.6305
57 | 2708658.4171 | 1268216.8873
58 | 2708533.9888 | 1268378.6353
59 | 2708520.3269 | 1268384.4869
60 | 2708704.7046 | 1268272.0771
61 | 2708704.4426 | 1268240.2902
62 | 2708658.2017 | 1268206.0989
63 | 2708569.7362 | 1268306.5156

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1