## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-61_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-61_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-61_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-61_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4566-61_0_6_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_4566-61_0_6_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_4566-61_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4566-61_0_6_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_4566-61_0_6_node_87 | 0.4 | n |  | TRUE
9 | bus_LV_4566-61_0_6_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_4566-61_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4566-61_0_6_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_4566-61_0_6_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_4566-61_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4566-61_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_4566-61_0_6_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_4566-61_0_6_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_4566-61_0_6_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_4566-61_0_6_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_4566-61_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4566-61_0_6_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_4566-61_0_6_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_4566-61_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4566-61_0_6_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_4566-61_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4566-61_0_6_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_4566-61_0_6_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_4566-61_0_6_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_4566-61_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4566-61_0_6_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_4566-61_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4566-61_0_6_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_4566-61_0_6_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_4566-61_0_6_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_4566-61_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_4566-61_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_4566-61_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4566-61_0_6_node_93 | 0.4 | n |  | TRUE
38 | bus_LV_4566-61_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4566-61_0_6_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_4566-61_0_6_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_4566-61_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4566-61_0_6_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_4566-61_0_6_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_4566-61_0_6_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_4566-61_0_6_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_4566-61_0_6_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_4566-61_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4566-61_0_6_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_4566-61_0_6_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_4566-61_0_6_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_4566-61_0_6_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_4566-61_0_6_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_4566-61_0_6_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_4566-61_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_4566-61_0_6_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_4566-61_0_6_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_4566-61_0_6_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_4566-61_0_6_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_4566-61_0_6_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_4566-61_0_6_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_4566-61_0_6_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_4566-61_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_4566-61_0_6_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_4566-61_0_6_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_4566-61_0_6_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_4566-61_0_6_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4566-61_0_6_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_4566-61_0_6_node_92 | 0.4 | n |  | TRUE
69 | bus_LV_4566-61_0_6_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_4566-61_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4566-61_0_6_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_4566-61_0_6_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_4566-61_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_4566-61_0_6_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_4566-61_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_4566-61_0_6_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_4566-61_0_6_node_46 | 0.4 | n |  | TRUE
78 | bus_LV_4566-61_0_6_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_4566-61_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_4566-61_0_6_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_4566-61_0_6_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_4566-61_0_6_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_4566-61_0_6_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_4566-61_0_6_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_4566-61_0_6_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_4566-61_0_6_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_4566-61_0_6_node_91 | 0.4 | n |  | TRUE
88 | bus_MV_440_1_node_210 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-61_0_6_load_0 | 0 | 0.010065 | 0.0025226 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-61_0_6_load_1 | 1 | 0.0020186 | 0.00050592 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-61_0_6_load_3 | 3 | 0.0077394 | 0.0019397 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-61_0_6_load_87 | 8 | 0.031195 | 0.0078182 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-61_0_6_load_41 | 9 | 0.0045272 | 0.0011346 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-61_0_6_load_55 | 12 | 0.0092847 | 0.002327 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-61_0_6_load_65 | 17 | 0.0093238 | 0.0023368 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-61_0_6_load_62 | 20 | 0.016736 | 0.0041945 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-61_0_6_load_61 | 21 | 0.00064241 | 0.000161 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-61_0_6_load_43 | 25 | 0.028687 | 0.0071896 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-61_0_6_load_81 | 26 | 0.062414 | 0.015642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-61_0_6_load_82 | 27 | 0.0021837 | 0.00054728 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-61_0_6_load_63 | 31 | 0.016305 | 0.0040864 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-61_0_6_load_57 | 32 | 0.013845 | 0.00347 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-61_0_6_load_44 | 33 | 0.014895 | 0.003733 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-61_0_6_load_93 | 37 | 0.091584 | 0.022953 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-61_0_6_load_86 | 39 | 0.049994 | 0.01253 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-61_0_6_load_83 | 42 | 0.0089689 | 0.0022478 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-61_0_6_load_80 | 44 | 0.0079487 | 0.0019921 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-61_0_6_load_79 | 45 | 0.0088706 | 0.0022232 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-61_0_6_load_49 | 48 | 0.0023787 | 0.00059616 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-61_0_6_load_60 | 50 | 0.0088151 | 0.0022093 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-61_0_6_load_59 | 51 | 0.0084451 | 0.0021166 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-61_0_6_load_50 | 53 | 0.0073656 | 0.001846 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-61_0_6_load_52 | 54 | 0.0064247 | 0.0016102 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-61_0_6_load_85 | 55 | 0.0037739 | 0.00094582 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-61_0_6_load_56 | 56 | 0.0088672 | 0.0022223 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-61_0_6_load_84 | 57 | 0.01856 | 0.0046515 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-61_0_6_load_77 | 58 | 0.009696 | 0.00243 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-61_0_6_load_53 | 62 | 0.002853 | 0.00071502 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-61_0_6_load_51 | 63 | 0.0015692 | 0.00039328 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-61_0_6_load_66 | 66 | 0.004415 | 0.0011065 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-61_0_6_load_74 | 67 | 0.0044351 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-61_0_6_load_92 | 68 | 0.0071308 | 0.0017872 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-61_0_6_load_42 | 69 | 0.0020244 | 0.00050737 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-61_0_6_load_64 | 70 | 0.0094712 | 0.0023737 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-61_0_6_load_78 | 71 | 0.0045484 | 0.0011399 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-61_0_6_load_45 | 72 | 0.0014501 | 0.00036342 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-61_0_6_load_54 | 74 | 0.0057253 | 0.0014349 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-61_0_6_load_73 | 76 | 0.004744 | 0.001189 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-61_0_6_load_46 | 77 | 0.023759 | 0.0059545 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-61_0_6_load_68 | 78 | 0.004802 | 0.0012035 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-61_0_6_load_69 | 79 | 0.0012097 | 0.00030318 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-61_0_6_load_70 | 80 | 0.0050023 | 0.0012537 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-61_0_6_load_71 | 81 | 0.0016898 | 0.00042351 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-61_0_6_load_89 | 85 | 0.0037922 | 0.00095042 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-61_0_6_load_90 | 86 | 0.0066227 | 0.0016598 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-61_0_6_load_91 | 87 | 0.0097711 | 0.0024489 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-61_0_6_line_0 |  | 0 | 1 | 0.026065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-61_0_6_line_1 |  | 0 | 2 | 0.018462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-61_0_6_line_2 |  | 1 | 3 | 0.023827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-61_0_6_line_3 |  | 2 | 4 | 0.049099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-61_0_6_line_4 |  | 3 | 5 | 0.018331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-61_0_6_line_5 |  | 4 | 9 | 0.018728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-61_0_6_line_6 |  | 5 | 18 | 0.041741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-61_0_6_line_7 |  | 5 | 11 | 0.068865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4566-61_0_6_line_8 |  | 6 | 7 | 0.084197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-61_0_6_line_9 |  | 6 | 8 | 0.0060338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-61_0_6_line_10 |  | 7 | 46 | 0.036346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-61_0_6_line_11 |  | 9 | 69 | 0.021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-61_0_6_line_12 |  | 10 | 11 | 0.02418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4566-61_0_6_line_13 |  | 10 | 12 | 0.013102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4566-61_0_6_line_14 |  | 11 | 54 | 0.018114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-61_0_6_line_15 |  | 12 | 15 | 0.030678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4566-61_0_6_line_16 |  | 13 | 14 | 0.030148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-61_0_6_line_17 |  | 13 | 15 | 0.032526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4566-61_0_6_line_18 |  | 13 | 16 | 0.033881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4566-61_0_6_line_19 |  | 13 | 17 | 0.017358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-61_0_6_line_20 |  | 14 | 26 | 0.026059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-61_0_6_line_21 |  | 14 | 27 | 0.035477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-61_0_6_line_22 |  | 15 | 56 | 0.016813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-61_0_6_line_23 |  | 16 | 58 | 0.012993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-61_0_6_line_24 |  | 16 | 23 | 0.029761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4566-61_0_6_line_25 |  | 17 | 70 | 0.018458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-61_0_6_line_26 |  | 18 | 30 | 0.023573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-61_0_6_line_27 |  | 19 | 20 | 0.031501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-61_0_6_line_28 |  | 19 | 21 | 0.047216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-61_0_6_line_29 |  | 20 | 29 | 0.023559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-61_0_6_line_30 |  | 22 | 23 | 0.035736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-61_0_6_line_31 |  | 22 | 24 | 0.027113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4566-61_0_6_line_32 |  | 22 | 25 | 0.039278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4566-61_0_6_line_33 |  | 23 | 52 | 0.052912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4566-61_0_6_line_34 |  | 23 | 53 | 0.030569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-61_0_6_line_35 |  | 24 | 33 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-61_0_6_line_36 |  | 28 | 29 | 0.037009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-61_0_6_line_37 |  | 28 | 30 | 0.031956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-61_0_6_line_38 |  | 28 | 31 | 0.025092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-61_0_6_line_39 |  | 30 | 32 | 0.016211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4566-61_0_6_line_40 |  | 33 | 34 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-61_0_6_line_41 |  | 34 | 35 | 0.013639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-61_0_6_line_42 |  | 35 | 44 | 0.01789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-61_0_6_line_43 |  | 35 | 45 | 0.029728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-61_0_6_line_44 |  | 36 | 37 | 0.012259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-61_0_6_line_45 |  | 36 | 38 | 0.092994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-61_0_6_line_46 |  | 38 | 39 | 0.057869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-61_0_6_line_47 |  | 39 | 41 | 0.050753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4566-61_0_6_line_48 |  | 40 | 41 | 0.02748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-61_0_6_line_49 |  | 40 | 42 | 0.019159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-61_0_6_line_50 |  | 41 | 43 | 0.006244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4566-61_0_6_line_51 |  | 43 | 48 | 0.028019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4566-61_0_6_line_52 |  | 43 | 72 | 0.01429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-61_0_6_line_53 |  | 45 | 73 | 0.016813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-61_0_6_line_54 |  | 46 | 47 | 0.037496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4566-61_0_6_line_55 |  | 46 | 48 | 0.019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4566-61_0_6_line_56 |  | 47 | 55 | 0.041248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4566-61_0_6_line_57 |  | 49 | 50 | 0.016622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-61_0_6_line_58 |  | 49 | 51 | 0.026221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-61_0_6_line_59 |  | 50 | 56 | 0.018647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-61_0_6_line_60 |  | 51 | 59 | 0.012799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-61_0_6_line_61 |  | 52 | 57 | 0.013763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4566-61_0_6_line_62 |  | 54 | 63 | 0.02401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-61_0_6_line_63 |  | 55 | 57 | 0.0046375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4566-61_0_6_line_64 |  | 58 | 71 | 0.022075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-61_0_6_line_65 |  | 59 | 60 | 0.022693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-61_0_6_line_66 |  | 60 | 64 | 0.024289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-61_0_6_line_67 |  | 60 | 65 | 0.035704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-61_0_6_line_68 |  | 60 | 66 | 0.037392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4566-61_0_6_line_69 |  | 61 | 62 | 0.018904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-61_0_6_line_70 |  | 61 | 63 | 0.013573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4566-61_0_6_line_71 |  | 62 | 74 | 0.0089112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-61_0_6_line_72 |  | 64 | 67 | 0.034373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-61_0_6_line_73 |  | 65 | 68 | 0.020186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-61_0_6_line_74 |  | 66 | 75 | 0.010416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-61_0_6_line_75 |  | 67 | 76 | 0.01848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-61_0_6_line_76 |  | 72 | 77 | 0.0024479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-61_0_6_line_77 |  | 73 | 82 | 0.033123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-61_0_6_line_78 |  | 73 | 81 | 0.019357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-61_0_6_line_79 |  | 75 | 78 | 0.0083464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-61_0_6_line_80 |  | 75 | 79 | 0.010985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-61_0_6_line_81 |  | 80 | 81 | 0.014889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-61_0_6_line_82 |  | 82 | 83 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-61_0_6_line_83 |  | 83 | 84 | 0.013617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-61_0_6_line_84 |  | 83 | 85 | 0.002739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-61_0_6_line_85 |  | 84 | 86 | 0.006825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-61_0_6_line_86 |  | 84 | 87 | 0.048102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-61_0_6_trafo_31 | 0.63 MVA 20/0.4 kV | 88 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2710717.2085 | 1269211.6876 | 2710699.4885 | 1269197.0095 | 2710697.2412 | 1269194.94
1 | 2710731.4261 | 1269223.4646 | 2710717.2085 | 1269211.6876
2 | 2710697.2412 | 1269194.94 | 2710679.7137 | 1269178.7995
3 | 2710698.1528 | 1269211.6418 | 2710702.1368 | 1269207.1125 | 2710727.6001 | 1269230.8104 | 2710731.4261 | 1269223.4646
4 | 2710666.2289 | 1269166.3818 | 2710679.7137 | 1269178.7995
5 | 2710698.1528 | 1269211.6418 | 2710685.7974 | 1269225.7158
6 | 2710648.0396 | 1269175.4269 | 2710650.0516 | 1269173.296 | 2710651.4185 | 1269171.8537 | 2710653.2838 | 1269169.9203 | 2710664.405 | 1269180.1598 | 2710667.97 | 1269175.8894 | 2710662.3526 | 1269170.7909 | 2710666.2289 | 1269166.3818
7 | 2710666.2289 | 1269166.3818 | 2710706.6859 | 1269115.4506 | 2710709.6747 | 1269117.8309
8 | 2710561.6699 | 1269143.1261 | 2710522.2895 | 1269186.4829 | 2710504.9008 | 1269205.4521
9 | 2710504.9008 | 1269205.4521 | 2710498.8795 | 1269205.8398
10 | 2710561.6699 | 1269143.1261 | 2710587.1023 | 1269117.0904
11 | 2710689.7046 | 1269243.5115 | 2710682.7585 | 1269236.2194 | 2710682.132 | 1269229.891 | 2710685.7974 | 1269225.7158
12 | 2710702.1417 | 1269100.886 | 2710699.4439 | 1269104.2606 | 2710708.8012 | 1269113.0325 | 2710706.6859 | 1269115.4506 | 2710709.6747 | 1269117.8309
13 | 2710702.1417 | 1269100.886 | 2710700.2379 | 1269099.6492 | 2710692.2697 | 1269092.3126
14 | 2710709.6747 | 1269117.8309 | 2710723.8599 | 1269129.0955
15 | 2710669.6929 | 1269071.5413 | 2710690.1156 | 1269090.3292 | 2710692.2697 | 1269092.3126
16 | 2710643.8839 | 1269071.0575 | 2710652.3929 | 1269061.2415 | 2710649.4088 | 1269058.6056 | 2710652.3443 | 1269055.4022 | 2710645.8783 | 1269049.3869
17 | 2710645.8783 | 1269049.3869 | 2710652.3443 | 1269055.4022 | 2710669.6929 | 1269071.5413
18 | 2710619.864 | 1269027.7141 | 2710627.6033 | 1269033.6643 | 2710633.5969 | 1269038.3806 | 2710645.8783 | 1269049.3869
19 | 2710645.8783 | 1269049.3869 | 2710647.0472 | 1269048.0632 | 2710650.3005 | 1269044.3653 | 2710657.2139 | 1269036.2426
20 | 2710643.8839 | 1269071.0575 | 2710663.1435 | 1269088.6111
21 | 2710643.8839 | 1269071.0575 | 2710633.0565 | 1269061.1905 | 2710618.9776 | 1269076.5398
22 | 2710669.6929 | 1269071.5413 | 2710681.9339 | 1269060.0164
23 | 2710619.864 | 1269027.7141 | 2710620.5844 | 1269026.6267 | 2710623.2031 | 1269022.65 | 2710627.0074 | 1269016.8606
24 | 2710594.6805 | 1269011.9066 | 2710598.8585 | 1269014.298 | 2710608.1454 | 1269019.6099 | 2710619.864 | 1269027.7141
25 | 2710669.6854 | 1269022.6817 | 2710660.612 | 1269033.1597 | 2710657.7817 | 1269035.5755 | 2710657.2139 | 1269036.2426
26 | 2710630.6023 | 1269170.863 | 2710635.4562 | 1269165.2934 | 2710641.6369 | 1269169.6575 | 2710648.0396 | 1269175.4269
27 | 2710652.0273 | 1269215.2699 | 2710645.193 | 1269213.6516 | 2710641.1033 | 1269213.3858 | 2710635.8322 | 1269214.3102 | 2710628.8853 | 1269217.0937 | 2710625.0197 | 1269216.9211 | 2710621.6447 | 1269215.4678
28 | 2710652.0273 | 1269215.2699 | 2710639.7318 | 1269260.8564
29 | 2710604.6765 | 1269199.1246 | 2710621.6447 | 1269215.4678
30 | 2710594.6805 | 1269011.9066 | 2710593.6157 | 1269011.2861 | 2710581.5575 | 1269004.0319 | 2710573.6624 | 1268999.1576 | 2710567.7593 | 1268995.6329 | 2710565.4562 | 1268999.2375
31 | 2710565.4562 | 1268999.2375 | 2710567.7593 | 1268995.6329 | 2710569.2072 | 1268992.6797 | 2710569.4879 | 1268989.749 | 2710569.2676 | 1268986.2418 | 2710570.0271 | 1268983.0644 | 2710572.5895 | 1268977.6743 | 2710569.0894 | 1268976.0629
32 | 2710565.4562 | 1268999.2375 | 2710558.9304 | 1268995.2007 | 2710532.0526 | 1268978.5754
33 | 2710587.1179 | 1269048.7529 | 2710579.1723 | 1269041.3533 | 2710591.0776 | 1269020.202 | 2710593.3985 | 1269015.6526 | 2710596.6122 | 1269017.6812 | 2710598.8585 | 1269014.298 | 2710594.6805 | 1269011.9066
34 | 2710594.6805 | 1269011.9066 | 2710594.9035 | 1269011.2547 | 2710609.2801 | 1268985.0609
35 | 2710569.0894 | 1268976.0629 | 2710573.1592 | 1268966.4056
36 | 2710608.214 | 1269172.6232 | 2710619.3453 | 1269183.1297 | 2710604.6765 | 1269199.1246
37 | 2710608.214 | 1269172.6232 | 2710619.3453 | 1269183.1297 | 2710630.6023 | 1269170.863
38 | 2710608.214 | 1269172.6232 | 2710589.9682 | 1269155.3987
39 | 2710630.6023 | 1269170.863 | 2710630.7262 | 1269173.8902 | 2710630.7682 | 1269180.4857 | 2710630.7327 | 1269184.3884 | 2710628.8255 | 1269186.2754
40 | 2710579.1555 | 1268952.6419 | 2710576.055 | 1268960.2349 | 2710573.4928 | 1268965.6139 | 2710573.1592 | 1268966.4056
41 | 2710579.1555 | 1268952.6419 | 2710581.8821 | 1268946.1205 | 2710583.97 | 1268947.1716 | 2710585.5715 | 1268943.2537
42 | 2710585.5715 | 1268943.2537 | 2710587.9814 | 1268937.1601 | 2710588.8744 | 1268934.8971 | 2710591.3191 | 1268928.5595 | 2710589.3701 | 1268927.7223
43 | 2710585.5715 | 1268943.2537 | 2710588.9512 | 1268944.8628 | 2710607.6109 | 1268954.1313 | 2710612.062 | 1268956.7225
44 | 2710477.193 | 1269087.664 | 2710482.4199 | 1269098.7603
45 | 2710476.4739 | 1269007.4358 | 2710470.2511 | 1269026.6251 | 2710459.5991 | 1269060.4667 | 2710460.7958 | 1269060.8784 | 2710462.8306 | 1269061.5503 | 2710480.0349 | 1269077.7862 | 2710477.193 | 1269087.664
46 | 2710476.4739 | 1269007.4358 | 2710486.0854 | 1269016.3233 | 2710519.0643 | 1269046.6135
47 | 2710556.3978 | 1269080.9952 | 2710534.1777 | 1269060.4948 | 2710519.0643 | 1269046.6135
48 | 2710551.6727 | 1269061.6009 | 2710554.5656 | 1269064.2796 | 2710561.8904 | 1269071.0671 | 2710558.1981 | 1269075.3017 | 2710560.0555 | 1269077.0046 | 2710556.3978 | 1269080.9952
49 | 2710551.6727 | 1269061.6009 | 2710564.7312 | 1269047.5817
50 | 2710552.179 | 1269085.6092 | 2710556.3978 | 1269080.9952
51 | 2710552.179 | 1269085.6092 | 2710572.9902 | 1269104.3691
52 | 2710552.179 | 1269085.6092 | 2710543.3034 | 1269095.3183 | 2710542.5265 | 1269096.1466
53 | 2710626.5365 | 1268965.2732 | 2710623.806 | 1268963.565 | 2710623.0466 | 1268963.1171 | 2710612.062 | 1268956.7225
54 | 2710587.1023 | 1269117.0904 | 2710590.9627 | 1269113.1258 | 2710595.0676 | 1269108.9657 | 2710583.4174 | 1269098.4272 | 2710587.2951 | 1269094.3407 | 2710590.6629 | 1269090.9563
55 | 2710587.1023 | 1269117.0904 | 2710572.9902 | 1269104.3691
56 | 2710590.6629 | 1269090.9563 | 2710567.852 | 1269069.8553 | 2710574.5456 | 1269062.5186 | 2710574.7094 | 1269062.3397
57 | 2710707.3116 | 1269035.5255 | 2710695.3772 | 1269047.0948
58 | 2710707.3116 | 1269035.5255 | 2710721.9657 | 1269049.6458 | 2710726.1962 | 1269053.7159
59 | 2710695.3772 | 1269047.0948 | 2710685.8836 | 1269056.2978 | 2710681.9339 | 1269060.0164
60 | 2710735.2767 | 1269062.729 | 2710733.012 | 1269060.2733 | 2710726.1962 | 1269053.7159
61 | 2710587.1179 | 1269048.7529 | 2710578.8182 | 1269057.85 | 2710577.8403 | 1269058.9186
62 | 2710723.8599 | 1269129.0955 | 2710742.6627 | 1269144.027
63 | 2710577.8403 | 1269058.9186 | 2710574.7094 | 1269062.3397
64 | 2710627.0074 | 1269016.8606 | 2710629.2017 | 1269016.657 | 2710640.5006 | 1269000.3111
65 | 2710735.2767 | 1269062.729 | 2710737.9995 | 1269065.6492 | 2710743.4799 | 1269072.0353 | 2710746.8173 | 1269068.2724 | 2710751.3678 | 1269065.6442
66 | 2710732.1992 | 1269053.8413 | 2710736.9791 | 1269052.6298 | 2710744.2281 | 1269059.4383 | 2710751.3678 | 1269065.6442
67 | 2710751.3678 | 1269065.6442 | 2710756.1059 | 1269069.0694 | 2710757.2304 | 1269069.7133 | 2710760.0304 | 1269071.3227 | 2710765.222 | 1269073.8445 | 2710768.4254 | 1269075.2169 | 2710783.511 | 1269080.7712
68 | 2710751.3678 | 1269065.6442 | 2710752.3951 | 1269065.0519 | 2710763.7736 | 1269058.7708 | 2710770.1538 | 1269054.9092 | 2710771.3432 | 1269051.6954 | 2710770.5868 | 1269046.6768 | 2710767.5222 | 1269040.1067
69 | 2710753.2917 | 1269152.4676 | 2710752.8936 | 1269154.8289 | 2710744.632 | 1269165.0942 | 2710744.9235 | 1269168.4137
70 | 2710753.2917 | 1269152.4676 | 2710742.6627 | 1269144.027
71 | 2710744.9235 | 1269168.4137 | 2710751.4921 | 1269174.4356
72 | 2710732.1992 | 1269053.8413 | 2710710.5161 | 1269032.4273 | 2710707.6613 | 1269029.7734
73 | 2710788.2898 | 1269061.9666 | 2710789.0826 | 1269062.2372 | 2710785.3026 | 1269075.1443 | 2710784.0617 | 1269079.1023 | 2710783.511 | 1269080.7712
74 | 2710763.1191 | 1269030.6672 | 2710767.5222 | 1269040.1067
75 | 2710694.1266 | 1269017.1909 | 2710707.6613 | 1269029.7734
76 | 2710542.5265 | 1269096.1466 | 2710540.8518 | 1269097.9319
77 | 2710654.1249 | 1268983.6948 | 2710652.8476 | 1268982.7701 | 2710642.0792 | 1268974.9727 | 2710626.5365 | 1268965.2732
78 | 2710626.5365 | 1268965.2732 | 2710628.8316 | 1268963.7037 | 2710643.2501 | 1268955.5253
79 | 2710763.1191 | 1269030.6672 | 2710759.5647 | 1269023.1155
80 | 2710763.1191 | 1269030.6672 | 2710773.7074 | 1269027.7426
81 | 2710653.8877 | 1268955.7297 | 2710651.4735 | 1268950.8608 | 2710643.2501 | 1268955.5253
82 | 2710654.1249 | 1268983.6948 | 2710657.8853 | 1268981.8637 | 2710659.207 | 1268981.2212 | 2710660.5746 | 1268980.5462 | 2710661.8659 | 1268979.9254 | 2710663.8866 | 1268978.9402 | 2710665.2845 | 1268978.2546 | 2710666.781 | 1268977.5265
83 | 2710679.8743 | 1268975.3365 | 2710671.7492 | 1268975.1063 | 2710666.781 | 1268977.5265
84 | 2710665.6611 | 1268975.0255 | 2710666.781 | 1268977.5265
85 | 2710679.8743 | 1268975.3365 | 2710685.984 | 1268972.2593
86 | 2710679.8743 | 1268975.3365 | 2710696.6904 | 1268984.1592 | 2710725.4257 | 1268989.5802

## bus_geodata
| x | y | coords
0 | 2710717.2085 | 1269211.6876
1 | 2710697.2412 | 1269194.94
2 | 2710731.4261 | 1269223.4646
3 | 2710679.7137 | 1269178.7995
4 | 2710698.1528 | 1269211.6418
5 | 2710666.2289 | 1269166.3818
6 | 2710504.9008 | 1269205.4521
7 | 2710561.6699 | 1269143.1261
8 | 2710498.8795 | 1269205.8398
9 | 2710685.7974 | 1269225.7158
10 | 2710702.1417 | 1269100.886
11 | 2710709.6747 | 1269117.8309
12 | 2710692.2697 | 1269092.3126
13 | 2710645.8783 | 1269049.3869
14 | 2710643.8839 | 1269071.0575
15 | 2710669.6929 | 1269071.5413
16 | 2710619.864 | 1269027.7141
17 | 2710657.2139 | 1269036.2426
18 | 2710648.0396 | 1269175.4269
19 | 2710652.0273 | 1269215.2699
20 | 2710621.6447 | 1269215.4678
21 | 2710639.7318 | 1269260.8564
22 | 2710565.4562 | 1268999.2375
23 | 2710594.6805 | 1269011.9066
24 | 2710569.0894 | 1268976.0629
25 | 2710532.0526 | 1268978.5754
26 | 2710663.1435 | 1269088.6111
27 | 2710618.9776 | 1269076.5398
28 | 2710608.214 | 1269172.6232
29 | 2710604.6765 | 1269199.1246
30 | 2710630.6023 | 1269170.863
31 | 2710589.9682 | 1269155.3987
32 | 2710628.8255 | 1269186.2754
33 | 2710573.1592 | 1268966.4056
34 | 2710579.1555 | 1268952.6419
35 | 2710585.5715 | 1268943.2537
36 | 2710477.193 | 1269087.664
37 | 2710482.4199 | 1269098.7603
38 | 2710476.4739 | 1269007.4358
39 | 2710519.0643 | 1269046.6135
40 | 2710551.6727 | 1269061.6009
41 | 2710556.3978 | 1269080.9952
42 | 2710564.7312 | 1269047.5817
43 | 2710552.179 | 1269085.6092
44 | 2710589.3701 | 1268927.7223
45 | 2710612.062 | 1268956.7225
46 | 2710587.1023 | 1269117.0904
47 | 2710590.6629 | 1269090.9563
48 | 2710572.9902 | 1269104.3691
49 | 2710707.3116 | 1269035.5255
50 | 2710695.3772 | 1269047.0948
51 | 2710726.1962 | 1269053.7159
52 | 2710587.1179 | 1269048.7529
53 | 2710609.2801 | 1268985.0609
54 | 2710723.8599 | 1269129.0955
55 | 2710574.7094 | 1269062.3397
56 | 2710681.9339 | 1269060.0164
57 | 2710577.8403 | 1269058.9186
58 | 2710627.0074 | 1269016.8606
59 | 2710735.2767 | 1269062.729
60 | 2710751.3678 | 1269065.6442
61 | 2710753.2917 | 1269152.4676
62 | 2710744.9235 | 1269168.4137
63 | 2710742.6627 | 1269144.027
64 | 2710732.1992 | 1269053.8413
65 | 2710783.511 | 1269080.7712
66 | 2710767.5222 | 1269040.1067
67 | 2710707.6613 | 1269029.7734
68 | 2710788.2898 | 1269061.9666
69 | 2710689.7046 | 1269243.5115
70 | 2710669.6854 | 1269022.6817
71 | 2710640.5006 | 1269000.3111
72 | 2710542.5265 | 1269096.1466
73 | 2710626.5365 | 1268965.2732
74 | 2710751.4921 | 1269174.4356
75 | 2710763.1191 | 1269030.6672
76 | 2710694.1266 | 1269017.1909
77 | 2710540.8518 | 1269097.9319
78 | 2710759.5647 | 1269023.1155
79 | 2710773.7074 | 1269027.7426
80 | 2710653.8877 | 1268955.7297
81 | 2710643.2501 | 1268955.5253
82 | 2710654.1249 | 1268983.6948
83 | 2710666.781 | 1268977.5265
84 | 2710679.8743 | 1268975.3365
85 | 2710665.6611 | 1268975.0255
86 | 2710685.984 | 1268972.2593
87 | 2710725.4257 | 1268989.5802
88 | 2710587.2951 | 1269094.3407

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1