## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4566-66_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4566-66_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4566-66_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4566-66_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4566-66_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4566-66_0_3_node_95 | 0.4 | n |  | TRUE
6 | bus_LV_4566-66_0_3_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_4566-66_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_4566-66_0_3_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_4566-66_0_3_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_4566-66_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_4566-66_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4566-66_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4566-66_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4566-66_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4566-66_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4566-66_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4566-66_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4566-66_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4566-66_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4566-66_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_4566-66_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_4566-66_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4566-66_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4566-66_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4566-66_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4566-66_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_4566-66_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4566-66_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4566-66_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4566-66_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_4566-66_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_4566-66_0_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_4566-66_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_4566-66_0_3_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_4566-66_0_3_node_94 | 0.4 | n |  | TRUE
36 | bus_LV_4566-66_0_3_node_93 | 0.4 | n |  | TRUE
37 | bus_LV_4566-66_0_3_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_4566-66_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4566-66_0_3_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_4566-66_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_4566-66_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4566-66_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4566-66_0_3_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_4566-66_0_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_4566-66_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_4566-66_0_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_4566-66_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_4566-66_0_3_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_4566-66_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_4566-66_0_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_4566-66_0_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_4566-66_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_4566-66_0_3_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_4566-66_0_3_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_4566-66_0_3_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_4566-66_0_3_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_4566-66_0_3_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_4566-66_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_4566-66_0_3_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_4566-66_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_4566-66_0_3_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_4566-66_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_4566-66_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_4566-66_0_3_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_4566-66_0_3_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_4566-66_0_3_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_4566-66_0_3_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_4566-66_0_3_node_80 | 0.4 | n |  | TRUE
69 | bus_LV_4566-66_0_3_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_4566-66_0_3_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_4566-66_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_4566-66_0_3_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_4566-66_0_3_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_4566-66_0_3_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_4566-66_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_4566-66_0_3_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4566-66_0_3_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_4566-66_0_3_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_4566-66_0_3_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_4566-66_0_3_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_4566-66_0_3_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_4566-66_0_3_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_4566-66_0_3_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_4566-66_0_3_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_4566-66_0_3_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_4566-66_0_3_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_4566-66_0_3_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_4566-66_0_3_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_4566-66_0_3_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_4566-66_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_4566-66_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4566-66_0_3_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_4566-66_0_3_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_4566-66_0_3_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_4566-66_0_3_node_83 | 0.4 | n |  | TRUE
96 | bus_MV_374_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4566-66_0_3_load_0 | 0 | 0.0036511 | 0.00091505 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4566-66_0_3_load_1 | 1 | 0.0011824 | 0.00029633 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4566-66_0_3_load_2 | 2 | 0.0057701 | 0.0014461 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4566-66_0_3_load_3 | 3 | 0.0017807 | 0.00044628 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4566-66_0_3_load_95 | 5 | 0.0011219 | 0.00028116 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4566-66_0_3_load_31 | 6 | 0.0019097 | 0.00047861 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4566-66_0_3_load_32 | 7 | 0.001594 | 0.0003995 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4566-66_0_3_load_5 | 11 | 0.0055318 | 0.0013864 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4566-66_0_3_load_6 | 12 | 0.0016357 | 0.00040995 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4566-66_0_3_load_8 | 14 | 0.00064026 | 0.00016047 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4566-66_0_3_load_9 | 15 | 0.0032031 | 0.00080276 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4566-66_0_3_load_10 | 17 | 0.001963 | 0.00049198 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4566-66_0_3_load_11 | 18 | 0.00064859 | 0.00016255 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4566-66_0_3_load_13 | 19 | 0.0032526 | 0.00081518 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4566-66_0_3_load_26 | 21 | 0.0020881 | 0.00052333 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4566-66_0_3_load_14 | 22 | 0.0060859 | 0.0015253 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4566-66_0_3_load_21 | 28 | 0.0013309 | 0.00033355 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4566-66_0_3_load_35 | 30 | 0.0013487 | 0.00033803 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4566-66_0_3_load_33 | 31 | 0.0046402 | 0.001163 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4566-66_0_3_load_40 | 32 | 0.0071391 | 0.0017892 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4566-66_0_3_load_34 | 33 | 0.0021135 | 0.00052969 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4566-66_0_3_load_64 | 34 | 0.0022148 | 0.00055509 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4566-66_0_3_load_94 | 35 | 0.0017802 | 0.00044615 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4566-66_0_3_load_93 | 36 | 0.0026267 | 0.00065832 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4566-66_0_3_load_81 | 37 | 0.0012854 | 0.00032215 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4566-66_0_3_load_54 | 39 | 0.0012064 | 0.00030236 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4566-66_0_3_load_51 | 40 | 0.0016288 | 0.00040822 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4566-66_0_3_load_96 | 43 | 0.00084475 | 0.00021171 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4566-66_0_3_load_68 | 46 | 0.0014523 | 0.00036398 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4566-66_0_3_load_65 | 48 | 0.0027315 | 0.00068458 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4566-66_0_3_load_82 | 51 | 0.0024859 | 0.00062303 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4566-66_0_3_load_52 | 52 | 0.0012203 | 0.00030585 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4566-66_0_3_load_76 | 53 | 0.00084943 | 0.00021289 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4566-66_0_3_load_77 | 56 | 0.0014332 | 0.0003592 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4566-66_0_3_load_55 | 58 | 0.0020609 | 0.0005165 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4566-66_0_3_load_84 | 59 | 0.0033572 | 0.0008414 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4566-66_0_3_load_92 | 61 | 0.0011707 | 0.00029341 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4566-66_0_3_load_59 | 62 | 0.0034076 | 0.00085403 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4566-66_0_3_load_48 | 63 | 0.0036336 | 0.00091066 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4566-66_0_3_load_38 | 64 | 0.0032047 | 0.00080317 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4566-66_0_3_load_36 | 65 | 0.0010411 | 0.00026093 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4566-66_0_3_load_37 | 69 | 0.0033443 | 0.00083816 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4566-66_0_3_load_69 | 70 | 0.0011771 | 0.00029501 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4566-66_0_3_load_66 | 71 | 0.003305 | 0.00082832 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4566-66_0_3_load_44 | 72 | 0.0021194 | 0.00053117 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4566-66_0_3_load_45 | 73 | 0.0022144 | 0.00055498 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4566-66_0_3_load_46 | 74 | 0.0026424 | 0.00066226 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4566-66_0_3_load_67 | 75 | 0.0021989 | 0.00055111 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4566-66_0_3_load_57 | 76 | 0.0045051 | 0.0011291 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4566-66_0_3_load_56 | 77 | 0.0010748 | 0.00026936 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4566-66_0_3_load_58 | 78 | 0.0062198 | 0.0015588 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4566-66_0_3_load_53 | 79 | 0.0012179 | 0.00030523 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4566-66_0_3_load_88 | 80 | 0.0012195 | 0.00030563 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4566-66_0_3_load_87 | 81 | 0.0013073 | 0.00032763 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4566-66_0_3_load_60 | 82 | 0.0014249 | 0.00035712 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4566-66_0_3_load_61 | 83 | 0.0022076 | 0.00055329 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4566-66_0_3_load_70 | 84 | 0.0014529 | 0.00036412 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4566-66_0_3_load_71 | 85 | 0.0029769 | 0.00074608 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4566-66_0_3_load_72 | 86 | 0.0011897 | 0.00029817 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4566-66_0_3_load_73 | 87 | 0.0010446 | 0.0002618 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4566-66_0_3_load_74 | 88 | 0.00084817 | 0.00021257 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4566-66_0_3_load_75 | 89 | 0.0010442 | 0.00026169 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4566-66_0_3_load_85 | 90 | 0.00063393 | 0.00015888 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4566-66_0_3_load_86 | 91 | 0.00094201 | 0.00023609 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4566-66_0_3_load_90 | 93 | 0.0058705 | 0.0014713 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4566-66_0_3_load_89 | 94 | 0.016382 | 0.0041058 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4566-66_0_3_load_83 | 95 | 0.0030605 | 0.00076704 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4566-66_0_3_line_0 |  | 0 | 1 | 0.014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4566-66_0_3_line_1 |  | 0 | 2 | 0.017077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4566-66_0_3_line_2 |  | 1 | 3 | 0.0288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4566-66_0_3_line_3 |  | 2 | 4 | 0.0053401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4566-66_0_3_line_4 |  | 3 | 5 | 0.036465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4566-66_0_3_line_5 |  | 4 | 6 | 0.020268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4566-66_0_3_line_6 |  | 4 | 7 | 0.0283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4566-66_0_3_line_7 |  | 5 | 8 | 0.033896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4566-66_0_3_line_8 |  | 6 | 9 | 0.031571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4566-66_0_3_line_9 |  | 7 | 10 | 0.014223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4566-66_0_3_line_10 |  | 8 | 67 | 0.1217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4566-66_0_3_line_11 |  | 9 | 63 | 0.019392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4566-66_0_3_line_12 |  | 9 | 60 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4566-66_0_3_line_13 |  | 10 | 55 | 0.05643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4566-66_0_3_line_14 |  | 10 | 54 | 0.007779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4566-66_0_3_line_15 |  | 11 | 12 | 0.0041632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4566-66_0_3_line_16 |  | 11 | 13 | 0.033691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4566-66_0_3_line_17 |  | 12 | 14 | 0.0064188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4566-66_0_3_line_18 |  | 13 | 15 | 0.027094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4566-66_0_3_line_19 |  | 15 | 16 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4566-66_0_3_line_20 |  | 16 | 17 | 0.030749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4566-66_0_3_line_21 |  | 17 | 18 | 0.032283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4566-66_0_3_line_22 |  | 18 | 19 | 0.0019877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4566-66_0_3_line_23 |  | 19 | 20 | 0.018083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4566-66_0_3_line_24 |  | 20 | 21 | 0.0017049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4566-66_0_3_line_25 |  | 21 | 54 | 0.014122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4566-66_0_3_line_26 |  | 22 | 23 | 0.047947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4566-66_0_3_line_27 |  | 23 | 27 | 0.010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4566-66_0_3_line_28 |  | 23 | 28 | 0.023212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4566-66_0_3_line_29 |  | 24 | 25 | 0.017862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4566-66_0_3_line_30 |  | 24 | 26 | 0.005001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4566-66_0_3_line_31 |  | 25 | 32 | 0.056491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_4566-66_0_3_line_32 |  | 25 | 33 | 0.02125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4566-66_0_3_line_33 |  | 26 | 34 | 0.0016185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4566-66_0_3_line_34 |  | 27 | 35 | 0.020008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4566-66_0_3_line_35 |  | 27 | 36 | 0.015921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4566-66_0_3_line_36 |  | 28 | 37 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4566-66_0_3_line_37 |  | 29 | 30 | 0.042204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4566-66_0_3_line_38 |  | 29 | 31 | 0.023897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4566-66_0_3_line_39 |  | 31 | 33 | 0.01144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_4566-66_0_3_line_40 |  | 32 | 44 | 0.021175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4566-66_0_3_line_41 |  | 34 | 50 | 0.014773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4566-66_0_3_line_42 |  | 36 | 42 | 0.02353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4566-66_0_3_line_43 |  | 37 | 51 | 0.0027817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4566-66_0_3_line_44 |  | 38 | 39 | 0.020421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4566-66_0_3_line_45 |  | 38 | 40 | 0.010322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4566-66_0_3_line_46 |  | 39 | 50 | 0.080974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4566-66_0_3_line_47 |  | 40 | 52 | 0.00052953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4566-66_0_3_line_48 |  | 41 | 42 | 0.012778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4566-66_0_3_line_49 |  | 41 | 43 | 0.0073833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4566-66_0_3_line_50 |  | 43 | 53 | 4.4773e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4566-66_0_3_line_51 |  | 44 | 49 | 0.00415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4566-66_0_3_line_52 |  | 45 | 46 | 0.010237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4566-66_0_3_line_53 |  | 45 | 47 | 0.028728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4566-66_0_3_line_54 |  | 45 | 48 | 0.018366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4566-66_0_3_line_55 |  | 46 | 70 | 0.0055701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4566-66_0_3_line_56 |  | 47 | 49 | 0.005242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4566-66_0_3_line_57 |  | 48 | 71 | 0.0055464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4566-66_0_3_line_58 |  | 49 | 62 | 0.032294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4566-66_0_3_line_59 |  | 50 | 82 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4566-66_0_3_line_60 |  | 51 | 95 | 0.0055299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4566-66_0_3_line_61 |  | 52 | 79 | 5.9449e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4566-66_0_3_line_62 |  | 53 | 88 | 4.4942e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4566-66_0_3_line_63 |  | 55 | 56 | 0.010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4566-66_0_3_line_64 |  | 56 | 57 | 0.021149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4566-66_0_3_line_65 |  | 57 | 58 | 0.021063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4566-66_0_3_line_66 |  | 58 | 66 | 0.022767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4566-66_0_3_line_67 |  | 59 | 60 | 0.013456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4566-66_0_3_line_68 |  | 60 | 61 | 0.015417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4566-66_0_3_line_69 |  | 62 | 78 | 0.0030689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4566-66_0_3_line_70 |  | 63 | 76 | 0.0021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4566-66_0_3_line_71 |  | 64 | 65 | 0.017927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4566-66_0_3_line_72 |  | 65 | 69 | 0.011539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4566-66_0_3_line_73 |  | 66 | 69 | 0.021662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4566-66_0_3_line_74 |  | 67 | 68 | 0.15385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4566-66_0_3_line_75 |  | 68 | 92 | 0.057527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4566-66_0_3_line_76 |  | 70 | 84 | 0.0049715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4566-66_0_3_line_77 |  | 71 | 75 | 0.022729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4566-66_0_3_line_78 |  | 72 | 73 | 0.00022017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4566-66_0_3_line_79 |  | 73 | 74 | 0.026248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4566-66_0_3_line_80 |  | 74 | 75 | 0.00050351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4566-66_0_3_line_81 |  | 76 | 77 | 0.018585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4566-66_0_3_line_82 |  | 77 | 78 | 0.0055356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4566-66_0_3_line_83 |  | 79 | 80 | 5.3656e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4566-66_0_3_line_84 |  | 80 | 81 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4566-66_0_3_line_85 |  | 81 | 91 | 0.0083779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4566-66_0_3_line_86 |  | 82 | 83 | 0.02328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4566-66_0_3_line_87 |  | 84 | 85 | 0.0089478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4566-66_0_3_line_88 |  | 86 | 87 | 0.016926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4566-66_0_3_line_89 |  | 86 | 88 | 0.00065357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4566-66_0_3_line_90 |  | 87 | 89 | 0.0077802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4566-66_0_3_line_91 |  | 89 | 90 | 0.0062504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4566-66_0_3_line_92 |  | 90 | 91 | 0.0058699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4566-66_0_3_line_93 |  | 92 | 93 | 0.068733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4566-66_0_3_line_94 |  | 93 | 94 | 0.00014726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4566-66_0_3_trafo_33 | 0.63 MVA 20/0.4 kV | 96 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2705714.1914 | 1269745.1208 | 2705716.1219 | 1269747.6515 | 2705724.4796 | 1269754.924
1 | 2705714.1914 | 1269745.1208 | 2705709.3273 | 1269738.7445 | 2705705.01 | 1269730.7829
2 | 2705746.4952 | 1269773.4816 | 2705738.3832 | 1269767.0222 | 2705724.4796 | 1269754.924
3 | 2705702.4644 | 1269726.0885 | 2705705.01 | 1269730.7829
4 | 2705746.4952 | 1269773.4816 | 2705767.9154 | 1269790.5379 | 2705775.2638 | 1269795.8779
5 | 2705702.4644 | 1269726.0885 | 2705713.9646 | 1269709.3987
6 | 2705702.4644 | 1269726.0885 | 2705698.9396 | 1269719.9312 | 2705683.0946 | 1269705.8388
7 | 2705802.6843 | 1269815.8045 | 2705775.2638 | 1269795.8779
8 | 2705729.4759 | 1269682.3674 | 2705728.0792 | 1269688.9147 | 2705713.9646 | 1269709.3987
9 | 2705672.7607 | 1269696.1424 | 2705673.4185 | 1269697.2329 | 2705683.0946 | 1269705.8388
10 | 2705802.6843 | 1269815.8045 | 2705829.3522 | 1269833.6643 | 2705886.1351 | 1269862.2175 | 2705910.4266 | 1269872.4062
11 | 2705729.4759 | 1269682.3674 | 2705746.7345 | 1269691.2104
12 | 2705727.9341 | 1269667.1822 | 2705728.7337 | 1269672.123 | 2705730.0013 | 1269679.9303 | 2705729.4759 | 1269682.3674
13 | 2705631.2324 | 1269733.9435 | 2705639.1943 | 1269724.3109 | 2705652.8682 | 1269710.9105 | 2705665.5535 | 1269701.0288 | 2705672.7607 | 1269696.1424
14 | 2705668.7407 | 1269689.4758 | 2705672.7607 | 1269696.1424
15 | 2705632.1958 | 1269608.3459 | 2705635.5255 | 1269610.8449
16 | 2705603.1162 | 1269592.1072 | 2705617.1618 | 1269597.0626 | 2705632.1958 | 1269608.3459
17 | 2705640.6593 | 1269614.6979 | 2705635.5255 | 1269610.8449
18 | 2705603.1162 | 1269592.1072 | 2705601.6141 | 1269596.1394 | 2705593.3515 | 1269617.3795
19 | 2705585.134 | 1269638.5037 | 2705593.3515 | 1269617.3795
20 | 2705585.134 | 1269638.5037 | 2705613.648 | 1269650.0122 | 2705613.648 | 1269650.0122
21 | 2705613.648 | 1269650.0122 | 2705641.7602 | 1269665.884 | 2705641.7602 | 1269665.884
22 | 2705641.7602 | 1269665.884 | 2705643.2985 | 1269667.1429
23 | 2705657.2925 | 1269678.595 | 2705643.2985 | 1269667.1429
24 | 2705657.2925 | 1269678.595 | 2705658.6119 | 1269679.6747
25 | 2705668.7407 | 1269689.4758 | 2705662.5441 | 1269682.8926 | 2705658.6119 | 1269679.6747
26 | 2706011.4301 | 1269613.5272 | 2705964.4777 | 1269623.2419
27 | 2706011.4301 | 1269613.5272 | 2706021.7725 | 1269611.3553
28 | 2706011.4301 | 1269613.5272 | 2706015.9939 | 1269636.2862
29 | 2705874.5315 | 1269641.8523 | 2705856.9905 | 1269645.4856
30 | 2705873.6942 | 1269636.9219 | 2705874.5315 | 1269641.8523
31 | 2705856.9905 | 1269645.4856 | 2705820.6392 | 1269653.0298 | 2705812.5784 | 1269657.2446 | 2705802.5311 | 1269659.3657
32 | 2705856.9905 | 1269645.4856 | 2705856.7269 | 1269666.7342
33 | 2705873.6942 | 1269636.9219 | 2705875.2786 | 1269636.5913
34 | 2706026.7454 | 1269630.7391 | 2706022.1386 | 1269612.7631 | 2706021.7725 | 1269611.3553
35 | 2706021.7725 | 1269611.3553 | 2706037.3548 | 1269608.0898
36 | 2706019.8354 | 1269655.4434 | 2706015.9939 | 1269636.2862
37 | 2705880.4208 | 1269676.4656 | 2705887.5067 | 1269718.0702
38 | 2705880.4208 | 1269676.4656 | 2705856.585 | 1269678.1732
39 | 2705856.585 | 1269678.1732 | 2705856.7269 | 1269666.7342
40 | 2705781.5575 | 1269660.9145 | 2705793.5933 | 1269661.2525 | 2705802.5311 | 1269659.3657
41 | 2705889.74 | 1269633.5733 | 2705875.2786 | 1269636.5913
42 | 2706060.3846 | 1269603.2636 | 2706037.3548 | 1269608.0898
43 | 2706019.8354 | 1269655.4434 | 2706020.3823 | 1269658.1709
44 | 2705989.0472 | 1269613.103 | 2705969.0408 | 1269617.1964
45 | 2705989.0472 | 1269613.103 | 2705987.2793 | 1269604.6751 | 2705988.9544 | 1269604.3261
46 | 2705889.74 | 1269633.5733 | 2705917.443 | 1269627.7537 | 2705969.0408 | 1269617.1964
47 | 2705989.4728 | 1269604.2181 | 2705988.9544 | 1269604.3261
48 | 2706055.3321 | 1269594.5987 | 2706056.296 | 1269599.1755 | 2706059.4916 | 1269598.5101 | 2706060.3846 | 1269603.2636
49 | 2706055.3321 | 1269594.5987 | 2706054.5071 | 1269590.6694 | 2706051.2096 | 1269591.3564
50 | 2706051.2096 | 1269591.3564 | 2706051.1658 | 1269591.3655
51 | 2705781.5575 | 1269660.9145 | 2705777.4854 | 1269661.7757
52 | 2705783.2395 | 1269636.7682 | 2705773.2205 | 1269638.8712
53 | 2705776.4259 | 1269656.6411 | 2705780.5059 | 1269655.7579 | 2705779.3303 | 1269649.9651 | 2705785.7215 | 1269648.6229 | 2705783.2395 | 1269636.7682
54 | 2705783.2395 | 1269636.7682 | 2705782.3672 | 1269631.27 | 2705784.0005 | 1269627.0623 | 2705787.7294 | 1269624.7715 | 2705791.5611 | 1269623.9985
55 | 2705767.7692 | 1269640.0154 | 2705773.2205 | 1269638.8712
56 | 2705776.4259 | 1269656.6411 | 2705777.4854 | 1269661.7757
57 | 2705791.5611 | 1269623.9985 | 2705796.9979 | 1269622.9017
58 | 2705777.4854 | 1269661.7757 | 2705775.2019 | 1269673.2892 | 2705773.5479 | 1269687.0492 | 2705772.6569 | 1269692.6715 | 2705772.2524 | 1269693.5916
59 | 2705889.74 | 1269633.5733 | 2705886.4179 | 1269617.9192
60 | 2706025.7986 | 1269657.056 | 2706020.3823 | 1269658.1709
61 | 2705989.531 | 1269604.206 | 2705989.4728 | 1269604.2181
62 | 2706051.1658 | 1269591.3655 | 2706051.1218 | 1269591.3747
63 | 2705631.2324 | 1269733.9435 | 2705626.6245 | 1269739.5215 | 2705624.6372 | 1269741.8991
64 | 2705611.0739 | 1269758.1262 | 2705624.6372 | 1269741.8991
65 | 2705611.0739 | 1269758.1262 | 2705617.6271 | 1269764.9715 | 2705626.0945 | 1269772.88
66 | 2705639.9178 | 1269790.2808 | 2705637.4504 | 1269783.4864 | 2705626.0945 | 1269772.88
67 | 2705727.9341 | 1269667.1822 | 2705714.9434 | 1269670.6882
68 | 2705727.9341 | 1269667.1822 | 2705742.9992 | 1269663.9074
69 | 2705772.2524 | 1269693.5916 | 2705771.0172 | 1269696.4009 | 2705771.0172 | 1269696.4009
70 | 2705746.7345 | 1269691.2104 | 2705748.6625 | 1269692.1983
71 | 2705648.9363 | 1269750.3781 | 2705658.8385 | 1269759.5704 | 2705659.9284 | 1269763.8492
72 | 2705653.5101 | 1269773.4141 | 2705655.8197 | 1269770.5481 | 2705659.9284 | 1269763.8492 | 2705659.9284 | 1269763.8492
73 | 2705639.9178 | 1269790.2808 | 2705653.5101 | 1269773.4141
74 | 2705910.4266 | 1269872.4062 | 2705921.9293 | 1269876.4271 | 2705933.8151 | 1269878.8089 | 2705959.3547 | 1269880.6685 | 2705988.8128 | 1269876.8047 | 2706060.7712 | 1269858.6137
75 | 2706060.7712 | 1269858.6137 | 2706116.7021 | 1269844.4836
76 | 2705767.7692 | 1269640.0154 | 2705762.9037 | 1269641.0367
77 | 2705819.2778 | 1269618.4068 | 2705796.9979 | 1269622.9017
78 | 2705845.4611 | 1269615.5767 | 2705845.6762 | 1269615.5296
79 | 2705845.4611 | 1269615.5767 | 2705836.8713 | 1269617.4565 | 2705830.558 | 1269616.1311 | 2705819.7713 | 1269618.3073
80 | 2705819.2778 | 1269618.4068 | 2705819.7713 | 1269618.3073
81 | 2705765.8819 | 1269698.307 | 2705759.5229 | 1269697.763 | 2705748.6625 | 1269692.1983
82 | 2705765.8819 | 1269698.307 | 2705766.4289 | 1269698.3538 | 2705771.0172 | 1269696.4009
83 | 2705989.5835 | 1269604.195 | 2705989.531 | 1269604.206
84 | 2706006.2275 | 1269600.7276 | 2705989.5835 | 1269604.195
85 | 2706006.2275 | 1269600.7276 | 2706014.4293 | 1269599.0189
86 | 2705886.4179 | 1269617.9192 | 2705881.5851 | 1269595.1466
87 | 2705754.1467 | 1269642.8748 | 2705762.9037 | 1269641.0367
88 | 2706050.4819 | 1269591.508 | 2706033.9115 | 1269594.9601
89 | 2706051.1218 | 1269591.3747 | 2706050.4819 | 1269591.508
90 | 2706026.2949 | 1269596.5469 | 2706033.9115 | 1269594.9601
91 | 2706026.2949 | 1269596.5469 | 2706020.1758 | 1269597.8217
92 | 2706020.1758 | 1269597.8217 | 2706014.4293 | 1269599.0189
93 | 2706116.7021 | 1269844.4836 | 2706107.0535 | 1269803.4748 | 2706081.2178 | 1269809.8237
94 | 2706081.2178 | 1269809.8237 | 2706081.0748 | 1269809.8588

## bus_geodata
| x | y | coords
0 | 2705714.1914 | 1269745.1208
1 | 2705724.4796 | 1269754.924
2 | 2705705.01 | 1269730.7829
3 | 2705746.4952 | 1269773.4816
4 | 2705702.4644 | 1269726.0885
5 | 2705775.2638 | 1269795.8779
6 | 2705713.9646 | 1269709.3987
7 | 2705683.0946 | 1269705.8388
8 | 2705802.6843 | 1269815.8045
9 | 2705729.4759 | 1269682.3674
10 | 2705672.7607 | 1269696.1424
11 | 2705632.1958 | 1269608.3459
12 | 2705635.5255 | 1269610.8449
13 | 2705603.1162 | 1269592.1072
14 | 2705640.6593 | 1269614.6979
15 | 2705593.3515 | 1269617.3795
16 | 2705585.134 | 1269638.5037
17 | 2705613.648 | 1269650.0122
18 | 2705641.7602 | 1269665.884
19 | 2705643.2985 | 1269667.1429
20 | 2705657.2925 | 1269678.595
21 | 2705658.6119 | 1269679.6747
22 | 2705964.4777 | 1269623.2419
23 | 2706011.4301 | 1269613.5272
24 | 2705874.5315 | 1269641.8523
25 | 2705856.9905 | 1269645.4856
26 | 2705873.6942 | 1269636.9219
27 | 2706021.7725 | 1269611.3553
28 | 2706015.9939 | 1269636.2862
29 | 2705880.4208 | 1269676.4656
30 | 2705887.5067 | 1269718.0702
31 | 2705856.585 | 1269678.1732
32 | 2705802.5311 | 1269659.3657
33 | 2705856.7269 | 1269666.7342
34 | 2705875.2786 | 1269636.5913
35 | 2706026.7454 | 1269630.7391
36 | 2706037.3548 | 1269608.0898
37 | 2706019.8354 | 1269655.4434
38 | 2705989.0472 | 1269613.103
39 | 2705969.0408 | 1269617.1964
40 | 2705988.9544 | 1269604.3261
41 | 2706055.3321 | 1269594.5987
42 | 2706060.3846 | 1269603.2636
43 | 2706051.2096 | 1269591.3564
44 | 2705781.5575 | 1269660.9145
45 | 2705783.2395 | 1269636.7682
46 | 2705773.2205 | 1269638.8712
47 | 2705776.4259 | 1269656.6411
48 | 2705791.5611 | 1269623.9985
49 | 2705777.4854 | 1269661.7757
50 | 2705889.74 | 1269633.5733
51 | 2706020.3823 | 1269658.1709
52 | 2705989.4728 | 1269604.2181
53 | 2706051.1658 | 1269591.3655
54 | 2705668.7407 | 1269689.4758
55 | 2705631.2324 | 1269733.9435
56 | 2705624.6372 | 1269741.8991
57 | 2705611.0739 | 1269758.1262
58 | 2705626.0945 | 1269772.88
59 | 2705714.9434 | 1269670.6882
60 | 2705727.9341 | 1269667.1822
61 | 2705742.9992 | 1269663.9074
62 | 2705772.2524 | 1269693.5916
63 | 2705746.7345 | 1269691.2104
64 | 2705648.9363 | 1269750.3781
65 | 2705659.9284 | 1269763.8492
66 | 2705639.9178 | 1269790.2808
67 | 2705910.4266 | 1269872.4062
68 | 2706060.7712 | 1269858.6137
69 | 2705653.5101 | 1269773.4141
70 | 2705767.7692 | 1269640.0154
71 | 2705796.9979 | 1269622.9017
72 | 2705845.6762 | 1269615.5296
73 | 2705845.4611 | 1269615.5767
74 | 2705819.7713 | 1269618.3073
75 | 2705819.2778 | 1269618.4068
76 | 2705748.6625 | 1269692.1983
77 | 2705765.8819 | 1269698.307
78 | 2705771.0172 | 1269696.4009
79 | 2705989.531 | 1269604.206
80 | 2705989.5835 | 1269604.195
81 | 2706006.2275 | 1269600.7276
82 | 2705886.4179 | 1269617.9192
83 | 2705881.5851 | 1269595.1466
84 | 2705762.9037 | 1269641.0367
85 | 2705754.1467 | 1269642.8748
86 | 2706050.4819 | 1269591.508
87 | 2706033.9115 | 1269594.9601
88 | 2706051.1218 | 1269591.3747
89 | 2706026.2949 | 1269596.5469
90 | 2706020.1758 | 1269597.8217
91 | 2706014.4293 | 1269599.0189
92 | 2706116.7021 | 1269844.4836
93 | 2706081.2178 | 1269809.8237
94 | 2706081.0748 | 1269809.8588
95 | 2706025.7986 | 1269657.056
96 | 2705880.4208 | 1269676.4656

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1