## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4643-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4643-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4643-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4643-5_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4643-5_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_4643-5_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4643-5_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_4643-5_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_4643-5_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_4643-5_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4643-5_0_3_node_103 | 0.4 | n |  | TRUE
11 | bus_LV_4643-5_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4643-5_0_3_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_4643-5_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4643-5_0_3_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_4643-5_0_3_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_4643-5_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4643-5_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4643-5_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4643-5_0_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_4643-5_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4643-5_0_3_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_4643-5_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_4643-5_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_4643-5_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_4643-5_0_3_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_4643-5_0_3_node_109 | 0.4 | n |  | TRUE
27 | bus_LV_4643-5_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4643-5_0_3_node_108 | 0.4 | n |  | TRUE
29 | bus_LV_4643-5_0_3_node_100 | 0.4 | n |  | TRUE
30 | bus_LV_4643-5_0_3_node_97 | 0.4 | n |  | TRUE
31 | bus_LV_4643-5_0_3_node_96 | 0.4 | n |  | TRUE
32 | bus_LV_4643-5_0_3_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_4643-5_0_3_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_4643-5_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_4643-5_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_4643-5_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4643-5_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_4643-5_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4643-5_0_3_node_98 | 0.4 | n |  | TRUE
40 | bus_LV_4643-5_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_4643-5_0_3_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_4643-5_0_3_node_101 | 0.4 | n |  | TRUE
43 | bus_LV_4643-5_0_3_node_104 | 0.4 | n |  | TRUE
44 | bus_LV_4643-5_0_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_4643-5_0_3_node_106 | 0.4 | n |  | TRUE
46 | bus_LV_4643-5_0_3_node_17 | 0.4 | n |  | TRUE
47 | bus_LV_4643-5_0_3_node_18 | 0.4 | n |  | TRUE
48 | bus_LV_4643-5_0_3_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_4643-5_0_3_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_4643-5_0_3_node_20 | 0.4 | n |  | TRUE
51 | bus_LV_4643-5_0_3_node_22 | 0.4 | n |  | TRUE
52 | bus_LV_4643-5_0_3_node_23 | 0.4 | n |  | TRUE
53 | bus_LV_4643-5_0_3_node_24 | 0.4 | n |  | TRUE
54 | bus_LV_4643-5_0_3_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_4643-5_0_3_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_4643-5_0_3_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_4643-5_0_3_node_113 | 0.4 | n |  | TRUE
58 | bus_LV_4643-5_0_3_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_4643-5_0_3_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_4643-5_0_3_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_4643-5_0_3_node_112 | 0.4 | n |  | TRUE
62 | bus_LV_4643-5_0_3_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4643-5_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4643-5_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_4643-5_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_4643-5_0_3_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_4643-5_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_4643-5_0_3_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_4643-5_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_4643-5_0_3_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_4643-5_0_3_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_4643-5_0_3_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_4643-5_0_3_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_4643-5_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_4643-5_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_4643-5_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_4643-5_0_3_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_4643-5_0_3_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_4643-5_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_4643-5_0_3_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_4643-5_0_3_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_4643-5_0_3_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_4643-5_0_3_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_4643-5_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_4643-5_0_3_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_4643-5_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_4643-5_0_3_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_4643-5_0_3_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_4643-5_0_3_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4643-5_0_3_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_4643-5_0_3_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_4643-5_0_3_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_4643-5_0_3_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_4643-5_0_3_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_4643-5_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_4643-5_0_3_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_4643-5_0_3_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_4643-5_0_3_node_80 | 0.4 | n |  | TRUE
99 | bus_LV_4643-5_0_3_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_4643-5_0_3_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_4643-5_0_3_node_107 | 0.4 | n |  | TRUE
102 | bus_LV_4643-5_0_3_node_110 | 0.4 | n |  | TRUE
103 | bus_LV_4643-5_0_3_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_4643-5_0_3_node_85 | 0.4 | n |  | TRUE
105 | bus_LV_4643-5_0_3_node_86 | 0.4 | n |  | TRUE
106 | bus_LV_4643-5_0_3_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_4643-5_0_3_node_111 | 0.4 | n |  | TRUE
108 | bus_MV_442_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4643-5_0_3_load_0 | 0 | 0.012733 | 0.0031911 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4643-5_0_3_load_19 | 7 | 0.010202 | 0.0025569 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4643-5_0_3_load_16 | 8 | 0.0085309 | 0.0021381 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4643-5_0_3_load_59 | 12 | 0.0075834 | 0.0019006 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4643-5_0_3_load_54 | 15 | 0.011356 | 0.0028462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4643-5_0_3_load_30 | 19 | 0.01009 | 0.0025289 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4643-5_0_3_load_57 | 22 | 0.012342 | 0.0030931 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4643-5_0_3_load_37 | 24 | 0.0052151 | 0.001307 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4643-5_0_3_load_55 | 25 | 0.0013623 | 0.00034142 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4643-5_0_3_load_109 | 26 | 0.0096698 | 0.0024235 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4643-5_0_3_load_15 | 27 | 0.0071864 | 0.0018011 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4643-5_0_3_load_108 | 28 | 0.00076626 | 0.00019204 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4643-5_0_3_load_97 | 30 | 0.0015623 | 0.00039154 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4643-5_0_3_load_96 | 31 | 0.0028103 | 0.00070433 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4643-5_0_3_load_51 | 32 | 0.0026404 | 0.00066174 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4643-5_0_3_load_42 | 34 | 0.005219 | 0.001308 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4643-5_0_3_load_38 | 35 | 0.0022633 | 0.00056724 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4643-5_0_3_load_31 | 36 | 0.0056822 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4643-5_0_3_load_32 | 38 | 0.0082074 | 0.002057 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4643-5_0_3_load_98 | 39 | 0.0046411 | 0.0011632 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4643-5_0_3_load_27 | 40 | 0.017082 | 0.0042813 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4643-5_0_3_load_56 | 41 | 0.0005206 | 0.00013048 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4643-5_0_3_load_99 | 44 | 0.0080557 | 0.002019 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4643-5_0_3_load_106 | 45 | 0.010322 | 0.002587 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4643-5_0_3_load_17 | 46 | 0.0061739 | 0.0015473 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4643-5_0_3_load_21 | 48 | 0.0091921 | 0.0023038 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4643-5_0_3_load_20 | 50 | 0.0060994 | 0.0015287 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4643-5_0_3_load_22 | 51 | 0.0081311 | 0.0020378 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4643-5_0_3_load_23 | 52 | 0.0087094 | 0.0021828 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4643-5_0_3_load_24 | 53 | 0.0054567 | 0.0013676 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4643-5_0_3_load_26 | 54 | 0.012094 | 0.0030309 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4643-5_0_3_load_60 | 56 | 0.0070581 | 0.0017689 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4643-5_0_3_load_113 | 57 | 0.0027094 | 0.00067904 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4643-5_0_3_load_83 | 59 | 0.0018136 | 0.00045454 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4643-5_0_3_load_79 | 60 | 0.0021246 | 0.00053248 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4643-5_0_3_load_112 | 61 | 0.002712 | 0.00067968 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4643-5_0_3_load_39 | 62 | 0.0041318 | 0.0010355 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4643-5_0_3_load_41 | 63 | 0.00088359 | 0.00022145 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4643-5_0_3_load_45 | 64 | 0.004252 | 0.0010657 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4643-5_0_3_load_58 | 65 | 0.0056384 | 0.0014131 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4643-5_0_3_load_43 | 66 | 0.00074448 | 0.00018658 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4643-5_0_3_load_44 | 67 | 0.00094526 | 0.0002369 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4643-5_0_3_load_53 | 69 | 0.0042522 | 0.0010657 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4643-5_0_3_load_50 | 71 | 0.0028947 | 0.00072549 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4643-5_0_3_load_47 | 72 | 0.0027421 | 0.00068723 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4643-5_0_3_load_52 | 73 | 0.0014788 | 0.00037062 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4643-5_0_3_load_63 | 74 | 0.0014785 | 0.00037055 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4643-5_0_3_load_61 | 75 | 0.0014798 | 0.00037087 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4643-5_0_3_load_62 | 76 | 0.0014795 | 0.0003708 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4643-5_0_3_load_64 | 77 | 0.0014798 | 0.00037087 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4643-5_0_3_load_65 | 78 | 0.0070156 | 0.0017583 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4643-5_0_3_load_66 | 79 | 0.0044564 | 0.0011169 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4643-5_0_3_load_67 | 80 | 0.0016917 | 0.00042399 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4643-5_0_3_load_69 | 82 | 0.0015622 | 0.00039152 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4643-5_0_3_load_70 | 83 | 0.00087604 | 0.00021956 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4643-5_0_3_load_71 | 84 | 0.0034614 | 0.0008675 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4643-5_0_3_load_94 | 85 | 0.0068185 | 0.0017089 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4643-5_0_3_load_78 | 86 | 0.0020751 | 0.00052007 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4643-5_0_3_load_93 | 87 | 0.0043612 | 0.001093 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4643-5_0_3_load_77 | 88 | 0.0022894 | 0.00057379 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4643-5_0_3_load_72 | 90 | 0.0013547 | 0.00033952 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4643-5_0_3_load_73 | 91 | 0.001384 | 0.00034685 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4643-5_0_3_load_75 | 93 | 0.001637 | 0.00041027 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4643-5_0_3_load_95 | 95 | 0.0030209 | 0.00075711 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4643-5_0_3_load_88 | 96 | 0.001212 | 0.00030375 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4643-5_0_3_load_80 | 98 | 0.0031517 | 0.0007899 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4643-5_0_3_load_91 | 99 | 0.0022857 | 0.00057286 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4643-5_0_3_load_92 | 100 | 0.0033432 | 0.00083788 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4643-5_0_3_load_107 | 101 | 0.0024974 | 0.00062591 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4643-5_0_3_load_110 | 102 | 0.0024951 | 0.00062532 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4643-5_0_3_load_102 | 103 | 0.0061039 | 0.0015298 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4643-5_0_3_load_85 | 104 | 0.00080312 | 0.00020128 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4643-5_0_3_load_86 | 105 | 0.0015636 | 0.00039187 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4643-5_0_3_load_105 | 106 | 0.016452 | 0.0041233 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4643-5_0_3_load_111 | 107 | 0.0024954 | 0.0006254 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4643-5_0_3_line_0 |  | 0 | 1 | 0.0030477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4643-5_0_3_line_1 |  | 0 | 2 | 0.029983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4643-5_0_3_line_2 |  | 1 | 3 | 0.052375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4643-5_0_3_line_3 |  | 2 | 4 | 0.014882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4643-5_0_3_line_4 |  | 3 | 7 | 0.019381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4643-5_0_3_line_5 |  | 3 | 8 | 0.016351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_4643-5_0_3_line_6 |  | 4 | 26 | 0.016031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4643-5_0_3_line_7 |  | 5 | 6 | 0.023846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4643-5_0_3_line_8 |  | 5 | 7 | 0.019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4643-5_0_3_line_9 |  | 6 | 19 | 0.023153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4643-5_0_3_line_10 |  | 6 | 16 | 0.022061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4643-5_0_3_line_11 |  | 8 | 27 | 0.026737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4643-5_0_3_line_12 |  | 9 | 10 | 0.018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4643-5_0_3_line_13 |  | 9 | 11 | 0.005175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4643-5_0_3_line_14 |  | 10 | 28 | 0.015581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4643-5_0_3_line_15 |  | 10 | 29 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4643-5_0_3_line_16 |  | 11 | 12 | 0.047529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4643-5_0_3_line_17 |  | 13 | 14 | 0.004314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4643-5_0_3_line_18 |  | 13 | 15 | 0.0048603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4643-5_0_3_line_19 |  | 14 | 34 | 0.0019084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4643-5_0_3_line_20 |  | 14 | 35 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4643-5_0_3_line_21 |  | 15 | 16 | 0.018168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4643-5_0_3_line_22 |  | 17 | 18 | 0.022406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4643-5_0_3_line_23 |  | 17 | 19 | 0.012484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4643-5_0_3_line_24 |  | 18 | 22 | 0.028336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4643-5_0_3_line_25 |  | 18 | 25 | 0.039842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4643-5_0_3_line_26 |  | 20 | 21 | 0.005007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4643-5_0_3_line_27 |  | 20 | 22 | 0.005068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4643-5_0_3_line_28 |  | 21 | 38 | 0.03258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4643-5_0_3_line_29 |  | 21 | 23 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4643-5_0_3_line_30 |  | 22 | 39 | 0.0044747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4643-5_0_3_line_31 |  | 23 | 24 | 0.025531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4643-5_0_3_line_32 |  | 24 | 40 | 0.025677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4643-5_0_3_line_33 |  | 25 | 41 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4643-5_0_3_line_34 |  | 26 | 45 | 0.014515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4643-5_0_3_line_35 |  | 28 | 85 | 0.0087885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4643-5_0_3_line_36 |  | 29 | 44 | 0.036187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4643-5_0_3_line_37 |  | 29 | 103 | 0.0076097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4643-5_0_3_line_38 |  | 30 | 31 | 0.012377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4643-5_0_3_line_39 |  | 31 | 95 | 0.013947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4643-5_0_3_line_40 |  | 32 | 33 | 0.016076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4643-5_0_3_line_41 |  | 33 | 73 | 0.019638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4643-5_0_3_line_42 |  | 33 | 72 | 0.013996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4643-5_0_3_line_43 |  | 34 | 65 | 0.032296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4643-5_0_3_line_44 |  | 35 | 62 | 0.00031661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4643-5_0_3_line_45 |  | 36 | 37 | 0.030729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4643-5_0_3_line_46 |  | 37 | 49 | 0.024349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4643-5_0_3_line_47 |  | 37 | 47 | 0.021779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4643-5_0_3_line_48 |  | 40 | 49 | 0.016171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4643-5_0_3_line_49 |  | 42 | 43 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4643-5_0_3_line_50 |  | 42 | 44 | 0.012138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4643-5_0_3_line_51 |  | 43 | 45 | 0.018462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4643-5_0_3_line_52 |  | 43 | 106 | 0.0188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4643-5_0_3_line_53 |  | 46 | 47 | 0.016582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4643-5_0_3_line_54 |  | 47 | 48 | 0.0074735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4643-5_0_3_line_55 |  | 48 | 50 | 0.0079553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4643-5_0_3_line_56 |  | 49 | 55 | 0.082686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4643-5_0_3_line_57 |  | 49 | 52 | 0.013101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4643-5_0_3_line_58 |  | 50 | 51 | 0.0030273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4643-5_0_3_line_59 |  | 52 | 53 | 0.013344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4643-5_0_3_line_60 |  | 53 | 54 | 0.012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4643-5_0_3_line_61 |  | 54 | 56 | 0.0063995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4643-5_0_3_line_62 |  | 55 | 57 | 0.021294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4643-5_0_3_line_63 |  | 57 | 61 | 0.0046568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4643-5_0_3_line_64 |  | 58 | 59 | 0.015793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4643-5_0_3_line_65 |  | 58 | 60 | 0.025548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4643-5_0_3_line_66 |  | 60 | 98 | 0.04131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4643-5_0_3_line_67 |  | 61 | 107 | 0.0049927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4643-5_0_3_line_68 |  | 62 | 63 | 0.030092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4643-5_0_3_line_69 |  | 63 | 64 | 0.0047748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4643-5_0_3_line_70 |  | 64 | 66 | 0.018808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4643-5_0_3_line_71 |  | 66 | 67 | 0.038044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4643-5_0_3_line_72 |  | 67 | 68 | 0.064945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4643-5_0_3_line_73 |  | 68 | 69 | 0.095719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4643-5_0_3_line_74 |  | 68 | 70 | 0.037642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4643-5_0_3_line_75 |  | 70 | 71 | 0.037141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4643-5_0_3_line_76 |  | 70 | 72 | 0.014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4643-5_0_3_line_77 |  | 73 | 74 | 0.0053746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4643-5_0_3_line_78 |  | 74 | 75 | 0.0053752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4643-5_0_3_line_79 |  | 75 | 76 | 0.0053746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4643-5_0_3_line_80 |  | 76 | 77 | 0.0053746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4643-5_0_3_line_81 |  | 77 | 78 | 0.02462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4643-5_0_3_line_82 |  | 79 | 80 | 0.014255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4643-5_0_3_line_83 |  | 79 | 81 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4643-5_0_3_line_84 |  | 80 | 82 | 0.029642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4643-5_0_3_line_85 |  | 81 | 83 | 0.011722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4643-5_0_3_line_86 |  | 81 | 84 | 0.019017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4643-5_0_3_line_87 |  | 82 | 85 | 0.0067374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4643-5_0_3_line_88 |  | 83 | 86 | 0.017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4643-5_0_3_line_89 |  | 84 | 87 | 0.00060319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4643-5_0_3_line_90 |  | 86 | 88 | 0.041208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4643-5_0_3_line_91 |  | 87 | 89 | 0.014929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4643-5_0_3_line_92 |  | 88 | 92 | 0.024627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4643-5_0_3_line_93 |  | 89 | 99 | 0.028145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4643-5_0_3_line_94 |  | 89 | 98 | 0.012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4643-5_0_3_line_95 |  | 90 | 91 | 0.028759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4643-5_0_3_line_96 |  | 90 | 92 | 0.0085158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4643-5_0_3_line_97 |  | 91 | 93 | 0.021556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4643-5_0_3_line_98 |  | 92 | 94 | 0.021306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4643-5_0_3_line_99 |  | 93 | 95 | 0.0023343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4643-5_0_3_line_100 |  | 94 | 96 | 0.0058906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4643-5_0_3_line_101 |  | 96 | 97 | 0.024324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4643-5_0_3_line_102 |  | 97 | 104 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4643-5_0_3_line_103 |  | 99 | 100 | 0.0033503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4643-5_0_3_line_104 |  | 101 | 102 | 0.0071091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4643-5_0_3_line_105 |  | 102 | 107 | 0.0071065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4643-5_0_3_line_106 |  | 104 | 105 | 0.030998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4643-5_0_3_trafo_15 | 0.63 MVA 20/0.4 kV | 108 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2732717.1234 | 1277934.5745 | 2732716.7079 | 1277931.5553
1 | 2732712.6208 | 1277901.8522 | 2732716.7079 | 1277931.5553
2 | 2732717.1234 | 1277934.5745 | 2732720.1994 | 1277950.1924 | 2732726.3745 | 1277978.7372 | 2732727.2388 | 1277982.7495 | 2732730.3135 | 1277982.0736
3 | 2732712.6208 | 1277901.8522 | 2732721.8957 | 1277900.5707 | 2732721.0343 | 1277895.0903
4 | 2732730.3135 | 1277982.0736 | 2732731.5341 | 1277987.6176 | 2732734.8846 | 1278000.9055
5 | 2732730.3135 | 1277982.0736 | 2732746.2799 | 1277978.55
6 | 2732721.0343 | 1277895.0903 | 2732730.5822 | 1277893.7038 | 2732729.6895 | 1277887.3835
7 | 2732740.5318 | 1278019.3291 | 2732744.1592 | 1278025.8171 | 2732747.7783 | 1278029.3353 | 2732752.1907 | 1278032.6712 | 2732756.1524 | 1278036.9979
8 | 2732740.5318 | 1278019.3291 | 2732735.6745 | 1278004.038 | 2732734.8846 | 1278000.9055
9 | 2732756.1524 | 1278036.9979 | 2732759.6435 | 1278033.8512 | 2732766.9116 | 1278033.2141 | 2732777.801 | 1278035.643
10 | 2732761.2663 | 1278053.5738 | 2732762.6625 | 1278047.6549 | 2732764.2668 | 1278040.8399 | 2732756.1524 | 1278036.9979
11 | 2732772.3865 | 1277972.779 | 2732766.3485 | 1277974.121 | 2732746.2799 | 1277978.55
12 | 2732689.6926 | 1277820.1004 | 2732697.6117 | 1277808.9231 | 2732699.5013 | 1277804.7949
13 | 2732684.983 | 1277822.2744 | 2732689.6926 | 1277820.1004
14 | 2732699.5013 | 1277804.7949 | 2732700.4666 | 1277797.9766 | 2732699.3527 | 1277789.3536
15 | 2732708.8855 | 1277809.0101 | 2732699.5013 | 1277804.7949
16 | 2732684.983 | 1277822.2744 | 2732680.1517 | 1277824.5124 | 2732654.6705 | 1277829.0995 | 2732638.7017 | 1277832.4357
17 | 2732748.2402 | 1278066.5601 | 2732744.4644 | 1278068.6661
18 | 2732748.2402 | 1278066.5601 | 2732752.4879 | 1278064.1978
19 | 2732744.4644 | 1278068.6661 | 2732743.3811 | 1278067.095
20 | 2732744.4644 | 1278068.6661 | 2732753.3126 | 1278083.7136
21 | 2732761.2663 | 1278053.5738 | 2732758.2088 | 1278053.4938 | 2732752.7463 | 1278055.0613 | 2732751.7338 | 1278057.6299 | 2732751.6151 | 1278060.2298 | 2732752.4879 | 1278064.1978
22 | 2732789.9853 | 1278038.3607 | 2732792.3639 | 1278040.2161 | 2732791.8265 | 1278048.0562 | 2732791.4105 | 1278053.8414 | 2732791.0636 | 1278059.5614
23 | 2732789.9853 | 1278038.3607 | 2732777.801 | 1278035.643
24 | 2732818.8298 | 1278065.6147 | 2732804.2435 | 1278062.4387 | 2732794.0856 | 1278060.219 | 2732791.0636 | 1278059.5614
25 | 2732791.0636 | 1278059.5614 | 2732790.0966 | 1278075.789 | 2732790.7272 | 1278092.1749 | 2732791.3715 | 1278099.3338
26 | 2732820.225 | 1278060.7413 | 2732821.1028 | 1278055.8117
27 | 2732820.225 | 1278060.7413 | 2732818.8298 | 1278065.6147
28 | 2732821.1028 | 1278055.8117 | 2732826.4308 | 1278056.5435 | 2732832.9201 | 1278054.7768 | 2732853.0382 | 1278058.5912
29 | 2732821.1028 | 1278055.8117 | 2732811.4103 | 1278052.9574
30 | 2732818.8298 | 1278065.6147 | 2732823.2129 | 1278066.5153
31 | 2732811.4103 | 1278052.9574 | 2732813.3342 | 1278040.633 | 2732818.569 | 1278028.671
32 | 2732830.9422 | 1278006.2876 | 2732830.3148 | 1278007.2825 | 2732823.494 | 1278017.4166 | 2732818.569 | 1278028.671
33 | 2732792.5368 | 1278112.2799 | 2732791.3715 | 1278099.3338
34 | 2732727.6596 | 1277873.0108 | 2732729.6895 | 1277887.3835
35 | 2732698.2267 | 1277780.6375 | 2732699.3527 | 1277789.3536
36 | 2732708.8855 | 1277809.0101 | 2732707.4613 | 1277815.5067 | 2732707.8415 | 1277830.6746 | 2732709.913 | 1277841.1649 | 2732710.921 | 1277844.6946
37 | 2732708.8855 | 1277809.0101 | 2732715.9846 | 1277811.7507
38 | 2732656.4988 | 1277773.9971 | 2732664.8304 | 1277783.1502
39 | 2732647.1107 | 1277763.6832 | 2732656.4988 | 1277773.9971
40 | 2732803.9645 | 1278165.2226 | 2732795.7425 | 1278151.4079
41 | 2732803.9645 | 1278165.2226 | 2732815.6366 | 1278157.9449 | 2732820.8302 | 1278155.1811
42 | 2732803.9645 | 1278165.2226 | 2732811.1254 | 1278177.2475
43 | 2732715.1184 | 1278053.3241 | 2732718.6174 | 1278053.4919 | 2732722.2024 | 1278054.518 | 2732726.4178 | 1278056.5926 | 2732731.3521 | 1278059.7846 | 2732735.2199 | 1278061.2731 | 2732738.7172 | 1278062.5196 | 2732741.6911 | 1278064.6442 | 2732743.3811 | 1278067.095
44 | 2732753.4731 | 1278083.9865 | 2732753.3126 | 1278083.7136
45 | 2732825.1695 | 1277980.7627 | 2732824.2949 | 1277984.5467 | 2732808.4296 | 1278006.2027
46 | 2732839.5681 | 1277992.6097 | 2732841.9944 | 1277987.0144 | 2732838.881 | 1277985.0757 | 2732838.0979 | 1277984.8022 | 2732831.9677 | 1277981.6389 | 2732825.1695 | 1277980.7627
47 | 2732817.9397 | 1277963.6831 | 2732827.3441 | 1277971.3246 | 2732825.1695 | 1277980.7627
48 | 2732839.5681 | 1277992.6097 | 2732830.9422 | 1278006.2876
49 | 2732714.2539 | 1277856.3664 | 2732725.0778 | 1277854.7305
50 | 2732714.2539 | 1277856.3664 | 2732710.921 | 1277844.6946
51 | 2732725.0778 | 1277854.7305 | 2732727.6596 | 1277873.0108
52 | 2732725.0778 | 1277854.7305 | 2732743.6662 | 1277851.9181
53 | 2732817.9397 | 1277963.6831 | 2732801.6087 | 1277966.5589
54 | 2732817.9397 | 1277963.6831 | 2732818.9335 | 1277956.276
55 | 2732818.9335 | 1277956.276 | 2732823.8925 | 1277950.0555
56 | 2732839.5681 | 1277992.6097 | 2732841.9944 | 1277987.0144 | 2732850.2165 | 1277968.0697 | 2732852.7108 | 1277955.7916 | 2732849.8481 | 1277931.0583 | 2732844.5953 | 1277913.3115
57 | 2732839.5681 | 1277992.6097 | 2732849.0724 | 1278001.6265
58 | 2732825.7796 | 1277947.6883 | 2732823.8925 | 1277950.0555
59 | 2732859.0231 | 1278010.3528 | 2732857.8934 | 1278009.995 | 2732849.0724 | 1278001.6265
60 | 2732859.0231 | 1278010.3528 | 2732870.9644 | 1278014.1347
61 | 2732870.9644 | 1278014.1347 | 2732871.1264 | 1278014.1861 | 2732877.2856 | 1278015.1195
62 | 2732844.5953 | 1277913.3115 | 2732828.3629 | 1277899.5301
63 | 2732824.813 | 1277896.5162 | 2732828.3629 | 1277899.5301
64 | 2732804.7247 | 1277685.1226 | 2732800.3203 | 1277669.956
65 | 2732804.7247 | 1277685.1226 | 2732779.9084 | 1277691.1916
66 | 2732779.9084 | 1277691.1916 | 2732772.1605 | 1277693.0864 | 2732744.7959 | 1277699.1655 | 2732739.5949 | 1277700.1943
67 | 2732821.5541 | 1277892.7338 | 2732824.813 | 1277896.5162 | 2732824.813 | 1277896.5162
68 | 2732753.4731 | 1278083.9865 | 2732762.8166 | 1278099.8765 | 2732768.51 | 1278110.0505
69 | 2732768.51 | 1278110.0505 | 2732770.8417 | 1278114.2172
70 | 2732780.0263 | 1278130.63 | 2732770.8417 | 1278114.2172
71 | 2732780.0263 | 1278130.63 | 2732798.6047 | 1278163.8292
72 | 2732830.32 | 1278220.5038 | 2732798.6047 | 1278163.8292
73 | 2732750.492 | 1278234.5652 | 2732753.2442 | 1278244.8595 | 2732760.6694 | 1278250.5878 | 2732784.3087 | 1278240.9325 | 2732809.6137 | 1278230.414 | 2732830.32 | 1278220.5038
74 | 2732818.5729 | 1278189.7534 | 2732834.6208 | 1278218.443 | 2732830.32 | 1278220.5038
75 | 2732818.5729 | 1278189.7534 | 2732851.7125 | 1278172.9828
76 | 2732818.5729 | 1278189.7534 | 2732811.1254 | 1278177.2475
77 | 2732820.8302 | 1278155.1811 | 2732825.5749 | 1278152.6562
78 | 2732830.3201 | 1278150.1311 | 2732825.5749 | 1278152.6562
79 | 2732830.3201 | 1278150.1311 | 2732835.0647 | 1278147.6062
80 | 2732835.0647 | 1278147.6062 | 2732839.8094 | 1278145.0814
81 | 2732858.3578 | 1278130.4464 | 2732855.6212 | 1278136.4685 | 2732842.2646 | 1278143.7749 | 2732839.8094 | 1278145.0814
82 | 2732694.5612 | 1277730.7448 | 2732692.4967 | 1277736.2811 | 2732693.566 | 1277744.5583
83 | 2732698.1849 | 1277721.0273 | 2732694.5612 | 1277730.7448
84 | 2732693.566 | 1277744.5583 | 2732697.3636 | 1277773.9556
85 | 2732698.1849 | 1277721.0273 | 2732689.6848 | 1277714.2628 | 2732688.8285 | 1277714.194
86 | 2732698.1849 | 1277721.0273 | 2732708.6681 | 1277715.8358 | 2732714.7453 | 1277711.7574
87 | 2732698.2267 | 1277780.6375 | 2732697.3636 | 1277773.9556
88 | 2732671.4099 | 1277712.7944 | 2732688.8285 | 1277714.194
89 | 2732714.7453 | 1277711.7574 | 2732715.2462 | 1277711.4213
90 | 2732671.4099 | 1277712.7944 | 2732666.033 | 1277712.3624 | 2732646.9523 | 1277713.4456 | 2732630.4146 | 1277715.7856
91 | 2732727.3004 | 1277702.6197 | 2732718.2089 | 1277709.433 | 2732715.2462 | 1277711.4213
92 | 2732605.9381 | 1277718.4507 | 2732612.8604 | 1277717.4943 | 2732613.6889 | 1277717.4239 | 2732628.3705 | 1277716.0748 | 2732630.4146 | 1277715.7856
93 | 2732727.3004 | 1277702.6197 | 2732728.9519 | 1277674.5231
94 | 2732727.3004 | 1277702.6197 | 2732733.0843 | 1277701.4821 | 2732739.5949 | 1277700.1943
95 | 2732611.6704 | 1277724.7483 | 2732631.0294 | 1277746.0163
96 | 2732605.9381 | 1277718.4507 | 2732611.6704 | 1277724.7483
97 | 2732631.0294 | 1277746.0163 | 2732645.5394 | 1277761.957
98 | 2732605.9381 | 1277718.4507 | 2732595.3963 | 1277706.8691 | 2732592.003 | 1277702.3217
99 | 2732647.1107 | 1277763.6832 | 2732645.5394 | 1277761.957
100 | 2732592.003 | 1277702.3217 | 2732589.4342 | 1277697.0207
101 | 2732581.6113 | 1277674.0381 | 2732583.355 | 1277681.0731 | 2732588.4829 | 1277695.0577 | 2732589.4342 | 1277697.0207
102 | 2732581.6113 | 1277674.0381 | 2732587.0388 | 1277672.7032 | 2732598.995 | 1277664.094
103 | 2732728.9519 | 1277674.5231 | 2732729.1485 | 1277671.1785
104 | 2732812.2751 | 1277881.9643 | 2732816.9154 | 1277887.35
105 | 2732816.9154 | 1277887.35 | 2732821.5541 | 1277892.7338
106 | 2732620.4068 | 1277641.7005 | 2732609.263 | 1277653.862 | 2732599.4556 | 1277663.7624 | 2732598.995 | 1277664.094

## bus_geodata
| x | y | coords
0 | 2732716.7079 | 1277931.5553
1 | 2732717.1234 | 1277934.5745
2 | 2732712.6208 | 1277901.8522
3 | 2732730.3135 | 1277982.0736
4 | 2732721.0343 | 1277895.0903
5 | 2732740.5318 | 1278019.3291
6 | 2732756.1524 | 1278036.9979
7 | 2732734.8846 | 1278000.9055
8 | 2732746.2799 | 1277978.55
9 | 2732689.6926 | 1277820.1004
10 | 2732699.5013 | 1277804.7949
11 | 2732684.983 | 1277822.2744
12 | 2732638.7017 | 1277832.4357
13 | 2732748.2402 | 1278066.5601
14 | 2732744.4644 | 1278068.6661
15 | 2732752.4879 | 1278064.1978
16 | 2732761.2663 | 1278053.5738
17 | 2732789.9853 | 1278038.3607
18 | 2732791.0636 | 1278059.5614
19 | 2732777.801 | 1278035.643
20 | 2732820.225 | 1278060.7413
21 | 2732821.1028 | 1278055.8117
22 | 2732818.8298 | 1278065.6147
23 | 2732811.4103 | 1278052.9574
24 | 2732818.569 | 1278028.671
25 | 2732791.3715 | 1278099.3338
26 | 2732729.6895 | 1277887.3835
27 | 2732772.3865 | 1277972.779
28 | 2732699.3527 | 1277789.3536
29 | 2732708.8855 | 1277809.0101
30 | 2732664.8304 | 1277783.1502
31 | 2732656.4988 | 1277773.9971
32 | 2732795.7425 | 1278151.4079
33 | 2732803.9645 | 1278165.2226
34 | 2732743.3811 | 1278067.095
35 | 2732753.3126 | 1278083.7136
36 | 2732808.4296 | 1278006.2027
37 | 2732825.1695 | 1277980.7627
38 | 2732853.0382 | 1278058.5912
39 | 2732823.2129 | 1278066.5153
40 | 2732830.9422 | 1278006.2876
41 | 2732792.5368 | 1278112.2799
42 | 2732714.2539 | 1277856.3664
43 | 2732725.0778 | 1277854.7305
44 | 2732710.921 | 1277844.6946
45 | 2732727.6596 | 1277873.0108
46 | 2732801.6087 | 1277966.5589
47 | 2732817.9397 | 1277963.6831
48 | 2732818.9335 | 1277956.276
49 | 2732839.5681 | 1277992.6097
50 | 2732823.8925 | 1277950.0555
51 | 2732825.7796 | 1277947.6883
52 | 2732849.0724 | 1278001.6265
53 | 2732859.0231 | 1278010.3528
54 | 2732870.9644 | 1278014.1347
55 | 2732844.5953 | 1277913.3115
56 | 2732877.2856 | 1278015.1195
57 | 2732828.3629 | 1277899.5301
58 | 2732804.7247 | 1277685.1226
59 | 2732800.3203 | 1277669.9561
60 | 2732779.9084 | 1277691.1916
61 | 2732824.813 | 1277896.5162
62 | 2732753.4731 | 1278083.9865
63 | 2732768.51 | 1278110.0505
64 | 2732770.8417 | 1278114.2172
65 | 2732715.1184 | 1278053.3241
66 | 2732780.0263 | 1278130.63
67 | 2732798.6047 | 1278163.8292
68 | 2732830.32 | 1278220.5038
69 | 2732750.492 | 1278234.5652
70 | 2732818.5729 | 1278189.7534
71 | 2732851.7125 | 1278172.9828
72 | 2732811.1254 | 1278177.2475
73 | 2732820.8302 | 1278155.1811
74 | 2732825.5749 | 1278152.6562
75 | 2732830.3201 | 1278150.1311
76 | 2732835.0647 | 1278147.6063
77 | 2732839.8094 | 1278145.0814
78 | 2732858.3578 | 1278130.4464
79 | 2732694.5612 | 1277730.7448
80 | 2732693.566 | 1277744.5583
81 | 2732698.1849 | 1277721.0273
82 | 2732697.3636 | 1277773.9556
83 | 2732688.8285 | 1277714.194
84 | 2732714.7453 | 1277711.7574
85 | 2732698.2267 | 1277780.6375
86 | 2732671.4099 | 1277712.7944
87 | 2732715.2462 | 1277711.4213
88 | 2732630.4146 | 1277715.7856
89 | 2732727.3004 | 1277702.6197
90 | 2732611.6704 | 1277724.7483
91 | 2732631.0294 | 1277746.0162
92 | 2732605.9381 | 1277718.4507
93 | 2732645.5394 | 1277761.957
94 | 2732592.003 | 1277702.3217
95 | 2732647.1107 | 1277763.6832
96 | 2732589.4342 | 1277697.0207
97 | 2732581.6113 | 1277674.0381
98 | 2732739.5949 | 1277700.1943
99 | 2732728.9519 | 1277674.5231
100 | 2732729.1485 | 1277671.1785
101 | 2732812.2751 | 1277881.9643
102 | 2732816.9154 | 1277887.35
103 | 2732715.9846 | 1277811.7507
104 | 2732598.995 | 1277664.094
105 | 2732620.4068 | 1277641.7005
106 | 2732743.6662 | 1277851.9181
107 | 2732821.5541 | 1277892.7338
108 | 2732730.3135 | 1277982.0736

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1