## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4671-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4671-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4671-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4671-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4671-14_0_5_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_4671-14_0_5_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_4671-14_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4671-14_0_5_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_4671-14_0_5_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_4671-14_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4671-14_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4671-14_0_5_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_4671-14_0_5_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_4671-14_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4671-14_0_5_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_4671-14_0_5_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_4671-14_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4671-14_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4671-14_0_5_node_79 | 0.4 | n |  | TRUE
19 | bus_LV_4671-14_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_4671-14_0_5_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_4671-14_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4671-14_0_5_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_4671-14_0_5_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_4671-14_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4671-14_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_4671-14_0_5_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_4671-14_0_5_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_4671-14_0_5_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_4671-14_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4671-14_0_5_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_4671-14_0_5_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_4671-14_0_5_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_4671-14_0_5_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_4671-14_0_5_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_4671-14_0_5_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_4671-14_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4671-14_0_5_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_4671-14_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_4671-14_0_5_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_4671-14_0_5_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_4671-14_0_5_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_4671-14_0_5_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_4671-14_0_5_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_4671-14_0_5_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_4671-14_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_4671-14_0_5_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_4671-14_0_5_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_4671-14_0_5_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_4671-14_0_5_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_4671-14_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_4671-14_0_5_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_4671-14_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_4671-14_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4671-14_0_5_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_4671-14_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_4671-14_0_5_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_4671-14_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_4671-14_0_5_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_4671-14_0_5_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_4671-14_0_5_node_26 | 0.4 | n |  | TRUE
61 | bus_LV_4671-14_0_5_node_27 | 0.4 | n |  | TRUE
62 | bus_LV_4671-14_0_5_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_4671-14_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_4671-14_0_5_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_4671-14_0_5_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_4671-14_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_4671-14_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4671-14_0_5_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4671-14_0_5_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_4671-14_0_5_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_4671-14_0_5_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_4671-14_0_5_node_74 | 0.4 | n |  | TRUE
73 | bus_MV_441_0_node_258 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4671-14_0_5_load_0 | 0 | 0.0052064 | 0.0013048 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4671-14_0_5_load_3 | 3 | 0.0032888 | 0.00082425 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4671-14_0_5_load_75 | 5 | 0.003498 | 0.00087669 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4671-14_0_5_load_24 | 8 | 0.023938 | 0.0059995 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4671-14_0_5_load_39 | 11 | 0.033525 | 0.008402 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4671-14_0_5_load_67 | 12 | 0.0021419 | 0.00053682 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4671-14_0_5_load_57 | 15 | 0.0085532 | 0.0021436 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4671-14_0_5_load_79 | 18 | 0.017719 | 0.0044408 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4671-14_0_5_load_59 | 20 | 0.003241 | 0.00081226 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4671-14_0_5_load_69 | 23 | 0.011877 | 0.0029766 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4671-14_0_5_load_37 | 26 | 0.0012705 | 0.00031843 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4671-14_0_5_load_64 | 27 | 0.0026621 | 0.00066718 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4671-14_0_5_load_65 | 28 | 0.0090834 | 0.0022765 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4671-14_0_5_load_68 | 31 | 0.025223 | 0.0063216 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4671-14_0_5_load_47 | 33 | 0.0028821 | 0.00072232 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4671-14_0_5_load_66 | 37 | 0.0052059 | 0.0013047 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4671-14_0_5_load_78 | 40 | 0.003289 | 0.00082431 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4671-14_0_5_load_77 | 41 | 0.0068874 | 0.0017261 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4671-14_0_5_load_56 | 42 | 0.004066 | 0.001019 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4671-14_0_5_load_50 | 46 | 0.0077514 | 0.0019427 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4671-14_0_5_load_58 | 47 | 0.00184 | 0.00046115 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4671-14_0_5_load_55 | 48 | 0.0068374 | 0.0017136 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4671-14_0_5_load_60 | 49 | 0.0034915 | 0.00087506 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4671-14_0_5_load_46 | 50 | 0.0097487 | 0.0024433 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4671-14_0_5_load_70 | 51 | 0.011819 | 0.002962 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4671-14_0_5_load_36 | 52 | 0.0062538 | 0.0015673 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4671-14_0_5_load_44 | 53 | 0.0033203 | 0.00083215 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4671-14_0_5_load_43 | 54 | 0.0019251 | 0.00048247 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4671-14_0_5_load_41 | 55 | 0.024874 | 0.006234 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4671-14_0_5_load_40 | 56 | 0.0025786 | 0.00064626 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4671-14_0_5_load_48 | 57 | 0.0016193 | 0.00040584 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4671-14_0_5_load_29 | 58 | 0.002508 | 0.00062856 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4671-14_0_5_load_28 | 59 | 0.0062881 | 0.0015759 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4671-14_0_5_load_26 | 60 | 0.008938 | 0.0022401 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4671-14_0_5_load_27 | 61 | 0.015361 | 0.0038498 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4671-14_0_5_load_30 | 62 | 0.016988 | 0.0042577 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4671-14_0_5_load_49 | 63 | 0.0061986 | 0.0015535 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4671-14_0_5_load_33 | 64 | 0.0847 | 0.021228 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4671-14_0_5_load_54 | 66 | 0.0024511 | 0.00061431 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4671-14_0_5_load_52 | 67 | 0.0039517 | 0.00099038 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4671-14_0_5_load_53 | 68 | 0.0024464 | 0.00061312 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4671-14_0_5_load_61 | 69 | 0.0082519 | 0.0020681 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4671-14_0_5_load_73 | 71 | 0.011886 | 0.0029788 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4671-14_0_5_load_74 | 72 | 0.010518 | 0.0026359 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4671-14_0_5_line_0 |  | 0 | 1 | 0.01955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4671-14_0_5_line_1 |  | 0 | 2 | 0.061502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4671-14_0_5_line_2 |  | 1 | 3 | 0.039757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4671-14_0_5_line_3 |  | 2 | 4 | 0.005179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4671-14_0_5_line_4 |  | 3 | 5 | 0.00070573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4671-14_0_5_line_5 |  | 4 | 34 | 0.05414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4671-14_0_5_line_6 |  | 5 | 35 | 0.015318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4671-14_0_5_line_7 |  | 6 | 7 | 0.016015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4671-14_0_5_line_8 |  | 6 | 8 | 0.0083481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4671-14_0_5_line_9 |  | 7 | 18 | 0.028178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4671-14_0_5_line_10 |  | 8 | 36 | 0.017451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4671-14_0_5_line_11 |  | 9 | 10 | 0.086955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4671-14_0_5_line_12 |  | 9 | 11 | 0.052813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4671-14_0_5_line_13 |  | 10 | 12 | 0.01437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4671-14_0_5_line_14 |  | 11 | 39 | 0.055598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4671-14_0_5_line_15 |  | 12 | 38 | 0.013258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4671-14_0_5_line_16 |  | 13 | 14 | 0.0081619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4671-14_0_5_line_17 |  | 13 | 15 | 0.0094806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4671-14_0_5_line_18 |  | 14 | 28 | 0.0071165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4671-14_0_5_line_19 |  | 14 | 24 | 0.008976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4671-14_0_5_line_20 |  | 15 | 42 | 0.027846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4671-14_0_5_line_21 |  | 16 | 17 | 0.007225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4671-14_0_5_line_22 |  | 16 | 18 | 0.027562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4671-14_0_5_line_23 |  | 17 | 19 | 0.0099322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4671-14_0_5_line_24 |  | 17 | 20 | 0.041677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4671-14_0_5_line_25 |  | 19 | 29 | 0.012273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4671-14_0_5_line_26 |  | 20 | 47 | 0.015243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4671-14_0_5_line_27 |  | 21 | 22 | 0.017923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4671-14_0_5_line_28 |  | 21 | 23 | 0.051676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4671-14_0_5_line_29 |  | 22 | 50 | 0.062615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4671-14_0_5_line_30 |  | 23 | 51 | 0.00029774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4671-14_0_5_line_31 |  | 24 | 25 | 0.0082247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4671-14_0_5_line_32 |  | 24 | 26 | 0.030654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4671-14_0_5_line_33 |  | 24 | 27 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4671-14_0_5_line_34 |  | 25 | 32 | 0.032301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4671-14_0_5_line_35 |  | 25 | 33 | 0.016754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4671-14_0_5_line_36 |  | 26 | 52 | 0.0048546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_4671-14_0_5_line_37 |  | 29 | 30 | 0.017099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4671-14_0_5_line_38 |  | 29 | 31 | 0.030113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4671-14_0_5_line_39 |  | 30 | 55 | 0.017725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4671-14_0_5_line_40 |  | 32 | 50 | 0.0002201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4671-14_0_5_line_41 |  | 32 | 54 | 0.023609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4671-14_0_5_line_42 |  | 34 | 57 | 0.090252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4671-14_0_5_line_43 |  | 35 | 40 | 0.0098044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4671-14_0_5_line_44 |  | 35 | 41 | 0.0072462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4671-14_0_5_line_45 |  | 36 | 60 | 0.033217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4671-14_0_5_line_46 |  | 36 | 61 | 0.015293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4671-14_0_5_line_47 |  | 37 | 38 | 0.0058266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4671-14_0_5_line_48 |  | 38 | 65 | 0.047672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4671-14_0_5_line_49 |  | 39 | 52 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_4671-14_0_5_line_50 |  | 39 | 56 | 0.029026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4671-14_0_5_line_51 |  | 42 | 47 | 0.0032372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4671-14_0_5_line_52 |  | 43 | 44 | 0.005778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4671-14_0_5_line_53 |  | 43 | 45 | 0.011873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4671-14_0_5_line_54 |  | 43 | 46 | 0.038477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4671-14_0_5_line_55 |  | 44 | 48 | 0.037074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4671-14_0_5_line_56 |  | 44 | 49 | 0.018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4671-14_0_5_line_57 |  | 45 | 62 | 0.011546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4671-14_0_5_line_58 |  | 46 | 63 | 0.018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4671-14_0_5_line_59 |  | 48 | 68 | 0.035105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4671-14_0_5_line_60 |  | 49 | 69 | 0.0071275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4671-14_0_5_line_61 |  | 51 | 70 | 0.017366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4671-14_0_5_line_62 |  | 53 | 54 | 0.0061636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4671-14_0_5_line_63 |  | 57 | 63 | 0.020601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4671-14_0_5_line_64 |  | 58 | 59 | 0.020387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4671-14_0_5_line_65 |  | 59 | 60 | 0.020502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4671-14_0_5_line_66 |  | 61 | 62 | 0.023592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4671-14_0_5_line_67 |  | 64 | 65 | 0.0080936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4671-14_0_5_line_68 |  | 66 | 67 | 0.0068623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4671-14_0_5_line_69 |  | 67 | 68 | 0.0043635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4671-14_0_5_line_70 |  | 70 | 71 | 0.007735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4671-14_0_5_line_71 |  | 70 | 72 | 0.029172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4671-14_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 73 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2730013.0533 | 1279218.9512 | 2730011.0291 | 1279238.3961
1 | 2730004.6613 | 1279299.5674 | 2730011.0291 | 1279238.3961
2 | 2730013.0533 | 1279218.9512 | 2729973.4209 | 1279215.8019
3 | 2730004.6613 | 1279299.5674 | 2730009.8368 | 1279300.0153
4 | 2729972.7174 | 1279215.746 | 2729973.4209 | 1279215.8019
5 | 2730009.8368 | 1279300.0153 | 2730016.969 | 1279300.6842 | 2730063.7254 | 1279305.2306
6 | 2729957.4479 | 1279214.5326 | 2729972.7174 | 1279215.746
7 | 2730030.3733 | 1279107.702 | 2730030.9198 | 1279102.0084 | 2730032.3341 | 1279099.5594 | 2730035.75 | 1279098.7006 | 2730039.6664 | 1279099.3431
8 | 2730030.3733 | 1279107.702 | 2730029.4873 | 1279116.0029
9 | 2730039.6664 | 1279099.3431 | 2730067.419 | 1279104.222
10 | 2730027.6353 | 1279133.3556 | 2730029.4873 | 1279116.0029
11 | 2730194.6801 | 1278969.0017 | 2730119.8368 | 1278964.3902 | 2730115.3486 | 1278964.1131 | 2730114.2685 | 1278971.5076
12 | 2730194.6801 | 1278969.0017 | 2730197.3546 | 1278997.6221 | 2730202.9411 | 1279021.0323
13 | 2730114.2685 | 1278971.5076 | 2730099.9435 | 1278970.3699
14 | 2730215.6401 | 1279075.1572 | 2730214.3722 | 1279068.9342 | 2730202.9411 | 1279021.0323
15 | 2730086.7272 | 1278969.3203 | 2730099.9435 | 1278970.3699
16 | 2730196.8486 | 1279126.9931 | 2730197.5271 | 1279122.8151 | 2730198.1539 | 1279118.9363
17 | 2730196.8486 | 1279126.9931 | 2730187.5112 | 1279125.3511
18 | 2730198.1539 | 1279118.9363 | 2730191.1445 | 1279117.7059
19 | 2730207.0258 | 1279120.4669 | 2730198.1539 | 1279118.9363
20 | 2730160.0859 | 1279120.5282 | 2730187.5112 | 1279125.3511
21 | 2730100.924 | 1279111.9507 | 2730093.7727 | 1279110.7807
22 | 2730093.7727 | 1279110.7807 | 2730088.2762 | 1279109.8808 | 2730086.5313 | 1279108.2407 | 2730084.0154 | 1279107.1397 | 2730067.419 | 1279104.222
23 | 2730100.924 | 1279111.9507 | 2730101.8045 | 1279106.1088 | 2730102.4034 | 1279102.1293
24 | 2730100.924 | 1279111.9507 | 2730102.5627 | 1279111.2528 | 2730105.5683 | 1279110.941 | 2730141.885 | 1279117.3275
25 | 2730096.0834 | 1279095.9839 | 2730095.2598 | 1279100.9483 | 2730102.4034 | 1279102.1293
26 | 2730141.885 | 1279117.3275 | 2730156.8977 | 1279119.9676
27 | 2730198.5061 | 1279241.4307 | 2730199.7578 | 1279223.5519
28 | 2730198.5061 | 1279241.4307 | 2730178.2541 | 1279238.9812 | 2730162.0135 | 1279236.6094 | 2730163.1693 | 1279229.8728 | 2730164.4702 | 1279221.9509
29 | 2730199.7578 | 1279223.5519 | 2730201.5277 | 1279198.2106 | 2730204.2529 | 1279161.0985
30 | 2730164.5185 | 1279221.6571 | 2730164.4702 | 1279221.9509
31 | 2730206.1464 | 1279128.6333 | 2730206.391 | 1279124.3678 | 2730207.0258 | 1279120.4669
32 | 2730207.0258 | 1279120.4669 | 2730211.9539 | 1279090.212
33 | 2730207.0258 | 1279120.4669 | 2730224.3552 | 1279123.4717
34 | 2730204.269 | 1279160.879 | 2730206.1464 | 1279128.6333
35 | 2730206.1464 | 1279128.6333 | 2730222.6468 | 1279131.5361
36 | 2730211.9539 | 1279090.212 | 2730212.7344 | 1279085.4205
37 | 2730082.6503 | 1279085.9111 | 2730093.4629 | 1279092.1334 | 2730096.0834 | 1279095.9839
38 | 2730096.0834 | 1279095.9839 | 2730097.6106 | 1279086.7196 | 2730100.9791 | 1279066.2714
39 | 2730082.6503 | 1279085.9111 | 2730084.548 | 1279068.2881
40 | 2730204.269 | 1279160.879 | 2730204.2529 | 1279161.0985
41 | 2730204.269 | 1279160.879 | 2730224.3352 | 1279167.3283 | 2730226.8396 | 1279167.702
42 | 2730063.7254 | 1279305.2306 | 2730068.6882 | 1279280.249 | 2730077.4841 | 1279224.9555 | 2730078.7263 | 1279216.2504
43 | 2729957.4479 | 1279214.5326 | 2729955.9192 | 1279204.8481
44 | 2729957.4479 | 1279214.5326 | 2729950.2198 | 1279214.0207
45 | 2730027.6353 | 1279133.3556 | 2730024.1079 | 1279166.3853
46 | 2730027.6353 | 1279133.3556 | 2730042.8501 | 1279134.9022
47 | 2730086.7272 | 1278969.3203 | 2730080.9189 | 1278968.8584
48 | 2730082.0649 | 1279016.7638 | 2730086.7272 | 1278969.3203
49 | 2730215.6401 | 1279075.1572 | 2730213.86 | 1279078.51 | 2730212.7344 | 1279085.4205
50 | 2730215.6401 | 1279075.1572 | 2730219.8205 | 1279074.3932 | 2730244.2471 | 1279078.5388
51 | 2730160.0859 | 1279120.5282 | 2730156.8977 | 1279119.9676
52 | 2730089.6554 | 1279139.6626 | 2730095.4218 | 1279140.2459
53 | 2730089.6554 | 1279139.6626 | 2730077.8078 | 1279138.4557
54 | 2730089.6554 | 1279139.6626 | 2730084.2198 | 1279177.7535
55 | 2730095.4218 | 1279140.2459 | 2730095.0754 | 1279142.6629 | 2730090.1142 | 1279176.9377
56 | 2730095.4218 | 1279140.2459 | 2730114.0208 | 1279142.1382
57 | 2730077.8078 | 1279138.4557 | 2730066.3211 | 1279137.2881
58 | 2730084.2198 | 1279177.7535 | 2730081.6365 | 1279195.8565
59 | 2730085.0127 | 1279211.6695 | 2730086.8815 | 1279199.2709 | 2730090.1142 | 1279176.9377
60 | 2730121.1117 | 1279142.8596 | 2730114.0208 | 1279142.1382
61 | 2730168.4583 | 1279204.776 | 2730165.7917 | 1279213.9039 | 2730164.5185 | 1279221.6571
62 | 2730232.9357 | 1279168.6116 | 2730226.8396 | 1279167.702
63 | 2730078.7263 | 1279216.2504 | 2730081.6365 | 1279195.8565
64 | 2730019.7658 | 1279207.0434 | 2730021.9307 | 1279186.7717
65 | 2730024.1079 | 1279166.3853 | 2730021.9307 | 1279186.7717
66 | 2730042.8501 | 1279134.9022 | 2730066.3211 | 1279137.2881
67 | 2730082.0649 | 1279016.7638 | 2730073.9851 | 1279016.2915
68 | 2730084.3624 | 1279215.9843 | 2730083.3396 | 1279222.7699
69 | 2730084.3624 | 1279215.9843 | 2730085.0127 | 1279211.6695
70 | 2730169.5219 | 1279197.1142 | 2730168.4583 | 1279204.776
71 | 2730143.8207 | 1279191.2858 | 2730157.1327 | 1279203.08 | 2730168.4583 | 1279204.776

## bus_geodata
| x | y | coords
0 | 2730011.0291 | 1279238.3961
1 | 2730013.0533 | 1279218.9512
2 | 2730004.6613 | 1279299.5674
3 | 2729973.4209 | 1279215.8019
4 | 2730009.8368 | 1279300.0153
5 | 2729972.7174 | 1279215.746
6 | 2730030.3733 | 1279107.702
7 | 2730039.6664 | 1279099.3431
8 | 2730029.4873 | 1279116.0029
9 | 2730194.6801 | 1278969.0017
10 | 2730114.2685 | 1278971.5076
11 | 2730202.9411 | 1279021.0323
12 | 2730099.9435 | 1278970.3699
13 | 2730196.8486 | 1279126.9931
14 | 2730198.1539 | 1279118.9363
15 | 2730187.5112 | 1279125.3511
16 | 2730093.7727 | 1279110.7807
17 | 2730100.924 | 1279111.9507
18 | 2730067.419 | 1279104.222
19 | 2730102.4034 | 1279102.1293
20 | 2730141.885 | 1279117.3275
21 | 2730198.5061 | 1279241.4307
22 | 2730199.7578 | 1279223.5519
23 | 2730164.4702 | 1279221.9509
24 | 2730207.0258 | 1279120.4669
25 | 2730206.1464 | 1279128.6333
26 | 2730211.9539 | 1279090.212
27 | 2730224.3552 | 1279123.4717
28 | 2730191.1445 | 1279117.7059
29 | 2730096.0834 | 1279095.9839
30 | 2730082.6503 | 1279085.9111
31 | 2730100.9791 | 1279066.2714
32 | 2730204.269 | 1279160.879
33 | 2730222.6468 | 1279131.5361
34 | 2730063.7254 | 1279305.2306
35 | 2729957.4479 | 1279214.5326
36 | 2730027.6353 | 1279133.3556
37 | 2730080.9189 | 1278968.8584
38 | 2730086.7272 | 1278969.3203
39 | 2730215.6401 | 1279075.1572
40 | 2729955.9192 | 1279204.8481
41 | 2729950.2198 | 1279214.0207
42 | 2730160.0859 | 1279120.5282
43 | 2730089.6554 | 1279139.6626
44 | 2730095.4218 | 1279140.2459
45 | 2730077.8078 | 1279138.4557
46 | 2730084.2198 | 1279177.7535
47 | 2730156.8977 | 1279119.9676
48 | 2730090.1142 | 1279176.9377
49 | 2730114.0208 | 1279142.1382
50 | 2730204.2529 | 1279161.0985
51 | 2730164.5185 | 1279221.6571
52 | 2730212.7344 | 1279085.4205
53 | 2730232.9357 | 1279168.6116
54 | 2730226.8396 | 1279167.702
55 | 2730084.548 | 1279068.2881
56 | 2730244.2471 | 1279078.5388
57 | 2730078.7263 | 1279216.2504
58 | 2730019.7658 | 1279207.0434
59 | 2730021.9307 | 1279186.7717
60 | 2730024.1079 | 1279166.3853
61 | 2730042.8501 | 1279134.9022
62 | 2730066.3211 | 1279137.2881
63 | 2730081.6365 | 1279195.8565
64 | 2730073.9851 | 1279016.2915
65 | 2730082.0649 | 1279016.7638
66 | 2730083.3396 | 1279222.7699
67 | 2730084.3624 | 1279215.9843
68 | 2730085.0127 | 1279211.6695
69 | 2730121.1117 | 1279142.8596
70 | 2730168.4583 | 1279204.776
71 | 2730169.5219 | 1279197.1142
72 | 2730143.8207 | 1279191.2858
73 | 2730101.8045 | 1279106.1089

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1