## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4671-26_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4671-26_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4671-26_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4671-26_0_5_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_4671-26_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4671-26_0_5_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_4671-26_0_5_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_4671-26_0_5_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_4671-26_0_5_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_4671-26_0_5_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_4671-26_0_5_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_4671-26_0_5_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_4671-26_0_5_node_146 | 0.4 | n |  | TRUE
13 | bus_LV_4671-26_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4671-26_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4671-26_0_5_node_135 | 0.4 | n |  | TRUE
16 | bus_LV_4671-26_0_5_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_4671-26_0_5_node_152 | 0.4 | n |  | TRUE
18 | bus_LV_4671-26_0_5_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_4671-26_0_5_node_153 | 0.4 | n |  | TRUE
20 | bus_LV_4671-26_0_5_node_154 | 0.4 | n |  | TRUE
21 | bus_LV_4671-26_0_5_node_156 | 0.4 | n |  | TRUE
22 | bus_LV_4671-26_0_5_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_4671-26_0_5_node_155 | 0.4 | n |  | TRUE
24 | bus_LV_4671-26_0_5_node_3 | 0.4 | n |  | TRUE
25 | bus_LV_4671-26_0_5_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_4671-26_0_5_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_4671-26_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4671-26_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4671-26_0_5_node_132 | 0.4 | n |  | TRUE
30 | bus_LV_4671-26_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4671-26_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4671-26_0_5_node_137 | 0.4 | n |  | TRUE
33 | bus_LV_4671-26_0_5_node_142 | 0.4 | n |  | TRUE
34 | bus_LV_4671-26_0_5_node_140 | 0.4 | n |  | TRUE
35 | bus_LV_4671-26_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_4671-26_0_5_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_4671-26_0_5_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_4671-26_0_5_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_4671-26_0_5_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_4671-26_0_5_node_5 | 0.4 | n |  | TRUE
41 | bus_LV_4671-26_0_5_node_6 | 0.4 | n |  | TRUE
42 | bus_LV_4671-26_0_5_node_7 | 0.4 | n |  | TRUE
43 | bus_LV_4671-26_0_5_node_8 | 0.4 | n |  | TRUE
44 | bus_LV_4671-26_0_5_node_133 | 0.4 | n |  | TRUE
45 | bus_LV_4671-26_0_5_node_148 | 0.4 | n |  | TRUE
46 | bus_LV_4671-26_0_5_node_147 | 0.4 | n |  | TRUE
47 | bus_LV_4671-26_0_5_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_4671-26_0_5_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_4671-26_0_5_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_4671-26_0_5_node_139 | 0.4 | n |  | TRUE
51 | bus_LV_4671-26_0_5_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_4671-26_0_5_node_108 | 0.4 | n |  | TRUE
53 | bus_LV_4671-26_0_5_node_151 | 0.4 | n |  | TRUE
54 | bus_LV_4671-26_0_5_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_4671-26_0_5_node_158 | 0.4 | n |  | TRUE
56 | bus_LV_4671-26_0_5_node_157 | 0.4 | n |  | TRUE
57 | bus_LV_4671-26_0_5_node_143 | 0.4 | n |  | TRUE
58 | bus_LV_4671-26_0_5_node_141 | 0.4 | n |  | TRUE
59 | bus_LV_4671-26_0_5_node_150 | 0.4 | n |  | TRUE
60 | bus_LV_4671-26_0_5_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_4671-26_0_5_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_4671-26_0_5_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_4671-26_0_5_node_30 | 0.4 | n |  | TRUE
64 | bus_LV_4671-26_0_5_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_4671-26_0_5_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_4671-26_0_5_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_4671-26_0_5_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_4671-26_0_5_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_4671-26_0_5_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_4671-26_0_5_node_144 | 0.4 | n |  | TRUE
71 | bus_LV_4671-26_0_5_node_35 | 0.4 | n |  | TRUE
72 | bus_LV_4671-26_0_5_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_4671-26_0_5_node_34 | 0.4 | n |  | TRUE
74 | bus_LV_4671-26_0_5_node_37 | 0.4 | n |  | TRUE
75 | bus_LV_4671-26_0_5_node_145 | 0.4 | n |  | TRUE
76 | bus_LV_4671-26_0_5_node_40 | 0.4 | n |  | TRUE
77 | bus_LV_4671-26_0_5_node_41 | 0.4 | n |  | TRUE
78 | bus_LV_4671-26_0_5_node_43 | 0.4 | n |  | TRUE
79 | bus_LV_4671-26_0_5_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_4671-26_0_5_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_4671-26_0_5_node_45 | 0.4 | n |  | TRUE
82 | bus_LV_4671-26_0_5_node_98 | 0.4 | n |  | TRUE
83 | bus_LV_4671-26_0_5_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_4671-26_0_5_node_48 | 0.4 | n |  | TRUE
85 | bus_LV_4671-26_0_5_node_138 | 0.4 | n |  | TRUE
86 | bus_LV_4671-26_0_5_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_4671-26_0_5_node_51 | 0.4 | n |  | TRUE
88 | bus_LV_4671-26_0_5_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_4671-26_0_5_node_56 | 0.4 | n |  | TRUE
90 | bus_LV_4671-26_0_5_node_57 | 0.4 | n |  | TRUE
91 | bus_LV_4671-26_0_5_node_59 | 0.4 | n |  | TRUE
92 | bus_LV_4671-26_0_5_node_61 | 0.4 | n |  | TRUE
93 | bus_LV_4671-26_0_5_node_116 | 0.4 | n |  | TRUE
94 | bus_LV_4671-26_0_5_node_64 | 0.4 | n |  | TRUE
95 | bus_LV_4671-26_0_5_node_66 | 0.4 | n |  | TRUE
96 | bus_LV_4671-26_0_5_node_73 | 0.4 | n |  | TRUE
97 | bus_LV_4671-26_0_5_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_4671-26_0_5_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_4671-26_0_5_node_77 | 0.4 | n |  | TRUE
100 | bus_LV_4671-26_0_5_node_78 | 0.4 | n |  | TRUE
101 | bus_LV_4671-26_0_5_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_4671-26_0_5_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_4671-26_0_5_node_79 | 0.4 | n |  | TRUE
104 | bus_LV_4671-26_0_5_node_80 | 0.4 | n |  | TRUE
105 | bus_LV_4671-26_0_5_node_81 | 0.4 | n |  | TRUE
106 | bus_LV_4671-26_0_5_node_82 | 0.4 | n |  | TRUE
107 | bus_LV_4671-26_0_5_node_83 | 0.4 | n |  | TRUE
108 | bus_LV_4671-26_0_5_node_128 | 0.4 | n |  | TRUE
109 | bus_LV_4671-26_0_5_node_85 | 0.4 | n |  | TRUE
110 | bus_LV_4671-26_0_5_node_119 | 0.4 | n |  | TRUE
111 | bus_LV_4671-26_0_5_node_112 | 0.4 | n |  | TRUE
112 | bus_LV_4671-26_0_5_node_131 | 0.4 | n |  | TRUE
113 | bus_LV_4671-26_0_5_node_120 | 0.4 | n |  | TRUE
114 | bus_LV_4671-26_0_5_node_127 | 0.4 | n |  | TRUE
115 | bus_LV_4671-26_0_5_node_126 | 0.4 | n |  | TRUE
116 | bus_LV_4671-26_0_5_node_110 | 0.4 | n |  | TRUE
117 | bus_LV_4671-26_0_5_node_86 | 0.4 | n |  | TRUE
118 | bus_LV_4671-26_0_5_node_87 | 0.4 | n |  | TRUE
119 | bus_LV_4671-26_0_5_node_88 | 0.4 | n |  | TRUE
120 | bus_LV_4671-26_0_5_node_89 | 0.4 | n |  | TRUE
121 | bus_LV_4671-26_0_5_node_90 | 0.4 | n |  | TRUE
122 | bus_LV_4671-26_0_5_node_101 | 0.4 | n |  | TRUE
123 | bus_LV_4671-26_0_5_node_103 | 0.4 | n |  | TRUE
124 | bus_LV_4671-26_0_5_node_99 | 0.4 | n |  | TRUE
125 | bus_LV_4671-26_0_5_node_91 | 0.4 | n |  | TRUE
126 | bus_LV_4671-26_0_5_node_93 | 0.4 | n |  | TRUE
127 | bus_LV_4671-26_0_5_node_95 | 0.4 | n |  | TRUE
128 | bus_LV_4671-26_0_5_node_96 | 0.4 | n |  | TRUE
129 | bus_LV_4671-26_0_5_node_104 | 0.4 | n |  | TRUE
130 | bus_LV_4671-26_0_5_node_121 | 0.4 | n |  | TRUE
131 | bus_LV_4671-26_0_5_node_100 | 0.4 | n |  | TRUE
132 | bus_LV_4671-26_0_5_node_102 | 0.4 | n |  | TRUE
133 | bus_LV_4671-26_0_5_node_122 | 0.4 | n |  | TRUE
134 | bus_LV_4671-26_0_5_node_106 | 0.4 | n |  | TRUE
135 | bus_LV_4671-26_0_5_node_125 | 0.4 | n |  | TRUE
136 | bus_LV_4671-26_0_5_node_118 | 0.4 | n |  | TRUE
137 | bus_LV_4671-26_0_5_node_105 | 0.4 | n |  | TRUE
138 | bus_LV_4671-26_0_5_node_107 | 0.4 | n |  | TRUE
139 | bus_LV_4671-26_0_5_node_109 | 0.4 | n |  | TRUE
140 | bus_LV_4671-26_0_5_node_111 | 0.4 | n |  | TRUE
141 | bus_LV_4671-26_0_5_node_113 | 0.4 | n |  | TRUE
142 | bus_LV_4671-26_0_5_node_123 | 0.4 | n |  | TRUE
143 | bus_LV_4671-26_0_5_node_124 | 0.4 | n |  | TRUE
144 | bus_LV_4671-26_0_5_node_117 | 0.4 | n |  | TRUE
145 | bus_LV_4671-26_0_5_node_129 | 0.4 | n |  | TRUE
146 | bus_LV_4671-26_0_5_node_149 | 0.4 | n |  | TRUE
147 | bus_LV_4671-26_0_5_node_130 | 0.4 | n |  | TRUE
148 | bus_LV_4671-26_0_5_node_134 | 0.4 | n |  | TRUE
149 | bus_LV_4671-26_0_5_node_136 | 0.4 | n |  | TRUE
150 | bus_MV_442_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4671-26_0_5_load_0 | 0 | 0.0014723 | 0.00036898 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4671-26_0_5_load_1 | 1 | 0.0048268 | 0.0012097 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4671-26_0_5_load_4 | 4 | 0.0047976 | 0.0012024 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4671-26_0_5_load_28 | 9 | 0.0063166 | 0.0015831 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4671-26_0_5_load_146 | 12 | 0.0032485 | 0.00081416 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4671-26_0_5_load_135 | 15 | 0.0032502 | 0.00081457 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4671-26_0_5_load_152 | 17 | 0.0035004 | 0.00087729 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4671-26_0_5_load_153 | 19 | 0.0027882 | 0.00069878 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4671-26_0_5_load_154 | 20 | 0.0027888 | 0.00069894 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4671-26_0_5_load_155 | 23 | 0.0080309 | 0.0020127 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4671-26_0_5_load_3 | 24 | 0.0015849 | 0.00039721 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4671-26_0_5_load_69 | 25 | 0.017694 | 0.0044346 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4671-26_0_5_load_53 | 26 | 0.0079925 | 0.0020031 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4671-26_0_5_load_132 | 29 | 0.048715 | 0.012209 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4671-26_0_5_load_137 | 32 | 0.020512 | 0.0051407 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4671-26_0_5_load_142 | 33 | 0.0093816 | 0.0023513 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4671-26_0_5_load_140 | 34 | 0.0049199 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4671-26_0_5_load_71 | 37 | 0.014166 | 0.0035503 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4671-26_0_5_load_68 | 38 | 0.00080872 | 0.00020268 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4671-26_0_5_load_67 | 39 | 0.0016745 | 0.00041967 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4671-26_0_5_load_5 | 40 | 0.0072059 | 0.001806 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4671-26_0_5_load_6 | 41 | 0.0063135 | 0.0015823 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4671-26_0_5_load_8 | 43 | 0.021602 | 0.0054139 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4671-26_0_5_load_133 | 44 | 0.0014445 | 0.00036202 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4671-26_0_5_load_148 | 45 | 0.0029152 | 0.00073062 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4671-26_0_5_load_147 | 46 | 0.0029159 | 0.00073079 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4671-26_0_5_load_60 | 47 | 0.0032482 | 0.00081408 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4671-26_0_5_load_139 | 50 | 0.0031017 | 0.00077737 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4671-26_0_5_load_114 | 51 | 0.0021872 | 0.00054816 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4671-26_0_5_load_108 | 52 | 0.00042105 | 0.00010552 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4671-26_0_5_load_151 | 53 | 0.0051509 | 0.0012909 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4671-26_0_5_load_158 | 55 | 0.0025971 | 0.00065091 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4671-26_0_5_load_157 | 56 | 0.0027495 | 0.00068909 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4671-26_0_5_load_143 | 57 | 0.0043697 | 0.0010952 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4671-26_0_5_load_141 | 58 | 0.0049218 | 0.0012335 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4671-26_0_5_load_150 | 59 | 0.020144 | 0.0050485 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4671-26_0_5_load_72 | 60 | 0.0031967 | 0.00080116 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4671-26_0_5_load_29 | 62 | 0.010324 | 0.0025875 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4671-26_0_5_load_30 | 63 | 0.010519 | 0.0026363 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4671-26_0_5_load_31 | 64 | 0.0030021 | 0.00075241 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4671-26_0_5_load_39 | 68 | 0.0076216 | 0.0019102 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4671-26_0_5_load_36 | 69 | 0.0092408 | 0.002316 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4671-26_0_5_load_144 | 70 | 0.0070964 | 0.0017785 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4671-26_0_5_load_34 | 73 | 0.0096972 | 0.0024304 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4671-26_0_5_load_37 | 74 | 0.0027736 | 0.00069512 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4671-26_0_5_load_145 | 75 | 0.0070994 | 0.0017793 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4671-26_0_5_load_40 | 76 | 0.0060929 | 0.001527 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4671-26_0_5_load_41 | 77 | 0.0076241 | 0.0019108 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4671-26_0_5_load_52 | 79 | 0.0097187 | 0.0024357 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4671-26_0_5_load_49 | 80 | 0.0019121 | 0.00047921 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4671-26_0_5_load_45 | 81 | 0.016533 | 0.0041436 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4671-26_0_5_load_98 | 82 | 0.0017815 | 0.00044649 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4671-26_0_5_load_50 | 83 | 0.00061786 | 0.00015485 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4671-26_0_5_load_138 | 85 | 0.00054906 | 0.00013761 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4671-26_0_5_load_63 | 86 | 0.00035834 | 8.9808e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4671-26_0_5_load_51 | 87 | 0.00029756 | 7.4575e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4671-26_0_5_load_97 | 88 | 0.0013752 | 0.00034465 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4671-26_0_5_load_56 | 89 | 0.0051048 | 0.0012794 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4671-26_0_5_load_57 | 90 | 0.00068677 | 0.00017212 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4671-26_0_5_load_59 | 91 | 0.00042647 | 0.00010688 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4671-26_0_5_load_61 | 92 | 0.0046411 | 0.0011632 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4671-26_0_5_load_64 | 94 | 0.0013409 | 0.00033607 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4671-26_0_5_load_66 | 95 | 0.00032105 | 8.0462e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4671-26_0_5_load_73 | 96 | 0.012693 | 0.0031811 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4671-26_0_5_load_75 | 97 | 0.00042828 | 0.00010734 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4671-26_0_5_load_76 | 98 | 0.0020494 | 0.00051363 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4671-26_0_5_load_77 | 99 | 0.0014541 | 0.00036443 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4671-26_0_5_load_78 | 100 | 0.0013048 | 0.00032701 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4671-26_0_5_load_94 | 101 | 0.0012134 | 0.0003041 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4671-26_0_5_load_92 | 102 | 0.0023415 | 0.00058684 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4671-26_0_5_load_79 | 103 | 0.0035227 | 0.00088286 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4671-26_0_5_load_80 | 104 | 0.0018154 | 0.00045497 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4671-26_0_5_load_128 | 108 | 0.0010299 | 0.00025811 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4671-26_0_5_load_119 | 110 | 0.0024523 | 0.00061461 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4671-26_0_5_load_112 | 111 | 0.0068633 | 0.0017201 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4671-26_0_5_load_131 | 112 | 0.0018776 | 0.00047057 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4671-26_0_5_load_127 | 114 | 0.0020699 | 0.00051875 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4671-26_0_5_load_126 | 115 | 0.0034957 | 0.00087611 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4671-26_0_5_load_110 | 116 | 0.0024105 | 0.00060412 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4671-26_0_5_load_86 | 117 | 0.0013143 | 0.00032939 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4671-26_0_5_load_87 | 118 | 0.0016074 | 0.00040285 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4671-26_0_5_load_88 | 119 | 0.0033622 | 0.00084265 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4671-26_0_5_load_89 | 120 | 0.0017862 | 0.00044767 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4671-26_0_5_load_90 | 121 | 0.0010331 | 0.00025892 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4671-26_0_5_load_103 | 123 | 0.0077776 | 0.0019492 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4671-26_0_5_load_99 | 124 | 0.00065656 | 0.00016455 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4671-26_0_5_load_91 | 125 | 0.0023152 | 0.00058024 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4671-26_0_5_load_95 | 127 | 0.012197 | 0.0030568 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4671-26_0_5_load_96 | 128 | 0.002316 | 0.00058044 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4671-26_0_5_load_104 | 129 | 0.0023435 | 0.00058734 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4671-26_0_5_load_121 | 130 | 0.0037774 | 0.00094671 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4671-26_0_5_load_100 | 131 | 0.0015954 | 0.00039985 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4671-26_0_5_load_102 | 132 | 0.0015962 | 0.00040006 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4671-26_0_5_load_106 | 134 | 0.00084709 | 0.0002123 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4671-26_0_5_load_105 | 137 | 0.00055152 | 0.00013822 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4671-26_0_5_load_107 | 138 | 0.00042088 | 0.00010548 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4671-26_0_5_load_109 | 139 | 0.0030345 | 0.00076051 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4671-26_0_5_load_111 | 140 | 0.0040187 | 0.0010072 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4671-26_0_5_load_113 | 141 | 0.0010028 | 0.00025132 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4671-26_0_5_load_123 | 142 | 0.0021489 | 0.00053856 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4671-26_0_5_load_124 | 143 | 0.0015979 | 0.00040046 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4671-26_0_5_load_129 | 145 | 0.0054383 | 0.001363 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4671-26_0_5_load_149 | 146 | 0.0021195 | 0.00053121 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4671-26_0_5_load_134 | 148 | 0.00062716 | 0.00015718 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4671-26_0_5_load_136 | 149 | 0.00091007 | 0.00022809 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4671-26_0_5_line_0 |  | 0 | 1 | 0.00093519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4671-26_0_5_line_1 |  | 1 | 2 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4671-26_0_5_line_2 |  | 2 | 3 | 0.083034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4671-26_0_5_line_3 |  | 2 | 4 | 0.013807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4671-26_0_5_line_4 |  | 2 | 5 | 0.076322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4671-26_0_5_line_5 |  | 3 | 6 | 0.05048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4671-26_0_5_line_6 |  | 3 | 7 | 0.073109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4671-26_0_5_line_7 |  | 4 | 24 | 0.0017956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4671-26_0_5_line_8 |  | 5 | 26 | 0.0050113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4671-26_0_5_line_9 |  | 5 | 8 | 0.074519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4671-26_0_5_line_10 |  | 6 | 19 | 0.023236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4671-26_0_5_line_11 |  | 6 | 20 | 0.005305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4671-26_0_5_line_12 |  | 7 | 21 | 0.018589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4671-26_0_5_line_13 |  | 7 | 22 | 0.056661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4671-26_0_5_line_14 |  | 7 | 23 | 0.004601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4671-26_0_5_line_15 |  | 7 | 16 | 0.046856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4671-26_0_5_line_16 |  | 8 | 9 | 0.012817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4671-26_0_5_line_17 |  | 8 | 10 | 0.060541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4671-26_0_5_line_18 |  | 9 | 42 | 0.038249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4671-26_0_5_line_19 |  | 10 | 25 | 0.044584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4671-26_0_5_line_20 |  | 11 | 12 | 0.0028639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4671-26_0_5_line_21 |  | 11 | 13 | 0.02781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4671-26_0_5_line_22 |  | 11 | 14 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4671-26_0_5_line_23 |  | 12 | 46 | 0.027341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4671-26_0_5_line_24 |  | 13 | 15 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4671-26_0_5_line_25 |  | 14 | 25 | 0.059814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4671-26_0_5_line_26 |  | 15 | 44 | 0.036341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4671-26_0_5_line_27 |  | 16 | 17 | 0.052985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4671-26_0_5_line_28 |  | 16 | 18 | 0.025733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4671-26_0_5_line_29 |  | 18 | 53 | 0.011456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4671-26_0_5_line_30 |  | 18 | 54 | 0.014567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4671-26_0_5_line_31 |  | 21 | 55 | 0.02891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4671-26_0_5_line_32 |  | 21 | 56 | 0.004332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4671-26_0_5_line_33 |  | 22 | 33 | 0.014596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4671-26_0_5_line_34 |  | 22 | 34 | 0.038867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4671-26_0_5_line_35 |  | 27 | 28 | 0.045868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4671-26_0_5_line_36 |  | 27 | 29 | 0.0097336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4671-26_0_5_line_37 |  | 28 | 32 | 0.02869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4671-26_0_5_line_38 |  | 30 | 31 | 0.065885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4671-26_0_5_line_39 |  | 30 | 32 | 0.020587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4671-26_0_5_line_40 |  | 31 | 38 | 0.021332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4671-26_0_5_line_41 |  | 31 | 39 | 0.012073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4671-26_0_5_line_42 |  | 31 | 35 | 0.26127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4671-26_0_5_line_43 |  | 33 | 57 | 0.02444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4671-26_0_5_line_44 |  | 34 | 58 | 0.017685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4671-26_0_5_line_45 |  | 35 | 36 | 0.035503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4671-26_0_5_line_46 |  | 35 | 37 | 0.12759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4671-26_0_5_line_47 |  | 36 | 59 | 0.078148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4671-26_0_5_line_48 |  | 37 | 60 | 0.0062531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4671-26_0_5_line_49 |  | 39 | 61 | 0.028692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4671-26_0_5_line_50 |  | 40 | 41 | 0.0061531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4671-26_0_5_line_51 |  | 41 | 42 | 0.019785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4671-26_0_5_line_52 |  | 42 | 43 | 0.0048488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4671-26_0_5_line_53 |  | 44 | 148 | 0.0099232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4671-26_0_5_line_54 |  | 45 | 46 | 0.018647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4671-26_0_5_line_55 |  | 47 | 48 | 0.01575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4671-26_0_5_line_56 |  | 48 | 92 | 0.0099282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4671-26_0_5_line_57 |  | 48 | 49 | 0.004666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4671-26_0_5_line_58 |  | 48 | 89 | 0.024687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4671-26_0_5_line_59 |  | 49 | 50 | 0.024343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4671-26_0_5_line_60 |  | 50 | 93 | 0.015534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4671-26_0_5_line_61 |  | 51 | 52 | 0.004238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4671-26_0_5_line_62 |  | 52 | 138 | 0.00024819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4671-26_0_5_line_63 |  | 54 | 81 | 0.024586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4671-26_0_5_line_64 |  | 54 | 72 | 0.027969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_4671-26_0_5_line_65 |  | 60 | 96 | 0.034634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4671-26_0_5_line_66 |  | 61 | 86 | 0.015937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4671-26_0_5_line_67 |  | 61 | 84 | 0.011248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_4671-26_0_5_line_68 |  | 62 | 63 | 0.0244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4671-26_0_5_line_69 |  | 62 | 64 | 0.029734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4671-26_0_5_line_70 |  | 63 | 65 | 0.012125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4671-26_0_5_line_71 |  | 64 | 66 | 0.012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4671-26_0_5_line_72 |  | 65 | 67 | 0.025657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4671-26_0_5_line_73 |  | 65 | 68 | 0.013401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4671-26_0_5_line_74 |  | 66 | 69 | 0.01941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4671-26_0_5_line_75 |  | 67 | 70 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4671-26_0_5_line_76 |  | 67 | 71 | 0.015419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4671-26_0_5_line_77 |  | 68 | 72 | 0.018026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_4671-26_0_5_line_78 |  | 70 | 75 | 0.015412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4671-26_0_5_line_79 |  | 71 | 74 | 0.031811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4671-26_0_5_line_80 |  | 71 | 73 | 0.015291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4671-26_0_5_line_81 |  | 72 | 76 | 0.018516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_4671-26_0_5_line_82 |  | 76 | 77 | 0.01466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_4671-26_0_5_line_83 |  | 77 | 78 | 0.021758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4671-26_0_5_line_84 |  | 78 | 79 | 0.019657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_4671-26_0_5_line_85 |  | 78 | 80 | 0.01638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_4671-26_0_5_line_86 |  | 79 | 82 | 0.084813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_4671-26_0_5_line_87 |  | 80 | 83 | 0.012518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4671-26_0_5_line_88 |  | 82 | 88 | 0.00061057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_4671-26_0_5_line_89 |  | 83 | 87 | 0.012705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_4671-26_0_5_line_90 |  | 84 | 85 | 0.026227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_4671-26_0_5_line_91 |  | 85 | 87 | 0.0086826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_4671-26_0_5_line_92 |  | 86 | 94 | 0.007068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4671-26_0_5_line_93 |  | 88 | 120 | 0.0045481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_4671-26_0_5_line_94 |  | 89 | 90 | 0.014336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4671-26_0_5_line_95 |  | 90 | 91 | 0.0090323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4671-26_0_5_line_96 |  | 93 | 144 | 0.004102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4671-26_0_5_line_97 |  | 94 | 95 | 0.0021174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4671-26_0_5_line_98 |  | 96 | 97 | 0.014024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4671-26_0_5_line_99 |  | 98 | 99 | 0.00056611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4671-26_0_5_line_100 |  | 99 | 100 | 0.019741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4671-26_0_5_line_101 |  | 100 | 101 | 0.0051439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4671-26_0_5_line_102 |  | 101 | 102 | 0.016324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4671-26_0_5_line_103 |  | 102 | 125 | 0.009671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4671-26_0_5_line_104 |  | 103 | 104 | 0.028972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4671-26_0_5_line_105 |  | 103 | 105 | 0.0109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4671-26_0_5_line_106 |  | 104 | 106 | 0.009505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4671-26_0_5_line_107 |  | 105 | 107 | 0.004498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4671-26_0_5_line_108 |  | 106 | 108 | 0.034534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4671-26_0_5_line_109 |  | 106 | 109 | 0.007505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4671-26_0_5_line_110 |  | 107 | 110 | 0.027682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4671-26_0_5_line_111 |  | 108 | 112 | 0.0060901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4671-26_0_5_line_112 |  | 109 | 111 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4671-26_0_5_line_113 |  | 110 | 113 | 0.0037221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4671-26_0_5_line_114 |  | 111 | 116 | 0.016263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4671-26_0_5_line_115 |  | 113 | 130 | 0.010146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4671-26_0_5_line_116 |  | 113 | 128 | 0.020577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4671-26_0_5_line_117 |  | 114 | 115 | 0.042474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4671-26_0_5_line_118 |  | 115 | 135 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4671-26_0_5_line_119 |  | 116 | 139 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4671-26_0_5_line_120 |  | 117 | 118 | 0.0079912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_4671-26_0_5_line_121 |  | 117 | 119 | 0.014544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_4671-26_0_5_line_122 |  | 118 | 120 | 0.015587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
123 | LV_4671-26_0_5_line_123 |  | 119 | 121 | 0.018235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4671-26_0_5_line_124 |  | 121 | 122 | 0.020091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4671-26_0_5_line_125 |  | 122 | 123 | 0.02374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4671-26_0_5_line_126 |  | 122 | 124 | 0.0030324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4671-26_0_5_line_127 |  | 123 | 134 | 0.0070728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4671-26_0_5_line_128 |  | 124 | 131 | 0.014871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4671-26_0_5_line_129 |  | 125 | 126 | 0.0086265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4671-26_0_5_line_130 |  | 126 | 127 | 0.0069697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4671-26_0_5_line_131 |  | 126 | 128 | 0.018246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4671-26_0_5_line_132 |  | 127 | 129 | 0.0039386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4671-26_0_5_line_133 |  | 131 | 132 | 0.0082579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4671-26_0_5_line_134 |  | 132 | 133 | 0.015108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4671-26_0_5_line_135 |  | 133 | 135 | 0.022726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4671-26_0_5_line_136 |  | 133 | 136 | 0.009412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4671-26_0_5_line_137 |  | 134 | 137 | 0.0026392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4671-26_0_5_line_138 |  | 135 | 143 | 0.0019031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4671-26_0_5_line_139 |  | 136 | 146 | 0.009198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4671-26_0_5_line_140 |  | 136 | 147 | 0.012215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4671-26_0_5_line_141 |  | 137 | 138 | 0.03568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4671-26_0_5_line_142 |  | 139 | 140 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4671-26_0_5_line_143 |  | 140 | 141 | 0.0014061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4671-26_0_5_line_144 |  | 141 | 142 | 0.0083743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4671-26_0_5_line_145 |  | 142 | 143 | 0.011753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4671-26_0_5_line_146 |  | 144 | 145 | 0.033623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4671-26_0_5_line_147 |  | 145 | 147 | 0.023227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4671-26_0_5_line_148 |  | 148 | 149 | 0.01542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4671-26_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 150 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2732214.2891 | 1278221.8656 | 2732214.1701 | 1278220.938
1 | 2732216.0194 | 1278235.3631 | 2732214.2891 | 1278221.8656
2 | 2732216.0194 | 1278235.3631 | 2732233.5028 | 1278233.3642 | 2732237.2254 | 1278232.9472 | 2732235.2617 | 1278218.6224 | 2732233.3799 | 1278200.9851 | 2732232.4556 | 1278192.2669 | 2732231.9643 | 1278187.6959 | 2732230.6542 | 1278176.0662 | 2732226.2272 | 1278176.0558
3 | 2732216.0194 | 1278235.3631 | 2732217.7716 | 1278249.0583
4 | 2732216.0194 | 1278235.3631 | 2732233.5028 | 1278233.3642 | 2732237.2254 | 1278232.9472 | 2732241.7212 | 1278265.7358 | 2732243.4631 | 1278272.8596 | 2732246.9117 | 1278286.9953
5 | 2732226.2272 | 1278176.0558 | 2732230.6542 | 1278176.0662 | 2732228.6484 | 1278158.2593 | 2732202.8261 | 1278169.4249
6 | 2732208.1904 | 1278133.6877 | 2732224.9426 | 1278126.1001 | 2732225.5348 | 1278130.8625 | 2732225.9847 | 1278134.5985 | 2732228.6484 | 1278158.2593 | 2732230.6542 | 1278176.0662 | 2732226.2272 | 1278176.0558
7 | 2732217.9995 | 1278250.8394 | 2732217.7716 | 1278249.0583
8 | 2732246.9117 | 1278286.9953 | 2732248.0996 | 1278291.8637
9 | 2732191.827 | 1278282.4562 | 2732237.9496 | 1278266.6632 | 2732241.7212 | 1278265.7358 | 2732243.4631 | 1278272.8596 | 2732246.9117 | 1278286.9953
10 | 2732183.7727 | 1278172.7123 | 2732185.6116 | 1278176.8575 | 2732202.8261 | 1278169.4249
11 | 2732200.991 | 1278164.4455 | 2732202.8261 | 1278169.4249
12 | 2732191.2179 | 1278141.3816 | 2732208.1904 | 1278133.6877
13 | 2732208.1904 | 1278133.6877 | 2732224.9426 | 1278126.1001 | 2732225.5348 | 1278130.8625 | 2732234.2834 | 1278125.876 | 2732245.4676 | 1278122.5567 | 2732257.157 | 1278121.5178
14 | 2732206.9897 | 1278129.2453 | 2732208.1904 | 1278133.6877
15 | 2732208.1904 | 1278133.6877 | 2732224.9426 | 1278126.1001 | 2732221.525 | 1278097.8402
16 | 2732191.827 | 1278282.4562 | 2732179.701 | 1278286.6089
17 | 2732191.827 | 1278282.4562 | 2732190.0775 | 1278261.9301 | 2732181.7309 | 1278241.9679 | 2732172.0147 | 1278226.4238
18 | 2732143.5155 | 1278299.0012 | 2732179.701 | 1278286.6089
19 | 2732172.0147 | 1278226.4238 | 2732128.5452 | 1278236.3299
20 | 2732090.6221 | 1278195.6928 | 2732093.4347 | 1278195.1535
21 | 2732090.6221 | 1278195.6928 | 2732080.1411 | 1278197.8269 | 2732075.8173 | 1278196.5622 | 2732073.1435 | 1278194.1222 | 2732069.503 | 1278185.8437
22 | 2732090.6221 | 1278195.6928 | 2732091.7099 | 1278199.8101 | 2732093.3597 | 1278206.0199 | 2732094.7802 | 1278211.3903 | 2732093.433 | 1278211.805
23 | 2732120.4059 | 1278190.7541 | 2732108.5889 | 1278192.2473 | 2732093.4347 | 1278195.1535
24 | 2732069.503 | 1278185.8437 | 2732063.038 | 1278170.7113
25 | 2732093.433 | 1278211.805 | 2732103.0392 | 1278243.6625 | 2732127.8923 | 1278236.4787 | 2732128.5452 | 1278236.3299
26 | 2732063.038 | 1278170.7113 | 2732062.8823 | 1278170.3469 | 2732056.2627 | 1278156.1403 | 2732048.6274 | 1278143.9908 | 2732045.1644 | 1278139.1871
27 | 2732175.4429 | 1278112.7778 | 2732177.4466 | 1278117.2827 | 2732221.525 | 1278097.8402
28 | 2732218.4526 | 1278072.2907 | 2732221.525 | 1278097.8402
29 | 2732208.017 | 1278077.0837 | 2732218.4526 | 1278072.2907
30 | 2732216.7175 | 1278057.8265 | 2732218.4526 | 1278072.2907
31 | 2732164.8215 | 1278153.3464 | 2732191.2179 | 1278141.3816
32 | 2732189.3969 | 1278137.448 | 2732191.2179 | 1278141.3816
33 | 2732257.157 | 1278121.5178 | 2732255.2903 | 1278108.2295 | 2732255.1809 | 1278107.0569
34 | 2732257.157 | 1278121.5178 | 2732266.8654 | 1278120.6568 | 2732268.3384 | 1278134.737 | 2732274.4444 | 1278137.3098 | 2732275.4148 | 1278145.5905
35 | 2732319.6703 | 1278117.6602 | 2732319.0939 | 1278109.517 | 2732320.0401 | 1278097.8379 | 2732322.2116 | 1278097.5419 | 2732321.4193 | 1278091.318 | 2732322.8486 | 1278073.8551
36 | 2732319.6703 | 1278117.6602 | 2732320.9176 | 1278127.3136
37 | 2732322.8486 | 1278073.8551 | 2732313.0351 | 1278073.0342 | 2732314.2295 | 1278054.2301
38 | 2732315.5346 | 1278033.6849 | 2732311.6622 | 1278031.3958 | 2732312.1983 | 1278023.9227 | 2732312.3174 | 1278022.3015 | 2732312.514 | 1278019.5699 | 2732340.6744 | 1278024.1616 | 2732330.1341 | 1278017.8746 | 2732321.5122 | 1278016.5354
39 | 2732315.5346 | 1278033.6849 | 2732314.2295 | 1278054.2301
40 | 2732321.5122 | 1278016.5354 | 2732323.3122 | 1278002.3174 | 2732322.4609 | 1277995.3692
41 | 2732321.5122 | 1278016.5354 | 2732309.5812 | 1278014.6898
42 | 2732321.5122 | 1278016.5354 | 2732330.1341 | 1278017.8746 | 2732339.735 | 1278014.4421 | 2732356.6863 | 1278018.0926 | 2732376.3897 | 1278022.7059 | 2732379.4773 | 1278022.1191 | 2732388.4634 | 1278023.9781 | 2732395.4188 | 1278025.5468 | 2732397.0155 | 1278019.3877 | 2732400.953 | 1278014.7604 | 2732399.9991 | 1278014.3942 | 2732396.3633 | 1278000.232 | 2732393.205 | 1277987.9046 | 2732390.7356 | 1277978.7068 | 2732390.708 | 1277973.5789 | 2732392.6339 | 1277970.8305 | 2732411.5963 | 1277965.6065 | 2732414.6523 | 1277964.4184 | 2732416.1788 | 1277961.383 | 2732417.4985 | 1277958.8546 | 2732419.4447 | 1277956.5404 | 2732420.7662 | 1277954.6015 | 2732422.8965 | 1277951.791 | 2732425.4814 | 1277950.4922 | 2732428.0349 | 1277949.5931 | 2732438.947 | 1277948.3702 | 2732436.9075 | 1277937.1022 | 2732423.3308 | 1277878.2618
43 | 2732252.9102 | 1278082.7227 | 2732255.1809 | 1278107.0569
44 | 2732275.4148 | 1278145.5905 | 2732277.4732 | 1278163.1558
45 | 2732423.3308 | 1277878.2618 | 2732419.773 | 1277861.966 | 2732401.131 | 1277864.9616
46 | 2732423.3308 | 1277878.2618 | 2732416.9962 | 1277880.166 | 2732349.6524 | 1277895.1584 | 2732343.7173 | 1277893.6683 | 2732298.8189 | 1277903.0038
47 | 2732401.131 | 1277864.9616 | 2732391.3869 | 1277822.212 | 2732357.7845 | 1277829.6098
48 | 2732298.8189 | 1277903.0038 | 2732298.8189 | 1277903.0038 | 2732293.9353 | 1277906.9092
49 | 2732281.2262 | 1278010.3036 | 2732309.5812 | 1278014.6898
50 | 2732137.3607 | 1278273.804 | 2732138.8208 | 1278279.7814
51 | 2732143.5155 | 1278299.0012 | 2732138.8208 | 1278279.7814
52 | 2732143.5155 | 1278299.0012 | 2732138.9551 | 1278300.6486
53 | 2732045.1644 | 1278139.1871 | 2732039.3616 | 1278131.1374 | 2732039.3616 | 1278131.1374
54 | 2732120.4059 | 1278190.7541 | 2732135.6504 | 1278188.8278 | 2732138.9168 | 1278188.5112
55 | 2731973.8402 | 1278108.8939 | 2731979.9868 | 1278110.6665 | 2731989.1409 | 1278112.5858
56 | 2731973.8402 | 1278108.8939 | 2731968.0149 | 1278107.2064 | 2731964.4869 | 1278105.6319
57 | 2731973.6966 | 1278104.2306 | 2731973.8402 | 1278108.8939
58 | 2731973.8402 | 1278108.8939 | 2731974.0075 | 1278114.1806 | 2731974.8854 | 1278124.655 | 2731983.6605 | 1278126.0557
59 | 2731973.6966 | 1278104.2306 | 2731960.0188 | 1278099.4088 | 2731951.2459 | 1278094.9524
60 | 2731937.8561 | 1278087.1344 | 2731944.0544 | 1278091.2993 | 2731951.2459 | 1278094.9524
61 | 2732012.7303 | 1278093.2536 | 2732012.8409 | 1278089.017
62 | 2732012.8474 | 1278088.7689 | 2732012.8409 | 1278089.017
63 | 2732216.7175 | 1278057.8265 | 2732241.2819 | 1278058.8488
64 | 2732216.7175 | 1278057.8265 | 2732188.675 | 1278057.0306
65 | 2732260.0455 | 1277914.0493 | 2732293.9353 | 1277906.9092 | 2732293.9353 | 1277906.9092
66 | 2732281.2262 | 1278010.3036 | 2732283.393 | 1277994.5148
67 | 2732281.2262 | 1278010.3036 | 2732276.5219 | 1278009.5752 | 2732270.025 | 1278009.0068
68 | 2732148.3202 | 1278092.3672 | 2732149.2732 | 1278086.7994 | 2732153.2313 | 1278071.8622 | 2732154.0905 | 1278068.6771
69 | 2732132.05 | 1278113.0505 | 2732142.084 | 1278110.0723 | 2732146.2371 | 1278104.5377 | 2732148.3202 | 1278092.3672
70 | 2732157.2484 | 1278056.9709 | 2732154.0905 | 1278068.6771
71 | 2732120.0657 | 1278109.8122 | 2732132.05 | 1278113.0505
72 | 2732157.2484 | 1278056.9709 | 2732138.2785 | 1278052.4972 | 2732134.5034 | 1278047.5411
73 | 2732157.2484 | 1278056.9709 | 2732170.6492 | 1278056.9964
74 | 2732120.0657 | 1278109.8122 | 2732105.7237 | 1278109.4796 | 2732105.4396 | 1278104.3794
75 | 2732134.5034 | 1278047.5411 | 2732134.3001 | 1278037.4676
76 | 2732121.2423 | 1278053.6389 | 2732128.0643 | 1278047.7526 | 2732134.5034 | 1278047.5411
77 | 2732188.675 | 1278057.0306 | 2732170.6492 | 1278056.9964
78 | 2732134.3001 | 1278037.4676 | 2732133.9891 | 1278022.0583
79 | 2732121.2423 | 1278053.6389 | 2732089.3493 | 1278054.6035
80 | 2732121.2423 | 1278053.6389 | 2732117.1088 | 1278068.3608
81 | 2732188.675 | 1278057.0306 | 2732190.4034 | 1278038.5953
82 | 2732191.7719 | 1278023.9995 | 2732190.4034 | 1278038.5953
83 | 2732193.803 | 1278002.3362 | 2732191.7719 | 1278023.9995
84 | 2732193.803 | 1278002.3362 | 2732174.1666 | 1278001.4287 | 2732174.1666 | 1278001.4287
85 | 2732193.803 | 1278002.3362 | 2732210.1204 | 1278003.7642
86 | 2732089.5638 | 1278005.2463 | 2732098.7516 | 1278004.0199 | 2732126.1328 | 1278001.4639 | 2732151.9195 | 1278000.9632 | 2732174.1666 | 1278001.4287
87 | 2732210.1204 | 1278003.7642 | 2732222.5911 | 1278004.8556
88 | 2732088.9586 | 1278005.3271 | 2732089.5638 | 1278005.2463
89 | 2732235.2479 | 1278005.9633 | 2732222.5911 | 1278004.8556
90 | 2732270.025 | 1278009.0068 | 2732243.8975 | 1278006.7202
91 | 2732243.8975 | 1278006.7202 | 2732235.2479 | 1278005.9633
92 | 2732283.393 | 1277994.5148 | 2732284.0839 | 1277989.4806 | 2732285.1291 | 1277987.7912
93 | 2732088.9586 | 1278005.3271 | 2732084.4505 | 1278005.9288
94 | 2731983.6605 | 1278126.0557 | 2731986.6372 | 1278126.5309 | 2731994.989 | 1278131.5338 | 2731995.68 | 1278132.9613
95 | 2731999.6157 | 1278141.0911 | 2731995.68 | 1278132.9613
96 | 2731934.4421 | 1278084.8446 | 2731937.8561 | 1278087.1344
97 | 2732285.1291 | 1277987.7912 | 2732285.1291 | 1277987.7912 | 2732287.0652 | 1277986.9338
98 | 2732246.3229 | 1277916.9405 | 2732260.0455 | 1277914.0493
99 | 2732080.17 | 1277921.247 | 2732080.013 | 1277920.7031
100 | 2732080.013 | 1277920.7031 | 2732076.4921 | 1277908.5055 | 2732074.5812 | 1277901.7241
101 | 2732074.5812 | 1277901.7241 | 2732073.186 | 1277896.773
102 | 2732073.186 | 1277896.773 | 2732070.3923 | 1277886.8588 | 2732068.9351 | 1277881.0136
103 | 2732066.5957 | 1277871.6298 | 2732068.9351 | 1277881.0136
104 | 2731995.9498 | 1277883.1301 | 2731998.0947 | 1277912.0228
105 | 2731995.1429 | 1277872.2604 | 2731995.9498 | 1277883.1301
106 | 2731998.7984 | 1277921.5017 | 2731998.0947 | 1277912.0228
107 | 2731994.4984 | 1277867.8083 | 2731995.1429 | 1277872.2604
108 | 2731998.7984 | 1277921.5017 | 2732011.8212 | 1277925.041 | 2732032.5456 | 1277928.662
109 | 2731998.7984 | 1277921.5017 | 2731996.2498 | 1277928.5627
110 | 2731994.4984 | 1277867.8083 | 2732008.0413 | 1277865.9206 | 2732022.023 | 1277865.0651
111 | 2732038.5448 | 1277929.7102 | 2732032.5456 | 1277928.662
112 | 2731996.2498 | 1277928.5627 | 2731992.9047 | 1277937.6301 | 2731991.4942 | 1277944.9055
113 | 2732025.7382 | 1277864.8377 | 2732022.023 | 1277865.0651
114 | 2731987.5911 | 1277960.6278 | 2731989.1907 | 1277956.788 | 2731991.4942 | 1277944.9055
115 | 2732025.7382 | 1277864.8377 | 2732024.0688 | 1277854.83
116 | 2732025.7382 | 1277864.8377 | 2732040.9383 | 1277864.8112 | 2732046.3075 | 1277864.5162
117 | 2731952.9192 | 1277999.8633 | 2731954.0798 | 1277982.6057 | 2731950.7318 | 1277970.6524 | 2731943.574 | 1277960.0847
118 | 2731964.7983 | 1278006.4689 | 2731952.9192 | 1277999.8633 | 2731952.9192 | 1277999.8633
119 | 2731983.3588 | 1277970.7871 | 2731987.5911 | 1277960.6278
120 | 2732061.1631 | 1278009.5489 | 2732069.0009 | 1278007.991 | 2732069.0009 | 1278007.991
121 | 2732061.1631 | 1278009.5489 | 2732046.8977 | 1278012.3842
122 | 2732069.0009 | 1278007.991 | 2732084.4505 | 1278005.9288
123 | 2732046.8977 | 1278012.3842 | 2732029.0122 | 1278015.939
124 | 2732009.3067 | 1278019.8556 | 2732029.0122 | 1278015.939
125 | 2732009.3067 | 1278019.8556 | 2732010.7077 | 1278043.5546
126 | 2732009.3067 | 1278019.8556 | 2732006.3031 | 1278020.2724
127 | 2732010.7077 | 1278043.5546 | 2732011.4963 | 1278050.5833
128 | 2732006.3031 | 1278020.2724 | 2731991.5737 | 1278022.3167
129 | 2732064.509 | 1277863.2595 | 2732066.5957 | 1277871.6298
130 | 2732064.509 | 1277863.2595 | 2732071.3057 | 1277861.7162
131 | 2732064.509 | 1277863.2595 | 2732053.5901 | 1277864.1159 | 2732046.3075 | 1277864.5162
132 | 2732075.1465 | 1277860.8441 | 2732071.3057 | 1277861.7162
133 | 2731991.5737 | 1278022.3167 | 2731983.3942 | 1278023.4519
134 | 2731968.7007 | 1278026.8984 | 2731980.5328 | 1278023.849 | 2731983.3942 | 1278023.4519
135 | 2731968.7007 | 1278026.8984 | 2731961.7954 | 1278014.0202 | 2731964.7983 | 1278006.4689
136 | 2731968.7007 | 1278026.8984 | 2731964.1941 | 1278029.0887 | 2731960.4071 | 1278031.3729
137 | 2732011.7905 | 1278053.206 | 2732011.4963 | 1278050.5833
138 | 2731964.7983 | 1278006.4689 | 2731965.8339 | 1278004.8722
139 | 2731960.4071 | 1278031.3729 | 2731955.4239 | 1278023.6316
140 | 2731960.4071 | 1278031.3729 | 2731963.7198 | 1278036.5076 | 2731967.0248 | 1278041.6532
141 | 2732012.8474 | 1278088.7689 | 2732012.8796 | 1278087.5353 | 2732013.6151 | 1278069.4673 | 2732011.7905 | 1278053.206
142 | 2731983.3588 | 1277970.7871 | 2731976.8412 | 1277986.432
143 | 2731976.3005 | 1277987.73 | 2731976.8412 | 1277986.432
144 | 2731972.2293 | 1277995.0119 | 2731975.1299 | 1277990.5399 | 2731976.3005 | 1277987.73
145 | 2731972.2293 | 1277995.0119 | 2731965.8339 | 1278004.8722
146 | 2731934.4421 | 1278084.8446 | 2731937.7644 | 1278080.1477 | 2731936.4198 | 1278076.7476 | 2731950.2472 | 1278056.8708
147 | 2731967.0248 | 1278041.6532 | 2731963.2667 | 1278044.661 | 2731956.3649 | 1278048.0766 | 2731950.2472 | 1278056.8708
148 | 2732028.2485 | 1278120.4473 | 2732039.3616 | 1278131.1374

## bus_geodata
| x | y | coords
0 | 2732214.1701 | 1278220.938
1 | 2732214.2891 | 1278221.8656
2 | 2732216.0194 | 1278235.3631
3 | 2732226.2272 | 1278176.0558
4 | 2732217.7716 | 1278249.0583
5 | 2732246.9117 | 1278286.9953
6 | 2732202.8261 | 1278169.4249
7 | 2732208.1904 | 1278133.6877
8 | 2732191.827 | 1278282.4562
9 | 2732179.701 | 1278286.6089
10 | 2732172.0147 | 1278226.4238
11 | 2732090.6221 | 1278195.6928
12 | 2732093.4347 | 1278195.1535
13 | 2732069.503 | 1278185.8437
14 | 2732093.433 | 1278211.805
15 | 2732063.038 | 1278170.7113
16 | 2732221.5251 | 1278097.8402
17 | 2732175.4429 | 1278112.7778
18 | 2732218.4526 | 1278072.2907
19 | 2732183.7727 | 1278172.7122
20 | 2732200.991 | 1278164.4455
21 | 2732191.2179 | 1278141.3816
22 | 2732257.157 | 1278121.5178
23 | 2732206.9897 | 1278129.2453
24 | 2732217.9995 | 1278250.8394
25 | 2732128.5452 | 1278236.3299
26 | 2732248.0996 | 1278291.8637
27 | 2732319.6703 | 1278117.6602
28 | 2732322.8486 | 1278073.8551
29 | 2732320.9176 | 1278127.3136
30 | 2732315.5346 | 1278033.6849
31 | 2732321.5122 | 1278016.5354
32 | 2732314.2295 | 1278054.2301
33 | 2732255.1809 | 1278107.0569
34 | 2732275.4148 | 1278145.5905
35 | 2732423.3308 | 1277878.2618
36 | 2732401.131 | 1277864.9616
37 | 2732298.8189 | 1277903.0038
38 | 2732322.4609 | 1277995.3692
39 | 2732309.5812 | 1278014.6898
40 | 2732137.3607 | 1278273.804
41 | 2732138.8208 | 1278279.7814
42 | 2732143.5155 | 1278299.0012
43 | 2732138.9551 | 1278300.6486
44 | 2732045.1644 | 1278139.1871
45 | 2732138.9168 | 1278188.5112
46 | 2732120.4059 | 1278190.7541
47 | 2731989.1409 | 1278112.5858
48 | 2731973.8402 | 1278108.8939
49 | 2731973.6966 | 1278104.2306
50 | 2731951.2459 | 1278094.9524
51 | 2732012.7303 | 1278093.2536
52 | 2732012.8409 | 1278089.017
53 | 2732208.017 | 1278077.0837
54 | 2732216.7175 | 1278057.8265
55 | 2732164.8215 | 1278153.3464
56 | 2732189.3969 | 1278137.448
57 | 2732252.9102 | 1278082.7227
58 | 2732277.4732 | 1278163.1558
59 | 2732357.7845 | 1277829.6098
60 | 2732293.9353 | 1277906.9092
61 | 2732281.2262 | 1278010.3036
62 | 2732148.3202 | 1278092.3672
63 | 2732154.0905 | 1278068.6771
64 | 2732132.05 | 1278113.0505
65 | 2732157.2484 | 1278056.9709
66 | 2732120.0657 | 1278109.8122
67 | 2732134.5034 | 1278047.5411
68 | 2732170.6492 | 1278056.9964
69 | 2732105.4396 | 1278104.3794
70 | 2732134.3001 | 1278037.4676
71 | 2732121.2423 | 1278053.6389
72 | 2732188.675 | 1278057.0306
73 | 2732117.1088 | 1278068.3608
74 | 2732089.3493 | 1278054.6035
75 | 2732133.9891 | 1278022.0583
76 | 2732190.4034 | 1278038.5953
77 | 2732191.7719 | 1278023.9995
78 | 2732193.803 | 1278002.3362
79 | 2732174.1666 | 1278001.4287
80 | 2732210.1204 | 1278003.7642
81 | 2732241.2819 | 1278058.8488
82 | 2732089.5638 | 1278005.2463
83 | 2732222.5911 | 1278004.8556
84 | 2732270.025 | 1278009.0068
85 | 2732243.8975 | 1278006.7202
86 | 2732283.393 | 1277994.5148
87 | 2732235.2479 | 1278005.9633
88 | 2732088.9586 | 1278005.3271
89 | 2731983.6605 | 1278126.0557
90 | 2731995.68 | 1278132.9613
91 | 2731999.6157 | 1278141.0911
92 | 2731964.4869 | 1278105.6319
93 | 2731937.8561 | 1278087.1344
94 | 2732285.1291 | 1277987.7912
95 | 2732287.0652 | 1277986.9338
96 | 2732260.0455 | 1277914.0493
97 | 2732246.3229 | 1277916.9405
98 | 2732080.17 | 1277921.247
99 | 2732080.013 | 1277920.7031
100 | 2732074.5812 | 1277901.7241
101 | 2732073.186 | 1277896.773
102 | 2732068.9351 | 1277881.0136
103 | 2731995.9498 | 1277883.1301
104 | 2731998.0947 | 1277912.0228
105 | 2731995.1429 | 1277872.2604
106 | 2731998.7984 | 1277921.5017
107 | 2731994.4984 | 1277867.8083
108 | 2732032.5456 | 1277928.662
109 | 2731996.2498 | 1277928.5627
110 | 2732022.023 | 1277865.0651
111 | 2731991.4942 | 1277944.9055
112 | 2732038.5448 | 1277929.7102
113 | 2732025.7382 | 1277864.8377
114 | 2731943.574 | 1277960.0847
115 | 2731952.9192 | 1277999.8633
116 | 2731987.5911 | 1277960.6278
117 | 2732061.1631 | 1278009.5489
118 | 2732069.0009 | 1278007.991
119 | 2732046.8977 | 1278012.3842
120 | 2732084.4505 | 1278005.9288
121 | 2732029.0122 | 1278015.939
122 | 2732009.3067 | 1278019.8556
123 | 2732010.7077 | 1278043.5546
124 | 2732006.3031 | 1278020.2724
125 | 2732066.5957 | 1277871.6298
126 | 2732064.509 | 1277863.2595
127 | 2732071.3057 | 1277861.7162
128 | 2732046.3075 | 1277864.5162
129 | 2732075.1465 | 1277860.8441
130 | 2732024.0688 | 1277854.83
131 | 2731991.5737 | 1278022.3167
132 | 2731983.3942 | 1278023.4519
133 | 2731968.7007 | 1278026.8984
134 | 2732011.4963 | 1278050.5833
135 | 2731964.7983 | 1278006.4689
136 | 2731960.4071 | 1278031.3729
137 | 2732011.7905 | 1278053.206
138 | 2732012.8474 | 1278088.7689
139 | 2731983.3588 | 1277970.7871
140 | 2731976.8412 | 1277986.432
141 | 2731976.3005 | 1277987.73
142 | 2731972.2293 | 1277995.0119
143 | 2731965.8339 | 1278004.8722
144 | 2731934.4421 | 1278084.8446
145 | 2731950.2472 | 1278056.8708
146 | 2731955.4239 | 1278023.6316
147 | 2731967.0248 | 1278041.6532
148 | 2732039.3616 | 1278131.1374
149 | 2732028.2485 | 1278120.4473
150 | 2732157.2484 | 1278056.9709

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1