## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4671-36_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4671-36_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4671-36_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4671-36_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4671-36_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4671-36_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4671-36_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4671-36_0_5_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_4671-36_0_5_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_4671-36_0_5_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_4671-36_0_5_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_4671-36_0_5_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_4671-36_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4671-36_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4671-36_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4671-36_0_5_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_4671-36_0_5_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_4671-36_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4671-36_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4671-36_0_5_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_4671-36_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4671-36_0_5_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_4671-36_0_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_4671-36_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_4671-36_0_5_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_4671-36_0_5_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_4671-36_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_4671-36_0_5_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_4671-36_0_5_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_4671-36_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4671-36_0_5_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_4671-36_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_4671-36_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4671-36_0_5_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_4671-36_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4671-36_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_4671-36_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_4671-36_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4671-36_0_5_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_4671-36_0_5_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_4671-36_0_5_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_4671-36_0_5_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_4671-36_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4671-36_0_5_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_4671-36_0_5_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_4671-36_0_5_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_4671-36_0_5_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_4671-36_0_5_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_4671-36_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4671-36_0_5_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_4671-36_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4671-36_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_4671-36_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4671-36_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_4671-36_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4671-36_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_4671-36_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_4671-36_0_5_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_4671-36_0_5_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_4671-36_0_5_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_4671-36_0_5_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_4671-36_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_MV_441_0_node_207 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4671-36_0_5_load_0 | 0 | 0.018529 | 0.0046438 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4671-36_0_5_load_1 | 1 | 0.037494 | 0.009397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4671-36_0_5_load_60 | 7 | 0.0099132 | 0.0024845 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4671-36_0_5_load_41 | 8 | 0.0056871 | 0.0014253 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4671-36_0_5_load_59 | 9 | 0.0070452 | 0.0017657 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4671-36_0_5_load_36 | 11 | 0.010681 | 0.002677 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4671-36_0_5_load_28 | 15 | 0.048992 | 0.012278 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4671-36_0_5_load_58 | 16 | 0.013867 | 0.0034754 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4671-36_0_5_load_55 | 19 | 0.0035156 | 0.00088109 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4671-36_0_5_load_29 | 21 | 0.010328 | 0.0025883 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4671-36_0_5_load_30 | 22 | 0.099268 | 0.024879 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4671-36_0_5_load_64 | 25 | 0.016944 | 0.0042466 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4671-36_0_5_load_49 | 27 | 0.0038418 | 0.00096286 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4671-36_0_5_load_43 | 28 | 0.0036734 | 0.00092064 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4671-36_0_5_load_33 | 30 | 0.0064064 | 0.0016056 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4671-36_0_5_load_31 | 33 | 0.0097287 | 0.0024382 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4671-36_0_5_load_32 | 35 | 0.0070388 | 0.0017641 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4671-36_0_5_load_38 | 36 | 0.0083614 | 0.0020956 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4671-36_0_5_load_63 | 38 | 0.0019174 | 0.00048055 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4671-36_0_5_load_62 | 39 | 0.0027714 | 0.00069457 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4671-36_0_5_load_61 | 40 | 0.030446 | 0.0076306 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4671-36_0_5_load_54 | 41 | 0.043833 | 0.010986 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4671-36_0_5_load_46 | 43 | 0.0067186 | 0.0016838 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4671-36_0_5_load_50 | 45 | 0.00063736 | 0.00015974 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4671-36_0_5_load_51 | 46 | 0.0011217 | 0.00028112 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4671-36_0_5_load_48 | 47 | 0.00081175 | 0.00020344 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4671-36_0_5_load_34 | 48 | 0.0097537 | 0.0024445 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4671-36_0_5_load_57 | 49 | 0.0088412 | 0.0022158 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4671-36_0_5_load_42 | 50 | 0.0039132 | 0.00098074 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4671-36_0_5_load_45 | 51 | 0.0024145 | 0.00060513 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4671-36_0_5_load_44 | 52 | 0.0041896 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4671-36_0_5_load_47 | 54 | 0.0034843 | 0.00087325 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4671-36_0_5_load_52 | 55 | 0.00063652 | 0.00015953 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4671-36_0_5_load_35 | 56 | 0.036842 | 0.0092336 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4671-36_0_5_load_37 | 57 | 0.0061088 | 0.001531 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4671-36_0_5_load_65 | 59 | 0.010287 | 0.0025782 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4671-36_0_5_load_53 | 60 | 0.012231 | 0.0030655 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4671-36_0_5_load_56 | 61 | 0.01009 | 0.0025287 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4671-36_0_5_line_0 |  | 0 | 1 | 0.017982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4671-36_0_5_line_1 |  | 0 | 2 | 0.014988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4671-36_0_5_line_2 |  | 1 | 3 | 0.0045782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4671-36_0_5_line_3 |  | 2 | 4 | 0.018686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_4671-36_0_5_line_4 |  | 2 | 5 | 0.044503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4671-36_0_5_line_5 |  | 3 | 6 | 0.0091796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4671-36_0_5_line_6 |  | 4 | 7 | 0.014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_4671-36_0_5_line_7 |  | 5 | 9 | 0.033216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4671-36_0_5_line_8 |  | 5 | 10 | 0.01879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4671-36_0_5_line_9 |  | 5 | 11 | 0.021112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4671-36_0_5_line_10 |  | 6 | 8 | 0.048149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4671-36_0_5_line_11 |  | 7 | 13 | 0.017919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_4671-36_0_5_line_12 |  | 8 | 23 | 0.0037564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4671-36_0_5_line_13 |  | 9 | 35 | 0.014413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4671-36_0_5_line_14 |  | 10 | 37 | 0.1412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4671-36_0_5_line_15 |  | 10 | 38 | 0.028646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4671-36_0_5_line_16 |  | 11 | 48 | 0.018136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4671-36_0_5_line_17 |  | 12 | 13 | 0.023602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4671-36_0_5_line_18 |  | 12 | 14 | 0.05806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4671-36_0_5_line_19 |  | 12 | 15 | 0.021185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4671-36_0_5_line_20 |  | 13 | 16 | 0.014152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4671-36_0_5_line_21 |  | 14 | 25 | 0.051365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4671-36_0_5_line_22 |  | 15 | 20 | 0.028544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4671-36_0_5_line_23 |  | 16 | 49 | 0.00096699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4671-36_0_5_line_24 |  | 17 | 18 | 0.093482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4671-36_0_5_line_25 |  | 17 | 19 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4671-36_0_5_line_26 |  | 18 | 29 | 0.16755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4671-36_0_5_line_27 |  | 18 | 30 | 0.035833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4671-36_0_5_line_28 |  | 20 | 21 | 0.012663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4671-36_0_5_line_29 |  | 20 | 22 | 0.012979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4671-36_0_5_line_30 |  | 21 | 30 | 0.028672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4671-36_0_5_line_31 |  | 23 | 24 | 0.01084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4671-36_0_5_line_32 |  | 24 | 41 | 0.0034075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4671-36_0_5_line_33 |  | 26 | 27 | 0.020388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4671-36_0_5_line_34 |  | 26 | 28 | 0.021272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4671-36_0_5_line_35 |  | 27 | 42 | 0.0040128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4671-36_0_5_line_36 |  | 28 | 50 | 0.0020033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4671-36_0_5_line_37 |  | 29 | 39 | 0.0038565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4671-36_0_5_line_38 |  | 31 | 32 | 0.15348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4671-36_0_5_line_39 |  | 31 | 33 | 0.021937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4671-36_0_5_line_40 |  | 32 | 36 | 0.15018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4671-36_0_5_line_41 |  | 33 | 34 | 0.0064302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4671-36_0_5_line_42 |  | 34 | 35 | 0.015445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4671-36_0_5_line_43 |  | 36 | 53 | 0.018414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4671-36_0_5_line_44 |  | 37 | 40 | 0.022464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4671-36_0_5_line_45 |  | 41 | 46 | 0.026594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4671-36_0_5_line_46 |  | 42 | 43 | 0.018998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4671-36_0_5_line_47 |  | 43 | 54 | 0.017546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4671-36_0_5_line_48 |  | 44 | 45 | 0.010485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4671-36_0_5_line_49 |  | 44 | 46 | 0.024797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4671-36_0_5_line_50 |  | 44 | 47 | 0.033223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4671-36_0_5_line_51 |  | 45 | 55 | 0.017063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4671-36_0_5_line_52 |  | 47 | 54 | 0.0089958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4671-36_0_5_line_53 |  | 48 | 56 | 0.021095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4671-36_0_5_line_54 |  | 49 | 61 | 0.022246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4671-36_0_5_line_55 |  | 50 | 52 | 0.012958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4671-36_0_5_line_56 |  | 51 | 52 | 0.040962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4671-36_0_5_line_57 |  | 53 | 58 | 0.21763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4671-36_0_5_line_58 |  | 55 | 60 | 0.01047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4671-36_0_5_line_59 |  | 56 | 57 | 0.035358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4671-36_0_5_line_60 |  | 58 | 59 | 0.021389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4671-36_0_5_trafo_57 | 0.63 MVA 20/0.4 kV | 62 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2730503.8229 | 1278766.3757 | 2730497.9052 | 1278749.3952
1 | 2730510.7725 | 1278779.5237 | 2730507.5076 | 1278775.2473 | 2730504.1367 | 1278767.276 | 2730503.8229 | 1278766.3757
2 | 2730496.3986 | 1278745.072 | 2730497.9052 | 1278749.3952
3 | 2730510.7725 | 1278779.5237 | 2730514.6042 | 1278781.6216 | 2730518.3337 | 1278781.5485 | 2730521.4175 | 1278780.4268 | 2730525.3398 | 1278778.4338 | 2730527.4008 | 1278776.3218
4 | 2730505.2408 | 1278817.5385 | 2730506.3777 | 1278815.0724 | 2730508.6043 | 1278809.8943 | 2730508.2696 | 1278804.9821 | 2730506.0159 | 1278798.8262 | 2730500.9272 | 1278789.3488 | 2730505.8243 | 1278784.7415 | 2730510.7725 | 1278779.5237
5 | 2730487.5369 | 1278747.4672 | 2730492.3835 | 1278746.162 | 2730496.3986 | 1278745.072
6 | 2730527.4008 | 1278776.3218 | 2730536.8547 | 1278766.1878 | 2730537.3187 | 1278765.8411
7 | 2730505.2408 | 1278817.5385 | 2730491.3373 | 1278847.7052
8 | 2730505.2408 | 1278817.5385 | 2730506.3777 | 1278815.0724 | 2730510.1414 | 1278816.8463 | 2730516.3744 | 1278819.7871 | 2730520.9193 | 1278821.923
9 | 2730505.2408 | 1278817.5385 | 2730487.5599 | 1278813.9772 | 2730484.4871 | 1278814.117
10 | 2730487.5369 | 1278747.4672 | 2730486.648 | 1278744.1665 | 2730474.9989 | 1278700.9793
11 | 2730551.6732 | 1278755.116 | 2730537.3187 | 1278765.8411
12 | 2730474.0206 | 1278697.3525 | 2730474.9989 | 1278700.9793
13 | 2730485.3044 | 1278860.7951 | 2730491.3373 | 1278847.7052
14 | 2730520.9193 | 1278821.923 | 2730524.311 | 1278823.5219 | 2730526.7211 | 1278824.6541 | 2730529.1804 | 1278819.1476 | 2730534.8136 | 1278815.5798 | 2730540.3995 | 1278818.2171 | 2730552.2823 | 1278827.0221 | 2730625.7966 | 1278881.4918 | 2730628.8871 | 1278877.3562 | 2730631.5593 | 1278873.7786
15 | 2730520.9193 | 1278821.923 | 2730509.0724 | 1278848.0045
16 | 2730484.4871 | 1278814.117 | 2730475.5526 | 1278814.5233 | 2730469.0447 | 1278808.0396 | 2730469.0408 | 1278808.0349
17 | 2730570.6185 | 1278740.9659 | 2730551.6732 | 1278755.116
18 | 2730570.6185 | 1278740.9659 | 2730574.0348 | 1278745.8685 | 2730581.9208 | 1278740.3599 | 2730585.2055 | 1278745.0928 | 2730595.9117 | 1278757.8201 | 2730608.1099 | 1278773.7613
19 | 2730570.6185 | 1278740.9659 | 2730584.8925 | 1278730.7274 | 2730585.3179 | 1278727.1333
20 | 2730551.6732 | 1278755.116 | 2730543.7928 | 1278743.3605
21 | 2730608.1099 | 1278773.7613 | 2730614.9695 | 1278778.2732 | 2730626.2527 | 1278778.5233 | 2730651.9985 | 1278759.7414
22 | 2730609.2202 | 1278713.1488 | 2730603.7 | 1278717.0415 | 2730599.9815 | 1278716.6143 | 2730585.3179 | 1278727.1333
23 | 2730543.7928 | 1278743.3605 | 2730543.2543 | 1278742.5573
24 | 2730671.7408 | 1278667.9225 | 2730673.1617 | 1278664.5173 | 2730672.9342 | 1278661.5538 | 2730642.1066 | 1278580.3915
25 | 2730642.1066 | 1278580.3915 | 2730636.7737 | 1278566.4153
26 | 2730717.4099 | 1278778.9653 | 2730670.6274 | 1278737.4548 | 2730648.7381 | 1278717.9286 | 2730639.375 | 1278705.9873 | 2730678.8003 | 1278677.3214 | 2730675.2744 | 1278672.6164 | 2730671.7408 | 1278667.9225
27 | 2730671.7408 | 1278667.9225 | 2730642.9142 | 1278689.2069
28 | 2730609.2202 | 1278713.1488 | 2730619.5699 | 1278705.8525
29 | 2730601.2096 | 1278702.917 | 2730609.2202 | 1278713.1488
30 | 2730619.5699 | 1278705.8525 | 2730637.2721 | 1278693.3728 | 2730642.9142 | 1278689.2069
31 | 2730474.0206 | 1278697.3525 | 2730479.4033 | 1278695.9368 | 2730484.5061 | 1278694.6039
32 | 2730484.5061 | 1278694.6039 | 2730483.6363 | 1278691.3093
33 | 2730454.9812 | 1278545.316 | 2730451.3479 | 1278547.1485 | 2730448.7366 | 1278549.671 | 2730447.4204 | 1278552.0887 | 2730447.0796 | 1278554.5836 | 2730447.3826 | 1278557.8713 | 2730448.2103 | 1278561.2263 | 2730448.413 | 1278561.8545
34 | 2730454.9812 | 1278545.316 | 2730458.4155 | 1278543.6459 | 2730474.2239 | 1278536.25
35 | 2730449.6451 | 1278565.6734 | 2730448.413 | 1278561.8545
36 | 2730476.0384 | 1278535.4012 | 2730474.2239 | 1278536.25
37 | 2730717.4099 | 1278778.9653 | 2730720.2253 | 1278781.6009
38 | 2730312.0611 | 1278888.6595 | 2730326.0604 | 1278888.7689 | 2730330.9357 | 1278888.8768 | 2730347.3264 | 1278889.2615 | 2730387.7507 | 1278891.4126 | 2730407.4468 | 1278892.2044 | 2730414.0167 | 1278892.828 | 2730425.322 | 1278894.4462 | 2730442.8164 | 1278896.5796 | 2730458.7016 | 1278898.7441 | 2730459.3598 | 1278892.4414
39 | 2730459.3598 | 1278892.4414 | 2730465.8401 | 1278891.3392 | 2730470.1065 | 1278889.0758 | 2730474.0318 | 1278885.2478 | 2730476.147 | 1278880.6609
40 | 2730312.0611 | 1278888.6595 | 2730311.8474 | 1278884.0503 | 2730309.1115 | 1278824.2425 | 2730305.8213 | 1278752.444 | 2730305.1728 | 1278738.6398
41 | 2730478.8397 | 1278874.8217 | 2730476.147 | 1278880.6609
42 | 2730478.8397 | 1278874.8217 | 2730485.3044 | 1278860.7951
43 | 2730304.3086 | 1278720.2457 | 2730305.1728 | 1278738.6398
44 | 2730631.5593 | 1278873.7786 | 2730649.5634 | 1278887.2135
45 | 2730483.6363 | 1278691.3093 | 2730476.8486 | 1278665.5963
46 | 2730449.6451 | 1278565.6734 | 2730454.6801 | 1278583.9922
47 | 2730454.6801 | 1278583.9922 | 2730459.3303 | 1278600.9112
48 | 2730470.5195 | 1278641.6205 | 2730480.8798 | 1278640.0095
49 | 2730470.5195 | 1278641.6205 | 2730476.8486 | 1278665.5963
50 | 2730470.5195 | 1278641.6205 | 2730461.7145 | 1278609.5853
51 | 2730480.8798 | 1278640.0095 | 2730497.7405 | 1278637.3878
52 | 2730461.7145 | 1278609.5853 | 2730459.3303 | 1278600.9112
53 | 2730469.0408 | 1278808.0349 | 2730462.3691 | 1278799.9619 | 2730455.0159 | 1278792.2962
54 | 2730531.8508 | 1278723.5407 | 2730534.3649 | 1278729.2965 | 2730543.2543 | 1278742.5573
55 | 2730476.0384 | 1278535.4012 | 2730487.7753 | 1278529.9102
56 | 2730524.8777 | 1278512.5523 | 2730524.8777 | 1278512.5523 | 2730487.7753 | 1278529.9102
57 | 2730304.3086 | 1278720.2457 | 2730303.8136 | 1278710.681 | 2730301.6915 | 1278668.6486 | 2730295.4476 | 1278622.332 | 2730341.9068 | 1278618.1321 | 2730340.2008 | 1278598.7532 | 2730368.4205 | 1278596.1743 | 2730377.0975 | 1278603.8291 | 2730380.9538 | 1278611.9556 | 2730381.3116 | 1278616.1676
58 | 2730508.086 | 1278635.7791 | 2730497.7405 | 1278637.3878
59 | 2730438.7294 | 1278762.0464 | 2730445.4521 | 1278767.3224 | 2730451.9852 | 1278781.8367 | 2730454.9788 | 1278792.2575 | 2730455.0159 | 1278792.2962
60 | 2730388.0638 | 1278635.4024 | 2730382.391 | 1278628.8706 | 2730381.3116 | 1278616.1676

## bus_geodata
| x | y | coords
0 | 2730503.8229 | 1278766.3757
1 | 2730497.9052 | 1278749.3952
2 | 2730510.7725 | 1278779.5237
3 | 2730496.3986 | 1278745.072
4 | 2730527.4008 | 1278776.3218
5 | 2730505.2408 | 1278817.5385
6 | 2730487.5369 | 1278747.4672
7 | 2730537.3187 | 1278765.8411
8 | 2730474.9989 | 1278700.9793
9 | 2730491.3373 | 1278847.7052
10 | 2730520.9193 | 1278821.923
11 | 2730484.4871 | 1278814.117
12 | 2730570.6185 | 1278740.9659
13 | 2730551.6732 | 1278755.116
14 | 2730608.1099 | 1278773.7613
15 | 2730585.3179 | 1278727.1333
16 | 2730543.7928 | 1278743.3605
17 | 2730642.1066 | 1278580.3915
18 | 2730671.7408 | 1278667.9225
19 | 2730636.7737 | 1278566.4153
20 | 2730609.2202 | 1278713.1488
21 | 2730619.5699 | 1278705.8525
22 | 2730601.2096 | 1278702.917
23 | 2730474.0206 | 1278697.3525
24 | 2730484.5061 | 1278694.6039
25 | 2730651.9985 | 1278759.7414
26 | 2730454.9812 | 1278545.316
27 | 2730448.413 | 1278561.8545
28 | 2730474.2239 | 1278536.25
29 | 2730717.4099 | 1278778.9653
30 | 2730642.9142 | 1278689.2069
31 | 2730459.3598 | 1278892.4414
32 | 2730312.0611 | 1278888.6595
33 | 2730476.147 | 1278880.6609
34 | 2730478.8397 | 1278874.8217
35 | 2730485.3044 | 1278860.7951
36 | 2730305.1728 | 1278738.6398
37 | 2730631.5593 | 1278873.7786
38 | 2730509.0724 | 1278848.0045
39 | 2730720.2253 | 1278781.6009
40 | 2730649.5634 | 1278887.2135
41 | 2730483.6363 | 1278691.3093
42 | 2730449.6451 | 1278565.6734
43 | 2730454.6801 | 1278583.9922
44 | 2730470.5195 | 1278641.6205
45 | 2730480.8798 | 1278640.0095
46 | 2730476.8486 | 1278665.5963
47 | 2730461.7145 | 1278609.5853
48 | 2730469.0408 | 1278808.0349
49 | 2730543.2543 | 1278742.5573
50 | 2730476.0384 | 1278535.4012
51 | 2730524.8777 | 1278512.5523
52 | 2730487.7753 | 1278529.9102
53 | 2730304.3086 | 1278720.2457
54 | 2730459.3303 | 1278600.9112
55 | 2730497.7405 | 1278637.3878
56 | 2730455.0159 | 1278792.2962
57 | 2730438.7294 | 1278762.0464
58 | 2730381.3116 | 1278616.1676
59 | 2730388.0638 | 1278635.4024
60 | 2730508.086 | 1278635.7791
61 | 2730531.8508 | 1278723.5407
62 | 2730551.6732 | 1278755.116

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1