## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4671-40_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4671-40_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4671-40_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4671-40_0_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_4671-40_0_4_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_4671-40_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4671-40_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4671-40_0_4_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_4671-40_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4671-40_0_4_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_4671-40_0_4_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_4671-40_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_4671-40_0_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_4671-40_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4671-40_0_4_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_4671-40_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_4671-40_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4671-40_0_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_4671-40_0_4_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_4671-40_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4671-40_0_4_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_4671-40_0_4_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_4671-40_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_4671-40_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4671-40_0_4_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_4671-40_0_4_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_4671-40_0_4_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_4671-40_0_4_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_4671-40_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_4671-40_0_4_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_4671-40_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_4671-40_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_4671-40_0_4_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_4671-40_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4671-40_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4671-40_0_4_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_4671-40_0_4_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_4671-40_0_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_4671-40_0_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_4671-40_0_4_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_4671-40_0_4_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_4671-40_0_4_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_4671-40_0_4_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_4671-40_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_4671-40_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_4671-40_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_4671-40_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_4671-40_0_4_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_4671-40_0_4_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_4671-40_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_4671-40_0_4_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_4671-40_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_4671-40_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4671-40_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4671-40_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_4671-40_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_4671-40_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_4671-40_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4671-40_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_4671-40_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4671-40_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_4671-40_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_4671-40_0_4_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_4671-40_0_4_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_4671-40_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_4671-40_0_4_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_4671-40_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_4671-40_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4671-40_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_4671-40_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_4671-40_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_4671-40_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_4671-40_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_4671-40_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_4671-40_0_4_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_4671-40_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_MV_441_0_node_212 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4671-40_0_4_load_0 | 0 | 0.0062495 | 0.0015663 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4671-40_0_4_load_21 | 4 | 0.0034536 | 0.00086556 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4671-40_0_4_load_66 | 7 | 0.0029268 | 0.00073353 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4671-40_0_4_load_82 | 9 | 0.004173 | 0.0010458 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4671-40_0_4_load_35 | 10 | 0.0037744 | 0.00094596 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4671-40_0_4_load_29 | 12 | 0.030204 | 0.0075699 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4671-40_0_4_load_34 | 14 | 0.0061742 | 0.0015474 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4671-40_0_4_load_32 | 15 | 0.0082225 | 0.0020608 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4671-40_0_4_load_67 | 18 | 0.0061232 | 0.0015346 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4671-40_0_4_load_72 | 20 | 0.002531 | 0.00063433 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4671-40_0_4_load_70 | 21 | 0.0018063 | 0.0004527 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4671-40_0_4_load_48 | 24 | 0.0014523 | 0.00036399 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4671-40_0_4_load_54 | 25 | 0.00192 | 0.00048119 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4671-40_0_4_load_37 | 26 | 0.0025889 | 0.00064884 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4671-40_0_4_load_83 | 27 | 0.0018968 | 0.00047538 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4671-40_0_4_load_84 | 29 | 0.004175 | 0.0010464 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4671-40_0_4_load_27 | 30 | 0.023621 | 0.00592 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4671-40_0_4_load_30 | 31 | 0.019825 | 0.0049686 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4671-40_0_4_load_75 | 32 | 0.007023 | 0.0017601 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4671-40_0_4_load_23 | 33 | 0.018885 | 0.0047331 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4671-40_0_4_load_22 | 34 | 0.043521 | 0.010907 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4671-40_0_4_load_68 | 35 | 0.0059241 | 0.0014847 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4671-40_0_4_load_74 | 36 | 0.0040167 | 0.0010067 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4671-40_0_4_load_65 | 38 | 0.0012958 | 0.00032475 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4671-40_0_4_load_73 | 39 | 0.0059399 | 0.0014887 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4671-40_0_4_load_71 | 40 | 0.0059248 | 0.0014849 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4671-40_0_4_load_49 | 41 | 0.0011325 | 0.00028383 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4671-40_0_4_load_55 | 42 | 0.0011315 | 0.00028357 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4671-40_0_4_load_47 | 43 | 0.0040679 | 0.0010195 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4671-40_0_4_load_25 | 45 | 0.0093368 | 0.00234 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4671-40_0_4_load_58 | 47 | 0.032151 | 0.0080577 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4671-40_0_4_load_76 | 48 | 0.007023 | 0.0017601 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4671-40_0_4_load_56 | 49 | 0.034639 | 0.0086814 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4671-40_0_4_load_77 | 50 | 0.0093361 | 0.0023398 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4671-40_0_4_load_44 | 52 | 0.031772 | 0.0079628 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4671-40_0_4_load_38 | 55 | 0.0026641 | 0.00066769 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4671-40_0_4_load_39 | 56 | 0.0018568 | 0.00046537 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4671-40_0_4_load_41 | 58 | 0.0018551 | 0.00046493 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4671-40_0_4_load_42 | 59 | 0.0074148 | 0.0018583 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4671-40_0_4_load_43 | 60 | 0.0050834 | 0.001274 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4671-40_0_4_load_63 | 61 | 0.0018301 | 0.00045868 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4671-40_0_4_load_64 | 62 | 0.0016814 | 0.00042141 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4671-40_0_4_load_81 | 63 | 0.007023 | 0.0017601 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4671-40_0_4_load_61 | 64 | 0.0018714 | 0.00046902 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4671-40_0_4_load_80 | 65 | 0.0093369 | 0.00234 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4671-40_0_4_load_57 | 66 | 0.0059403 | 0.0014888 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4671-40_0_4_load_50 | 68 | 0.0020663 | 0.00051785 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4671-40_0_4_load_51 | 69 | 0.0035225 | 0.00088281 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4671-40_0_4_load_53 | 70 | 0.0023099 | 0.00057891 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4671-40_0_4_load_60 | 71 | 0.0018738 | 0.00046962 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4671-40_0_4_load_59 | 72 | 0.0018288 | 0.00045834 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4671-40_0_4_load_69 | 73 | 0.0059372 | 0.001488 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4671-40_0_4_load_78 | 74 | 0.0093361 | 0.0023398 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4671-40_0_4_load_79 | 75 | 0.007023 | 0.0017601 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4671-40_0_4_line_0 |  | 0 | 1 | 0.0017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4671-40_0_4_line_1 |  | 0 | 2 | 0.01884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4671-40_0_4_line_2 |  | 1 | 3 | 0.021529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4671-40_0_4_line_3 |  | 2 | 4 | 0.015742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4671-40_0_4_line_4 |  | 3 | 11 | 0.018821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4671-40_0_4_line_5 |  | 3 | 12 | 0.021368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4671-40_0_4_line_6 |  | 4 | 8 | 0.014038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4671-40_0_4_line_7 |  | 5 | 6 | 0.026964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4671-40_0_4_line_8 |  | 5 | 7 | 0.022562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4671-40_0_4_line_9 |  | 6 | 10 | 0.0091507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4671-40_0_4_line_10 |  | 6 | 8 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4671-40_0_4_line_11 |  | 7 | 22 | 0.017155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4671-40_0_4_line_12 |  | 8 | 9 | 0.0058106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4671-40_0_4_line_13 |  | 9 | 27 | 0.016424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4671-40_0_4_line_14 |  | 10 | 28 | 0.012479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4671-40_0_4_line_15 |  | 11 | 30 | 0.01156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4671-40_0_4_line_16 |  | 12 | 31 | 0.022091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4671-40_0_4_line_17 |  | 13 | 14 | 0.0026957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4671-40_0_4_line_18 |  | 13 | 15 | 0.02844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4671-40_0_4_line_19 |  | 15 | 28 | 0.03915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4671-40_0_4_line_20 |  | 16 | 17 | 0.037979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4671-40_0_4_line_21 |  | 16 | 18 | 0.032509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4671-40_0_4_line_22 |  | 17 | 32 | 0.014345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4671-40_0_4_line_23 |  | 18 | 35 | 0.014112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4671-40_0_4_line_24 |  | 19 | 20 | 0.036313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4671-40_0_4_line_25 |  | 19 | 21 | 0.025079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4671-40_0_4_line_26 |  | 21 | 38 | 0.0026002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4671-40_0_4_line_27 |  | 22 | 23 | 0.020031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4671-40_0_4_line_28 |  | 22 | 24 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4671-40_0_4_line_29 |  | 22 | 25 | 0.0099069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4671-40_0_4_line_30 |  | 23 | 26 | 0.014289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4671-40_0_4_line_31 |  | 24 | 43 | 0.019761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4671-40_0_4_line_32 |  | 27 | 29 | 0.012944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4671-40_0_4_line_33 |  | 31 | 51 | 0.0059036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4671-40_0_4_line_34 |  | 32 | 46 | 0.014449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4671-40_0_4_line_35 |  | 33 | 34 | 0.00572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4671-40_0_4_line_36 |  | 34 | 44 | 0.010309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4671-40_0_4_line_37 |  | 35 | 73 | 0.0063191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4671-40_0_4_line_38 |  | 36 | 37 | 0.0090933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4671-40_0_4_line_39 |  | 37 | 71 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4671-40_0_4_line_40 |  | 37 | 70 | 0.014895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4671-40_0_4_line_41 |  | 38 | 62 | 0.017857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4671-40_0_4_line_42 |  | 39 | 40 | 0.0063214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4671-40_0_4_line_43 |  | 40 | 73 | 0.0063163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4671-40_0_4_line_44 |  | 41 | 42 | 0.0073633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4671-40_0_4_line_45 |  | 42 | 67 | 0.035856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4671-40_0_4_line_46 |  | 44 | 45 | 0.0069067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4671-40_0_4_line_47 |  | 44 | 46 | 0.005238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4671-40_0_4_line_48 |  | 45 | 47 | 0.0087265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4671-40_0_4_line_49 |  | 46 | 48 | 0.01606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4671-40_0_4_line_50 |  | 47 | 49 | 0.023089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4671-40_0_4_line_51 |  | 48 | 50 | 4.141e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4671-40_0_4_line_52 |  | 49 | 66 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4671-40_0_4_line_53 |  | 50 | 74 | 0.0061868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4671-40_0_4_line_54 |  | 51 | 52 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4671-40_0_4_line_55 |  | 52 | 53 | 0.012258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4671-40_0_4_line_56 |  | 53 | 54 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4671-40_0_4_line_57 |  | 54 | 66 | 0.011143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4671-40_0_4_line_58 |  | 55 | 56 | 0.02169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4671-40_0_4_line_59 |  | 55 | 57 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4671-40_0_4_line_60 |  | 56 | 58 | 0.0088006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4671-40_0_4_line_61 |  | 57 | 59 | 0.00070078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4671-40_0_4_line_62 |  | 57 | 60 | 0.0095653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4671-40_0_4_line_63 |  | 58 | 61 | 0.024722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4671-40_0_4_line_64 |  | 59 | 62 | 0.0075111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4671-40_0_4_line_65 |  | 60 | 63 | 0.0084626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4671-40_0_4_line_66 |  | 61 | 64 | 0.00045755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4671-40_0_4_line_67 |  | 63 | 65 | 0.0008939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4671-40_0_4_line_68 |  | 64 | 72 | 0.0081625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4671-40_0_4_line_69 |  | 65 | 75 | 0.0057601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4671-40_0_4_line_70 |  | 67 | 68 | 0.013619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4671-40_0_4_line_71 |  | 68 | 69 | 0.0017536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4671-40_0_4_line_72 |  | 69 | 70 | 0.020506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4671-40_0_4_line_73 |  | 71 | 72 | 8.4338e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4671-40_0_4_line_74 |  | 74 | 75 | 0.0004249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4671-40_0_4_trafo_56 | 0.63 MVA 20/0.4 kV | 76 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2730805.1631 | 1278582.3068 | 2730806.5121 | 1278581.2714
1 | 2730821.4575 | 1278569.8003 | 2730806.5121 | 1278581.2714
2 | 2730790.2578 | 1278578.9619 | 2730797.6968 | 1278572.9543 | 2730801.1045 | 1278577.2229 | 2730805.1631 | 1278582.3068
3 | 2730821.4575 | 1278569.8003 | 2730834.0745 | 1278560.3856
4 | 2730775.5867 | 1278590.8038 | 2730790.2578 | 1278578.9619
5 | 2730790.2578 | 1278578.9619 | 2730780.9103 | 1278559.7466
6 | 2730845.3258 | 1278551.99 | 2730834.0745 | 1278560.3856
7 | 2730814.8282 | 1278551.5243 | 2730822.0941 | 1278548.5714 | 2730829.5427 | 1278544.8441 | 2730831.0246 | 1278545.4664 | 2730834.1174 | 1278545.3015 | 2730839.3645 | 1278542.2149
8 | 2730814.8282 | 1278551.5243 | 2730814.1568 | 1278546.2153 | 2730813.8581 | 1278541.0481 | 2730814.322 | 1278536.0646 | 2730816.3864 | 1278532.1176 | 2730817.9523 | 1278530.0725
9 | 2730839.3645 | 1278542.2149 | 2730847.1074 | 1278537.3381
10 | 2730839.3645 | 1278542.2149 | 2730842.5046 | 1278547.3674 | 2730845.3258 | 1278551.99
11 | 2730829.5125 | 1278517.4277 | 2730820.5817 | 1278526.6386 | 2730817.9523 | 1278530.0725
12 | 2730845.3258 | 1278551.99 | 2730850.1768 | 1278548.7915
13 | 2730850.1768 | 1278548.7915 | 2730859.3762 | 1278542.7259 | 2730864.2724 | 1278540.4356
14 | 2730857.6668 | 1278530.6873 | 2730847.1074 | 1278537.3381
15 | 2730775.5867 | 1278590.8038 | 2730764.8611 | 1278590.8105 | 2730764.202 | 1278591.3224
16 | 2730780.9103 | 1278559.7466 | 2730771.2469 | 1278539.8818
17 | 2730918.7772 | 1278502.0819 | 2730921.1299 | 1278500.7661
18 | 2730918.7772 | 1278502.0819 | 2730908.679 | 1278507.6744 | 2730901.6232 | 1278511.3103 | 2730893.2131 | 1278514.397
19 | 2730857.6668 | 1278530.6873 | 2730871.3806 | 1278523.3844 | 2730889.9077 | 1278515.6101 | 2730893.2131 | 1278514.397
20 | 2730677.4551 | 1278551.2237 | 2730644.0041 | 1278569.3894
21 | 2730644.0041 | 1278569.3894 | 2730632.2229 | 1278539.0901
22 | 2730677.4551 | 1278551.2237 | 2730690.061 | 1278544.3777
23 | 2730632.2229 | 1278539.0901 | 2730627.1088 | 1278525.9375
24 | 2730659.3703 | 1278446.1759 | 2730669.1782 | 1278441.4663 | 2730692.066 | 1278430.3773
25 | 2730659.3703 | 1278446.1759 | 2730670.8172 | 1278468.4904
26 | 2730670.8172 | 1278468.4904 | 2730672.004 | 1278470.8039
27 | 2730829.5125 | 1278517.4277 | 2730832.4318 | 1278519.6613 | 2730842.2453 | 1278506.5772
28 | 2730829.5125 | 1278517.4277 | 2730832.9128 | 1278513.566 | 2730841.3468 | 1278502.3198
29 | 2730829.5125 | 1278517.4277 | 2730827.9237 | 1278516.2023 | 2730821.6788 | 1278511.3629
30 | 2730842.2453 | 1278506.5772 | 2730850.3513 | 1278494.8103
31 | 2730853.2029 | 1278486.5104 | 2730841.3468 | 1278502.3198
32 | 2730876.1068 | 1278535.1973 | 2730869.3864 | 1278538.0434 | 2730864.2724 | 1278540.4356
33 | 2730768.6644 | 1278534.573 | 2730771.2469 | 1278539.8818
34 | 2730702.7585 | 1278537.4819 | 2730690.061 | 1278544.3777
35 | 2730707.6515 | 1278545.2758 | 2730707.6515 | 1278545.2758 | 2730702.649 | 1278548.0495
36 | 2730707.369 | 1278534.9705 | 2730707.6515 | 1278545.2758
37 | 2730627.1088 | 1278525.9375 | 2730624.8188 | 1278520.0479
38 | 2730767.0713 | 1278444.7943 | 2730762.7211 | 1278436.8091
39 | 2730767.0713 | 1278444.7943 | 2730753.9368 | 1278452.5651
40 | 2730767.0713 | 1278444.7943 | 2730774.529 | 1278457.6877
41 | 2730680.1546 | 1278486.6928 | 2730672.004 | 1278470.8039
42 | 2730622.5298 | 1278514.1609 | 2730620.239 | 1278508.2692
43 | 2730624.8188 | 1278520.0479 | 2730622.5298 | 1278514.1609
44 | 2730830.559 | 1278468.2793 | 2730824.0736 | 1278471.7661
45 | 2730792.493 | 1278488.7453 | 2730824.0736 | 1278471.7661
46 | 2730707.369 | 1278534.9705 | 2730713.4385 | 1278531.6745
47 | 2730707.369 | 1278534.9705 | 2730702.7585 | 1278537.4819
48 | 2730713.4385 | 1278531.6745 | 2730721.1072 | 1278527.51
49 | 2730702.7585 | 1278537.4819 | 2730696.3692 | 1278522.7478
50 | 2730741.3972 | 1278516.4916 | 2730721.1072 | 1278527.51
51 | 2730696.3692 | 1278522.7478 | 2730696.3527 | 1278522.7098
52 | 2730741.3972 | 1278516.4916 | 2730760.6609 | 1278506.0305
53 | 2730696.3527 | 1278522.7098 | 2730693.8913 | 1278517.0337
54 | 2730768.6644 | 1278534.573 | 2730783.1457 | 1278525.8744 | 2730782.0566 | 1278523.7151
55 | 2730776.5366 | 1278512.7707 | 2730782.0566 | 1278523.7151
56 | 2730770.453 | 1278500.7129 | 2730776.5366 | 1278512.7707
57 | 2730770.453 | 1278500.7129 | 2730760.6609 | 1278506.0305
58 | 2730717.5943 | 1278474.0664 | 2730698.9263 | 1278485.111
59 | 2730683.9027 | 1278493.9994 | 2730698.9263 | 1278485.111
60 | 2730725.1686 | 1278469.5853 | 2730717.5943 | 1278474.0664
61 | 2730683.5828 | 1278493.3759 | 2730683.9027 | 1278493.9994
62 | 2730683.9027 | 1278493.9994 | 2730687.7082 | 1278502.7751
63 | 2730746.4453 | 1278456.9973 | 2730725.1686 | 1278469.5853
64 | 2730683.5828 | 1278493.3759 | 2730680.1546 | 1278486.6928
65 | 2730691.075 | 1278510.5392 | 2730687.7082 | 1278502.7751
66 | 2730746.4453 | 1278456.9973 | 2730746.8391 | 1278456.7643
67 | 2730691.4306 | 1278511.3593 | 2730691.075 | 1278510.5392
68 | 2730753.8642 | 1278452.608 | 2730746.8391 | 1278456.7643
69 | 2730693.7223 | 1278516.6439 | 2730691.4306 | 1278511.3593
70 | 2730792.493 | 1278488.7453 | 2730785.674 | 1278476.9561
71 | 2730785.674 | 1278476.9561 | 2730784.796 | 1278475.4381
72 | 2730784.796 | 1278475.4381 | 2730774.529 | 1278457.6877
73 | 2730753.8642 | 1278452.608 | 2730753.9368 | 1278452.5651
74 | 2730693.8913 | 1278517.0337 | 2730693.7223 | 1278516.6439

## bus_geodata
| x | y | coords
0 | 2730806.5121 | 1278581.2714
1 | 2730805.1631 | 1278582.3068
2 | 2730821.4575 | 1278569.8003
3 | 2730790.2578 | 1278578.9619
4 | 2730834.0745 | 1278560.3856
5 | 2730814.8282 | 1278551.5243
6 | 2730839.3645 | 1278542.2149
7 | 2730817.9523 | 1278530.0725
8 | 2730845.3258 | 1278551.99
9 | 2730850.1768 | 1278548.7915
10 | 2730847.1074 | 1278537.3381
11 | 2730775.5867 | 1278590.8038
12 | 2730780.9103 | 1278559.7466
13 | 2730918.7772 | 1278502.0819
14 | 2730921.1299 | 1278500.7661
15 | 2730893.2131 | 1278514.397
16 | 2730644.0041 | 1278569.3894
17 | 2730677.4551 | 1278551.2237
18 | 2730632.2229 | 1278539.0901
19 | 2730659.3703 | 1278446.1759
20 | 2730692.066 | 1278430.3773
21 | 2730670.8172 | 1278468.4904
22 | 2730829.5125 | 1278517.4277
23 | 2730842.2453 | 1278506.5772
24 | 2730841.3468 | 1278502.3198
25 | 2730821.6788 | 1278511.3629
26 | 2730850.3513 | 1278494.8103
27 | 2730864.2724 | 1278540.4356
28 | 2730857.6668 | 1278530.6873
29 | 2730876.1068 | 1278535.1973
30 | 2730764.202 | 1278591.3223
31 | 2730771.2469 | 1278539.8818
32 | 2730690.061 | 1278544.3777
33 | 2730702.649 | 1278548.0495
34 | 2730707.6515 | 1278545.2758
35 | 2730627.1088 | 1278525.9375
36 | 2730762.7211 | 1278436.8091
37 | 2730767.0713 | 1278444.7943
38 | 2730672.004 | 1278470.8039
39 | 2730620.239 | 1278508.2692
40 | 2730622.5298 | 1278514.1609
41 | 2730830.559 | 1278468.2793
42 | 2730824.0736 | 1278471.7661
43 | 2730853.2029 | 1278486.5104
44 | 2730707.369 | 1278534.9705
45 | 2730713.4385 | 1278531.6745
46 | 2730702.7585 | 1278537.4819
47 | 2730721.1072 | 1278527.51
48 | 2730696.3692 | 1278522.7478
49 | 2730741.3972 | 1278516.4916
50 | 2730696.3527 | 1278522.7098
51 | 2730768.6644 | 1278534.573
52 | 2730782.0566 | 1278523.7151
53 | 2730776.5366 | 1278512.7707
54 | 2730770.453 | 1278500.7129
55 | 2730698.9263 | 1278485.111
56 | 2730717.5943 | 1278474.0664
57 | 2730683.9027 | 1278493.9994
58 | 2730725.1686 | 1278469.5853
59 | 2730683.5828 | 1278493.3759
60 | 2730687.7082 | 1278502.7751
61 | 2730746.4453 | 1278456.9973
62 | 2730680.1546 | 1278486.6928
63 | 2730691.075 | 1278510.5392
64 | 2730746.8391 | 1278456.7643
65 | 2730691.4306 | 1278511.3593
66 | 2730760.6609 | 1278506.0305
67 | 2730792.493 | 1278488.7453
68 | 2730785.674 | 1278476.9561
69 | 2730784.796 | 1278475.4381
70 | 2730774.529 | 1278457.6877
71 | 2730753.9368 | 1278452.5651
72 | 2730753.8642 | 1278452.608
73 | 2730624.8188 | 1278520.0479
74 | 2730693.8913 | 1278517.0337
75 | 2730693.7223 | 1278516.6439
76 | 2730770.453 | 1278500.7129

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1