## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4671-46_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4671-46_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4671-46_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4671-46_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4671-46_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4671-46_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4671-46_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4671-46_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_4671-46_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_4671-46_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4671-46_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_4671-46_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_4671-46_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_4671-46_0_4_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_4671-46_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_4671-46_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4671-46_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_4671-46_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_4671-46_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_4671-46_0_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_4671-46_0_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_4671-46_0_4_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_4671-46_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_4671-46_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_4671-46_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_4671-46_0_4_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_4671-46_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_4671-46_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_4671-46_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4671-46_0_4_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_4671-46_0_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_4671-46_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_4671-46_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_4671-46_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4671-46_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4671-46_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4671-46_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4671-46_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_4671-46_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_4671-46_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4671-46_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4671-46_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_4671-46_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_4671-46_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_4671-46_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_4671-46_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_4671-46_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_4671-46_0_4_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_4671-46_0_4_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_4671-46_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_4671-46_0_4_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_4671-46_0_4_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_4671-46_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_4671-46_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_4671-46_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_4671-46_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_4671-46_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_4671-46_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_4671-46_0_4_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_4671-46_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_4671-46_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_4671-46_0_4_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_4671-46_0_4_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_4671-46_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_4671-46_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_4671-46_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_4671-46_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_4671-46_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_4671-46_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_4671-46_0_4_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_4671-46_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_4671-46_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_4671-46_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_4671-46_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_4671-46_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_4671-46_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_4671-46_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_4671-46_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_4671-46_0_4_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_4671-46_0_4_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_4671-46_0_4_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_4671-46_0_4_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_4671-46_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_4671-46_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_4671-46_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_4671-46_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_4671-46_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_4671-46_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4671-46_0_4_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_4671-46_0_4_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_4671-46_0_4_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_4671-46_0_4_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_4671-46_0_4_node_97 | 0.4 | n |  | TRUE
93 | bus_MV_489_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4671-46_0_4_load_0 | 0 | 0.0010776 | 0.00027008 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4671-46_0_4_load_5 | 3 | 0.0014538 | 0.00036435 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4671-46_0_4_load_6 | 4 | 0.0012937 | 0.00032422 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4671-46_0_4_load_8 | 5 | 0.001004 | 0.00025162 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4671-46_0_4_load_7 | 6 | 0.0048586 | 0.0012177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4671-46_0_4_load_11 | 11 | 0.0010319 | 0.00025861 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4671-46_0_4_load_22 | 13 | 0.022978 | 0.0057589 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4671-46_0_4_load_15 | 15 | 0.0024219 | 0.00060698 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4671-46_0_4_load_16 | 16 | 0.012685 | 0.0031793 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4671-46_0_4_load_18 | 17 | 0.01721 | 0.0043133 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4671-46_0_4_load_20 | 18 | 0.011014 | 0.0027603 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4671-46_0_4_load_21 | 19 | 0.010156 | 0.0025455 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4671-46_0_4_load_39 | 21 | 0.012611 | 0.0031606 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4671-46_0_4_load_37 | 25 | 0.002927 | 0.00073358 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4671-46_0_4_load_35 | 26 | 0.0029257 | 0.00073326 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4671-46_0_4_load_40 | 27 | 0.034172 | 0.0085644 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4671-46_0_4_load_24 | 28 | 0.02092 | 0.0052431 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4671-46_0_4_load_43 | 29 | 0.033027 | 0.0082773 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4671-46_0_4_load_44 | 30 | 0.0014934 | 0.00037429 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4671-46_0_4_load_45 | 32 | 0.002516 | 0.00063057 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4671-46_0_4_load_26 | 33 | 0.0033036 | 0.00082796 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4671-46_0_4_load_30 | 37 | 0.0013268 | 0.00033253 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4671-46_0_4_load_31 | 38 | 0.0091885 | 0.0023029 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4671-46_0_4_load_33 | 39 | 0.0029272 | 0.00073362 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4671-46_0_4_load_34 | 40 | 0.00064104 | 0.00016066 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4671-46_0_4_load_38 | 41 | 0.004932 | 0.0012361 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4671-46_0_4_load_47 | 43 | 0.0020157 | 0.00050519 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4671-46_0_4_load_48 | 44 | 0.00071885 | 0.00018016 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4671-46_0_4_load_49 | 45 | 0.0025539 | 0.00064007 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4671-46_0_4_load_56 | 47 | 0.0027277 | 0.00068362 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4671-46_0_4_load_91 | 51 | 0.00074447 | 0.00018658 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4671-46_0_4_load_51 | 52 | 0.003248 | 0.00081402 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4671-46_0_4_load_52 | 53 | 0.0026043 | 0.00065271 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4671-46_0_4_load_54 | 54 | 0.00070787 | 0.00017741 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4671-46_0_4_load_55 | 55 | 0.0018818 | 0.00047163 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4671-46_0_4_load_58 | 57 | 0.0027651 | 0.00069301 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4671-46_0_4_load_77 | 58 | 0.0075147 | 0.0018834 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4671-46_0_4_load_59 | 60 | 0.0019038 | 0.00047715 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4671-46_0_4_load_84 | 61 | 0.0044248 | 0.001109 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4671-46_0_4_load_75 | 62 | 0.0026416 | 0.00066204 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4671-46_0_4_load_60 | 64 | 0.0027849 | 0.00069795 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4671-46_0_4_load_61 | 65 | 0.0020153 | 0.00050509 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4671-46_0_4_load_62 | 66 | 0.0020149 | 0.00050498 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4671-46_0_4_load_64 | 67 | 0.0022694 | 0.00056877 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4671-46_0_4_load_66 | 68 | 0.00277 | 0.00069422 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4671-46_0_4_load_76 | 69 | 0.00070753 | 0.00017732 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4671-46_0_4_load_67 | 70 | 0.0033279 | 0.00083405 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4671-46_0_4_load_68 | 71 | 0.0033849 | 0.00084834 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4671-46_0_4_load_71 | 74 | 0.0008525 | 0.00021366 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4671-46_0_4_load_72 | 75 | 0.00074339 | 0.00018631 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4671-46_0_4_load_73 | 76 | 0.0008525 | 0.00021366 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4671-46_0_4_load_74 | 77 | 0.013494 | 0.003382 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4671-46_0_4_load_92 | 79 | 0.00086805 | 0.00021755 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4671-46_0_4_load_83 | 80 | 0.010357 | 0.0025957 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4671-46_0_4_load_85 | 81 | 0.0090861 | 0.0022772 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4671-46_0_4_load_78 | 82 | 0.014837 | 0.0037186 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4671-46_0_4_load_79 | 83 | 0.00255 | 0.00063908 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4671-46_0_4_load_81 | 85 | 0.0089966 | 0.0022548 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4671-46_0_4_load_86 | 87 | 0.0081221 | 0.0020356 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4671-46_0_4_load_93 | 88 | 0.00086803 | 0.00021755 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4671-46_0_4_load_94 | 89 | 0.00086832 | 0.00021762 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4671-46_0_4_load_95 | 90 | 0.0033049 | 0.00082829 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4671-46_0_4_load_96 | 91 | 0.0032998 | 0.000827 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4671-46_0_4_load_97 | 92 | 0.0017622 | 0.00044164 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4671-46_0_4_line_0 |  | 0 | 1 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4671-46_0_4_line_1 |  | 1 | 2 | 0.004917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4671-46_0_4_line_2 |  | 1 | 3 | 0.018218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4671-46_0_4_line_3 |  | 1 | 4 | 0.032525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4671-46_0_4_line_4 |  | 2 | 5 | 0.035971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4671-46_0_4_line_5 |  | 5 | 8 | 0.043476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4671-46_0_4_line_6 |  | 6 | 7 | 0.013363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4671-46_0_4_line_7 |  | 7 | 9 | 0.014087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4671-46_0_4_line_8 |  | 8 | 10 | 0.012743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4671-46_0_4_line_9 |  | 8 | 11 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_4671-46_0_4_line_10 |  | 8 | 9 | 0.00479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4671-46_0_4_line_11 |  | 10 | 17 | 0.06246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4671-46_0_4_line_12 |  | 10 | 12 | 0.005162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4671-46_0_4_line_13 |  | 11 | 14 | 0.024577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_4671-46_0_4_line_14 |  | 12 | 13 | 0.032873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4671-46_0_4_line_15 |  | 13 | 22 | 0.054517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4671-46_0_4_line_16 |  | 14 | 15 | 0.0084471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4671-46_0_4_line_17 |  | 14 | 16 | 0.01241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4671-46_0_4_line_18 |  | 15 | 18 | 0.023637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4671-46_0_4_line_19 |  | 16 | 19 | 0.0086324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4671-46_0_4_line_20 |  | 18 | 20 | 0.038287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4671-46_0_4_line_21 |  | 19 | 21 | 0.069352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4671-46_0_4_line_22 |  | 20 | 25 | 0.012775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4671-46_0_4_line_23 |  | 20 | 26 | 0.015865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4671-46_0_4_line_24 |  | 21 | 27 | 0.0011168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4671-46_0_4_line_25 |  | 22 | 28 | 0.014558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4671-46_0_4_line_26 |  | 22 | 23 | 0.064642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4671-46_0_4_line_27 |  | 23 | 24 | 0.045904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4671-46_0_4_line_28 |  | 24 | 29 | 0.024823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4671-46_0_4_line_29 |  | 24 | 30 | 0.047883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4671-46_0_4_line_30 |  | 25 | 41 | 0.0008183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4671-46_0_4_line_31 |  | 26 | 40 | 0.0081839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4671-46_0_4_line_32 |  | 30 | 31 | 0.040591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4671-46_0_4_line_33 |  | 31 | 32 | 0.037351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_4671-46_0_4_line_34 |  | 32 | 42 | 0.017914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4671-46_0_4_line_35 |  | 33 | 34 | 0.027376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4671-46_0_4_line_36 |  | 33 | 35 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4671-46_0_4_line_37 |  | 34 | 36 | 0.034544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4671-46_0_4_line_38 |  | 35 | 37 | 0.011434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4671-46_0_4_line_39 |  | 36 | 38 | 0.021147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4671-46_0_4_line_40 |  | 37 | 39 | 0.024928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4671-46_0_4_line_41 |  | 39 | 40 | 0.00091084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4671-46_0_4_line_42 |  | 42 | 43 | 0.015881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4671-46_0_4_line_43 |  | 42 | 44 | 0.032671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_4671-46_0_4_line_44 |  | 43 | 45 | 0.023556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4671-46_0_4_line_45 |  | 44 | 46 | 0.075567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_4671-46_0_4_line_46 |  | 45 | 47 | 0.020093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4671-46_0_4_line_47 |  | 46 | 48 | 0.02614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_4671-46_0_4_line_48 |  | 47 | 49 | 0.016705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_4671-46_0_4_line_49 |  | 48 | 50 | 0.003549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_4671-46_0_4_line_50 |  | 48 | 51 | 0.021749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4671-46_0_4_line_51 |  | 49 | 55 | 0.027669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4671-46_0_4_line_52 |  | 49 | 52 | 0.003212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_4671-46_0_4_line_53 |  | 50 | 79 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4671-46_0_4_line_54 |  | 50 | 75 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4671-46_0_4_line_55 |  | 52 | 53 | 0.018723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4671-46_0_4_line_56 |  | 53 | 54 | 0.0083666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4671-46_0_4_line_57 |  | 54 | 56 | 0.01247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4671-46_0_4_line_58 |  | 55 | 57 | 0.015248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4671-46_0_4_line_59 |  | 56 | 58 | 0.023747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4671-46_0_4_line_60 |  | 56 | 59 | 0.01026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4671-46_0_4_line_61 |  | 57 | 60 | 0.0038957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4671-46_0_4_line_62 |  | 58 | 61 | 0.020897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4671-46_0_4_line_63 |  | 59 | 62 | 0.018035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4671-46_0_4_line_64 |  | 59 | 63 | 0.044524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4671-46_0_4_line_65 |  | 61 | 81 | 0.0024473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4671-46_0_4_line_66 |  | 62 | 69 | 0.0021427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4671-46_0_4_line_67 |  | 63 | 65 | 0.01605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4671-46_0_4_line_68 |  | 64 | 65 | 0.0057489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4671-46_0_4_line_69 |  | 64 | 66 | 0.0019149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4671-46_0_4_line_70 |  | 66 | 67 | 0.008244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4671-46_0_4_line_71 |  | 67 | 68 | 0.0087782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4671-46_0_4_line_72 |  | 70 | 71 | 0.020766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4671-46_0_4_line_73 |  | 70 | 72 | 0.015704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4671-46_0_4_line_74 |  | 72 | 73 | 0.004831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_4671-46_0_4_line_75 |  | 72 | 74 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_4671-46_0_4_line_76 |  | 73 | 75 | 0.010869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4671-46_0_4_line_77 |  | 73 | 76 | 0.024825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4671-46_0_4_line_78 |  | 74 | 77 | 0.007363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_4671-46_0_4_line_79 |  | 77 | 78 | 0.03416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_4671-46_0_4_line_80 |  | 78 | 80 | 0.010044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4671-46_0_4_line_81 |  | 79 | 88 | 0.0071174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4671-46_0_4_line_82 |  | 80 | 86 | 0.040246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_4671-46_0_4_line_83 |  | 81 | 87 | 0.014445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4671-46_0_4_line_84 |  | 82 | 83 | 0.016146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_4671-46_0_4_line_85 |  | 82 | 84 | 0.0053891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_4671-46_0_4_line_86 |  | 83 | 85 | 0.0058179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4671-46_0_4_line_87 |  | 84 | 86 | 0.019978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4671-46_0_4_line_88 |  | 88 | 89 | 0.0071189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4671-46_0_4_line_89 |  | 89 | 90 | 0.014375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4671-46_0_4_line_90 |  | 90 | 91 | 0.0067864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4671-46_0_4_line_91 |  | 91 | 92 | 0.0067858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4671-46_0_4_trafo_40 | 0.63 MVA 20/0.4 kV | 93 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2729373.5566 | 1278499.5774 | 2729389.2211 | 1278493.4007
1 | 2729373.5566 | 1278499.5774 | 2729368.6252 | 1278499.6137
2 | 2729373.5566 | 1278499.5774 | 2729367.2157 | 1278482.4983
3 | 2729373.5566 | 1278499.5774 | 2729378.9906 | 1278519.4381 | 2729380.4291 | 1278531.2854
4 | 2729368.6252 | 1278499.6137 | 2729373.5962 | 1278520.7099 | 2729376.1296 | 1278534.7803
5 | 2729381.1937 | 1278577.9434 | 2729377.4282 | 1278541.9925 | 2729376.1296 | 1278534.7803
6 | 2729398.7838 | 1278570.978 | 2729411.0392 | 1278565.6505
7 | 2729385.7375 | 1278576.386 | 2729398.7838 | 1278570.978
8 | 2729382.328 | 1278590.6362 | 2729381.1937 | 1278577.9434
9 | 2729381.1937 | 1278577.9434 | 2729369.6827 | 1278581.8895
10 | 2729385.7375 | 1278576.386 | 2729381.1937 | 1278577.9434
11 | 2729382.328 | 1278590.6362 | 2729389.4777 | 1278627.1731 | 2729394.3439 | 1278650.9808 | 2729394.539 | 1278651.8906
12 | 2729387.4547 | 1278589.9146 | 2729382.328 | 1278590.6362
13 | 2729346.4336 | 1278589.8594 | 2729369.6827 | 1278581.8895
14 | 2729387.4547 | 1278589.9146 | 2729393.2376 | 1278622.2747
15 | 2729404.6115 | 1278675.5856 | 2729398.5698 | 1278649.1829 | 2729393.9676 | 1278626.3597 | 2729393.2376 | 1278622.2747
16 | 2729346.4336 | 1278589.8594 | 2729338.3409 | 1278592.2804
17 | 2729346.4336 | 1278589.8594 | 2729348.8393 | 1278602.0336
18 | 2729338.3409 | 1278592.2804 | 2729315.8835 | 1278598.9985 | 2729315.6881 | 1278599.0201
19 | 2729348.8393 | 1278602.0336 | 2729350.5127 | 1278610.5023 | 2729350.5127 | 1278610.5023
20 | 2729277.6323 | 1278603.2198 | 2729315.6881 | 1278599.0201
21 | 2729292.8912 | 1278644.2347 | 2729295.8284 | 1278638.5085 | 2729310.0614 | 1278629.356 | 2729319.6668 | 1278624.2171 | 2729340.395 | 1278620.1454 | 2729350.5127 | 1278610.5023
22 | 2729277.6323 | 1278603.2198 | 2729278.0528 | 1278599.4698 | 2729277.893 | 1278594.4169 | 2729276.4556 | 1278590.742
23 | 2729277.6323 | 1278603.2198 | 2729261.8334 | 1278604.6717
24 | 2729292.3815 | 1278645.2284 | 2729292.8912 | 1278644.2347
25 | 2729404.6115 | 1278675.5856 | 2729412.6985 | 1278673.194 | 2729418.5597 | 1278672.5664 | 2729418.7802 | 1278672.631
26 | 2729404.6115 | 1278675.5856 | 2729417.6756 | 1278732.6723 | 2729411.8994 | 1278734.5696
27 | 2729368.6046 | 1278750.1462 | 2729393.0869 | 1278740.7518 | 2729411.8994 | 1278734.5696
28 | 2729368.6046 | 1278750.1462 | 2729361.4605 | 1278726.3664
29 | 2729368.6046 | 1278750.1462 | 2729358.4972 | 1278753.8504 | 2729336.6468 | 1278748.1212 | 2729328.0682 | 1278744.1515 | 2729323.3964 | 1278742.1639
30 | 2729276.1576 | 1278589.98 | 2729276.4556 | 1278590.742
31 | 2729253.6838 | 1278605.4206 | 2729261.8334 | 1278604.6717
32 | 2729319.9994 | 1278770.7227 | 2729313.4457 | 1278761.47 | 2729311.7408 | 1278751.1448 | 2729313.8548 | 1278742.8275 | 2729319.9369 | 1278740.6921 | 2729323.3964 | 1278742.1639
33 | 2729319.9994 | 1278770.7227 | 2729317.9729 | 1278771.6236 | 2729299.4749 | 1278779.5814 | 2729287.3396 | 1278788.3919
34 | 2729272.8433 | 1278798.9166 | 2729287.3396 | 1278788.3919
35 | 2729187.76 | 1278575.624 | 2729199.9637 | 1278591.8404 | 2729205.1396 | 1278596.6715
36 | 2729216.6592 | 1278604.4072 | 2729207.3584 | 1278598.7424 | 2729205.1396 | 1278596.6715
37 | 2729200.062 | 1278543.4733 | 2729197.3025 | 1278549.6967 | 2729192.3281 | 1278566.7821 | 2729187.76 | 1278575.624
38 | 2729216.6592 | 1278604.4072 | 2729226.9022 | 1278606.5226 | 2729227.8763 | 1278606.4951
39 | 2729217.6255 | 1278554.5132 | 2729210.1521 | 1278551.8802 | 2729204.4494 | 1278548.363 | 2729200.062 | 1278543.4733
40 | 2729252.7768 | 1278605.5039 | 2729248.2231 | 1278605.9224 | 2729227.8763 | 1278606.4951
41 | 2729252.7768 | 1278605.5039 | 2729253.6838 | 1278605.4206
42 | 2729272.8433 | 1278798.9166 | 2729268.4611 | 1278789.6893 | 2729265.8329 | 1278784.6702
43 | 2729272.8433 | 1278798.9166 | 2729244.3717 | 1278814.9396
44 | 2729254.9034 | 1278763.8032 | 2729263.2529 | 1278779.7433 | 2729265.8329 | 1278784.6702
45 | 2729178.1029 | 1278851.2476 | 2729217.0724 | 1278830.303 | 2729244.3717 | 1278814.9396
46 | 2729254.9034 | 1278763.8032 | 2729248.9554 | 1278752.4478 | 2729244.9732 | 1278746.361
47 | 2729164.5085 | 1278828.8948 | 2729178.1029 | 1278851.2476
48 | 2729234.7754 | 1278733.1517 | 2729242.6287 | 1278742.7776 | 2729244.9732 | 1278746.361
49 | 2729162.6585 | 1278825.8625 | 2729164.5085 | 1278828.8948
50 | 2729164.5085 | 1278828.8948 | 2729144.39 | 1278837.158
51 | 2729234.7754 | 1278733.1517 | 2729227.6445 | 1278740.9586 | 2729224.3214 | 1278753.0087 | 2729226.6015 | 1278756.9991
52 | 2729234.7754 | 1278733.1517 | 2729232.5534 | 1278730.8323
53 | 2729162.6585 | 1278825.8625 | 2729173.1505 | 1278819.7272
54 | 2729162.6585 | 1278825.8625 | 2729157.2878 | 1278817.4923 | 2729155.779 | 1278815.4058
55 | 2729232.5534 | 1278730.8323 | 2729229.2573 | 1278727.3919 | 2729218.4207 | 1278718.5943
56 | 2729218.4207 | 1278718.5943 | 2729217.782 | 1278718.0758 | 2729211.8412 | 1278713.4263
57 | 2729202.0212 | 1278705.7408 | 2729211.8412 | 1278713.4263
58 | 2729232.2186 | 1278771.0828 | 2729229.3735 | 1278761.8502 | 2729226.6015 | 1278756.9991
59 | 2729202.0212 | 1278705.7408 | 2729194.0239 | 1278716.3871 | 2729193.3408 | 1278724.5802 | 2729191.6831 | 1278726.0422
60 | 2729202.0212 | 1278705.7408 | 2729193.8685 | 1278699.4784
61 | 2729233.3659 | 1278774.8058 | 2729232.2186 | 1278771.0828
62 | 2729191.6831 | 1278726.0422 | 2729184.8261 | 1278732.0899 | 2729175.1564 | 1278725.4067
63 | 2729193.8685 | 1278699.4784 | 2729204.0952 | 1278684.6229
64 | 2729158.2037 | 1278672.827 | 2729184.8513 | 1278692.5408 | 2729193.8685 | 1278699.4784
65 | 2729175.1564 | 1278725.4067 | 2729173.1432 | 1278724.0153
66 | 2729204.0952 | 1278684.6229 | 2729205.3102 | 1278682.858
67 | 2729158.2037 | 1278672.827 | 2729169.0702 | 1278661.0156
68 | 2729172.9625 | 1278656.7848 | 2729169.0702 | 1278661.0156
69 | 2729172.9625 | 1278656.7848 | 2729174.259 | 1278655.3756
70 | 2729174.259 | 1278655.3756 | 2729179.8407 | 1278649.3086
71 | 2729179.8407 | 1278649.3086 | 2729185.7841 | 1278642.8484
72 | 2729160.136 | 1278794.7495 | 2729178.0626 | 1278784.267
73 | 2729146.5795 | 1278802.6767 | 2729160.136 | 1278794.7495
74 | 2729146.5795 | 1278802.6767 | 2729149.4096 | 1278806.598
75 | 2729146.5795 | 1278802.6767 | 2729135.5176 | 1278792.6726
76 | 2729149.4096 | 1278806.598 | 2729155.779 | 1278815.4058
77 | 2729149.4096 | 1278806.598 | 2729126.3732 | 1278815.8491
78 | 2729130.0567 | 1278787.7338 | 2729135.5176 | 1278792.6726
79 | 2729098.6496 | 1278774.2999 | 2729130.0567 | 1278787.7338
80 | 2729098.6496 | 1278774.2999 | 2729094.689 | 1278765.0703
81 | 2729173.1505 | 1278819.7272 | 2729179.2945 | 1278816.1344
82 | 2729079.1394 | 1278727.95 | 2729090.9698 | 1278756.4033 | 2729094.689 | 1278765.0703
83 | 2729161.2602 | 1278715.8024 | 2729173.1432 | 1278724.0153
84 | 2729102.4868 | 1278717.9054 | 2729117.4193 | 1278711.764
85 | 2729097.5027 | 1278719.9552 | 2729102.4868 | 1278717.9054
86 | 2729121.0434 | 1278707.7091 | 2729119.5575 | 1278710.8847 | 2729117.4193 | 1278711.764
87 | 2729097.5027 | 1278719.9552 | 2729079.1394 | 1278727.95
88 | 2729179.2945 | 1278816.1344 | 2729185.4398 | 1278812.5408
89 | 2729185.4398 | 1278812.5408 | 2729197.8493 | 1278805.2843
90 | 2729197.8493 | 1278805.2843 | 2729203.7076 | 1278801.8586
91 | 2729203.7076 | 1278801.8586 | 2729209.5654 | 1278798.4332

## bus_geodata
| x | y | coords
0 | 2729389.2211 | 1278493.4007
1 | 2729373.5566 | 1278499.5774
2 | 2729368.6252 | 1278499.6137
3 | 2729367.2157 | 1278482.4983
4 | 2729380.4291 | 1278531.2854
5 | 2729376.1296 | 1278534.7803
6 | 2729411.0392 | 1278565.6505
7 | 2729398.7838 | 1278570.978
8 | 2729381.1937 | 1278577.9434
9 | 2729385.7375 | 1278576.386
10 | 2729382.328 | 1278590.6362
11 | 2729369.6827 | 1278581.8895
12 | 2729387.4547 | 1278589.9146
13 | 2729393.2376 | 1278622.2747
14 | 2729346.4336 | 1278589.8594
15 | 2729338.3409 | 1278592.2804
16 | 2729348.8393 | 1278602.0336
17 | 2729394.539 | 1278651.8906
18 | 2729315.6881 | 1278599.0201
19 | 2729350.5127 | 1278610.5023
20 | 2729277.6323 | 1278603.2198
21 | 2729292.8912 | 1278644.2347
22 | 2729404.6115 | 1278675.5856
23 | 2729411.8994 | 1278734.5696
24 | 2729368.6046 | 1278750.1462
25 | 2729276.4556 | 1278590.742
26 | 2729261.8334 | 1278604.6717
27 | 2729292.3815 | 1278645.2284
28 | 2729418.7802 | 1278672.631
29 | 2729361.4605 | 1278726.3664
30 | 2729323.3964 | 1278742.1639
31 | 2729319.9994 | 1278770.7227
32 | 2729287.3396 | 1278788.3919
33 | 2729205.1396 | 1278596.6715
34 | 2729187.76 | 1278575.624
35 | 2729216.6592 | 1278604.4072
36 | 2729200.062 | 1278543.4733
37 | 2729227.8763 | 1278606.4951
38 | 2729217.6255 | 1278554.5132
39 | 2729252.7768 | 1278605.5039
40 | 2729253.6838 | 1278605.4206
41 | 2729276.1576 | 1278589.98
42 | 2729272.8433 | 1278798.9166
43 | 2729265.8329 | 1278784.6702
44 | 2729244.3717 | 1278814.9396
45 | 2729254.9034 | 1278763.8032
46 | 2729178.1029 | 1278851.2476
47 | 2729244.9732 | 1278746.361
48 | 2729164.5085 | 1278828.8948
49 | 2729234.7754 | 1278733.1517
50 | 2729162.6585 | 1278825.8625
51 | 2729144.39 | 1278837.158
52 | 2729232.5534 | 1278730.8323
53 | 2729218.4207 | 1278718.5943
54 | 2729211.8412 | 1278713.4263
55 | 2729226.6015 | 1278756.9991
56 | 2729202.0212 | 1278705.7408
57 | 2729232.2186 | 1278771.0828
58 | 2729191.6831 | 1278726.0422
59 | 2729193.8685 | 1278699.4784
60 | 2729233.3659 | 1278774.8058
61 | 2729175.1564 | 1278725.4067
62 | 2729204.0952 | 1278684.6229
63 | 2729158.2037 | 1278672.827
64 | 2729172.9625 | 1278656.7848
65 | 2729169.0702 | 1278661.0156
66 | 2729174.259 | 1278655.3756
67 | 2729179.8407 | 1278649.3086
68 | 2729185.7841 | 1278642.8484
69 | 2729205.3102 | 1278682.858
70 | 2729160.136 | 1278794.7495
71 | 2729178.0626 | 1278784.267
72 | 2729146.5795 | 1278802.6767
73 | 2729149.4096 | 1278806.598
74 | 2729135.5176 | 1278792.6726
75 | 2729155.779 | 1278815.4058
76 | 2729126.3732 | 1278815.8491
77 | 2729130.0567 | 1278787.7338
78 | 2729098.6496 | 1278774.2999
79 | 2729173.1505 | 1278819.7272
80 | 2729094.689 | 1278765.0703
81 | 2729173.1432 | 1278724.0153
82 | 2729102.4868 | 1278717.9054
83 | 2729117.4193 | 1278711.764
84 | 2729097.5027 | 1278719.9552
85 | 2729121.0434 | 1278707.7091
86 | 2729079.1394 | 1278727.95
87 | 2729161.2602 | 1278715.8024
88 | 2729179.2945 | 1278816.1344
89 | 2729185.4398 | 1278812.5408
90 | 2729197.8493 | 1278805.2843
91 | 2729203.7076 | 1278801.8586
92 | 2729209.5654 | 1278798.4332
93 | 2729346.4336 | 1278589.8594

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1